## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3218-2_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3218-2_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3218-2_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3218-2_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3218-2_0_5_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_3218-2_0_5_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_3218-2_0_5_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_3218-2_0_5_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_3218-2_0_5_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_3218-2_0_5_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_3218-2_0_5_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_3218-2_0_5_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_3218-2_0_5_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_3218-2_0_5_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_3218-2_0_5_node_32 | 0.4 | n |  | TRUE
15 | bus_LV_3218-2_0_5_node_30 | 0.4 | n |  | TRUE
16 | bus_LV_3218-2_0_5_node_24 | 0.4 | n |  | TRUE
17 | bus_LV_3218-2_0_5_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_3218-2_0_5_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_3218-2_0_5_node_33 | 0.4 | n |  | TRUE
20 | bus_LV_3218-2_0_5_node_31 | 0.4 | n |  | TRUE
21 | bus_LV_3218-2_0_5_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_3218-2_0_5_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_3218-2_0_5_node_66 | 0.4 | n |  | TRUE
24 | bus_LV_3218-2_0_5_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_3218-2_0_5_node_28 | 0.4 | n |  | TRUE
26 | bus_LV_3218-2_0_5_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_3218-2_0_5_node_63 | 0.4 | n |  | TRUE
28 | bus_LV_3218-2_0_5_node_46 | 0.4 | n |  | TRUE
29 | bus_LV_3218-2_0_5_node_47 | 0.4 | n |  | TRUE
30 | bus_LV_3218-2_0_5_node_48 | 0.4 | n |  | TRUE
31 | bus_LV_3218-2_0_5_node_44 | 0.4 | n |  | TRUE
32 | bus_LV_3218-2_0_5_node_52 | 0.4 | n |  | TRUE
33 | bus_LV_3218-2_0_5_node_60 | 0.4 | n |  | TRUE
34 | bus_LV_3218-2_0_5_node_49 | 0.4 | n |  | TRUE
35 | bus_LV_3218-2_0_5_node_50 | 0.4 | n |  | TRUE
36 | bus_LV_3218-2_0_5_node_51 | 0.4 | n |  | TRUE
37 | bus_LV_3218-2_0_5_node_55 | 0.4 | n |  | TRUE
38 | bus_LV_3218-2_0_5_node_53 | 0.4 | n |  | TRUE
39 | bus_LV_3218-2_0_5_node_54 | 0.4 | n |  | TRUE
40 | bus_LV_3218-2_0_5_node_65 | 0.4 | n |  | TRUE
41 | bus_LV_3218-2_0_5_node_69 | 0.4 | n |  | TRUE
42 | bus_LV_3218-2_0_5_node_56 | 0.4 | n |  | TRUE
43 | bus_LV_3218-2_0_5_node_57 | 0.4 | n |  | TRUE
44 | bus_LV_3218-2_0_5_node_58 | 0.4 | n |  | TRUE
45 | bus_LV_3218-2_0_5_node_59 | 0.4 | n |  | TRUE
46 | bus_LV_3218-2_0_5_node_62 | 0.4 | n |  | TRUE
47 | bus_LV_3218-2_0_5_node_72 | 0.4 | n |  | TRUE
48 | bus_LV_3218-2_0_5_node_64 | 0.4 | n |  | TRUE
49 | bus_LV_3218-2_0_5_node_67 | 0.4 | n |  | TRUE
50 | bus_LV_3218-2_0_5_node_68 | 0.4 | n |  | TRUE
51 | bus_LV_3218-2_0_5_node_70 | 0.4 | n |  | TRUE
52 | bus_LV_3218-2_0_5_node_71 | 0.4 | n |  | TRUE
53 | bus_LV_3218-2_0_5_node_18 | 0.4 | n |  | TRUE
54 | bus_LV_3218-2_0_5_node_19 | 0.4 | n |  | TRUE
55 | bus_LV_3218-2_0_5_node_20 | 0.4 | n |  | TRUE
56 | bus_LV_3218-2_0_5_node_21 | 0.4 | n |  | TRUE
57 | bus_LV_3218-2_0_5_node_22 | 0.4 | n |  | TRUE
58 | bus_LV_3218-2_0_5_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_3218-2_0_5_node_23 | 0.4 | n |  | TRUE
60 | bus_LV_3218-2_0_5_node_26 | 0.4 | n |  | TRUE
61 | bus_LV_3218-2_0_5_node_34 | 0.4 | n |  | TRUE
62 | bus_LV_3218-2_0_5_node_41 | 0.4 | n |  | TRUE
63 | bus_LV_3218-2_0_5_node_40 | 0.4 | n |  | TRUE
64 | bus_LV_3218-2_0_5_node_35 | 0.4 | n |  | TRUE
65 | bus_LV_3218-2_0_5_node_36 | 0.4 | n |  | TRUE
66 | bus_LV_3218-2_0_5_node_37 | 0.4 | n |  | TRUE
67 | bus_LV_3218-2_0_5_node_38 | 0.4 | n |  | TRUE
68 | bus_LV_3218-2_0_5_node_39 | 0.4 | n |  | TRUE
69 | bus_MV_47_0_node_137 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3218-2_0_5_load_0 | 0 | 0.0090168 | 0.0022598 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3218-2_0_5_load_3 | 3 | 0.0028585 | 0.00071641 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3218-2_0_5_load_5 | 4 | 0.0055913 | 0.0014013 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3218-2_0_5_load_6 | 5 | 0.0083741 | 0.0020988 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3218-2_0_5_load_7 | 6 | 0.0043179 | 0.0010822 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3218-2_0_5_load_11 | 10 | 0.0047024 | 0.0011785 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3218-2_0_5_load_9 | 11 | 0.0095416 | 0.0023914 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3218-2_0_5_load_12 | 12 | 0.001063 | 0.00026642 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3218-2_0_5_load_15 | 13 | 0.0023576 | 0.00059088 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3218-2_0_5_load_32 | 14 | 0.0082097 | 0.0020575 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3218-2_0_5_load_30 | 15 | 0.001751 | 0.00043883 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3218-2_0_5_load_24 | 16 | 0.0016694 | 0.00041839 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3218-2_0_5_load_10 | 17 | 0.0013224 | 0.00033144 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3218-2_0_5_load_16 | 18 | 0.0030061 | 0.0007534 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3218-2_0_5_load_33 | 19 | 0.002882 | 0.00072229 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3218-2_0_5_load_31 | 20 | 0.015347 | 0.0038463 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3218-2_0_5_load_25 | 21 | 0.0011985 | 0.00030038 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3218-2_0_5_load_17 | 22 | 0.0010231 | 0.00025641 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3218-2_0_5_load_66 | 23 | 0.0045664 | 0.0011445 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3218-2_0_5_load_28 | 25 | 0.0023154 | 0.00058029 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3218-2_0_5_load_29 | 26 | 0.0026438 | 0.0006626 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3218-2_0_5_load_47 | 29 | 0.0093108 | 0.0023335 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3218-2_0_5_load_48 | 30 | 0.012959 | 0.0032477 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3218-2_0_5_load_44 | 31 | 0.02955 | 0.0074059 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3218-2_0_5_load_60 | 33 | 0.031962 | 0.0080105 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3218-2_0_5_load_49 | 34 | 0.0029799 | 0.00074682 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3218-2_0_5_load_50 | 35 | 0.0020715 | 0.00051916 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3218-2_0_5_load_51 | 36 | 0.0018231 | 0.00045692 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3218-2_0_5_load_53 | 38 | 0.012773 | 0.0032013 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3218-2_0_5_load_54 | 39 | 0.0052992 | 0.0013281 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3218-2_0_5_load_65 | 40 | 0.0026918 | 0.00067462 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3218-2_0_5_load_69 | 41 | 0.0025448 | 0.0006378 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3218-2_0_5_load_56 | 42 | 0.0047564 | 0.0011921 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3218-2_0_5_load_59 | 45 | 0.0026488 | 0.00066384 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3218-2_0_5_load_62 | 46 | 0.0033311 | 0.00083486 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3218-2_0_5_load_72 | 47 | 0.003179 | 0.00079673 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3218-2_0_5_load_64 | 48 | 0.002692 | 0.00067469 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3218-2_0_5_load_67 | 49 | 0.0031339 | 0.00078542 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3218-2_0_5_load_68 | 50 | 0.0030317 | 0.00075981 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3218-2_0_5_load_70 | 51 | 0.0030372 | 0.00076121 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3218-2_0_5_load_71 | 52 | 0.0020421 | 0.0005118 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3218-2_0_5_load_18 | 53 | 0.0055165 | 0.0013826 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3218-2_0_5_load_19 | 54 | 0.0031359 | 0.00078593 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3218-2_0_5_load_21 | 56 | 0.012208 | 0.0030595 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3218-2_0_5_load_22 | 57 | 0.008629 | 0.0021626 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3218-2_0_5_load_42 | 58 | 0.010493 | 0.0026298 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3218-2_0_5_load_23 | 59 | 0.0081343 | 0.0020386 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3218-2_0_5_load_26 | 60 | 0.0023398 | 0.0005864 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3218-2_0_5_load_41 | 62 | 0.060836 | 0.015247 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3218-2_0_5_load_40 | 63 | 0.0079528 | 0.0019932 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3218-2_0_5_load_35 | 64 | 0.042323 | 0.010607 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3218-2_0_5_load_36 | 65 | 0.0043826 | 0.0010984 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3218-2_0_5_load_38 | 67 | 0.016159 | 0.0040498 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3218-2_0_5_load_39 | 68 | 0.042574 | 0.01067 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 61 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3218-2_0_5_line_0 |  | 0 | 1 | 0.053426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3218-2_0_5_line_1 |  | 0 | 2 | 0.030293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3218-2_0_5_line_2 |  | 1 | 3 | 0.06448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3218-2_0_5_line_3 |  | 2 | 4 | 0.033641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3218-2_0_5_line_4 |  | 2 | 5 | 0.029671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_3218-2_0_5_line_5 |  | 2 | 6 | 0.015046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_3218-2_0_5_line_6 |  | 4 | 11 | 0.013248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3218-2_0_5_line_7 |  | 5 | 12 | 0.00019908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_3218-2_0_5_line_8 |  | 6 | 13 | 0.029547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_3218-2_0_5_line_9 |  | 7 | 8 | 0.02996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_3218-2_0_5_line_10 |  | 7 | 9 | 0.016615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3218-2_0_5_line_11 |  | 7 | 10 | 0.037778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_3218-2_0_5_line_12 |  | 8 | 14 | 0.0093776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_3218-2_0_5_line_13 |  | 8 | 15 | 0.019869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3218-2_0_5_line_14 |  | 9 | 16 | 0.033075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3218-2_0_5_line_15 |  | 10 | 12 | 0.0035895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_3218-2_0_5_line_16 |  | 11 | 17 | 0.01836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3218-2_0_5_line_17 |  | 13 | 18 | 0.019487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_3218-2_0_5_line_18 |  | 14 | 19 | 0.034333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_3218-2_0_5_line_19 |  | 15 | 20 | 0.031478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3218-2_0_5_line_20 |  | 16 | 21 | 0.019689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3218-2_0_5_line_21 |  | 18 | 22 | 0.023156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_3218-2_0_5_line_22 |  | 19 | 61 | 0.026896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_3218-2_0_5_line_23 |  | 21 | 60 | 0.038348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3218-2_0_5_line_24 |  | 22 | 23 | 0.10279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_3218-2_0_5_line_25 |  | 23 | 49 | 0.043151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3218-2_0_5_line_26 |  | 23 | 26 | 0.017544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_3218-2_0_5_line_27 |  | 24 | 25 | 0.0066747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_3218-2_0_5_line_28 |  | 24 | 26 | 0.018229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_3218-2_0_5_line_29 |  | 25 | 27 | 0.025094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_3218-2_0_5_line_30 |  | 27 | 48 | 0.011292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_3218-2_0_5_line_31 |  | 27 | 40 | 0.03031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3218-2_0_5_line_32 |  | 28 | 29 | 0.037341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_3218-2_0_5_line_33 |  | 28 | 30 | 0.012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_3218-2_0_5_line_34 |  | 28 | 31 | 0.059081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_3218-2_0_5_line_35 |  | 29 | 32 | 0.014397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_3218-2_0_5_line_36 |  | 30 | 33 | 0.040286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_3218-2_0_5_line_37 |  | 32 | 38 | 0.052647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_3218-2_0_5_line_38 |  | 32 | 39 | 0.020506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3218-2_0_5_line_39 |  | 33 | 43 | 0.026008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_3218-2_0_5_line_40 |  | 34 | 35 | 0.0026556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3218-2_0_5_line_41 |  | 35 | 36 | 0.019258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3218-2_0_5_line_42 |  | 36 | 37 | 0.001721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3218-2_0_5_line_43 |  | 37 | 40 | 0.018058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3218-2_0_5_line_44 |  | 37 | 41 | 0.020394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3218-2_0_5_line_45 |  | 41 | 50 | 0.014588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3218-2_0_5_line_46 |  | 42 | 43 | 0.0086203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3218-2_0_5_line_47 |  | 42 | 44 | 0.018294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3218-2_0_5_line_48 |  | 43 | 45 | 0.011614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_3218-2_0_5_line_49 |  | 44 | 46 | 0.050529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3218-2_0_5_line_50 |  | 45 | 47 | 0.011004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_3218-2_0_5_line_51 |  | 47 | 48 | 0.031496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_3218-2_0_5_line_52 |  | 50 | 51 | 0.013364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3218-2_0_5_line_53 |  | 51 | 52 | 0.0084127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3218-2_0_5_line_54 |  | 53 | 54 | 0.015156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3218-2_0_5_line_55 |  | 54 | 55 | 0.012417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3218-2_0_5_line_56 |  | 55 | 56 | 0.016633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3218-2_0_5_line_57 |  | 56 | 57 | 0.041516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3218-2_0_5_line_58 |  | 56 | 58 | 0.090965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3218-2_0_5_line_59 |  | 57 | 59 | 0.0067328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3218-2_0_5_line_60 |  | 59 | 60 | 0.01679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3218-2_0_5_line_61 |  | 61 | 62 | 0.050464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_3218-2_0_5_line_62 |  | 62 | 63 | 0.028816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3218-2_0_5_line_63 |  | 63 | 66 | 0.045551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3218-2_0_5_line_64 |  | 64 | 65 | 0.045267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3218-2_0_5_line_65 |  | 64 | 66 | 0.0092745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3218-2_0_5_line_66 |  | 65 | 67 | 0.013116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3218-2_0_5_line_67 |  | 66 | 68 | 0.033083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3218-2_0_5_trafo_34 | 0.63 MVA 20/0.4 kV | 69 | 61 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2752408.406 | 1261177.9005 | 2752397.7264 | 1261177.7475 | 2752395.3735 | 1261178.6433 | 2752391.1891 | 1261180.1037 | 2752388.451 | 1261180.4446 | 2752384.2992 | 1261180.6379 | 2752380.9717 | 1261180.1517 | 2752377.3457 | 1261179.5466 | 2752372.8333 | 1261178.229 | 2752368.226 | 1261176.4975 | 2752364.8283 | 1261174.9306 | 2752361.3451 | 1261172.8833 | 2752357.8597 | 1261170.6246 | 2752357.6053 | 1261170.4991
1 | 2752329.633 | 1261176.7039 | 2752346.2789 | 1261168.8691 | 2752349.8358 | 1261168.0599 | 2752352.7616 | 1261168.3355 | 2752355.2689 | 1261169.3455 | 2752357.6053 | 1261170.4991
2 | 2752408.406 | 1261177.9005 | 2752437.3406 | 1261144.668 | 2752450.1737 | 1261128.7886
3 | 2752329.633 | 1261176.7039 | 2752330.1174 | 1261172.2452 | 2752328.7527 | 1261166.1039 | 2752327.8055 | 1261163.6549 | 2752325.7791 | 1261160.0769 | 2752323.7529 | 1261156.1986 | 2752322.0616 | 1261151.3168 | 2752321.3232 | 1261148.3726 | 2752321.7232 | 1261144.846
4 | 2752329.633 | 1261176.7039 | 2752327.4426 | 1261182.7091 | 2752329.1001 | 1261192.1168 | 2752334.1059 | 1261204.8976
5 | 2752329.633 | 1261176.7039 | 2752314.6513 | 1261178.0952
6 | 2752328.4232 | 1261133.5022 | 2752327.2292 | 1261135.1113 | 2752325.0214 | 1261138.2798 | 2752322.8096 | 1261141.8932 | 2752321.7232 | 1261144.846 | 2752321.7232 | 1261144.846
7 | 2752334.1059 | 1261204.8976 | 2752334.1785 | 1261205.0829
8 | 2752285.2321 | 1261180.8432 | 2752302.5388 | 1261179.22 | 2752314.6513 | 1261178.0952
9 | 2752352.458 | 1261241.5347 | 2752349.2459 | 1261245.0556 | 2752330.9152 | 1261262.401
10 | 2752352.458 | 1261241.5347 | 2752366.6726 | 1261250.2095
11 | 2752352.458 | 1261241.5347 | 2752348.5855 | 1261236.1629 | 2752345.8222 | 1261233.6782 | 2752344.1536 | 1261231.7221 | 2752342.0556 | 1261226.8298 | 2752339.4251 | 1261218.8986 | 2752335.4659 | 1261208.4336
12 | 2752330.9152 | 1261262.401 | 2752323.7419 | 1261268.4412
13 | 2752330.9152 | 1261262.401 | 2752339.2871 | 1261270.18 | 2752344.4377 | 1261276.8674
14 | 2752366.6726 | 1261250.2095 | 2752393.7074 | 1261269.2648
15 | 2752335.4659 | 1261208.4336 | 2752334.7594 | 1261206.566 | 2752334.1785 | 1261205.0829
16 | 2752337.2075 | 1261117.5294 | 2752336.2029 | 1261120.4275 | 2752334.1569 | 1261125.213 | 2752332.0245 | 1261128.6727 | 2752329.4319 | 1261132.1428 | 2752328.4232 | 1261133.5022
17 | 2752265.8306 | 1261182.6627 | 2752285.2321 | 1261180.8432
18 | 2752323.7419 | 1261268.4412 | 2752302.7317 | 1261286.1327 | 2752297.1293 | 1261290.103
19 | 2752344.4377 | 1261276.8674 | 2752348.9096 | 1261282.6737 | 2752358.3683 | 1261295.964 | 2752362.7472 | 1261302.4631
20 | 2752393.7074 | 1261269.2648 | 2752396.6625 | 1261271.3477 | 2752411.2166 | 1261278.1699
21 | 2752242.7574 | 1261184.6072 | 2752255.0906 | 1261183.67 | 2752265.8306 | 1261182.6627
22 | 2752275.1848 | 1261305.6544 | 2752297.1293 | 1261290.103
23 | 2752444.9887 | 1261296.1807 | 2752431.6897 | 1261287.7666 | 2752411.2166 | 1261278.1699
24 | 2752242.7574 | 1261184.6072 | 2752149.9578 | 1261140.3944
25 | 2752171.351 | 1261102.9374 | 2752151.0263 | 1261138.9812 | 2752149.9578 | 1261140.3944
26 | 2752139.3768 | 1261154.3887 | 2752149.9578 | 1261140.3944
27 | 2752128.383 | 1261168.9291 | 2752123.2793 | 1261173.2307
28 | 2752128.383 | 1261168.9291 | 2752139.3768 | 1261154.3887
29 | 2752104.0913 | 1261189.4029 | 2752123.2793 | 1261173.2307
30 | 2752104.0913 | 1261189.4029 | 2752094.6696 | 1261195.627
31 | 2752104.0913 | 1261189.4029 | 2752095.5509 | 1261160.321
32 | 2752065.0726 | 1261296.4187 | 2752029.098 | 1261306.4263
33 | 2752065.0726 | 1261296.4187 | 2752062.035 | 1261284.8092
34 | 2752065.0726 | 1261296.4187 | 2752078.4998 | 1261347.7154 | 2752078.67 | 1261353.7692
35 | 2752015.2272 | 1261310.285 | 2752029.098 | 1261306.4263
36 | 2752062.035 | 1261284.8092 | 2752056.2449 | 1261262.6801 | 2752052.5279 | 1261245.6697
37 | 2752015.2272 | 1261310.285 | 2752001.3568 | 1261259.4886
38 | 2752015.2272 | 1261310.285 | 2751995.3355 | 1261315.2669
39 | 2752046.8253 | 1261220.2953 | 2752050.3765 | 1261235.8244 | 2752052.5279 | 1261245.6697
40 | 2752112.87 | 1261135.4775 | 2752110.3523 | 1261136.3222
41 | 2752110.3523 | 1261136.3222 | 2752092.0943 | 1261142.4474
42 | 2752090.4627 | 1261142.9947 | 2752092.0943 | 1261142.4474
43 | 2752090.4627 | 1261142.9947 | 2752095.5509 | 1261160.321
44 | 2752090.4627 | 1261142.9947 | 2752071.127 | 1261149.4807
45 | 2752057.2962 | 1261154.1201 | 2752057.2962 | 1261154.1201 | 2752071.127 | 1261149.4807
46 | 2752046.8253 | 1261220.2953 | 2752038.5816 | 1261222.8156
47 | 2752021.0865 | 1261228.1641 | 2752038.5816 | 1261222.8156
48 | 2752046.8253 | 1261220.2953 | 2752057.6175 | 1261216.0044
49 | 2752021.0865 | 1261228.1641 | 2752006.356 | 1261190.2808 | 2752010.9045 | 1261181.5074
50 | 2752057.6175 | 1261216.0044 | 2752067.8432 | 1261211.9388
51 | 2752094.6696 | 1261195.627 | 2752073.2045 | 1261209.8072 | 2752067.8432 | 1261211.9388
52 | 2752057.2962 | 1261154.1201 | 2752061.257 | 1261166.8833
53 | 2752063.7503 | 1261174.918 | 2752061.257 | 1261166.8833
54 | 2752531.5901 | 1261327.6102 | 2752519.7637 | 1261337.0893
55 | 2752510.0745 | 1261344.8553 | 2752519.7637 | 1261337.0893
56 | 2752510.0745 | 1261344.8553 | 2752498.1048 | 1261333.3055
57 | 2752498.1048 | 1261333.3055 | 2752487.5129 | 1261323.0852 | 2752464.8674 | 1261308.7577
58 | 2752498.1048 | 1261333.3055 | 2752434.6309 | 1261398.4643
59 | 2752464.8674 | 1261308.7577 | 2752459.1777 | 1261305.1579
60 | 2752459.1777 | 1261305.1579 | 2752444.9887 | 1261296.1807
61 | 2752275.1848 | 1261305.6544 | 2752292.5083 | 1261334.9965 | 2752300.4192 | 1261349.3509
62 | 2752314.3278 | 1261374.5881 | 2752300.4192 | 1261349.3509
63 | 2752336.3141 | 1261414.4822 | 2752314.3278 | 1261374.5881
64 | 2752340.4259 | 1261422.7953 | 2752360.495 | 1261463.3702
65 | 2752336.3141 | 1261414.4822 | 2752340.4259 | 1261422.7953
66 | 2752366.3101 | 1261475.1268 | 2752360.495 | 1261463.3702
67 | 2752336.3141 | 1261414.4822 | 2752306.2127 | 1261428.207

## bus_geodata
| x | y | coords
0 | 2752357.6053 | 1261170.4991
1 | 2752408.406 | 1261177.9005
2 | 2752329.633 | 1261176.7039
3 | 2752450.1737 | 1261128.7886
4 | 2752321.7232 | 1261144.846
5 | 2752334.1059 | 1261204.8976
6 | 2752314.6513 | 1261178.0952
7 | 2752352.458 | 1261241.5347
8 | 2752330.9152 | 1261262.401
9 | 2752366.6726 | 1261250.2095
10 | 2752335.4659 | 1261208.4336
11 | 2752328.4232 | 1261133.5022
12 | 2752334.1785 | 1261205.0829
13 | 2752285.2321 | 1261180.8432
14 | 2752323.7419 | 1261268.4412
15 | 2752344.4377 | 1261276.8674
16 | 2752393.7074 | 1261269.2648
17 | 2752337.2075 | 1261117.5294
18 | 2752265.8306 | 1261182.6627
19 | 2752297.1293 | 1261290.103
20 | 2752362.7472 | 1261302.4631
21 | 2752411.2166 | 1261278.1699
22 | 2752242.7574 | 1261184.6072
23 | 2752149.9578 | 1261140.3944
24 | 2752128.383 | 1261168.9291
25 | 2752123.2793 | 1261173.2306
26 | 2752139.3768 | 1261154.3887
27 | 2752104.0913 | 1261189.4029
28 | 2752065.0726 | 1261296.4187
29 | 2752029.098 | 1261306.4263
30 | 2752062.035 | 1261284.8092
31 | 2752078.67 | 1261353.7692
32 | 2752015.2272 | 1261310.285
33 | 2752052.5279 | 1261245.6697
34 | 2752112.87 | 1261135.4775
35 | 2752110.3523 | 1261136.3222
36 | 2752092.0943 | 1261142.4474
37 | 2752090.4627 | 1261142.9947
38 | 2752001.3568 | 1261259.4886
39 | 2751995.3355 | 1261315.2669
40 | 2752095.5509 | 1261160.321
41 | 2752071.127 | 1261149.4807
42 | 2752038.5816 | 1261222.8156
43 | 2752046.8253 | 1261220.2953
44 | 2752021.0865 | 1261228.1641
45 | 2752057.6175 | 1261216.0044
46 | 2752010.9045 | 1261181.5074
47 | 2752067.8432 | 1261211.9388
48 | 2752094.6696 | 1261195.627
49 | 2752171.351 | 1261102.9374
50 | 2752057.2962 | 1261154.1201
51 | 2752061.257 | 1261166.8833
52 | 2752063.7503 | 1261174.918
53 | 2752531.5901 | 1261327.6102
54 | 2752519.7637 | 1261337.0893
55 | 2752510.0745 | 1261344.8553
56 | 2752498.1048 | 1261333.3055
57 | 2752464.8674 | 1261308.7576
58 | 2752434.6309 | 1261398.4643
59 | 2752459.1777 | 1261305.1579
60 | 2752444.9887 | 1261296.1807
61 | 2752275.1848 | 1261305.6544
62 | 2752300.4192 | 1261349.3509
63 | 2752314.3278 | 1261374.5881
64 | 2752340.4259 | 1261422.7953
65 | 2752360.495 | 1261463.3702
66 | 2752336.3141 | 1261414.4822
67 | 2752366.3101 | 1261475.1268
68 | 2752306.2127 | 1261428.207
69 | 2752330.9152 | 1261262.401

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1