## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_329-25_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_329-25_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_329-25_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_329-25_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_329-25_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_329-25_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_329-25_0_4_node_31 | 0.4 | n |  | TRUE
7 | bus_LV_329-25_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_329-25_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_329-25_0_4_node_48 | 0.4 | n |  | TRUE
10 | bus_LV_329-25_0_4_node_40 | 0.4 | n |  | TRUE
11 | bus_LV_329-25_0_4_node_79 | 0.4 | n |  | TRUE
12 | bus_LV_329-25_0_4_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_329-25_0_4_node_17 | 0.4 | n |  | TRUE
14 | bus_LV_329-25_0_4_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_329-25_0_4_node_32 | 0.4 | n |  | TRUE
16 | bus_LV_329-25_0_4_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_329-25_0_4_node_29 | 0.4 | n |  | TRUE
18 | bus_LV_329-25_0_4_node_39 | 0.4 | n |  | TRUE
19 | bus_LV_329-25_0_4_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_329-25_0_4_node_76 | 0.4 | n |  | TRUE
21 | bus_LV_329-25_0_4_node_60 | 0.4 | n |  | TRUE
22 | bus_LV_329-25_0_4_node_8 | 0.4 | n |  | TRUE
23 | bus_LV_329-25_0_4_node_52 | 0.4 | n |  | TRUE
24 | bus_LV_329-25_0_4_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_329-25_0_4_node_80 | 0.4 | n |  | TRUE
26 | bus_LV_329-25_0_4_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_329-25_0_4_node_72 | 0.4 | n |  | TRUE
28 | bus_LV_329-25_0_4_node_69 | 0.4 | n |  | TRUE
29 | bus_LV_329-25_0_4_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_329-25_0_4_node_71 | 0.4 | n |  | TRUE
31 | bus_LV_329-25_0_4_node_70 | 0.4 | n |  | TRUE
32 | bus_LV_329-25_0_4_node_15 | 0.4 | n |  | TRUE
33 | bus_LV_329-25_0_4_node_59 | 0.4 | n |  | TRUE
34 | bus_LV_329-25_0_4_node_58 | 0.4 | n |  | TRUE
35 | bus_LV_329-25_0_4_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_329-25_0_4_node_46 | 0.4 | n |  | TRUE
37 | bus_LV_329-25_0_4_node_50 | 0.4 | n |  | TRUE
38 | bus_LV_329-25_0_4_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_329-25_0_4_node_64 | 0.4 | n |  | TRUE
40 | bus_LV_329-25_0_4_node_63 | 0.4 | n |  | TRUE
41 | bus_LV_329-25_0_4_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_329-25_0_4_node_75 | 0.4 | n |  | TRUE
43 | bus_LV_329-25_0_4_node_73 | 0.4 | n |  | TRUE
44 | bus_LV_329-25_0_4_node_56 | 0.4 | n |  | TRUE
45 | bus_LV_329-25_0_4_node_13 | 0.4 | n |  | TRUE
46 | bus_LV_329-25_0_4_node_61 | 0.4 | n |  | TRUE
47 | bus_LV_329-25_0_4_node_20 | 0.4 | n |  | TRUE
48 | bus_LV_329-25_0_4_node_9 | 0.4 | n |  | TRUE
49 | bus_LV_329-25_0_4_node_27 | 0.4 | n |  | TRUE
50 | bus_LV_329-25_0_4_node_78 | 0.4 | n |  | TRUE
51 | bus_LV_329-25_0_4_node_77 | 0.4 | n |  | TRUE
52 | bus_LV_329-25_0_4_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_329-25_0_4_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_329-25_0_4_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_329-25_0_4_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_329-25_0_4_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_329-25_0_4_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_329-25_0_4_node_62 | 0.4 | n |  | TRUE
59 | bus_LV_329-25_0_4_node_38 | 0.4 | n |  | TRUE
60 | bus_LV_329-25_0_4_node_33 | 0.4 | n |  | TRUE
61 | bus_LV_329-25_0_4_node_65 | 0.4 | n |  | TRUE
62 | bus_LV_329-25_0_4_node_74 | 0.4 | n |  | TRUE
63 | bus_LV_329-25_0_4_node_67 | 0.4 | n |  | TRUE
64 | bus_LV_329-25_0_4_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_329-25_0_4_node_34 | 0.4 | n |  | TRUE
66 | bus_LV_329-25_0_4_node_35 | 0.4 | n |  | TRUE
67 | bus_LV_329-25_0_4_node_36 | 0.4 | n |  | TRUE
68 | bus_LV_329-25_0_4_node_37 | 0.4 | n |  | TRUE
69 | bus_LV_329-25_0_4_node_53 | 0.4 | n |  | TRUE
70 | bus_LV_329-25_0_4_node_55 | 0.4 | n |  | TRUE
71 | bus_LV_329-25_0_4_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_329-25_0_4_node_66 | 0.4 | n |  | TRUE
73 | bus_LV_329-25_0_4_node_68 | 0.4 | n |  | TRUE
74 | bus_MV_584_0_node_108 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_329-25_0_4_load_0 | 0 | 0.0055705 | 0.0013961 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_329-25_0_4_load_1 | 1 | 0.020217 | 0.0050669 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_329-25_0_4_load_4 | 4 | 0.011003 | 0.0027575 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_329-25_0_4_load_48 | 9 | 0.019844 | 0.0049734 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_329-25_0_4_load_40 | 10 | 0.040135 | 0.010059 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_329-25_0_4_load_79 | 11 | 0.01504 | 0.0037695 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_329-25_0_4_load_32 | 15 | 0.02873 | 0.0072005 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_329-25_0_4_load_39 | 18 | 0.0035265 | 0.00088383 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_329-25_0_4_load_76 | 20 | 0.022194 | 0.0055624 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_329-25_0_4_load_60 | 21 | 0.012796 | 0.0032069 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_329-25_0_4_load_52 | 23 | 0.0064783 | 0.0016236 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_329-25_0_4_load_80 | 25 | 0.013501 | 0.0033837 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_329-25_0_4_load_72 | 27 | 0.0023945 | 0.00060012 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_329-25_0_4_load_69 | 28 | 0.010821 | 0.0027121 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_329-25_0_4_load_71 | 30 | 0.0045825 | 0.0011485 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_329-25_0_4_load_70 | 31 | 0.010059 | 0.0025211 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_329-25_0_4_load_59 | 33 | 0.0035064 | 0.00087877 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_329-25_0_4_load_58 | 34 | 0.0053257 | 0.0013348 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_329-25_0_4_load_50 | 37 | 0.019625 | 0.0049186 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_329-25_0_4_load_63 | 40 | 0.0018321 | 0.00045917 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_329-25_0_4_load_75 | 42 | 0.0062177 | 0.0015583 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_329-25_0_4_load_73 | 43 | 0.0032452 | 0.00081332 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_329-25_0_4_load_56 | 44 | 0.045795 | 0.011477 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_329-25_0_4_load_61 | 46 | 0.0021306 | 0.00053397 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_329-25_0_4_load_78 | 50 | 0.0040178 | 0.001007 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_329-25_0_4_load_77 | 51 | 0.014274 | 0.0035775 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_329-25_0_4_load_42 | 53 | 0.0035331 | 0.00088549 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_329-25_0_4_load_43 | 54 | 0.0083329 | 0.0020884 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_329-25_0_4_load_41 | 55 | 0.0048529 | 0.0012162 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_329-25_0_4_load_51 | 56 | 0.0094078 | 0.0023578 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_329-25_0_4_load_49 | 57 | 0.01966 | 0.0049274 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_329-25_0_4_load_62 | 58 | 0.0025347 | 0.00063524 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_329-25_0_4_load_38 | 59 | 0.0099119 | 0.0024842 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_329-25_0_4_load_33 | 60 | 0.0094044 | 0.002357 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_329-25_0_4_load_65 | 61 | 0.020042 | 0.0050229 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_329-25_0_4_load_74 | 62 | 0.004311 | 0.0010804 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_329-25_0_4_load_54 | 64 | 0.0055107 | 0.0013811 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_329-25_0_4_load_34 | 65 | 0.027746 | 0.0069537 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_329-25_0_4_load_35 | 66 | 0.014463 | 0.0036248 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_329-25_0_4_load_36 | 67 | 0.010682 | 0.0026771 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_329-25_0_4_load_37 | 68 | 0.016134 | 0.0040436 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_329-25_0_4_load_53 | 69 | 0.0052779 | 0.0013228 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_329-25_0_4_load_55 | 70 | 0.002437 | 0.00061077 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_329-25_0_4_load_57 | 71 | 0.021342 | 0.0053489 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_329-25_0_4_load_68 | 73 | 0.011946 | 0.0029939 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_329-25_0_4_line_0 |  | 0 | 1 | 0.034968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_329-25_0_4_line_1 |  | 0 | 2 | 0.010649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_329-25_0_4_line_2 |  | 1 | 3 | 0.012012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_329-25_0_4_line_3 |  | 2 | 4 | 0.017741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_329-25_0_4_line_4 |  | 2 | 5 | 0.0177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_329-25_0_4_line_5 |  | 3 | 6 | 0.018317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_329-25_0_4_line_6 |  | 4 | 7 | 0.028638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_329-25_0_4_line_7 |  | 5 | 8 | 0.032395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_329-25_0_4_line_8 |  | 5 | 9 | 0.022113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_329-25_0_4_line_9 |  | 6 | 11 | 0.007676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_329-25_0_4_line_10 |  | 6 | 12 | 0.028537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_329-25_0_4_line_11 |  | 7 | 22 | 0.019883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_329-25_0_4_line_12 |  | 7 | 48 | 0.030573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_329-25_0_4_line_13 |  | 8 | 10 | 0.0087244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_329-25_0_4_line_14 |  | 9 | 36 | 0.037814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_329-25_0_4_line_15 |  | 10 | 55 | 0.0043227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_329-25_0_4_line_16 |  | 12 | 15 | 0.022173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_329-25_0_4_line_17 |  | 12 | 13 | 0.011439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_329-25_0_4_line_18 |  | 13 | 14 | 0.023964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_329-25_0_4_line_19 |  | 14 | 42 | 0.021282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_329-25_0_4_line_20 |  | 14 | 20 | 0.032464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_329-25_0_4_line_21 |  | 14 | 44 | 0.027191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_329-25_0_4_line_22 |  | 15 | 60 | 0.026387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_329-25_0_4_line_23 |  | 16 | 17 | 0.0099066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_329-25_0_4_line_24 |  | 16 | 18 | 0.03585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_329-25_0_4_line_25 |  | 17 | 28 | 0.03608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_329-25_0_4_line_26 |  | 18 | 59 | 0.032225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_329-25_0_4_line_27 |  | 19 | 20 | 0.032893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_329-25_0_4_line_28 |  | 19 | 21 | 0.024007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_329-25_0_4_line_29 |  | 21 | 32 | 0.0050941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_329-25_0_4_line_30 |  | 22 | 23 | 0.012784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_329-25_0_4_line_31 |  | 23 | 56 | 0.015558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_329-25_0_4_line_32 |  | 24 | 25 | 0.00394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_329-25_0_4_line_33 |  | 24 | 26 | 0.048278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_329-25_0_4_line_34 |  | 26 | 27 | 0.026254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_329-25_0_4_line_35 |  | 27 | 47 | 0.016288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_329-25_0_4_line_36 |  | 29 | 30 | 0.018315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_329-25_0_4_line_37 |  | 29 | 31 | 0.028916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_329-25_0_4_line_38 |  | 30 | 63 | 0.014859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_329-25_0_4_line_39 |  | 32 | 33 | 0.02489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_329-25_0_4_line_40 |  | 32 | 34 | 0.0053928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_329-25_0_4_line_41 |  | 33 | 47 | 0.0077627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_329-25_0_4_line_42 |  | 35 | 36 | 0.006287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_329-25_0_4_line_43 |  | 35 | 37 | 0.018263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_329-25_0_4_line_44 |  | 37 | 57 | 0.00013767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_329-25_0_4_line_45 |  | 38 | 39 | 0.028432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_329-25_0_4_line_46 |  | 38 | 40 | 0.029574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_329-25_0_4_line_47 |  | 39 | 61 | 0.0033078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_329-25_0_4_line_48 |  | 40 | 45 | 0.01142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_329-25_0_4_line_49 |  | 41 | 42 | 0.0063977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_329-25_0_4_line_50 |  | 41 | 43 | 0.03886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_329-25_0_4_line_51 |  | 43 | 62 | 0.010374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_329-25_0_4_line_52 |  | 44 | 64 | 0.019225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_329-25_0_4_line_53 |  | 45 | 46 | 0.026699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_329-25_0_4_line_54 |  | 46 | 58 | 0.013958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_329-25_0_4_line_55 |  | 48 | 49 | 0.0052844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_329-25_0_4_line_56 |  | 48 | 50 | 0.020517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_329-25_0_4_line_57 |  | 49 | 51 | 0.011271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_329-25_0_4_line_58 |  | 52 | 53 | 0.023432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_329-25_0_4_line_59 |  | 52 | 54 | 0.04314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_329-25_0_4_line_60 |  | 53 | 55 | 0.013174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_329-25_0_4_line_61 |  | 59 | 68 | 0.013184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_329-25_0_4_line_62 |  | 60 | 65 | 0.0015692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_329-25_0_4_line_63 |  | 61 | 72 | 0.017988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_329-25_0_4_line_64 |  | 62 | 73 | 0.012994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_329-25_0_4_line_65 |  | 63 | 72 | 0.048496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_329-25_0_4_line_66 |  | 64 | 69 | 0.0029736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_329-25_0_4_line_67 |  | 65 | 66 | 0.013015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_329-25_0_4_line_68 |  | 66 | 67 | 0.0061933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_329-25_0_4_line_69 |  | 67 | 68 | 0.0089998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_329-25_0_4_line_70 |  | 69 | 70 | 0.013232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_329-25_0_4_line_71 |  | 70 | 71 | 0.023467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_329-25_0_4_line_72 |  | 72 | 73 | 0.01028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_329-25_0_4_trafo_79 | 0.63 MVA 20/0.4 kV | 74 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2626723.7656 | 1229229.2751 | 2626732.0974 | 1229226.1661 | 2626734.7117 | 1229200.2224
1 | 2626714.6578 | 1229234.7931 | 2626723.7656 | 1229229.2751
2 | 2626734.2675 | 1229188.2641 | 2626735.0548 | 1229196.8173 | 2626734.7117 | 1229200.2224
3 | 2626714.6578 | 1229234.7931 | 2626703.6327 | 1229223.6036 | 2626701.7726 | 1229222.7846
4 | 2626714.6578 | 1229234.7931 | 2626721.2589 | 1229237.5355 | 2626728.9364 | 1229240.1159 | 2626727.0808 | 1229241.7197
5 | 2626738.7183 | 1229170.4956 | 2626734.2675 | 1229188.2641
6 | 2626676.8818 | 1229208.7971 | 2626691.566 | 1229218.2908 | 2626701.7726 | 1229222.7846
7 | 2626727.0808 | 1229241.7197 | 2626728.9364 | 1229240.1159 | 2626732.2439 | 1229237.418 | 2626736.562 | 1229234.0131 | 2626743.8656 | 1229228.7538 | 2626753.2035 | 1229222.6143
8 | 2626727.0808 | 1229241.7197 | 2626709.5356 | 1229255.1792
9 | 2626738.7183 | 1229170.4956 | 2626744.3233 | 1229175.7573
10 | 2626738.7183 | 1229170.4956 | 2626743.7814 | 1229151.3624 | 2626747.1474 | 1229147.4418 | 2626750.0206 | 1229145.2867
11 | 2626676.8818 | 1229208.7971 | 2626657.0746 | 1229206.496
12 | 2626676.8818 | 1229208.7971 | 2626688.2563 | 1229194.4505 | 2626693.8314 | 1229189.4836 | 2626689.5229 | 1229187.3741
13 | 2626753.2035 | 1229222.6143 | 2626757.6406 | 1229230.1261
14 | 2626679.5329 | 1229278.1953 | 2626709.5356 | 1229255.1792
15 | 2626759.8391 | 1229233.848 | 2626757.6406 | 1229230.1261
16 | 2626750.0206 | 1229145.2867 | 2626754.8491 | 1229144.6635 | 2626758.8741 | 1229144.1257 | 2626762.9878 | 1229145.7785 | 2626770.5213 | 1229150.3472
17 | 2626739.0273 | 1229142.1799 | 2626739.0725 | 1229142.2246 | 2626743.9687 | 1229143.3806 | 2626750.0206 | 1229145.2867
18 | 2626739.0273 | 1229142.1799 | 2626739.0725 | 1229142.2246 | 2626743.9687 | 1229143.3806 | 2626747.5298 | 1229138.1935 | 2626750.8805 | 1229132.6385 | 2626754.0704 | 1229127.4497
19 | 2626754.0704 | 1229127.4497 | 2626765.2128 | 1229109.318
20 | 2626754.0704 | 1229127.4497 | 2626729.5182 | 1229106.2106
21 | 2626754.0704 | 1229127.4497 | 2626768.4815 | 1229138.7212 | 2626775.9013 | 1229143.6277
22 | 2626770.5213 | 1229150.3472 | 2626780.0167 | 1229156.1057 | 2626788.2118 | 1229161.5236 | 2626792.4978 | 1229164.9033
23 | 2626877.5957 | 1229238.7615 | 2626873.163 | 1229240.676 | 2626869.7673 | 1229244.4519
24 | 2626869.7673 | 1229244.4519 | 2626860.8316 | 1229233.6384 | 2626845.7859 | 1229217.8316
25 | 2626877.5957 | 1229238.7615 | 2626856.9362 | 1229217.1887 | 2626852.6177 | 1229212.726
26 | 2626845.7859 | 1229217.8316 | 2626823.568 | 1229194.4898
27 | 2626704.6419 | 1229084.6911 | 2626729.5182 | 1229106.2106
28 | 2626704.6419 | 1229084.6911 | 2626698.1121 | 1229077.8466 | 2626697.5831 | 1229075.8653 | 2626698.1389 | 1229073.5552 | 2626699.6168 | 1229071.7274 | 2626705.3297 | 1229066.461
29 | 2626701.9073 | 1229062.6878 | 2626704.5306 | 1229065.5791 | 2626705.3297 | 1229066.461
30 | 2626657.0746 | 1229206.496 | 2626657.525 | 1229219.2724
31 | 2626657.525 | 1229219.2724 | 2626646.8383 | 1229230.5788
32 | 2626758.9782 | 1229046.7675 | 2626760.682 | 1229050.3218
33 | 2626747.8534 | 1229003.7361 | 2626750.948 | 1229029.8991 | 2626748.1296 | 1229031.6319 | 2626754.332 | 1229040.5318 | 2626758.9782 | 1229046.7675
34 | 2626747.8534 | 1229003.7361 | 2626739.2384 | 1229019.229 | 2626734.3684 | 1229026.2289
35 | 2626724.739 | 1229039.3539 | 2626728.289 | 1229034.9671 | 2626734.3684 | 1229026.2289
36 | 2626784.4826 | 1229018.7986 | 2626786.8539 | 1229018.787 | 2626787.3949 | 1229028.1951 | 2626793.8992 | 1229028.655
37 | 2626784.4826 | 1229018.7986 | 2626784.3655 | 1229011.149 | 2626805.6301 | 1229011.2979
38 | 2626808.7214 | 1229029.7031 | 2626793.8992 | 1229028.655
39 | 2626701.9073 | 1229062.6878 | 2626713.5797 | 1229051.2332 | 2626719.4241 | 1229045.0117
40 | 2626701.9073 | 1229062.6878 | 2626698.0454 | 1229058.9238
41 | 2626724.739 | 1229039.3539 | 2626719.4241 | 1229045.0117
42 | 2626679.5329 | 1229278.1953 | 2626674.4785 | 1229281.9527
43 | 2626674.4785 | 1229281.9527 | 2626663.4131 | 1229267.4241
44 | 2626663.3296 | 1229267.3146 | 2626663.4131 | 1229267.4241
45 | 2626861.1506 | 1229073.8991 | 2626832.7385 | 1229076.317
46 | 2626861.1506 | 1229073.8991 | 2626890.035 | 1229067.5478
47 | 2626832.7385 | 1229076.317 | 2626829.4425 | 1229076.5957
48 | 2626899.1116 | 1229060.6179 | 2626890.035 | 1229067.5478
49 | 2626768.5624 | 1229103.8672 | 2626765.2128 | 1229109.318
50 | 2626768.5624 | 1229103.8672 | 2626771.6572 | 1229094.5644 | 2626763.7888 | 1229082.166 | 2626778.1607 | 1229082.1574
51 | 2626778.1607 | 1229082.1574 | 2626783.4326 | 1229082.1543 | 2626788.4826 | 1229081.4274
52 | 2626791.9375 | 1229154.2321 | 2626775.9013 | 1229143.6277
53 | 2626899.1116 | 1229060.6179 | 2626919.0819 | 1229078.3381
54 | 2626919.0819 | 1229078.3381 | 2626929.5225 | 1229087.6025
55 | 2626689.5229 | 1229187.3741 | 2626692.4502 | 1229183.2737 | 2626692.231 | 1229183.1615
56 | 2626689.5229 | 1229187.3741 | 2626674.1841 | 1229180.2345 | 2626670.8205 | 1229178.958
57 | 2626692.231 | 1229183.1615 | 2626694.6408 | 1229179.6257 | 2626698.8161 | 1229181.0342 | 2626701.3564 | 1229181.5153
58 | 2626771.7927 | 1229268.3253 | 2626768.0858 | 1229255.412 | 2626764.9246 | 1229245.9273
59 | 2626771.7927 | 1229268.3253 | 2626813.8249 | 1229258.612
60 | 2626759.8391 | 1229233.848 | 2626762.2705 | 1229237.9642 | 2626764.9246 | 1229245.9273
61 | 2626814.4779 | 1229184.9399 | 2626823.568 | 1229194.4898
62 | 2626793.73 | 1229165.8749 | 2626792.4978 | 1229164.9033
63 | 2626811.5186 | 1229078.1115 | 2626829.4425 | 1229076.5957
64 | 2626788.4826 | 1229081.4274 | 2626801.3438 | 1229079.5761
65 | 2626808.7214 | 1229029.7031 | 2626811.5186 | 1229078.1115
66 | 2626794.3119 | 1229156.0101 | 2626793.3992 | 1229155.1987 | 2626791.9375 | 1229154.2321
67 | 2626793.73 | 1229165.8749 | 2626798.4782 | 1229169.6191 | 2626803.6 | 1229174.3444
68 | 2626808.1521 | 1229178.5439 | 2626803.6 | 1229174.3444
69 | 2626814.4779 | 1229184.9399 | 2626810.1038 | 1229180.3445 | 2626808.1521 | 1229178.5439
70 | 2626794.3119 | 1229156.0101 | 2626804.2002 | 1229164.8022
71 | 2626804.2002 | 1229164.8022 | 2626820.985 | 1229179.7264 | 2626821.6778 | 1229180.457
72 | 2626811.5186 | 1229078.1115 | 2626801.3438 | 1229079.5761

## bus_geodata
| x | y | coords
0 | 2626723.7656 | 1229229.2751
1 | 2626734.7117 | 1229200.2224
2 | 2626714.6578 | 1229234.7931
3 | 2626734.2675 | 1229188.2641
4 | 2626701.7726 | 1229222.7846
5 | 2626727.0808 | 1229241.7197
6 | 2626738.7183 | 1229170.4956
7 | 2626676.8818 | 1229208.7971
8 | 2626753.2035 | 1229222.6143
9 | 2626709.5356 | 1229255.1792
10 | 2626757.6406 | 1229230.1261
11 | 2626744.3233 | 1229175.7573
12 | 2626750.0206 | 1229145.2867
13 | 2626739.0273 | 1229142.1799
14 | 2626754.0704 | 1229127.4497
15 | 2626770.5212 | 1229150.3472
16 | 2626869.7673 | 1229244.4519
17 | 2626877.5957 | 1229238.7615
18 | 2626845.7859 | 1229217.8316
19 | 2626704.6419 | 1229084.6911
20 | 2626729.5182 | 1229106.2106
21 | 2626705.3297 | 1229066.461
22 | 2626657.0746 | 1229206.496
23 | 2626657.525 | 1229219.2724
24 | 2626758.9782 | 1229046.7675
25 | 2626760.6819 | 1229050.3218
26 | 2626747.8534 | 1229003.7361
27 | 2626734.3684 | 1229026.229
28 | 2626852.6177 | 1229212.726
29 | 2626784.4826 | 1229018.7986
30 | 2626793.8992 | 1229028.655
31 | 2626805.6301 | 1229011.2979
32 | 2626701.9073 | 1229062.6878
33 | 2626719.4241 | 1229045.0117
34 | 2626698.0454 | 1229058.9238
35 | 2626674.4785 | 1229281.9527
36 | 2626679.533 | 1229278.1953
37 | 2626663.4131 | 1229267.4241
38 | 2626861.1506 | 1229073.8991
39 | 2626832.7385 | 1229076.317
40 | 2626890.035 | 1229067.5478
41 | 2626768.5624 | 1229103.8672
42 | 2626765.2128 | 1229109.318
43 | 2626778.1607 | 1229082.1574
44 | 2626775.9013 | 1229143.6277
45 | 2626899.1116 | 1229060.6179
46 | 2626919.0819 | 1229078.3381
47 | 2626724.739 | 1229039.3539
48 | 2626689.5229 | 1229187.3741
49 | 2626692.231 | 1229183.1615
50 | 2626670.8205 | 1229178.958
51 | 2626701.3564 | 1229181.5153
52 | 2626771.7927 | 1229268.3253
53 | 2626764.9246 | 1229245.9273
54 | 2626813.8249 | 1229258.612
55 | 2626759.8391 | 1229233.848
56 | 2626646.8383 | 1229230.5788
57 | 2626663.3296 | 1229267.3146
58 | 2626929.5225 | 1229087.6025
59 | 2626823.568 | 1229194.4898
60 | 2626792.4978 | 1229164.9033
61 | 2626829.4425 | 1229076.5957
62 | 2626788.4826 | 1229081.4274
63 | 2626808.7214 | 1229029.7031
64 | 2626791.9375 | 1229154.2321
65 | 2626793.73 | 1229165.8749
66 | 2626803.6 | 1229174.3444
67 | 2626808.1521 | 1229178.5439
68 | 2626814.4779 | 1229184.9399
69 | 2626794.3119 | 1229156.0101
70 | 2626804.2002 | 1229164.8022
71 | 2626821.6778 | 1229180.457
72 | 2626811.5186 | 1229078.1115
73 | 2626801.3438 | 1229079.5761
74 | 2626738.7183 | 1229170.4956

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1