## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_329-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_329-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_329-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_329-2_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_329-2_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_329-2_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_329-2_0_3_node_28 | 0.4 | n |  | TRUE
7 | bus_LV_329-2_0_3_node_23 | 0.4 | n |  | TRUE
8 | bus_LV_329-2_0_3_node_67 | 0.4 | n |  | TRUE
9 | bus_LV_329-2_0_3_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_329-2_0_3_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_329-2_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_329-2_0_3_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_329-2_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_329-2_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_329-2_0_3_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_329-2_0_3_node_25 | 0.4 | n |  | TRUE
17 | bus_LV_329-2_0_3_node_26 | 0.4 | n |  | TRUE
18 | bus_LV_329-2_0_3_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_329-2_0_3_node_27 | 0.4 | n |  | TRUE
20 | bus_LV_329-2_0_3_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_329-2_0_3_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_329-2_0_3_node_90 | 0.4 | n |  | TRUE
23 | bus_LV_329-2_0_3_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_329-2_0_3_node_82 | 0.4 | n |  | TRUE
25 | bus_LV_329-2_0_3_node_79 | 0.4 | n |  | TRUE
26 | bus_LV_329-2_0_3_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_329-2_0_3_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_329-2_0_3_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_329-2_0_3_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_329-2_0_3_node_68 | 0.4 | n |  | TRUE
31 | bus_LV_329-2_0_3_node_7 | 0.4 | n |  | TRUE
32 | bus_LV_329-2_0_3_node_78 | 0.4 | n |  | TRUE
33 | bus_LV_329-2_0_3_node_89 | 0.4 | n |  | TRUE
34 | bus_LV_329-2_0_3_node_71 | 0.4 | n |  | TRUE
35 | bus_LV_329-2_0_3_node_83 | 0.4 | n |  | TRUE
36 | bus_LV_329-2_0_3_node_80 | 0.4 | n |  | TRUE
37 | bus_LV_329-2_0_3_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_329-2_0_3_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_329-2_0_3_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_329-2_0_3_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_329-2_0_3_node_46 | 0.4 | n |  | TRUE
42 | bus_LV_329-2_0_3_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_329-2_0_3_node_87 | 0.4 | n |  | TRUE
44 | bus_LV_329-2_0_3_node_86 | 0.4 | n |  | TRUE
45 | bus_LV_329-2_0_3_node_76 | 0.4 | n |  | TRUE
46 | bus_LV_329-2_0_3_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_329-2_0_3_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_329-2_0_3_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_329-2_0_3_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_329-2_0_3_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_329-2_0_3_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_329-2_0_3_node_77 | 0.4 | n |  | TRUE
53 | bus_LV_329-2_0_3_node_73 | 0.4 | n |  | TRUE
54 | bus_LV_329-2_0_3_node_74 | 0.4 | n |  | TRUE
55 | bus_LV_329-2_0_3_node_72 | 0.4 | n |  | TRUE
56 | bus_LV_329-2_0_3_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_329-2_0_3_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_329-2_0_3_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_329-2_0_3_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_329-2_0_3_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_329-2_0_3_node_53 | 0.4 | n |  | TRUE
62 | bus_LV_329-2_0_3_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_329-2_0_3_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_329-2_0_3_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_329-2_0_3_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_329-2_0_3_node_51 | 0.4 | n |  | TRUE
67 | bus_LV_329-2_0_3_node_52 | 0.4 | n |  | TRUE
68 | bus_LV_329-2_0_3_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_329-2_0_3_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_329-2_0_3_node_59 | 0.4 | n |  | TRUE
71 | bus_LV_329-2_0_3_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_329-2_0_3_node_62 | 0.4 | n |  | TRUE
73 | bus_LV_329-2_0_3_node_63 | 0.4 | n |  | TRUE
74 | bus_LV_329-2_0_3_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_329-2_0_3_node_61 | 0.4 | n |  | TRUE
76 | bus_LV_329-2_0_3_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_329-2_0_3_node_65 | 0.4 | n |  | TRUE
78 | bus_LV_329-2_0_3_node_66 | 0.4 | n |  | TRUE
79 | bus_LV_329-2_0_3_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_329-2_0_3_node_69 | 0.4 | n |  | TRUE
81 | bus_LV_329-2_0_3_node_88 | 0.4 | n |  | TRUE
82 | bus_LV_329-2_0_3_node_85 | 0.4 | n |  | TRUE
83 | bus_LV_329-2_0_3_node_75 | 0.4 | n |  | TRUE
84 | bus_LV_329-2_0_3_node_81 | 0.4 | n |  | TRUE
85 | bus_LV_329-2_0_3_node_84 | 0.4 | n |  | TRUE
86 | bus_MV_481_1_node_100 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_329-2_0_3_load_0 | 0 | 0.04458 | 0.011173 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_329-2_0_3_load_1 | 1 | 0.0094967 | 0.0023801 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_329-2_0_3_load_4 | 4 | 0.0014988 | 0.00037564 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_329-2_0_3_load_5 | 5 | 0.0011261 | 0.00028224 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_329-2_0_3_load_23 | 7 | 0.0012451 | 0.00031206 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_329-2_0_3_load_67 | 8 | 0.00090587 | 0.00022703 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_329-2_0_3_load_6 | 11 | 0.0096641 | 0.0024221 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_329-2_0_3_load_9 | 13 | 0.0021086 | 0.00052846 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_329-2_0_3_load_25 | 16 | 0.0073947 | 0.0018533 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_329-2_0_3_load_26 | 17 | 0.0056647 | 0.0014197 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_329-2_0_3_load_24 | 18 | 0.0252 | 0.0063156 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_329-2_0_3_load_27 | 19 | 0.042265 | 0.010593 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_329-2_0_3_load_90 | 22 | 0.0061734 | 0.0015472 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_329-2_0_3_load_82 | 24 | 0.0048502 | 0.0012156 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_329-2_0_3_load_79 | 25 | 0.011866 | 0.002974 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_329-2_0_3_load_29 | 28 | 0.0039699 | 0.00099494 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_329-2_0_3_load_21 | 29 | 0.00089583 | 0.00022452 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_329-2_0_3_load_68 | 30 | 0.0017503 | 0.00043867 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_329-2_0_3_load_7 | 31 | 0.0020847 | 0.00052248 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_329-2_0_3_load_78 | 32 | 0.00080109 | 0.00020077 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_329-2_0_3_load_89 | 33 | 0.0052465 | 0.0013149 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_329-2_0_3_load_83 | 35 | 0.0045715 | 0.0011457 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_329-2_0_3_load_80 | 36 | 0.011898 | 0.0029818 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_329-2_0_3_load_20 | 37 | 0.0069852 | 0.0017507 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_329-2_0_3_load_34 | 39 | 0.0032088 | 0.00080421 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_329-2_0_3_load_31 | 40 | 0.0010598 | 0.0002656 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_329-2_0_3_load_46 | 41 | 0.0029077 | 0.00072874 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_329-2_0_3_load_32 | 42 | 0.00039658 | 9.9391e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_329-2_0_3_load_87 | 43 | 0.0058398 | 0.0014636 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_329-2_0_3_load_86 | 44 | 0.0058342 | 0.0014622 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_329-2_0_3_load_40 | 48 | 0.0059352 | 0.0014875 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_329-2_0_3_load_37 | 49 | 0.0012228 | 0.00030647 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_329-2_0_3_load_47 | 50 | 0.0016927 | 0.00042423 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_329-2_0_3_load_41 | 51 | 0.010618 | 0.002661 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_329-2_0_3_load_77 | 52 | 0.00072316 | 0.00018124 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_329-2_0_3_load_73 | 53 | 0.0010303 | 0.00025821 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_329-2_0_3_load_74 | 54 | 0.0012444 | 0.00031187 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_329-2_0_3_load_72 | 55 | 0.0013237 | 0.00033176 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_329-2_0_3_load_54 | 56 | 0.0014028 | 0.00035157 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_329-2_0_3_load_42 | 57 | 0.0011503 | 0.0002883 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_329-2_0_3_load_43 | 58 | 0.0097786 | 0.0024508 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_329-2_0_3_load_44 | 59 | 0.0034192 | 0.00085694 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_329-2_0_3_load_45 | 60 | 0.0013739 | 0.00034434 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_329-2_0_3_load_55 | 62 | 0.0029707 | 0.00074454 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_329-2_0_3_load_50 | 63 | 0.0026609 | 0.00066689 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_329-2_0_3_load_48 | 64 | 0.0028587 | 0.00071646 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_329-2_0_3_load_49 | 65 | 0.0020374 | 0.00051063 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_329-2_0_3_load_51 | 66 | 0.0032404 | 0.00081212 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_329-2_0_3_load_52 | 67 | 0.0012877 | 0.00032273 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_329-2_0_3_load_56 | 68 | 0.0011682 | 0.00029277 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_329-2_0_3_load_57 | 69 | 0.0012161 | 0.00030478 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_329-2_0_3_load_59 | 70 | 0.0013392 | 0.00033562 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_329-2_0_3_load_58 | 71 | 0.0023287 | 0.00058362 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_329-2_0_3_load_62 | 72 | 0.00097059 | 0.00024325 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_329-2_0_3_load_63 | 73 | 0.00081514 | 0.00020429 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_329-2_0_3_load_60 | 74 | 0.0022358 | 0.00056035 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_329-2_0_3_load_61 | 75 | 0.0025853 | 0.00064794 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_329-2_0_3_load_64 | 76 | 0.0025463 | 0.00063816 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_329-2_0_3_load_65 | 77 | 0.0023587 | 0.00059115 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_329-2_0_3_load_66 | 78 | 0.0021078 | 0.00052825 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_329-2_0_3_load_69 | 80 | 0.0020645 | 0.00051741 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_329-2_0_3_load_88 | 81 | 0.0054766 | 0.0013726 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_329-2_0_3_load_75 | 83 | 0.0018886 | 0.00047333 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_329-2_0_3_load_81 | 84 | 0.0053291 | 0.0013356 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_329-2_0_3_load_84 | 85 | 0.0044291 | 0.00111 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_329-2_0_3_line_0 |  | 0 | 1 | 0.013725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_329-2_0_3_line_1 |  | 0 | 2 | 0.015341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_329-2_0_3_line_2 |  | 1 | 3 | 0.051978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_329-2_0_3_line_3 |  | 2 | 4 | 0.030272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_329-2_0_3_line_4 |  | 2 | 5 | 0.01748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_329-2_0_3_line_5 |  | 3 | 6 | 0.006488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_329-2_0_3_line_6 |  | 4 | 7 | 0.01568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_329-2_0_3_line_7 |  | 5 | 8 | 0.03791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_329-2_0_3_line_8 |  | 6 | 28 | 0.017627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_329-2_0_3_line_9 |  | 6 | 19 | 0.038398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_329-2_0_3_line_10 |  | 7 | 29 | 0.02375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_329-2_0_3_line_11 |  | 8 | 30 | 0.015488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_329-2_0_3_line_12 |  | 9 | 10 | 0.017425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_329-2_0_3_line_13 |  | 9 | 11 | 0.02604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_329-2_0_3_line_14 |  | 10 | 12 | 0.031804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_329-2_0_3_line_15 |  | 10 | 13 | 0.082525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_329-2_0_3_line_16 |  | 11 | 31 | 0.0038663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_329-2_0_3_line_17 |  | 12 | 17 | 0.05465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_329-2_0_3_line_18 |  | 12 | 18 | 0.02292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_329-2_0_3_line_19 |  | 14 | 15 | 0.043593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_329-2_0_3_line_20 |  | 14 | 16 | 0.029873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_329-2_0_3_line_21 |  | 15 | 19 | 0.050756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_329-2_0_3_line_22 |  | 16 | 18 | 0.039487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_329-2_0_3_line_23 |  | 17 | 21 | 0.048768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_329-2_0_3_line_24 |  | 20 | 21 | 0.018087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_329-2_0_3_line_25 |  | 20 | 22 | 0.044321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_329-2_0_3_line_26 |  | 22 | 26 | 0.063613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_329-2_0_3_line_27 |  | 23 | 24 | 0.015794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_329-2_0_3_line_28 |  | 23 | 25 | 0.0084704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_329-2_0_3_line_29 |  | 24 | 35 | 0.021234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_329-2_0_3_line_30 |  | 25 | 36 | 0.024259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_329-2_0_3_line_31 |  | 26 | 27 | 0.28181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_329-2_0_3_line_32 |  | 27 | 32 | 0.037297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_329-2_0_3_line_33 |  | 29 | 38 | 0.037486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_329-2_0_3_line_34 |  | 29 | 37 | 0.029299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_329-2_0_3_line_35 |  | 30 | 80 | 0.026138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_329-2_0_3_line_36 |  | 32 | 45 | 0.0089391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_329-2_0_3_line_37 |  | 33 | 34 | 0.035324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_329-2_0_3_line_38 |  | 34 | 81 | 0.058192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_329-2_0_3_line_39 |  | 34 | 79 | 0.005727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_329-2_0_3_line_40 |  | 35 | 85 | 0.060864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_329-2_0_3_line_41 |  | 36 | 84 | 0.040455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_329-2_0_3_line_42 |  | 38 | 39 | 0.018927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_329-2_0_3_line_43 |  | 38 | 40 | 0.020828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_329-2_0_3_line_44 |  | 39 | 41 | 0.003625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_329-2_0_3_line_45 |  | 40 | 42 | 0.018284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_329-2_0_3_line_46 |  | 41 | 50 | 0.013033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_329-2_0_3_line_47 |  | 42 | 46 | 0.01284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_329-2_0_3_line_48 |  | 43 | 44 | 0.0061366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_329-2_0_3_line_49 |  | 44 | 82 | 0.016354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_329-2_0_3_line_50 |  | 45 | 52 | 0.018191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_329-2_0_3_line_51 |  | 46 | 47 | 0.013764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_329-2_0_3_line_52 |  | 47 | 48 | 0.016359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_329-2_0_3_line_53 |  | 47 | 49 | 0.034027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_329-2_0_3_line_54 |  | 48 | 51 | 0.013772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_329-2_0_3_line_55 |  | 50 | 63 | 0.0078806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_329-2_0_3_line_56 |  | 51 | 57 | 0.0064991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_329-2_0_3_line_57 |  | 52 | 83 | 0.048417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_329-2_0_3_line_58 |  | 53 | 54 | 0.033233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_329-2_0_3_line_59 |  | 54 | 83 | 0.02615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_329-2_0_3_line_60 |  | 55 | 56 | 0.033917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_329-2_0_3_line_61 |  | 56 | 61 | 0.014492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_329-2_0_3_line_62 |  | 57 | 58 | 0.0031516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_329-2_0_3_line_63 |  | 59 | 60 | 0.022094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_329-2_0_3_line_64 |  | 60 | 61 | 0.012277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_329-2_0_3_line_65 |  | 61 | 62 | 0.039154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_329-2_0_3_line_66 |  | 62 | 70 | 0.017179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_329-2_0_3_line_67 |  | 63 | 64 | 0.0026752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_329-2_0_3_line_68 |  | 64 | 65 | 0.0081085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_329-2_0_3_line_69 |  | 65 | 66 | 0.0081464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_329-2_0_3_line_70 |  | 66 | 67 | 0.014494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_329-2_0_3_line_71 |  | 67 | 68 | 0.0019265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_329-2_0_3_line_72 |  | 68 | 69 | 0.017679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_329-2_0_3_line_73 |  | 69 | 72 | 0.0020389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_329-2_0_3_line_74 |  | 70 | 71 | 0.013653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_329-2_0_3_line_75 |  | 71 | 74 | 0.012777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_329-2_0_3_line_76 |  | 72 | 73 | 0.018858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_329-2_0_3_line_77 |  | 73 | 78 | 0.008546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_329-2_0_3_line_78 |  | 74 | 75 | 0.012409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_329-2_0_3_line_79 |  | 75 | 76 | 0.019404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_329-2_0_3_line_80 |  | 76 | 77 | 0.010371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_329-2_0_3_line_81 |  | 77 | 79 | 0.019738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_329-2_0_3_line_82 |  | 79 | 80 | 0.019536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_329-2_0_3_line_83 |  | 81 | 82 | 0.013514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_329-2_0_3_line_84 |  | 82 | 84 | 0.029427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_329-2_0_3_trafo_1 | 0.63 MVA 20/0.4 kV | 86 | 1 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2626507.5237 | 1229892.5065 | 2626506.919 | 1229878.7951
1 | 2626508.2001 | 1229907.8329 | 2626507.9661 | 1229902.5398 | 2626507.5237 | 1229892.5065
2 | 2626504.6292 | 1229826.8681 | 2626506.919 | 1229878.7951
3 | 2626508.2001 | 1229907.8329 | 2626509.2102 | 1229938.0877
4 | 2626508.2001 | 1229907.8329 | 2626525.6683 | 1229907.1795
5 | 2626504.6292 | 1229826.8681 | 2626511.136 | 1229826.8415
6 | 2626509.7334 | 1229953.7592 | 2626509.2102 | 1229938.0877
7 | 2626525.6683 | 1229907.1795 | 2626552.5568 | 1229906.1738 | 2626559.13 | 1229914.9974 | 2626559.13 | 1229914.9974
8 | 2626511.136 | 1229826.8415 | 2626515.0296 | 1229828.5042 | 2626528.413 | 1229827.998
9 | 2626511.136 | 1229826.8415 | 2626510.3781 | 1229823.525 | 2626509.4025 | 1229788.5429
10 | 2626510.5259 | 1229977.4965 | 2626509.7334 | 1229953.7592
11 | 2626559.13 | 1229914.9974 | 2626566.3826 | 1229919.2656 | 2626573.4531 | 1229919.0989
12 | 2626423.1467 | 1229769.1491 | 2626415.6155 | 1229767.8594 | 2626410.0653 | 1229775.9174
13 | 2626410.0653 | 1229775.9174 | 2626405.5474 | 1229783.502 | 2626406.0493 | 1229800.7066
14 | 2626423.1467 | 1229769.1491 | 2626415.6155 | 1229767.8594 | 2626409.1041 | 1229763.7947 | 2626405.2086 | 1229759.1302 | 2626402.2891 | 1229754.7146 | 2626401.8118 | 1229749.6205
15 | 2626423.1467 | 1229769.1491 | 2626426.4551 | 1229851.6075
16 | 2626406.0493 | 1229800.7066 | 2626406.162 | 1229804.5713
17 | 2626401.8118 | 1229749.6205 | 2626389.8132 | 1229749.6452 | 2626377.2857 | 1229747.6552 | 2626367.8103 | 1229744.0777 | 2626357.5012 | 1229740.6189 | 2626350.8569 | 1229734.6004
18 | 2626401.8118 | 1229749.6205 | 2626404.8958 | 1229749.3896 | 2626407.1726 | 1229748.388 | 2626409.6176 | 1229745.3525 | 2626413.1253 | 1229741.8215 | 2626416.0286 | 1229739.6219 | 2626420.4876 | 1229737.7843
19 | 2626481.7147 | 1229712.9641 | 2626482.1237 | 1229718.0912 | 2626482.5253 | 1229724.886 | 2626482.5604 | 1229725.4976 | 2626488.6204 | 1229732.2731 | 2626492.9975 | 1229737.6514 | 2626502.2853 | 1229737.4147 | 2626507.9874 | 1229737.807
20 | 2626481.7147 | 1229712.9641 | 2626471.4268 | 1229713.263 | 2626459.2658 | 1229714.0094 | 2626452.1874 | 1229714.8007 | 2626451.9449 | 1229714.9295
21 | 2626507.9874 | 1229737.807 | 2626509.4025 | 1229788.5429
22 | 2626420.4876 | 1229737.7843 | 2626420.726 | 1229737.686 | 2626424.0106 | 1229736.6333 | 2626428.5058 | 1229734.1629 | 2626435.2545 | 1229729.1564 | 2626440.1518 | 1229723.1523 | 2626445.0654 | 1229718.5825 | 2626451.9449 | 1229714.9295
23 | 2626314.1717 | 1229706.6736 | 2626316.1732 | 1229704.5812 | 2626345.8825 | 1229730.0945 | 2626350.8569 | 1229734.6004
24 | 2626314.1717 | 1229706.6736 | 2626317.2962 | 1229709.289 | 2626327.9743 | 1229718.4083
25 | 2626327.9743 | 1229718.4083 | 2626356.1197 | 1229684.1715
26 | 2626393.3119 | 1229635.325 | 2626395.0628 | 1229636.8003 | 2626356.1197 | 1229684.1715
27 | 2626620.0378 | 1229757.3072 | 2626629.4958 | 1229763.0529 | 2626634.1942 | 1229763.5735
28 | 2626620.0378 | 1229757.3072 | 2626613.6803 | 1229762.9044 | 2626613.6803 | 1229762.9044
29 | 2626655.1772 | 1229762.6054 | 2626651.7094 | 1229763.7749 | 2626641.2081 | 1229764.3505 | 2626634.1942 | 1229763.5735
30 | 2626613.6803 | 1229762.9044 | 2626608.6608 | 1229770.7868 | 2626605.4884 | 1229777.2543 | 2626605.6348 | 1229784.9635
31 | 2626310.8273 | 1229849.8675 | 2626285.2625 | 1229822.4604 | 2626269.47 | 1229801.6893 | 2626262.7907 | 1229796.1676 | 2626267.4433 | 1229790.6292 | 2626265.5567 | 1229789.0311 | 2626393.3119 | 1229635.325
32 | 2626310.8273 | 1229849.8675 | 2626335.1369 | 1229878.1535
33 | 2626510.5259 | 1229977.4965 | 2626512.0028 | 1230014.9479
34 | 2626510.5259 | 1229977.4965 | 2626481.2302 | 1229977.085
35 | 2626599.5841 | 1229918.4829 | 2626573.4531 | 1229919.0989
36 | 2626340.9633 | 1229884.933 | 2626335.1369 | 1229878.1535
37 | 2626620.9419 | 1229912.594 | 2626656.2569 | 1229911.815
38 | 2626620.9419 | 1229912.594 | 2626622.2546 | 1229908.6975 | 2626623.3888 | 1229900.6532 | 2626622.8454 | 1229893.4353 | 2626621.6149 | 1229887.4262 | 2626617.0429 | 1229879.9568 | 2626612.195 | 1229873.2089 | 2626609.7995 | 1229863.4812 | 2626610.0023 | 1229857.9858
39 | 2626619.1149 | 1229918.0224 | 2626620.9419 | 1229912.594
40 | 2626655.1772 | 1229762.6054 | 2626667.0336 | 1229758.607 | 2626679.6309 | 1229755.1391 | 2626688.652 | 1229758.6149 | 2626691.3122 | 1229768.4328 | 2626689.9393 | 1229780.6785 | 2626689.6605 | 1229783.7895
41 | 2626605.6348 | 1229784.9635 | 2626605.654 | 1229785.9714 | 2626607.2584 | 1229793.0717 | 2626613.9138 | 1229802.1736 | 2626617.7608 | 1229807.4718 | 2626623.2524 | 1229812.5661 | 2626625.4504 | 1229819.0576
42 | 2626512.0028 | 1230014.9479 | 2626530.9037 | 1230013.9567
43 | 2626512.0028 | 1230014.9479 | 2626512.1548 | 1230021.6415 | 2626512.9577 | 1230035.7516
44 | 2626530.9037 | 1230013.9567 | 2626534.5237 | 1230013.7668
45 | 2626512.9577 | 1230035.7516 | 2626513.9964 | 1230054.0056
46 | 2626534.5237 | 1230013.7668 | 2626547.5385 | 1230013.0843
47 | 2626514.7259 | 1230066.8247 | 2626513.9964 | 1230054.0056
48 | 2626597.324 | 1229842.5668 | 2626593.7305 | 1229842.1299 | 2626591.4359 | 1229841.0961
49 | 2626613.4645 | 1229845.0753 | 2626608.5385 | 1229843.9304 | 2626597.324 | 1229842.5668
50 | 2626340.9633 | 1229884.933 | 2626346.1018 | 1229891.115 | 2626352.5918 | 1229898.9214
51 | 2626514.7259 | 1230066.8247 | 2626515.407 | 1230080.5694
52 | 2626515.407 | 1230080.5694 | 2626531.2952 | 1230084.466
53 | 2626515.407 | 1230080.5694 | 2626516.4774 | 1230097.0174 | 2626517.2829 | 1230114.5432
54 | 2626531.2952 | 1230084.466 | 2626544.6709 | 1230087.7464
55 | 2626555.4083 | 1230012.6715 | 2626547.5385 | 1230013.0843
56 | 2626544.6709 | 1230087.7464 | 2626550.9829 | 1230089.2944
57 | 2626364.6293 | 1229942.9195 | 2626366.0726 | 1229939.7994 | 2626367.1954 | 1229930.8656 | 2626366.4488 | 1229923.28 | 2626364.6897 | 1229916.8349 | 2626357.3735 | 1229904.673 | 2626352.5918 | 1229898.9214
58 | 2626326.2363 | 1229987.725 | 2626349.4831 | 1229963.976
59 | 2626364.6293 | 1229942.9195 | 2626362.2182 | 1229948.1318 | 2626355.8673 | 1229957.4538 | 2626349.4831 | 1229963.976
60 | 2626646.6649 | 1230062.0446 | 2626655.6731 | 1230062.8067 | 2626680.3258 | 1230066.1369
61 | 2626632.2241 | 1230060.8229 | 2626646.6649 | 1230062.0446
62 | 2626554.0438 | 1230090.0451 | 2626550.9829 | 1230089.2944
63 | 2626601.8733 | 1230076.9537 | 2626621.3829 | 1230066.5847
64 | 2626632.2241 | 1230060.8229 | 2626621.3829 | 1230066.5847
65 | 2626632.2241 | 1230060.8229 | 2626629.8873 | 1230021.7384
66 | 2626628.862 | 1230004.5901 | 2626629.8873 | 1230021.7384
67 | 2626558.0798 | 1230012.5314 | 2626555.4083 | 1230012.6715
68 | 2626558.0798 | 1230012.5314 | 2626559.4831 | 1230012.4578 | 2626565.6678 | 1230009.8727 | 2626565.6678 | 1230009.8727
69 | 2626565.6678 | 1230009.8727 | 2626566.7388 | 1230001.7971
70 | 2626566.7388 | 1230001.7971 | 2626566.773 | 1230001.5393 | 2626566.1168 | 1229987.3201
71 | 2626566.1168 | 1229987.3201 | 2626566.028 | 1229985.3956
72 | 2626565.2129 | 1229967.7351 | 2626566.028 | 1229985.3956
73 | 2626565.2129 | 1229967.7351 | 2626565.1189 | 1229965.6984
74 | 2626628.0472 | 1229990.9612 | 2626628.862 | 1230004.5901
75 | 2626628.0472 | 1229990.9612 | 2626627.2847 | 1229978.2074
76 | 2626565.1189 | 1229965.6984 | 2626564.2495 | 1229946.8606
77 | 2626564.2495 | 1229946.8606 | 2626563.8555 | 1229938.3237
78 | 2626626.5441 | 1229965.8204 | 2626627.2847 | 1229978.2074
79 | 2626626.5441 | 1229965.8204 | 2626626.2972 | 1229961.692 | 2626625.2541 | 1229946.459
80 | 2626624.5455 | 1229936.1127 | 2626625.2541 | 1229946.459
81 | 2626619.1149 | 1229918.0224 | 2626623.6949 | 1229923.6907 | 2626624.5455 | 1229936.1127
82 | 2626619.1149 | 1229918.0224 | 2626599.5841 | 1229918.4829
83 | 2626613.4645 | 1229845.0753 | 2626610.1528 | 1229853.9103 | 2626610.0023 | 1229857.9858
84 | 2626613.4645 | 1229845.0753 | 2626618.451 | 1229839.4609 | 2626622.3346 | 1229833.1966 | 2626624.8093 | 1229825.2251 | 2626625.4504 | 1229819.0576

## bus_geodata
| x | y | coords
0 | 2626507.5237 | 1229892.5065
1 | 2626506.919 | 1229878.7951
2 | 2626508.2001 | 1229907.8329
3 | 2626504.6292 | 1229826.8681
4 | 2626509.2102 | 1229938.0877
5 | 2626525.6683 | 1229907.1795
6 | 2626511.136 | 1229826.8415
7 | 2626509.7334 | 1229953.7592
8 | 2626559.13 | 1229914.9974
9 | 2626410.0653 | 1229775.9174
10 | 2626423.1467 | 1229769.1491
11 | 2626406.0493 | 1229800.7066
12 | 2626401.8118 | 1229749.6205
13 | 2626426.4551 | 1229851.6075
14 | 2626481.7147 | 1229712.9641
15 | 2626507.9874 | 1229737.807
16 | 2626451.9449 | 1229714.9295
17 | 2626350.8569 | 1229734.6004
18 | 2626420.4876 | 1229737.7843
19 | 2626509.4025 | 1229788.5429
20 | 2626327.9743 | 1229718.4083
21 | 2626314.1717 | 1229706.6736
22 | 2626356.1197 | 1229684.1715
23 | 2626620.0378 | 1229757.3072
24 | 2626634.1942 | 1229763.5735
25 | 2626613.6803 | 1229762.9044
26 | 2626393.3119 | 1229635.325
27 | 2626310.8273 | 1229849.8675
28 | 2626528.413 | 1229827.998
29 | 2626510.5259 | 1229977.4965
30 | 2626573.4531 | 1229919.0989
31 | 2626406.162 | 1229804.5713
32 | 2626335.1369 | 1229878.1535
33 | 2626656.2569 | 1229911.815
34 | 2626620.9419 | 1229912.594
35 | 2626655.1772 | 1229762.6054
36 | 2626605.6348 | 1229784.9635
37 | 2626481.2302 | 1229977.085
38 | 2626512.0028 | 1230014.9479
39 | 2626530.9037 | 1230013.9567
40 | 2626512.9577 | 1230035.7516
41 | 2626534.5237 | 1230013.7668
42 | 2626513.9964 | 1230054.0056
43 | 2626591.4359 | 1229841.0961
44 | 2626597.324 | 1229842.5668
45 | 2626340.9633 | 1229884.933
46 | 2626514.7259 | 1230066.8247
47 | 2626515.407 | 1230080.5694
48 | 2626531.2952 | 1230084.466
49 | 2626517.2829 | 1230114.5432
50 | 2626547.5385 | 1230013.0843
51 | 2626544.6709 | 1230087.7464
52 | 2626352.5918 | 1229898.9214
53 | 2626326.2363 | 1229987.725
54 | 2626349.4831 | 1229963.976
55 | 2626680.3258 | 1230066.1369
56 | 2626646.6649 | 1230062.0446
57 | 2626550.9829 | 1230089.2944
58 | 2626554.0438 | 1230090.0451
59 | 2626601.8733 | 1230076.9537
60 | 2626621.3829 | 1230066.5847
61 | 2626632.2241 | 1230060.8229
62 | 2626629.8873 | 1230021.7384
63 | 2626555.4083 | 1230012.6715
64 | 2626558.0798 | 1230012.5314
65 | 2626565.6678 | 1230009.8727
66 | 2626566.7388 | 1230001.7971
67 | 2626566.1168 | 1229987.3201
68 | 2626566.028 | 1229985.3956
69 | 2626565.2129 | 1229967.7351
70 | 2626628.862 | 1230004.5901
71 | 2626628.0472 | 1229990.9612
72 | 2626565.1189 | 1229965.6984
73 | 2626564.2495 | 1229946.8606
74 | 2626627.2847 | 1229978.2074
75 | 2626626.5441 | 1229965.8204
76 | 2626625.2541 | 1229946.459
77 | 2626624.5455 | 1229936.1127
78 | 2626563.8555 | 1229938.3237
79 | 2626619.1149 | 1229918.0224
80 | 2626599.5841 | 1229918.4829
81 | 2626610.0023 | 1229857.9858
82 | 2626613.4645 | 1229845.0753
83 | 2626364.6293 | 1229942.9195
84 | 2626625.4504 | 1229819.0576
85 | 2626689.6605 | 1229783.7895
86 | 2626508.2001 | 1229907.8329

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1