## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_329-32_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_329-32_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_329-32_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_329-32_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_329-32_0_4_node_38 | 0.4 | n |  | TRUE
5 | bus_LV_329-32_0_4_node_121 | 0.4 | n |  | TRUE
6 | bus_LV_329-32_0_4_node_36 | 0.4 | n |  | TRUE
7 | bus_LV_329-32_0_4_node_78 | 0.4 | n |  | TRUE
8 | bus_LV_329-32_0_4_node_86 | 0.4 | n |  | TRUE
9 | bus_LV_329-32_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_329-32_0_4_node_85 | 0.4 | n |  | TRUE
11 | bus_LV_329-32_0_4_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_329-32_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_329-32_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_329-32_0_4_node_87 | 0.4 | n |  | TRUE
15 | bus_LV_329-32_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_329-32_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_329-32_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_329-32_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_329-32_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_329-32_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_329-32_0_4_node_55 | 0.4 | n |  | TRUE
22 | bus_LV_329-32_0_4_node_54 | 0.4 | n |  | TRUE
23 | bus_LV_329-32_0_4_node_57 | 0.4 | n |  | TRUE
24 | bus_LV_329-32_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_329-32_0_4_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_329-32_0_4_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_329-32_0_4_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_329-32_0_4_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_329-32_0_4_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_329-32_0_4_node_41 | 0.4 | n |  | TRUE
31 | bus_LV_329-32_0_4_node_158 | 0.4 | n |  | TRUE
32 | bus_LV_329-32_0_4_node_156 | 0.4 | n |  | TRUE
33 | bus_LV_329-32_0_4_node_56 | 0.4 | n |  | TRUE
34 | bus_LV_329-32_0_4_node_40 | 0.4 | n |  | TRUE
35 | bus_LV_329-32_0_4_node_58 | 0.4 | n |  | TRUE
36 | bus_LV_329-32_0_4_node_157 | 0.4 | n |  | TRUE
37 | bus_LV_329-32_0_4_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_329-32_0_4_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_329-32_0_4_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_329-32_0_4_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_329-32_0_4_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_329-32_0_4_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_329-32_0_4_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_329-32_0_4_node_63 | 0.4 | n |  | TRUE
45 | bus_LV_329-32_0_4_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_329-32_0_4_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_329-32_0_4_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_329-32_0_4_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_329-32_0_4_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_329-32_0_4_node_32 | 0.4 | n |  | TRUE
51 | bus_LV_329-32_0_4_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_329-32_0_4_node_35 | 0.4 | n |  | TRUE
53 | bus_LV_329-32_0_4_node_146 | 0.4 | n |  | TRUE
54 | bus_LV_329-32_0_4_node_34 | 0.4 | n |  | TRUE
55 | bus_LV_329-32_0_4_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_329-32_0_4_node_147 | 0.4 | n |  | TRUE
57 | bus_LV_329-32_0_4_node_33 | 0.4 | n |  | TRUE
58 | bus_LV_329-32_0_4_node_39 | 0.4 | n |  | TRUE
59 | bus_LV_329-32_0_4_node_114 | 0.4 | n |  | TRUE
60 | bus_LV_329-32_0_4_node_115 | 0.4 | n |  | TRUE
61 | bus_LV_329-32_0_4_node_42 | 0.4 | n |  | TRUE
62 | bus_LV_329-32_0_4_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_329-32_0_4_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_329-32_0_4_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_329-32_0_4_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_329-32_0_4_node_50 | 0.4 | n |  | TRUE
67 | bus_LV_329-32_0_4_node_48 | 0.4 | n |  | TRUE
68 | bus_LV_329-32_0_4_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_329-32_0_4_node_143 | 0.4 | n |  | TRUE
70 | bus_LV_329-32_0_4_node_67 | 0.4 | n |  | TRUE
71 | bus_LV_329-32_0_4_node_51 | 0.4 | n |  | TRUE
72 | bus_LV_329-32_0_4_node_52 | 0.4 | n |  | TRUE
73 | bus_LV_329-32_0_4_node_61 | 0.4 | n |  | TRUE
74 | bus_LV_329-32_0_4_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_329-32_0_4_node_64 | 0.4 | n |  | TRUE
76 | bus_LV_329-32_0_4_node_60 | 0.4 | n |  | TRUE
77 | bus_LV_329-32_0_4_node_159 | 0.4 | n |  | TRUE
78 | bus_LV_329-32_0_4_node_62 | 0.4 | n |  | TRUE
79 | bus_LV_329-32_0_4_node_65 | 0.4 | n |  | TRUE
80 | bus_LV_329-32_0_4_node_66 | 0.4 | n |  | TRUE
81 | bus_LV_329-32_0_4_node_130 | 0.4 | n |  | TRUE
82 | bus_LV_329-32_0_4_node_161 | 0.4 | n |  | TRUE
83 | bus_LV_329-32_0_4_node_131 | 0.4 | n |  | TRUE
84 | bus_LV_329-32_0_4_node_136 | 0.4 | n |  | TRUE
85 | bus_LV_329-32_0_4_node_69 | 0.4 | n |  | TRUE
86 | bus_LV_329-32_0_4_node_70 | 0.4 | n |  | TRUE
87 | bus_LV_329-32_0_4_node_71 | 0.4 | n |  | TRUE
88 | bus_LV_329-32_0_4_node_72 | 0.4 | n |  | TRUE
89 | bus_LV_329-32_0_4_node_73 | 0.4 | n |  | TRUE
90 | bus_LV_329-32_0_4_node_104 | 0.4 | n |  | TRUE
91 | bus_LV_329-32_0_4_node_117 | 0.4 | n |  | TRUE
92 | bus_LV_329-32_0_4_node_74 | 0.4 | n |  | TRUE
93 | bus_LV_329-32_0_4_node_75 | 0.4 | n |  | TRUE
94 | bus_LV_329-32_0_4_node_77 | 0.4 | n |  | TRUE
95 | bus_LV_329-32_0_4_node_92 | 0.4 | n |  | TRUE
96 | bus_LV_329-32_0_4_node_90 | 0.4 | n |  | TRUE
97 | bus_LV_329-32_0_4_node_79 | 0.4 | n |  | TRUE
98 | bus_LV_329-32_0_4_node_81 | 0.4 | n |  | TRUE
99 | bus_LV_329-32_0_4_node_83 | 0.4 | n |  | TRUE
100 | bus_LV_329-32_0_4_node_84 | 0.4 | n |  | TRUE
101 | bus_LV_329-32_0_4_node_82 | 0.4 | n |  | TRUE
102 | bus_LV_329-32_0_4_node_124 | 0.4 | n |  | TRUE
103 | bus_LV_329-32_0_4_node_97 | 0.4 | n |  | TRUE
104 | bus_LV_329-32_0_4_node_88 | 0.4 | n |  | TRUE
105 | bus_LV_329-32_0_4_node_107 | 0.4 | n |  | TRUE
106 | bus_LV_329-32_0_4_node_95 | 0.4 | n |  | TRUE
107 | bus_LV_329-32_0_4_node_89 | 0.4 | n |  | TRUE
108 | bus_LV_329-32_0_4_node_91 | 0.4 | n |  | TRUE
109 | bus_LV_329-32_0_4_node_93 | 0.4 | n |  | TRUE
110 | bus_LV_329-32_0_4_node_112 | 0.4 | n |  | TRUE
111 | bus_LV_329-32_0_4_node_110 | 0.4 | n |  | TRUE
112 | bus_LV_329-32_0_4_node_94 | 0.4 | n |  | TRUE
113 | bus_LV_329-32_0_4_node_96 | 0.4 | n |  | TRUE
114 | bus_LV_329-32_0_4_node_98 | 0.4 | n |  | TRUE
115 | bus_LV_329-32_0_4_node_99 | 0.4 | n |  | TRUE
116 | bus_LV_329-32_0_4_node_102 | 0.4 | n |  | TRUE
117 | bus_LV_329-32_0_4_node_129 | 0.4 | n |  | TRUE
118 | bus_LV_329-32_0_4_node_105 | 0.4 | n |  | TRUE
119 | bus_LV_329-32_0_4_node_100 | 0.4 | n |  | TRUE
120 | bus_LV_329-32_0_4_node_120 | 0.4 | n |  | TRUE
121 | bus_LV_329-32_0_4_node_101 | 0.4 | n |  | TRUE
122 | bus_LV_329-32_0_4_node_103 | 0.4 | n |  | TRUE
123 | bus_LV_329-32_0_4_node_145 | 0.4 | n |  | TRUE
124 | bus_LV_329-32_0_4_node_106 | 0.4 | n |  | TRUE
125 | bus_LV_329-32_0_4_node_108 | 0.4 | n |  | TRUE
126 | bus_LV_329-32_0_4_node_122 | 0.4 | n |  | TRUE
127 | bus_LV_329-32_0_4_node_123 | 0.4 | n |  | TRUE
128 | bus_LV_329-32_0_4_node_109 | 0.4 | n |  | TRUE
129 | bus_LV_329-32_0_4_node_111 | 0.4 | n |  | TRUE
130 | bus_LV_329-32_0_4_node_113 | 0.4 | n |  | TRUE
131 | bus_LV_329-32_0_4_node_118 | 0.4 | n |  | TRUE
132 | bus_LV_329-32_0_4_node_119 | 0.4 | n |  | TRUE
133 | bus_LV_329-32_0_4_node_116 | 0.4 | n |  | TRUE
134 | bus_LV_329-32_0_4_node_128 | 0.4 | n |  | TRUE
135 | bus_LV_329-32_0_4_node_126 | 0.4 | n |  | TRUE
136 | bus_LV_329-32_0_4_node_125 | 0.4 | n |  | TRUE
137 | bus_LV_329-32_0_4_node_155 | 0.4 | n |  | TRUE
138 | bus_LV_329-32_0_4_node_160 | 0.4 | n |  | TRUE
139 | bus_LV_329-32_0_4_node_154 | 0.4 | n |  | TRUE
140 | bus_LV_329-32_0_4_node_132 | 0.4 | n |  | TRUE
141 | bus_LV_329-32_0_4_node_133 | 0.4 | n |  | TRUE
142 | bus_LV_329-32_0_4_node_134 | 0.4 | n |  | TRUE
143 | bus_LV_329-32_0_4_node_135 | 0.4 | n |  | TRUE
144 | bus_LV_329-32_0_4_node_138 | 0.4 | n |  | TRUE
145 | bus_LV_329-32_0_4_node_137 | 0.4 | n |  | TRUE
146 | bus_LV_329-32_0_4_node_141 | 0.4 | n |  | TRUE
147 | bus_LV_329-32_0_4_node_151 | 0.4 | n |  | TRUE
148 | bus_LV_329-32_0_4_node_139 | 0.4 | n |  | TRUE
149 | bus_LV_329-32_0_4_node_149 | 0.4 | n |  | TRUE
150 | bus_LV_329-32_0_4_node_140 | 0.4 | n |  | TRUE
151 | bus_LV_329-32_0_4_node_142 | 0.4 | n |  | TRUE
152 | bus_LV_329-32_0_4_node_144 | 0.4 | n |  | TRUE
153 | bus_LV_329-32_0_4_node_148 | 0.4 | n |  | TRUE
154 | bus_LV_329-32_0_4_node_150 | 0.4 | n |  | TRUE
155 | bus_LV_329-32_0_4_node_152 | 0.4 | n |  | TRUE
156 | bus_LV_329-32_0_4_node_153 | 0.4 | n |  | TRUE
157 | bus_MV_481_1_node_108 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_329-32_0_4_load_0 | 0 | 0.0016832 | 0.00042186 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_329-32_0_4_load_1 | 1 | 0.0014484 | 0.000363 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_329-32_0_4_load_4 | 3 | 0.0021486 | 0.00053849 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_329-32_0_4_load_121 | 5 | 0.0036264 | 0.00090885 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_329-32_0_4_load_78 | 7 | 0.0018444 | 0.00046225 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_329-32_0_4_load_85 | 10 | 0.0022998 | 0.00057638 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_329-32_0_4_load_5 | 11 | 0.0017511 | 0.00043888 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_329-32_0_4_load_6 | 12 | 0.0019216 | 0.00048159 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_329-32_0_4_load_8 | 13 | 0.0021499 | 0.00053882 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_329-32_0_4_load_9 | 15 | 0.0024005 | 0.00060163 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_329-32_0_4_load_10 | 16 | 0.0036526 | 0.00091543 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_329-32_0_4_load_11 | 17 | 0.0034121 | 0.00085516 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_329-32_0_4_load_12 | 18 | 0.0028187 | 0.00070644 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_329-32_0_4_load_13 | 19 | 0.0033923 | 0.00085019 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_329-32_0_4_load_14 | 20 | 0.0036479 | 0.00091425 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_329-32_0_4_load_55 | 21 | 0.00312 | 0.00078193 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_329-32_0_4_load_54 | 22 | 0.0027132 | 0.00068 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_329-32_0_4_load_15 | 24 | 0.0026108 | 0.00065433 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_329-32_0_4_load_16 | 25 | 0.0028071 | 0.00070354 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_329-32_0_4_load_18 | 27 | 0.0032369 | 0.00081125 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_329-32_0_4_load_20 | 29 | 0.0013891 | 0.00034815 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_329-32_0_4_load_41 | 30 | 0.0026764 | 0.00067077 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_329-32_0_4_load_158 | 31 | 0.00042836 | 0.00010736 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_329-32_0_4_load_156 | 32 | 0.0031521 | 0.00079 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_329-32_0_4_load_56 | 33 | 0.0016597 | 0.00041597 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_329-32_0_4_load_40 | 34 | 0.0028039 | 0.00070272 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_329-32_0_4_load_157 | 36 | 0.0010299 | 0.00025812 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_329-32_0_4_load_26 | 37 | 0.0026293 | 0.00065895 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_329-32_0_4_load_21 | 38 | 0.0051135 | 0.0012816 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_329-32_0_4_load_22 | 39 | 0.0014417 | 0.00036134 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_329-32_0_4_load_25 | 42 | 0.0051122 | 0.0012812 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_329-32_0_4_load_63 | 44 | 0.0013972 | 0.00035016 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_329-32_0_4_load_46 | 45 | 0.016723 | 0.0041911 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_329-32_0_4_load_27 | 47 | 0.0058585 | 0.0014683 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_329-32_0_4_load_28 | 48 | 0.0051123 | 0.0012813 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_329-32_0_4_load_32 | 50 | 0.0061581 | 0.0015434 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_329-32_0_4_load_37 | 51 | 0.0030261 | 0.0007584 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_329-32_0_4_load_35 | 52 | 0.0028131 | 0.00070503 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_329-32_0_4_load_146 | 53 | 0.0097787 | 0.0024508 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_329-32_0_4_load_34 | 54 | 0.0052012 | 0.0013035 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_329-32_0_4_load_47 | 55 | 0.016664 | 0.0041765 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_329-32_0_4_load_33 | 57 | 0.0021589 | 0.00054107 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_329-32_0_4_load_39 | 58 | 0.0022706 | 0.00056907 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_329-32_0_4_load_114 | 59 | 0.0026448 | 0.00066284 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_329-32_0_4_load_115 | 60 | 0.0016006 | 0.00040115 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_329-32_0_4_load_42 | 61 | 0.0034021 | 0.00085265 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_329-32_0_4_load_43 | 62 | 0.0035775 | 0.0008966 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_329-32_0_4_load_44 | 63 | 0.0036692 | 0.00091959 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_329-32_0_4_load_45 | 64 | 0.0035788 | 0.00089694 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_329-32_0_4_load_49 | 65 | 0.0035934 | 0.00090059 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_329-32_0_4_load_48 | 67 | 0.016653 | 0.0041735 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_329-32_0_4_load_143 | 69 | 0.012885 | 0.0032294 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_329-32_0_4_load_67 | 70 | 0.013045 | 0.0032693 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_329-32_0_4_load_51 | 71 | 0.0029557 | 0.00074076 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_329-32_0_4_load_61 | 73 | 0.007014 | 0.0017579 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_329-32_0_4_load_59 | 74 | 0.0022326 | 0.00055953 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_329-32_0_4_load_159 | 77 | 0.0010253 | 0.00025698 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_329-32_0_4_load_62 | 78 | 0.0051126 | 0.0012813 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_329-32_0_4_load_65 | 79 | 0.0028254 | 0.00070812 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_329-32_0_4_load_130 | 81 | 0.0039097 | 0.00097987 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_329-32_0_4_load_161 | 82 | 0.003757 | 0.0009416 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_329-32_0_4_load_131 | 83 | 0.0052427 | 0.001314 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_329-32_0_4_load_136 | 84 | 0.0073898 | 0.0018521 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_329-32_0_4_load_69 | 85 | 0.0021448 | 0.00053755 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_329-32_0_4_load_70 | 86 | 0.0047332 | 0.0011863 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_329-32_0_4_load_71 | 87 | 0.0020758 | 0.00052024 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_329-32_0_4_load_72 | 88 | 0.0019527 | 0.0004894 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_329-32_0_4_load_73 | 89 | 0.00208 | 0.0005213 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_329-32_0_4_load_104 | 90 | 0.0020535 | 0.00051465 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_329-32_0_4_load_117 | 91 | 0.0020577 | 0.00051571 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_329-32_0_4_load_74 | 92 | 0.0017617 | 0.00044152 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_329-32_0_4_load_75 | 93 | 0.0020136 | 0.00050466 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_329-32_0_4_load_77 | 94 | 0.0017423 | 0.00043665 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_329-32_0_4_load_92 | 95 | 0.0018791 | 0.00047095 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_329-32_0_4_load_90 | 96 | 0.0014681 | 0.00036795 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_329-32_0_4_load_79 | 97 | 0.0011913 | 0.00029856 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_329-32_0_4_load_83 | 99 | 0.0017946 | 0.00044978 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_329-32_0_4_load_84 | 100 | 0.0014733 | 0.00036925 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_329-32_0_4_load_82 | 101 | 0.0020109 | 0.00050398 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_329-32_0_4_load_124 | 102 | 0.0014239 | 0.00035686 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_329-32_0_4_load_88 | 104 | 0.0014036 | 0.00035177 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_329-32_0_4_load_107 | 105 | 0.0031085 | 0.00077906 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_329-32_0_4_load_95 | 106 | 0.0020219 | 0.00050674 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_329-32_0_4_load_89 | 107 | 0.0014698 | 0.00036836 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_329-32_0_4_load_91 | 108 | 0.00144 | 0.0003609 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_329-32_0_4_load_93 | 109 | 0.0014673 | 0.00036775 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_329-32_0_4_load_112 | 110 | 0.001218 | 0.00030525 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_329-32_0_4_load_110 | 111 | 0.0016274 | 0.00040786 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_329-32_0_4_load_94 | 112 | 0.0018163 | 0.00045521 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_329-32_0_4_load_98 | 114 | 0.0020623 | 0.00051685 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_329-32_0_4_load_99 | 115 | 0.0013535 | 0.00033921 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_329-32_0_4_load_102 | 116 | 0.0018096 | 0.00045354 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_329-32_0_4_load_129 | 117 | 0.0013155 | 0.00032971 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_329-32_0_4_load_105 | 118 | 0.0014876 | 0.00037284 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_329-32_0_4_load_100 | 119 | 0.0015287 | 0.00038314 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_329-32_0_4_load_120 | 120 | 0.0015615 | 0.00039135 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_329-32_0_4_load_101 | 121 | 0.0019462 | 0.00048778 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_329-32_0_4_load_103 | 122 | 0.0015611 | 0.00039126 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_329-32_0_4_load_106 | 124 | 0.0029979 | 0.00075134 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_329-32_0_4_load_108 | 125 | 0.0012748 | 0.00031949 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_329-32_0_4_load_122 | 126 | 0.0017142 | 0.00042962 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_329-32_0_4_load_123 | 127 | 0.0014266 | 0.00035754 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_329-32_0_4_load_109 | 128 | 0.0012028 | 0.00030146 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_329-32_0_4_load_111 | 129 | 0.0011951 | 0.00029953 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_329-32_0_4_load_113 | 130 | 0.0012293 | 0.00030809 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_329-32_0_4_load_118 | 131 | 0.0016529 | 0.00041427 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_329-32_0_4_load_119 | 132 | 0.0013336 | 0.00033422 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_329-32_0_4_load_116 | 133 | 0.0076284 | 0.0019119 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_329-32_0_4_load_126 | 135 | 0.0018853 | 0.00047251 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_329-32_0_4_load_125 | 136 | 0.0012845 | 0.00032194 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_329-32_0_4_load_160 | 138 | 0.0020934 | 0.00052466 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_329-32_0_4_load_154 | 139 | 0.012135 | 0.0030413 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_329-32_0_4_load_132 | 140 | 0.0039137 | 0.00098087 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_329-32_0_4_load_133 | 141 | 0.0072512 | 0.0018173 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_329-32_0_4_load_134 | 142 | 0.0073725 | 0.0018477 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_329-32_0_4_load_138 | 144 | 0.0073777 | 0.001849 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_329-32_0_4_load_141 | 146 | 0.0099691 | 0.0024985 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_329-32_0_4_load_139 | 148 | 0.009885 | 0.0024774 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_329-32_0_4_load_149 | 149 | 0.012091 | 0.0030303 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_329-32_0_4_load_140 | 150 | 0.0099217 | 0.0024866 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_329-32_0_4_load_142 | 151 | 0.0099295 | 0.0024886 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_329-32_0_4_load_144 | 152 | 0.0097607 | 0.0024463 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_329-32_0_4_load_148 | 153 | 0.010583 | 0.0026523 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_329-32_0_4_load_150 | 154 | 0.012212 | 0.0030605 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_329-32_0_4_load_152 | 155 | 0.012186 | 0.0030542 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_329-32_0_4_load_153 | 156 | 0.010532 | 0.0026395 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 50 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_329-32_0_4_line_0 |  | 0 | 1 | 0.018017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_329-32_0_4_line_1 |  | 0 | 2 | 0.03237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_329-32_0_4_line_2 |  | 2 | 3 | 0.017144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_329-32_0_4_line_3 |  | 3 | 7 | 0.027665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_329-32_0_4_line_4 |  | 4 | 5 | 0.012715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_329-32_0_4_line_5 |  | 4 | 6 | 0.035169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_329-32_0_4_line_6 |  | 6 | 58 | 0.012713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_329-32_0_4_line_7 |  | 6 | 52 | 0.038825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_329-32_0_4_line_8 |  | 7 | 8 | 0.019369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_329-32_0_4_line_9 |  | 8 | 10 | 0.023046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_329-32_0_4_line_10 |  | 8 | 89 | 0.016689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_329-32_0_4_line_11 |  | 9 | 10 | 0.023742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_329-32_0_4_line_12 |  | 9 | 11 | 0.014398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_329-32_0_4_line_13 |  | 10 | 14 | 0.017651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_329-32_0_4_line_14 |  | 11 | 12 | 0.00031068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_329-32_0_4_line_15 |  | 12 | 13 | 0.028517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_329-32_0_4_line_16 |  | 13 | 15 | 0.0022038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_329-32_0_4_line_17 |  | 14 | 104 | 0.020883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_329-32_0_4_line_18 |  | 16 | 17 | 0.0071365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_329-32_0_4_line_19 |  | 16 | 18 | 0.02691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_329-32_0_4_line_20 |  | 17 | 19 | 0.020618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_329-32_0_4_line_21 |  | 18 | 20 | 0.0080156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_329-32_0_4_line_22 |  | 19 | 21 | 0.041327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_329-32_0_4_line_23 |  | 20 | 22 | 0.010102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_329-32_0_4_line_24 |  | 21 | 23 | 0.036937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_329-32_0_4_line_25 |  | 23 | 35 | 0.022863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_329-32_0_4_line_26 |  | 24 | 25 | 0.03061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_329-32_0_4_line_27 |  | 24 | 26 | 0.017476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_329-32_0_4_line_28 |  | 25 | 27 | 0.023086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_329-32_0_4_line_29 |  | 26 | 28 | 0.010268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_329-32_0_4_line_30 |  | 26 | 29 | 0.041609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_329-32_0_4_line_31 |  | 27 | 30 | 0.0063729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_329-32_0_4_line_32 |  | 28 | 31 | 0.020126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_329-32_0_4_line_33 |  | 28 | 32 | 0.0077041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_329-32_0_4_line_34 |  | 29 | 33 | 0.0095675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_329-32_0_4_line_35 |  | 30 | 34 | 0.019459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_329-32_0_4_line_36 |  | 31 | 35 | 0.014861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_329-32_0_4_line_37 |  | 32 | 36 | 0.068293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_329-32_0_4_line_38 |  | 33 | 37 | 0.0018734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_329-32_0_4_line_39 |  | 34 | 61 | 0.010924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_329-32_0_4_line_40 |  | 35 | 77 | 0.050881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_329-32_0_4_line_41 |  | 38 | 39 | 0.0030566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_329-32_0_4_line_42 |  | 38 | 40 | 0.035558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_329-32_0_4_line_43 |  | 39 | 41 | 0.013305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_329-32_0_4_line_44 |  | 40 | 42 | 0.010671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_329-32_0_4_line_45 |  | 41 | 43 | 0.028844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_329-32_0_4_line_46 |  | 41 | 44 | 0.024778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_329-32_0_4_line_47 |  | 43 | 45 | 0.01391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_329-32_0_4_line_48 |  | 43 | 46 | 0.010073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_329-32_0_4_line_49 |  | 45 | 55 | 0.030478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_329-32_0_4_line_50 |  | 46 | 50 | 0.017261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_329-32_0_4_line_51 |  | 46 | 47 | 0.03377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_329-32_0_4_line_52 |  | 47 | 48 | 0.037944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_329-32_0_4_line_53 |  | 48 | 49 | 0.024054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_329-32_0_4_line_54 |  | 49 | 51 | 0.034514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_329-32_0_4_line_55 |  | 49 | 52 | 0.018899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_329-32_0_4_line_56 |  | 50 | 53 | 0.019741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_329-32_0_4_line_57 |  | 51 | 54 | 0.010602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_329-32_0_4_line_58 |  | 53 | 56 | 0.0039815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_329-32_0_4_line_59 |  | 54 | 57 | 0.008167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_329-32_0_4_line_60 |  | 55 | 67 | 0.02257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_329-32_0_4_line_61 |  | 56 | 123 | 0.009985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_329-32_0_4_line_62 |  | 56 | 122 | 0.021491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_329-32_0_4_line_63 |  | 58 | 59 | 0.0014646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_329-32_0_4_line_64 |  | 59 | 60 | 0.038876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_329-32_0_4_line_65 |  | 60 | 133 | 0.00021032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_329-32_0_4_line_66 |  | 61 | 62 | 0.0079172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_329-32_0_4_line_67 |  | 62 | 63 | 0.015605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_329-32_0_4_line_68 |  | 63 | 64 | 0.0067909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_329-32_0_4_line_69 |  | 64 | 65 | 0.023693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_329-32_0_4_line_70 |  | 65 | 66 | 0.016029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_329-32_0_4_line_71 |  | 66 | 71 | 0.035682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_329-32_0_4_line_72 |  | 66 | 72 | 0.008129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_329-32_0_4_line_73 |  | 67 | 68 | 0.019739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
74 | LV_329-32_0_4_line_74 |  | 68 | 69 | 0.030084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_329-32_0_4_line_75 |  | 68 | 70 | 0.018847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
76 | LV_329-32_0_4_line_76 |  | 69 | 84 | 0.016637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_329-32_0_4_line_77 |  | 70 | 78 | 0.029711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
78 | LV_329-32_0_4_line_78 |  | 72 | 73 | 0.042577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_329-32_0_4_line_79 |  | 72 | 74 | 0.033728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
80 | LV_329-32_0_4_line_80 |  | 73 | 75 | 0.036154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_329-32_0_4_line_81 |  | 74 | 76 | 0.044189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
82 | LV_329-32_0_4_line_82 |  | 75 | 79 | 0.014894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_329-32_0_4_line_83 |  | 75 | 80 | 0.056121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_329-32_0_4_line_84 |  | 76 | 78 | 0.041077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
85 | LV_329-32_0_4_line_85 |  | 79 | 81 | 0.024687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_329-32_0_4_line_86 |  | 80 | 82 | 0.046356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_329-32_0_4_line_87 |  | 81 | 83 | 0.013228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_329-32_0_4_line_88 |  | 83 | 140 | 0.009934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_329-32_0_4_line_89 |  | 84 | 142 | 0.028161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_329-32_0_4_line_90 |  | 85 | 86 | 0.0015537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_329-32_0_4_line_91 |  | 85 | 87 | 0.025288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_329-32_0_4_line_92 |  | 86 | 88 | 0.022265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_329-32_0_4_line_93 |  | 87 | 89 | 0.012331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_329-32_0_4_line_94 |  | 88 | 90 | 0.0044954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_329-32_0_4_line_95 |  | 90 | 91 | 0.012272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_329-32_0_4_line_96 |  | 91 | 100 | 0.00054831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_329-32_0_4_line_97 |  | 92 | 93 | 0.0044714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_329-32_0_4_line_98 |  | 93 | 94 | 0.0033335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_329-32_0_4_line_99 |  | 94 | 95 | 0.015703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_329-32_0_4_line_100 |  | 95 | 96 | 0.0011956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_329-32_0_4_line_101 |  | 96 | 107 | 0.0062726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_329-32_0_4_line_102 |  | 97 | 98 | 0.01654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_329-32_0_4_line_103 |  | 98 | 99 | 0.0051108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_329-32_0_4_line_104 |  | 98 | 100 | 0.01645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_329-32_0_4_line_105 |  | 99 | 103 | 0.016315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_329-32_0_4_line_106 |  | 101 | 102 | 0.019005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_329-32_0_4_line_107 |  | 102 | 104 | 0.0084655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_329-32_0_4_line_108 |  | 103 | 105 | 0.013246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_329-32_0_4_line_109 |  | 103 | 106 | 0.007103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_329-32_0_4_line_110 |  | 105 | 118 | 0.020541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_329-32_0_4_line_111 |  | 106 | 112 | 0.020119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_329-32_0_4_line_112 |  | 107 | 108 | 0.0062124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_329-32_0_4_line_113 |  | 108 | 109 | 0.0062093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_329-32_0_4_line_114 |  | 109 | 110 | 0.015172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_329-32_0_4_line_115 |  | 110 | 111 | 0.00093981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_329-32_0_4_line_116 |  | 111 | 128 | 0.005299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_329-32_0_4_line_117 |  | 112 | 113 | 0.018028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_329-32_0_4_line_118 |  | 113 | 114 | 0.015422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_329-32_0_4_line_119 |  | 113 | 115 | 0.0077577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_329-32_0_4_line_120 |  | 114 | 116 | 0.0075748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_329-32_0_4_line_121 |  | 115 | 117 | 0.0062359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_329-32_0_4_line_122 |  | 116 | 119 | 0.01661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_329-32_0_4_line_123 |  | 117 | 120 | 0.0060717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_329-32_0_4_line_124 |  | 118 | 124 | 0.0020472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_329-32_0_4_line_125 |  | 119 | 121 | 0.004448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_329-32_0_4_line_126 |  | 120 | 132 | 0.006408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_329-32_0_4_line_127 |  | 121 | 122 | 0.0028689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_329-32_0_4_line_128 |  | 123 | 138 | 0.018298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_329-32_0_4_line_129 |  | 123 | 152 | 0.024695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_329-32_0_4_line_130 |  | 124 | 125 | 0.016732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_329-32_0_4_line_131 |  | 125 | 126 | 0.00065691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_329-32_0_4_line_132 |  | 126 | 127 | 0.019947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_329-32_0_4_line_133 |  | 127 | 134 | 0.011234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_329-32_0_4_line_134 |  | 128 | 129 | 0.006181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_329-32_0_4_line_135 |  | 129 | 130 | 0.0062528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_329-32_0_4_line_136 |  | 130 | 131 | 0.0012773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_329-32_0_4_line_137 |  | 131 | 132 | 0.013882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_329-32_0_4_line_138 |  | 134 | 135 | 0.015086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_329-32_0_4_line_139 |  | 135 | 136 | 0.0040231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_329-32_0_4_line_140 |  | 137 | 138 | 0.024073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_329-32_0_4_line_141 |  | 137 | 139 | 0.019129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_329-32_0_4_line_142 |  | 139 | 156 | 0.015855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_329-32_0_4_line_143 |  | 141 | 142 | 0.01661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_329-32_0_4_line_144 |  | 141 | 143 | 0.032089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_329-32_0_4_line_145 |  | 143 | 144 | 0.02136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_329-32_0_4_line_146 |  | 145 | 146 | 0.030679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_329-32_0_4_line_147 |  | 145 | 147 | 0.030853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_329-32_0_4_line_148 |  | 146 | 148 | 0.017946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_329-32_0_4_line_149 |  | 147 | 149 | 0.019297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_329-32_0_4_line_150 |  | 148 | 150 | 0.03734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_329-32_0_4_line_151 |  | 149 | 153 | 0.015861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_329-32_0_4_line_152 |  | 150 | 151 | 0.017328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_329-32_0_4_line_153 |  | 153 | 154 | 0.015899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_329-32_0_4_line_154 |  | 154 | 155 | 0.028145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_329-32_0_4_line_155 |  | 155 | 156 | 0.015887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_329-32_0_4_trafo_32 | 0.63 MVA 20/0.4 kV | 157 | 50 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2626518.7201 | 1230145.8136 | 2626517.8929 | 1230127.8161
1 | 2626520.2063 | 1230178.1498 | 2626518.7201 | 1230145.8136
2 | 2626520.2063 | 1230178.1498 | 2626521.9637 | 1230195.2032
3 | 2626496.0224 | 1230204.8148 | 2626521.9637 | 1230195.2032
4 | 2626467.2011 | 1230130.5519 | 2626467.0078 | 1230117.8381
5 | 2626435.6299 | 1230146.2324 | 2626467.2011 | 1230130.5519
6 | 2626435.6299 | 1230146.2324 | 2626428.5683 | 1230135.6608
7 | 2626435.6299 | 1230146.2324 | 2626401.9159 | 1230165.4879
8 | 2626502.2898 | 1230223.1417 | 2626496.0224 | 1230204.8148
9 | 2626502.2898 | 1230223.1417 | 2626508.6893 | 1230245.2812
10 | 2626502.2898 | 1230223.1417 | 2626489.2483 | 1230233.5558
11 | 2626508.6893 | 1230245.2812 | 2626527.1089 | 1230230.3009
12 | 2626527.1089 | 1230230.3009 | 2626541.0184 | 1230226.5811
13 | 2626513.5906 | 1230262.2379 | 2626508.6893 | 1230245.2812
14 | 2626541.3186 | 1230226.5008 | 2626541.0184 | 1230226.5811
15 | 2626568.8678 | 1230219.1333 | 2626541.3186 | 1230226.5008
16 | 2626568.8678 | 1230219.1333 | 2626570.9968 | 1230218.5639
17 | 2626513.5906 | 1230262.2379 | 2626498.6461 | 1230276.8237
18 | 2626172.3261 | 1230050.8316 | 2626168.2049 | 1230056.6579
19 | 2626152.665 | 1230078.6273 | 2626168.2049 | 1230056.6579
20 | 2626184.2326 | 1230033.9989 | 2626172.3261 | 1230050.8316
21 | 2626147.7087 | 1230084.8925 | 2626149.4241 | 1230083.2091 | 2626152.665 | 1230078.6273
22 | 2626184.2326 | 1230033.9989 | 2626204.0465 | 1229997.7318
23 | 2626147.7087 | 1230084.8925 | 2626140.4984 | 1230091.9678
24 | 2626226.9208 | 1229968.9585 | 2626208.4462 | 1229989.6786 | 2626204.0465 | 1229997.7318
25 | 2626226.9208 | 1229968.9585 | 2626237.6482 | 1229989.1623
26 | 2626239.4765 | 1230072.853 | 2626251.9166 | 1230046.293 | 2626252.4097 | 1230045.1105
27 | 2626259.1356 | 1230028.981 | 2626252.4097 | 1230045.1105
28 | 2626239.4765 | 1230072.853 | 2626229.6845 | 1230093.7593
29 | 2626254.6621 | 1230019.7335 | 2626259.1356 | 1230028.981
30 | 2626259.1356 | 1230028.981 | 2626261.1476 | 1230034.7712 | 2626271.75 | 1230068.6295
31 | 2626226.9814 | 1230099.5305 | 2626229.6845 | 1230093.7593
32 | 2626254.6621 | 1230019.7335 | 2626244.8751 | 1230002.1479
33 | 2626254.6621 | 1230019.7335 | 2626260.2944 | 1230024.9898
34 | 2626274.6091 | 1230077.7599 | 2626271.75 | 1230068.6295
35 | 2626218.7276 | 1230117.1524 | 2626226.9814 | 1230099.5305
36 | 2626237.6482 | 1229989.1623 | 2626244.8751 | 1230002.1479
37 | 2626260.2944 | 1230024.9898 | 2626275.693 | 1230039.3603 | 2626308.7311 | 1230005.6084
38 | 2626275.1689 | 1230079.5477 | 2626274.6091 | 1230077.7599
39 | 2626218.7276 | 1230117.1524 | 2626217.9671 | 1230118.7763 | 2626212.2461 | 1230125.8926
40 | 2626237.6482 | 1229989.1623 | 2626242.8627 | 1229972.9422 | 2626259.2134 | 1229963.2417 | 2626272.9468 | 1229957.6402
41 | 2626294.9498 | 1230172.3961 | 2626294.3783 | 1230169.3934
42 | 2626287.9833 | 1230134.4164 | 2626290.7385 | 1230150.2715 | 2626294.3783 | 1230169.3934
43 | 2626297.4378 | 1230185.4668 | 2626294.9498 | 1230172.3961
44 | 2626287.9833 | 1230134.4164 | 2626294.0832 | 1230125.661
45 | 2626301.9777 | 1230213.9485 | 2626297.4378 | 1230185.4668
46 | 2626297.4378 | 1230185.4668 | 2626280.1856 | 1230188.4592 | 2626272.9937 | 1230189.511
47 | 2626301.9777 | 1230213.9485 | 2626291.5048 | 1230223.1028
48 | 2626303.2667 | 1230223.938 | 2626301.9777 | 1230213.9485
49 | 2626291.5048 | 1230223.1028 | 2626288.892 | 1230225.3866 | 2626272.2248 | 1230246.6387
50 | 2626303.2667 | 1230223.938 | 2626304.2994 | 1230230.2019 | 2626306.6531 | 1230240.858
51 | 2626303.2667 | 1230223.938 | 2626332.2659 | 1230206.6322
52 | 2626332.2659 | 1230206.6322 | 2626364.8494 | 1230187.1875
53 | 2626385.5051 | 1230174.8608 | 2626364.8494 | 1230187.1875
54 | 2626385.5051 | 1230174.8608 | 2626363.5765 | 1230148.2087
55 | 2626385.5051 | 1230174.8608 | 2626401.9159 | 1230165.4879
56 | 2626306.6531 | 1230240.858 | 2626310.9108 | 1230260.1342
57 | 2626363.5765 | 1230148.2087 | 2626356.8405 | 1230140.0218
58 | 2626311.7696 | 1230264.022 | 2626310.9108 | 1230260.1342
59 | 2626351.6515 | 1230133.7151 | 2626356.8405 | 1230140.0218
60 | 2626272.2248 | 1230246.6387 | 2626258.2962 | 1230264.3988
61 | 2626312.3845 | 1230273.9863 | 2626311.7696 | 1230264.022
62 | 2626311.7696 | 1230264.022 | 2626322.3796 | 1230260.9003 | 2626330.9362 | 1230254.935
63 | 2626428.5683 | 1230135.6608 | 2626427.7547 | 1230134.4429
64 | 2626406.161 | 1230102.116 | 2626427.7547 | 1230134.4429
65 | 2626406.0442 | 1230101.9411 | 2626406.161 | 1230102.116
66 | 2626207.2855 | 1230132.0631 | 2626212.2461 | 1230125.8926
67 | 2626207.2855 | 1230132.0631 | 2626197.5083 | 1230144.2251
68 | 2626193.2534 | 1230149.5178 | 2626197.5083 | 1230144.2251
69 | 2626175.4239 | 1230163.9722 | 2626184.6395 | 1230160.2326 | 2626193.2534 | 1230149.5178
70 | 2626160.571 | 1230169.9994 | 2626175.4239 | 1230163.9722
71 | 2626160.571 | 1230169.9994 | 2626133.7191 | 1230146.5006
72 | 2626167.2004 | 1230174.7314 | 2626160.571 | 1230169.9994
73 | 2626246.1149 | 1230279.931 | 2626258.2962 | 1230264.3988
74 | 2626246.1149 | 1230279.931 | 2626227.5231 | 1230303.5823
75 | 2626246.1149 | 1230279.931 | 2626230.4356 | 1230269.4726
76 | 2626217.2416 | 1230316.6616 | 2626227.5231 | 1230303.5823
77 | 2626230.4356 | 1230269.4726 | 2626207.4565 | 1230254.1452 | 2626208.6298 | 1230252.4167
78 | 2626167.2004 | 1230174.7314 | 2626142.712 | 1230188.7323 | 2626134.8031 | 1230200.729
79 | 2626167.2004 | 1230174.7314 | 2626190.1078 | 1230189.5966 | 2626195.3839 | 1230193.2543
80 | 2626114.9037 | 1230230.9137 | 2626134.8031 | 1230200.729
81 | 2626231.6996 | 1230218.4303 | 2626195.3839 | 1230193.2543
82 | 2626114.9037 | 1230230.9137 | 2626126.3894 | 1230240.3964
83 | 2626079.8852 | 1230274.8424 | 2626114.9037 | 1230230.9137
84 | 2626231.6996 | 1230218.4303 | 2626208.6298 | 1230252.4167
85 | 2626145.4266 | 1230256.1139 | 2626126.3894 | 1230240.3964
86 | 2626079.8852 | 1230274.8424 | 2626116.1898 | 1230303.7967
87 | 2626145.4266 | 1230256.1139 | 2626155.6273 | 1230264.5357
88 | 2626163.2877 | 1230270.8603 | 2626155.6273 | 1230264.5357
89 | 2626217.2416 | 1230316.6616 | 2626199.8384 | 1230338.8009
90 | 2626459.8519 | 1230257.0299 | 2626458.6378 | 1230257.9994
91 | 2626459.8519 | 1230257.0299 | 2626479.6129 | 1230241.2501
92 | 2626458.6378 | 1230257.9994 | 2626441.2397 | 1230271.8925
93 | 2626489.2483 | 1230233.5558 | 2626479.6129 | 1230241.2501
94 | 2626441.2397 | 1230271.8925 | 2626437.7268 | 1230274.6976
95 | 2626428.137 | 1230282.3555 | 2626437.7268 | 1230274.6976
96 | 2626428.137 | 1230282.3555 | 2626427.7085 | 1230282.6976
97 | 2626469.5795 | 1230177.1762 | 2626465.8582 | 1230179.6551
98 | 2626463.0839 | 1230181.5032 | 2626465.8582 | 1230179.6551
99 | 2626463.0839 | 1230181.5032 | 2626450.0147 | 1230190.2092
100 | 2626449.0197 | 1230190.872 | 2626450.0147 | 1230190.2092
101 | 2626449.0197 | 1230190.872 | 2626443.7993 | 1230194.3495
102 | 2626414.8541 | 1230292.9623 | 2626425.6837 | 1230305.4638
103 | 2626414.8541 | 1230292.9623 | 2626411.3221 | 1230289.2683
104 | 2626414.8541 | 1230292.9623 | 2626427.7085 | 1230282.6976
105 | 2626400.0472 | 1230277.4762 | 2626411.3221 | 1230289.2683
106 | 2626492.5879 | 1230282.7366 | 2626478.9872 | 1230296.0108
107 | 2626492.5879 | 1230282.7366 | 2626498.6461 | 1230276.8237
108 | 2626400.0472 | 1230277.4762 | 2626389.8732 | 1230285.9577
109 | 2626400.0472 | 1230277.4762 | 2626395.4319 | 1230272.0771
110 | 2626374.0957 | 1230299.1104 | 2626389.8732 | 1230285.9577
111 | 2626382.3591 | 1230256.7841 | 2626395.4319 | 1230272.0771
112 | 2626438.629 | 1230197.7937 | 2626443.7993 | 1230194.3495
113 | 2626438.629 | 1230197.7937 | 2626433.4613 | 1230201.2361
114 | 2626420.8346 | 1230209.6474 | 2626433.4613 | 1230201.2361
115 | 2626420.0524 | 1230210.1684 | 2626420.8346 | 1230209.6474
116 | 2626415.6423 | 1230213.1062 | 2626420.0524 | 1230210.1684
117 | 2626370.6453 | 1230243.0808 | 2626382.3591 | 1230256.7841
118 | 2626370.6453 | 1230243.0808 | 2626367.6034 | 1230240.6992 | 2626362.8309 | 1230237.4539 | 2626357.0448 | 1230237.3282 | 2626357.0448 | 1230237.3282
119 | 2626370.6453 | 1230243.0808 | 2626377.1016 | 1230238.7799
120 | 2626350.5756 | 1230241.2686 | 2626357.0448 | 1230237.3282
121 | 2626382.2914 | 1230235.3227 | 2626377.1016 | 1230238.7799
122 | 2626350.5756 | 1230241.2686 | 2626350.2856 | 1230241.4453 | 2626336.9384 | 1230250.7504
123 | 2626382.2914 | 1230235.3227 | 2626387.3446 | 1230231.9566
124 | 2626374.0957 | 1230299.1104 | 2626372.5232 | 1230300.4213
125 | 2626336.9384 | 1230250.7504 | 2626333.2897 | 1230253.2942
126 | 2626392.6777 | 1230228.404 | 2626387.3446 | 1230231.9566
127 | 2626333.2897 | 1230253.2942 | 2626330.9362 | 1230254.935
128 | 2626312.3845 | 1230273.9863 | 2626314.5265 | 1230292.1589
129 | 2626312.3845 | 1230273.9863 | 2626294.6599 | 1230291.1813
130 | 2626359.6714 | 1230311.1351 | 2626372.5232 | 1230300.4213
131 | 2626359.1668 | 1230311.5557 | 2626359.6714 | 1230311.1351
132 | 2626343.845 | 1230324.3285 | 2626359.1668 | 1230311.5557
133 | 2626335.216 | 1230331.522 | 2626343.845 | 1230324.3285
134 | 2626410.4982 | 1230216.5329 | 2626415.6423 | 1230213.1062
135 | 2626405.2944 | 1230219.9994 | 2626410.4982 | 1230216.5329
136 | 2626405.2944 | 1230219.9994 | 2626404.2314 | 1230220.7075
137 | 2626392.6777 | 1230228.404 | 2626404.2314 | 1230220.7075
138 | 2626335.216 | 1230331.522 | 2626345.4797 | 1230342.5783
139 | 2626348.2168 | 1230345.5268 | 2626345.4797 | 1230342.5783
140 | 2626315.5381 | 1230316.2036 | 2626314.8009 | 1230294.4872 | 2626314.5265 | 1230292.1589
141 | 2626315.5381 | 1230316.2036 | 2626302.6477 | 1230330.3369
142 | 2626302.6477 | 1230330.3369 | 2626291.9631 | 1230342.0516
143 | 2626189.5733 | 1230351.8594 | 2626199.8384 | 1230338.8009
144 | 2626169.7422 | 1230377.0872 | 2626189.5733 | 1230351.8594
145 | 2626169.7422 | 1230377.0872 | 2626151.7896 | 1230365.5135
146 | 2626201.3696 | 1230396.4045 | 2626218.084 | 1230377.789 | 2626221.7584 | 1230373.4826
147 | 2626201.3696 | 1230396.4045 | 2626227.8842 | 1230412.3086
148 | 2626221.7584 | 1230373.4826 | 2626233.4072 | 1230359.8305
149 | 2626227.8842 | 1230412.3086 | 2626240.8881 | 1230398.0509
150 | 2626233.4072 | 1230359.8305 | 2626247.6085 | 1230343.1869 | 2626257.8466 | 1230331.6007
151 | 2626240.8881 | 1230398.0509 | 2626251.5764 | 1230386.3321
152 | 2626269.3208 | 1230318.6157 | 2626257.8466 | 1230331.6007
153 | 2626262.2905 | 1230374.585 | 2626251.5764 | 1230386.3321
154 | 2626281.257 | 1230353.7899 | 2626262.2905 | 1230374.585
155 | 2626281.257 | 1230353.7899 | 2626291.9631 | 1230342.0516

## bus_geodata
| x | y | coords
0 | 2626518.7201 | 1230145.8136
1 | 2626517.8929 | 1230127.8161
2 | 2626520.2063 | 1230178.1498
3 | 2626521.9637 | 1230195.2032
4 | 2626467.2011 | 1230130.5519
5 | 2626467.0078 | 1230117.8381
6 | 2626435.6299 | 1230146.2324
7 | 2626496.0224 | 1230204.8148
8 | 2626502.2898 | 1230223.1417
9 | 2626527.1089 | 1230230.3009
10 | 2626508.6893 | 1230245.2812
11 | 2626541.0184 | 1230226.5811
12 | 2626541.3186 | 1230226.5008
13 | 2626568.8678 | 1230219.1333
14 | 2626513.5906 | 1230262.2379
15 | 2626570.9968 | 1230218.5639
16 | 2626168.2049 | 1230056.6579
17 | 2626172.3261 | 1230050.8316
18 | 2626152.665 | 1230078.6273
19 | 2626184.2326 | 1230033.9989
20 | 2626147.7087 | 1230084.8925
21 | 2626204.0465 | 1229997.7318
22 | 2626140.4984 | 1230091.9678
23 | 2626226.9208 | 1229968.9584
24 | 2626252.4097 | 1230045.1105
25 | 2626239.4765 | 1230072.853
26 | 2626259.1356 | 1230028.981
27 | 2626229.6845 | 1230093.7593
28 | 2626254.6621 | 1230019.7335
29 | 2626271.75 | 1230068.6295
30 | 2626226.9814 | 1230099.5305
31 | 2626244.8751 | 1230002.1479
32 | 2626260.2944 | 1230024.9898
33 | 2626274.6091 | 1230077.7599
34 | 2626218.7276 | 1230117.1524
35 | 2626237.6482 | 1229989.1623
36 | 2626308.7311 | 1230005.6084
37 | 2626275.169 | 1230079.5477
38 | 2626294.3783 | 1230169.3934
39 | 2626294.9498 | 1230172.3961
40 | 2626287.9833 | 1230134.4164
41 | 2626297.4378 | 1230185.4668
42 | 2626294.0832 | 1230125.661
43 | 2626301.9777 | 1230213.9485
44 | 2626272.9937 | 1230189.511
45 | 2626291.5048 | 1230223.1028
46 | 2626303.2667 | 1230223.938
47 | 2626332.2659 | 1230206.6322
48 | 2626364.8494 | 1230187.1875
49 | 2626385.5051 | 1230174.8608
50 | 2626306.6531 | 1230240.858
51 | 2626363.5765 | 1230148.2087
52 | 2626401.9159 | 1230165.4879
53 | 2626310.9108 | 1230260.1342
54 | 2626356.8405 | 1230140.0218
55 | 2626272.2248 | 1230246.6387
56 | 2626311.7696 | 1230264.022
57 | 2626351.6515 | 1230133.7151
58 | 2626428.5683 | 1230135.6608
59 | 2626427.7547 | 1230134.4429
60 | 2626406.161 | 1230102.116
61 | 2626212.2461 | 1230125.8926
62 | 2626207.2855 | 1230132.0631
63 | 2626197.5083 | 1230144.2251
64 | 2626193.2534 | 1230149.5178
65 | 2626175.4239 | 1230163.9722
66 | 2626160.571 | 1230169.9994
67 | 2626258.2962 | 1230264.3988
68 | 2626246.1149 | 1230279.931
69 | 2626227.5231 | 1230303.5823
70 | 2626230.4356 | 1230269.4726
71 | 2626133.7191 | 1230146.5006
72 | 2626167.2004 | 1230174.7314
73 | 2626134.8031 | 1230200.729
74 | 2626195.3839 | 1230193.2543
75 | 2626114.9037 | 1230230.9137
76 | 2626231.6996 | 1230218.4303
77 | 2626272.9468 | 1229957.6402
78 | 2626208.6298 | 1230252.4167
79 | 2626126.3894 | 1230240.3964
80 | 2626079.8852 | 1230274.8424
81 | 2626145.4266 | 1230256.1139
82 | 2626116.1898 | 1230303.7967
83 | 2626155.6273 | 1230264.5357
84 | 2626217.2416 | 1230316.6616
85 | 2626459.8519 | 1230257.0299
86 | 2626458.6378 | 1230257.9994
87 | 2626479.6129 | 1230241.2501
88 | 2626441.2397 | 1230271.8925
89 | 2626489.2483 | 1230233.5558
90 | 2626437.7268 | 1230274.6976
91 | 2626428.137 | 1230282.3555
92 | 2626469.5795 | 1230177.1762
93 | 2626465.8582 | 1230179.6551
94 | 2626463.0839 | 1230181.5032
95 | 2626450.0147 | 1230190.2092
96 | 2626449.0197 | 1230190.872
97 | 2626425.6837 | 1230305.4638
98 | 2626414.8541 | 1230292.9623
99 | 2626411.3221 | 1230289.2683
100 | 2626427.7085 | 1230282.6976
101 | 2626478.9872 | 1230296.0108
102 | 2626492.5879 | 1230282.7366
103 | 2626400.0472 | 1230277.4762
104 | 2626498.6461 | 1230276.8237
105 | 2626389.8732 | 1230285.9577
106 | 2626395.4319 | 1230272.0771
107 | 2626443.7993 | 1230194.3495
108 | 2626438.629 | 1230197.7937
109 | 2626433.4613 | 1230201.2361
110 | 2626420.8346 | 1230209.6474
111 | 2626420.0524 | 1230210.1684
112 | 2626382.3591 | 1230256.7841
113 | 2626370.6453 | 1230243.0808
114 | 2626357.0448 | 1230237.3282
115 | 2626377.1016 | 1230238.7799
116 | 2626350.5756 | 1230241.2686
117 | 2626382.2914 | 1230235.3227
118 | 2626374.0957 | 1230299.1104
119 | 2626336.9384 | 1230250.7504
120 | 2626387.3446 | 1230231.9566
121 | 2626333.2897 | 1230253.2942
122 | 2626330.9362 | 1230254.935
123 | 2626312.3845 | 1230273.9863
124 | 2626372.5232 | 1230300.4213
125 | 2626359.6714 | 1230311.1351
126 | 2626359.1668 | 1230311.5557
127 | 2626343.845 | 1230324.3285
128 | 2626415.6423 | 1230213.1062
129 | 2626410.4982 | 1230216.5329
130 | 2626405.2944 | 1230219.9994
131 | 2626404.2314 | 1230220.7075
132 | 2626392.6777 | 1230228.404
133 | 2626406.0442 | 1230101.9411
134 | 2626335.216 | 1230331.522
135 | 2626345.4797 | 1230342.5783
136 | 2626348.2168 | 1230345.5268
137 | 2626315.5381 | 1230316.2036
138 | 2626314.5265 | 1230292.1589
139 | 2626302.6477 | 1230330.3369
140 | 2626163.2877 | 1230270.8603
141 | 2626189.5733 | 1230351.8594
142 | 2626199.8384 | 1230338.8009
143 | 2626169.7422 | 1230377.0872
144 | 2626151.7896 | 1230365.5135
145 | 2626201.3696 | 1230396.4045
146 | 2626221.7584 | 1230373.4826
147 | 2626227.8842 | 1230412.3086
148 | 2626233.4072 | 1230359.8305
149 | 2626240.8881 | 1230398.0509
150 | 2626257.8466 | 1230331.6007
151 | 2626269.3208 | 1230318.6157
152 | 2626294.6599 | 1230291.1813
153 | 2626251.5764 | 1230386.3321
154 | 2626262.2905 | 1230374.585
155 | 2626281.257 | 1230353.7899
156 | 2626291.9631 | 1230342.0516
157 | 2626303.2667 | 1230223.938

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1