## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_329-39_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_329-39_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_329-39_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_329-39_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_329-39_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_329-39_0_3_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_329-39_0_3_node_24 | 0.4 | n |  | TRUE
7 | bus_LV_329-39_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_329-39_0_3_node_31 | 0.4 | n |  | TRUE
9 | bus_LV_329-39_0_3_node_27 | 0.4 | n |  | TRUE
10 | bus_LV_329-39_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_329-39_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_329-39_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_329-39_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_329-39_0_3_node_23 | 0.4 | n |  | TRUE
15 | bus_LV_329-39_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_329-39_0_3_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_329-39_0_3_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_329-39_0_3_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_329-39_0_3_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_329-39_0_3_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_329-39_0_3_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_329-39_0_3_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_329-39_0_3_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_329-39_0_3_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_329-39_0_3_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_329-39_0_3_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_329-39_0_3_node_73 | 0.4 | n |  | TRUE
28 | bus_LV_329-39_0_3_node_74 | 0.4 | n |  | TRUE
29 | bus_LV_329-39_0_3_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_329-39_0_3_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_329-39_0_3_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_329-39_0_3_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_329-39_0_3_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_329-39_0_3_node_47 | 0.4 | n |  | TRUE
35 | bus_LV_329-39_0_3_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_329-39_0_3_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_329-39_0_3_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_329-39_0_3_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_329-39_0_3_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_329-39_0_3_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_329-39_0_3_node_45 | 0.4 | n |  | TRUE
42 | bus_LV_329-39_0_3_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_329-39_0_3_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_329-39_0_3_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_329-39_0_3_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_329-39_0_3_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_329-39_0_3_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_329-39_0_3_node_58 | 0.4 | n |  | TRUE
49 | bus_LV_329-39_0_3_node_56 | 0.4 | n |  | TRUE
50 | bus_LV_329-39_0_3_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_329-39_0_3_node_55 | 0.4 | n |  | TRUE
52 | bus_LV_329-39_0_3_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_329-39_0_3_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_329-39_0_3_node_50 | 0.4 | n |  | TRUE
55 | bus_LV_329-39_0_3_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_329-39_0_3_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_329-39_0_3_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_329-39_0_3_node_60 | 0.4 | n |  | TRUE
59 | bus_LV_329-39_0_3_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_329-39_0_3_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_329-39_0_3_node_82 | 0.4 | n |  | TRUE
62 | bus_LV_329-39_0_3_node_163 | 0.4 | n |  | TRUE
63 | bus_LV_329-39_0_3_node_59 | 0.4 | n |  | TRUE
64 | bus_LV_329-39_0_3_node_61 | 0.4 | n |  | TRUE
65 | bus_LV_329-39_0_3_node_62 | 0.4 | n |  | TRUE
66 | bus_LV_329-39_0_3_node_79 | 0.4 | n |  | TRUE
67 | bus_LV_329-39_0_3_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_329-39_0_3_node_64 | 0.4 | n |  | TRUE
69 | bus_LV_329-39_0_3_node_65 | 0.4 | n |  | TRUE
70 | bus_LV_329-39_0_3_node_66 | 0.4 | n |  | TRUE
71 | bus_LV_329-39_0_3_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_329-39_0_3_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_329-39_0_3_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_329-39_0_3_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_329-39_0_3_node_75 | 0.4 | n |  | TRUE
76 | bus_LV_329-39_0_3_node_71 | 0.4 | n |  | TRUE
77 | bus_LV_329-39_0_3_node_72 | 0.4 | n |  | TRUE
78 | bus_LV_329-39_0_3_node_76 | 0.4 | n |  | TRUE
79 | bus_LV_329-39_0_3_node_77 | 0.4 | n |  | TRUE
80 | bus_LV_329-39_0_3_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_329-39_0_3_node_80 | 0.4 | n |  | TRUE
82 | bus_LV_329-39_0_3_node_81 | 0.4 | n |  | TRUE
83 | bus_LV_329-39_0_3_node_83 | 0.4 | n |  | TRUE
84 | bus_LV_329-39_0_3_node_84 | 0.4 | n |  | TRUE
85 | bus_LV_329-39_0_3_node_85 | 0.4 | n |  | TRUE
86 | bus_LV_329-39_0_3_node_86 | 0.4 | n |  | TRUE
87 | bus_LV_329-39_0_3_node_87 | 0.4 | n |  | TRUE
88 | bus_LV_329-39_0_3_node_88 | 0.4 | n |  | TRUE
89 | bus_MV_584_0_node_75 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_329-39_0_3_load_0 | 0 | 0.0024196 | 0.00060641 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_329-39_0_3_load_3 | 3 | 0.0032288 | 0.0008092 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_329-39_0_3_load_4 | 4 | 0.0027918 | 0.00069969 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_329-39_0_3_load_10 | 5 | 0.0035616 | 0.00089263 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_329-39_0_3_load_24 | 6 | 0.0025823 | 0.00064718 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_329-39_0_3_load_27 | 9 | 0.0024843 | 0.00062262 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_329-39_0_3_load_6 | 10 | 0.015993 | 0.0040082 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_329-39_0_3_load_7 | 11 | 0.0064987 | 0.0016287 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_329-39_0_3_load_8 | 12 | 0.0041064 | 0.0010292 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_329-39_0_3_load_9 | 13 | 0.0028426 | 0.00071243 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_329-39_0_3_load_23 | 14 | 0.011668 | 0.0029243 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_329-39_0_3_load_11 | 15 | 0.0043973 | 0.0011021 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_329-39_0_3_load_13 | 17 | 0.0020172 | 0.00050557 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_329-39_0_3_load_14 | 18 | 0.0020016 | 0.00050164 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_329-39_0_3_load_16 | 21 | 0.0031005 | 0.00077706 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_329-39_0_3_load_17 | 22 | 0.0029262 | 0.00073338 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_329-39_0_3_load_19 | 23 | 0.0014854 | 0.00037226 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_329-39_0_3_load_20 | 24 | 0.015584 | 0.0039058 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_329-39_0_3_load_22 | 25 | 0.0024259 | 0.00060799 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_329-39_0_3_load_74 | 28 | 0.018195 | 0.0045602 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_329-39_0_3_load_25 | 29 | 0.0028998 | 0.00072677 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_329-39_0_3_load_30 | 30 | 0.0048333 | 0.0012113 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_329-39_0_3_load_26 | 31 | 0.002297 | 0.00057568 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_329-39_0_3_load_28 | 32 | 0.0027539 | 0.00069018 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_329-39_0_3_load_29 | 33 | 0.0021297 | 0.00053376 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_329-39_0_3_load_35 | 35 | 0.0042517 | 0.0010656 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_329-39_0_3_load_32 | 36 | 0.0030908 | 0.00077462 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_329-39_0_3_load_33 | 37 | 0.0018837 | 0.0004721 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_329-39_0_3_load_34 | 38 | 0.0069922 | 0.0017524 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_329-39_0_3_load_36 | 39 | 0.0025622 | 0.00064215 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_329-39_0_3_load_45 | 41 | 0.0066407 | 0.0016643 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_329-39_0_3_load_39 | 42 | 0.0041657 | 0.001044 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_329-39_0_3_load_40 | 43 | 0.0031096 | 0.00077934 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_329-39_0_3_load_41 | 44 | 0.0061439 | 0.0015398 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_329-39_0_3_load_42 | 45 | 0.0066454 | 0.0016655 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_329-39_0_3_load_43 | 46 | 0.005984 | 0.0014997 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_329-39_0_3_load_44 | 47 | 0.0016462 | 0.00041259 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_329-39_0_3_load_46 | 50 | 0.0043751 | 0.0010965 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_329-39_0_3_load_55 | 51 | 0.0025431 | 0.00063736 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_329-39_0_3_load_48 | 52 | 0.0032272 | 0.00080881 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_329-39_0_3_load_51 | 55 | 0.0018484 | 0.00046324 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_329-39_0_3_load_54 | 56 | 0.0077479 | 0.0019418 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_329-39_0_3_load_52 | 57 | 0.0033861 | 0.00084863 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_329-39_0_3_load_60 | 58 | 0.0019173 | 0.00048051 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_329-39_0_3_load_53 | 59 | 0.0063051 | 0.0015802 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_329-39_0_3_load_57 | 60 | 0.0025634 | 0.00064244 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_329-39_0_3_load_82 | 61 | 0.00085951 | 0.00021541 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_329-39_0_3_load_163 | 62 | 0.004817 | 0.0012072 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_329-39_0_3_load_59 | 63 | 0.0014753 | 0.00036974 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_329-39_0_3_load_61 | 64 | 0.001241 | 0.00031102 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_329-39_0_3_load_62 | 65 | 0.0012264 | 0.00030737 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_329-39_0_3_load_79 | 66 | 0.00096024 | 0.00024066 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_329-39_0_3_load_63 | 67 | 0.0041129 | 0.0010308 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_329-39_0_3_load_64 | 68 | 0.0031565 | 0.00079108 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_329-39_0_3_load_66 | 70 | 0.0040302 | 0.0010101 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_329-39_0_3_load_67 | 71 | 0.011608 | 0.0029093 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_329-39_0_3_load_68 | 72 | 0.0033358 | 0.00083602 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_329-39_0_3_load_69 | 73 | 0.0049498 | 0.0012405 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_329-39_0_3_load_70 | 74 | 0.0062663 | 0.0015705 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_329-39_0_3_load_75 | 75 | 0.0013986 | 0.00035052 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_329-39_0_3_load_72 | 77 | 0.0048214 | 0.0012084 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_329-39_0_3_load_76 | 78 | 0.0019616 | 0.00049162 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_329-39_0_3_load_77 | 79 | 0.00095951 | 0.00024047 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_329-39_0_3_load_78 | 80 | 0.0016756 | 0.00041995 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_329-39_0_3_load_80 | 81 | 0.00090958 | 0.00022796 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_329-39_0_3_load_81 | 82 | 0.0028395 | 0.00071163 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_329-39_0_3_load_83 | 83 | 0.0074026 | 0.0018553 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_329-39_0_3_load_84 | 84 | 0.0058279 | 0.0014606 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_329-39_0_3_load_85 | 85 | 0.005695 | 0.0014273 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_329-39_0_3_load_87 | 87 | 0.0063473 | 0.0015908 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_329-39_0_3_load_88 | 88 | 0.00043176 | 0.00010821 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_329-39_0_3_line_0 |  | 0 | 1 | 0.01285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_329-39_0_3_line_1 |  | 0 | 2 | 0.016279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_329-39_0_3_line_2 |  | 1 | 3 | 0.008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_329-39_0_3_line_3 |  | 2 | 4 | 0.016882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_329-39_0_3_line_4 |  | 3 | 5 | 0.024129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_329-39_0_3_line_5 |  | 4 | 6 | 0.02369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_329-39_0_3_line_6 |  | 5 | 15 | 0.017291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_329-39_0_3_line_7 |  | 6 | 29 | 0.02833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_329-39_0_3_line_8 |  | 7 | 8 | 0.049952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_329-39_0_3_line_9 |  | 7 | 9 | 0.016965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_329-39_0_3_line_10 |  | 8 | 35 | 0.018072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_329-39_0_3_line_11 |  | 8 | 36 | 0.0188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_329-39_0_3_line_12 |  | 9 | 31 | 0.0015566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_329-39_0_3_line_13 |  | 10 | 11 | 0.0043507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_329-39_0_3_line_14 |  | 10 | 12 | 0.0028629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_329-39_0_3_line_15 |  | 11 | 13 | 0.014659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_329-39_0_3_line_16 |  | 13 | 14 | 0.038168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_329-39_0_3_line_17 |  | 14 | 24 | 0.0029804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_329-39_0_3_line_18 |  | 15 | 16 | 0.017596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_329-39_0_3_line_19 |  | 16 | 17 | 0.044739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_329-39_0_3_line_20 |  | 17 | 18 | 0.01049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_329-39_0_3_line_21 |  | 18 | 19 | 0.013183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_329-39_0_3_line_22 |  | 19 | 20 | 0.043606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_329-39_0_3_line_23 |  | 20 | 24 | 0.036792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_329-39_0_3_line_24 |  | 20 | 21 | 0.019636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_329-39_0_3_line_25 |  | 21 | 22 | 0.00069942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_329-39_0_3_line_26 |  | 22 | 23 | 0.020554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_329-39_0_3_line_27 |  | 23 | 25 | 0.0078523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_329-39_0_3_line_28 |  | 26 | 27 | 0.074872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_329-39_0_3_line_29 |  | 26 | 28 | 0.036784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_329-39_0_3_line_30 |  | 27 | 77 | 0.042802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_329-39_0_3_line_31 |  | 29 | 30 | 0.044247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_329-39_0_3_line_32 |  | 30 | 34 | 0.01308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_329-39_0_3_line_33 |  | 31 | 32 | 0.021745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_329-39_0_3_line_34 |  | 32 | 33 | 0.00081764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_329-39_0_3_line_35 |  | 34 | 52 | 0.008668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_329-39_0_3_line_36 |  | 35 | 40 | 0.039353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_329-39_0_3_line_37 |  | 36 | 37 | 0.024996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_329-39_0_3_line_38 |  | 37 | 38 | 0.00088395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_329-39_0_3_line_39 |  | 38 | 39 | 0.02792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_329-39_0_3_line_40 |  | 39 | 41 | 0.0014884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_329-39_0_3_line_41 |  | 40 | 42 | 0.016641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_329-39_0_3_line_42 |  | 41 | 50 | 0.014818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_329-39_0_3_line_43 |  | 42 | 43 | 0.0043193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_329-39_0_3_line_44 |  | 43 | 44 | 0.024849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_329-39_0_3_line_45 |  | 44 | 45 | 0.033658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_329-39_0_3_line_46 |  | 45 | 46 | 0.037957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_329-39_0_3_line_47 |  | 47 | 48 | 0.080391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_329-39_0_3_line_48 |  | 47 | 49 | 0.049428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_329-39_0_3_line_49 |  | 48 | 61 | 0.04545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_329-39_0_3_line_50 |  | 48 | 62 | 0.0597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_329-39_0_3_line_51 |  | 49 | 60 | 0.014077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_329-39_0_3_line_52 |  | 49 | 51 | 0.033392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_329-39_0_3_line_53 |  | 50 | 51 | 0.0010428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_329-39_0_3_line_54 |  | 52 | 53 | 0.016046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_329-39_0_3_line_55 |  | 53 | 54 | 0.008762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_329-39_0_3_line_56 |  | 53 | 55 | 0.0082473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_329-39_0_3_line_57 |  | 54 | 56 | 0.02265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_329-39_0_3_line_58 |  | 54 | 57 | 0.015354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_329-39_0_3_line_59 |  | 55 | 58 | 0.0049517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_329-39_0_3_line_60 |  | 56 | 60 | 0.016156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_329-39_0_3_line_61 |  | 57 | 59 | 0.030729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_329-39_0_3_line_62 |  | 58 | 63 | 6.7058e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_329-39_0_3_line_63 |  | 61 | 81 | 0.0012088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_329-39_0_3_line_64 |  | 63 | 64 | 0.00095902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_329-39_0_3_line_65 |  | 64 | 65 | 0.0076897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_329-39_0_3_line_66 |  | 65 | 66 | 0.00092913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_329-39_0_3_line_67 |  | 66 | 80 | 0.0023237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_329-39_0_3_line_68 |  | 67 | 68 | 0.009145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_329-39_0_3_line_69 |  | 67 | 69 | 0.018003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_329-39_0_3_line_70 |  | 68 | 70 | 0.014698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_329-39_0_3_line_71 |  | 69 | 71 | 0.0082772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_329-39_0_3_line_72 |  | 69 | 72 | 0.013203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_329-39_0_3_line_73 |  | 70 | 73 | 0.0065008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_329-39_0_3_line_74 |  | 71 | 74 | 8.4652e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_329-39_0_3_line_75 |  | 72 | 75 | 0.012706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_329-39_0_3_line_76 |  | 74 | 76 | 0.030203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_329-39_0_3_line_77 |  | 75 | 78 | 0.0050872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_329-39_0_3_line_78 |  | 76 | 77 | 0.008624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_329-39_0_3_line_79 |  | 78 | 79 | 0.012455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_329-39_0_3_line_80 |  | 79 | 80 | 0.0048186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_329-39_0_3_line_81 |  | 81 | 82 | 0.00081367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_329-39_0_3_line_82 |  | 82 | 83 | 0.0063088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_329-39_0_3_line_83 |  | 83 | 84 | 0.00086301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_329-39_0_3_line_84 |  | 84 | 85 | 0.015476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_329-39_0_3_line_85 |  | 85 | 86 | 0.036735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_329-39_0_3_line_86 |  | 86 | 87 | 0.024158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_329-39_0_3_line_87 |  | 86 | 88 | 0.013356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_329-39_0_3_trafo_30 | 0.63 MVA 20/0.4 kV | 89 | 30 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2626551.642 | 1228488.6599 | 2626564.4697 | 1228487.9029
1 | 2626580.7203 | 1228486.944 | 2626564.4697 | 1228487.9029
2 | 2626551.642 | 1228488.6599 | 2626543.6485 | 1228488.9857
3 | 2626580.7203 | 1228486.944 | 2626581.6587 | 1228503.7998
4 | 2626543.6485 | 1228488.9857 | 2626519.54 | 1228489.9685
5 | 2626581.6587 | 1228503.7998 | 2626582.9756 | 1228527.4535
6 | 2626519.54 | 1228489.9685 | 2626502.263 | 1228490.6728
7 | 2626582.9756 | 1228527.4535 | 2626584.5504 | 1228555.7397
8 | 2626682.7803 | 1228482.2862 | 2626632.7422 | 1228484.7416
9 | 2626632.7422 | 1228484.7416 | 2626633.5262 | 1228501.6883
10 | 2626682.7803 | 1228482.2862 | 2626700.8311 | 1228481.4189
11 | 2626682.7803 | 1228482.2862 | 2626683.7113 | 1228501.0636
12 | 2626633.5981 | 1228503.2432 | 2626633.5262 | 1228501.6883
13 | 2626549.4625 | 1228544.9888 | 2626550.5891 | 1228549.1911
14 | 2626548.7212 | 1228542.2235 | 2626549.4625 | 1228544.9888
15 | 2626550.5891 | 1228549.1911 | 2626554.385 | 1228563.3503
16 | 2626554.385 | 1228563.3503 | 2626554.385 | 1228563.3503 | 2626545.0618 | 1228567.7225 | 2626529.9247 | 1228576.138 | 2626519.4581 | 1228577.4731
17 | 2626519.4581 | 1228577.4731 | 2626519.1451 | 1228577.513 | 2626516.4822 | 1228577.6183
18 | 2626484.9037 | 1228493.2435 | 2626496.5666 | 1228490.905 | 2626502.263 | 1228490.6728
19 | 2626484.9037 | 1228493.2435 | 2626479.5732 | 1228497.6224 | 2626470.0158 | 1228517.1584 | 2626463.7253 | 1228531.9699
20 | 2626459.6245 | 1228541.6256 | 2626463.7253 | 1228531.9699
21 | 2626456.7431 | 1228554.4441 | 2626458.7379 | 1228543.7131 | 2626459.6245 | 1228541.6256
22 | 2626479.6998 | 1228578.2047 | 2626463.3424 | 1228578.2432 | 2626462.5256 | 1228571.0909 | 2626461.0657 | 1228567.1709 | 2626460.1125 | 1228561.7301 | 2626461.0619 | 1228556.0864 | 2626456.7431 | 1228554.4441
23 | 2626479.6998 | 1228578.2047 | 2626504.9825 | 1228578.0726 | 2626516.4822 | 1228577.6183
24 | 2626479.6998 | 1228578.2047 | 2626491.2149 | 1228562.2999
25 | 2626491.625 | 1228561.7334 | 2626491.2149 | 1228562.2999
26 | 2626503.6784 | 1228545.0851 | 2626491.625 | 1228561.7334
27 | 2626503.6784 | 1228545.0851 | 2626508.2833 | 1228538.7247
28 | 2626458.6821 | 1228636.4353 | 2626459.0666 | 1228657.3273 | 2626473.582 | 1228659.1485 | 2626482.6558 | 1228663.1245 | 2626485.4 | 1228667.8729 | 2626489.7362 | 1228679.199 | 2626494.6204 | 1228689.9716
29 | 2626458.6821 | 1228636.4353 | 2626495.2919 | 1228640.0095
30 | 2626494.6204 | 1228689.9716 | 2626505.5288 | 1228686.8516 | 2626519.3228 | 1228683.9334 | 2626529.862 | 1228680.367 | 2626536.0356 | 1228681.2092
31 | 2626584.5504 | 1228555.7397 | 2626585.0059 | 1228563.9205 | 2626586.1711 | 1228588.0291 | 2626598.0316 | 1228589.1844
32 | 2626611.0011 | 1228590.8527 | 2626602.5591 | 1228589.6254 | 2626598.0316 | 1228589.1844
33 | 2626633.5981 | 1228503.2432 | 2626634.603 | 1228524.9649
34 | 2626634.6408 | 1228525.7816 | 2626634.603 | 1228524.9649
35 | 2626611.0011 | 1228590.8527 | 2626617.3007 | 1228596.8067
36 | 2626740.1386 | 1228479.5305 | 2626700.8311 | 1228481.4189
37 | 2626683.7113 | 1228501.0636 | 2626684.949 | 1228526.0289
38 | 2626684.949 | 1228526.0289 | 2626684.9928 | 1228526.9118
39 | 2626684.9928 | 1228526.9118 | 2626686.3754 | 1228554.7979
40 | 2626686.4491 | 1228556.2845 | 2626686.3754 | 1228554.7979
41 | 2626740.1386 | 1228479.5305 | 2626739.3572 | 1228493.2574 | 2626739.8425 | 1228496.1084
42 | 2626686.4491 | 1228556.2845 | 2626687.1828 | 1228571.0839
43 | 2626739.8425 | 1228496.1084 | 2626740.5673 | 1228500.3664
44 | 2626740.5673 | 1228500.3664 | 2626740.9443 | 1228502.5813 | 2626744.3599 | 1228511.313 | 2626745.7331 | 1228521.0361 | 2626746.0445 | 1228524.4287
45 | 2626746.0445 | 1228524.4287 | 2626746.7009 | 1228531.5801 | 2626745.0351 | 1228541.5008 | 2626741.7919 | 1228557.5942
46 | 2626741.7919 | 1228557.5942 | 2626740.6724 | 1228563.1498 | 2626737.9782 | 1228574.2889 | 2626729.7863 | 1228588.2272 | 2626727.1767 | 1228592.0905
47 | 2626708.0947 | 1228733.6841 | 2626699.6228 | 1228695.223 | 2626694.0993 | 1228659.8325 | 2626693.6072 | 1228654.6716
48 | 2626688.888 | 1228605.4765 | 2626693.6072 | 1228654.6716
49 | 2626708.0947 | 1228733.6841 | 2626675.7667 | 1228745.691 | 2626665.7162 | 1228750.072
50 | 2626708.0947 | 1228733.6841 | 2626765.6459 | 1228717.8105
51 | 2626688.888 | 1228605.4765 | 2626674.8162 | 1228605.8396
52 | 2626688.888 | 1228605.4765 | 2626687.2345 | 1228572.1254
53 | 2626687.2345 | 1228572.1254 | 2626687.1828 | 1228571.0839
54 | 2626627.5269 | 1228609.082 | 2626622.2645 | 1228601.6095 | 2626617.3007 | 1228596.8067
55 | 2626627.5269 | 1228609.082 | 2626636.0223 | 1228606.8408
56 | 2626627.5269 | 1228609.082 | 2626621.1399 | 1228614.2997
57 | 2626636.0223 | 1228606.8408 | 2626658.6651 | 1228606.2564
58 | 2626636.0223 | 1228606.8408 | 2626635.3336 | 1228591.5023
59 | 2626617.3052 | 1228617.4324 | 2626621.1399 | 1228614.2997
60 | 2626674.8162 | 1228605.8396 | 2626658.6651 | 1228606.2564
61 | 2626633.9553 | 1228560.8039 | 2626635.3336 | 1228591.5023
62 | 2626617.3052 | 1228617.4324 | 2626617.2532 | 1228617.4748
63 | 2626664.6081 | 1228750.5551 | 2626665.7162 | 1228750.072
64 | 2626617.2532 | 1228617.4748 | 2626616.5105 | 1228618.0816
65 | 2626616.5105 | 1228618.0816 | 2626610.5554 | 1228622.9465
66 | 2626610.5554 | 1228622.9465 | 2626609.8358 | 1228623.5344
67 | 2626608.0363 | 1228625.0045 | 2626609.8358 | 1228623.5344
68 | 2626568.4117 | 1228637.3155 | 2626567.4091 | 1228628.2257
69 | 2626570.3855 | 1228655.2102 | 2626568.4117 | 1228637.3155
70 | 2626567.4091 | 1228628.2257 | 2626565.7976 | 1228613.6161
71 | 2626570.3855 | 1228655.2102 | 2626564.7698 | 1228661.291
72 | 2626570.3855 | 1228655.2102 | 2626580.7023 | 1228646.9716
73 | 2626565.0849 | 1228607.1545 | 2626565.7976 | 1228613.6161
74 | 2626564.7698 | 1228661.291 | 2626564.7124 | 1228661.3532
75 | 2626580.7023 | 1228646.9716 | 2626590.6313 | 1228639.0427
76 | 2626544.2123 | 1228683.5328 | 2626554.0557 | 1228672.8925 | 2626564.7124 | 1228661.3532
77 | 2626590.6313 | 1228639.0427 | 2626594.6065 | 1228635.8682
78 | 2626544.2123 | 1228683.5328 | 2626541.0679 | 1228681.8956 | 2626536.0356 | 1228681.2092
79 | 2626604.3046 | 1228628.053 | 2626600.4566 | 1228631.1966 | 2626594.6065 | 1228635.8682
80 | 2626604.3046 | 1228628.053 | 2626608.0363 | 1228625.0045
81 | 2626664.6081 | 1228750.5551 | 2626664.6081 | 1228750.5551 | 2626664.0456 | 1228751.1429
82 | 2626659.6838 | 1228755.701 | 2626664.0456 | 1228751.1429
83 | 2626659.6838 | 1228755.701 | 2626659.0871 | 1228756.3246
84 | 2626659.0871 | 1228756.3246 | 2626655.3599 | 1228760.2195 | 2626648.7085 | 1228767.8006
85 | 2626624.4816 | 1228795.4138 | 2626648.7085 | 1228767.8006
86 | 2626624.4816 | 1228795.4138 | 2626615.8625 | 1228772.8395
87 | 2626624.4816 | 1228795.4138 | 2626626.1591 | 1228808.6645

## bus_geodata
| x | y | coords
0 | 2626564.4697 | 1228487.9029
1 | 2626551.642 | 1228488.6599
2 | 2626580.7203 | 1228486.944
3 | 2626543.6485 | 1228488.9857
4 | 2626581.6587 | 1228503.7998
5 | 2626519.54 | 1228489.9685
6 | 2626582.9756 | 1228527.4535
7 | 2626632.7422 | 1228484.7416
8 | 2626682.7803 | 1228482.2862
9 | 2626633.5262 | 1228501.6883
10 | 2626549.4625 | 1228544.9888
11 | 2626550.5891 | 1228549.1911
12 | 2626548.7212 | 1228542.2235
13 | 2626554.385 | 1228563.3503
14 | 2626519.4581 | 1228577.4731
15 | 2626502.263 | 1228490.6728
16 | 2626484.9037 | 1228493.2435
17 | 2626463.7253 | 1228531.9699
18 | 2626459.6245 | 1228541.6256
19 | 2626456.7431 | 1228554.4441
20 | 2626479.6998 | 1228578.2047
21 | 2626491.2149 | 1228562.2999
22 | 2626491.625 | 1228561.7334
23 | 2626503.6784 | 1228545.0851
24 | 2626516.4822 | 1228577.6183
25 | 2626508.2833 | 1228538.7247
26 | 2626458.6821 | 1228636.4353
27 | 2626494.6204 | 1228689.9716
28 | 2626495.2919 | 1228640.0095
29 | 2626584.5504 | 1228555.7397
30 | 2626598.0316 | 1228589.1844
31 | 2626633.5981 | 1228503.2432
32 | 2626634.603 | 1228524.9649
33 | 2626634.6408 | 1228525.7816
34 | 2626611.0011 | 1228590.8527
35 | 2626700.8311 | 1228481.4189
36 | 2626683.7113 | 1228501.0636
37 | 2626684.949 | 1228526.0289
38 | 2626684.9928 | 1228526.9118
39 | 2626686.3754 | 1228554.7979
40 | 2626740.1386 | 1228479.5305
41 | 2626686.4491 | 1228556.2845
42 | 2626739.8425 | 1228496.1084
43 | 2626740.5673 | 1228500.3664
44 | 2626746.0445 | 1228524.4287
45 | 2626741.7919 | 1228557.5942
46 | 2626727.1767 | 1228592.0905
47 | 2626693.6072 | 1228654.6716
48 | 2626708.0947 | 1228733.6841
49 | 2626688.888 | 1228605.4765
50 | 2626687.1828 | 1228571.0839
51 | 2626687.2345 | 1228572.1254
52 | 2626617.3007 | 1228596.8067
53 | 2626627.5269 | 1228609.0819
54 | 2626636.0223 | 1228606.8408
55 | 2626621.1399 | 1228614.2997
56 | 2626658.6651 | 1228606.2564
57 | 2626635.3336 | 1228591.5023
58 | 2626617.3052 | 1228617.4324
59 | 2626633.9553 | 1228560.8039
60 | 2626674.8162 | 1228605.8396
61 | 2626665.7162 | 1228750.072
62 | 2626765.6459 | 1228717.8105
63 | 2626617.2532 | 1228617.4748
64 | 2626616.5105 | 1228618.0816
65 | 2626610.5554 | 1228622.9465
66 | 2626609.8358 | 1228623.5344
67 | 2626568.4117 | 1228637.3155
68 | 2626567.4091 | 1228628.2257
69 | 2626570.3855 | 1228655.2102
70 | 2626565.7976 | 1228613.6161
71 | 2626564.7698 | 1228661.291
72 | 2626580.7023 | 1228646.9716
73 | 2626565.0849 | 1228607.1545
74 | 2626564.7124 | 1228661.3532
75 | 2626590.6313 | 1228639.0427
76 | 2626544.2123 | 1228683.5328
77 | 2626536.0356 | 1228681.2092
78 | 2626594.6065 | 1228635.8682
79 | 2626604.3046 | 1228628.053
80 | 2626608.0363 | 1228625.0045
81 | 2626664.6081 | 1228750.5551
82 | 2626664.0456 | 1228751.1429
83 | 2626659.6838 | 1228755.701
84 | 2626659.0871 | 1228756.3246
85 | 2626648.7085 | 1228767.8006
86 | 2626624.4816 | 1228795.4138
87 | 2626615.8625 | 1228772.8395
88 | 2626626.1591 | 1228808.6645
89 | 2626611.0011 | 1228590.8527

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1