## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_329-42_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_329-42_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_329-42_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_329-42_0_3_node_122 | 0.4 | n |  | TRUE
4 | bus_LV_329-42_0_3_node_133 | 0.4 | n |  | TRUE
5 | bus_LV_329-42_0_3_node_121 | 0.4 | n |  | TRUE
6 | bus_LV_329-42_0_3_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_329-42_0_3_node_112 | 0.4 | n |  | TRUE
8 | bus_LV_329-42_0_3_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_329-42_0_3_node_108 | 0.4 | n |  | TRUE
10 | bus_LV_329-42_0_3_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_329-42_0_3_node_109 | 0.4 | n |  | TRUE
12 | bus_LV_329-42_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_329-42_0_3_node_106 | 0.4 | n |  | TRUE
14 | bus_LV_329-42_0_3_node_107 | 0.4 | n |  | TRUE
15 | bus_LV_329-42_0_3_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_329-42_0_3_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_329-42_0_3_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_329-42_0_3_node_22 | 0.4 | n |  | TRUE
19 | bus_LV_329-42_0_3_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_329-42_0_3_node_42 | 0.4 | n |  | TRUE
21 | bus_LV_329-42_0_3_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_329-42_0_3_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_329-42_0_3_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_329-42_0_3_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_329-42_0_3_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_329-42_0_3_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_329-42_0_3_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_329-42_0_3_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_329-42_0_3_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_329-42_0_3_node_45 | 0.4 | n |  | TRUE
31 | bus_LV_329-42_0_3_node_43 | 0.4 | n |  | TRUE
32 | bus_LV_329-42_0_3_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_329-42_0_3_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_329-42_0_3_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_329-42_0_3_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_329-42_0_3_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_329-42_0_3_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_329-42_0_3_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_329-42_0_3_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_329-42_0_3_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_329-42_0_3_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_329-42_0_3_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_329-42_0_3_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_329-42_0_3_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_329-42_0_3_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_329-42_0_3_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_329-42_0_3_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_329-42_0_3_node_94 | 0.4 | n |  | TRUE
49 | bus_LV_329-42_0_3_node_95 | 0.4 | n |  | TRUE
50 | bus_LV_329-42_0_3_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_329-42_0_3_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_329-42_0_3_node_105 | 0.4 | n |  | TRUE
53 | bus_LV_329-42_0_3_node_104 | 0.4 | n |  | TRUE
54 | bus_LV_329-42_0_3_node_123 | 0.4 | n |  | TRUE
55 | bus_LV_329-42_0_3_node_120 | 0.4 | n |  | TRUE
56 | bus_LV_329-42_0_3_node_93 | 0.4 | n |  | TRUE
57 | bus_LV_329-42_0_3_node_96 | 0.4 | n |  | TRUE
58 | bus_LV_329-42_0_3_node_97 | 0.4 | n |  | TRUE
59 | bus_LV_329-42_0_3_node_98 | 0.4 | n |  | TRUE
60 | bus_LV_329-42_0_3_node_99 | 0.4 | n |  | TRUE
61 | bus_LV_329-42_0_3_node_100 | 0.4 | n |  | TRUE
62 | bus_LV_329-42_0_3_node_101 | 0.4 | n |  | TRUE
63 | bus_LV_329-42_0_3_node_102 | 0.4 | n |  | TRUE
64 | bus_LV_329-42_0_3_node_103 | 0.4 | n |  | TRUE
65 | bus_LV_329-42_0_3_node_110 | 0.4 | n |  | TRUE
66 | bus_LV_329-42_0_3_node_111 | 0.4 | n |  | TRUE
67 | bus_LV_329-42_0_3_node_113 | 0.4 | n |  | TRUE
68 | bus_LV_329-42_0_3_node_114 | 0.4 | n |  | TRUE
69 | bus_LV_329-42_0_3_node_115 | 0.4 | n |  | TRUE
70 | bus_LV_329-42_0_3_node_116 | 0.4 | n |  | TRUE
71 | bus_LV_329-42_0_3_node_117 | 0.4 | n |  | TRUE
72 | bus_LV_329-42_0_3_node_118 | 0.4 | n |  | TRUE
73 | bus_LV_329-42_0_3_node_119 | 0.4 | n |  | TRUE
74 | bus_LV_329-42_0_3_node_132 | 0.4 | n |  | TRUE
75 | bus_LV_329-42_0_3_node_128 | 0.4 | n |  | TRUE
76 | bus_LV_329-42_0_3_node_129 | 0.4 | n |  | TRUE
77 | bus_LV_329-42_0_3_node_130 | 0.4 | n |  | TRUE
78 | bus_LV_329-42_0_3_node_131 | 0.4 | n |  | TRUE
79 | bus_MV_481_1_node_110 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_329-42_0_3_load_0 | 0 | 0.0038291 | 0.00095967 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_329-42_0_3_load_1 | 1 | 0.0043236 | 0.0010836 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_329-42_0_3_load_2 | 2 | 0.0064487 | 0.0016162 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_329-42_0_3_load_133 | 4 | 0.0021304 | 0.00053393 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_329-42_0_3_load_121 | 5 | 0.0027452 | 0.00068802 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_329-42_0_3_load_3 | 6 | 0.004585 | 0.0011491 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_329-42_0_3_load_112 | 7 | 0.0018307 | 0.00045881 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_329-42_0_3_load_4 | 8 | 0.0015581 | 0.00039049 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_329-42_0_3_load_5 | 10 | 0.0030299 | 0.00075936 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_329-42_0_3_load_109 | 11 | 0.0018516 | 0.00046406 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_329-42_0_3_load_6 | 12 | 0.0023552 | 0.00059027 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_329-42_0_3_load_106 | 13 | 0.0022834 | 0.00057227 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_329-42_0_3_load_107 | 14 | 0.0038302 | 0.00095995 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_329-42_0_3_load_7 | 15 | 0.0023387 | 0.00058612 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_329-42_0_3_load_8 | 16 | 0.0024345 | 0.00061013 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_329-42_0_3_load_9 | 17 | 0.0024091 | 0.00060377 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_329-42_0_3_load_10 | 19 | 0.0015372 | 0.00038526 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_329-42_0_3_load_42 | 20 | 0.0026376 | 0.00066105 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_329-42_0_3_load_11 | 21 | 0.0014707 | 0.0003686 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_329-42_0_3_load_12 | 22 | 0.0017469 | 0.00043782 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_329-42_0_3_load_18 | 24 | 0.0029194 | 0.00073168 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_329-42_0_3_load_13 | 25 | 0.003165 | 0.00079322 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_329-42_0_3_load_14 | 26 | 0.0028296 | 0.00070916 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_329-42_0_3_load_15 | 27 | 0.0025034 | 0.00062742 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_329-42_0_3_load_16 | 28 | 0.0033757 | 0.00084603 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_329-42_0_3_load_17 | 29 | 0.0030599 | 0.00076689 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_329-42_0_3_load_45 | 30 | 0.0018194 | 0.00045599 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_329-42_0_3_load_43 | 31 | 0.0024776 | 0.00062094 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_329-42_0_3_load_32 | 32 | 0.0018098 | 0.00045359 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_329-42_0_3_load_19 | 33 | 0.002443 | 0.00061228 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_329-42_0_3_load_21 | 34 | 0.0022611 | 0.00056668 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_329-42_0_3_load_34 | 35 | 0.0017793 | 0.00044594 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_329-42_0_3_load_23 | 37 | 0.001042 | 0.00026116 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_329-42_0_3_load_24 | 38 | 0.0010921 | 0.0002737 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_329-42_0_3_load_25 | 39 | 0.0011361 | 0.00028473 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_329-42_0_3_load_26 | 40 | 0.0011429 | 0.00028644 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_329-42_0_3_load_27 | 41 | 0.0010917 | 0.00027361 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_329-42_0_3_load_33 | 42 | 0.0011398 | 0.00028567 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_329-42_0_3_load_38 | 43 | 0.0016614 | 0.0004164 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_329-42_0_3_load_28 | 44 | 0.010948 | 0.0027438 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_329-42_0_3_load_29 | 45 | 0.0022916 | 0.00057434 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_329-42_0_3_load_30 | 46 | 0.0023832 | 0.00059728 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_329-42_0_3_load_31 | 47 | 0.0023778 | 0.00059593 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_329-42_0_3_load_94 | 48 | 0.010344 | 0.0025925 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_329-42_0_3_load_37 | 50 | 0.0015194 | 0.00038081 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_329-42_0_3_load_36 | 51 | 0.001815 | 0.00045487 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_329-42_0_3_load_105 | 52 | 0.0027514 | 0.00068957 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_329-42_0_3_load_104 | 53 | 0.0016718 | 0.00041899 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_329-42_0_3_load_123 | 54 | 0.0018621 | 0.00046669 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_329-42_0_3_load_120 | 55 | 0.0018628 | 0.00046687 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_329-42_0_3_load_93 | 56 | 0.0018585 | 0.00046579 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_329-42_0_3_load_96 | 57 | 0.0023763 | 0.00059557 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_329-42_0_3_load_97 | 58 | 0.0023728 | 0.00059468 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_329-42_0_3_load_98 | 59 | 0.0029727 | 0.00074504 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_329-42_0_3_load_99 | 60 | 0.0024997 | 0.00062649 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_329-42_0_3_load_100 | 61 | 0.002384 | 0.0005975 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_329-42_0_3_load_101 | 62 | 0.0014454 | 0.00036226 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_329-42_0_3_load_102 | 63 | 0.0023114 | 0.00057929 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_329-42_0_3_load_103 | 64 | 0.0023014 | 0.00057678 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_329-42_0_3_load_110 | 65 | 0.0017997 | 0.00045106 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_329-42_0_3_load_111 | 66 | 0.0010124 | 0.00025374 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_329-42_0_3_load_113 | 67 | 0.0020676 | 0.00051818 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_329-42_0_3_load_114 | 68 | 0.0016772 | 0.00042035 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_329-42_0_3_load_115 | 69 | 0.0042434 | 0.0010635 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_329-42_0_3_load_116 | 70 | 0.0037647 | 0.00094351 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_329-42_0_3_load_117 | 71 | 0.0036016 | 0.00090265 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_329-42_0_3_load_118 | 72 | 0.0048168 | 0.0012072 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_329-42_0_3_load_119 | 73 | 0.0022505 | 0.00056402 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_329-42_0_3_load_132 | 74 | 0.0032377 | 0.00081143 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_329-42_0_3_load_128 | 75 | 0.0012835 | 0.00032168 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_329-42_0_3_load_129 | 76 | 0.0029313 | 0.00073464 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_329-42_0_3_load_130 | 77 | 0.0035583 | 0.00089179 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_329-42_0_3_load_131 | 78 | 0.0021306 | 0.00053397 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 63 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_329-42_0_3_line_0 |  | 0 | 1 | 0.028721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_329-42_0_3_line_1 |  | 1 | 2 | 0.018892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_329-42_0_3_line_2 |  | 2 | 6 | 0.037029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_329-42_0_3_line_3 |  | 3 | 4 | 0.028831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_329-42_0_3_line_4 |  | 3 | 5 | 0.012767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_329-42_0_3_line_5 |  | 4 | 74 | 0.019306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_329-42_0_3_line_6 |  | 5 | 7 | 0.034258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_329-42_0_3_line_7 |  | 6 | 8 | 0.022113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_329-42_0_3_line_8 |  | 6 | 9 | 0.03053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_329-42_0_3_line_9 |  | 7 | 9 | 0.028845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_329-42_0_3_line_10 |  | 8 | 10 | 0.028278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_329-42_0_3_line_11 |  | 9 | 11 | 0.014057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_329-42_0_3_line_12 |  | 10 | 12 | 0.024324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_329-42_0_3_line_13 |  | 10 | 13 | 0.023376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_329-42_0_3_line_14 |  | 11 | 65 | 0.023531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_329-42_0_3_line_15 |  | 12 | 15 | 0.025704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_329-42_0_3_line_16 |  | 13 | 14 | 0.0096049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_329-42_0_3_line_17 |  | 15 | 16 | 0.022697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_329-42_0_3_line_18 |  | 16 | 17 | 0.022197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_329-42_0_3_line_19 |  | 16 | 18 | 0.02685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_329-42_0_3_line_20 |  | 17 | 19 | 0.018338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_329-42_0_3_line_21 |  | 18 | 20 | 0.0085142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_329-42_0_3_line_22 |  | 19 | 21 | 0.0025558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_329-42_0_3_line_23 |  | 20 | 31 | 0.019673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_329-42_0_3_line_24 |  | 21 | 22 | 0.013211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_329-42_0_3_line_25 |  | 22 | 23 | 0.023773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_329-42_0_3_line_26 |  | 23 | 24 | 0.025911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_329-42_0_3_line_27 |  | 24 | 33 | 0.0323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_329-42_0_3_line_28 |  | 25 | 26 | 0.021787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_329-42_0_3_line_29 |  | 25 | 27 | 0.0065238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_329-42_0_3_line_30 |  | 26 | 28 | 0.0027771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_329-42_0_3_line_31 |  | 27 | 29 | 0.020373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_329-42_0_3_line_32 |  | 28 | 30 | 0.015535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_329-42_0_3_line_33 |  | 29 | 31 | 0.0068342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_329-42_0_3_line_34 |  | 30 | 32 | 0.0031083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_329-42_0_3_line_35 |  | 32 | 46 | 0.015208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_329-42_0_3_line_36 |  | 33 | 34 | 0.017275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_329-42_0_3_line_37 |  | 34 | 35 | 0.0050764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_329-42_0_3_line_38 |  | 35 | 36 | 0.014352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_329-42_0_3_line_39 |  | 36 | 51 | 0.0077958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_329-42_0_3_line_40 |  | 37 | 38 | 0.012061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_329-42_0_3_line_41 |  | 37 | 39 | 0.0085804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_329-42_0_3_line_42 |  | 38 | 40 | 0.0068514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_329-42_0_3_line_43 |  | 39 | 41 | 0.0010481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_329-42_0_3_line_44 |  | 40 | 42 | 0.0089663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_329-42_0_3_line_45 |  | 42 | 43 | 0.0058559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_329-42_0_3_line_46 |  | 43 | 50 | 0.01549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_329-42_0_3_line_47 |  | 44 | 45 | 0.035684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_329-42_0_3_line_48 |  | 44 | 46 | 0.0055635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_329-42_0_3_line_49 |  | 45 | 47 | 0.0021683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_329-42_0_3_line_50 |  | 47 | 48 | 0.021714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_329-42_0_3_line_51 |  | 48 | 49 | 0.019372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_329-42_0_3_line_52 |  | 49 | 57 | 0.013612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_329-42_0_3_line_53 |  | 49 | 56 | 0.03935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_329-42_0_3_line_54 |  | 50 | 51 | 0.0064948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_329-42_0_3_line_55 |  | 52 | 53 | 0.0008067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_329-42_0_3_line_56 |  | 53 | 64 | 0.017495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_329-42_0_3_line_57 |  | 54 | 55 | 0.015836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_329-42_0_3_line_58 |  | 55 | 73 | 0.0093765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_329-42_0_3_line_59 |  | 57 | 58 | 0.006659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_329-42_0_3_line_60 |  | 58 | 59 | 0.017011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_329-42_0_3_line_61 |  | 59 | 60 | 0.0034759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_329-42_0_3_line_62 |  | 60 | 61 | 0.0029553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_329-42_0_3_line_63 |  | 61 | 62 | 0.0055177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_329-42_0_3_line_64 |  | 62 | 63 | 0.010024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_329-42_0_3_line_65 |  | 63 | 64 | 0.0082148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_329-42_0_3_line_66 |  | 65 | 66 | 0.00021682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_329-42_0_3_line_67 |  | 66 | 67 | 0.0057505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_329-42_0_3_line_68 |  | 67 | 68 | 0.015009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_329-42_0_3_line_69 |  | 68 | 69 | 0.0086592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_329-42_0_3_line_70 |  | 69 | 70 | 0.012595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_329-42_0_3_line_71 |  | 70 | 71 | 0.0073782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_329-42_0_3_line_72 |  | 71 | 72 | 0.020421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_329-42_0_3_line_73 |  | 72 | 73 | 0.0010705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_329-42_0_3_line_74 |  | 74 | 78 | 0.019216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_329-42_0_3_line_75 |  | 75 | 76 | 0.021284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_329-42_0_3_line_76 |  | 76 | 77 | 0.019034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_329-42_0_3_line_77 |  | 77 | 78 | 0.019415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_329-42_0_3_trafo_102 | 0.63 MVA 20/0.4 kV | 79 | 63 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2
0 | 2626640.2518 | 1230504.91 | 2626624.6995 | 1230480.764
1 | 2626624.6995 | 1230480.764 | 2626614.4696 | 1230464.8813
2 | 2626614.4696 | 1230464.8813 | 2626600.0246 | 1230442.4544 | 2626595.3243 | 1230433.2305
3 | 2626588.5902 | 1230516.5816 | 2626563.4744 | 1230530.7385
4 | 2626588.5902 | 1230516.5816 | 2626584.9117 | 1230504.3558
5 | 2626546.6565 | 1230540.2182 | 2626563.4744 | 1230530.7385
6 | 2626575.0413 | 1230471.5504 | 2626584.9117 | 1230504.3558
7 | 2626595.3243 | 1230433.2305 | 2626585.2845 | 1230413.528
8 | 2626566.7306 | 1230443.929 | 2626595.3243 | 1230433.2305
9 | 2626566.7306 | 1230443.929 | 2626575.0413 | 1230471.5504
10 | 2626585.2845 | 1230413.528 | 2626578.7765 | 1230400.7566 | 2626574.7317 | 1230387.4123
11 | 2626566.7306 | 1230443.929 | 2626555.037 | 1230451.7304
12 | 2626574.7317 | 1230387.4123 | 2626567.6759 | 1230364.1346
13 | 2626552.2493 | 1230393.8135 | 2626574.7317 | 1230387.4123
14 | 2626555.037 | 1230451.7304 | 2626542.8928 | 1230459.8324 | 2626535.5788 | 1230464.9593
15 | 2626567.6759 | 1230364.1346 | 2626560.2197 | 1230339.5361
16 | 2626554.9157 | 1230403.0409 | 2626552.2493 | 1230393.8135
17 | 2626560.2197 | 1230339.5361 | 2626553.6357 | 1230317.8148
18 | 2626553.6357 | 1230317.8148 | 2626547.1966 | 1230296.572
19 | 2626526.8121 | 1230319.0088 | 2626553.6357 | 1230317.8148
20 | 2626541.8772 | 1230279.0229 | 2626547.1966 | 1230296.572
21 | 2626526.8121 | 1230319.0088 | 2626520.4059 | 1230322.0822 | 2626519.3897 | 1230323.0581
22 | 2626541.8772 | 1230279.0229 | 2626541.1358 | 1230276.577
23 | 2626519.3897 | 1230323.0581 | 2626505.1998 | 1230336.6841
24 | 2626537.3035 | 1230263.9339 | 2626541.1358 | 1230276.577
25 | 2626513.5906 | 1230262.2379 | 2626537.3035 | 1230263.9339
26 | 2626513.5906 | 1230262.2379 | 2626495.0477 | 1230280.3358
27 | 2626471.9327 | 1230302.896 | 2626495.0477 | 1230280.3358
28 | 2626480.8697 | 1230360.0475 | 2626465.155 | 1230375.1378
29 | 2626480.8697 | 1230360.0475 | 2626485.5753 | 1230355.5289
30 | 2626465.155 | 1230375.1378 | 2626463.1519 | 1230377.0613
31 | 2626485.5753 | 1230355.5289 | 2626500.2704 | 1230341.4177
32 | 2626451.9465 | 1230387.8214 | 2626463.1519 | 1230377.0613
33 | 2626505.1998 | 1230336.6841 | 2626500.2704 | 1230341.4177
34 | 2626449.7045 | 1230389.9744 | 2626451.9465 | 1230387.8214
35 | 2626449.7045 | 1230389.9744 | 2626438.7353 | 1230400.5078
36 | 2626471.9327 | 1230302.896 | 2626459.5702 | 1230314.9617
37 | 2626459.5702 | 1230314.9617 | 2626455.9374 | 1230318.5074
38 | 2626445.6666 | 1230328.5317 | 2626455.9374 | 1230318.5074
39 | 2626445.6666 | 1230328.5317 | 2626439.6736 | 1230333.5174
40 | 2626396.8388 | 1230369.152 | 2626406.1105 | 1230361.4387
41 | 2626396.8388 | 1230369.152 | 2626390.2425 | 1230374.6395
42 | 2626411.3776 | 1230357.057 | 2626406.1105 | 1230361.4387
43 | 2626389.4368 | 1230375.3098 | 2626390.2425 | 1230374.6395
44 | 2626411.3776 | 1230357.057 | 2626418.2705 | 1230351.3227
45 | 2626418.2705 | 1230351.3227 | 2626422.7723 | 1230347.5776
46 | 2626434.6806 | 1230337.671 | 2626422.7723 | 1230347.5776
47 | 2626434.7224 | 1230404.3612 | 2626423.0353 | 1230415.5839 | 2626435.7573 | 1230430.3374
48 | 2626434.7224 | 1230404.3612 | 2626438.7353 | 1230400.5078
49 | 2626437.1733 | 1230431.9796 | 2626435.7573 | 1230430.3374
50 | 2626451.3533 | 1230448.424 | 2626437.1733 | 1230431.9796
51 | 2626464.0037 | 1230463.0945 | 2626451.3533 | 1230448.424
52 | 2626464.0037 | 1230463.0945 | 2626472.5573 | 1230452.5055
53 | 2626464.0037 | 1230463.0945 | 2626440.99 | 1230495.0135
54 | 2626439.6736 | 1230333.5174 | 2626434.6806 | 1230337.671
55 | 2626508.9567 | 1230390.5059 | 2626508.6313 | 1230391.244
56 | 2626501.5732 | 1230407.2522 | 2626508.6313 | 1230391.244
57 | 2626469.6796 | 1230511.1527 | 2626459.4564 | 1230518.3189 | 2626456.393 | 1230519.6772
58 | 2626469.6796 | 1230511.1527 | 2626477.3576 | 1230505.7707
59 | 2626472.5573 | 1230452.5055 | 2626476.7417 | 1230447.3254
60 | 2626476.7417 | 1230447.3254 | 2626479.0374 | 1230444.4834 | 2626486.0548 | 1230433.118
61 | 2626486.0548 | 1230433.118 | 2626487.8809 | 1230430.1605
62 | 2626489.4335 | 1230427.6458 | 2626487.8809 | 1230430.1605
63 | 2626489.4335 | 1230427.6458 | 2626492.3323 | 1230422.951
64 | 2626497.5987 | 1230414.4216 | 2626492.3323 | 1230422.951
65 | 2626497.5987 | 1230414.4216 | 2626500.4441 | 1230409.8131 | 2626501.5732 | 1230407.2522
66 | 2626535.5788 | 1230464.9593 | 2626535.4013 | 1230465.0837
67 | 2626535.4013 | 1230465.0837 | 2626530.6924 | 1230468.3845
68 | 2626518.4022 | 1230476.9996 | 2626530.6924 | 1230468.3845
69 | 2626518.4022 | 1230476.9996 | 2626511.3115 | 1230481.9699
70 | 2626500.9977 | 1230489.1996 | 2626511.3115 | 1230481.9699
71 | 2626500.9977 | 1230489.1996 | 2626494.956 | 1230493.4347
72 | 2626478.2342 | 1230505.1562 | 2626494.956 | 1230493.4347
73 | 2626478.2342 | 1230505.1562 | 2626477.3576 | 1230505.7707
74 | 2626529.9166 | 1230549.6539 | 2626546.6565 | 1230540.2182
75 | 2626477.2493 | 1230577.815 | 2626496.1774 | 1230568.0813
76 | 2626496.1774 | 1230568.0813 | 2626508.1209 | 1230561.9394 | 2626513.003 | 1230559.1875
77 | 2626529.9166 | 1230549.6539 | 2626513.003 | 1230559.1875

## bus_geodata
| x | y | coords
0 | 2626640.2518 | 1230504.91
1 | 2626624.6995 | 1230480.764
2 | 2626614.4696 | 1230464.8813
3 | 2626588.5902 | 1230516.5816
4 | 2626563.4744 | 1230530.7385
5 | 2626584.9117 | 1230504.3558
6 | 2626595.3243 | 1230433.2305
7 | 2626575.0413 | 1230471.5504
8 | 2626585.2845 | 1230413.528
9 | 2626566.7306 | 1230443.929
10 | 2626574.7317 | 1230387.4123
11 | 2626555.037 | 1230451.7304
12 | 2626567.6759 | 1230364.1346
13 | 2626552.2493 | 1230393.8135
14 | 2626554.9157 | 1230403.0409
15 | 2626560.2197 | 1230339.5361
16 | 2626553.6357 | 1230317.8148
17 | 2626547.1966 | 1230296.572
18 | 2626526.8121 | 1230319.0088
19 | 2626541.8772 | 1230279.0229
20 | 2626519.3897 | 1230323.0581
21 | 2626541.1358 | 1230276.577
22 | 2626537.3035 | 1230263.9339
23 | 2626513.5906 | 1230262.2379
24 | 2626495.0477 | 1230280.3358
25 | 2626480.8697 | 1230360.0475
26 | 2626465.155 | 1230375.1378
27 | 2626485.5753 | 1230355.5289
28 | 2626463.1519 | 1230377.0613
29 | 2626500.2704 | 1230341.4177
30 | 2626451.9465 | 1230387.8214
31 | 2626505.1998 | 1230336.6841
32 | 2626449.7045 | 1230389.9744
33 | 2626471.9327 | 1230302.896
34 | 2626459.5702 | 1230314.9617
35 | 2626455.9374 | 1230318.5074
36 | 2626445.6666 | 1230328.5317
37 | 2626396.8388 | 1230369.152
38 | 2626406.1105 | 1230361.4387
39 | 2626390.2425 | 1230374.6395
40 | 2626411.3776 | 1230357.057
41 | 2626389.4368 | 1230375.3098
42 | 2626418.2705 | 1230351.3227
43 | 2626422.7723 | 1230347.5776
44 | 2626434.7224 | 1230404.3612
45 | 2626435.7573 | 1230430.3374
46 | 2626438.7353 | 1230400.5078
47 | 2626437.1733 | 1230431.9796
48 | 2626451.3533 | 1230448.424
49 | 2626464.0037 | 1230463.0945
50 | 2626434.6806 | 1230337.671
51 | 2626439.6736 | 1230333.5174
52 | 2626508.9567 | 1230390.5059
53 | 2626508.6313 | 1230391.244
54 | 2626456.393 | 1230519.6772
55 | 2626469.6796 | 1230511.1527
56 | 2626440.99 | 1230495.0135
57 | 2626472.5573 | 1230452.5055
58 | 2626476.7417 | 1230447.3254
59 | 2626486.0548 | 1230433.1181
60 | 2626487.8809 | 1230430.1605
61 | 2626489.4335 | 1230427.6459
62 | 2626492.3323 | 1230422.951
63 | 2626497.5987 | 1230414.4216
64 | 2626501.5732 | 1230407.2522
65 | 2626535.5788 | 1230464.9593
66 | 2626535.4013 | 1230465.0837
67 | 2626530.6924 | 1230468.3845
68 | 2626518.4022 | 1230476.9996
69 | 2626511.3115 | 1230481.9699
70 | 2626500.9977 | 1230489.1996
71 | 2626494.956 | 1230493.4347
72 | 2626478.2342 | 1230505.1562
73 | 2626477.3576 | 1230505.7707
74 | 2626546.6565 | 1230540.2182
75 | 2626477.2493 | 1230577.815
76 | 2626496.1774 | 1230568.0813
77 | 2626513.003 | 1230559.1875
78 | 2626529.9166 | 1230549.6539
79 | 2626464.0037 | 1230463.0945

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1