## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_329-46_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_329-46_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_329-46_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_329-46_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_329-46_0_5_node_77 | 0.4 | n |  | TRUE
5 | bus_LV_329-46_0_5_node_78 | 0.4 | n |  | TRUE
6 | bus_LV_329-46_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_329-46_0_5_node_79 | 0.4 | n |  | TRUE
8 | bus_LV_329-46_0_5_node_88 | 0.4 | n |  | TRUE
9 | bus_LV_329-46_0_5_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_329-46_0_5_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_329-46_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_329-46_0_5_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_329-46_0_5_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_329-46_0_5_node_110 | 0.4 | n |  | TRUE
15 | bus_LV_329-46_0_5_node_205 | 0.4 | n |  | TRUE
16 | bus_LV_329-46_0_5_node_93 | 0.4 | n |  | TRUE
17 | bus_LV_329-46_0_5_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_329-46_0_5_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_329-46_0_5_node_95 | 0.4 | n |  | TRUE
20 | bus_LV_329-46_0_5_node_40 | 0.4 | n |  | TRUE
21 | bus_LV_329-46_0_5_node_85 | 0.4 | n |  | TRUE
22 | bus_LV_329-46_0_5_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_329-46_0_5_node_90 | 0.4 | n |  | TRUE
24 | bus_LV_329-46_0_5_node_109 | 0.4 | n |  | TRUE
25 | bus_LV_329-46_0_5_node_94 | 0.4 | n |  | TRUE
26 | bus_LV_329-46_0_5_node_96 | 0.4 | n |  | TRUE
27 | bus_LV_329-46_0_5_node_42 | 0.4 | n |  | TRUE
28 | bus_LV_329-46_0_5_node_86 | 0.4 | n |  | TRUE
29 | bus_LV_329-46_0_5_node_91 | 0.4 | n |  | TRUE
30 | bus_LV_329-46_0_5_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_329-46_0_5_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_329-46_0_5_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_329-46_0_5_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_329-46_0_5_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_329-46_0_5_node_189 | 0.4 | n |  | TRUE
36 | bus_LV_329-46_0_5_node_47 | 0.4 | n |  | TRUE
37 | bus_LV_329-46_0_5_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_329-46_0_5_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_329-46_0_5_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_329-46_0_5_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_329-46_0_5_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_329-46_0_5_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_329-46_0_5_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_329-46_0_5_node_44 | 0.4 | n |  | TRUE
45 | bus_LV_329-46_0_5_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_329-46_0_5_node_46 | 0.4 | n |  | TRUE
47 | bus_LV_329-46_0_5_node_157 | 0.4 | n |  | TRUE
48 | bus_LV_329-46_0_5_node_156 | 0.4 | n |  | TRUE
49 | bus_LV_329-46_0_5_node_89 | 0.4 | n |  | TRUE
50 | bus_LV_329-46_0_5_node_80 | 0.4 | n |  | TRUE
51 | bus_LV_329-46_0_5_node_81 | 0.4 | n |  | TRUE
52 | bus_LV_329-46_0_5_node_82 | 0.4 | n |  | TRUE
53 | bus_LV_329-46_0_5_node_84 | 0.4 | n |  | TRUE
54 | bus_LV_329-46_0_5_node_104 | 0.4 | n |  | TRUE
55 | bus_LV_329-46_0_5_node_102 | 0.4 | n |  | TRUE
56 | bus_LV_329-46_0_5_node_200 | 0.4 | n |  | TRUE
57 | bus_LV_329-46_0_5_node_106 | 0.4 | n |  | TRUE
58 | bus_LV_329-46_0_5_node_103 | 0.4 | n |  | TRUE
59 | bus_LV_329-46_0_5_node_150 | 0.4 | n |  | TRUE
60 | bus_LV_329-46_0_5_node_108 | 0.4 | n |  | TRUE
61 | bus_LV_329-46_0_5_node_148 | 0.4 | n |  | TRUE
62 | bus_LV_329-46_0_5_node_112 | 0.4 | n |  | TRUE
63 | bus_LV_329-46_0_5_node_87 | 0.4 | n |  | TRUE
64 | bus_LV_329-46_0_5_node_98 | 0.4 | n |  | TRUE
65 | bus_LV_329-46_0_5_node_154 | 0.4 | n |  | TRUE
66 | bus_LV_329-46_0_5_node_155 | 0.4 | n |  | TRUE
67 | bus_LV_329-46_0_5_node_196 | 0.4 | n |  | TRUE
68 | bus_LV_329-46_0_5_node_187 | 0.4 | n |  | TRUE
69 | bus_LV_329-46_0_5_node_92 | 0.4 | n |  | TRUE
70 | bus_LV_329-46_0_5_node_99 | 0.4 | n |  | TRUE
71 | bus_LV_329-46_0_5_node_97 | 0.4 | n |  | TRUE
72 | bus_LV_329-46_0_5_node_149 | 0.4 | n |  | TRUE
73 | bus_LV_329-46_0_5_node_105 | 0.4 | n |  | TRUE
74 | bus_LV_329-46_0_5_node_113 | 0.4 | n |  | TRUE
75 | bus_LV_329-46_0_5_node_107 | 0.4 | n |  | TRUE
76 | bus_LV_329-46_0_5_node_114 | 0.4 | n |  | TRUE
77 | bus_LV_329-46_0_5_node_111 | 0.4 | n |  | TRUE
78 | bus_LV_329-46_0_5_node_115 | 0.4 | n |  | TRUE
79 | bus_LV_329-46_0_5_node_201 | 0.4 | n |  | TRUE
80 | bus_LV_329-46_0_5_node_144 | 0.4 | n |  | TRUE
81 | bus_LV_329-46_0_5_node_147 | 0.4 | n |  | TRUE
82 | bus_LV_329-46_0_5_node_158 | 0.4 | n |  | TRUE
83 | bus_LV_329-46_0_5_node_174 | 0.4 | n |  | TRUE
84 | bus_LV_329-46_0_5_node_172 | 0.4 | n |  | TRUE
85 | bus_LV_329-46_0_5_node_173 | 0.4 | n |  | TRUE
86 | bus_LV_329-46_0_5_node_175 | 0.4 | n |  | TRUE
87 | bus_LV_329-46_0_5_node_190 | 0.4 | n |  | TRUE
88 | bus_LV_329-46_0_5_node_191 | 0.4 | n |  | TRUE
89 | bus_LV_329-46_0_5_node_176 | 0.4 | n |  | TRUE
90 | bus_LV_329-46_0_5_node_177 | 0.4 | n |  | TRUE
91 | bus_LV_329-46_0_5_node_178 | 0.4 | n |  | TRUE
92 | bus_LV_329-46_0_5_node_179 | 0.4 | n |  | TRUE
93 | bus_LV_329-46_0_5_node_180 | 0.4 | n |  | TRUE
94 | bus_LV_329-46_0_5_node_181 | 0.4 | n |  | TRUE
95 | bus_LV_329-46_0_5_node_182 | 0.4 | n |  | TRUE
96 | bus_LV_329-46_0_5_node_183 | 0.4 | n |  | TRUE
97 | bus_LV_329-46_0_5_node_185 | 0.4 | n |  | TRUE
98 | bus_LV_329-46_0_5_node_184 | 0.4 | n |  | TRUE
99 | bus_LV_329-46_0_5_node_186 | 0.4 | n |  | TRUE
100 | bus_LV_329-46_0_5_node_188 | 0.4 | n |  | TRUE
101 | bus_LV_329-46_0_5_node_195 | 0.4 | n |  | TRUE
102 | bus_LV_329-46_0_5_node_193 | 0.4 | n |  | TRUE
103 | bus_LV_329-46_0_5_node_192 | 0.4 | n |  | TRUE
104 | bus_LV_329-46_0_5_node_194 | 0.4 | n |  | TRUE
105 | bus_MV_481_1_node_112 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_329-46_0_5_load_0 | 0 | 0.0036438 | 0.00091321 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_329-46_0_5_load_1 | 1 | 0.0015122 | 0.00037899 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_329-46_0_5_load_2 | 2 | 0.0027543 | 0.0006903 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_329-46_0_5_load_77 | 4 | 0.0056222 | 0.0014091 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_329-46_0_5_load_78 | 5 | 0.002725 | 0.00068295 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_329-46_0_5_load_6 | 6 | 0.0072577 | 0.001819 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_329-46_0_5_load_79 | 7 | 0.0039426 | 0.00098811 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_329-46_0_5_load_4 | 9 | 0.010354 | 0.002595 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_329-46_0_5_load_5 | 10 | 0.0090571 | 0.0022699 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_329-46_0_5_load_110 | 14 | 0.0010604 | 0.00026575 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_329-46_0_5_load_205 | 15 | 0.011335 | 0.0028408 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_329-46_0_5_load_95 | 19 | 0.0022237 | 0.00055731 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_329-46_0_5_load_85 | 21 | 0.004911 | 0.0012308 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_329-46_0_5_load_90 | 23 | 0.0031934 | 0.00080034 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_329-46_0_5_load_109 | 24 | 0.0010074 | 0.00025248 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_329-46_0_5_load_94 | 25 | 0.010123 | 0.0025371 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_329-46_0_5_load_96 | 26 | 0.0021271 | 0.00053309 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_329-46_0_5_load_42 | 27 | 0.0064009 | 0.0016042 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_329-46_0_5_load_86 | 28 | 0.0034249 | 0.00085836 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_329-46_0_5_load_91 | 29 | 0.0021807 | 0.00054653 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_329-46_0_5_load_23 | 30 | 0.0082737 | 0.0020736 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_329-46_0_5_load_24 | 31 | 0.0022045 | 0.00055251 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_329-46_0_5_load_25 | 32 | 0.002231 | 0.00055914 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_329-46_0_5_load_26 | 33 | 0.0034076 | 0.00085404 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_329-46_0_5_load_27 | 34 | 0.0027601 | 0.00069174 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_329-46_0_5_load_189 | 35 | 0.0052964 | 0.0013274 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_329-46_0_5_load_47 | 36 | 0.0061504 | 0.0015414 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_329-46_0_5_load_41 | 37 | 0.0093159 | 0.0023348 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_329-46_0_5_load_31 | 38 | 0.0019673 | 0.00049306 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_329-46_0_5_load_28 | 39 | 0.0019436 | 0.00048711 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_329-46_0_5_load_29 | 40 | 0.004789 | 0.0012002 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_329-46_0_5_load_38 | 41 | 0.0067998 | 0.0017042 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_329-46_0_5_load_39 | 42 | 0.0099563 | 0.0024953 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_329-46_0_5_load_43 | 43 | 0.0019344 | 0.00048482 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_329-46_0_5_load_44 | 44 | 0.0019573 | 0.00049054 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_329-46_0_5_load_45 | 45 | 0.001968 | 0.00049324 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_329-46_0_5_load_46 | 46 | 0.0019728 | 0.00049442 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_329-46_0_5_load_157 | 47 | 0.0052629 | 0.001319 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_329-46_0_5_load_80 | 50 | 0.0034723 | 0.00087024 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_329-46_0_5_load_81 | 51 | 0.0019626 | 0.00049186 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_329-46_0_5_load_82 | 52 | 0.0012413 | 0.00031111 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_329-46_0_5_load_84 | 53 | 0.0019672 | 0.00049301 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_329-46_0_5_load_104 | 54 | 0.0010074 | 0.00025248 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_329-46_0_5_load_200 | 56 | 0.0025332 | 0.00063487 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_329-46_0_5_load_106 | 57 | 0.0029995 | 0.00075176 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_329-46_0_5_load_150 | 59 | 0.0037924 | 0.00095046 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_329-46_0_5_load_148 | 61 | 0.0022288 | 0.00055858 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_329-46_0_5_load_112 | 62 | 0.0019699 | 0.0004937 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_329-46_0_5_load_87 | 63 | 0.0018662 | 0.0004677 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_329-46_0_5_load_155 | 66 | 0.0019481 | 0.00048824 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_329-46_0_5_load_196 | 67 | 0.0026398 | 0.0006616 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_329-46_0_5_load_187 | 68 | 0.0032425 | 0.00081265 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_329-46_0_5_load_92 | 69 | 0.0099992 | 0.002506 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_329-46_0_5_load_99 | 70 | 0.009336 | 0.0023398 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_329-46_0_5_load_97 | 71 | 0.0015018 | 0.00037638 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_329-46_0_5_load_105 | 73 | 0.0030003 | 0.00075196 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_329-46_0_5_load_113 | 74 | 0.0032912 | 0.00082485 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_329-46_0_5_load_107 | 75 | 0.0023461 | 0.00058798 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_329-46_0_5_load_114 | 76 | 0.003288 | 0.00082406 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_329-46_0_5_load_111 | 77 | 0.0009193 | 0.0002304 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_329-46_0_5_load_115 | 78 | 0.0024742 | 0.0006201 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_329-46_0_5_load_201 | 79 | 0.0034231 | 0.00085792 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_329-46_0_5_load_147 | 81 | 0.0025002 | 0.0006266 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_329-46_0_5_load_158 | 82 | 0.0067234 | 0.0016851 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_329-46_0_5_load_174 | 83 | 0.0025903 | 0.00064918 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_329-46_0_5_load_172 | 84 | 0.0020669 | 0.00051801 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_329-46_0_5_load_173 | 85 | 0.002088 | 0.00052331 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_329-46_0_5_load_175 | 86 | 0.0021507 | 0.00053903 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_329-46_0_5_load_190 | 87 | 0.0047909 | 0.0012007 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_329-46_0_5_load_191 | 88 | 0.0034395 | 0.00086201 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_329-46_0_5_load_176 | 89 | 0.0053007 | 0.0013285 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_329-46_0_5_load_177 | 90 | 0.0027066 | 0.00067835 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_329-46_0_5_load_178 | 91 | 0.0026897 | 0.0006741 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_329-46_0_5_load_179 | 92 | 0.0042544 | 0.0010662 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_329-46_0_5_load_181 | 94 | 0.0048098 | 0.0012054 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_329-46_0_5_load_182 | 95 | 0.0025494 | 0.00063893 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_329-46_0_5_load_183 | 96 | 0.0032405 | 0.00081215 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_329-46_0_5_load_185 | 97 | 0.0023139 | 0.00057992 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_329-46_0_5_load_184 | 98 | 0.0039505 | 0.00099009 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_329-46_0_5_load_188 | 100 | 0.0034031 | 0.0008529 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_329-46_0_5_load_195 | 101 | 0.0027888 | 0.00069895 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_329-46_0_5_load_193 | 102 | 0.0043031 | 0.0010784 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_329-46_0_5_load_192 | 103 | 0.004011 | 0.0010052 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_329-46_0_5_load_194 | 104 | 0.0026616 | 0.00066706 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 42 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_329-46_0_5_line_0 |  | 0 | 1 | 0.0054785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_329-46_0_5_line_1 |  | 0 | 2 | 0.0064131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_329-46_0_5_line_2 |  | 2 | 3 | 0.015901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_329-46_0_5_line_3 |  | 3 | 4 | 0.017918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_329-46_0_5_line_4 |  | 3 | 5 | 0.022749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_329-46_0_5_line_5 |  | 3 | 6 | 0.043601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_329-46_0_5_line_6 |  | 4 | 7 | 0.015849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_329-46_0_5_line_7 |  | 5 | 8 | 0.047207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_329-46_0_5_line_8 |  | 6 | 9 | 0.0040721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_329-46_0_5_line_9 |  | 8 | 49 | 0.008129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_329-46_0_5_line_10 |  | 9 | 10 | 0.02812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_329-46_0_5_line_11 |  | 10 | 11 | 0.023833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_329-46_0_5_line_12 |  | 11 | 12 | 0.11263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_329-46_0_5_line_13 |  | 11 | 13 | 0.025159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_329-46_0_5_line_14 |  | 12 | 14 | 0.071158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_329-46_0_5_line_15 |  | 13 | 15 | 0.016935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_329-46_0_5_line_16 |  | 13 | 16 | 0.036155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_329-46_0_5_line_17 |  | 14 | 24 | 0.024614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_329-46_0_5_line_18 |  | 16 | 25 | 0.015066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_329-46_0_5_line_19 |  | 16 | 22 | 0.002475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_329-46_0_5_line_20 |  | 17 | 18 | 0.012154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_329-46_0_5_line_21 |  | 17 | 19 | 0.012672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_329-46_0_5_line_22 |  | 18 | 20 | 0.005747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_329-46_0_5_line_23 |  | 18 | 21 | 0.019749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_329-46_0_5_line_24 |  | 19 | 26 | 0.024355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_329-46_0_5_line_25 |  | 20 | 27 | 0.012759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_329-46_0_5_line_26 |  | 21 | 28 | 0.019177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_329-46_0_5_line_27 |  | 22 | 23 | 0.016794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_329-46_0_5_line_28 |  | 23 | 29 | 0.011244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_329-46_0_5_line_29 |  | 24 | 77 | 0.019523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_329-46_0_5_line_30 |  | 25 | 27 | 0.022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_329-46_0_5_line_31 |  | 26 | 71 | 0.007747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_329-46_0_5_line_32 |  | 28 | 63 | 0.0035458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_329-46_0_5_line_33 |  | 29 | 69 | 0.014587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_329-46_0_5_line_34 |  | 30 | 31 | 0.015441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_329-46_0_5_line_35 |  | 30 | 32 | 0.0010737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_329-46_0_5_line_36 |  | 31 | 33 | 0.0067941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_329-46_0_5_line_37 |  | 32 | 34 | 0.0069512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_329-46_0_5_line_38 |  | 33 | 35 | 0.020393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_329-46_0_5_line_39 |  | 33 | 36 | 0.020514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_329-46_0_5_line_40 |  | 34 | 37 | 0.019091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_329-46_0_5_line_41 |  | 35 | 38 | 0.021732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_329-46_0_5_line_42 |  | 36 | 45 | 0.0091552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_329-46_0_5_line_43 |  | 37 | 42 | 0.033741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_329-46_0_5_line_44 |  | 38 | 40 | 0.0021433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_329-46_0_5_line_45 |  | 39 | 40 | 0.0044554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_329-46_0_5_line_46 |  | 41 | 42 | 0.0055793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_329-46_0_5_line_47 |  | 43 | 44 | 0.00097447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_329-46_0_5_line_48 |  | 43 | 45 | 0.00097811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_329-46_0_5_line_49 |  | 44 | 46 | 0.018814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_329-46_0_5_line_50 |  | 46 | 47 | 0.0060894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_329-46_0_5_line_51 |  | 47 | 48 | 0.021682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_329-46_0_5_line_52 |  | 48 | 82 | 0.019527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_329-46_0_5_line_53 |  | 48 | 66 | 0.012121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_329-46_0_5_line_54 |  | 49 | 67 | 0.040309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_329-46_0_5_line_55 |  | 50 | 51 | 0.0015503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_329-46_0_5_line_56 |  | 50 | 52 | 0.025153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_329-46_0_5_line_57 |  | 52 | 53 | 0.0018699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_329-46_0_5_line_58 |  | 53 | 54 | 0.020371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_329-46_0_5_line_59 |  | 54 | 62 | 0.0036937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_329-46_0_5_line_60 |  | 55 | 56 | 0.012559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_329-46_0_5_line_61 |  | 55 | 57 | 0.0076669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_329-46_0_5_line_62 |  | 57 | 73 | 0.00089698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_329-46_0_5_line_63 |  | 58 | 59 | 0.0052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_329-46_0_5_line_64 |  | 58 | 60 | 0.00318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_329-46_0_5_line_65 |  | 58 | 61 | 0.014553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_329-46_0_5_line_66 |  | 60 | 74 | 0.0063451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_329-46_0_5_line_67 |  | 60 | 75 | 0.012513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_329-46_0_5_line_68 |  | 62 | 71 | 0.015328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_329-46_0_5_line_69 |  | 63 | 64 | 0.020978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_329-46_0_5_line_70 |  | 64 | 65 | 0.00592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_329-46_0_5_line_71 |  | 64 | 66 | 0.02465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_329-46_0_5_line_72 |  | 65 | 72 | 0.014449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_329-46_0_5_line_73 |  | 67 | 68 | 0.019733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_329-46_0_5_line_74 |  | 68 | 99 | 0.018689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_329-46_0_5_line_75 |  | 69 | 70 | 0.033832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_329-46_0_5_line_76 |  | 72 | 79 | 0.0093635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_329-46_0_5_line_77 |  | 72 | 80 | 0.003239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_329-46_0_5_line_78 |  | 73 | 75 | 0.010659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_329-46_0_5_line_79 |  | 74 | 76 | 0.00020963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_329-46_0_5_line_80 |  | 76 | 78 | 0.011482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_329-46_0_5_line_81 |  | 78 | 79 | 0.018623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_329-46_0_5_line_82 |  | 80 | 81 | 0.0067191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_329-46_0_5_line_83 |  | 83 | 84 | 0.00081657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_329-46_0_5_line_84 |  | 84 | 85 | 0.0022526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_329-46_0_5_line_85 |  | 85 | 86 | 0.0022299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_329-46_0_5_line_86 |  | 86 | 87 | 0.0033882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_329-46_0_5_line_87 |  | 87 | 88 | 0.025776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_329-46_0_5_line_88 |  | 88 | 95 | 0.017263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_329-46_0_5_line_89 |  | 89 | 90 | 0.020524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_329-46_0_5_line_90 |  | 89 | 91 | 0.0020433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_329-46_0_5_line_91 |  | 90 | 92 | 0.0018756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_329-46_0_5_line_92 |  | 91 | 93 | 0.016324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_329-46_0_5_line_93 |  | 92 | 94 | 0.0056703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_329-46_0_5_line_94 |  | 93 | 95 | 0.0024873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_329-46_0_5_line_95 |  | 93 | 96 | 0.015879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_329-46_0_5_line_96 |  | 96 | 97 | 0.019876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_329-46_0_5_line_97 |  | 97 | 98 | 0.00134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_329-46_0_5_line_98 |  | 98 | 99 | 0.019083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_329-46_0_5_line_99 |  | 99 | 100 | 0.014955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_329-46_0_5_line_100 |  | 100 | 101 | 0.017819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_329-46_0_5_line_101 |  | 101 | 102 | 0.0061527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_329-46_0_5_line_102 |  | 102 | 103 | 0.010856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_329-46_0_5_line_103 |  | 103 | 104 | 0.00052387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_329-46_0_5_trafo_39 | 0.63 MVA 20/0.4 kV | 105 | 42 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2626123.8543 | 1230108.3006 | 2626127.7646 | 1230104.4634
1 | 2626123.8543 | 1230108.3006 | 2626119.2769 | 1230112.7923
2 | 2626107.9274 | 1230123.9295 | 2626119.2769 | 1230112.7923
3 | 2626107.9274 | 1230123.9295 | 2626101.0927 | 1230131.4486 | 2626096.0829 | 1230137.3711
4 | 2626107.9274 | 1230123.9295 | 2626125.0464 | 1230138.9109
5 | 2626107.9274 | 1230123.9295 | 2626074.6329 | 1230095.7769
6 | 2626088.7586 | 1230151.162 | 2626090.5506 | 1230144.955 | 2626095.7706 | 1230137.7402 | 2626096.0829 | 1230137.3711
7 | 2626160.571 | 1230169.9994 | 2626125.0464 | 1230138.9109
8 | 2626071.5235 | 1230093.1476 | 2626074.6329 | 1230095.7769
9 | 2626167.2004 | 1230174.7314 | 2626160.571 | 1230169.9994
10 | 2626071.5235 | 1230093.1476 | 2626050.0506 | 1230074.9909
11 | 2626031.8518 | 1230059.6023 | 2626042.0547 | 1230068.2298 | 2626050.0506 | 1230074.9909
12 | 2626031.8518 | 1230059.6023 | 2626017.9398 | 1230048.7016 | 2625943.6667 | 1229989.2196
13 | 2626023.5206 | 1230078.5217 | 2626019.4822 | 1230075.3466 | 2626031.8518 | 1230059.6023
14 | 2625943.6667 | 1229989.2196 | 2625912.1295 | 1230030.3072 | 2625927.8527 | 1230041.607
15 | 2626037.9516 | 1230072.9259 | 2626034.4259 | 1230072.021 | 2626031.6375 | 1230072.2534 | 2626029.4451 | 1230073.0221 | 2626026.316 | 1230074.954 | 2626023.5206 | 1230078.5217
16 | 2626001.2108 | 1230107.0194 | 2626023.5206 | 1230078.5217
17 | 2625947.8401 | 1230055.9715 | 2625927.8527 | 1230041.607
18 | 2626001.2108 | 1230107.0194 | 2625991.9633 | 1230118.9134
19 | 2626001.2108 | 1230107.0194 | 2626003.2116 | 1230108.4845
20 | 2625966.0836 | 1230134.2271 | 2625970.4086 | 1230137.6813 | 2625966.1449 | 1230142.7436
21 | 2625966.0836 | 1230134.2271 | 2625956.184 | 1230126.3165
22 | 2625970.6283 | 1230146.3542 | 2625966.1449 | 1230142.7436
23 | 2625966.1449 | 1230142.7436 | 2625954.0842 | 1230158.3822
24 | 2625956.184 | 1230126.3165 | 2625937.157 | 1230111.1126
25 | 2625970.6283 | 1230146.3542 | 2625978.4596 | 1230136.2817
26 | 2625954.0842 | 1230158.3822 | 2625942.3731 | 1230173.5675
27 | 2626003.2116 | 1230108.4845 | 2626016.4712 | 1230118.7903
28 | 2626025.3492 | 1230125.6907 | 2626016.4712 | 1230118.7903
29 | 2625963.6938 | 1230067.3651 | 2625947.8401 | 1230055.9715
30 | 2625978.4596 | 1230136.2817 | 2625991.9633 | 1230118.9134
31 | 2625931.1049 | 1230106.2766 | 2625937.157 | 1230111.1126
32 | 2625940.2077 | 1230176.3753 | 2625942.3731 | 1230173.5675
33 | 2626025.3492 | 1230125.6907 | 2626036.8663 | 1230134.6422
34 | 2626022.6775 | 1230233.7841 | 2626031.9246 | 1230221.4179
35 | 2626032.5676 | 1230220.5581 | 2626031.9246 | 1230221.4179
36 | 2626022.6775 | 1230233.7841 | 2626018.6088 | 1230239.2252
37 | 2626036.7304 | 1230214.9911 | 2626032.5676 | 1230220.5581
38 | 2626006.3964 | 1230255.5569 | 2626018.6088 | 1230239.2252
39 | 2625998.8485 | 1230233.7144 | 2626018.6088 | 1230239.2252
40 | 2626032.6063 | 1230196.351 | 2626036.7304 | 1230214.9911
41 | 2626006.3964 | 1230255.5569 | 2625993.3822 | 1230272.9608
42 | 2625991.6749 | 1230228.0261 | 2625998.8485 | 1230233.7144
43 | 2626006.3448 | 1230175.1662 | 2626032.6063 | 1230196.351
44 | 2625992.0987 | 1230274.6773 | 2625993.3822 | 1230272.9608
45 | 2625992.0987 | 1230274.6773 | 2625989.4305 | 1230278.2454
46 | 2626002.0023 | 1230171.6632 | 2626006.3448 | 1230175.1662
47 | 2625990.9085 | 1230227.4184 | 2625990.145 | 1230226.8129
48 | 2625991.6749 | 1230228.0261 | 2625990.9085 | 1230227.4184
49 | 2625990.145 | 1230226.8129 | 2625975.4032 | 1230215.1235
50 | 2625970.6318 | 1230211.3401 | 2625975.4032 | 1230215.1235
51 | 2625953.3448 | 1230198.2658 | 2625960.873 | 1230203.6019 | 2625970.6318 | 1230211.3401
52 | 2625953.3448 | 1230198.2658 | 2625965.3468 | 1230182.8626
53 | 2625953.3448 | 1230198.2658 | 2625945.7823 | 1230207.7386
54 | 2626167.2004 | 1230174.7314 | 2626142.712 | 1230188.7323 | 2626136.0517 | 1230198.835
55 | 2625879.2195 | 1230064.8163 | 2625878.0083 | 1230063.8485
56 | 2625879.2195 | 1230064.8163 | 2625898.8697 | 1230080.5183
57 | 2625898.8697 | 1230080.5183 | 2625900.3305 | 1230081.6856
58 | 2625916.245 | 1230094.4023 | 2625900.3305 | 1230081.6856
59 | 2625919.1306 | 1230096.7081 | 2625916.245 | 1230094.4023
60 | 2625850.7882 | 1230139.3066 | 2625841.0072 | 1230131.4284
61 | 2625850.7882 | 1230139.3066 | 2625856.7546 | 1230144.1215
62 | 2625856.7546 | 1230144.1215 | 2625857.4526 | 1230144.6849
63 | 2625870.2149 | 1230165.7625 | 2625873.4366 | 1230161.674
64 | 2625875.4847 | 1230159.237 | 2625873.4366 | 1230161.674
65 | 2625873.4366 | 1230161.674 | 2625884.7558 | 1230170.8215
66 | 2625875.4847 | 1230159.237 | 2625880.4233 | 1230163.2207
67 | 2625875.4847 | 1230159.237 | 2625865.7472 | 1230151.3787
68 | 2625919.1306 | 1230096.7081 | 2625931.1049 | 1230106.2766
69 | 2625926.5732 | 1230192.2901 | 2625934.5864 | 1230183.6642 | 2625940.2077 | 1230176.3753
70 | 2625922.8342 | 1230196.8877 | 2625926.5732 | 1230192.2901
71 | 2625926.5732 | 1230192.2901 | 2625945.7823 | 1230207.7386
72 | 2625922.8342 | 1230196.8877 | 2625911.3065 | 1230188.1323
73 | 2626125.1903 | 1230215.3104 | 2626136.0517 | 1230198.835
74 | 2626114.9037 | 1230230.9137 | 2626125.1903 | 1230215.3104
75 | 2626036.8663 | 1230134.6422 | 2626063.5789 | 1230155.4041
76 | 2625911.3065 | 1230188.1323 | 2625904.0185 | 1230182.2535
77 | 2625911.3065 | 1230188.1323 | 2625909.5374 | 1230190.8485
78 | 2625865.7472 | 1230151.3787 | 2625857.4526 | 1230144.6849
79 | 2625880.4233 | 1230163.2207 | 2625880.5865 | 1230163.3523
80 | 2625880.5865 | 1230163.3523 | 2625889.5237 | 1230170.5614
81 | 2625904.0185 | 1230182.2535 | 2625889.5237 | 1230170.5614
82 | 2625909.5374 | 1230190.8485 | 2625904.3115 | 1230186.6252
83 | 2626047.0053 | 1230316.9154 | 2626046.5025 | 1230317.5588
84 | 2626048.3924 | 1230315.1406 | 2626047.0053 | 1230316.9154
85 | 2626049.7654 | 1230313.3836 | 2626048.3924 | 1230315.1406
86 | 2626051.8518 | 1230310.7139 | 2626049.7654 | 1230313.3836
87 | 2626051.8518 | 1230310.7139 | 2626067.7236 | 1230290.4044
88 | 2626067.7236 | 1230290.4044 | 2626078.3537 | 1230276.8022
89 | 2626110.2904 | 1230299.0917 | 2626094.2448 | 1230286.2947
90 | 2626092.6473 | 1230285.0207 | 2626094.2448 | 1230286.2947
91 | 2626111.7567 | 1230300.2612 | 2626110.2904 | 1230299.0917
92 | 2626079.8852 | 1230274.8424 | 2626092.6473 | 1230285.0207
93 | 2626116.1898 | 1230303.7967 | 2626111.7567 | 1230300.2612
94 | 2626079.8852 | 1230274.8424 | 2626078.3537 | 1230276.8022
95 | 2626079.8852 | 1230274.8424 | 2626089.7831 | 1230262.4261
96 | 2626089.7831 | 1230262.4261 | 2626102.173 | 1230246.8837
97 | 2626103.0082 | 1230245.8359 | 2626102.173 | 1230246.8837
98 | 2626114.9037 | 1230230.9137 | 2626103.0082 | 1230245.8359
99 | 2626114.9037 | 1230230.9137 | 2626102.8035 | 1230222.1253
100 | 2626088.3863 | 1230211.654 | 2626102.8035 | 1230222.1253
101 | 2626083.4081 | 1230208.0382 | 2626088.3863 | 1230211.654
102 | 2626074.6246 | 1230201.6587 | 2626083.4081 | 1230208.0382
103 | 2626074.2007 | 1230201.3509 | 2626074.6246 | 1230201.6587

## bus_geodata
| x | y | coords
0 | 2626123.8543 | 1230108.3006
1 | 2626127.7646 | 1230104.4634
2 | 2626119.2769 | 1230112.7923
3 | 2626107.9274 | 1230123.9295
4 | 2626096.0829 | 1230137.3711
5 | 2626125.0464 | 1230138.9109
6 | 2626074.6329 | 1230095.7769
7 | 2626088.7586 | 1230151.162
8 | 2626160.571 | 1230169.9994
9 | 2626071.5235 | 1230093.1476
10 | 2626050.0506 | 1230074.9909
11 | 2626031.8518 | 1230059.6023
12 | 2625943.6667 | 1229989.2196
13 | 2626023.5206 | 1230078.5217
14 | 2625927.8527 | 1230041.607
15 | 2626037.9516 | 1230072.9259
16 | 2626001.2108 | 1230107.0194
17 | 2625966.0836 | 1230134.2271
18 | 2625966.1449 | 1230142.7436
19 | 2625956.184 | 1230126.3165
20 | 2625970.6283 | 1230146.3542
21 | 2625954.0842 | 1230158.3822
22 | 2626003.2116 | 1230108.4845
23 | 2626016.4712 | 1230118.7903
24 | 2625947.8401 | 1230055.9715
25 | 2625991.9633 | 1230118.9134
26 | 2625937.157 | 1230111.1126
27 | 2625978.4596 | 1230136.2817
28 | 2625942.3731 | 1230173.5675
29 | 2626025.3492 | 1230125.6907
30 | 2626031.9246 | 1230221.4179
31 | 2626022.6775 | 1230233.7841
32 | 2626032.5676 | 1230220.558
33 | 2626018.6088 | 1230239.2252
34 | 2626036.7304 | 1230214.9911
35 | 2626006.3964 | 1230255.5569
36 | 2625998.8485 | 1230233.7144
37 | 2626032.6063 | 1230196.351
38 | 2625993.3822 | 1230272.9608
39 | 2625989.4305 | 1230278.2454
40 | 2625992.0987 | 1230274.6773
41 | 2626002.0023 | 1230171.6632
42 | 2626006.3448 | 1230175.1662
43 | 2625990.9085 | 1230227.4184
44 | 2625990.145 | 1230226.8129
45 | 2625991.6749 | 1230228.0261
46 | 2625975.4032 | 1230215.1235
47 | 2625970.6318 | 1230211.3401
48 | 2625953.3448 | 1230198.2658
49 | 2626167.2004 | 1230174.7314
50 | 2625879.2195 | 1230064.8163
51 | 2625878.0083 | 1230063.8485
52 | 2625898.8697 | 1230080.5183
53 | 2625900.3305 | 1230081.6856
54 | 2625916.245 | 1230094.4023
55 | 2625850.7882 | 1230139.3066
56 | 2625841.0072 | 1230131.4284
57 | 2625856.7546 | 1230144.1215
58 | 2625873.4366 | 1230161.674
59 | 2625870.215 | 1230165.7625
60 | 2625875.4847 | 1230159.2369
61 | 2625884.7558 | 1230170.8215
62 | 2625919.1306 | 1230096.7081
63 | 2625940.2077 | 1230176.3753
64 | 2625926.5732 | 1230192.2901
65 | 2625922.8342 | 1230196.8877
66 | 2625945.7823 | 1230207.7386
67 | 2626136.0517 | 1230198.835
68 | 2626125.1903 | 1230215.3104
69 | 2626036.8663 | 1230134.6422
70 | 2626063.5789 | 1230155.4041
71 | 2625931.1049 | 1230106.2766
72 | 2625911.3065 | 1230188.1323
73 | 2625857.4526 | 1230144.6849
74 | 2625880.4233 | 1230163.2207
75 | 2625865.7472 | 1230151.3787
76 | 2625880.5865 | 1230163.3523
77 | 2625963.6938 | 1230067.3651
78 | 2625889.5237 | 1230170.5614
79 | 2625904.0185 | 1230182.2535
80 | 2625909.5374 | 1230190.8485
81 | 2625904.3115 | 1230186.6252
82 | 2625965.3468 | 1230182.8626
83 | 2626046.5025 | 1230317.5588
84 | 2626047.0053 | 1230316.9154
85 | 2626048.3924 | 1230315.1406
86 | 2626049.7654 | 1230313.3836
87 | 2626051.8518 | 1230310.7139
88 | 2626067.7236 | 1230290.4044
89 | 2626094.2448 | 1230286.2947
90 | 2626110.2904 | 1230299.0917
91 | 2626092.6473 | 1230285.0207
92 | 2626111.7567 | 1230300.2612
93 | 2626079.8852 | 1230274.8424
94 | 2626116.1898 | 1230303.7967
95 | 2626078.3537 | 1230276.8022
96 | 2626089.7831 | 1230262.4261
97 | 2626102.173 | 1230246.8837
98 | 2626103.0082 | 1230245.8359
99 | 2626114.9037 | 1230230.9137
100 | 2626102.8035 | 1230222.1253
101 | 2626088.3863 | 1230211.654
102 | 2626083.4081 | 1230208.0382
103 | 2626074.6246 | 1230201.6587
104 | 2626074.2007 | 1230201.3509
105 | 2626039.5536 | 1230201.9553

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1