## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_329-46_1_3_node_13 | 0.4 | n |  | TRUE
1 | bus_LV_329-46_1_3_node_14 | 0.4 | n |  | TRUE
2 | bus_LV_329-46_1_3_node_15 | 0.4 | n |  | TRUE
3 | bus_LV_329-46_1_3_node_16 | 0.4 | n |  | TRUE
4 | bus_LV_329-46_1_3_node_17 | 0.4 | n |  | TRUE
5 | bus_LV_329-46_1_3_node_18 | 0.4 | n |  | TRUE
6 | bus_LV_329-46_1_3_node_19 | 0.4 | n |  | TRUE
7 | bus_LV_329-46_1_3_node_37 | 0.4 | n |  | TRUE
8 | bus_LV_329-46_1_3_node_48 | 0.4 | n |  | TRUE
9 | bus_LV_329-46_1_3_node_36 | 0.4 | n |  | TRUE
10 | bus_LV_329-46_1_3_node_30 | 0.4 | n |  | TRUE
11 | bus_LV_329-46_1_3_node_34 | 0.4 | n |  | TRUE
12 | bus_LV_329-46_1_3_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_329-46_1_3_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_329-46_1_3_node_22 | 0.4 | n |  | TRUE
15 | bus_LV_329-46_1_3_node_32 | 0.4 | n |  | TRUE
16 | bus_LV_329-46_1_3_node_33 | 0.4 | n |  | TRUE
17 | bus_LV_329-46_1_3_node_35 | 0.4 | n |  | TRUE
18 | bus_LV_329-46_1_3_node_170 | 0.4 | n |  | TRUE
19 | bus_LV_329-46_1_3_node_166 | 0.4 | n |  | TRUE
20 | bus_LV_329-46_1_3_node_168 | 0.4 | n |  | TRUE
21 | bus_LV_329-46_1_3_node_49 | 0.4 | n |  | TRUE
22 | bus_LV_329-46_1_3_node_137 | 0.4 | n |  | TRUE
23 | bus_LV_329-46_1_3_node_138 | 0.4 | n |  | TRUE
24 | bus_LV_329-46_1_3_node_136 | 0.4 | n |  | TRUE
25 | bus_LV_329-46_1_3_node_50 | 0.4 | n |  | TRUE
26 | bus_LV_329-46_1_3_node_143 | 0.4 | n |  | TRUE
27 | bus_LV_329-46_1_3_node_152 | 0.4 | n |  | TRUE
28 | bus_LV_329-46_1_3_node_51 | 0.4 | n |  | TRUE
29 | bus_LV_329-46_1_3_node_135 | 0.4 | n |  | TRUE
30 | bus_LV_329-46_1_3_node_130 | 0.4 | n |  | TRUE
31 | bus_LV_329-46_1_3_node_134 | 0.4 | n |  | TRUE
32 | bus_LV_329-46_1_3_node_52 | 0.4 | n |  | TRUE
33 | bus_LV_329-46_1_3_node_59 | 0.4 | n |  | TRUE
34 | bus_LV_329-46_1_3_node_72 | 0.4 | n |  | TRUE
35 | bus_LV_329-46_1_3_node_53 | 0.4 | n |  | TRUE
36 | bus_LV_329-46_1_3_node_132 | 0.4 | n |  | TRUE
37 | bus_LV_329-46_1_3_node_131 | 0.4 | n |  | TRUE
38 | bus_LV_329-46_1_3_node_54 | 0.4 | n |  | TRUE
39 | bus_LV_329-46_1_3_node_56 | 0.4 | n |  | TRUE
40 | bus_LV_329-46_1_3_node_55 | 0.4 | n |  | TRUE
41 | bus_LV_329-46_1_3_node_75 | 0.4 | n |  | TRUE
42 | bus_LV_329-46_1_3_node_116 | 0.4 | n |  | TRUE
43 | bus_LV_329-46_1_3_node_126 | 0.4 | n |  | TRUE
44 | bus_LV_329-46_1_3_node_118 | 0.4 | n |  | TRUE
45 | bus_LV_329-46_1_3_node_57 | 0.4 | n |  | TRUE
46 | bus_LV_329-46_1_3_node_58 | 0.4 | n |  | TRUE
47 | bus_LV_329-46_1_3_node_60 | 0.4 | n |  | TRUE
48 | bus_LV_329-46_1_3_node_70 | 0.4 | n |  | TRUE
49 | bus_LV_329-46_1_3_node_61 | 0.4 | n |  | TRUE
50 | bus_LV_329-46_1_3_node_62 | 0.4 | n |  | TRUE
51 | bus_LV_329-46_1_3_node_63 | 0.4 | n |  | TRUE
52 | bus_LV_329-46_1_3_node_64 | 0.4 | n |  | TRUE
53 | bus_LV_329-46_1_3_node_65 | 0.4 | n |  | TRUE
54 | bus_LV_329-46_1_3_node_73 | 0.4 | n |  | TRUE
55 | bus_LV_329-46_1_3_node_169 | 0.4 | n |  | TRUE
56 | bus_LV_329-46_1_3_node_67 | 0.4 | n |  | TRUE
57 | bus_LV_329-46_1_3_node_68 | 0.4 | n |  | TRUE
58 | bus_LV_329-46_1_3_node_69 | 0.4 | n |  | TRUE
59 | bus_LV_329-46_1_3_node_71 | 0.4 | n |  | TRUE
60 | bus_LV_329-46_1_3_node_163 | 0.4 | n |  | TRUE
61 | bus_LV_329-46_1_3_node_74 | 0.4 | n |  | TRUE
62 | bus_LV_329-46_1_3_node_202 | 0.4 | n |  | TRUE
63 | bus_LV_329-46_1_3_node_204 | 0.4 | n |  | TRUE
64 | bus_LV_329-46_1_3_node_199 | 0.4 | n |  | TRUE
65 | bus_LV_329-46_1_3_node_117 | 0.4 | n |  | TRUE
66 | bus_LV_329-46_1_3_node_120 | 0.4 | n |  | TRUE
67 | bus_LV_329-46_1_3_node_121 | 0.4 | n |  | TRUE
68 | bus_LV_329-46_1_3_node_122 | 0.4 | n |  | TRUE
69 | bus_LV_329-46_1_3_node_123 | 0.4 | n |  | TRUE
70 | bus_LV_329-46_1_3_node_124 | 0.4 | n |  | TRUE
71 | bus_LV_329-46_1_3_node_133 | 0.4 | n |  | TRUE
72 | bus_LV_329-46_1_3_node_139 | 0.4 | n |  | TRUE
73 | bus_LV_329-46_1_3_node_125 | 0.4 | n |  | TRUE
74 | bus_LV_329-46_1_3_node_127 | 0.4 | n |  | TRUE
75 | bus_LV_329-46_1_3_node_128 | 0.4 | n |  | TRUE
76 | bus_LV_329-46_1_3_node_129 | 0.4 | n |  | TRUE
77 | bus_LV_329-46_1_3_node_159 | 0.4 | n |  | TRUE
78 | bus_LV_329-46_1_3_node_142 | 0.4 | n |  | TRUE
79 | bus_LV_329-46_1_3_node_140 | 0.4 | n |  | TRUE
80 | bus_LV_329-46_1_3_node_141 | 0.4 | n |  | TRUE
81 | bus_LV_329-46_1_3_node_145 | 0.4 | n |  | TRUE
82 | bus_LV_329-46_1_3_node_146 | 0.4 | n |  | TRUE
83 | bus_LV_329-46_1_3_node_151 | 0.4 | n |  | TRUE
84 | bus_LV_329-46_1_3_node_153 | 0.4 | n |  | TRUE
85 | bus_LV_329-46_1_3_node_160 | 0.4 | n |  | TRUE
86 | bus_LV_329-46_1_3_node_161 | 0.4 | n |  | TRUE
87 | bus_LV_329-46_1_3_node_162 | 0.4 | n |  | TRUE
88 | bus_LV_329-46_1_3_node_164 | 0.4 | n |  | TRUE
89 | bus_LV_329-46_1_3_node_165 | 0.4 | n |  | TRUE
90 | bus_LV_329-46_1_3_node_167 | 0.4 | n |  | TRUE
91 | bus_LV_329-46_1_3_node_171 | 0.4 | n |  | TRUE
92 | bus_LV_329-46_1_3_node_197 | 0.4 | n |  | TRUE
93 | bus_LV_329-46_1_3_node_198 | 0.4 | n |  | TRUE
94 | bus_MV_481_1_node_113 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_329-46_1_3_load_13 | 0 | 0.0038594 | 0.00096726 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_329-46_1_3_load_16 | 3 | 0.003151 | 0.00078972 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_329-46_1_3_load_17 | 4 | 0.0019445 | 0.00048734 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_329-46_1_3_load_18 | 5 | 0.0018898 | 0.00047363 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_329-46_1_3_load_37 | 7 | 0.0018945 | 0.00047479 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_329-46_1_3_load_48 | 8 | 0.0048269 | 0.0012097 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_329-46_1_3_load_36 | 9 | 0.0023148 | 0.00058014 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_329-46_1_3_load_30 | 10 | 0.0019461 | 0.00048773 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_329-46_1_3_load_34 | 11 | 0.0055624 | 0.0013941 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_329-46_1_3_load_20 | 12 | 0.0024373 | 0.00061085 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_329-46_1_3_load_21 | 13 | 0.0023012 | 0.00057674 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_329-46_1_3_load_32 | 15 | 0.0040301 | 0.00101 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_329-46_1_3_load_33 | 16 | 0.0022365 | 0.00056052 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_329-46_1_3_load_170 | 18 | 0.0032665 | 0.00081867 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_329-46_1_3_load_166 | 19 | 0.003408 | 0.00085414 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_329-46_1_3_load_168 | 20 | 0.0020967 | 0.00052549 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_329-46_1_3_load_137 | 22 | 0.002402 | 0.000602 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_329-46_1_3_load_138 | 23 | 0.0028079 | 0.00070373 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_329-46_1_3_load_136 | 24 | 0.0018082 | 0.00045318 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_329-46_1_3_load_152 | 27 | 0.0032462 | 0.00081357 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_329-46_1_3_load_135 | 29 | 0.0043272 | 0.0010845 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_329-46_1_3_load_134 | 31 | 0.0027588 | 0.00069142 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_329-46_1_3_load_72 | 34 | 0.0048256 | 0.0012094 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_329-46_1_3_load_132 | 36 | 0.0042831 | 0.0010735 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_329-46_1_3_load_131 | 37 | 0.0027787 | 0.0006964 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_329-46_1_3_load_116 | 42 | 0.0017261 | 0.00043259 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_329-46_1_3_load_126 | 43 | 0.0019763 | 0.00049532 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_329-46_1_3_load_118 | 44 | 0.00099704 | 0.00024988 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_329-46_1_3_load_57 | 45 | 0.0031412 | 0.00078727 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_329-46_1_3_load_58 | 46 | 0.0030479 | 0.00076387 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_329-46_1_3_load_60 | 47 | 0.00363 | 0.00090977 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_329-46_1_3_load_70 | 48 | 0.0018981 | 0.00047571 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_329-46_1_3_load_61 | 49 | 0.0021398 | 0.00053627 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_329-46_1_3_load_62 | 50 | 0.0034687 | 0.00086933 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_329-46_1_3_load_64 | 52 | 0.0030712 | 0.00076971 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_329-46_1_3_load_65 | 53 | 0.0024111 | 0.00060428 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_329-46_1_3_load_73 | 54 | 0.0038489 | 0.00096461 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_329-46_1_3_load_67 | 56 | 0.0026818 | 0.00067212 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_329-46_1_3_load_68 | 57 | 0.0025334 | 0.00063492 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_329-46_1_3_load_69 | 58 | 0.0020096 | 0.00050366 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_329-46_1_3_load_71 | 59 | 0.0051031 | 0.001279 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_329-46_1_3_load_163 | 60 | 0.00011296 | 2.8311e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_329-46_1_3_load_202 | 62 | 0.00021367 | 5.3551e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_329-46_1_3_load_204 | 63 | 0.00030001 | 7.5191e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_329-46_1_3_load_117 | 65 | 0.0042867 | 0.0010743 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_329-46_1_3_load_120 | 66 | 0.0013425 | 0.00033646 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_329-46_1_3_load_121 | 67 | 0.0013881 | 0.00034788 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_329-46_1_3_load_133 | 71 | 0.0020091 | 0.00050354 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_329-46_1_3_load_139 | 72 | 0.001982 | 0.00049673 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_329-46_1_3_load_127 | 74 | 0.0032416 | 0.00081243 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_329-46_1_3_load_128 | 75 | 0.0015936 | 0.0003994 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_329-46_1_3_load_129 | 76 | 0.0024984 | 0.00062617 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_329-46_1_3_load_159 | 77 | 0.0029811 | 0.00074714 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_329-46_1_3_load_142 | 78 | 0.0054142 | 0.0013569 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_329-46_1_3_load_140 | 79 | 0.0029894 | 0.00074922 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_329-46_1_3_load_141 | 80 | 0.0044011 | 0.001103 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_329-46_1_3_load_145 | 81 | 0.0033249 | 0.0008333 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_329-46_1_3_load_146 | 82 | 0.0075269 | 0.0018864 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_329-46_1_3_load_151 | 83 | 0.0017794 | 0.00044596 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_329-46_1_3_load_153 | 84 | 0.0028522 | 0.00071483 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_329-46_1_3_load_160 | 85 | 0.0048425 | 0.0012137 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_329-46_1_3_load_161 | 86 | 0.00012027 | 3.0143e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_329-46_1_3_load_162 | 87 | 0.001894 | 0.00047467 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_329-46_1_3_load_164 | 88 | 0.002944 | 0.00073784 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_329-46_1_3_load_165 | 89 | 0.0027841 | 0.00069776 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_329-46_1_3_load_167 | 90 | 0.0061624 | 0.0015444 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_329-46_1_3_load_171 | 91 | 0.0050318 | 0.0012611 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_329-46_1_3_load_197 | 92 | 0.00099698 | 0.00024987 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_329-46_1_3_load_198 | 93 | 0.010894 | 0.0027302 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_329-46_1_3_line_0 |  | 0 | 1 | 0.020891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_329-46_1_3_line_1 |  | 0 | 2 | 0.012096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_329-46_1_3_line_2 |  | 1 | 3 | 0.017951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_329-46_1_3_line_3 |  | 1 | 4 | 0.013334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_329-46_1_3_line_4 |  | 2 | 5 | 0.020454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_329-46_1_3_line_5 |  | 2 | 6 | 0.001782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_329-46_1_3_line_6 |  | 3 | 7 | 0.025339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_329-46_1_3_line_7 |  | 4 | 8 | 0.0025972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_329-46_1_3_line_8 |  | 5 | 9 | 0.024691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_329-46_1_3_line_9 |  | 6 | 10 | 0.034468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_329-46_1_3_line_10 |  | 6 | 11 | 0.020881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_329-46_1_3_line_11 |  | 8 | 14 | 0.016962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_329-46_1_3_line_12 |  | 11 | 15 | 0.031459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_329-46_1_3_line_13 |  | 12 | 13 | 0.023362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_329-46_1_3_line_14 |  | 13 | 14 | 0.020193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_329-46_1_3_line_15 |  | 15 | 16 | 0.0026385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_329-46_1_3_line_16 |  | 16 | 17 | 0.013328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_329-46_1_3_line_17 |  | 17 | 18 | 0.033578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_329-46_1_3_line_18 |  | 17 | 19 | 0.018841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_329-46_1_3_line_19 |  | 17 | 20 | 0.030438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_329-46_1_3_line_20 |  | 19 | 88 | 0.020038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_329-46_1_3_line_21 |  | 20 | 55 | 0.0043249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_329-46_1_3_line_22 |  | 21 | 22 | 0.010624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_329-46_1_3_line_23 |  | 21 | 23 | 0.029294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_329-46_1_3_line_24 |  | 21 | 24 | 0.016354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_329-46_1_3_line_25 |  | 22 | 78 | 0.010775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_329-46_1_3_line_26 |  | 23 | 26 | 0.013593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_329-46_1_3_line_27 |  | 24 | 29 | 0.030438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_329-46_1_3_line_28 |  | 25 | 26 | 0.00398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_329-46_1_3_line_29 |  | 25 | 27 | 0.0059323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_329-46_1_3_line_30 |  | 26 | 81 | 0.012075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_329-46_1_3_line_31 |  | 27 | 83 | 0.0096731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_329-46_1_3_line_32 |  | 28 | 29 | 0.0070048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_329-46_1_3_line_33 |  | 28 | 30 | 0.005891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_329-46_1_3_line_34 |  | 28 | 31 | 0.024978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_329-46_1_3_line_35 |  | 30 | 43 | 0.01199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_329-46_1_3_line_36 |  | 30 | 73 | 0.028482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_329-46_1_3_line_37 |  | 31 | 71 | 0.020832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_329-46_1_3_line_38 |  | 32 | 33 | 0.007237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_329-46_1_3_line_39 |  | 32 | 34 | 0.011895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_329-46_1_3_line_40 |  | 33 | 38 | 0.012605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_329-46_1_3_line_41 |  | 33 | 45 | 0.035657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_329-46_1_3_line_42 |  | 34 | 54 | 0.044483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_329-46_1_3_line_43 |  | 35 | 36 | 0.018063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_329-46_1_3_line_44 |  | 35 | 37 | 0.035762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_329-46_1_3_line_45 |  | 36 | 77 | 0.023079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_329-46_1_3_line_46 |  | 37 | 38 | 0.0081062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_329-46_1_3_line_47 |  | 38 | 39 | 0.011687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_329-46_1_3_line_48 |  | 39 | 43 | 0.0034799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_329-46_1_3_line_49 |  | 39 | 44 | 0.020264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_329-46_1_3_line_50 |  | 40 | 41 | 0.054596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_329-46_1_3_line_51 |  | 40 | 42 | 0.025721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_329-46_1_3_line_52 |  | 41 | 63 | 0.011347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_329-46_1_3_line_53 |  | 41 | 64 | 0.037319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_329-46_1_3_line_54 |  | 41 | 61 | 0.030491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_329-46_1_3_line_55 |  | 42 | 65 | 0.02142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_329-46_1_3_line_56 |  | 44 | 65 | 0.022078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_329-46_1_3_line_57 |  | 45 | 46 | 0.024997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_329-46_1_3_line_58 |  | 46 | 47 | 0.0227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_329-46_1_3_line_59 |  | 47 | 48 | 0.025134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_329-46_1_3_line_60 |  | 48 | 58 | 3.5391e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_329-46_1_3_line_61 |  | 49 | 50 | 0.019576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_329-46_1_3_line_62 |  | 49 | 51 | 0.015659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_329-46_1_3_line_63 |  | 50 | 52 | 0.022909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_329-46_1_3_line_64 |  | 51 | 53 | 0.02892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_329-46_1_3_line_65 |  | 52 | 54 | 0.048629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_329-46_1_3_line_66 |  | 53 | 55 | 0.013566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_329-46_1_3_line_67 |  | 55 | 91 | 0.031107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_329-46_1_3_line_68 |  | 56 | 57 | 0.027512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_329-46_1_3_line_69 |  | 56 | 58 | 0.032485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_329-46_1_3_line_70 |  | 59 | 60 | 0.028803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_329-46_1_3_line_71 |  | 60 | 87 | 0.0006653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_329-46_1_3_line_72 |  | 61 | 62 | 0.044117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_329-46_1_3_line_73 |  | 64 | 92 | 0.024107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_329-46_1_3_line_74 |  | 66 | 67 | 0.0064424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_329-46_1_3_line_75 |  | 67 | 68 | 0.0040154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_329-46_1_3_line_76 |  | 68 | 69 | 0.059894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_329-46_1_3_line_77 |  | 69 | 70 | 0.011055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_329-46_1_3_line_78 |  | 69 | 71 | 0.013809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_329-46_1_3_line_79 |  | 70 | 72 | 0.030086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_329-46_1_3_line_80 |  | 72 | 79 | 0.023384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_329-46_1_3_line_81 |  | 73 | 74 | 0.013881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_329-46_1_3_line_82 |  | 74 | 75 | 0.0034109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_329-46_1_3_line_83 |  | 75 | 76 | 0.0048816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_329-46_1_3_line_84 |  | 77 | 85 | 0.022384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_329-46_1_3_line_85 |  | 79 | 80 | 0.01478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_329-46_1_3_line_86 |  | 81 | 82 | 0.020107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_329-46_1_3_line_87 |  | 83 | 84 | 0.0099065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_329-46_1_3_line_88 |  | 85 | 86 | 0.023562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_329-46_1_3_line_89 |  | 86 | 87 | 0.02476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_329-46_1_3_line_90 |  | 88 | 89 | 0.0031996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_329-46_1_3_line_91 |  | 89 | 90 | 0.021184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_329-46_1_3_line_92 |  | 92 | 93 | 0.032676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_329-46_1_3_trafo_37 | 0.63 MVA 20/0.4 kV | 94 | 7 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2625936.8783 | 1230290.461 | 2625953.6892 | 1230302.8628
1 | 2625963.4235 | 1230310.044 | 2625953.6892 | 1230302.8628
2 | 2625936.8783 | 1230290.461 | 2625925.966 | 1230304.7139
3 | 2625936.8783 | 1230290.461 | 2625926.1482 | 1230282.5453
4 | 2625963.4235 | 1230310.044 | 2625950.7497 | 1230326.0987
5 | 2625964.8579 | 1230311.1064 | 2625963.4235 | 1230310.044
6 | 2625910.5623 | 1230324.8332 | 2625925.966 | 1230304.7139
7 | 2625924.0582 | 1230281.0035 | 2625926.1482 | 1230282.5453
8 | 2625935.4507 | 1230345.479 | 2625950.7497 | 1230326.0987
9 | 2625964.8579 | 1230311.1064 | 2625985.4993 | 1230283.5026
10 | 2625964.8579 | 1230311.1064 | 2625981.4313 | 1230323.8082
11 | 2625910.4084 | 1230270.934 | 2625924.0582 | 1230281.0035
12 | 2625981.4313 | 1230323.8082 | 2626006.4009 | 1230342.9449
13 | 2625898.2728 | 1230287.0739 | 2625884.2326 | 1230305.7467
14 | 2625910.4084 | 1230270.934 | 2625898.2728 | 1230287.0739
15 | 2626008.4952 | 1230344.5499 | 2626006.4009 | 1230342.9449
16 | 2626019.0734 | 1230352.657 | 2626008.4952 | 1230344.5499
17 | 2626019.0734 | 1230352.657 | 2626039.7498 | 1230326.1996
18 | 2626019.0734 | 1230352.657 | 2626034.2279 | 1230363.852
19 | 2626019.0734 | 1230352.657 | 2626001.4043 | 1230377.4421
20 | 2626050.3454 | 1230375.7584 | 2626034.2279 | 1230363.852
21 | 2625998.8938 | 1230380.9638 | 2626001.4043 | 1230377.4421
22 | 2625861.2441 | 1230267.5851 | 2625852.9402 | 1230260.9587
23 | 2625861.2441 | 1230267.5851 | 2625879.673 | 1230244.8146
24 | 2625861.2441 | 1230267.5851 | 2625851.3957 | 1230280.6409
25 | 2625844.5178 | 1230254.2378 | 2625852.9402 | 1230260.9587
26 | 2625888.2242 | 1230234.2487 | 2625879.673 | 1230244.8146
27 | 2625829.8168 | 1230299.9743 | 2625833.6859 | 1230299.8184 | 2625838.9921 | 1230297.0841 | 2625851.3957 | 1230280.6409
28 | 2625888.2242 | 1230234.2487 | 2625891.5092 | 1230236.5088
29 | 2625891.5092 | 1230236.5088 | 2625895.1883 | 1230231.8553
30 | 2625888.2242 | 1230234.2487 | 2625878.7505 | 1230226.7614
31 | 2625901.1876 | 1230224.2672 | 2625895.1883 | 1230231.8553
32 | 2625824.4971 | 1230303.6475 | 2625827.4589 | 1230300.0693 | 2625829.8168 | 1230299.9743
33 | 2625824.4971 | 1230303.6475 | 2625820.7358 | 1230308.1895
34 | 2625824.4971 | 1230303.6475 | 2625805.6843 | 1230287.2167
35 | 2625820.7358 | 1230308.1895 | 2625821.7347 | 1230311.885 | 2625821.2508 | 1230316.9415 | 2625819.7804 | 1230319.6507
36 | 2625820.7358 | 1230308.1895 | 2625816.9085 | 1230303.4923 | 2625799.6946 | 1230289.0535
37 | 2625789.9943 | 1230273.5133 | 2625805.6843 | 1230287.2167
38 | 2625843.1867 | 1230318.3596 | 2625838.0973 | 1230323.5185
39 | 2625843.1867 | 1230318.3596 | 2625852.7503 | 1230325.4321
40 | 2625838.0973 | 1230323.5185 | 2625832.1522 | 1230325.1381 | 2625827.52 | 1230329.6541
41 | 2625838.0973 | 1230323.5185 | 2625843.8453 | 1230325.4223 | 2625867.6043 | 1230343.0802
42 | 2625852.7503 | 1230325.4321 | 2625882.8685 | 1230347.7052 | 2625888.5197 | 1230351.8769
43 | 2625801.3052 | 1230364.8285 | 2625815.0793 | 1230376.5141
44 | 2625801.3052 | 1230364.8285 | 2625822.6759 | 1230336.1538
45 | 2625815.0793 | 1230376.5141 | 2625832.6783 | 1230391.4447
46 | 2625827.52 | 1230329.6541 | 2625822.6759 | 1230336.1538
47 | 2625818.1204 | 1230322.7092 | 2625822.0916 | 1230325.6393 | 2625827.52 | 1230329.6541
48 | 2625818.1204 | 1230322.7092 | 2625819.7804 | 1230319.6507
49 | 2625818.1204 | 1230322.7092 | 2625805.638 | 1230338.6718
50 | 2625759.7831 | 1230389.675 | 2625768.6466 | 1230396.2172 | 2625762.9488 | 1230403.7194 | 2625767.1118 | 1230407.851 | 2625769.2163 | 1230413.3301 | 2625768.8957 | 1230419.1767 | 2625766.192 | 1230424.3792 | 2625773.7178 | 1230431.9942
51 | 2625759.7831 | 1230389.675 | 2625766.2511 | 1230386.2008 | 2625772.9867 | 1230380.4265 | 2625778.843 | 1230372.9373
52 | 2625766.4092 | 1230440.69 | 2625773.7178 | 1230431.9942
53 | 2625773.7178 | 1230431.9942 | 2625787.8645 | 1230442.8063 | 2625799.6865 | 1230427.2815
54 | 2625748.2279 | 1230427.5813 | 2625751.8948 | 1230429.0758 | 2625755.8314 | 1230429.4931 | 2625759.7274 | 1230428.7984 | 2625763.272 | 1230427.046 | 2625766.192 | 1230424.3792 | 2625773.7178 | 1230431.9942
55 | 2625778.843 | 1230372.9373 | 2625792.038 | 1230356.0635
56 | 2625792.038 | 1230356.0635 | 2625805.638 | 1230338.6718
57 | 2625867.6043 | 1230343.0802 | 2625887.6671 | 1230357.9911
58 | 2625887.6671 | 1230357.9911 | 2625905.8866 | 1230371.532
59 | 2625905.8866 | 1230371.532 | 2625926.0591 | 1230386.5243
60 | 2625926.0619 | 1230386.5265 | 2625926.0591 | 1230386.5243
61 | 2625961.6898 | 1230406.1707 | 2625946.018 | 1230394.4391
62 | 2625974.2259 | 1230415.5549 | 2625961.6898 | 1230406.1707
63 | 2625927.6436 | 1230380.7576 | 2625934.6825 | 1230385.9536 | 2625946.018 | 1230394.4391
64 | 2625974.2259 | 1230415.5549 | 2625991.0172 | 1230392.0089
65 | 2625888.5197 | 1230351.8769 | 2625927.6436 | 1230380.7576
66 | 2625998.8938 | 1230380.9638 | 2625991.0172 | 1230392.0089
67 | 2625978.4363 | 1230358.4276 | 2625983.9633 | 1230369.3138 | 2625998.8938 | 1230380.9638
68 | 2625952.1324 | 1230405.9067 | 2625969.8555 | 1230419.0824 | 2625974.5454 | 1230421.8152
69 | 2625952.1324 | 1230405.9067 | 2625931.2398 | 1230390.3747 | 2625926.0619 | 1230386.5265
70 | 2625887.1017 | 1230437.6163 | 2625891.5348 | 1230441.3773 | 2625909.0634 | 1230456.2515
71 | 2625887.1017 | 1230437.6163 | 2625886.5943 | 1230437.1859
72 | 2625748.2279 | 1230427.5813 | 2625727.8156 | 1230466.6917
73 | 2625799.6865 | 1230427.2815 | 2625807.9806 | 1230434.1215 | 2625815.9239 | 1230423.3837
74 | 2625736.898 | 1230320.2311 | 2625740.1656 | 1230314.6788
75 | 2625742.2022 | 1230311.2182 | 2625740.1656 | 1230314.6788
76 | 2625742.2022 | 1230311.2182 | 2625776.7301 | 1230268.0191 | 2625779.5935 | 1230264.4293
77 | 2625771.149 | 1230257.2663 | 2625779.5935 | 1230264.4293
78 | 2625779.5935 | 1230264.4293 | 2625789.9943 | 1230273.5133
79 | 2625771.149 | 1230257.2663 | 2625788.9068 | 1230232.9804
80 | 2625802.7088 | 1230214.1044 | 2625788.9068 | 1230232.9804
81 | 2625799.6946 | 1230289.0535 | 2625790.541 | 1230299.4885
82 | 2625790.541 | 1230299.4885 | 2625788.2917 | 1230302.0527
83 | 2625785.0726 | 1230305.7225 | 2625788.2917 | 1230302.0527
84 | 2625832.6783 | 1230391.4447 | 2625849.7471 | 1230405.9255
85 | 2625802.7088 | 1230214.1044 | 2625811.4323 | 1230202.174
86 | 2625862.9753 | 1230214.2937 | 2625878.7505 | 1230226.7614
87 | 2625907.3315 | 1230216.4961 | 2625901.1876 | 1230224.2672
88 | 2625849.7471 | 1230405.9255 | 2625867.714 | 1230421.1682
89 | 2625867.714 | 1230421.1682 | 2625886.5943 | 1230437.1859
90 | 2626050.3454 | 1230375.7584 | 2626052.9189 | 1230377.6595
91 | 2626069.9578 | 1230390.2466 | 2626052.9189 | 1230377.6595
92 | 2625815.9239 | 1230423.3837 | 2625819.9418 | 1230417.9525 | 2625799.5971 | 1230401.8915

## bus_geodata
| x | y | coords
0 | 2625953.6893 | 1230302.8628
1 | 2625936.8783 | 1230290.461
2 | 2625963.4234 | 1230310.044
3 | 2625925.966 | 1230304.7139
4 | 2625926.1482 | 1230282.5453
5 | 2625950.7497 | 1230326.0987
6 | 2625964.8579 | 1230311.1064
7 | 2625910.5623 | 1230324.8332
8 | 2625924.0582 | 1230281.0035
9 | 2625935.4507 | 1230345.479
10 | 2625985.4993 | 1230283.5026
11 | 2625981.4313 | 1230323.8082
12 | 2625884.2326 | 1230305.7467
13 | 2625898.2728 | 1230287.0739
14 | 2625910.4084 | 1230270.934
15 | 2626006.4009 | 1230342.9449
16 | 2626008.4952 | 1230344.5499
17 | 2626019.0734 | 1230352.657
18 | 2626039.7498 | 1230326.1996
19 | 2626034.2279 | 1230363.852
20 | 2626001.4043 | 1230377.4421
21 | 2625861.2441 | 1230267.5851
22 | 2625852.9402 | 1230260.9587
23 | 2625879.673 | 1230244.8146
24 | 2625851.3957 | 1230280.6409
25 | 2625891.5092 | 1230236.5088
26 | 2625888.2242 | 1230234.2487
27 | 2625895.1883 | 1230231.8553
28 | 2625824.4971 | 1230303.6475
29 | 2625829.8168 | 1230299.9743
30 | 2625820.7358 | 1230308.1895
31 | 2625805.6843 | 1230287.2167
32 | 2625843.1867 | 1230318.3597
33 | 2625838.0973 | 1230323.5185
34 | 2625852.7503 | 1230325.4321
35 | 2625801.3052 | 1230364.8285
36 | 2625815.0793 | 1230376.5141
37 | 2625822.6759 | 1230336.1538
38 | 2625827.52 | 1230329.6541
39 | 2625818.1204 | 1230322.7092
40 | 2625759.7831 | 1230389.675
41 | 2625773.7178 | 1230431.9942
42 | 2625778.843 | 1230372.9373
43 | 2625819.7804 | 1230319.6507
44 | 2625805.638 | 1230338.6718
45 | 2625867.6043 | 1230343.0802
46 | 2625887.6671 | 1230357.9911
47 | 2625905.8866 | 1230371.532
48 | 2625926.0591 | 1230386.5243
49 | 2625961.6898 | 1230406.1707
50 | 2625946.018 | 1230394.4391
51 | 2625974.2259 | 1230415.5549
52 | 2625927.6436 | 1230380.7576
53 | 2625991.0172 | 1230392.0089
54 | 2625888.5197 | 1230351.8769
55 | 2625998.8938 | 1230380.9638
56 | 2625952.1324 | 1230405.9067
57 | 2625974.5454 | 1230421.8152
58 | 2625926.0619 | 1230386.5265
59 | 2625909.0634 | 1230456.2515
60 | 2625887.1017 | 1230437.6163
61 | 2625748.2279 | 1230427.5813
62 | 2625727.8156 | 1230466.6917
63 | 2625766.4092 | 1230440.69
64 | 2625799.6865 | 1230427.2815
65 | 2625792.038 | 1230356.0635
66 | 2625736.898 | 1230320.2311
67 | 2625740.1656 | 1230314.6788
68 | 2625742.2022 | 1230311.2182
69 | 2625779.5935 | 1230264.4293
70 | 2625771.149 | 1230257.2663
71 | 2625789.9943 | 1230273.5133
72 | 2625788.9068 | 1230232.9804
73 | 2625799.6946 | 1230289.0535
74 | 2625790.541 | 1230299.4885
75 | 2625788.2917 | 1230302.0527
76 | 2625785.0726 | 1230305.7225
77 | 2625832.6783 | 1230391.4447
78 | 2625844.5178 | 1230254.2378
79 | 2625802.7088 | 1230214.1044
80 | 2625811.4323 | 1230202.174
81 | 2625878.7505 | 1230226.7614
82 | 2625862.9753 | 1230214.2937
83 | 2625901.1876 | 1230224.2672
84 | 2625907.3315 | 1230216.4961
85 | 2625849.7471 | 1230405.9255
86 | 2625867.714 | 1230421.1682
87 | 2625886.5943 | 1230437.1859
88 | 2626050.3454 | 1230375.7584
89 | 2626052.9189 | 1230377.6595
90 | 2626069.9578 | 1230390.2466
91 | 2625978.4363 | 1230358.4276
92 | 2625815.9239 | 1230423.3837
93 | 2625799.5971 | 1230401.8915
94 | 2625904.5044 | 1230332.7457

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1