## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_329-52_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_329-52_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_329-52_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_329-52_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_329-52_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_329-52_0_4_node_152 | 0.4 | n |  | TRUE
6 | bus_LV_329-52_0_4_node_163 | 0.4 | n |  | TRUE
7 | bus_LV_329-52_0_4_node_129 | 0.4 | n |  | TRUE
8 | bus_LV_329-52_0_4_node_151 | 0.4 | n |  | TRUE
9 | bus_LV_329-52_0_4_node_55 | 0.4 | n |  | TRUE
10 | bus_LV_329-52_0_4_node_92 | 0.4 | n |  | TRUE
11 | bus_LV_329-52_0_4_node_58 | 0.4 | n |  | TRUE
12 | bus_LV_329-52_0_4_node_91 | 0.4 | n |  | TRUE
13 | bus_LV_329-52_0_4_node_22 | 0.4 | n |  | TRUE
14 | bus_LV_329-52_0_4_node_21 | 0.4 | n |  | TRUE
15 | bus_LV_329-52_0_4_node_56 | 0.4 | n |  | TRUE
16 | bus_LV_329-52_0_4_node_5 | 0.4 | n |  | TRUE
17 | bus_LV_329-52_0_4_node_6 | 0.4 | n |  | TRUE
18 | bus_LV_329-52_0_4_node_7 | 0.4 | n |  | TRUE
19 | bus_LV_329-52_0_4_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_329-52_0_4_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_329-52_0_4_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_329-52_0_4_node_135 | 0.4 | n |  | TRUE
23 | bus_LV_329-52_0_4_node_155 | 0.4 | n |  | TRUE
24 | bus_LV_329-52_0_4_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_329-52_0_4_node_136 | 0.4 | n |  | TRUE
26 | bus_LV_329-52_0_4_node_122 | 0.4 | n |  | TRUE
27 | bus_LV_329-52_0_4_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_329-52_0_4_node_11 | 0.4 | n |  | TRUE
29 | bus_LV_329-52_0_4_node_12 | 0.4 | n |  | TRUE
30 | bus_LV_329-52_0_4_node_13 | 0.4 | n |  | TRUE
31 | bus_LV_329-52_0_4_node_14 | 0.4 | n |  | TRUE
32 | bus_LV_329-52_0_4_node_15 | 0.4 | n |  | TRUE
33 | bus_LV_329-52_0_4_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_329-52_0_4_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_329-52_0_4_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_329-52_0_4_node_134 | 0.4 | n |  | TRUE
37 | bus_LV_329-52_0_4_node_42 | 0.4 | n |  | TRUE
38 | bus_LV_329-52_0_4_node_53 | 0.4 | n |  | TRUE
39 | bus_LV_329-52_0_4_node_54 | 0.4 | n |  | TRUE
40 | bus_LV_329-52_0_4_node_52 | 0.4 | n |  | TRUE
41 | bus_LV_329-52_0_4_node_19 | 0.4 | n |  | TRUE
42 | bus_LV_329-52_0_4_node_116 | 0.4 | n |  | TRUE
43 | bus_LV_329-52_0_4_node_123 | 0.4 | n |  | TRUE
44 | bus_LV_329-52_0_4_node_138 | 0.4 | n |  | TRUE
45 | bus_LV_329-52_0_4_node_117 | 0.4 | n |  | TRUE
46 | bus_LV_329-52_0_4_node_137 | 0.4 | n |  | TRUE
47 | bus_LV_329-52_0_4_node_25 | 0.4 | n |  | TRUE
48 | bus_LV_329-52_0_4_node_26 | 0.4 | n |  | TRUE
49 | bus_LV_329-52_0_4_node_27 | 0.4 | n |  | TRUE
50 | bus_LV_329-52_0_4_node_57 | 0.4 | n |  | TRUE
51 | bus_LV_329-52_0_4_node_133 | 0.4 | n |  | TRUE
52 | bus_LV_329-52_0_4_node_132 | 0.4 | n |  | TRUE
53 | bus_LV_329-52_0_4_node_23 | 0.4 | n |  | TRUE
54 | bus_LV_329-52_0_4_node_24 | 0.4 | n |  | TRUE
55 | bus_LV_329-52_0_4_node_164 | 0.4 | n |  | TRUE
56 | bus_LV_329-52_0_4_node_108 | 0.4 | n |  | TRUE
57 | bus_LV_329-52_0_4_node_96 | 0.4 | n |  | TRUE
58 | bus_LV_329-52_0_4_node_95 | 0.4 | n |  | TRUE
59 | bus_LV_329-52_0_4_node_28 | 0.4 | n |  | TRUE
60 | bus_LV_329-52_0_4_node_29 | 0.4 | n |  | TRUE
61 | bus_LV_329-52_0_4_node_30 | 0.4 | n |  | TRUE
62 | bus_LV_329-52_0_4_node_31 | 0.4 | n |  | TRUE
63 | bus_LV_329-52_0_4_node_104 | 0.4 | n |  | TRUE
64 | bus_LV_329-52_0_4_node_105 | 0.4 | n |  | TRUE
65 | bus_LV_329-52_0_4_node_32 | 0.4 | n |  | TRUE
66 | bus_LV_329-52_0_4_node_33 | 0.4 | n |  | TRUE
67 | bus_LV_329-52_0_4_node_34 | 0.4 | n |  | TRUE
68 | bus_LV_329-52_0_4_node_35 | 0.4 | n |  | TRUE
69 | bus_LV_329-52_0_4_node_36 | 0.4 | n |  | TRUE
70 | bus_LV_329-52_0_4_node_140 | 0.4 | n |  | TRUE
71 | bus_LV_329-52_0_4_node_141 | 0.4 | n |  | TRUE
72 | bus_LV_329-52_0_4_node_144 | 0.4 | n |  | TRUE
73 | bus_LV_329-52_0_4_node_156 | 0.4 | n |  | TRUE
74 | bus_LV_329-52_0_4_node_37 | 0.4 | n |  | TRUE
75 | bus_LV_329-52_0_4_node_38 | 0.4 | n |  | TRUE
76 | bus_LV_329-52_0_4_node_39 | 0.4 | n |  | TRUE
77 | bus_LV_329-52_0_4_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_329-52_0_4_node_40 | 0.4 | n |  | TRUE
79 | bus_LV_329-52_0_4_node_61 | 0.4 | n |  | TRUE
80 | bus_LV_329-52_0_4_node_113 | 0.4 | n |  | TRUE
81 | bus_LV_329-52_0_4_node_63 | 0.4 | n |  | TRUE
82 | bus_LV_329-52_0_4_node_59 | 0.4 | n |  | TRUE
83 | bus_LV_329-52_0_4_node_114 | 0.4 | n |  | TRUE
84 | bus_LV_329-52_0_4_node_41 | 0.4 | n |  | TRUE
85 | bus_LV_329-52_0_4_node_157 | 0.4 | n |  | TRUE
86 | bus_LV_329-52_0_4_node_162 | 0.4 | n |  | TRUE
87 | bus_LV_329-52_0_4_node_43 | 0.4 | n |  | TRUE
88 | bus_LV_329-52_0_4_node_45 | 0.4 | n |  | TRUE
89 | bus_LV_329-52_0_4_node_147 | 0.4 | n |  | TRUE
90 | bus_LV_329-52_0_4_node_103 | 0.4 | n |  | TRUE
91 | bus_LV_329-52_0_4_node_46 | 0.4 | n |  | TRUE
92 | bus_LV_329-52_0_4_node_47 | 0.4 | n |  | TRUE
93 | bus_LV_329-52_0_4_node_48 | 0.4 | n |  | TRUE
94 | bus_LV_329-52_0_4_node_49 | 0.4 | n |  | TRUE
95 | bus_LV_329-52_0_4_node_50 | 0.4 | n |  | TRUE
96 | bus_LV_329-52_0_4_node_51 | 0.4 | n |  | TRUE
97 | bus_LV_329-52_0_4_node_87 | 0.4 | n |  | TRUE
98 | bus_LV_329-52_0_4_node_112 | 0.4 | n |  | TRUE
99 | bus_LV_329-52_0_4_node_86 | 0.4 | n |  | TRUE
100 | bus_LV_329-52_0_4_node_148 | 0.4 | n |  | TRUE
101 | bus_LV_329-52_0_4_node_111 | 0.4 | n |  | TRUE
102 | bus_LV_329-52_0_4_node_110 | 0.4 | n |  | TRUE
103 | bus_LV_329-52_0_4_node_98 | 0.4 | n |  | TRUE
104 | bus_LV_329-52_0_4_node_60 | 0.4 | n |  | TRUE
105 | bus_LV_329-52_0_4_node_62 | 0.4 | n |  | TRUE
106 | bus_LV_329-52_0_4_node_81 | 0.4 | n |  | TRUE
107 | bus_LV_329-52_0_4_node_82 | 0.4 | n |  | TRUE
108 | bus_LV_329-52_0_4_node_64 | 0.4 | n |  | TRUE
109 | bus_LV_329-52_0_4_node_65 | 0.4 | n |  | TRUE
110 | bus_LV_329-52_0_4_node_67 | 0.4 | n |  | TRUE
111 | bus_LV_329-52_0_4_node_66 | 0.4 | n |  | TRUE
112 | bus_LV_329-52_0_4_node_68 | 0.4 | n |  | TRUE
113 | bus_LV_329-52_0_4_node_124 | 0.4 | n |  | TRUE
114 | bus_LV_329-52_0_4_node_145 | 0.4 | n |  | TRUE
115 | bus_LV_329-52_0_4_node_106 | 0.4 | n |  | TRUE
116 | bus_LV_329-52_0_4_node_125 | 0.4 | n |  | TRUE
117 | bus_LV_329-52_0_4_node_146 | 0.4 | n |  | TRUE
118 | bus_LV_329-52_0_4_node_94 | 0.4 | n |  | TRUE
119 | bus_LV_329-52_0_4_node_69 | 0.4 | n |  | TRUE
120 | bus_LV_329-52_0_4_node_70 | 0.4 | n |  | TRUE
121 | bus_LV_329-52_0_4_node_71 | 0.4 | n |  | TRUE
122 | bus_LV_329-52_0_4_node_72 | 0.4 | n |  | TRUE
123 | bus_LV_329-52_0_4_node_73 | 0.4 | n |  | TRUE
124 | bus_LV_329-52_0_4_node_74 | 0.4 | n |  | TRUE
125 | bus_LV_329-52_0_4_node_153 | 0.4 | n |  | TRUE
126 | bus_LV_329-52_0_4_node_89 | 0.4 | n |  | TRUE
127 | bus_LV_329-52_0_4_node_101 | 0.4 | n |  | TRUE
128 | bus_LV_329-52_0_4_node_99 | 0.4 | n |  | TRUE
129 | bus_LV_329-52_0_4_node_130 | 0.4 | n |  | TRUE
130 | bus_LV_329-52_0_4_node_90 | 0.4 | n |  | TRUE
131 | bus_LV_329-52_0_4_node_84 | 0.4 | n |  | TRUE
132 | bus_LV_329-52_0_4_node_100 | 0.4 | n |  | TRUE
133 | bus_LV_329-52_0_4_node_76 | 0.4 | n |  | TRUE
134 | bus_LV_329-52_0_4_node_77 | 0.4 | n |  | TRUE
135 | bus_LV_329-52_0_4_node_78 | 0.4 | n |  | TRUE
136 | bus_LV_329-52_0_4_node_79 | 0.4 | n |  | TRUE
137 | bus_LV_329-52_0_4_node_80 | 0.4 | n |  | TRUE
138 | bus_LV_329-52_0_4_node_85 | 0.4 | n |  | TRUE
139 | bus_LV_329-52_0_4_node_83 | 0.4 | n |  | TRUE
140 | bus_LV_329-52_0_4_node_88 | 0.4 | n |  | TRUE
141 | bus_LV_329-52_0_4_node_93 | 0.4 | n |  | TRUE
142 | bus_LV_329-52_0_4_node_158 | 0.4 | n |  | TRUE
143 | bus_LV_329-52_0_4_node_102 | 0.4 | n |  | TRUE
144 | bus_LV_329-52_0_4_node_121 | 0.4 | n |  | TRUE
145 | bus_LV_329-52_0_4_node_119 | 0.4 | n |  | TRUE
146 | bus_LV_329-52_0_4_node_107 | 0.4 | n |  | TRUE
147 | bus_LV_329-52_0_4_node_109 | 0.4 | n |  | TRUE
148 | bus_LV_329-52_0_4_node_149 | 0.4 | n |  | TRUE
149 | bus_LV_329-52_0_4_node_115 | 0.4 | n |  | TRUE
150 | bus_LV_329-52_0_4_node_142 | 0.4 | n |  | TRUE
151 | bus_LV_329-52_0_4_node_143 | 0.4 | n |  | TRUE
152 | bus_LV_329-52_0_4_node_118 | 0.4 | n |  | TRUE
153 | bus_LV_329-52_0_4_node_150 | 0.4 | n |  | TRUE
154 | bus_LV_329-52_0_4_node_120 | 0.4 | n |  | TRUE
155 | bus_LV_329-52_0_4_node_126 | 0.4 | n |  | TRUE
156 | bus_LV_329-52_0_4_node_127 | 0.4 | n |  | TRUE
157 | bus_LV_329-52_0_4_node_128 | 0.4 | n |  | TRUE
158 | bus_LV_329-52_0_4_node_161 | 0.4 | n |  | TRUE
159 | bus_LV_329-52_0_4_node_154 | 0.4 | n |  | TRUE
160 | bus_LV_329-52_0_4_node_165 | 0.4 | n |  | TRUE
161 | bus_LV_329-52_0_4_node_160 | 0.4 | n |  | TRUE
162 | bus_LV_329-52_0_4_node_131 | 0.4 | n |  | TRUE
163 | bus_LV_329-52_0_4_node_159 | 0.4 | n |  | TRUE
164 | bus_MV_584_0_node_118 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_329-52_0_4_load_0 | 0 | 0.0026501 | 0.00066417 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_329-52_0_4_load_1 | 1 | 0.0016206 | 0.00040617 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_329-52_0_4_load_2 | 2 | 0.0053192 | 0.0013331 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_329-52_0_4_load_3 | 3 | 0.0029648 | 0.00074304 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_329-52_0_4_load_4 | 4 | 0.0038441 | 0.00096342 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_329-52_0_4_load_152 | 5 | 0.0038952 | 0.00097623 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_329-52_0_4_load_163 | 6 | 0.0014554 | 0.00036477 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_329-52_0_4_load_151 | 8 | 0.0023158 | 0.00058039 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_329-52_0_4_load_55 | 9 | 0.0061491 | 0.0015411 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_329-52_0_4_load_92 | 10 | 0.0022538 | 0.00056486 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_329-52_0_4_load_91 | 12 | 0.0026041 | 0.00065265 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_329-52_0_4_load_22 | 13 | 0.0097667 | 0.0024478 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_329-52_0_4_load_21 | 14 | 0.0075249 | 0.0018859 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_329-52_0_4_load_5 | 16 | 0.0031328 | 0.00078514 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_329-52_0_4_load_6 | 17 | 0.0013069 | 0.00032754 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_329-52_0_4_load_8 | 19 | 0.0015069 | 0.00037767 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_329-52_0_4_load_10 | 21 | 0.0032262 | 0.00080857 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_329-52_0_4_load_135 | 22 | 0.0021566 | 0.00054049 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_329-52_0_4_load_155 | 23 | 0.0025802 | 0.00064666 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_329-52_0_4_load_17 | 24 | 0.0016475 | 0.0004129 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_329-52_0_4_load_136 | 25 | 0.0016894 | 0.0004234 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_329-52_0_4_load_122 | 26 | 0.0009191 | 0.00023035 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_329-52_0_4_load_18 | 27 | 0.00095059 | 0.00023824 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_329-52_0_4_load_11 | 28 | 0.0010933 | 0.000274 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_329-52_0_4_load_12 | 29 | 0.0045727 | 0.001146 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_329-52_0_4_load_14 | 31 | 0.0040174 | 0.0010069 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_329-52_0_4_load_15 | 32 | 0.0050042 | 0.0012542 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_329-52_0_4_load_20 | 34 | 0.0084764 | 0.0021244 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_329-52_0_4_load_44 | 35 | 0.0037731 | 0.00094563 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_329-52_0_4_load_134 | 36 | 0.002389 | 0.00059874 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_329-52_0_4_load_42 | 37 | 0.0033609 | 0.00084232 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_329-52_0_4_load_54 | 39 | 0.0033284 | 0.00083418 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_329-52_0_4_load_52 | 40 | 0.0015809 | 0.00039622 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_329-52_0_4_load_19 | 41 | 0.001015 | 0.00025438 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_329-52_0_4_load_116 | 42 | 0.0011423 | 0.00028628 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_329-52_0_4_load_123 | 43 | 0.0016439 | 0.00041199 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_329-52_0_4_load_138 | 44 | 0.00088703 | 0.00022231 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_329-52_0_4_load_117 | 45 | 0.0010918 | 0.00027364 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_329-52_0_4_load_137 | 46 | 0.00096798 | 0.0002426 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_329-52_0_4_load_57 | 50 | 0.0023793 | 0.00059632 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_329-52_0_4_load_133 | 51 | 0.0026653 | 0.000668 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_329-52_0_4_load_132 | 52 | 0.0039747 | 0.00099615 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_329-52_0_4_load_23 | 53 | 0.002423 | 0.00060726 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_329-52_0_4_load_24 | 54 | 0.0011016 | 0.00027608 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_329-52_0_4_load_164 | 55 | 0.0076148 | 0.0019085 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_329-52_0_4_load_108 | 56 | 0.0033048 | 0.00082826 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_329-52_0_4_load_96 | 57 | 0.0028067 | 0.00070342 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_329-52_0_4_load_95 | 58 | 0.0053595 | 0.0013432 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_329-52_0_4_load_28 | 59 | 0.0024928 | 0.00062476 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_329-52_0_4_load_29 | 60 | 0.002499 | 0.00062632 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_329-52_0_4_load_30 | 61 | 0.002875 | 0.00072055 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_329-52_0_4_load_31 | 62 | 0.0019817 | 0.00049665 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_329-52_0_4_load_104 | 63 | 0.001996 | 0.00050025 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_329-52_0_4_load_105 | 64 | 0.0032219 | 0.00080749 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_329-52_0_4_load_32 | 65 | 0.0033782 | 0.00084667 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_329-52_0_4_load_33 | 66 | 0.0015152 | 0.00037976 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_329-52_0_4_load_34 | 67 | 0.0013159 | 0.00032979 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_329-52_0_4_load_36 | 69 | 0.0039095 | 0.00097983 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_329-52_0_4_load_140 | 70 | 0.0028577 | 0.0007162 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_329-52_0_4_load_141 | 71 | 0.001192 | 0.00029874 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_329-52_0_4_load_144 | 72 | 0.0034289 | 0.00085937 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_329-52_0_4_load_37 | 74 | 0.00066176 | 0.00016585 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_329-52_0_4_load_38 | 75 | 0.0065523 | 0.0016422 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_329-52_0_4_load_75 | 77 | 0.0061479 | 0.0015408 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_329-52_0_4_load_113 | 80 | 0.0030439 | 0.00076288 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_329-52_0_4_load_63 | 81 | 0.0024638 | 0.00061748 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_329-52_0_4_load_59 | 82 | 0.003822 | 0.00095788 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_329-52_0_4_load_114 | 83 | 0.0029836 | 0.00074776 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_329-52_0_4_load_41 | 84 | 0.0037017 | 0.00092773 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_329-52_0_4_load_157 | 85 | 0.0015372 | 0.00038526 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_329-52_0_4_load_162 | 86 | 0.0024587 | 0.00061622 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_329-52_0_4_load_43 | 87 | 0.0049221 | 0.0012336 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_329-52_0_4_load_45 | 88 | 0.0070064 | 0.001756 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_329-52_0_4_load_147 | 89 | 0.0028464 | 0.00071336 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_329-52_0_4_load_103 | 90 | 0.0012554 | 0.00031464 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_329-52_0_4_load_46 | 91 | 0.0023658 | 0.00059293 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_329-52_0_4_load_47 | 92 | 0.0039476 | 0.00098936 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_329-52_0_4_load_49 | 94 | 0.0031013 | 0.00077727 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_329-52_0_4_load_50 | 95 | 0.0033205 | 0.0008322 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_329-52_0_4_load_51 | 96 | 0.0038763 | 0.00097149 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_329-52_0_4_load_87 | 97 | 0.0022978 | 0.00057589 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_329-52_0_4_load_148 | 100 | 0.001874 | 0.00046967 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_329-52_0_4_load_111 | 101 | 0.0032099 | 0.00080447 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_329-52_0_4_load_110 | 102 | 0.002562 | 0.0006421 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_329-52_0_4_load_98 | 103 | 0.0029696 | 0.00074425 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_329-52_0_4_load_60 | 104 | 0.001883 | 0.00047191 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_329-52_0_4_load_62 | 105 | 0.0025142 | 0.00063011 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_329-52_0_4_load_81 | 106 | 0.002775 | 0.00069549 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_329-52_0_4_load_64 | 108 | 0.0030601 | 0.00076692 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_329-52_0_4_load_65 | 109 | 0.0053735 | 0.0013467 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_329-52_0_4_load_67 | 110 | 0.0026436 | 0.00066255 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_329-52_0_4_load_66 | 111 | 0.003033 | 0.00076014 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_329-52_0_4_load_124 | 113 | 0.0024518 | 0.00061447 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_329-52_0_4_load_145 | 114 | 0.0023976 | 0.00060089 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_329-52_0_4_load_106 | 115 | 0.0023901 | 0.00059903 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_329-52_0_4_load_125 | 116 | 0.0033583 | 0.00084167 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_329-52_0_4_load_94 | 118 | 0.0022256 | 0.0005578 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_329-52_0_4_load_69 | 119 | 0.0020061 | 0.00050278 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_329-52_0_4_load_70 | 120 | 0.0020494 | 0.00051364 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_329-52_0_4_load_72 | 122 | 0.0025653 | 0.00064292 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_329-52_0_4_load_153 | 125 | 0.0043428 | 0.0010884 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_329-52_0_4_load_89 | 126 | 0.0061804 | 0.001549 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_329-52_0_4_load_101 | 127 | 0.004849 | 0.0012153 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_329-52_0_4_load_99 | 128 | 0.0029897 | 0.00074929 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_329-52_0_4_load_130 | 129 | 0.0014913 | 0.00037376 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_329-52_0_4_load_90 | 130 | 0.0020617 | 0.00051672 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_329-52_0_4_load_84 | 131 | 0.0037514 | 0.00094019 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_329-52_0_4_load_76 | 133 | 0.0051373 | 0.0012875 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_329-52_0_4_load_77 | 134 | 0.0024087 | 0.00060367 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_329-52_0_4_load_78 | 135 | 0.0054602 | 0.0013685 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_329-52_0_4_load_79 | 136 | 0.0046087 | 0.0011551 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_329-52_0_4_load_80 | 137 | 0.0049935 | 0.0012515 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_329-52_0_4_load_85 | 138 | 0.0021149 | 0.00053005 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_329-52_0_4_load_83 | 139 | 0.0017924 | 0.00044921 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_329-52_0_4_load_88 | 140 | 0.0022161 | 0.0005554 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_329-52_0_4_load_93 | 141 | 0.0025989 | 0.00065135 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_329-52_0_4_load_158 | 142 | 0.0031364 | 0.00078605 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_329-52_0_4_load_102 | 143 | 0.002149 | 0.00053859 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_329-52_0_4_load_121 | 144 | 0.0048209 | 0.0012082 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_329-52_0_4_load_119 | 145 | 0.0036718 | 0.00092024 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_329-52_0_4_load_107 | 146 | 0.0037532 | 0.00094063 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_329-52_0_4_load_109 | 147 | 0.002535 | 0.00063534 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_329-52_0_4_load_149 | 148 | 0.0045957 | 0.0011518 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_329-52_0_4_load_115 | 149 | 0.003082 | 0.00077242 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_329-52_0_4_load_142 | 150 | 0.0014752 | 0.00036971 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_329-52_0_4_load_143 | 151 | 0.0011262 | 0.00028225 | 0 | 0 |  | 1 | TRUE | wye
126 | LV_329-52_0_4_load_118 | 152 | 0.0015192 | 0.00038075 | 0 | 0 |  | 1 | TRUE | wye
127 | LV_329-52_0_4_load_150 | 153 | 0.0024957 | 0.00062547 | 0 | 0 |  | 1 | TRUE | wye
128 | LV_329-52_0_4_load_120 | 154 | 0.0044573 | 0.0011171 | 0 | 0 |  | 1 | TRUE | wye
129 | LV_329-52_0_4_load_126 | 155 | 0.0023974 | 0.00060085 | 0 | 0 |  | 1 | TRUE | wye
130 | LV_329-52_0_4_load_154 | 159 | 0.0047108 | 0.0011806 | 0 | 0 |  | 1 | TRUE | wye
131 | LV_329-52_0_4_load_165 | 160 | 0.0025426 | 0.00063724 | 0 | 0 |  | 1 | TRUE | wye
132 | LV_329-52_0_4_load_131 | 162 | 0.0014902 | 0.00037349 | 0 | 0 |  | 1 | TRUE | wye
133 | LV_329-52_0_4_load_159 | 163 | 0.0030627 | 0.0007676 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_329-52_0_4_line_0 |  | 0 | 1 | 0.028842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_329-52_0_4_line_1 |  | 0 | 2 | 0.0069396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_329-52_0_4_line_2 |  | 1 | 3 | 0.010967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_329-52_0_4_line_3 |  | 2 | 4 | 0.024027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_329-52_0_4_line_4 |  | 3 | 9 | 0.02031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_329-52_0_4_line_5 |  | 4 | 13 | 0.034591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_329-52_0_4_line_6 |  | 5 | 6 | 0.033377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_329-52_0_4_line_7 |  | 5 | 7 | 0.024739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_329-52_0_4_line_8 |  | 5 | 8 | 0.019593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_329-52_0_4_line_9 |  | 7 | 159 | 0.016477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_329-52_0_4_line_10 |  | 7 | 156 | 0.029789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_329-52_0_4_line_11 |  | 8 | 153 | 0.020017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_329-52_0_4_line_12 |  | 9 | 15 | 0.020625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_329-52_0_4_line_13 |  | 10 | 11 | 0.045994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_329-52_0_4_line_14 |  | 10 | 12 | 0.00053649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_329-52_0_4_line_15 |  | 11 | 103 | 0.015345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_329-52_0_4_line_16 |  | 11 | 15 | 0.02515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_329-52_0_4_line_17 |  | 12 | 141 | 0.0066629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_329-52_0_4_line_18 |  | 13 | 14 | 0.01334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_329-52_0_4_line_19 |  | 14 | 34 | 0.042596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_329-52_0_4_line_20 |  | 16 | 17 | 0.0034523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_329-52_0_4_line_21 |  | 16 | 18 | 0.011959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_329-52_0_4_line_22 |  | 17 | 19 | 0.024314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_329-52_0_4_line_23 |  | 18 | 20 | 0.02599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_329-52_0_4_line_24 |  | 18 | 21 | 0.032219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_329-52_0_4_line_25 |  | 19 | 22 | 0.016981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_329-52_0_4_line_26 |  | 20 | 23 | 0.023709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_329-52_0_4_line_27 |  | 21 | 24 | 0.024769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_329-52_0_4_line_28 |  | 22 | 25 | 0.0019347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_329-52_0_4_line_29 |  | 23 | 26 | 0.025975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_329-52_0_4_line_30 |  | 24 | 27 | 0.019023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_329-52_0_4_line_31 |  | 25 | 162 | 0.038143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_329-52_0_4_line_32 |  | 26 | 43 | 0.022768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_329-52_0_4_line_33 |  | 26 | 154 | 0.026895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_329-52_0_4_line_34 |  | 27 | 41 | 0.0049657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_329-52_0_4_line_35 |  | 28 | 29 | 0.024702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_329-52_0_4_line_36 |  | 28 | 30 | 0.028622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_329-52_0_4_line_37 |  | 29 | 31 | 0.021513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_329-52_0_4_line_38 |  | 30 | 32 | 0.01717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_329-52_0_4_line_39 |  | 30 | 33 | 0.036625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_329-52_0_4_line_40 |  | 31 | 34 | 0.034106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_329-52_0_4_line_41 |  | 32 | 35 | 0.0069509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_329-52_0_4_line_42 |  | 34 | 36 | 0.045417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_329-52_0_4_line_43 |  | 35 | 37 | 0.031055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_329-52_0_4_line_44 |  | 36 | 52 | 0.026209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_329-52_0_4_line_45 |  | 37 | 87 | 0.0075808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_329-52_0_4_line_46 |  | 38 | 39 | 0.017881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_329-52_0_4_line_47 |  | 38 | 40 | 0.028509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_329-52_0_4_line_48 |  | 39 | 102 | 0.023155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_329-52_0_4_line_49 |  | 40 | 95 | 0.017621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_329-52_0_4_line_50 |  | 41 | 42 | 0.023671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_329-52_0_4_line_51 |  | 42 | 45 | 0.0021123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_329-52_0_4_line_52 |  | 43 | 44 | 0.014672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_329-52_0_4_line_53 |  | 44 | 46 | 0.0042287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_329-52_0_4_line_54 |  | 45 | 152 | 0.017675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_329-52_0_4_line_55 |  | 47 | 48 | 0.020682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_329-52_0_4_line_56 |  | 47 | 49 | 0.02589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_329-52_0_4_line_57 |  | 48 | 57 | 0.039966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_329-52_0_4_line_58 |  | 48 | 54 | 0.011977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_329-52_0_4_line_59 |  | 49 | 50 | 0.030844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_329-52_0_4_line_60 |  | 49 | 51 | 0.0092681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_329-52_0_4_line_61 |  | 51 | 52 | 0.0013904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_329-52_0_4_line_62 |  | 53 | 54 | 0.0081993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_329-52_0_4_line_63 |  | 55 | 56 | 0.048674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_329-52_0_4_line_64 |  | 56 | 102 | 0.023939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_329-52_0_4_line_65 |  | 56 | 146 | 0.047056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_329-52_0_4_line_66 |  | 57 | 58 | 0.024573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_329-52_0_4_line_67 |  | 59 | 60 | 0.001258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_329-52_0_4_line_68 |  | 59 | 61 | 0.01927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_329-52_0_4_line_69 |  | 61 | 62 | 0.0032952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_329-52_0_4_line_70 |  | 62 | 63 | 0.018374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_329-52_0_4_line_71 |  | 63 | 64 | 0.012424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_329-52_0_4_line_72 |  | 64 | 144 | 0.020115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_329-52_0_4_line_73 |  | 65 | 66 | 0.025276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_329-52_0_4_line_74 |  | 65 | 67 | 0.0059255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_329-52_0_4_line_75 |  | 66 | 68 | 0.013788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_329-52_0_4_line_76 |  | 67 | 69 | 0.011085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_329-52_0_4_line_77 |  | 68 | 70 | 0.014901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_329-52_0_4_line_78 |  | 68 | 71 | 0.0059859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_329-52_0_4_line_79 |  | 70 | 72 | 0.0074594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_329-52_0_4_line_80 |  | 71 | 73 | 0.024104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_329-52_0_4_line_81 |  | 73 | 151 | 0.0016674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_329-52_0_4_line_82 |  | 73 | 85 | 0.022558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_329-52_0_4_line_83 |  | 74 | 75 | 0.024751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_329-52_0_4_line_84 |  | 74 | 76 | 0.090354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_329-52_0_4_line_85 |  | 75 | 77 | 0.055107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_329-52_0_4_line_86 |  | 76 | 78 | 0.041287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_329-52_0_4_line_87 |  | 78 | 79 | 0.008995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_329-52_0_4_line_88 |  | 78 | 80 | 0.016463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_329-52_0_4_line_89 |  | 79 | 81 | 0.011211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
90 | LV_329-52_0_4_line_90 |  | 79 | 82 | 0.017208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
91 | LV_329-52_0_4_line_91 |  | 80 | 83 | 0.025399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_329-52_0_4_line_92 |  | 81 | 101 | 0.026022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
93 | LV_329-52_0_4_line_93 |  | 82 | 104 | 0.0025674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
94 | LV_329-52_0_4_line_94 |  | 83 | 149 | 0.0012953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_329-52_0_4_line_95 |  | 84 | 85 | 0.041342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_329-52_0_4_line_96 |  | 85 | 86 | 0.01364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_329-52_0_4_line_97 |  | 87 | 88 | 0.032846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
98 | LV_329-52_0_4_line_98 |  | 88 | 89 | 0.007838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
99 | LV_329-52_0_4_line_99 |  | 89 | 90 | 0.0034653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
100 | LV_329-52_0_4_line_100 |  | 90 | 132 | 0.036995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
101 | LV_329-52_0_4_line_101 |  | 91 | 92 | 0.024563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_329-52_0_4_line_102 |  | 91 | 93 | 0.015751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_329-52_0_4_line_103 |  | 92 | 94 | 0.016775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_329-52_0_4_line_104 |  | 93 | 95 | 0.0023212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_329-52_0_4_line_105 |  | 93 | 96 | 0.025763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_329-52_0_4_line_106 |  | 94 | 97 | 0.007542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_329-52_0_4_line_107 |  | 96 | 98 | 0.0057083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_329-52_0_4_line_108 |  | 97 | 99 | 0.024328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_329-52_0_4_line_109 |  | 98 | 100 | 0.011448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_329-52_0_4_line_110 |  | 98 | 101 | 0.013077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_329-52_0_4_line_111 |  | 99 | 140 | 0.0094257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_329-52_0_4_line_112 |  | 99 | 138 | 0.010601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_329-52_0_4_line_113 |  | 100 | 148 | 0.027261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_329-52_0_4_line_114 |  | 104 | 105 | 0.021528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
115 | LV_329-52_0_4_line_115 |  | 105 | 106 | 0.015442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
116 | LV_329-52_0_4_line_116 |  | 106 | 107 | 0.012424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
117 | LV_329-52_0_4_line_117 |  | 107 | 139 | 0.017002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_329-52_0_4_line_118 |  | 107 | 131 | 0.026183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
119 | LV_329-52_0_4_line_119 |  | 108 | 109 | 0.0086572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_329-52_0_4_line_120 |  | 109 | 110 | 0.010624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_329-52_0_4_line_121 |  | 110 | 113 | 0.0074515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_329-52_0_4_line_122 |  | 111 | 112 | 0.019702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_329-52_0_4_line_123 |  | 112 | 114 | 0.013615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_329-52_0_4_line_124 |  | 112 | 115 | 0.019766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_329-52_0_4_line_125 |  | 113 | 116 | 0.009774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_329-52_0_4_line_126 |  | 114 | 117 | 0.023093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_329-52_0_4_line_127 |  | 115 | 118 | 0.010811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_329-52_0_4_line_128 |  | 116 | 155 | 0.031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_329-52_0_4_line_129 |  | 117 | 142 | 0.044317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_329-52_0_4_line_130 |  | 118 | 141 | 0.010269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_329-52_0_4_line_131 |  | 119 | 120 | 0.0214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
132 | LV_329-52_0_4_line_132 |  | 119 | 121 | 0.021171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
133 | LV_329-52_0_4_line_133 |  | 120 | 122 | 0.0017154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
134 | LV_329-52_0_4_line_134 |  | 121 | 123 | 0.037845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_329-52_0_4_line_135 |  | 121 | 124 | 0.005844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
136 | LV_329-52_0_4_line_136 |  | 122 | 125 | 0.020985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
137 | LV_329-52_0_4_line_137 |  | 123 | 126 | 0.20407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_329-52_0_4_line_138 |  | 124 | 127 | 0.014177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
139 | LV_329-52_0_4_line_139 |  | 124 | 128 | 0.039764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
140 | LV_329-52_0_4_line_140 |  | 125 | 129 | 0.036847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
141 | LV_329-52_0_4_line_141 |  | 126 | 130 | 0.020696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_329-52_0_4_line_142 |  | 127 | 131 | 0.032134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
143 | LV_329-52_0_4_line_143 |  | 128 | 132 | 0.0075833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
144 | LV_329-52_0_4_line_144 |  | 129 | 162 | 0.021894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
145 | LV_329-52_0_4_line_145 |  | 132 | 143 | 0.013367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_329-52_0_4_line_146 |  | 133 | 134 | 0.0197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_329-52_0_4_line_147 |  | 133 | 135 | 0.0022145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_329-52_0_4_line_148 |  | 134 | 136 | 0.0075828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_329-52_0_4_line_149 |  | 135 | 137 | 0.013131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_329-52_0_4_line_150 |  | 136 | 138 | 0.0037428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_329-52_0_4_line_151 |  | 144 | 145 | 0.0067117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_329-52_0_4_line_152 |  | 145 | 154 | 0.011934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_329-52_0_4_line_153 |  | 146 | 147 | 0.031203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_329-52_0_4_line_154 |  | 149 | 150 | 0.023729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_329-52_0_4_line_155 |  | 150 | 151 | 0.019848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_329-52_0_4_line_156 |  | 152 | 153 | 0.024464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_329-52_0_4_line_157 |  | 155 | 156 | 0.017099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_329-52_0_4_line_158 |  | 156 | 157 | 0.032322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
159 | LV_329-52_0_4_line_159 |  | 157 | 158 | 0.021628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
160 | LV_329-52_0_4_line_160 |  | 158 | 160 | 0.016729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
161 | LV_329-52_0_4_line_161 |  | 158 | 161 | 0.033908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
162 | LV_329-52_0_4_line_162 |  | 161 | 163 | 0.024053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_329-52_0_4_trafo_16 | 0.63 MVA 20/0.4 kV | 164 | 33 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2626943.9853 | 1228417.8914 | 2626942.4522 | 1228422.5407 | 2626938.5219 | 1228427.1257 | 2626933.4348 | 1228427.8476 | 2626922.2257 | 1228425.2621 | 2626920.9708 | 1228425.096
1 | 2626943.9853 | 1228417.8914 | 2626946.1585 | 1228411.3009
2 | 2626920.9708 | 1228425.096 | 2626910.0983 | 1228423.6577
3 | 2626953.6831 | 1228388.4821 | 2626946.1585 | 1228411.3009
4 | 2626889.9405 | 1228421.1826 | 2626898.4725 | 1228422.1196 | 2626910.0983 | 1228423.6577
5 | 2626972.1735 | 1228359.2482 | 2626953.6831 | 1228388.4821
6 | 2627006.4616 | 1228425.2605 | 2627039.8356 | 1228425.7
7 | 2627001.3056 | 1228449.4566 | 2627006.4616 | 1228425.2605
8 | 2627010.5451 | 1228406.0975 | 2627006.4616 | 1228425.2605
9 | 2627001.3056 | 1228449.4566 | 2627017.4348 | 1228453.043
10 | 2626995.0972 | 1228478.5904 | 2627001.3056 | 1228449.4566
11 | 2627010.5451 | 1228406.0975 | 2627014.7171 | 1228386.5196
12 | 2626869.4386 | 1228418.9311 | 2626889.9405 | 1228421.1826
13 | 2626893.3684 | 1228478.7882 | 2626863.9107 | 1228443.4654
14 | 2626893.3684 | 1228478.7882 | 2626893.316 | 1228479.3221
15 | 2626863.9107 | 1228443.4654 | 2626857.8862 | 1228443.7273 | 2626848.5805 | 1228444.132
16 | 2626863.9107 | 1228443.4654 | 2626869.4386 | 1228418.9311
17 | 2626892.665 | 1228485.9531 | 2626893.316 | 1228479.3221
18 | 2626972.1735 | 1228359.2482 | 2626975.5126 | 1228346.3334 | 2626975.5126 | 1228346.3334
19 | 2626956.1432 | 1228322.9151 | 2626951.4327 | 1228339.965 | 2626975.5126 | 1228346.3334
20 | 2627051.237 | 1228231.4281 | 2627051.9064 | 1228228.0413
21 | 2627051.9296 | 1228243.0288 | 2627050.1542 | 1228236.9059 | 2627051.237 | 1228231.4281
22 | 2627051.9064 | 1228228.0413 | 2627055.0088 | 1228212.3465 | 2627057.0514 | 1228204.2857
23 | 2627051.9296 | 1228243.0288 | 2627064.7372 | 1228245.7219 | 2627071.5573 | 1228247.1648 | 2627077.4312 | 1228248.4145
24 | 2627051.9296 | 1228243.0288 | 2627048.4498 | 1228246.8264 | 2627043.0778 | 1228266.8696 | 2627041.4707 | 1228272.9789
25 | 2627061.2225 | 1228187.8253 | 2627057.0514 | 1228204.2857
26 | 2627077.4312 | 1228248.4145 | 2627072.3157 | 1228271.5649
27 | 2627041.4707 | 1228272.9789 | 2627038.2053 | 1228285.3919 | 2627035.1986 | 1228296.9406
28 | 2627061.6978 | 1228185.9499 | 2627061.2225 | 1228187.8253
29 | 2627072.3157 | 1228271.5649 | 2627080.815 | 1228296.1101
30 | 2627030.4057 | 1228315.3497 | 2627035.1986 | 1228296.9406
31 | 2627061.6978 | 1228185.9499 | 2627095.8427 | 1228168.9495
32 | 2627072.5413 | 1228317.1316 | 2627077.1425 | 1228301.9009 | 2627080.815 | 1228296.1101
33 | 2627102.8414 | 1228282.2424 | 2627099.5812 | 1228282.6579 | 2627090.9408 | 1228286.6544 | 2627083.3926 | 1228292.0456 | 2627080.815 | 1228296.1101
34 | 2627029.1546 | 1228320.1552 | 2627030.4057 | 1228315.3497
35 | 2626976.4044 | 1228245.1957 | 2626970.3653 | 1228269.1486
36 | 2626970.2197 | 1228220.1558 | 2626976.2669 | 1228224.9638 | 2626978.7012 | 1228231.1786 | 2626977.3052 | 1228241.623 | 2626976.4044 | 1228245.1957
37 | 2626965.1059 | 1228290.0087 | 2626970.3653 | 1228269.1486
38 | 2626970.2197 | 1228220.1558 | 2626982.0015 | 1228207.6652
39 | 2626946.5776 | 1228247.5209 | 2626951.5316 | 1228237.7374 | 2626970.2197 | 1228220.1558
40 | 2626956.1432 | 1228322.9151 | 2626963.7649 | 1228295.3273 | 2626965.1059 | 1228290.0087
41 | 2626982.0015 | 1228207.6652 | 2626986.771 | 1228202.6088
42 | 2626956.1432 | 1228322.9151 | 2626911.5795 | 1228314.1529
43 | 2627005.3521 | 1228177.8332 | 2627001.1859 | 1228185.0527 | 2626987.7836 | 1228201.5352 | 2626986.771 | 1228202.6088
44 | 2626900.5673 | 1228337.9365 | 2626911.5795 | 1228314.1529
45 | 2627005.3521 | 1228177.8332 | 2627009.1412 | 1228171.2672
46 | 2626948.0026 | 1228202.1778 | 2626930.1629 | 1228203.396
47 | 2626948.0026 | 1228202.1778 | 2626948.0023 | 1228173.6687
48 | 2626907.0621 | 1228204.9733 | 2626930.1629 | 1228203.396
49 | 2626948.0023 | 1228173.6687 | 2626948.0021 | 1228156.0477
50 | 2627029.1546 | 1228320.1552 | 2627027.5255 | 1228326.4126 | 2627023.9397 | 1228343.2398
51 | 2627023.4995 | 1228345.3057 | 2627023.9397 | 1228343.2398
52 | 2627072.5413 | 1228317.1316 | 2627070.4579 | 1228324.0282 | 2627066.5879 | 1228330.415
53 | 2627064.3965 | 1228334.0316 | 2627066.5879 | 1228330.415
54 | 2627019.8157 | 1228362.5929 | 2627023.4995 | 1228345.3057
55 | 2626850.03 | 1228346.1221 | 2626858.8272 | 1228345.9394 | 2626870.1984 | 1228349.5818
56 | 2626896.089 | 1228347.6085 | 2626870.1984 | 1228349.5818
57 | 2626850.03 | 1228346.1221 | 2626847.1714 | 1228346.5984 | 2626836.6073 | 1228350.4976 | 2626831.2502 | 1228355.6433 | 2626832.0288 | 1228364.441 | 2626832.6954 | 1228373.965
58 | 2626850.03 | 1228346.1221 | 2626850.0177 | 1228340.4409 | 2626852.8918 | 1228334.8394
59 | 2626896.089 | 1228347.6085 | 2626883.7209 | 1228375.8645
60 | 2626896.089 | 1228347.6085 | 2626899.9831 | 1228339.1982
61 | 2626900.5673 | 1228337.9365 | 2626899.9831 | 1228339.1982
62 | 2626860.7218 | 1228332.4065 | 2626852.8918 | 1228334.8394 | 2626852.8918 | 1228334.8394
63 | 2626883.1783 | 1228206.6042 | 2626863.3541 | 1228251.0584
64 | 2626883.1783 | 1228206.6042 | 2626907.0621 | 1228204.9733
65 | 2626883.1783 | 1228206.6042 | 2626854.3854 | 1228208.5702 | 2626836.2162 | 1228209.5515
66 | 2626832.6954 | 1228373.965 | 2626833.8013 | 1228389.7642 | 2626833.0347 | 1228398.4659
67 | 2627126.0437 | 1228351.2399 | 2627126.2922 | 1228350.0067
68 | 2627130.0986 | 1228331.1159 | 2627126.2922 | 1228350.0067
69 | 2627130.7495 | 1228327.8856 | 2627130.0986 | 1228331.1159
70 | 2627130.7495 | 1228327.8856 | 2627134.379 | 1228309.8734
71 | 2627136.3737 | 1228297.6121 | 2627136.3737 | 1228297.6121 | 2627134.7968 | 1228307.8 | 2627134.379 | 1228309.8734
72 | 2627120.6596 | 1228285.4078 | 2627127.1287 | 1228289.5986 | 2627133.2025 | 1228293.5174 | 2627136.3737 | 1228297.6121
73 | 2626843.2993 | 1228092.7382 | 2626818.0416 | 1228093.7019
74 | 2626812.1204 | 1228093.9278 | 2626818.0416 | 1228093.7019
75 | 2626857.077 | 1228092.2125 | 2626843.2993 | 1228092.7382
76 | 2626801.0436 | 1228094.3504 | 2626812.1204 | 1228093.9278
77 | 2626857.077 | 1228092.2125 | 2626857.7482 | 1228107.0988
78 | 2626857.077 | 1228092.2125 | 2626856.905 | 1228086.2291
79 | 2626857.7482 | 1228107.0988 | 2626858.0841 | 1228114.5507
80 | 2626856.2124 | 1228062.135 | 2626856.905 | 1228086.2291
81 | 2626856.2124 | 1228062.135 | 2626857.8798 | 1228062.153
82 | 2626856.2124 | 1228062.135 | 2626833.6579 | 1228061.7216
83 | 2626891.9893 | 1227916.3176 | 2626900.72 | 1227939.478
84 | 2626934.7799 | 1228023.1661 | 2626900.72 | 1227939.478
85 | 2626891.9893 | 1227916.3176 | 2626881.9741 | 1227862.1284
86 | 2626944.6085 | 1228063.0901 | 2626942.4251 | 1228046.6148 | 2626939.4772 | 1228036.6732 | 2626934.7799 | 1228023.1661
87 | 2626944.6085 | 1228063.0901 | 2626946.0459 | 1228071.9686
88 | 2626944.6085 | 1228063.0901 | 2626928.1464 | 1228062.9122
89 | 2626946.0459 | 1228071.9686 | 2626946.3497 | 1228083.1759
90 | 2626946.0459 | 1228071.9686 | 2626963.2536 | 1228072.0354
91 | 2626902.7493 | 1228062.6378 | 2626928.1464 | 1228062.9122
92 | 2626947.0551 | 1228109.1885 | 2626946.3497 | 1228083.1759
93 | 2626963.2536 | 1228072.0354 | 2626965.8209 | 1228072.0454
94 | 2626902.7493 | 1228062.6378 | 2626901.454 | 1228062.6238
95 | 2626833.6579 | 1228061.7216 | 2626842.9925 | 1228021.4472
96 | 2626820.0203 | 1228061.4716 | 2626833.6579 | 1228061.7216
97 | 2627009.1412 | 1228171.2672 | 2627011.4116 | 1228167.3328 | 2627023.6966 | 1228141.8348
98 | 2627023.6966 | 1228141.8348 | 2627027.0987 | 1228134.7737
99 | 2627028.6028 | 1228131.6519 | 2627027.0987 | 1228134.7737
100 | 2627050.8178 | 1228102.4615 | 2627043.3084 | 1228109.2982 | 2627031.6046 | 1228125.4214 | 2627028.6028 | 1228131.6519
101 | 2626932.2621 | 1228154.3076 | 2626907.716 | 1228155.2139
102 | 2626948.0021 | 1228153.7265 | 2626932.2621 | 1228154.3076
103 | 2626907.716 | 1228155.2139 | 2626902.6623 | 1228155.4005 | 2626890.9521 | 1228155.8315
104 | 2626948.0021 | 1228153.7265 | 2626948.0021 | 1228156.0477
105 | 2626948.0021 | 1228153.7265 | 2626947.517 | 1228127.9678
106 | 2626883.4152 | 1228156.1089 | 2626890.9521 | 1228155.8315
107 | 2626947.4095 | 1228122.2605 | 2626947.517 | 1228127.9678
108 | 2626859.7909 | 1228152.4053 | 2626871.7209 | 1228156.5393 | 2626883.4152 | 1228156.1089
109 | 2626947.4095 | 1228122.2605 | 2626935.9725 | 1228122.7638
110 | 2626947.4095 | 1228122.2605 | 2626947.0551 | 1228109.1885
111 | 2626859.7909 | 1228152.4053 | 2626859.3663 | 1228142.9891
112 | 2626859.7909 | 1228152.4053 | 2626849.198 | 1228152.8279
113 | 2626935.9725 | 1228122.7638 | 2626908.7382 | 1228123.9622
114 | 2626987.3486 | 1228072.1291 | 2626965.8209 | 1228072.0454
115 | 2627002.7908 | 1228072.1891 | 2626987.3486 | 1228072.1291
116 | 2627015.2146 | 1228072.2374 | 2627002.7908 | 1228072.1891
117 | 2627015.2146 | 1228072.2374 | 2627015.289 | 1228089.2368
118 | 2627015.2146 | 1228072.2374 | 2627019.0333 | 1228072.2547 | 2627041.3953 | 1228071.9199
119 | 2626948.1212 | 1228525.3594 | 2626949.271 | 1228516.779
120 | 2626950.6821 | 1228506.2491 | 2626949.271 | 1228516.779
121 | 2626950.6821 | 1228506.2491 | 2626951.6718 | 1228498.8637
122 | 2626888.6741 | 1228526.6049 | 2626908.2649 | 1228528.6909
123 | 2626888.6741 | 1228526.6049 | 2626875.1622 | 1228524.9316
124 | 2626888.6741 | 1228526.6049 | 2626890.6053 | 1228506.933
125 | 2626952.97 | 1228489.1763 | 2626951.6718 | 1228498.8637
126 | 2626852.2445 | 1228522.0935 | 2626875.1622 | 1228524.9316
127 | 2626890.6053 | 1228506.933 | 2626891.6616 | 1228496.1734
128 | 2626952.97 | 1228489.1763 | 2626953.0404 | 1228488.6506 | 2626957.9966 | 1228481.6799 | 2626965.0887 | 1228476.5422 | 2626978.2272 | 1228475.8028
129 | 2626852.2445 | 1228522.0935 | 2626813.5304 | 1228500.5245
130 | 2626892.665 | 1228485.9531 | 2626891.6616 | 1228496.1734
131 | 2627089.5767 | 1228095.1442 | 2627078.6797 | 1228113.5617
132 | 2627093.2552 | 1228074.3262 | 2627091.9102 | 1228085.1822 | 2627089.5767 | 1228095.1442 | 2627089.5767 | 1228095.1442
133 | 2627078.6797 | 1228113.5617 | 2627077.8062 | 1228115.038
134 | 2627125.8385 | 1228092.1074 | 2627118.1282 | 1228084.779 | 2627109.6378 | 1228079.0591 | 2627093.2552 | 1228074.3262
135 | 2627087.6254 | 1228072.6997 | 2627093.2552 | 1228074.3262
136 | 2627067.1205 | 1228133.0983 | 2627077.8062 | 1228115.038
137 | 2627125.8385 | 1228092.1074 | 2627327.0987 | 1228125.8443
138 | 2627087.6254 | 1228072.6997 | 2627076.5766 | 1228071.3931 | 2627073.5257 | 1228071.4388
139 | 2627087.6254 | 1228072.6997 | 2627063.9886 | 1228091.9817 | 2627056.6242 | 1228097.5947
140 | 2627067.1205 | 1228133.0983 | 2627100.9665 | 1228147.6634
141 | 2627329.3859 | 1228146.3874 | 2627328.781 | 1228136.2277 | 2627327.0987 | 1228125.8443
142 | 2627041.3953 | 1228071.9199 | 2627073.5257 | 1228071.4388
143 | 2627050.8178 | 1228102.4615 | 2627053.8383 | 1228099.718 | 2627056.6242 | 1228097.5947
144 | 2627095.8427 | 1228168.9495 | 2627100.9665 | 1228147.6634
145 | 2627050.8178 | 1228102.4615 | 2627037.4328 | 1228101.7114
146 | 2626818.1927 | 1228153.9304 | 2626824.9842 | 1228153.7938 | 2626837.8814 | 1228153.2793
147 | 2626818.1927 | 1228153.9304 | 2626815.9786 | 1228153.9749
148 | 2626837.8814 | 1228153.2793 | 2626845.4582 | 1228152.9771
149 | 2626802.8502 | 1228154.2389 | 2626815.9786 | 1228153.9749
150 | 2626849.198 | 1228152.8279 | 2626845.4582 | 1228152.9771
151 | 2627120.6596 | 1228285.4078 | 2627119.1438 | 1228284.4258 | 2627114.4758 | 1228282.9173
152 | 2627114.4758 | 1228282.9173 | 2627109.6868 | 1228281.3698 | 2627102.8414 | 1228282.2424
153 | 2626805.0324 | 1228209.7821 | 2626825.3138 | 1228210.1402 | 2626836.2162 | 1228209.5515
154 | 2626901.454 | 1228062.6238 | 2626877.7267 | 1228062.3674
155 | 2626857.8798 | 1228062.153 | 2626877.7267 | 1228062.3674
156 | 2627019.8157 | 1228362.5929 | 2627014.7171 | 1228386.5196
157 | 2626995.0972 | 1228478.5904 | 2626978.2523 | 1228475.8014 | 2626978.2272 | 1228475.8028
158 | 2626995.0972 | 1228478.5904 | 2627015.0863 | 1228483.0615 | 2627021.9436 | 1228484.6046 | 2627026.727 | 1228485.6714
159 | 2627026.727 | 1228485.6714 | 2627025.5025 | 1228490.0462 | 2627021.9188 | 1228506.7511
160 | 2627021.9188 | 1228506.7511 | 2627005.5168 | 1228503.2302
161 | 2627021.9188 | 1228506.7511 | 2627014.8133 | 1228539.9055
162 | 2627014.8133 | 1228539.9055 | 2626991.1619 | 1228535.5315

## bus_geodata
| x | y | coords
0 | 2626943.9853 | 1228417.8914
1 | 2626920.9708 | 1228425.096
2 | 2626946.1585 | 1228411.3009
3 | 2626910.0983 | 1228423.6577
4 | 2626953.6831 | 1228388.4821
5 | 2627006.4616 | 1228425.2605
6 | 2627039.8356 | 1228425.7
7 | 2627001.3056 | 1228449.4566
8 | 2627010.5451 | 1228406.0975
9 | 2626889.9405 | 1228421.1826
10 | 2626893.3684 | 1228478.7882
11 | 2626863.9107 | 1228443.4654
12 | 2626893.316 | 1228479.3221
13 | 2626972.1735 | 1228359.2482
14 | 2626975.5126 | 1228346.3334
15 | 2626869.4386 | 1228418.9311
16 | 2627051.237 | 1228231.4281
17 | 2627051.9064 | 1228228.0413
18 | 2627051.9296 | 1228243.0288
19 | 2627057.0514 | 1228204.2857
20 | 2627077.4312 | 1228248.4145
21 | 2627041.4707 | 1228272.9789
22 | 2627061.2225 | 1228187.8253
23 | 2627072.3157 | 1228271.5649
24 | 2627035.1986 | 1228296.9406
25 | 2627061.6978 | 1228185.9499
26 | 2627080.815 | 1228296.1101
27 | 2627030.4057 | 1228315.3497
28 | 2626976.4044 | 1228245.1957
29 | 2626970.3653 | 1228269.1486
30 | 2626970.2197 | 1228220.1558
31 | 2626965.1059 | 1228290.0087
32 | 2626982.0015 | 1228207.6652
33 | 2626946.5776 | 1228247.5209
34 | 2626956.1432 | 1228322.9151
35 | 2626986.771 | 1228202.6088
36 | 2626911.5795 | 1228314.1529
37 | 2627005.3521 | 1228177.8332
38 | 2626948.0026 | 1228202.1778
39 | 2626930.1629 | 1228203.396
40 | 2626948.0023 | 1228173.6687
41 | 2627029.1546 | 1228320.1552
42 | 2627023.9397 | 1228343.2398
43 | 2627072.5413 | 1228317.1316
44 | 2627066.5879 | 1228330.415
45 | 2627023.4995 | 1228345.3057
46 | 2627064.3965 | 1228334.0316
47 | 2626870.1984 | 1228349.5818
48 | 2626850.03 | 1228346.1221
49 | 2626896.089 | 1228347.6085
50 | 2626883.7209 | 1228375.8645
51 | 2626899.9831 | 1228339.1982
52 | 2626900.5673 | 1228337.9365
53 | 2626860.7218 | 1228332.4065
54 | 2626852.8918 | 1228334.8394
55 | 2626863.3541 | 1228251.0584
56 | 2626883.1783 | 1228206.6042
57 | 2626832.6954 | 1228373.965
58 | 2626833.0347 | 1228398.4659
59 | 2627126.2922 | 1228350.0067
60 | 2627126.0437 | 1228351.2399
61 | 2627130.0986 | 1228331.1159
62 | 2627130.7495 | 1228327.8856
63 | 2627134.379 | 1228309.8734
64 | 2627136.3737 | 1228297.6121
65 | 2626818.0416 | 1228093.7019
66 | 2626843.2993 | 1228092.7382
67 | 2626812.1204 | 1228093.9278
68 | 2626857.077 | 1228092.2125
69 | 2626801.0436 | 1228094.3504
70 | 2626857.7482 | 1228107.0988
71 | 2626856.905 | 1228086.2291
72 | 2626858.0841 | 1228114.5507
73 | 2626856.2124 | 1228062.135
74 | 2626900.72 | 1227939.478
75 | 2626891.9893 | 1227916.3176
76 | 2626934.7799 | 1228023.1661
77 | 2626881.9741 | 1227862.1284
78 | 2626944.6085 | 1228063.0901
79 | 2626946.0459 | 1228071.9686
80 | 2626928.1464 | 1228062.9122
81 | 2626946.3497 | 1228083.1759
82 | 2626963.2536 | 1228072.0354
83 | 2626902.7493 | 1228062.6378
84 | 2626842.9925 | 1228021.4472
85 | 2626833.6579 | 1228061.7216
86 | 2626820.0203 | 1228061.4716
87 | 2627009.1412 | 1228171.2672
88 | 2627023.6966 | 1228141.8348
89 | 2627027.0987 | 1228134.7737
90 | 2627028.6028 | 1228131.6519
91 | 2626932.2621 | 1228154.3076
92 | 2626907.716 | 1228155.2139
93 | 2626948.0021 | 1228153.7265
94 | 2626890.9521 | 1228155.8315
95 | 2626948.0021 | 1228156.0477
96 | 2626947.517 | 1228127.9678
97 | 2626883.4152 | 1228156.1089
98 | 2626947.4095 | 1228122.2605
99 | 2626859.7909 | 1228152.4053
100 | 2626935.9725 | 1228122.7638
101 | 2626947.0551 | 1228109.1885
102 | 2626907.0621 | 1228204.9733
103 | 2626848.5805 | 1228444.132
104 | 2626965.8209 | 1228072.0454
105 | 2626987.3486 | 1228072.1291
106 | 2627002.7908 | 1228072.1891
107 | 2627015.2146 | 1228072.2374
108 | 2626948.1212 | 1228525.3594
109 | 2626949.271 | 1228516.779
110 | 2626950.6821 | 1228506.2491
111 | 2626908.2649 | 1228528.6909
112 | 2626888.6741 | 1228526.6049
113 | 2626951.6718 | 1228498.8637
114 | 2626875.1622 | 1228524.9316
115 | 2626890.6053 | 1228506.933
116 | 2626952.97 | 1228489.1763
117 | 2626852.2445 | 1228522.0935
118 | 2626891.6616 | 1228496.1734
119 | 2627089.5767 | 1228095.1442
120 | 2627078.6797 | 1228113.5617
121 | 2627093.2552 | 1228074.3262
122 | 2627077.8062 | 1228115.038
123 | 2627125.8385 | 1228092.1074
124 | 2627087.6254 | 1228072.6997
125 | 2627067.1205 | 1228133.0983
126 | 2627327.0987 | 1228125.8443
127 | 2627073.5257 | 1228071.4388
128 | 2627056.6242 | 1228097.5947
129 | 2627100.9665 | 1228147.6634
130 | 2627329.3859 | 1228146.3874
131 | 2627041.3953 | 1228071.9199
132 | 2627050.8178 | 1228102.4615
133 | 2626818.1927 | 1228153.9304
134 | 2626837.8814 | 1228153.2793
135 | 2626815.9786 | 1228153.9749
136 | 2626845.4582 | 1228152.9771
137 | 2626802.8502 | 1228154.2389
138 | 2626849.198 | 1228152.8279
139 | 2627015.289 | 1228089.2368
140 | 2626859.3663 | 1228142.9891
141 | 2626892.665 | 1228485.9531
142 | 2626813.5304 | 1228500.5245
143 | 2627037.4328 | 1228101.7114
144 | 2627120.6596 | 1228285.4078
145 | 2627114.4758 | 1228282.9173
146 | 2626836.2162 | 1228209.5515
147 | 2626805.0324 | 1228209.7821
148 | 2626908.7382 | 1228123.9622
149 | 2626901.454 | 1228062.6238
150 | 2626877.7267 | 1228062.3674
151 | 2626857.8798 | 1228062.153
152 | 2627019.8157 | 1228362.5929
153 | 2627014.7171 | 1228386.5196
154 | 2627102.8414 | 1228282.2424
155 | 2626978.2272 | 1228475.8028
156 | 2626995.0972 | 1228478.5904
157 | 2627026.727 | 1228485.6714
158 | 2627021.9188 | 1228506.7511
159 | 2627017.4348 | 1228453.043
160 | 2627005.5168 | 1228503.2302
161 | 2627014.8133 | 1228539.9055
162 | 2627095.8427 | 1228168.9495
163 | 2626991.1619 | 1228535.5315
164 | 2626951.5316 | 1228237.7374

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1