## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_329-7_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_329-7_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_329-7_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_329-7_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_329-7_0_5_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_329-7_0_5_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_329-7_0_5_node_56 | 0.4 | n |  | TRUE
7 | bus_LV_329-7_0_5_node_57 | 0.4 | n |  | TRUE
8 | bus_LV_329-7_0_5_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_329-7_0_5_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_329-7_0_5_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_329-7_0_5_node_72 | 0.4 | n |  | TRUE
12 | bus_LV_329-7_0_5_node_90 | 0.4 | n |  | TRUE
13 | bus_LV_329-7_0_5_node_91 | 0.4 | n |  | TRUE
14 | bus_LV_329-7_0_5_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_329-7_0_5_node_64 | 0.4 | n |  | TRUE
16 | bus_LV_329-7_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_329-7_0_5_node_99 | 0.4 | n |  | TRUE
18 | bus_LV_329-7_0_5_node_70 | 0.4 | n |  | TRUE
19 | bus_LV_329-7_0_5_node_85 | 0.4 | n |  | TRUE
20 | bus_LV_329-7_0_5_node_98 | 0.4 | n |  | TRUE
21 | bus_LV_329-7_0_5_node_61 | 0.4 | n |  | TRUE
22 | bus_LV_329-7_0_5_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_329-7_0_5_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_329-7_0_5_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_329-7_0_5_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_329-7_0_5_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_329-7_0_5_node_109 | 0.4 | n |  | TRUE
28 | bus_LV_329-7_0_5_node_108 | 0.4 | n |  | TRUE
29 | bus_LV_329-7_0_5_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_329-7_0_5_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_329-7_0_5_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_329-7_0_5_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_329-7_0_5_node_110 | 0.4 | n |  | TRUE
34 | bus_LV_329-7_0_5_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_329-7_0_5_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_329-7_0_5_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_329-7_0_5_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_329-7_0_5_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_329-7_0_5_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_329-7_0_5_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_329-7_0_5_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_329-7_0_5_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_329-7_0_5_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_329-7_0_5_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_329-7_0_5_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_329-7_0_5_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_329-7_0_5_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_329-7_0_5_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_329-7_0_5_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_329-7_0_5_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_329-7_0_5_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_329-7_0_5_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_329-7_0_5_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_329-7_0_5_node_94 | 0.4 | n |  | TRUE
55 | bus_LV_329-7_0_5_node_107 | 0.4 | n |  | TRUE
56 | bus_LV_329-7_0_5_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_329-7_0_5_node_93 | 0.4 | n |  | TRUE
58 | bus_LV_329-7_0_5_node_80 | 0.4 | n |  | TRUE
59 | bus_LV_329-7_0_5_node_88 | 0.4 | n |  | TRUE
60 | bus_LV_329-7_0_5_node_78 | 0.4 | n |  | TRUE
61 | bus_LV_329-7_0_5_node_105 | 0.4 | n |  | TRUE
62 | bus_LV_329-7_0_5_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_329-7_0_5_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_329-7_0_5_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_329-7_0_5_node_46 | 0.4 | n |  | TRUE
66 | bus_LV_329-7_0_5_node_47 | 0.4 | n |  | TRUE
67 | bus_LV_329-7_0_5_node_48 | 0.4 | n |  | TRUE
68 | bus_LV_329-7_0_5_node_49 | 0.4 | n |  | TRUE
69 | bus_LV_329-7_0_5_node_50 | 0.4 | n |  | TRUE
70 | bus_LV_329-7_0_5_node_51 | 0.4 | n |  | TRUE
71 | bus_LV_329-7_0_5_node_52 | 0.4 | n |  | TRUE
72 | bus_LV_329-7_0_5_node_53 | 0.4 | n |  | TRUE
73 | bus_LV_329-7_0_5_node_54 | 0.4 | n |  | TRUE
74 | bus_LV_329-7_0_5_node_55 | 0.4 | n |  | TRUE
75 | bus_LV_329-7_0_5_node_92 | 0.4 | n |  | TRUE
76 | bus_LV_329-7_0_5_node_58 | 0.4 | n |  | TRUE
77 | bus_LV_329-7_0_5_node_59 | 0.4 | n |  | TRUE
78 | bus_LV_329-7_0_5_node_60 | 0.4 | n |  | TRUE
79 | bus_LV_329-7_0_5_node_62 | 0.4 | n |  | TRUE
80 | bus_LV_329-7_0_5_node_86 | 0.4 | n |  | TRUE
81 | bus_LV_329-7_0_5_node_83 | 0.4 | n |  | TRUE
82 | bus_LV_329-7_0_5_node_114 | 0.4 | n |  | TRUE
83 | bus_LV_329-7_0_5_node_113 | 0.4 | n |  | TRUE
84 | bus_LV_329-7_0_5_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_329-7_0_5_node_65 | 0.4 | n |  | TRUE
86 | bus_LV_329-7_0_5_node_66 | 0.4 | n |  | TRUE
87 | bus_LV_329-7_0_5_node_67 | 0.4 | n |  | TRUE
88 | bus_LV_329-7_0_5_node_68 | 0.4 | n |  | TRUE
89 | bus_LV_329-7_0_5_node_69 | 0.4 | n |  | TRUE
90 | bus_LV_329-7_0_5_node_87 | 0.4 | n |  | TRUE
91 | bus_LV_329-7_0_5_node_73 | 0.4 | n |  | TRUE
92 | bus_LV_329-7_0_5_node_71 | 0.4 | n |  | TRUE
93 | bus_LV_329-7_0_5_node_74 | 0.4 | n |  | TRUE
94 | bus_LV_329-7_0_5_node_75 | 0.4 | n |  | TRUE
95 | bus_LV_329-7_0_5_node_76 | 0.4 | n |  | TRUE
96 | bus_LV_329-7_0_5_node_112 | 0.4 | n |  | TRUE
97 | bus_LV_329-7_0_5_node_81 | 0.4 | n |  | TRUE
98 | bus_LV_329-7_0_5_node_79 | 0.4 | n |  | TRUE
99 | bus_LV_329-7_0_5_node_77 | 0.4 | n |  | TRUE
100 | bus_LV_329-7_0_5_node_89 | 0.4 | n |  | TRUE
101 | bus_LV_329-7_0_5_node_84 | 0.4 | n |  | TRUE
102 | bus_LV_329-7_0_5_node_96 | 0.4 | n |  | TRUE
103 | bus_LV_329-7_0_5_node_97 | 0.4 | n |  | TRUE
104 | bus_LV_329-7_0_5_node_95 | 0.4 | n |  | TRUE
105 | bus_LV_329-7_0_5_node_100 | 0.4 | n |  | TRUE
106 | bus_LV_329-7_0_5_node_101 | 0.4 | n |  | TRUE
107 | bus_LV_329-7_0_5_node_111 | 0.4 | n |  | TRUE
108 | bus_LV_329-7_0_5_node_103 | 0.4 | n |  | TRUE
109 | bus_LV_329-7_0_5_node_104 | 0.4 | n |  | TRUE
110 | bus_LV_329-7_0_5_node_106 | 0.4 | n |  | TRUE
111 | bus_LV_329-7_0_5_node_116 | 0.4 | n |  | TRUE
112 | bus_LV_329-7_0_5_node_115 | 0.4 | n |  | TRUE
113 | bus_LV_329-7_0_5_node_117 | 0.4 | n |  | TRUE
114 | bus_LV_329-7_0_5_node_118 | 0.4 | n |  | TRUE
115 | bus_MV_481_1_node_139 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_329-7_0_5_load_0 | 0 | 0.025649 | 0.0064283 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_329-7_0_5_load_1 | 1 | 0.027325 | 0.0068483 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_329-7_0_5_load_3 | 5 | 0.090554 | 0.022695 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_329-7_0_5_load_56 | 6 | 0.0129 | 0.0032331 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_329-7_0_5_load_9 | 8 | 0.07941 | 0.019902 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_329-7_0_5_load_72 | 11 | 0.002823 | 0.0007075 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_329-7_0_5_load_90 | 12 | 0.044933 | 0.011261 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_329-7_0_5_load_91 | 13 | 0.0038153 | 0.00095619 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_329-7_0_5_load_64 | 15 | 0.019974 | 0.0050059 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_329-7_0_5_load_99 | 17 | 0.00072383 | 0.00018141 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_329-7_0_5_load_70 | 18 | 0.0022231 | 0.00055717 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_329-7_0_5_load_85 | 19 | 0.012709 | 0.0031853 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_329-7_0_5_load_98 | 20 | 0.013279 | 0.0033281 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_329-7_0_5_load_61 | 21 | 0.010005 | 0.0025075 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_329-7_0_5_load_12 | 22 | 0.0018261 | 0.00045767 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_329-7_0_5_load_13 | 23 | 0.0028336 | 0.00071017 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_329-7_0_5_load_17 | 26 | 0.0028079 | 0.00070372 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_329-7_0_5_load_109 | 27 | 0.001531 | 0.0003837 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_329-7_0_5_load_108 | 28 | 0.0047433 | 0.0011888 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_329-7_0_5_load_18 | 29 | 0.0031937 | 0.00080042 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_329-7_0_5_load_25 | 31 | 0.0010544 | 0.00026427 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_329-7_0_5_load_23 | 32 | 0.0019052 | 0.00047749 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_329-7_0_5_load_110 | 33 | 0.0064565 | 0.0016182 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_329-7_0_5_load_19 | 34 | 0.0019209 | 0.00048143 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_329-7_0_5_load_20 | 35 | 0.0018312 | 0.00045893 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_329-7_0_5_load_21 | 36 | 0.0018312 | 0.00045893 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_329-7_0_5_load_22 | 37 | 0.0037701 | 0.00094487 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_329-7_0_5_load_26 | 38 | 0.0012194 | 0.00030561 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_329-7_0_5_load_28 | 40 | 0.0014856 | 0.00037233 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_329-7_0_5_load_29 | 41 | 0.0014066 | 0.00035254 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_329-7_0_5_load_30 | 42 | 0.0026873 | 0.00067349 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_329-7_0_5_load_38 | 43 | 0.0011327 | 0.00028388 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_329-7_0_5_load_31 | 44 | 0.0012802 | 0.00032086 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_329-7_0_5_load_32 | 46 | 0.0012193 | 0.00030559 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_329-7_0_5_load_33 | 47 | 0.0012516 | 0.00031368 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_329-7_0_5_load_34 | 48 | 0.001219 | 0.00030552 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_329-7_0_5_load_35 | 49 | 0.0010816 | 0.00027108 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_329-7_0_5_load_36 | 50 | 0.0012206 | 0.00030592 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_329-7_0_5_load_37 | 51 | 0.0027052 | 0.00067798 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_329-7_0_5_load_41 | 53 | 0.0015572 | 0.00039028 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_329-7_0_5_load_107 | 55 | 0.0016285 | 0.00040813 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_329-7_0_5_load_42 | 56 | 0.0032346 | 0.00081066 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_329-7_0_5_load_93 | 57 | 0.0090244 | 0.0022617 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_329-7_0_5_load_78 | 60 | 0.00066095 | 0.00016565 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_329-7_0_5_load_105 | 61 | 0.00073228 | 0.00018353 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_329-7_0_5_load_43 | 62 | 0.00054434 | 0.00013642 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_329-7_0_5_load_44 | 63 | 0.0020806 | 0.00052144 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_329-7_0_5_load_45 | 64 | 0.00081195 | 0.00020349 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_329-7_0_5_load_46 | 65 | 0.0018152 | 0.00045493 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_329-7_0_5_load_47 | 66 | 0.00054413 | 0.00013637 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_329-7_0_5_load_48 | 67 | 0.0011321 | 0.00028373 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_329-7_0_5_load_49 | 68 | 0.00054361 | 0.00013624 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_329-7_0_5_load_50 | 69 | 0.0013942 | 0.00034942 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_329-7_0_5_load_51 | 70 | 0.00061954 | 0.00015527 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_329-7_0_5_load_52 | 71 | 0.0020043 | 0.00050231 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_329-7_0_5_load_53 | 72 | 0.0005441 | 0.00013637 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_329-7_0_5_load_55 | 74 | 0.0046935 | 0.0011763 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_329-7_0_5_load_92 | 75 | 0.0030384 | 0.0007615 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_329-7_0_5_load_58 | 76 | 0.041455 | 0.010389 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_329-7_0_5_load_59 | 77 | 0.013475 | 0.0033772 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_329-7_0_5_load_83 | 81 | 0.0071718 | 0.0017974 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_329-7_0_5_load_114 | 82 | 0.011371 | 0.0028499 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_329-7_0_5_load_113 | 83 | 0.0058192 | 0.0014584 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_329-7_0_5_load_82 | 84 | 0.0055135 | 0.0013818 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_329-7_0_5_load_65 | 85 | 0.0025724 | 0.00064471 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_329-7_0_5_load_66 | 86 | 0.002997 | 0.00075111 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_329-7_0_5_load_67 | 87 | 0.0029643 | 0.00074293 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_329-7_0_5_load_68 | 88 | 0.0031314 | 0.0007848 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_329-7_0_5_load_69 | 89 | 0.0032753 | 0.00082086 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_329-7_0_5_load_87 | 90 | 0.0039856 | 0.00099888 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_329-7_0_5_load_71 | 92 | 0.0022076 | 0.00055328 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_329-7_0_5_load_74 | 93 | 0.0021413 | 0.00053667 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_329-7_0_5_load_75 | 94 | 0.00078875 | 0.00019768 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_329-7_0_5_load_112 | 96 | 0.0005538 | 0.00013879 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_329-7_0_5_load_79 | 98 | 0.0020783 | 0.00052088 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_329-7_0_5_load_77 | 99 | 0.0011071 | 0.00027745 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_329-7_0_5_load_89 | 100 | 0.00092519 | 0.00023187 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_329-7_0_5_load_84 | 101 | 0.005148 | 0.0012902 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_329-7_0_5_load_97 | 103 | 0.00065175 | 0.00016334 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_329-7_0_5_load_95 | 104 | 0.00058536 | 0.0001467 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_329-7_0_5_load_111 | 107 | 0.0036475 | 0.00091416 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_329-7_0_5_load_103 | 108 | 0.00074266 | 0.00018613 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_329-7_0_5_load_104 | 109 | 0.0012325 | 0.0003089 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_329-7_0_5_load_106 | 110 | 0.00067027 | 0.00016799 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_329-7_0_5_load_116 | 111 | 0.00070375 | 0.00017638 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_329-7_0_5_load_115 | 112 | 0.00084239 | 0.00021112 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_329-7_0_5_load_118 | 114 | 0.0012095 | 0.00030313 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_329-7_0_5_line_0 |  | 0 | 1 | 0.0013511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_329-7_0_5_line_1 |  | 0 | 2 | 0.075977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_329-7_0_5_line_2 |  | 2 | 3 | 0.10725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_329-7_0_5_line_3 |  | 2 | 4 | 0.11582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_329-7_0_5_line_4 |  | 3 | 7 | 0.01504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_329-7_0_5_line_5 |  | 3 | 6 | 0.022015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_329-7_0_5_line_6 |  | 4 | 8 | 0.011477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_329-7_0_5_line_7 |  | 5 | 6 | 0.071787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_329-7_0_5_line_8 |  | 7 | 13 | 0.14145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_329-7_0_5_line_9 |  | 7 | 9 | 0.016195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_329-7_0_5_line_10 |  | 9 | 10 | 0.057348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_329-7_0_5_line_11 |  | 9 | 11 | 0.012344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_329-7_0_5_line_12 |  | 10 | 12 | 0.018701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_329-7_0_5_line_13 |  | 11 | 18 | 0.020366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_329-7_0_5_line_14 |  | 12 | 19 | 0.0023224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_329-7_0_5_line_15 |  | 13 | 75 | 0.11672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_329-7_0_5_line_16 |  | 14 | 15 | 0.0094416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_329-7_0_5_line_17 |  | 14 | 16 | 0.005424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_329-7_0_5_line_18 |  | 15 | 21 | 0.08426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_329-7_0_5_line_19 |  | 16 | 17 | 0.061594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_329-7_0_5_line_20 |  | 17 | 20 | 0.010163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_329-7_0_5_line_21 |  | 18 | 92 | 0.017256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_329-7_0_5_line_22 |  | 19 | 101 | 0.031606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_329-7_0_5_line_23 |  | 20 | 105 | 0.0098651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_329-7_0_5_line_24 |  | 21 | 77 | 0.035869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_329-7_0_5_line_25 |  | 22 | 23 | 0.020177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_329-7_0_5_line_26 |  | 22 | 24 | 0.015926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_329-7_0_5_line_27 |  | 24 | 25 | 0.027051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_329-7_0_5_line_28 |  | 24 | 26 | 0.017965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_329-7_0_5_line_29 |  | 25 | 27 | 0.01236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_329-7_0_5_line_30 |  | 25 | 28 | 0.044045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_329-7_0_5_line_31 |  | 26 | 29 | 0.00040005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_329-7_0_5_line_32 |  | 27 | 33 | 0.020383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_329-7_0_5_line_33 |  | 29 | 34 | 0.014695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_329-7_0_5_line_34 |  | 30 | 31 | 0.028458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_329-7_0_5_line_35 |  | 30 | 32 | 0.022626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_329-7_0_5_line_36 |  | 31 | 38 | 0.025333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_329-7_0_5_line_37 |  | 32 | 37 | 0.0034671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_329-7_0_5_line_38 |  | 34 | 35 | 0.0053083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_329-7_0_5_line_39 |  | 35 | 36 | 0.0051796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_329-7_0_5_line_40 |  | 36 | 37 | 0.001819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_329-7_0_5_line_41 |  | 38 | 39 | 0.019938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_329-7_0_5_line_42 |  | 39 | 40 | 0.022399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_329-7_0_5_line_43 |  | 39 | 41 | 0.017339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_329-7_0_5_line_44 |  | 40 | 42 | 0.013731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_329-7_0_5_line_45 |  | 41 | 43 | 0.021905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_329-7_0_5_line_46 |  | 42 | 44 | 0.0056248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_329-7_0_5_line_47 |  | 43 | 45 | 0.041701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_329-7_0_5_line_48 |  | 44 | 46 | 0.015072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_329-7_0_5_line_49 |  | 45 | 52 | 0.04507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_329-7_0_5_line_50 |  | 45 | 53 | 0.022871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_329-7_0_5_line_51 |  | 46 | 47 | 0.0061706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_329-7_0_5_line_52 |  | 47 | 48 | 0.014045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_329-7_0_5_line_53 |  | 48 | 49 | 0.0079667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_329-7_0_5_line_54 |  | 49 | 50 | 0.010402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_329-7_0_5_line_55 |  | 50 | 51 | 0.0072112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_329-7_0_5_line_56 |  | 52 | 54 | 0.22651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_329-7_0_5_line_57 |  | 52 | 55 | 0.014636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_329-7_0_5_line_58 |  | 53 | 56 | 0.00019257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_329-7_0_5_line_59 |  | 54 | 57 | 0.14406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_329-7_0_5_line_60 |  | 55 | 61 | 0.022896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_329-7_0_5_line_61 |  | 56 | 62 | 0.016394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_329-7_0_5_line_62 |  | 57 | 75 | 0.057049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_329-7_0_5_line_63 |  | 58 | 59 | 0.052694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_329-7_0_5_line_64 |  | 58 | 60 | 0.034796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_329-7_0_5_line_65 |  | 59 | 100 | 0.012341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_329-7_0_5_line_66 |  | 59 | 90 | 0.017061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_329-7_0_5_line_67 |  | 60 | 99 | 0.024519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_329-7_0_5_line_68 |  | 61 | 108 | 0.00082559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_329-7_0_5_line_69 |  | 62 | 63 | 0.0084106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_329-7_0_5_line_70 |  | 63 | 64 | 0.0087397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_329-7_0_5_line_71 |  | 64 | 65 | 0.011072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_329-7_0_5_line_72 |  | 65 | 66 | 0.0067592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_329-7_0_5_line_73 |  | 66 | 67 | 0.010779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_329-7_0_5_line_74 |  | 67 | 68 | 0.0067653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_329-7_0_5_line_75 |  | 68 | 69 | 0.012243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_329-7_0_5_line_76 |  | 69 | 70 | 0.005569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_329-7_0_5_line_77 |  | 70 | 71 | 0.016879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_329-7_0_5_line_78 |  | 71 | 72 | 0.00029049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_329-7_0_5_line_79 |  | 72 | 73 | 0.014593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_329-7_0_5_line_80 |  | 73 | 74 | 0.025746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_329-7_0_5_line_81 |  | 76 | 77 | 0.0070961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_329-7_0_5_line_82 |  | 76 | 78 | 0.031056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_329-7_0_5_line_83 |  | 78 | 79 | 0.009484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_329-7_0_5_line_84 |  | 79 | 80 | 0.007449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_329-7_0_5_line_85 |  | 79 | 81 | 0.0090621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_329-7_0_5_line_86 |  | 80 | 82 | 0.032973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_329-7_0_5_line_87 |  | 80 | 83 | 0.017223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_329-7_0_5_line_88 |  | 81 | 84 | 0.025067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_329-7_0_5_line_89 |  | 84 | 101 | 0.0082672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_329-7_0_5_line_90 |  | 85 | 86 | 0.0085981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_329-7_0_5_line_91 |  | 85 | 87 | 0.00053946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_329-7_0_5_line_92 |  | 86 | 88 | 0.014464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_329-7_0_5_line_93 |  | 87 | 89 | 0.018084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_329-7_0_5_line_94 |  | 88 | 90 | 0.0053549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_329-7_0_5_line_95 |  | 89 | 91 | 0.02413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_329-7_0_5_line_96 |  | 91 | 92 | 0.013028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_329-7_0_5_line_97 |  | 93 | 94 | 0.039668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_329-7_0_5_line_98 |  | 94 | 95 | 0.022746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_329-7_0_5_line_99 |  | 95 | 96 | 0.012346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_329-7_0_5_line_100 |  | 95 | 97 | 0.031317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_329-7_0_5_line_101 |  | 97 | 98 | 0.016125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_329-7_0_5_line_102 |  | 98 | 99 | 0.00057539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_329-7_0_5_line_103 |  | 100 | 102 | 0.013996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_329-7_0_5_line_104 |  | 102 | 103 | 0.015102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_329-7_0_5_line_105 |  | 102 | 104 | 0.0049483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_329-7_0_5_line_106 |  | 105 | 106 | 0.015847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_329-7_0_5_line_107 |  | 106 | 107 | 0.052059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_329-7_0_5_line_108 |  | 108 | 109 | 0.019198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_329-7_0_5_line_109 |  | 109 | 110 | 0.017181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_329-7_0_5_line_110 |  | 110 | 111 | 0.029589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_329-7_0_5_line_111 |  | 111 | 112 | 0.011793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_329-7_0_5_line_112 |  | 112 | 113 | 0.032042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_329-7_0_5_line_113 |  | 113 | 114 | 0.020673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_329-7_0_5_trafo_56 | 0.63 MVA 20/0.4 kV | 115 | 6 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2624941.3598 | 1229473.0785 | 2624941.4616 | 1229471.7313
1 | 2624935.6345 | 1229548.8396 | 2624941.3598 | 1229473.0785
2 | 2624935.6345 | 1229548.8396 | 2624984.5843 | 1229552.4802 | 2624992.5356 | 1229553.0694 | 2625016.4709 | 1229557.1056 | 2625037.3328 | 1229562.452 | 2625041.1262 | 1229564.647
3 | 2624820.1281 | 1229540.2634 | 2624837.6211 | 1229541.5593 | 2624846.4433 | 1229542.2187 | 2624868.7751 | 1229543.8795 | 2624872.5161 | 1229544.1508 | 2624912.2273 | 1229547.1074 | 2624935.6345 | 1229548.8396
4 | 2625049.4258 | 1229576.0777 | 2625046.5972 | 1229567.8164 | 2625041.1262 | 1229564.647
5 | 2625041.1262 | 1229564.647 | 2625043.1518 | 1229545.9109 | 2625044.5418 | 1229543.0626
6 | 2624820.1281 | 1229540.2634 | 2624808.6825 | 1229539.4141
7 | 2625044.5418 | 1229543.0626 | 2625054.2082 | 1229523.2548 | 2625060.9622 | 1229509.5639 | 2625064.435 | 1229475.2587
8 | 2625049.4258 | 1229576.0777 | 2625059.2476 | 1229555.1953 | 2625089.0627 | 1229499.4983 | 2625094.0721 | 1229482.7871 | 2625095.0032 | 1229463.1569 | 2625090.5699 | 1229445.6055 | 2625090.5699 | 1229445.6055
9 | 2625049.4258 | 1229576.0777 | 2625051.6384 | 1229592.1189
10 | 2625051.6384 | 1229592.1189 | 2625064.9369 | 1229621.6815 | 2625068.9053 | 1229630.8926 | 2625071.2569 | 1229630.0909 | 2625073.742 | 1229629.9568 | 2625076.1714 | 1229630.4896 | 2625078.3708 | 1229631.644 | 2625080.1741 | 1229633.3415 | 2625081.468 | 1229635.4593
11 | 2625051.6384 | 1229592.1189 | 2625058.5009 | 1229581.8581
12 | 2625081.468 | 1229635.4593 | 2625089.6654 | 1229631.5581 | 2625098.4706 | 1229627.6768
13 | 2625069.8228 | 1229564.9296 | 2625058.5009 | 1229581.8581
14 | 2625098.4706 | 1229627.6768 | 2625100.5956 | 1229626.7401
15 | 2625090.5699 | 1229445.6055 | 2625086.5265 | 1229436.205 | 2625079.2793 | 1229426.6799 | 2625055.8356 | 1229399.2981 | 2625114.0546 | 1229404.731
16 | 2625118.6358 | 1229706.0807 | 2625127.3321 | 1229702.404
17 | 2625118.6358 | 1229706.0807 | 2625122.8024 | 1229709.567
18 | 2625189.0472 | 1229669.3632 | 2625157.2217 | 1229682.8516 | 2625160.1439 | 1229695.8162 | 2625135.7588 | 1229706.9756 | 2625127.3321 | 1229702.404
19 | 2625122.8024 | 1229709.567 | 2625150.5872 | 1229732.8315 | 2625170.0211 | 1229749.1179
20 | 2625177.8108 | 1229755.6459 | 2625170.0211 | 1229749.1179
21 | 2625069.8228 | 1229564.9296 | 2625079.4158 | 1229550.5861
22 | 2625129.5168 | 1229613.9916 | 2625100.5956 | 1229626.7401
23 | 2625185.2849 | 1229762.0846 | 2625178.4546 | 1229756.1855 | 2625177.8108 | 1229755.6459
24 | 2625186.7526 | 1229640.8075 | 2625197.0385 | 1229665.9763 | 2625189.0472 | 1229669.3632
25 | 2625058.8151 | 1229233.7123 | 2625039.5237 | 1229227.8015
26 | 2625074.0421 | 1229238.3779 | 2625058.8151 | 1229233.7123
27 | 2625074.0421 | 1229238.3779 | 2625075.4716 | 1229224.52 | 2625075.0802 | 1229222.1058 | 2625076.9152 | 1229216.2989 | 2625078.2821 | 1229211.9242
28 | 2625074.0421 | 1229238.3779 | 2625073.2886 | 1229256.3266
29 | 2625078.2821 | 1229211.9242 | 2625066.4363 | 1229208.3966
30 | 2625078.2821 | 1229211.9242 | 2625084.6533 | 1229193.8624 | 2625086.2897 | 1229188.4549 | 2625067.7804 | 1229183.1916
31 | 2625073.2718 | 1229256.7263 | 2625073.2886 | 1229256.3266
32 | 2625046.9007 | 1229202.579 | 2625066.4363 | 1229208.3966
33 | 2625073.2718 | 1229256.7263 | 2625072.6554 | 1229271.4086
34 | 2625071.0447 | 1229309.7749 | 2625099.3229 | 1229312.9666
35 | 2625071.0447 | 1229309.7749 | 2625071.9937 | 1229287.1687
36 | 2625099.3229 | 1229312.9666 | 2625124.4962 | 1229315.8078
37 | 2625072.1392 | 1229283.7046 | 2625071.9937 | 1229287.1687
38 | 2625072.4327 | 1229276.7122 | 2625072.6554 | 1229271.4086
39 | 2625072.4327 | 1229276.7122 | 2625072.2155 | 1229281.8873
40 | 2625072.1392 | 1229283.7046 | 2625072.2155 | 1229281.8873
41 | 2625144.3089 | 1229318.0441 | 2625124.4962 | 1229315.8078
42 | 2625144.3089 | 1229318.0441 | 2625138.9112 | 1229296.3055
43 | 2625144.3089 | 1229318.0441 | 2625161.52 | 1229320.1459
44 | 2625135.6022 | 1229282.9791 | 2625138.9112 | 1229296.3055
45 | 2625161.52 | 1229320.1459 | 2625183.2637 | 1229322.8012
46 | 2625135.6022 | 1229282.9791 | 2625134.2468 | 1229277.5201
47 | 2625224.6568 | 1229327.8562 | 2625183.2637 | 1229322.8012
48 | 2625130.6146 | 1229262.8921 | 2625134.2468 | 1229277.5201
49 | 2625224.6568 | 1229327.8562 | 2625269.4154 | 1229334.1607
50 | 2625224.6568 | 1229327.8562 | 2625218.7052 | 1229305.7727
51 | 2625130.6146 | 1229262.8921 | 2625129.1276 | 1229256.9034
52 | 2625125.7431 | 1229243.2727 | 2625129.1276 | 1229256.9034
53 | 2625125.7431 | 1229243.2727 | 2625123.8233 | 1229235.5408
54 | 2625121.3165 | 1229225.4452 | 2625123.8233 | 1229235.5408
55 | 2625119.5788 | 1229218.4465 | 2625121.3165 | 1229225.4452
56 | 2625303.7319 | 1229403.6259 | 2625355.0967 | 1229406.079 | 2625357.8331 | 1229393.2051 | 2625358.8618 | 1229379.3456 | 2625362.3794 | 1229343.1387 | 2625362.5158 | 1229339.5705 | 2625363.023 | 1229332.5351 | 2625340.8996 | 1229335.1314 | 2625339.4945 | 1229343.108 | 2625331.9081 | 1229342.153 | 2625269.4154 | 1229334.1607
57 | 2625269.4154 | 1229334.1607 | 2625269.8192 | 1229319.5299
58 | 2625218.6551 | 1229305.5868 | 2625218.7052 | 1229305.7727
59 | 2625303.7319 | 1229403.6259 | 2625301.834 | 1229397.4697 | 2625301.0981 | 1229395.9323 | 2625299.8919 | 1229394.5597 | 2625298.706 | 1229393.7653 | 2625291.2516 | 1229390.276 | 2625289.232 | 1229389.567 | 2625286.7865 | 1229389.2564 | 2625233.2778 | 1229386.7948 | 2625230.3461 | 1229386.8269 | 2625227.5941 | 1229387.3266 | 2625215.1891 | 1229390.1425 | 2625212.7249 | 1229390.6657 | 2625209.8836 | 1229390.8204 | 2625204.4517 | 1229390.9198 | 2625196.4109 | 1229391.7418 | 2625190.0879 | 1229392.9714 | 2625184.1932 | 1229395.0366 | 2625178.0679 | 1229397.8902 | 2625171.4838 | 1229401.7758 | 2625169.899 | 1229402.7058
60 | 2625269.8192 | 1229319.5299 | 2625270.451 | 1229296.6422
61 | 2625218.6551 | 1229305.5868 | 2625214.3889 | 1229289.7571
62 | 2625114.0546 | 1229404.731 | 2625149.2923 | 1229408.0193 | 2625155.36 | 1229408.0226 | 2625161.2062 | 1229406.6798 | 2625166.5552 | 1229404.6679 | 2625169.899 | 1229402.7058
63 | 2625167.4748 | 1229504.354 | 2625215.8033 | 1229483.0344
64 | 2625215.8033 | 1229483.0344 | 2625201.6342 | 1229451.2535
65 | 2625167.4748 | 1229504.354 | 2625162.4324 | 1229493.0905
66 | 2625167.4748 | 1229504.354 | 2625151.8478 | 1229511.1997
67 | 2625191.65 | 1229428.8593 | 2625201.6342 | 1229451.2535
68 | 2625270.4738 | 1229295.8169 | 2625270.451 | 1229296.6422
69 | 2625212.2003 | 1229281.6363 | 2625214.3889 | 1229289.7571
70 | 2625212.2003 | 1229281.6363 | 2625209.9261 | 1229273.1976
71 | 2625207.0448 | 1229262.5067 | 2625209.9261 | 1229273.1976
72 | 2625207.0448 | 1229262.5067 | 2625205.286 | 1229255.9804
73 | 2625202.481 | 1229245.5725 | 2625205.286 | 1229255.9804
74 | 2625202.481 | 1229245.5725 | 2625200.7205 | 1229239.0403
75 | 2625197.5346 | 1229227.2187 | 2625200.7205 | 1229239.0403
76 | 2625197.5346 | 1229227.2187 | 2625196.0854 | 1229221.8416
77 | 2625191.6932 | 1229205.5443 | 2625196.0854 | 1229221.8416
78 | 2625191.6176 | 1229205.2638 | 2625191.6932 | 1229205.5443
79 | 2625187.8203 | 1229191.1737 | 2625191.6176 | 1229205.2638
80 | 2625187.8203 | 1229191.1737 | 2625162.1357 | 1229193.8223
81 | 2625184.0681 | 1229634.2387 | 2625186.7526 | 1229640.8075
82 | 2625172.3197 | 1229605.491 | 2625184.0681 | 1229634.2387
83 | 2625168.311 | 1229596.8911 | 2625172.3197 | 1229605.491
84 | 2625168.311 | 1229596.8911 | 2625175.1562 | 1229593.9071
85 | 2625168.311 | 1229596.8911 | 2625160.0187 | 1229600.5463
86 | 2625175.1562 | 1229593.9071 | 2625162.3997 | 1229563.4904
87 | 2625175.1562 | 1229593.9071 | 2625190.9474 | 1229587.0329
88 | 2625137.0817 | 1229610.657 | 2625160.0187 | 1229600.5463
89 | 2625137.0817 | 1229610.657 | 2625129.5168 | 1229613.9916
90 | 2625125.8191 | 1229522.6019 | 2625133.6947 | 1229519.1519
91 | 2625125.325 | 1229522.8184 | 2625125.8191 | 1229522.6019
92 | 2625133.6947 | 1229519.1519 | 2625146.9428 | 1229513.3484
93 | 2625108.7605 | 1229530.0747 | 2625125.325 | 1229522.8184
94 | 2625151.8478 | 1229511.1997 | 2625146.9428 | 1229513.3484
95 | 2625086.6585 | 1229539.7568 | 2625108.7605 | 1229530.0747
96 | 2625086.6585 | 1229539.7568 | 2625079.4158 | 1229550.5861
97 | 2625125.7949 | 1229481.6309 | 2625147.9498 | 1229448.7263
98 | 2625160.6538 | 1229429.8581 | 2625147.9498 | 1229448.7263
99 | 2625165.7726 | 1229441.0976 | 2625160.6538 | 1229429.8581
100 | 2625160.6538 | 1229429.8581 | 2625174.9705 | 1229413.8312 | 2625184.8495 | 1229413.6061
101 | 2625184.8495 | 1229413.6061 | 2625191.4157 | 1229428.3337
102 | 2625191.65 | 1229428.8593 | 2625191.4157 | 1229428.3337
103 | 2625156.7137 | 1229480.3163 | 2625162.4324 | 1229493.0905
104 | 2625170.5491 | 1229474.1711 | 2625156.7137 | 1229480.3163
105 | 2625156.7137 | 1229480.3163 | 2625154.8231 | 1229475.7434
106 | 2625185.2849 | 1229762.0846 | 2625197.0869 | 1229772.6964
107 | 2625197.0869 | 1229772.6964 | 2625236.5598 | 1229806.6378
108 | 2625270.4738 | 1229295.8169 | 2625271.0035 | 1229276.6262
109 | 2625271.0035 | 1229276.6262 | 2625271.4776 | 1229259.4513
110 | 2625271.4776 | 1229259.4513 | 2625271.6084 | 1229254.711 | 2625271.3066 | 1229252.653 | 2625270.5412 | 1229250.9376 | 2625269.6821 | 1229249.8666 | 2625268.5655 | 1229248.7946 | 2625266.7894 | 1229247.8198 | 2625265.1095 | 1229247.3791 | 2625254.9454 | 1229246.8912 | 2625252.8486 | 1229246.5155 | 2625251.2393 | 1229245.508
111 | 2625248.5218 | 1229234.6482 | 2625248.4195 | 1229238.7587 | 2625248.4994 | 1229241.3606 | 2625249.0306 | 1229242.9193 | 2625249.9564 | 1229244.3463 | 2625251.2393 | 1229245.508 | 2625251.2393 | 1229245.508
112 | 2625252.0157 | 1229203.5305 | 2625250.3956 | 1229205.069 | 2625249.5088 | 1229206.9664 | 2625249.1409 | 1229209.7665 | 2625248.5218 | 1229234.6482
113 | 2625252.0157 | 1229203.5305 | 2625231.3504 | 1229202.9749

## bus_geodata
| x | y | coords
0 | 2624941.3598 | 1229473.0785
1 | 2624941.4616 | 1229471.7313
2 | 2624935.6345 | 1229548.8396
3 | 2625041.1262 | 1229564.647
4 | 2624820.1281 | 1229540.2634
5 | 2625064.435 | 1229475.2587
6 | 2625044.5418 | 1229543.0626
7 | 2625049.4258 | 1229576.0777
8 | 2624808.6825 | 1229539.4141
9 | 2625051.6384 | 1229592.1189
10 | 2625081.468 | 1229635.4593
11 | 2625058.5009 | 1229581.8581
12 | 2625098.4706 | 1229627.6768
13 | 2625090.5699 | 1229445.6055
14 | 2625118.6358 | 1229706.0807
15 | 2625127.3321 | 1229702.404
16 | 2625122.8024 | 1229709.567
17 | 2625170.0211 | 1229749.1179
18 | 2625069.8228 | 1229564.9296
19 | 2625100.5956 | 1229626.7401
20 | 2625177.8108 | 1229755.6459
21 | 2625189.0472 | 1229669.3632
22 | 2625058.8151 | 1229233.7123
23 | 2625039.5237 | 1229227.8015
24 | 2625074.0421 | 1229238.3779
25 | 2625078.2821 | 1229211.9242
26 | 2625073.2886 | 1229256.3266
27 | 2625066.4363 | 1229208.3966
28 | 2625067.7804 | 1229183.1916
29 | 2625073.2718 | 1229256.7263
30 | 2625071.0447 | 1229309.7749
31 | 2625099.3229 | 1229312.9666
32 | 2625071.9937 | 1229287.1687
33 | 2625046.9007 | 1229202.579
34 | 2625072.6554 | 1229271.4086
35 | 2625072.4327 | 1229276.7122
36 | 2625072.2155 | 1229281.8873
37 | 2625072.1392 | 1229283.7046
38 | 2625124.4962 | 1229315.8078
39 | 2625144.3089 | 1229318.0441
40 | 2625138.9112 | 1229296.3055
41 | 2625161.52 | 1229320.1459
42 | 2625135.6022 | 1229282.9791
43 | 2625183.2637 | 1229322.8012
44 | 2625134.2468 | 1229277.5201
45 | 2625224.6568 | 1229327.8562
46 | 2625130.6146 | 1229262.8921
47 | 2625129.1276 | 1229256.9034
48 | 2625125.7431 | 1229243.2727
49 | 2625123.8233 | 1229235.5408
50 | 2625121.3165 | 1229225.4452
51 | 2625119.5788 | 1229218.4465
52 | 2625269.4154 | 1229334.1607
53 | 2625218.7052 | 1229305.7727
54 | 2625303.7319 | 1229403.6259
55 | 2625269.8192 | 1229319.5299
56 | 2625218.6551 | 1229305.5868
57 | 2625169.899 | 1229402.7058
58 | 2625215.8033 | 1229483.0344
59 | 2625167.4748 | 1229504.354
60 | 2625201.6342 | 1229451.2535
61 | 2625270.451 | 1229296.6422
62 | 2625214.3889 | 1229289.7571
63 | 2625212.2003 | 1229281.6363
64 | 2625209.9261 | 1229273.1976
65 | 2625207.0448 | 1229262.5067
66 | 2625205.286 | 1229255.9804
67 | 2625202.481 | 1229245.5725
68 | 2625200.7205 | 1229239.0403
69 | 2625197.5346 | 1229227.2187
70 | 2625196.0854 | 1229221.8416
71 | 2625191.6932 | 1229205.5443
72 | 2625191.6176 | 1229205.2638
73 | 2625187.8203 | 1229191.1737
74 | 2625162.1357 | 1229193.8223
75 | 2625114.0546 | 1229404.731
76 | 2625184.0681 | 1229634.2387
77 | 2625186.7526 | 1229640.8075
78 | 2625172.3197 | 1229605.491
79 | 2625168.311 | 1229596.8911
80 | 2625175.1562 | 1229593.9071
81 | 2625160.0187 | 1229600.5463
82 | 2625162.3997 | 1229563.4904
83 | 2625190.9474 | 1229587.0329
84 | 2625137.0817 | 1229610.657
85 | 2625125.8191 | 1229522.6019
86 | 2625133.6947 | 1229519.1519
87 | 2625125.325 | 1229522.8184
88 | 2625146.9428 | 1229513.3484
89 | 2625108.7605 | 1229530.0747
90 | 2625151.8478 | 1229511.1997
91 | 2625086.6585 | 1229539.7568
92 | 2625079.4158 | 1229550.5861
93 | 2625125.7949 | 1229481.6309
94 | 2625147.9498 | 1229448.7263
95 | 2625160.6538 | 1229429.8581
96 | 2625165.7726 | 1229441.0976
97 | 2625184.8495 | 1229413.6061
98 | 2625191.4157 | 1229428.3337
99 | 2625191.65 | 1229428.8593
100 | 2625162.4324 | 1229493.0905
101 | 2625129.5168 | 1229613.9916
102 | 2625156.7137 | 1229480.3163
103 | 2625170.5491 | 1229474.1711
104 | 2625154.8231 | 1229475.7434
105 | 2625185.2849 | 1229762.0846
106 | 2625197.0869 | 1229772.6964
107 | 2625236.5598 | 1229806.6378
108 | 2625270.4738 | 1229295.8169
109 | 2625271.0035 | 1229276.6262
110 | 2625271.4776 | 1229259.4513
111 | 2625251.2393 | 1229245.508
112 | 2625248.5218 | 1229234.6482
113 | 2625252.0157 | 1229203.5305
114 | 2625231.3504 | 1229202.9749
115 | 2625041.1262 | 1229564.647

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1