## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_331-2_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_331-2_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_331-2_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_331-2_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_331-2_0_5_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_331-2_0_5_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_331-2_0_5_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_331-2_0_5_node_28 | 0.4 | n |  | TRUE
8 | bus_LV_331-2_0_5_node_25 | 0.4 | n |  | TRUE
9 | bus_LV_331-2_0_5_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_331-2_0_5_node_31 | 0.4 | n |  | TRUE
11 | bus_LV_331-2_0_5_node_29 | 0.4 | n |  | TRUE
12 | bus_LV_331-2_0_5_node_62 | 0.4 | n |  | TRUE
13 | bus_LV_331-2_0_5_node_30 | 0.4 | n |  | TRUE
14 | bus_LV_331-2_0_5_node_79 | 0.4 | n |  | TRUE
15 | bus_LV_331-2_0_5_node_47 | 0.4 | n |  | TRUE
16 | bus_LV_331-2_0_5_node_80 | 0.4 | n |  | TRUE
17 | bus_LV_331-2_0_5_node_26 | 0.4 | n |  | TRUE
18 | bus_LV_331-2_0_5_node_65 | 0.4 | n |  | TRUE
19 | bus_LV_331-2_0_5_node_63 | 0.4 | n |  | TRUE
20 | bus_LV_331-2_0_5_node_56 | 0.4 | n |  | TRUE
21 | bus_LV_331-2_0_5_node_8 | 0.4 | n |  | TRUE
22 | bus_LV_331-2_0_5_node_9 | 0.4 | n |  | TRUE
23 | bus_LV_331-2_0_5_node_10 | 0.4 | n |  | TRUE
24 | bus_LV_331-2_0_5_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_331-2_0_5_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_331-2_0_5_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_331-2_0_5_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_331-2_0_5_node_37 | 0.4 | n |  | TRUE
29 | bus_LV_331-2_0_5_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_331-2_0_5_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_331-2_0_5_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_331-2_0_5_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_331-2_0_5_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_331-2_0_5_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_331-2_0_5_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_331-2_0_5_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_331-2_0_5_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_331-2_0_5_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_331-2_0_5_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_331-2_0_5_node_50 | 0.4 | n |  | TRUE
41 | bus_LV_331-2_0_5_node_49 | 0.4 | n |  | TRUE
42 | bus_LV_331-2_0_5_node_46 | 0.4 | n |  | TRUE
43 | bus_LV_331-2_0_5_node_71 | 0.4 | n |  | TRUE
44 | bus_LV_331-2_0_5_node_64 | 0.4 | n |  | TRUE
45 | bus_LV_331-2_0_5_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_331-2_0_5_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_331-2_0_5_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_331-2_0_5_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_331-2_0_5_node_83 | 0.4 | n |  | TRUE
50 | bus_LV_331-2_0_5_node_84 | 0.4 | n |  | TRUE
51 | bus_LV_331-2_0_5_node_85 | 0.4 | n |  | TRUE
52 | bus_LV_331-2_0_5_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_331-2_0_5_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_331-2_0_5_node_76 | 0.4 | n |  | TRUE
55 | bus_LV_331-2_0_5_node_77 | 0.4 | n |  | TRUE
56 | bus_LV_331-2_0_5_node_75 | 0.4 | n |  | TRUE
57 | bus_LV_331-2_0_5_node_74 | 0.4 | n |  | TRUE
58 | bus_LV_331-2_0_5_node_82 | 0.4 | n |  | TRUE
59 | bus_LV_331-2_0_5_node_73 | 0.4 | n |  | TRUE
60 | bus_LV_331-2_0_5_node_41 | 0.4 | n |  | TRUE
61 | bus_LV_331-2_0_5_node_42 | 0.4 | n |  | TRUE
62 | bus_LV_331-2_0_5_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_331-2_0_5_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_331-2_0_5_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_331-2_0_5_node_48 | 0.4 | n |  | TRUE
66 | bus_LV_331-2_0_5_node_81 | 0.4 | n |  | TRUE
67 | bus_LV_331-2_0_5_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_331-2_0_5_node_52 | 0.4 | n |  | TRUE
69 | bus_LV_331-2_0_5_node_53 | 0.4 | n |  | TRUE
70 | bus_LV_331-2_0_5_node_54 | 0.4 | n |  | TRUE
71 | bus_LV_331-2_0_5_node_55 | 0.4 | n |  | TRUE
72 | bus_LV_331-2_0_5_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_331-2_0_5_node_57 | 0.4 | n |  | TRUE
74 | bus_LV_331-2_0_5_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_331-2_0_5_node_60 | 0.4 | n |  | TRUE
76 | bus_LV_331-2_0_5_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_331-2_0_5_node_66 | 0.4 | n |  | TRUE
78 | bus_LV_331-2_0_5_node_67 | 0.4 | n |  | TRUE
79 | bus_LV_331-2_0_5_node_69 | 0.4 | n |  | TRUE
80 | bus_LV_331-2_0_5_node_70 | 0.4 | n |  | TRUE
81 | bus_LV_331-2_0_5_node_86 | 0.4 | n |  | TRUE
82 | bus_MV_476_0_node_137 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_331-2_0_5_load_0 | 0 | 0.014108 | 0.0035358 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_331-2_0_5_load_5 | 4 | 0.0049459 | 0.0012396 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_331-2_0_5_load_6 | 5 | 0.0017252 | 0.00043237 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_331-2_0_5_load_7 | 6 | 0.0014421 | 0.00036142 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_331-2_0_5_load_25 | 8 | 0.0065612 | 0.0016444 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_331-2_0_5_load_29 | 11 | 0.0080831 | 0.0020258 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_331-2_0_5_load_62 | 12 | 0.003787 | 0.00094911 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_331-2_0_5_load_30 | 13 | 0.0017248 | 0.00043228 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_331-2_0_5_load_79 | 14 | 0.0021093 | 0.00052864 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_331-2_0_5_load_80 | 16 | 0.0018118 | 0.00045407 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_331-2_0_5_load_26 | 17 | 0.0012639 | 0.00031676 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_331-2_0_5_load_65 | 18 | 0.014226 | 0.0035653 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_331-2_0_5_load_63 | 19 | 0.0042209 | 0.0010579 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_331-2_0_5_load_56 | 20 | 0.0044875 | 0.0011247 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_331-2_0_5_load_8 | 21 | 0.0050886 | 0.0012753 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_331-2_0_5_load_9 | 22 | 0.0018222 | 0.00045668 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_331-2_0_5_load_11 | 24 | 0.0033397 | 0.00083701 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_331-2_0_5_load_12 | 25 | 0.0014334 | 0.00035924 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_331-2_0_5_load_13 | 26 | 0.0082464 | 0.0020667 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_331-2_0_5_load_14 | 27 | 0.0043722 | 0.0010958 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_331-2_0_5_load_37 | 28 | 0.019646 | 0.0049238 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_331-2_0_5_load_15 | 29 | 0.0043086 | 0.0010798 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_331-2_0_5_load_16 | 31 | 0.00078674 | 0.00019718 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_331-2_0_5_load_18 | 33 | 0.0033822 | 0.00084766 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_331-2_0_5_load_19 | 34 | 0.0013144 | 0.00032943 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_331-2_0_5_load_20 | 35 | 0.0048696 | 0.0012204 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_331-2_0_5_load_22 | 36 | 0.0010218 | 0.00025609 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_331-2_0_5_load_21 | 37 | 0.0015474 | 0.00038782 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_331-2_0_5_load_23 | 38 | 0.0066668 | 0.0016709 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_331-2_0_5_load_27 | 39 | 0.0091467 | 0.0022924 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_331-2_0_5_load_50 | 40 | 0.030449 | 0.0076312 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_331-2_0_5_load_49 | 41 | 0.013211 | 0.0033109 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_331-2_0_5_load_46 | 42 | 0.0019479 | 0.0004882 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_331-2_0_5_load_64 | 44 | 0.0057518 | 0.0014415 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_331-2_0_5_load_32 | 45 | 0.010746 | 0.0026931 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_331-2_0_5_load_33 | 46 | 0.012359 | 0.0030975 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_331-2_0_5_load_36 | 48 | 0.0061127 | 0.001532 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_331-2_0_5_load_83 | 49 | 0.012332 | 0.0030907 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_331-2_0_5_load_84 | 50 | 0.0082506 | 0.0020678 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_331-2_0_5_load_85 | 51 | 0.008256 | 0.0020691 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_331-2_0_5_load_38 | 52 | 0.002511 | 0.00062931 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_331-2_0_5_load_76 | 54 | 0.0029567 | 0.00074102 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_331-2_0_5_load_77 | 55 | 0.0041398 | 0.0010375 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_331-2_0_5_load_75 | 56 | 0.0031981 | 0.00080152 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_331-2_0_5_load_82 | 58 | 0.0054292 | 0.0013607 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_331-2_0_5_load_41 | 60 | 0.0031943 | 0.00080057 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_331-2_0_5_load_42 | 61 | 0.046638 | 0.011689 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_331-2_0_5_load_44 | 63 | 0.0076658 | 0.0019212 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_331-2_0_5_load_48 | 65 | 0.0024614 | 0.00061689 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_331-2_0_5_load_81 | 66 | 0.0029332 | 0.00073512 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_331-2_0_5_load_51 | 67 | 0.022043 | 0.0055245 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_331-2_0_5_load_52 | 68 | 0.0045845 | 0.001149 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_331-2_0_5_load_53 | 69 | 0.0012043 | 0.00030183 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_331-2_0_5_load_54 | 70 | 0.0090771 | 0.0022749 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_331-2_0_5_load_55 | 71 | 0.0012035 | 0.00030162 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_331-2_0_5_load_58 | 72 | 0.0018516 | 0.00046406 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_331-2_0_5_load_57 | 73 | 0.0032349 | 0.00081073 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_331-2_0_5_load_59 | 74 | 0.0020496 | 0.00051368 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_331-2_0_5_load_60 | 75 | 0.0025397 | 0.0006365 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_331-2_0_5_load_72 | 76 | 0.0075316 | 0.0018876 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_331-2_0_5_load_66 | 77 | 0.0023597 | 0.00059139 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_331-2_0_5_load_67 | 78 | 0.0014217 | 0.00035631 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_331-2_0_5_load_69 | 79 | 0.010348 | 0.0025936 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_331-2_0_5_load_70 | 80 | 0.011981 | 0.0030028 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_331-2_0_5_load_86 | 81 | 0.075197 | 0.018846 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_331-2_0_5_line_0 |  | 0 | 1 | 0.030354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_331-2_0_5_line_1 |  | 0 | 2 | 0.028574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_331-2_0_5_line_2 |  | 1 | 3 | 0.020821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_331-2_0_5_line_3 |  | 1 | 4 | 0.022237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_331-2_0_5_line_4 |  | 2 | 5 | 0.01517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_331-2_0_5_line_5 |  | 2 | 6 | 0.017728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_331-2_0_5_line_6 |  | 3 | 7 | 0.048704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_331-2_0_5_line_7 |  | 3 | 8 | 0.015791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_331-2_0_5_line_8 |  | 4 | 12 | 0.014663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_331-2_0_5_line_9 |  | 5 | 13 | 0.0078997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_331-2_0_5_line_10 |  | 6 | 14 | 0.018538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_331-2_0_5_line_11 |  | 7 | 15 | 0.069604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_331-2_0_5_line_12 |  | 7 | 16 | 0.024657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_331-2_0_5_line_13 |  | 8 | 17 | 0.0019826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_331-2_0_5_line_14 |  | 9 | 10 | 0.005898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_331-2_0_5_line_15 |  | 9 | 11 | 0.01751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_331-2_0_5_line_16 |  | 10 | 18 | 0.017911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_331-2_0_5_line_17 |  | 10 | 19 | 0.014654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_331-2_0_5_line_18 |  | 11 | 13 | 0.0079689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_331-2_0_5_line_19 |  | 12 | 20 | 0.0053868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_331-2_0_5_line_20 |  | 15 | 42 | 0.0069943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_331-2_0_5_line_21 |  | 16 | 25 | 0.013525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_331-2_0_5_line_22 |  | 17 | 39 | 0.033556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_331-2_0_5_line_23 |  | 18 | 43 | 0.03312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_331-2_0_5_line_24 |  | 19 | 44 | 0.020309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_331-2_0_5_line_25 |  | 20 | 70 | 0.014785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_331-2_0_5_line_26 |  | 21 | 22 | 0.00035957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_331-2_0_5_line_27 |  | 21 | 23 | 0.011489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_331-2_0_5_line_28 |  | 22 | 24 | 0.017022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_331-2_0_5_line_29 |  | 23 | 25 | 0.0072415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_331-2_0_5_line_30 |  | 23 | 26 | 0.023534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_331-2_0_5_line_31 |  | 24 | 27 | 0.012426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_331-2_0_5_line_32 |  | 26 | 28 | 0.0032192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_331-2_0_5_line_33 |  | 27 | 29 | 0.014191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_331-2_0_5_line_34 |  | 28 | 30 | 0.011117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_331-2_0_5_line_35 |  | 29 | 31 | 0.014318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_331-2_0_5_line_36 |  | 30 | 48 | 0.023557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_331-2_0_5_line_37 |  | 30 | 45 | 0.023442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_331-2_0_5_line_38 |  | 31 | 32 | 0.0063295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_331-2_0_5_line_39 |  | 32 | 33 | 0.033554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_331-2_0_5_line_40 |  | 33 | 34 | 0.010982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_331-2_0_5_line_41 |  | 34 | 35 | 0.0061847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_331-2_0_5_line_42 |  | 35 | 36 | 0.005726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_331-2_0_5_line_43 |  | 36 | 37 | 0.0066515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_331-2_0_5_line_44 |  | 37 | 38 | 0.02643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_331-2_0_5_line_45 |  | 39 | 40 | 0.001432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_331-2_0_5_line_46 |  | 40 | 41 | 0.026275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_331-2_0_5_line_47 |  | 41 | 67 | 0.013533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_331-2_0_5_line_48 |  | 42 | 64 | 0.0098483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_331-2_0_5_line_49 |  | 43 | 76 | 0.017457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_331-2_0_5_line_50 |  | 43 | 59 | 0.028917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_331-2_0_5_line_51 |  | 45 | 46 | 0.00058067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_331-2_0_5_line_52 |  | 46 | 47 | 0.013239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_331-2_0_5_line_53 |  | 47 | 49 | 0.038418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_331-2_0_5_line_54 |  | 47 | 50 | 0.018956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_331-2_0_5_line_55 |  | 49 | 51 | 0.013543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_331-2_0_5_line_56 |  | 52 | 53 | 0.016188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_331-2_0_5_line_57 |  | 53 | 54 | 0.087069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_331-2_0_5_line_58 |  | 54 | 55 | 0.012316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_331-2_0_5_line_59 |  | 54 | 56 | 0.020096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_331-2_0_5_line_60 |  | 56 | 76 | 0.0069049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_331-2_0_5_line_61 |  | 57 | 58 | 0.023369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_331-2_0_5_line_62 |  | 57 | 59 | 0.077926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_331-2_0_5_line_63 |  | 58 | 80 | 0.020525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_331-2_0_5_line_64 |  | 59 | 81 | 0.016796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_331-2_0_5_line_65 |  | 60 | 61 | 0.054804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_331-2_0_5_line_66 |  | 60 | 62 | 0.024278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_331-2_0_5_line_67 |  | 61 | 63 | 0.01877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_331-2_0_5_line_68 |  | 62 | 64 | 0.040488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_331-2_0_5_line_69 |  | 64 | 65 | 0.029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_331-2_0_5_line_70 |  | 65 | 66 | 0.0039709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_331-2_0_5_line_71 |  | 68 | 69 | 0.0082862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_331-2_0_5_line_72 |  | 68 | 70 | 0.0073814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_331-2_0_5_line_73 |  | 69 | 71 | 0.0054223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_331-2_0_5_line_74 |  | 71 | 72 | 0.0063634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_331-2_0_5_line_75 |  | 72 | 73 | 0.0014593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_331-2_0_5_line_76 |  | 73 | 74 | 0.0022618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_331-2_0_5_line_77 |  | 74 | 75 | 0.019612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_331-2_0_5_line_78 |  | 77 | 78 | 0.0057931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_331-2_0_5_line_79 |  | 78 | 79 | 0.0011715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_331-2_0_5_line_80 |  | 79 | 80 | 0.010183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_331-2_0_5_trafo_1 | 0.63 MVA 20/0.4 kV | 82 | 1 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2626559.3421 | 1226543.6849 | 2626555.3975 | 1226546.1911 | 2626552.7861 | 1226548.8477 | 2626550.9392 | 1226551.7078 | 2626549.0816 | 1226555.3017 | 2626547.6328 | 1226558.9641 | 2626543.8989 | 1226568.8487
1 | 2626533.2984 | 1226595.322 | 2626534.7024 | 1226593.1936 | 2626543.8989 | 1226568.8487
2 | 2626559.3421 | 1226543.6849 | 2626553.8628 | 1226535.1332 | 2626549.1128 | 1226529.5754 | 2626546.7209 | 1226527.1967
3 | 2626559.3421 | 1226543.6849 | 2626565.336 | 1226540.4986 | 2626570.0511 | 1226538.574 | 2626580.0675 | 1226535.9432
4 | 2626533.2984 | 1226595.322 | 2626548.338 | 1226593.3347
5 | 2626533.2984 | 1226595.322 | 2626531.2819 | 1226597.1475 | 2626521.0998 | 1226604.7956 | 2626519.4535 | 1226606.3631
6 | 2626506.3539 | 1226500.3232 | 2626512.9646 | 1226503.3211 | 2626519.0727 | 1226506.8281 | 2626524.2344 | 1226510.1308 | 2626526.0784 | 1226511.3175 | 2626527.8547 | 1226512.3816 | 2626531.7454 | 1226515.1784 | 2626536.5653 | 1226518.6575 | 2626541.2403 | 1226522.3249 | 2626546.7209 | 1226527.1967
7 | 2626546.7209 | 1226527.1967 | 2626551.4614 | 1226512.1341
8 | 2626594.1716 | 1226531.935 | 2626582.829 | 1226535.2179 | 2626580.0675 | 1226535.9432
9 | 2626548.338 | 1226593.3347 | 2626556.1696 | 1226592.2998 | 2626556.1696 | 1226592.2998
10 | 2626519.4535 | 1226606.3631 | 2626517.6596 | 1226608.0711 | 2626515.8419 | 1226611.2094 | 2626511.5452 | 1226622.8776
11 | 2626506.3539 | 1226500.3232 | 2626508.0079 | 1226494.8051 | 2626508.2435 | 1226492.9495 | 2626508.2816 | 1226491.2041 | 2626507.8456 | 1226488.7007 | 2626505.8429 | 1226484.0112 | 2626502.2435 | 1226477.0578 | 2626493.3102 | 1226464.5995 | 2626476.3798 | 1226440.4766
12 | 2626506.3539 | 1226500.3232 | 2626498.3579 | 1226498.6756 | 2626491.6936 | 1226497.512 | 2626487.3153 | 1226496.97 | 2626482.0034 | 1226496.7573
13 | 2626552.0566 | 1226510.2429 | 2626551.4614 | 1226512.1341
14 | 2626578.7507 | 1226581.2716 | 2626581.2202 | 1226586.6303
15 | 2626578.7507 | 1226581.2716 | 2626562.2637 | 1226587.1683
16 | 2626581.2202 | 1226586.6303 | 2626588.7181 | 1226602.8967
17 | 2626581.2202 | 1226586.6303 | 2626595.0565 | 1226581.8039
18 | 2626556.1696 | 1226592.2998 | 2626562.2328 | 1226587.1793 | 2626562.2637 | 1226587.1683
19 | 2626599.3461 | 1226530.4374 | 2626594.1716 | 1226531.935
20 | 2626476.3798 | 1226440.4766 | 2626472.3609 | 1226434.7523
21 | 2626482.0034 | 1226496.7573 | 2626474.2408 | 1226497.1564 | 2626468.5019 | 1226497.5444
22 | 2626552.0566 | 1226510.2429 | 2626553.44 | 1226505.8472 | 2626564.8039 | 1226479.2238
23 | 2626602.5827 | 1226632.9755 | 2626588.7181 | 1226602.8967
24 | 2626614.232 | 1226575.1151 | 2626595.0565 | 1226581.8039
25 | 2626599.3461 | 1226530.4374 | 2626613.5481 | 1226526.327
26 | 2626449.8285 | 1226498.9932 | 2626449.4702 | 1226499.0232
27 | 2626461.2769 | 1226498.0327 | 2626449.8285 | 1226498.9932
28 | 2626449.4702 | 1226499.0232 | 2626432.508 | 1226500.4462
29 | 2626461.2769 | 1226498.0327 | 2626468.5019 | 1226497.5444
30 | 2626461.2769 | 1226498.0327 | 2626463.2498 | 1226521.484
31 | 2626420.1259 | 1226501.485 | 2626432.508 | 1226500.4462
32 | 2626463.5197 | 1226524.6919 | 2626463.2498 | 1226521.484
33 | 2626405.9595 | 1226502.3241 | 2626419.6151 | 1226501.5278 | 2626420.1259 | 1226501.485
34 | 2626464.4516 | 1226535.7693 | 2626463.5197 | 1226524.6919
35 | 2626405.9595 | 1226502.3241 | 2626397.2893 | 1226502.8297 | 2626391.657 | 1226502.9409
36 | 2626464.4516 | 1226535.7693 | 2626487.993 | 1226533.7727
37 | 2626464.4516 | 1226535.7693 | 2626466.1976 | 1226559.1466
38 | 2626385.3287 | 1226503.0658 | 2626391.657 | 1226502.9409
39 | 2626385.3287 | 1226503.0658 | 2626385.1674 | 1226508.6907 | 2626386.5325 | 1226536.5843
40 | 2626386.5325 | 1226536.5843 | 2626387.0693 | 1226547.5532
41 | 2626387.0693 | 1226547.5532 | 2626387.3716 | 1226553.7305
42 | 2626387.6515 | 1226559.4497 | 2626387.3716 | 1226553.7305
43 | 2626387.9766 | 1226566.0933 | 2626387.6515 | 1226559.4497
44 | 2626389.2686 | 1226592.4918 | 2626387.9766 | 1226566.0933
45 | 2626565.3661 | 1226477.9067 | 2626564.8039 | 1226479.2238
46 | 2626580.2756 | 1226456.8931 | 2626576.5631 | 1226460.034 | 2626574.4115 | 1226461.5475 | 2626572.9032 | 1226463.2529 | 2626567.8388 | 1226472.1134 | 2626565.3661 | 1226477.9067
47 | 2626580.2756 | 1226456.8931 | 2626580.2756 | 1226456.8931 | 2626582.0524 | 1226454.4551 | 2626586.6697 | 1226445.0064
48 | 2626466.702 | 1226426.6921 | 2626472.3609 | 1226434.7523
49 | 2626602.5827 | 1226632.9755 | 2626586.487 | 1226639.734
50 | 2626621.8069 | 1226642.1556 | 2626610.7561 | 1226647.465 | 2626608.5428 | 1226644.1309 | 2626606.2187 | 1226640.1738 | 2626605.1061 | 1226638.1342 | 2626602.5827 | 1226632.9755
51 | 2626466.1976 | 1226559.1466 | 2626466.2408 | 1226559.7257
52 | 2626464.6823 | 1226572.5701 | 2626465.5531 | 1226571.0175 | 2626466.3982 | 1226568.453 | 2626466.6835 | 1226565.6526 | 2626466.2408 | 1226559.7257
53 | 2626464.6823 | 1226572.5701 | 2626463.651 | 1226574.3888 | 2626461.342 | 1226578.9369 | 2626460.6951 | 1226581.2576 | 2626460.5607 | 1226584.2254 | 2626461.6666 | 1226598.0163 | 2626461.6549 | 1226600.6401 | 2626461.183 | 1226602.7948 | 2626460.2964 | 1226604.4697 | 2626459.2446 | 1226605.8103 | 2626457.078 | 1226607.3126 | 2626456.422 | 1226607.9939
54 | 2626464.6823 | 1226572.5701 | 2626465.531 | 1226591.5075
55 | 2626455.3719 | 1226621.1822 | 2626455.0683 | 1226612.7181 | 2626455.2545 | 1226610.0395 | 2626455.9054 | 1226608.5304 | 2626456.422 | 1226607.9939
56 | 2626574.3202 | 1226736.8892 | 2626590.4444 | 1226735.4481
57 | 2626561.8312 | 1226650.7203 | 2626574.3202 | 1226736.8892
58 | 2626551.7342 | 1226644.9108 | 2626552.418 | 1226645.0368 | 2626560.689 | 1226651.2663 | 2626561.8312 | 1226650.7203
59 | 2626580.1206 | 1226642.4072 | 2626572.7422 | 1226645.5054 | 2626561.8312 | 1226650.7203
60 | 2626586.487 | 1226639.734 | 2626580.1206 | 1226642.4072
61 | 2626660.4975 | 1226667.3436 | 2626666.1641 | 1226649.2359 | 2626667.5477 | 1226645.0641
62 | 2626621.8069 | 1226642.1556 | 2626628.9382 | 1226652.4047 | 2626633.2608 | 1226658.5833 | 2626639.7502 | 1226664.9161 | 2626649.1787 | 1226669.8723 | 2626645.5662 | 1226679.473 | 2626656.2956 | 1226683.3232 | 2626660.4975 | 1226667.3436
63 | 2626678.2526 | 1226627.7701 | 2626675.4621 | 1226630.8554 | 2626673.442 | 1226633.4701 | 2626671.6031 | 1226636.2525 | 2626669.5325 | 1226639.9899 | 2626668.2076 | 1226643.0747 | 2626667.5477 | 1226645.0641
64 | 2626621.8069 | 1226642.1556 | 2626637.0344 | 1226634.9749
65 | 2626468.3772 | 1226387.6187 | 2626521.9643 | 1226376.132
66 | 2626444.6387 | 1226392.7072 | 2626468.3772 | 1226387.6187
67 | 2626540.3174 | 1226372.1979 | 2626521.9643 | 1226376.132
68 | 2626466.702 | 1226426.6921 | 2626444.6387 | 1226392.7072
69 | 2626466.702 | 1226426.6921 | 2626437.8852 | 1226429.9453
70 | 2626433.9394 | 1226430.3908 | 2626437.8852 | 1226429.9453
71 | 2626620.6163 | 1226524.2003 | 2626628.5409 | 1226521.779
72 | 2626620.6163 | 1226524.2003 | 2626615.5894 | 1226525.7362 | 2626613.5481 | 1226526.327
73 | 2626633.7265 | 1226520.1946 | 2626628.5409 | 1226521.779
74 | 2626633.7265 | 1226520.1946 | 2626639.8122 | 1226518.3353
75 | 2626641.2078 | 1226517.9089 | 2626639.8122 | 1226518.3353
76 | 2626641.2078 | 1226517.9089 | 2626643.3708 | 1226517.248
77 | 2626662.1266 | 1226511.5174 | 2626643.3708 | 1226517.248
78 | 2626692.3592 | 1226618.1456 | 2626692.3591 | 1226618.1457 | 2626688.8721 | 1226620.0089 | 2626687.296 | 1226620.9572
79 | 2626687.296 | 1226620.9572 | 2626686.2922 | 1226621.5611
80 | 2626678.2526 | 1226627.7701 | 2626678.3564 | 1226627.6553 | 2626682.252 | 1226624.2485 | 2626685.6804 | 1226621.9291 | 2626686.2922 | 1226621.5611

## bus_geodata
| x | y | coords
0 | 2626543.8989 | 1226568.8487
1 | 2626559.3421 | 1226543.6849
2 | 2626533.2984 | 1226595.322
3 | 2626546.7209 | 1226527.1967
4 | 2626580.0675 | 1226535.9432
5 | 2626548.338 | 1226593.3347
6 | 2626519.4535 | 1226606.3631
7 | 2626506.3539 | 1226500.3232
8 | 2626551.4614 | 1226512.1341
9 | 2626578.7507 | 1226581.2716
10 | 2626581.2202 | 1226586.6303
11 | 2626562.2637 | 1226587.1683
12 | 2626594.1716 | 1226531.935
13 | 2626556.1696 | 1226592.2998
14 | 2626511.5452 | 1226622.8776
15 | 2626476.3798 | 1226440.4766
16 | 2626482.0034 | 1226496.7573
17 | 2626552.0566 | 1226510.2429
18 | 2626588.7181 | 1226602.8967
19 | 2626595.0565 | 1226581.8039
20 | 2626599.3461 | 1226530.4374
21 | 2626449.8285 | 1226498.9932
22 | 2626449.4702 | 1226499.0232
23 | 2626461.2769 | 1226498.0327
24 | 2626432.508 | 1226500.4462
25 | 2626468.5019 | 1226497.5444
26 | 2626463.2498 | 1226521.484
27 | 2626420.1259 | 1226501.485
28 | 2626463.5197 | 1226524.6919
29 | 2626405.9595 | 1226502.3241
30 | 2626464.4516 | 1226535.7693
31 | 2626391.657 | 1226502.9409
32 | 2626385.3287 | 1226503.0658
33 | 2626386.5325 | 1226536.5843
34 | 2626387.0693 | 1226547.5532
35 | 2626387.3716 | 1226553.7305
36 | 2626387.6515 | 1226559.4497
37 | 2626387.9766 | 1226566.0933
38 | 2626389.2686 | 1226592.4918
39 | 2626564.8039 | 1226479.2238
40 | 2626565.3661 | 1226477.9067
41 | 2626580.2756 | 1226456.8931
42 | 2626472.3609 | 1226434.7523
43 | 2626602.5827 | 1226632.9755
44 | 2626614.232 | 1226575.1151
45 | 2626466.1976 | 1226559.1466
46 | 2626466.2408 | 1226559.7257
47 | 2626464.6823 | 1226572.5701
48 | 2626487.993 | 1226533.7727
49 | 2626456.422 | 1226607.9939
50 | 2626465.531 | 1226591.5075
51 | 2626455.3719 | 1226621.1822
52 | 2626590.4444 | 1226735.4481
53 | 2626574.3202 | 1226736.8892
54 | 2626561.8312 | 1226650.7203
55 | 2626551.7342 | 1226644.9108
56 | 2626580.1206 | 1226642.4072
57 | 2626660.4975 | 1226667.3436
58 | 2626667.5477 | 1226645.0641
59 | 2626621.8069 | 1226642.1556
60 | 2626468.3772 | 1226387.6187
61 | 2626521.9643 | 1226376.132
62 | 2626444.6387 | 1226392.7072
63 | 2626540.3174 | 1226372.1979
64 | 2626466.702 | 1226426.6921
65 | 2626437.8852 | 1226429.9453
66 | 2626433.9394 | 1226430.3908
67 | 2626586.6697 | 1226445.0064
68 | 2626620.6164 | 1226524.2003
69 | 2626628.5409 | 1226521.779
70 | 2626613.5481 | 1226526.327
71 | 2626633.7265 | 1226520.1946
72 | 2626639.8122 | 1226518.3353
73 | 2626641.2078 | 1226517.9088
74 | 2626643.3708 | 1226517.248
75 | 2626662.1266 | 1226511.5174
76 | 2626586.487 | 1226639.734
77 | 2626692.3592 | 1226618.1456
78 | 2626687.296 | 1226620.9572
79 | 2626686.2922 | 1226621.5611
80 | 2626678.2526 | 1226627.7701
81 | 2626637.0344 | 1226634.9749
82 | 2626546.7209 | 1226527.1967

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1