## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_331-4_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_331-4_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_331-4_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_331-4_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_331-4_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_331-4_0_3_node_19 | 0.4 | n |  | TRUE
6 | bus_LV_331-4_0_3_node_18 | 0.4 | n |  | TRUE
7 | bus_LV_331-4_0_3_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_331-4_0_3_node_21 | 0.4 | n |  | TRUE
9 | bus_LV_331-4_0_3_node_20 | 0.4 | n |  | TRUE
10 | bus_LV_331-4_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_331-4_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_331-4_0_3_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_331-4_0_3_node_106 | 0.4 | n |  | TRUE
14 | bus_LV_331-4_0_3_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_331-4_0_3_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_331-4_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_331-4_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_331-4_0_3_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_331-4_0_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_331-4_0_3_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_331-4_0_3_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_331-4_0_3_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_331-4_0_3_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_331-4_0_3_node_44 | 0.4 | n |  | TRUE
25 | bus_LV_331-4_0_3_node_107 | 0.4 | n |  | TRUE
26 | bus_LV_331-4_0_3_node_68 | 0.4 | n |  | TRUE
27 | bus_LV_331-4_0_3_node_67 | 0.4 | n |  | TRUE
28 | bus_LV_331-4_0_3_node_42 | 0.4 | n |  | TRUE
29 | bus_LV_331-4_0_3_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_331-4_0_3_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_331-4_0_3_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_331-4_0_3_node_45 | 0.4 | n |  | TRUE
33 | bus_LV_331-4_0_3_node_53 | 0.4 | n |  | TRUE
34 | bus_LV_331-4_0_3_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_331-4_0_3_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_331-4_0_3_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_331-4_0_3_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_331-4_0_3_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_331-4_0_3_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_331-4_0_3_node_65 | 0.4 | n |  | TRUE
41 | bus_LV_331-4_0_3_node_95 | 0.4 | n |  | TRUE
42 | bus_LV_331-4_0_3_node_62 | 0.4 | n |  | TRUE
43 | bus_LV_331-4_0_3_node_88 | 0.4 | n |  | TRUE
44 | bus_LV_331-4_0_3_node_89 | 0.4 | n |  | TRUE
45 | bus_LV_331-4_0_3_node_87 | 0.4 | n |  | TRUE
46 | bus_LV_331-4_0_3_node_94 | 0.4 | n |  | TRUE
47 | bus_LV_331-4_0_3_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_331-4_0_3_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_331-4_0_3_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_331-4_0_3_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_331-4_0_3_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_331-4_0_3_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_331-4_0_3_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_331-4_0_3_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_331-4_0_3_node_58 | 0.4 | n |  | TRUE
56 | bus_LV_331-4_0_3_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_331-4_0_3_node_61 | 0.4 | n |  | TRUE
58 | bus_LV_331-4_0_3_node_54 | 0.4 | n |  | TRUE
59 | bus_LV_331-4_0_3_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_331-4_0_3_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_331-4_0_3_node_40 | 0.4 | n |  | TRUE
62 | bus_LV_331-4_0_3_node_41 | 0.4 | n |  | TRUE
63 | bus_LV_331-4_0_3_node_43 | 0.4 | n |  | TRUE
64 | bus_LV_331-4_0_3_node_66 | 0.4 | n |  | TRUE
65 | bus_LV_331-4_0_3_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_331-4_0_3_node_50 | 0.4 | n |  | TRUE
67 | bus_LV_331-4_0_3_node_55 | 0.4 | n |  | TRUE
68 | bus_LV_331-4_0_3_node_47 | 0.4 | n |  | TRUE
69 | bus_LV_331-4_0_3_node_48 | 0.4 | n |  | TRUE
70 | bus_LV_331-4_0_3_node_99 | 0.4 | n |  | TRUE
71 | bus_LV_331-4_0_3_node_100 | 0.4 | n |  | TRUE
72 | bus_LV_331-4_0_3_node_101 | 0.4 | n |  | TRUE
73 | bus_LV_331-4_0_3_node_56 | 0.4 | n |  | TRUE
74 | bus_LV_331-4_0_3_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_331-4_0_3_node_60 | 0.4 | n |  | TRUE
76 | bus_LV_331-4_0_3_node_69 | 0.4 | n |  | TRUE
77 | bus_LV_331-4_0_3_node_78 | 0.4 | n |  | TRUE
78 | bus_LV_331-4_0_3_node_70 | 0.4 | n |  | TRUE
79 | bus_LV_331-4_0_3_node_76 | 0.4 | n |  | TRUE
80 | bus_LV_331-4_0_3_node_64 | 0.4 | n |  | TRUE
81 | bus_LV_331-4_0_3_node_71 | 0.4 | n |  | TRUE
82 | bus_LV_331-4_0_3_node_72 | 0.4 | n |  | TRUE
83 | bus_LV_331-4_0_3_node_73 | 0.4 | n |  | TRUE
84 | bus_LV_331-4_0_3_node_85 | 0.4 | n |  | TRUE
85 | bus_LV_331-4_0_3_node_86 | 0.4 | n |  | TRUE
86 | bus_LV_331-4_0_3_node_105 | 0.4 | n |  | TRUE
87 | bus_LV_331-4_0_3_node_74 | 0.4 | n |  | TRUE
88 | bus_LV_331-4_0_3_node_75 | 0.4 | n |  | TRUE
89 | bus_LV_331-4_0_3_node_77 | 0.4 | n |  | TRUE
90 | bus_LV_331-4_0_3_node_80 | 0.4 | n |  | TRUE
91 | bus_LV_331-4_0_3_node_79 | 0.4 | n |  | TRUE
92 | bus_LV_331-4_0_3_node_81 | 0.4 | n |  | TRUE
93 | bus_LV_331-4_0_3_node_82 | 0.4 | n |  | TRUE
94 | bus_LV_331-4_0_3_node_83 | 0.4 | n |  | TRUE
95 | bus_LV_331-4_0_3_node_84 | 0.4 | n |  | TRUE
96 | bus_LV_331-4_0_3_node_108 | 0.4 | n |  | TRUE
97 | bus_LV_331-4_0_3_node_109 | 0.4 | n |  | TRUE
98 | bus_LV_331-4_0_3_node_112 | 0.4 | n |  | TRUE
99 | bus_LV_331-4_0_3_node_103 | 0.4 | n |  | TRUE
100 | bus_LV_331-4_0_3_node_90 | 0.4 | n |  | TRUE
101 | bus_LV_331-4_0_3_node_91 | 0.4 | n |  | TRUE
102 | bus_LV_331-4_0_3_node_93 | 0.4 | n |  | TRUE
103 | bus_LV_331-4_0_3_node_98 | 0.4 | n |  | TRUE
104 | bus_LV_331-4_0_3_node_110 | 0.4 | n |  | TRUE
105 | bus_LV_331-4_0_3_node_97 | 0.4 | n |  | TRUE
106 | bus_LV_331-4_0_3_node_96 | 0.4 | n |  | TRUE
107 | bus_LV_331-4_0_3_node_113 | 0.4 | n |  | TRUE
108 | bus_LV_331-4_0_3_node_102 | 0.4 | n |  | TRUE
109 | bus_LV_331-4_0_3_node_104 | 0.4 | n |  | TRUE
110 | bus_LV_331-4_0_3_node_111 | 0.4 | n |  | TRUE
111 | bus_MV_476_0_node_118 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_331-4_0_3_load_0 | 0 | 0.017072 | 0.0042786 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_331-4_0_3_load_1 | 1 | 0.0018757 | 0.0004701 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_331-4_0_3_load_2 | 2 | 0.0010314 | 0.0002585 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_331-4_0_3_load_18 | 6 | 0.0014612 | 0.0003662 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_331-4_0_3_load_16 | 7 | 0.0012641 | 0.00031682 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_331-4_0_3_load_21 | 8 | 0.0014555 | 0.00036479 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_331-4_0_3_load_20 | 9 | 0.0010653 | 0.000267 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_331-4_0_3_load_8 | 11 | 0.0054633 | 0.0013692 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_331-4_0_3_load_5 | 12 | 0.00068667 | 0.00017209 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_331-4_0_3_load_106 | 13 | 0.001296 | 0.0003248 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_331-4_0_3_load_17 | 14 | 0.0019005 | 0.00047632 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_331-4_0_3_load_6 | 15 | 0.0011641 | 0.00029176 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_331-4_0_3_load_9 | 16 | 0.00056207 | 0.00014087 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_331-4_0_3_load_14 | 19 | 0.0049593 | 0.0012429 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_331-4_0_3_load_11 | 22 | 0.004398 | 0.0011022 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_331-4_0_3_load_12 | 23 | 0.0039179 | 0.00098193 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_331-4_0_3_load_44 | 24 | 0.0029182 | 0.00073136 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_331-4_0_3_load_107 | 25 | 0.0013727 | 0.00034404 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_331-4_0_3_load_68 | 26 | 0.0041448 | 0.0010388 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_331-4_0_3_load_67 | 27 | 0.010586 | 0.0026532 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_331-4_0_3_load_42 | 28 | 0.001704 | 0.00042706 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_331-4_0_3_load_23 | 29 | 0.0059255 | 0.0014851 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_331-4_0_3_load_24 | 30 | 0.0046466 | 0.0011645 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_331-4_0_3_load_26 | 31 | 0.003779 | 0.00094711 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_331-4_0_3_load_45 | 32 | 0.0022255 | 0.00055776 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_331-4_0_3_load_53 | 33 | 0.0023735 | 0.00059485 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_331-4_0_3_load_27 | 34 | 0.0089283 | 0.0022376 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_331-4_0_3_load_28 | 35 | 0.0068619 | 0.0017197 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_331-4_0_3_load_30 | 39 | 0.0054878 | 0.0013754 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_331-4_0_3_load_65 | 40 | 0.0016953 | 0.00042489 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_331-4_0_3_load_95 | 41 | 0.0058348 | 0.0014623 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_331-4_0_3_load_89 | 44 | 0.00035993 | 9.0207e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_331-4_0_3_load_87 | 45 | 0.0077143 | 0.0019334 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_331-4_0_3_load_94 | 46 | 0.0043738 | 0.0010962 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_331-4_0_3_load_33 | 47 | 0.0031976 | 0.00080139 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_331-4_0_3_load_34 | 48 | 0.00099601 | 0.00024962 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_331-4_0_3_load_36 | 50 | 0.00067907 | 0.00017019 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_331-4_0_3_load_38 | 52 | 0.0012596 | 0.00031569 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_331-4_0_3_load_39 | 53 | 0.0040897 | 0.001025 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_331-4_0_3_load_46 | 54 | 0.00058489 | 0.00014659 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_331-4_0_3_load_58 | 55 | 0.0074884 | 0.0018768 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_331-4_0_3_load_51 | 56 | 0.0028099 | 0.00070424 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_331-4_0_3_load_61 | 57 | 0.0067919 | 0.0017022 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_331-4_0_3_load_54 | 58 | 0.00065803 | 0.00016492 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_331-4_0_3_load_52 | 60 | 0.0026849 | 0.00067289 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_331-4_0_3_load_40 | 61 | 0.0030224 | 0.00075749 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_331-4_0_3_load_41 | 62 | 0.0027195 | 0.00068158 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_331-4_0_3_load_43 | 63 | 0.0033256 | 0.00083346 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_331-4_0_3_load_66 | 64 | 0.0023047 | 0.00057761 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_331-4_0_3_load_63 | 65 | 0.0045559 | 0.0011418 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_331-4_0_3_load_55 | 67 | 0.00080492 | 0.00020173 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_331-4_0_3_load_47 | 68 | 0.0054657 | 0.0013698 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_331-4_0_3_load_48 | 69 | 0.0037267 | 0.000934 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_331-4_0_3_load_101 | 72 | 0.00064412 | 0.00016143 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_331-4_0_3_load_56 | 73 | 0.0080369 | 0.0020142 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_331-4_0_3_load_59 | 74 | 0.006481 | 0.0016243 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_331-4_0_3_load_60 | 75 | 0.0035528 | 0.00089043 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_331-4_0_3_load_69 | 76 | 0.00075959 | 0.00019037 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_331-4_0_3_load_78 | 77 | 0.0023001 | 0.00057645 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_331-4_0_3_load_70 | 78 | 0.0014401 | 0.00036091 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_331-4_0_3_load_76 | 79 | 0.0049364 | 0.0012372 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_331-4_0_3_load_64 | 80 | 0.0051883 | 0.0013003 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_331-4_0_3_load_71 | 81 | 0.0028998 | 0.00072677 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_331-4_0_3_load_72 | 82 | 0.0020077 | 0.00050317 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_331-4_0_3_load_73 | 83 | 0.00076652 | 0.00019211 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_331-4_0_3_load_85 | 84 | 0.00082141 | 0.00020587 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_331-4_0_3_load_86 | 85 | 0.0050387 | 0.0012628 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_331-4_0_3_load_74 | 87 | 0.0066659 | 0.0016706 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_331-4_0_3_load_75 | 88 | 0.0056512 | 0.0014163 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_331-4_0_3_load_77 | 89 | 0.0019594 | 0.00049108 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_331-4_0_3_load_80 | 90 | 0.0019187 | 0.00048086 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_331-4_0_3_load_79 | 91 | 0.00063079 | 0.00015809 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_331-4_0_3_load_81 | 92 | 0.0054243 | 0.0013595 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_331-4_0_3_load_82 | 93 | 0.01025 | 0.0025689 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_331-4_0_3_load_108 | 96 | 0.00097132 | 0.00024344 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_331-4_0_3_load_112 | 98 | 0.00079455 | 0.00019913 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_331-4_0_3_load_90 | 100 | 0.018889 | 0.004734 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_331-4_0_3_load_91 | 101 | 0.01227 | 0.0030751 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_331-4_0_3_load_93 | 102 | 0.00084628 | 0.0002121 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_331-4_0_3_load_98 | 103 | 0.00050949 | 0.00012769 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_331-4_0_3_load_110 | 104 | 0.00034709 | 8.699e-05 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_331-4_0_3_load_97 | 105 | 0.0045316 | 0.0011357 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_331-4_0_3_load_96 | 106 | 0.0034878 | 0.00087412 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_331-4_0_3_load_113 | 107 | 0.004737 | 0.0011872 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_331-4_0_3_load_102 | 108 | 0.0020054 | 0.0005026 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_331-4_0_3_load_104 | 109 | 0.0014404 | 0.000361 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_331-4_0_3_load_111 | 110 | 0.015076 | 0.0037784 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_331-4_0_3_line_0 |  | 0 | 1 | 0.014661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_331-4_0_3_line_1 |  | 0 | 2 | 0.019643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_331-4_0_3_line_2 |  | 1 | 3 | 0.023157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_331-4_0_3_line_3 |  | 2 | 4 | 0.0047192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_331-4_0_3_line_4 |  | 3 | 5 | 0.014886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_331-4_0_3_line_5 |  | 4 | 6 | 0.01258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_331-4_0_3_line_6 |  | 4 | 7 | 0.020987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_331-4_0_3_line_7 |  | 5 | 8 | 0.020646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_331-4_0_3_line_8 |  | 5 | 9 | 0.0095008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_331-4_0_3_line_9 |  | 6 | 13 | 0.0059035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_331-4_0_3_line_10 |  | 7 | 14 | 0.0055496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_331-4_0_3_line_11 |  | 8 | 26 | 0.015492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_331-4_0_3_line_12 |  | 9 | 18 | 0.011022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_331-4_0_3_line_13 |  | 10 | 11 | 0.014556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_331-4_0_3_line_14 |  | 10 | 12 | 0.0061337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_331-4_0_3_line_15 |  | 11 | 16 | 0.0015781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_331-4_0_3_line_16 |  | 12 | 15 | 0.0097737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_331-4_0_3_line_17 |  | 13 | 25 | 0.0057829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_331-4_0_3_line_18 |  | 16 | 17 | 0.019309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_331-4_0_3_line_19 |  | 17 | 18 | 0.017841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_331-4_0_3_line_20 |  | 17 | 19 | 0.017016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_331-4_0_3_line_21 |  | 18 | 20 | 0.007014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_331-4_0_3_line_22 |  | 19 | 21 | 0.028767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_331-4_0_3_line_23 |  | 20 | 24 | 0.022003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_331-4_0_3_line_24 |  | 21 | 23 | 0.017674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_331-4_0_3_line_25 |  | 22 | 23 | 0.0067878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_331-4_0_3_line_26 |  | 24 | 28 | 0.00095686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_331-4_0_3_line_27 |  | 25 | 110 | 0.0012531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_331-4_0_3_line_28 |  | 26 | 27 | 0.0078986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_331-4_0_3_line_29 |  | 27 | 39 | 0.0073174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_331-4_0_3_line_30 |  | 28 | 61 | 0.016059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_331-4_0_3_line_31 |  | 29 | 30 | 0.011029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_331-4_0_3_line_32 |  | 30 | 31 | 0.0024666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_331-4_0_3_line_33 |  | 31 | 32 | 0.0091218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_331-4_0_3_line_34 |  | 32 | 33 | 0.020847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_331-4_0_3_line_35 |  | 33 | 66 | 0.011339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_331-4_0_3_line_36 |  | 34 | 35 | 0.0007727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_331-4_0_3_line_37 |  | 34 | 36 | 0.01438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_331-4_0_3_line_38 |  | 36 | 37 | 0.021135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_331-4_0_3_line_39 |  | 36 | 38 | 0.011148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_331-4_0_3_line_40 |  | 37 | 40 | 0.016219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_331-4_0_3_line_41 |  | 38 | 41 | 0.0017468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_331-4_0_3_line_42 |  | 40 | 42 | 0.02252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_331-4_0_3_line_43 |  | 41 | 46 | 0.033189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_331-4_0_3_line_44 |  | 42 | 65 | 0.011863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_331-4_0_3_line_45 |  | 42 | 80 | 0.015396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_331-4_0_3_line_46 |  | 42 | 57 | 0.026877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_331-4_0_3_line_47 |  | 43 | 44 | 0.008223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_331-4_0_3_line_48 |  | 43 | 45 | 0.011184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_331-4_0_3_line_49 |  | 44 | 93 | 0.04781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_331-4_0_3_line_50 |  | 45 | 85 | 0.018453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_331-4_0_3_line_51 |  | 46 | 106 | 0.0031028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_331-4_0_3_line_52 |  | 47 | 48 | 0.023147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_331-4_0_3_line_53 |  | 47 | 49 | 0.013165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_331-4_0_3_line_54 |  | 48 | 50 | 0.023951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_331-4_0_3_line_55 |  | 49 | 51 | 0.034272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_331-4_0_3_line_56 |  | 49 | 52 | 0.031022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_331-4_0_3_line_57 |  | 49 | 53 | 0.027939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_331-4_0_3_line_58 |  | 50 | 54 | 0.013294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_331-4_0_3_line_59 |  | 51 | 55 | 0.017418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_331-4_0_3_line_60 |  | 52 | 56 | 0.0026286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_331-4_0_3_line_61 |  | 53 | 57 | 0.00023011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_331-4_0_3_line_62 |  | 54 | 58 | 0.038431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_331-4_0_3_line_63 |  | 55 | 59 | 0.014832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_331-4_0_3_line_64 |  | 56 | 60 | 0.0075002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_331-4_0_3_line_65 |  | 58 | 67 | 0.017492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_331-4_0_3_line_66 |  | 59 | 74 | 0.020738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_331-4_0_3_line_67 |  | 59 | 75 | 0.012345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_331-4_0_3_line_68 |  | 59 | 73 | 0.021844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_331-4_0_3_line_69 |  | 60 | 66 | 0.011714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_331-4_0_3_line_70 |  | 61 | 62 | 0.017864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_331-4_0_3_line_71 |  | 62 | 63 | 0.011506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_331-4_0_3_line_72 |  | 63 | 64 | 0.011776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_331-4_0_3_line_73 |  | 64 | 65 | 0.013773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_331-4_0_3_line_74 |  | 66 | 69 | 0.00051705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_331-4_0_3_line_75 |  | 67 | 70 | 0.028081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_331-4_0_3_line_76 |  | 68 | 69 | 0.020356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_331-4_0_3_line_77 |  | 70 | 71 | 0.024889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_331-4_0_3_line_78 |  | 70 | 72 | 0.034204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_331-4_0_3_line_79 |  | 71 | 107 | 0.039488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_331-4_0_3_line_80 |  | 74 | 76 | 0.0081074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_331-4_0_3_line_81 |  | 75 | 77 | 0.029363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_331-4_0_3_line_82 |  | 76 | 78 | 0.019203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_331-4_0_3_line_83 |  | 77 | 79 | 0.017646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_331-4_0_3_line_84 |  | 78 | 83 | 0.012267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_331-4_0_3_line_85 |  | 79 | 87 | 0.0084528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_331-4_0_3_line_86 |  | 80 | 81 | 0.00096306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_331-4_0_3_line_87 |  | 81 | 82 | 0.0085097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_331-4_0_3_line_88 |  | 82 | 85 | 0.014132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_331-4_0_3_line_89 |  | 83 | 84 | 0.0089765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_331-4_0_3_line_90 |  | 84 | 86 | 0.0050338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_331-4_0_3_line_91 |  | 86 | 98 | 0.007165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_331-4_0_3_line_92 |  | 86 | 99 | 0.016286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_331-4_0_3_line_93 |  | 87 | 88 | 0.015106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_331-4_0_3_line_94 |  | 88 | 89 | 0.012185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_331-4_0_3_line_95 |  | 89 | 90 | 0.0077159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_331-4_0_3_line_96 |  | 90 | 91 | 0.0016236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_331-4_0_3_line_97 |  | 92 | 93 | 0.037029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_331-4_0_3_line_98 |  | 92 | 94 | 0.014375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_331-4_0_3_line_99 |  | 94 | 95 | 0.023082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_331-4_0_3_line_100 |  | 95 | 96 | 0.03036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_331-4_0_3_line_101 |  | 96 | 97 | 0.012021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_331-4_0_3_line_102 |  | 97 | 104 | 0.013263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_331-4_0_3_line_103 |  | 99 | 109 | 0.014031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_331-4_0_3_line_104 |  | 99 | 108 | 0.052366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_331-4_0_3_line_105 |  | 100 | 101 | 0.021985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_331-4_0_3_line_106 |  | 101 | 102 | 0.00077664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_331-4_0_3_line_107 |  | 102 | 103 | 0.0061162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_331-4_0_3_line_108 |  | 103 | 105 | 0.016665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_331-4_0_3_line_109 |  | 105 | 106 | 0.0044188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_331-4_0_3_trafo_65 | 0.63 MVA 20/0.4 kV | 111 | 40 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2626717.7199 | 1226494.8137 | 2626731.7876 | 1226490.6853
1 | 2626717.7199 | 1226494.8137 | 2626698.8719 | 1226500.345
2 | 2626754.008 | 1226484.1643 | 2626731.7876 | 1226490.6853
3 | 2626694.3437 | 1226501.6739 | 2626698.8719 | 1226500.345
4 | 2626768.4179 | 1226480.2711 | 2626754.9945 | 1226483.8796 | 2626754.008 | 1226484.1643
5 | 2626694.3437 | 1226501.6739 | 2626698.2615 | 1226513.6281
6 | 2626694.3437 | 1226501.6739 | 2626674.273 | 1226507.8062
7 | 2626768.4179 | 1226480.2711 | 2626764.5577 | 1226489.2702 | 2626761.8276 | 1226499.7753
8 | 2626768.4179 | 1226480.2711 | 2626774.3463 | 1226472.8468
9 | 2626698.2615 | 1226513.6281 | 2626700.1001 | 1226519.238
10 | 2626668.9656 | 1226509.4278 | 2626674.273 | 1226507.8062
11 | 2626759.8613 | 1226515.1141 | 2626760.3209 | 1226507.8623 | 2626761.8276 | 1226499.7753 | 2626761.8276 | 1226499.7753
12 | 2626782.0002 | 1226464.9229 | 2626774.9727 | 1226472.0623 | 2626774.3463 | 1226472.8468
13 | 2626741.796 | 1226457.6492 | 2626743.2761 | 1226457.1556 | 2626753.313 | 1226453.2761 | 2626755.4275 | 1226452.5506
14 | 2626741.796 | 1226457.6492 | 2626738.4486 | 1226458.7682 | 2626736.173 | 1226457.5017
15 | 2626756.9201 | 1226452.0384 | 2626755.4275 | 1226452.5506
16 | 2626736.173 | 1226457.5017 | 2626735.0468 | 1226453.4498 | 2626733.5235 | 1226448.094
17 | 2626701.9011 | 1226524.7332 | 2626700.1001 | 1226519.238
18 | 2626775.7848 | 1226448.1961 | 2626761.6931 | 1226450.4008 | 2626756.9201 | 1226452.0384
19 | 2626775.7848 | 1226448.1961 | 2626778.2948 | 1226454.6557 | 2626781.7233 | 1226464.1434 | 2626782.0002 | 1226464.9229
20 | 2626775.7848 | 1226448.1961 | 2626772.5318 | 1226438.4424 | 2626770.8419 | 1226431.9243
21 | 2626788.1169 | 1226461.4594 | 2626782.0002 | 1226464.9229
22 | 2626748.92 | 1226413.8106 | 2626758.2779 | 1226421.0569 | 2626767.3838 | 1226427.0458 | 2626770.6619 | 1226431.2297 | 2626770.8419 | 1226431.9243
23 | 2626788.1169 | 1226461.4594 | 2626797.6344 | 1226481.2972
24 | 2626748.92 | 1226413.8106 | 2626744.6246 | 1226410.0001 | 2626738.6167 | 1226399.6909
25 | 2626736.2954 | 1226393.4699 | 2626736.5695 | 1226396.178 | 2626738.6167 | 1226399.6909
26 | 2626797.6344 | 1226481.2972 | 2626798.0483 | 1226482.1599
27 | 2626702.2914 | 1226525.924 | 2626701.9011 | 1226524.7332
28 | 2626759.7491 | 1226523.0045 | 2626759.6439 | 1226518.5434 | 2626759.8613 | 1226515.1141
29 | 2626759.7491 | 1226523.0045 | 2626759.9216 | 1226530.3199
30 | 2626804.3027 | 1226496.9149 | 2626802.6085 | 1226491.6648 | 2626798.0483 | 1226482.1599
31 | 2626829.4066 | 1226461.6797 | 2626831.435 | 1226463.9113 | 2626835.557 | 1226470.7834
32 | 2626835.557 | 1226470.7834 | 2626836.8258 | 1226472.8986
33 | 2626841.6215 | 1226480.656 | 2626841.6215 | 1226480.656 | 2626839.9806 | 1226478.1582 | 2626836.8258 | 1226472.8986
34 | 2626841.6215 | 1226480.656 | 2626844.3013 | 1226483.0473 | 2626848.2053 | 1226486.2223 | 2626856.799 | 1226493.1318 | 2626857.6983 | 1226493.9212
35 | 2626866.2203 | 1226501.4014 | 2626857.6983 | 1226493.9212
36 | 2626760.3131 | 1226557.029 | 2626760.3388 | 1226556.2567
37 | 2626758.0358 | 1226571.1676 | 2626759.0126 | 1226567.9923 | 2626759.5242 | 1226565.4375 | 2626760.0336 | 1226561.7043 | 2626760.2771 | 1226558.1143 | 2626760.3131 | 1226557.029
38 | 2626758.0358 | 1226571.1676 | 2626762.8995 | 1226573.2685 | 2626767.6131 | 1226575.0574 | 2626778.1744 | 1226577.5507
39 | 2626753.4429 | 1226581.3086 | 2626755.2696 | 1226577.9037 | 2626757.1605 | 1226573.6763 | 2626758.0358 | 1226571.1676
40 | 2626778.1744 | 1226577.5507 | 2626793.0722 | 1226571.1384
41 | 2626753.4429 | 1226581.3086 | 2626752.3976 | 1226582.7081
42 | 2626813.7579 | 1226562.2349 | 2626793.0722 | 1226571.1384
43 | 2626726.6886 | 1226602.8917 | 2626733.1091 | 1226599.8396 | 2626738.1931 | 1226596.7716 | 2626741.7661 | 1226594.3418 | 2626744.9311 | 1226591.6099 | 2626747.4814 | 1226589.0643 | 2626749.3715 | 1226586.7158 | 2626751.796 | 1226583.5136 | 2626752.3976 | 1226582.7081
44 | 2626813.7579 | 1226562.2349 | 2626814.0804 | 1226550.3767
45 | 2626813.7579 | 1226562.2349 | 2626815.5548 | 1226577.5257
46 | 2626813.7579 | 1226562.2349 | 2626819.8005 | 1226560.0385 | 2626823.6932 | 1226558.9998 | 2626828.8515 | 1226557.9558 | 2626839.6675 | 1226556.07 | 2626839.8432 | 1226556.0514
47 | 2626780.8246 | 1226601.6882 | 2626782.4977 | 1226609.7392
48 | 2626780.8246 | 1226601.6882 | 2626782.5305 | 1226601.5402 | 2626791.8782 | 1226600.0101
49 | 2626782.4977 | 1226609.7392 | 2626812.6602 | 1226646.8342
50 | 2626810.0892 | 1226597.0294 | 2626791.8782 | 1226600.0101
51 | 2626726.6886 | 1226602.8917 | 2626724.8609 | 1226603.7605 | 2626723.8749 | 1226604.1989
52 | 2626880.8687 | 1226556.6123 | 2626903.6043 | 1226560.9582
53 | 2626867.9378 | 1226554.1406 | 2626880.8687 | 1226556.6123
54 | 2626903.6043 | 1226560.9582 | 2626927.1293 | 1226565.4549
55 | 2626867.9378 | 1226554.1406 | 2626867.4214 | 1226557.7293 | 2626864.753 | 1226573.0042 | 2626863.884 | 1226579.1706 | 2626863.6246 | 1226582.905 | 2626863.7107 | 1226585.6626 | 2626864.1927 | 1226588.0218
56 | 2626867.9378 | 1226554.1406 | 2626865.9074 | 1226523.1851
57 | 2626867.9378 | 1226554.1406 | 2626864.4207 | 1226554.2471 | 2626850.1311 | 1226555.0165 | 2626845.3013 | 1226555.4728 | 2626840.0721 | 1226556.0271
58 | 2626940.187 | 1226567.9508 | 2626927.1293 | 1226565.4549
59 | 2626864.1927 | 1226588.0218 | 2626865.2194 | 1226590.5946 | 2626866.7387 | 1226593.1696 | 2626868.7756 | 1226595.2578 | 2626871.1626 | 1226596.9919 | 2626875.3831 | 1226598.8787 | 2626876.4877 | 1226599.2559
60 | 2626865.9074 | 1226523.1851 | 2626865.7353 | 1226520.5621
61 | 2626839.8432 | 1226556.0514 | 2626840.0721 | 1226556.0271
62 | 2626940.187 | 1226567.9508 | 2626948.9543 | 1226569.6267 | 2626961.6657 | 1226572.597 | 2626971.1347 | 1226575.2859 | 2626977.4504 | 1226577.2298
63 | 2626890.6173 | 1226603.7614 | 2626880.5288 | 1226600.6363 | 2626876.4877 | 1226599.2559
64 | 2626865.7353 | 1226520.5621 | 2626865.2644 | 1226513.382 | 2626865.2886 | 1226513.0783
65 | 2626994.194 | 1226582.2898 | 2626990.6382 | 1226581.2889 | 2626977.4504 | 1226577.2298
66 | 2626890.6173 | 1226603.7614 | 2626910.3666 | 1226610.0882
67 | 2626890.6173 | 1226603.7614 | 2626887.1088 | 1226615.5973
68 | 2626890.6173 | 1226603.7614 | 2626894.7918 | 1226582.3199
69 | 2626866.2203 | 1226501.4014 | 2626865.2886 | 1226513.0783
70 | 2626804.3027 | 1226496.9149 | 2626809.7886 | 1226513.9154
71 | 2626813.2135 | 1226524.899 | 2626811.2493 | 1226518.4419 | 2626809.7886 | 1226513.9154
72 | 2626813.2135 | 1226524.899 | 2626813.2135 | 1226524.899 | 2626813.6957 | 1226527.2026 | 2626814.0238 | 1226530.0946 | 2626814.0977 | 1226536.6062
73 | 2626814.0804 | 1226550.3767 | 2626814.2029 | 1226545.8715 | 2626814.0977 | 1226536.6062
74 | 2626866.2977 | 1226500.8902 | 2626866.2203 | 1226501.4014
75 | 2627021.3641 | 1226589.3773 | 2627001.8785 | 1226584.4528 | 2626994.194 | 1226582.2898
76 | 2626869.3466 | 1226480.7634 | 2626866.2977 | 1226500.8902
77 | 2627021.3641 | 1226589.3773 | 2627045.7437 | 1226594.7244
78 | 2627008.1778 | 1226620.9475 | 2627021.3641 | 1226589.3773
79 | 2627028.9651 | 1226627.9237 | 2627033.1067 | 1226615.435 | 2627033.8705 | 1226614.1488 | 2627035.3384 | 1226612.9992 | 2627039.6656 | 1226611.3846 | 2627041.1247 | 1226610.524 | 2627042.4205 | 1226608.8956 | 2627043.3012 | 1226606.865 | 2627043.8418 | 1226604.6551 | 2627045.7437 | 1226594.7244
80 | 2626910.3666 | 1226610.0882 | 2626918.0874 | 1226612.5616
81 | 2626872.5113 | 1226639.0897 | 2626872.5113 | 1226639.0897 | 2626881.9747 | 1226632.9176 | 2626887.1088 | 1226615.5973
82 | 2626918.0874 | 1226612.5616 | 2626936.3745 | 1226618.42
83 | 2626872.5113 | 1226639.0897 | 2626867.6791 | 1226653.5321 | 2626866.9798 | 1226655.845
84 | 2626936.3745 | 1226618.42 | 2626948.0569 | 1226622.1625
85 | 2626864.5333 | 1226663.936 | 2626866.9798 | 1226655.845
86 | 2626815.5548 | 1226577.5257 | 2626815.6672 | 1226578.4822
87 | 2626815.6672 | 1226578.4822 | 2626816.5827 | 1226586.273 | 2626816.63 | 1226586.9366
88 | 2626810.0892 | 1226597.0294 | 2626812.3449 | 1226596.6602 | 2626814.3568 | 1226595.8799 | 2626815.5366 | 1226594.74 | 2626816.2474 | 1226593.4202 | 2626816.6866 | 1226591.8212 | 2626816.768 | 1226588.8754 | 2626816.63 | 1226586.9366
89 | 2626948.0569 | 1226622.1625 | 2626951.1979 | 1226623.1688 | 2626955.6004 | 1226625.012 | 2626956.3786 | 1226625.4748
90 | 2626960.2983 | 1226628.5798 | 2626959.4536 | 1226627.6755 | 2626958.0872 | 1226626.4908 | 2626956.3786 | 1226625.4748
91 | 2626966.8821 | 1226625.7079 | 2626960.2983 | 1226628.5798
92 | 2626960.2983 | 1226628.5798 | 2626961.1776 | 1226630.2181 | 2626962.1828 | 1226632.5018 | 2626963.0118 | 1226635.2183 | 2626963.3345 | 1226637.5878 | 2626963.4883 | 1226640.4458 | 2626963.1451 | 1226644.2687
93 | 2626864.5333 | 1226663.936 | 2626860.1613 | 1226678.3957
94 | 2626860.1613 | 1226678.3957 | 2626857.5006 | 1226687.1953 | 2626856.6044 | 1226690.0498
95 | 2626856.6044 | 1226690.0498 | 2626854.2932 | 1226697.4114
96 | 2626853.8069 | 1226698.9605 | 2626854.2932 | 1226697.4114
97 | 2626803.305 | 1226682.6221 | 2626806.7755 | 1226670.5348 | 2626811.2689 | 1226650.5097 | 2626812.6602 | 1226646.8342
98 | 2626799.3379 | 1226696.439 | 2626803.305 | 1226682.6221
99 | 2626783.7521 | 1226680.4817 | 2626786.6452 | 1226680.9172 | 2626788.1942 | 1226681.9358 | 2626794.6556 | 1226689.4138 | 2626797.0207 | 1226692.6486 | 2626799.3379 | 1226696.439
100 | 2626783.7521 | 1226680.4817 | 2626753.3942 | 1226680.0905
101 | 2626741.3743 | 1226679.9356 | 2626753.3942 | 1226680.0905
102 | 2626741.3743 | 1226679.9356 | 2626728.1133 | 1226679.6789
103 | 2626963.1451 | 1226644.2687 | 2626961.3051 | 1226658.1785
104 | 2626963.1451 | 1226644.2687 | 2627002.1798 | 1226655.0963 | 2627013.7592 | 1226657.649
105 | 2626679.4815 | 1226626.6714 | 2626682.252 | 1226624.2485 | 2626685.6804 | 1226621.9291 | 2626688.8721 | 1226620.0089 | 2626692.3591 | 1226618.1457 | 2626698.2924 | 1226615.5234
106 | 2626699.0028 | 1226615.2095 | 2626698.2924 | 1226615.5234
107 | 2626704.597 | 1226612.7371 | 2626699.0028 | 1226615.2095
108 | 2626704.597 | 1226612.7371 | 2626717.1379 | 1226607.1946 | 2626719.8372 | 1226605.9943
109 | 2626723.8749 | 1226604.1989 | 2626719.8372 | 1226605.9943

## bus_geodata
| x | y | coords
0 | 2626717.7199 | 1226494.8137
1 | 2626731.7876 | 1226490.6853
2 | 2626698.8719 | 1226500.345
3 | 2626754.008 | 1226484.1643
4 | 2626694.3437 | 1226501.6739
5 | 2626768.4179 | 1226480.2711
6 | 2626698.2615 | 1226513.6281
7 | 2626674.273 | 1226507.8062
8 | 2626761.8276 | 1226499.7753
9 | 2626774.3463 | 1226472.8468
10 | 2626741.796 | 1226457.6492
11 | 2626755.4275 | 1226452.5506
12 | 2626736.173 | 1226457.5017
13 | 2626700.1001 | 1226519.238
14 | 2626668.9656 | 1226509.4278
15 | 2626733.5235 | 1226448.094
16 | 2626756.9201 | 1226452.0384
17 | 2626775.7848 | 1226448.1961
18 | 2626782.0002 | 1226464.9229
19 | 2626770.8419 | 1226431.9243
20 | 2626788.1169 | 1226461.4594
21 | 2626748.92 | 1226413.8106
22 | 2626736.2954 | 1226393.4699
23 | 2626738.6167 | 1226399.6909
24 | 2626797.6344 | 1226481.2972
25 | 2626701.9011 | 1226524.7332
26 | 2626759.8613 | 1226515.1141
27 | 2626759.7491 | 1226523.0045
28 | 2626798.0483 | 1226482.1599
29 | 2626829.4066 | 1226461.6797
30 | 2626835.557 | 1226470.7834
31 | 2626836.8258 | 1226472.8986
32 | 2626841.6215 | 1226480.656
33 | 2626857.6983 | 1226493.9212
34 | 2626760.3131 | 1226557.029
35 | 2626760.3388 | 1226556.2567
36 | 2626758.0358 | 1226571.1676
37 | 2626778.1744 | 1226577.5507
38 | 2626753.4429 | 1226581.3086
39 | 2626759.9216 | 1226530.3199
40 | 2626793.0722 | 1226571.1384
41 | 2626752.3976 | 1226582.7081
42 | 2626813.7579 | 1226562.2349
43 | 2626780.8246 | 1226601.6882
44 | 2626782.4977 | 1226609.7392
45 | 2626791.8782 | 1226600.0101
46 | 2626726.6886 | 1226602.8917
47 | 2626880.8687 | 1226556.6123
48 | 2626903.6043 | 1226560.9582
49 | 2626867.9378 | 1226554.1406
50 | 2626927.1293 | 1226565.4549
51 | 2626864.1927 | 1226588.0218
52 | 2626865.9074 | 1226523.1851
53 | 2626840.0721 | 1226556.0271
54 | 2626940.187 | 1226567.9508
55 | 2626876.4877 | 1226599.2559
56 | 2626865.7353 | 1226520.5621
57 | 2626839.8432 | 1226556.0514
58 | 2626977.4504 | 1226577.2298
59 | 2626890.6173 | 1226603.7614
60 | 2626865.2886 | 1226513.0783
61 | 2626804.3027 | 1226496.9149
62 | 2626809.7886 | 1226513.9154
63 | 2626813.2135 | 1226524.899
64 | 2626814.0977 | 1226536.6062
65 | 2626814.0804 | 1226550.3767
66 | 2626866.2203 | 1226501.4014
67 | 2626994.194 | 1226582.2898
68 | 2626869.3466 | 1226480.7634
69 | 2626866.2977 | 1226500.8902
70 | 2627021.3641 | 1226589.3773
71 | 2627045.7437 | 1226594.7244
72 | 2627008.1778 | 1226620.9475
73 | 2626894.7918 | 1226582.3199
74 | 2626910.3666 | 1226610.0882
75 | 2626887.1088 | 1226615.5973
76 | 2626918.0874 | 1226612.5616
77 | 2626872.5113 | 1226639.0897
78 | 2626936.3745 | 1226618.42
79 | 2626866.9798 | 1226655.845
80 | 2626815.5548 | 1226577.5257
81 | 2626815.6672 | 1226578.4822
82 | 2626816.63 | 1226586.9366
83 | 2626948.0569 | 1226622.1625
84 | 2626956.3786 | 1226625.4748
85 | 2626810.0892 | 1226597.0294
86 | 2626960.2983 | 1226628.5798
87 | 2626864.5333 | 1226663.936
88 | 2626860.1613 | 1226678.3957
89 | 2626856.6044 | 1226690.0498
90 | 2626854.2932 | 1226697.4114
91 | 2626853.8069 | 1226698.9605
92 | 2626803.305 | 1226682.6221
93 | 2626812.6602 | 1226646.8342
94 | 2626799.3379 | 1226696.439
95 | 2626783.7521 | 1226680.4817
96 | 2626753.3942 | 1226680.0905
97 | 2626741.3743 | 1226679.9356
98 | 2626966.8821 | 1226625.7079
99 | 2626963.1451 | 1226644.2687
100 | 2626679.4815 | 1226626.6714
101 | 2626698.2924 | 1226615.5234
102 | 2626699.0028 | 1226615.2095
103 | 2626704.597 | 1226612.7371
104 | 2626728.1133 | 1226679.6789
105 | 2626719.8372 | 1226605.9943
106 | 2626723.8749 | 1226604.1989
107 | 2627028.9651 | 1226627.9237
108 | 2627013.7592 | 1226657.649
109 | 2626961.3051 | 1226658.1785
110 | 2626702.2914 | 1226525.924
111 | 2626793.0722 | 1226571.1384

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1