## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_331-8_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_331-8_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_331-8_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_331-8_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_331-8_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_331-8_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_331-8_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_331-8_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_331-8_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_331-8_0_4_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_331-8_0_4_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_331-8_0_4_node_25 | 0.4 | n |  | TRUE
12 | bus_LV_331-8_0_4_node_26 | 0.4 | n |  | TRUE
13 | bus_LV_331-8_0_4_node_27 | 0.4 | n |  | TRUE
14 | bus_LV_331-8_0_4_node_34 | 0.4 | n |  | TRUE
15 | bus_LV_331-8_0_4_node_35 | 0.4 | n |  | TRUE
16 | bus_LV_331-8_0_4_node_50 | 0.4 | n |  | TRUE
17 | bus_LV_331-8_0_4_node_21 | 0.4 | n |  | TRUE
18 | bus_LV_331-8_0_4_node_37 | 0.4 | n |  | TRUE
19 | bus_LV_331-8_0_4_node_63 | 0.4 | n |  | TRUE
20 | bus_LV_331-8_0_4_node_36 | 0.4 | n |  | TRUE
21 | bus_LV_331-8_0_4_node_51 | 0.4 | n |  | TRUE
22 | bus_LV_331-8_0_4_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_331-8_0_4_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_331-8_0_4_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_331-8_0_4_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_331-8_0_4_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_331-8_0_4_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_331-8_0_4_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_331-8_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_331-8_0_4_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_331-8_0_4_node_104 | 0.4 | n |  | TRUE
32 | bus_LV_331-8_0_4_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_331-8_0_4_node_68 | 0.4 | n |  | TRUE
34 | bus_LV_331-8_0_4_node_105 | 0.4 | n |  | TRUE
35 | bus_LV_331-8_0_4_node_87 | 0.4 | n |  | TRUE
36 | bus_LV_331-8_0_4_node_106 | 0.4 | n |  | TRUE
37 | bus_LV_331-8_0_4_node_113 | 0.4 | n |  | TRUE
38 | bus_LV_331-8_0_4_node_107 | 0.4 | n |  | TRUE
39 | bus_LV_331-8_0_4_node_108 | 0.4 | n |  | TRUE
40 | bus_LV_331-8_0_4_node_109 | 0.4 | n |  | TRUE
41 | bus_LV_331-8_0_4_node_110 | 0.4 | n |  | TRUE
42 | bus_LV_331-8_0_4_node_111 | 0.4 | n |  | TRUE
43 | bus_LV_331-8_0_4_node_112 | 0.4 | n |  | TRUE
44 | bus_LV_331-8_0_4_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_331-8_0_4_node_67 | 0.4 | n |  | TRUE
46 | bus_LV_331-8_0_4_node_22 | 0.4 | n |  | TRUE
47 | bus_LV_331-8_0_4_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_331-8_0_4_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_331-8_0_4_node_29 | 0.4 | n |  | TRUE
50 | bus_LV_331-8_0_4_node_32 | 0.4 | n |  | TRUE
51 | bus_LV_331-8_0_4_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_331-8_0_4_node_30 | 0.4 | n |  | TRUE
53 | bus_LV_331-8_0_4_node_64 | 0.4 | n |  | TRUE
54 | bus_LV_331-8_0_4_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_331-8_0_4_node_62 | 0.4 | n |  | TRUE
56 | bus_LV_331-8_0_4_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_331-8_0_4_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_331-8_0_4_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_331-8_0_4_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_331-8_0_4_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_331-8_0_4_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_331-8_0_4_node_44 | 0.4 | n |  | TRUE
63 | bus_LV_331-8_0_4_node_41 | 0.4 | n |  | TRUE
64 | bus_LV_331-8_0_4_node_42 | 0.4 | n |  | TRUE
65 | bus_LV_331-8_0_4_node_43 | 0.4 | n |  | TRUE
66 | bus_LV_331-8_0_4_node_45 | 0.4 | n |  | TRUE
67 | bus_LV_331-8_0_4_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_331-8_0_4_node_52 | 0.4 | n |  | TRUE
69 | bus_LV_331-8_0_4_node_53 | 0.4 | n |  | TRUE
70 | bus_LV_331-8_0_4_node_54 | 0.4 | n |  | TRUE
71 | bus_LV_331-8_0_4_node_55 | 0.4 | n |  | TRUE
72 | bus_LV_331-8_0_4_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_331-8_0_4_node_57 | 0.4 | n |  | TRUE
74 | bus_LV_331-8_0_4_node_58 | 0.4 | n |  | TRUE
75 | bus_LV_331-8_0_4_node_79 | 0.4 | n |  | TRUE
76 | bus_LV_331-8_0_4_node_75 | 0.4 | n |  | TRUE
77 | bus_LV_331-8_0_4_node_91 | 0.4 | n |  | TRUE
78 | bus_LV_331-8_0_4_node_73 | 0.4 | n |  | TRUE
79 | bus_LV_331-8_0_4_node_76 | 0.4 | n |  | TRUE
80 | bus_LV_331-8_0_4_node_59 | 0.4 | n |  | TRUE
81 | bus_LV_331-8_0_4_node_61 | 0.4 | n |  | TRUE
82 | bus_LV_331-8_0_4_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_331-8_0_4_node_77 | 0.4 | n |  | TRUE
84 | bus_LV_331-8_0_4_node_65 | 0.4 | n |  | TRUE
85 | bus_LV_331-8_0_4_node_66 | 0.4 | n |  | TRUE
86 | bus_LV_331-8_0_4_node_86 | 0.4 | n |  | TRUE
87 | bus_LV_331-8_0_4_node_69 | 0.4 | n |  | TRUE
88 | bus_LV_331-8_0_4_node_70 | 0.4 | n |  | TRUE
89 | bus_LV_331-8_0_4_node_71 | 0.4 | n |  | TRUE
90 | bus_LV_331-8_0_4_node_72 | 0.4 | n |  | TRUE
91 | bus_LV_331-8_0_4_node_74 | 0.4 | n |  | TRUE
92 | bus_LV_331-8_0_4_node_88 | 0.4 | n |  | TRUE
93 | bus_LV_331-8_0_4_node_82 | 0.4 | n |  | TRUE
94 | bus_LV_331-8_0_4_node_80 | 0.4 | n |  | TRUE
95 | bus_LV_331-8_0_4_node_93 | 0.4 | n |  | TRUE
96 | bus_LV_331-8_0_4_node_89 | 0.4 | n |  | TRUE
97 | bus_LV_331-8_0_4_node_81 | 0.4 | n |  | TRUE
98 | bus_LV_331-8_0_4_node_83 | 0.4 | n |  | TRUE
99 | bus_LV_331-8_0_4_node_84 | 0.4 | n |  | TRUE
100 | bus_LV_331-8_0_4_node_85 | 0.4 | n |  | TRUE
101 | bus_LV_331-8_0_4_node_102 | 0.4 | n |  | TRUE
102 | bus_LV_331-8_0_4_node_100 | 0.4 | n |  | TRUE
103 | bus_LV_331-8_0_4_node_90 | 0.4 | n |  | TRUE
104 | bus_LV_331-8_0_4_node_92 | 0.4 | n |  | TRUE
105 | bus_LV_331-8_0_4_node_94 | 0.4 | n |  | TRUE
106 | bus_LV_331-8_0_4_node_95 | 0.4 | n |  | TRUE
107 | bus_LV_331-8_0_4_node_96 | 0.4 | n |  | TRUE
108 | bus_LV_331-8_0_4_node_97 | 0.4 | n |  | TRUE
109 | bus_LV_331-8_0_4_node_98 | 0.4 | n |  | TRUE
110 | bus_LV_331-8_0_4_node_99 | 0.4 | n |  | TRUE
111 | bus_LV_331-8_0_4_node_101 | 0.4 | n |  | TRUE
112 | bus_LV_331-8_0_4_node_103 | 0.4 | n |  | TRUE
113 | bus_LV_331-8_0_4_node_114 | 0.4 | n |  | TRUE
114 | bus_LV_331-8_0_4_node_115 | 0.4 | n |  | TRUE
115 | bus_MV_476_0_node_124 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_331-8_0_4_load_0 | 0 | 0.0033575 | 0.00084147 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_331-8_0_4_load_1 | 1 | 0.0016715 | 0.00041893 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_331-8_0_4_load_4 | 4 | 0.0032763 | 0.00082113 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_331-8_0_4_load_5 | 5 | 0.0029696 | 0.00074425 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_331-8_0_4_load_6 | 6 | 0.0013997 | 0.0003508 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_331-8_0_4_load_7 | 7 | 0.0011013 | 0.000276 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_331-8_0_4_load_8 | 8 | 0.002734 | 0.0006852 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_331-8_0_4_load_10 | 10 | 0.0025011 | 0.00062685 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_331-8_0_4_load_25 | 11 | 0.00087456 | 0.00021919 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_331-8_0_4_load_26 | 12 | 0.0013736 | 0.00034425 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_331-8_0_4_load_27 | 13 | 0.0041791 | 0.0010474 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_331-8_0_4_load_34 | 14 | 0.002691 | 0.00067444 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_331-8_0_4_load_35 | 15 | 0.0041398 | 0.0010375 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_331-8_0_4_load_50 | 16 | 0.0022253 | 0.00055771 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_331-8_0_4_load_21 | 17 | 0.00047325 | 0.00011861 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_331-8_0_4_load_37 | 18 | 0.0026928 | 0.00067487 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_331-8_0_4_load_63 | 19 | 0.0017249 | 0.0004323 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_331-8_0_4_load_36 | 20 | 0.0038046 | 0.00095352 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_331-8_0_4_load_51 | 21 | 0.0014501 | 0.00036344 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_331-8_0_4_load_11 | 22 | 0.0093629 | 0.0023466 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_331-8_0_4_load_18 | 23 | 0.074408 | 0.018648 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_331-8_0_4_load_15 | 26 | 0.0060513 | 0.0015166 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_331-8_0_4_load_16 | 27 | 0.001705 | 0.00042731 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_331-8_0_4_load_17 | 28 | 0.026046 | 0.0065278 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_331-8_0_4_load_19 | 29 | 0.0010289 | 0.00025786 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_331-8_0_4_load_20 | 30 | 0.016122 | 0.0040406 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_331-8_0_4_load_104 | 31 | 0.011402 | 0.0028576 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_331-8_0_4_load_23 | 32 | 0.0043461 | 0.0010892 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_331-8_0_4_load_105 | 34 | 0.0011223 | 0.00028127 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_331-8_0_4_load_87 | 35 | 0.011425 | 0.0028633 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_331-8_0_4_load_106 | 36 | 0.005165 | 0.0012945 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_331-8_0_4_load_113 | 37 | 0.015056 | 0.0037735 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_331-8_0_4_load_107 | 38 | 0.0036679 | 0.00091927 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_331-8_0_4_load_108 | 39 | 0.0012142 | 0.0003043 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_331-8_0_4_load_109 | 40 | 0.0054487 | 0.0013656 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_331-8_0_4_load_110 | 41 | 0.0021355 | 0.00053522 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_331-8_0_4_load_111 | 42 | 0.0047992 | 0.0012028 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_331-8_0_4_load_112 | 43 | 0.041096 | 0.0103 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_331-8_0_4_load_67 | 45 | 0.0020966 | 0.00052545 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_331-8_0_4_load_22 | 46 | 0.0061648 | 0.001545 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_331-8_0_4_load_28 | 47 | 0.0012529 | 0.00031402 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_331-8_0_4_load_29 | 49 | 0.00099953 | 0.00025051 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_331-8_0_4_load_32 | 50 | 0.0012752 | 0.00031959 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_331-8_0_4_load_33 | 51 | 0.00094165 | 0.000236 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_331-8_0_4_load_30 | 52 | 0.0027173 | 0.00068102 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_331-8_0_4_load_64 | 53 | 0.0017564 | 0.0004402 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_331-8_0_4_load_49 | 54 | 0.0016843 | 0.00042212 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_331-8_0_4_load_62 | 55 | 0.0024331 | 0.00060979 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_331-8_0_4_load_38 | 56 | 0.0073335 | 0.001838 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_331-8_0_4_load_39 | 57 | 0.0044441 | 0.0011138 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_331-8_0_4_load_40 | 58 | 0.0023453 | 0.00058779 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_331-8_0_4_load_47 | 59 | 0.0021939 | 0.00054984 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_331-8_0_4_load_48 | 60 | 0.0049457 | 0.0012395 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_331-8_0_4_load_46 | 61 | 0.0021723 | 0.00054444 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_331-8_0_4_load_44 | 62 | 0.0016404 | 0.00041112 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_331-8_0_4_load_41 | 63 | 0.0011468 | 0.00028743 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_331-8_0_4_load_42 | 64 | 0.0016496 | 0.00041343 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_331-8_0_4_load_43 | 65 | 0.0027756 | 0.00069563 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_331-8_0_4_load_45 | 66 | 0.0032496 | 0.00081442 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_331-8_0_4_load_60 | 67 | 0.0034301 | 0.00085967 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_331-8_0_4_load_52 | 68 | 0.0024721 | 0.00061958 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_331-8_0_4_load_53 | 69 | 0.0027153 | 0.00068051 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_331-8_0_4_load_54 | 70 | 0.0026426 | 0.00066229 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_331-8_0_4_load_55 | 71 | 0.002079 | 0.00052105 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_331-8_0_4_load_56 | 72 | 0.001554 | 0.00038946 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_331-8_0_4_load_57 | 73 | 0.0020281 | 0.00050828 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_331-8_0_4_load_58 | 74 | 0.0034945 | 0.00087579 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_331-8_0_4_load_75 | 76 | 0.0020107 | 0.00050394 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_331-8_0_4_load_76 | 79 | 0.0040214 | 0.0010079 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_331-8_0_4_load_59 | 80 | 0.0031005 | 0.00077706 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_331-8_0_4_load_61 | 81 | 0.0011675 | 0.00029261 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_331-8_0_4_load_78 | 82 | 0.0026562 | 0.0006657 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_331-8_0_4_load_77 | 83 | 0.0016506 | 0.00041368 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_331-8_0_4_load_65 | 84 | 0.0023089 | 0.00057868 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_331-8_0_4_load_66 | 85 | 0.0040808 | 0.0010227 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_331-8_0_4_load_69 | 87 | 0.0010506 | 0.0002633 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_331-8_0_4_load_70 | 88 | 0.002928 | 0.00073383 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_331-8_0_4_load_71 | 89 | 0.0017695 | 0.00044347 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_331-8_0_4_load_88 | 92 | 0.001858 | 0.00046565 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_331-8_0_4_load_82 | 93 | 0.0018763 | 0.00047025 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_331-8_0_4_load_80 | 94 | 0.0015132 | 0.00037923 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_331-8_0_4_load_93 | 95 | 0.00099724 | 0.00024993 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_331-8_0_4_load_89 | 96 | 0.0027941 | 0.00070027 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_331-8_0_4_load_81 | 97 | 0.0017119 | 0.00042903 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_331-8_0_4_load_83 | 98 | 0.0023808 | 0.00059669 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_331-8_0_4_load_85 | 100 | 0.0051501 | 0.0012907 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_331-8_0_4_load_102 | 101 | 0.0041166 | 0.0010317 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_331-8_0_4_load_100 | 102 | 0.0022901 | 0.00057396 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_331-8_0_4_load_90 | 103 | 0.00079403 | 0.000199 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_331-8_0_4_load_92 | 104 | 0.00044776 | 0.00011222 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_331-8_0_4_load_94 | 105 | 0.00066949 | 0.00016779 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_331-8_0_4_load_95 | 106 | 0.0010557 | 0.00026458 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_331-8_0_4_load_96 | 107 | 0.0021008 | 0.0005265 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_331-8_0_4_load_97 | 108 | 0.00069709 | 0.00017471 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_331-8_0_4_load_99 | 110 | 0.0013084 | 0.0003279 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_331-8_0_4_load_101 | 111 | 0.0016232 | 0.00040681 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_331-8_0_4_load_103 | 112 | 0.001634 | 0.00040953 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_331-8_0_4_load_114 | 113 | 0.0013193 | 0.00033066 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_331-8_0_4_load_115 | 114 | 0.0018227 | 0.00045682 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_331-8_0_4_line_0 |  | 0 | 1 | 0.033671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_331-8_0_4_line_1 |  | 0 | 2 | 0.013916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_331-8_0_4_line_2 |  | 1 | 3 | 0.02163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_331-8_0_4_line_3 |  | 2 | 4 | 0.0076157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_331-8_0_4_line_4 |  | 2 | 5 | 0.018212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_331-8_0_4_line_5 |  | 3 | 6 | 0.046521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_331-8_0_4_line_6 |  | 3 | 7 | 0.013788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_331-8_0_4_line_7 |  | 3 | 8 | 0.017113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_331-8_0_4_line_8 |  | 4 | 9 | 0.028448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_331-8_0_4_line_9 |  | 5 | 10 | 0.0019087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_331-8_0_4_line_10 |  | 6 | 11 | 0.0088366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_331-8_0_4_line_11 |  | 7 | 12 | 0.02866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_331-8_0_4_line_12 |  | 8 | 13 | 0.0055915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_331-8_0_4_line_13 |  | 9 | 14 | 0.0078376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_331-8_0_4_line_14 |  | 9 | 15 | 0.01583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_331-8_0_4_line_15 |  | 10 | 16 | 0.016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_331-8_0_4_line_16 |  | 11 | 17 | 0.026859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_331-8_0_4_line_17 |  | 12 | 18 | 0.0046899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_331-8_0_4_line_18 |  | 13 | 19 | 0.024348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_331-8_0_4_line_19 |  | 15 | 20 | 0.0060366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_331-8_0_4_line_20 |  | 16 | 21 | 0.0073331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_331-8_0_4_line_21 |  | 17 | 46 | 0.011804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_331-8_0_4_line_22 |  | 18 | 51 | 0.015512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_331-8_0_4_line_23 |  | 19 | 53 | 0.001942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_331-8_0_4_line_24 |  | 21 | 61 | 0.0067834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_331-8_0_4_line_25 |  | 22 | 23 | 0.045159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_331-8_0_4_line_26 |  | 23 | 24 | 0.031879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_331-8_0_4_line_27 |  | 24 | 28 | 0.027551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_331-8_0_4_line_28 |  | 24 | 25 | 0.022862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_331-8_0_4_line_29 |  | 25 | 26 | 0.024724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_331-8_0_4_line_30 |  | 25 | 27 | 0.016869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_331-8_0_4_line_31 |  | 26 | 29 | 0.00060624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_331-8_0_4_line_32 |  | 27 | 30 | 0.0090177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_331-8_0_4_line_33 |  | 28 | 31 | 0.037348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_331-8_0_4_line_34 |  | 29 | 32 | 0.026129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_331-8_0_4_line_35 |  | 30 | 33 | 0.017715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_331-8_0_4_line_36 |  | 31 | 34 | 0.023286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_331-8_0_4_line_37 |  | 31 | 35 | 0.031841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_331-8_0_4_line_38 |  | 32 | 44 | 0.020052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_331-8_0_4_line_39 |  | 33 | 45 | 0.024276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_331-8_0_4_line_40 |  | 34 | 36 | 0.0013999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_331-8_0_4_line_41 |  | 35 | 86 | 0.024996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_331-8_0_4_line_42 |  | 36 | 37 | 0.0099534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_331-8_0_4_line_43 |  | 37 | 43 | 0.0083769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_331-8_0_4_line_44 |  | 38 | 39 | 0.0105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_331-8_0_4_line_45 |  | 38 | 40 | 0.014027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_331-8_0_4_line_46 |  | 39 | 41 | 0.008093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_331-8_0_4_line_47 |  | 41 | 42 | 0.020672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_331-8_0_4_line_48 |  | 42 | 43 | 0.0080061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_331-8_0_4_line_49 |  | 44 | 48 | 0.009465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_331-8_0_4_line_50 |  | 44 | 49 | 0.01313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_331-8_0_4_line_51 |  | 45 | 85 | 0.0011509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_331-8_0_4_line_52 |  | 46 | 47 | 0.0086341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_331-8_0_4_line_53 |  | 48 | 50 | 0.015757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_331-8_0_4_line_54 |  | 48 | 51 | 0.0083387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_331-8_0_4_line_55 |  | 49 | 52 | 0.015132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_331-8_0_4_line_56 |  | 50 | 54 | 0.024535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_331-8_0_4_line_57 |  | 53 | 82 | 3.9743e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_331-8_0_4_line_58 |  | 54 | 55 | 0.011811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_331-8_0_4_line_59 |  | 55 | 67 | 0.021827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_331-8_0_4_line_60 |  | 56 | 57 | 0.0087977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_331-8_0_4_line_61 |  | 57 | 58 | 0.016265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_331-8_0_4_line_62 |  | 58 | 59 | 0.0083255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_331-8_0_4_line_63 |  | 59 | 60 | 0.0029941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_331-8_0_4_line_64 |  | 60 | 62 | 0.033064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_331-8_0_4_line_65 |  | 61 | 62 | 0.010779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_331-8_0_4_line_66 |  | 62 | 64 | 0.0059075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_331-8_0_4_line_67 |  | 63 | 64 | 0.01209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_331-8_0_4_line_68 |  | 63 | 65 | 0.0018519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_331-8_0_4_line_69 |  | 65 | 66 | 0.010349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_331-8_0_4_line_70 |  | 67 | 80 | 0.0059433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_331-8_0_4_line_71 |  | 68 | 69 | 0.021458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_331-8_0_4_line_72 |  | 68 | 70 | 0.0015801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_331-8_0_4_line_73 |  | 69 | 71 | 0.015889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_331-8_0_4_line_74 |  | 70 | 72 | 0.020831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_331-8_0_4_line_75 |  | 71 | 73 | 0.0057705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_331-8_0_4_line_76 |  | 72 | 74 | 0.0069666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_331-8_0_4_line_77 |  | 73 | 75 | 0.017465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_331-8_0_4_line_78 |  | 74 | 76 | 0.023397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_331-8_0_4_line_79 |  | 75 | 77 | 0.026821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_331-8_0_4_line_80 |  | 75 | 78 | 0.025983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_331-8_0_4_line_81 |  | 76 | 79 | 0.00042263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_331-8_0_4_line_82 |  | 77 | 95 | 0.016969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_331-8_0_4_line_83 |  | 77 | 96 | 0.029139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_331-8_0_4_line_84 |  | 78 | 92 | 0.023311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_331-8_0_4_line_85 |  | 78 | 90 | 0.018696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_331-8_0_4_line_86 |  | 79 | 83 | 0.028303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_331-8_0_4_line_87 |  | 80 | 81 | 0.0044367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_331-8_0_4_line_88 |  | 82 | 83 | 0.0018889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_331-8_0_4_line_89 |  | 84 | 85 | 0.00067589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_331-8_0_4_line_90 |  | 86 | 99 | 0.048657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_331-8_0_4_line_91 |  | 87 | 88 | 0.040566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_331-8_0_4_line_92 |  | 87 | 89 | 0.021271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_331-8_0_4_line_93 |  | 88 | 90 | 0.019831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_331-8_0_4_line_94 |  | 90 | 91 | 0.016003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_331-8_0_4_line_95 |  | 91 | 93 | 0.021949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_331-8_0_4_line_96 |  | 93 | 94 | 0.027883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_331-8_0_4_line_97 |  | 94 | 97 | 0.020314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_331-8_0_4_line_98 |  | 95 | 106 | 0.00063016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_331-8_0_4_line_99 |  | 96 | 103 | 0.0034252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_331-8_0_4_line_100 |  | 97 | 98 | 0.018884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_331-8_0_4_line_101 |  | 99 | 100 | 0.014396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_331-8_0_4_line_102 |  | 100 | 101 | 0.0060515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_331-8_0_4_line_103 |  | 101 | 102 | 0.027133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_331-8_0_4_line_104 |  | 102 | 109 | 0.010679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_331-8_0_4_line_105 |  | 103 | 104 | 0.027198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_331-8_0_4_line_106 |  | 104 | 105 | 0.00052365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_331-8_0_4_line_107 |  | 107 | 108 | 0.017807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_331-8_0_4_line_108 |  | 107 | 109 | 0.011112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_331-8_0_4_line_109 |  | 108 | 110 | 0.0067338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_331-8_0_4_line_110 |  | 109 | 111 | 0.012323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_331-8_0_4_line_111 |  | 111 | 112 | 0.0035273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_331-8_0_4_line_112 |  | 112 | 113 | 0.023441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_331-8_0_4_line_113 |  | 113 | 114 | 0.0011955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_331-8_0_4_trafo_23 | 0.63 MVA 20/0.4 kV | 115 | 32 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2627105.4386 | 1226393.1581 | 2627101.4424 | 1226394.38 | 2627088.6009 | 1226398.2684 | 2627075.482 | 1226399.8319 | 2627072.6387 | 1226400.1647
1 | 2627118.7468 | 1226389.0889 | 2627105.4386 | 1226393.1581
2 | 2627051.1553 | 1226402.6788 | 2627072.6387 | 1226400.1647
3 | 2627118.7468 | 1226389.0889 | 2627126.0454 | 1226386.9144
4 | 2627118.7468 | 1226389.0889 | 2627118.4401 | 1226407.2985
5 | 2627051.1553 | 1226402.6788 | 2627058.6376 | 1226356.7637
6 | 2627051.1553 | 1226402.6788 | 2627038.6674 | 1226403.8228 | 2627037.4217 | 1226403.9025
7 | 2627051.1553 | 1226402.6788 | 2627053.3845 | 1226409.1594 | 2627053.702 | 1226419.4144
8 | 2627153.2635 | 1226382.0974 | 2627148.0039 | 1226380.3724 | 2627126.0454 | 1226386.9144
9 | 2627118.4401 | 1226407.2985 | 2627118.408 | 1226409.2069
10 | 2627060.0588 | 1226348.0421 | 2627058.6376 | 1226356.7637
11 | 2627037.4217 | 1226403.9025 | 2627023.7475 | 1226404.7779 | 2627008.7893 | 1226404.7724
12 | 2627053.702 | 1226419.4144 | 2627053.748 | 1226420.9014 | 2627053.5714 | 1226425.0014
13 | 2627153.2635 | 1226382.0974 | 2627157.7508 | 1226388.5233
14 | 2627153.2635 | 1226382.0974 | 2627167.9285 | 1226376.1371
15 | 2627118.408 | 1226409.2069 | 2627118.1386 | 1226425.2046
16 | 2627060.0588 | 1226348.0421 | 2627061.2847 | 1226321.2114
17 | 2627004.0994 | 1226404.7706 | 2627008.7893 | 1226404.7724
18 | 2627053.5714 | 1226425.0014 | 2627052.6043 | 1226447.4565 | 2627052.5667 | 1226449.328
19 | 2627167.9285 | 1226376.1371 | 2627173.5208 | 1226373.8642
20 | 2627118.0151 | 1226432.5366 | 2627118.1386 | 1226425.2046
21 | 2627061.2847 | 1226321.2114 | 2627065.2606 | 1226322.4727 | 2627072.4721 | 1226319.9706 | 2627072.4721 | 1226319.9706
22 | 2626988.6114 | 1226403.9525 | 2627002.3745 | 1226404.77 | 2627004.0994 | 1226404.7706
23 | 2627052.5667 | 1226449.328 | 2627052.5277 | 1226451.2696
24 | 2627118.0151 | 1226432.5366 | 2627117.9009 | 1226439.319
25 | 2626889.6146 | 1226350.6836 | 2626926.472 | 1226324.5905
26 | 2626889.6146 | 1226350.6836 | 2626884.5059 | 1226357.4869 | 2626880.6453 | 1226369.8657 | 2626879.583 | 1226380.2227
27 | 2626879.583 | 1226380.2227 | 2626864.6232 | 1226379.9106 | 2626851.9573 | 1226380.1759
28 | 2626901.1439 | 1226387.2908 | 2626896.6242 | 1226384.5021 | 2626891.3047 | 1226382.5992 | 2626879.583 | 1226380.2227
29 | 2626901.1439 | 1226387.2908 | 2626914.9692 | 1226392.1116 | 2626924.7672 | 1226394.4879
30 | 2626901.1439 | 1226387.2908 | 2626895.6772 | 1226392.8139 | 2626892.8062 | 1226397.526 | 2626890.9009 | 1226400.5574
31 | 2626924.7672 | 1226394.4879 | 2626925.3564 | 1226394.6307
32 | 2626886.1024 | 1226408.1923 | 2626890.9009 | 1226400.5574
33 | 2626851.9573 | 1226380.1759 | 2626818.3827 | 1226396.534
34 | 2626951.009 | 1226399.53 | 2626932.8135 | 1226396.4392 | 2626925.3564 | 1226394.6307
35 | 2626876.6758 | 1226423.1907 | 2626886.1024 | 1226408.1923
36 | 2626818.3827 | 1226396.534 | 2626812.4024 | 1226385.1453 | 2626806.1657 | 1226376.794
37 | 2626824.0263 | 1226427.6673 | 2626822.5416 | 1226410.7506 | 2626819.3309 | 1226398.3399 | 2626818.3827 | 1226396.534
38 | 2626970.8642 | 1226402.3148 | 2626955.5409 | 1226400.2998 | 2626951.009 | 1226399.53
39 | 2626876.6758 | 1226423.1907 | 2626881.3047 | 1226426.9805 | 2626890.7725 | 1226428.3018 | 2626899.3182 | 1226427.3954 | 2626899.4536 | 1226427.3591
40 | 2626805.3281 | 1226375.6724 | 2626806.1657 | 1226376.794
41 | 2626825.9154 | 1226452.5908 | 2626824.8414 | 1226436.9544 | 2626824.0263 | 1226427.6673
42 | 2626805.3281 | 1226375.6724 | 2626804.7632 | 1226374.916 | 2626800.8421 | 1226366.8047
43 | 2626800.8421 | 1226366.8047 | 2626797.1963 | 1226359.2628
44 | 2626778.5602 | 1226315.8352 | 2626782.4165 | 1226325.6018
45 | 2626778.5602 | 1226315.8352 | 2626774.3584 | 1226305.1933 | 2626773.4415 | 1226302.7752
46 | 2626782.4165 | 1226325.6018 | 2626784.2353 | 1226330.2082 | 2626785.4903 | 1226333.0871
47 | 2626793.751 | 1226352.0368 | 2626785.4903 | 1226333.0871
48 | 2626793.751 | 1226352.0368 | 2626794.1902 | 1226353.0443 | 2626797.1963 | 1226359.2628
49 | 2626970.8642 | 1226402.3148 | 2626980.2874 | 1226403.4581
50 | 2626970.8642 | 1226402.3148 | 2626973.3557 | 1226389.4238
51 | 2626899.4536 | 1226427.3591 | 2626900.5654 | 1226427.0615
52 | 2627080.3507 | 1226323.5026 | 2627072.4721 | 1226319.9706
53 | 2626980.2874 | 1226403.4581 | 2626980.5846 | 1226419.2121
54 | 2626980.2874 | 1226403.4581 | 2626988.6114 | 1226403.9525
55 | 2626976.227 | 1226374.5669 | 2626973.3557 | 1226389.4238
56 | 2626981.4214 | 1226443.7327 | 2626980.6358 | 1226421.9262 | 2626980.5846 | 1226419.2121
57 | 2627052.5276 | 1226451.2736 | 2627052.5277 | 1226451.2696
58 | 2626981.4214 | 1226443.7327 | 2626981.437 | 1226444.1654 | 2626981.849 | 1226455.5363
59 | 2626982.508 | 1226477.353 | 2626982.3128 | 1226468.3393 | 2626981.849 | 1226455.5363
60 | 2627175.0851 | 1226434.7474 | 2627182.8653 | 1226430.6403
61 | 2627175.0851 | 1226434.7474 | 2627160.7016 | 1226442.3403
62 | 2627160.7016 | 1226442.3403 | 2627153.339 | 1226446.227
63 | 2627150.6912 | 1226447.6247 | 2627153.339 | 1226446.227
64 | 2627117.7194 | 1226450.0968 | 2627150.6912 | 1226447.6247
65 | 2627117.9009 | 1226439.319 | 2627117.7194 | 1226450.0968
66 | 2627117.62 | 1226456.0035 | 2627117.7194 | 1226450.0968
67 | 2627117.4164 | 1226468.0918 | 2627117.62 | 1226456.0035
68 | 2627117.4164 | 1226468.0918 | 2627117.3852 | 1226469.9434
69 | 2627117.211 | 1226480.2906 | 2627117.3852 | 1226469.9434
70 | 2626982.6367 | 1226483.2949 | 2626982.508 | 1226477.353
71 | 2627050.6592 | 1226534.6388 | 2627050.5305 | 1226538.6237 | 2627049.8873 | 1226556.0825
72 | 2627050.6592 | 1226534.6388 | 2627050.7102 | 1226533.0595
73 | 2627049.8873 | 1226556.0825 | 2627049.6402 | 1226562.7897 | 2627049.1568 | 1226571.9542
74 | 2627050.7102 | 1226533.0595 | 2627051.3823 | 1226512.2396
75 | 2627049.1568 | 1226571.9542 | 2627048.8528 | 1226577.7167
76 | 2627051.3823 | 1226512.2396 | 2627051.6071 | 1226505.2767
77 | 2627047.5608 | 1226595.1329 | 2627048.6534 | 1226581.4964 | 2627048.8528 | 1226577.7167
78 | 2627051.9253 | 1226481.8819 | 2627051.633 | 1226504.475 | 2627051.6071 | 1226505.2767
79 | 2627021.3641 | 1226589.3773 | 2627045.7437 | 1226594.7244 | 2627047.5608 | 1226595.1329
80 | 2627047.5608 | 1226595.1329 | 2627073.1162 | 1226600.2186
81 | 2627051.9253 | 1226481.8819 | 2627051.9307 | 1226481.4593
82 | 2627021.3641 | 1226589.3773 | 2627014.8241 | 1226605.0351
83 | 2627021.3641 | 1226589.3773 | 2627001.8785 | 1226584.4528 | 2626993.1759 | 1226582.0032
84 | 2627073.1162 | 1226600.2186 | 2627066.2988 | 1226622.5103
85 | 2627091.2767 | 1226604.8594 | 2627082.466 | 1226602.4291 | 2627073.1162 | 1226600.2186
86 | 2627051.9307 | 1226481.4593 | 2627051.9482 | 1226480.1064 | 2627052.4896 | 1226453.1621
87 | 2626982.7328 | 1226487.7306 | 2626982.6367 | 1226483.2949
88 | 2627052.5276 | 1226451.2736 | 2627052.4896 | 1226453.1621
89 | 2626900.5654 | 1226427.0615 | 2626901.2183 | 1226426.8867
90 | 2626870.751 | 1226471.4929 | 2626825.9154 | 1226452.5908
91 | 2627094.2245 | 1226544.5492 | 2627094.2255 | 1226544.7147 | 2627093.4157 | 1226567.8026 | 2627092.7687 | 1226585.0886
92 | 2627094.0881 | 1226523.2791 | 2627094.2245 | 1226544.5492
93 | 2627091.2767 | 1226604.8594 | 2627092.6048 | 1226589.4674 | 2627092.7687 | 1226585.0886
94 | 2627091.2767 | 1226604.8594 | 2627101.487 | 1226607.841 | 2627106.6253 | 1226609.532
95 | 2627106.6253 | 1226609.532 | 2627111.6974 | 1226588.1767
96 | 2627116.3685 | 1226560.7941 | 2627116.2504 | 1226566.2388 | 2627115.7044 | 1226571.306 | 2627111.6974 | 1226588.1767
97 | 2627116.3685 | 1226560.7941 | 2627116.8093 | 1226540.4848
98 | 2627014.5812 | 1226605.6166 | 2627014.8241 | 1226605.0351
99 | 2626993.1759 | 1226582.0032 | 2626990.6382 | 1226581.2889 | 2626989.8843 | 1226581.0568
100 | 2627117.219 | 1226521.6055 | 2627116.8093 | 1226540.4848
101 | 2626870.751 | 1226471.4929 | 2626885.0326 | 1226473.3009
102 | 2626885.0326 | 1226473.3009 | 2626891.0362 | 1226474.061
103 | 2626891.0362 | 1226474.061 | 2626899.7089 | 1226475.159 | 2626917.9759 | 1226477.2954
104 | 2626928.3459 | 1226479.4019 | 2626925.6153 | 1226478.1888 | 2626917.9759 | 1226477.2954
105 | 2626989.8843 | 1226581.0568 | 2626971.1347 | 1226575.2859 | 2626963.8425 | 1226573.2151
106 | 2626963.3387 | 1226573.0721 | 2626963.8425 | 1226573.2151
107 | 2626927.7308 | 1226490.4479 | 2626926.6305 | 1226500.0843 | 2626926.155 | 1226508.1781
108 | 2626928.3459 | 1226479.4019 | 2626928.6428 | 1226482.4606 | 2626927.7308 | 1226490.4479
109 | 2626925.7602 | 1226514.9003 | 2626926.155 | 1226508.1781
110 | 2626928.3459 | 1226479.4019 | 2626932.4803 | 1226478.5312 | 2626933.6684 | 1226470.5207
111 | 2626934.1858 | 1226467.0315 | 2626933.6684 | 1226470.5207
112 | 2626934.1858 | 1226467.0315 | 2626937.6247 | 1226443.8446
113 | 2626937.8 | 1226442.662 | 2626937.6247 | 1226443.8446

## bus_geodata
| x | y | coords
0 | 2627105.4386 | 1226393.1581
1 | 2627072.6387 | 1226400.1647
2 | 2627118.7468 | 1226389.0889
3 | 2627051.1553 | 1226402.6788
4 | 2627126.0454 | 1226386.9144
5 | 2627118.4401 | 1226407.2985
6 | 2627058.6375 | 1226356.7637
7 | 2627037.4217 | 1226403.9025
8 | 2627053.702 | 1226419.4144
9 | 2627153.2635 | 1226382.0974
10 | 2627118.408 | 1226409.2069
11 | 2627060.0588 | 1226348.0421
12 | 2627008.7893 | 1226404.7724
13 | 2627053.5714 | 1226425.0014
14 | 2627157.7508 | 1226388.5233
15 | 2627167.9285 | 1226376.1371
16 | 2627118.1386 | 1226425.2046
17 | 2627061.2847 | 1226321.2114
18 | 2627004.0994 | 1226404.7706
19 | 2627052.5667 | 1226449.328
20 | 2627173.5208 | 1226373.8642
21 | 2627118.0151 | 1226432.5366
22 | 2626926.472 | 1226324.5905
23 | 2626889.6146 | 1226350.6836
24 | 2626879.583 | 1226380.2227
25 | 2626901.1439 | 1226387.2908
26 | 2626924.7672 | 1226394.4879
27 | 2626890.9009 | 1226400.5574
28 | 2626851.9574 | 1226380.1759
29 | 2626925.3564 | 1226394.6307
30 | 2626886.1024 | 1226408.1923
31 | 2626818.3827 | 1226396.534
32 | 2626951.009 | 1226399.53
33 | 2626876.6758 | 1226423.1907
34 | 2626806.1657 | 1226376.794
35 | 2626824.0263 | 1226427.6673
36 | 2626805.3281 | 1226375.6724
37 | 2626800.8421 | 1226366.8047
38 | 2626778.5602 | 1226315.8352
39 | 2626782.4165 | 1226325.6018
40 | 2626773.4415 | 1226302.7752
41 | 2626785.4903 | 1226333.0871
42 | 2626793.751 | 1226352.0368
43 | 2626797.1963 | 1226359.2628
44 | 2626970.8642 | 1226402.3148
45 | 2626899.4536 | 1226427.3591
46 | 2627072.4721 | 1226319.9706
47 | 2627080.3507 | 1226323.5026
48 | 2626980.2874 | 1226403.4581
49 | 2626973.3557 | 1226389.4238
50 | 2626980.5846 | 1226419.2121
51 | 2626988.6114 | 1226403.9525
52 | 2626976.227 | 1226374.5669
53 | 2627052.5277 | 1226451.2696
54 | 2626981.4214 | 1226443.7327
55 | 2626981.849 | 1226455.5363
56 | 2627182.8653 | 1226430.6403
57 | 2627175.0851 | 1226434.7474
58 | 2627160.7016 | 1226442.3403
59 | 2627153.339 | 1226446.227
60 | 2627150.6912 | 1226447.6247
61 | 2627117.9009 | 1226439.319
62 | 2627117.7194 | 1226450.0968
63 | 2627117.4164 | 1226468.0918
64 | 2627117.62 | 1226456.0035
65 | 2627117.3852 | 1226469.9434
66 | 2627117.211 | 1226480.2906
67 | 2626982.508 | 1226477.353
68 | 2627050.6592 | 1226534.6388
69 | 2627049.8873 | 1226556.0825
70 | 2627050.7102 | 1226533.0595
71 | 2627049.1568 | 1226571.9542
72 | 2627051.3823 | 1226512.2396
73 | 2627048.8528 | 1226577.7166
74 | 2627051.6071 | 1226505.2767
75 | 2627047.5608 | 1226595.1329
76 | 2627051.9253 | 1226481.8819
77 | 2627021.3641 | 1226589.3773
78 | 2627073.1162 | 1226600.2186
79 | 2627051.9307 | 1226481.4593
80 | 2626982.6367 | 1226483.2949
81 | 2626982.7328 | 1226487.7306
82 | 2627052.5276 | 1226451.2736
83 | 2627052.4896 | 1226453.1621
84 | 2626901.2183 | 1226426.8867
85 | 2626900.5654 | 1226427.0615
86 | 2626825.9154 | 1226452.5908
87 | 2627094.2245 | 1226544.5492
88 | 2627092.7687 | 1226585.0886
89 | 2627094.0881 | 1226523.2791
90 | 2627091.2767 | 1226604.8594
91 | 2627106.6253 | 1226609.532
92 | 2627066.2988 | 1226622.5103
93 | 2627111.6974 | 1226588.1767
94 | 2627116.3685 | 1226560.7941
95 | 2627014.8241 | 1226605.0351
96 | 2626993.1759 | 1226582.0032
97 | 2627116.8093 | 1226540.4848
98 | 2627117.219 | 1226521.6055
99 | 2626870.751 | 1226471.4929
100 | 2626885.0326 | 1226473.3009
101 | 2626891.0362 | 1226474.061
102 | 2626917.9759 | 1226477.2954
103 | 2626989.8843 | 1226581.0568
104 | 2626963.8425 | 1226573.2151
105 | 2626963.3387 | 1226573.0721
106 | 2627014.5812 | 1226605.6166
107 | 2626927.7308 | 1226490.4479
108 | 2626926.155 | 1226508.1781
109 | 2626928.3458 | 1226479.4019
110 | 2626925.7602 | 1226514.9003
111 | 2626933.6684 | 1226470.5207
112 | 2626934.1858 | 1226467.0315
113 | 2626937.6247 | 1226443.8446
114 | 2626937.8 | 1226442.662
115 | 2626970.8642 | 1226402.3148

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1