## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3340-14_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3340-14_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3340-14_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3340-14_0_6_node_15 | 0.4 | n |  | TRUE
4 | bus_LV_3340-14_0_6_node_20 | 0.4 | n |  | TRUE
5 | bus_LV_3340-14_0_6_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_3340-14_0_6_node_104 | 0.4 | n |  | TRUE
7 | bus_LV_3340-14_0_6_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_3340-14_0_6_node_34 | 0.4 | n |  | TRUE
9 | bus_LV_3340-14_0_6_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_3340-14_0_6_node_102 | 0.4 | n |  | TRUE
11 | bus_LV_3340-14_0_6_node_88 | 0.4 | n |  | TRUE
12 | bus_LV_3340-14_0_6_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_3340-14_0_6_node_92 | 0.4 | n |  | TRUE
14 | bus_LV_3340-14_0_6_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_3340-14_0_6_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_3340-14_0_6_node_90 | 0.4 | n |  | TRUE
17 | bus_LV_3340-14_0_6_node_31 | 0.4 | n |  | TRUE
18 | bus_LV_3340-14_0_6_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_3340-14_0_6_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_3340-14_0_6_node_79 | 0.4 | n |  | TRUE
21 | bus_LV_3340-14_0_6_node_95 | 0.4 | n |  | TRUE
22 | bus_LV_3340-14_0_6_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_3340-14_0_6_node_10 | 0.4 | n |  | TRUE
24 | bus_LV_3340-14_0_6_node_80 | 0.4 | n |  | TRUE
25 | bus_LV_3340-14_0_6_node_11 | 0.4 | n |  | TRUE
26 | bus_LV_3340-14_0_6_node_105 | 0.4 | n |  | TRUE
27 | bus_LV_3340-14_0_6_node_36 | 0.4 | n |  | TRUE
28 | bus_LV_3340-14_0_6_node_12 | 0.4 | n |  | TRUE
29 | bus_LV_3340-14_0_6_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_3340-14_0_6_node_86 | 0.4 | n |  | TRUE
31 | bus_LV_3340-14_0_6_node_93 | 0.4 | n |  | TRUE
32 | bus_LV_3340-14_0_6_node_14 | 0.4 | n |  | TRUE
33 | bus_LV_3340-14_0_6_node_40 | 0.4 | n |  | TRUE
34 | bus_LV_3340-14_0_6_node_53 | 0.4 | n |  | TRUE
35 | bus_LV_3340-14_0_6_node_82 | 0.4 | n |  | TRUE
36 | bus_LV_3340-14_0_6_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_3340-14_0_6_node_64 | 0.4 | n |  | TRUE
38 | bus_LV_3340-14_0_6_node_17 | 0.4 | n |  | TRUE
39 | bus_LV_3340-14_0_6_node_49 | 0.4 | n |  | TRUE
40 | bus_LV_3340-14_0_6_node_54 | 0.4 | n |  | TRUE
41 | bus_LV_3340-14_0_6_node_18 | 0.4 | n |  | TRUE
42 | bus_LV_3340-14_0_6_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_3340-14_0_6_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_3340-14_0_6_node_91 | 0.4 | n |  | TRUE
45 | bus_LV_3340-14_0_6_node_97 | 0.4 | n |  | TRUE
46 | bus_LV_3340-14_0_6_node_98 | 0.4 | n |  | TRUE
47 | bus_LV_3340-14_0_6_node_26 | 0.4 | n |  | TRUE
48 | bus_LV_3340-14_0_6_node_21 | 0.4 | n |  | TRUE
49 | bus_LV_3340-14_0_6_node_59 | 0.4 | n |  | TRUE
50 | bus_LV_3340-14_0_6_node_60 | 0.4 | n |  | TRUE
51 | bus_LV_3340-14_0_6_node_58 | 0.4 | n |  | TRUE
52 | bus_LV_3340-14_0_6_node_56 | 0.4 | n |  | TRUE
53 | bus_LV_3340-14_0_6_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_3340-14_0_6_node_77 | 0.4 | n |  | TRUE
55 | bus_LV_3340-14_0_6_node_96 | 0.4 | n |  | TRUE
56 | bus_LV_3340-14_0_6_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_3340-14_0_6_node_28 | 0.4 | n |  | TRUE
58 | bus_LV_3340-14_0_6_node_101 | 0.4 | n |  | TRUE
59 | bus_LV_3340-14_0_6_node_30 | 0.4 | n |  | TRUE
60 | bus_LV_3340-14_0_6_node_94 | 0.4 | n |  | TRUE
61 | bus_LV_3340-14_0_6_node_38 | 0.4 | n |  | TRUE
62 | bus_LV_3340-14_0_6_node_81 | 0.4 | n |  | TRUE
63 | bus_LV_3340-14_0_6_node_100 | 0.4 | n |  | TRUE
64 | bus_LV_3340-14_0_6_node_33 | 0.4 | n |  | TRUE
65 | bus_LV_3340-14_0_6_node_41 | 0.4 | n |  | TRUE
66 | bus_LV_3340-14_0_6_node_103 | 0.4 | n |  | TRUE
67 | bus_LV_3340-14_0_6_node_89 | 0.4 | n |  | TRUE
68 | bus_LV_3340-14_0_6_node_87 | 0.4 | n |  | TRUE
69 | bus_LV_3340-14_0_6_node_78 | 0.4 | n |  | TRUE
70 | bus_LV_3340-14_0_6_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_3340-14_0_6_node_107 | 0.4 | n |  | TRUE
72 | bus_LV_3340-14_0_6_node_35 | 0.4 | n |  | TRUE
73 | bus_LV_3340-14_0_6_node_42 | 0.4 | n |  | TRUE
74 | bus_LV_3340-14_0_6_node_47 | 0.4 | n |  | TRUE
75 | bus_LV_3340-14_0_6_node_99 | 0.4 | n |  | TRUE
76 | bus_LV_3340-14_0_6_node_37 | 0.4 | n |  | TRUE
77 | bus_LV_3340-14_0_6_node_83 | 0.4 | n |  | TRUE
78 | bus_LV_3340-14_0_6_node_62 | 0.4 | n |  | TRUE
79 | bus_LV_3340-14_0_6_node_55 | 0.4 | n |  | TRUE
80 | bus_LV_3340-14_0_6_node_106 | 0.4 | n |  | TRUE
81 | bus_LV_3340-14_0_6_node_84 | 0.4 | n |  | TRUE
82 | bus_LV_3340-14_0_6_node_75 | 0.4 | n |  | TRUE
83 | bus_LV_3340-14_0_6_node_45 | 0.4 | n |  | TRUE
84 | bus_LV_3340-14_0_6_node_46 | 0.4 | n |  | TRUE
85 | bus_LV_3340-14_0_6_node_48 | 0.4 | n |  | TRUE
86 | bus_LV_3340-14_0_6_node_50 | 0.4 | n |  | TRUE
87 | bus_LV_3340-14_0_6_node_51 | 0.4 | n |  | TRUE
88 | bus_LV_3340-14_0_6_node_85 | 0.4 | n |  | TRUE
89 | bus_LV_3340-14_0_6_node_71 | 0.4 | n |  | TRUE
90 | bus_LV_3340-14_0_6_node_61 | 0.4 | n |  | TRUE
91 | bus_LV_3340-14_0_6_node_63 | 0.4 | n |  | TRUE
92 | bus_LV_3340-14_0_6_node_65 | 0.4 | n |  | TRUE
93 | bus_LV_3340-14_0_6_node_66 | 0.4 | n |  | TRUE
94 | bus_LV_3340-14_0_6_node_67 | 0.4 | n |  | TRUE
95 | bus_LV_3340-14_0_6_node_68 | 0.4 | n |  | TRUE
96 | bus_LV_3340-14_0_6_node_69 | 0.4 | n |  | TRUE
97 | bus_LV_3340-14_0_6_node_70 | 0.4 | n |  | TRUE
98 | bus_LV_3340-14_0_6_node_72 | 0.4 | n |  | TRUE
99 | bus_LV_3340-14_0_6_node_73 | 0.4 | n |  | TRUE
100 | bus_LV_3340-14_0_6_node_74 | 0.4 | n |  | TRUE
101 | bus_LV_3340-14_0_6_node_76 | 0.4 | n |  | TRUE
102 | bus_MV_586_0_node_79 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3340-14_0_6_load_0 | 0 | 0.036344 | 0.0091086 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3340-14_0_6_load_104 | 6 | 0.031646 | 0.0079312 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3340-14_0_6_load_102 | 10 | 0.028989 | 0.0072653 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3340-14_0_6_load_92 | 13 | 0.0046576 | 0.0011673 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3340-14_0_6_load_90 | 16 | 0.0013833 | 0.00034668 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3340-14_0_6_load_79 | 20 | 0.0020035 | 0.00050212 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3340-14_0_6_load_95 | 21 | 0.019286 | 0.0048336 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3340-14_0_6_load_105 | 26 | 0.023985 | 0.0060111 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3340-14_0_6_load_86 | 30 | 0.00031117 | 7.7988e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3340-14_0_6_load_93 | 31 | 0.020025 | 0.0050188 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3340-14_0_6_load_53 | 34 | 0.0029657 | 0.00074327 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3340-14_0_6_load_82 | 35 | 0.00013036 | 3.2671e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3340-14_0_6_load_64 | 37 | 0.00013751 | 3.4464e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3340-14_0_6_load_54 | 40 | 0.0022628 | 0.00056712 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3340-14_0_6_load_43 | 43 | 0.0028513 | 0.0007146 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3340-14_0_6_load_91 | 44 | 0.022252 | 0.0055768 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3340-14_0_6_load_97 | 45 | 0.017754 | 0.0044496 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3340-14_0_6_load_59 | 49 | 0.0031616 | 0.00079237 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3340-14_0_6_load_60 | 50 | 0.0063414 | 0.0015893 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3340-14_0_6_load_58 | 51 | 0.0063507 | 0.0015916 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3340-14_0_6_load_56 | 52 | 0.00070705 | 0.0001772 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3340-14_0_6_load_44 | 53 | 0.0067037 | 0.0016801 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3340-14_0_6_load_77 | 54 | 0.0011744 | 0.00029433 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3340-14_0_6_load_96 | 55 | 0.022895 | 0.005738 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3340-14_0_6_load_101 | 58 | 0.012918 | 0.0032377 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3340-14_0_6_load_94 | 60 | 0.015238 | 0.0038189 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3340-14_0_6_load_81 | 62 | 0.067803 | 0.016993 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3340-14_0_6_load_100 | 63 | 0.032658 | 0.0081848 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3340-14_0_6_load_41 | 65 | 0.007019 | 0.0017591 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3340-14_0_6_load_103 | 66 | 0.016855 | 0.0042242 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3340-14_0_6_load_89 | 67 | 0.013296 | 0.0033323 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3340-14_0_6_load_87 | 68 | 0.0043758 | 0.0010967 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3340-14_0_6_load_78 | 69 | 0.00056268 | 0.00014102 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3340-14_0_6_load_57 | 70 | 0.0073692 | 0.0018469 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3340-14_0_6_load_107 | 71 | 0.012515 | 0.0031367 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3340-14_0_6_load_35 | 72 | 0.0091244 | 0.0022868 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3340-14_0_6_load_47 | 74 | 0.00065397 | 0.0001639 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3340-14_0_6_load_99 | 75 | 0.026067 | 0.0065331 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3340-14_0_6_load_83 | 77 | 0.00023518 | 5.8941e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3340-14_0_6_load_62 | 78 | 0.0030738 | 0.00077036 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3340-14_0_6_load_55 | 79 | 0.0013792 | 0.00034566 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3340-14_0_6_load_106 | 80 | 0.014718 | 0.0036887 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3340-14_0_6_load_84 | 81 | 0.0033207 | 0.00083224 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3340-14_0_6_load_45 | 83 | 0.0021453 | 0.00053766 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3340-14_0_6_load_46 | 84 | 0.00050274 | 0.000126 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3340-14_0_6_load_51 | 87 | 0.00065233 | 0.00016349 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3340-14_0_6_load_85 | 88 | 0.0030967 | 0.0007761 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3340-14_0_6_load_61 | 90 | 0.003794 | 0.00095086 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3340-14_0_6_load_63 | 91 | 0.0040018 | 0.001003 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3340-14_0_6_load_65 | 92 | 0.0029827 | 0.00074753 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3340-14_0_6_load_66 | 93 | 0.0048836 | 0.0012239 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3340-14_0_6_load_67 | 94 | 0.0045005 | 0.0011279 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3340-14_0_6_load_68 | 95 | 0.0041988 | 0.0010523 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3340-14_0_6_load_69 | 96 | 0.0051271 | 0.001285 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3340-14_0_6_load_70 | 97 | 0.006642 | 0.0016646 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3340-14_0_6_load_72 | 98 | 0.0061395 | 0.0015387 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3340-14_0_6_load_73 | 99 | 0.0069703 | 0.0017469 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3340-14_0_6_load_74 | 100 | 0.0025326 | 0.00063473 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3340-14_0_6_load_76 | 101 | 0.0045498 | 0.0011403 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3340-14_0_6_line_0 |  | 0 | 1 | 0.0083282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3340-14_0_6_line_1 |  | 0 | 2 | 0.0095697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_3340-14_0_6_line_2 |  | 1 | 3 | 0.055931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3340-14_0_6_line_3 |  | 2 | 4 | 0.054471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_3340-14_0_6_line_4 |  | 3 | 35 | 0.00033569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3340-14_0_6_line_5 |  | 3 | 36 | 0.058169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3340-14_0_6_line_6 |  | 3 | 37 | 0.0050518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3340-14_0_6_line_7 |  | 4 | 45 | 0.00425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3340-14_0_6_line_8 |  | 4 | 46 | 0.021329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3340-14_0_6_line_9 |  | 4 | 47 | 0.064114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_3340-14_0_6_line_10 |  | 5 | 6 | 0.007857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3340-14_0_6_line_11 |  | 5 | 7 | 0.11103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3340-14_0_6_line_12 |  | 5 | 8 | 0.028846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3340-14_0_6_line_13 |  | 7 | 16 | 0.018479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3340-14_0_6_line_14 |  | 7 | 17 | 0.052875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3340-14_0_6_line_15 |  | 8 | 66 | 0.006939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3340-14_0_6_line_16 |  | 8 | 15 | 0.009323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3340-14_0_6_line_17 |  | 9 | 10 | 0.01061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3340-14_0_6_line_18 |  | 9 | 11 | 0.000567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3340-14_0_6_line_19 |  | 11 | 67 | 0.010189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3340-14_0_6_line_20 |  | 11 | 68 | 0.021821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3340-14_0_6_line_21 |  | 11 | 57 | 0.016021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3340-14_0_6_line_22 |  | 12 | 13 | 0.00774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3340-14_0_6_line_23 |  | 12 | 14 | 0.046202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3340-14_0_6_line_24 |  | 12 | 15 | 0.042901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3340-14_0_6_line_25 |  | 13 | 69 | 0.081875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3340-14_0_6_line_26 |  | 14 | 44 | 0.008727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3340-14_0_6_line_27 |  | 15 | 53 | 0.014489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_3340-14_0_6_line_28 |  | 17 | 62 | 0.032861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3340-14_0_6_line_29 |  | 18 | 19 | 0.029993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3340-14_0_6_line_30 |  | 18 | 20 | 0.014364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3340-14_0_6_line_31 |  | 19 | 21 | 0.009237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3340-14_0_6_line_32 |  | 19 | 22 | 0.022979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3340-14_0_6_line_33 |  | 20 | 23 | 0.019982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3340-14_0_6_line_34 |  | 22 | 31 | 0.009027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3340-14_0_6_line_35 |  | 23 | 24 | 0.015543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3340-14_0_6_line_36 |  | 24 | 71 | 0.004095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3340-14_0_6_line_37 |  | 24 | 46 | 0.02123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3340-14_0_6_line_38 |  | 25 | 26 | 0.007378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3340-14_0_6_line_39 |  | 25 | 27 | 0.047509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3340-14_0_6_line_40 |  | 27 | 56 | 0.022152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_3340-14_0_6_line_41 |  | 27 | 72 | 0.016335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3340-14_0_6_line_42 |  | 28 | 29 | 0.16516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3340-14_0_6_line_43 |  | 28 | 30 | 0.013983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3340-14_0_6_line_44 |  | 29 | 52 | 0.024103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3340-14_0_6_line_45 |  | 32 | 33 | 0.01789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3340-14_0_6_line_46 |  | 32 | 34 | 0.014364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3340-14_0_6_line_47 |  | 33 | 75 | 0.007765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3340-14_0_6_line_48 |  | 33 | 76 | 0.014965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3340-14_0_6_line_49 |  | 35 | 77 | 0.012034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3340-14_0_6_line_50 |  | 36 | 54 | 0.086637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3340-14_0_6_line_51 |  | 36 | 38 | 0.1186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3340-14_0_6_line_52 |  | 37 | 78 | 0.0045813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3340-14_0_6_line_53 |  | 38 | 39 | 0.1223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3340-14_0_6_line_54 |  | 38 | 40 | 0.054319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3340-14_0_6_line_55 |  | 39 | 74 | 0.21846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3340-14_0_6_line_56 |  | 40 | 79 | 0.013438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3340-14_0_6_line_57 |  | 41 | 42 | 0.018074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3340-14_0_6_line_58 |  | 41 | 43 | 0.014593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3340-14_0_6_line_59 |  | 42 | 63 | 0.00718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3340-14_0_6_line_60 |  | 42 | 64 | 0.044863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3340-14_0_6_line_61 |  | 46 | 80 | 0.004316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3340-14_0_6_line_62 |  | 47 | 55 | 0.010303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3340-14_0_6_line_63 |  | 47 | 56 | 0.046339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_3340-14_0_6_line_64 |  | 48 | 49 | 0.016652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3340-14_0_6_line_65 |  | 48 | 50 | 0.014128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3340-14_0_6_line_66 |  | 48 | 51 | 0.024304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3340-14_0_6_line_67 |  | 49 | 81 | 0.0058149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3340-14_0_6_line_68 |  | 50 | 82 | 0.009222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3340-14_0_6_line_69 |  | 51 | 70 | 0.016185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3340-14_0_6_line_70 |  | 52 | 79 | 0.049571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3340-14_0_6_line_71 |  | 53 | 73 | 0.015353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_3340-14_0_6_line_72 |  | 56 | 73 | 0.022001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_3340-14_0_6_line_73 |  | 56 | 68 | 0.012422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3340-14_0_6_line_74 |  | 57 | 58 | 0.010409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3340-14_0_6_line_75 |  | 59 | 60 | 0.008462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3340-14_0_6_line_76 |  | 59 | 61 | 0.045508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3340-14_0_6_line_77 |  | 61 | 73 | 0.021667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3340-14_0_6_line_78 |  | 61 | 65 | 0.01373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3340-14_0_6_line_79 |  | 64 | 65 | 0.021094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3340-14_0_6_line_80 |  | 72 | 76 | 0.019635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3340-14_0_6_line_81 |  | 74 | 83 | 0.025979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3340-14_0_6_line_82 |  | 78 | 90 | 0.0062362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3340-14_0_6_line_83 |  | 81 | 88 | 0.0059511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3340-14_0_6_line_84 |  | 82 | 89 | 0.00899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3340-14_0_6_line_85 |  | 83 | 84 | 0.028649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3340-14_0_6_line_86 |  | 84 | 85 | 0.024886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3340-14_0_6_line_87 |  | 85 | 86 | 0.26745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3340-14_0_6_line_88 |  | 86 | 87 | 0.019097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3340-14_0_6_line_89 |  | 88 | 92 | 0.0056652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3340-14_0_6_line_90 |  | 89 | 98 | 0.0010558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3340-14_0_6_line_91 |  | 89 | 97 | 0.011508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3340-14_0_6_line_92 |  | 90 | 91 | 0.01791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3340-14_0_6_line_93 |  | 91 | 92 | 0.0067112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3340-14_0_6_line_94 |  | 93 | 94 | 0.019049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3340-14_0_6_line_95 |  | 93 | 95 | 0.0082082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_3340-14_0_6_line_96 |  | 94 | 96 | 0.0089304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_3340-14_0_6_line_97 |  | 96 | 97 | 0.018604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_3340-14_0_6_line_98 |  | 98 | 99 | 0.018764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_3340-14_0_6_line_99 |  | 99 | 100 | 0.013999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_3340-14_0_6_line_100 |  | 100 | 101 | 0.0073935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3340-14_0_6_trafo_36 | 0.63 MVA 20/0.4 kV | 102 | 27 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2706202.882 | 1231082.4049 | 2706203.7845 | 1231090.6841
1 | 2706204.8214 | 1231100.1974 | 2706203.7845 | 1231090.6841
2 | 2706202.882 | 1231082.4049 | 2706204.3007 | 1231081.4406 | 2706202.8318 | 1231067.4149 | 2706211.8326 | 1231066.0747 | 2706212.7655 | 1231063.0446 | 2706212.9403 | 1231060.0455 | 2706212.6911 | 1231057.4613 | 2706211.2766 | 1231054.8007 | 2706209.2676 | 1231052.7633 | 2706206.2766 | 1231051.4199 | 2706205.3413 | 1231051.1919 | 2706206.8682 | 1231045.0257 | 2706206.7744 | 1231039.253
3 | 2706204.8214 | 1231100.1974 | 2706206.5038 | 1231115.4168 | 2706207.911 | 1231118.4887 | 2706208.7191 | 1231127.0985 | 2706209.2455 | 1231132.4008 | 2706211.3878 | 1231154.0999
4 | 2706207.1099 | 1231039.242 | 2706206.7744 | 1231039.253
5 | 2706206.7744 | 1231039.253 | 2706206.8682 | 1231045.0257 | 2706213.6516 | 1231046.1032 | 2706213.733 | 1231046.6384 | 2706214.2581 | 1231049.8947 | 2706215.7278 | 1231052.8565 | 2706217.9952 | 1231055.2655 | 2706220.8673 | 1231056.9069 | 2706224.6339 | 1231057.6637 | 2706228.4393 | 1231057.0979 | 2706231.8275 | 1231055.2904 | 2706234.401 | 1231052.4453 | 2706235.8658 | 1231048.9022 | 2706241.9947 | 1231051.8472 | 2706242.8617 | 1231046.1473
6 | 2706206.7744 | 1231039.253 | 2706201.7246 | 1231039.3938
7 | 2706207.1656 | 1231154.6805 | 2706211.3878 | 1231154.0999
8 | 2706213.6069 | 1231175.3111 | 2706211.4905 | 1231155.1358 | 2706211.3878 | 1231154.0999
9 | 2706167.2408 | 1231137.4656 | 2706181.7109 | 1231135.7004 | 2706209.2455 | 1231132.4008 | 2706211.3878 | 1231154.0999
10 | 2706058.9043 | 1231187.2365 | 2706051.0585 | 1231187.9638
11 | 2706031.3479 | 1231232.1011 | 2706033.986 | 1231251.0958 | 2706064.9859 | 1231247.5683 | 2706062.3382 | 1231221.4791 | 2706062.3196 | 1231217.8539 | 2706060.5502 | 1231201.977 | 2706058.9043 | 1231187.2365
12 | 2706058.9043 | 1231187.2365 | 2706058.3292 | 1231182.1112 | 2706068.5634 | 1231180.8373 | 2706081.8346 | 1231179.1728
13 | 2706049.7625 | 1231230.0168 | 2706031.3479 | 1231232.1011
14 | 2705983.9763 | 1231228.5094 | 2705984.538 | 1231228.4416 | 2706025.0407 | 1231223.8713 | 2706027.203 | 1231223.6875 | 2706031.3479 | 1231232.1011
15 | 2706081.8346 | 1231179.1728 | 2706081.2763 | 1231172.2576
16 | 2706091.1122 | 1231178.0152 | 2706081.8346 | 1231179.1728
17 | 2706146.568 | 1231174.7691 | 2706157.1085 | 1231173.3118
18 | 2706157.0049 | 1231172.7539 | 2706157.1085 | 1231173.3118
19 | 2706157.0049 | 1231172.7539 | 2706155.6551 | 1231162.6555
20 | 2706157.0049 | 1231172.7539 | 2706144.9934 | 1231163.6882 | 2706141.0244 | 1231160.6929 | 2706139.5874 | 1231159.6096
21 | 2706157.0049 | 1231172.7539 | 2706172.9878 | 1231171.1047
22 | 2706098.9805 | 1231216.329 | 2706099.9494 | 1231224.0076
23 | 2706098.9805 | 1231216.329 | 2706125.6153 | 1231212.9128 | 2706122.7984 | 1231193.7703
24 | 2706091.1122 | 1231178.0152 | 2706095.131 | 1231216.8273 | 2706098.9805 | 1231216.329
25 | 2706099.9494 | 1231224.0076 | 2706099.1715 | 1231305.8788
26 | 2706114.1065 | 1231194.7937 | 2706122.7984 | 1231193.7703
27 | 2706091.1122 | 1231178.0152 | 2706097.7181 | 1231169.9381 | 2706100.0571 | 1231167.0665 | 2706100.2792 | 1231166.795
28 | 2705983.9763 | 1231228.5094 | 2705981.009 | 1231225.4097 | 2705977.275 | 1231222.8301 | 2705973.0111 | 1231219.3849 | 2705969.8523 | 1231215.559 | 2705968.914 | 1231210.8276 | 2705968.0469 | 1231202.1056
29 | 2706173.9667 | 1231235.4486 | 2706189.4457 | 1231233.5903 | 2706188.0581 | 1231219.2546
30 | 2706188.0581 | 1231219.2546 | 2706202.337 | 1231217.6913
31 | 2706173.1463 | 1231226.2492 | 2706173.9667 | 1231235.4486
32 | 2706151.0662 | 1231238.0305 | 2706173.9667 | 1231235.4486
33 | 2706217.5819 | 1231211.8653 | 2706218.0919 | 1231215.9664 | 2706202.337 | 1231217.6913
34 | 2706151.0662 | 1231238.0305 | 2706149.8245 | 1231229.0905
35 | 2706217.5819 | 1231211.8653 | 2706216.0491 | 1231197.6049 | 2706215.9189 | 1231196.4128
36 | 2706211.8356 | 1231196.8513 | 2706215.9189 | 1231196.4128
37 | 2706215.9189 | 1231196.4128 | 2706213.7108 | 1231176.2804 | 2706213.6069 | 1231175.3111
38 | 2706104.5403 | 1231093.7579 | 2706111.9017 | 1231093.0109
39 | 2706111.9017 | 1231093.0109 | 2706113.4801 | 1231108.1282 | 2706115.8264 | 1231128.6078 | 2706122.2552 | 1231129.1785 | 2706126.441 | 1231132.3334
40 | 2706126.441 | 1231132.3334 | 2706129.6591 | 1231135.8045 | 2706131.2454 | 1231138.6016 | 2706132.1448 | 1231141.6867 | 2706132.2688 | 1231145.3472 | 2706131.4249 | 1231148.9126 | 2706129.6706 | 1231152.1282
41 | 2706126.441 | 1231132.3334 | 2706134.8828 | 1231123.6886 | 2706137.452 | 1231120.3002
42 | 2706330.5533 | 1230964.9534 | 2706330.9599 | 1230957.8998 | 2706341.2394 | 1230958.3506 | 2706342.2277 | 1230945.4586 | 2706335.9526 | 1230936.7064 | 2706332.2463 | 1230929.19 | 2706329.1519 | 1230918.3821 | 2706328.6168 | 1230911.8787 | 2706328.6359 | 1230905.73 | 2706330.1736 | 1230897.6958 | 2706332.3925 | 1230890.9638 | 2706333.3538 | 1230863.071 | 2706338.7228 | 1230857.2626 | 2706340.6464 | 1230855.1844 | 2706338.8529 | 1230847.035 | 2706363.5995 | 1230842.552 | 2706367.9908 | 1230842.6973
43 | 2706367.9908 | 1230842.6973 | 2706368.7735 | 1230837.9077 | 2706367.8479 | 1230833.7547 | 2706366.0884 | 1230829.2087
44 | 2706330.5533 | 1230964.9534 | 2706306.4613 | 1230964.2364
45 | 2706144.2499 | 1231071.3052 | 2706144.5376 | 1231073.4341 | 2706146.2049 | 1231089.0868
46 | 2706144.2499 | 1231071.3052 | 2706158.508 | 1231069.5677
47 | 2706138.45 | 1231089.8045 | 2706146.2049 | 1231089.0868
48 | 2706148.2354 | 1231103.9121 | 2706146.2049 | 1231089.0868
49 | 2706207.1099 | 1231039.242 | 2706207.8735 | 1231039.217 | 2706211.9041 | 1231038.7665 | 2706218.5058 | 1231035.8575
50 | 2706242.8617 | 1231046.1473 | 2706248.4301 | 1231048.6598 | 2706258.7456 | 1231054.2928 | 2706265.0589 | 1231058.3643 | 2706270.8835 | 1231063.917 | 2706288.3076 | 1231080.3964 | 2706297.73 | 1231091.0618 | 2706305.0156 | 1231098.3643 | 2706308.5534 | 1231101.4368
51 | 2706242.8617 | 1231046.1473 | 2706241.9947 | 1231051.8472 | 2706235.8658 | 1231048.9022 | 2706236.0916 | 1231045.5926 | 2706235.3314 | 1231042.3543 | 2706233.6478 | 1231039.4888 | 2706231.1881 | 1231037.2431 | 2706228.1759 | 1231035.8104 | 2706231.7431 | 1231029.0802 | 2706231.3822 | 1231020.8787 | 2706224.3618 | 1231010.5899 | 2706210.7488 | 1230994.0565 | 2706198.8821 | 1230976.876 | 2706189.1858 | 1230960.7462
52 | 2706197.1497 | 1231039.5898 | 2706198.028 | 1231039.4969 | 2706201.7246 | 1231039.3938
53 | 2706189.1858 | 1230960.7462 | 2706139.9226 | 1230848.76
54 | 2706189.1858 | 1230960.7462 | 2706243.4805 | 1230962.3621
55 | 2706139.9226 | 1230848.76 | 2706151.9736 | 1230751.3349 | 2706150.6474 | 1230699.1942 | 2706155.248 | 1230641.4105 | 2706155.2076 | 1230631.242
56 | 2706243.4805 | 1230962.3621 | 2706256.9125 | 1230962.7618
57 | 2706046.2766 | 1231082.3877 | 2706046.7688 | 1231086.6441 | 2706048.5398 | 1231100.3193
58 | 2706046.2766 | 1231082.3877 | 2706060.7541 | 1231080.5579
59 | 2706048.5398 | 1231100.3193 | 2706041.402 | 1231101.2705
60 | 2706079.1186 | 1231112.7853 | 2706050.2515 | 1231116.0395 | 2706048.5398 | 1231100.3193
61 | 2706209.3034 | 1231175.779 | 2706213.6069 | 1231175.3111
62 | 2706166.5154 | 1231127.1893 | 2706167.2408 | 1231137.4656
63 | 2706129.6706 | 1231152.1282 | 2706131.4249 | 1231148.9126 | 2706132.2688 | 1231145.3472 | 2706132.1448 | 1231141.6867 | 2706153.1737 | 1231139.149 | 2706167.2408 | 1231137.4656
64 | 2706132.6125 | 1231046.8012 | 2706149.1393 | 1231044.7638
65 | 2706132.6125 | 1231046.8012 | 2706130.8093 | 1231032.7882
66 | 2706132.6125 | 1231046.8012 | 2706108.4571 | 1231049.488
67 | 2706149.1393 | 1231044.7638 | 2706149.5505 | 1231044.7131 | 2706154.9193 | 1231044.1274
68 | 2706129.6323 | 1231023.6416 | 2706130.8093 | 1231032.7882
69 | 2706092.3797 | 1231051.3478 | 2706105.393 | 1231049.8288 | 2706108.4571 | 1231049.488
70 | 2706306.4613 | 1230964.2364 | 2706256.9125 | 1230962.7618
71 | 2706110.0008 | 1231154.9126 | 2706102.3418 | 1231164.2719 | 2706100.2792 | 1231166.795
72 | 2706110.0008 | 1231154.9126 | 2706113.2703 | 1231156.7834 | 2706116.9278 | 1231157.705 | 2706119.1082 | 1231157.3547 | 2706124.1367 | 1231156.5883 | 2706127.1926 | 1231154.7193 | 2706129.6706 | 1231152.1282
73 | 2706129.6706 | 1231152.1282 | 2706136.7639 | 1231157.4811 | 2706139.5874 | 1231159.6096
74 | 2706171.718 | 1231160.7742 | 2706172.9878 | 1231171.1047
75 | 2706065.7706 | 1231139.5341 | 2706066.848 | 1231147.9263
76 | 2706066.848 | 1231147.9263 | 2706081.5741 | 1231146.2433 | 2706103.643 | 1231143.5795 | 2706103.8519 | 1231140.3697 | 2706105.569 | 1231135.4188
77 | 2706105.569 | 1231135.4188 | 2706103.8519 | 1231140.3697 | 2706103.643 | 1231143.5795 | 2706105.4962 | 1231148.8276 | 2706107.3225 | 1231152.1849 | 2706110.0008 | 1231154.9126
78 | 2706105.569 | 1231135.4188 | 2706098.7605 | 1231129.3816 | 2706095.3852 | 1231126.2116
79 | 2706079.1186 | 1231112.7853 | 2706091.57 | 1231123.1041 | 2706094.8863 | 1231125.7431 | 2706095.3852 | 1231126.2116
80 | 2706148.2354 | 1231103.9121 | 2706140.6933 | 1231116.0421 | 2706137.8774 | 1231119.7391 | 2706137.452 | 1231120.3002
81 | 2706155.1045 | 1230605.2628 | 2706155.2076 | 1230631.242
82 | 2706190.948 | 1231040.2453 | 2706197.1497 | 1231039.5898
83 | 2706154.9193 | 1231044.1274 | 2706160.8353 | 1231043.482
84 | 2706129.6323 | 1231023.6416 | 2706128.4886 | 1231014.7256
85 | 2706155.1045 | 1230605.2628 | 2706155.0909 | 1230601.8557 | 2706155.4336 | 1230584.7933 | 2706155.2879 | 1230576.6189
86 | 2706133.6342 | 1230566.7351 | 2706155.2558 | 1230574.816 | 2706155.2879 | 1230576.6189
87 | 2706334.1313 | 1230508.0392 | 2706330.439 | 1230506.0717 | 2706318.8903 | 1230505.3758 | 2706283.3769 | 1230505.1853 | 2706260.5731 | 1230504.7441 | 2706250.165 | 1230503.3905 | 2706235.9275 | 1230500.9565 | 2706167.6146 | 1230490.3063 | 2706151.1564 | 1230489.1894 | 2706144.9061 | 1230492.1578 | 2706144.0561 | 1230498.6031 | 2706144.806 | 1230503.6981 | 2706145.0771 | 1230511.8535 | 2706142.6641 | 1230530.7247 | 2706139.3492 | 1230553.4382 | 2706136.4149 | 1230562.904 | 2706133.6342 | 1230566.7351
88 | 2706334.1313 | 1230508.0392 | 2706335.7347 | 1230512.8493 | 2706335.3416 | 1230526.8702
89 | 2706160.8353 | 1231043.482 | 2706166.467 | 1231042.8676
90 | 2706128.4886 | 1231014.7256 | 2706127.4412 | 1231014.8581
91 | 2706128.4886 | 1231014.7256 | 2706139.9587 | 1231013.7904
92 | 2706190.948 | 1231040.2453 | 2706176.7007 | 1231041.7511 | 2706173.1386 | 1231042.1397
93 | 2706166.467 | 1231042.8676 | 2706173.1386 | 1231042.1397
94 | 2706186.2523 | 1231008.6236 | 2706174.754 | 1231009.9479 | 2706167.3289 | 1231010.8065
95 | 2706186.2523 | 1231008.6236 | 2706194.4066 | 1231007.6844
96 | 2706158.4576 | 1231011.8324 | 2706167.3289 | 1231010.8065
97 | 2706158.4576 | 1231011.8324 | 2706145.27 | 1231013.3574 | 2706139.9587 | 1231013.7904
98 | 2706127.4412 | 1231014.8581 | 2706108.826 | 1231017.2136
99 | 2706108.826 | 1231017.2136 | 2706094.9375 | 1231018.971
100 | 2706087.6025 | 1231019.8991 | 2706094.9375 | 1231018.971

## bus_geodata
| x | y | coords
0 | 2706203.7845 | 1231090.6841
1 | 2706202.882 | 1231082.4049
2 | 2706204.8214 | 1231100.1974
3 | 2706206.7744 | 1231039.253
4 | 2706211.3878 | 1231154.0999
5 | 2706058.9043 | 1231187.2365
6 | 2706051.0585 | 1231187.9638
7 | 2706031.3479 | 1231232.1011
8 | 2706081.8346 | 1231179.1728
9 | 2706157.1085 | 1231173.3118
10 | 2706146.568 | 1231174.7691
11 | 2706157.0049 | 1231172.7539
12 | 2706098.9805 | 1231216.329
13 | 2706099.9494 | 1231224.0076
14 | 2706122.7984 | 1231193.7703
15 | 2706091.1122 | 1231178.0152
16 | 2706049.7625 | 1231230.0168
17 | 2705983.9763 | 1231228.5094
18 | 2706188.0581 | 1231219.2546
19 | 2706173.9667 | 1231235.4486
20 | 2706202.337 | 1231217.6913
21 | 2706173.1463 | 1231226.2492
22 | 2706151.0662 | 1231238.0305
23 | 2706217.5819 | 1231211.8653
24 | 2706215.9189 | 1231196.4128
25 | 2706111.9017 | 1231093.0109
26 | 2706104.5403 | 1231093.7579
27 | 2706126.441 | 1231132.3334
28 | 2706367.9908 | 1230842.6973
29 | 2706330.5533 | 1230964.9534
30 | 2706366.0884 | 1230829.2087
31 | 2706149.8245 | 1231229.0905
32 | 2706144.2499 | 1231071.3052
33 | 2706146.2049 | 1231089.0868
34 | 2706158.508 | 1231069.5677
35 | 2706207.1099 | 1231039.242
36 | 2706242.8617 | 1231046.1473
37 | 2706201.7246 | 1231039.3938
38 | 2706189.1858 | 1230960.7462
39 | 2706139.9226 | 1230848.76
40 | 2706243.4805 | 1230962.3621
41 | 2706046.2766 | 1231082.3877
42 | 2706048.5398 | 1231100.3193
43 | 2706060.7541 | 1231080.5579
44 | 2706114.1065 | 1231194.7937
45 | 2706207.1656 | 1231154.6805
46 | 2706213.6069 | 1231175.3111
47 | 2706167.2408 | 1231137.4656
48 | 2706132.6125 | 1231046.8012
49 | 2706149.1393 | 1231044.7638
50 | 2706130.8093 | 1231032.7882
51 | 2706108.4571 | 1231049.488
52 | 2706306.4613 | 1230964.2364
53 | 2706100.2792 | 1231166.795
54 | 2706308.5534 | 1231101.4368
55 | 2706166.5154 | 1231127.1893
56 | 2706129.6706 | 1231152.1282
57 | 2706172.9878 | 1231171.1047
58 | 2706171.718 | 1231160.7742
59 | 2706066.848 | 1231147.9263
60 | 2706065.7706 | 1231139.5341
61 | 2706105.569 | 1231135.4188
62 | 2705968.0469 | 1231202.1056
63 | 2706041.402 | 1231101.2705
64 | 2706079.1186 | 1231112.7853
65 | 2706095.3852 | 1231126.2116
66 | 2706081.2763 | 1231172.2576
67 | 2706155.6551 | 1231162.6555
68 | 2706139.5874 | 1231159.6096
69 | 2706099.1715 | 1231305.8788
70 | 2706092.3797 | 1231051.3478
71 | 2706211.8356 | 1231196.8513
72 | 2706137.452 | 1231120.3002
73 | 2706110.0008 | 1231154.9126
74 | 2706155.2076 | 1230631.242
75 | 2706138.45 | 1231089.8045
76 | 2706148.2354 | 1231103.9121
77 | 2706218.5058 | 1231035.8575
78 | 2706197.1497 | 1231039.5898
79 | 2706256.9125 | 1230962.7618
80 | 2706209.3034 | 1231175.779
81 | 2706154.9193 | 1231044.1274
82 | 2706129.6323 | 1231023.6416
83 | 2706155.1045 | 1230605.2628
84 | 2706155.2879 | 1230576.6189
85 | 2706133.6342 | 1230566.7351
86 | 2706334.1313 | 1230508.0392
87 | 2706335.3416 | 1230526.8702
88 | 2706160.8353 | 1231043.482
89 | 2706128.4886 | 1231014.7256
90 | 2706190.948 | 1231040.2453
91 | 2706173.1386 | 1231042.1397
92 | 2706166.467 | 1231042.8676
93 | 2706186.2523 | 1231008.6236
94 | 2706167.3289 | 1231010.8065
95 | 2706194.4066 | 1231007.6844
96 | 2706158.4576 | 1231011.8324
97 | 2706139.9587 | 1231013.7904
98 | 2706127.4412 | 1231014.8581
99 | 2706108.826 | 1231017.2136
100 | 2706094.9375 | 1231018.971
101 | 2706087.6025 | 1231019.8991
102 | 2706132.1448 | 1231141.6867

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1