## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3340-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3340-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3340-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3340-2_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3340-2_0_3_node_39 | 0.4 | n |  | TRUE
5 | bus_LV_3340-2_0_3_node_38 | 0.4 | n |  | TRUE
6 | bus_LV_3340-2_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_3340-2_0_3_node_40 | 0.4 | n |  | TRUE
8 | bus_LV_3340-2_0_3_node_172 | 0.4 | n |  | TRUE
9 | bus_LV_3340-2_0_3_node_41 | 0.4 | n |  | TRUE
10 | bus_LV_3340-2_0_3_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_3340-2_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_3340-2_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_3340-2_0_3_node_25 | 0.4 | n |  | TRUE
14 | bus_LV_3340-2_0_3_node_170 | 0.4 | n |  | TRUE
15 | bus_LV_3340-2_0_3_node_23 | 0.4 | n |  | TRUE
16 | bus_LV_3340-2_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_3340-2_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_3340-2_0_3_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_3340-2_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_3340-2_0_3_node_160 | 0.4 | n |  | TRUE
21 | bus_LV_3340-2_0_3_node_171 | 0.4 | n |  | TRUE
22 | bus_LV_3340-2_0_3_node_159 | 0.4 | n |  | TRUE
23 | bus_LV_3340-2_0_3_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_3340-2_0_3_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_3340-2_0_3_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_3340-2_0_3_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_3340-2_0_3_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_3340-2_0_3_node_166 | 0.4 | n |  | TRUE
29 | bus_LV_3340-2_0_3_node_167 | 0.4 | n |  | TRUE
30 | bus_LV_3340-2_0_3_node_42 | 0.4 | n |  | TRUE
31 | bus_LV_3340-2_0_3_node_140 | 0.4 | n |  | TRUE
32 | bus_LV_3340-2_0_3_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_3340-2_0_3_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_3340-2_0_3_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_3340-2_0_3_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_3340-2_0_3_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_3340-2_0_3_node_173 | 0.4 | n |  | TRUE
38 | bus_LV_3340-2_0_3_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_3340-2_0_3_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_3340-2_0_3_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_3340-2_0_3_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_3340-2_0_3_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_3340-2_0_3_node_176 | 0.4 | n |  | TRUE
44 | bus_LV_3340-2_0_3_node_158 | 0.4 | n |  | TRUE
45 | bus_LV_3340-2_0_3_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_3340-2_0_3_node_151 | 0.4 | n |  | TRUE
47 | bus_LV_3340-2_0_3_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_3340-2_0_3_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_3340-2_0_3_node_29 | 0.4 | n |  | TRUE
50 | bus_LV_3340-2_0_3_node_31 | 0.4 | n |  | TRUE
51 | bus_LV_3340-2_0_3_node_32 | 0.4 | n |  | TRUE
52 | bus_LV_3340-2_0_3_node_93 | 0.4 | n |  | TRUE
53 | bus_LV_3340-2_0_3_node_33 | 0.4 | n |  | TRUE
54 | bus_LV_3340-2_0_3_node_67 | 0.4 | n |  | TRUE
55 | bus_LV_3340-2_0_3_node_117 | 0.4 | n |  | TRUE
56 | bus_LV_3340-2_0_3_node_71 | 0.4 | n |  | TRUE
57 | bus_LV_3340-2_0_3_node_118 | 0.4 | n |  | TRUE
58 | bus_LV_3340-2_0_3_node_68 | 0.4 | n |  | TRUE
59 | bus_LV_3340-2_0_3_node_74 | 0.4 | n |  | TRUE
60 | bus_LV_3340-2_0_3_node_69 | 0.4 | n |  | TRUE
61 | bus_LV_3340-2_0_3_node_66 | 0.4 | n |  | TRUE
62 | bus_LV_3340-2_0_3_node_37 | 0.4 | n |  | TRUE
63 | bus_LV_3340-2_0_3_node_149 | 0.4 | n |  | TRUE
64 | bus_LV_3340-2_0_3_node_87 | 0.4 | n |  | TRUE
65 | bus_LV_3340-2_0_3_node_88 | 0.4 | n |  | TRUE
66 | bus_LV_3340-2_0_3_node_89 | 0.4 | n |  | TRUE
67 | bus_LV_3340-2_0_3_node_90 | 0.4 | n |  | TRUE
68 | bus_LV_3340-2_0_3_node_91 | 0.4 | n |  | TRUE
69 | bus_LV_3340-2_0_3_node_92 | 0.4 | n |  | TRUE
70 | bus_LV_3340-2_0_3_node_120 | 0.4 | n |  | TRUE
71 | bus_LV_3340-2_0_3_node_119 | 0.4 | n |  | TRUE
72 | bus_LV_3340-2_0_3_node_169 | 0.4 | n |  | TRUE
73 | bus_LV_3340-2_0_3_node_110 | 0.4 | n |  | TRUE
74 | bus_LV_3340-2_0_3_node_111 | 0.4 | n |  | TRUE
75 | bus_LV_3340-2_0_3_node_112 | 0.4 | n |  | TRUE
76 | bus_LV_3340-2_0_3_node_150 | 0.4 | n |  | TRUE
77 | bus_LV_3340-2_0_3_node_139 | 0.4 | n |  | TRUE
78 | bus_LV_3340-2_0_3_node_141 | 0.4 | n |  | TRUE
79 | bus_LV_3340-2_0_3_node_43 | 0.4 | n |  | TRUE
80 | bus_LV_3340-2_0_3_node_44 | 0.4 | n |  | TRUE
81 | bus_LV_3340-2_0_3_node_45 | 0.4 | n |  | TRUE
82 | bus_LV_3340-2_0_3_node_46 | 0.4 | n |  | TRUE
83 | bus_LV_3340-2_0_3_node_125 | 0.4 | n |  | TRUE
84 | bus_LV_3340-2_0_3_node_124 | 0.4 | n |  | TRUE
85 | bus_LV_3340-2_0_3_node_131 | 0.4 | n |  | TRUE
86 | bus_LV_3340-2_0_3_node_47 | 0.4 | n |  | TRUE
87 | bus_LV_3340-2_0_3_node_48 | 0.4 | n |  | TRUE
88 | bus_LV_3340-2_0_3_node_49 | 0.4 | n |  | TRUE
89 | bus_LV_3340-2_0_3_node_51 | 0.4 | n |  | TRUE
90 | bus_LV_3340-2_0_3_node_53 | 0.4 | n |  | TRUE
91 | bus_LV_3340-2_0_3_node_52 | 0.4 | n |  | TRUE
92 | bus_LV_3340-2_0_3_node_129 | 0.4 | n |  | TRUE
93 | bus_LV_3340-2_0_3_node_155 | 0.4 | n |  | TRUE
94 | bus_LV_3340-2_0_3_node_130 | 0.4 | n |  | TRUE
95 | bus_LV_3340-2_0_3_node_144 | 0.4 | n |  | TRUE
96 | bus_LV_3340-2_0_3_node_128 | 0.4 | n |  | TRUE
97 | bus_LV_3340-2_0_3_node_54 | 0.4 | n |  | TRUE
98 | bus_LV_3340-2_0_3_node_55 | 0.4 | n |  | TRUE
99 | bus_LV_3340-2_0_3_node_56 | 0.4 | n |  | TRUE
100 | bus_LV_3340-2_0_3_node_57 | 0.4 | n |  | TRUE
101 | bus_LV_3340-2_0_3_node_58 | 0.4 | n |  | TRUE
102 | bus_LV_3340-2_0_3_node_84 | 0.4 | n |  | TRUE
103 | bus_LV_3340-2_0_3_node_62 | 0.4 | n |  | TRUE
104 | bus_LV_3340-2_0_3_node_143 | 0.4 | n |  | TRUE
105 | bus_LV_3340-2_0_3_node_127 | 0.4 | n |  | TRUE
106 | bus_LV_3340-2_0_3_node_60 | 0.4 | n |  | TRUE
107 | bus_LV_3340-2_0_3_node_103 | 0.4 | n |  | TRUE
108 | bus_LV_3340-2_0_3_node_105 | 0.4 | n |  | TRUE
109 | bus_LV_3340-2_0_3_node_106 | 0.4 | n |  | TRUE
110 | bus_LV_3340-2_0_3_node_102 | 0.4 | n |  | TRUE
111 | bus_LV_3340-2_0_3_node_63 | 0.4 | n |  | TRUE
112 | bus_LV_3340-2_0_3_node_142 | 0.4 | n |  | TRUE
113 | bus_LV_3340-2_0_3_node_59 | 0.4 | n |  | TRUE
114 | bus_LV_3340-2_0_3_node_61 | 0.4 | n |  | TRUE
115 | bus_LV_3340-2_0_3_node_65 | 0.4 | n |  | TRUE
116 | bus_LV_3340-2_0_3_node_156 | 0.4 | n |  | TRUE
117 | bus_LV_3340-2_0_3_node_96 | 0.4 | n |  | TRUE
118 | bus_LV_3340-2_0_3_node_95 | 0.4 | n |  | TRUE
119 | bus_LV_3340-2_0_3_node_157 | 0.4 | n |  | TRUE
120 | bus_LV_3340-2_0_3_node_148 | 0.4 | n |  | TRUE
121 | bus_LV_3340-2_0_3_node_70 | 0.4 | n |  | TRUE
122 | bus_LV_3340-2_0_3_node_100 | 0.4 | n |  | TRUE
123 | bus_LV_3340-2_0_3_node_152 | 0.4 | n |  | TRUE
124 | bus_LV_3340-2_0_3_node_78 | 0.4 | n |  | TRUE
125 | bus_LV_3340-2_0_3_node_99 | 0.4 | n |  | TRUE
126 | bus_LV_3340-2_0_3_node_161 | 0.4 | n |  | TRUE
127 | bus_LV_3340-2_0_3_node_72 | 0.4 | n |  | TRUE
128 | bus_LV_3340-2_0_3_node_73 | 0.4 | n |  | TRUE
129 | bus_LV_3340-2_0_3_node_121 | 0.4 | n |  | TRUE
130 | bus_LV_3340-2_0_3_node_94 | 0.4 | n |  | TRUE
131 | bus_LV_3340-2_0_3_node_75 | 0.4 | n |  | TRUE
132 | bus_LV_3340-2_0_3_node_76 | 0.4 | n |  | TRUE
133 | bus_LV_3340-2_0_3_node_77 | 0.4 | n |  | TRUE
134 | bus_LV_3340-2_0_3_node_79 | 0.4 | n |  | TRUE
135 | bus_LV_3340-2_0_3_node_132 | 0.4 | n |  | TRUE
136 | bus_LV_3340-2_0_3_node_126 | 0.4 | n |  | TRUE
137 | bus_LV_3340-2_0_3_node_133 | 0.4 | n |  | TRUE
138 | bus_LV_3340-2_0_3_node_80 | 0.4 | n |  | TRUE
139 | bus_LV_3340-2_0_3_node_81 | 0.4 | n |  | TRUE
140 | bus_LV_3340-2_0_3_node_82 | 0.4 | n |  | TRUE
141 | bus_LV_3340-2_0_3_node_83 | 0.4 | n |  | TRUE
142 | bus_LV_3340-2_0_3_node_107 | 0.4 | n |  | TRUE
143 | bus_LV_3340-2_0_3_node_175 | 0.4 | n |  | TRUE
144 | bus_LV_3340-2_0_3_node_108 | 0.4 | n |  | TRUE
145 | bus_LV_3340-2_0_3_node_109 | 0.4 | n |  | TRUE
146 | bus_LV_3340-2_0_3_node_104 | 0.4 | n |  | TRUE
147 | bus_LV_3340-2_0_3_node_174 | 0.4 | n |  | TRUE
148 | bus_LV_3340-2_0_3_node_97 | 0.4 | n |  | TRUE
149 | bus_LV_3340-2_0_3_node_98 | 0.4 | n |  | TRUE
150 | bus_LV_3340-2_0_3_node_134 | 0.4 | n |  | TRUE
151 | bus_LV_3340-2_0_3_node_135 | 0.4 | n |  | TRUE
152 | bus_LV_3340-2_0_3_node_136 | 0.4 | n |  | TRUE
153 | bus_LV_3340-2_0_3_node_138 | 0.4 | n |  | TRUE
154 | bus_LV_3340-2_0_3_node_101 | 0.4 | n |  | TRUE
155 | bus_LV_3340-2_0_3_node_122 | 0.4 | n |  | TRUE
156 | bus_LV_3340-2_0_3_node_123 | 0.4 | n |  | TRUE
157 | bus_LV_3340-2_0_3_node_145 | 0.4 | n |  | TRUE
158 | bus_LV_3340-2_0_3_node_146 | 0.4 | n |  | TRUE
159 | bus_LV_3340-2_0_3_node_113 | 0.4 | n |  | TRUE
160 | bus_LV_3340-2_0_3_node_114 | 0.4 | n |  | TRUE
161 | bus_LV_3340-2_0_3_node_115 | 0.4 | n |  | TRUE
162 | bus_LV_3340-2_0_3_node_116 | 0.4 | n |  | TRUE
163 | bus_LV_3340-2_0_3_node_153 | 0.4 | n |  | TRUE
164 | bus_LV_3340-2_0_3_node_147 | 0.4 | n |  | TRUE
165 | bus_LV_3340-2_0_3_node_154 | 0.4 | n |  | TRUE
166 | bus_LV_3340-2_0_3_node_165 | 0.4 | n |  | TRUE
167 | bus_LV_3340-2_0_3_node_163 | 0.4 | n |  | TRUE
168 | bus_LV_3340-2_0_3_node_164 | 0.4 | n |  | TRUE
169 | bus_LV_3340-2_0_3_node_137 | 0.4 | n |  | TRUE
170 | bus_LV_3340-2_0_3_node_177 | 0.4 | n |  | TRUE
171 | bus_MV_585_0_node_175 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3340-2_0_3_load_0 | 0 | 0.0082293 | 0.0020624 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3340-2_0_3_load_39 | 4 | 0.0064648 | 0.0016202 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3340-2_0_3_load_38 | 5 | 0.0065308 | 0.0016368 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3340-2_0_3_load_40 | 7 | 0.0049649 | 0.0012443 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3340-2_0_3_load_172 | 8 | 0.0040959 | 0.0010265 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3340-2_0_3_load_5 | 10 | 0.0041004 | 0.0010277 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3340-2_0_3_load_6 | 11 | 0.0089962 | 0.0022547 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3340-2_0_3_load_23 | 15 | 0.0032854 | 0.00082339 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3340-2_0_3_load_9 | 16 | 0.0018163 | 0.0004552 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3340-2_0_3_load_10 | 17 | 0.0021155 | 0.00053019 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3340-2_0_3_load_12 | 19 | 0.00030595 | 7.6677e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3340-2_0_3_load_171 | 21 | 0.0012272 | 0.00030755 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3340-2_0_3_load_159 | 22 | 0.00034614 | 8.6752e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3340-2_0_3_load_20 | 23 | 0.0035216 | 0.0008826 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3340-2_0_3_load_13 | 25 | 0.0068235 | 0.0017101 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3340-2_0_3_load_14 | 26 | 0.0064772 | 0.0016234 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3340-2_0_3_load_166 | 28 | 0.0033509 | 0.00083981 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3340-2_0_3_load_167 | 29 | 0.0037497 | 0.00093976 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3340-2_0_3_load_140 | 31 | 0.0029005 | 0.00072694 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3340-2_0_3_load_16 | 32 | 0.00054163 | 0.00013575 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3340-2_0_3_load_17 | 33 | 0.00054284 | 0.00013605 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3340-2_0_3_load_21 | 35 | 0.00038026 | 9.5301e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3340-2_0_3_load_27 | 36 | 0.00040841 | 0.00010236 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3340-2_0_3_load_173 | 37 | 0.0014164 | 0.00035497 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3340-2_0_3_load_35 | 38 | 0.00033385 | 8.3669e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3340-2_0_3_load_22 | 39 | 0.0036347 | 0.00091095 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3340-2_0_3_load_24 | 40 | 0.0032098 | 0.00080446 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3340-2_0_3_load_26 | 41 | 0.0043587 | 0.0010924 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3340-2_0_3_load_176 | 43 | 0.0084988 | 0.00213 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3340-2_0_3_load_158 | 44 | 0.0027771 | 0.000696 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3340-2_0_3_load_151 | 46 | 0.0037282 | 0.00093438 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3340-2_0_3_load_28 | 48 | 0.0080185 | 0.0020096 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3340-2_0_3_load_93 | 52 | 0.0055108 | 0.0013811 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3340-2_0_3_load_33 | 53 | 0.0050089 | 0.0012553 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3340-2_0_3_load_117 | 55 | 0.0058642 | 0.0014697 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3340-2_0_3_load_118 | 57 | 0.0050026 | 0.0012538 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3340-2_0_3_load_69 | 60 | 0.001485 | 0.00037218 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3340-2_0_3_load_66 | 61 | 0.0030669 | 0.00076863 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3340-2_0_3_load_37 | 62 | 0.0013314 | 0.00033369 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3340-2_0_3_load_149 | 63 | 0.0022942 | 0.00057498 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3340-2_0_3_load_87 | 64 | 0.002812 | 0.00070476 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3340-2_0_3_load_88 | 65 | 0.0023095 | 0.0005788 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3340-2_0_3_load_90 | 67 | 0.0028134 | 0.0007051 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3340-2_0_3_load_91 | 68 | 0.0041187 | 0.0010323 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3340-2_0_3_load_92 | 69 | 0.0028046 | 0.00070289 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3340-2_0_3_load_120 | 70 | 0.0023045 | 0.00057757 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3340-2_0_3_load_119 | 71 | 0.0047339 | 0.0011864 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3340-2_0_3_load_169 | 72 | 0.0018323 | 0.00045922 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3340-2_0_3_load_110 | 73 | 0.0044115 | 0.0011056 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3340-2_0_3_load_111 | 74 | 0.0043963 | 0.0011018 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3340-2_0_3_load_150 | 76 | 0.002332 | 0.00058445 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3340-2_0_3_load_141 | 78 | 0.0042447 | 0.0010638 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3340-2_0_3_load_43 | 79 | 0.0030307 | 0.00075957 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3340-2_0_3_load_45 | 81 | 0.0016744 | 0.00041964 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3340-2_0_3_load_125 | 83 | 0.0024962 | 0.0006256 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3340-2_0_3_load_124 | 84 | 0.0021978 | 0.00055082 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3340-2_0_3_load_131 | 85 | 0.0021647 | 0.00054251 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3340-2_0_3_load_47 | 86 | 0.0024968 | 0.00062576 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3340-2_0_3_load_48 | 87 | 0.0025744 | 0.00064519 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3340-2_0_3_load_51 | 89 | 0.0015148 | 0.00037964 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3340-2_0_3_load_52 | 91 | 0.0018381 | 0.00046068 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3340-2_0_3_load_155 | 93 | 0.0031326 | 0.0007851 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3340-2_0_3_load_130 | 94 | 0.0021671 | 0.00054312 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3340-2_0_3_load_144 | 95 | 0.001442 | 0.00036141 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3340-2_0_3_load_54 | 97 | 0.0032675 | 0.00081892 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3340-2_0_3_load_55 | 98 | 0.0025613 | 0.00064193 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3340-2_0_3_load_56 | 99 | 0.0031138 | 0.00078039 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3340-2_0_3_load_84 | 102 | 0.0026048 | 0.00065282 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3340-2_0_3_load_62 | 103 | 0.001941 | 0.00048647 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3340-2_0_3_load_143 | 104 | 0.0024382 | 0.00061107 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3340-2_0_3_load_127 | 105 | 0.0016826 | 0.00042169 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3340-2_0_3_load_60 | 106 | 0.0018845 | 0.0004723 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3340-2_0_3_load_105 | 108 | 0.0032907 | 0.00082474 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3340-2_0_3_load_102 | 110 | 0.0053586 | 0.001343 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3340-2_0_3_load_63 | 111 | 0.0014399 | 0.00036086 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3340-2_0_3_load_142 | 112 | 0.0034008 | 0.00085233 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3340-2_0_3_load_59 | 113 | 0.0023592 | 0.00059127 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3340-2_0_3_load_65 | 115 | 0.0012569 | 0.00031501 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3340-2_0_3_load_96 | 117 | 0.0022612 | 0.00056671 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3340-2_0_3_load_95 | 118 | 0.001328 | 0.00033284 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3340-2_0_3_load_148 | 120 | 0.0020165 | 0.00050537 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3340-2_0_3_load_152 | 123 | 0.0059644 | 0.0014948 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3340-2_0_3_load_99 | 125 | 0.002925 | 0.00073308 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3340-2_0_3_load_161 | 126 | 0.0062033 | 0.0015547 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_3340-2_0_3_load_72 | 127 | 0.0024342 | 0.00061006 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_3340-2_0_3_load_121 | 129 | 0.0057083 | 0.0014306 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_3340-2_0_3_load_94 | 130 | 0.0079989 | 0.0020047 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_3340-2_0_3_load_75 | 131 | 0.0028673 | 0.0007186 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_3340-2_0_3_load_76 | 132 | 0.0020204 | 0.00050636 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_3340-2_0_3_load_77 | 133 | 0.002632 | 0.00065964 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_3340-2_0_3_load_79 | 134 | 0.0025794 | 0.00064645 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_3340-2_0_3_load_126 | 136 | 0.0025224 | 0.00063218 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_3340-2_0_3_load_80 | 138 | 0.0040384 | 0.0010121 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_3340-2_0_3_load_82 | 140 | 0.0038575 | 0.00096678 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_3340-2_0_3_load_175 | 143 | 0.00907 | 0.0022732 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_3340-2_0_3_load_109 | 145 | 0.001061 | 0.00026592 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_3340-2_0_3_load_174 | 147 | 0.0090949 | 0.0022794 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_3340-2_0_3_load_97 | 148 | 0.0017489 | 0.00043832 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_3340-2_0_3_load_134 | 150 | 0.0015903 | 0.00039858 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_3340-2_0_3_load_135 | 151 | 0.0016212 | 0.00040631 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_3340-2_0_3_load_138 | 153 | 0.0016909 | 0.00042377 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_3340-2_0_3_load_101 | 154 | 0.00087049 | 0.00021816 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_3340-2_0_3_load_122 | 155 | 0.0023565 | 0.0005906 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_3340-2_0_3_load_123 | 156 | 0.0020153 | 0.00050507 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_3340-2_0_3_load_145 | 157 | 0.0036431 | 0.00091305 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_3340-2_0_3_load_113 | 159 | 0.0011553 | 0.00028955 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_3340-2_0_3_load_115 | 161 | 0.0041639 | 0.0010436 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_3340-2_0_3_load_116 | 162 | 0.0030754 | 0.00077077 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_3340-2_0_3_load_153 | 163 | 0.00090875 | 0.00022776 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_3340-2_0_3_load_147 | 164 | 0.0047402 | 0.001188 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_3340-2_0_3_load_154 | 165 | 0.0012171 | 0.00030502 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_3340-2_0_3_load_165 | 166 | 0.0024712 | 0.00061933 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_3340-2_0_3_load_163 | 167 | 0.0013634 | 0.00034171 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_3340-2_0_3_load_164 | 168 | 0.001287 | 0.00032254 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_3340-2_0_3_load_137 | 169 | 0.0016915 | 0.00042392 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_3340-2_0_3_load_177 | 170 | 0.0093578 | 0.0023453 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 151 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3340-2_0_3_line_0 |  | 0 | 1 | 0.026643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3340-2_0_3_line_1 |  | 1 | 2 | 0.005359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3340-2_0_3_line_2 |  | 1 | 3 | 0.022287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3340-2_0_3_line_3 |  | 2 | 6 | 0.023156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3340-2_0_3_line_4 |  | 3 | 7 | 0.0033466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3340-2_0_3_line_5 |  | 4 | 5 | 0.029439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3340-2_0_3_line_6 |  | 5 | 46 | 0.029782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3340-2_0_3_line_7 |  | 5 | 41 | 0.0275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_3340-2_0_3_line_8 |  | 6 | 8 | 0.0063344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3340-2_0_3_line_9 |  | 7 | 9 | 0.0147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3340-2_0_3_line_10 |  | 9 | 30 | 0.0086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3340-2_0_3_line_11 |  | 10 | 11 | 0.0026675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3340-2_0_3_line_12 |  | 11 | 12 | 0.014493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3340-2_0_3_line_13 |  | 12 | 13 | 0.012086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3340-2_0_3_line_14 |  | 13 | 14 | 0.00232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3340-2_0_3_line_15 |  | 13 | 15 | 0.011492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3340-2_0_3_line_16 |  | 14 | 43 | 0.039271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3340-2_0_3_line_17 |  | 15 | 39 | 0.016882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3340-2_0_3_line_18 |  | 16 | 17 | 0.014983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3340-2_0_3_line_19 |  | 16 | 18 | 0.026772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3340-2_0_3_line_20 |  | 17 | 19 | 0.0057583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3340-2_0_3_line_21 |  | 18 | 20 | 0.079131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3340-2_0_3_line_22 |  | 19 | 23 | 0.018317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3340-2_0_3_line_23 |  | 20 | 21 | 0.024535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3340-2_0_3_line_24 |  | 20 | 22 | 0.0010265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3340-2_0_3_line_25 |  | 22 | 165 | 0.011903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3340-2_0_3_line_26 |  | 23 | 24 | 0.0084731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3340-2_0_3_line_27 |  | 24 | 35 | 0.02589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3340-2_0_3_line_28 |  | 24 | 32 | 0.011665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3340-2_0_3_line_29 |  | 25 | 26 | 0.010196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3340-2_0_3_line_30 |  | 26 | 27 | 0.016139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3340-2_0_3_line_31 |  | 27 | 28 | 0.010067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3340-2_0_3_line_32 |  | 27 | 29 | 0.030547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3340-2_0_3_line_33 |  | 28 | 30 | 0.027675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3340-2_0_3_line_34 |  | 29 | 31 | 0.0034739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3340-2_0_3_line_35 |  | 31 | 77 | 0.017204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3340-2_0_3_line_36 |  | 32 | 33 | 0.019318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3340-2_0_3_line_37 |  | 33 | 34 | 0.027411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3340-2_0_3_line_38 |  | 34 | 36 | 0.013778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3340-2_0_3_line_39 |  | 35 | 37 | 0.0072385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3340-2_0_3_line_40 |  | 36 | 38 | 0.068463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3340-2_0_3_line_41 |  | 38 | 47 | 0.13892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3340-2_0_3_line_42 |  | 39 | 40 | 0.010277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3340-2_0_3_line_43 |  | 40 | 41 | 0.021971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3340-2_0_3_line_44 |  | 41 | 42 | 0.017335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_3340-2_0_3_line_45 |  | 42 | 44 | 0.032277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_3340-2_0_3_line_46 |  | 42 | 45 | 0.003209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3340-2_0_3_line_47 |  | 44 | 60 | 0.0019687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_3340-2_0_3_line_48 |  | 45 | 48 | 0.028598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3340-2_0_3_line_49 |  | 46 | 63 | 0.010548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3340-2_0_3_line_50 |  | 47 | 62 | 0.010911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3340-2_0_3_line_51 |  | 49 | 50 | 0.025925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3340-2_0_3_line_52 |  | 49 | 51 | 0.025248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3340-2_0_3_line_53 |  | 50 | 52 | 0.019464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3340-2_0_3_line_54 |  | 51 | 53 | 0.020735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3340-2_0_3_line_55 |  | 51 | 54 | 0.0033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_3340-2_0_3_line_56 |  | 51 | 55 | 0.015469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_3340-2_0_3_line_57 |  | 52 | 59 | 0.022485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3340-2_0_3_line_58 |  | 54 | 60 | 0.021263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_3340-2_0_3_line_59 |  | 54 | 61 | 0.0086093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3340-2_0_3_line_60 |  | 55 | 56 | 0.021007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_3340-2_0_3_line_61 |  | 56 | 57 | 0.013186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3340-2_0_3_line_62 |  | 56 | 58 | 0.004103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_3340-2_0_3_line_63 |  | 58 | 121 | 0.007284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_3340-2_0_3_line_64 |  | 59 | 130 | 0.013741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3340-2_0_3_line_65 |  | 59 | 128 | 0.033147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3340-2_0_3_line_66 |  | 63 | 75 | 0.0038085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3340-2_0_3_line_67 |  | 64 | 65 | 0.0036532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3340-2_0_3_line_68 |  | 64 | 66 | 0.0097405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3340-2_0_3_line_69 |  | 65 | 67 | 0.0016768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3340-2_0_3_line_70 |  | 66 | 68 | 0.01414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3340-2_0_3_line_71 |  | 66 | 69 | 0.0046538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3340-2_0_3_line_72 |  | 67 | 70 | 0.0094623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3340-2_0_3_line_73 |  | 68 | 71 | 0.0039808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3340-2_0_3_line_74 |  | 69 | 72 | 0.006741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3340-2_0_3_line_75 |  | 70 | 77 | 0.010432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3340-2_0_3_line_76 |  | 72 | 76 | 0.0054781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3340-2_0_3_line_77 |  | 73 | 74 | 0.00021258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3340-2_0_3_line_78 |  | 74 | 75 | 0.013804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3340-2_0_3_line_79 |  | 75 | 76 | 0.0016688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3340-2_0_3_line_80 |  | 77 | 78 | 0.012885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3340-2_0_3_line_81 |  | 79 | 80 | 0.01278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3340-2_0_3_line_82 |  | 79 | 81 | 0.0080648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3340-2_0_3_line_83 |  | 80 | 82 | 0.023134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3340-2_0_3_line_84 |  | 82 | 83 | 0.0033704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3340-2_0_3_line_85 |  | 82 | 84 | 0.015248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3340-2_0_3_line_86 |  | 83 | 85 | 0.027461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3340-2_0_3_line_87 |  | 85 | 135 | 0.013828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3340-2_0_3_line_88 |  | 86 | 87 | 0.020146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3340-2_0_3_line_89 |  | 86 | 88 | 0.011864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3340-2_0_3_line_90 |  | 88 | 89 | 0.012714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3340-2_0_3_line_91 |  | 88 | 90 | 0.002519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3340-2_0_3_line_92 |  | 90 | 93 | 0.0084159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3340-2_0_3_line_93 |  | 90 | 94 | 0.021686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3340-2_0_3_line_94 |  | 91 | 92 | 0.020421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3340-2_0_3_line_95 |  | 92 | 95 | 0.022491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
96 | LV_3340-2_0_3_line_96 |  | 92 | 96 | 0.009149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
97 | LV_3340-2_0_3_line_97 |  | 94 | 96 | 0.031027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_3340-2_0_3_line_98 |  | 95 | 166 | 0.014411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
99 | LV_3340-2_0_3_line_99 |  | 96 | 105 | 0.0041313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
100 | LV_3340-2_0_3_line_100 |  | 97 | 98 | 0.0099073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_3340-2_0_3_line_101 |  | 97 | 99 | 0.032707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_3340-2_0_3_line_102 |  | 98 | 100 | 0.015117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_3340-2_0_3_line_103 |  | 99 | 101 | 0.02671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_3340-2_0_3_line_104 |  | 100 | 102 | 0.021526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
105 | LV_3340-2_0_3_line_105 |  | 100 | 103 | 0.0057415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
106 | LV_3340-2_0_3_line_106 |  | 101 | 104 | 0.023787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_3340-2_0_3_line_107 |  | 102 | 105 | 0.019374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
108 | LV_3340-2_0_3_line_108 |  | 103 | 106 | 0.028879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
109 | LV_3340-2_0_3_line_109 |  | 104 | 112 | 0.059732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_3340-2_0_3_line_110 |  | 106 | 113 | 0.029413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
111 | LV_3340-2_0_3_line_111 |  | 107 | 108 | 0.022222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_3340-2_0_3_line_112 |  | 107 | 109 | 0.023996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_3340-2_0_3_line_113 |  | 107 | 110 | 0.018211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_3340-2_0_3_line_114 |  | 109 | 111 | 0.011662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_3340-2_0_3_line_115 |  | 110 | 146 | 0.012013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_3340-2_0_3_line_116 |  | 111 | 114 | 0.019476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_3340-2_0_3_line_117 |  | 113 | 114 | 0.012013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_3340-2_0_3_line_118 |  | 114 | 115 | 0.015405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_3340-2_0_3_line_119 |  | 115 | 116 | 0.0051491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_3340-2_0_3_line_120 |  | 116 | 119 | 0.00802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_3340-2_0_3_line_121 |  | 116 | 120 | 0.0063803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_3340-2_0_3_line_122 |  | 117 | 118 | 0.0046234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_3340-2_0_3_line_123 |  | 118 | 148 | 0.027519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_3340-2_0_3_line_124 |  | 119 | 170 | 0.005384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_3340-2_0_3_line_125 |  | 120 | 158 | 0.02331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_3340-2_0_3_line_126 |  | 121 | 122 | 0.038572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
127 | LV_3340-2_0_3_line_127 |  | 121 | 123 | 0.018169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
128 | LV_3340-2_0_3_line_128 |  | 122 | 124 | 0.027816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
129 | LV_3340-2_0_3_line_129 |  | 122 | 125 | 0.016803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_3340-2_0_3_line_130 |  | 123 | 126 | 0.041754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
131 | LV_3340-2_0_3_line_131 |  | 124 | 135 | 0.022624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
132 | LV_3340-2_0_3_line_132 |  | 124 | 132 | 0.020358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_3340-2_0_3_line_133 |  | 125 | 149 | 0.017191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_3340-2_0_3_line_134 |  | 126 | 169 | 0.019129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
135 | LV_3340-2_0_3_line_135 |  | 127 | 128 | 0.023932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_3340-2_0_3_line_136 |  | 128 | 129 | 0.027559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_3340-2_0_3_line_137 |  | 131 | 132 | 0.0090607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_3340-2_0_3_line_138 |  | 131 | 133 | 0.015586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_3340-2_0_3_line_139 |  | 133 | 134 | 0.010337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_3340-2_0_3_line_140 |  | 134 | 136 | 0.004214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_3340-2_0_3_line_141 |  | 135 | 137 | 0.014043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
142 | LV_3340-2_0_3_line_142 |  | 137 | 166 | 0.0036864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
143 | LV_3340-2_0_3_line_143 |  | 137 | 167 | 0.014528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_3340-2_0_3_line_144 |  | 138 | 139 | 0.02514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_3340-2_0_3_line_145 |  | 139 | 140 | 0.0036527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_3340-2_0_3_line_146 |  | 139 | 141 | 0.035754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_3340-2_0_3_line_147 |  | 140 | 142 | 0.036808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_3340-2_0_3_line_148 |  | 141 | 143 | 0.021385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_3340-2_0_3_line_149 |  | 141 | 144 | 0.020233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_3340-2_0_3_line_150 |  | 142 | 145 | 0.013119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_3340-2_0_3_line_151 |  | 142 | 146 | 0.004651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_3340-2_0_3_line_152 |  | 144 | 147 | 0.002346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_3340-2_0_3_line_153 |  | 148 | 149 | 0.013741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_3340-2_0_3_line_154 |  | 149 | 154 | 0.011514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_3340-2_0_3_line_155 |  | 150 | 151 | 0.0063162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
156 | LV_3340-2_0_3_line_156 |  | 150 | 152 | 0.020857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
157 | LV_3340-2_0_3_line_157 |  | 152 | 169 | 0.0091533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
158 | LV_3340-2_0_3_line_158 |  | 152 | 153 | 0.014775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
159 | LV_3340-2_0_3_line_159 |  | 154 | 155 | 0.0089882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
160 | LV_3340-2_0_3_line_160 |  | 155 | 156 | 0.010378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
161 | LV_3340-2_0_3_line_161 |  | 157 | 158 | 0.024602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
162 | LV_3340-2_0_3_line_162 |  | 158 | 164 | 0.0062576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
163 | LV_3340-2_0_3_line_163 |  | 159 | 160 | 0.01944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
164 | LV_3340-2_0_3_line_164 |  | 160 | 161 | 0.010863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
165 | LV_3340-2_0_3_line_165 |  | 160 | 162 | 0.0057717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
166 | LV_3340-2_0_3_line_166 |  | 161 | 163 | 0.017358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
167 | LV_3340-2_0_3_line_167 |  | 162 | 164 | 0.015671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
168 | LV_3340-2_0_3_line_168 |  | 163 | 165 | 0.016705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
169 | LV_3340-2_0_3_line_169 |  | 167 | 168 | 0.007728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3340-2_0_3_trafo_135 | 0.63 MVA 20/0.4 kV | 171 | 151 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2705633.0303 | 1230522.5995 | 2705655.5144 | 1230518.4292 | 2705659.1427 | 1230517.3862
1 | 2705633.0303 | 1230522.5995 | 2705631.6297 | 1230517.4263
2 | 2705635.2045 | 1230544.7659 | 2705634.662 | 1230535.6494 | 2705633.0303 | 1230522.5995
3 | 2705608.5458 | 1230519.9627 | 2705631.6297 | 1230517.4263
4 | 2705635.2045 | 1230544.7659 | 2705635.2771 | 1230548.1118
5 | 2705579.1477 | 1230638.2407 | 2705551.901 | 1230649.3895
6 | 2705551.901 | 1230649.3895 | 2705569.3771 | 1230673.5049
7 | 2705527.7475 | 1230662.4243 | 2705545.3941 | 1230652.0519 | 2705551.901 | 1230649.3895
8 | 2705608.5458 | 1230519.9627 | 2705609.0941 | 1230526.2733
9 | 2705635.5959 | 1230562.8087 | 2705635.2771 | 1230548.1118
10 | 2705635.5959 | 1230562.8087 | 2705635.7116 | 1230567.3808 | 2705632.7314 | 1230570.0966
11 | 2705456.8288 | 1230690.8801 | 2705458.5848 | 1230692.888
12 | 2705468.1258 | 1230703.7977 | 2705458.5848 | 1230692.888
13 | 2705477.5636 | 1230696.215 | 2705468.1258 | 1230703.7977
14 | 2705477.5636 | 1230696.215 | 2705479.0393 | 1230698.0092
15 | 2705477.5636 | 1230696.215 | 2705486.518 | 1230689.0122
16 | 2705477.7324 | 1230723.4051 | 2705482.5731 | 1230725.9818 | 2705489.7179 | 1230715.6897 | 2705489.6162 | 1230712.8857 | 2705488.9237 | 1230710.0713 | 2705479.0393 | 1230698.0092
17 | 2705486.518 | 1230689.0122 | 2705494.4565 | 1230682.6266 | 2705500.1789 | 1230679.154
18 | 2705917.4752 | 1230699.1299 | 2705917.1529 | 1230701.6881 | 2705916.1474 | 1230714.0514
19 | 2705914.2068 | 1230740.7429 | 2705915.0396 | 1230733.1186 | 2705915.6006 | 1230720.7749 | 2705916.1474 | 1230714.0514
20 | 2705917.4752 | 1230699.1299 | 2705918.195 | 1230693.4168
21 | 2705837.2848 | 1230759.3095 | 2705914.2068 | 1230740.7429
22 | 2705918.195 | 1230693.4168 | 2705919.6061 | 1230682.2172 | 2705920.3456 | 1230675.2274
23 | 2705840.0708 | 1230781.9539 | 2705842.7353 | 1230779.5217 | 2705837.2848 | 1230759.3095
24 | 2705837.2848 | 1230759.3095 | 2705836.3198 | 1230759.4702 | 2705836.2732 | 1230759.4824
25 | 2705836.2732 | 1230759.4824 | 2705824.7592 | 1230762.5011
26 | 2705921.237 | 1230666.8013 | 2705920.3456 | 1230675.2274
27 | 2705921.237 | 1230666.8013 | 2705895.3471 | 1230666.7569
28 | 2705921.237 | 1230666.8013 | 2705922.3476 | 1230655.189
29 | 2705614.0697 | 1230614.1272 | 2705621.5263 | 1230610.1722 | 2705623.2568 | 1230609.8756
30 | 2705639.1638 | 1230607.1499 | 2705623.2568 | 1230609.8756
31 | 2705639.1638 | 1230607.1499 | 2705639.155 | 1230599.9777 | 2705638.5858 | 1230597.1399
32 | 2705639.1638 | 1230607.1499 | 2705637.5417 | 1230616.5726 | 2705634.911 | 1230628.6127 | 2705633.95 | 1230637.2203
33 | 2705632.7314 | 1230570.0966 | 2705633.6051 | 1230573.3702 | 2705635.7241 | 1230582.8705 | 2705638.5858 | 1230597.1399
34 | 2705633.95 | 1230637.2203 | 2705633.9198 | 1230637.4907 | 2705633.9395 | 1230640.6925
35 | 2705635.2556 | 1230657.8074 | 2705633.9901 | 1230648.8782 | 2705633.9395 | 1230640.6925
36 | 2705922.3476 | 1230655.189 | 2705924.0769 | 1230637.1073 | 2705924.2387 | 1230635.9647
37 | 2705928.0812 | 1230608.8239 | 2705924.2387 | 1230635.9647
38 | 2705928.0812 | 1230608.8239 | 2705929.9308 | 1230603.6641 | 2705935.284 | 1230597.3249
39 | 2705888.1086 | 1230666.7446 | 2705895.3471 | 1230666.7569
40 | 2705935.284 | 1230597.3249 | 2705994.7567 | 1230563.4111
41 | 2705994.7567 | 1230563.4111 | 2706133.6342 | 1230566.7351
42 | 2705508.9644 | 1230673.8227 | 2705500.1789 | 1230679.154
43 | 2705527.7475 | 1230662.4243 | 2705508.9644 | 1230673.8227
44 | 2705527.7475 | 1230662.4243 | 2705532.8853 | 1230678.9835
45 | 2705532.8853 | 1230678.9835 | 2705543.3073 | 1230709.532
46 | 2705530.625 | 1230681.2674 | 2705532.8853 | 1230678.9835
47 | 2705543.943 | 1230711.3952 | 2705543.3073 | 1230709.532
48 | 2705530.625 | 1230681.2674 | 2705510.4762 | 1230701.5618
49 | 2705569.3771 | 1230673.5049 | 2705579.5041 | 1230670.5559
50 | 2706133.6342 | 1230566.7351 | 2706143.8547 | 1230570.5549
51 | 2705522.7766 | 1230735.013 | 2705524.3094 | 1230738.7096 | 2705524.9217 | 1230742.6234 | 2705526.2713 | 1230749.3858 | 2705528.6209 | 1230755.7211 | 2705529.8734 | 1230759.8465
52 | 2705547.5025 | 1230731.6826 | 2705539.8445 | 1230732.047 | 2705533.0337 | 1230731.6258 | 2705526.1973 | 1230733.5059 | 2705522.7766 | 1230735.013
53 | 2705529.8734 | 1230759.8465 | 2705526.5861 | 1230764.9364 | 2705515.0625 | 1230771.7841
54 | 2705547.5025 | 1230731.6826 | 2705540.7167 | 1230715.7835 | 2705539.6448 | 1230712.5059
55 | 2705547.5025 | 1230731.6826 | 2705550.8084 | 1230731.5189
56 | 2705547.5025 | 1230731.6826 | 2705553.2067 | 1230746.0615
57 | 2705493.164 | 1230775.9072 | 2705512.5593 | 1230773.2716 | 2705515.0625 | 1230771.7841
58 | 2705550.8084 | 1230731.5189 | 2705543.943 | 1230711.3952
59 | 2705550.8084 | 1230731.5189 | 2705554.1441 | 1230739.4558
60 | 2705560.999 | 1230765.5699 | 2705558.5821 | 1230759.6114 | 2705553.2067 | 1230746.0615
61 | 2705560.999 | 1230765.5699 | 2705566.0063 | 1230777.7682
62 | 2705560.999 | 1230765.5699 | 2705565.1092 | 1230765.7652
63 | 2705568.1201 | 1230772.4015 | 2705565.1092 | 1230765.7652
64 | 2705493.164 | 1230775.9072 | 2705490.7668 | 1230762.3773
65 | 2705493.2249 | 1230804.9079 | 2705497.8014 | 1230804.0106 | 2705493.164 | 1230775.9072
66 | 2705583.1607 | 1230669.4911 | 2705579.5041 | 1230670.5559
67 | 2705610.3167 | 1230661.5896 | 2705613.9287 | 1230661.0418
68 | 2705600.9651 | 1230664.3144 | 2705610.3167 | 1230661.5896
69 | 2705613.9287 | 1230661.0418 | 2705615.5865 | 1230660.7904
70 | 2705600.9651 | 1230664.3144 | 2705604.8219 | 1230677.9182
71 | 2705600.9651 | 1230664.3144 | 2705596.4964 | 1230665.6137
72 | 2705624.9419 | 1230659.3716 | 2705615.5865 | 1230660.7904
73 | 2705604.8219 | 1230677.9182 | 2705605.9077 | 1230681.748
74 | 2705590.0234 | 1230667.4957 | 2705596.4964 | 1230665.6137
75 | 2705635.2556 | 1230657.8074 | 2705624.9419 | 1230659.3716
76 | 2705584.7632 | 1230669.0252 | 2705590.0234 | 1230667.4957
77 | 2705586.6185 | 1230683.0749 | 2705586.5661 | 1230682.8689
78 | 2705583.1607 | 1230669.4911 | 2705586.5661 | 1230682.8689
79 | 2705583.1607 | 1230669.4911 | 2705584.7632 | 1230669.0252
80 | 2705635.2556 | 1230657.8074 | 2705640.9479 | 1230669.3667
81 | 2705540.4679 | 1230869.6838 | 2705540.2657 | 1230856.905
82 | 2705533.1813 | 1230856.4001 | 2705540.2502 | 1230855.9252 | 2705540.2657 | 1230856.905
83 | 2705540.4679 | 1230869.6838 | 2705563.6652 | 1230869.2175
84 | 2705563.6652 | 1230869.2175 | 2705566.8117 | 1230868.0096
85 | 2705563.6652 | 1230869.2175 | 2705560.7837 | 1230884.1911
86 | 2705566.8117 | 1230868.0096 | 2705592.4486 | 1230858.1681
87 | 2705605.358 | 1230853.2124 | 2705592.4486 | 1230858.1681
88 | 2705611.567 | 1230950.4039 | 2705605.1556 | 1230948.5695 | 2705592.0382 | 1230945.4775
89 | 2705622.9735 | 1230953.6676 | 2705611.567 | 1230950.4039
90 | 2705622.9735 | 1230953.6676 | 2705619.5519 | 1230965.9127
91 | 2705622.9735 | 1230953.6676 | 2705625.4004 | 1230954.3667
92 | 2705625.4004 | 1230954.3667 | 2705623.027 | 1230962.441
93 | 2705625.4004 | 1230954.3667 | 2705632.3014 | 1230933.8078
94 | 2705634.8176 | 1230898.9256 | 2705631.7149 | 1230902.1507 | 2705633.1049 | 1230907.0569 | 2705634.3385 | 1230911.382 | 2705634.1141 | 1230915.0586 | 2705633.3108 | 1230917.6001
95 | 2705634.8176 | 1230898.9256 | 2705628.1498 | 1230892.1799 | 2705621.4131 | 1230881.0541
96 | 2705634.8176 | 1230898.9256 | 2705642.1747 | 1230904.3938
97 | 2705642.1747 | 1230904.3938 | 2705632.3014 | 1230933.8078
98 | 2705621.4131 | 1230881.0541 | 2705613.949 | 1230868.727
99 | 2705642.1747 | 1230904.3938 | 2705644.2874 | 1230900.8435
100 | 2705690.145 | 1230867.728 | 2705680.2704 | 1230866.9235
101 | 2705690.145 | 1230867.728 | 2705711.6503 | 1230869.4799 | 2705722.7336 | 1230870.5079
102 | 2705665.2033 | 1230865.696 | 2705680.2704 | 1230866.9235
103 | 2705749.3299 | 1230872.9748 | 2705722.7336 | 1230870.5079
104 | 2705665.2033 | 1230865.696 | 2705654.1949 | 1230884.1948
105 | 2705665.2033 | 1230865.696 | 2705668.3503 | 1230860.8938
106 | 2705749.3299 | 1230872.9748 | 2705757.1045 | 1230889.0362 | 2705758.7114 | 1230894.7574
107 | 2705654.1949 | 1230884.1948 | 2705644.2874 | 1230900.8435
108 | 2705668.3503 | 1230860.8938 | 2705681.4313 | 1230840.9324 | 2705684.4218 | 1230836.9084
109 | 2705773.0379 | 1230952.6625 | 2705770.5761 | 1230937.0009 | 2705758.7114 | 1230894.7574
110 | 2705701.9661 | 1230813.3003 | 2705684.4218 | 1230836.9084
111 | 2705740.1402 | 1230846.1801 | 2705750.4531 | 1230865.8644
112 | 2705723.2595 | 1230831.8246 | 2705732.8126 | 1230845.4381 | 2705740.1402 | 1230846.1801
113 | 2705740.1402 | 1230846.1801 | 2705746.7059 | 1230845.4629 | 2705757.9681 | 1230842.6582
114 | 2705723.2595 | 1230831.8246 | 2705721.7892 | 1230829.7303 | 2705717.8696 | 1230821.5148
115 | 2705769.6254 | 1230839.7551 | 2705757.9681 | 1230842.6582
116 | 2705709.4831 | 1230803.9365 | 2705717.8696 | 1230821.5148
117 | 2705709.4831 | 1230803.9365 | 2705704.8787 | 1230809.381 | 2705701.9661 | 1230813.3003
118 | 2705709.4831 | 1230803.9365 | 2705723.3816 | 1230797.2916
119 | 2705728.0271 | 1230795.0706 | 2705723.3816 | 1230797.2916
120 | 2705726.0974 | 1230787.286 | 2705728.0271 | 1230795.0706
121 | 2705728.0271 | 1230795.0706 | 2705733.7824 | 1230792.3166
122 | 2705654.414 | 1230778.5712 | 2705658.6916 | 1230776.8168
123 | 2705654.414 | 1230778.5712 | 2705628.9531 | 1230789.0136
124 | 2705726.0974 | 1230787.286 | 2705724.8041 | 1230782.0591
125 | 2705755.2073 | 1230783.2339 | 2705746.8463 | 1230786.0651 | 2705733.7824 | 1230792.3166
126 | 2705568.1201 | 1230772.4015 | 2705581.4467 | 1230801.7713 | 2705584.7907 | 1230807.1347
127 | 2705568.1201 | 1230772.4015 | 2705584.957 | 1230765.5727
128 | 2705584.7907 | 1230807.1347 | 2705596.1345 | 1230832.5441
129 | 2705584.7907 | 1230807.1347 | 2705600.3359 | 1230800.7549
130 | 2705584.957 | 1230765.5727 | 2705601.4233 | 1230727.2032
131 | 2705605.358 | 1230853.2124 | 2705596.1345 | 1230832.5441
132 | 2705596.1345 | 1230832.5441 | 2705575.7794 | 1230832.8819
133 | 2705616.2396 | 1230794.2279 | 2705600.3359 | 1230800.7549
134 | 2705601.4233 | 1230727.2032 | 2705619.6159 | 1230721.2919
135 | 2705493.2249 | 1230804.9079 | 2705496.7263 | 1230828.582
136 | 2705493.2249 | 1230804.9079 | 2705520.5627 | 1230801.4224
137 | 2705566.72 | 1230833.0322 | 2705575.7794 | 1230832.8819
138 | 2705566.72 | 1230833.0322 | 2705551.1365 | 1230833.2908
139 | 2705540.8008 | 1230833.4623 | 2705551.1365 | 1230833.2908
140 | 2705536.5874 | 1230833.5322 | 2705540.8008 | 1230833.4623
141 | 2705612.0397 | 1230865.5737 | 2705605.358 | 1230853.2124
142 | 2705612.0397 | 1230865.5737 | 2705613.949 | 1230868.727
143 | 2705612.0397 | 1230865.5737 | 2705624.0958 | 1230857.4677
144 | 2705813.766 | 1230830.5557 | 2705838.3453 | 1230825.2738
145 | 2705813.766 | 1230830.5557 | 2705810.2138 | 1230831.4068
146 | 2705826.2941 | 1230863.8482 | 2705822.0409 | 1230850.418 | 2705817.2026 | 1230842.1923 | 2705813.766 | 1230830.5557
147 | 2705774.174 | 1230838.7242 | 2705788.9254 | 1230836.5071 | 2705810.2138 | 1230831.4068
148 | 2705844.1329 | 1230857.1495 | 2705844.7567 | 1230859.5514 | 2705826.2941 | 1230863.8482
149 | 2705806.651 | 1230868.9247 | 2705826.2941 | 1230863.8482
150 | 2705774.174 | 1230838.7242 | 2705771.7482 | 1230828.1731 | 2705771.2106 | 1230825.944
151 | 2705769.6254 | 1230839.7551 | 2705774.174 | 1230838.7242
152 | 2705806.0931 | 1230866.6464 | 2705806.651 | 1230868.9247
153 | 2705616.2396 | 1230794.2279 | 2705628.9531 | 1230789.0136
154 | 2705616.2396 | 1230794.2279 | 2705621.8 | 1230804.3102
155 | 2705630.1997 | 1230741.0692 | 2705635.0302 | 1230739.5205 | 2705634.6528 | 1230738.3358
156 | 2705628.3212 | 1230718.4632 | 2705634.6528 | 1230738.3358
157 | 2705628.3212 | 1230718.4632 | 2705619.6159 | 1230721.2919
158 | 2705628.3212 | 1230718.4632 | 2705642.3728 | 1230713.8977
159 | 2705626.1407 | 1230812.1808 | 2705621.8 | 1230804.3102
160 | 2705631.1527 | 1230821.2687 | 2705626.1407 | 1230812.1808
161 | 2705755.2073 | 1230783.2339 | 2705762.6627 | 1230801.9139 | 2705767.0367 | 1230800.9021
162 | 2705755.2073 | 1230783.2339 | 2705761.0939 | 1230781.1112
163 | 2705781.4047 | 1230774.2709 | 2705786.0216 | 1230793.1546
164 | 2705781.4047 | 1230774.2709 | 2705791.8558 | 1230771.3091
165 | 2705781.4047 | 1230774.2709 | 2705775.8518 | 1230775.8451
166 | 2705791.8558 | 1230771.3091 | 2705800.4173 | 1230768.8829 | 2705808.6 | 1230766.7376
167 | 2705775.8518 | 1230775.8451 | 2705775.1306 | 1230776.0495 | 2705761.0939 | 1230781.1112
168 | 2705808.6 | 1230766.7376 | 2705824.7592 | 1230762.5011
169 | 2705624.0958 | 1230857.4677 | 2705630.509 | 1230853.1558

## bus_geodata
| x | y | coords
0 | 2705659.1427 | 1230517.3862
1 | 2705633.0303 | 1230522.5995
2 | 2705631.6297 | 1230517.4263
3 | 2705635.2045 | 1230544.7659
4 | 2705579.1477 | 1230638.2407
5 | 2705551.901 | 1230649.3895
6 | 2705608.5458 | 1230519.9627
7 | 2705635.2771 | 1230548.1118
8 | 2705609.0941 | 1230526.2733
9 | 2705635.5959 | 1230562.8087
10 | 2705456.8288 | 1230690.8801
11 | 2705458.5848 | 1230692.888
12 | 2705468.1258 | 1230703.7977
13 | 2705477.5636 | 1230696.215
14 | 2705479.0393 | 1230698.0092
15 | 2705486.518 | 1230689.0122
16 | 2705916.1474 | 1230714.0514
17 | 2705917.4752 | 1230699.1299
18 | 2705914.2068 | 1230740.7429
19 | 2705918.195 | 1230693.4168
20 | 2705837.2848 | 1230759.3095
21 | 2705840.0708 | 1230781.9539
22 | 2705836.2732 | 1230759.4824
23 | 2705920.3456 | 1230675.2274
24 | 2705921.237 | 1230666.8013
25 | 2705614.0697 | 1230614.1272
26 | 2705623.2568 | 1230609.8756
27 | 2705639.1638 | 1230607.1499
28 | 2705638.5858 | 1230597.1399
29 | 2705633.95 | 1230637.2203
30 | 2705632.7314 | 1230570.0966
31 | 2705633.9395 | 1230640.6925
32 | 2705922.3476 | 1230655.189
33 | 2705924.2387 | 1230635.9647
34 | 2705928.0812 | 1230608.8239
35 | 2705895.3471 | 1230666.7569
36 | 2705935.284 | 1230597.3249
37 | 2705888.1086 | 1230666.7446
38 | 2705994.7567 | 1230563.4111
39 | 2705500.1789 | 1230679.154
40 | 2705508.9644 | 1230673.8227
41 | 2705527.7475 | 1230662.4243
42 | 2705532.8853 | 1230678.9835
43 | 2705477.7324 | 1230723.4051
44 | 2705543.3073 | 1230709.532
45 | 2705530.625 | 1230681.2674
46 | 2705569.3771 | 1230673.5049
47 | 2706133.6342 | 1230566.7351
48 | 2705510.4762 | 1230701.5618
49 | 2705522.7766 | 1230735.013
50 | 2705529.8734 | 1230759.8465
51 | 2705547.5025 | 1230731.6826
52 | 2705515.0625 | 1230771.7841
53 | 2705539.6448 | 1230712.5059
54 | 2705550.8084 | 1230731.5189
55 | 2705553.2067 | 1230746.0615
56 | 2705560.999 | 1230765.5699
57 | 2705566.0063 | 1230777.7682
58 | 2705565.1092 | 1230765.7652
59 | 2705493.164 | 1230775.9072
60 | 2705543.943 | 1230711.3952
61 | 2705554.1441 | 1230739.4558
62 | 2706143.8546 | 1230570.5549
63 | 2705579.5041 | 1230670.5559
64 | 2705610.3167 | 1230661.5896
65 | 2705613.9287 | 1230661.0418
66 | 2705600.9651 | 1230664.3144
67 | 2705615.5865 | 1230660.7904
68 | 2705604.8219 | 1230677.9182
69 | 2705596.4964 | 1230665.6137
70 | 2705624.9419 | 1230659.3716
71 | 2705605.9077 | 1230681.748
72 | 2705590.0234 | 1230667.4957
73 | 2705586.6185 | 1230683.0749
74 | 2705586.5661 | 1230682.8689
75 | 2705583.1607 | 1230669.4911
76 | 2705584.7632 | 1230669.0252
77 | 2705635.2556 | 1230657.8074
78 | 2705640.9479 | 1230669.3667
79 | 2705540.2657 | 1230856.905
80 | 2705540.4679 | 1230869.6838
81 | 2705533.1813 | 1230856.4001
82 | 2705563.6652 | 1230869.2175
83 | 2705566.8117 | 1230868.0096
84 | 2705560.7837 | 1230884.1911
85 | 2705592.4486 | 1230858.1681
86 | 2705611.567 | 1230950.4039
87 | 2705592.0382 | 1230945.4775
88 | 2705622.9735 | 1230953.6676
89 | 2705619.5519 | 1230965.9127
90 | 2705625.4004 | 1230954.3667
91 | 2705633.3108 | 1230917.6001
92 | 2705634.8176 | 1230898.9256
93 | 2705623.027 | 1230962.441
94 | 2705632.3014 | 1230933.8078
95 | 2705621.4131 | 1230881.0541
96 | 2705642.1747 | 1230904.3938
97 | 2705690.145 | 1230867.728
98 | 2705680.2704 | 1230866.9235
99 | 2705722.7336 | 1230870.5079
100 | 2705665.2033 | 1230865.696
101 | 2705749.3299 | 1230872.9748
102 | 2705654.1949 | 1230884.1948
103 | 2705668.3503 | 1230860.8938
104 | 2705758.7114 | 1230894.7574
105 | 2705644.2874 | 1230900.8435
106 | 2705684.4218 | 1230836.9084
107 | 2705740.1402 | 1230846.1801
108 | 2705750.4531 | 1230865.8644
109 | 2705723.2595 | 1230831.8246
110 | 2705757.9681 | 1230842.6582
111 | 2705717.8696 | 1230821.5148
112 | 2705773.0379 | 1230952.6625
113 | 2705701.9661 | 1230813.3003
114 | 2705709.4831 | 1230803.9365
115 | 2705723.3816 | 1230797.2916
116 | 2705728.0271 | 1230795.0706
117 | 2705658.6916 | 1230776.8168
118 | 2705654.414 | 1230778.5712
119 | 2705726.0974 | 1230787.286
120 | 2705733.7824 | 1230792.3166
121 | 2705568.1201 | 1230772.4015
122 | 2705584.7907 | 1230807.1347
123 | 2705584.957 | 1230765.5727
124 | 2705596.1345 | 1230832.5441
125 | 2705600.3359 | 1230800.7549
126 | 2705601.4233 | 1230727.2032
127 | 2705496.7263 | 1230828.582
128 | 2705493.2249 | 1230804.9079
129 | 2705520.5627 | 1230801.4224
130 | 2705490.7668 | 1230762.3773
131 | 2705566.72 | 1230833.0322
132 | 2705575.7794 | 1230832.8819
133 | 2705551.1365 | 1230833.2908
134 | 2705540.8008 | 1230833.4623
135 | 2705605.358 | 1230853.2124
136 | 2705536.5874 | 1230833.5322
137 | 2705612.0397 | 1230865.5737
138 | 2705838.3453 | 1230825.2738
139 | 2705813.766 | 1230830.5557
140 | 2705810.2138 | 1230831.4068
141 | 2705826.2941 | 1230863.8482
142 | 2705774.174 | 1230838.7242
143 | 2705844.1329 | 1230857.1495
144 | 2705806.651 | 1230868.9247
145 | 2705771.2106 | 1230825.944
146 | 2705769.6254 | 1230839.7551
147 | 2705806.0931 | 1230866.6464
148 | 2705628.9531 | 1230789.0136
149 | 2705616.2396 | 1230794.2279
150 | 2705634.6528 | 1230738.3358
151 | 2705630.1997 | 1230741.0692
152 | 2705628.3212 | 1230718.4632
153 | 2705642.3728 | 1230713.8977
154 | 2705621.8 | 1230804.3102
155 | 2705626.1407 | 1230812.1808
156 | 2705631.1527 | 1230821.2687
157 | 2705767.0367 | 1230800.9021
158 | 2705755.2073 | 1230783.2339
159 | 2705786.0216 | 1230793.1546
160 | 2705781.4047 | 1230774.2709
161 | 2705791.8558 | 1230771.3091
162 | 2705775.8518 | 1230775.8451
163 | 2705808.6 | 1230766.7376
164 | 2705761.0939 | 1230781.1112
165 | 2705824.7592 | 1230762.5011
166 | 2705613.949 | 1230868.727
167 | 2705624.0958 | 1230857.4677
168 | 2705630.509 | 1230853.1558
169 | 2705619.6159 | 1230721.2919
170 | 2705724.8041 | 1230782.0591
171 | 2705628.3212 | 1230718.4632

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1