## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3340-33_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3340-33_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3340-33_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3340-33_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3340-33_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3340-33_0_3_node_27 | 0.4 | n |  | TRUE
6 | bus_LV_3340-33_0_3_node_28 | 0.4 | n |  | TRUE
7 | bus_LV_3340-33_0_3_node_23 | 0.4 | n |  | TRUE
8 | bus_LV_3340-33_0_3_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_3340-33_0_3_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_3340-33_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_3340-33_0_3_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_3340-33_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_3340-33_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_3340-33_0_3_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_3340-33_0_3_node_25 | 0.4 | n |  | TRUE
16 | bus_LV_3340-33_0_3_node_29 | 0.4 | n |  | TRUE
17 | bus_LV_3340-33_0_3_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_3340-33_0_3_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_3340-33_0_3_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_3340-33_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_3340-33_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_3340-33_0_3_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_3340-33_0_3_node_57 | 0.4 | n |  | TRUE
24 | bus_LV_3340-33_0_3_node_50 | 0.4 | n |  | TRUE
25 | bus_LV_3340-33_0_3_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_3340-33_0_3_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_3340-33_0_3_node_55 | 0.4 | n |  | TRUE
28 | bus_LV_3340-33_0_3_node_51 | 0.4 | n |  | TRUE
29 | bus_LV_3340-33_0_3_node_52 | 0.4 | n |  | TRUE
30 | bus_LV_3340-33_0_3_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_3340-33_0_3_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_3340-33_0_3_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_3340-33_0_3_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_3340-33_0_3_node_88 | 0.4 | n |  | TRUE
35 | bus_LV_3340-33_0_3_node_86 | 0.4 | n |  | TRUE
36 | bus_LV_3340-33_0_3_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_3340-33_0_3_node_109 | 0.4 | n |  | TRUE
38 | bus_LV_3340-33_0_3_node_87 | 0.4 | n |  | TRUE
39 | bus_LV_3340-33_0_3_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_3340-33_0_3_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_3340-33_0_3_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_3340-33_0_3_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_3340-33_0_3_node_94 | 0.4 | n |  | TRUE
44 | bus_LV_3340-33_0_3_node_95 | 0.4 | n |  | TRUE
45 | bus_LV_3340-33_0_3_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_3340-33_0_3_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_3340-33_0_3_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_3340-33_0_3_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_3340-33_0_3_node_91 | 0.4 | n |  | TRUE
50 | bus_LV_3340-33_0_3_node_85 | 0.4 | n |  | TRUE
51 | bus_LV_3340-33_0_3_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_3340-33_0_3_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_3340-33_0_3_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_3340-33_0_3_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_3340-33_0_3_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_3340-33_0_3_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_3340-33_0_3_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_3340-33_0_3_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_3340-33_0_3_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_3340-33_0_3_node_69 | 0.4 | n |  | TRUE
61 | bus_LV_3340-33_0_3_node_68 | 0.4 | n |  | TRUE
62 | bus_LV_3340-33_0_3_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_3340-33_0_3_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_3340-33_0_3_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_3340-33_0_3_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_3340-33_0_3_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_3340-33_0_3_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_3340-33_0_3_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_3340-33_0_3_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_3340-33_0_3_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_3340-33_0_3_node_59 | 0.4 | n |  | TRUE
72 | bus_LV_3340-33_0_3_node_75 | 0.4 | n |  | TRUE
73 | bus_LV_3340-33_0_3_node_73 | 0.4 | n |  | TRUE
74 | bus_LV_3340-33_0_3_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_3340-33_0_3_node_72 | 0.4 | n |  | TRUE
76 | bus_LV_3340-33_0_3_node_71 | 0.4 | n |  | TRUE
77 | bus_LV_3340-33_0_3_node_70 | 0.4 | n |  | TRUE
78 | bus_LV_3340-33_0_3_node_61 | 0.4 | n |  | TRUE
79 | bus_LV_3340-33_0_3_node_100 | 0.4 | n |  | TRUE
80 | bus_LV_3340-33_0_3_node_64 | 0.4 | n |  | TRUE
81 | bus_LV_3340-33_0_3_node_107 | 0.4 | n |  | TRUE
82 | bus_LV_3340-33_0_3_node_74 | 0.4 | n |  | TRUE
83 | bus_LV_3340-33_0_3_node_77 | 0.4 | n |  | TRUE
84 | bus_LV_3340-33_0_3_node_76 | 0.4 | n |  | TRUE
85 | bus_LV_3340-33_0_3_node_65 | 0.4 | n |  | TRUE
86 | bus_LV_3340-33_0_3_node_66 | 0.4 | n |  | TRUE
87 | bus_LV_3340-33_0_3_node_67 | 0.4 | n |  | TRUE
88 | bus_LV_3340-33_0_3_node_110 | 0.4 | n |  | TRUE
89 | bus_LV_3340-33_0_3_node_102 | 0.4 | n |  | TRUE
90 | bus_LV_3340-33_0_3_node_106 | 0.4 | n |  | TRUE
91 | bus_LV_3340-33_0_3_node_105 | 0.4 | n |  | TRUE
92 | bus_LV_3340-33_0_3_node_104 | 0.4 | n |  | TRUE
93 | bus_LV_3340-33_0_3_node_78 | 0.4 | n |  | TRUE
94 | bus_LV_3340-33_0_3_node_79 | 0.4 | n |  | TRUE
95 | bus_LV_3340-33_0_3_node_80 | 0.4 | n |  | TRUE
96 | bus_LV_3340-33_0_3_node_81 | 0.4 | n |  | TRUE
97 | bus_LV_3340-33_0_3_node_82 | 0.4 | n |  | TRUE
98 | bus_LV_3340-33_0_3_node_83 | 0.4 | n |  | TRUE
99 | bus_LV_3340-33_0_3_node_84 | 0.4 | n |  | TRUE
100 | bus_LV_3340-33_0_3_node_89 | 0.4 | n |  | TRUE
101 | bus_LV_3340-33_0_3_node_90 | 0.4 | n |  | TRUE
102 | bus_LV_3340-33_0_3_node_92 | 0.4 | n |  | TRUE
103 | bus_LV_3340-33_0_3_node_108 | 0.4 | n |  | TRUE
104 | bus_LV_3340-33_0_3_node_93 | 0.4 | n |  | TRUE
105 | bus_LV_3340-33_0_3_node_99 | 0.4 | n |  | TRUE
106 | bus_LV_3340-33_0_3_node_98 | 0.4 | n |  | TRUE
107 | bus_LV_3340-33_0_3_node_96 | 0.4 | n |  | TRUE
108 | bus_LV_3340-33_0_3_node_97 | 0.4 | n |  | TRUE
109 | bus_LV_3340-33_0_3_node_103 | 0.4 | n |  | TRUE
110 | bus_MV_585_0_node_186 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3340-33_0_3_load_0 | 0 | 0.0054618 | 0.0013688 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3340-33_0_3_load_1 | 1 | 0.0020879 | 0.00052327 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3340-33_0_3_load_2 | 2 | 0.0018295 | 0.00045852 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3340-33_0_3_load_4 | 4 | 0.0022073 | 0.00055321 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3340-33_0_3_load_27 | 5 | 0.00091026 | 0.00022813 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3340-33_0_3_load_28 | 6 | 0.0028665 | 0.00071842 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3340-33_0_3_load_23 | 7 | 0.0014161 | 0.00035491 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3340-33_0_3_load_8 | 10 | 0.0026433 | 0.00066247 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3340-33_0_3_load_5 | 11 | 0.0020697 | 0.00051872 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3340-33_0_3_load_6 | 12 | 0.0020941 | 0.00052483 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3340-33_0_3_load_25 | 15 | 0.0023555 | 0.00059033 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3340-33_0_3_load_19 | 17 | 0.0039932 | 0.0010008 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3340-33_0_3_load_24 | 18 | 0.0014108 | 0.00035358 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3340-33_0_3_load_13 | 20 | 0.00069534 | 0.00017427 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3340-33_0_3_load_14 | 21 | 0.0012109 | 0.00030348 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3340-33_0_3_load_57 | 23 | 0.0012618 | 0.00031623 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3340-33_0_3_load_50 | 24 | 0.00050993 | 0.0001278 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3340-33_0_3_load_15 | 25 | 0.0009337 | 0.00023401 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3340-33_0_3_load_18 | 26 | 0.0024846 | 0.00062269 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3340-33_0_3_load_55 | 27 | 0.00083873 | 0.00021021 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3340-33_0_3_load_52 | 29 | 0.0018768 | 0.00047038 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3340-33_0_3_load_16 | 30 | 0.0007416 | 0.00018586 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3340-33_0_3_load_17 | 31 | 0.00079295 | 0.00019873 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3340-33_0_3_load_21 | 32 | 0.0010415 | 0.00026102 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3340-33_0_3_load_22 | 33 | 0.001047 | 0.0002624 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3340-33_0_3_load_88 | 34 | 0.0045317 | 0.0011358 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3340-33_0_3_load_86 | 35 | 0.0068663 | 0.0017209 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3340-33_0_3_load_26 | 36 | 0.0012613 | 0.00031611 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3340-33_0_3_load_109 | 37 | 0.0052974 | 0.0013277 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3340-33_0_3_load_30 | 39 | 0.0015871 | 0.00039775 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3340-33_0_3_load_31 | 40 | 0.0027043 | 0.00067776 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3340-33_0_3_load_32 | 41 | 0.0021003 | 0.00052639 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3340-33_0_3_load_33 | 42 | 0.004419 | 0.0011075 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3340-33_0_3_load_94 | 43 | 0.0037329 | 0.00093555 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3340-33_0_3_load_95 | 44 | 0.0029608 | 0.00074204 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3340-33_0_3_load_34 | 45 | 0.018469 | 0.0046288 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3340-33_0_3_load_35 | 46 | 0.0025876 | 0.00064852 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3340-33_0_3_load_36 | 47 | 0.0048842 | 0.0012241 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3340-33_0_3_load_37 | 48 | 0.0040465 | 0.0010142 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3340-33_0_3_load_91 | 49 | 0.0043959 | 0.0011017 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3340-33_0_3_load_85 | 50 | 0.0038239 | 0.00095837 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3340-33_0_3_load_38 | 51 | 0.010926 | 0.0027384 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3340-33_0_3_load_42 | 55 | 0.0018827 | 0.00047186 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3340-33_0_3_load_43 | 56 | 0.0028424 | 0.00071238 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3340-33_0_3_load_44 | 57 | 0.0074989 | 0.0018794 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3340-33_0_3_load_45 | 58 | 0.001012 | 0.00025362 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3340-33_0_3_load_53 | 59 | 0.0042532 | 0.001066 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3340-33_0_3_load_69 | 60 | 0.0076764 | 0.0019239 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3340-33_0_3_load_68 | 61 | 0.0021624 | 0.00054194 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3340-33_0_3_load_46 | 62 | 0.0027906 | 0.00069939 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3340-33_0_3_load_47 | 63 | 0.0027016 | 0.00067708 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3340-33_0_3_load_48 | 64 | 0.019386 | 0.0048585 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3340-33_0_3_load_49 | 65 | 0.0022748 | 0.00057012 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3340-33_0_3_load_54 | 66 | 0.0016626 | 0.00041668 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3340-33_0_3_load_58 | 68 | 0.0027193 | 0.00068153 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3340-33_0_3_load_63 | 70 | 0.0034693 | 0.00086948 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3340-33_0_3_load_75 | 72 | 0.0025308 | 0.00063429 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3340-33_0_3_load_73 | 73 | 0.0028366 | 0.00071093 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3340-33_0_3_load_72 | 75 | 0.0028213 | 0.00070708 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3340-33_0_3_load_70 | 77 | 0.0060803 | 0.0015239 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3340-33_0_3_load_100 | 79 | 0.0037086 | 0.00092947 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3340-33_0_3_load_64 | 80 | 0.0019557 | 0.00049014 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3340-33_0_3_load_107 | 81 | 0.0028081 | 0.00070376 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3340-33_0_3_load_74 | 82 | 0.0057362 | 0.0014376 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3340-33_0_3_load_76 | 84 | 0.0026937 | 0.00067509 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3340-33_0_3_load_65 | 85 | 0.0033827 | 0.00084778 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3340-33_0_3_load_66 | 86 | 0.0012186 | 0.00030542 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3340-33_0_3_load_67 | 87 | 0.0057295 | 0.0014359 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3340-33_0_3_load_110 | 88 | 0.0011916 | 0.00029865 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3340-33_0_3_load_106 | 90 | 0.002605 | 0.00065287 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3340-33_0_3_load_105 | 91 | 0.0022872 | 0.00057322 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3340-33_0_3_load_104 | 92 | 0.0022457 | 0.00056283 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3340-33_0_3_load_78 | 93 | 0.0033429 | 0.0008378 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3340-33_0_3_load_79 | 94 | 0.002878 | 0.0007213 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3340-33_0_3_load_80 | 95 | 0.003704 | 0.0009283 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3340-33_0_3_load_81 | 96 | 0.0027023 | 0.00067726 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3340-33_0_3_load_82 | 97 | 0.0028499 | 0.00071425 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3340-33_0_3_load_84 | 99 | 0.0044721 | 0.0011208 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3340-33_0_3_load_89 | 100 | 0.003735 | 0.00093608 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3340-33_0_3_load_90 | 101 | 0.0048271 | 0.0012098 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3340-33_0_3_load_92 | 102 | 0.0035571 | 0.00089149 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3340-33_0_3_load_108 | 103 | 0.0030064 | 0.00075349 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3340-33_0_3_load_93 | 104 | 0.0022687 | 0.0005686 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3340-33_0_3_load_99 | 105 | 0.0029148 | 0.00073052 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_3340-33_0_3_load_98 | 106 | 0.004072 | 0.0010205 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_3340-33_0_3_load_96 | 107 | 0.0057536 | 0.001442 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_3340-33_0_3_load_103 | 109 | 0.0019711 | 0.00049401 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 82 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3340-33_0_3_line_0 |  | 0 | 1 | 0.039409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3340-33_0_3_line_1 |  | 0 | 2 | 0.0026251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3340-33_0_3_line_2 |  | 1 | 3 | 0.0176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3340-33_0_3_line_3 |  | 2 | 4 | 0.040925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3340-33_0_3_line_4 |  | 3 | 5 | 0.0095968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3340-33_0_3_line_5 |  | 3 | 6 | 0.016624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3340-33_0_3_line_6 |  | 5 | 7 | 0.011298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3340-33_0_3_line_7 |  | 7 | 33 | 0.018651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3340-33_0_3_line_8 |  | 8 | 9 | 0.063891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_3340-33_0_3_line_9 |  | 8 | 10 | 0.029782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_3340-33_0_3_line_10 |  | 9 | 22 | 0.013937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3340-33_0_3_line_11 |  | 9 | 23 | 0.053877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3340-33_0_3_line_12 |  | 10 | 19 | 0.046025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_3340-33_0_3_line_13 |  | 11 | 12 | 0.012625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3340-33_0_3_line_14 |  | 12 | 13 | 0.057884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3340-33_0_3_line_15 |  | 13 | 14 | 0.045455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3340-33_0_3_line_16 |  | 13 | 15 | 0.043499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3340-33_0_3_line_17 |  | 14 | 16 | 0.009886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_3340-33_0_3_line_18 |  | 14 | 17 | 0.016062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_3340-33_0_3_line_19 |  | 15 | 18 | 0.011784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3340-33_0_3_line_20 |  | 16 | 34 | 0.0082941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_3340-33_0_3_line_21 |  | 16 | 35 | 0.038679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3340-33_0_3_line_22 |  | 17 | 26 | 0.031731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_3340-33_0_3_line_23 |  | 18 | 36 | 0.0038924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3340-33_0_3_line_24 |  | 19 | 20 | 0.011784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3340-33_0_3_line_25 |  | 19 | 21 | 0.022629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_3340-33_0_3_line_26 |  | 20 | 25 | 0.0077266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3340-33_0_3_line_27 |  | 21 | 26 | 0.025547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_3340-33_0_3_line_28 |  | 22 | 24 | 0.062605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3340-33_0_3_line_29 |  | 23 | 27 | 0.015299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3340-33_0_3_line_30 |  | 24 | 28 | 0.0074846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3340-33_0_3_line_31 |  | 25 | 30 | 0.0071199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3340-33_0_3_line_32 |  | 27 | 66 | 0.049686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3340-33_0_3_line_33 |  | 28 | 29 | 0.027642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3340-33_0_3_line_34 |  | 29 | 59 | 0.020241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3340-33_0_3_line_35 |  | 30 | 31 | 0.0029647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3340-33_0_3_line_36 |  | 31 | 32 | 0.015442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3340-33_0_3_line_37 |  | 32 | 33 | 0.0064187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3340-33_0_3_line_38 |  | 34 | 37 | 0.014554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_3340-33_0_3_line_39 |  | 35 | 38 | 0.032088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3340-33_0_3_line_40 |  | 37 | 103 | 0.01672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_3340-33_0_3_line_41 |  | 38 | 101 | 0.023724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3340-33_0_3_line_42 |  | 38 | 100 | 0.035462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3340-33_0_3_line_43 |  | 39 | 40 | 0.0027213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3340-33_0_3_line_44 |  | 39 | 41 | 0.00025144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3340-33_0_3_line_45 |  | 41 | 42 | 0.013412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3340-33_0_3_line_46 |  | 42 | 43 | 0.0075566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3340-33_0_3_line_47 |  | 43 | 44 | 0.0074528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3340-33_0_3_line_48 |  | 44 | 107 | 0.030988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3340-33_0_3_line_49 |  | 45 | 46 | 0.0017928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3340-33_0_3_line_50 |  | 45 | 47 | 0.0030484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3340-33_0_3_line_51 |  | 46 | 48 | 0.010739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3340-33_0_3_line_52 |  | 48 | 49 | 0.0031773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3340-33_0_3_line_53 |  | 49 | 50 | 0.023594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3340-33_0_3_line_54 |  | 50 | 98 | 0.030355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3340-33_0_3_line_55 |  | 51 | 52 | 0.06539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3340-33_0_3_line_56 |  | 52 | 53 | 0.053678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3340-33_0_3_line_57 |  | 53 | 58 | 0.075314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3340-33_0_3_line_58 |  | 54 | 55 | 0.036019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3340-33_0_3_line_59 |  | 54 | 56 | 0.02004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3340-33_0_3_line_60 |  | 54 | 57 | 0.032322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3340-33_0_3_line_61 |  | 55 | 58 | 0.026236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3340-33_0_3_line_62 |  | 56 | 59 | 0.020534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3340-33_0_3_line_63 |  | 57 | 60 | 0.016472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3340-33_0_3_line_64 |  | 60 | 61 | 0.02694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3340-33_0_3_line_65 |  | 61 | 65 | 0.010598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3340-33_0_3_line_66 |  | 62 | 63 | 0.007293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3340-33_0_3_line_67 |  | 62 | 64 | 0.0029359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3340-33_0_3_line_68 |  | 64 | 65 | 0.0062974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3340-33_0_3_line_69 |  | 67 | 68 | 0.027114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3340-33_0_3_line_70 |  | 67 | 69 | 0.018095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3340-33_0_3_line_71 |  | 68 | 70 | 0.016919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3340-33_0_3_line_72 |  | 69 | 79 | 0.025098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3340-33_0_3_line_73 |  | 69 | 71 | 0.033338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3340-33_0_3_line_74 |  | 69 | 78 | 0.021771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3340-33_0_3_line_75 |  | 70 | 80 | 0.00036777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3340-33_0_3_line_76 |  | 71 | 72 | 0.01416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_3340-33_0_3_line_77 |  | 71 | 73 | 0.011855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_3340-33_0_3_line_78 |  | 72 | 81 | 0.018216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_3340-33_0_3_line_79 |  | 73 | 82 | 0.017466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_3340-33_0_3_line_80 |  | 74 | 75 | 0.019344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3340-33_0_3_line_81 |  | 74 | 76 | 0.034275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3340-33_0_3_line_82 |  | 74 | 77 | 0.035777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3340-33_0_3_line_83 |  | 76 | 83 | 0.021706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3340-33_0_3_line_84 |  | 76 | 84 | 0.024243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3340-33_0_3_line_85 |  | 77 | 78 | 0.03447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3340-33_0_3_line_86 |  | 80 | 85 | 0.034516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3340-33_0_3_line_87 |  | 81 | 90 | 0.0057502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
88 | LV_3340-33_0_3_line_88 |  | 83 | 89 | 0.02199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3340-33_0_3_line_89 |  | 85 | 86 | 0.010981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3340-33_0_3_line_90 |  | 86 | 87 | 0.011953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3340-33_0_3_line_91 |  | 87 | 88 | 0.054608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3340-33_0_3_line_92 |  | 89 | 91 | 0.011774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3340-33_0_3_line_93 |  | 90 | 103 | 0.00089741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
94 | LV_3340-33_0_3_line_94 |  | 91 | 92 | 0.0069472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3340-33_0_3_line_95 |  | 92 | 109 | 0.0051073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_3340-33_0_3_line_96 |  | 93 | 94 | 0.016675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_3340-33_0_3_line_97 |  | 93 | 95 | 0.01486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_3340-33_0_3_line_98 |  | 94 | 96 | 0.0041189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_3340-33_0_3_line_99 |  | 95 | 97 | 0.0023701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_3340-33_0_3_line_100 |  | 96 | 98 | 0.032945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_3340-33_0_3_line_101 |  | 98 | 99 | 0.0019445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_3340-33_0_3_line_102 |  | 99 | 100 | 0.020141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_3340-33_0_3_line_103 |  | 101 | 102 | 0.039693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_3340-33_0_3_line_104 |  | 102 | 104 | 0.0087698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_3340-33_0_3_line_105 |  | 104 | 105 | 0.017327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_3340-33_0_3_line_106 |  | 105 | 106 | 0.0044526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_3340-33_0_3_line_107 |  | 106 | 108 | 0.03621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_3340-33_0_3_line_108 |  | 107 | 108 | 0.012781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3340-33_0_3_trafo_74 | 0.63 MVA 20/0.4 kV | 110 | 82 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2705430.2166 | 1232980.7207 | 2705431.6767 | 1232974.9432 | 2705431.2246 | 1232965.0054 | 2705420.5702 | 1232951.3061 | 2705416.0578 | 1232947.1313
1 | 2705430.2166 | 1232980.7207 | 2705429.5734 | 1232983.2658
2 | 2705399.7391 | 1232942.2298 | 2705412.9482 | 1232944.2545 | 2705416.0578 | 1232947.1313
3 | 2705419.5455 | 1233022.9436 | 2705429.5734 | 1232983.2658
4 | 2705399.7391 | 1232942.2298 | 2705392.7359 | 1232948.7914
5 | 2705399.7391 | 1232942.2298 | 2705409.3505 | 1232928.6661
6 | 2705392.7359 | 1232948.7914 | 2705384.4917 | 1232956.5159
7 | 2705384.4917 | 1232956.5159 | 2705370.8813 | 1232969.2682
8 | 2705391.6802 | 1233058.386 | 2705386.699 | 1233074.5099 | 2705400.0424 | 1233085.5993 | 2705407.5649 | 1233094.4061 | 2705413.7048 | 1233102.1764 | 2705405.6522 | 1233103.6125
9 | 2705391.6802 | 1233058.386 | 2705389.7042 | 1233051.9572 | 2705382.3432 | 1233038.7389 | 2705376.3211 | 1233033.5842
10 | 2705405.6522 | 1233103.6125 | 2705408.0224 | 1233107.4574 | 2705403.1914 | 1233115.5445
11 | 2705405.6522 | 1233103.6125 | 2705399.2808 | 1233104.6225 | 2705372.8912 | 1233105.3885 | 2705361.8364 | 1233104.8811 | 2705351.9413 | 1233103.7537
12 | 2705339.3061 | 1233006.3182 | 2705365.947 | 1233024.7043 | 2705376.3211 | 1233033.5842
13 | 2705339.6469 | 1232842.358 | 2705339.2083 | 1232845.2946 | 2705336.6403 | 1232854.6021
14 | 2705305.6278 | 1232902.1871 | 2705327.406 | 1232878.7997 | 2705332.2216 | 1232867.3208 | 2705335.453 | 1232858.905 | 2705336.6403 | 1232854.6021
15 | 2705274.8626 | 1232935.7231 | 2705305.6278 | 1232902.1871
16 | 2705305.6278 | 1232902.1871 | 2705324.5329 | 1232909.7166 | 2705335.1345 | 1232915.7313 | 2705339.4268 | 1232918.8097 | 2705343.5453 | 1232922.7189
17 | 2705274.8626 | 1232935.7231 | 2705268.107 | 1232928.4869
18 | 2705274.8626 | 1232935.7231 | 2705285.2814 | 1232947.9472
19 | 2705337.8293 | 1232933.0241 | 2705343.5453 | 1232922.7189 | 2705343.5453 | 1232922.7189
20 | 2705268.107 | 1232928.4869 | 2705263.8196 | 1232934.9603 | 2705263.778 | 1232935.4883
21 | 2705268.107 | 1232928.4869 | 2705240.7946 | 1232901.0983
22 | 2705285.2814 | 1232947.9472 | 2705290.4418 | 1232954.0018 | 2705305.2668 | 1232972.5889
23 | 2705335.9412 | 1232936.4279 | 2705337.8293 | 1232933.0241
24 | 2705339.3061 | 1233006.3182 | 2705341.6158 | 1233003.3347 | 2705348.9102 | 1233000.0226
25 | 2705339.3061 | 1233006.3182 | 2705329.7042 | 1232999.0314 | 2705321.862 | 1232991.9364
26 | 2705355.9455 | 1232996.8281 | 2705355.9455 | 1232996.8281 | 2705348.9102 | 1233000.0226
27 | 2705321.862 | 1232991.9364 | 2705317.682 | 1232988.1546 | 2705305.2668 | 1232972.5889
28 | 2705403.1914 | 1233115.5445 | 2705400.1474 | 1233118.0925 | 2705364.28 | 1233130.6328 | 2705346.9664 | 1233141.8678
29 | 2705336.7406 | 1233102.0217 | 2705351.9413 | 1233103.7537
30 | 2705342.7523 | 1233148.0533 | 2705346.9664 | 1233141.8678
31 | 2705355.9455 | 1232996.8281 | 2705360.2652 | 1232991.1683
32 | 2705288.5908 | 1233090.2988 | 2705302.0606 | 1233094.8587 | 2705327.276 | 1233100.9434 | 2705336.7406 | 1233102.0217
33 | 2705342.7523 | 1233148.0533 | 2705335.8269 | 1233150.4101 | 2705317.3271 | 1233158.8327
34 | 2705317.3271 | 1233158.8327 | 2705307.0531 | 1233163.5102 | 2705298.7595 | 1233166.8819
35 | 2705360.2652 | 1232991.1683 | 2705361.5975 | 1232989.4227 | 2705361.8477 | 1232988.6959
36 | 2705366.8736 | 1232974.0949 | 2705361.8477 | 1232988.6959
37 | 2705366.8736 | 1232974.0949 | 2705367.4181 | 1232972.5131 | 2705370.8813 | 1232969.2682
38 | 2705263.778 | 1232935.4883 | 2705263.3895 | 1232940.4235 | 2705260.0086 | 1232949.4125
39 | 2705217.8953 | 1232878.6269 | 2705224.3997 | 1232884.6577 | 2705240.7946 | 1232901.0983
40 | 2705254.1225 | 1232965.0623 | 2705260.0086 | 1232949.4125
41 | 2705217.8953 | 1232878.6269 | 2705211.7942 | 1232872.9145 | 2705201.306 | 1232861.6838
42 | 2705217.8953 | 1232878.6269 | 2705199.352 | 1232888.7174 | 2705185.9719 | 1232893.9068
43 | 2705057.9906 | 1232826.4773 | 2705056.1433 | 1232824.479
44 | 2705057.9906 | 1232826.4773 | 2705058.1613 | 1232826.6619
45 | 2705070.2835 | 1232830.5685 | 2705070.2835 | 1232830.5685 | 2705060.7534 | 1232829.4659 | 2705058.1613 | 1232826.6619
46 | 2705070.2835 | 1232830.5685 | 2705075.9864 | 1232825.6106
47 | 2705075.9864 | 1232825.6106 | 2705081.6108 | 1232820.7209
48 | 2705107.3795 | 1232803.7526 | 2705089.3121 | 1232814.0257 | 2705081.6108 | 1232820.7209
49 | 2705108.2231 | 1232892.4919 | 2705109.3858 | 1232893.8565
50 | 2705106.2462 | 1232890.1715 | 2705108.2231 | 1232892.4919
51 | 2705109.3858 | 1232893.8565 | 2705116.3507 | 1232902.0313
52 | 2705118.4113 | 1232904.4498 | 2705116.3507 | 1232902.0313
53 | 2705137.4386 | 1232913.7521 | 2705137.4386 | 1232913.7521 | 2705126.8114 | 1232914.309 | 2705118.4113 | 1232904.4498
54 | 2705165.3809 | 1232901.8929 | 2705137.4386 | 1232913.7521
55 | 2705157.6022 | 1233279.6524 | 2705195.6903 | 1233247.2573 | 2705206.9688 | 1233236.788
56 | 2705133.08 | 1233231.8713 | 2705157.6022 | 1233279.6524
57 | 2705133.08 | 1233231.8713 | 2705176.0223 | 1233212.3051 | 2705187.9928 | 1233206.8461 | 2705201.8638 | 1233201.2212
58 | 2705260.335 | 1233179.8729 | 2705226.41 | 1233191.9742
59 | 2705260.335 | 1233179.8729 | 2705279.3895 | 1233173.6642
60 | 2705260.335 | 1233179.8729 | 2705257.9777 | 1233174.8718 | 2705245.3423 | 1233167.8428 | 2705233.4454 | 1233164.5858
61 | 2705201.8638 | 1233201.2212 | 2705211.9276 | 1233197.1401 | 2705226.41 | 1233191.9742
62 | 2705298.7595 | 1233166.8819 | 2705292.9267 | 1233169.2532 | 2705279.3895 | 1233173.6642
63 | 2705217.1704 | 1233162.5076 | 2705228.8834 | 1233163.3369 | 2705233.4454 | 1233164.5858
64 | 2705217.1704 | 1233162.5076 | 2705191.1809 | 1233160.6675 | 2705190.2969 | 1233160.6162
65 | 2705179.7146 | 1233160.1554 | 2705181.5432 | 1233160.1077 | 2705190.2969 | 1233160.6162
66 | 2705170.4888 | 1233160.4819 | 2705163.2175 | 1233161.0445
67 | 2705170.4888 | 1233160.4819 | 2705172.1563 | 1233160.3529 | 2705173.4193 | 1233160.3199
68 | 2705179.7146 | 1233160.1554 | 2705173.4193 | 1233160.3199
69 | 2705233.9299 | 1233048.1835 | 2705228.7234 | 1233053.9623 | 2705221.6477 | 1233058.8185 | 2705220.3279 | 1233067.4906 | 2705219.504 | 1233069.2926
70 | 2705232.841 | 1233032.708 | 2705235.6971 | 1233033.07 | 2705233.9299 | 1233048.1835
71 | 2705219.504 | 1233069.2926 | 2705218.6183 | 1233071.2299 | 2705215.5455 | 1233073.6996 | 2705204.7211 | 1233073.0055
72 | 2705232.841 | 1233032.708 | 2705207.9458 | 1233029.5272
73 | 2705232.841 | 1233032.708 | 2705233.9171 | 1233027.5343 | 2705234.9103 | 1233024.0492 | 2705239.0922 | 1233014.5494 | 2705241.2228 | 1233005.0021 | 2705239.4666 | 1233001.1125
74 | 2705232.841 | 1233032.708 | 2705233.9171 | 1233027.5343 | 2705224.4774 | 1233026.0438 | 2705223.8879 | 1233019.1393
75 | 2705204.354 | 1233072.982 | 2705204.7211 | 1233073.0055
76 | 2705239.4666 | 1233001.1125 | 2705241.9396 | 1232997.4535 | 2705245.3697 | 1232988.3339
77 | 2705239.4666 | 1233001.1125 | 2705233.8872 | 1233001.0137 | 2705227.9287 | 1232999.047
78 | 2705245.3697 | 1232988.3339 | 2705251.7823 | 1232971.2844
79 | 2705211.6959 | 1232992.6145 | 2705225.628 | 1232998.2876 | 2705227.9287 | 1232999.047
80 | 2705154.81 | 1233008.7757 | 2705145.3625 | 1232991.8958
81 | 2705128.2537 | 1233007.3938 | 2705146.4877 | 1233013.4654 | 2705154.4471 | 1233015.5855 | 2705154.81 | 1233008.7757
82 | 2705154.81 | 1233008.7757 | 2705164.287 | 1233007.7314 | 2705180.287 | 1233011.662 | 2705189.9137 | 1233013.3129
83 | 2705107.6668 | 1233000.3355 | 2705128.2537 | 1233007.3938
84 | 2705128.2537 | 1233007.3938 | 2705128.7493 | 1232999.9303 | 2705127.4759 | 1232993.1471 | 2705126.3041 | 1232990.4687 | 2705122.7502 | 1232988.0263 | 2705120.3232 | 1232987.0242
85 | 2705223.8879 | 1233019.1393 | 2705189.9137 | 1233013.3129
86 | 2705169.9085 | 1233070.7734 | 2705204.354 | 1233072.982
87 | 2705253.8066 | 1232965.9023 | 2705251.7823 | 1232971.2844
88 | 2705086.6488 | 1232993.67 | 2705107.6668 | 1233000.3355
89 | 2705169.9085 | 1233070.7734 | 2705158.9503 | 1233070.0708
90 | 2705147.0213 | 1233069.3059 | 2705158.9503 | 1233070.0708
91 | 2705147.0213 | 1233069.3059 | 2705126.7677 | 1233120.0194
92 | 2705086.6488 | 1232993.67 | 2705090.1344 | 1232982.4231
93 | 2705253.8066 | 1232965.9023 | 2705254.1225 | 1232965.0623
94 | 2705090.1344 | 1232982.4231 | 2705083.5208 | 1232980.296
95 | 2705078.6588 | 1232978.7322 | 2705083.5208 | 1232980.296
96 | 2705142.6916 | 1232947.2958 | 2705155.6305 | 1232936.7774
97 | 2705142.6916 | 1232947.2958 | 2705131.161 | 1232956.6693
98 | 2705158.8266 | 1232934.1792 | 2705155.6305 | 1232936.7774
99 | 2705129.3219 | 1232958.1643 | 2705131.161 | 1232956.6693
100 | 2705165.3809 | 1232901.8929 | 2705158.8266 | 1232934.1792 | 2705158.8266 | 1232934.1792
101 | 2705165.3809 | 1232901.8929 | 2705167.1938 | 1232901.1898
102 | 2705185.9719 | 1232893.9068 | 2705167.1938 | 1232901.1898
103 | 2705201.306 | 1232861.6838 | 2705187.2236 | 1232846.6043 | 2705171.0613 | 1232836.5005
104 | 2705171.0613 | 1232836.5005 | 2705163.6251 | 1232831.8518
105 | 2705149.4689 | 1232821.9197 | 2705155.0607 | 1232826.4978 | 2705163.6251 | 1232831.8518
106 | 2705149.4689 | 1232821.9197 | 2705147.7451 | 1232820.5083 | 2705146.0241 | 1232819.0985
107 | 2705117.7877 | 1232796.4381 | 2705125.7834 | 1232802.5174 | 2705146.0241 | 1232819.0985
108 | 2705117.7877 | 1232796.4381 | 2705112.9814 | 1232800.5673 | 2705107.3795 | 1232803.7526

## bus_geodata
| x | y | coords
0 | 2705430.2166 | 1232980.7207
1 | 2705416.0578 | 1232947.1313
2 | 2705429.5734 | 1232983.2658
3 | 2705399.7391 | 1232942.2298
4 | 2705419.5455 | 1233022.9436
5 | 2705392.7359 | 1232948.7914
6 | 2705409.3505 | 1232928.6661
7 | 2705384.4917 | 1232956.5159
8 | 2705391.6802 | 1233058.386
9 | 2705405.6522 | 1233103.6125
10 | 2705376.3211 | 1233033.5842
11 | 2705339.6469 | 1232842.358
12 | 2705336.6403 | 1232854.6021
13 | 2705305.6278 | 1232902.1871
14 | 2705274.8626 | 1232935.7231
15 | 2705343.5453 | 1232922.7189
16 | 2705268.107 | 1232928.4869
17 | 2705285.2814 | 1232947.9472
18 | 2705337.8293 | 1232933.0241
19 | 2705339.3061 | 1233006.3182
20 | 2705348.9102 | 1233000.0226
21 | 2705321.862 | 1232991.9364
22 | 2705403.1914 | 1233115.5445
23 | 2705351.9413 | 1233103.7536
24 | 2705346.9664 | 1233141.8678
25 | 2705355.9455 | 1232996.8281
26 | 2705305.2668 | 1232972.5889
27 | 2705336.7406 | 1233102.0217
28 | 2705342.7523 | 1233148.0533
29 | 2705317.3271 | 1233158.8327
30 | 2705360.2652 | 1232991.1683
31 | 2705361.8477 | 1232988.6959
32 | 2705366.8736 | 1232974.0949
33 | 2705370.8813 | 1232969.2682
34 | 2705263.778 | 1232935.4883
35 | 2705240.7946 | 1232901.0983
36 | 2705335.9412 | 1232936.4279
37 | 2705260.0086 | 1232949.4125
38 | 2705217.8953 | 1232878.6269
39 | 2705057.9906 | 1232826.4773
40 | 2705056.1433 | 1232824.479
41 | 2705058.1613 | 1232826.6619
42 | 2705070.2835 | 1232830.5685
43 | 2705075.9864 | 1232825.6106
44 | 2705081.6108 | 1232820.7209
45 | 2705108.2231 | 1232892.4919
46 | 2705109.3858 | 1232893.8565
47 | 2705106.2462 | 1232890.1715
48 | 2705116.3507 | 1232902.0313
49 | 2705118.4113 | 1232904.4498
50 | 2705137.4386 | 1232913.7521
51 | 2705206.9688 | 1233236.788
52 | 2705157.6022 | 1233279.6524
53 | 2705133.08 | 1233231.8713
54 | 2705260.335 | 1233179.8729
55 | 2705226.41 | 1233191.9742
56 | 2705279.3895 | 1233173.6642
57 | 2705233.4454 | 1233164.5858
58 | 2705201.8638 | 1233201.2212
59 | 2705298.7595 | 1233166.8819
60 | 2705217.1704 | 1233162.5076
61 | 2705190.2969 | 1233160.6162
62 | 2705170.4888 | 1233160.4819
63 | 2705163.2175 | 1233161.0445
64 | 2705173.4193 | 1233160.3199
65 | 2705179.7146 | 1233160.1554
66 | 2705288.5908 | 1233090.2988
67 | 2705233.9299 | 1233048.1835
68 | 2705219.504 | 1233069.2926
69 | 2705232.841 | 1233032.708
70 | 2705204.7211 | 1233073.0055
71 | 2705239.4666 | 1233001.1125
72 | 2705245.3697 | 1232988.3339
73 | 2705227.9287 | 1232999.047
74 | 2705154.81 | 1233008.7757
75 | 2705145.3625 | 1232991.8958
76 | 2705128.2537 | 1233007.3938
77 | 2705189.9137 | 1233013.3129
78 | 2705223.8879 | 1233019.1393
79 | 2705207.9458 | 1233029.5272
80 | 2705204.354 | 1233072.982
81 | 2705251.7823 | 1232971.2844
82 | 2705211.6959 | 1232992.6145
83 | 2705107.6668 | 1233000.3355
84 | 2705120.3232 | 1232987.0242
85 | 2705169.9085 | 1233070.7734
86 | 2705158.9503 | 1233070.0708
87 | 2705147.0213 | 1233069.3059
88 | 2705126.7677 | 1233120.0194
89 | 2705086.6488 | 1232993.67
90 | 2705253.8066 | 1232965.9023
91 | 2705090.1344 | 1232982.4231
92 | 2705083.5208 | 1232980.296
93 | 2705142.6916 | 1232947.2958
94 | 2705155.6305 | 1232936.7774
95 | 2705131.161 | 1232956.6693
96 | 2705158.8266 | 1232934.1792
97 | 2705129.3219 | 1232958.1643
98 | 2705165.3809 | 1232901.8929
99 | 2705167.1938 | 1232901.1898
100 | 2705185.9719 | 1232893.9068
101 | 2705201.306 | 1232861.6838
102 | 2705171.0613 | 1232836.5005
103 | 2705254.1225 | 1232965.0623
104 | 2705163.6251 | 1232831.8518
105 | 2705149.4689 | 1232821.9197
106 | 2705146.0241 | 1232819.0985
107 | 2705107.3795 | 1232803.7526
108 | 2705117.7877 | 1232796.4381
109 | 2705078.6588 | 1232978.7322
110 | 2705239.4666 | 1233001.1125

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1