## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3340-3_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3340-3_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3340-3_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3340-3_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3340-3_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3340-3_0_6_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_3340-3_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_3340-3_0_6_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_3340-3_0_6_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_3340-3_0_6_node_54 | 0.4 | n |  | TRUE
10 | bus_LV_3340-3_0_6_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_3340-3_0_6_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_3340-3_0_6_node_72 | 0.4 | n |  | TRUE
13 | bus_LV_3340-3_0_6_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_3340-3_0_6_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_3340-3_0_6_node_55 | 0.4 | n |  | TRUE
16 | bus_LV_3340-3_0_6_node_62 | 0.4 | n |  | TRUE
17 | bus_LV_3340-3_0_6_node_68 | 0.4 | n |  | TRUE
18 | bus_LV_3340-3_0_6_node_67 | 0.4 | n |  | TRUE
19 | bus_LV_3340-3_0_6_node_51 | 0.4 | n |  | TRUE
20 | bus_LV_3340-3_0_6_node_65 | 0.4 | n |  | TRUE
21 | bus_LV_3340-3_0_6_node_40 | 0.4 | n |  | TRUE
22 | bus_LV_3340-3_0_6_node_109 | 0.4 | n |  | TRUE
23 | bus_LV_3340-3_0_6_node_108 | 0.4 | n |  | TRUE
24 | bus_LV_3340-3_0_6_node_39 | 0.4 | n |  | TRUE
25 | bus_LV_3340-3_0_6_node_80 | 0.4 | n |  | TRUE
26 | bus_LV_3340-3_0_6_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_3340-3_0_6_node_96 | 0.4 | n |  | TRUE
28 | bus_LV_3340-3_0_6_node_82 | 0.4 | n |  | TRUE
29 | bus_LV_3340-3_0_6_node_35 | 0.4 | n |  | TRUE
30 | bus_LV_3340-3_0_6_node_91 | 0.4 | n |  | TRUE
31 | bus_LV_3340-3_0_6_node_89 | 0.4 | n |  | TRUE
32 | bus_LV_3340-3_0_6_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_3340-3_0_6_node_95 | 0.4 | n |  | TRUE
34 | bus_LV_3340-3_0_6_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_3340-3_0_6_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_3340-3_0_6_node_58 | 0.4 | n |  | TRUE
37 | bus_LV_3340-3_0_6_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_3340-3_0_6_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_3340-3_0_6_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_3340-3_0_6_node_77 | 0.4 | n |  | TRUE
41 | bus_LV_3340-3_0_6_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_3340-3_0_6_node_75 | 0.4 | n |  | TRUE
43 | bus_LV_3340-3_0_6_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_3340-3_0_6_node_115 | 0.4 | n |  | TRUE
45 | bus_LV_3340-3_0_6_node_116 | 0.4 | n |  | TRUE
46 | bus_LV_3340-3_0_6_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_3340-3_0_6_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_3340-3_0_6_node_114 | 0.4 | n |  | TRUE
49 | bus_LV_3340-3_0_6_node_27 | 0.4 | n |  | TRUE
50 | bus_LV_3340-3_0_6_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_3340-3_0_6_node_31 | 0.4 | n |  | TRUE
52 | bus_LV_3340-3_0_6_node_81 | 0.4 | n |  | TRUE
53 | bus_LV_3340-3_0_6_node_78 | 0.4 | n |  | TRUE
54 | bus_LV_3340-3_0_6_node_90 | 0.4 | n |  | TRUE
55 | bus_LV_3340-3_0_6_node_30 | 0.4 | n |  | TRUE
56 | bus_LV_3340-3_0_6_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_3340-3_0_6_node_73 | 0.4 | n |  | TRUE
58 | bus_LV_3340-3_0_6_node_86 | 0.4 | n |  | TRUE
59 | bus_LV_3340-3_0_6_node_87 | 0.4 | n |  | TRUE
60 | bus_LV_3340-3_0_6_node_21 | 0.4 | n |  | TRUE
61 | bus_LV_3340-3_0_6_node_60 | 0.4 | n |  | TRUE
62 | bus_LV_3340-3_0_6_node_59 | 0.4 | n |  | TRUE
63 | bus_LV_3340-3_0_6_node_69 | 0.4 | n |  | TRUE
64 | bus_LV_3340-3_0_6_node_102 | 0.4 | n |  | TRUE
65 | bus_LV_3340-3_0_6_node_70 | 0.4 | n |  | TRUE
66 | bus_LV_3340-3_0_6_node_104 | 0.4 | n |  | TRUE
67 | bus_LV_3340-3_0_6_node_66 | 0.4 | n |  | TRUE
68 | bus_LV_3340-3_0_6_node_88 | 0.4 | n |  | TRUE
69 | bus_LV_3340-3_0_6_node_20 | 0.4 | n |  | TRUE
70 | bus_LV_3340-3_0_6_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_3340-3_0_6_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_3340-3_0_6_node_18 | 0.4 | n |  | TRUE
73 | bus_LV_3340-3_0_6_node_19 | 0.4 | n |  | TRUE
74 | bus_LV_3340-3_0_6_node_46 | 0.4 | n |  | TRUE
75 | bus_LV_3340-3_0_6_node_44 | 0.4 | n |  | TRUE
76 | bus_LV_3340-3_0_6_node_22 | 0.4 | n |  | TRUE
77 | bus_LV_3340-3_0_6_node_24 | 0.4 | n |  | TRUE
78 | bus_LV_3340-3_0_6_node_101 | 0.4 | n |  | TRUE
79 | bus_LV_3340-3_0_6_node_98 | 0.4 | n |  | TRUE
80 | bus_LV_3340-3_0_6_node_45 | 0.4 | n |  | TRUE
81 | bus_LV_3340-3_0_6_node_56 | 0.4 | n |  | TRUE
82 | bus_LV_3340-3_0_6_node_117 | 0.4 | n |  | TRUE
83 | bus_LV_3340-3_0_6_node_112 | 0.4 | n |  | TRUE
84 | bus_LV_3340-3_0_6_node_74 | 0.4 | n |  | TRUE
85 | bus_LV_3340-3_0_6_node_79 | 0.4 | n |  | TRUE
86 | bus_LV_3340-3_0_6_node_111 | 0.4 | n |  | TRUE
87 | bus_LV_3340-3_0_6_node_110 | 0.4 | n |  | TRUE
88 | bus_LV_3340-3_0_6_node_61 | 0.4 | n |  | TRUE
89 | bus_LV_3340-3_0_6_node_97 | 0.4 | n |  | TRUE
90 | bus_LV_3340-3_0_6_node_47 | 0.4 | n |  | TRUE
91 | bus_LV_3340-3_0_6_node_48 | 0.4 | n |  | TRUE
92 | bus_LV_3340-3_0_6_node_49 | 0.4 | n |  | TRUE
93 | bus_LV_3340-3_0_6_node_50 | 0.4 | n |  | TRUE
94 | bus_LV_3340-3_0_6_node_52 | 0.4 | n |  | TRUE
95 | bus_LV_3340-3_0_6_node_105 | 0.4 | n |  | TRUE
96 | bus_LV_3340-3_0_6_node_53 | 0.4 | n |  | TRUE
97 | bus_LV_3340-3_0_6_node_84 | 0.4 | n |  | TRUE
98 | bus_LV_3340-3_0_6_node_106 | 0.4 | n |  | TRUE
99 | bus_LV_3340-3_0_6_node_83 | 0.4 | n |  | TRUE
100 | bus_LV_3340-3_0_6_node_57 | 0.4 | n |  | TRUE
101 | bus_LV_3340-3_0_6_node_71 | 0.4 | n |  | TRUE
102 | bus_LV_3340-3_0_6_node_92 | 0.4 | n |  | TRUE
103 | bus_LV_3340-3_0_6_node_103 | 0.4 | n |  | TRUE
104 | bus_LV_3340-3_0_6_node_85 | 0.4 | n |  | TRUE
105 | bus_LV_3340-3_0_6_node_93 | 0.4 | n |  | TRUE
106 | bus_LV_3340-3_0_6_node_113 | 0.4 | n |  | TRUE
107 | bus_LV_3340-3_0_6_node_99 | 0.4 | n |  | TRUE
108 | bus_LV_3340-3_0_6_node_100 | 0.4 | n |  | TRUE
109 | bus_MV_585_0_node_69 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3340-3_0_6_load_0 | 0 | 0.046323 | 0.01161 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3340-3_0_6_load_1 | 1 | 0.0019957 | 0.00050017 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3340-3_0_6_load_4 | 4 | 0.0017936 | 0.00044952 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3340-3_0_6_load_13 | 5 | 0.0026278 | 0.00065859 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3340-3_0_6_load_54 | 9 | 0.0014254 | 0.00035723 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3340-3_0_6_load_72 | 12 | 0.0016375 | 0.0004104 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3340-3_0_6_load_55 | 15 | 0.0075327 | 0.0018879 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3340-3_0_6_load_62 | 16 | 0.010527 | 0.0026382 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3340-3_0_6_load_67 | 18 | 0.011002 | 0.0027573 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3340-3_0_6_load_108 | 23 | 0.0027947 | 0.00070042 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3340-3_0_6_load_80 | 25 | 0.01595 | 0.0039974 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3340-3_0_6_load_96 | 27 | 0.0032617 | 0.00081746 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3340-3_0_6_load_82 | 28 | 0.0086146 | 0.002159 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3340-3_0_6_load_89 | 31 | 0.0012881 | 0.00032284 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3340-3_0_6_load_95 | 33 | 0.01035 | 0.002594 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3340-3_0_6_load_58 | 36 | 0.010308 | 0.0025834 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3340-3_0_6_load_77 | 40 | 0.0052436 | 0.0013142 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3340-3_0_6_load_75 | 42 | 0.015835 | 0.0039687 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3340-3_0_6_load_116 | 45 | 0.0061008 | 0.001529 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3340-3_0_6_load_114 | 48 | 0.0023219 | 0.00058192 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3340-3_0_6_load_81 | 52 | 0.010223 | 0.002562 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3340-3_0_6_load_78 | 53 | 0.02239 | 0.0056115 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3340-3_0_6_load_90 | 54 | 0.0018144 | 0.00045473 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3340-3_0_6_load_73 | 57 | 0.002988 | 0.00074888 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3340-3_0_6_load_86 | 58 | 0.0011189 | 0.00028042 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3340-3_0_6_load_87 | 59 | 0.0016518 | 0.00041399 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3340-3_0_6_load_21 | 60 | 0.0090618 | 0.0022711 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3340-3_0_6_load_60 | 61 | 0.0091652 | 0.002297 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3340-3_0_6_load_59 | 62 | 0.0074856 | 0.0018761 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3340-3_0_6_load_102 | 64 | 0.0040101 | 0.001005 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3340-3_0_6_load_104 | 66 | 0.014221 | 0.0035641 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3340-3_0_6_load_88 | 68 | 0.0035445 | 0.00088834 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3340-3_0_6_load_63 | 70 | 0.019528 | 0.0048942 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3340-3_0_6_load_64 | 71 | 0.0095835 | 0.0024019 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3340-3_0_6_load_18 | 72 | 0.0099564 | 0.0024953 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3340-3_0_6_load_46 | 74 | 0.0056489 | 0.0014158 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3340-3_0_6_load_44 | 75 | 0.0068705 | 0.0017219 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3340-3_0_6_load_22 | 76 | 0.013943 | 0.0034944 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3340-3_0_6_load_24 | 77 | 0.0098293 | 0.0024635 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3340-3_0_6_load_101 | 78 | 0.001673 | 0.00041928 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3340-3_0_6_load_98 | 79 | 0.00019795 | 4.9612e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3340-3_0_6_load_45 | 80 | 0.007168 | 0.0017965 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3340-3_0_6_load_56 | 81 | 0.010203 | 0.002557 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3340-3_0_6_load_117 | 82 | 0.0068696 | 0.0017217 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3340-3_0_6_load_112 | 83 | 0.0020752 | 0.0005201 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3340-3_0_6_load_79 | 85 | 0.010547 | 0.0026434 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3340-3_0_6_load_111 | 86 | 0.0053608 | 0.0013435 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3340-3_0_6_load_110 | 87 | 0.0045914 | 0.0011507 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3340-3_0_6_load_61 | 88 | 0.0092043 | 0.0023068 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3340-3_0_6_load_97 | 89 | 0.00013407 | 3.3601e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3340-3_0_6_load_47 | 90 | 0.012148 | 0.0030447 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3340-3_0_6_load_48 | 91 | 0.0016991 | 0.00042583 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3340-3_0_6_load_50 | 93 | 0.0021272 | 0.00053312 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3340-3_0_6_load_52 | 94 | 0.0039514 | 0.00099033 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3340-3_0_6_load_53 | 96 | 0.0011643 | 0.00029181 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3340-3_0_6_load_106 | 98 | 0.0025284 | 0.00063367 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3340-3_0_6_load_83 | 99 | 0.001899 | 0.00047594 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3340-3_0_6_load_57 | 100 | 0.0087573 | 0.0021948 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3340-3_0_6_load_71 | 101 | 0.0075077 | 0.0018816 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3340-3_0_6_load_103 | 103 | 0.0031087 | 0.0007791 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3340-3_0_6_load_85 | 104 | 0.0014422 | 0.00036144 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3340-3_0_6_load_113 | 106 | 0.0028532 | 0.00071507 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3340-3_0_6_load_99 | 107 | 0.00013465 | 3.3747e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3340-3_0_6_load_100 | 108 | 0.00024709 | 6.1925e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3340-3_0_6_line_0 |  | 0 | 1 | 0.028052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3340-3_0_6_line_1 |  | 0 | 2 | 0.014685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3340-3_0_6_line_2 |  | 1 | 3 | 0.024455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3340-3_0_6_line_3 |  | 2 | 4 | 0.031024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3340-3_0_6_line_4 |  | 3 | 5 | 0.022385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3340-3_0_6_line_5 |  | 4 | 6 | 0.0039827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3340-3_0_6_line_6 |  | 5 | 14 | 0.064515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3340-3_0_6_line_7 |  | 6 | 10 | 0.06226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3340-3_0_6_line_8 |  | 6 | 7 | 0.027883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3340-3_0_6_line_9 |  | 7 | 8 | 0.10867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3340-3_0_6_line_10 |  | 7 | 9 | 0.024095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3340-3_0_6_line_11 |  | 8 | 17 | 0.051859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3340-3_0_6_line_12 |  | 8 | 18 | 0.027569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3340-3_0_6_line_13 |  | 9 | 19 | 0.063356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3340-3_0_6_line_14 |  | 10 | 11 | 0.043549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_3340-3_0_6_line_15 |  | 10 | 12 | 0.04027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3340-3_0_6_line_16 |  | 11 | 16 | 0.050671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_3340-3_0_6_line_17 |  | 12 | 20 | 0.041348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3340-3_0_6_line_18 |  | 13 | 14 | 0.064873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3340-3_0_6_line_19 |  | 13 | 15 | 0.020321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3340-3_0_6_line_20 |  | 16 | 62 | 0.028786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_3340-3_0_6_line_21 |  | 17 | 63 | 0.30565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3340-3_0_6_line_22 |  | 17 | 64 | 0.023056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3340-3_0_6_line_23 |  | 19 | 96 | 0.021871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3340-3_0_6_line_24 |  | 19 | 92 | 0.01086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3340-3_0_6_line_25 |  | 20 | 101 | 0.014071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3340-3_0_6_line_26 |  | 20 | 71 | 0.042521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3340-3_0_6_line_27 |  | 21 | 22 | 0.009157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3340-3_0_6_line_28 |  | 21 | 23 | 0.036614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3340-3_0_6_line_29 |  | 21 | 24 | 0.027876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3340-3_0_6_line_30 |  | 22 | 86 | 0.013405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3340-3_0_6_line_31 |  | 22 | 87 | 0.014125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3340-3_0_6_line_32 |  | 24 | 25 | 0.041722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3340-3_0_6_line_33 |  | 25 | 85 | 0.040778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3340-3_0_6_line_34 |  | 26 | 27 | 0.0075094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3340-3_0_6_line_35 |  | 26 | 28 | 0.024642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3340-3_0_6_line_36 |  | 27 | 32 | 0.020453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_3340-3_0_6_line_37 |  | 28 | 52 | 0.021385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3340-3_0_6_line_38 |  | 29 | 30 | 0.030543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3340-3_0_6_line_39 |  | 29 | 31 | 0.036461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3340-3_0_6_line_40 |  | 30 | 83 | 0.003118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3340-3_0_6_line_41 |  | 30 | 47 | 0.020382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3340-3_0_6_line_42 |  | 31 | 46 | 0.0087963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3340-3_0_6_line_43 |  | 32 | 33 | 0.018102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_3340-3_0_6_line_44 |  | 33 | 50 | 0.057167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_3340-3_0_6_line_45 |  | 34 | 35 | 0.033732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_3340-3_0_6_line_46 |  | 34 | 36 | 0.026503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_3340-3_0_6_line_47 |  | 34 | 37 | 0.015186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3340-3_0_6_line_48 |  | 35 | 61 | 0.034945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3340-3_0_6_line_49 |  | 35 | 50 | 0.016574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_3340-3_0_6_line_50 |  | 36 | 81 | 0.023723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_3340-3_0_6_line_51 |  | 37 | 60 | 0.02605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3340-3_0_6_line_52 |  | 37 | 47 | 0.029615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3340-3_0_6_line_53 |  | 38 | 39 | 0.057839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3340-3_0_6_line_54 |  | 38 | 40 | 0.012208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3340-3_0_6_line_55 |  | 39 | 52 | 0.027238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3340-3_0_6_line_56 |  | 39 | 53 | 0.0074013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3340-3_0_6_line_57 |  | 39 | 41 | 0.042431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3340-3_0_6_line_58 |  | 41 | 42 | 0.01572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3340-3_0_6_line_59 |  | 42 | 84 | 0.028469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3340-3_0_6_line_60 |  | 43 | 44 | 0.040128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3340-3_0_6_line_61 |  | 43 | 45 | 0.026641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3340-3_0_6_line_62 |  | 43 | 46 | 0.032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3340-3_0_6_line_63 |  | 44 | 82 | 0.024907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3340-3_0_6_line_64 |  | 46 | 59 | 0.037567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3340-3_0_6_line_65 |  | 47 | 48 | 0.003065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3340-3_0_6_line_66 |  | 47 | 49 | 0.029819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3340-3_0_6_line_67 |  | 49 | 54 | 0.013908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3340-3_0_6_line_68 |  | 50 | 51 | 0.020264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3340-3_0_6_line_69 |  | 51 | 58 | 0.011087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3340-3_0_6_line_70 |  | 53 | 85 | 0.03721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3340-3_0_6_line_71 |  | 55 | 56 | 0.13049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3340-3_0_6_line_72 |  | 55 | 57 | 0.030822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3340-3_0_6_line_73 |  | 56 | 78 | 0.043166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3340-3_0_6_line_74 |  | 56 | 79 | 0.02111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3340-3_0_6_line_75 |  | 57 | 84 | 0.056114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3340-3_0_6_line_76 |  | 59 | 67 | 0.023802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3340-3_0_6_line_77 |  | 60 | 76 | 0.015488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3340-3_0_6_line_78 |  | 61 | 88 | 0.023643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3340-3_0_6_line_79 |  | 62 | 100 | 0.035007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_3340-3_0_6_line_80 |  | 63 | 65 | 0.007594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3340-3_0_6_line_81 |  | 64 | 103 | 0.060043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3340-3_0_6_line_82 |  | 65 | 66 | 0.0070705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3340-3_0_6_line_83 |  | 67 | 68 | 0.018075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3340-3_0_6_line_84 |  | 67 | 69 | 0.013486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3340-3_0_6_line_85 |  | 68 | 102 | 0.013282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3340-3_0_6_line_86 |  | 69 | 74 | 0.014319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3340-3_0_6_line_87 |  | 69 | 73 | 0.020266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3340-3_0_6_line_88 |  | 70 | 71 | 0.0049204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3340-3_0_6_line_89 |  | 72 | 73 | 0.01719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3340-3_0_6_line_90 |  | 74 | 75 | 0.028911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3340-3_0_6_line_91 |  | 75 | 80 | 0.031546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3340-3_0_6_line_92 |  | 76 | 77 | 0.0092575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3340-3_0_6_line_93 |  | 79 | 89 | 0.016339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3340-3_0_6_line_94 |  | 81 | 100 | 0.043129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
95 | LV_3340-3_0_6_line_95 |  | 89 | 107 | 0.0061671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_3340-3_0_6_line_96 |  | 90 | 91 | 0.034469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_3340-3_0_6_line_97 |  | 90 | 92 | 0.023229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_3340-3_0_6_line_98 |  | 91 | 93 | 0.017906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_3340-3_0_6_line_99 |  | 92 | 94 | 0.017069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_3340-3_0_6_line_100 |  | 93 | 95 | 0.028955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_3340-3_0_6_line_101 |  | 94 | 97 | 0.014918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_3340-3_0_6_line_102 |  | 95 | 98 | 0.020283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_3340-3_0_6_line_103 |  | 97 | 99 | 0.058091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_3340-3_0_6_line_104 |  | 98 | 104 | 0.02152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_3340-3_0_6_line_105 |  | 102 | 105 | 0.022102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_3340-3_0_6_line_106 |  | 105 | 106 | 0.01445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_3340-3_0_6_line_107 |  | 107 | 108 | 0.0030082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3340-3_0_6_trafo_62 | 0.63 MVA 20/0.4 kV | 109 | 16 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26
0 | 2705001.3769 | 1231184.6413 | 2704989.2239 | 1231159.3583
1 | 2705007.7389 | 1231197.8769 | 2705001.3769 | 1231184.6413
2 | 2704978.6294 | 1231137.3174 | 2704989.2239 | 1231159.3583
3 | 2705007.7389 | 1231197.8769 | 2705018.0762 | 1231219.4646 | 2705022.5773 | 1231224.9407
4 | 2704978.6294 | 1231137.3174 | 2704981.9352 | 1231132.4276 | 2704982.1198 | 1231125.4145 | 2704979.6131 | 1231116.2855
5 | 2705025.1062 | 1231228.0174 | 2705022.5773 | 1231224.9407
6 | 2704957.6389 | 1231055.8078 | 2704971.9704 | 1231088.452 | 2704979.6131 | 1231116.2855
7 | 2705025.1062 | 1231228.0174 | 2705082.1115 | 1231202.6166
8 | 2705038.9887 | 1231252.1697 | 2705037.2363 | 1231248.4582 | 2705028.7885 | 1231234.832 | 2705025.1062 | 1231228.0174
9 | 2704938.486 | 1231282.4067 | 2704951.8336 | 1231279.3845 | 2704960.1129 | 1231276.8287 | 2704979.284 | 1231270.9072 | 2705021.3133 | 1231254.8929 | 2705037.2363 | 1231248.4582 | 2705038.9887 | 1231252.1697
10 | 2705038.9887 | 1231252.1697 | 2705049.279 | 1231273.9567
11 | 2704896.0037 | 1231299.6479 | 2704897.3232 | 1231289.697 | 2704905.5743 | 1231288.7307 | 2704938.486 | 1231282.4067
12 | 2704938.486 | 1231282.4067 | 2704937.0708 | 1231273.753 | 2704929.0499 | 1231256.7501
13 | 2705076.3369 | 1231331.2446 | 2705049.279 | 1231273.9567
14 | 2705107.8623 | 1231221.2969 | 2705104.0566 | 1231222.7529 | 2705092.3307 | 1231227.4381 | 2705085.6681 | 1231211.8197 | 2705082.1115 | 1231202.6166
15 | 2705082.1115 | 1231202.6166 | 2705080.4185 | 1231176.7005 | 2705074.1843 | 1231163.8323
16 | 2705107.8623 | 1231221.2969 | 2705106.4411 | 1231217.2798 | 2705140.2713 | 1231204.0346 | 2705149.6756 | 1231200.4092
17 | 2705056.1542 | 1231126.623 | 2705069.6166 | 1231154.404 | 2705074.1843 | 1231163.8323
18 | 2704951.8074 | 1231108.9003 | 2704945.7757 | 1231056.2432 | 2704957.6389 | 1231055.8078
19 | 2704951.8074 | 1231108.9003 | 2704933.2839 | 1231117.2574
20 | 2705176.5437 | 1231190.0769 | 2705165.3114 | 1231194.3813 | 2705149.6756 | 1231200.4092
21 | 2704836.9922 | 1231135.3281 | 2704832.0108 | 1231148.4612 | 2704823.0257 | 1231169.552 | 2704814.0996 | 1231172.697 | 2704811.5335 | 1231173.4524 | 2704812.8263 | 1231180.0357 | 2704813.2381 | 1231188.0378 | 2704811.1376 | 1231195.8956 | 2704804.7128 | 1231203.2545 | 2704806.8844 | 1231210.2647 | 2704809.2757 | 1231215.989 | 2704817.1061 | 1231221.698 | 2704824.0577 | 1231225.2676 | 2704830.8873 | 1231230.1695 | 2704836.3243 | 1231237.1484 | 2704843.5579 | 1231242.769 | 2704846.5391 | 1231248.9707 | 2704848.244 | 1231255.8059 | 2704825.4609 | 1231261.6642 | 2704817.1904 | 1231265.0098 | 2704813.9766 | 1231291.3173 | 2704843.0311 | 1231292.7973 | 2704847.8522 | 1231293.0381 | 2704867.1448 | 1231292.6669 | 2704886.7415 | 1231290.9446 | 2704897.3232 | 1231289.697 | 2704896.0037 | 1231299.6479
22 | 2704896.0037 | 1231299.6479 | 2704895.6634 | 1231303.0444 | 2704910.2548 | 1231304.225 | 2704909.5958 | 1231309.1851
23 | 2705076.3369 | 1231331.2446 | 2705086.5287 | 1231329.7681 | 2705098.0474 | 1231328.6496
24 | 2705080.9809 | 1231341.0674 | 2705076.3369 | 1231331.2446
25 | 2705056.1542 | 1231126.623 | 2705069.1154 | 1231121.0589
26 | 2705056.1542 | 1231126.623 | 2705047.9951 | 1231117.2273 | 2705040.8917 | 1231088.0008
27 | 2705204.0644 | 1231188.9183 | 2705206.9862 | 1231197.5987
28 | 2705204.0644 | 1231188.9183 | 2705178.8152 | 1231198.3898 | 2705169.8062 | 1231201.8403
29 | 2705230.1853 | 1231178.9841 | 2705204.0644 | 1231188.9183
30 | 2705206.9862 | 1231197.5987 | 2705219.5571 | 1231192.9435
31 | 2705206.9862 | 1231197.5987 | 2705193.8621 | 1231202.8214
32 | 2705230.1853 | 1231178.9841 | 2705241.2911 | 1231208.8921 | 2705241.3906 | 1231218.71
33 | 2705241.3906 | 1231218.71 | 2705241.5226 | 1231231.7467 | 2705240.6151 | 1231236.3675 | 2705237.9925 | 1231239.0231 | 2705245.047 | 1231247.8879 | 2705252.827 | 1231246.1577 | 2705252.827 | 1231246.1577
34 | 2705318.1011 | 1231267.1404 | 2705317.1792 | 1231259.6878
35 | 2705318.1011 | 1231267.1404 | 2705318.3793 | 1231269.3914 | 2705318.2812 | 1231270.6573 | 2705317.266 | 1231271.5178 | 2705313.0586 | 1231272.5551 | 2705298.088 | 1231276.3316
36 | 2705314.1603 | 1231239.4608 | 2705316.6965 | 1231255.7847 | 2705317.1792 | 1231259.6878
37 | 2705277.3558 | 1231281.5735 | 2705287.1115 | 1231279.1006 | 2705298.088 | 1231276.3316
38 | 2705278.2737 | 1231049.8159 | 2705280.0026 | 1231068.961 | 2705281.4227 | 1231069.1863 | 2705282.2861 | 1231079.0312
39 | 2705278.2737 | 1231049.8159 | 2705249.9028 | 1231052.8716 | 2705242.48 | 1231055.6509
40 | 2705282.2861 | 1231079.0312 | 2705283.3029 | 1231078.938 | 2705285.3975 | 1231078.7194
41 | 2705282.2861 | 1231079.0312 | 2705284.0626 | 1231099.3335
42 | 2705236.7532 | 1231062.2125 | 2705241.8498 | 1231055.8869 | 2705242.48 | 1231055.6509
43 | 2705314.1603 | 1231239.4608 | 2705311.3094 | 1231222.0862 | 2705311.2128 | 1231221.6006
44 | 2705299.8173 | 1231167.4081 | 2705298.028 | 1231167.9213 | 2705301.9661 | 1231181.6569 | 2705305.5717 | 1231194.9196 | 2705309.0835 | 1231210.905 | 2705311.2128 | 1231221.6006
45 | 2705285.8917 | 1231138.0394 | 2705290.3727 | 1231136.1062 | 2705293.4557 | 1231142.0987 | 2705289.9931 | 1231145.1285 | 2705288.5054 | 1231148.716 | 2705288.7459 | 1231153.1013 | 2705291.4807 | 1231157.3641 | 2705295.142 | 1231159.3637
46 | 2705285.8917 | 1231138.0394 | 2705287.0822 | 1231140.5402 | 2705287.4044 | 1231143.3035 | 2705287.3601 | 1231145.8046 | 2705286.0854 | 1231148.4841 | 2705283.2279 | 1231150.7129 | 2705272.1017 | 1231154.8163
47 | 2705279.3549 | 1231124.3245 | 2705285.8917 | 1231138.0394
48 | 2705295.142 | 1231159.3637 | 2705291.5584 | 1231164.0927 | 2705297.1772 | 1231180.8826 | 2705290.4053 | 1231189.9364
49 | 2705299.8173 | 1231167.4081 | 2705299.5253 | 1231166.3577 | 2705302.9988 | 1231165.274 | 2705302.2066 | 1231162.9582 | 2705300.4914 | 1231159.2917 | 2705295.142 | 1231159.3637
50 | 2705249.8117 | 1231162.9377 | 2705270.3111 | 1231155.4767 | 2705272.1017 | 1231154.8163
51 | 2705279.3549 | 1231124.3245 | 2705253.4179 | 1231126.7509
52 | 2705279.3549 | 1231124.3245 | 2705283.8621 | 1231123.904 | 2705285.5895 | 1231120.899 | 2705284.9192 | 1231109.1338 | 2705284.0626 | 1231099.3335
53 | 2705250.917 | 1231288.1221 | 2705251.7058 | 1231291.0605 | 2705280.7765 | 1231284.359 | 2705282.4027 | 1231294.3286 | 2705284.6415 | 1231308.201 | 2705285.4518 | 1231308.2153
54 | 2705285.4518 | 1231308.2153 | 2705297.2443 | 1231306.1782 | 2705297.4405 | 1231306.0379
55 | 2705250.917 | 1231288.1221 | 2705266.9394 | 1231284.2139 | 2705277.3558 | 1231281.5735
56 | 2705250.917 | 1231288.1221 | 2705249.006 | 1231280.9718 | 2705249.006 | 1231280.9718
57 | 2705250.917 | 1231288.1221 | 2705251.7058 | 1231291.0605 | 2705236.1067 | 1231296.3106 | 2705228.6913 | 1231302.2616 | 2705224.0599 | 1231309.7075 | 2705223.2289 | 1231314.2851
58 | 2705223.2289 | 1231314.2851 | 2705222.3283 | 1231319.373 | 2705222.0357 | 1231327.763 | 2705222.3089 | 1231329.9031
59 | 2705225.9139 | 1231358.1434 | 2705222.3089 | 1231329.9031
60 | 2705251.6232 | 1231085.7601 | 2705237.6328 | 1231070.2897 | 2705223.0244 | 1231057.6328
61 | 2705229.3513 | 1231092.6266 | 2705232.6449 | 1231095.2869 | 2705242.6154 | 1231094.3516 | 2705251.6232 | 1231085.7601
62 | 2705236.7532 | 1231062.2125 | 2705255.0135 | 1231082.5288 | 2705251.6232 | 1231085.7601
63 | 2705198.2965 | 1231061.1646 | 2705223.0244 | 1231057.6328
64 | 2705236.7532 | 1231062.2125 | 2705207.6433 | 1231038.4653
65 | 2705284.0626 | 1231099.3335 | 2705285.4442 | 1231099.1689 | 2705287.1144 | 1231098.965
66 | 2705298.3147 | 1231123.9599 | 2705284.9192 | 1231109.1338 | 2705284.0626 | 1231099.3335
67 | 2705298.3147 | 1231123.9599 | 2705311.8323 | 1231120.6899
68 | 2705299.8173 | 1231167.4081 | 2705300.5411 | 1231167.1763 | 2705303.4096 | 1231166.4599 | 2705306.5251 | 1231178.7355 | 2705309.1564 | 1231178.1594 | 2705310.3197 | 1231177.9132
69 | 2705310.3197 | 1231177.9132 | 2705321.1528 | 1231175.5533
70 | 2705249.006 | 1231280.9718 | 2705255.0241 | 1231272.6498 | 2705256.3635 | 1231266.3132 | 2705252.827 | 1231246.1577
71 | 2705249.4472 | 1231412.145 | 2705284.1475 | 1231404.8984 | 2705294.3393 | 1231403.8447 | 2705298.6574 | 1231403.3986 | 2705303.5127 | 1231402.9843 | 2705309.2271 | 1231392.1329 | 2705311.7738 | 1231386.496 | 2705315.8287 | 1231376.9606 | 2705318.0536 | 1231371.5293 | 2705319.5779 | 1231366.7304 | 2705320.1106 | 1231364.8829 | 2705325.6403 | 1231345.6553 | 2705314.4964 | 1231347.4259 | 2705311.869 | 1231347.7907
72 | 2705311.869 | 1231347.7907 | 2705306.3295 | 1231348.3375 | 2705299.7828 | 1231347.1651 | 2705281.4804 | 1231350.5052
73 | 2705249.4472 | 1231412.145 | 2705245.1481 | 1231388.8625 | 2705264.354 | 1231385.2442
74 | 2705249.4472 | 1231412.145 | 2705228.7826 | 1231416.4561
75 | 2705225.9139 | 1231358.1434 | 2705264.0724 | 1231353.6821 | 2705281.4804 | 1231350.5052
76 | 2705189.2001 | 1231023.4197 | 2705207.6433 | 1231038.4653
77 | 2705253.4179 | 1231126.7509 | 2705248.275 | 1231127.232 | 2705238.0852 | 1231125.5838
78 | 2705271.3828 | 1231202.7312 | 2705285.4067 | 1231196.6194 | 2705290.4053 | 1231189.9364
79 | 2705209.287 | 1231177.692 | 2705187.666 | 1231185.8147 | 2705176.5437 | 1231190.0769
80 | 2704844.0714 | 1231132.5286 | 2704836.9922 | 1231135.3281
81 | 2704909.5958 | 1231309.1851 | 2704906.5333 | 1231332.2359 | 2704942.927 | 1231337.6155
82 | 2704844.0714 | 1231132.5286 | 2704850.5433 | 1231129.6815
83 | 2705189.2001 | 1231023.4197 | 2705203.338 | 1231012.1584
84 | 2705178.9167 | 1231032.1777 | 2705189.2001 | 1231023.4197
85 | 2705213.7267 | 1231003.8834 | 2705203.338 | 1231012.1584
86 | 2705178.9167 | 1231032.1777 | 2705168.0142 | 1231041.4609
87 | 2705163.2212 | 1231019.3015 | 2705178.9167 | 1231032.1777
88 | 2705039.7297 | 1231083.2195 | 2705040.8917 | 1231088.0008
89 | 2705163.2212 | 1231019.3015 | 2705151.7966 | 1231029.1958 | 2705150.2286 | 1231027.834
90 | 2705168.0142 | 1231041.4609 | 2705159.6885 | 1231048.55 | 2705172.3685 | 1231061.2914
91 | 2705194.6211 | 1231083.6517 | 2705172.3685 | 1231061.2914
92 | 2705230.9268 | 1231119.7136 | 2705238.0852 | 1231125.5838 | 2705238.0852 | 1231125.5838
93 | 2705212.7883 | 1231419.7929 | 2705228.7826 | 1231416.4561
94 | 2705249.8117 | 1231162.9377 | 2705244.5864 | 1231164.8395 | 2705225.9939 | 1231171.4154 | 2705209.287 | 1231177.692
95 | 2705212.7883 | 1231419.7929 | 2705206.7512 | 1231421.0524
96 | 2705029.9098 | 1231358.6898 | 2705031.669 | 1231358.1312 | 2705034.2969 | 1231355.5979 | 2705035.5152 | 1231351.383 | 2705037.9768 | 1231348.402 | 2705042.0923 | 1231346.1285 | 2705051.1391 | 1231344.287 | 2705057.8859 | 1231343.5591
97 | 2705080.9809 | 1231341.0674 | 2705057.8859 | 1231343.5591
98 | 2705012.6493 | 1231363.4316 | 2705025.034 | 1231360.2378 | 2705029.9098 | 1231358.6898
99 | 2705080.9809 | 1231341.0674 | 2705085.0259 | 1231349.6342 | 2705086.0838 | 1231357.1557
100 | 2704998.2113 | 1231380.3681 | 2704997.1903 | 1231367.4181 | 2705012.6493 | 1231363.4316
101 | 2705088.1615 | 1231371.9287 | 2705086.0838 | 1231357.1557
102 | 2704998.2113 | 1231380.3681 | 2705018.4059 | 1231378.4734
103 | 2705088.1615 | 1231371.9287 | 2705146.0057 | 1231366.5835
104 | 2705039.8322 | 1231376.4631 | 2705018.4059 | 1231378.4734
105 | 2705199.2356 | 1230987.1589 | 2705213.7267 | 1231003.8834
106 | 2705186.1517 | 1230986.7938 | 2705192.828 | 1230990.081 | 2705199.2356 | 1230987.1589
107 | 2705203.8064 | 1231421.6667 | 2705206.7512 | 1231421.0524

## bus_geodata
| x | y | coords
0 | 2705001.3769 | 1231184.6413
1 | 2704989.2239 | 1231159.3583
2 | 2705007.7389 | 1231197.8769
3 | 2704978.6294 | 1231137.3174
4 | 2705022.5773 | 1231224.9407
5 | 2704979.6131 | 1231116.2855
6 | 2705025.1062 | 1231228.0174
7 | 2705038.9887 | 1231252.1697
8 | 2704938.486 | 1231282.4067
9 | 2705049.279 | 1231273.9567
10 | 2705082.1115 | 1231202.6166
11 | 2705107.8623 | 1231221.2969
12 | 2705074.1843 | 1231163.8323
13 | 2704951.8074 | 1231108.9003
14 | 2704957.6389 | 1231055.8078
15 | 2704933.2839 | 1231117.2574
16 | 2705149.6756 | 1231200.4092
17 | 2704896.0037 | 1231299.6479
18 | 2704929.0499 | 1231256.7501
19 | 2705076.3369 | 1231331.2446
20 | 2705056.1542 | 1231126.623
21 | 2705204.0643 | 1231188.9183
22 | 2705206.9862 | 1231197.5987
23 | 2705169.8062 | 1231201.8403
24 | 2705230.1853 | 1231178.9841
25 | 2705241.3906 | 1231218.71
26 | 2705318.1011 | 1231267.1404
27 | 2705317.1792 | 1231259.6878
28 | 2705298.088 | 1231276.3316
29 | 2705278.2737 | 1231049.8159
30 | 2705282.2861 | 1231079.0312
31 | 2705242.48 | 1231055.6509
32 | 2705314.1603 | 1231239.4608
33 | 2705311.2128 | 1231221.6006
34 | 2705285.8917 | 1231138.0394
35 | 2705295.142 | 1231159.3637
36 | 2705272.1017 | 1231154.8163
37 | 2705279.3549 | 1231124.3245
38 | 2705285.4518 | 1231308.2153
39 | 2705250.917 | 1231288.1221
40 | 2705297.4405 | 1231306.0379
41 | 2705223.2289 | 1231314.2851
42 | 2705222.3089 | 1231329.9031
43 | 2705251.6232 | 1231085.7601
44 | 2705223.0244 | 1231057.6328
45 | 2705229.3513 | 1231092.6266
46 | 2705236.7532 | 1231062.2125
47 | 2705284.0626 | 1231099.3335
48 | 2705287.1144 | 1231098.965
49 | 2705298.3147 | 1231123.9599
50 | 2705299.8173 | 1231167.4081
51 | 2705310.3197 | 1231177.9132
52 | 2705277.3558 | 1231281.5735
53 | 2705249.006 | 1231280.9718
54 | 2705311.8323 | 1231120.6899
55 | 2705311.869 | 1231347.7907
56 | 2705249.4472 | 1231412.145
57 | 2705281.4804 | 1231350.5052
58 | 2705321.1528 | 1231175.5533
59 | 2705207.6433 | 1231038.4653
60 | 2705253.4179 | 1231126.7509
61 | 2705290.4053 | 1231189.9364
62 | 2705176.5437 | 1231190.0769
63 | 2704836.9922 | 1231135.3281
64 | 2704909.5958 | 1231309.1851
65 | 2704844.0714 | 1231132.5286
66 | 2704850.5433 | 1231129.6815
67 | 2705189.2001 | 1231023.4197
68 | 2705203.338 | 1231012.1584
69 | 2705178.9167 | 1231032.1777
70 | 2705039.7297 | 1231083.2195
71 | 2705040.8917 | 1231088.0008
72 | 2705150.2286 | 1231027.834
73 | 2705163.2212 | 1231019.3015
74 | 2705168.0142 | 1231041.4609
75 | 2705172.3686 | 1231061.2914
76 | 2705238.0852 | 1231125.5838
77 | 2705230.9268 | 1231119.7136
78 | 2705264.354 | 1231385.2442
79 | 2705228.7826 | 1231416.4561
80 | 2705194.6211 | 1231083.6517
81 | 2705249.8117 | 1231162.9377
82 | 2705198.2965 | 1231061.1646
83 | 2705285.3975 | 1231078.7194
84 | 2705225.9139 | 1231358.1434
85 | 2705252.827 | 1231246.1577
86 | 2705219.5571 | 1231192.9435
87 | 2705193.8621 | 1231202.8214
88 | 2705271.3828 | 1231202.7312
89 | 2705212.7883 | 1231419.7929
90 | 2705057.8859 | 1231343.5591
91 | 2705029.9098 | 1231358.6898
92 | 2705080.9809 | 1231341.0674
93 | 2705012.6493 | 1231363.4316
94 | 2705086.0838 | 1231357.1557
95 | 2704998.2113 | 1231380.3681
96 | 2705098.0474 | 1231328.6496
97 | 2705088.1615 | 1231371.9287
98 | 2705018.4059 | 1231378.4734
99 | 2705146.0057 | 1231366.5835
100 | 2705209.287 | 1231177.692
101 | 2705069.1154 | 1231121.0589
102 | 2705213.7267 | 1231003.8834
103 | 2704942.927 | 1231337.6155
104 | 2705039.8322 | 1231376.4631
105 | 2705199.2356 | 1230987.1589
106 | 2705186.1517 | 1230986.7938
107 | 2705206.7512 | 1231421.0524
108 | 2705203.8064 | 1231421.6667
109 | 2705149.6756 | 1231200.4092

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1