## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3340-50_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3340-50_0_6_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_3340-50_0_6_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_3340-50_0_6_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_3340-50_0_6_node_81 | 0.4 | n |  | TRUE
5 | bus_LV_3340-50_0_6_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_3340-50_0_6_node_53 | 0.4 | n |  | TRUE
7 | bus_LV_3340-50_0_6_node_28 | 0.4 | n |  | TRUE
8 | bus_LV_3340-50_0_6_node_29 | 0.4 | n |  | TRUE
9 | bus_LV_3340-50_0_6_node_52 | 0.4 | n |  | TRUE
10 | bus_LV_3340-50_0_6_node_70 | 0.4 | n |  | TRUE
11 | bus_LV_3340-50_0_6_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_3340-50_0_6_node_69 | 0.4 | n |  | TRUE
13 | bus_LV_3340-50_0_6_node_34 | 0.4 | n |  | TRUE
14 | bus_LV_3340-50_0_6_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_3340-50_0_6_node_85 | 0.4 | n |  | TRUE
16 | bus_LV_3340-50_0_6_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_3340-50_0_6_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_3340-50_0_6_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_3340-50_0_6_node_45 | 0.4 | n |  | TRUE
20 | bus_LV_3340-50_0_6_node_46 | 0.4 | n |  | TRUE
21 | bus_LV_3340-50_0_6_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_3340-50_0_6_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_3340-50_0_6_node_76 | 0.4 | n |  | TRUE
24 | bus_LV_3340-50_0_6_node_50 | 0.4 | n |  | TRUE
25 | bus_LV_3340-50_0_6_node_48 | 0.4 | n |  | TRUE
26 | bus_LV_3340-50_0_6_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_3340-50_0_6_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_3340-50_0_6_node_80 | 0.4 | n |  | TRUE
29 | bus_LV_3340-50_0_6_node_13 | 0.4 | n |  | TRUE
30 | bus_LV_3340-50_0_6_node_49 | 0.4 | n |  | TRUE
31 | bus_LV_3340-50_0_6_node_14 | 0.4 | n |  | TRUE
32 | bus_LV_3340-50_0_6_node_41 | 0.4 | n |  | TRUE
33 | bus_LV_3340-50_0_6_node_38 | 0.4 | n |  | TRUE
34 | bus_LV_3340-50_0_6_node_15 | 0.4 | n |  | TRUE
35 | bus_LV_3340-50_0_6_node_77 | 0.4 | n |  | TRUE
36 | bus_LV_3340-50_0_6_node_16 | 0.4 | n |  | TRUE
37 | bus_LV_3340-50_0_6_node_84 | 0.4 | n |  | TRUE
38 | bus_LV_3340-50_0_6_node_40 | 0.4 | n |  | TRUE
39 | bus_LV_3340-50_0_6_node_42 | 0.4 | n |  | TRUE
40 | bus_LV_3340-50_0_6_node_21 | 0.4 | n |  | TRUE
41 | bus_LV_3340-50_0_6_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_3340-50_0_6_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_3340-50_0_6_node_79 | 0.4 | n |  | TRUE
44 | bus_LV_3340-50_0_6_node_23 | 0.4 | n |  | TRUE
45 | bus_LV_3340-50_0_6_node_25 | 0.4 | n |  | TRUE
46 | bus_LV_3340-50_0_6_node_78 | 0.4 | n |  | TRUE
47 | bus_LV_3340-50_0_6_node_24 | 0.4 | n |  | TRUE
48 | bus_LV_3340-50_0_6_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_3340-50_0_6_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_3340-50_0_6_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_3340-50_0_6_node_27 | 0.4 | n |  | TRUE
52 | bus_LV_3340-50_0_6_node_30 | 0.4 | n |  | TRUE
53 | bus_LV_3340-50_0_6_node_62 | 0.4 | n |  | TRUE
54 | bus_LV_3340-50_0_6_node_86 | 0.4 | n |  | TRUE
55 | bus_LV_3340-50_0_6_node_74 | 0.4 | n |  | TRUE
56 | bus_LV_3340-50_0_6_node_83 | 0.4 | n |  | TRUE
57 | bus_LV_3340-50_0_6_node_82 | 0.4 | n |  | TRUE
58 | bus_LV_3340-50_0_6_node_68 | 0.4 | n |  | TRUE
59 | bus_LV_3340-50_0_6_node_33 | 0.4 | n |  | TRUE
60 | bus_LV_3340-50_0_6_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_3340-50_0_6_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_3340-50_0_6_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_3340-50_0_6_node_75 | 0.4 | n |  | TRUE
64 | bus_LV_3340-50_0_6_node_39 | 0.4 | n |  | TRUE
65 | bus_LV_3340-50_0_6_node_61 | 0.4 | n |  | TRUE
66 | bus_LV_3340-50_0_6_node_73 | 0.4 | n |  | TRUE
67 | bus_LV_3340-50_0_6_node_35 | 0.4 | n |  | TRUE
68 | bus_LV_3340-50_0_6_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_3340-50_0_6_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_3340-50_0_6_node_56 | 0.4 | n |  | TRUE
71 | bus_LV_3340-50_0_6_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_3340-50_0_6_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_3340-50_0_6_node_63 | 0.4 | n |  | TRUE
74 | bus_LV_3340-50_0_6_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_3340-50_0_6_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_3340-50_0_6_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_3340-50_0_6_node_59 | 0.4 | n |  | TRUE
78 | bus_LV_3340-50_0_6_node_72 | 0.4 | n |  | TRUE
79 | bus_LV_3340-50_0_6_node_65 | 0.4 | n |  | TRUE
80 | bus_LV_3340-50_0_6_node_67 | 0.4 | n |  | TRUE
81 | bus_MV_585_0_node_160 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3340-50_0_6_load_0 | 0 | 0.0085997 | 0.0021553 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3340-50_0_6_load_81 | 4 | 0.0028778 | 0.00072124 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3340-50_0_6_load_53 | 6 | 0.004382 | 0.0010982 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3340-50_0_6_load_52 | 9 | 0.0019921 | 0.00049926 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3340-50_0_6_load_70 | 10 | 0.012915 | 0.0032367 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3340-50_0_6_load_69 | 12 | 0.0039702 | 0.00099502 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3340-50_0_6_load_34 | 13 | 0.0024164 | 0.00060562 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3340-50_0_6_load_85 | 15 | 0.015784 | 0.0039558 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3340-50_0_6_load_45 | 19 | 0.015411 | 0.0038624 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3340-50_0_6_load_46 | 20 | 0.02227 | 0.0055813 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3340-50_0_6_load_76 | 23 | 0.02631 | 0.0065938 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3340-50_0_6_load_50 | 24 | 0.014205 | 0.0035601 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3340-50_0_6_load_48 | 25 | 0.0021906 | 0.00054903 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3340-50_0_6_load_80 | 28 | 0.070729 | 0.017726 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3340-50_0_6_load_49 | 30 | 0.0027456 | 0.00068812 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3340-50_0_6_load_41 | 32 | 0.0014806 | 0.00037106 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3340-50_0_6_load_38 | 33 | 0.011567 | 0.002899 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3340-50_0_6_load_77 | 35 | 0.013782 | 0.0034542 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3340-50_0_6_load_84 | 37 | 0.042843 | 0.010737 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3340-50_0_6_load_42 | 39 | 0.040604 | 0.010176 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3340-50_0_6_load_37 | 41 | 0.012697 | 0.0031821 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3340-50_0_6_load_36 | 42 | 0.015777 | 0.003954 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3340-50_0_6_load_79 | 43 | 0.022944 | 0.0057504 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3340-50_0_6_load_78 | 46 | 0.014024 | 0.0035147 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3340-50_0_6_load_32 | 48 | 0.0029776 | 0.00074626 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3340-50_0_6_load_31 | 49 | 0.080624 | 0.020206 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3340-50_0_6_load_43 | 50 | 0.017004 | 0.0042615 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3340-50_0_6_load_62 | 53 | 0.0019416 | 0.0004866 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3340-50_0_6_load_86 | 54 | 0.0022944 | 0.00057504 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3340-50_0_6_load_74 | 55 | 0.00026451 | 6.6292e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3340-50_0_6_load_83 | 56 | 0.0013702 | 0.0003434 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3340-50_0_6_load_82 | 57 | 0.018713 | 0.0046899 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3340-50_0_6_load_68 | 58 | 0.0089285 | 0.0022377 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3340-50_0_6_load_44 | 60 | 0.016185 | 0.0040564 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3340-50_0_6_load_47 | 61 | 0.014822 | 0.0037148 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3340-50_0_6_load_51 | 62 | 0.0012848 | 0.000322 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3340-50_0_6_load_75 | 63 | 0.0011352 | 0.00028451 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3340-50_0_6_load_39 | 64 | 0.011745 | 0.0029436 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3340-50_0_6_load_61 | 65 | 0.0021118 | 0.00052927 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3340-50_0_6_load_73 | 66 | 0.00041001 | 0.00010276 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3340-50_0_6_load_35 | 67 | 0.00095582 | 0.00023955 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3340-50_0_6_load_54 | 68 | 0.00038594 | 9.6726e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3340-50_0_6_load_55 | 69 | 0.0031142 | 0.00078049 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3340-50_0_6_load_56 | 70 | 0.0016488 | 0.00041323 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3340-50_0_6_load_57 | 71 | 0.00028993 | 7.2662e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3340-50_0_6_load_63 | 73 | 0.0013889 | 0.00034809 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3340-50_0_6_load_60 | 74 | 0.0024225 | 0.00060714 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3340-50_0_6_load_71 | 75 | 0.00096628 | 0.00024217 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3340-50_0_6_load_64 | 76 | 0.0005411 | 0.00013561 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3340-50_0_6_load_59 | 77 | 0.0027575 | 0.00069109 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3340-50_0_6_load_72 | 78 | 0.00089045 | 0.00022317 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3340-50_0_6_load_65 | 79 | 0.010968 | 0.0027488 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3340-50_0_6_load_67 | 80 | 0.0071675 | 0.0017964 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3340-50_0_6_line_0 |  | 0 | 1 | 0.015905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3340-50_0_6_line_1 |  | 1 | 2 | 0.037033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3340-50_0_6_line_2 |  | 2 | 7 | 0.11451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3340-50_0_6_line_3 |  | 2 | 8 | 0.16647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3340-50_0_6_line_4 |  | 2 | 9 | 0.013828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3340-50_0_6_line_5 |  | 3 | 4 | 0.045934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3340-50_0_6_line_6 |  | 3 | 5 | 0.047617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3340-50_0_6_line_7 |  | 3 | 6 | 0.01929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3340-50_0_6_line_8 |  | 4 | 57 | 0.0017567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3340-50_0_6_line_9 |  | 5 | 10 | 0.057548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_3340-50_0_6_line_10 |  | 5 | 11 | 0.01903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_3340-50_0_6_line_11 |  | 5 | 12 | 0.024115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3340-50_0_6_line_12 |  | 6 | 9 | 0.011512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3340-50_0_6_line_13 |  | 7 | 54 | 0.004505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3340-50_0_6_line_14 |  | 8 | 55 | 0.11303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3340-50_0_6_line_15 |  | 10 | 46 | 0.022255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3340-50_0_6_line_16 |  | 11 | 13 | 0.023378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_3340-50_0_6_line_17 |  | 12 | 58 | 0.035124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3340-50_0_6_line_18 |  | 13 | 59 | 0.01558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_3340-50_0_6_line_19 |  | 14 | 15 | 0.013524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3340-50_0_6_line_20 |  | 14 | 16 | 0.014992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3340-50_0_6_line_21 |  | 16 | 39 | 0.014581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3340-50_0_6_line_22 |  | 16 | 34 | 0.0079051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3340-50_0_6_line_23 |  | 16 | 36 | 0.03955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3340-50_0_6_line_24 |  | 17 | 18 | 0.035861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3340-50_0_6_line_25 |  | 17 | 19 | 0.017496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3340-50_0_6_line_26 |  | 17 | 20 | 0.041084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3340-50_0_6_line_27 |  | 18 | 24 | 0.018116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3340-50_0_6_line_28 |  | 18 | 25 | 0.014119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3340-50_0_6_line_29 |  | 19 | 60 | 0.020433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3340-50_0_6_line_30 |  | 20 | 61 | 0.013894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3340-50_0_6_line_31 |  | 21 | 22 | 0.058155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3340-50_0_6_line_32 |  | 21 | 23 | 0.029735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3340-50_0_6_line_33 |  | 22 | 43 | 0.02491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3340-50_0_6_line_34 |  | 22 | 40 | 0.056773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3340-50_0_6_line_35 |  | 25 | 29 | 0.017022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3340-50_0_6_line_36 |  | 26 | 27 | 0.005857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_3340-50_0_6_line_37 |  | 26 | 28 | 0.026269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_3340-50_0_6_line_38 |  | 27 | 38 | 0.009679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_3340-50_0_6_line_39 |  | 27 | 39 | 0.043072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3340-50_0_6_line_40 |  | 28 | 43 | 0.0006849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3340-50_0_6_line_41 |  | 29 | 30 | 0.016615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3340-50_0_6_line_42 |  | 30 | 62 | 0.035274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3340-50_0_6_line_43 |  | 31 | 32 | 0.021907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_3340-50_0_6_line_44 |  | 31 | 33 | 0.032036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_3340-50_0_6_line_45 |  | 32 | 63 | 0.0072286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_3340-50_0_6_line_46 |  | 33 | 64 | 0.026817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_3340-50_0_6_line_47 |  | 34 | 35 | 0.020825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3340-50_0_6_line_48 |  | 36 | 37 | 0.006864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3340-50_0_6_line_49 |  | 38 | 64 | 0.020081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_3340-50_0_6_line_50 |  | 40 | 41 | 0.03718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3340-50_0_6_line_51 |  | 40 | 42 | 0.019087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3340-50_0_6_line_52 |  | 44 | 45 | 0.020907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3340-50_0_6_line_53 |  | 44 | 46 | 0.023565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3340-50_0_6_line_54 |  | 45 | 50 | 0.0078603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3340-50_0_6_line_55 |  | 47 | 48 | 0.052619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3340-50_0_6_line_56 |  | 47 | 49 | 0.020382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3340-50_0_6_line_57 |  | 48 | 59 | 0.029249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3340-50_0_6_line_58 |  | 50 | 60 | 0.033131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3340-50_0_6_line_59 |  | 51 | 52 | 0.10145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3340-50_0_6_line_60 |  | 51 | 53 | 0.058411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3340-50_0_6_line_61 |  | 52 | 56 | 0.045184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3340-50_0_6_line_62 |  | 53 | 65 | 5.6634e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3340-50_0_6_line_63 |  | 55 | 66 | 0.0019678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3340-50_0_6_line_64 |  | 58 | 80 | 0.030604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3340-50_0_6_line_65 |  | 59 | 67 | 0.010913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_3340-50_0_6_line_66 |  | 63 | 67 | 0.0057096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_3340-50_0_6_line_67 |  | 65 | 77 | 0.010746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3340-50_0_6_line_68 |  | 68 | 69 | 0.014408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3340-50_0_6_line_69 |  | 68 | 70 | 0.023319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3340-50_0_6_line_70 |  | 69 | 71 | 0.0058243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3340-50_0_6_line_71 |  | 70 | 72 | 0.0036835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3340-50_0_6_line_72 |  | 71 | 73 | 0.01613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3340-50_0_6_line_73 |  | 72 | 74 | 0.026828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3340-50_0_6_line_74 |  | 72 | 75 | 0.013533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3340-50_0_6_line_75 |  | 73 | 76 | 0.019139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3340-50_0_6_line_76 |  | 74 | 77 | 0.0001291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3340-50_0_6_line_77 |  | 75 | 78 | 0.0066266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3340-50_0_6_line_78 |  | 76 | 79 | 0.0027341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3340-50_0_6_line_79 |  | 79 | 80 | 0.036677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3340-50_0_6_trafo_14 | 0.63 MVA 20/0.4 kV | 81 | 31 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2705679.2214 | 1232192.4686 | 2705676.6812 | 1232176.7677
1 | 2705665.4783 | 1232200.7862 | 2705663.063 | 1232200.7432 | 2705658.0962 | 1232200.2212 | 2705658.0565 | 1232196.0618 | 2705664.8262 | 1232196.5714 | 2705672.5724 | 1232196.6759 | 2705679.7619 | 1232196.1477 | 2705679.2214 | 1232192.4686
2 | 2705665.4783 | 1232200.7862 | 2705663.3412 | 1232202.5607 | 2705662.1406 | 1232204.4852 | 2705661.653 | 1232207.2008 | 2705662.5422 | 1232225.764 | 2705666.3475 | 1232231.5471 | 2705668.4669 | 1232232.8969 | 2705670.7884 | 1232234.8063 | 2705676.4471 | 1232241.1339 | 2705681.9399 | 1232247.4252 | 2705687.7549 | 1232254.7563 | 2705693.0619 | 1232262.1229 | 2705721.3829 | 1232257.7343 | 2705722.3423 | 1232264.2563 | 2705722.4778 | 1232269.407
3 | 2705665.4783 | 1232200.7862 | 2705663.063 | 1232200.7432 | 2705658.0962 | 1232200.2212 | 2705659.1129 | 1232223.9684 | 2705659.3693 | 1232229.9886 | 2705659.8025 | 1232243.1062 | 2705660.2285 | 1232251.9427 | 2705659.7322 | 1232258.9837 | 2705658.048 | 1232265.1028 | 2705654.8588 | 1232270.6726 | 2705651.9776 | 1232274.2574 | 2705642.8854 | 1232280.4227 | 2705637.2745 | 1232285.4601 | 2705633.5432 | 1232289.9973 | 2705630.3017 | 1232297.234 | 2705625.544 | 1232311.7939 | 2705619.9874 | 1232324.4269 | 2705614.0625 | 1232333.0726 | 2705605.4152 | 1232339.7796
4 | 2705665.4783 | 1232200.7862 | 2705668.3555 | 1232200.8374 | 2705674.1227 | 1232200.6397 | 2705679.2813 | 1232200.1741
5 | 2705709.6242 | 1232194.9666 | 2705710.6849 | 1232203.4586 | 2705730.0878 | 1232209.9307 | 2705732.9266 | 1232226.613
6 | 2705709.6242 | 1232194.9666 | 2705726.5798 | 1232191.2764 | 2705733.8027 | 1232190.571 | 2705745.5933 | 1232188.1344 | 2705750.8173 | 1232185.6922 | 2705755.9977 | 1232184.4278
7 | 2705709.6242 | 1232194.9666 | 2705699.8469 | 1232197.061 | 2705690.6663 | 1232198.4861
8 | 2705733.2213 | 1232228.3448 | 2705732.9266 | 1232226.613
9 | 2705755.9977 | 1232184.4278 | 2705774.7409 | 1232179.8801 | 2705792.6688 | 1232175.6069 | 2705795.3936 | 1232175.7111 | 2705798.8088 | 1232177.8735 | 2705811.8314 | 1232176.8662
10 | 2705755.9977 | 1232184.4278 | 2705755.2643 | 1232180.1004 | 2705765.6494 | 1232177.4832 | 2705765.9388 | 1232173.5631
11 | 2705755.9977 | 1232184.4278 | 2705760.0457 | 1232208.2009
12 | 2705679.2813 | 1232200.1741 | 2705680.5027 | 1232200.0638 | 2705690.6663 | 1232198.4861
13 | 2705722.4778 | 1232269.407 | 2705726.5275 | 1232267.4109
14 | 2705605.4152 | 1232339.7796 | 2705603.8235 | 1232346.6677 | 2705604.871 | 1232357.1831 | 2705614.2253 | 1232372.9057 | 2705646.0804 | 1232430.8155 | 2705648.8326 | 1232440.872 | 2705648.9272 | 1232441.4387
15 | 2705811.8314 | 1232176.8662 | 2705815.7524 | 1232176.5629 | 2705834.0739 | 1232176.755
16 | 2705765.9388 | 1232173.5631 | 2705766.6023 | 1232166.5029 | 2705773.2772 | 1232151.6466
17 | 2705760.0457 | 1232208.2009 | 2705765.9416 | 1232242.8263
18 | 2705779.6623 | 1232137.4355 | 2705773.2772 | 1232151.6466
19 | 2705755.7355 | 1231993.2341 | 2705761.4977 | 1231980.994
20 | 2705774.3645 | 1231988.751 | 2705761.4977 | 1231980.994
21 | 2705774.3645 | 1231988.751 | 2705787.3186 | 1231995.4449
22 | 2705774.3645 | 1231988.751 | 2705780.231 | 1231985.1193 | 2705781.1006 | 1231985.6241
23 | 2705754.4333 | 1232018.7302 | 2705753.9068 | 1232016.8194 | 2705758.7691 | 1231999.3927 | 2705766.5499 | 1231995.8729 | 2705768.1798 | 1231992.8107 | 2705769.6021 | 1231991.2015 | 2705774.3645 | 1231988.751
24 | 2705886.3136 | 1232301.3693 | 2705883.0495 | 1232265.6619
25 | 2705883.0495 | 1232265.6619 | 2705882.5841 | 1232260.3273 | 2705881.6455 | 1232258.5982 | 2705879.7812 | 1232256.9638 | 2705878.5413 | 1232255.5628 | 2705878.0616 | 1232249.7591
26 | 2705883.0495 | 1232265.6619 | 2705842.1688 | 1232269.7481
27 | 2705886.3136 | 1232301.3693 | 2705870.1146 | 1232303.4157 | 2705870.117 | 1232301.581
28 | 2705886.3136 | 1232301.3693 | 2705886.8866 | 1232305.7606 | 2705888.2783 | 1232311.3896 | 2705889.5544 | 1232315.0667
29 | 2705878.0616 | 1232249.7591 | 2705876.3787 | 1232229.3957
30 | 2705844.3449 | 1232281.9405 | 2705843.0813 | 1232282.2961 | 2705842.1688 | 1232269.7481
31 | 2705801.542 | 1231932.114 | 2705809.7209 | 1231936.4406 | 2705820.0808 | 1231942.0626 | 2705852.526 | 1231960.0871
32 | 2705801.542 | 1231932.114 | 2705775.2715 | 1231918.1836
33 | 2705852.526 | 1231960.0871 | 2705841.3648 | 1231982.3563
34 | 2705826.229 | 1231923.0465 | 2705853.5049 | 1231937.8766 | 2705859.4835 | 1231949.2139 | 2705855.8217 | 1231954.9308 | 2705852.526 | 1231960.0871
35 | 2705896.9074 | 1232330.3688 | 2705894.1615 | 1232325.5051 | 2705891.1166 | 1232319.5686 | 2705889.5544 | 1232315.0667
36 | 2705829.2878 | 1232006.4529 | 2705827.093 | 1232011.8846
37 | 2705829.2878 | 1232006.4529 | 2705841.058 | 1231982.9686
38 | 2705823.4642 | 1232020.8602 | 2705827.093 | 1232011.8846
39 | 2705827.093 | 1232011.8846 | 2705822.2734 | 1232010.3199 | 2705791.904 | 1231997.8144 | 2705787.3186 | 1231995.4449
40 | 2705841.058 | 1231982.9686 | 2705841.3648 | 1231982.3563
41 | 2705896.9074 | 1232330.3688 | 2705890.8815 | 1232345.8529
42 | 2705890.8815 | 1232345.8529 | 2705886.1206 | 1232358.0866 | 2705889.578 | 1232379.9615
43 | 2705796.6025 | 1232095.0716 | 2705789.0609 | 1232115.6392
44 | 2705796.6025 | 1232095.0716 | 2705807.0497 | 1232064.7873
45 | 2705789.0609 | 1232115.6392 | 2705786.5724 | 1232122.4259
46 | 2705807.0497 | 1232064.7873 | 2705810.2512 | 1232055.5068 | 2705816.3086 | 1232039.6232
47 | 2705781.1006 | 1231985.6241 | 2705789.1828 | 1231966.431
48 | 2705752.7681 | 1232025.0498 | 2705754.9169 | 1232020.4957 | 2705754.4333 | 1232018.7302
49 | 2705823.4642 | 1232020.8602 | 2705816.3086 | 1232039.6232
50 | 2705826.229 | 1231923.0465 | 2705825.619 | 1231893.5133 | 2705825.6812 | 1231885.8726
51 | 2705826.229 | 1231923.0465 | 2705816.3957 | 1231922.3043 | 2705808.4607 | 1231917.597
52 | 2705857.535 | 1232178.8529 | 2705858.35 | 1232179.0231 | 2705865.4932 | 1232179.8176 | 2705870.6121 | 1232181.5767 | 2705873.5106 | 1232188.5114
53 | 2705857.535 | 1232178.8529 | 2705836.9934 | 1232176.7856 | 2705834.0739 | 1232176.755
54 | 2705873.5106 | 1232188.5114 | 2705873.8597 | 1232196.3639
55 | 2705731.712 | 1232083.7753 | 2705736.2941 | 1232114.0019 | 2705748.9245 | 1232125.235 | 2705753.9618 | 1232126.276
56 | 2705731.712 | 1232083.7753 | 2705734.1947 | 1232080.8839 | 2705740.8743 | 1232080.925 | 2705742.9213 | 1232090.602
57 | 2705779.6623 | 1232137.4355 | 2705770.137 | 1232128.7706 | 2705757.5801 | 1232127.0237 | 2705753.9618 | 1232126.276
58 | 2705873.8597 | 1232196.3639 | 2705874.1053 | 1232201.8876 | 2705876.3787 | 1232229.3957
59 | 2705763.2558 | 1232440.3951 | 2705765.9659 | 1232460.8811 | 2705766.8573 | 1232465.6894 | 2705767.8475 | 1232469.1986 | 2705769.1109 | 1232472.2567 | 2705771.0295 | 1232475.093 | 2705773.2019 | 1232476.8663 | 2705775.6991 | 1232478.2563 | 2705779.2939 | 1232479.2543 | 2705783.5568 | 1232479.7417 | 2705805.2343 | 1232480.4836 | 2705807.969 | 1232477.8969 | 2705810.23 | 1232476.3916 | 2705812.6106 | 1232474.9773 | 2705815.0701 | 1232474.2317 | 2705818.4273 | 1232473.691 | 2705831.855 | 1232472.4291 | 2705833.2331 | 1232472.02
60 | 2705833.2331 | 1232472.02 | 2705834.76 | 1232470.913 | 2705835.9931 | 1232469.2893 | 2705836.7161 | 1232466.967 | 2705836.7662 | 1232464.5772 | 2705831.8998 | 1232429.9533 | 2705829.3816 | 1232415.4713
61 | 2705763.2558 | 1232440.3951 | 2705718.3565 | 1232446.5122
62 | 2705829.3719 | 1232415.4155 | 2705829.3816 | 1232415.4713
63 | 2705649.2514 | 1232443.3796 | 2705648.9272 | 1232441.4387
64 | 2705771.4278 | 1232272.9189 | 2705770.4522 | 1232269.3159 | 2705765.9416 | 1232242.8263
65 | 2705779.6623 | 1232137.4355 | 2705782.8624 | 1232132.5443 | 2705784.6069 | 1232127.7865
66 | 2705786.5724 | 1232122.4259 | 2705784.6069 | 1232127.7865
67 | 2705827.531 | 1232404.8286 | 2705829.3719 | 1232415.4155
68 | 2705816.621 | 1232351.9913 | 2705813.5105 | 1232337.9234
69 | 2705816.621 | 1232351.9913 | 2705821.6554 | 1232374.7605
70 | 2705813.5105 | 1232337.9234 | 2705812.2531 | 1232332.2365
71 | 2705822.4506 | 1232378.3571 | 2705821.6554 | 1232374.7605
72 | 2705807.0754 | 1232317.1623 | 2705809.9955 | 1232322.0261 | 2705812.2531 | 1232332.2365
73 | 2705822.4506 | 1232378.3571 | 2705825.9299 | 1232395.621 | 2705827.5089 | 1232404.7014
74 | 2705822.4506 | 1232378.3571 | 2705835.6006 | 1232375.1583
75 | 2705807.0754 | 1232317.1623 | 2705799.1313 | 1232303.9302 | 2705796.2716 | 1232301.5745
76 | 2705827.5089 | 1232404.7014 | 2705827.531 | 1232404.8286
77 | 2705835.6006 | 1232375.1583 | 2705842.0395 | 1232373.5921
78 | 2705794.1613 | 1232299.8362 | 2705796.2716 | 1232301.5745
79 | 2705771.4278 | 1232272.9189 | 2705774.2826 | 1232283.4614 | 2705794.1613 | 1232299.8362

## bus_geodata
| x | y | coords
0 | 2705676.6812 | 1232176.7677
1 | 2705679.2214 | 1232192.4686
2 | 2705665.4783 | 1232200.7862
3 | 2705709.6242 | 1232194.9666
4 | 2705732.9266 | 1232226.613
5 | 2705755.9977 | 1232184.4278
6 | 2705690.6663 | 1232198.4861
7 | 2705722.4778 | 1232269.407
8 | 2705605.4152 | 1232339.7796
9 | 2705679.2813 | 1232200.1741
10 | 2705811.8314 | 1232176.8662
11 | 2705765.9388 | 1232173.5631
12 | 2705760.0457 | 1232208.2009
13 | 2705773.2773 | 1232151.6466
14 | 2705761.4977 | 1231980.994
15 | 2705755.7355 | 1231993.2341
16 | 2705774.3645 | 1231988.751
17 | 2705883.0495 | 1232265.6619
18 | 2705886.3136 | 1232301.3693
19 | 2705878.0616 | 1232249.7591
20 | 2705842.1688 | 1232269.7481
21 | 2705801.542 | 1231932.114
22 | 2705852.526 | 1231960.0871
23 | 2705775.2715 | 1231918.1836
24 | 2705870.117 | 1232301.581
25 | 2705889.5544 | 1232315.0667
26 | 2705829.2878 | 1232006.4529
27 | 2705827.093 | 1232011.8846
28 | 2705841.058 | 1231982.9686
29 | 2705896.9074 | 1232330.3688
30 | 2705890.8815 | 1232345.8529
31 | 2705796.6025 | 1232095.0716
32 | 2705789.0609 | 1232115.6392
33 | 2705807.0497 | 1232064.7873
34 | 2705781.1006 | 1231985.6241
35 | 2705789.1828 | 1231966.431
36 | 2705754.4333 | 1232018.7302
37 | 2705752.7681 | 1232025.0498
38 | 2705823.4642 | 1232020.8602
39 | 2705787.3186 | 1231995.4449
40 | 2705826.229 | 1231923.0465
41 | 2705825.6813 | 1231885.8726
42 | 2705808.4607 | 1231917.597
43 | 2705841.3648 | 1231982.3563
44 | 2705857.535 | 1232178.8529
45 | 2705873.5106 | 1232188.5114
46 | 2705834.0739 | 1232176.755
47 | 2705731.712 | 1232083.7753
48 | 2705753.9618 | 1232126.276
49 | 2705742.9213 | 1232090.602
50 | 2705873.8597 | 1232196.3639
51 | 2705833.2331 | 1232472.02
52 | 2705763.2558 | 1232440.3951
53 | 2705829.3816 | 1232415.4713
54 | 2705726.5275 | 1232267.4109
55 | 2705648.9272 | 1232441.4387
56 | 2705718.3565 | 1232446.5122
57 | 2705733.2213 | 1232228.3448
58 | 2705765.9416 | 1232242.8263
59 | 2705779.6623 | 1232137.4355
60 | 2705876.3787 | 1232229.3957
61 | 2705844.3449 | 1232281.9405
62 | 2705889.578 | 1232379.9615
63 | 2705786.5724 | 1232122.4259
64 | 2705816.3086 | 1232039.6232
65 | 2705829.3719 | 1232415.4155
66 | 2705649.2514 | 1232443.3796
67 | 2705784.6069 | 1232127.7865
68 | 2705816.621 | 1232351.9913
69 | 2705813.5105 | 1232337.9234
70 | 2705821.6554 | 1232374.7605
71 | 2705812.2531 | 1232332.2365
72 | 2705822.4506 | 1232378.3571
73 | 2705807.0754 | 1232317.1623
74 | 2705827.5089 | 1232404.7014
75 | 2705835.6006 | 1232375.1583
76 | 2705796.2716 | 1232301.5745
77 | 2705827.531 | 1232404.8286
78 | 2705842.0395 | 1232373.5921
79 | 2705794.1613 | 1232299.8362
80 | 2705771.4278 | 1232272.9189
81 | 2705821.8769 | 1232101.4595

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1