## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3340-75_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3340-75_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3340-75_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3340-75_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3340-75_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3340-75_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3340-75_0_4_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_3340-75_0_4_node_23 | 0.4 | n |  | TRUE
8 | bus_LV_3340-75_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_3340-75_0_4_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_3340-75_0_4_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_3340-75_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_3340-75_0_4_node_106 | 0.4 | n |  | TRUE
13 | bus_LV_3340-75_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_3340-75_0_4_node_119 | 0.4 | n |  | TRUE
15 | bus_LV_3340-75_0_4_node_98 | 0.4 | n |  | TRUE
16 | bus_LV_3340-75_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_3340-75_0_4_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_3340-75_0_4_node_99 | 0.4 | n |  | TRUE
19 | bus_LV_3340-75_0_4_node_103 | 0.4 | n |  | TRUE
20 | bus_LV_3340-75_0_4_node_120 | 0.4 | n |  | TRUE
21 | bus_LV_3340-75_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_3340-75_0_4_node_109 | 0.4 | n |  | TRUE
23 | bus_LV_3340-75_0_4_node_116 | 0.4 | n |  | TRUE
24 | bus_LV_3340-75_0_4_node_108 | 0.4 | n |  | TRUE
25 | bus_LV_3340-75_0_4_node_101 | 0.4 | n |  | TRUE
26 | bus_LV_3340-75_0_4_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_3340-75_0_4_node_105 | 0.4 | n |  | TRUE
28 | bus_LV_3340-75_0_4_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_3340-75_0_4_node_104 | 0.4 | n |  | TRUE
30 | bus_LV_3340-75_0_4_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_3340-75_0_4_node_114 | 0.4 | n |  | TRUE
32 | bus_LV_3340-75_0_4_node_112 | 0.4 | n |  | TRUE
33 | bus_LV_3340-75_0_4_node_107 | 0.4 | n |  | TRUE
34 | bus_LV_3340-75_0_4_node_115 | 0.4 | n |  | TRUE
35 | bus_LV_3340-75_0_4_node_111 | 0.4 | n |  | TRUE
36 | bus_LV_3340-75_0_4_node_110 | 0.4 | n |  | TRUE
37 | bus_LV_3340-75_0_4_node_79 | 0.4 | n |  | TRUE
38 | bus_LV_3340-75_0_4_node_97 | 0.4 | n |  | TRUE
39 | bus_LV_3340-75_0_4_node_100 | 0.4 | n |  | TRUE
40 | bus_LV_3340-75_0_4_node_76 | 0.4 | n |  | TRUE
41 | bus_LV_3340-75_0_4_node_102 | 0.4 | n |  | TRUE
42 | bus_LV_3340-75_0_4_node_113 | 0.4 | n |  | TRUE
43 | bus_LV_3340-75_0_4_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_3340-75_0_4_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_3340-75_0_4_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_3340-75_0_4_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_3340-75_0_4_node_29 | 0.4 | n |  | TRUE
48 | bus_LV_3340-75_0_4_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_3340-75_0_4_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_3340-75_0_4_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_3340-75_0_4_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_3340-75_0_4_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_3340-75_0_4_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_3340-75_0_4_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_3340-75_0_4_node_30 | 0.4 | n |  | TRUE
56 | bus_LV_3340-75_0_4_node_31 | 0.4 | n |  | TRUE
57 | bus_LV_3340-75_0_4_node_32 | 0.4 | n |  | TRUE
58 | bus_LV_3340-75_0_4_node_33 | 0.4 | n |  | TRUE
59 | bus_LV_3340-75_0_4_node_34 | 0.4 | n |  | TRUE
60 | bus_LV_3340-75_0_4_node_35 | 0.4 | n |  | TRUE
61 | bus_LV_3340-75_0_4_node_95 | 0.4 | n |  | TRUE
62 | bus_LV_3340-75_0_4_node_37 | 0.4 | n |  | TRUE
63 | bus_LV_3340-75_0_4_node_39 | 0.4 | n |  | TRUE
64 | bus_LV_3340-75_0_4_node_92 | 0.4 | n |  | TRUE
65 | bus_LV_3340-75_0_4_node_93 | 0.4 | n |  | TRUE
66 | bus_LV_3340-75_0_4_node_45 | 0.4 | n |  | TRUE
67 | bus_LV_3340-75_0_4_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_3340-75_0_4_node_46 | 0.4 | n |  | TRUE
69 | bus_LV_3340-75_0_4_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_3340-75_0_4_node_58 | 0.4 | n |  | TRUE
71 | bus_LV_3340-75_0_4_node_47 | 0.4 | n |  | TRUE
72 | bus_LV_3340-75_0_4_node_48 | 0.4 | n |  | TRUE
73 | bus_LV_3340-75_0_4_node_49 | 0.4 | n |  | TRUE
74 | bus_LV_3340-75_0_4_node_50 | 0.4 | n |  | TRUE
75 | bus_LV_3340-75_0_4_node_94 | 0.4 | n |  | TRUE
76 | bus_LV_3340-75_0_4_node_96 | 0.4 | n |  | TRUE
77 | bus_LV_3340-75_0_4_node_51 | 0.4 | n |  | TRUE
78 | bus_LV_3340-75_0_4_node_55 | 0.4 | n |  | TRUE
79 | bus_LV_3340-75_0_4_node_52 | 0.4 | n |  | TRUE
80 | bus_LV_3340-75_0_4_node_118 | 0.4 | n |  | TRUE
81 | bus_LV_3340-75_0_4_node_83 | 0.4 | n |  | TRUE
82 | bus_LV_3340-75_0_4_node_56 | 0.4 | n |  | TRUE
83 | bus_LV_3340-75_0_4_node_57 | 0.4 | n |  | TRUE
84 | bus_LV_3340-75_0_4_node_91 | 0.4 | n |  | TRUE
85 | bus_LV_3340-75_0_4_node_89 | 0.4 | n |  | TRUE
86 | bus_LV_3340-75_0_4_node_68 | 0.4 | n |  | TRUE
87 | bus_LV_3340-75_0_4_node_69 | 0.4 | n |  | TRUE
88 | bus_LV_3340-75_0_4_node_90 | 0.4 | n |  | TRUE
89 | bus_LV_3340-75_0_4_node_88 | 0.4 | n |  | TRUE
90 | bus_LV_3340-75_0_4_node_63 | 0.4 | n |  | TRUE
91 | bus_LV_3340-75_0_4_node_64 | 0.4 | n |  | TRUE
92 | bus_LV_3340-75_0_4_node_65 | 0.4 | n |  | TRUE
93 | bus_LV_3340-75_0_4_node_66 | 0.4 | n |  | TRUE
94 | bus_LV_3340-75_0_4_node_67 | 0.4 | n |  | TRUE
95 | bus_LV_3340-75_0_4_node_70 | 0.4 | n |  | TRUE
96 | bus_LV_3340-75_0_4_node_71 | 0.4 | n |  | TRUE
97 | bus_LV_3340-75_0_4_node_72 | 0.4 | n |  | TRUE
98 | bus_LV_3340-75_0_4_node_73 | 0.4 | n |  | TRUE
99 | bus_LV_3340-75_0_4_node_74 | 0.4 | n |  | TRUE
100 | bus_LV_3340-75_0_4_node_75 | 0.4 | n |  | TRUE
101 | bus_LV_3340-75_0_4_node_77 | 0.4 | n |  | TRUE
102 | bus_LV_3340-75_0_4_node_78 | 0.4 | n |  | TRUE
103 | bus_LV_3340-75_0_4_node_82 | 0.4 | n |  | TRUE
104 | bus_LV_3340-75_0_4_node_80 | 0.4 | n |  | TRUE
105 | bus_LV_3340-75_0_4_node_81 | 0.4 | n |  | TRUE
106 | bus_LV_3340-75_0_4_node_84 | 0.4 | n |  | TRUE
107 | bus_LV_3340-75_0_4_node_85 | 0.4 | n |  | TRUE
108 | bus_LV_3340-75_0_4_node_117 | 0.4 | n |  | TRUE
109 | bus_LV_3340-75_0_4_node_86 | 0.4 | n |  | TRUE
110 | bus_LV_3340-75_0_4_node_87 | 0.4 | n |  | TRUE
111 | bus_MV_585_0_node_111 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3340-75_0_4_load_0 | 0 | 0.0055629 | 0.0013942 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3340-75_0_4_load_1 | 1 | 0.0052937 | 0.0013267 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3340-75_0_4_load_2 | 2 | 0.0042735 | 0.001071 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3340-75_0_4_load_3 | 3 | 0.0019044 | 0.0004773 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3340-75_0_4_load_23 | 7 | 0.0064567 | 0.0016182 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3340-75_0_4_load_106 | 12 | 0.0094706 | 0.0023736 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3340-75_0_4_load_119 | 14 | 0.0099183 | 0.0024857 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3340-75_0_4_load_103 | 19 | 0.0027232 | 0.00068249 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3340-75_0_4_load_120 | 20 | 0.0051115 | 0.0012811 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3340-75_0_4_load_109 | 22 | 0.0035877 | 0.00089916 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3340-75_0_4_load_116 | 23 | 0.0033277 | 0.000834 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3340-75_0_4_load_108 | 24 | 0.0053315 | 0.0013362 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3340-75_0_4_load_101 | 25 | 0.0030473 | 0.00076373 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3340-75_0_4_load_105 | 27 | 0.0026537 | 0.00066507 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3340-75_0_4_load_104 | 29 | 0.0051225 | 0.0012838 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3340-75_0_4_load_114 | 31 | 0.007757 | 0.0019441 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3340-75_0_4_load_112 | 32 | 0.0087721 | 0.0021985 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3340-75_0_4_load_107 | 33 | 0.0054096 | 0.0013558 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3340-75_0_4_load_115 | 34 | 0.0082013 | 0.0020554 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3340-75_0_4_load_111 | 35 | 0.0090553 | 0.0022695 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3340-75_0_4_load_110 | 36 | 0.0046381 | 0.0011624 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3340-75_0_4_load_79 | 37 | 0.015823 | 0.0039657 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3340-75_0_4_load_97 | 38 | 0.0085249 | 0.0021365 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3340-75_0_4_load_100 | 39 | 0.0022682 | 0.00056846 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3340-75_0_4_load_76 | 40 | 0.0086393 | 0.0021652 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3340-75_0_4_load_102 | 41 | 0.011622 | 0.0029127 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3340-75_0_4_load_113 | 42 | 0.0075038 | 0.0018806 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3340-75_0_4_load_25 | 43 | 0.0081824 | 0.0020507 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3340-75_0_4_load_26 | 44 | 0.0021284 | 0.00053344 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3340-75_0_4_load_27 | 45 | 0.0055456 | 0.0013899 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3340-75_0_4_load_41 | 48 | 0.002134 | 0.00053483 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3340-75_0_4_load_40 | 52 | 0.0021354 | 0.00053519 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3340-75_0_4_load_43 | 53 | 0.0019081 | 0.00047821 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3340-75_0_4_load_44 | 54 | 0.0025755 | 0.00064548 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3340-75_0_4_load_30 | 55 | 0.0036476 | 0.00091417 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3340-75_0_4_load_31 | 56 | 0.0035553 | 0.00089103 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3340-75_0_4_load_32 | 57 | 0.0044509 | 0.0011155 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3340-75_0_4_load_33 | 58 | 0.0026051 | 0.00065291 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3340-75_0_4_load_34 | 59 | 0.0042209 | 0.0010579 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3340-75_0_4_load_35 | 60 | 0.004273 | 0.0010709 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3340-75_0_4_load_95 | 61 | 0.0054401 | 0.0013634 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3340-75_0_4_load_37 | 62 | 0.0037751 | 0.00094612 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3340-75_0_4_load_39 | 63 | 0.0034294 | 0.00085949 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3340-75_0_4_load_92 | 64 | 0.0022551 | 0.00056519 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3340-75_0_4_load_93 | 65 | 0.0038007 | 0.00095254 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3340-75_0_4_load_45 | 66 | 0.0035355 | 0.00088607 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3340-75_0_4_load_46 | 68 | 0.0040128 | 0.0010057 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3340-75_0_4_load_58 | 70 | 0.0030532 | 0.0007652 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3340-75_0_4_load_47 | 71 | 0.0079218 | 0.0019854 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3340-75_0_4_load_48 | 72 | 0.0037508 | 0.00094003 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3340-75_0_4_load_94 | 75 | 0.002275 | 0.00057017 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3340-75_0_4_load_96 | 76 | 0.0024169 | 0.00060574 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3340-75_0_4_load_52 | 79 | 0.0044953 | 0.0011266 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3340-75_0_4_load_118 | 80 | 0.010956 | 0.0027457 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3340-75_0_4_load_56 | 82 | 0.0082006 | 0.0020553 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3340-75_0_4_load_57 | 83 | 0.0022345 | 0.00056002 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3340-75_0_4_load_91 | 84 | 0.0036979 | 0.00092678 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3340-75_0_4_load_89 | 85 | 0.0028069 | 0.00070348 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3340-75_0_4_load_68 | 86 | 0.0028827 | 0.00072246 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3340-75_0_4_load_69 | 87 | 0.0018274 | 0.00045799 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3340-75_0_4_load_90 | 88 | 0.0037033 | 0.00092813 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3340-75_0_4_load_88 | 89 | 0.003769 | 0.00094459 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3340-75_0_4_load_63 | 90 | 0.0047179 | 0.0011824 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3340-75_0_4_load_64 | 91 | 0.0031326 | 0.00078511 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3340-75_0_4_load_65 | 92 | 0.002615 | 0.00065538 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3340-75_0_4_load_67 | 94 | 0.0025627 | 0.00064228 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3340-75_0_4_load_70 | 95 | 0.0027614 | 0.00069208 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3340-75_0_4_load_71 | 96 | 0.0021597 | 0.00054127 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3340-75_0_4_load_72 | 97 | 0.0039471 | 0.00098923 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3340-75_0_4_load_73 | 98 | 0.002255 | 0.00056516 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3340-75_0_4_load_75 | 100 | 0.0041834 | 0.0010485 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3340-75_0_4_load_82 | 103 | 0.010134 | 0.0025399 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3340-75_0_4_load_80 | 104 | 0.0023264 | 0.00058306 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3340-75_0_4_load_84 | 106 | 0.0030266 | 0.00075854 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3340-75_0_4_load_117 | 108 | 0.0055284 | 0.0013855 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3340-75_0_4_load_86 | 109 | 0.0034644 | 0.00086827 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 98 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3340-75_0_4_line_0 |  | 0 | 1 | 0.010337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3340-75_0_4_line_1 |  | 1 | 2 | 0.018588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3340-75_0_4_line_2 |  | 2 | 3 | 0.018364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3340-75_0_4_line_3 |  | 3 | 4 | 0.0094155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3340-75_0_4_line_4 |  | 4 | 5 | 0.058776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3340-75_0_4_line_5 |  | 5 | 6 | 0.059528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3340-75_0_4_line_6 |  | 5 | 7 | 0.04869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3340-75_0_4_line_7 |  | 6 | 34 | 0.0053172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3340-75_0_4_line_8 |  | 7 | 8 | 0.033797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3340-75_0_4_line_9 |  | 8 | 9 | 0.038872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3340-75_0_4_line_10 |  | 8 | 10 | 0.022108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3340-75_0_4_line_11 |  | 9 | 20 | 0.020733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3340-75_0_4_line_12 |  | 10 | 23 | 0.026064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3340-75_0_4_line_13 |  | 10 | 24 | 0.018893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3340-75_0_4_line_14 |  | 10 | 11 | 0.02959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3340-75_0_4_line_15 |  | 11 | 12 | 0.017116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3340-75_0_4_line_16 |  | 13 | 14 | 0.05186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3340-75_0_4_line_17 |  | 13 | 15 | 0.027186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3340-75_0_4_line_18 |  | 15 | 37 | 0.026464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3340-75_0_4_line_19 |  | 15 | 38 | 0.047433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3340-75_0_4_line_20 |  | 16 | 17 | 0.013216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3340-75_0_4_line_21 |  | 16 | 18 | 0.026485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3340-75_0_4_line_22 |  | 16 | 19 | 0.015157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3340-75_0_4_line_23 |  | 17 | 25 | 0.021007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3340-75_0_4_line_24 |  | 17 | 21 | 0.0091653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3340-75_0_4_line_25 |  | 18 | 39 | 0.02413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3340-75_0_4_line_26 |  | 18 | 40 | 0.009733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3340-75_0_4_line_27 |  | 19 | 29 | 0.021737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3340-75_0_4_line_28 |  | 21 | 22 | 0.016481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3340-75_0_4_line_29 |  | 22 | 36 | 0.024082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3340-75_0_4_line_30 |  | 24 | 28 | 0.030773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3340-75_0_4_line_31 |  | 25 | 41 | 0.03969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3340-75_0_4_line_32 |  | 26 | 27 | 0.013675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3340-75_0_4_line_33 |  | 26 | 28 | 0.0085315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3340-75_0_4_line_34 |  | 26 | 29 | 0.024148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3340-75_0_4_line_35 |  | 28 | 33 | 0.023864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3340-75_0_4_line_36 |  | 30 | 31 | 0.026504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3340-75_0_4_line_37 |  | 30 | 32 | 0.019573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3340-75_0_4_line_38 |  | 31 | 34 | 0.040283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3340-75_0_4_line_39 |  | 32 | 42 | 0.0030714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3340-75_0_4_line_40 |  | 35 | 36 | 0.024743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3340-75_0_4_line_41 |  | 37 | 101 | 0.027266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3340-75_0_4_line_42 |  | 40 | 99 | 0.022234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3340-75_0_4_line_43 |  | 43 | 44 | 0.037173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3340-75_0_4_line_44 |  | 44 | 45 | 0.047697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3340-75_0_4_line_45 |  | 45 | 46 | 0.24119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3340-75_0_4_line_46 |  | 46 | 47 | 0.08311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3340-75_0_4_line_47 |  | 47 | 48 | 0.16238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3340-75_0_4_line_48 |  | 48 | 52 | 0.0082999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3340-75_0_4_line_49 |  | 49 | 50 | 0.042564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3340-75_0_4_line_50 |  | 49 | 51 | 0.039946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3340-75_0_4_line_51 |  | 50 | 53 | 0.022617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3340-75_0_4_line_52 |  | 50 | 54 | 0.013333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3340-75_0_4_line_53 |  | 50 | 52 | 0.015762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3340-75_0_4_line_54 |  | 51 | 62 | 0.02749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3340-75_0_4_line_55 |  | 51 | 60 | 0.012596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3340-75_0_4_line_56 |  | 53 | 66 | 0.01359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3340-75_0_4_line_57 |  | 54 | 67 | 0.054416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3340-75_0_4_line_58 |  | 55 | 56 | 0.019439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3340-75_0_4_line_59 |  | 55 | 57 | 0.010581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3340-75_0_4_line_60 |  | 56 | 58 | 0.012516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3340-75_0_4_line_61 |  | 57 | 59 | 0.031997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3340-75_0_4_line_62 |  | 58 | 60 | 0.019455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3340-75_0_4_line_63 |  | 59 | 61 | 0.034993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3340-75_0_4_line_64 |  | 62 | 63 | 0.028827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3340-75_0_4_line_65 |  | 64 | 65 | 0.031788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3340-75_0_4_line_66 |  | 65 | 75 | 0.025124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3340-75_0_4_line_67 |  | 66 | 68 | 0.036093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3340-75_0_4_line_68 |  | 67 | 69 | 0.007411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3340-75_0_4_line_69 |  | 67 | 70 | 0.0077336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3340-75_0_4_line_70 |  | 68 | 71 | 0.038008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3340-75_0_4_line_71 |  | 69 | 84 | 0.033268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3340-75_0_4_line_72 |  | 69 | 85 | 0.011248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3340-75_0_4_line_73 |  | 70 | 82 | 0.012281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3340-75_0_4_line_74 |  | 71 | 72 | 0.035178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3340-75_0_4_line_75 |  | 72 | 73 | 0.0097435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3340-75_0_4_line_76 |  | 73 | 74 | 0.003825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3340-75_0_4_line_77 |  | 74 | 75 | 0.01117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3340-75_0_4_line_78 |  | 74 | 76 | 0.001685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3340-75_0_4_line_79 |  | 76 | 78 | 0.0091891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3340-75_0_4_line_80 |  | 77 | 78 | 0.003728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3340-75_0_4_line_81 |  | 77 | 79 | 0.037923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3340-75_0_4_line_82 |  | 80 | 81 | 0.029365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3340-75_0_4_line_83 |  | 81 | 105 | 0.006122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3340-75_0_4_line_84 |  | 82 | 83 | 0.0083699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3340-75_0_4_line_85 |  | 84 | 88 | 0.019045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3340-75_0_4_line_86 |  | 85 | 89 | 0.022288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3340-75_0_4_line_87 |  | 86 | 87 | 0.0042651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3340-75_0_4_line_88 |  | 87 | 93 | 0.009612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3340-75_0_4_line_89 |  | 89 | 110 | 0.0078322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3340-75_0_4_line_90 |  | 90 | 91 | 0.021428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3340-75_0_4_line_91 |  | 90 | 92 | 0.017149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3340-75_0_4_line_92 |  | 91 | 93 | 0.014532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3340-75_0_4_line_93 |  | 92 | 94 | 0.015556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3340-75_0_4_line_94 |  | 93 | 95 | 0.012934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3340-75_0_4_line_95 |  | 95 | 96 | 0.024767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_3340-75_0_4_line_96 |  | 96 | 97 | 0.0046607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_3340-75_0_4_line_97 |  | 97 | 98 | 0.018092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_3340-75_0_4_line_98 |  | 98 | 99 | 0.021432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
99 | LV_3340-75_0_4_line_99 |  | 99 | 100 | 0.022316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
100 | LV_3340-75_0_4_line_100 |  | 100 | 101 | 0.016447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
101 | LV_3340-75_0_4_line_101 |  | 101 | 102 | 0.032116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
102 | LV_3340-75_0_4_line_102 |  | 102 | 103 | 0.023233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_3340-75_0_4_line_103 |  | 102 | 104 | 0.0013528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
104 | LV_3340-75_0_4_line_104 |  | 104 | 105 | 0.0016399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
105 | LV_3340-75_0_4_line_105 |  | 105 | 106 | 0.038139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
106 | LV_3340-75_0_4_line_106 |  | 106 | 107 | 0.0055486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_3340-75_0_4_line_107 |  | 107 | 109 | 0.031173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_3340-75_0_4_line_108 |  | 107 | 110 | 0.0072036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_3340-75_0_4_line_109 |  | 108 | 109 | 0.018102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3340-75_0_4_trafo_73 | 0.63 MVA 20/0.4 kV | 111 | 98 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2704825.6302 | 1232899.7827 | 2704815.3273 | 1232898.9395
1 | 2704796.801 | 1232897.4232 | 2704815.3273 | 1232898.9395
2 | 2704778.4978 | 1232895.9252 | 2704796.801 | 1232897.4232
3 | 2704769.1137 | 1232895.1572 | 2704778.4978 | 1232895.9252
4 | 2704763.5373 | 1232939.1032 | 2704773.3972 | 1232930.0924 | 2704775.991 | 1232927.7252 | 2704781.51 | 1232922.2406 | 2704785.5952 | 1232918.1873 | 2704776.6418 | 1232907.1433 | 2704769.1137 | 1232895.1572
5 | 2704713.3002 | 1232947.5911 | 2704713.8307 | 1232943.275 | 2704714.3581 | 1232939.5592 | 2704730.3988 | 1232941.2097 | 2704745.5362 | 1232935.2497 | 2704757.7394 | 1232935.4983 | 2704763.5373 | 1232939.1032
6 | 2704763.5373 | 1232939.1032 | 2704776.5596 | 1232957.3131 | 2704781.4738 | 1232964.2161 | 2704786.4085 | 1232968.6731 | 2704793.9108 | 1232972.2414 | 2704796.6862 | 1232972.9803
7 | 2704713.3002 | 1232947.5911 | 2704718.5786 | 1232948.2328
8 | 2704827.3236 | 1232972.6086 | 2704825.9397 | 1232975.0749 | 2704823.9411 | 1232976.7521 | 2704821.345 | 1232977.9627 | 2704818.1966 | 1232978.7078 | 2704796.6862 | 1232972.9803
9 | 2704827.3236 | 1232972.6086 | 2704830.1275 | 1232982.3654 | 2704832.7353 | 1232991.6517 | 2704835.4077 | 1233000.2832 | 2704835.5475 | 1233000.9417 | 2704831.8707 | 1233003.312 | 2704829.1903 | 1233006.7228 | 2704828.9825 | 1233007.3419
10 | 2704827.3236 | 1232972.6086 | 2704830.1275 | 1232982.3654 | 2704835.1135 | 1232980.9078 | 2704840.3589 | 1232981.056 | 2704841.8726 | 1232981.1049
11 | 2704827.6677 | 1233026.4887 | 2704830.8756 | 1233021.5082 | 2704828.21 | 1233014.2112 | 2704827.9333 | 1233010.5814 | 2704828.9825 | 1233007.3419
12 | 2704841.8726 | 1232981.1049 | 2704850.5696 | 1232981.3474 | 2704867.8661 | 1232982.8691
13 | 2704841.8726 | 1232981.1049 | 2704844.696 | 1232995.7658 | 2704845.5255 | 1232999.6407
14 | 2704841.8726 | 1232981.1049 | 2704837.7877 | 1232961.974 | 2704837.8633 | 1232957.6943 | 2704839.9796 | 1232952.3498
15 | 2704839.9796 | 1232952.3498 | 2704848.3111 | 1232948.416 | 2704856.2019 | 1232948.851
16 | 2704687.2226 | 1233139.0208 | 2704687.0623 | 1233149.4036 | 2704691.7904 | 1233156.9815 | 2704724.0473 | 1233151.9793
17 | 2704687.2226 | 1233139.0208 | 2704693.2266 | 1233139.5158 | 2704714.4523 | 1233138.6891
18 | 2704714.4523 | 1233138.6891 | 2704723.9344 | 1233138.6228 | 2704740.9049 | 1233139.225
19 | 2704714.4523 | 1233138.6891 | 2704711.8478 | 1233091.3279
20 | 2704799.3768 | 1233052.5985 | 2704786.8734 | 1233048.7752 | 2704786.6999 | 1233048.7387
21 | 2704799.3768 | 1233052.5985 | 2704796.0649 | 1233066.4839 | 2704794.118 | 1233078.5365
22 | 2704799.3768 | 1233052.5985 | 2704813.7962 | 1233057.2676
23 | 2704786.6999 | 1233048.7387 | 2704774.9601 | 1233045.8407 | 2704766.2386 | 1233043.995
24 | 2704786.6999 | 1233048.7387 | 2704786.972 | 1233047.9096 | 2704788.308 | 1233043.0072 | 2704789.007 | 1233039.8727
25 | 2704794.118 | 1233078.5365 | 2704803.9724 | 1233080.9898 | 2704809.7221 | 1233083.4486 | 2704813.4335 | 1233090.2748
26 | 2704794.118 | 1233078.5365 | 2704792.5628 | 1233088.1444
27 | 2704813.7962 | 1233057.2676 | 2704814.5945 | 1233057.5261 | 2704820.523 | 1233058.4424 | 2704826.4181 | 1233058.2462 | 2704832.6457 | 1233056.7994 | 2704835.0107 | 1233055.7011
28 | 2704789.007 | 1233039.8727 | 2704787.3499 | 1233039.3653 | 2704773.1732 | 1233035.2994
29 | 2704773.1732 | 1233035.2994 | 2704770.5777 | 1233034.5549 | 2704762.8666 | 1233033.3737 | 2704752.4368 | 1233032.6338 | 2704749.3127 | 1233032.7093
30 | 2704852.2916 | 1233029.6587 | 2704848.9775 | 1233015.7675 | 2704845.5255 | 1232999.6407
31 | 2704766.2386 | 1233043.995 | 2704765.8462 | 1233043.912 | 2704757.8005 | 1233042.8138 | 2704744.4856 | 1233042.9237 | 2704730.4512 | 1233044.7555 | 2704726.852 | 1233045.6116
32 | 2704850.7351 | 1233038.0376 | 2704851.2468 | 1233038.2245 | 2704855.4212 | 1233039.4102 | 2704859.2902 | 1233039.0226 | 2704862.4675 | 1233037.9222 | 2704863.9082 | 1233037.3775
33 | 2704850.7351 | 1233038.0376 | 2704851.3022 | 1233035.5124 | 2704851.886 | 1233032.8985 | 2704852.2916 | 1233029.6587
34 | 2704850.7351 | 1233038.0376 | 2704847.2614 | 1233044.3478 | 2704842.2534 | 1233050.4863 | 2704838.1127 | 1233054.2606 | 2704835.0107 | 1233055.7011
35 | 2704852.2916 | 1233029.6587 | 2704856.1121 | 1233032.873 | 2704859.8597 | 1233033.7842 | 2704863.0095 | 1233033.3839 | 2704873.9562 | 1233028.8736
36 | 2704777.738 | 1232972.0784 | 2704771.7253 | 1232964.7669 | 2704767.7218 | 1232960.76 | 2704764.3047 | 1232957.8531 | 2704759.3243 | 1232955.1299 | 2704758.2028 | 1232954.6722
37 | 2704777.738 | 1232972.0784 | 2704771.9578 | 1232990.7784
38 | 2704718.5786 | 1232948.2328 | 2704733.0913 | 1232949.9971 | 2704748.582 | 1232951.916 | 2704754.1137 | 1232953.0032 | 2704758.2028 | 1232954.6722
39 | 2704771.9578 | 1232990.7784 | 2704771.0508 | 1232993.7128
40 | 2704749.3127 | 1233032.7093 | 2704743.9289 | 1233032.8396 | 2704733.8155 | 1233033.9066 | 2704724.8866 | 1233036.0728
41 | 2704768.154 | 1233140.1921 | 2704740.9049 | 1233139.225
42 | 2704789.0101 | 1233110.0925 | 2704792.5628 | 1233088.1444
43 | 2704845.3984 | 1233387.8177 | 2704858.1695 | 1233380.8836 | 2704863.9991 | 1233376.661 | 2704869.1568 | 1233371.4592 | 2704873.7132 | 1233364.7417
44 | 2704873.7132 | 1233364.7417 | 2704883.9212 | 1233349.6921 | 2704891.5079 | 1233340.3078 | 2704907.0772 | 1233332.44
45 | 2705127.185 | 1233234.6358 | 2705079.4959 | 1233257.154 | 2705035.8573 | 1233276.3084 | 2704979.8037 | 1233295.6883 | 2704907.0772 | 1233332.44
46 | 2705076.665 | 1233189.4528 | 2705099.0367 | 1233182.0538 | 2705127.185 | 1233234.6358
47 | 2705076.665 | 1233189.4528 | 2705063.926 | 1233193.4083 | 2705030.7268 | 1233203.7294 | 2704995.3568 | 1233214.7685 | 2704968.3142 | 1233223.3863 | 2704943.2421 | 1233231.0605 | 2704922.4462 | 1233237.1535 | 2704921.526 | 1233237.3823
48 | 2704913.4711 | 1233239.3844 | 2704921.526 | 1233237.3823
49 | 2704861.7899 | 1233255.5971 | 2704880.4207 | 1233251.178 | 2704898.8106 | 1233247.5331 | 2704898.1121 | 1233242.9173
50 | 2704861.7899 | 1233255.5971 | 2704864.529 | 1233272.4471 | 2704866.3243 | 1233286.1335 | 2704864.7733 | 1233295.0685
51 | 2704898.1121 | 1233242.9173 | 2704879.5099 | 1233247.0032 | 2704876.0188 | 1233247.7542
52 | 2704898.1121 | 1233242.9173 | 2704895.7556 | 1233229.7941
53 | 2704898.1121 | 1233242.9173 | 2704907.8275 | 1233240.7871 | 2704913.4711 | 1233239.3844
54 | 2704864.7733 | 1233295.0685 | 2704875.1131 | 1233294.4505 | 2704891.1674 | 1233288.4709
55 | 2704864.7733 | 1233295.0685 | 2704857.6308 | 1233305.4437
56 | 2704862.7326 | 1233250.6121 | 2704876.0188 | 1233247.7542
57 | 2704885.4067 | 1233176.3761 | 2704890.9212 | 1233202.8712 | 2704895.7556 | 1233229.7941
58 | 2704830.4432 | 1233321.556 | 2704812.3623 | 1233328.6936
59 | 2704802.674 | 1233332.9404 | 2704809.5627 | 1233329.7988 | 2704812.3623 | 1233328.6936
60 | 2704830.4432 | 1233321.556 | 2704834.4221 | 1233319.9853 | 2704841.6274 | 1233315.9908
61 | 2704802.674 | 1233332.9404 | 2704773.5619 | 1233346.2174
62 | 2704841.6274 | 1233315.9908 | 2704855.7657 | 1233308.1528 | 2704857.6308 | 1233305.4437
63 | 2704773.5619 | 1233346.2174 | 2704741.7238 | 1233360.7375
64 | 2704918.181 | 1233278.4095 | 2704891.1674 | 1233288.4709
65 | 2704813.3399 | 1233264.6131 | 2704788.9832 | 1233269.1456 | 2704782.0343 | 1233270.0906
66 | 2704782.0343 | 1233270.0906 | 2704761.2618 | 1233272.9154 | 2704757.125 | 1233273.3615
67 | 2704862.7326 | 1233250.6121 | 2704858.2032 | 1233251.5864 | 2704836.3344 | 1233256.2597 | 2704827.4319 | 1233258.1311
68 | 2704885.4067 | 1233176.3761 | 2704878.1819 | 1233178.1166
69 | 2704885.4067 | 1233176.3761 | 2704892.9262 | 1233174.5689
70 | 2704827.4319 | 1233258.1311 | 2704822.5239 | 1233259.1628 | 2704807.8003 | 1233261.883 | 2704791.962 | 1233264.6948 | 2704790.0462 | 1233264.961
71 | 2704878.1819 | 1233178.1166 | 2704881.3311 | 1233191.4712 | 2704880.6681 | 1233197.7086 | 2704878.5308 | 1233200.384 | 2704875.6546 | 1233201.1672 | 2704868.7915 | 1233201.4642
72 | 2704878.1819 | 1233178.1166 | 2704872.8357 | 1233179.401 | 2704867.0864 | 1233179.3779
73 | 2704904.8669 | 1233171.6991 | 2704892.9262 | 1233174.5689
74 | 2704790.0462 | 1233264.961 | 2704776.1269 | 1233266.8951 | 2704764.7296 | 1233268.2174 | 2704755.1622 | 1233269.4873
75 | 2704745.5034 | 1233270.7694 | 2704755.1622 | 1233269.4873
76 | 2704745.5034 | 1233270.7694 | 2704746.0196 | 1233274.5591
77 | 2704746.0196 | 1233274.5591 | 2704757.125 | 1233273.3615
78 | 2704746.0196 | 1233274.5591 | 2704744.3443 | 1233274.7398
79 | 2704735.2083 | 1233275.725 | 2704744.3443 | 1233274.7398
80 | 2704734.5004 | 1233272.0654 | 2704735.2083 | 1233275.725
81 | 2704734.5004 | 1233272.0654 | 2704727.2801 | 1233234.8358
82 | 2704783.6325 | 1233171.0994 | 2704778.4185 | 1233174.3321 | 2704755.6202 | 1233178.7925
83 | 2704788.8465 | 1233167.8666 | 2704783.6325 | 1233171.0994
84 | 2704904.8669 | 1233171.6991 | 2704913.005 | 1233169.7432
85 | 2704849.9636 | 1233203.6692 | 2704857.9239 | 1233203.4895 | 2704866.5302 | 1233201.5621 | 2704868.7915 | 1233201.4642
86 | 2704844.7987 | 1233179.2885 | 2704867.0864 | 1233179.3779
87 | 2704883.5679 | 1233097.9735 | 2704879.3754 | 1233098.7572
88 | 2704869.9271 | 1233100.5234 | 2704879.3754 | 1233098.7572
89 | 2704836.9666 | 1233179.2571 | 2704844.7987 | 1233179.2885
90 | 2704876.3494 | 1233135.9049 | 2704872.5225 | 1233114.8218
91 | 2704876.3494 | 1233135.9049 | 2704877.4151 | 1233141.7756 | 2704874.7687 | 1233144.9758 | 2704867.7849 | 1233145.78
92 | 2704869.9271 | 1233100.5234 | 2704872.5225 | 1233114.8218
93 | 2704852.3307 | 1233147.5597 | 2704867.7849 | 1233145.78
94 | 2704869.9271 | 1233100.5234 | 2704857.2128 | 1233102.8995
95 | 2704832.8674 | 1233107.4492 | 2704857.2128 | 1233102.8995
96 | 2704832.8674 | 1233107.4492 | 2704828.286 | 1233108.3054
97 | 2704810.4326 | 1233110.7307 | 2704814.6379 | 1233110.856 | 2704828.286 | 1233108.3054
98 | 2704789.0101 | 1233110.0925 | 2704810.4326 | 1233110.7307
99 | 2704789.0101 | 1233110.0925 | 2704777.7629 | 1233117.4887 | 2704773.6235 | 1233122.4751 | 2704772.4662 | 1233124.5482
100 | 2704768.154 | 1233140.1921 | 2704769.9169 | 1233129.1148 | 2704772.4662 | 1233124.5482
101 | 2704768.154 | 1233140.1921 | 2704771.0482 | 1233148.6939 | 2704786.8103 | 1233165.6735
102 | 2704786.8103 | 1233165.6735 | 2704764.3923 | 1233171.7745
103 | 2704786.8103 | 1233165.6735 | 2704787.7307 | 1233166.6649
104 | 2704788.8465 | 1233167.8666 | 2704787.7307 | 1233166.6649
105 | 2704788.8465 | 1233167.8666 | 2704797.6336 | 1233175.0047 | 2704824.2851 | 1233177.9903
106 | 2704829.7992 | 1233178.6079 | 2704824.2851 | 1233177.9903
107 | 2704829.7992 | 1233178.6079 | 2704828.5364 | 1233193.9528 | 2704827.1309 | 1233197.642 | 2704824.1307 | 1233199.0123 | 2704816.3399 | 1233198.9304 | 2704815.6017 | 1233198.9
108 | 2704829.7992 | 1233178.6079 | 2704833.7669 | 1233179.056 | 2704835.5506 | 1233179.2543 | 2704836.9666 | 1233179.2571
109 | 2704797.5115 | 1233198.7761 | 2704802.8996 | 1233198.8712 | 2704808.7955 | 1233198.6194 | 2704815.6017 | 1233198.9

## bus_geodata
| x | y | coords
0 | 2704825.6302 | 1232899.7827
1 | 2704815.3273 | 1232898.9395
2 | 2704796.801 | 1232897.4232
3 | 2704778.4977 | 1232895.9252
4 | 2704769.1137 | 1232895.1572
5 | 2704763.5373 | 1232939.1032
6 | 2704713.3002 | 1232947.5911
7 | 2704796.6862 | 1232972.9803
8 | 2704827.3236 | 1232972.6086
9 | 2704828.9825 | 1233007.3419
10 | 2704841.8726 | 1232981.1049
11 | 2704839.9796 | 1232952.3498
12 | 2704856.2019 | 1232948.851
13 | 2704687.2226 | 1233139.0208
14 | 2704724.0473 | 1233151.9793
15 | 2704714.4523 | 1233138.6891
16 | 2704799.3768 | 1233052.5985
17 | 2704786.6999 | 1233048.7387
18 | 2704794.118 | 1233078.5365
19 | 2704813.7962 | 1233057.2676
20 | 2704827.6677 | 1233026.4887
21 | 2704789.007 | 1233039.8727
22 | 2704773.1732 | 1233035.2994
23 | 2704867.8661 | 1232982.8691
24 | 2704845.5255 | 1232999.6407
25 | 2704766.2386 | 1233043.995
26 | 2704850.7351 | 1233038.0376
27 | 2704863.9082 | 1233037.3775
28 | 2704852.2916 | 1233029.6587
29 | 2704835.0107 | 1233055.7011
30 | 2704777.738 | 1232972.0784
31 | 2704758.2028 | 1232954.6722
32 | 2704771.9578 | 1232990.7784
33 | 2704873.9562 | 1233028.8736
34 | 2704718.5786 | 1232948.2328
35 | 2704724.8866 | 1233036.0728
36 | 2704749.3127 | 1233032.7093
37 | 2704740.9049 | 1233139.225
38 | 2704711.8478 | 1233091.3279
39 | 2704813.4335 | 1233090.2748
40 | 2704792.5628 | 1233088.1444
41 | 2704726.852 | 1233045.6116
42 | 2704771.0508 | 1232993.7128
43 | 2704845.3984 | 1233387.8177
44 | 2704873.7132 | 1233364.7417
45 | 2704907.0772 | 1233332.44
46 | 2705127.185 | 1233234.6358
47 | 2705076.665 | 1233189.4528
48 | 2704921.526 | 1233237.3823
49 | 2704861.7899 | 1233255.5971
50 | 2704898.1121 | 1233242.9173
51 | 2704864.7733 | 1233295.0685
52 | 2704913.4711 | 1233239.3844
53 | 2704876.0188 | 1233247.7542
54 | 2704895.7556 | 1233229.7941
55 | 2704812.3623 | 1233328.6936
56 | 2704830.4432 | 1233321.556
57 | 2704802.674 | 1233332.9404
58 | 2704841.6274 | 1233315.9908
59 | 2704773.5619 | 1233346.2174
60 | 2704857.6308 | 1233305.4437
61 | 2704741.7238 | 1233360.7375
62 | 2704891.1674 | 1233288.4709
63 | 2704918.181 | 1233278.4095
64 | 2704813.3399 | 1233264.6131
65 | 2704782.0343 | 1233270.0906
66 | 2704862.7326 | 1233250.6121
67 | 2704885.4067 | 1233176.3761
68 | 2704827.4319 | 1233258.1311
69 | 2704878.1819 | 1233178.1166
70 | 2704892.9262 | 1233174.5689
71 | 2704790.0462 | 1233264.961
72 | 2704755.1622 | 1233269.4873
73 | 2704745.5034 | 1233270.7694
74 | 2704746.0196 | 1233274.5591
75 | 2704757.125 | 1233273.3615
76 | 2704744.3443 | 1233274.7398
77 | 2704734.5004 | 1233272.0654
78 | 2704735.2083 | 1233275.725
79 | 2704727.2801 | 1233234.8358
80 | 2704755.6202 | 1233178.7925
81 | 2704783.6325 | 1233171.0994
82 | 2704904.8669 | 1233171.6991
83 | 2704913.005 | 1233169.7432
84 | 2704868.7915 | 1233201.4642
85 | 2704867.0864 | 1233179.3779
86 | 2704883.5679 | 1233097.9735
87 | 2704879.3754 | 1233098.7572
88 | 2704849.9636 | 1233203.6692
89 | 2704844.7987 | 1233179.2885
90 | 2704876.3494 | 1233135.9049
91 | 2704872.5225 | 1233114.8218
92 | 2704867.7849 | 1233145.78
93 | 2704869.9271 | 1233100.5234
94 | 2704852.3307 | 1233147.5597
95 | 2704857.2128 | 1233102.8995
96 | 2704832.8674 | 1233107.4492
97 | 2704828.286 | 1233108.3054
98 | 2704810.4326 | 1233110.7307
99 | 2704789.0101 | 1233110.0925
100 | 2704772.4662 | 1233124.5482
101 | 2704768.154 | 1233140.1921
102 | 2704786.8103 | 1233165.6735
103 | 2704764.3923 | 1233171.7745
104 | 2704787.7307 | 1233166.6649
105 | 2704788.8465 | 1233167.8666
106 | 2704824.2851 | 1233177.9903
107 | 2704829.7992 | 1233178.6079
108 | 2704797.5115 | 1233198.7761
109 | 2704815.6017 | 1233198.9
110 | 2704836.9666 | 1233179.2571
111 | 2704789.0101 | 1233110.0925

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1