## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3340-80_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3340-80_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3340-80_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3340-80_0_4_node_74 | 0.4 | n |  | TRUE
4 | bus_LV_3340-80_0_4_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_3340-80_0_4_node_81 | 0.4 | n |  | TRUE
6 | bus_LV_3340-80_0_4_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_3340-80_0_4_node_78 | 0.4 | n |  | TRUE
8 | bus_LV_3340-80_0_4_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_3340-80_0_4_node_73 | 0.4 | n |  | TRUE
10 | bus_LV_3340-80_0_4_node_71 | 0.4 | n |  | TRUE
11 | bus_LV_3340-80_0_4_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_3340-80_0_4_node_76 | 0.4 | n |  | TRUE
13 | bus_LV_3340-80_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_3340-80_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_3340-80_0_4_node_91 | 0.4 | n |  | TRUE
16 | bus_LV_3340-80_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_3340-80_0_4_node_72 | 0.4 | n |  | TRUE
18 | bus_LV_3340-80_0_4_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_3340-80_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_3340-80_0_4_node_67 | 0.4 | n |  | TRUE
21 | bus_LV_3340-80_0_4_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_3340-80_0_4_node_96 | 0.4 | n |  | TRUE
23 | bus_LV_3340-80_0_4_node_70 | 0.4 | n |  | TRUE
24 | bus_LV_3340-80_0_4_node_75 | 0.4 | n |  | TRUE
25 | bus_LV_3340-80_0_4_node_94 | 0.4 | n |  | TRUE
26 | bus_LV_3340-80_0_4_node_105 | 0.4 | n |  | TRUE
27 | bus_LV_3340-80_0_4_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_3340-80_0_4_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_3340-80_0_4_node_56 | 0.4 | n |  | TRUE
30 | bus_LV_3340-80_0_4_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_3340-80_0_4_node_77 | 0.4 | n |  | TRUE
32 | bus_LV_3340-80_0_4_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_3340-80_0_4_node_66 | 0.4 | n |  | TRUE
34 | bus_LV_3340-80_0_4_node_65 | 0.4 | n |  | TRUE
35 | bus_LV_3340-80_0_4_node_63 | 0.4 | n |  | TRUE
36 | bus_LV_3340-80_0_4_node_79 | 0.4 | n |  | TRUE
37 | bus_LV_3340-80_0_4_node_13 | 0.4 | n |  | TRUE
38 | bus_LV_3340-80_0_4_node_14 | 0.4 | n |  | TRUE
39 | bus_LV_3340-80_0_4_node_60 | 0.4 | n |  | TRUE
40 | bus_LV_3340-80_0_4_node_93 | 0.4 | n |  | TRUE
41 | bus_LV_3340-80_0_4_node_89 | 0.4 | n |  | TRUE
42 | bus_LV_3340-80_0_4_node_15 | 0.4 | n |  | TRUE
43 | bus_LV_3340-80_0_4_node_21 | 0.4 | n |  | TRUE
44 | bus_LV_3340-80_0_4_node_22 | 0.4 | n |  | TRUE
45 | bus_LV_3340-80_0_4_node_23 | 0.4 | n |  | TRUE
46 | bus_LV_3340-80_0_4_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_3340-80_0_4_node_54 | 0.4 | n |  | TRUE
48 | bus_LV_3340-80_0_4_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_3340-80_0_4_node_64 | 0.4 | n |  | TRUE
50 | bus_LV_3340-80_0_4_node_53 | 0.4 | n |  | TRUE
51 | bus_LV_3340-80_0_4_node_58 | 0.4 | n |  | TRUE
52 | bus_LV_3340-80_0_4_node_86 | 0.4 | n |  | TRUE
53 | bus_LV_3340-80_0_4_node_85 | 0.4 | n |  | TRUE
54 | bus_LV_3340-80_0_4_node_24 | 0.4 | n |  | TRUE
55 | bus_LV_3340-80_0_4_node_31 | 0.4 | n |  | TRUE
56 | bus_LV_3340-80_0_4_node_28 | 0.4 | n |  | TRUE
57 | bus_LV_3340-80_0_4_node_41 | 0.4 | n |  | TRUE
58 | bus_LV_3340-80_0_4_node_95 | 0.4 | n |  | TRUE
59 | bus_LV_3340-80_0_4_node_26 | 0.4 | n |  | TRUE
60 | bus_LV_3340-80_0_4_node_25 | 0.4 | n |  | TRUE
61 | bus_LV_3340-80_0_4_node_27 | 0.4 | n |  | TRUE
62 | bus_LV_3340-80_0_4_node_106 | 0.4 | n |  | TRUE
63 | bus_LV_3340-80_0_4_node_40 | 0.4 | n |  | TRUE
64 | bus_LV_3340-80_0_4_node_29 | 0.4 | n |  | TRUE
65 | bus_LV_3340-80_0_4_node_30 | 0.4 | n |  | TRUE
66 | bus_LV_3340-80_0_4_node_32 | 0.4 | n |  | TRUE
67 | bus_LV_3340-80_0_4_node_33 | 0.4 | n |  | TRUE
68 | bus_LV_3340-80_0_4_node_36 | 0.4 | n |  | TRUE
69 | bus_LV_3340-80_0_4_node_104 | 0.4 | n |  | TRUE
70 | bus_LV_3340-80_0_4_node_47 | 0.4 | n |  | TRUE
71 | bus_LV_3340-80_0_4_node_69 | 0.4 | n |  | TRUE
72 | bus_LV_3340-80_0_4_node_42 | 0.4 | n |  | TRUE
73 | bus_LV_3340-80_0_4_node_38 | 0.4 | n |  | TRUE
74 | bus_LV_3340-80_0_4_node_49 | 0.4 | n |  | TRUE
75 | bus_LV_3340-80_0_4_node_101 | 0.4 | n |  | TRUE
76 | bus_LV_3340-80_0_4_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_3340-80_0_4_node_37 | 0.4 | n |  | TRUE
78 | bus_LV_3340-80_0_4_node_46 | 0.4 | n |  | TRUE
79 | bus_LV_3340-80_0_4_node_44 | 0.4 | n |  | TRUE
80 | bus_LV_3340-80_0_4_node_43 | 0.4 | n |  | TRUE
81 | bus_LV_3340-80_0_4_node_45 | 0.4 | n |  | TRUE
82 | bus_LV_3340-80_0_4_node_48 | 0.4 | n |  | TRUE
83 | bus_LV_3340-80_0_4_node_99 | 0.4 | n |  | TRUE
84 | bus_LV_3340-80_0_4_node_50 | 0.4 | n |  | TRUE
85 | bus_LV_3340-80_0_4_node_51 | 0.4 | n |  | TRUE
86 | bus_LV_3340-80_0_4_node_52 | 0.4 | n |  | TRUE
87 | bus_LV_3340-80_0_4_node_98 | 0.4 | n |  | TRUE
88 | bus_LV_3340-80_0_4_node_97 | 0.4 | n |  | TRUE
89 | bus_LV_3340-80_0_4_node_61 | 0.4 | n |  | TRUE
90 | bus_LV_3340-80_0_4_node_107 | 0.4 | n |  | TRUE
91 | bus_LV_3340-80_0_4_node_103 | 0.4 | n |  | TRUE
92 | bus_LV_3340-80_0_4_node_62 | 0.4 | n |  | TRUE
93 | bus_LV_3340-80_0_4_node_108 | 0.4 | n |  | TRUE
94 | bus_LV_3340-80_0_4_node_102 | 0.4 | n |  | TRUE
95 | bus_LV_3340-80_0_4_node_80 | 0.4 | n |  | TRUE
96 | bus_LV_3340-80_0_4_node_82 | 0.4 | n |  | TRUE
97 | bus_LV_3340-80_0_4_node_83 | 0.4 | n |  | TRUE
98 | bus_LV_3340-80_0_4_node_92 | 0.4 | n |  | TRUE
99 | bus_LV_3340-80_0_4_node_84 | 0.4 | n |  | TRUE
100 | bus_LV_3340-80_0_4_node_88 | 0.4 | n |  | TRUE
101 | bus_LV_3340-80_0_4_node_90 | 0.4 | n |  | TRUE
102 | bus_LV_3340-80_0_4_node_100 | 0.4 | n |  | TRUE
103 | bus_MV_585_0_node_179 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3340-80_0_4_load_0 | 0 | 0.010277 | 0.0025757 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3340-80_0_4_load_2 | 2 | 0.015738 | 0.0039444 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3340-80_0_4_load_81 | 5 | 0.00342 | 0.00085714 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3340-80_0_4_load_78 | 7 | 0.0033973 | 0.00085144 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3340-80_0_4_load_73 | 9 | 0.0059296 | 0.0014861 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3340-80_0_4_load_71 | 10 | 0.010373 | 0.0025998 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3340-80_0_4_load_76 | 12 | 0.0068737 | 0.0017227 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3340-80_0_4_load_91 | 15 | 0.0032811 | 0.00082232 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3340-80_0_4_load_72 | 17 | 0.0031722 | 0.00079502 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3340-80_0_4_load_67 | 20 | 0.012444 | 0.0031188 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3340-80_0_4_load_96 | 22 | 0.0083093 | 0.0020825 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3340-80_0_4_load_70 | 23 | 0.0040366 | 0.0010117 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3340-80_0_4_load_75 | 24 | 0.0041588 | 0.0010423 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3340-80_0_4_load_94 | 25 | 0.0041627 | 0.0010433 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3340-80_0_4_load_105 | 26 | 0.0045286 | 0.001135 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3340-80_0_4_load_56 | 29 | 0.012635 | 0.0031665 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3340-80_0_4_load_77 | 31 | 0.012251 | 0.0030703 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3340-80_0_4_load_66 | 33 | 0.0034503 | 0.00086473 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3340-80_0_4_load_65 | 34 | 0.007621 | 0.00191 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3340-80_0_4_load_63 | 35 | 0.0091204 | 0.0022858 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3340-80_0_4_load_79 | 36 | 0.0047856 | 0.0011994 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3340-80_0_4_load_13 | 37 | 0.013487 | 0.0033801 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3340-80_0_4_load_14 | 38 | 0.0076063 | 0.0019063 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3340-80_0_4_load_89 | 41 | 0.0024217 | 0.00060695 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3340-80_0_4_load_21 | 43 | 0.0025038 | 0.0006275 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3340-80_0_4_load_22 | 44 | 0.0030228 | 0.00075757 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3340-80_0_4_load_23 | 45 | 0.015918 | 0.0039895 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3340-80_0_4_load_35 | 46 | 0.0025204 | 0.00063168 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3340-80_0_4_load_64 | 49 | 0.0057109 | 0.0014313 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3340-80_0_4_load_53 | 50 | 0.003912 | 0.00098043 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3340-80_0_4_load_86 | 52 | 0.0021474 | 0.00053818 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3340-80_0_4_load_85 | 53 | 0.0025595 | 0.00064147 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3340-80_0_4_load_24 | 54 | 0.0022286 | 0.00055854 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3340-80_0_4_load_95 | 58 | 0.0017359 | 0.00043505 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3340-80_0_4_load_26 | 59 | 0.0016116 | 0.0004039 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3340-80_0_4_load_25 | 60 | 0.0013763 | 0.00034494 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3340-80_0_4_load_27 | 61 | 0.0014143 | 0.00035446 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3340-80_0_4_load_106 | 62 | 0.013712 | 0.0034365 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3340-80_0_4_load_29 | 64 | 0.0021776 | 0.00054575 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3340-80_0_4_load_32 | 66 | 0.0013422 | 0.00033638 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3340-80_0_4_load_36 | 68 | 0.0023728 | 0.00059468 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3340-80_0_4_load_104 | 69 | 0.0024918 | 0.00062449 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3340-80_0_4_load_69 | 71 | 0.002439 | 0.00061127 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3340-80_0_4_load_38 | 73 | 0.0034097 | 0.00085456 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3340-80_0_4_load_49 | 74 | 0.0023303 | 0.00058404 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3340-80_0_4_load_101 | 75 | 0.002643 | 0.00066239 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3340-80_0_4_load_68 | 76 | 0.0025134 | 0.00062991 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3340-80_0_4_load_37 | 77 | 0.0034107 | 0.0008548 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3340-80_0_4_load_46 | 78 | 0.0017667 | 0.00044278 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3340-80_0_4_load_44 | 79 | 0.0024594 | 0.00061639 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3340-80_0_4_load_43 | 80 | 0.002746 | 0.0006882 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3340-80_0_4_load_45 | 81 | 0.0060428 | 0.0015145 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3340-80_0_4_load_48 | 82 | 0.0020532 | 0.00051459 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3340-80_0_4_load_51 | 85 | 0.0060508 | 0.0015165 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3340-80_0_4_load_98 | 87 | 0.0023701 | 0.000594 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3340-80_0_4_load_97 | 88 | 0.0026625 | 0.00066728 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3340-80_0_4_load_107 | 90 | 0.0088075 | 0.0022074 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3340-80_0_4_load_108 | 93 | 0.0092454 | 0.0023171 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3340-80_0_4_load_102 | 94 | 0.0025741 | 0.00064512 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3340-80_0_4_load_80 | 95 | 0.0035186 | 0.00088184 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3340-80_0_4_load_82 | 96 | 0.0067323 | 0.0016873 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3340-80_0_4_load_83 | 97 | 0.0033934 | 0.00085046 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3340-80_0_4_load_92 | 98 | 0.0064263 | 0.0016106 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3340-80_0_4_load_84 | 99 | 0.0040005 | 0.0010026 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3340-80_0_4_load_88 | 100 | 0.0080058 | 0.0020064 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3340-80_0_4_load_90 | 101 | 0.002284 | 0.00057241 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3340-80_0_4_load_100 | 102 | 0.0025024 | 0.00062716 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 42 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3340-80_0_4_line_0 |  | 0 | 1 | 0.019316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3340-80_0_4_line_1 |  | 1 | 2 | 0.011693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3340-80_0_4_line_2 |  | 2 | 3 | 0.029686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3340-80_0_4_line_3 |  | 3 | 24 | 0.033028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3340-80_0_4_line_4 |  | 4 | 5 | 0.02448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3340-80_0_4_line_5 |  | 4 | 6 | 0.097305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3340-80_0_4_line_6 |  | 4 | 7 | 0.025282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3340-80_0_4_line_7 |  | 5 | 25 | 0.017289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3340-80_0_4_line_8 |  | 6 | 11 | 0.23869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3340-80_0_4_line_9 |  | 7 | 36 | 0.027676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3340-80_0_4_line_10 |  | 8 | 9 | 0.025325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3340-80_0_4_line_11 |  | 8 | 10 | 0.030512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3340-80_0_4_line_12 |  | 10 | 16 | 0.035607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3340-80_0_4_line_13 |  | 11 | 12 | 0.020492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3340-80_0_4_line_14 |  | 12 | 30 | 0.026404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3340-80_0_4_line_15 |  | 13 | 14 | 0.005702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3340-80_0_4_line_16 |  | 13 | 15 | 0.004649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3340-80_0_4_line_17 |  | 14 | 23 | 0.017302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3340-80_0_4_line_18 |  | 14 | 16 | 0.009513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3340-80_0_4_line_19 |  | 15 | 40 | 0.015309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3340-80_0_4_line_20 |  | 15 | 41 | 0.017629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3340-80_0_4_line_21 |  | 16 | 17 | 0.017387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3340-80_0_4_line_22 |  | 17 | 24 | 0.0080494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3340-80_0_4_line_23 |  | 18 | 19 | 0.010963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3340-80_0_4_line_24 |  | 18 | 20 | 0.012189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3340-80_0_4_line_25 |  | 19 | 21 | 0.019174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_3340-80_0_4_line_26 |  | 19 | 22 | 0.020873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_3340-80_0_4_line_27 |  | 21 | 26 | 0.003854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3340-80_0_4_line_28 |  | 21 | 27 | 0.004042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_3340-80_0_4_line_29 |  | 22 | 39 | 0.018984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_3340-80_0_4_line_30 |  | 25 | 98 | 0.030645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3340-80_0_4_line_31 |  | 27 | 28 | 0.034666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_3340-80_0_4_line_32 |  | 27 | 29 | 0.040146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3340-80_0_4_line_33 |  | 28 | 34 | 0.011849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3340-80_0_4_line_34 |  | 28 | 35 | 0.011842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3340-80_0_4_line_35 |  | 28 | 32 | 0.00365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_3340-80_0_4_line_36 |  | 29 | 47 | 0.047316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3340-80_0_4_line_37 |  | 30 | 31 | 0.013229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3340-80_0_4_line_38 |  | 32 | 33 | 0.032226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_3340-80_0_4_line_39 |  | 33 | 48 | 0.0056723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_3340-80_0_4_line_40 |  | 35 | 49 | 0.015729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3340-80_0_4_line_41 |  | 36 | 95 | 0.021551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3340-80_0_4_line_42 |  | 37 | 38 | 0.025662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3340-80_0_4_line_43 |  | 38 | 42 | 0.018644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3340-80_0_4_line_44 |  | 39 | 40 | 0.006239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3340-80_0_4_line_45 |  | 40 | 52 | 0.015896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3340-80_0_4_line_46 |  | 41 | 101 | 0.0062439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3340-80_0_4_line_47 |  | 42 | 43 | 0.013755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3340-80_0_4_line_48 |  | 42 | 44 | 0.0031372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_3340-80_0_4_line_49 |  | 43 | 45 | 0.037335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3340-80_0_4_line_50 |  | 44 | 46 | 0.0079599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_3340-80_0_4_line_51 |  | 45 | 54 | 0.0065214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3340-80_0_4_line_52 |  | 46 | 55 | 0.0072733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_3340-80_0_4_line_53 |  | 47 | 50 | 0.045407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3340-80_0_4_line_54 |  | 48 | 55 | 0.004235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_3340-80_0_4_line_55 |  | 51 | 52 | 0.016075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3340-80_0_4_line_56 |  | 51 | 53 | 0.032801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3340-80_0_4_line_57 |  | 54 | 56 | 0.015961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3340-80_0_4_line_58 |  | 55 | 68 | 0.0098199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3340-80_0_4_line_59 |  | 56 | 57 | 0.037835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3340-80_0_4_line_60 |  | 56 | 58 | 0.022398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3340-80_0_4_line_61 |  | 56 | 59 | 0.018831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3340-80_0_4_line_62 |  | 57 | 62 | 0.007568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3340-80_0_4_line_63 |  | 58 | 63 | 0.012813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3340-80_0_4_line_64 |  | 59 | 60 | 0.0064523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3340-80_0_4_line_65 |  | 60 | 61 | 0.0046883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3340-80_0_4_line_66 |  | 63 | 72 | 0.035134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3340-80_0_4_line_67 |  | 63 | 73 | 0.016468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3340-80_0_4_line_68 |  | 63 | 66 | 0.018714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3340-80_0_4_line_69 |  | 64 | 65 | 0.010208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3340-80_0_4_line_70 |  | 65 | 66 | 0.024073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3340-80_0_4_line_71 |  | 65 | 67 | 0.004797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3340-80_0_4_line_72 |  | 67 | 69 | 0.004368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3340-80_0_4_line_73 |  | 67 | 70 | 0.010863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3340-80_0_4_line_74 |  | 68 | 71 | 0.005781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3340-80_0_4_line_75 |  | 70 | 74 | 0.021153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3340-80_0_4_line_76 |  | 70 | 75 | 0.025216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3340-80_0_4_line_77 |  | 71 | 76 | 0.0055229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3340-80_0_4_line_78 |  | 72 | 78 | 0.017119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3340-80_0_4_line_79 |  | 73 | 77 | 0.016715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3340-80_0_4_line_80 |  | 74 | 82 | 0.0047023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3340-80_0_4_line_81 |  | 75 | 83 | 0.020019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3340-80_0_4_line_82 |  | 78 | 79 | 0.0067117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3340-80_0_4_line_83 |  | 79 | 80 | 0.015383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3340-80_0_4_line_84 |  | 80 | 81 | 0.006538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3340-80_0_4_line_85 |  | 82 | 84 | 0.033251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3340-80_0_4_line_86 |  | 83 | 102 | 0.016043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3340-80_0_4_line_87 |  | 83 | 87 | 0.015986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3340-80_0_4_line_88 |  | 84 | 85 | 0.035081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3340-80_0_4_line_89 |  | 86 | 87 | 0.015364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3340-80_0_4_line_90 |  | 86 | 88 | 0.025634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3340-80_0_4_line_91 |  | 89 | 90 | 0.020846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3340-80_0_4_line_92 |  | 89 | 91 | 0.00161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3340-80_0_4_line_93 |  | 91 | 94 | 0.017174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3340-80_0_4_line_94 |  | 91 | 92 | 0.003669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3340-80_0_4_line_95 |  | 92 | 93 | 0.023731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_3340-80_0_4_line_96 |  | 94 | 102 | 0.0031097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_3340-80_0_4_line_97 |  | 95 | 96 | 0.010813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_3340-80_0_4_line_98 |  | 96 | 97 | 0.0035752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_3340-80_0_4_line_99 |  | 97 | 99 | 0.028045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_3340-80_0_4_line_100 |  | 98 | 101 | 0.02331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_3340-80_0_4_line_101 |  | 99 | 100 | 0.048007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3340-80_0_4_trafo_15 | 0.63 MVA 20/0.4 kV | 103 | 42 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33
0 | 2704687.2226 | 1233139.0208 | 2704687.0623 | 1233149.4036 | 2704691.7904 | 1233156.9815
1 | 2704687.2226 | 1233139.0208 | 2704676.4626 | 1233134.4448
2 | 2704649.1447 | 1233122.827 | 2704676.4626 | 1233134.4448
3 | 2704649.1447 | 1233122.827 | 2704635.4689 | 1233116.7817 | 2704623.868 | 1233106.0027 | 2704621.9249 | 1233104.8886
4 | 2704701.0809 | 1233043.2036 | 2704681.0899 | 1233049.5786 | 2704677.765 | 1233050.6626
5 | 2704701.0809 | 1233043.2036 | 2704702.0706 | 1233046.3457 | 2704720.9112 | 1233040.3619 | 2704736.8829 | 1233037.3188 | 2704750.6778 | 1233036.6169 | 2704768.1433 | 1233038.6151 | 2704788.308 | 1233043.0072 | 2704786.972 | 1233047.9096 | 2704786.6999 | 1233048.7387
6 | 2704701.0809 | 1233043.2036 | 2704697.6953 | 1233032.4915 | 2704692.5916 | 1233024.7402 | 2704688.1337 | 1233023.0527
7 | 2704661.3251 | 1233056.0152 | 2704664.1355 | 1233055.1064 | 2704677.765 | 1233050.6626
8 | 2704713.3002 | 1232947.5911 | 2704733.0913 | 1232949.9971 | 2704748.582 | 1232951.916 | 2704754.1137 | 1232953.0032 | 2704759.3243 | 1232955.1299 | 2704764.3047 | 1232957.8531 | 2704767.7218 | 1232960.76 | 2704771.7253 | 1232964.7669 | 2704777.738 | 1232972.0784 | 2704782.8322 | 1232976.5049 | 2704787.3863 | 1232978.9203 | 2704793.6165 | 1232982.0547 | 2704804.3596 | 1232985.2243 | 2704819.7349 | 1232988.5201 | 2704826.3644 | 1232988.7705 | 2704830.5493 | 1232990.2232 | 2704832.7353 | 1232991.6517 | 2704835.4077 | 1233000.2832 | 2704835.5475 | 1233000.9417 | 2704837.3961 | 1233009.9033 | 2704838.883 | 1233020.4819 | 2704839.2755 | 1233025.7039 | 2704838.7722 | 1233030.621 | 2704836.9427 | 1233035.5925 | 2704833.9411 | 1233040.0429 | 2704829.0626 | 1233043.9932 | 2704822.4094 | 1233045.9551 | 2704817.528 | 1233046.6362 | 2704809.6657 | 1233045.8748 | 2704798.8512 | 1233042.9041 | 2704789.007 | 1233039.8727 | 2704788.308 | 1233043.0072 | 2704786.972 | 1233047.9096 | 2704786.6999 | 1233048.7387
9 | 2704688.1337 | 1233023.0527 | 2704684.8583 | 1233021.8129 | 2704661.2056 | 1233016.8192
10 | 2704664.8745 | 1233064.7378 | 2704678.1074 | 1233060.2564 | 2704688.91 | 1233056.7621
11 | 2704664.8745 | 1233064.7378 | 2704658.216 | 1233067.0001 | 2704642.3411 | 1233072.2913 | 2704635.933 | 1233074.3994
12 | 2704603.4018 | 1233088.6405 | 2704611.6556 | 1233083.9377 | 2704620.1362 | 1233080.1174 | 2704628.8668 | 1233076.7241 | 2704635.933 | 1233074.3994
13 | 2704713.3002 | 1232947.5911 | 2704692.9805 | 1232944.9383
14 | 2704667.0034 | 1232940.4815 | 2704673.2809 | 1232942.2267 | 2704677.1768 | 1232942.8958 | 2704692.2278 | 1232944.8401 | 2704692.9805 | 1232944.9383
15 | 2704595.4783 | 1233093.9384 | 2704594.5249 | 1233093.032 | 2704592.1515 | 1233089.343
16 | 2704589.6534 | 1233085.4183 | 2704592.1515 | 1233089.343
17 | 2704595.4783 | 1233093.9384 | 2704587.1381 | 1233100.1074 | 2704587.0847 | 1233105.7218 | 2704586.2454 | 1233106.732
18 | 2704595.4783 | 1233093.9384 | 2704603.4018 | 1233088.6405
19 | 2704589.6534 | 1233085.4183 | 2704584.9016 | 1233088.6372 | 2704578.1168 | 1233094.2109 | 2704577.5089 | 1233094.7562
20 | 2704589.6534 | 1233085.4183 | 2704595.9664 | 1233081.2707 | 2704604.7616 | 1233076.3551
21 | 2704603.4018 | 1233088.6405 | 2704608.4616 | 1233097.1693 | 2704614.9419 | 1233100.8848
22 | 2704621.9249 | 1233104.8886 | 2704614.9419 | 1233100.8848
23 | 2704563.6311 | 1233129.8608 | 2704561.2486 | 1233129.6965 | 2704560.2124 | 1233129.6227 | 2704557.6367 | 1233128.3875 | 2704553.3456 | 1233126.5218
24 | 2704563.6311 | 1233129.8608 | 2704564.5778 | 1233142.0126
25 | 2704540.9017 | 1233138.2451 | 2704550.5439 | 1233135.1123 | 2704553.3456 | 1233126.5218
26 | 2704553.3456 | 1233126.5218 | 2704549.1275 | 1233124.8018 | 2704550.53 | 1233122.1356 | 2704554.5947 | 1233116.6474 | 2704559.0444 | 1233111.9431
27 | 2704539.0836 | 1233134.8439 | 2704540.9017 | 1233138.2451
28 | 2704542.8231 | 1233141.8038 | 2704540.9017 | 1233138.2451
29 | 2704572.8615 | 1233098.9331 | 2704561.1227 | 1233109.7459 | 2704559.0444 | 1233111.9431
30 | 2704632.1872 | 1233065.5056 | 2704644.798 | 1233061.3596 | 2704661.3251 | 1233056.0152
31 | 2704542.8231 | 1233141.8038 | 2704545.2725 | 1233141.1797 | 2704547.3524 | 1233141.3275 | 2704549.7283 | 1233141.8697 | 2704551.5136 | 1233144.1251 | 2704553.7814 | 1233148.2236 | 2704555.6755 | 1233152.9049 | 2704557.3101 | 1233161.1399 | 2704559.1521 | 1233167.4882
32 | 2704542.8231 | 1233141.8038 | 2704536.5099 | 1233145.54 | 2704528.3108 | 1233151.8784 | 2704515.6768 | 1233164.0877 | 2704512.3403 | 1233167.6448
33 | 2704559.1521 | 1233167.4882 | 2704561.5971 | 1233174.4253 | 2704563.9065 | 1233178.2806
34 | 2704559.1521 | 1233167.4882 | 2704548.6378 | 1233172.9361
35 | 2704562.4147 | 1233165.8332 | 2704559.1521 | 1233167.4882
36 | 2704483.9124 | 1233205.2492 | 2704489.3097 | 1233195.8926 | 2704494.7845 | 1233187.7271 | 2704505.7445 | 1233174.6766 | 2704512.3403 | 1233167.6448
37 | 2704667.0034 | 1232940.4815 | 2704658.1367 | 1232950.2994
38 | 2704562.4147 | 1233165.8332 | 2704563.4737 | 1233168.9097 | 2704566.692 | 1233174.9375 | 2704573.8261 | 1233183.0692 | 2704582.131 | 1233190.7642
39 | 2704586.2918 | 1233194.6195 | 2704582.131 | 1233190.7642
40 | 2704537.6051 | 1233183.5658 | 2704543.2331 | 1233175.7366 | 2704548.6378 | 1233172.9361
41 | 2704661.2056 | 1233016.8192 | 2704651.2992 | 1233014.7277 | 2704639.944 | 1233013.4597
42 | 2704653.1257 | 1233197.7665 | 2704627.477 | 1233196.953
43 | 2704608.8426 | 1233196.362 | 2704627.477 | 1233196.953
44 | 2704572.8615 | 1233098.9331 | 2704577.5089 | 1233094.7562
45 | 2704577.5089 | 1233094.7562 | 2704572.4328 | 1233092.7431 | 2704568.8221 | 1233090.0776 | 2704564.297 | 1233086.8733 | 2704563.9072 | 1233086.7728
46 | 2704604.7616 | 1233076.3551 | 2704604.7616 | 1233076.3551 | 2704610.3494 | 1233073.5688
47 | 2704608.8426 | 1233196.362 | 2704620.2059 | 1233204.1137
48 | 2704608.8426 | 1233196.362 | 2704605.7147 | 1233196.1209
49 | 2704620.2059 | 1233204.1137 | 2704639.9481 | 1233217.5811 | 2704648.528 | 1233219.7227 | 2704651.0473 | 1233222.4358 | 2704651.1988 | 1233223.3136
50 | 2704605.7147 | 1233196.1209 | 2704597.7783 | 1233195.5089
51 | 2704651.1988 | 1233223.3136 | 2704652.308 | 1233229.74
52 | 2704590.5266 | 1233194.9498 | 2704597.7783 | 1233195.5089
53 | 2704483.9124 | 1233205.2492 | 2704510.1521 | 1233219.8438 | 2704520.1932 | 1233222.8671 | 2704525.0817 | 1233223.1218
54 | 2704590.5266 | 1233194.9498 | 2704586.2918 | 1233194.6195
55 | 2704548.1373 | 1233083.8313 | 2704553.3757 | 1233084.3682 | 2704557.5425 | 1233085.131 | 2704563.9072 | 1233086.7728
56 | 2704548.1373 | 1233083.8313 | 2704544.2822 | 1233083.8635 | 2704536.7924 | 1233084.3099 | 2704524.3414 | 1233086.1145 | 2704515.6614 | 1233087.9015
57 | 2704656.6923 | 1233245.0189 | 2704653.4247 | 1233236.2102 | 2704652.308 | 1233229.74
58 | 2704590.5266 | 1233194.9498 | 2704583.6212 | 1233187.968
59 | 2704656.6923 | 1233245.0189 | 2704694.2219 | 1233239.4311
60 | 2704656.6923 | 1233245.0189 | 2704659.2771 | 1233267.2673
61 | 2704656.6923 | 1233245.0189 | 2704637.9086 | 1233246.3577
62 | 2704694.2219 | 1233239.4311 | 2704693.1499 | 1233231.9399
63 | 2704660.7558 | 1233279.9946 | 2704659.2771 | 1233267.2673
64 | 2704637.9086 | 1233246.3577 | 2704631.4726 | 1233246.8164
65 | 2704626.7962 | 1233247.1497 | 2704631.4726 | 1233246.8164
66 | 2704660.7558 | 1233279.9946 | 2704661.2626 | 1233283.8954 | 2704692.2917 | 1233280.6283
67 | 2704660.7558 | 1233279.9946 | 2704677.129 | 1233278.2263
68 | 2704660.7558 | 1233279.9946 | 2704654.5812 | 1233280.5975 | 2704642.1465 | 1233281.9724
69 | 2704620.518 | 1233278.9966 | 2704619.8192 | 1233276.538 | 2704618.3658 | 1233269.025
70 | 2704620.518 | 1233278.9966 | 2704621.0101 | 1233280.7177 | 2704622.5528 | 1233282.5574 | 2704624.9734 | 1233283.5674 | 2704628.1243 | 1233283.5228 | 2704642.1465 | 1233281.9724
71 | 2704620.518 | 1233278.9966 | 2704615.9077 | 1233277.6256
72 | 2704611.7039 | 1233276.3951 | 2704615.9077 | 1233277.6256
73 | 2704618.0145 | 1233288.2818 | 2704615.9077 | 1233277.6256
74 | 2704579.556 | 1233183.8578 | 2704583.6212 | 1233187.968
75 | 2704618.0145 | 1233288.2818 | 2704620.078 | 1233309.3343
76 | 2704618.0145 | 1233288.2818 | 2704604.68 | 1233289.1033 | 2704592.982 | 1233291.0357
77 | 2704575.6722 | 1233179.9311 | 2704579.556 | 1233183.8578
78 | 2704692.2917 | 1233280.6283 | 2704694.3416 | 1233297.6245
79 | 2704677.129 | 1233278.2263 | 2704688.1068 | 1233277.0407 | 2704693.7454 | 1233276.4146
80 | 2704620.5367 | 1233314.0143 | 2704620.078 | 1233309.3343
81 | 2704573.2309 | 1233294.2983 | 2704592.982 | 1233291.0357
82 | 2704694.3416 | 1233297.6245 | 2704695.1452 | 1233304.2879
83 | 2704695.1452 | 1233304.2879 | 2704696.3021 | 1233313.8796 | 2704701.9576 | 1233313.0141
84 | 2704708.4204 | 1233312.025 | 2704701.9576 | 1233313.0141
85 | 2704621.8073 | 1233347.2376 | 2704620.7297 | 1233315.9839 | 2704620.5367 | 1233314.0143
86 | 2704573.2309 | 1233294.2983 | 2704569.405 | 1233278.7177
87 | 2704573.2309 | 1233294.2983 | 2704566.1408 | 1233296.5753 | 2704558.677 | 1233300.7249
88 | 2704656.8728 | 1233344.3638 | 2704621.8073 | 1233347.2376
89 | 2704548.0767 | 1233311.8469 | 2704558.677 | 1233300.7249
90 | 2704548.0767 | 1233311.8469 | 2704528.8601 | 1233300.9562 | 2704526.2367 | 1233298.5708
91 | 2704563.1964 | 1233258.2167 | 2704546.8475 | 1233257.3507 | 2704545.7585 | 1233252.9616
92 | 2704564.5681 | 1233259.0193 | 2704563.8158 | 1233258.7391 | 2704563.1964 | 1233258.2167
93 | 2704564.5681 | 1233259.0193 | 2704568.6635 | 1233275.6977
94 | 2704564.5681 | 1233259.0193 | 2704565.3022 | 1233259.0433 | 2704566.0101 | 1233258.8334 | 2704566.6156 | 1233258.4215 | 2704567.0651 | 1233257.8401 | 2704567.3045 | 1233257.1438
95 | 2704567.3045 | 1233257.1438 | 2704584.4765 | 1233252.9872 | 2704582.7624 | 1233247.1192
96 | 2704569.405 | 1233278.7177 | 2704568.6635 | 1233275.6977
97 | 2704629.1974 | 1233012.2596 | 2704639.944 | 1233013.4597
98 | 2704629.1974 | 1233012.2596 | 2704625.6443 | 1233011.8628
99 | 2704597.7725 | 1233008.7503 | 2704625.6443 | 1233011.8628
100 | 2704632.1872 | 1233065.5056 | 2704627.142 | 1233067.1643 | 2704614.174 | 1233071.6617 | 2704610.3494 | 1233073.5688
101 | 2704550.0162 | 1233004.3036 | 2704557.4366 | 1233004.2458 | 2704597.7725 | 1233008.7503

## bus_geodata
| x | y | coords
0 | 2704691.7904 | 1233156.9815
1 | 2704687.2226 | 1233139.0208
2 | 2704676.4626 | 1233134.4448
3 | 2704649.1447 | 1233122.827
4 | 2704701.0809 | 1233043.2036
5 | 2704677.765 | 1233050.6626
6 | 2704786.6999 | 1233048.7387
7 | 2704688.1337 | 1233023.0527
8 | 2704664.8745 | 1233064.7378
9 | 2704688.91 | 1233056.7621
10 | 2704635.933 | 1233074.3994
11 | 2704713.3002 | 1232947.5911
12 | 2704692.9805 | 1232944.9383
13 | 2704592.1515 | 1233089.343
14 | 2704595.4783 | 1233093.9384
15 | 2704589.6534 | 1233085.4183
16 | 2704603.4018 | 1233088.6405
17 | 2704614.9419 | 1233100.8848
18 | 2704563.6311 | 1233129.8608
19 | 2704553.3456 | 1233126.5218
20 | 2704564.5778 | 1233142.0126
21 | 2704540.9017 | 1233138.2451
22 | 2704559.0444 | 1233111.9431
23 | 2704586.2454 | 1233106.732
24 | 2704621.9249 | 1233104.8886
25 | 2704661.3251 | 1233056.0152
26 | 2704539.0836 | 1233134.8439
27 | 2704542.8231 | 1233141.8038
28 | 2704559.1521 | 1233167.4882
29 | 2704512.3403 | 1233167.6448
30 | 2704667.0034 | 1232940.4815
31 | 2704658.1367 | 1232950.2994
32 | 2704562.4147 | 1233165.8332
33 | 2704582.131 | 1233190.7642
34 | 2704563.9065 | 1233178.2806
35 | 2704548.6378 | 1233172.9361
36 | 2704661.2056 | 1233016.8192
37 | 2704653.1257 | 1233197.7665
38 | 2704627.477 | 1233196.953
39 | 2704572.8615 | 1233098.9331
40 | 2704577.5089 | 1233094.7562
41 | 2704604.7616 | 1233076.3551
42 | 2704608.8426 | 1233196.362
43 | 2704620.2059 | 1233204.1137
44 | 2704605.7147 | 1233196.1209
45 | 2704651.1988 | 1233223.3136
46 | 2704597.7783 | 1233195.5089
47 | 2704483.9124 | 1233205.2492
48 | 2704586.2918 | 1233194.6195
49 | 2704537.6051 | 1233183.5658
50 | 2704525.0817 | 1233223.1218
51 | 2704548.1373 | 1233083.8313
52 | 2704563.9072 | 1233086.7728
53 | 2704515.6614 | 1233087.9015
54 | 2704652.308 | 1233229.74
55 | 2704590.5266 | 1233194.9498
56 | 2704656.6923 | 1233245.0189
57 | 2704694.2219 | 1233239.4311
58 | 2704659.2771 | 1233267.2673
59 | 2704637.9086 | 1233246.3577
60 | 2704631.4726 | 1233246.8164
61 | 2704626.7962 | 1233247.1497
62 | 2704693.1499 | 1233231.9399
63 | 2704660.7558 | 1233279.9946
64 | 2704618.3658 | 1233269.025
65 | 2704620.518 | 1233278.9966
66 | 2704642.1465 | 1233281.9724
67 | 2704615.9077 | 1233277.6256
68 | 2704583.6212 | 1233187.968
69 | 2704611.7039 | 1233276.3951
70 | 2704618.0145 | 1233288.2818
71 | 2704579.556 | 1233183.8578
72 | 2704692.2917 | 1233280.6283
73 | 2704677.129 | 1233278.2263
74 | 2704620.078 | 1233309.3343
75 | 2704592.982 | 1233291.0357
76 | 2704575.6722 | 1233179.9311
77 | 2704693.7454 | 1233276.4146
78 | 2704694.3416 | 1233297.6245
79 | 2704695.1452 | 1233304.2879
80 | 2704701.9576 | 1233313.0141
81 | 2704708.4204 | 1233312.025
82 | 2704620.5367 | 1233314.0143
83 | 2704573.2309 | 1233294.2983
84 | 2704621.8073 | 1233347.2376
85 | 2704656.8728 | 1233344.3638
86 | 2704548.0767 | 1233311.8469
87 | 2704558.677 | 1233300.7249
88 | 2704526.2367 | 1233298.5708
89 | 2704563.1964 | 1233258.2167
90 | 2704545.7585 | 1233252.9616
91 | 2704564.5681 | 1233259.0193
92 | 2704567.3045 | 1233257.1438
93 | 2704582.7624 | 1233247.1192
94 | 2704568.6635 | 1233275.6977
95 | 2704639.944 | 1233013.4597
96 | 2704629.1974 | 1233012.2596
97 | 2704625.6443 | 1233011.8628
98 | 2704632.1872 | 1233065.5056
99 | 2704597.7725 | 1233008.7503
100 | 2704550.0162 | 1233004.3036
101 | 2704610.3494 | 1233073.5688
102 | 2704569.405 | 1233278.7177
103 | 2704590.5266 | 1233194.9498

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1