## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3340-8_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3340-8_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3340-8_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3340-8_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3340-8_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3340-8_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3340-8_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_3340-8_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_3340-8_0_3_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_3340-8_0_3_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_3340-8_0_3_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_3340-8_0_3_node_33 | 0.4 | n |  | TRUE
12 | bus_LV_3340-8_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_3340-8_0_3_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_3340-8_0_3_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_3340-8_0_3_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_3340-8_0_3_node_34 | 0.4 | n |  | TRUE
17 | bus_LV_3340-8_0_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_3340-8_0_3_node_26 | 0.4 | n |  | TRUE
19 | bus_LV_3340-8_0_3_node_38 | 0.4 | n |  | TRUE
20 | bus_LV_3340-8_0_3_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_3340-8_0_3_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_3340-8_0_3_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_3340-8_0_3_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_3340-8_0_3_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_3340-8_0_3_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_3340-8_0_3_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_3340-8_0_3_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_3340-8_0_3_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_3340-8_0_3_node_65 | 0.4 | n |  | TRUE
30 | bus_LV_3340-8_0_3_node_36 | 0.4 | n |  | TRUE
31 | bus_LV_3340-8_0_3_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_3340-8_0_3_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_3340-8_0_3_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_3340-8_0_3_node_45 | 0.4 | n |  | TRUE
35 | bus_LV_3340-8_0_3_node_43 | 0.4 | n |  | TRUE
36 | bus_LV_3340-8_0_3_node_39 | 0.4 | n |  | TRUE
37 | bus_LV_3340-8_0_3_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_3340-8_0_3_node_47 | 0.4 | n |  | TRUE
39 | bus_LV_3340-8_0_3_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_3340-8_0_3_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_3340-8_0_3_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_3340-8_0_3_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_3340-8_0_3_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_3340-8_0_3_node_49 | 0.4 | n |  | TRUE
45 | bus_LV_3340-8_0_3_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_3340-8_0_3_node_78 | 0.4 | n |  | TRUE
47 | bus_LV_3340-8_0_3_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_3340-8_0_3_node_66 | 0.4 | n |  | TRUE
49 | bus_LV_3340-8_0_3_node_50 | 0.4 | n |  | TRUE
50 | bus_LV_3340-8_0_3_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_3340-8_0_3_node_57 | 0.4 | n |  | TRUE
52 | bus_LV_3340-8_0_3_node_55 | 0.4 | n |  | TRUE
53 | bus_LV_3340-8_0_3_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_3340-8_0_3_node_59 | 0.4 | n |  | TRUE
55 | bus_LV_3340-8_0_3_node_69 | 0.4 | n |  | TRUE
56 | bus_LV_3340-8_0_3_node_58 | 0.4 | n |  | TRUE
57 | bus_LV_3340-8_0_3_node_67 | 0.4 | n |  | TRUE
58 | bus_LV_3340-8_0_3_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_3340-8_0_3_node_73 | 0.4 | n |  | TRUE
60 | bus_LV_3340-8_0_3_node_83 | 0.4 | n |  | TRUE
61 | bus_LV_3340-8_0_3_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_3340-8_0_3_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_3340-8_0_3_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_3340-8_0_3_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_3340-8_0_3_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_3340-8_0_3_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_3340-8_0_3_node_71 | 0.4 | n |  | TRUE
68 | bus_LV_3340-8_0_3_node_64 | 0.4 | n |  | TRUE
69 | bus_LV_3340-8_0_3_node_85 | 0.4 | n |  | TRUE
70 | bus_LV_3340-8_0_3_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_3340-8_0_3_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_3340-8_0_3_node_84 | 0.4 | n |  | TRUE
73 | bus_LV_3340-8_0_3_node_62 | 0.4 | n |  | TRUE
74 | bus_LV_3340-8_0_3_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_3340-8_0_3_node_72 | 0.4 | n |  | TRUE
76 | bus_LV_3340-8_0_3_node_74 | 0.4 | n |  | TRUE
77 | bus_LV_3340-8_0_3_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_3340-8_0_3_node_82 | 0.4 | n |  | TRUE
79 | bus_LV_3340-8_0_3_node_76 | 0.4 | n |  | TRUE
80 | bus_LV_3340-8_0_3_node_77 | 0.4 | n |  | TRUE
81 | bus_LV_3340-8_0_3_node_80 | 0.4 | n |  | TRUE
82 | bus_LV_3340-8_0_3_node_81 | 0.4 | n |  | TRUE
83 | bus_MV_585_0_node_169 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3340-8_0_3_load_0 | 0 | 0.0029353 | 0.00073565 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3340-8_0_3_load_1 | 1 | 0.0055491 | 0.0013907 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3340-8_0_3_load_3 | 3 | 0.0072877 | 0.0018265 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3340-8_0_3_load_4 | 4 | 0.0029696 | 0.00074425 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3340-8_0_3_load_5 | 5 | 0.0053672 | 0.0013451 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3340-8_0_3_load_7 | 7 | 0.0014119 | 0.00035385 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3340-8_0_3_load_11 | 8 | 0.0072022 | 0.001805 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3340-8_0_3_load_9 | 9 | 0.0014868 | 0.00037263 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3340-8_0_3_load_10 | 12 | 0.00071051 | 0.00017807 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3340-8_0_3_load_15 | 13 | 0.0026004 | 0.00065173 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3340-8_0_3_load_16 | 14 | 0.00041386 | 0.00010372 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3340-8_0_3_load_13 | 15 | 0.0056462 | 0.0014151 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3340-8_0_3_load_34 | 16 | 0.0039629 | 0.0009932 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3340-8_0_3_load_26 | 18 | 0.004883 | 0.0012238 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3340-8_0_3_load_38 | 19 | 0.00070295 | 0.00017618 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3340-8_0_3_load_27 | 20 | 0.0037138 | 0.00093076 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3340-8_0_3_load_17 | 21 | 0.0012273 | 0.00030759 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3340-8_0_3_load_20 | 23 | 0.0054103 | 0.001356 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3340-8_0_3_load_32 | 24 | 0.00068007 | 0.00017044 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3340-8_0_3_load_19 | 25 | 0.0013694 | 0.00034319 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3340-8_0_3_load_21 | 26 | 0.0012519 | 0.00031377 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3340-8_0_3_load_31 | 27 | 0.00406 | 0.0010175 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3340-8_0_3_load_22 | 28 | 0.00030576 | 7.6631e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3340-8_0_3_load_65 | 29 | 0.00386 | 0.0009674 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3340-8_0_3_load_24 | 32 | 0.0074806 | 0.0018748 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3340-8_0_3_load_45 | 34 | 0.0036111 | 0.00090502 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3340-8_0_3_load_43 | 35 | 0.0048783 | 0.0012226 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3340-8_0_3_load_39 | 36 | 0.012316 | 0.0030867 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3340-8_0_3_load_40 | 37 | 0.0068448 | 0.0017155 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3340-8_0_3_load_47 | 38 | 0.0016023 | 0.00040158 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3340-8_0_3_load_30 | 42 | 0.011795 | 0.0029561 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3340-8_0_3_load_37 | 43 | 0.0028939 | 0.00072528 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3340-8_0_3_load_49 | 44 | 0.0063266 | 0.0015856 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3340-8_0_3_load_42 | 45 | 0.0020828 | 0.00052201 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3340-8_0_3_load_78 | 46 | 0.0006768 | 0.00016962 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3340-8_0_3_load_46 | 47 | 0.0053011 | 0.0013286 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3340-8_0_3_load_66 | 48 | 0.0047167 | 0.0011821 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3340-8_0_3_load_50 | 49 | 0.0026594 | 0.00066652 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3340-8_0_3_load_41 | 50 | 0.0085228 | 0.002136 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3340-8_0_3_load_57 | 51 | 0.0044823 | 0.0011234 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3340-8_0_3_load_55 | 52 | 0.0068304 | 0.0017119 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3340-8_0_3_load_48 | 53 | 0.012196 | 0.0030567 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3340-8_0_3_load_69 | 55 | 0.0027614 | 0.00069208 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3340-8_0_3_load_58 | 56 | 0.0056157 | 0.0014074 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3340-8_0_3_load_67 | 57 | 0.0052968 | 0.0013275 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3340-8_0_3_load_51 | 58 | 0.010346 | 0.0025931 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3340-8_0_3_load_73 | 59 | 0.0032881 | 0.00082407 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3340-8_0_3_load_83 | 60 | 0.0058058 | 0.0014551 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3340-8_0_3_load_52 | 61 | 0.0056145 | 0.0014071 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3340-8_0_3_load_53 | 62 | 0.0044816 | 0.0011232 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3340-8_0_3_load_54 | 63 | 0.0096199 | 0.002411 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3340-8_0_3_load_56 | 64 | 0.0034011 | 0.00085239 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3340-8_0_3_load_71 | 67 | 0.0018432 | 0.00046194 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3340-8_0_3_load_85 | 69 | 0.0025012 | 0.00062685 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3340-8_0_3_load_63 | 70 | 0.0032495 | 0.0008144 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3340-8_0_3_load_84 | 72 | 0.00076693 | 0.00019221 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3340-8_0_3_load_62 | 73 | 0.012095 | 0.0030312 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3340-8_0_3_load_68 | 74 | 0.0067431 | 0.00169 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3340-8_0_3_load_72 | 75 | 0.0055282 | 0.0013855 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3340-8_0_3_load_74 | 76 | 0.0020279 | 0.00050823 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3340-8_0_3_load_75 | 77 | 0.011806 | 0.0029589 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3340-8_0_3_load_82 | 78 | 0.01151 | 0.0028846 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3340-8_0_3_load_76 | 79 | 0.00026903 | 6.7425e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3340-8_0_3_load_80 | 81 | 0.010311 | 0.0025841 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3340-8_0_3_load_81 | 82 | 0.004874 | 0.0012215 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3340-8_0_3_line_0 |  | 0 | 1 | 0.028023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3340-8_0_3_line_1 |  | 0 | 2 | 0.025974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3340-8_0_3_line_2 |  | 1 | 3 | 0.04164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3340-8_0_3_line_3 |  | 2 | 4 | 0.051064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3340-8_0_3_line_4 |  | 2 | 5 | 0.078122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3340-8_0_3_line_5 |  | 3 | 6 | 0.020005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3340-8_0_3_line_6 |  | 4 | 7 | 0.082967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3340-8_0_3_line_7 |  | 6 | 8 | 0.022284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3340-8_0_3_line_8 |  | 7 | 9 | 0.01352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3340-8_0_3_line_9 |  | 8 | 10 | 0.020126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3340-8_0_3_line_10 |  | 8 | 11 | 0.033955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3340-8_0_3_line_11 |  | 9 | 12 | 0.030936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3340-8_0_3_line_12 |  | 10 | 15 | 0.019616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3340-8_0_3_line_13 |  | 11 | 16 | 0.039822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3340-8_0_3_line_14 |  | 12 | 13 | 0.0083776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3340-8_0_3_line_15 |  | 13 | 14 | 0.0068464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3340-8_0_3_line_16 |  | 14 | 21 | 0.027747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3340-8_0_3_line_17 |  | 15 | 17 | 0.016613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3340-8_0_3_line_18 |  | 16 | 19 | 0.053403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3340-8_0_3_line_19 |  | 17 | 18 | 0.021917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3340-8_0_3_line_20 |  | 18 | 20 | 0.039631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3340-8_0_3_line_21 |  | 19 | 45 | 0.0059171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3340-8_0_3_line_22 |  | 20 | 40 | 0.017732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3340-8_0_3_line_23 |  | 21 | 22 | 0.050259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3340-8_0_3_line_24 |  | 22 | 23 | 0.075911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3340-8_0_3_line_25 |  | 22 | 24 | 0.056206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3340-8_0_3_line_26 |  | 23 | 28 | 0.030333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3340-8_0_3_line_27 |  | 24 | 27 | 0.013503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3340-8_0_3_line_28 |  | 25 | 26 | 0.041342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3340-8_0_3_line_29 |  | 25 | 27 | 0.048946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3340-8_0_3_line_30 |  | 28 | 29 | 0.012868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3340-8_0_3_line_31 |  | 29 | 30 | 0.0071443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3340-8_0_3_line_32 |  | 30 | 48 | 0.10152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3340-8_0_3_line_33 |  | 31 | 32 | 0.032456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3340-8_0_3_line_34 |  | 31 | 33 | 0.014845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3340-8_0_3_line_35 |  | 33 | 34 | 0.046241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3340-8_0_3_line_36 |  | 33 | 35 | 0.02947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3340-8_0_3_line_37 |  | 34 | 38 | 0.016199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3340-8_0_3_line_38 |  | 35 | 39 | 0.013953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3340-8_0_3_line_39 |  | 36 | 37 | 0.015899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3340-8_0_3_line_40 |  | 37 | 50 | 0.029989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3340-8_0_3_line_41 |  | 38 | 54 | 0.022679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3340-8_0_3_line_42 |  | 39 | 47 | 0.018287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3340-8_0_3_line_43 |  | 39 | 42 | 0.017455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3340-8_0_3_line_44 |  | 40 | 41 | 0.032092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3340-8_0_3_line_45 |  | 40 | 42 | 0.008886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3340-8_0_3_line_46 |  | 41 | 43 | 0.023059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3340-8_0_3_line_47 |  | 43 | 44 | 0.017916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3340-8_0_3_line_48 |  | 44 | 49 | 0.011798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3340-8_0_3_line_49 |  | 45 | 46 | 0.17984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3340-8_0_3_line_50 |  | 47 | 53 | 0.019644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3340-8_0_3_line_51 |  | 49 | 58 | 0.013343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3340-8_0_3_line_52 |  | 50 | 51 | 0.0031473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3340-8_0_3_line_53 |  | 51 | 52 | 0.0092898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3340-8_0_3_line_54 |  | 52 | 62 | 0.021951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3340-8_0_3_line_55 |  | 53 | 55 | 0.01141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3340-8_0_3_line_56 |  | 54 | 56 | 0.015183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3340-8_0_3_line_57 |  | 55 | 57 | 0.023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3340-8_0_3_line_58 |  | 56 | 64 | 0.016143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3340-8_0_3_line_59 |  | 57 | 74 | 0.015032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3340-8_0_3_line_60 |  | 58 | 59 | 0.016009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3340-8_0_3_line_61 |  | 59 | 60 | 0.0094426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3340-8_0_3_line_62 |  | 60 | 78 | 0.03283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3340-8_0_3_line_63 |  | 61 | 62 | 0.0089922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3340-8_0_3_line_64 |  | 61 | 63 | 0.025307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3340-8_0_3_line_65 |  | 63 | 64 | 0.024844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3340-8_0_3_line_66 |  | 65 | 66 | 0.010522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3340-8_0_3_line_67 |  | 65 | 67 | 0.020174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3340-8_0_3_line_68 |  | 66 | 68 | 0.063184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3340-8_0_3_line_69 |  | 66 | 69 | 0.035893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3340-8_0_3_line_70 |  | 67 | 71 | 0.010747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3340-8_0_3_line_71 |  | 68 | 70 | 0.03966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3340-8_0_3_line_72 |  | 69 | 72 | 0.033302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3340-8_0_3_line_73 |  | 70 | 73 | 0.036771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3340-8_0_3_line_74 |  | 71 | 75 | 0.020023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3340-8_0_3_line_75 |  | 71 | 74 | 0.039688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3340-8_0_3_line_76 |  | 75 | 76 | 0.025563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3340-8_0_3_line_77 |  | 76 | 77 | 0.054298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3340-8_0_3_line_78 |  | 77 | 79 | 0.019807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3340-8_0_3_line_79 |  | 79 | 80 | 0.036525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3340-8_0_3_line_80 |  | 80 | 81 | 0.0071012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3340-8_0_3_line_81 |  | 81 | 82 | 0.0521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3340-8_0_3_trafo_44 | 0.63 MVA 20/0.4 kV | 83 | 39 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2703359.317 | 1233081.9827 | 2703359.0027 | 1233085.4256 | 2703363.4718 | 1233090.1402 | 2703381.3351 | 1233087.4141
1 | 2703361.6785 | 1233056.1168 | 2703359.317 | 1233081.9827
2 | 2703381.3351 | 1233087.4141 | 2703422.4984 | 1233081.1324
3 | 2703361.6785 | 1233056.1168 | 2703344.6552 | 1233061.3247 | 2703311.9992 | 1233067.6446
4 | 2703361.6785 | 1233056.1168 | 2703395.489 | 1233045.7748 | 2703435.0843 | 1233029.6174
5 | 2703441.6629 | 1233075.6116 | 2703427.8289 | 1233080.3189 | 2703422.4984 | 1233081.1324
6 | 2703311.9992 | 1233067.6446 | 2703303.7992 | 1233069.2316 | 2703266.5191 | 1233073.9985 | 2703252.0867 | 1233075.2376 | 2703229.6448 | 1233077.4007
7 | 2703441.6629 | 1233075.6116 | 2703462.8635 | 1233068.7477
8 | 2703216.1872 | 1233078.6979 | 2703229.6448 | 1233077.4007
9 | 2703482.0108 | 1233062.5485 | 2703462.8635 | 1233068.7477
10 | 2703462.8635 | 1233068.7477 | 2703473.7775 | 1233100.9007
11 | 2703185.3937 | 1233081.6659 | 2703216.1872 | 1233078.6979
12 | 2703482.0108 | 1233062.5485 | 2703500.7356 | 1233056.7038
13 | 2703473.7775 | 1233100.9007 | 2703477.0656 | 1233102.5481 | 2703482.7543 | 1233102.4582 | 2703499.6403 | 1233103.8198 | 2703513.1503 | 1233103.4869
14 | 2703185.3937 | 1233081.6659 | 2703182.1038 | 1233081.983 | 2703177.0481 | 1233082.3955
15 | 2703170.2244 | 1233082.9521 | 2703177.0481 | 1233082.3955
16 | 2703170.2244 | 1233082.9521 | 2703142.5692 | 1233085.208
17 | 2703516.5942 | 1233051.7537 | 2703500.7356 | 1233056.7038
18 | 2703566.4065 | 1233100.7642 | 2703559.6306 | 1233100.3732 | 2703542.8715 | 1233100.8483 | 2703518.1408 | 1233103.3639 | 2703513.1503 | 1233103.4869
19 | 2703516.5942 | 1233051.7537 | 2703537.5165 | 1233045.2251
20 | 2703575.3487 | 1233033.42 | 2703537.5165 | 1233045.2251
21 | 2703572.3139 | 1233101.1027 | 2703567.9144 | 1233100.8512 | 2703566.4065 | 1233100.7642
22 | 2703590.3534 | 1233025.6634 | 2703588.0076 | 1233029.4699 | 2703575.3487 | 1233033.42
23 | 2703092.34 | 1233086.6179 | 2703136.5881 | 1233085.6959 | 2703142.5692 | 1233085.208
24 | 2703092.34 | 1233086.6179 | 2703073.969 | 1233086.1657 | 2703037.7708 | 1233084.0254 | 2703016.635 | 1233081.6108
25 | 2703092.34 | 1233086.6179 | 2703070.3091 | 1233138.326
26 | 2703016.635 | 1233081.6108 | 2702997.7225 | 1233079.4501 | 2702986.5788 | 1233077.5918
27 | 2703083.6286 | 1233140.5462 | 2703070.3091 | 1233138.326
28 | 2703156.1341 | 1233105.0264 | 2703158.3002 | 1233114.839 | 2703146.6156 | 1233116.582 | 2703127.2094 | 1233118.2666
29 | 2703127.2094 | 1233118.2666 | 2703083.6286 | 1233140.5462
30 | 2702986.5788 | 1233077.5918 | 2702973.8865 | 1233075.4753
31 | 2702966.8395 | 1233074.3001 | 2702973.8865 | 1233075.4753
32 | 2702966.8395 | 1233074.3001 | 2702938.8844 | 1233068.4338 | 2702906.8746 | 1233060.1288 | 2702875.2337 | 1233050.1959 | 2702868.896 | 1233047.9567
33 | 2703568.1004 | 1232962.9285 | 2703562.5866 | 1232952.9805 | 2703556.7903 | 1232946.2078 | 2703544.6384 | 1232946.8244
34 | 2703568.1004 | 1232962.9285 | 2703581.6568 | 1232956.7934
35 | 2703581.6568 | 1232956.7934 | 2703601.7596 | 1232950.0276 | 2703614.0632 | 1232945.8166 | 2703625.4842 | 1232942.049
36 | 2703581.6568 | 1232956.7934 | 2703587.6035 | 1232985.6571
37 | 2703641.1592 | 1232938.0402 | 2703630.7743 | 1232940.3038 | 2703625.4842 | 1232942.049
38 | 2703590.419 | 1232999.3226 | 2703587.6035 | 1232985.6571
39 | 2703534.0198 | 1232914.6461 | 2703518.1492 | 1232915.6006 | 2703518.1492 | 1232915.6006
40 | 2703534.0198 | 1232914.6461 | 2703563.9548 | 1232912.8458
41 | 2703663.3177 | 1232933.2103 | 2703641.1592 | 1232938.0402
42 | 2703590.419 | 1232999.3226 | 2703608.5225 | 1232996.7376
43 | 2703590.419 | 1232999.3226 | 2703590.3756 | 1233016.7775
44 | 2703590.3534 | 1233025.6634 | 2703596.7532 | 1233035.171 | 2703600.6637 | 1233045.8583 | 2703601.7148 | 1233055.0613
45 | 2703590.3534 | 1233025.6634 | 2703590.3756 | 1233016.7775
46 | 2703601.7148 | 1233055.0613 | 2703619.3904 | 1233057.6158 | 2703624.5895 | 1233057.6773
47 | 2703624.5895 | 1233057.6773 | 2703642.5038 | 1233057.8892
48 | 2703642.5038 | 1233057.8892 | 2703654.3011 | 1233058.0287
49 | 2703572.3139 | 1233101.1027 | 2703633.1571 | 1233270.3405
50 | 2703608.5225 | 1232996.7376 | 2703614.5 | 1232995.8841 | 2703622.0883 | 1232994.5598 | 2703627.0058 | 1232991.2942
51 | 2703654.3011 | 1233058.0287 | 2703656.9738 | 1233058.0603 | 2703667.499 | 1233059.8155
52 | 2703563.9548 | 1232912.8458 | 2703567.0965 | 1232912.6569
53 | 2703576.3695 | 1232912.0992 | 2703567.0965 | 1232912.6569
54 | 2703598.2813 | 1232910.7814 | 2703576.3695 | 1232912.0992
55 | 2703627.0058 | 1232991.2942 | 2703636.5111 | 1232984.9817
56 | 2703663.3177 | 1232933.2103 | 2703660.1744 | 1232918.3561
57 | 2703656.2494 | 1232973.4214 | 2703651.325 | 1232975.1438 | 2703636.5111 | 1232984.9817
58 | 2703660.1744 | 1232918.3561 | 2703656.8324 | 1232902.5631 | 2703656.8324 | 1232902.5631
59 | 2703656.2494 | 1232973.4214 | 2703663.0131 | 1232971.0557 | 2703670.7207 | 1232969.4833
60 | 2703683.3311 | 1233061.969 | 2703680.283 | 1233061.9475 | 2703667.499 | 1233059.8155
61 | 2703683.3311 | 1233061.969 | 2703692.7735 | 1233062.0357
62 | 2703725.6011 | 1233062.1225 | 2703720.9133 | 1233062.2343 | 2703692.7735 | 1233062.0357
63 | 2703607.224 | 1232909.922 | 2703603.578 | 1232910.4628 | 2703598.2813 | 1232910.7814
64 | 2703607.224 | 1232909.922 | 2703632.2573 | 1232906.2085
65 | 2703632.2573 | 1232906.2085 | 2703656.8324 | 1232902.5631
66 | 2703709.4721 | 1232930.7469 | 2703713.9178 | 1232929.8571 | 2703719.8013 | 1232928.5921
67 | 2703709.4721 | 1232930.7469 | 2703710.8504 | 1232943.3248 | 2703710.339 | 1232950.8278
68 | 2703719.8013 | 1232928.5921 | 2703718.4955 | 1232922.7094 | 2703755.7398 | 1232913.5636 | 2703754.8502 | 1232909.0001 | 2703754.2242 | 1232905.8202 | 2703750.8568 | 1232900.9021 | 2703746.8409 | 1232897.9965
69 | 2703719.8013 | 1232928.5921 | 2703724.425 | 1232927.4831 | 2703734.2276 | 1232924.6965 | 2703750.8819 | 1232921.14 | 2703754.7155 | 1232920.333
70 | 2703709.6083 | 1232961.5502 | 2703710.339 | 1232950.8278
71 | 2703746.8409 | 1232897.9965 | 2703725.4513 | 1232901.6705 | 2703722.5628 | 1232883.9467
72 | 2703787.3035 | 1232913.4753 | 2703772.1948 | 1232916.6531 | 2703754.7155 | 1232920.333
73 | 2703716.6481 | 1232847.654 | 2703722.5628 | 1232883.9467
74 | 2703709.6083 | 1232961.5502 | 2703709.3344 | 1232981.5716 | 2703709.3344 | 1232981.5716
75 | 2703709.6083 | 1232961.5502 | 2703670.7207 | 1232969.4833
76 | 2703731.7921 | 1232987.5831 | 2703722.4149 | 1232989.25 | 2703713.3458 | 1232986.9011 | 2703709.3344 | 1232981.5716
77 | 2703731.7921 | 1232987.5831 | 2703735.2301 | 1232986.9719 | 2703751.2074 | 1232979.6786 | 2703758.0528 | 1232979.7092 | 2703760.315 | 1232982.4286 | 2703768.5638 | 1232996.6166 | 2703773.9234 | 1233000.2017 | 2703773.9234 | 1233000.2017
78 | 2703773.9234 | 1233000.2017 | 2703779.9904 | 1233000.1298 | 2703787.7299 | 1232996.6623 | 2703792.9302 | 1232995.879
79 | 2703813.7729 | 1233017.455 | 2703813.2482 | 1233007.1825 | 2703808.0631 | 1232998.3853 | 2703800.3643 | 1232994.7593 | 2703792.9302 | 1232995.879
80 | 2703813.7729 | 1233017.455 | 2703812.1271 | 1233024.3628
81 | 2703812.1271 | 1233024.3628 | 2703805.3146 | 1233052.9562 | 2703801.1042 | 1233060.3215 | 2703786.8858 | 1233060.6607

## bus_geodata
| x | y | coords
0 | 2703359.317 | 1233081.9827
1 | 2703381.3351 | 1233087.4141
2 | 2703361.6785 | 1233056.1168
3 | 2703422.4984 | 1233081.1324
4 | 2703311.9992 | 1233067.6446
5 | 2703435.0843 | 1233029.6174
6 | 2703441.6629 | 1233075.6116
7 | 2703229.6448 | 1233077.4007
8 | 2703462.8635 | 1233068.7477
9 | 2703216.1872 | 1233078.6979
10 | 2703482.0108 | 1233062.5485
11 | 2703473.7775 | 1233100.9007
12 | 2703185.3937 | 1233081.6659
13 | 2703177.0481 | 1233082.3955
14 | 2703170.2244 | 1233082.9521
15 | 2703500.7356 | 1233056.7038
16 | 2703513.1503 | 1233103.4869
17 | 2703516.5942 | 1233051.7537
18 | 2703537.5165 | 1233045.2251
19 | 2703566.4065 | 1233100.7642
20 | 2703575.3487 | 1233033.42
21 | 2703142.5692 | 1233085.208
22 | 2703092.34 | 1233086.6179
23 | 2703016.635 | 1233081.6108
24 | 2703070.3091 | 1233138.326
25 | 2703127.2094 | 1233118.2666
26 | 2703156.1341 | 1233105.0264
27 | 2703083.6286 | 1233140.5462
28 | 2702986.5788 | 1233077.5918
29 | 2702973.8865 | 1233075.4753
30 | 2702966.8395 | 1233074.3001
31 | 2703568.1004 | 1232962.9285
32 | 2703544.6384 | 1232946.8244
33 | 2703581.6568 | 1232956.7934
34 | 2703625.4842 | 1232942.049
35 | 2703587.6035 | 1232985.6571
36 | 2703518.1492 | 1232915.6006
37 | 2703534.0198 | 1232914.6461
38 | 2703641.1592 | 1232938.0402
39 | 2703590.419 | 1232999.3226
40 | 2703590.3534 | 1233025.6634
41 | 2703601.7148 | 1233055.0613
42 | 2703590.3756 | 1233016.7775
43 | 2703624.5895 | 1233057.6773
44 | 2703642.5038 | 1233057.8892
45 | 2703572.3139 | 1233101.1027
46 | 2703633.1571 | 1233270.3405
47 | 2703608.5225 | 1232996.7376
48 | 2702868.896 | 1233047.9567
49 | 2703654.3011 | 1233058.0287
50 | 2703563.9548 | 1232912.8458
51 | 2703567.0965 | 1232912.6569
52 | 2703576.3695 | 1232912.0992
53 | 2703627.0058 | 1232991.2942
54 | 2703663.3177 | 1232933.2103
55 | 2703636.5111 | 1232984.9817
56 | 2703660.1744 | 1232918.3561
57 | 2703656.2494 | 1232973.4214
58 | 2703667.499 | 1233059.8155
59 | 2703683.3311 | 1233061.969
60 | 2703692.7735 | 1233062.0357
61 | 2703607.224 | 1232909.922
62 | 2703598.2813 | 1232910.7814
63 | 2703632.2573 | 1232906.2085
64 | 2703656.8324 | 1232902.5631
65 | 2703709.4721 | 1232930.7469
66 | 2703719.8013 | 1232928.5921
67 | 2703710.339 | 1232950.8278
68 | 2703746.8409 | 1232897.9965
69 | 2703754.7155 | 1232920.333
70 | 2703722.5628 | 1232883.9467
71 | 2703709.6083 | 1232961.5502
72 | 2703787.3035 | 1232913.4753
73 | 2703716.6481 | 1232847.654
74 | 2703670.7208 | 1232969.4833
75 | 2703709.3344 | 1232981.5716
76 | 2703731.7921 | 1232987.5831
77 | 2703773.9234 | 1233000.2017
78 | 2703725.6011 | 1233062.1225
79 | 2703792.9302 | 1232995.879
80 | 2703813.7729 | 1233017.455
81 | 2703812.1271 | 1233024.3628
82 | 2703786.8858 | 1233060.6607
83 | 2703590.3534 | 1233025.6634

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1