## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3402-11_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3402-11_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3402-11_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3402-11_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3402-11_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3402-11_0_4_node_14 | 0.4 | n |  | TRUE
6 | bus_LV_3402-11_0_4_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_3402-11_0_4_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_3402-11_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_3402-11_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_3402-11_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_3402-11_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_3402-11_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_3402-11_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_3402-11_0_4_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_3402-11_0_4_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_3402-11_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_3402-11_0_4_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_3402-11_0_4_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_3402-11_0_4_node_38 | 0.4 | n |  | TRUE
20 | bus_LV_3402-11_0_4_node_35 | 0.4 | n |  | TRUE
21 | bus_LV_3402-11_0_4_node_84 | 0.4 | n |  | TRUE
22 | bus_LV_3402-11_0_4_node_53 | 0.4 | n |  | TRUE
23 | bus_LV_3402-11_0_4_node_36 | 0.4 | n |  | TRUE
24 | bus_LV_3402-11_0_4_node_85 | 0.4 | n |  | TRUE
25 | bus_LV_3402-11_0_4_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_3402-11_0_4_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_3402-11_0_4_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_3402-11_0_4_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_3402-11_0_4_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_3402-11_0_4_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_3402-11_0_4_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_3402-11_0_4_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_3402-11_0_4_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_3402-11_0_4_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_3402-11_0_4_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_3402-11_0_4_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_3402-11_0_4_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_3402-11_0_4_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_3402-11_0_4_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_3402-11_0_4_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_3402-11_0_4_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_3402-11_0_4_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_3402-11_0_4_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_3402-11_0_4_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_3402-11_0_4_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_3402-11_0_4_node_51 | 0.4 | n |  | TRUE
47 | bus_LV_3402-11_0_4_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_3402-11_0_4_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_3402-11_0_4_node_61 | 0.4 | n |  | TRUE
50 | bus_LV_3402-11_0_4_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_3402-11_0_4_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_3402-11_0_4_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_3402-11_0_4_node_57 | 0.4 | n |  | TRUE
54 | bus_LV_3402-11_0_4_node_55 | 0.4 | n |  | TRUE
55 | bus_LV_3402-11_0_4_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_3402-11_0_4_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_3402-11_0_4_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_3402-11_0_4_node_66 | 0.4 | n |  | TRUE
59 | bus_LV_3402-11_0_4_node_67 | 0.4 | n |  | TRUE
60 | bus_LV_3402-11_0_4_node_64 | 0.4 | n |  | TRUE
61 | bus_LV_3402-11_0_4_node_68 | 0.4 | n |  | TRUE
62 | bus_LV_3402-11_0_4_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_3402-11_0_4_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_3402-11_0_4_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_3402-11_0_4_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_3402-11_0_4_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_3402-11_0_4_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_3402-11_0_4_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_3402-11_0_4_node_65 | 0.4 | n |  | TRUE
70 | bus_LV_3402-11_0_4_node_69 | 0.4 | n |  | TRUE
71 | bus_LV_3402-11_0_4_node_72 | 0.4 | n |  | TRUE
72 | bus_LV_3402-11_0_4_node_74 | 0.4 | n |  | TRUE
73 | bus_LV_3402-11_0_4_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_3402-11_0_4_node_71 | 0.4 | n |  | TRUE
75 | bus_LV_3402-11_0_4_node_73 | 0.4 | n |  | TRUE
76 | bus_LV_3402-11_0_4_node_82 | 0.4 | n |  | TRUE
77 | bus_LV_3402-11_0_4_node_87 | 0.4 | n |  | TRUE
78 | bus_LV_3402-11_0_4_node_80 | 0.4 | n |  | TRUE
79 | bus_LV_3402-11_0_4_node_86 | 0.4 | n |  | TRUE
80 | bus_LV_3402-11_0_4_node_75 | 0.4 | n |  | TRUE
81 | bus_LV_3402-11_0_4_node_76 | 0.4 | n |  | TRUE
82 | bus_LV_3402-11_0_4_node_77 | 0.4 | n |  | TRUE
83 | bus_LV_3402-11_0_4_node_78 | 0.4 | n |  | TRUE
84 | bus_LV_3402-11_0_4_node_79 | 0.4 | n |  | TRUE
85 | bus_LV_3402-11_0_4_node_83 | 0.4 | n |  | TRUE
86 | bus_LV_3402-11_0_4_node_81 | 0.4 | n |  | TRUE
87 | bus_LV_3402-11_0_4_node_88 | 0.4 | n |  | TRUE
88 | bus_MV_155_1_node_57 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3402-11_0_4_load_0 | 0 | 0.0085292 | 0.0021376 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3402-11_0_4_load_1 | 1 | 0.0011899 | 0.00029822 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3402-11_0_4_load_2 | 2 | 0.0098579 | 0.0024706 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3402-11_0_4_load_3 | 3 | 0.00053886 | 0.00013505 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3402-11_0_4_load_4 | 4 | 0.0042651 | 0.0010689 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3402-11_0_4_load_15 | 6 | 0.0023501 | 0.000589 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3402-11_0_4_load_5 | 8 | 0.0037585 | 0.00094197 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3402-11_0_4_load_6 | 9 | 0.0012572 | 0.00031509 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3402-11_0_4_load_8 | 10 | 0.0022882 | 0.00057348 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3402-11_0_4_load_7 | 11 | 0.0014125 | 0.00035401 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3402-11_0_4_load_9 | 12 | 0.002941 | 0.00073707 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3402-11_0_4_load_19 | 14 | 0.010513 | 0.0026348 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3402-11_0_4_load_12 | 16 | 0.0022657 | 0.00056783 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3402-11_0_4_load_13 | 17 | 0.0059354 | 0.0014875 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3402-11_0_4_load_38 | 19 | 0.0064304 | 0.0016116 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3402-11_0_4_load_35 | 20 | 0.00098233 | 0.0002462 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3402-11_0_4_load_84 | 21 | 0.0044957 | 0.0011267 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3402-11_0_4_load_53 | 22 | 0.0019529 | 0.00048943 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3402-11_0_4_load_36 | 23 | 0.0029682 | 0.00074389 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3402-11_0_4_load_85 | 24 | 0.0065922 | 0.0016522 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3402-11_0_4_load_18 | 25 | 0.0057274 | 0.0014354 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3402-11_0_4_load_29 | 27 | 0.010138 | 0.0025408 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3402-11_0_4_load_24 | 28 | 0.0087185 | 0.0021851 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3402-11_0_4_load_21 | 29 | 0.008009 | 0.0020072 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3402-11_0_4_load_33 | 31 | 0.0051814 | 0.0012986 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3402-11_0_4_load_34 | 32 | 0.0024727 | 0.00061973 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3402-11_0_4_load_22 | 33 | 0.0042129 | 0.0010559 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3402-11_0_4_load_23 | 34 | 0.001523 | 0.0003817 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3402-11_0_4_load_25 | 35 | 0.0015242 | 0.00038199 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3402-11_0_4_load_30 | 36 | 0.0013119 | 0.0003288 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3402-11_0_4_load_31 | 37 | 0.0053074 | 0.0013302 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3402-11_0_4_load_28 | 38 | 0.0028778 | 0.00072125 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3402-11_0_4_load_27 | 39 | 0.0017108 | 0.00042878 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3402-11_0_4_load_42 | 41 | 0.0090751 | 0.0022744 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3402-11_0_4_load_43 | 42 | 0.0035059 | 0.00087865 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3402-11_0_4_load_37 | 43 | 0.0024668 | 0.00061824 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3402-11_0_4_load_39 | 44 | 0.0025032 | 0.00062736 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3402-11_0_4_load_40 | 45 | 0.0015587 | 0.00039064 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3402-11_0_4_load_44 | 47 | 0.0053087 | 0.0013305 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3402-11_0_4_load_45 | 48 | 0.0030226 | 0.00075755 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3402-11_0_4_load_61 | 49 | 0.0034924 | 0.00087528 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3402-11_0_4_load_47 | 51 | 0.0025087 | 0.00062873 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3402-11_0_4_load_48 | 52 | 0.0021301 | 0.00053385 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3402-11_0_4_load_57 | 53 | 0.0036054 | 0.0009036 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3402-11_0_4_load_55 | 54 | 0.0037079 | 0.0009293 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3402-11_0_4_load_49 | 55 | 0.028512 | 0.0071458 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3402-11_0_4_load_50 | 56 | 0.031106 | 0.0077959 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3402-11_0_4_load_66 | 58 | 0.0016193 | 0.00040583 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3402-11_0_4_load_67 | 59 | 0.0014412 | 0.0003612 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3402-11_0_4_load_64 | 60 | 0.033644 | 0.0084319 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3402-11_0_4_load_68 | 61 | 0.0013361 | 0.00033486 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3402-11_0_4_load_54 | 63 | 0.0026867 | 0.00067335 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3402-11_0_4_load_56 | 64 | 0.0041004 | 0.0010277 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3402-11_0_4_load_58 | 65 | 0.054004 | 0.013535 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3402-11_0_4_load_59 | 66 | 0.02726 | 0.006832 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3402-11_0_4_load_60 | 67 | 0.032045 | 0.0080311 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3402-11_0_4_load_63 | 68 | 0.054949 | 0.013772 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3402-11_0_4_load_65 | 69 | 0.039961 | 0.010015 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3402-11_0_4_load_69 | 70 | 0.0036135 | 0.00090562 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3402-11_0_4_load_74 | 72 | 0.00036315 | 9.1014e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3402-11_0_4_load_70 | 73 | 0.0046541 | 0.0011664 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3402-11_0_4_load_73 | 75 | 0.0012473 | 0.00031259 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3402-11_0_4_load_82 | 76 | 0.003952 | 0.00099046 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3402-11_0_4_load_87 | 77 | 0.00025871 | 6.4838e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3402-11_0_4_load_80 | 78 | 0.0029074 | 0.00072866 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3402-11_0_4_load_86 | 79 | 0.0010951 | 0.00027445 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3402-11_0_4_load_75 | 80 | 0.0089385 | 0.0022402 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3402-11_0_4_load_76 | 81 | 0.00219 | 0.00054887 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3402-11_0_4_load_77 | 82 | 0.025673 | 0.0064341 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3402-11_0_4_load_78 | 83 | 0.0035323 | 0.00088528 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3402-11_0_4_load_79 | 84 | 0.0092117 | 0.0023087 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3402-11_0_4_load_83 | 85 | 0.0036878 | 0.00092426 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3402-11_0_4_load_81 | 86 | 0.0008778 | 0.00022 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3402-11_0_4_load_88 | 87 | 0.016802 | 0.004211 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 56 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3402-11_0_4_line_0 |  | 0 | 1 | 0.022491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3402-11_0_4_line_1 |  | 0 | 2 | 0.016337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3402-11_0_4_line_2 |  | 1 | 3 | 0.012633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3402-11_0_4_line_3 |  | 2 | 4 | 0.015272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3402-11_0_4_line_4 |  | 4 | 5 | 0.018184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3402-11_0_4_line_5 |  | 5 | 6 | 0.015127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3402-11_0_4_line_6 |  | 5 | 7 | 0.029255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3402-11_0_4_line_7 |  | 6 | 16 | 0.041015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3402-11_0_4_line_8 |  | 7 | 25 | 0.013735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3402-11_0_4_line_9 |  | 7 | 26 | 0.021726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3402-11_0_4_line_10 |  | 8 | 9 | 0.019415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3402-11_0_4_line_11 |  | 9 | 10 | 0.01445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3402-11_0_4_line_12 |  | 10 | 13 | 0.016015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3402-11_0_4_line_13 |  | 11 | 12 | 0.0012584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3402-11_0_4_line_14 |  | 12 | 14 | 0.016252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3402-11_0_4_line_15 |  | 13 | 15 | 0.029801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_3402-11_0_4_line_16 |  | 13 | 16 | 0.018579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3402-11_0_4_line_17 |  | 13 | 17 | 0.032568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3402-11_0_4_line_18 |  | 14 | 18 | 0.035904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3402-11_0_4_line_19 |  | 15 | 19 | 0.0093537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_3402-11_0_4_line_20 |  | 15 | 20 | 0.010088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3402-11_0_4_line_21 |  | 17 | 21 | 0.014598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3402-11_0_4_line_22 |  | 18 | 29 | 0.020637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3402-11_0_4_line_23 |  | 19 | 22 | 0.010014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_3402-11_0_4_line_24 |  | 20 | 23 | 0.015399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3402-11_0_4_line_25 |  | 21 | 24 | 0.013321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3402-11_0_4_line_26 |  | 22 | 46 | 0.027983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_3402-11_0_4_line_27 |  | 23 | 43 | 0.0023798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3402-11_0_4_line_28 |  | 24 | 84 | 0.030278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3402-11_0_4_line_29 |  | 26 | 27 | 0.022528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3402-11_0_4_line_30 |  | 26 | 28 | 0.011542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3402-11_0_4_line_31 |  | 27 | 38 | 0.0071556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3402-11_0_4_line_32 |  | 28 | 33 | 0.0020565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3402-11_0_4_line_33 |  | 29 | 30 | 0.036699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3402-11_0_4_line_34 |  | 30 | 31 | 0.013762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3402-11_0_4_line_35 |  | 30 | 32 | 0.020285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3402-11_0_4_line_36 |  | 31 | 40 | 0.021363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3402-11_0_4_line_37 |  | 33 | 34 | 0.01961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3402-11_0_4_line_38 |  | 34 | 35 | 0.0018136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3402-11_0_4_line_39 |  | 35 | 36 | 0.021171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3402-11_0_4_line_40 |  | 36 | 37 | 0.0043335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3402-11_0_4_line_41 |  | 38 | 39 | 0.00022214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3402-11_0_4_line_42 |  | 40 | 41 | 0.021057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3402-11_0_4_line_43 |  | 40 | 42 | 0.018174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3402-11_0_4_line_44 |  | 41 | 45 | 0.025181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3402-11_0_4_line_45 |  | 42 | 47 | 0.00091239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3402-11_0_4_line_46 |  | 43 | 44 | 0.02548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3402-11_0_4_line_47 |  | 44 | 45 | 0.017289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3402-11_0_4_line_48 |  | 46 | 57 | 0.017142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_3402-11_0_4_line_49 |  | 46 | 55 | 0.012235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_3402-11_0_4_line_50 |  | 47 | 48 | 0.027522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3402-11_0_4_line_51 |  | 48 | 49 | 0.0041038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3402-11_0_4_line_52 |  | 50 | 51 | 0.0094358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3402-11_0_4_line_53 |  | 50 | 52 | 0.010252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3402-11_0_4_line_54 |  | 51 | 53 | 0.00067245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3402-11_0_4_line_55 |  | 53 | 54 | 0.021943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3402-11_0_4_line_56 |  | 54 | 63 | 0.0074869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3402-11_0_4_line_57 |  | 55 | 56 | 0.014833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_3402-11_0_4_line_58 |  | 57 | 58 | 0.031254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3402-11_0_4_line_59 |  | 57 | 59 | 0.062202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3402-11_0_4_line_60 |  | 57 | 60 | 0.037915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_3402-11_0_4_line_61 |  | 58 | 61 | 0.0020377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3402-11_0_4_line_62 |  | 60 | 62 | 0.020279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_3402-11_0_4_line_63 |  | 61 | 70 | 0.019548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3402-11_0_4_line_64 |  | 62 | 68 | 0.037493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3402-11_0_4_line_65 |  | 62 | 67 | 0.013687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3402-11_0_4_line_66 |  | 63 | 64 | 0.016299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3402-11_0_4_line_67 |  | 64 | 65 | 0.0096104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3402-11_0_4_line_68 |  | 65 | 66 | 0.016053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3402-11_0_4_line_69 |  | 66 | 67 | 0.010891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3402-11_0_4_line_70 |  | 68 | 69 | 0.034863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3402-11_0_4_line_71 |  | 70 | 71 | 0.014047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3402-11_0_4_line_72 |  | 71 | 72 | 0.052976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3402-11_0_4_line_73 |  | 71 | 73 | 0.02456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3402-11_0_4_line_74 |  | 72 | 77 | 0.0037513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3402-11_0_4_line_75 |  | 73 | 74 | 0.023503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3402-11_0_4_line_76 |  | 74 | 75 | 0.027488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3402-11_0_4_line_77 |  | 75 | 76 | 0.018646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3402-11_0_4_line_78 |  | 76 | 78 | 0.02051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3402-11_0_4_line_79 |  | 77 | 79 | 0.033687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3402-11_0_4_line_80 |  | 78 | 86 | 0.011521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3402-11_0_4_line_81 |  | 79 | 87 | 0.064375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3402-11_0_4_line_82 |  | 80 | 81 | 0.011188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3402-11_0_4_line_83 |  | 80 | 82 | 0.022584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3402-11_0_4_line_84 |  | 81 | 83 | 0.013739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3402-11_0_4_line_85 |  | 82 | 84 | 0.0023794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3402-11_0_4_line_86 |  | 83 | 85 | 0.0084861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3402-11_0_4_trafo_50 | 0.63 MVA 20/0.4 kV | 88 | 56 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2731583.1249 | 1253266.3783 | 2731605.0263 | 1253261.2608
1 | 2731583.1249 | 1253266.3783 | 2731567.2169 | 1253270.0953
2 | 2731605.0263 | 1253261.2608 | 2731605.0263 | 1253261.2608 | 2731602.2651 | 1253248.9328
3 | 2731552.1797 | 1253272.734 | 2731564.6516 | 1253270.6947 | 2731567.2169 | 1253270.0953
4 | 2731534.2343 | 1253275.6682 | 2731552.1797 | 1253272.734
5 | 2731534.2343 | 1253275.6682 | 2731529.0584 | 1253289.8822
6 | 2731547.0991 | 1253249.408 | 2731542.0694 | 1253258.3488 | 2731534.2343 | 1253275.6682
7 | 2731529.0584 | 1253289.8822 | 2731527.4172 | 1253294.3893 | 2731523.6998 | 1253310.8549 | 2731521.8438 | 1253330.1039
8 | 2731547.0991 | 1253249.408 | 2731560.2509 | 1253245.4494
9 | 2731525.3927 | 1253251.3167 | 2731547.0991 | 1253249.408
10 | 2731569.3999 | 1253341.2681 | 2731550.1952 | 1253344.1207
11 | 2731535.902 | 1253346.2438 | 2731550.1952 | 1253344.1207
12 | 2731520.0607 | 1253348.5969 | 2731535.902 | 1253346.2438
13 | 2731612.4193 | 1253327.6892 | 2731611.3781 | 1253328.3959
14 | 2731612.4193 | 1253327.6892 | 2731623.5467 | 1253320.1364 | 2731626.338 | 1253319.8804
15 | 2731520.0607 | 1253348.5969 | 2731512.3933 | 1253377.397
16 | 2731520.0607 | 1253348.5969 | 2731521.8438 | 1253330.1039
17 | 2731520.0607 | 1253348.5969 | 2731495.5319 | 1253349.4754 | 2731487.5112 | 1253349.6905
18 | 2731662.0917 | 1253316.6009 | 2731626.338 | 1253319.8804
19 | 2731512.3933 | 1253377.397 | 2731511.8073 | 1253378.9743 | 2731510.2659 | 1253386.4889
20 | 2731512.3933 | 1253377.397 | 2731522.4691 | 1253377.8852
21 | 2731472.9188 | 1253350.0818 | 2731487.5112 | 1253349.6905
22 | 2731662.0917 | 1253316.6009 | 2731662.7193 | 1253337.2285
23 | 2731510.2659 | 1253386.4889 | 2731508.2536 | 1253396.299
24 | 2731522.4691 | 1253377.8852 | 2731537.85 | 1253378.6305
25 | 2731472.9188 | 1253350.0818 | 2731459.6026 | 1253350.4388
26 | 2731502.631 | 1253423.7109 | 2731508.2536 | 1253396.299
27 | 2731540.227 | 1253378.7457 | 2731537.85 | 1253378.6305
28 | 2731429.3356 | 1253351.2505 | 2731459.6026 | 1253350.4388
29 | 2731525.3927 | 1253251.3167 | 2731523.3968 | 1253228.8776
30 | 2731525.3927 | 1253251.3167 | 2731513.9238 | 1253252.6141
31 | 2731522.7628 | 1253221.7502 | 2731523.3968 | 1253228.8776
32 | 2731511.8804 | 1253252.8453 | 2731513.9238 | 1253252.6141
33 | 2731664.1609 | 1253373.8984 | 2731663.0161 | 1253346.9821 | 2731662.7193 | 1253337.2285
34 | 2731664.1609 | 1253373.8984 | 2731650.4128 | 1253374.5164
35 | 2731664.1609 | 1253373.8984 | 2731664.7764 | 1253394.1737
36 | 2731629.0717 | 1253375.4756 | 2731650.4128 | 1253374.5164
37 | 2731511.8804 | 1253252.8453 | 2731492.3942 | 1253255.0497
38 | 2731492.3942 | 1253255.0497 | 2731490.5921 | 1253255.2536
39 | 2731469.555 | 1253257.6335 | 2731490.5921 | 1253255.2536
40 | 2731469.555 | 1253257.6335 | 2731465.249 | 1253258.1206
41 | 2731522.7431 | 1253221.5289 | 2731522.7628 | 1253221.7502
42 | 2731629.0717 | 1253375.4756 | 2731608.0578 | 1253376.8158
43 | 2731629.0717 | 1253375.4756 | 2731628.7805 | 1253393.6474
44 | 2731582.9281 | 1253378.4185 | 2731608.0578 | 1253376.8158
45 | 2731628.7659 | 1253394.5597 | 2731628.7805 | 1253393.6474
46 | 2731540.227 | 1253378.7457 | 2731561.5776 | 1253379.7802 | 2731565.6737 | 1253379.5189
47 | 2731565.6737 | 1253379.5189 | 2731582.9281 | 1253378.4185
48 | 2731502.631 | 1253423.7109 | 2731500.916 | 1253440.7659
49 | 2731502.631 | 1253423.7109 | 2731514.8418 | 1253424.483
50 | 2731628.7659 | 1253394.5597 | 2731628.3249 | 1253422.0778
51 | 2731628.2592 | 1253426.1811 | 2731628.3249 | 1253422.0778
52 | 2731659.4452 | 1253471.537 | 2731650.0639 | 1253470.5242
53 | 2731659.4452 | 1253471.537 | 2731669.6534 | 1253472.4842
54 | 2731649.3953 | 1253470.452 | 2731650.0639 | 1253470.5242
55 | 2731627.5789 | 1253468.0966 | 2731649.3953 | 1253470.452
56 | 2731620.1353 | 1253467.293 | 2731627.5789 | 1253468.0966
57 | 2731514.8418 | 1253424.483 | 2731529.6452 | 1253425.4191
58 | 2731500.916 | 1253440.7659 | 2731487.0244 | 1253452.7906 | 2731475.647 | 1253458.8304
59 | 2731500.916 | 1253440.7659 | 2731499.2973 | 1253452.1291 | 2731491.4741 | 1253486.2528 | 2731481.4313 | 1253498.3409
60 | 2731500.916 | 1253440.7659 | 2731511.1348 | 1253450.0011 | 2731533.8503 | 1253458.1764
61 | 2731475.647 | 1253458.8304 | 2731473.8472 | 1253459.7858
62 | 2731553.979 | 1253460.1504 | 2731535.3743 | 1253458.7249 | 2731533.8503 | 1253458.1764
63 | 2731456.581 | 1253468.9516 | 2731473.8472 | 1253459.7858
64 | 2731553.979 | 1253460.1504 | 2731552.1728 | 1253426.2909 | 2731555.7574 | 1253426.2306
65 | 2731553.979 | 1253460.1504 | 2731567.5873 | 1253461.6196
66 | 2731620.1353 | 1253467.293 | 2731603.9306 | 1253465.5434
67 | 2731594.3757 | 1253464.5118 | 2731603.9306 | 1253465.5434
68 | 2731594.3757 | 1253464.5118 | 2731578.415 | 1253462.7886
69 | 2731567.5873 | 1253461.6196 | 2731578.415 | 1253462.7886
70 | 2731590.615 | 1253425.6442 | 2731555.7574 | 1253426.2306
71 | 2731444.1741 | 1253475.5379 | 2731456.581 | 1253468.9516
72 | 2731444.1741 | 1253475.5379 | 2731429.1211 | 1253503.8405 | 2731414.646 | 1253518.9438
73 | 2731444.1741 | 1253475.5379 | 2731420.3168 | 1253481.3701
74 | 2731412.0503 | 1253521.6521 | 2731414.646 | 1253518.9438
75 | 2731397.0591 | 1253484.7009 | 2731418.7347 | 1253481.7568 | 2731420.3168 | 1253481.3701
76 | 2731397.0591 | 1253484.7009 | 2731397.5789 | 1253457.2182
77 | 2731397.9316 | 1253438.5752 | 2731397.5789 | 1253457.2182
78 | 2731398.3195 | 1253418.0689 | 2731397.9316 | 1253438.5752
79 | 2731382.8339 | 1253537.4627 | 2731406.7975 | 1253527.1328 | 2731412.0503 | 1253521.6521
80 | 2731398.3195 | 1253418.0689 | 2731398.3195 | 1253418.0689 | 2731386.8309 | 1253417.1984
81 | 2731382.8339 | 1253537.4627 | 2731421.8596 | 1253588.6603
82 | 2731404.3792 | 1253351.3817 | 2731393.1933 | 1253351.1796
83 | 2731404.3792 | 1253351.3817 | 2731416.3636 | 1253351.5983 | 2731426.957 | 1253351.3142
84 | 2731379.4567 | 1253350.9313 | 2731393.1933 | 1253351.1796
85 | 2731429.3356 | 1253351.2505 | 2731426.957 | 1253351.3142
86 | 2731379.4567 | 1253350.9313 | 2731370.972 | 1253350.778

## bus_geodata
| x | y | coords
0 | 2731583.1249 | 1253266.3783
1 | 2731605.0263 | 1253261.2608
2 | 2731567.2169 | 1253270.0953
3 | 2731602.2651 | 1253248.9328
4 | 2731552.1797 | 1253272.734
5 | 2731534.2343 | 1253275.6682
6 | 2731529.0584 | 1253289.8822
7 | 2731547.0991 | 1253249.408
8 | 2731569.3999 | 1253341.2681
9 | 2731550.1952 | 1253344.1207
10 | 2731535.902 | 1253346.2438
11 | 2731611.3781 | 1253328.3959
12 | 2731612.4193 | 1253327.6892
13 | 2731520.0607 | 1253348.5969
14 | 2731626.338 | 1253319.8804
15 | 2731512.3933 | 1253377.397
16 | 2731521.8438 | 1253330.1039
17 | 2731487.5112 | 1253349.6905
18 | 2731662.0917 | 1253316.6009
19 | 2731510.2659 | 1253386.4889
20 | 2731522.4691 | 1253377.8852
21 | 2731472.9188 | 1253350.0818
22 | 2731508.2536 | 1253396.299
23 | 2731537.85 | 1253378.6305
24 | 2731459.6026 | 1253350.4388
25 | 2731560.2509 | 1253245.4494
26 | 2731525.3927 | 1253251.3167
27 | 2731523.3968 | 1253228.8776
28 | 2731513.9238 | 1253252.6141
29 | 2731662.7193 | 1253337.2285
30 | 2731664.1609 | 1253373.8984
31 | 2731650.4128 | 1253374.5164
32 | 2731664.7764 | 1253394.1737
33 | 2731511.8804 | 1253252.8453
34 | 2731492.3942 | 1253255.0497
35 | 2731490.5921 | 1253255.2536
36 | 2731469.555 | 1253257.6335
37 | 2731465.249 | 1253258.1206
38 | 2731522.7628 | 1253221.7502
39 | 2731522.7431 | 1253221.5289
40 | 2731629.0717 | 1253375.4756
41 | 2731608.0578 | 1253376.8158
42 | 2731628.7805 | 1253393.6474
43 | 2731540.227 | 1253378.7457
44 | 2731565.6737 | 1253379.5189
45 | 2731582.9281 | 1253378.4185
46 | 2731502.631 | 1253423.7109
47 | 2731628.7659 | 1253394.5597
48 | 2731628.325 | 1253422.0778
49 | 2731628.2592 | 1253426.1811
50 | 2731659.4452 | 1253471.537
51 | 2731650.0639 | 1253470.5242
52 | 2731669.6534 | 1253472.4842
53 | 2731649.3953 | 1253470.452
54 | 2731627.5789 | 1253468.0966
55 | 2731514.8418 | 1253424.483
56 | 2731529.6452 | 1253425.4191
57 | 2731500.916 | 1253440.7659
58 | 2731475.647 | 1253458.8304
59 | 2731481.4313 | 1253498.3409
60 | 2731533.8503 | 1253458.1764
61 | 2731473.8472 | 1253459.7858
62 | 2731553.979 | 1253460.1504
63 | 2731620.1353 | 1253467.293
64 | 2731603.9306 | 1253465.5434
65 | 2731594.3757 | 1253464.5118
66 | 2731578.415 | 1253462.7886
67 | 2731567.5873 | 1253461.6196
68 | 2731555.7574 | 1253426.2306
69 | 2731590.615 | 1253425.6442
70 | 2731456.581 | 1253468.9516
71 | 2731444.1741 | 1253475.5379
72 | 2731414.646 | 1253518.9438
73 | 2731420.3168 | 1253481.3701
74 | 2731397.0591 | 1253484.7009
75 | 2731397.5789 | 1253457.2182
76 | 2731397.9316 | 1253438.5752
77 | 2731412.0503 | 1253521.6521
78 | 2731398.3195 | 1253418.0689
79 | 2731382.8339 | 1253537.4627
80 | 2731404.3792 | 1253351.3817
81 | 2731393.1933 | 1253351.1796
82 | 2731426.957 | 1253351.3142
83 | 2731379.4567 | 1253350.9313
84 | 2731429.3356 | 1253351.2505
85 | 2731370.972 | 1253350.778
86 | 2731386.8309 | 1253417.1984
87 | 2731421.8596 | 1253588.6603
88 | 2731535.1708 | 1253425.7685

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1