## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3402-1_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3402-1_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3402-1_0_6_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3402-1_0_6_node_12 | 0.4 | n |  | TRUE
4 | bus_LV_3402-1_0_6_node_14 | 0.4 | n |  | TRUE
5 | bus_LV_3402-1_0_6_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_3402-1_0_6_node_38 | 0.4 | n |  | TRUE
7 | bus_LV_3402-1_0_6_node_37 | 0.4 | n |  | TRUE
8 | bus_LV_3402-1_0_6_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_3402-1_0_6_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_3402-1_0_6_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_3402-1_0_6_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_3402-1_0_6_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_3402-1_0_6_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_3402-1_0_6_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_3402-1_0_6_node_23 | 0.4 | n |  | TRUE
16 | bus_LV_3402-1_0_6_node_35 | 0.4 | n |  | TRUE
17 | bus_LV_3402-1_0_6_node_33 | 0.4 | n |  | TRUE
18 | bus_LV_3402-1_0_6_node_47 | 0.4 | n |  | TRUE
19 | bus_LV_3402-1_0_6_node_46 | 0.4 | n |  | TRUE
20 | bus_LV_3402-1_0_6_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_3402-1_0_6_node_99 | 0.4 | n |  | TRUE
22 | bus_LV_3402-1_0_6_node_96 | 0.4 | n |  | TRUE
23 | bus_LV_3402-1_0_6_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_3402-1_0_6_node_97 | 0.4 | n |  | TRUE
25 | bus_LV_3402-1_0_6_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_3402-1_0_6_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_3402-1_0_6_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_3402-1_0_6_node_101 | 0.4 | n |  | TRUE
29 | bus_LV_3402-1_0_6_node_100 | 0.4 | n |  | TRUE
30 | bus_LV_3402-1_0_6_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_3402-1_0_6_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_3402-1_0_6_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_3402-1_0_6_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_3402-1_0_6_node_48 | 0.4 | n |  | TRUE
35 | bus_LV_3402-1_0_6_node_43 | 0.4 | n |  | TRUE
36 | bus_LV_3402-1_0_6_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_3402-1_0_6_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_3402-1_0_6_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_3402-1_0_6_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_3402-1_0_6_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_3402-1_0_6_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_3402-1_0_6_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_3402-1_0_6_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_3402-1_0_6_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_3402-1_0_6_node_109 | 0.4 | n |  | TRUE
46 | bus_LV_3402-1_0_6_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_3402-1_0_6_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_3402-1_0_6_node_108 | 0.4 | n |  | TRUE
49 | bus_LV_3402-1_0_6_node_110 | 0.4 | n |  | TRUE
50 | bus_LV_3402-1_0_6_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_3402-1_0_6_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_3402-1_0_6_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_3402-1_0_6_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_3402-1_0_6_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_3402-1_0_6_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_3402-1_0_6_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_3402-1_0_6_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_3402-1_0_6_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_3402-1_0_6_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_3402-1_0_6_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_3402-1_0_6_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_3402-1_0_6_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_3402-1_0_6_node_81 | 0.4 | n |  | TRUE
64 | bus_LV_3402-1_0_6_node_105 | 0.4 | n |  | TRUE
65 | bus_LV_3402-1_0_6_node_67 | 0.4 | n |  | TRUE
66 | bus_LV_3402-1_0_6_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_3402-1_0_6_node_78 | 0.4 | n |  | TRUE
68 | bus_LV_3402-1_0_6_node_104 | 0.4 | n |  | TRUE
69 | bus_LV_3402-1_0_6_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_3402-1_0_6_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_3402-1_0_6_node_59 | 0.4 | n |  | TRUE
72 | bus_LV_3402-1_0_6_node_60 | 0.4 | n |  | TRUE
73 | bus_LV_3402-1_0_6_node_61 | 0.4 | n |  | TRUE
74 | bus_LV_3402-1_0_6_node_62 | 0.4 | n |  | TRUE
75 | bus_LV_3402-1_0_6_node_63 | 0.4 | n |  | TRUE
76 | bus_LV_3402-1_0_6_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_3402-1_0_6_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_3402-1_0_6_node_65 | 0.4 | n |  | TRUE
79 | bus_LV_3402-1_0_6_node_107 | 0.4 | n |  | TRUE
80 | bus_LV_3402-1_0_6_node_70 | 0.4 | n |  | TRUE
81 | bus_LV_3402-1_0_6_node_66 | 0.4 | n |  | TRUE
82 | bus_LV_3402-1_0_6_node_106 | 0.4 | n |  | TRUE
83 | bus_LV_3402-1_0_6_node_80 | 0.4 | n |  | TRUE
84 | bus_LV_3402-1_0_6_node_71 | 0.4 | n |  | TRUE
85 | bus_LV_3402-1_0_6_node_76 | 0.4 | n |  | TRUE
86 | bus_LV_3402-1_0_6_node_75 | 0.4 | n |  | TRUE
87 | bus_LV_3402-1_0_6_node_77 | 0.4 | n |  | TRUE
88 | bus_LV_3402-1_0_6_node_79 | 0.4 | n |  | TRUE
89 | bus_LV_3402-1_0_6_node_92 | 0.4 | n |  | TRUE
90 | bus_LV_3402-1_0_6_node_93 | 0.4 | n |  | TRUE
91 | bus_LV_3402-1_0_6_node_82 | 0.4 | n |  | TRUE
92 | bus_LV_3402-1_0_6_node_83 | 0.4 | n |  | TRUE
93 | bus_LV_3402-1_0_6_node_85 | 0.4 | n |  | TRUE
94 | bus_LV_3402-1_0_6_node_91 | 0.4 | n |  | TRUE
95 | bus_LV_3402-1_0_6_node_89 | 0.4 | n |  | TRUE
96 | bus_LV_3402-1_0_6_node_87 | 0.4 | n |  | TRUE
97 | bus_LV_3402-1_0_6_node_88 | 0.4 | n |  | TRUE
98 | bus_LV_3402-1_0_6_node_90 | 0.4 | n |  | TRUE
99 | bus_LV_3402-1_0_6_node_95 | 0.4 | n |  | TRUE
100 | bus_LV_3402-1_0_6_node_94 | 0.4 | n |  | TRUE
101 | bus_LV_3402-1_0_6_node_98 | 0.4 | n |  | TRUE
102 | bus_LV_3402-1_0_6_node_102 | 0.4 | n |  | TRUE
103 | bus_LV_3402-1_0_6_node_103 | 0.4 | n |  | TRUE
104 | bus_MV_155_1_node_91 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3402-1_0_6_load_0 | 0 | 0.019081 | 0.0047823 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3402-1_0_6_load_1 | 1 | 0.0022213 | 0.00055672 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3402-1_0_6_load_3 | 2 | 0.001339 | 0.0003356 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3402-1_0_6_load_13 | 5 | 0.0053942 | 0.0013519 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3402-1_0_6_load_38 | 6 | 0.0022586 | 0.00056607 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3402-1_0_6_load_37 | 7 | 0.0017779 | 0.00044559 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3402-1_0_6_load_5 | 8 | 0.0012597 | 0.0003157 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3402-1_0_6_load_6 | 9 | 0.0012634 | 0.00031663 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3402-1_0_6_load_8 | 11 | 0.014134 | 0.0035424 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3402-1_0_6_load_10 | 13 | 0.0019593 | 0.00049103 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3402-1_0_6_load_11 | 14 | 0.0015288 | 0.00038315 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3402-1_0_6_load_33 | 17 | 0.0008935 | 0.00022393 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3402-1_0_6_load_47 | 18 | 0.0010141 | 0.00025416 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3402-1_0_6_load_46 | 19 | 0.0010517 | 0.00026357 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3402-1_0_6_load_18 | 20 | 0.0011892 | 0.00029803 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3402-1_0_6_load_99 | 21 | 0.0011477 | 0.00028763 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3402-1_0_6_load_96 | 22 | 0.0022986 | 0.00057608 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3402-1_0_6_load_16 | 23 | 0.0018234 | 0.00045699 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3402-1_0_6_load_97 | 24 | 0.0049323 | 0.0012361 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3402-1_0_6_load_15 | 25 | 0.00060931 | 0.00015271 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3402-1_0_6_load_17 | 26 | 0.00046884 | 0.0001175 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3402-1_0_6_load_19 | 27 | 0.0013282 | 0.00033288 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3402-1_0_6_load_100 | 29 | 0.012783 | 0.0032038 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3402-1_0_6_load_20 | 30 | 0.0010347 | 0.00025932 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3402-1_0_6_load_21 | 31 | 0.0014039 | 0.00035184 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3402-1_0_6_load_22 | 32 | 0.00142 | 0.00035588 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3402-1_0_6_load_24 | 33 | 0.0011624 | 0.00029133 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3402-1_0_6_load_48 | 34 | 0.0009804 | 0.00024571 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3402-1_0_6_load_43 | 35 | 0.0011472 | 0.0002875 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3402-1_0_6_load_25 | 36 | 0.0016984 | 0.00042565 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3402-1_0_6_load_26 | 37 | 0.0017337 | 0.00043451 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3402-1_0_6_load_29 | 40 | 0.019195 | 0.0048106 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3402-1_0_6_load_31 | 42 | 0.0013755 | 0.00034474 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3402-1_0_6_load_32 | 43 | 0.0026307 | 0.00065932 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3402-1_0_6_load_45 | 44 | 0.0010183 | 0.00025522 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3402-1_0_6_load_42 | 46 | 0.0015227 | 0.00038163 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3402-1_0_6_load_108 | 48 | 0.0086072 | 0.0021572 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3402-1_0_6_load_110 | 49 | 0.008174 | 0.0020486 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3402-1_0_6_load_40 | 50 | 0.001492 | 0.00037394 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3402-1_0_6_load_36 | 51 | 0.0017457 | 0.00043752 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3402-1_0_6_load_34 | 52 | 0.0060029 | 0.0015045 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3402-1_0_6_load_39 | 53 | 0.0015679 | 0.00039295 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3402-1_0_6_load_41 | 54 | 0.0011709 | 0.00029345 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3402-1_0_6_load_49 | 55 | 0.006405 | 0.0016053 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3402-1_0_6_load_50 | 56 | 0.0029208 | 0.00073203 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3402-1_0_6_load_53 | 59 | 0.021103 | 0.005289 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3402-1_0_6_load_54 | 60 | 0.027897 | 0.0069915 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3402-1_0_6_load_58 | 61 | 0.0023224 | 0.00058205 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3402-1_0_6_load_55 | 62 | 0.00229 | 0.00057394 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3402-1_0_6_load_81 | 63 | 0.024139 | 0.0060498 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3402-1_0_6_load_67 | 65 | 0.0016358 | 0.00040996 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3402-1_0_6_load_56 | 66 | 0.0080248 | 0.0020112 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3402-1_0_6_load_78 | 67 | 0.0099425 | 0.0024918 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3402-1_0_6_load_57 | 69 | 0.0086013 | 0.0021557 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3402-1_0_6_load_68 | 70 | 0.0015429 | 0.00038668 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3402-1_0_6_load_59 | 71 | 0.0014239 | 0.00035687 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3402-1_0_6_load_60 | 72 | 0.0044556 | 0.0011167 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3402-1_0_6_load_62 | 74 | 0.001632 | 0.00040902 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3402-1_0_6_load_63 | 75 | 0.0013958 | 0.00034983 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3402-1_0_6_load_64 | 76 | 0.0044545 | 0.0011164 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3402-1_0_6_load_69 | 77 | 0.0023859 | 0.00059796 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3402-1_0_6_load_65 | 78 | 0.0037828 | 0.00094805 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3402-1_0_6_load_106 | 82 | 0.0044462 | 0.0011143 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3402-1_0_6_load_80 | 83 | 0.001365 | 0.0003421 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3402-1_0_6_load_71 | 84 | 0.0022929 | 0.00057465 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3402-1_0_6_load_76 | 85 | 0.00019673 | 4.9304e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3402-1_0_6_load_75 | 86 | 0.0094985 | 0.0023805 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3402-1_0_6_load_79 | 88 | 0.023784 | 0.0059609 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3402-1_0_6_load_92 | 89 | 0.023008 | 0.0057662 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3402-1_0_6_load_93 | 90 | 0.022995 | 0.0057631 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3402-1_0_6_load_82 | 91 | 0.0024368 | 0.00061072 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3402-1_0_6_load_83 | 92 | 0.017715 | 0.0044398 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3402-1_0_6_load_85 | 93 | 0.021763 | 0.0054543 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3402-1_0_6_load_91 | 94 | 0.021887 | 0.0054853 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3402-1_0_6_load_89 | 95 | 0.018893 | 0.0047351 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3402-1_0_6_load_87 | 96 | 0.019447 | 0.0048739 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3402-1_0_6_load_88 | 97 | 0.023096 | 0.0057884 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3402-1_0_6_load_90 | 98 | 0.020615 | 0.0051667 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3402-1_0_6_load_95 | 99 | 0.0024966 | 0.0006257 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3402-1_0_6_load_94 | 100 | 0.018632 | 0.0046696 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3402-1_0_6_load_98 | 101 | 0.003405 | 0.00085338 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3402-1_0_6_load_102 | 102 | 0.0027167 | 0.00068087 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3402-1_0_6_load_103 | 103 | 0.0017293 | 0.0004334 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3402-1_0_6_line_0 |  | 0 | 1 | 0.0064271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3402-1_0_6_line_1 |  | 1 | 2 | 0.034041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3402-1_0_6_line_2 |  | 2 | 3 | 0.018701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3402-1_0_6_line_3 |  | 3 | 4 | 0.00186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_3402-1_0_6_line_4 |  | 3 | 5 | 0.054444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_3402-1_0_6_line_5 |  | 4 | 20 | 0.023789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_3402-1_0_6_line_6 |  | 4 | 21 | 0.010902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3402-1_0_6_line_7 |  | 4 | 22 | 0.029903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_3402-1_0_6_line_8 |  | 5 | 13 | 0.0049982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_3402-1_0_6_line_9 |  | 6 | 7 | 0.017966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3402-1_0_6_line_10 |  | 7 | 41 | 0.062988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3402-1_0_6_line_11 |  | 8 | 9 | 0.033674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3402-1_0_6_line_12 |  | 8 | 10 | 0.055408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3402-1_0_6_line_13 |  | 9 | 11 | 0.010272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3402-1_0_6_line_14 |  | 10 | 12 | 0.050761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_3402-1_0_6_line_15 |  | 10 | 13 | 0.012933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_3402-1_0_6_line_16 |  | 11 | 14 | 0.0018086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3402-1_0_6_line_17 |  | 12 | 15 | 0.038533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3402-1_0_6_line_18 |  | 15 | 16 | 0.043092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3402-1_0_6_line_19 |  | 16 | 17 | 0.050658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3402-1_0_6_line_20 |  | 17 | 52 | 0.021319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3402-1_0_6_line_21 |  | 18 | 19 | 0.017664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3402-1_0_6_line_22 |  | 19 | 44 | 0.01707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3402-1_0_6_line_23 |  | 20 | 23 | 0.0082245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_3402-1_0_6_line_24 |  | 22 | 24 | 0.045549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_3402-1_0_6_line_25 |  | 23 | 25 | 0.00059924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_3402-1_0_6_line_26 |  | 24 | 101 | 0.012002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_3402-1_0_6_line_27 |  | 25 | 26 | 0.0094469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_3402-1_0_6_line_28 |  | 26 | 27 | 0.0058226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_3402-1_0_6_line_29 |  | 27 | 28 | 0.0077121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3402-1_0_6_line_30 |  | 28 | 29 | 0.014175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3402-1_0_6_line_31 |  | 30 | 31 | 0.0030977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3402-1_0_6_line_32 |  | 30 | 32 | 0.012946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3402-1_0_6_line_33 |  | 32 | 33 | 0.0038489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3402-1_0_6_line_34 |  | 33 | 34 | 0.013615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3402-1_0_6_line_35 |  | 34 | 35 | 0.0082899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3402-1_0_6_line_36 |  | 35 | 54 | 0.0078081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3402-1_0_6_line_37 |  | 36 | 37 | 0.0056651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3402-1_0_6_line_38 |  | 36 | 38 | 0.018384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3402-1_0_6_line_39 |  | 37 | 39 | 0.008412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3402-1_0_6_line_40 |  | 38 | 40 | 0.053011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3402-1_0_6_line_41 |  | 38 | 41 | 0.071102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3402-1_0_6_line_42 |  | 39 | 42 | 0.016414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3402-1_0_6_line_43 |  | 39 | 43 | 0.039088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3402-1_0_6_line_44 |  | 40 | 44 | 0.016798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3402-1_0_6_line_45 |  | 41 | 45 | 0.097622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3402-1_0_6_line_46 |  | 42 | 46 | 0.004992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3402-1_0_6_line_47 |  | 43 | 47 | 0.011841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3402-1_0_6_line_48 |  | 45 | 48 | 0.042803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3402-1_0_6_line_49 |  | 46 | 50 | 0.013619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3402-1_0_6_line_50 |  | 47 | 51 | 0.021328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3402-1_0_6_line_51 |  | 48 | 49 | 0.012855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3402-1_0_6_line_52 |  | 50 | 53 | 0.0060031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3402-1_0_6_line_53 |  | 51 | 52 | 0.030579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3402-1_0_6_line_54 |  | 53 | 54 | 0.011068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3402-1_0_6_line_55 |  | 55 | 56 | 0.027126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3402-1_0_6_line_56 |  | 55 | 57 | 0.020257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3402-1_0_6_line_57 |  | 56 | 58 | 0.0091244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3402-1_0_6_line_58 |  | 57 | 59 | 0.011154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_3402-1_0_6_line_59 |  | 57 | 60 | 0.015776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_3402-1_0_6_line_60 |  | 58 | 61 | 0.011765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3402-1_0_6_line_61 |  | 58 | 62 | 0.023405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3402-1_0_6_line_62 |  | 59 | 63 | 0.017705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_3402-1_0_6_line_63 |  | 60 | 64 | 0.043315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_3402-1_0_6_line_64 |  | 61 | 65 | 0.013158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3402-1_0_6_line_65 |  | 62 | 66 | 0.02968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3402-1_0_6_line_66 |  | 63 | 67 | 0.0081138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_3402-1_0_6_line_67 |  | 64 | 68 | 0.004623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
68 | LV_3402-1_0_6_line_68 |  | 65 | 70 | 0.0084136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3402-1_0_6_line_69 |  | 66 | 69 | 0.031379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3402-1_0_6_line_70 |  | 67 | 87 | 0.024632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
71 | LV_3402-1_0_6_line_71 |  | 68 | 103 | 0.012645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
72 | LV_3402-1_0_6_line_72 |  | 70 | 84 | 0.0156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3402-1_0_6_line_73 |  | 71 | 72 | 0.0052466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3402-1_0_6_line_74 |  | 71 | 73 | 0.01095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3402-1_0_6_line_75 |  | 72 | 74 | 0.010755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3402-1_0_6_line_76 |  | 73 | 75 | 0.0055294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3402-1_0_6_line_77 |  | 73 | 76 | 0.033321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3402-1_0_6_line_78 |  | 74 | 77 | 0.00034799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3402-1_0_6_line_79 |  | 75 | 78 | 0.011503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3402-1_0_6_line_80 |  | 76 | 79 | 0.019616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3402-1_0_6_line_81 |  | 77 | 80 | 0.02377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3402-1_0_6_line_82 |  | 78 | 81 | 0.011809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3402-1_0_6_line_83 |  | 79 | 82 | 0.024975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3402-1_0_6_line_84 |  | 80 | 84 | 0.0069849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3402-1_0_6_line_85 |  | 81 | 83 | 0.010998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3402-1_0_6_line_86 |  | 85 | 86 | 0.02177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3402-1_0_6_line_87 |  | 86 | 87 | 0.0081065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3402-1_0_6_line_88 |  | 87 | 88 | 0.012089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
89 | LV_3402-1_0_6_line_89 |  | 88 | 89 | 0.0020109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
90 | LV_3402-1_0_6_line_90 |  | 89 | 90 | 0.012122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
91 | LV_3402-1_0_6_line_91 |  | 90 | 100 | 0.020386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
92 | LV_3402-1_0_6_line_92 |  | 91 | 92 | 0.004805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3402-1_0_6_line_93 |  | 92 | 93 | 0.0050317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3402-1_0_6_line_94 |  | 93 | 94 | 0.0054197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3402-1_0_6_line_95 |  | 94 | 95 | 0.0048649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_3402-1_0_6_line_96 |  | 95 | 96 | 0.010814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_3402-1_0_6_line_97 |  | 96 | 97 | 0.0074786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_3402-1_0_6_line_98 |  | 97 | 98 | 0.0011763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_3402-1_0_6_line_99 |  | 98 | 99 | 0.011007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
100 | LV_3402-1_0_6_line_100 |  | 99 | 100 | 0.0052037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
101 | LV_3402-1_0_6_line_101 |  | 101 | 102 | 0.010534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
102 | LV_3402-1_0_6_line_102 |  | 102 | 103 | 0.01988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3402-1_0_6_trafo_19 | 0.63 MVA 20/0.4 kV | 104 | 27 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2731658.7542 | 1253276.1754 | 2731658.2254 | 1253269.7701
1 | 2731658.2254 | 1253269.7701 | 2731655.4245 | 1253235.8445
2 | 2731653.8858 | 1253217.2068 | 2731655.4245 | 1253235.8445
3 | 2731652.0999 | 1253217.7454 | 2731653.8858 | 1253217.2068
4 | 2731653.8858 | 1253217.2068 | 2731705.8838 | 1253201.0709
5 | 2731652.0999 | 1253217.7454 | 2731629.3272 | 1253224.6246
6 | 2731652.0999 | 1253217.7454 | 2731650.844 | 1253206.9159
7 | 2731652.0999 | 1253217.7454 | 2731648.6704 | 1253188.0395
8 | 2731705.8838 | 1253201.0709 | 2731707.2901 | 1253200.6345 | 2731710.1575 | 1253198.5828
9 | 2731725.5129 | 1253457.0975 | 2731710.5971 | 1253467.1116
10 | 2731773.9799 | 1253416.9901 | 2731735.9091 | 1253450.1177 | 2731725.5129 | 1253457.0975
11 | 2731736.6891 | 1253241.3435 | 2731738.3976 | 1253274.9743
12 | 2731720.6754 | 1253191.0569 | 2731730.8305 | 1253199.7683 | 2731736.2549 | 1253232.7964 | 2731736.6891 | 1253241.3435
13 | 2731738.3976 | 1253274.9743 | 2731738.9188 | 1253285.2335
14 | 2731720.6754 | 1253191.0569 | 2731745.326 | 1253191.8613 | 2731771.3712 | 1253195.1213
15 | 2731720.6754 | 1253191.0569 | 2731710.1575 | 1253198.5828
16 | 2731739.0105 | 1253287.0398 | 2731738.9188 | 1253285.2335
17 | 2731771.3712 | 1253195.1213 | 2731809.8582 | 1253198.6362
18 | 2731853.0791 | 1253198.7203 | 2731812.4775 | 1253198.6389 | 2731809.8582 | 1253198.6362
19 | 2731853.0791 | 1253198.7203 | 2731857.718 | 1253249.1652
20 | 2731857.718 | 1253249.1652 | 2731859.6703 | 1253270.3948
21 | 2731773.7256 | 1253260.0265 | 2731775.6102 | 1253277.5896
22 | 2731775.6102 | 1253277.5896 | 2731777.4315 | 1253294.5619
23 | 2731629.3272 | 1253224.6246 | 2731621.4541 | 1253227.0029
24 | 2731648.6704 | 1253188.0395 | 2731647.1506 | 1253174.8746 | 2731643.2582 | 1253142.8132
25 | 2731621.4541 | 1253227.0029 | 2731620.8804 | 1253227.1762
26 | 2731643.2582 | 1253142.8132 | 2731642.0021 | 1253132.4665 | 2731641.8122 | 1253130.8984
27 | 2731611.8371 | 1253229.908 | 2731620.8804 | 1253227.1762
28 | 2731611.8371 | 1253229.908 | 2731606.2633 | 1253231.5917
29 | 2731598.8806 | 1253233.8219 | 2731606.2633 | 1253231.5917
30 | 2731598.8806 | 1253233.8219 | 2731585.3068 | 1253237.9076
31 | 2731815.0653 | 1253254.7668 | 2731814.7792 | 1253251.6824
32 | 2731815.0653 | 1253254.7668 | 2731816.2612 | 1253267.6576
33 | 2731816.6167 | 1253271.4901 | 2731816.2612 | 1253267.6576
34 | 2731816.6167 | 1253271.4901 | 2731817.8744 | 1253285.0472
35 | 2731818.6401 | 1253293.3016 | 2731817.8744 | 1253285.0472
36 | 2731818.6401 | 1253293.3016 | 2731819.3613 | 1253301.0763
37 | 2731811.101 | 1253356.785 | 2731813.9962 | 1253356.1812 | 2731816.5835 | 1253355.3831
38 | 2731793.4958 | 1253361.908 | 2731802.674 | 1253358.5425 | 2731811.101 | 1253356.785
39 | 2731824.6217 | 1253352.9036 | 2731816.5835 | 1253355.3831
40 | 2731793.4958 | 1253361.908 | 2731785.7245 | 1253345.1423 | 2731780.0686 | 1253319.1375 | 2731779.2237 | 1253311.264
41 | 2731773.9799 | 1253416.9901 | 2731805.5223 | 1253385.5413 | 2731799.738 | 1253375.815 | 2731793.4958 | 1253361.908
42 | 2731824.6217 | 1253352.9036 | 2731822.8108 | 1253336.5902
43 | 2731824.6217 | 1253352.9036 | 2731852.1188 | 1253335.3442 | 2731857.1054 | 1253331.2334
44 | 2731779.2237 | 1253311.264 | 2731777.4315 | 1253294.5619
45 | 2731773.9799 | 1253416.9901 | 2731812.7373 | 1253506.5887
46 | 2731822.8108 | 1253336.5902 | 2731822.26 | 1253331.6287
47 | 2731864.4237 | 1253322.0839 | 2731860.1314 | 1253328.7388 | 2731857.1054 | 1253331.2334
48 | 2731812.7373 | 1253506.5887 | 2731826.4225 | 1253500.4655 | 2731853.4927 | 1253494.0929
49 | 2731820.9382 | 1253318.0745 | 2731821.868 | 1253328.0977 | 2731822.26 | 1253331.6287
50 | 2731864.4237 | 1253322.0839 | 2731862.4705 | 1253300.8451
51 | 2731866.0084 | 1253491.1604 | 2731856.5465 | 1253493.374 | 2731853.4927 | 1253494.0929
52 | 2731820.3837 | 1253312.0971 | 2731820.9382 | 1253318.0745
53 | 2731862.4705 | 1253300.8451 | 2731859.6703 | 1253270.3948
54 | 2731820.3837 | 1253312.0971 | 2731819.3613 | 1253301.0763
55 | 2731565.3708 | 1253076.0989 | 2731554.8198 | 1253051.1087
56 | 2731573.25 | 1253094.7609 | 2731565.3708 | 1253076.0989
57 | 2731550.9577 | 1253042.8525 | 2731552.7263 | 1253046.1503 | 2731554.8198 | 1253051.1087
58 | 2731573.25 | 1253094.7609 | 2731562.1967 | 1253096.2571
59 | 2731573.25 | 1253094.7609 | 2731588.9239 | 1253092.9694
60 | 2731550.9577 | 1253042.8525 | 2731545.7182 | 1253032.3184
61 | 2731550.9577 | 1253042.8525 | 2731538.3889 | 1253045.9206 | 2731530.9396 | 1253048.5798 | 2731528.3853 | 1253048.716
62 | 2731544.6517 | 1253098.632 | 2731562.1967 | 1253096.2571
63 | 2731632.017 | 1253088.6052 | 2731598.4207 | 1253091.884 | 2731588.9239 | 1253092.9694
64 | 2731545.7182 | 1253032.3184 | 2731539.8585 | 1253020.5373
65 | 2731528.3853 | 1253048.716 | 2731521.5153 | 1253049.0822 | 2731507.7555 | 1253048.6763 | 2731498.7288 | 1253048.3006
66 | 2731536.6112 | 1253099.7204 | 2731544.6517 | 1253098.632
67 | 2731636.6318 | 1253088.1518 | 2731632.017 | 1253088.6052
68 | 2731536.1116 | 1253013.0041 | 2731539.8585 | 1253020.5373
69 | 2731498.7288 | 1253048.3006 | 2731497.4385 | 1253048.2469 | 2731468.0863 | 1253054.8583
70 | 2731512.2019 | 1253103.0239 | 2731521.0983 | 1253101.8203 | 2731536.6112 | 1253099.7204
71 | 2731636.6318 | 1253088.1518 | 2731638.1535 | 1253100.7046
72 | 2731536.1116 | 1253013.0041 | 2731529.1641 | 1252999.0361
73 | 2731488.2788 | 1252988.6024 | 2731493.4576 | 1252989.4427
74 | 2731477.4698 | 1252986.8486 | 2731488.2788 | 1252988.6024
75 | 2731504.0738 | 1252991.1652 | 2731504.0738 | 1252991.1652 | 2731493.4576 | 1252989.4427
76 | 2731477.4698 | 1252986.8486 | 2731472.015 | 1252985.9428
77 | 2731477.4698 | 1252986.8486 | 2731480.7582 | 1252974.3993 | 2731478.2262 | 1252961.6316 | 2731477.5029 | 1252954.2384
78 | 2731504.4214 | 1252991.1803 | 2731504.0738 | 1252991.1652
79 | 2731472.015 | 1252985.9428 | 2731460.6671 | 1252984.0585
80 | 2731475.5931 | 1252934.7157 | 2731477.5029 | 1252954.2384
81 | 2731528.1688 | 1252992.2121 | 2731504.4214 | 1252991.1803
82 | 2731449.0178 | 1252982.1241 | 2731460.6671 | 1252984.0585
83 | 2731475.5931 | 1252934.7157 | 2731465.1213 | 1252932.0698 | 2731455.6033 | 1252921.5672
84 | 2731528.1688 | 1252992.2121 | 2731528.5286 | 1252997.7584 | 2731529.1641 | 1252999.0361
85 | 2731449.0178 | 1252982.1241 | 2731446.9335 | 1252992.9227
86 | 2731504.1347 | 1253103.8216 | 2731482.4707 | 1253105.9638
87 | 2731512.2019 | 1253103.0239 | 2731504.1347 | 1253103.8216
88 | 2731512.2019 | 1253103.0239 | 2731513.273 | 1253115.0655
89 | 2731513.4512 | 1253117.0685 | 2731513.273 | 1253115.0655
90 | 2731513.4512 | 1253117.0685 | 2731514.5253 | 1253129.1432
91 | 2731514.5253 | 1253129.1432 | 2731516.3315 | 1253149.4492
92 | 2731521.2756 | 1253205.0309 | 2731520.8498 | 1253200.2447
93 | 2731520.8498 | 1253200.2447 | 2731520.404 | 1253195.2328
94 | 2731519.9238 | 1253189.8345 | 2731520.404 | 1253195.2328
95 | 2731519.9238 | 1253189.8345 | 2731519.4928 | 1253184.9887
96 | 2731518.5346 | 1253174.217 | 2731519.4928 | 1253184.9887
97 | 2731518.5346 | 1253174.217 | 2731517.872 | 1253166.7678
98 | 2731517.7678 | 1253165.5961 | 2731517.872 | 1253166.7678
99 | 2731516.7926 | 1253154.6324 | 2731517.7678 | 1253165.5961
100 | 2731516.7926 | 1253154.6324 | 2731516.3315 | 1253149.4492
101 | 2731640.5453 | 1253120.4404 | 2731641.8122 | 1253130.8984
102 | 2731640.5453 | 1253120.4404 | 2731639.6679 | 1253113.1973 | 2731638.1535 | 1253100.7046

## bus_geodata
| x | y | coords
0 | 2731658.7542 | 1253276.1754
1 | 2731658.2254 | 1253269.7701
2 | 2731655.4245 | 1253235.8445
3 | 2731653.8858 | 1253217.2068
4 | 2731652.0999 | 1253217.7454
5 | 2731705.8838 | 1253201.0709
6 | 2731710.5971 | 1253467.1116
7 | 2731725.5129 | 1253457.0975
8 | 2731736.6891 | 1253241.3435
9 | 2731738.3976 | 1253274.9743
10 | 2731720.6754 | 1253191.0569
11 | 2731738.9188 | 1253285.2335
12 | 2731771.3712 | 1253195.1213
13 | 2731710.1575 | 1253198.5828
14 | 2731739.0105 | 1253287.0398
15 | 2731809.8582 | 1253198.6362
16 | 2731853.0791 | 1253198.7203
17 | 2731857.718 | 1253249.1652
18 | 2731773.7256 | 1253260.0265
19 | 2731775.6102 | 1253277.5896
20 | 2731629.3272 | 1253224.6246
21 | 2731650.844 | 1253206.9159
22 | 2731648.6704 | 1253188.0395
23 | 2731621.4541 | 1253227.0029
24 | 2731643.2582 | 1253142.8132
25 | 2731620.8804 | 1253227.1762
26 | 2731611.8371 | 1253229.908
27 | 2731606.2633 | 1253231.5917
28 | 2731598.8806 | 1253233.8219
29 | 2731585.3068 | 1253237.9076
30 | 2731815.0653 | 1253254.7668
31 | 2731814.7792 | 1253251.6824
32 | 2731816.2612 | 1253267.6576
33 | 2731816.6167 | 1253271.4901
34 | 2731817.8744 | 1253285.0472
35 | 2731818.6401 | 1253293.3016
36 | 2731811.101 | 1253356.785
37 | 2731816.5835 | 1253355.3831
38 | 2731793.4958 | 1253361.908
39 | 2731824.6217 | 1253352.9036
40 | 2731779.2237 | 1253311.264
41 | 2731773.9799 | 1253416.9901
42 | 2731822.8108 | 1253336.5902
43 | 2731857.1054 | 1253331.2334
44 | 2731777.4315 | 1253294.5619
45 | 2731812.7373 | 1253506.5887
46 | 2731822.26 | 1253331.6287
47 | 2731864.4237 | 1253322.0839
48 | 2731853.4927 | 1253494.0929
49 | 2731866.0084 | 1253491.1604
50 | 2731820.9382 | 1253318.0745
51 | 2731862.4705 | 1253300.8451
52 | 2731859.6703 | 1253270.3948
53 | 2731820.3837 | 1253312.0971
54 | 2731819.3613 | 1253301.0763
55 | 2731565.3708 | 1253076.0989
56 | 2731554.8198 | 1253051.1087
57 | 2731573.25 | 1253094.7609
58 | 2731550.9577 | 1253042.8525
59 | 2731562.1967 | 1253096.2571
60 | 2731588.9239 | 1253092.9694
61 | 2731545.7182 | 1253032.3184
62 | 2731528.3853 | 1253048.716
63 | 2731544.6517 | 1253098.632
64 | 2731632.017 | 1253088.6052
65 | 2731539.8585 | 1253020.5373
66 | 2731498.7288 | 1253048.3006
67 | 2731536.6112 | 1253099.7204
68 | 2731636.6318 | 1253088.1518
69 | 2731468.0863 | 1253054.8583
70 | 2731536.1116 | 1253013.0041
71 | 2731488.2788 | 1252988.6024
72 | 2731493.4576 | 1252989.4427
73 | 2731477.4698 | 1252986.8486
74 | 2731504.0738 | 1252991.1652
75 | 2731472.015 | 1252985.9428
76 | 2731477.5029 | 1252954.2384
77 | 2731504.4214 | 1252991.1803
78 | 2731460.6671 | 1252984.0585
79 | 2731475.5931 | 1252934.7157
80 | 2731528.1688 | 1252992.2121
81 | 2731449.0178 | 1252982.1241
82 | 2731455.6033 | 1252921.5672
83 | 2731446.9335 | 1252992.9227
84 | 2731529.1641 | 1252999.0361
85 | 2731482.4707 | 1253105.9638
86 | 2731504.1347 | 1253103.8216
87 | 2731512.2019 | 1253103.0239
88 | 2731513.273 | 1253115.0655
89 | 2731513.4512 | 1253117.0685
90 | 2731514.5253 | 1253129.1432
91 | 2731521.2756 | 1253205.0309
92 | 2731520.8498 | 1253200.2447
93 | 2731520.404 | 1253195.2328
94 | 2731519.9238 | 1253189.8345
95 | 2731519.4928 | 1253184.9887
96 | 2731518.5346 | 1253174.217
97 | 2731517.872 | 1253166.7678
98 | 2731517.7678 | 1253165.5961
99 | 2731516.7926 | 1253154.6324
100 | 2731516.3315 | 1253149.4492
101 | 2731641.8122 | 1253130.8984
102 | 2731640.5453 | 1253120.4404
103 | 2731638.1535 | 1253100.7046
104 | 2731598.8806 | 1253233.8219

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1