## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3402-28_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3402-28_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3402-28_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3402-28_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3402-28_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3402-28_0_3_node_20 | 0.4 | n |  | TRUE
6 | bus_LV_3402-28_0_3_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_3402-28_0_3_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_3402-28_0_3_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_3402-28_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_3402-28_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_3402-28_0_3_node_62 | 0.4 | n |  | TRUE
12 | bus_LV_3402-28_0_3_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_3402-28_0_3_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_3402-28_0_3_node_63 | 0.4 | n |  | TRUE
15 | bus_LV_3402-28_0_3_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_3402-28_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_3402-28_0_3_node_55 | 0.4 | n |  | TRUE
18 | bus_LV_3402-28_0_3_node_56 | 0.4 | n |  | TRUE
19 | bus_LV_3402-28_0_3_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_3402-28_0_3_node_40 | 0.4 | n |  | TRUE
21 | bus_LV_3402-28_0_3_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_3402-28_0_3_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_3402-28_0_3_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_3402-28_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_3402-28_0_3_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_3402-28_0_3_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_3402-28_0_3_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_3402-28_0_3_node_65 | 0.4 | n |  | TRUE
29 | bus_LV_3402-28_0_3_node_70 | 0.4 | n |  | TRUE
30 | bus_LV_3402-28_0_3_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_3402-28_0_3_node_96 | 0.4 | n |  | TRUE
32 | bus_LV_3402-28_0_3_node_90 | 0.4 | n |  | TRUE
33 | bus_LV_3402-28_0_3_node_87 | 0.4 | n |  | TRUE
34 | bus_LV_3402-28_0_3_node_67 | 0.4 | n |  | TRUE
35 | bus_LV_3402-28_0_3_node_64 | 0.4 | n |  | TRUE
36 | bus_LV_3402-28_0_3_node_43 | 0.4 | n |  | TRUE
37 | bus_LV_3402-28_0_3_node_97 | 0.4 | n |  | TRUE
38 | bus_LV_3402-28_0_3_node_88 | 0.4 | n |  | TRUE
39 | bus_LV_3402-28_0_3_node_82 | 0.4 | n |  | TRUE
40 | bus_LV_3402-28_0_3_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_3402-28_0_3_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_3402-28_0_3_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_3402-28_0_3_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_3402-28_0_3_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_3402-28_0_3_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_3402-28_0_3_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_3402-28_0_3_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_3402-28_0_3_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_3402-28_0_3_node_29 | 0.4 | n |  | TRUE
50 | bus_LV_3402-28_0_3_node_30 | 0.4 | n |  | TRUE
51 | bus_LV_3402-28_0_3_node_31 | 0.4 | n |  | TRUE
52 | bus_LV_3402-28_0_3_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_3402-28_0_3_node_33 | 0.4 | n |  | TRUE
54 | bus_LV_3402-28_0_3_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_3402-28_0_3_node_57 | 0.4 | n |  | TRUE
56 | bus_LV_3402-28_0_3_node_77 | 0.4 | n |  | TRUE
57 | bus_LV_3402-28_0_3_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_3402-28_0_3_node_58 | 0.4 | n |  | TRUE
59 | bus_LV_3402-28_0_3_node_76 | 0.4 | n |  | TRUE
60 | bus_LV_3402-28_0_3_node_35 | 0.4 | n |  | TRUE
61 | bus_LV_3402-28_0_3_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_3402-28_0_3_node_36 | 0.4 | n |  | TRUE
63 | bus_LV_3402-28_0_3_node_74 | 0.4 | n |  | TRUE
64 | bus_LV_3402-28_0_3_node_66 | 0.4 | n |  | TRUE
65 | bus_LV_3402-28_0_3_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_3402-28_0_3_node_48 | 0.4 | n |  | TRUE
67 | bus_LV_3402-28_0_3_node_75 | 0.4 | n |  | TRUE
68 | bus_LV_3402-28_0_3_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_3402-28_0_3_node_69 | 0.4 | n |  | TRUE
70 | bus_LV_3402-28_0_3_node_38 | 0.4 | n |  | TRUE
71 | bus_LV_3402-28_0_3_node_39 | 0.4 | n |  | TRUE
72 | bus_LV_3402-28_0_3_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_3402-28_0_3_node_60 | 0.4 | n |  | TRUE
74 | bus_LV_3402-28_0_3_node_41 | 0.4 | n |  | TRUE
75 | bus_LV_3402-28_0_3_node_42 | 0.4 | n |  | TRUE
76 | bus_LV_3402-28_0_3_node_71 | 0.4 | n |  | TRUE
77 | bus_LV_3402-28_0_3_node_72 | 0.4 | n |  | TRUE
78 | bus_LV_3402-28_0_3_node_54 | 0.4 | n |  | TRUE
79 | bus_LV_3402-28_0_3_node_53 | 0.4 | n |  | TRUE
80 | bus_LV_3402-28_0_3_node_93 | 0.4 | n |  | TRUE
81 | bus_LV_3402-28_0_3_node_95 | 0.4 | n |  | TRUE
82 | bus_LV_3402-28_0_3_node_92 | 0.4 | n |  | TRUE
83 | bus_LV_3402-28_0_3_node_94 | 0.4 | n |  | TRUE
84 | bus_LV_3402-28_0_3_node_59 | 0.4 | n |  | TRUE
85 | bus_LV_3402-28_0_3_node_78 | 0.4 | n |  | TRUE
86 | bus_LV_3402-28_0_3_node_84 | 0.4 | n |  | TRUE
87 | bus_LV_3402-28_0_3_node_83 | 0.4 | n |  | TRUE
88 | bus_LV_3402-28_0_3_node_73 | 0.4 | n |  | TRUE
89 | bus_LV_3402-28_0_3_node_79 | 0.4 | n |  | TRUE
90 | bus_LV_3402-28_0_3_node_80 | 0.4 | n |  | TRUE
91 | bus_LV_3402-28_0_3_node_81 | 0.4 | n |  | TRUE
92 | bus_LV_3402-28_0_3_node_86 | 0.4 | n |  | TRUE
93 | bus_LV_3402-28_0_3_node_85 | 0.4 | n |  | TRUE
94 | bus_LV_3402-28_0_3_node_89 | 0.4 | n |  | TRUE
95 | bus_LV_3402-28_0_3_node_91 | 0.4 | n |  | TRUE
96 | bus_MV_155_1_node_111 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3402-28_0_3_load_0 | 0 | 0.0048532 | 0.0012163 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3402-28_0_3_load_1 | 1 | 0.0032364 | 0.00081112 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3402-28_0_3_load_3 | 3 | 0.0037474 | 0.0009392 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3402-28_0_3_load_20 | 5 | 0.00038227 | 9.5807e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3402-28_0_3_load_15 | 8 | 0.00015649 | 3.9219e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3402-28_0_3_load_8 | 10 | 0.0040453 | 0.0010139 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3402-28_0_3_load_62 | 11 | 0.00018032 | 4.5193e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3402-28_0_3_load_16 | 12 | 0.00081368 | 0.00020393 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3402-28_0_3_load_6 | 13 | 0.0055813 | 0.0013988 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3402-28_0_3_load_63 | 14 | 0.00033051 | 8.2834e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3402-28_0_3_load_7 | 15 | 0.0027544 | 0.00069033 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3402-28_0_3_load_56 | 18 | 0.00066998 | 0.00016791 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3402-28_0_3_load_40 | 20 | 0.0012156 | 0.00030465 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3402-28_0_3_load_11 | 21 | 0.00067263 | 0.00016858 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3402-28_0_3_load_13 | 23 | 0.0030196 | 0.00075677 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3402-28_0_3_load_17 | 24 | 0.00063405 | 0.00015891 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3402-28_0_3_load_70 | 29 | 0.0022385 | 0.00056103 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3402-28_0_3_load_96 | 31 | 0.00018219 | 4.5662e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3402-28_0_3_load_90 | 32 | 0.0038694 | 0.00096977 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3402-28_0_3_load_87 | 33 | 0.002339 | 0.00058622 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3402-28_0_3_load_67 | 34 | 0.0052358 | 0.0013122 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3402-28_0_3_load_64 | 35 | 0.0028038 | 0.0007027 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3402-28_0_3_load_43 | 36 | 0.0040632 | 0.0010183 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3402-28_0_3_load_97 | 37 | 0.00074066 | 0.00018563 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3402-28_0_3_load_88 | 38 | 0.0013093 | 0.00032815 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3402-28_0_3_load_24 | 40 | 0.0020172 | 0.00050555 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3402-28_0_3_load_26 | 43 | 0.0016123 | 0.00040408 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3402-28_0_3_load_27 | 44 | 0.0013758 | 0.00034482 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3402-28_0_3_load_45 | 45 | 0.00094971 | 0.00023802 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3402-28_0_3_load_37 | 47 | 0.00089971 | 0.00022549 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3402-28_0_3_load_28 | 48 | 0.0033452 | 0.00083839 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3402-28_0_3_load_29 | 49 | 0.00046946 | 0.00011766 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3402-28_0_3_load_31 | 51 | 0.0007833 | 0.00019631 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3402-28_0_3_load_32 | 52 | 0.00043567 | 0.00010919 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3402-28_0_3_load_33 | 53 | 0.00090752 | 0.00022744 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3402-28_0_3_load_46 | 54 | 0.00085452 | 0.00021416 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3402-28_0_3_load_57 | 55 | 0.00034382 | 8.617e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3402-28_0_3_load_77 | 56 | 0.0023343 | 0.00058504 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3402-28_0_3_load_35 | 60 | 0.0025377 | 0.000636 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3402-28_0_3_load_36 | 62 | 0.0012105 | 0.00030337 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3402-28_0_3_load_74 | 63 | 0.0014643 | 0.00036699 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3402-28_0_3_load_48 | 66 | 0.0012269 | 0.00030748 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3402-28_0_3_load_75 | 67 | 0.0033277 | 0.000834 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3402-28_0_3_load_68 | 68 | 0.0016709 | 0.00041876 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3402-28_0_3_load_69 | 69 | 0.00089924 | 0.00022537 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3402-28_0_3_load_38 | 70 | 0.00055396 | 0.00013883 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3402-28_0_3_load_39 | 71 | 0.0027244 | 0.0006828 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3402-28_0_3_load_61 | 72 | 0.00032688 | 8.1924e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3402-28_0_3_load_60 | 73 | 0.00096643 | 0.00024221 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3402-28_0_3_load_71 | 76 | 0.001611 | 0.00040376 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3402-28_0_3_load_72 | 77 | 0.00085457 | 0.00021418 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3402-28_0_3_load_54 | 78 | 0.00046034 | 0.00011537 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3402-28_0_3_load_53 | 79 | 0.00065782 | 0.00016487 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3402-28_0_3_load_93 | 80 | 0.001583 | 0.00039673 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3402-28_0_3_load_95 | 81 | 0.0014004 | 0.00035098 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3402-28_0_3_load_92 | 82 | 0.00066495 | 0.00016665 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3402-28_0_3_load_94 | 83 | 0.0017779 | 0.00044558 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3402-28_0_3_load_59 | 84 | 0.0010394 | 0.00026049 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3402-28_0_3_load_78 | 85 | 0.0037792 | 0.00094716 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3402-28_0_3_load_84 | 86 | 0.0012407 | 0.00031095 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3402-28_0_3_load_83 | 87 | 0.0035221 | 0.00088272 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3402-28_0_3_load_73 | 88 | 0.00037903 | 9.4993e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3402-28_0_3_load_79 | 89 | 0.0039076 | 0.00097934 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3402-28_0_3_load_80 | 90 | 0.0046629 | 0.0011686 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3402-28_0_3_load_81 | 91 | 0.0017212 | 0.00043138 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3402-28_0_3_load_85 | 93 | 0.0039367 | 0.00098662 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3402-28_0_3_load_89 | 94 | 0.0023289 | 0.00058368 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3402-28_0_3_load_91 | 95 | 0.0018221 | 0.00045667 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3402-28_0_3_line_0 |  | 0 | 1 | 0.014168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3402-28_0_3_line_1 |  | 0 | 2 | 0.12348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3402-28_0_3_line_2 |  | 1 | 3 | 0.015342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3402-28_0_3_line_3 |  | 2 | 4 | 0.018682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3402-28_0_3_line_4 |  | 3 | 6 | 0.03305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3402-28_0_3_line_5 |  | 4 | 8 | 0.098311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3402-28_0_3_line_6 |  | 5 | 6 | 0.18022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3402-28_0_3_line_7 |  | 5 | 7 | 0.16361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3402-28_0_3_line_8 |  | 7 | 24 | 0.039852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3402-28_0_3_line_9 |  | 8 | 12 | 0.0055646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3402-28_0_3_line_10 |  | 9 | 10 | 0.10242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3402-28_0_3_line_11 |  | 9 | 11 | 0.046528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3402-28_0_3_line_12 |  | 10 | 13 | 0.14557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3402-28_0_3_line_13 |  | 11 | 14 | 0.0025965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3402-28_0_3_line_14 |  | 13 | 15 | 0.011272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3402-28_0_3_line_15 |  | 15 | 16 | 0.027026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3402-28_0_3_line_16 |  | 16 | 19 | 0.11601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3402-28_0_3_line_17 |  | 16 | 21 | 0.0046855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3402-28_0_3_line_18 |  | 17 | 18 | 0.010452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3402-28_0_3_line_19 |  | 17 | 19 | 0.21523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3402-28_0_3_line_20 |  | 17 | 20 | 0.020072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3402-28_0_3_line_21 |  | 20 | 71 | 0.019658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3402-28_0_3_line_22 |  | 21 | 22 | 0.11187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3402-28_0_3_line_23 |  | 22 | 23 | 0.027463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3402-28_0_3_line_24 |  | 24 | 25 | 0.13997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3402-28_0_3_line_25 |  | 25 | 26 | 0.070093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3402-28_0_3_line_26 |  | 26 | 33 | 0.004371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3402-28_0_3_line_27 |  | 27 | 28 | 0.005274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3402-28_0_3_line_28 |  | 27 | 29 | 0.0036215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3402-28_0_3_line_29 |  | 28 | 34 | 0.015444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3402-28_0_3_line_30 |  | 28 | 35 | 0.024295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3402-28_0_3_line_31 |  | 29 | 36 | 0.027541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_3402-28_0_3_line_32 |  | 30 | 31 | 0.036212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3402-28_0_3_line_33 |  | 30 | 32 | 0.016048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3402-28_0_3_line_34 |  | 31 | 37 | 0.027006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3402-28_0_3_line_35 |  | 32 | 38 | 0.002206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3402-28_0_3_line_36 |  | 33 | 39 | 0.0032075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3402-28_0_3_line_37 |  | 34 | 85 | 0.02145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3402-28_0_3_line_38 |  | 35 | 64 | 0.011185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3402-28_0_3_line_39 |  | 36 | 74 | 0.0026397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_3402-28_0_3_line_40 |  | 38 | 94 | 0.029253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3402-28_0_3_line_41 |  | 39 | 92 | 0.023184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3402-28_0_3_line_42 |  | 39 | 91 | 0.0061677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3402-28_0_3_line_43 |  | 40 | 41 | 0.19872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3402-28_0_3_line_44 |  | 40 | 42 | 0.24632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3402-28_0_3_line_45 |  | 41 | 43 | 0.040097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3402-28_0_3_line_46 |  | 41 | 44 | 0.015017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3402-28_0_3_line_47 |  | 42 | 45 | 0.14108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3402-28_0_3_line_48 |  | 43 | 46 | 0.020004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3402-28_0_3_line_49 |  | 46 | 47 | 0.020776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3402-28_0_3_line_50 |  | 47 | 64 | 0.0084511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3402-28_0_3_line_51 |  | 48 | 49 | 0.024883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3402-28_0_3_line_52 |  | 48 | 50 | 0.093849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3402-28_0_3_line_53 |  | 49 | 51 | 0.03708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3402-28_0_3_line_54 |  | 50 | 52 | 0.16314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3402-28_0_3_line_55 |  | 50 | 53 | 0.10649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3402-28_0_3_line_56 |  | 51 | 54 | 0.0045092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3402-28_0_3_line_57 |  | 52 | 55 | 0.0049749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3402-28_0_3_line_58 |  | 53 | 56 | 0.022314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3402-28_0_3_line_59 |  | 54 | 57 | 0.10522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3402-28_0_3_line_60 |  | 55 | 58 | 0.19665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3402-28_0_3_line_61 |  | 56 | 59 | 0.026035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3402-28_0_3_line_62 |  | 57 | 78 | 0.050829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3402-28_0_3_line_63 |  | 57 | 79 | 0.052168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3402-28_0_3_line_64 |  | 58 | 84 | 0.048698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3402-28_0_3_line_65 |  | 59 | 67 | 0.0067547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3402-28_0_3_line_66 |  | 59 | 88 | 0.018449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3402-28_0_3_line_67 |  | 60 | 61 | 0.01255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3402-28_0_3_line_68 |  | 61 | 65 | 0.013324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3402-28_0_3_line_69 |  | 61 | 66 | 0.069228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3402-28_0_3_line_70 |  | 62 | 63 | 0.012222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3402-28_0_3_line_71 |  | 63 | 67 | 0.022137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3402-28_0_3_line_72 |  | 64 | 68 | 0.026369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3402-28_0_3_line_73 |  | 64 | 69 | 0.020891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3402-28_0_3_line_74 |  | 65 | 80 | 0.026182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3402-28_0_3_line_75 |  | 65 | 81 | 0.025965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3402-28_0_3_line_76 |  | 69 | 86 | 0.01565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3402-28_0_3_line_77 |  | 70 | 71 | 0.093022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3402-28_0_3_line_78 |  | 71 | 72 | 0.064297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3402-28_0_3_line_79 |  | 72 | 73 | 0.0086312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3402-28_0_3_line_80 |  | 73 | 84 | 0.18432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3402-28_0_3_line_81 |  | 74 | 75 | 0.011706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
82 | LV_3402-28_0_3_line_82 |  | 75 | 76 | 0.016405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
83 | LV_3402-28_0_3_line_83 |  | 76 | 77 | 0.015646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
84 | LV_3402-28_0_3_line_84 |  | 77 | 88 | 0.038065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
85 | LV_3402-28_0_3_line_85 |  | 80 | 82 | 0.0080313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3402-28_0_3_line_86 |  | 81 | 83 | 0.031173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3402-28_0_3_line_87 |  | 82 | 95 | 0.018967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3402-28_0_3_line_88 |  | 83 | 92 | 0.012401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3402-28_0_3_line_89 |  | 86 | 87 | 0.020135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3402-28_0_3_line_90 |  | 87 | 93 | 0.0053626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3402-28_0_3_line_91 |  | 89 | 90 | 0.0030925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3402-28_0_3_line_92 |  | 90 | 91 | 0.016706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3402-28_0_3_line_93 |  | 92 | 93 | 0.014978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3402-28_0_3_line_94 |  | 94 | 95 | 0.0030361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3402-28_0_3_trafo_70 | 0.63 MVA 20/0.4 kV | 96 | 29 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2733168.782 | 1252091.3598 | 2733175.9219 | 1252099.5061 | 2733178.3085 | 1252101.836
1 | 2733088.8828 | 1251997.5474 | 2733096.5351 | 1252009.1186 | 2733128.0908 | 1252048.5631 | 2733142.5424 | 1252062.2891 | 2733153.8976 | 1252074.3773 | 2733168.782 | 1252091.3598
2 | 2733178.3085 | 1252101.836 | 2733189.2862 | 1252112.5531
3 | 2733088.8828 | 1251997.5474 | 2733083.0473 | 1251991.1328 | 2733078.7969 | 1251982.0514
4 | 2733215.6016 | 1252132.5167 | 2733190.882 | 1252114.1111 | 2733189.2862 | 1252112.5531
5 | 2733078.7969 | 1251982.0514 | 2733076.4814 | 1251975.5602 | 2733071.7979 | 1251966.6025 | 2733065.1744 | 1251954.9321 | 2733056.5117 | 1251946.3187 | 2733048.0403 | 1251940.2786 | 2733035.8613 | 1251934.5889 | 2733019.9792 | 1251929.3943 | 2733005.5612 | 1251924.8436
6 | 2733395.583 | 1252123.2131 | 2733215.6016 | 1252132.5167
7 | 2733470.0588 | 1252189.0498 | 2733465.5248 | 1252182.5306 | 2733460.3527 | 1252169.4912 | 2733456.1097 | 1252160.1094 | 2733457.584 | 1252148.6323 | 2733463.834 | 1252131.6132 | 2733469.0212 | 1252117.1948 | 2733467.9153 | 1252112.3322 | 2733465.1539 | 1252109.2338 | 2733460.498 | 1252109.1289 | 2733454.7579 | 1252112.2357 | 2733442.045 | 1252119.2113 | 2733421.2623 | 1252124.8039 | 2733408.2192 | 1252128.3467 | 2733400.7106 | 1252129.1895 | 2733395.8965 | 1252127.057 | 2733395.583 | 1252123.2131
8 | 2733470.0588 | 1252189.0498 | 2733472.1398 | 1252177.7865 | 2733476.5092 | 1252165.8185 | 2733483.7522 | 1252151.9373
9 | 2733005.5612 | 1251924.8436 | 2733000.2546 | 1251923.1688
10 | 2733358.3867 | 1251838.5523 | 2733348.416 | 1251839.7512 | 2733312.174 | 1251868.9399 | 2733274.7112 | 1251895.699
11 | 2733274.7112 | 1251895.699 | 2733273.3628 | 1251888.8514 | 2733264.3307 | 1251877.8717 | 2733243.6988 | 1251863.1743
12 | 2733358.3867 | 1251838.5523 | 2733355.0918 | 1251764.9451 | 2733363.3781 | 1251750.374 | 2733383.0894 | 1251726.7075 | 2733388.4884 | 1251712.6163 | 2733396.5764 | 1251708.1626
13 | 2733241.5841 | 1251861.6678 | 2733243.6988 | 1251863.1743
14 | 2733406.4507 | 1251702.7252 | 2733396.5764 | 1251708.1626
15 | 2733430.1251 | 1251689.6886 | 2733406.4507 | 1251702.7252
16 | 2733500.8804 | 1251780.7866 | 2733488.8221 | 1251757.0269 | 2733473.5963 | 1251735.7759 | 2733430.1251 | 1251689.6886
17 | 2733430.1251 | 1251689.6886 | 2733427.3893 | 1251685.8847
18 | 2733668.3198 | 1251633.5729 | 2733667.006 | 1251643.9416
19 | 2733667.006 | 1251643.9416 | 2733500.8804 | 1251780.7866
20 | 2733667.006 | 1251643.9416 | 2733685.5637 | 1251636.292
21 | 2733685.5637 | 1251636.292 | 2733693.2241 | 1251633.1344 | 2733700.4257 | 1251641.9363
22 | 2733347.9039 | 1251609.7324 | 2733360.9259 | 1251629.6322 | 2733412.9863 | 1251665.859 | 2733427.3893 | 1251685.8847
23 | 2733347.9039 | 1251609.7324 | 2733346.1595 | 1251607.0574 | 2733343.6777 | 1251603.2648 | 2733336.476 | 1251593.4717 | 2733331.9851 | 1251587.3641
24 | 2733581.3995 | 1252057.44 | 2733561.9199 | 1252066.1643 | 2733539.7855 | 1252078.7768 | 2733519.0409 | 1252096.3919 | 2733494.2086 | 1252131.8977 | 2733483.7522 | 1252151.9373
25 | 2733581.3995 | 1252057.44 | 2733588.3465 | 1252060.744 | 2733595.0646 | 1252067.5016 | 2733603.7816 | 1252079.0196 | 2733607.6923 | 1252095.7563 | 2733622.9787 | 1252102.8852 | 2733627.3241 | 1252103.3725
26 | 2733627.3241 | 1252103.3725 | 2733630.4645 | 1252103.7214 | 2733631.6729 | 1252103.639
27 | 2733668.69 | 1252022.4769 | 2733663.8135 | 1252020.4317
28 | 2733663.8135 | 1252020.4317 | 2733665.9909 | 1252017.5379
29 | 2733668.69 | 1252022.4769 | 2733663.9258 | 1252037.1682
30 | 2733668.69 | 1252022.4769 | 2733691.0251 | 1252032.0357
31 | 2733682.5497 | 1251995.5307 | 2733665.9909 | 1252017.5379
32 | 2733598.5932 | 1252121.5744 | 2733588.9987 | 1252130.544 | 2733580.9191 | 1252152.1613
33 | 2733598.5932 | 1252121.5744 | 2733612.6743 | 1252129.2724
34 | 2733580.9191 | 1252152.1613 | 2733578.5209 | 1252158.5775 | 2733569.8671 | 1252169.3589 | 2733568.7756 | 1252175.5953
35 | 2733614.8099 | 1252129.821 | 2733612.7037 | 1252129.2885 | 2733612.6743 | 1252129.2724
36 | 2733634.873 | 1252103.4206 | 2733631.6729 | 1252103.639
37 | 2733657.3859 | 1252057.5589 | 2733658.3981 | 1252055.6303 | 2733663.4557 | 1252038.6179 | 2733663.9258 | 1252037.1682
38 | 2733701.3083 | 1252036.4366 | 2733691.0251 | 1252032.0357
39 | 2733684.1368 | 1251993.4214 | 2733682.5497 | 1251995.5307
40 | 2733614.8099 | 1252129.821 | 2733643.1707 | 1252136.9915
41 | 2733634.873 | 1252103.4206 | 2733647.3339 | 1252102.6009 | 2733656.3306 | 1252096.7096
42 | 2733634.873 | 1252103.4206 | 2733636.6726 | 1252097.5213
43 | 2733785.4343 | 1252066.04 | 2733793.5549 | 1252062.509 | 2733801.9232 | 1252055.0357 | 2733811.2247 | 1252037.6745 | 2733834.5372 | 1251979.326 | 2733845.7426 | 1251972.6064 | 2733860.257 | 1251975.8149 | 2733888.4295 | 1251986.3721 | 2733904.7743 | 1251988.4322 | 2733925.7748 | 1251993.5801
44 | 2733925.7748 | 1251993.5801 | 2734147.5724 | 1252100.7258
45 | 2733785.4343 | 1252066.04 | 2733747.1114 | 1252054.245
46 | 2733785.4343 | 1252066.04 | 2733799.2849 | 1252071.8429
47 | 2734147.5724 | 1252100.7258 | 2734158.727 | 1252099.2547 | 2734173.1329 | 1252104.2299 | 2734195.7505 | 1252118.3215 | 2734210.1428 | 1252128.8904 | 2734223.4512 | 1252160.9543 | 2734233.7812 | 1252175.2012 | 2734242.4467 | 1252182.2706 | 2734247.6258 | 1252186.3411
48 | 2733727.9927 | 1252048.3606 | 2733747.1114 | 1252054.245
49 | 2733727.9927 | 1252048.3606 | 2733709.0241 | 1252039.8844
50 | 2733701.3083 | 1252036.4366 | 2733709.0241 | 1252039.8844
51 | 2733899.5913 | 1251726.3572 | 2733907.2628 | 1251719.8568 | 2733921.2722 | 1251715.0001
52 | 2733845.3002 | 1251802.1534 | 2733868.7194 | 1251764.8487 | 2733886.8476 | 1251737.1555 | 2733899.5913 | 1251726.3572
53 | 2733956.5987 | 1251703.779 | 2733939.6061 | 1251708.6443 | 2733921.2722 | 1251715.0001
54 | 2733845.3002 | 1251802.1534 | 2733840.5527 | 1251783.3737 | 2733845.0589 | 1251764.0691 | 2733848.1222 | 1251748.8023 | 2733874.8129 | 1251729.1097 | 2733902.5014 | 1251705.3694 | 2733904.2575 | 1251687.8155 | 2733893.6114 | 1251669.6064
55 | 2733845.3002 | 1251802.1534 | 2733826.9072 | 1251829.8853 | 2733799.3734 | 1251872.8801 | 2733787.0823 | 1251891.3103
56 | 2733956.5987 | 1251703.779 | 2733960.9337 | 1251702.5378
57 | 2733891.8666 | 1251665.0063 | 2733892.4957 | 1251667.6982 | 2733893.6114 | 1251669.6064
58 | 2733787.0823 | 1251891.3103 | 2733781.633 | 1251899.4814 | 2733774.823 | 1251909.9546
59 | 2734055.0203 | 1251656.7628 | 2734017.2994 | 1251680.0306 | 2734010.0399 | 1251684.5149 | 2733975.2794 | 1251698.4304 | 2733960.9337 | 1251702.5378
60 | 2733891.7866 | 1251479.7013 | 2733903.7524 | 1251488.1459 | 2733909.841 | 1251523.4154 | 2733911.0431 | 1251577.7583 | 2733894.2663 | 1251612.1102 | 2733888.785 | 1251651.8222 | 2733891.8666 | 1251665.0063
61 | 2733760.6308 | 1251931.7809 | 2733774.823 | 1251909.9546
62 | 2734055.0203 | 1251656.7628 | 2734098.5646 | 1251630.5422
63 | 2734055.0203 | 1251656.7628 | 2734102.5719 | 1251678.2182
64 | 2733891.7866 | 1251479.7013 | 2733877.6691 | 1251485.9324 | 2733872.0662 | 1251494.6247 | 2733865.3639 | 1251500.1783 | 2733858.9566 | 1251500.7007 | 2733853.4661 | 1251498.7416 | 2733851.6869 | 1251497.9139
65 | 2733760.6308 | 1251931.7809 | 2733757.4077 | 1251937.717
66 | 2733760.6308 | 1251931.7809 | 2733757.6728 | 1251931.3693 | 2733753.9092 | 1251932.1962 | 2733750.1062 | 1251934.4346 | 2733744.2186 | 1251938.5733
67 | 2733710.784 | 1252153.4117 | 2733712.6615 | 1252141.0034
68 | 2733710.784 | 1252153.4117 | 2733697.7933 | 1252150.2824
69 | 2733710.784 | 1252153.4117 | 2733699.4922 | 1252221.7124
70 | 2733743.5537 | 1251969.1094 | 2733744.8393 | 1251965.0433 | 2733748.0481 | 1251957.7616
71 | 2733757.4077 | 1251937.717 | 2733754.612 | 1251942.8661 | 2733748.0481 | 1251957.7616
72 | 2733701.3083 | 1252036.4366 | 2733708.1916 | 1252022.1679 | 2733708.4292 | 1252011.6439
73 | 2733701.3083 | 1252036.4366 | 2733698.9269 | 1252040.9202 | 2733691.5655 | 1252054.9169
74 | 2733697.7933 | 1252150.2824 | 2733672.3408 | 1252144.1432
75 | 2733697.7933 | 1252150.2824 | 2733685.0088 | 1252140.3627 | 2733677.5089 | 1252134.081
76 | 2733684.2808 | 1252068.7679 | 2733691.5655 | 1252054.9169
77 | 2733744.6537 | 1251721.9036 | 2733737.8227 | 1251702.7814 | 2733724.9062 | 1251669.5822 | 2733718.8254 | 1251660.6702 | 2733705.3406 | 1251647.9433 | 2733700.4257 | 1251641.9363
78 | 2733747.8863 | 1251598.5589 | 2733700.4257 | 1251641.9363
79 | 2733747.8863 | 1251598.5589 | 2733745.6397 | 1251590.2251
80 | 2733745.6397 | 1251590.2251 | 2733742.8702 | 1251579.9511 | 2733738.3859 | 1251558.1858 | 2733735.3108 | 1251534.2059 | 2733756.4842 | 1251518.4473 | 2733785.2955 | 1251511.8696 | 2733794.5276 | 1251510.9772 | 2733807.0051 | 1251510.1471 | 2733817.8542 | 1251507.8678 | 2733827.9305 | 1251502.7018 | 2733837.3705 | 1251495.6197 | 2733843.4907 | 1251494.101 | 2733851.6869 | 1251497.9139
81 | 2733684.1368 | 1251993.4214 | 2733691.1068 | 1251984.0034
82 | 2733691.1068 | 1251984.0034 | 2733696.6349 | 1251977.2554 | 2733702.4354 | 1251972.2192
83 | 2733702.4354 | 1251972.2192 | 2733714.2496 | 1251961.9616
84 | 2733744.2186 | 1251938.5733 | 2733728.2946 | 1251949.7672 | 2733714.2496 | 1251961.9616
85 | 2733672.3408 | 1252144.1432 | 2733664.5334 | 1252142.2601
86 | 2733661.9736 | 1252107.7528 | 2733663.1779 | 1252110.1095 | 2733666.7975 | 1252119.6665 | 2733671.7452 | 1252129.2534 | 2733677.5089 | 1252134.081
87 | 2733646.1142 | 1252137.7357 | 2733653.1295 | 1252139.5094 | 2733664.5334 | 1252142.2601
88 | 2733656.3306 | 1252096.7096 | 2733661.9736 | 1252107.7528
89 | 2733672.8184 | 1252084.8155 | 2733677.8401 | 1252081.014 | 2733684.2808 | 1252068.7679
90 | 2733672.8184 | 1252084.8155 | 2733668.5427 | 1252088.0523
91 | 2733644.9801 | 1252079.6837 | 2733643.3201 | 1252082.2929
92 | 2733643.3201 | 1252082.2929 | 2733641.3815 | 1252085.3399 | 2733638.5827 | 1252091.2599 | 2733636.6726 | 1252097.5213
93 | 2733656.3306 | 1252096.7096 | 2733662.0627 | 1252092.9578 | 2733668.5427 | 1252088.0523
94 | 2733646.1142 | 1252137.7357 | 2733643.1707 | 1252136.9915

## bus_geodata
| x | y | coords
0 | 2733168.782 | 1252091.3598
1 | 2733178.3085 | 1252101.836
2 | 2733088.8828 | 1251997.5474
3 | 2733189.2862 | 1252112.5531
4 | 2733078.7969 | 1251982.0514
5 | 2733395.583 | 1252123.2131
6 | 2733215.6016 | 1252132.5167
7 | 2733470.0588 | 1252189.0498
8 | 2733005.5612 | 1251924.8436
9 | 2733274.7112 | 1251895.699
10 | 2733358.3867 | 1251838.5523
11 | 2733243.6988 | 1251863.1743
12 | 2733000.2546 | 1251923.1688
13 | 2733396.5764 | 1251708.1626
14 | 2733241.5841 | 1251861.6678
15 | 2733406.4507 | 1251702.7252
16 | 2733430.1251 | 1251689.6886
17 | 2733667.006 | 1251643.9416
18 | 2733668.3198 | 1251633.5729
19 | 2733500.8804 | 1251780.7866
20 | 2733685.5637 | 1251636.292
21 | 2733427.3892 | 1251685.8847
22 | 2733347.9039 | 1251609.7324
23 | 2733331.9851 | 1251587.3641
24 | 2733483.7522 | 1252151.9373
25 | 2733581.3995 | 1252057.44
26 | 2733627.3241 | 1252103.3725
27 | 2733663.8135 | 1252020.4317
28 | 2733668.69 | 1252022.4769
29 | 2733665.9909 | 1252017.5379
30 | 2733598.5932 | 1252121.5744
31 | 2733580.9191 | 1252152.1613
32 | 2733612.6743 | 1252129.2724
33 | 2733631.6729 | 1252103.639
34 | 2733663.9258 | 1252037.1682
35 | 2733691.0251 | 1252032.0357
36 | 2733682.5497 | 1251995.5307
37 | 2733568.7756 | 1252175.5953
38 | 2733614.8099 | 1252129.821
39 | 2733634.873 | 1252103.4206
40 | 2733925.7748 | 1251993.5801
41 | 2733785.4343 | 1252066.04
42 | 2734147.5724 | 1252100.7258
43 | 2733747.1114 | 1252054.245
44 | 2733799.2849 | 1252071.8429
45 | 2734247.6258 | 1252186.3411
46 | 2733727.9927 | 1252048.3606
47 | 2733709.0241 | 1252039.8844
48 | 2733899.5913 | 1251726.3572
49 | 2733921.2722 | 1251715.0001
50 | 2733845.3002 | 1251802.1534
51 | 2733956.5987 | 1251703.779
52 | 2733893.6114 | 1251669.6064
53 | 2733787.0823 | 1251891.3103
54 | 2733960.9337 | 1251702.5378
55 | 2733891.8666 | 1251665.0063
56 | 2733774.823 | 1251909.9546
57 | 2734055.0203 | 1251656.7628
58 | 2733891.7866 | 1251479.7013
59 | 2733760.6308 | 1251931.7809
60 | 2733712.6615 | 1252141.0034
61 | 2733710.784 | 1252153.4117
62 | 2733743.5537 | 1251969.1094
63 | 2733748.0481 | 1251957.7616
64 | 2733701.3083 | 1252036.4366
65 | 2733697.7933 | 1252150.2824
66 | 2733699.4922 | 1252221.7124
67 | 2733757.4077 | 1251937.717
68 | 2733708.4292 | 1252011.6439
69 | 2733691.5655 | 1252054.9169
70 | 2733744.6537 | 1251721.9036
71 | 2733700.4257 | 1251641.9363
72 | 2733747.8863 | 1251598.5589
73 | 2733745.6397 | 1251590.2251
74 | 2733684.1368 | 1251993.4214
75 | 2733691.1068 | 1251984.0034
76 | 2733702.4354 | 1251972.2192
77 | 2733714.2496 | 1251961.9616
78 | 2734098.5646 | 1251630.5422
79 | 2734102.5719 | 1251678.2182
80 | 2733672.3408 | 1252144.1432
81 | 2733677.5089 | 1252134.081
82 | 2733664.5334 | 1252142.2601
83 | 2733661.9736 | 1252107.7528
84 | 2733851.6869 | 1251497.9139
85 | 2733657.3859 | 1252057.5589
86 | 2733684.2808 | 1252068.7679
87 | 2733672.8184 | 1252084.8155
88 | 2733744.2186 | 1251938.5733
89 | 2733644.9801 | 1252079.6837
90 | 2733643.3201 | 1252082.2929
91 | 2733636.6726 | 1252097.5213
92 | 2733656.3306 | 1252096.7096
93 | 2733668.5427 | 1252088.0523
94 | 2733643.1707 | 1252136.9915
95 | 2733646.1142 | 1252137.7357
96 | 2733663.8135 | 1252020.4317

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1