## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3402-4_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3402-4_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3402-4_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3402-4_0_4_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_3402-4_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3402-4_0_4_node_24 | 0.4 | n |  | TRUE
6 | bus_LV_3402-4_0_4_node_21 | 0.4 | n |  | TRUE
7 | bus_LV_3402-4_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_3402-4_0_4_node_53 | 0.4 | n |  | TRUE
9 | bus_LV_3402-4_0_4_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_3402-4_0_4_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_3402-4_0_4_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_3402-4_0_4_node_35 | 0.4 | n |  | TRUE
13 | bus_LV_3402-4_0_4_node_49 | 0.4 | n |  | TRUE
14 | bus_LV_3402-4_0_4_node_48 | 0.4 | n |  | TRUE
15 | bus_LV_3402-4_0_4_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_3402-4_0_4_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_3402-4_0_4_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_3402-4_0_4_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_3402-4_0_4_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_3402-4_0_4_node_68 | 0.4 | n |  | TRUE
21 | bus_LV_3402-4_0_4_node_66 | 0.4 | n |  | TRUE
22 | bus_LV_3402-4_0_4_node_100 | 0.4 | n |  | TRUE
23 | bus_LV_3402-4_0_4_node_87 | 0.4 | n |  | TRUE
24 | bus_LV_3402-4_0_4_node_67 | 0.4 | n |  | TRUE
25 | bus_LV_3402-4_0_4_node_98 | 0.4 | n |  | TRUE
26 | bus_LV_3402-4_0_4_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_3402-4_0_4_node_46 | 0.4 | n |  | TRUE
28 | bus_LV_3402-4_0_4_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_3402-4_0_4_node_71 | 0.4 | n |  | TRUE
30 | bus_LV_3402-4_0_4_node_75 | 0.4 | n |  | TRUE
31 | bus_LV_3402-4_0_4_node_69 | 0.4 | n |  | TRUE
32 | bus_LV_3402-4_0_4_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_3402-4_0_4_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_3402-4_0_4_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_3402-4_0_4_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_3402-4_0_4_node_41 | 0.4 | n |  | TRUE
37 | bus_LV_3402-4_0_4_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_3402-4_0_4_node_56 | 0.4 | n |  | TRUE
39 | bus_LV_3402-4_0_4_node_57 | 0.4 | n |  | TRUE
40 | bus_LV_3402-4_0_4_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_3402-4_0_4_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_3402-4_0_4_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_3402-4_0_4_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_3402-4_0_4_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_3402-4_0_4_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_3402-4_0_4_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_3402-4_0_4_node_29 | 0.4 | n |  | TRUE
48 | bus_LV_3402-4_0_4_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_3402-4_0_4_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_3402-4_0_4_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_3402-4_0_4_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_3402-4_0_4_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_3402-4_0_4_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_3402-4_0_4_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_3402-4_0_4_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_3402-4_0_4_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_3402-4_0_4_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_3402-4_0_4_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_3402-4_0_4_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_3402-4_0_4_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_3402-4_0_4_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_3402-4_0_4_node_111 | 0.4 | n |  | TRUE
63 | bus_LV_3402-4_0_4_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_3402-4_0_4_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_3402-4_0_4_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_3402-4_0_4_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_3402-4_0_4_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_3402-4_0_4_node_64 | 0.4 | n |  | TRUE
69 | bus_LV_3402-4_0_4_node_76 | 0.4 | n |  | TRUE
70 | bus_LV_3402-4_0_4_node_78 | 0.4 | n |  | TRUE
71 | bus_LV_3402-4_0_4_node_72 | 0.4 | n |  | TRUE
72 | bus_LV_3402-4_0_4_node_77 | 0.4 | n |  | TRUE
73 | bus_LV_3402-4_0_4_node_85 | 0.4 | n |  | TRUE
74 | bus_LV_3402-4_0_4_node_86 | 0.4 | n |  | TRUE
75 | bus_LV_3402-4_0_4_node_74 | 0.4 | n |  | TRUE
76 | bus_LV_3402-4_0_4_node_70 | 0.4 | n |  | TRUE
77 | bus_LV_3402-4_0_4_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_3402-4_0_4_node_83 | 0.4 | n |  | TRUE
79 | bus_LV_3402-4_0_4_node_81 | 0.4 | n |  | TRUE
80 | bus_LV_3402-4_0_4_node_79 | 0.4 | n |  | TRUE
81 | bus_LV_3402-4_0_4_node_80 | 0.4 | n |  | TRUE
82 | bus_LV_3402-4_0_4_node_109 | 0.4 | n |  | TRUE
83 | bus_LV_3402-4_0_4_node_95 | 0.4 | n |  | TRUE
84 | bus_LV_3402-4_0_4_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_3402-4_0_4_node_84 | 0.4 | n |  | TRUE
86 | bus_LV_3402-4_0_4_node_90 | 0.4 | n |  | TRUE
87 | bus_LV_3402-4_0_4_node_88 | 0.4 | n |  | TRUE
88 | bus_LV_3402-4_0_4_node_89 | 0.4 | n |  | TRUE
89 | bus_LV_3402-4_0_4_node_91 | 0.4 | n |  | TRUE
90 | bus_LV_3402-4_0_4_node_92 | 0.4 | n |  | TRUE
91 | bus_LV_3402-4_0_4_node_93 | 0.4 | n |  | TRUE
92 | bus_LV_3402-4_0_4_node_94 | 0.4 | n |  | TRUE
93 | bus_LV_3402-4_0_4_node_96 | 0.4 | n |  | TRUE
94 | bus_LV_3402-4_0_4_node_102 | 0.4 | n |  | TRUE
95 | bus_LV_3402-4_0_4_node_97 | 0.4 | n |  | TRUE
96 | bus_LV_3402-4_0_4_node_104 | 0.4 | n |  | TRUE
97 | bus_LV_3402-4_0_4_node_101 | 0.4 | n |  | TRUE
98 | bus_LV_3402-4_0_4_node_99 | 0.4 | n |  | TRUE
99 | bus_LV_3402-4_0_4_node_103 | 0.4 | n |  | TRUE
100 | bus_LV_3402-4_0_4_node_107 | 0.4 | n |  | TRUE
101 | bus_LV_3402-4_0_4_node_105 | 0.4 | n |  | TRUE
102 | bus_LV_3402-4_0_4_node_106 | 0.4 | n |  | TRUE
103 | bus_LV_3402-4_0_4_node_110 | 0.4 | n |  | TRUE
104 | bus_MV_155_1_node_122 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3402-4_0_4_load_0 | 0 | 0.0058881 | 0.0014757 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3402-4_0_4_load_1 | 1 | 0.012083 | 0.0030284 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3402-4_0_4_load_3 | 2 | 0.010299 | 0.0025813 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3402-4_0_4_load_5 | 3 | 0.012729 | 0.0031902 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3402-4_0_4_load_24 | 5 | 0.0036117 | 0.00090519 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3402-4_0_4_load_21 | 6 | 0.0017717 | 0.00044404 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3402-4_0_4_load_53 | 8 | 0.0064356 | 0.0016129 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3402-4_0_4_load_12 | 10 | 0.01108 | 0.002777 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3402-4_0_4_load_13 | 11 | 0.0058529 | 0.0014669 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3402-4_0_4_load_35 | 12 | 0.0058712 | 0.0014715 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3402-4_0_4_load_49 | 13 | 0.0069953 | 0.0017532 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3402-4_0_4_load_48 | 14 | 0.0077486 | 0.001942 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3402-4_0_4_load_14 | 15 | 0.0066137 | 0.0016575 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3402-4_0_4_load_7 | 16 | 0.060358 | 0.015127 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3402-4_0_4_load_10 | 19 | 0.0026191 | 0.0006564 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3402-4_0_4_load_68 | 20 | 0.0042255 | 0.001059 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3402-4_0_4_load_66 | 21 | 0.0035234 | 0.00088306 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3402-4_0_4_load_100 | 22 | 0.004343 | 0.0010885 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3402-4_0_4_load_87 | 23 | 0.0033846 | 0.00084826 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3402-4_0_4_load_67 | 24 | 0.0026911 | 0.00067444 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3402-4_0_4_load_98 | 25 | 0.0038114 | 0.00095522 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3402-4_0_4_load_28 | 26 | 0.0059944 | 0.0015023 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3402-4_0_4_load_46 | 27 | 0.003793 | 0.00095063 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3402-4_0_4_load_75 | 30 | 0.05837 | 0.014629 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3402-4_0_4_load_69 | 31 | 0.0081006 | 0.0020302 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3402-4_0_4_load_16 | 32 | 0.0014653 | 0.00036723 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3402-4_0_4_load_17 | 33 | 0.0021461 | 0.00053785 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3402-4_0_4_load_18 | 34 | 0.0025068 | 0.00062827 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3402-4_0_4_load_19 | 35 | 0.014626 | 0.0036655 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3402-4_0_4_load_41 | 36 | 0.0036497 | 0.00091471 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3402-4_0_4_load_56 | 38 | 0.0083615 | 0.0020956 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3402-4_0_4_load_22 | 40 | 0.01204 | 0.0030176 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3402-4_0_4_load_32 | 42 | 0.0063152 | 0.0015827 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3402-4_0_4_load_31 | 43 | 0.0068839 | 0.0017253 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3402-4_0_4_load_25 | 44 | 0.0020849 | 0.00052254 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3402-4_0_4_load_26 | 45 | 0.0055762 | 0.0013975 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3402-4_0_4_load_27 | 46 | 0.0058957 | 0.0014776 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3402-4_0_4_load_29 | 47 | 0.0030763 | 0.00077099 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3402-4_0_4_load_30 | 48 | 0.0039539 | 0.00099093 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3402-4_0_4_load_36 | 49 | 0.0034289 | 0.00085937 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3402-4_0_4_load_37 | 51 | 0.0068716 | 0.0017222 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3402-4_0_4_load_51 | 52 | 0.002733 | 0.00068497 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3402-4_0_4_load_33 | 54 | 0.0034467 | 0.00086382 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3402-4_0_4_load_38 | 55 | 0.003054 | 0.0007654 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3402-4_0_4_load_39 | 56 | 0.0039306 | 0.0009851 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3402-4_0_4_load_40 | 57 | 0.011352 | 0.002845 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3402-4_0_4_load_47 | 58 | 0.0024608 | 0.00061673 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3402-4_0_4_load_45 | 59 | 0.006407 | 0.0016057 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3402-4_0_4_load_55 | 60 | 0.0014653 | 0.00036724 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3402-4_0_4_load_54 | 61 | 0.0034076 | 0.00085403 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3402-4_0_4_load_111 | 62 | 0.0022595 | 0.00056627 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3402-4_0_4_load_58 | 63 | 0.0017941 | 0.00044964 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3402-4_0_4_load_59 | 64 | 0.0020613 | 0.00051662 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3402-4_0_4_load_60 | 65 | 0.0009492 | 0.00023789 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3402-4_0_4_load_63 | 67 | 0.0020353 | 0.00051009 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3402-4_0_4_load_64 | 68 | 0.001584 | 0.00039699 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3402-4_0_4_load_76 | 69 | 0.0043789 | 0.0010975 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3402-4_0_4_load_78 | 70 | 0.0034207 | 0.00085732 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3402-4_0_4_load_72 | 71 | 0.00847 | 0.0021228 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3402-4_0_4_load_77 | 72 | 0.0020515 | 0.00051416 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3402-4_0_4_load_85 | 73 | 0.0039879 | 0.00099945 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3402-4_0_4_load_74 | 75 | 0.0044155 | 0.0011066 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3402-4_0_4_load_73 | 77 | 0.004804 | 0.001204 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3402-4_0_4_load_83 | 78 | 0.0043956 | 0.0011016 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3402-4_0_4_load_81 | 79 | 0.0033227 | 0.00083274 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3402-4_0_4_load_79 | 80 | 0.0020389 | 0.000511 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3402-4_0_4_load_109 | 82 | 0.0030855 | 0.00077329 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3402-4_0_4_load_95 | 83 | 0.0026719 | 0.00066964 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3402-4_0_4_load_82 | 84 | 0.0047063 | 0.0011795 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3402-4_0_4_load_90 | 86 | 0.0028716 | 0.0007197 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3402-4_0_4_load_88 | 87 | 0.0032462 | 0.00081359 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3402-4_0_4_load_89 | 88 | 0.0027877 | 0.00069868 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3402-4_0_4_load_91 | 89 | 0.0057043 | 0.0014296 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3402-4_0_4_load_93 | 91 | 0.0032105 | 0.00080464 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3402-4_0_4_load_94 | 92 | 0.0017184 | 0.00043066 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3402-4_0_4_load_96 | 93 | 0.0043105 | 0.0010803 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3402-4_0_4_load_104 | 96 | 0.002656 | 0.00066565 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3402-4_0_4_load_101 | 97 | 0.0017818 | 0.00044657 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3402-4_0_4_load_107 | 100 | 0.0045828 | 0.0011486 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3402-4_0_4_load_105 | 101 | 0.0030642 | 0.00076796 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3402-4_0_4_load_106 | 102 | 0.0023056 | 0.00057783 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3402-4_0_4_load_110 | 103 | 0.0041461 | 0.0010391 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3402-4_0_4_line_0 |  | 0 | 1 | 0.0088912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3402-4_0_4_line_1 |  | 1 | 2 | 0.019497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3402-4_0_4_line_2 |  | 2 | 3 | 0.017938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3402-4_0_4_line_3 |  | 3 | 7 | 0.034618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3402-4_0_4_line_4 |  | 4 | 5 | 0.01328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3402-4_0_4_line_5 |  | 4 | 6 | 0.027162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3402-4_0_4_line_6 |  | 5 | 8 | 0.02878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3402-4_0_4_line_7 |  | 7 | 9 | 0.03943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_3402-4_0_4_line_8 |  | 7 | 10 | 0.015513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_3402-4_0_4_line_9 |  | 7 | 11 | 0.012577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3402-4_0_4_line_10 |  | 8 | 13 | 0.014551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3402-4_0_4_line_11 |  | 9 | 12 | 0.010705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3402-4_0_4_line_12 |  | 9 | 13 | 0.024618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3402-4_0_4_line_13 |  | 9 | 14 | 0.017777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3402-4_0_4_line_14 |  | 10 | 15 | 0.013268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_3402-4_0_4_line_15 |  | 12 | 26 | 0.01041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3402-4_0_4_line_16 |  | 14 | 27 | 0.023483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3402-4_0_4_line_17 |  | 15 | 28 | 0.01513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_3402-4_0_4_line_18 |  | 16 | 17 | 0.019697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3402-4_0_4_line_19 |  | 17 | 18 | 0.009303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3402-4_0_4_line_20 |  | 17 | 19 | 0.0061742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3402-4_0_4_line_21 |  | 18 | 20 | 0.0097253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3402-4_0_4_line_22 |  | 18 | 21 | 0.018751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3402-4_0_4_line_23 |  | 19 | 22 | 0.017981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3402-4_0_4_line_24 |  | 20 | 23 | 0.011369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3402-4_0_4_line_25 |  | 21 | 24 | 0.019397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3402-4_0_4_line_26 |  | 22 | 25 | 0.00011471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3402-4_0_4_line_27 |  | 23 | 75 | 0.013309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3402-4_0_4_line_28 |  | 26 | 45 | 0.0049031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3402-4_0_4_line_29 |  | 27 | 59 | 0.0077537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3402-4_0_4_line_30 |  | 28 | 29 | 0.019361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_3402-4_0_4_line_31 |  | 29 | 30 | 0.048454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3402-4_0_4_line_32 |  | 29 | 31 | 0.006892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_3402-4_0_4_line_33 |  | 31 | 76 | 0.020464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_3402-4_0_4_line_34 |  | 32 | 33 | 0.00020496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3402-4_0_4_line_35 |  | 32 | 34 | 0.012943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3402-4_0_4_line_36 |  | 33 | 35 | 0.002553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3402-4_0_4_line_37 |  | 35 | 36 | 0.0090667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3402-4_0_4_line_38 |  | 36 | 37 | 0.019157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3402-4_0_4_line_39 |  | 37 | 55 | 0.0215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3402-4_0_4_line_40 |  | 37 | 54 | 0.012751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3402-4_0_4_line_41 |  | 38 | 39 | 0.015717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3402-4_0_4_line_42 |  | 39 | 63 | 0.019099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3402-4_0_4_line_43 |  | 40 | 41 | 0.031108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3402-4_0_4_line_44 |  | 41 | 42 | 0.027438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3402-4_0_4_line_45 |  | 42 | 43 | 0.021638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3402-4_0_4_line_46 |  | 43 | 54 | 0.0090765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3402-4_0_4_line_47 |  | 44 | 45 | 0.02103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3402-4_0_4_line_48 |  | 44 | 46 | 0.015959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3402-4_0_4_line_49 |  | 46 | 47 | 0.013458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3402-4_0_4_line_50 |  | 46 | 48 | 0.023233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3402-4_0_4_line_51 |  | 47 | 49 | 0.00067249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3402-4_0_4_line_52 |  | 48 | 50 | 0.0055947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3402-4_0_4_line_53 |  | 49 | 51 | 0.031793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3402-4_0_4_line_54 |  | 50 | 52 | 0.013925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3402-4_0_4_line_55 |  | 50 | 53 | 0.009513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3402-4_0_4_line_56 |  | 52 | 61 | 0.00045827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3402-4_0_4_line_57 |  | 53 | 62 | 0.010974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3402-4_0_4_line_58 |  | 55 | 56 | 0.022978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3402-4_0_4_line_59 |  | 56 | 57 | 0.0088815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3402-4_0_4_line_60 |  | 57 | 58 | 0.0068715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3402-4_0_4_line_61 |  | 58 | 59 | 0.006406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3402-4_0_4_line_62 |  | 60 | 61 | 0.0061795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3402-4_0_4_line_63 |  | 62 | 63 | 0.00031001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3402-4_0_4_line_64 |  | 64 | 65 | 0.0091361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3402-4_0_4_line_65 |  | 64 | 66 | 0.0015843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3402-4_0_4_line_66 |  | 66 | 67 | 0.010868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3402-4_0_4_line_67 |  | 66 | 68 | 0.0098393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3402-4_0_4_line_68 |  | 67 | 69 | 0.013689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3402-4_0_4_line_69 |  | 68 | 70 | 0.0036816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3402-4_0_4_line_70 |  | 69 | 71 | 0.028258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3402-4_0_4_line_71 |  | 70 | 72 | 0.0050896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3402-4_0_4_line_72 |  | 71 | 76 | 0.012604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3402-4_0_4_line_73 |  | 72 | 80 | 0.008934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3402-4_0_4_line_74 |  | 73 | 74 | 0.016122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3402-4_0_4_line_75 |  | 74 | 81 | 0.003325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3402-4_0_4_line_76 |  | 75 | 76 | 0.010812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3402-4_0_4_line_77 |  | 76 | 77 | 0.017972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3402-4_0_4_line_78 |  | 77 | 78 | 0.0099581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3402-4_0_4_line_79 |  | 78 | 79 | 0.012858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3402-4_0_4_line_80 |  | 79 | 84 | 0.0031341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3402-4_0_4_line_81 |  | 81 | 82 | 0.0301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3402-4_0_4_line_82 |  | 82 | 83 | 0.017457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3402-4_0_4_line_83 |  | 83 | 85 | 0.0051102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3402-4_0_4_line_84 |  | 84 | 85 | 0.032794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3402-4_0_4_line_85 |  | 85 | 86 | 0.011113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3402-4_0_4_line_86 |  | 86 | 87 | 0.0094866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3402-4_0_4_line_87 |  | 87 | 88 | 0.0057675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3402-4_0_4_line_88 |  | 88 | 89 | 0.020984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3402-4_0_4_line_89 |  | 89 | 90 | 0.010395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3402-4_0_4_line_90 |  | 90 | 91 | 0.002753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3402-4_0_4_line_91 |  | 90 | 92 | 0.0154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3402-4_0_4_line_92 |  | 91 | 93 | 0.016909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3402-4_0_4_line_93 |  | 92 | 94 | 0.015153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3402-4_0_4_line_94 |  | 93 | 95 | 0.029544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3402-4_0_4_line_95 |  | 94 | 96 | 0.0073045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_3402-4_0_4_line_96 |  | 94 | 97 | 0.012362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_3402-4_0_4_line_97 |  | 95 | 98 | 0.031032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_3402-4_0_4_line_98 |  | 96 | 101 | 0.0030793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_3402-4_0_4_line_99 |  | 98 | 99 | 0.10157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_3402-4_0_4_line_100 |  | 99 | 100 | 0.075217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_3402-4_0_4_line_101 |  | 101 | 102 | 0.020833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_3402-4_0_4_line_102 |  | 102 | 103 | 0.006763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3402-4_0_4_trafo_12 | 0.63 MVA 20/0.4 kV | 104 | 10 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2731788.0618 | 1252657.7072 | 2731793.2942 | 1252664.8958
1 | 2731804.768 | 1252680.6592 | 2731793.2942 | 1252664.8958
2 | 2731804.768 | 1252680.6592 | 2731808.3374 | 1252685.5632 | 2731816.0624 | 1252694.5795
3 | 2731838.5856 | 1252720.8679 | 2731816.0624 | 1252694.5795
4 | 2731813.2174 | 1252635.5824 | 2731821.6683 | 1252645.8264
5 | 2731813.2174 | 1252635.5824 | 2731835.1286 | 1252620.8567 | 2731835.714 | 1252620.3677
6 | 2731840.595 | 1252667.5023 | 2731826.5076 | 1252651.6926 | 2731821.6683 | 1252645.8264
7 | 2731838.5856 | 1252720.8679 | 2731868.4445 | 1252695.0203
8 | 2731838.5856 | 1252720.8679 | 2731826.2989 | 1252730.3379
9 | 2731838.5856 | 1252720.8679 | 2731844.2053 | 1252728.5221 | 2731846.0801 | 1252730.968
10 | 2731840.595 | 1252667.5023 | 2731845.3328 | 1252672.8193 | 2731850.6906 | 1252677.966
11 | 2731868.4445 | 1252695.0203 | 2731877.7257 | 1252700.355
12 | 2731868.4445 | 1252695.0203 | 2731850.6906 | 1252677.966
13 | 2731868.4445 | 1252695.0203 | 2731878.8049 | 1252683.3627 | 2731880.2959 | 1252681.7707
14 | 2731826.2989 | 1252730.3379 | 2731815.7899 | 1252738.4375
15 | 2731886.7514 | 1252705.5428 | 2731877.7257 | 1252700.355
16 | 2731896.3484 | 1252664.6308 | 2731880.2959 | 1252681.7707
17 | 2731803.8064 | 1252747.6737 | 2731815.7899 | 1252738.4375
18 | 2731750.657 | 1252723.0917 | 2731742.1597 | 1252705.3223
19 | 2731753.0006 | 1252732.0964 | 2731750.657 | 1252723.0917
20 | 2731750.657 | 1252723.0917 | 2731744.5899 | 1252721.9467
21 | 2731753.0006 | 1252732.0964 | 2731755.4474 | 1252741.5088
22 | 2731753.0006 | 1252732.0964 | 2731761.4921 | 1252734.1871 | 2731771.2033 | 1252731.7748
23 | 2731726.9203 | 1252718.6122 | 2731744.5899 | 1252721.9467
24 | 2731755.4474 | 1252741.5088 | 2731756.0741 | 1252743.9198 | 2731758.7883 | 1252752.3727
25 | 2731771.2033 | 1252731.7748 | 2731783.8858 | 1252728.6246 | 2731788.0066 | 1252733.4285
26 | 2731726.8076 | 1252718.5909 | 2731726.9203 | 1252718.6122
27 | 2731758.7883 | 1252752.3727 | 2731762.8571 | 1252765.0449
28 | 2731891.015 | 1252707.9637 | 2731889.0763 | 1252706.8791 | 2731886.7514 | 1252705.5428
29 | 2731901.6487 | 1252658.9715 | 2731901.6487 | 1252658.9715 | 2731896.3484 | 1252664.6308
30 | 2731788.2039 | 1252759.1369 | 2731799.6237 | 1252750.7501 | 2731803.8064 | 1252747.6737
31 | 2731788.2039 | 1252759.1369 | 2731806.8938 | 1252783.6192 | 2731817.5092 | 1252797.7903
32 | 2731788.2039 | 1252759.1369 | 2731782.6508 | 1252763.2189
33 | 2731766.1624 | 1252775.339 | 2731782.6508 | 1252763.2189
34 | 2731973.0762 | 1252635.1936 | 2731972.9295 | 1252635.0504
35 | 2731982.3356 | 1252644.2364 | 2731973.0762 | 1252635.1936
36 | 2731971.103 | 1252633.2666 | 2731972.9295 | 1252635.0504
37 | 2731964.6165 | 1252626.9318 | 2731971.103 | 1252633.2666
38 | 2731950.6297 | 1252613.8438 | 2731960.7495 | 1252623.1554 | 2731964.6165 | 1252626.9318
39 | 2731950.6297 | 1252613.8438 | 2731934.5997 | 1252627.8661 | 2731934.4447 | 1252627.996
40 | 2731950.6297 | 1252613.8438 | 2731941.1678 | 1252605.2965
41 | 2731969.5235 | 1252715.178 | 2731973.8503 | 1252700.0681
42 | 2731969.5235 | 1252715.178 | 2731968.0918 | 1252720.8178 | 2731964.6723 | 1252728.5931 | 2731962.6205 | 1252732.9176
43 | 2731898.4468 | 1252565.8499 | 2731885.815 | 1252576.4337 | 2731875.0271 | 1252586.3139
44 | 2731898.4468 | 1252565.8499 | 2731915.5894 | 1252582.1906 | 2731918.3755 | 1252584.7074
45 | 2731918.3755 | 1252584.7074 | 2731934.4325 | 1252599.2122
46 | 2731941.1678 | 1252605.2965 | 2731934.4325 | 1252599.2122
47 | 2731891.015 | 1252707.9637 | 2731909.3684 | 1252718.2314
48 | 2731923.2767 | 1252726.0578 | 2731921.2496 | 1252724.8783 | 2731909.3684 | 1252718.2314
49 | 2731923.2767 | 1252726.0578 | 2731916.3801 | 1252737.6145
50 | 2731923.2767 | 1252726.0578 | 2731943.6989 | 1252737.1348
51 | 2731916.0354 | 1252738.1919 | 2731916.3801 | 1252737.6145
52 | 2731948.6938 | 1252739.636 | 2731947.3317 | 1252739.1052 | 2731943.6989 | 1252737.1348
53 | 2731916.0354 | 1252738.1919 | 2731910.9962 | 1252746.6362 | 2731891.2145 | 1252737.1027
54 | 2731948.6938 | 1252739.636 | 2731942.3947 | 1252752.0544
55 | 2731957.6092 | 1252743.0265 | 2731948.6938 | 1252739.636
56 | 2731942.1873 | 1252752.4631 | 2731942.3947 | 1252752.0544
57 | 2731957.6092 | 1252743.0265 | 2731960.7354 | 1252736.8906 | 2731962.4876 | 1252733.1977
58 | 2731934.4447 | 1252627.996 | 2731925.9297 | 1252635.1351 | 2731917.4616 | 1252643.4482
59 | 2731911.1236 | 1252649.67 | 2731917.4616 | 1252643.4482
60 | 2731906.2201 | 1252654.4838 | 2731911.1236 | 1252649.67
61 | 2731901.6487 | 1252658.9715 | 2731906.2201 | 1252654.4838
62 | 2731942.1873 | 1252752.4631 | 2731940.3714 | 1252756.0432 | 2731940.8774 | 1252758.1484
63 | 2731962.6205 | 1252732.9176 | 2731962.4876 | 1252733.1977
64 | 2731785.5025 | 1252839.4528 | 2731788.5328 | 1252848.0717
65 | 2731784.977 | 1252837.9582 | 2731785.5025 | 1252839.4528
66 | 2731784.977 | 1252837.9582 | 2731781.3728 | 1252827.7051
67 | 2731784.977 | 1252837.9582 | 2731775.7948 | 1252841.4938
68 | 2731781.3728 | 1252827.7051 | 2731777.9202 | 1252817.8832 | 2731777.0471 | 1252814.7241
69 | 2731775.7948 | 1252841.4938 | 2731772.3591 | 1252842.8167
70 | 2731769.5198 | 1252787.4876 | 2731777.0471 | 1252814.7241
71 | 2731767.6095 | 1252844.6455 | 2731772.3591 | 1252842.8167
72 | 2731766.1624 | 1252775.339 | 2731769.5198 | 1252787.4876
73 | 2731767.6095 | 1252844.6455 | 2731765.5912 | 1252845.4226 | 2731759.3042 | 1252847.9374
74 | 2731710.9277 | 1252877.3803 | 2731723.0176 | 1252880.2517 | 2731725.8502 | 1252882.6258
75 | 2731710.9277 | 1252877.3803 | 2731710.1846 | 1252874.1386
76 | 2731766.1624 | 1252775.339 | 2731762.8571 | 1252765.0449
77 | 2731766.1624 | 1252775.339 | 2731751.8469 | 1252786.205
78 | 2731751.8469 | 1252786.205 | 2731743.915 | 1252792.2257
79 | 2731733.6732 | 1252799.9997 | 2731743.915 | 1252792.2257
80 | 2731733.6732 | 1252799.9997 | 2731731.1768 | 1252801.8945
81 | 2731710.1846 | 1252874.1386 | 2731707.253 | 1252844.1821
82 | 2731705.5528 | 1252826.8079 | 2731707.253 | 1252844.1821
83 | 2731705.0551 | 1252821.722 | 2731705.5528 | 1252826.8079
84 | 2731705.0551 | 1252821.722 | 2731731.1768 | 1252801.8945
85 | 2731705.0551 | 1252821.722 | 2731703.395 | 1252810.7336
86 | 2731701.9779 | 1252801.3535 | 2731703.395 | 1252810.7336
87 | 2731701.9779 | 1252801.3535 | 2731701.1163 | 1252795.6507
88 | 2731697.9817 | 1252774.9022 | 2731701.1163 | 1252795.6507
89 | 2731696.4288 | 1252764.6233 | 2731697.9817 | 1252774.9022
90 | 2731696.4288 | 1252764.6233 | 2731696.0701 | 1252761.8938
91 | 2731696.4288 | 1252764.6233 | 2731681.1734 | 1252766.7279
92 | 2731693.8671 | 1252745.1289 | 2731696.0701 | 1252761.8938
93 | 2731666.1624 | 1252768.7988 | 2731681.1734 | 1252766.7279
94 | 2731690.018 | 1252715.837 | 2731693.8671 | 1252745.1289
95 | 2731666.1624 | 1252768.7988 | 2731666.3513 | 1252776.1009
96 | 2731666.1624 | 1252768.7988 | 2731664.4128 | 1252756.5615
97 | 2731659.3292 | 1252721.004 | 2731690.018 | 1252715.837
98 | 2731666.3513 | 1252776.1009 | 2731666.4309 | 1252779.1792
99 | 2731561.2522 | 1252742.7004 | 2731605.7299 | 1252727.4857 | 2731638.276 | 1252720.9473 | 2731645.9289 | 1252722.73 | 2731659.3292 | 1252721.004
100 | 2731561.2522 | 1252742.7004 | 2731587.5386 | 1252813.1748
101 | 2731666.4309 | 1252779.1792 | 2731666.9698 | 1252800.0052
102 | 2731667.1447 | 1252806.7659 | 2731666.9698 | 1252800.0052

## bus_geodata
| x | y | coords
0 | 2731788.0618 | 1252657.7072
1 | 2731793.2942 | 1252664.8958
2 | 2731804.768 | 1252680.6592
3 | 2731816.0624 | 1252694.5795
4 | 2731813.2174 | 1252635.5824
5 | 2731821.6683 | 1252645.8264
6 | 2731835.714 | 1252620.3677
7 | 2731838.5856 | 1252720.8679
8 | 2731840.595 | 1252667.5023
9 | 2731868.4445 | 1252695.0203
10 | 2731826.2989 | 1252730.3379
11 | 2731846.0801 | 1252730.968
12 | 2731877.7257 | 1252700.355
13 | 2731850.6906 | 1252677.966
14 | 2731880.2959 | 1252681.7707
15 | 2731815.7899 | 1252738.4375
16 | 2731742.1597 | 1252705.3223
17 | 2731750.657 | 1252723.0917
18 | 2731753.0006 | 1252732.0964
19 | 2731744.5899 | 1252721.9467
20 | 2731755.4474 | 1252741.5088
21 | 2731771.2033 | 1252731.7749
22 | 2731726.9203 | 1252718.6122
23 | 2731758.7883 | 1252752.3727
24 | 2731788.0066 | 1252733.4285
25 | 2731726.8076 | 1252718.5909
26 | 2731886.7514 | 1252705.5428
27 | 2731896.3484 | 1252664.6308
28 | 2731803.8064 | 1252747.6737
29 | 2731788.2039 | 1252759.137
30 | 2731817.5092 | 1252797.7903
31 | 2731782.6508 | 1252763.2189
32 | 2731973.0762 | 1252635.1936
33 | 2731972.9295 | 1252635.0504
34 | 2731982.3356 | 1252644.2364
35 | 2731971.103 | 1252633.2666
36 | 2731964.6165 | 1252626.9318
37 | 2731950.6297 | 1252613.8438
38 | 2731973.8503 | 1252700.0681
39 | 2731969.5235 | 1252715.178
40 | 2731875.0271 | 1252586.3139
41 | 2731898.4468 | 1252565.8499
42 | 2731918.3755 | 1252584.7074
43 | 2731934.4325 | 1252599.2122
44 | 2731909.3684 | 1252718.2314
45 | 2731891.015 | 1252707.9637
46 | 2731923.2767 | 1252726.0578
47 | 2731916.3801 | 1252737.6145
48 | 2731943.6989 | 1252737.1348
49 | 2731916.0354 | 1252738.1919
50 | 2731948.6938 | 1252739.636
51 | 2731891.2145 | 1252737.1027
52 | 2731942.3947 | 1252752.0544
53 | 2731957.6092 | 1252743.0265
54 | 2731941.1678 | 1252605.2965
55 | 2731934.4447 | 1252627.996
56 | 2731917.4616 | 1252643.4482
57 | 2731911.1236 | 1252649.67
58 | 2731906.2201 | 1252654.4838
59 | 2731901.6487 | 1252658.9715
60 | 2731940.8774 | 1252758.1484
61 | 2731942.1873 | 1252752.4631
62 | 2731962.4876 | 1252733.1977
63 | 2731962.6205 | 1252732.9176
64 | 2731785.5025 | 1252839.4528
65 | 2731788.5328 | 1252848.0717
66 | 2731784.977 | 1252837.9582
67 | 2731781.3728 | 1252827.7051
68 | 2731775.7948 | 1252841.4938
69 | 2731777.0471 | 1252814.7241
70 | 2731772.3591 | 1252842.8167
71 | 2731769.5198 | 1252787.4876
72 | 2731767.6095 | 1252844.6455
73 | 2731725.8502 | 1252882.6258
74 | 2731710.9277 | 1252877.3803
75 | 2731762.8571 | 1252765.0449
76 | 2731766.1624 | 1252775.339
77 | 2731751.8469 | 1252786.205
78 | 2731743.915 | 1252792.2257
79 | 2731733.6732 | 1252799.9997
80 | 2731759.3042 | 1252847.9374
81 | 2731710.1846 | 1252874.1386
82 | 2731707.253 | 1252844.1821
83 | 2731705.5528 | 1252826.8079
84 | 2731731.1768 | 1252801.8945
85 | 2731705.0551 | 1252821.722
86 | 2731703.395 | 1252810.7336
87 | 2731701.9779 | 1252801.3535
88 | 2731701.1163 | 1252795.6507
89 | 2731697.9817 | 1252774.9022
90 | 2731696.4288 | 1252764.6233
91 | 2731696.0701 | 1252761.8938
92 | 2731681.1734 | 1252766.7279
93 | 2731693.8671 | 1252745.1289
94 | 2731666.1624 | 1252768.7988
95 | 2731690.018 | 1252715.837
96 | 2731666.3513 | 1252776.1009
97 | 2731664.4128 | 1252756.5615
98 | 2731659.3292 | 1252721.004
99 | 2731561.2522 | 1252742.7004
100 | 2731587.5386 | 1252813.1748
101 | 2731666.4309 | 1252779.1792
102 | 2731666.9698 | 1252800.0052
103 | 2731667.1447 | 1252806.7659
104 | 2731838.5856 | 1252720.8679

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1