## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3402-8_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3402-8_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3402-8_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3402-8_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3402-8_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3402-8_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3402-8_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_3402-8_0_6_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_3402-8_0_6_node_20 | 0.4 | n |  | TRUE
9 | bus_LV_3402-8_0_6_node_21 | 0.4 | n |  | TRUE
10 | bus_LV_3402-8_0_6_node_22 | 0.4 | n |  | TRUE
11 | bus_LV_3402-8_0_6_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_3402-8_0_6_node_26 | 0.4 | n |  | TRUE
13 | bus_LV_3402-8_0_6_node_40 | 0.4 | n |  | TRUE
14 | bus_LV_3402-8_0_6_node_90 | 0.4 | n |  | TRUE
15 | bus_LV_3402-8_0_6_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_3402-8_0_6_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_3402-8_0_6_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_3402-8_0_6_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_3402-8_0_6_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_3402-8_0_6_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_3402-8_0_6_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_3402-8_0_6_node_32 | 0.4 | n |  | TRUE
23 | bus_LV_3402-8_0_6_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_3402-8_0_6_node_30 | 0.4 | n |  | TRUE
25 | bus_LV_3402-8_0_6_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_3402-8_0_6_node_100 | 0.4 | n |  | TRUE
27 | bus_LV_3402-8_0_6_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_3402-8_0_6_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_3402-8_0_6_node_101 | 0.4 | n |  | TRUE
30 | bus_LV_3402-8_0_6_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_3402-8_0_6_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_3402-8_0_6_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_3402-8_0_6_node_96 | 0.4 | n |  | TRUE
34 | bus_LV_3402-8_0_6_node_95 | 0.4 | n |  | TRUE
35 | bus_LV_3402-8_0_6_node_88 | 0.4 | n |  | TRUE
36 | bus_LV_3402-8_0_6_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_3402-8_0_6_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_3402-8_0_6_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_3402-8_0_6_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_3402-8_0_6_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_3402-8_0_6_node_102 | 0.4 | n |  | TRUE
42 | bus_LV_3402-8_0_6_node_99 | 0.4 | n |  | TRUE
43 | bus_LV_3402-8_0_6_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_3402-8_0_6_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_3402-8_0_6_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_3402-8_0_6_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_3402-8_0_6_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_3402-8_0_6_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_3402-8_0_6_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_3402-8_0_6_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_3402-8_0_6_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_3402-8_0_6_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_3402-8_0_6_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_3402-8_0_6_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_3402-8_0_6_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_3402-8_0_6_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_3402-8_0_6_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_3402-8_0_6_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_3402-8_0_6_node_71 | 0.4 | n |  | TRUE
60 | bus_LV_3402-8_0_6_node_65 | 0.4 | n |  | TRUE
61 | bus_LV_3402-8_0_6_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_3402-8_0_6_node_70 | 0.4 | n |  | TRUE
63 | bus_LV_3402-8_0_6_node_69 | 0.4 | n |  | TRUE
64 | bus_LV_3402-8_0_6_node_108 | 0.4 | n |  | TRUE
65 | bus_LV_3402-8_0_6_node_82 | 0.4 | n |  | TRUE
66 | bus_LV_3402-8_0_6_node_64 | 0.4 | n |  | TRUE
67 | bus_LV_3402-8_0_6_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_3402-8_0_6_node_55 | 0.4 | n |  | TRUE
69 | bus_LV_3402-8_0_6_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_3402-8_0_6_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_3402-8_0_6_node_72 | 0.4 | n |  | TRUE
72 | bus_LV_3402-8_0_6_node_103 | 0.4 | n |  | TRUE
73 | bus_LV_3402-8_0_6_node_67 | 0.4 | n |  | TRUE
74 | bus_LV_3402-8_0_6_node_104 | 0.4 | n |  | TRUE
75 | bus_LV_3402-8_0_6_node_58 | 0.4 | n |  | TRUE
76 | bus_LV_3402-8_0_6_node_59 | 0.4 | n |  | TRUE
77 | bus_LV_3402-8_0_6_node_60 | 0.4 | n |  | TRUE
78 | bus_LV_3402-8_0_6_node_61 | 0.4 | n |  | TRUE
79 | bus_LV_3402-8_0_6_node_62 | 0.4 | n |  | TRUE
80 | bus_LV_3402-8_0_6_node_63 | 0.4 | n |  | TRUE
81 | bus_LV_3402-8_0_6_node_66 | 0.4 | n |  | TRUE
82 | bus_LV_3402-8_0_6_node_68 | 0.4 | n |  | TRUE
83 | bus_LV_3402-8_0_6_node_84 | 0.4 | n |  | TRUE
84 | bus_LV_3402-8_0_6_node_73 | 0.4 | n |  | TRUE
85 | bus_LV_3402-8_0_6_node_85 | 0.4 | n |  | TRUE
86 | bus_LV_3402-8_0_6_node_74 | 0.4 | n |  | TRUE
87 | bus_LV_3402-8_0_6_node_75 | 0.4 | n |  | TRUE
88 | bus_LV_3402-8_0_6_node_76 | 0.4 | n |  | TRUE
89 | bus_LV_3402-8_0_6_node_77 | 0.4 | n |  | TRUE
90 | bus_LV_3402-8_0_6_node_78 | 0.4 | n |  | TRUE
91 | bus_LV_3402-8_0_6_node_83 | 0.4 | n |  | TRUE
92 | bus_LV_3402-8_0_6_node_87 | 0.4 | n |  | TRUE
93 | bus_LV_3402-8_0_6_node_89 | 0.4 | n |  | TRUE
94 | bus_LV_3402-8_0_6_node_91 | 0.4 | n |  | TRUE
95 | bus_LV_3402-8_0_6_node_92 | 0.4 | n |  | TRUE
96 | bus_LV_3402-8_0_6_node_93 | 0.4 | n |  | TRUE
97 | bus_LV_3402-8_0_6_node_94 | 0.4 | n |  | TRUE
98 | bus_LV_3402-8_0_6_node_97 | 0.4 | n |  | TRUE
99 | bus_LV_3402-8_0_6_node_98 | 0.4 | n |  | TRUE
100 | bus_LV_3402-8_0_6_node_105 | 0.4 | n |  | TRUE
101 | bus_LV_3402-8_0_6_node_106 | 0.4 | n |  | TRUE
102 | bus_LV_3402-8_0_6_node_107 | 0.4 | n |  | TRUE
103 | bus_MV_155_1_node_132 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3402-8_0_6_load_0 | 0 | 0.0041335 | 0.0010359 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3402-8_0_6_load_1 | 1 | 0.007354 | 0.0018431 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3402-8_0_6_load_2 | 2 | 0.0021803 | 0.00054645 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3402-8_0_6_load_4 | 4 | 0.0024564 | 0.00061563 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3402-8_0_6_load_5 | 5 | 0.010861 | 0.0027221 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3402-8_0_6_load_20 | 8 | 0.0048685 | 0.0012202 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3402-8_0_6_load_21 | 9 | 0.0054557 | 0.0013673 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3402-8_0_6_load_22 | 10 | 0.0012611 | 0.00031607 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3402-8_0_6_load_26 | 12 | 0.012546 | 0.0031442 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3402-8_0_6_load_40 | 13 | 0.024681 | 0.0061856 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3402-8_0_6_load_90 | 14 | 0.006259 | 0.0015687 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3402-8_0_6_load_14 | 15 | 0.0020575 | 0.00051565 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3402-8_0_6_load_17 | 16 | 0.0054127 | 0.0013565 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3402-8_0_6_load_8 | 18 | 0.0013806 | 0.000346 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3402-8_0_6_load_12 | 20 | 0.0012698 | 0.00031824 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3402-8_0_6_load_13 | 21 | 0.0017192 | 0.00043087 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3402-8_0_6_load_32 | 22 | 0.0023231 | 0.00058221 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3402-8_0_6_load_15 | 23 | 0.0020641 | 0.0005173 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3402-8_0_6_load_30 | 24 | 0.0072674 | 0.0018214 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3402-8_0_6_load_18 | 25 | 0.0046873 | 0.0011748 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3402-8_0_6_load_100 | 26 | 0.0014683 | 0.00036799 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3402-8_0_6_load_24 | 28 | 0.0063835 | 0.0015998 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3402-8_0_6_load_101 | 29 | 0.0016876 | 0.00042294 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3402-8_0_6_load_23 | 30 | 0.0028935 | 0.00072519 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3402-8_0_6_load_96 | 33 | 0.030042 | 0.0075294 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3402-8_0_6_load_95 | 34 | 0.0016127 | 0.00040418 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3402-8_0_6_load_88 | 35 | 0.0019778 | 0.00049569 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3402-8_0_6_load_27 | 36 | 0.018666 | 0.0046782 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3402-8_0_6_load_28 | 37 | 0.0054191 | 0.0013582 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3402-8_0_6_load_29 | 38 | 0.018247 | 0.0045732 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3402-8_0_6_load_31 | 39 | 0.010239 | 0.0025662 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3402-8_0_6_load_99 | 42 | 0.005901 | 0.0014789 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3402-8_0_6_load_34 | 43 | 0.00516 | 0.0012932 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3402-8_0_6_load_35 | 44 | 0.0022011 | 0.00055165 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3402-8_0_6_load_36 | 45 | 0.0051071 | 0.00128 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3402-8_0_6_load_37 | 46 | 0.0020413 | 0.00051159 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3402-8_0_6_load_39 | 47 | 0.01318 | 0.0033032 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3402-8_0_6_load_42 | 49 | 0.01584 | 0.0039698 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3402-8_0_6_load_49 | 50 | 0.0074462 | 0.0018662 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3402-8_0_6_load_43 | 51 | 0.0022632 | 0.00056722 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3402-8_0_6_load_51 | 52 | 0.0093762 | 0.0023499 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3402-8_0_6_load_52 | 54 | 0.0064844 | 0.0016251 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3402-8_0_6_load_45 | 56 | 0.002161 | 0.0005416 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3402-8_0_6_load_50 | 57 | 0.0013329 | 0.00033406 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3402-8_0_6_load_71 | 59 | 0.0010266 | 0.00025728 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3402-8_0_6_load_65 | 60 | 0.00099743 | 0.00024998 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3402-8_0_6_load_70 | 62 | 0.0011673 | 0.00029254 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3402-8_0_6_load_69 | 63 | 0.0031067 | 0.00077862 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3402-8_0_6_load_108 | 64 | 0.00091729 | 0.00022989 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3402-8_0_6_load_82 | 65 | 0.012791 | 0.0032057 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3402-8_0_6_load_64 | 66 | 0.0014332 | 0.00035919 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3402-8_0_6_load_54 | 67 | 0.0088207 | 0.0022107 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3402-8_0_6_load_55 | 68 | 0.0026257 | 0.00065807 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3402-8_0_6_load_56 | 69 | 0.013837 | 0.0034679 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3402-8_0_6_load_57 | 70 | 0.004143 | 0.0010383 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3402-8_0_6_load_72 | 71 | 0.011149 | 0.0027941 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3402-8_0_6_load_103 | 72 | 0.0046324 | 0.001161 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3402-8_0_6_load_67 | 73 | 0.0047329 | 0.0011862 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3402-8_0_6_load_58 | 75 | 0.024551 | 0.006153 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3402-8_0_6_load_59 | 76 | 0.0034382 | 0.00086169 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3402-8_0_6_load_60 | 77 | 0.003691 | 0.00092506 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3402-8_0_6_load_61 | 78 | 0.0020271 | 0.00050803 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3402-8_0_6_load_62 | 79 | 0.0031591 | 0.00079175 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3402-8_0_6_load_66 | 81 | 0.0057951 | 0.0014524 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3402-8_0_6_load_68 | 82 | 0.0013647 | 0.00034203 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3402-8_0_6_load_84 | 83 | 0.0012201 | 0.00030579 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3402-8_0_6_load_73 | 84 | 0.0022925 | 0.00057455 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3402-8_0_6_load_85 | 85 | 0.0017975 | 0.00045049 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3402-8_0_6_load_76 | 88 | 0.025309 | 0.0063431 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3402-8_0_6_load_78 | 90 | 0.006846 | 0.0017158 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3402-8_0_6_load_83 | 91 | 0.013404 | 0.0033594 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3402-8_0_6_load_87 | 92 | 0.0013731 | 0.00034413 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3402-8_0_6_load_89 | 93 | 0.0017282 | 0.00043313 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3402-8_0_6_load_91 | 94 | 0.0012074 | 0.00030261 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3402-8_0_6_load_92 | 95 | 0.0018627 | 0.00046683 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3402-8_0_6_load_93 | 96 | 0.0012388 | 0.00031046 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3402-8_0_6_load_94 | 97 | 0.003213 | 0.00080526 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3402-8_0_6_load_97 | 98 | 0.024993 | 0.0062638 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3402-8_0_6_load_98 | 99 | 0.0075942 | 0.0019033 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3402-8_0_6_load_106 | 101 | 0.0026271 | 0.00065842 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3402-8_0_6_load_107 | 102 | 0.0076519 | 0.0019177 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 51 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3402-8_0_6_line_0 |  | 0 | 1 | 0.028093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_3402-8_0_6_line_1 |  | 0 | 2 | 0.016394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_3402-8_0_6_line_2 |  | 1 | 3 | 0.014044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_3402-8_0_6_line_3 |  | 2 | 4 | 0.0094838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_3402-8_0_6_line_4 |  | 3 | 5 | 0.020393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3402-8_0_6_line_5 |  | 3 | 6 | 0.024392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_3402-8_0_6_line_6 |  | 4 | 7 | 0.024265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_3402-8_0_6_line_7 |  | 5 | 8 | 0.02245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3402-8_0_6_line_8 |  | 6 | 9 | 0.00947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_3402-8_0_6_line_9 |  | 6 | 10 | 0.023284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3402-8_0_6_line_10 |  | 7 | 11 | 0.021711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_3402-8_0_6_line_11 |  | 8 | 12 | 0.0093727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3402-8_0_6_line_12 |  | 9 | 13 | 0.017268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_3402-8_0_6_line_13 |  | 10 | 14 | 0.0035408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3402-8_0_6_line_14 |  | 11 | 17 | 0.026922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_3402-8_0_6_line_15 |  | 12 | 31 | 0.026921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3402-8_0_6_line_16 |  | 13 | 32 | 0.019324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_3402-8_0_6_line_17 |  | 14 | 35 | 0.0029326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3402-8_0_6_line_18 |  | 15 | 16 | 0.010835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3402-8_0_6_line_19 |  | 16 | 26 | 0.0065002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3402-8_0_6_line_20 |  | 17 | 22 | 0.025983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_3402-8_0_6_line_21 |  | 18 | 19 | 0.010187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3402-8_0_6_line_22 |  | 19 | 20 | 0.018929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3402-8_0_6_line_23 |  | 19 | 21 | 0.015789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3402-8_0_6_line_24 |  | 20 | 23 | 0.010823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3402-8_0_6_line_25 |  | 22 | 24 | 0.0001544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3402-8_0_6_line_26 |  | 23 | 25 | 0.019488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3402-8_0_6_line_27 |  | 24 | 37 | 0.025494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3402-8_0_6_line_28 |  | 25 | 27 | 0.012969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3402-8_0_6_line_29 |  | 26 | 29 | 0.00028862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3402-8_0_6_line_30 |  | 27 | 28 | 0.046648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3402-8_0_6_line_31 |  | 28 | 30 | 0.0052087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3402-8_0_6_line_32 |  | 29 | 97 | 0.0066054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3402-8_0_6_line_33 |  | 30 | 31 | 0.011224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3402-8_0_6_line_34 |  | 32 | 48 | 0.016569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_3402-8_0_6_line_35 |  | 32 | 45 | 0.016698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3402-8_0_6_line_36 |  | 33 | 34 | 0.0020348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3402-8_0_6_line_37 |  | 34 | 98 | 0.033025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3402-8_0_6_line_38 |  | 35 | 92 | 0.0060115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3402-8_0_6_line_39 |  | 36 | 37 | 0.01963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3402-8_0_6_line_40 |  | 36 | 38 | 0.0039525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3402-8_0_6_line_41 |  | 38 | 39 | 0.026928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3402-8_0_6_line_42 |  | 39 | 40 | 0.0052775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3402-8_0_6_line_43 |  | 40 | 41 | 0.009393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3402-8_0_6_line_44 |  | 41 | 42 | 0.012756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3402-8_0_6_line_45 |  | 42 | 99 | 0.027453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3402-8_0_6_line_46 |  | 43 | 44 | 0.0018959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3402-8_0_6_line_47 |  | 43 | 45 | 0.0082513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3402-8_0_6_line_48 |  | 44 | 46 | 0.0054366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3402-8_0_6_line_49 |  | 46 | 47 | 0.022549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3402-8_0_6_line_50 |  | 47 | 49 | 0.0084826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3402-8_0_6_line_51 |  | 48 | 50 | 0.0089037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3402-8_0_6_line_52 |  | 48 | 51 | 0.013972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_3402-8_0_6_line_53 |  | 50 | 52 | 0.0047383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3402-8_0_6_line_54 |  | 51 | 53 | 0.03773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_3402-8_0_6_line_55 |  | 52 | 65 | 0.021318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3402-8_0_6_line_56 |  | 53 | 56 | 0.013576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_3402-8_0_6_line_57 |  | 54 | 55 | 0.057343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3402-8_0_6_line_58 |  | 55 | 67 | 0.034945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3402-8_0_6_line_59 |  | 55 | 68 | 0.096044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3402-8_0_6_line_60 |  | 56 | 57 | 0.001881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_3402-8_0_6_line_61 |  | 57 | 60 | 0.015082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_3402-8_0_6_line_62 |  | 58 | 59 | 0.003525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_3402-8_0_6_line_63 |  | 58 | 60 | 0.0025358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_3402-8_0_6_line_64 |  | 59 | 64 | 0.0049749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_3402-8_0_6_line_65 |  | 61 | 62 | 0.014832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_3402-8_0_6_line_66 |  | 61 | 63 | 0.0080607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_3402-8_0_6_line_67 |  | 62 | 64 | 0.0059331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_3402-8_0_6_line_68 |  | 63 | 66 | 0.0028298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_3402-8_0_6_line_69 |  | 66 | 79 | 0.025829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_3402-8_0_6_line_70 |  | 67 | 69 | 0.0008336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3402-8_0_6_line_71 |  | 68 | 70 | 0.023402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3402-8_0_6_line_72 |  | 69 | 71 | 0.018211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3402-8_0_6_line_73 |  | 70 | 72 | 0.019057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3402-8_0_6_line_74 |  | 71 | 73 | 0.034943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3402-8_0_6_line_75 |  | 72 | 74 | 0.071078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3402-8_0_6_line_76 |  | 73 | 80 | 0.023165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3402-8_0_6_line_77 |  | 74 | 100 | 0.022236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3402-8_0_6_line_78 |  | 75 | 76 | 0.016106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3402-8_0_6_line_79 |  | 75 | 77 | 0.024554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
80 | LV_3402-8_0_6_line_80 |  | 76 | 78 | 0.016698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3402-8_0_6_line_81 |  | 77 | 79 | 7.9066e-07 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_3402-8_0_6_line_82 |  | 78 | 80 | 0.012625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3402-8_0_6_line_83 |  | 80 | 81 | 0.028677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3402-8_0_6_line_84 |  | 80 | 82 | 0.010305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3402-8_0_6_line_85 |  | 81 | 83 | 0.0067559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3402-8_0_6_line_86 |  | 82 | 84 | 0.038243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3402-8_0_6_line_87 |  | 83 | 85 | 0.014186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3402-8_0_6_line_88 |  | 84 | 86 | 0.017151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3402-8_0_6_line_89 |  | 86 | 87 | 0.02569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3402-8_0_6_line_90 |  | 86 | 88 | 0.040154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3402-8_0_6_line_91 |  | 87 | 89 | 0.032308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3402-8_0_6_line_92 |  | 87 | 90 | 0.0026121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3402-8_0_6_line_93 |  | 89 | 91 | 0.01275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3402-8_0_6_line_94 |  | 92 | 93 | 0.0057528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3402-8_0_6_line_95 |  | 93 | 94 | 0.0051118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_3402-8_0_6_line_96 |  | 94 | 95 | 0.0052169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_3402-8_0_6_line_97 |  | 95 | 96 | 0.0010206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_3402-8_0_6_line_98 |  | 96 | 97 | 0.0069537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_3402-8_0_6_line_99 |  | 98 | 99 | 0.0047525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_3402-8_0_6_line_100 |  | 100 | 101 | 0.13883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_3402-8_0_6_line_101 |  | 101 | 102 | 0.080793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3402-8_0_6_trafo_43 | 0.63 MVA 20/0.4 kV | 103 | 51 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2732036.7568 | 1252751.7001 | 2732037.9942 | 1252748.6781 | 2732044.6228 | 1252732.4112 | 2732047.2719 | 1252725.6501
1 | 2732036.7568 | 1252751.7001 | 2732030.5446 | 1252766.8715
2 | 2732055.377 | 1252714.6238 | 2732051.7005 | 1252717.3332 | 2732048.8734 | 1252721.5629 | 2732047.2719 | 1252725.6501
3 | 2732026.8021 | 1252775.5844 | 2732028.8924 | 1252770.9064 | 2732030.5446 | 1252766.8715
4 | 2732055.377 | 1252714.6238 | 2732052.482 | 1252709.3768 | 2732047.1565 | 1252704.1089 | 2732041.9188 | 1252699.6019
5 | 2732079.0789 | 1252708.9804 | 2732063.567 | 1252711.6148 | 2732055.377 | 1252714.6238
6 | 2732016.8576 | 1252797.7179 | 2732020.8673 | 1252788.8659 | 2732026.8021 | 1252775.5844
7 | 2732041.9188 | 1252699.6019 | 2732036.4757 | 1252694.9181 | 2732024.9384 | 1252684.9166
8 | 2732079.0789 | 1252708.9804 | 2732088.4381 | 1252707.3654
9 | 2732079.0789 | 1252708.9804 | 2732075.8834 | 1252724.9791 | 2732073.152 | 1252731.3905
10 | 2732016.8576 | 1252797.7179 | 2732009.9521 | 1252809.8193 | 2732005.2465 | 1252816.0312
11 | 2732017.975 | 1252678.6469 | 2732020.5825 | 1252681.1405 | 2732024.9384 | 1252684.9166
12 | 2732088.4381 | 1252707.3654 | 2732105.3397 | 1252703.8277
13 | 2732073.152 | 1252731.3905 | 2732071.7643 | 1252734.6481
14 | 2732005.2465 | 1252816.0312 | 2732002.5259 | 1252819.8851 | 2732011.9574 | 1252827.5466 | 2732020.193 | 1252833.3131
15 | 2731998.5187 | 1252660.041 | 2732017.975 | 1252678.6469
16 | 2732124.0102 | 1252698.8843 | 2732110.3802 | 1252702.7727 | 2732105.3397 | 1252703.8277
17 | 2732070.6149 | 1252737.346 | 2732071.7643 | 1252734.6481
18 | 2732055.7904 | 1252778.1619 | 2732053.7369 | 1252784.4167 | 2732049.7376 | 1252785.8591
19 | 2732055.7904 | 1252778.1619 | 2732057.8179 | 1252771.986
20 | 2732020.193 | 1252833.3131 | 2732023.8834 | 1252832.6837 | 2732038.4495 | 1252828.4378 | 2732045.3361 | 1252826.8531
21 | 2731980.901 | 1252759.1487 | 2731985.263 | 1252768.3542
22 | 2731980.901 | 1252759.1487 | 2731991.4577 | 1252743.4365
23 | 2731980.901 | 1252759.1487 | 2731969.5331 | 1252748.6083 | 2731969.2741 | 1252748.487
24 | 2731991.4577 | 1252743.4365 | 2731991.4577 | 1252743.4365 | 2731987.4729 | 1252733.3738
25 | 2732045.4866 | 1252826.8185 | 2732045.3361 | 1252826.8531
26 | 2731981.9862 | 1252718.7662 | 2731987.4433 | 1252720.3374 | 2731985.1972 | 1252727.6272 | 2731987.4729 | 1252733.3738
27 | 2732070.053 | 1252820.1046 | 2732059.3771 | 1252823.6221 | 2732045.4866 | 1252826.8185
28 | 2731969.5235 | 1252715.178 | 2731981.9862 | 1252718.7662
29 | 2732057.908 | 1252771.7118 | 2732057.8179 | 1252771.986
30 | 2731969.5235 | 1252715.178 | 2731975.8681 | 1252693.0216 | 2731980.3938 | 1252685.4045 | 2731988.9645 | 1252673.4109
31 | 2731991.9929 | 1252669.173 | 2731988.9645 | 1252673.4109
32 | 2732059.9683 | 1252765.436 | 2732057.908 | 1252771.7118
33 | 2731998.5187 | 1252660.041 | 2731991.9929 | 1252669.173
34 | 2732124.0102 | 1252698.8843 | 2732140.2513 | 1252695.3766
35 | 2732124.0102 | 1252698.8843 | 2732122.1707 | 1252682.2881
36 | 2732100.8395 | 1252742.8908 | 2732099.896 | 1252741.088
37 | 2732100.8395 | 1252742.8908 | 2732105.2649 | 1252751.3468 | 2732119.138 | 1252770.2907
38 | 2732068.2588 | 1252742.8765 | 2732070.6149 | 1252737.346
39 | 2732070.053 | 1252820.1046 | 2732080.3362 | 1252816.7165 | 2732088.5944 | 1252813.6676
40 | 2732092.3133 | 1252812.3412 | 2732092.0963 | 1252812.3748 | 2732088.5944 | 1252813.6676
41 | 2732119.0007 | 1252808.7847 | 2732104.2998 | 1252810.4896 | 2732092.3133 | 1252812.3412
42 | 2732124.2431 | 1252808.1767 | 2732119.0007 | 1252808.7847
43 | 2732124.2431 | 1252808.1767 | 2732133.4795 | 1252810.0288
44 | 2732133.4795 | 1252810.0288 | 2732136.2806 | 1252803.9191 | 2732134.9727 | 1252798.0276
45 | 2732121.8227 | 1252774.2093 | 2732133.8936 | 1252793.1673 | 2732134.9727 | 1252798.0276
46 | 2732121.95 | 1252672.2224 | 2732121.6588 | 1252674.0958
47 | 2732122.1707 | 1252682.2881 | 2732121.4276 | 1252675.5835 | 2732121.6588 | 1252674.0958
48 | 2732121.95 | 1252672.2224 | 2732122.7851 | 1252666.8503
49 | 2732122.7851 | 1252666.8503 | 2732122.7851 | 1252666.8503 | 2732132.8344 | 1252646.6644
50 | 2732136.6147 | 1252639.0707 | 2732132.8344 | 1252646.6644
51 | 2732140.2513 | 1252695.3766 | 2732141.4694 | 1252700.6641 | 2732142.5607 | 1252701.4892 | 2732144.3178 | 1252702.6567
52 | 2732140.2513 | 1252695.3766 | 2732150.1523 | 1252693.8405 | 2732154.1042 | 1252693.801
53 | 2732144.3178 | 1252702.6567 | 2732148.1026 | 1252705.1717 | 2732148.2624 | 1252705.2817
54 | 2732190.0632 | 1252703.3728 | 2732181.7988 | 1252699.2291 | 2732171.0647 | 1252695.4752 | 2732161.1614 | 1252693.7305 | 2732154.1042 | 1252693.801
55 | 2732165.7222 | 1252717.4172 | 2732163.1891 | 1252716.1848 | 2732158.8162 | 1252712.5506 | 2732148.2624 | 1252705.2817
56 | 2732190.0632 | 1252703.3728 | 2732194.6198 | 1252693.7102 | 2732197.4954 | 1252694.0216
57 | 2732214.7098 | 1252527.3422 | 2732198.7464 | 1252564.7085 | 2732186.1983 | 1252575.7423
58 | 2732214.7098 | 1252527.3422 | 2732220.8244 | 1252537.4989 | 2732229.5164 | 1252542.7865 | 2732238.7913 | 1252547.6645 | 2732240.8215 | 1252549.0106
59 | 2732214.7098 | 1252527.3422 | 2732233.8791 | 1252478.615 | 2732246.9116 | 1252447.0887 | 2732249.0388 | 1252437.7606
60 | 2732197.4954 | 1252694.0216 | 2732199.3655 | 1252694.224
61 | 2732199.3655 | 1252694.224 | 2732214.3602 | 1252695.8473
62 | 2732216.8813 | 1252696.1203 | 2732220.3936 | 1252696.4184
63 | 2732216.8813 | 1252696.1203 | 2732214.3602 | 1252695.8473
64 | 2732220.3936 | 1252696.4184 | 2732225.3507 | 1252696.8392
65 | 2732246.0412 | 1252698.5955 | 2732231.2626 | 1252697.341
66 | 2732246.0412 | 1252698.5955 | 2732247.4958 | 1252690.6671
67 | 2732225.3507 | 1252696.8392 | 2732231.2626 | 1252697.341
68 | 2732248.0064 | 1252687.8838 | 2732247.4958 | 1252690.6671
69 | 2732248.0064 | 1252687.8838 | 2732248.9896 | 1252682.5247 | 2732250.6943 | 1252670.7632 | 2732251.5355 | 1252662.3084
70 | 2732240.8215 | 1252549.0106 | 2732241.5162 | 1252549.4712
71 | 2732248.836 | 1252414.498 | 2732249.9749 | 1252433.6561 | 2732249.0388 | 1252437.7606
72 | 2732254.4434 | 1252561.9649 | 2732248.1126 | 1252553.8448 | 2732241.5162 | 1252549.4712
73 | 2732248.836 | 1252414.498 | 2732248.2848 | 1252405.2261 | 2732246.5596 | 1252395.6109
74 | 2732254.4434 | 1252561.9649 | 2732257.7487 | 1252566.2044 | 2732274.7366 | 1252590.4043
75 | 2732233.7088 | 1252325.707 | 2732236.7776 | 1252341.0894 | 2732246.5596 | 1252395.6109
76 | 2732288.046 | 1252609.3641 | 2732274.7366 | 1252590.4043
77 | 2732229.7735 | 1252303.8218 | 2732230.6809 | 1252308.4907 | 2732233.7088 | 1252325.707
78 | 2732254.9208 | 1252638.0081 | 2732255.55 | 1252634.539 | 2732262.8005 | 1252624.2583 | 2732262.8005 | 1252624.2583
79 | 2732254.9208 | 1252638.0081 | 2732252.7777 | 1252649.8242 | 2732251.5356 | 1252662.3076
80 | 2732262.8005 | 1252624.2583 | 2732276.6272 | 1252615.637 | 2732276.981 | 1252615.4426
81 | 2732251.5356 | 1252662.3076 | 2732251.5355 | 1252662.3084
82 | 2732288.046 | 1252609.3641 | 2732276.981 | 1252615.4426
83 | 2732288.046 | 1252609.3641 | 2732312.0367 | 1252593.6538
84 | 2732288.046 | 1252609.3641 | 2732291.4807 | 1252619.0798
85 | 2732317.6885 | 1252589.9527 | 2732312.0367 | 1252593.6538
86 | 2732300.1859 | 1252655.5626 | 2732299.1731 | 1252650.5941 | 2732300.4219 | 1252644.3719 | 2732291.4807 | 1252619.0798
87 | 2732317.6885 | 1252589.9527 | 2732329.5563 | 1252582.1811
88 | 2732308.323 | 1252664.7667 | 2732302.3842 | 1252666.3466 | 2732300.1859 | 1252655.5626
89 | 2732312.5504 | 1252690.1062 | 2732308.323 | 1252664.7667
90 | 2732308.323 | 1252664.7667 | 2732347.711 | 1252656.9588
91 | 2732312.5504 | 1252690.1062 | 2732344.3504 | 1252683.8997
92 | 2732312.5504 | 1252690.1062 | 2732312.9469 | 1252692.688
93 | 2732344.3504 | 1252683.8997 | 2732347.1255 | 1252696.344
94 | 2732068.2588 | 1252742.8765 | 2732066.0041 | 1252748.1691
95 | 2732064.083 | 1252752.9029 | 2732064.4039 | 1252751.9252 | 2732066.0041 | 1252748.1691
96 | 2732064.083 | 1252752.9029 | 2732062.4557 | 1252757.8595
97 | 2732062.1374 | 1252758.8292 | 2732062.4557 | 1252757.8595
98 | 2732062.1374 | 1252758.8292 | 2732059.9683 | 1252765.436
99 | 2732119.138 | 1252770.2907 | 2732120.5905 | 1252772.274 | 2732121.8227 | 1252774.2093
100 | 2732229.7735 | 1252303.8218 | 2732219.5823 | 1252304.4616 | 2732206.4248 | 1252311.1518 | 2732195.6417 | 1252331.1959 | 2732187.322 | 1252359.9361 | 2732179.7556 | 1252385.3679 | 2732169.8278 | 1252411.7479 | 2732167.0681 | 1252417.5841
101 | 2732134.3632 | 1252491.0949 | 2732139.3974 | 1252474.9149 | 2732144.7563 | 1252459.0757 | 2732162.8234 | 1252426.5606 | 2732167.0681 | 1252417.5841

## bus_geodata
| x | y | coords
0 | 2732036.7568 | 1252751.7001
1 | 2732047.2719 | 1252725.6501
2 | 2732030.5446 | 1252766.8715
3 | 2732055.377 | 1252714.6238
4 | 2732026.8021 | 1252775.5844
5 | 2732041.9188 | 1252699.6019
6 | 2732079.0789 | 1252708.9804
7 | 2732016.8576 | 1252797.7179
8 | 2732024.9384 | 1252684.9166
9 | 2732088.4381 | 1252707.3654
10 | 2732073.152 | 1252731.3905
11 | 2732005.2465 | 1252816.0312
12 | 2732017.975 | 1252678.6469
13 | 2732105.3397 | 1252703.8277
14 | 2732071.7643 | 1252734.6481
15 | 2732049.7376 | 1252785.8591
16 | 2732055.7904 | 1252778.1619
17 | 2732020.193 | 1252833.3131
18 | 2731985.263 | 1252768.3542
19 | 2731980.901 | 1252759.1487
20 | 2731991.4577 | 1252743.4365
21 | 2731969.2741 | 1252748.487
22 | 2732045.3361 | 1252826.8531
23 | 2731987.4729 | 1252733.3738
24 | 2732045.4866 | 1252826.8185
25 | 2731981.9862 | 1252718.7662
26 | 2732057.8179 | 1252771.986
27 | 2731969.5235 | 1252715.178
28 | 2731988.9645 | 1252673.4109
29 | 2732057.908 | 1252771.7118
30 | 2731991.9929 | 1252669.173
31 | 2731998.5187 | 1252660.041
32 | 2732124.0102 | 1252698.8843
33 | 2732099.896 | 1252741.088
34 | 2732100.8395 | 1252742.8908
35 | 2732070.6149 | 1252737.346
36 | 2732088.5944 | 1252813.6676
37 | 2732070.053 | 1252820.1046
38 | 2732092.3133 | 1252812.3412
39 | 2732119.0007 | 1252808.7847
40 | 2732124.2431 | 1252808.1767
41 | 2732133.4795 | 1252810.0288
42 | 2732134.9727 | 1252798.0276
43 | 2732121.6588 | 1252674.0958
44 | 2732121.95 | 1252672.2224
45 | 2732122.1707 | 1252682.2882
46 | 2732122.7851 | 1252666.8503
47 | 2732132.8344 | 1252646.6644
48 | 2732140.2513 | 1252695.3767
49 | 2732136.6147 | 1252639.0707
50 | 2732144.3178 | 1252702.6567
51 | 2732154.1042 | 1252693.801
52 | 2732148.2624 | 1252705.2817
53 | 2732190.0632 | 1252703.3728
54 | 2732186.1983 | 1252575.7423
55 | 2732214.7098 | 1252527.3422
56 | 2732197.4954 | 1252694.0216
57 | 2732199.3655 | 1252694.224
58 | 2732216.8813 | 1252696.1203
59 | 2732220.3936 | 1252696.4184
60 | 2732214.3602 | 1252695.8473
61 | 2732246.0412 | 1252698.5955
62 | 2732231.2626 | 1252697.341
63 | 2732247.4958 | 1252690.6671
64 | 2732225.3507 | 1252696.8392
65 | 2732165.7222 | 1252717.4172
66 | 2732248.0064 | 1252687.8838
67 | 2732240.8215 | 1252549.0106
68 | 2732249.0388 | 1252437.7606
69 | 2732241.5162 | 1252549.4712
70 | 2732248.836 | 1252414.498
71 | 2732254.4434 | 1252561.9649
72 | 2732246.5596 | 1252395.6109
73 | 2732274.7366 | 1252590.4043
74 | 2732233.7088 | 1252325.707
75 | 2732254.9208 | 1252638.0081
76 | 2732262.8005 | 1252624.2583
77 | 2732251.5356 | 1252662.3076
78 | 2732276.981 | 1252615.4426
79 | 2732251.5355 | 1252662.3084
80 | 2732288.046 | 1252609.3641
81 | 2732312.0367 | 1252593.6538
82 | 2732291.4807 | 1252619.0798
83 | 2732317.6885 | 1252589.9527
84 | 2732300.1859 | 1252655.5626
85 | 2732329.5563 | 1252582.1811
86 | 2732308.323 | 1252664.7667
87 | 2732312.5504 | 1252690.1062
88 | 2732347.711 | 1252656.9588
89 | 2732344.3504 | 1252683.8997
90 | 2732312.9469 | 1252692.688
91 | 2732347.1255 | 1252696.344
92 | 2732068.2588 | 1252742.8765
93 | 2732066.0041 | 1252748.1691
94 | 2732064.083 | 1252752.9029
95 | 2732062.4557 | 1252757.8595
96 | 2732062.1374 | 1252758.8292
97 | 2732059.9683 | 1252765.436
98 | 2732119.138 | 1252770.2907
99 | 2732121.8227 | 1252774.2093
100 | 2732229.7735 | 1252303.8218
101 | 2732167.0681 | 1252417.5841
102 | 2732134.3632 | 1252491.0949
103 | 2732140.2513 | 1252695.3767

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1