## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3402-9_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3402-9_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3402-9_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3402-9_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3402-9_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3402-9_0_5_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_3402-9_0_5_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_3402-9_0_5_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_3402-9_0_5_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_3402-9_0_5_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_3402-9_0_5_node_19 | 0.4 | n |  | TRUE
11 | bus_LV_3402-9_0_5_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_3402-9_0_5_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_3402-9_0_5_node_23 | 0.4 | n |  | TRUE
14 | bus_LV_3402-9_0_5_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_3402-9_0_5_node_28 | 0.4 | n |  | TRUE
16 | bus_LV_3402-9_0_5_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_3402-9_0_5_node_40 | 0.4 | n |  | TRUE
18 | bus_LV_3402-9_0_5_node_54 | 0.4 | n |  | TRUE
19 | bus_LV_3402-9_0_5_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_3402-9_0_5_node_33 | 0.4 | n |  | TRUE
21 | bus_LV_3402-9_0_5_node_29 | 0.4 | n |  | TRUE
22 | bus_LV_3402-9_0_5_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_3402-9_0_5_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_3402-9_0_5_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_3402-9_0_5_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_3402-9_0_5_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_3402-9_0_5_node_70 | 0.4 | n |  | TRUE
28 | bus_LV_3402-9_0_5_node_73 | 0.4 | n |  | TRUE
29 | bus_LV_3402-9_0_5_node_68 | 0.4 | n |  | TRUE
30 | bus_LV_3402-9_0_5_node_56 | 0.4 | n |  | TRUE
31 | bus_LV_3402-9_0_5_node_53 | 0.4 | n |  | TRUE
32 | bus_LV_3402-9_0_5_node_47 | 0.4 | n |  | TRUE
33 | bus_LV_3402-9_0_5_node_51 | 0.4 | n |  | TRUE
34 | bus_LV_3402-9_0_5_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_3402-9_0_5_node_57 | 0.4 | n |  | TRUE
36 | bus_LV_3402-9_0_5_node_55 | 0.4 | n |  | TRUE
37 | bus_LV_3402-9_0_5_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_3402-9_0_5_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_3402-9_0_5_node_41 | 0.4 | n |  | TRUE
40 | bus_LV_3402-9_0_5_node_111 | 0.4 | n |  | TRUE
41 | bus_LV_3402-9_0_5_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_3402-9_0_5_node_109 | 0.4 | n |  | TRUE
43 | bus_LV_3402-9_0_5_node_117 | 0.4 | n |  | TRUE
44 | bus_LV_3402-9_0_5_node_118 | 0.4 | n |  | TRUE
45 | bus_LV_3402-9_0_5_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_3402-9_0_5_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_3402-9_0_5_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_3402-9_0_5_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_3402-9_0_5_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_3402-9_0_5_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_3402-9_0_5_node_83 | 0.4 | n |  | TRUE
52 | bus_LV_3402-9_0_5_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_3402-9_0_5_node_82 | 0.4 | n |  | TRUE
54 | bus_LV_3402-9_0_5_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_3402-9_0_5_node_120 | 0.4 | n |  | TRUE
56 | bus_LV_3402-9_0_5_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_3402-9_0_5_node_101 | 0.4 | n |  | TRUE
58 | bus_LV_3402-9_0_5_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_3402-9_0_5_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_3402-9_0_5_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_3402-9_0_5_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_3402-9_0_5_node_123 | 0.4 | n |  | TRUE
63 | bus_LV_3402-9_0_5_node_116 | 0.4 | n |  | TRUE
64 | bus_LV_3402-9_0_5_node_115 | 0.4 | n |  | TRUE
65 | bus_LV_3402-9_0_5_node_89 | 0.4 | n |  | TRUE
66 | bus_LV_3402-9_0_5_node_88 | 0.4 | n |  | TRUE
67 | bus_LV_3402-9_0_5_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_3402-9_0_5_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_3402-9_0_5_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_3402-9_0_5_node_62 | 0.4 | n |  | TRUE
71 | bus_LV_3402-9_0_5_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_3402-9_0_5_node_64 | 0.4 | n |  | TRUE
73 | bus_LV_3402-9_0_5_node_124 | 0.4 | n |  | TRUE
74 | bus_LV_3402-9_0_5_node_92 | 0.4 | n |  | TRUE
75 | bus_LV_3402-9_0_5_node_87 | 0.4 | n |  | TRUE
76 | bus_LV_3402-9_0_5_node_84 | 0.4 | n |  | TRUE
77 | bus_LV_3402-9_0_5_node_66 | 0.4 | n |  | TRUE
78 | bus_LV_3402-9_0_5_node_91 | 0.4 | n |  | TRUE
79 | bus_LV_3402-9_0_5_node_90 | 0.4 | n |  | TRUE
80 | bus_LV_3402-9_0_5_node_85 | 0.4 | n |  | TRUE
81 | bus_LV_3402-9_0_5_node_93 | 0.4 | n |  | TRUE
82 | bus_LV_3402-9_0_5_node_81 | 0.4 | n |  | TRUE
83 | bus_LV_3402-9_0_5_node_80 | 0.4 | n |  | TRUE
84 | bus_LV_3402-9_0_5_node_86 | 0.4 | n |  | TRUE
85 | bus_LV_3402-9_0_5_node_69 | 0.4 | n |  | TRUE
86 | bus_LV_3402-9_0_5_node_71 | 0.4 | n |  | TRUE
87 | bus_LV_3402-9_0_5_node_77 | 0.4 | n |  | TRUE
88 | bus_LV_3402-9_0_5_node_72 | 0.4 | n |  | TRUE
89 | bus_LV_3402-9_0_5_node_75 | 0.4 | n |  | TRUE
90 | bus_LV_3402-9_0_5_node_74 | 0.4 | n |  | TRUE
91 | bus_LV_3402-9_0_5_node_94 | 0.4 | n |  | TRUE
92 | bus_LV_3402-9_0_5_node_96 | 0.4 | n |  | TRUE
93 | bus_LV_3402-9_0_5_node_100 | 0.4 | n |  | TRUE
94 | bus_LV_3402-9_0_5_node_102 | 0.4 | n |  | TRUE
95 | bus_LV_3402-9_0_5_node_104 | 0.4 | n |  | TRUE
96 | bus_LV_3402-9_0_5_node_112 | 0.4 | n |  | TRUE
97 | bus_LV_3402-9_0_5_node_113 | 0.4 | n |  | TRUE
98 | bus_LV_3402-9_0_5_node_103 | 0.4 | n |  | TRUE
99 | bus_LV_3402-9_0_5_node_105 | 0.4 | n |  | TRUE
100 | bus_LV_3402-9_0_5_node_106 | 0.4 | n |  | TRUE
101 | bus_LV_3402-9_0_5_node_122 | 0.4 | n |  | TRUE
102 | bus_LV_3402-9_0_5_node_114 | 0.4 | n |  | TRUE
103 | bus_LV_3402-9_0_5_node_121 | 0.4 | n |  | TRUE
104 | bus_LV_3402-9_0_5_node_119 | 0.4 | n |  | TRUE
105 | bus_LV_3402-9_0_5_node_107 | 0.4 | n |  | TRUE
106 | bus_LV_3402-9_0_5_node_108 | 0.4 | n |  | TRUE
107 | bus_LV_3402-9_0_5_node_110 | 0.4 | n |  | TRUE
108 | bus_MV_155_1_node_133 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3402-9_0_5_load_0 | 0 | 0.0021852 | 0.00054766 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3402-9_0_5_load_1 | 1 | 0.002804 | 0.00070274 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3402-9_0_5_load_3 | 3 | 0.0025066 | 0.0006282 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3402-9_0_5_load_4 | 4 | 0.0018032 | 0.00045193 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3402-9_0_5_load_15 | 5 | 0.013013 | 0.0032615 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3402-9_0_5_load_13 | 6 | 0.0068363 | 0.0017133 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3402-9_0_5_load_5 | 7 | 0.0011164 | 0.00027981 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3402-9_0_5_load_6 | 8 | 0.0086346 | 0.002164 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3402-9_0_5_load_27 | 11 | 0.008267 | 0.0020719 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3402-9_0_5_load_20 | 14 | 0.0030065 | 0.0007535 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3402-9_0_5_load_28 | 15 | 0.0046609 | 0.0011681 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3402-9_0_5_load_18 | 16 | 0.0017814 | 0.00044645 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3402-9_0_5_load_40 | 17 | 0.019686 | 0.0049337 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3402-9_0_5_load_54 | 18 | 0.047034 | 0.011788 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3402-9_0_5_load_33 | 20 | 0.0046719 | 0.0011709 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3402-9_0_5_load_29 | 21 | 0.014571 | 0.0036518 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3402-9_0_5_load_11 | 22 | 0.0020942 | 0.00052486 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3402-9_0_5_load_12 | 23 | 0.0024816 | 0.00062194 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3402-9_0_5_load_16 | 25 | 0.0023612 | 0.00059178 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3402-9_0_5_load_17 | 26 | 0.0045514 | 0.0011407 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3402-9_0_5_load_73 | 28 | 0.0013089 | 0.00032805 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3402-9_0_5_load_68 | 29 | 0.03337 | 0.0083633 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3402-9_0_5_load_53 | 31 | 0.010898 | 0.0027313 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3402-9_0_5_load_57 | 35 | 0.0032657 | 0.00081846 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3402-9_0_5_load_55 | 36 | 0.0049228 | 0.0012338 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3402-9_0_5_load_31 | 37 | 0.010927 | 0.0027386 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3402-9_0_5_load_32 | 38 | 0.0024464 | 0.00061312 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3402-9_0_5_load_41 | 39 | 0.014761 | 0.0036995 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3402-9_0_5_load_111 | 40 | 0.0050029 | 0.0012538 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3402-9_0_5_load_42 | 41 | 0.017411 | 0.0043636 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3402-9_0_5_load_109 | 42 | 0.0042706 | 0.0010703 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3402-9_0_5_load_117 | 43 | 0.0014353 | 0.00035973 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3402-9_0_5_load_118 | 44 | 0.00062623 | 0.00015695 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3402-9_0_5_load_35 | 45 | 0.017499 | 0.0043858 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3402-9_0_5_load_36 | 46 | 0.0040269 | 0.0010092 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3402-9_0_5_load_37 | 47 | 0.0050691 | 0.0012704 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3402-9_0_5_load_38 | 48 | 0.0028288 | 0.00070897 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3402-9_0_5_load_45 | 50 | 0.0060414 | 0.0015141 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3402-9_0_5_load_83 | 51 | 0.0035377 | 0.00088663 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3402-9_0_5_load_44 | 52 | 0.0052125 | 0.0013064 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3402-9_0_5_load_120 | 55 | 0.011055 | 0.0027707 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3402-9_0_5_load_50 | 56 | 0.014221 | 0.0035641 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3402-9_0_5_load_101 | 57 | 0.0095619 | 0.0023964 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3402-9_0_5_load_48 | 59 | 0.0057678 | 0.0014455 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3402-9_0_5_load_52 | 60 | 0.0043742 | 0.0010963 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3402-9_0_5_load_49 | 61 | 0.020924 | 0.005244 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3402-9_0_5_load_123 | 62 | 0.0077268 | 0.0019365 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3402-9_0_5_load_116 | 63 | 0.010271 | 0.0025741 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3402-9_0_5_load_115 | 64 | 0.017275 | 0.0043294 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3402-9_0_5_load_89 | 65 | 0.021093 | 0.0052864 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3402-9_0_5_load_58 | 67 | 0.0022202 | 0.00055643 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3402-9_0_5_load_64 | 72 | 0.0048752 | 0.0012218 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3402-9_0_5_load_124 | 73 | 0.0052758 | 0.0013222 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3402-9_0_5_load_92 | 74 | 0.002216 | 0.00055537 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3402-9_0_5_load_87 | 75 | 0.0030375 | 0.00076128 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3402-9_0_5_load_84 | 76 | 0.0064559 | 0.001618 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3402-9_0_5_load_91 | 78 | 0.0067993 | 0.0017041 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3402-9_0_5_load_90 | 79 | 0.0011131 | 0.00027896 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3402-9_0_5_load_85 | 80 | 0.0018232 | 0.00045694 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3402-9_0_5_load_93 | 81 | 0.00054498 | 0.00013658 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3402-9_0_5_load_81 | 82 | 0.0069313 | 0.0017371 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3402-9_0_5_load_80 | 83 | 0.0028115 | 0.00070463 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3402-9_0_5_load_86 | 84 | 0.0036042 | 0.00090329 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3402-9_0_5_load_69 | 85 | 0.0016155 | 0.00040489 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3402-9_0_5_load_71 | 86 | 0.0013941 | 0.00034939 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3402-9_0_5_load_77 | 87 | 0.00072499 | 0.0001817 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3402-9_0_5_load_72 | 88 | 0.0062072 | 0.0015557 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3402-9_0_5_load_75 | 89 | 0.0011606 | 0.00029087 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3402-9_0_5_load_74 | 90 | 0.0073336 | 0.001838 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3402-9_0_5_load_94 | 91 | 0.0094684 | 0.002373 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3402-9_0_5_load_100 | 93 | 0.022666 | 0.0056806 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3402-9_0_5_load_102 | 94 | 0.0059232 | 0.0014845 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3402-9_0_5_load_104 | 95 | 0.0040895 | 0.0010249 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3402-9_0_5_load_112 | 96 | 0.0023766 | 0.00059564 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3402-9_0_5_load_113 | 97 | 0.0019373 | 0.00048554 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3402-9_0_5_load_103 | 98 | 0.019671 | 0.00493 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3402-9_0_5_load_105 | 99 | 0.00090153 | 0.00022594 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3402-9_0_5_load_122 | 101 | 0.00050477 | 0.00012651 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3402-9_0_5_load_121 | 103 | 0.0038539 | 0.00096588 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3402-9_0_5_load_119 | 104 | 0.00097045 | 0.00024322 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3402-9_0_5_load_107 | 105 | 0.0072109 | 0.0018072 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3402-9_0_5_load_108 | 106 | 0.0050932 | 0.0012765 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3402-9_0_5_load_110 | 107 | 0.01513 | 0.0037919 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3402-9_0_5_line_0 |  | 0 | 1 | 0.0058313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3402-9_0_5_line_1 |  | 0 | 2 | 0.018869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3402-9_0_5_line_2 |  | 1 | 3 | 0.0095798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3402-9_0_5_line_3 |  | 2 | 4 | 0.027194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3402-9_0_5_line_4 |  | 3 | 5 | 0.010237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3402-9_0_5_line_5 |  | 5 | 6 | 0.016181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3402-9_0_5_line_6 |  | 6 | 22 | 0.019781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3402-9_0_5_line_7 |  | 7 | 8 | 0.0036439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3402-9_0_5_line_8 |  | 8 | 9 | 0.019471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3402-9_0_5_line_9 |  | 9 | 10 | 0.006689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3402-9_0_5_line_10 |  | 9 | 11 | 0.015627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3402-9_0_5_line_11 |  | 10 | 15 | 0.017663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_3402-9_0_5_line_12 |  | 10 | 16 | 0.0093638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3402-9_0_5_line_13 |  | 11 | 17 | 0.01525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3402-9_0_5_line_14 |  | 12 | 13 | 0.032806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3402-9_0_5_line_15 |  | 12 | 14 | 0.057154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3402-9_0_5_line_16 |  | 13 | 18 | 0.028391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3402-9_0_5_line_17 |  | 15 | 30 | 0.0097813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_3402-9_0_5_line_18 |  | 16 | 25 | 0.013033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3402-9_0_5_line_19 |  | 18 | 33 | 0.026135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3402-9_0_5_line_20 |  | 19 | 20 | 0.017997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3402-9_0_5_line_21 |  | 19 | 21 | 0.032962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3402-9_0_5_line_22 |  | 21 | 34 | 0.019636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3402-9_0_5_line_23 |  | 22 | 23 | 0.023372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3402-9_0_5_line_24 |  | 23 | 24 | 0.0017091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3402-9_0_5_line_25 |  | 24 | 25 | 0.0080538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3402-9_0_5_line_26 |  | 24 | 26 | 0.027506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3402-9_0_5_line_27 |  | 26 | 27 | 0.027587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3402-9_0_5_line_28 |  | 27 | 28 | 0.012302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3402-9_0_5_line_29 |  | 27 | 29 | 0.021737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3402-9_0_5_line_30 |  | 28 | 81 | 0.01792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3402-9_0_5_line_31 |  | 29 | 85 | 0.00095514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3402-9_0_5_line_32 |  | 30 | 35 | 0.018035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3402-9_0_5_line_33 |  | 30 | 36 | 0.016706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_3402-9_0_5_line_34 |  | 31 | 32 | 0.017121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_3402-9_0_5_line_35 |  | 32 | 60 | 0.013605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3402-9_0_5_line_36 |  | 32 | 61 | 0.020217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_3402-9_0_5_line_37 |  | 32 | 58 | 0.020565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_3402-9_0_5_line_38 |  | 33 | 56 | 0.015416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_3402-9_0_5_line_39 |  | 33 | 54 | 0.003077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_3402-9_0_5_line_40 |  | 34 | 37 | 0.018179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3402-9_0_5_line_41 |  | 34 | 38 | 0.007058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3402-9_0_5_line_42 |  | 35 | 65 | 0.024924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3402-9_0_5_line_43 |  | 36 | 48 | 0.0033598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_3402-9_0_5_line_44 |  | 37 | 39 | 0.024564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_3402-9_0_5_line_45 |  | 38 | 40 | 0.0072367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3402-9_0_5_line_46 |  | 39 | 41 | 0.016078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_3402-9_0_5_line_47 |  | 40 | 42 | 0.0072838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3402-9_0_5_line_48 |  | 41 | 54 | 0.021047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_3402-9_0_5_line_49 |  | 42 | 105 | 0.0041872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3402-9_0_5_line_50 |  | 43 | 44 | 0.008246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3402-9_0_5_line_51 |  | 44 | 104 | 0.021172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3402-9_0_5_line_52 |  | 45 | 46 | 0.0047633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_3402-9_0_5_line_53 |  | 45 | 47 | 0.010046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_3402-9_0_5_line_54 |  | 46 | 48 | 0.019829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_3402-9_0_5_line_55 |  | 47 | 49 | 0.0061967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_3402-9_0_5_line_56 |  | 49 | 50 | 0.0091947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_3402-9_0_5_line_57 |  | 49 | 51 | 0.010336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3402-9_0_5_line_58 |  | 50 | 52 | 0.02508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_3402-9_0_5_line_59 |  | 51 | 53 | 0.015128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3402-9_0_5_line_60 |  | 52 | 58 | 0.0086983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_3402-9_0_5_line_61 |  | 53 | 83 | 0.017985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3402-9_0_5_line_62 |  | 54 | 55 | 0.022038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3402-9_0_5_line_63 |  | 55 | 57 | 0.023069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3402-9_0_5_line_64 |  | 56 | 61 | 0.0014934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_3402-9_0_5_line_65 |  | 58 | 59 | 0.0094349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3402-9_0_5_line_66 |  | 59 | 62 | 0.0010396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3402-9_0_5_line_67 |  | 60 | 63 | 0.01278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3402-9_0_5_line_68 |  | 63 | 64 | 0.020965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3402-9_0_5_line_69 |  | 65 | 66 | 0.0023152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3402-9_0_5_line_70 |  | 66 | 75 | 0.011562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3402-9_0_5_line_71 |  | 66 | 88 | 0.013636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3402-9_0_5_line_72 |  | 67 | 68 | 0.012237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3402-9_0_5_line_73 |  | 68 | 69 | 0.023893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3402-9_0_5_line_74 |  | 69 | 72 | 0.026388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3402-9_0_5_line_75 |  | 70 | 71 | 0.034589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3402-9_0_5_line_76 |  | 70 | 72 | 0.027452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3402-9_0_5_line_77 |  | 71 | 75 | 0.0081384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3402-9_0_5_line_78 |  | 71 | 76 | 0.019539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3402-9_0_5_line_79 |  | 73 | 74 | 0.0070736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3402-9_0_5_line_80 |  | 74 | 77 | 0.022023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3402-9_0_5_line_81 |  | 76 | 80 | 0.016646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3402-9_0_5_line_82 |  | 77 | 78 | 0.020003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3402-9_0_5_line_83 |  | 77 | 79 | 0.026471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3402-9_0_5_line_84 |  | 78 | 81 | 0.0040185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3402-9_0_5_line_85 |  | 80 | 84 | 0.014743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3402-9_0_5_line_86 |  | 82 | 83 | 0.0080017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3402-9_0_5_line_87 |  | 85 | 86 | 0.018202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3402-9_0_5_line_88 |  | 86 | 87 | 0.013022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3402-9_0_5_line_89 |  | 87 | 89 | 0.0031276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3402-9_0_5_line_90 |  | 89 | 90 | 0.021028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3402-9_0_5_line_91 |  | 91 | 92 | 0.014416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3402-9_0_5_line_92 |  | 92 | 93 | 0.021078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3402-9_0_5_line_93 |  | 92 | 94 | 0.014029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3402-9_0_5_line_94 |  | 93 | 95 | 0.018934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3402-9_0_5_line_95 |  | 95 | 98 | 0.008288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_3402-9_0_5_line_96 |  | 96 | 97 | 0.011143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_3402-9_0_5_line_97 |  | 97 | 102 | 0.023404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_3402-9_0_5_line_98 |  | 98 | 99 | 0.0070698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_3402-9_0_5_line_99 |  | 99 | 100 | 0.016028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_3402-9_0_5_line_100 |  | 100 | 101 | 0.018372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_3402-9_0_5_line_101 |  | 100 | 102 | 0.003128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_3402-9_0_5_line_102 |  | 101 | 103 | 0.0065732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_3402-9_0_5_line_103 |  | 102 | 104 | 0.013089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_3402-9_0_5_line_104 |  | 103 | 107 | 0.0030694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_3402-9_0_5_line_105 |  | 105 | 106 | 0.0031667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_3402-9_0_5_line_106 |  | 106 | 107 | 0.0098661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3402-9_0_5_trafo_53 | 0.63 MVA 20/0.4 kV | 108 | 31 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2731791.2357 | 1252855.7591 | 2731793.1699 | 1252861.2602
1 | 2731784.977 | 1252837.9582 | 2731791.2357 | 1252855.7591
2 | 2731796.3474 | 1252870.2977 | 2731793.1699 | 1252861.2602
3 | 2731784.977 | 1252837.9582 | 2731765.5912 | 1252845.4226 | 2731759.6294 | 1252847.8073
4 | 2731801.7218 | 1252878.6957 | 2731798.0256 | 1252875.0708 | 2731796.3474 | 1252870.2977
5 | 2731801.7218 | 1252878.6957 | 2731813.2743 | 1252890.0256
6 | 2731828.1569 | 1252903.0261 | 2731818.563 | 1252895.2125 | 2731813.2743 | 1252890.0256
7 | 2731895.3208 | 1252895.8901 | 2731892.41 | 1252898.0822
8 | 2731881.6637 | 1252913.8669 | 2731885.4936 | 1252905.2778 | 2731889.1702 | 1252900.522 | 2731892.41 | 1252898.0822
9 | 2731881.6637 | 1252913.8669 | 2731880.002 | 1252920.3468
10 | 2731881.6637 | 1252913.8669 | 2731897.0232 | 1252916.7458
11 | 2731880.002 | 1252920.3468 | 2731877.125 | 1252936.9867 | 2731876.9131 | 1252937.7333
12 | 2731880.002 | 1252920.3468 | 2731870.8281 | 1252918.4702
13 | 2731911.0518 | 1252915.5091 | 2731906.9825 | 1252918.6126 | 2731897.0232 | 1252916.7458
14 | 2731964.4137 | 1252891.2114 | 2731962.1794 | 1252888.1589 | 2731944.5533 | 1252865.1011
15 | 2731944.5533 | 1252865.1011 | 2731938.9177 | 1252857.8357 | 2731912.7362 | 1252817.654
16 | 2731964.4137 | 1252891.2114 | 2731973.5608 | 1252903.1592 | 2731981.8212 | 1252913.6393
17 | 2731874.2416 | 1252947.1427 | 2731876.9131 | 1252937.7333
18 | 2731858.0593 | 1252915.8581 | 2731870.8281 | 1252918.4702
19 | 2731997.9996 | 1252934.1649 | 2731981.8212 | 1252913.6393
20 | 2732037.9428 | 1252856.2293 | 2732020.9883 | 1252862.2648
21 | 2732037.9428 | 1252856.2293 | 2732046.3484 | 1252866.5593 | 2732058.1084 | 1252882.2945
22 | 2732069.8633 | 1252898.0229 | 2732058.1084 | 1252882.2945
23 | 2731828.1569 | 1252903.0261 | 2731835.9572 | 1252909.3789 | 2731848.552 | 1252913.6905
24 | 2731850.169 | 1252914.244 | 2731848.552 | 1252913.6905
25 | 2731850.169 | 1252914.244 | 2731858.0593 | 1252915.8581
26 | 2731850.169 | 1252914.244 | 2731831.1016 | 1252934.0689
27 | 2731811.9782 | 1252953.9521 | 2731831.1016 | 1252934.0689
28 | 2731811.9782 | 1252953.9521 | 2731804.8302 | 1252963.9648
29 | 2731811.9782 | 1252953.9521 | 2731795.0831 | 1252940.2755
30 | 2731804.6412 | 1252977.3595 | 2731798.8724 | 1252972.3104 | 2731804.8302 | 1252963.9648
31 | 2731794.3407 | 1252939.6745 | 2731795.0831 | 1252940.2755
32 | 2731874.2416 | 1252947.1427 | 2731871.6069 | 1252952.9115 | 2731866.5836 | 1252960.1729 | 2731864.7236 | 1252962.3497
33 | 2731874.2416 | 1252947.1427 | 2731883.4584 | 1252952.575 | 2731887.098 | 1252957.3539
34 | 2731967.6447 | 1252955.5412 | 2731956.693 | 1252942.381
35 | 2731967.6447 | 1252955.5412 | 2731974.8895 | 1252967.0568
36 | 2731967.6447 | 1252955.5412 | 2731984.1745 | 1252943.9007
37 | 2731967.6447 | 1252955.5412 | 2731951.2352 | 1252967.9981
38 | 2731997.9996 | 1252934.1649 | 2731985.3956 | 1252943.0408
39 | 2731999.9161 | 1252936.5764 | 2731997.9996 | 1252934.1649
40 | 2732069.8633 | 1252898.0229 | 2732053.9426 | 1252906.7981
41 | 2732069.8633 | 1252898.0229 | 2732073.5899 | 1252904.0168
42 | 2731864.7236 | 1252962.3497 | 2731848.5322 | 1252981.2981
43 | 2731887.098 | 1252957.3539 | 2731889.1336 | 1252960.0268
44 | 2732032.4297 | 1252918.6556 | 2732053.9426 | 1252906.7981
45 | 2732073.5899 | 1252904.0168 | 2732077.4109 | 1252910.1625
46 | 2732032.4297 | 1252918.6556 | 2732018.349 | 1252926.4166
47 | 2732077.4109 | 1252910.1625 | 2732081.2568 | 1252916.3482
48 | 2731999.9161 | 1252936.5764 | 2732018.349 | 1252926.4166
49 | 2732083.4676 | 1252919.9042 | 2732081.2568 | 1252916.3482
50 | 2732131.5907 | 1252921.9496 | 2732130.7211 | 1252924.1256 | 2732127.5369 | 1252929.0958
51 | 2732115.7768 | 1252946.68 | 2732118.246 | 1252943.5982 | 2732127.5369 | 1252929.0958
52 | 2731904.1979 | 1252979.4537 | 2731902.6374 | 1252977.758 | 2731901.1477 | 1252975.8019
53 | 2731904.1979 | 1252979.4537 | 2731911.0003 | 1252986.8457
54 | 2731901.1477 | 1252975.8019 | 2731889.1336 | 1252960.0268
55 | 2731915.1964 | 1252991.4054 | 2731911.0003 | 1252986.8457
56 | 2731915.1964 | 1252991.4054 | 2731922.9073 | 1252986.3971
57 | 2731915.1964 | 1252991.4054 | 2731921.1887 | 1252999.8267
58 | 2731943.9405 | 1252972.736 | 2731922.9073 | 1252986.3971
59 | 2731929.9598 | 1253012.1529 | 2731921.1887 | 1252999.8267
60 | 2731951.2352 | 1252967.9981 | 2731943.9405 | 1252972.736
61 | 2731929.9598 | 1253012.1529 | 2731914.7244 | 1253021.7102
62 | 2731999.9161 | 1252936.5764 | 2732009.0057 | 1252947.0328 | 2732014.1407 | 1252953.4041
63 | 2732028.5816 | 1252971.3938 | 2732020.9716 | 1252961.8795 | 2732014.1407 | 1252953.4041
64 | 2731984.1745 | 1252943.9007 | 2731985.3956 | 1252943.0408
65 | 2731951.2352 | 1252967.9981 | 2731956.131 | 1252976.0633
66 | 2731956.6705 | 1252976.952 | 2731956.131 | 1252976.0633
67 | 2731981.6948 | 1252977.8738 | 2731974.8895 | 1252967.0568
68 | 2731992.8591 | 1252995.6193 | 2731981.6948 | 1252977.8738
69 | 2731847.0282 | 1252983.0582 | 2731848.5322 | 1252981.2981
70 | 2731847.0282 | 1252983.0582 | 2731840.1887 | 1252990.8686 | 2731839.5574 | 1252991.8659
71 | 2731847.0282 | 1252983.0582 | 2731836.5379 | 1252974.3469
72 | 2731828.3895 | 1253092.9089 | 2731818.9924 | 1253085.0706
73 | 2731845.5122 | 1253076.1972 | 2731828.3895 | 1253092.9089
74 | 2731845.5122 | 1253076.1972 | 2731834.3709 | 1253052.2765
75 | 2731819.8253 | 1253029.7059 | 2731827.3534 | 1253013.3476 | 2731835.2048 | 1252998.7425
76 | 2731819.8253 | 1253029.7059 | 2731826.277 | 1253034.8986 | 2731834.3709 | 1253052.2765
77 | 2731835.2048 | 1252998.7425 | 2731839.5574 | 1252991.8659
78 | 2731835.2048 | 1252998.7425 | 2731849.6933 | 1253008.7962 | 2731851.1482 | 1253010.0242
79 | 2731793.106 | 1253016.8939 | 2731789.776 | 1253023.1348
80 | 2731801.0834 | 1252996.4146 | 2731795.4486 | 1253012.5037 | 2731793.106 | 1253016.8939
81 | 2731851.1482 | 1253010.0242 | 2731863.8691 | 1253020.761
82 | 2731801.0834 | 1252996.4146 | 2731809.9939 | 1252982.0443 | 2731807.6651 | 1252980.0061
83 | 2731801.0834 | 1252996.4146 | 2731782.9412 | 1252983.6439 | 2731779.1761 | 1252981.5986
84 | 2731807.6651 | 1252980.0061 | 2731804.6412 | 1252977.3595
85 | 2731863.8691 | 1253020.761 | 2731868.8837 | 1253024.9935 | 2731872.6874 | 1253032.2368
86 | 2731914.7244 | 1253021.7102 | 2731910.3916 | 1253024.4282 | 2731908.1477 | 1253026.2446
87 | 2731780.2173 | 1252928.1933 | 2731781.9023 | 1252929.6056 | 2731794.3407 | 1252939.6745
88 | 2731770.2372 | 1252919.8285 | 2731780.2173 | 1252928.1933
89 | 2731770.2372 | 1252919.8285 | 2731767.8402 | 1252917.8195
90 | 2731751.7245 | 1252904.3122 | 2731767.8402 | 1252917.8195
91 | 2732048.1149 | 1252995.815 | 2732057.1767 | 1253007.0267
92 | 2732048.1149 | 1252995.815 | 2732054.8697 | 1252990.4607 | 2732064.7128 | 1252982.8228
93 | 2732048.1149 | 1252995.815 | 2732037.0357 | 1253004.421
94 | 2732079.9644 | 1252971.612 | 2732071.7543 | 1252977.3587 | 2732064.7128 | 1252982.8228
95 | 2732086.7544 | 1252966.8594 | 2732079.9644 | 1252971.612
96 | 2732125.4549 | 1252986.4605 | 2732119.7768 | 1252976.8725
97 | 2732107.5922 | 1252956.8948 | 2732111.628 | 1252963.1126 | 2732119.7768 | 1252976.8725
98 | 2732086.7544 | 1252966.8594 | 2732087.3675 | 1252966.4302 | 2732092.6526 | 1252962.9622
99 | 2732106.0527 | 1252954.1692 | 2732092.6526 | 1252962.9622
100 | 2732106.0527 | 1252954.1692 | 2732095.6924 | 1252938.9967
101 | 2732106.0527 | 1252954.1692 | 2732107.5922 | 1252956.8948
102 | 2732091.9857 | 1252933.5684 | 2732095.6924 | 1252938.9967
103 | 2732107.5922 | 1252956.8948 | 2732115.7768 | 1252946.68
104 | 2732090.349 | 1252930.9722 | 2732091.7326 | 1252933.1976 | 2732091.9857 | 1252933.5684
105 | 2732083.4676 | 1252919.9042 | 2732085.1397 | 1252922.5935
106 | 2732090.349 | 1252930.9722 | 2732085.1397 | 1252922.5935

## bus_geodata
| x | y | coords
0 | 2731791.2357 | 1252855.7591
1 | 2731793.1699 | 1252861.2602
2 | 2731784.977 | 1252837.9582
3 | 2731796.3474 | 1252870.2977
4 | 2731759.6294 | 1252847.8073
5 | 2731801.7217 | 1252878.6957
6 | 2731813.2743 | 1252890.0256
7 | 2731895.3208 | 1252895.8901
8 | 2731892.41 | 1252898.0822
9 | 2731881.6637 | 1252913.8669
10 | 2731880.002 | 1252920.3468
11 | 2731897.0232 | 1252916.7458
12 | 2731944.5533 | 1252865.1011
13 | 2731964.4137 | 1252891.2114
14 | 2731912.7362 | 1252817.654
15 | 2731876.9131 | 1252937.7333
16 | 2731870.8281 | 1252918.4702
17 | 2731911.0518 | 1252915.5091
18 | 2731981.8212 | 1252913.6393
19 | 2732037.9428 | 1252856.2293
20 | 2732020.9883 | 1252862.2648
21 | 2732058.1084 | 1252882.2945
22 | 2731828.1569 | 1252903.0261
23 | 2731848.552 | 1252913.6905
24 | 2731850.169 | 1252914.244
25 | 2731858.0593 | 1252915.8581
26 | 2731831.1016 | 1252934.0689
27 | 2731811.9782 | 1252953.9521
28 | 2731804.8302 | 1252963.9648
29 | 2731795.0831 | 1252940.2755
30 | 2731874.2416 | 1252947.1427
31 | 2731956.693 | 1252942.381
32 | 2731967.6447 | 1252955.5412
33 | 2731997.9996 | 1252934.1649
34 | 2732069.8633 | 1252898.0229
35 | 2731864.7236 | 1252962.3497
36 | 2731887.098 | 1252957.3539
37 | 2732053.9426 | 1252906.7981
38 | 2732073.5899 | 1252904.0168
39 | 2732032.4297 | 1252918.6556
40 | 2732077.4109 | 1252910.1625
41 | 2732018.349 | 1252926.4166
42 | 2732081.2568 | 1252916.3482
43 | 2732131.5907 | 1252921.9496
44 | 2732127.5369 | 1252929.0958
45 | 2731904.1979 | 1252979.4537
46 | 2731901.1477 | 1252975.8019
47 | 2731911.0003 | 1252986.8457
48 | 2731889.1336 | 1252960.0268
49 | 2731915.1964 | 1252991.4054
50 | 2731922.9073 | 1252986.3971
51 | 2731921.1887 | 1252999.8267
52 | 2731943.9405 | 1252972.736
53 | 2731929.9598 | 1253012.1529
54 | 2731999.9161 | 1252936.5764
55 | 2732014.1407 | 1252953.4041
56 | 2731985.3956 | 1252943.0408
57 | 2732028.5816 | 1252971.3938
58 | 2731951.2352 | 1252967.9981
59 | 2731956.131 | 1252976.0633
60 | 2731974.8895 | 1252967.0568
61 | 2731984.1745 | 1252943.9007
62 | 2731956.6705 | 1252976.952
63 | 2731981.6948 | 1252977.8738
64 | 2731992.8591 | 1252995.6193
65 | 2731848.5322 | 1252981.2981
66 | 2731847.0282 | 1252983.0582
67 | 2731818.9924 | 1253085.0706
68 | 2731828.3895 | 1253092.9089
69 | 2731845.5122 | 1253076.1972
70 | 2731819.8253 | 1253029.7059
71 | 2731835.2048 | 1252998.7425
72 | 2731834.3709 | 1253052.2765
73 | 2731789.776 | 1253023.1348
74 | 2731793.106 | 1253016.8939
75 | 2731839.5574 | 1252991.8659
76 | 2731851.1482 | 1253010.0242
77 | 2731801.0834 | 1252996.4146
78 | 2731807.6651 | 1252980.0061
79 | 2731779.1761 | 1252981.5986
80 | 2731863.8691 | 1253020.761
81 | 2731804.6412 | 1252977.3595
82 | 2731908.1477 | 1253026.2446
83 | 2731914.7244 | 1253021.7102
84 | 2731872.6874 | 1253032.2368
85 | 2731794.3407 | 1252939.6745
86 | 2731780.2173 | 1252928.1933
87 | 2731770.2372 | 1252919.8285
88 | 2731836.5379 | 1252974.3469
89 | 2731767.8402 | 1252917.8195
90 | 2731751.7245 | 1252904.3122
91 | 2732057.1767 | 1253007.0267
92 | 2732048.1149 | 1252995.815
93 | 2732064.7128 | 1252982.8228
94 | 2732037.0357 | 1253004.421
95 | 2732079.9644 | 1252971.612
96 | 2732125.4549 | 1252986.4605
97 | 2732119.7768 | 1252976.8725
98 | 2732086.7544 | 1252966.8594
99 | 2732092.6526 | 1252962.9622
100 | 2732106.0527 | 1252954.1692
101 | 2732095.6924 | 1252938.9967
102 | 2732107.5922 | 1252956.8948
103 | 2732091.9857 | 1252933.5684
104 | 2732115.7768 | 1252946.68
105 | 2732083.4676 | 1252919.9042
106 | 2732085.1397 | 1252922.5935
107 | 2732090.349 | 1252930.9722
108 | 2731967.6447 | 1252955.5412

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1