## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3407-2_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3407-2_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3407-2_0_2_node_84 | 0.4 | n |  | TRUE
3 | bus_LV_3407-2_0_2_node_18 | 0.4 | n |  | TRUE
4 | bus_LV_3407-2_0_2_node_180 | 0.4 | n |  | TRUE
5 | bus_LV_3407-2_0_2_node_72 | 0.4 | n |  | TRUE
6 | bus_LV_3407-2_0_2_node_181 | 0.4 | n |  | TRUE
7 | bus_LV_3407-2_0_2_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_3407-2_0_2_node_178 | 0.4 | n |  | TRUE
9 | bus_LV_3407-2_0_2_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_3407-2_0_2_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_3407-2_0_2_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_3407-2_0_2_node_64 | 0.4 | n |  | TRUE
13 | bus_LV_3407-2_0_2_node_73 | 0.4 | n |  | TRUE
14 | bus_LV_3407-2_0_2_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_3407-2_0_2_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_3407-2_0_2_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_3407-2_0_2_node_182 | 0.4 | n |  | TRUE
18 | bus_LV_3407-2_0_2_node_86 | 0.4 | n |  | TRUE
19 | bus_LV_3407-2_0_2_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_3407-2_0_2_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_3407-2_0_2_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_3407-2_0_2_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_3407-2_0_2_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_3407-2_0_2_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_3407-2_0_2_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_3407-2_0_2_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_3407-2_0_2_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_3407-2_0_2_node_48 | 0.4 | n |  | TRUE
29 | bus_LV_3407-2_0_2_node_49 | 0.4 | n |  | TRUE
30 | bus_LV_3407-2_0_2_node_50 | 0.4 | n |  | TRUE
31 | bus_LV_3407-2_0_2_node_51 | 0.4 | n |  | TRUE
32 | bus_LV_3407-2_0_2_node_52 | 0.4 | n |  | TRUE
33 | bus_LV_3407-2_0_2_node_53 | 0.4 | n |  | TRUE
34 | bus_LV_3407-2_0_2_node_77 | 0.4 | n |  | TRUE
35 | bus_LV_3407-2_0_2_node_78 | 0.4 | n |  | TRUE
36 | bus_LV_3407-2_0_2_node_55 | 0.4 | n |  | TRUE
37 | bus_LV_3407-2_0_2_node_122 | 0.4 | n |  | TRUE
38 | bus_LV_3407-2_0_2_node_87 | 0.4 | n |  | TRUE
39 | bus_LV_3407-2_0_2_node_56 | 0.4 | n |  | TRUE
40 | bus_LV_3407-2_0_2_node_57 | 0.4 | n |  | TRUE
41 | bus_LV_3407-2_0_2_node_59 | 0.4 | n |  | TRUE
42 | bus_LV_3407-2_0_2_node_179 | 0.4 | n |  | TRUE
43 | bus_LV_3407-2_0_2_node_61 | 0.4 | n |  | TRUE
44 | bus_LV_3407-2_0_2_node_62 | 0.4 | n |  | TRUE
45 | bus_LV_3407-2_0_2_node_63 | 0.4 | n |  | TRUE
46 | bus_LV_3407-2_0_2_node_71 | 0.4 | n |  | TRUE
47 | bus_LV_3407-2_0_2_node_67 | 0.4 | n |  | TRUE
48 | bus_LV_3407-2_0_2_node_68 | 0.4 | n |  | TRUE
49 | bus_LV_3407-2_0_2_node_69 | 0.4 | n |  | TRUE
50 | bus_LV_3407-2_0_2_node_70 | 0.4 | n |  | TRUE
51 | bus_LV_3407-2_0_2_node_82 | 0.4 | n |  | TRUE
52 | bus_LV_3407-2_0_2_node_81 | 0.4 | n |  | TRUE
53 | bus_LV_3407-2_0_2_node_83 | 0.4 | n |  | TRUE
54 | bus_LV_3407-2_0_2_node_147 | 0.4 | n |  | TRUE
55 | bus_MV_587_0_node_21 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3407-2_0_2_load_0 | 0 | 0.0014192 | 0.00035568 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3407-2_0_2_load_84 | 2 | 0.00091041 | 0.00022817 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3407-2_0_2_load_180 | 4 | 0.0021871 | 0.00054815 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3407-2_0_2_load_181 | 6 | 0.020753 | 0.0052011 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3407-2_0_2_load_11 | 7 | 0.0034977 | 0.00087659 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3407-2_0_2_load_178 | 8 | 0.016997 | 0.0042599 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3407-2_0_2_load_13 | 10 | 0.0029531 | 0.00074012 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3407-2_0_2_load_73 | 13 | 0.0081467 | 0.0020418 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3407-2_0_2_load_15 | 14 | 0.0030787 | 0.00077158 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3407-2_0_2_load_182 | 17 | 0.003103 | 0.00077768 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3407-2_0_2_load_23 | 19 | 0.0022508 | 0.0005641 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3407-2_0_2_load_20 | 21 | 0.0036984 | 0.0009269 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3407-2_0_2_load_21 | 22 | 0.0043096 | 0.0010801 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3407-2_0_2_load_22 | 23 | 0.0013594 | 0.0003407 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3407-2_0_2_load_24 | 24 | 0.00086219 | 0.00021608 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3407-2_0_2_load_25 | 25 | 0.0023767 | 0.00059565 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3407-2_0_2_load_26 | 26 | 0.00057404 | 0.00014387 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3407-2_0_2_load_27 | 27 | 0.001826 | 0.00045765 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3407-2_0_2_load_48 | 28 | 0.00073719 | 0.00018476 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3407-2_0_2_load_49 | 29 | 0.00047593 | 0.00011928 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3407-2_0_2_load_52 | 32 | 0.00070128 | 0.00017576 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3407-2_0_2_load_77 | 34 | 0.023431 | 0.0058723 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3407-2_0_2_load_78 | 35 | 0.00047667 | 0.00011947 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3407-2_0_2_load_55 | 36 | 0.00085761 | 0.00021494 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3407-2_0_2_load_122 | 37 | 0.00087824 | 0.00022011 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3407-2_0_2_load_87 | 38 | 0.005279 | 0.001323 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3407-2_0_2_load_56 | 39 | 0.001379 | 0.00034561 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3407-2_0_2_load_57 | 40 | 0.0032556 | 0.00081593 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3407-2_0_2_load_179 | 42 | 0.036179 | 0.0090673 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3407-2_0_2_load_62 | 44 | 0.008511 | 0.0021331 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3407-2_0_2_load_63 | 45 | 0.0010419 | 0.00026112 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3407-2_0_2_load_71 | 46 | 0.0031522 | 0.00079002 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3407-2_0_2_load_67 | 47 | 0.036364 | 0.0091137 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3407-2_0_2_load_70 | 50 | 0.0031108 | 0.00077963 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3407-2_0_2_load_82 | 51 | 0.00047827 | 0.00011987 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3407-2_0_2_load_81 | 52 | 0.0010927 | 0.00027385 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3407-2_0_2_load_83 | 53 | 0.0017432 | 0.00043689 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3407-2_0_2_load_147 | 54 | 0.0007969 | 0.00019972 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 47 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3407-2_0_2_line_0 |  | 0 | 1 | 0.11339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3407-2_0_2_line_1 |  | 0 | 2 | 0.39462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3407-2_0_2_line_2 |  | 1 | 3 | 0.29771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3407-2_0_2_line_3 |  | 3 | 19 | 0.024862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3407-2_0_2_line_4 |  | 3 | 15 | 0.09025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3407-2_0_2_line_5 |  | 4 | 5 | 0.044603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3407-2_0_2_line_6 |  | 4 | 6 | 0.0086724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3407-2_0_2_line_7 |  | 5 | 8 | 0.013133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3407-2_0_2_line_8 |  | 5 | 49 | 0.047714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3407-2_0_2_line_9 |  | 7 | 8 | 0.16087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3407-2_0_2_line_10 |  | 8 | 42 | 0.10377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3407-2_0_2_line_11 |  | 9 | 10 | 0.040555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3407-2_0_2_line_12 |  | 9 | 11 | 0.039802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3407-2_0_2_line_13 |  | 11 | 12 | 0.049004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3407-2_0_2_line_14 |  | 11 | 13 | 0.035359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3407-2_0_2_line_15 |  | 12 | 43 | 0.047428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3407-2_0_2_line_16 |  | 14 | 15 | 0.13441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3407-2_0_2_line_17 |  | 15 | 16 | 0.025714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3407-2_0_2_line_18 |  | 16 | 17 | 0.002813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3407-2_0_2_line_19 |  | 16 | 18 | 0.3959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3407-2_0_2_line_20 |  | 18 | 38 | 0.06204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3407-2_0_2_line_21 |  | 19 | 20 | 0.024074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3407-2_0_2_line_22 |  | 20 | 21 | 0.049443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3407-2_0_2_line_23 |  | 21 | 22 | 0.0018064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3407-2_0_2_line_24 |  | 22 | 23 | 0.018165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3407-2_0_2_line_25 |  | 23 | 24 | 0.023567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3407-2_0_2_line_26 |  | 24 | 25 | 0.042354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3407-2_0_2_line_27 |  | 25 | 26 | 0.030632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3407-2_0_2_line_28 |  | 26 | 27 | 0.027368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3407-2_0_2_line_29 |  | 28 | 29 | 0.017398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3407-2_0_2_line_30 |  | 28 | 30 | 0.0041864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3407-2_0_2_line_31 |  | 29 | 31 | 0.0063995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3407-2_0_2_line_32 |  | 30 | 32 | 0.021792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3407-2_0_2_line_33 |  | 30 | 33 | 0.07748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3407-2_0_2_line_34 |  | 31 | 34 | 0.020459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3407-2_0_2_line_35 |  | 31 | 35 | 0.019502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3407-2_0_2_line_36 |  | 32 | 36 | 0.017509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3407-2_0_2_line_37 |  | 33 | 37 | 0.018099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3407-2_0_2_line_38 |  | 33 | 38 | 0.053006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3407-2_0_2_line_39 |  | 34 | 50 | 0.0069646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3407-2_0_2_line_40 |  | 35 | 51 | 0.0093811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3407-2_0_2_line_41 |  | 36 | 39 | 0.019584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3407-2_0_2_line_42 |  | 37 | 54 | 0.063822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3407-2_0_2_line_43 |  | 40 | 41 | 0.020272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3407-2_0_2_line_44 |  | 41 | 43 | 0.048898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3407-2_0_2_line_45 |  | 41 | 44 | 0.047968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3407-2_0_2_line_46 |  | 43 | 45 | 0.020999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3407-2_0_2_line_47 |  | 44 | 46 | 0.030103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3407-2_0_2_line_48 |  | 46 | 48 | 0.025145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3407-2_0_2_line_49 |  | 47 | 48 | 0.05054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3407-2_0_2_line_50 |  | 47 | 49 | 0.058838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3407-2_0_2_line_51 |  | 48 | 50 | 0.020789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3407-2_0_2_line_52 |  | 51 | 52 | 0.02313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3407-2_0_2_line_53 |  | 52 | 53 | 0.0099668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3407-2_0_2_trafo_67 | 0.63 MVA 20/0.4 kV | 55 | 47 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2725917.8814 | 1254463.1406 | 2725942.2966 | 1254458.0775 | 2725968.1085 | 1254450.1527 | 2725982.8816 | 1254444.2729 | 2725998.204 | 1254440.2397 | 2726026.3127 | 1254433.6208 | 2726027.0859 | 1254433.3032
1 | 2726420.3131 | 1254400.1541 | 2726027.0859 | 1254433.3032
2 | 2725922.8818 | 1254760.8097 | 2725917.8814 | 1254463.1406
3 | 2725922.8818 | 1254760.8097 | 2725917.4148 | 1254762.3949 | 2725898.6326 | 1254766.2304
4 | 2725922.8818 | 1254760.8097 | 2725926.7841 | 1254769.6338 | 2725932.1551 | 1254768.3024 | 2725934.2926 | 1254773.5302 | 2725937.8489 | 1254781.2349 | 2725941.0414 | 1254782.9821 | 2725946.0359 | 1254780.5528 | 2725958.5215 | 1254776.8039 | 2725996.0954 | 1254767.5172
5 | 2726495.9907 | 1254857.9753 | 2726452.9792 | 1254866.0417 | 2726452.1477 | 1254866.1718
6 | 2726443.5795 | 1254867.5121 | 2726452.1477 | 1254866.1718
7 | 2726495.9907 | 1254857.9753 | 2726495.3459 | 1254862.7213 | 2726492.2421 | 1254867.07 | 2726494.4241 | 1254869.1295
8 | 2726542.3486 | 1254846.5778 | 2726534.7511 | 1254849.6849 | 2726495.9907 | 1254857.9753
9 | 2726494.4241 | 1254869.1295 | 2726524.729 | 1255027.118
10 | 2726590.7948 | 1254857.5005 | 2726579.3038 | 1254856.0092 | 2726567.7474 | 1254847.6993 | 2726502.0744 | 1254861.4305 | 2726494.4241 | 1254869.1295
11 | 2726676.2845 | 1254856.0939 | 2726715.931 | 1254847.5574
12 | 2726680.4171 | 1254817.0922 | 2726681.8004 | 1254833.5474 | 2726680.0775 | 1254844.587 | 2726676.2845 | 1254856.0939
13 | 2726680.4171 | 1254817.0922 | 2726694.269 | 1254813.6966 | 2726694.4773 | 1254809.6085 | 2726696.0833 | 1254805.795 | 2726697.7495 | 1254803.7511 | 2726700.6543 | 1254801.6558 | 2726705.9272 | 1254800.3341 | 2726709.9285 | 1254800.9536 | 2726714.3838 | 1254803.6291 | 2726716.2005 | 1254805.8366 | 2726717.4077 | 1254808.309
14 | 2726680.4171 | 1254817.0922 | 2726655.8475 | 1254822.3491 | 2726645.8382 | 1254824.4764
15 | 2726680.6265 | 1254785.1016 | 2726693.3183 | 1254791.4899 | 2726696.3566 | 1254793.7346 | 2726698.8878 | 1254796.7581 | 2726700.6543 | 1254801.6558 | 2726705.9272 | 1254800.3341 | 2726709.9285 | 1254800.9536 | 2726714.3838 | 1254803.6291 | 2726716.2005 | 1254805.8366 | 2726717.4077 | 1254808.309
16 | 2725996.0954 | 1254767.5172 | 2725990.8071 | 1254861.3654 | 2725991.2063 | 1254867.0678 | 2725993.3621 | 1254870.0163 | 2725996.9926 | 1254871.0389 | 2726000.114 | 1254869.3927 | 2726005.7614 | 1254865.7096 | 2726021.481 | 1254859.2317
17 | 2725996.0954 | 1254767.5172 | 2725996.4399 | 1254760.5517 | 2726014.7902 | 1254756.7498
18 | 2726014.1922 | 1254754.0014 | 2726014.7902 | 1254756.7498
19 | 2726402.5176 | 1254676.7414 | 2726014.7902 | 1254756.7498
20 | 2726402.5176 | 1254676.7414 | 2726462.8803 | 1254664.041 | 2726463.2286 | 1254663.9684
21 | 2725892.1227 | 1254783.5537 | 2725890.261 | 1254773.5164 | 2725890.5848 | 1254767.8738 | 2725898.6326 | 1254766.2304
22 | 2725892.1227 | 1254783.5537 | 2725886.7432 | 1254784.5736 | 2725874.5878 | 1254785.5717 | 2725857.1945 | 1254785.1906 | 2725843.2454 | 1254781.7204
23 | 2725841.4924 | 1254781.2843 | 2725843.2454 | 1254781.7204
24 | 2725823.861 | 1254776.9316 | 2725827.2776 | 1254777.9263 | 2725834.7577 | 1254779.6089 | 2725841.4924 | 1254781.2843
25 | 2725823.861 | 1254776.9316 | 2725811.2056 | 1254773.2474 | 2725801.1341 | 1254770.7095
26 | 2725760.072 | 1254760.3279 | 2725767.874 | 1254762.3174 | 2725768.542 | 1254762.4873 | 2725775.6726 | 1254764.2847 | 2725789.3708 | 1254767.7454 | 2725801.1341 | 1254770.7095
27 | 2725760.072 | 1254760.3279 | 2725737.2816 | 1254754.5165 | 2725730.3661 | 1254752.8562
28 | 2725703.8437 | 1254746.116 | 2725716.1919 | 1254749.4532 | 2725730.3661 | 1254752.8562
29 | 2726555.7496 | 1254668.2331 | 2726551.0142 | 1254684.9746
30 | 2726556.889 | 1254664.2047 | 2726555.7496 | 1254668.2331
31 | 2726549.2724 | 1254691.1325 | 2726551.0142 | 1254684.9746
32 | 2726556.889 | 1254664.2047 | 2726566.2294 | 1254667.4739 | 2726578.095 | 1254666.6185
33 | 2726514.9982 | 1254652.6106 | 2726521.0293 | 1254650.7711 | 2726533.3149 | 1254647.5863 | 2726565.7862 | 1254640.5628 | 2726556.889 | 1254664.2047
34 | 2726549.2724 | 1254691.1325 | 2726544.2377 | 1254710.962
35 | 2726549.2724 | 1254691.1325 | 2726568.6036 | 1254693.7093
36 | 2726595.559 | 1254665.3595 | 2726578.095 | 1254666.6185
37 | 2726514.9982 | 1254652.6106 | 2726508.7569 | 1254639.9216 | 2726507.3467 | 1254636.2236
38 | 2726514.9982 | 1254652.6106 | 2726497.2939 | 1254656.8696 | 2726463.2286 | 1254663.9684
39 | 2726544.2377 | 1254710.962 | 2726542.5237 | 1254717.7124
40 | 2726577.9025 | 1254694.9489 | 2726568.6036 | 1254693.7093
41 | 2726615.0925 | 1254663.9512 | 2726595.559 | 1254665.3595
42 | 2726497.2398 | 1254573.4458 | 2726497.4127 | 1254574.3546 | 2726500.0953 | 1254604.1939 | 2726503.1816 | 1254623.2656 | 2726506.1487 | 1254633.0821 | 2726507.3467 | 1254636.2236
43 | 2726637.1939 | 1254762.386 | 2726646.3497 | 1254744.2991 | 2726646.3497 | 1254744.2991
44 | 2726637.1939 | 1254762.386 | 2726680.6265 | 1254785.1016
45 | 2726637.1939 | 1254762.386 | 2726612.4124 | 1254749.3224 | 2726602.9612 | 1254744.8942 | 2726593.713 | 1254742.648
46 | 2726680.6265 | 1254785.1016 | 2726690.4163 | 1254766.5242
47 | 2726563.749 | 1254739.925 | 2726583.5374 | 1254741.3537 | 2726592.969 | 1254742.4673 | 2726593.713 | 1254742.648
48 | 2726538.6689 | 1254738.1142 | 2726563.749 | 1254739.925
49 | 2726538.6689 | 1254738.1142 | 2726534.7567 | 1254773.9068 | 2726533.9016 | 1254783.8973 | 2726533.9429 | 1254788.4042
50 | 2726542.3486 | 1254846.5778 | 2726535.1342 | 1254803.5411 | 2726533.9876 | 1254793.2853 | 2726533.9429 | 1254788.4042
51 | 2726538.6689 | 1254738.1142 | 2726539.867 | 1254729.0206 | 2726541.6336 | 1254721.2181 | 2726542.5237 | 1254717.7124
52 | 2726577.9025 | 1254694.9489 | 2726582.0657 | 1254695.5038 | 2726584.8619 | 1254697.0761 | 2726588.1839 | 1254698.0591 | 2726590.6098 | 1254698.2444 | 2726592.8293 | 1254697.1464 | 2726594.9019 | 1254696.2121 | 2726597.6687 | 1254696.3381 | 2726599.8086 | 1254697.1957
53 | 2726608.9163 | 1254700.0484 | 2726606.7656 | 1254700.4028 | 2726604.4441 | 1254699.9194 | 2726601.8724 | 1254698.7856 | 2726599.8086 | 1254697.1957

## bus_geodata
| x | y | coords
0 | 2726027.0859 | 1254433.3032
1 | 2725917.8814 | 1254463.1406
2 | 2726420.3131 | 1254400.1541
3 | 2725922.8818 | 1254760.8097
4 | 2726452.1477 | 1254866.1718
5 | 2726495.9907 | 1254857.9753
6 | 2726443.5795 | 1254867.5121
7 | 2726524.729 | 1255027.118
8 | 2726494.4241 | 1254869.1295
9 | 2726676.2845 | 1254856.0939
10 | 2726715.931 | 1254847.5574
11 | 2726680.4171 | 1254817.0922
12 | 2726717.4077 | 1254808.309
13 | 2726645.8382 | 1254824.4764
14 | 2726021.481 | 1254859.2317
15 | 2725996.0954 | 1254767.5172
16 | 2726014.7902 | 1254756.7498
17 | 2726014.1922 | 1254754.0014
18 | 2726402.5176 | 1254676.7414
19 | 2725898.6326 | 1254766.2304
20 | 2725892.1227 | 1254783.5537
21 | 2725843.2454 | 1254781.7204
22 | 2725841.4924 | 1254781.2843
23 | 2725823.861 | 1254776.9316
24 | 2725801.1341 | 1254770.7095
25 | 2725760.072 | 1254760.3279
26 | 2725730.3661 | 1254752.8562
27 | 2725703.8437 | 1254746.116
28 | 2726555.7496 | 1254668.2331
29 | 2726551.0142 | 1254684.9746
30 | 2726556.889 | 1254664.2047
31 | 2726549.2724 | 1254691.1325
32 | 2726578.095 | 1254666.6185
33 | 2726514.9982 | 1254652.6106
34 | 2726544.2377 | 1254710.962
35 | 2726568.6036 | 1254693.7093
36 | 2726595.559 | 1254665.3595
37 | 2726507.3467 | 1254636.2236
38 | 2726463.2286 | 1254663.9684
39 | 2726615.0925 | 1254663.9512
40 | 2726646.3497 | 1254744.2991
41 | 2726637.1939 | 1254762.386
42 | 2726590.7948 | 1254857.5005
43 | 2726680.6265 | 1254785.1016
44 | 2726593.713 | 1254742.648
45 | 2726690.4163 | 1254766.5242
46 | 2726563.749 | 1254739.925
47 | 2726533.9429 | 1254788.4042
48 | 2726538.6689 | 1254738.1142
49 | 2726542.3486 | 1254846.5778
50 | 2726542.5237 | 1254717.7124
51 | 2726577.9025 | 1254694.9489
52 | 2726599.8086 | 1254697.1957
53 | 2726608.9163 | 1254700.0484
54 | 2726497.2398 | 1254573.4458
55 | 2726538.6689 | 1254738.1142

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1