## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3407-5_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3407-5_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3407-5_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3407-5_0_5_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_3407-5_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3407-5_0_5_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_3407-5_0_5_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_3407-5_0_5_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_3407-5_0_5_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_3407-5_0_5_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_3407-5_0_5_node_24 | 0.4 | n |  | TRUE
11 | bus_LV_3407-5_0_5_node_22 | 0.4 | n |  | TRUE
12 | bus_LV_3407-5_0_5_node_34 | 0.4 | n |  | TRUE
13 | bus_LV_3407-5_0_5_node_35 | 0.4 | n |  | TRUE
14 | bus_LV_3407-5_0_5_node_33 | 0.4 | n |  | TRUE
15 | bus_LV_3407-5_0_5_node_31 | 0.4 | n |  | TRUE
16 | bus_LV_3407-5_0_5_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_3407-5_0_5_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_3407-5_0_5_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_3407-5_0_5_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_3407-5_0_5_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_3407-5_0_5_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_3407-5_0_5_node_170 | 0.4 | n |  | TRUE
23 | bus_LV_3407-5_0_5_node_167 | 0.4 | n |  | TRUE
24 | bus_LV_3407-5_0_5_node_165 | 0.4 | n |  | TRUE
25 | bus_LV_3407-5_0_5_node_175 | 0.4 | n |  | TRUE
26 | bus_LV_3407-5_0_5_node_171 | 0.4 | n |  | TRUE
27 | bus_LV_3407-5_0_5_node_168 | 0.4 | n |  | TRUE
28 | bus_LV_3407-5_0_5_node_161 | 0.4 | n |  | TRUE
29 | bus_LV_3407-5_0_5_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_3407-5_0_5_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_3407-5_0_5_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_3407-5_0_5_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_3407-5_0_5_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_3407-5_0_5_node_66 | 0.4 | n |  | TRUE
35 | bus_LV_3407-5_0_5_node_61 | 0.4 | n |  | TRUE
36 | bus_LV_3407-5_0_5_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_3407-5_0_5_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_3407-5_0_5_node_63 | 0.4 | n |  | TRUE
39 | bus_LV_3407-5_0_5_node_41 | 0.4 | n |  | TRUE
40 | bus_LV_3407-5_0_5_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_3407-5_0_5_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_3407-5_0_5_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_3407-5_0_5_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_3407-5_0_5_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_3407-5_0_5_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_3407-5_0_5_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_3407-5_0_5_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_3407-5_0_5_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_3407-5_0_5_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_3407-5_0_5_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_3407-5_0_5_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_3407-5_0_5_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_3407-5_0_5_node_64 | 0.4 | n |  | TRUE
54 | bus_LV_3407-5_0_5_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_3407-5_0_5_node_65 | 0.4 | n |  | TRUE
56 | bus_LV_3407-5_0_5_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_3407-5_0_5_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_3407-5_0_5_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_3407-5_0_5_node_54 | 0.4 | n |  | TRUE
60 | bus_LV_3407-5_0_5_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_3407-5_0_5_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_3407-5_0_5_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_3407-5_0_5_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_3407-5_0_5_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_3407-5_0_5_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_3407-5_0_5_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_3407-5_0_5_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_3407-5_0_5_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_3407-5_0_5_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_3407-5_0_5_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_3407-5_0_5_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_3407-5_0_5_node_69 | 0.4 | n |  | TRUE
73 | bus_LV_3407-5_0_5_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_3407-5_0_5_node_71 | 0.4 | n |  | TRUE
75 | bus_LV_3407-5_0_5_node_152 | 0.4 | n |  | TRUE
76 | bus_LV_3407-5_0_5_node_149 | 0.4 | n |  | TRUE
77 | bus_LV_3407-5_0_5_node_154 | 0.4 | n |  | TRUE
78 | bus_LV_3407-5_0_5_node_155 | 0.4 | n |  | TRUE
79 | bus_LV_3407-5_0_5_node_153 | 0.4 | n |  | TRUE
80 | bus_LV_3407-5_0_5_node_72 | 0.4 | n |  | TRUE
81 | bus_LV_3407-5_0_5_node_73 | 0.4 | n |  | TRUE
82 | bus_LV_3407-5_0_5_node_74 | 0.4 | n |  | TRUE
83 | bus_LV_3407-5_0_5_node_75 | 0.4 | n |  | TRUE
84 | bus_LV_3407-5_0_5_node_76 | 0.4 | n |  | TRUE
85 | bus_LV_3407-5_0_5_node_77 | 0.4 | n |  | TRUE
86 | bus_LV_3407-5_0_5_node_78 | 0.4 | n |  | TRUE
87 | bus_LV_3407-5_0_5_node_79 | 0.4 | n |  | TRUE
88 | bus_LV_3407-5_0_5_node_138 | 0.4 | n |  | TRUE
89 | bus_LV_3407-5_0_5_node_80 | 0.4 | n |  | TRUE
90 | bus_LV_3407-5_0_5_node_148 | 0.4 | n |  | TRUE
91 | bus_LV_3407-5_0_5_node_136 | 0.4 | n |  | TRUE
92 | bus_LV_3407-5_0_5_node_81 | 0.4 | n |  | TRUE
93 | bus_LV_3407-5_0_5_node_82 | 0.4 | n |  | TRUE
94 | bus_LV_3407-5_0_5_node_83 | 0.4 | n |  | TRUE
95 | bus_LV_3407-5_0_5_node_85 | 0.4 | n |  | TRUE
96 | bus_LV_3407-5_0_5_node_88 | 0.4 | n |  | TRUE
97 | bus_LV_3407-5_0_5_node_89 | 0.4 | n |  | TRUE
98 | bus_LV_3407-5_0_5_node_86 | 0.4 | n |  | TRUE
99 | bus_LV_3407-5_0_5_node_90 | 0.4 | n |  | TRUE
100 | bus_LV_3407-5_0_5_node_91 | 0.4 | n |  | TRUE
101 | bus_LV_3407-5_0_5_node_109 | 0.4 | n |  | TRUE
102 | bus_LV_3407-5_0_5_node_142 | 0.4 | n |  | TRUE
103 | bus_LV_3407-5_0_5_node_151 | 0.4 | n |  | TRUE
104 | bus_LV_3407-5_0_5_node_107 | 0.4 | n |  | TRUE
105 | bus_LV_3407-5_0_5_node_112 | 0.4 | n |  | TRUE
106 | bus_LV_3407-5_0_5_node_123 | 0.4 | n |  | TRUE
107 | bus_LV_3407-5_0_5_node_110 | 0.4 | n |  | TRUE
108 | bus_LV_3407-5_0_5_node_150 | 0.4 | n |  | TRUE
109 | bus_LV_3407-5_0_5_node_92 | 0.4 | n |  | TRUE
110 | bus_LV_3407-5_0_5_node_93 | 0.4 | n |  | TRUE
111 | bus_LV_3407-5_0_5_node_94 | 0.4 | n |  | TRUE
112 | bus_LV_3407-5_0_5_node_96 | 0.4 | n |  | TRUE
113 | bus_LV_3407-5_0_5_node_97 | 0.4 | n |  | TRUE
114 | bus_LV_3407-5_0_5_node_98 | 0.4 | n |  | TRUE
115 | bus_LV_3407-5_0_5_node_100 | 0.4 | n |  | TRUE
116 | bus_LV_3407-5_0_5_node_102 | 0.4 | n |  | TRUE
117 | bus_LV_3407-5_0_5_node_103 | 0.4 | n |  | TRUE
118 | bus_LV_3407-5_0_5_node_104 | 0.4 | n |  | TRUE
119 | bus_LV_3407-5_0_5_node_105 | 0.4 | n |  | TRUE
120 | bus_LV_3407-5_0_5_node_99 | 0.4 | n |  | TRUE
121 | bus_LV_3407-5_0_5_node_121 | 0.4 | n |  | TRUE
122 | bus_LV_3407-5_0_5_node_132 | 0.4 | n |  | TRUE
123 | bus_LV_3407-5_0_5_node_101 | 0.4 | n |  | TRUE
124 | bus_LV_3407-5_0_5_node_139 | 0.4 | n |  | TRUE
125 | bus_LV_3407-5_0_5_node_135 | 0.4 | n |  | TRUE
126 | bus_LV_3407-5_0_5_node_124 | 0.4 | n |  | TRUE
127 | bus_LV_3407-5_0_5_node_120 | 0.4 | n |  | TRUE
128 | bus_LV_3407-5_0_5_node_125 | 0.4 | n |  | TRUE
129 | bus_LV_3407-5_0_5_node_126 | 0.4 | n |  | TRUE
130 | bus_LV_3407-5_0_5_node_118 | 0.4 | n |  | TRUE
131 | bus_LV_3407-5_0_5_node_166 | 0.4 | n |  | TRUE
132 | bus_LV_3407-5_0_5_node_137 | 0.4 | n |  | TRUE
133 | bus_LV_3407-5_0_5_node_133 | 0.4 | n |  | TRUE
134 | bus_LV_3407-5_0_5_node_122 | 0.4 | n |  | TRUE
135 | bus_LV_3407-5_0_5_node_117 | 0.4 | n |  | TRUE
136 | bus_LV_3407-5_0_5_node_127 | 0.4 | n |  | TRUE
137 | bus_LV_3407-5_0_5_node_106 | 0.4 | n |  | TRUE
138 | bus_LV_3407-5_0_5_node_108 | 0.4 | n |  | TRUE
139 | bus_LV_3407-5_0_5_node_114 | 0.4 | n |  | TRUE
140 | bus_LV_3407-5_0_5_node_141 | 0.4 | n |  | TRUE
141 | bus_LV_3407-5_0_5_node_119 | 0.4 | n |  | TRUE
142 | bus_LV_3407-5_0_5_node_115 | 0.4 | n |  | TRUE
143 | bus_LV_3407-5_0_5_node_116 | 0.4 | n |  | TRUE
144 | bus_LV_3407-5_0_5_node_128 | 0.4 | n |  | TRUE
145 | bus_LV_3407-5_0_5_node_129 | 0.4 | n |  | TRUE
146 | bus_LV_3407-5_0_5_node_164 | 0.4 | n |  | TRUE
147 | bus_LV_3407-5_0_5_node_134 | 0.4 | n |  | TRUE
148 | bus_LV_3407-5_0_5_node_140 | 0.4 | n |  | TRUE
149 | bus_LV_3407-5_0_5_node_162 | 0.4 | n |  | TRUE
150 | bus_LV_3407-5_0_5_node_146 | 0.4 | n |  | TRUE
151 | bus_LV_3407-5_0_5_node_159 | 0.4 | n |  | TRUE
152 | bus_LV_3407-5_0_5_node_143 | 0.4 | n |  | TRUE
153 | bus_LV_3407-5_0_5_node_144 | 0.4 | n |  | TRUE
154 | bus_LV_3407-5_0_5_node_145 | 0.4 | n |  | TRUE
155 | bus_LV_3407-5_0_5_node_147 | 0.4 | n |  | TRUE
156 | bus_LV_3407-5_0_5_node_156 | 0.4 | n |  | TRUE
157 | bus_LV_3407-5_0_5_node_157 | 0.4 | n |  | TRUE
158 | bus_LV_3407-5_0_5_node_158 | 0.4 | n |  | TRUE
159 | bus_LV_3407-5_0_5_node_163 | 0.4 | n |  | TRUE
160 | bus_LV_3407-5_0_5_node_178 | 0.4 | n |  | TRUE
161 | bus_LV_3407-5_0_5_node_169 | 0.4 | n |  | TRUE
162 | bus_LV_3407-5_0_5_node_172 | 0.4 | n |  | TRUE
163 | bus_LV_3407-5_0_5_node_173 | 0.4 | n |  | TRUE
164 | bus_LV_3407-5_0_5_node_174 | 0.4 | n |  | TRUE
165 | bus_LV_3407-5_0_5_node_176 | 0.4 | n |  | TRUE
166 | bus_LV_3407-5_0_5_node_177 | 0.4 | n |  | TRUE
167 | bus_MV_587_0_node_29 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3407-5_0_5_load_0 | 0 | 0.0041391 | 0.0010373 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3407-5_0_5_load_5 | 3 | 0.0045722 | 0.0011459 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3407-5_0_5_load_6 | 5 | 0.0038495 | 0.00096477 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3407-5_0_5_load_7 | 6 | 0.0047924 | 0.0012011 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3407-5_0_5_load_11 | 7 | 0.0031424 | 0.00078756 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3407-5_0_5_load_12 | 8 | 0.0029098 | 0.00072928 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3407-5_0_5_load_9 | 9 | 0.0046169 | 0.0011571 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3407-5_0_5_load_24 | 10 | 0.0023866 | 0.00059813 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3407-5_0_5_load_22 | 11 | 0.002363 | 0.00059222 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3407-5_0_5_load_34 | 12 | 0.0039414 | 0.0009878 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3407-5_0_5_load_33 | 14 | 0.0044624 | 0.0011184 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3407-5_0_5_load_31 | 15 | 0.0041082 | 0.0010296 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3407-5_0_5_load_13 | 16 | 0.0052631 | 0.0013191 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3407-5_0_5_load_15 | 17 | 0.0077691 | 0.0019471 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3407-5_0_5_load_16 | 19 | 0.0018964 | 0.00047529 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3407-5_0_5_load_17 | 20 | 0.0075078 | 0.0018816 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3407-5_0_5_load_18 | 21 | 0.0031518 | 0.00078992 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3407-5_0_5_load_167 | 23 | 0.0025701 | 0.00064412 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3407-5_0_5_load_165 | 24 | 0.0030161 | 0.0007559 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3407-5_0_5_load_175 | 25 | 0.0097397 | 0.002441 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3407-5_0_5_load_171 | 26 | 0.0065066 | 0.0016307 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3407-5_0_5_load_168 | 27 | 0.0029505 | 0.00073947 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3407-5_0_5_load_19 | 29 | 0.0022944 | 0.00057502 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3407-5_0_5_load_20 | 30 | 0.0021802 | 0.00054641 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3407-5_0_5_load_21 | 31 | 0.002816 | 0.00070576 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3407-5_0_5_load_25 | 33 | 0.0027414 | 0.00068707 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3407-5_0_5_load_66 | 34 | 0.0023281 | 0.00058347 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3407-5_0_5_load_61 | 35 | 0.0031762 | 0.00079603 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3407-5_0_5_load_37 | 36 | 0.0014912 | 0.00037372 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3407-5_0_5_load_63 | 38 | 0.0030585 | 0.00076654 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3407-5_0_5_load_41 | 39 | 0.0015911 | 0.00039877 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3407-5_0_5_load_27 | 40 | 0.0045335 | 0.0011362 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3407-5_0_5_load_28 | 41 | 0.0033281 | 0.0008341 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3407-5_0_5_load_29 | 42 | 0.0019912 | 0.00049903 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3407-5_0_5_load_30 | 43 | 0.0017668 | 0.00044279 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3407-5_0_5_load_36 | 44 | 0.0017966 | 0.00045027 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3407-5_0_5_load_38 | 45 | 0.0016655 | 0.00041741 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3407-5_0_5_load_44 | 46 | 0.0014338 | 0.00035935 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3407-5_0_5_load_42 | 47 | 0.0017754 | 0.00044495 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3407-5_0_5_load_46 | 48 | 0.0016586 | 0.00041568 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3407-5_0_5_load_43 | 49 | 0.0021195 | 0.00053118 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3407-5_0_5_load_45 | 52 | 0.0022509 | 0.00056413 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3407-5_0_5_load_64 | 53 | 0.0014086 | 0.00035302 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3407-5_0_5_load_47 | 54 | 0.0016269 | 0.00040774 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3407-5_0_5_load_65 | 55 | 0.0037653 | 0.00094366 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3407-5_0_5_load_48 | 56 | 0.0030217 | 0.00075732 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3407-5_0_5_load_49 | 57 | 0.0025352 | 0.00063537 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3407-5_0_5_load_54 | 59 | 0.0020482 | 0.00051332 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3407-5_0_5_load_55 | 61 | 0.0014706 | 0.00036857 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3407-5_0_5_load_51 | 62 | 0.0010728 | 0.00026887 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3407-5_0_5_load_52 | 63 | 0.0021118 | 0.00052927 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3407-5_0_5_load_58 | 66 | 0.0018777 | 0.00047061 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3407-5_0_5_load_62 | 67 | 0.0016989 | 0.00042579 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3407-5_0_5_load_59 | 68 | 0.0023375 | 0.00058582 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3407-5_0_5_load_68 | 69 | 0.0022703 | 0.000569 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3407-5_0_5_load_60 | 70 | 0.004109 | 0.0010298 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3407-5_0_5_load_67 | 71 | 0.0052726 | 0.0013214 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3407-5_0_5_load_69 | 72 | 0.010652 | 0.0026697 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3407-5_0_5_load_70 | 73 | 0.0049655 | 0.0012445 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3407-5_0_5_load_152 | 75 | 0.0080327 | 0.0020132 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3407-5_0_5_load_155 | 78 | 0.0093174 | 0.0023352 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3407-5_0_5_load_153 | 79 | 0.0064813 | 0.0016244 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3407-5_0_5_load_72 | 80 | 0.0064201 | 0.001609 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3407-5_0_5_load_73 | 81 | 0.0039736 | 0.00099588 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3407-5_0_5_load_74 | 82 | 0.0079625 | 0.0019956 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3407-5_0_5_load_75 | 83 | 0.0039123 | 0.00098052 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3407-5_0_5_load_76 | 84 | 0.002345 | 0.00058771 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3407-5_0_5_load_77 | 85 | 0.0023407 | 0.00058663 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3407-5_0_5_load_78 | 86 | 0.0078639 | 0.0019709 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3407-5_0_5_load_79 | 87 | 0.0025406 | 0.00063672 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3407-5_0_5_load_80 | 89 | 0.0025003 | 0.00062662 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3407-5_0_5_load_136 | 91 | 0.0018023 | 0.00045169 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3407-5_0_5_load_81 | 92 | 0.0026391 | 0.00066141 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3407-5_0_5_load_82 | 93 | 0.0023411 | 0.00058672 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3407-5_0_5_load_83 | 94 | 0.0026134 | 0.00065498 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3407-5_0_5_load_88 | 96 | 0.011703 | 0.002933 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3407-5_0_5_load_89 | 97 | 0.011237 | 0.0028163 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3407-5_0_5_load_86 | 98 | 0.0059465 | 0.0014903 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3407-5_0_5_load_109 | 101 | 0.0016252 | 0.00040732 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3407-5_0_5_load_142 | 102 | 0.0015677 | 0.00039292 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3407-5_0_5_load_107 | 104 | 0.0015109 | 0.00037867 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3407-5_0_5_load_123 | 106 | 0.0056176 | 0.0014079 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3407-5_0_5_load_110 | 107 | 0.0042411 | 0.0010629 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3407-5_0_5_load_150 | 108 | 0.0094216 | 0.0023613 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_3407-5_0_5_load_92 | 109 | 0.0075907 | 0.0019024 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_3407-5_0_5_load_98 | 114 | 0.0081247 | 0.0020362 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_3407-5_0_5_load_102 | 116 | 0.0098895 | 0.0024785 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_3407-5_0_5_load_104 | 118 | 0.0043968 | 0.001102 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_3407-5_0_5_load_99 | 120 | 0.0050464 | 0.0012648 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_3407-5_0_5_load_132 | 122 | 0.013428 | 0.0033654 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_3407-5_0_5_load_139 | 124 | 0.0018565 | 0.00046527 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_3407-5_0_5_load_124 | 126 | 0.010099 | 0.002531 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_3407-5_0_5_load_125 | 128 | 0.012913 | 0.0032364 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_3407-5_0_5_load_126 | 129 | 0.0063301 | 0.0015865 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_3407-5_0_5_load_118 | 130 | 0.0047467 | 0.0011896 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_3407-5_0_5_load_166 | 131 | 0.0018769 | 0.0004704 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_3407-5_0_5_load_137 | 132 | 0.0028652 | 0.00071809 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_3407-5_0_5_load_133 | 133 | 0.0037261 | 0.00093384 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_3407-5_0_5_load_127 | 136 | 0.0047242 | 0.001184 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_3407-5_0_5_load_106 | 137 | 0.0023098 | 0.00057889 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_3407-5_0_5_load_114 | 139 | 0.0030974 | 0.00077629 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_3407-5_0_5_load_141 | 140 | 0.01054 | 0.0026416 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_3407-5_0_5_load_115 | 142 | 0.0021404 | 0.00053644 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_3407-5_0_5_load_128 | 144 | 0.021028 | 0.0052702 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_3407-5_0_5_load_129 | 145 | 0.0060857 | 0.0015252 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_3407-5_0_5_load_164 | 146 | 0.0039914 | 0.0010003 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_3407-5_0_5_load_134 | 147 | 0.0026046 | 0.00065277 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_3407-5_0_5_load_140 | 148 | 0.0030323 | 0.00075997 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_3407-5_0_5_load_146 | 150 | 0.0018021 | 0.00045166 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_3407-5_0_5_load_143 | 152 | 0.0025503 | 0.00063916 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_3407-5_0_5_load_144 | 153 | 0.0017742 | 0.00044466 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_3407-5_0_5_load_145 | 154 | 0.0012281 | 0.00030778 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_3407-5_0_5_load_147 | 155 | 0.0015664 | 0.00039257 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_3407-5_0_5_load_156 | 156 | 0.0027751 | 0.00069552 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_3407-5_0_5_load_157 | 157 | 0.0027764 | 0.00069582 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_3407-5_0_5_load_163 | 159 | 0.0044414 | 0.0011131 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_3407-5_0_5_load_178 | 160 | 0.004434 | 0.0011113 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_3407-5_0_5_load_169 | 161 | 0.0034561 | 0.00086619 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_3407-5_0_5_load_176 | 165 | 0.012525 | 0.0031391 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_3407-5_0_5_load_177 | 166 | 0.0098511 | 0.0024689 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 86 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3407-5_0_5_line_0 |  | 0 | 1 | 0.005101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3407-5_0_5_line_1 |  | 1 | 2 | 0.035321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3407-5_0_5_line_2 |  | 2 | 3 | 0.019199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3407-5_0_5_line_3 |  | 3 | 5 | 0.015043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3407-5_0_5_line_4 |  | 4 | 5 | 0.012442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3407-5_0_5_line_5 |  | 4 | 6 | 0.013588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3407-5_0_5_line_6 |  | 6 | 7 | 0.018853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3407-5_0_5_line_7 |  | 7 | 8 | 0.02379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3407-5_0_5_line_8 |  | 8 | 16 | 0.063004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3407-5_0_5_line_9 |  | 9 | 10 | 0.012688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3407-5_0_5_line_10 |  | 10 | 11 | 0.0036838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3407-5_0_5_line_11 |  | 11 | 30 | 0.016183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3407-5_0_5_line_12 |  | 12 | 13 | 0.019379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3407-5_0_5_line_13 |  | 13 | 46 | 0.022857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3407-5_0_5_line_14 |  | 13 | 47 | 0.016173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3407-5_0_5_line_15 |  | 14 | 15 | 0.0056766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3407-5_0_5_line_16 |  | 15 | 42 | 0.0048772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3407-5_0_5_line_17 |  | 16 | 17 | 0.010889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3407-5_0_5_line_18 |  | 17 | 21 | 0.022822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3407-5_0_5_line_19 |  | 18 | 19 | 0.010188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3407-5_0_5_line_20 |  | 18 | 20 | 0.022675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3407-5_0_5_line_21 |  | 19 | 22 | 0.01063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3407-5_0_5_line_22 |  | 20 | 23 | 0.023275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3407-5_0_5_line_23 |  | 21 | 24 | 0.012227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3407-5_0_5_line_24 |  | 22 | 25 | 0.020907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3407-5_0_5_line_25 |  | 22 | 26 | 0.0095175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3407-5_0_5_line_26 |  | 23 | 27 | 0.0024807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3407-5_0_5_line_27 |  | 24 | 28 | 0.036368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3407-5_0_5_line_28 |  | 26 | 162 | 0.015016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3407-5_0_5_line_29 |  | 27 | 161 | 0.016663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3407-5_0_5_line_30 |  | 28 | 158 | 0.0246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3407-5_0_5_line_31 |  | 29 | 30 | 0.022606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3407-5_0_5_line_32 |  | 29 | 31 | 0.02825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3407-5_0_5_line_33 |  | 31 | 32 | 0.0057813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3407-5_0_5_line_34 |  | 32 | 33 | 0.007657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3407-5_0_5_line_35 |  | 33 | 34 | 0.0043726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3407-5_0_5_line_36 |  | 34 | 35 | 0.013149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3407-5_0_5_line_37 |  | 35 | 70 | 0.009997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3407-5_0_5_line_38 |  | 36 | 37 | 0.019319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3407-5_0_5_line_39 |  | 37 | 44 | 0.017202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3407-5_0_5_line_40 |  | 37 | 43 | 0.0079565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3407-5_0_5_line_41 |  | 38 | 39 | 0.0050113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3407-5_0_5_line_42 |  | 39 | 50 | 0.0064419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3407-5_0_5_line_43 |  | 40 | 41 | 0.0063084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3407-5_0_5_line_44 |  | 40 | 42 | 0.0017188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3407-5_0_5_line_45 |  | 41 | 43 | 0.0082319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3407-5_0_5_line_46 |  | 44 | 45 | 0.00077024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3407-5_0_5_line_47 |  | 45 | 50 | 0.011711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3407-5_0_5_line_48 |  | 46 | 48 | 0.026624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3407-5_0_5_line_49 |  | 47 | 49 | 0.0031654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3407-5_0_5_line_50 |  | 48 | 54 | 0.0021602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3407-5_0_5_line_51 |  | 49 | 51 | 0.014241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3407-5_0_5_line_52 |  | 50 | 51 | 0.005465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3407-5_0_5_line_53 |  | 51 | 52 | 0.015585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3407-5_0_5_line_54 |  | 52 | 53 | 0.0016412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3407-5_0_5_line_55 |  | 53 | 55 | 0.0024493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3407-5_0_5_line_56 |  | 54 | 56 | 0.002081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3407-5_0_5_line_57 |  | 56 | 57 | 0.019783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3407-5_0_5_line_58 |  | 57 | 58 | 0.021858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3407-5_0_5_line_59 |  | 58 | 59 | 0.015552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3407-5_0_5_line_60 |  | 58 | 60 | 0.005672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3407-5_0_5_line_61 |  | 59 | 61 | 0.026565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3407-5_0_5_line_62 |  | 60 | 62 | 0.0071621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3407-5_0_5_line_63 |  | 61 | 64 | 0.035885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3407-5_0_5_line_64 |  | 62 | 63 | 0.019137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3407-5_0_5_line_65 |  | 64 | 65 | 0.010935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3407-5_0_5_line_66 |  | 64 | 66 | 0.016961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3407-5_0_5_line_67 |  | 65 | 67 | 0.0035266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3407-5_0_5_line_68 |  | 66 | 68 | 0.018982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3407-5_0_5_line_69 |  | 67 | 69 | 0.018871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3407-5_0_5_line_70 |  | 68 | 70 | 0.0010677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3407-5_0_5_line_71 |  | 69 | 71 | 0.0015244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3407-5_0_5_line_72 |  | 71 | 72 | 0.030012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3407-5_0_5_line_73 |  | 72 | 73 | 0.0025882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3407-5_0_5_line_74 |  | 73 | 74 | 0.019486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3407-5_0_5_line_75 |  | 74 | 75 | 0.019143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3407-5_0_5_line_76 |  | 75 | 76 | 0.012775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3407-5_0_5_line_77 |  | 76 | 108 | 0.027442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3407-5_0_5_line_78 |  | 76 | 90 | 0.008648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
79 | LV_3407-5_0_5_line_79 |  | 77 | 78 | 0.017001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3407-5_0_5_line_80 |  | 77 | 79 | 0.016073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3407-5_0_5_line_81 |  | 79 | 103 | 0.027344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3407-5_0_5_line_82 |  | 80 | 81 | 0.024787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3407-5_0_5_line_83 |  | 80 | 82 | 0.020878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3407-5_0_5_line_84 |  | 81 | 83 | 0.011945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3407-5_0_5_line_85 |  | 82 | 84 | 0.0037326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3407-5_0_5_line_86 |  | 83 | 85 | 0.00016994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3407-5_0_5_line_87 |  | 84 | 86 | 0.014922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3407-5_0_5_line_88 |  | 85 | 87 | 0.012108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3407-5_0_5_line_89 |  | 86 | 88 | 0.034501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
90 | LV_3407-5_0_5_line_90 |  | 87 | 89 | 0.0051616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3407-5_0_5_line_91 |  | 88 | 90 | 0.007813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
92 | LV_3407-5_0_5_line_92 |  | 88 | 91 | 0.0058439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
93 | LV_3407-5_0_5_line_93 |  | 89 | 92 | 0.0030498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3407-5_0_5_line_94 |  | 90 | 150 | 0.016421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3407-5_0_5_line_95 |  | 91 | 147 | 0.02216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
96 | LV_3407-5_0_5_line_96 |  | 92 | 93 | 0.010252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_3407-5_0_5_line_97 |  | 94 | 95 | 0.01979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_3407-5_0_5_line_98 |  | 95 | 96 | 0.038173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_3407-5_0_5_line_99 |  | 95 | 97 | 0.042997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_3407-5_0_5_line_100 |  | 96 | 100 | 0.0091463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_3407-5_0_5_line_101 |  | 98 | 99 | 0.018239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_3407-5_0_5_line_102 |  | 99 | 101 | 0.02163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_3407-5_0_5_line_103 |  | 100 | 102 | 0.019922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_3407-5_0_5_line_104 |  | 100 | 103 | 0.010162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_3407-5_0_5_line_105 |  | 101 | 104 | 0.013771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_3407-5_0_5_line_106 |  | 103 | 108 | 0.028735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_3407-5_0_5_line_107 |  | 104 | 137 | 0.0085147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_3407-5_0_5_line_108 |  | 105 | 106 | 0.030212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_3407-5_0_5_line_109 |  | 105 | 107 | 0.012965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_3407-5_0_5_line_110 |  | 106 | 117 | 0.03028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_3407-5_0_5_line_111 |  | 107 | 138 | 0.015984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_3407-5_0_5_line_112 |  | 109 | 110 | 0.019222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_3407-5_0_5_line_113 |  | 109 | 111 | 0.0094183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_3407-5_0_5_line_114 |  | 110 | 112 | 0.014901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_3407-5_0_5_line_115 |  | 111 | 113 | 0.010322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_3407-5_0_5_line_116 |  | 111 | 114 | 0.012015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_3407-5_0_5_line_117 |  | 112 | 115 | 0.009479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_3407-5_0_5_line_118 |  | 112 | 116 | 0.01608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_3407-5_0_5_line_119 |  | 113 | 117 | 0.012712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_3407-5_0_5_line_120 |  | 113 | 118 | 0.017215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_3407-5_0_5_line_121 |  | 114 | 119 | 0.023882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_3407-5_0_5_line_122 |  | 115 | 122 | 0.019471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_3407-5_0_5_line_123 |  | 117 | 126 | 0.013235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_3407-5_0_5_line_124 |  | 118 | 127 | 0.011306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_3407-5_0_5_line_125 |  | 119 | 128 | 0.020669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_3407-5_0_5_line_126 |  | 119 | 129 | 0.013155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_3407-5_0_5_line_127 |  | 120 | 121 | 0.025725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_3407-5_0_5_line_128 |  | 121 | 124 | 0.014118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
129 | LV_3407-5_0_5_line_129 |  | 121 | 130 | 0.0097511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
130 | LV_3407-5_0_5_line_130 |  | 122 | 131 | 0.013187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_3407-5_0_5_line_131 |  | 123 | 124 | 0.013684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
132 | LV_3407-5_0_5_line_132 |  | 123 | 125 | 0.008366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
133 | LV_3407-5_0_5_line_133 |  | 125 | 132 | 0.014467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_3407-5_0_5_line_134 |  | 125 | 133 | 0.015974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
135 | LV_3407-5_0_5_line_135 |  | 127 | 134 | 0.013667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_3407-5_0_5_line_136 |  | 127 | 135 | 0.004101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
137 | LV_3407-5_0_5_line_137 |  | 129 | 136 | 0.0095546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_3407-5_0_5_line_138 |  | 130 | 143 | 0.0063715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
139 | LV_3407-5_0_5_line_139 |  | 131 | 146 | 0.013001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_3407-5_0_5_line_140 |  | 132 | 148 | 0.011203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_3407-5_0_5_line_141 |  | 133 | 147 | 0.0050557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
142 | LV_3407-5_0_5_line_142 |  | 134 | 141 | 0.024053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_3407-5_0_5_line_143 |  | 134 | 139 | 0.014723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_3407-5_0_5_line_144 |  | 135 | 142 | 0.011119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
145 | LV_3407-5_0_5_line_145 |  | 136 | 144 | 0.0049662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_3407-5_0_5_line_146 |  | 137 | 138 | 0.010295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_3407-5_0_5_line_147 |  | 140 | 141 | 0.0022669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_3407-5_0_5_line_148 |  | 142 | 143 | 0.017192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
149 | LV_3407-5_0_5_line_149 |  | 144 | 145 | 0.010636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_3407-5_0_5_line_150 |  | 148 | 149 | 0.0022394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_3407-5_0_5_line_151 |  | 149 | 151 | 0.006529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_3407-5_0_5_line_152 |  | 150 | 153 | 0.0092436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_3407-5_0_5_line_153 |  | 151 | 159 | 0.026573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_3407-5_0_5_line_154 |  | 151 | 157 | 0.012809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_3407-5_0_5_line_155 |  | 152 | 153 | 0.0099708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_3407-5_0_5_line_156 |  | 152 | 154 | 0.0087129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_3407-5_0_5_line_157 |  | 154 | 155 | 0.0019628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_3407-5_0_5_line_158 |  | 156 | 157 | 0.0093473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
159 | LV_3407-5_0_5_line_159 |  | 156 | 158 | 0.027422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
160 | LV_3407-5_0_5_line_160 |  | 159 | 160 | 0.000258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
161 | LV_3407-5_0_5_line_161 |  | 160 | 161 | 0.0035725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
162 | LV_3407-5_0_5_line_162 |  | 162 | 163 | 0.015091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
163 | LV_3407-5_0_5_line_163 |  | 162 | 164 | 0.01443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
164 | LV_3407-5_0_5_line_164 |  | 163 | 165 | 0.029647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
165 | LV_3407-5_0_5_line_165 |  | 164 | 166 | 0.003599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3407-5_0_5_trafo_78 | 0.63 MVA 20/0.4 kV | 167 | 86 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2726904.8894 | 1254308.7584 | 2726905.6023 | 1254303.7075
1 | 2726904.8894 | 1254308.7584 | 2726901.4621 | 1254308.8072 | 2726894.8136 | 1254314.7812 | 2726884.5456 | 1254316.7407 | 2726873.6636 | 1254323.0577
2 | 2726873.6636 | 1254323.0577 | 2726880.7895 | 1254331.7736 | 2726888.1321 | 1254334.7973
3 | 2726902.0422 | 1254340.5255 | 2726888.1321 | 1254334.7973
4 | 2726912.0811 | 1254347.836 | 2726907.2537 | 1254343.8513 | 2726902.0422 | 1254340.5255 | 2726902.0422 | 1254340.5255
5 | 2726912.0811 | 1254347.836 | 2726910.3906 | 1254356.285 | 2726911.7888 | 1254361.0558
6 | 2726911.7888 | 1254361.0558 | 2726912.2471 | 1254362.6193 | 2726916.6662 | 1254371.9222 | 2726919.6349 | 1254378.1785
7 | 2726919.6349 | 1254378.1785 | 2726922.6374 | 1254384.5058 | 2726930.2184 | 1254399.4827
8 | 2726957.4729 | 1254456.2715 | 2726954.1318 | 1254448.4374 | 2726940.3028 | 1254419.4042 | 2726934.7136 | 1254408.3635 | 2726930.2184 | 1254399.4827
9 | 2727047.3413 | 1254342.9698 | 2727047.0937 | 1254342.8705 | 2727043.5697 | 1254341.4492 | 2727035.1841 | 1254339.4479
10 | 2727050.7604 | 1254344.341 | 2727047.3413 | 1254342.9698
11 | 2727065.8746 | 1254350.1197 | 2727056.499 | 1254346.6423 | 2727050.7604 | 1254344.341
12 | 2727083.9468 | 1254287.9458 | 2727075.2065 | 1254285.5339 | 2727070.5849 | 1254284.267 | 2727065.2972 | 1254282.6835
13 | 2727083.9468 | 1254287.9458 | 2727096.5796 | 1254291.4866 | 2727105.9487 | 1254294.1376
14 | 2727083.9468 | 1254287.9458 | 2727084.5583 | 1254297.4228 | 2727084.9921 | 1254304.0852
15 | 2727034.0259 | 1254293.064 | 2727036.5849 | 1254298.1311
16 | 2727038.7835 | 1254302.4847 | 2727036.5849 | 1254298.1311
17 | 2726957.4729 | 1254456.2715 | 2726960.5003 | 1254463.2537 | 2726962.0524 | 1254466.1418
18 | 2726962.0524 | 1254466.1418 | 2726969.6004 | 1254480.186 | 2726973.4486 | 1254485.8861
19 | 2727003.5098 | 1254458.6161 | 2727006.5326 | 1254449.2838 | 2727006.6481 | 1254448.9239
20 | 2727003.5098 | 1254458.6161 | 2727022.0571 | 1254471.6605
21 | 2727009.8969 | 1254438.8022 | 2727006.6481 | 1254448.9239
22 | 2727040.8369 | 1254485.4091 | 2727025.3818 | 1254473.9988 | 2727022.0571 | 1254471.6605
23 | 2726973.4486 | 1254485.8861 | 2726978.0263 | 1254492.6666 | 2726981.1747 | 1254495.2078
24 | 2726994.563 | 1254429.6208 | 2726993.2273 | 1254432.428 | 2727009.8969 | 1254438.8022
25 | 2727009.8969 | 1254438.8022 | 2727011.7588 | 1254434.6829 | 2727013.5099 | 1254430.0028
26 | 2727040.8369 | 1254485.4091 | 2727042.8326 | 1254486.8826
27 | 2727002.9578 | 1254523.0169 | 2726999.1378 | 1254512.5368 | 2726995.2807 | 1254506.5933 | 2726981.1747 | 1254495.2078
28 | 2727018.772 | 1254415.9389 | 2727013.5099 | 1254430.0028
29 | 2727056.2381 | 1254496.7797 | 2727042.8326 | 1254486.8826
30 | 2727002.9578 | 1254523.0169 | 2727015.5833 | 1254523.0099 | 2727027.5061 | 1254521.2863
31 | 2727087.0692 | 1254357.9809 | 2727065.8746 | 1254350.1197
32 | 2727087.0692 | 1254357.9809 | 2727097.7456 | 1254361.9408 | 2727113.8038 | 1254367.0891
33 | 2727119.3091 | 1254368.8541 | 2727113.8038 | 1254367.0891
34 | 2727119.3091 | 1254368.8541 | 2727126.7184 | 1254370.7858
35 | 2727130.9496 | 1254371.8889 | 2727126.7184 | 1254370.7858
36 | 2727130.9496 | 1254371.8889 | 2727133.9057 | 1254372.6596 | 2727143.9001 | 1254374.0753
37 | 2727143.9001 | 1254374.0753 | 2727153.7983 | 1254375.4774
38 | 2727051.1563 | 1254318.5027 | 2727051.4725 | 1254328.7297 | 2727052.3677 | 1254332.0296 | 2727055.0613 | 1254334.167 | 2727057.1322 | 1254334.9932
39 | 2727051.1563 | 1254318.5027 | 2727066.7599 | 1254318.6487 | 2727068.3411 | 1254318.8783
40 | 2727051.1563 | 1254318.5027 | 2727050.9315 | 1254311.0469 | 2727050.6195 | 1254310.6596
41 | 2727081.0567 | 1254332.119 | 2727080.8977 | 1254327.1102
42 | 2727080.6932 | 1254320.6716 | 2727080.8977 | 1254327.1102
43 | 2727039.5584 | 1254304.0189 | 2727044.8155 | 1254303.4534 | 2727045.4559 | 1254304.2485
44 | 2727039.5584 | 1254304.0189 | 2727039.5584 | 1254304.0189 | 2727038.7835 | 1254302.4847
45 | 2727045.4559 | 1254304.2485 | 2727050.6195 | 1254310.6596
46 | 2727069.1034 | 1254318.9889 | 2727068.3411 | 1254318.8783
47 | 2727080.6932 | 1254320.6716 | 2727069.1034 | 1254318.9889
48 | 2727105.9487 | 1254294.1376 | 2727124.9493 | 1254299.5137 | 2727131.7003 | 1254300.8254
49 | 2727084.9921 | 1254304.0852 | 2727085.1978 | 1254307.244
50 | 2727131.7003 | 1254300.8254 | 2727133.8208 | 1254301.2375
51 | 2727086.1176 | 1254321.4554 | 2727085.6366 | 1254313.9829 | 2727085.1978 | 1254307.244
52 | 2727086.1176 | 1254321.4554 | 2727080.6932 | 1254320.6716
53 | 2727086.1176 | 1254321.4554 | 2727101.6907 | 1254320.8561
54 | 2727101.6907 | 1254320.8561 | 2727103.3307 | 1254320.793
55 | 2727105.7782 | 1254320.6988 | 2727103.3307 | 1254320.793
56 | 2727135.8636 | 1254301.6344 | 2727133.8208 | 1254301.2375
57 | 2727135.8636 | 1254301.6344 | 2727146.1204 | 1254303.6273 | 2727152.7566 | 1254304.9154 | 2727155.2816 | 1254305.4145 | 2727155.2816 | 1254305.4145
58 | 2727177.137 | 1254305.7729 | 2727155.2816 | 1254305.4145
59 | 2727177.137 | 1254305.7729 | 2727179.1414 | 1254312.5886 | 2727183.1213 | 1254320.0401
60 | 2727177.137 | 1254305.7729 | 2727177.1382 | 1254300.1012
61 | 2727183.1213 | 1254320.0401 | 2727183.2694 | 1254320.3175 | 2727188.1633 | 1254330.6873 | 2727191.133 | 1254340.6933 | 2727191.7226 | 1254344.9998
62 | 2727177.1382 | 1254300.1012 | 2727177.1437 | 1254292.9392
63 | 2727190.4303 | 1254380.7582 | 2727190.8226 | 1254375.8511 | 2727191.0229 | 1254373.5534 | 2727191.5261 | 1254367.3476 | 2727192.366 | 1254359.1695 | 2727192.2875 | 1254349.1255 | 2727191.7226 | 1254344.9998
64 | 2727177.723 | 1254273.8929 | 2727176.9322 | 1254277.3767 | 2727177.1475 | 1254288.0797 | 2727177.1437 | 1254292.9392
65 | 2727190.4303 | 1254380.7582 | 2727190.0937 | 1254383.4311 | 2727189.3866 | 1254388.943 | 2727189.0426 | 1254391.6046
66 | 2727190.4303 | 1254380.7582 | 2727173.6439 | 1254378.3305
67 | 2727189.0426 | 1254391.6046 | 2727188.5855 | 1254395.1014
68 | 2727154.8554 | 1254375.6271 | 2727158.5237 | 1254376.1468 | 2727173.089 | 1254378.2502 | 2727173.6439 | 1254378.3305
69 | 2727188.5855 | 1254395.1014 | 2727186.3331 | 1254412.3315 | 2727186.115 | 1254413.8096
70 | 2727154.8554 | 1254375.6271 | 2727153.7983 | 1254375.4774
71 | 2727185.8925 | 1254415.3177 | 2727186.115 | 1254413.8096
72 | 2727185.8925 | 1254415.3177 | 2727184.1512 | 1254427.12 | 2727179.3992 | 1254444.5667
73 | 2727179.1843 | 1254447.1461 | 2727179.3992 | 1254444.5667 | 2727179.3992 | 1254444.5667
74 | 2727180.1345 | 1254466.5354 | 2727178.6974 | 1254452.9925 | 2727179.1843 | 1254447.1461
75 | 2727180.1345 | 1254466.5354 | 2727167.4042 | 1254473.1679 | 2727163.3082 | 1254475.6478
76 | 2727152.3796 | 1254482.2645 | 2727163.3082 | 1254475.6478
77 | 2727152.3796 | 1254482.2645 | 2727170.9983 | 1254495.5538 | 2727175.2973 | 1254497.095
78 | 2727145.0726 | 1254486.9229 | 2727152.3796 | 1254482.2645
79 | 2727216.4799 | 1254465.793 | 2727231.7226 | 1254473.3234
80 | 2727216.4799 | 1254465.793 | 2727214.9783 | 1254472.4556 | 2727211.7872 | 1254481.1301
81 | 2727202.3467 | 1254506.7925 | 2727211.7872 | 1254481.1301
82 | 2727120.9152 | 1254439.529 | 2727113.928 | 1254437.3771 | 2727097.2275 | 1254432.2285
83 | 2727120.9152 | 1254439.529 | 2727120.9152 | 1254439.529 | 2727112.2851 | 1254458.3494 | 2727112.2001 | 1254458.5002
84 | 2727085.8128 | 1254428.7094 | 2727097.2275 | 1254432.2285
85 | 2727112.2001 | 1254458.5002 | 2727110.3681 | 1254461.7523
86 | 2727085.8128 | 1254428.7094 | 2727085.6504 | 1254428.6594
87 | 2727107.9955 | 1254475.0054 | 2727105.7731 | 1254469.9087 | 2727110.3681 | 1254461.7523
88 | 2727085.6504 | 1254428.6594 | 2727078.2946 | 1254426.3916 | 2727076.3938 | 1254422.4117
89 | 2727138.4695 | 1254491.1293 | 2727129.7683 | 1254485.8601 | 2727107.9955 | 1254475.0054
90 | 2727074.1694 | 1254417.7541 | 2727076.3938 | 1254422.4117
91 | 2727145.0726 | 1254486.9229 | 2727138.4695 | 1254491.1293
92 | 2727138.4695 | 1254491.1293 | 2727133.6979 | 1254494.5032
93 | 2727074.1694 | 1254417.7541 | 2727072.855 | 1254415.002
94 | 2727145.0726 | 1254486.9229 | 2727151.6517 | 1254498.2297 | 2727154.2749 | 1254500.2962
95 | 2727118.2464 | 1254510.2367 | 2727124.5443 | 1254502.4516 | 2727130.8984 | 1254496.4827 | 2727133.6979 | 1254494.5032
96 | 2727068.4366 | 1254405.7507 | 2727072.855 | 1254415.002
97 | 2727256.2376 | 1254526.7568 | 2727261.5232 | 1254529.0724 | 2727273.8467 | 1254535.756
98 | 2727256.2376 | 1254526.7568 | 2727241.2257 | 1254520.1728 | 2727220.6292 | 1254513.0884
99 | 2727226.7567 | 1254538.178 | 2727248.2201 | 1254545.5011 | 2727256.2376 | 1254526.7568
100 | 2727211.9802 | 1254510.1135 | 2727220.6292 | 1254513.0884
101 | 2727271.2356 | 1254608.3737 | 2727276.7992 | 1254591.0036
102 | 2727271.2356 | 1254608.3737 | 2727250.9463 | 1254600.8769
103 | 2727211.9802 | 1254510.1135 | 2727205.7695 | 1254529.0429
104 | 2727211.9802 | 1254510.1135 | 2727202.3467 | 1254506.7925
105 | 2727250.9463 | 1254600.8769 | 2727238.0292 | 1254596.104
106 | 2727202.3467 | 1254506.7925 | 2727175.2973 | 1254497.095
107 | 2727230.0423 | 1254593.1529 | 2727238.0292 | 1254596.104
108 | 2727213.6553 | 1254628.777 | 2727187.7769 | 1254613.1859
109 | 2727213.6553 | 1254628.777 | 2727219.3815 | 1254617.1454
110 | 2727159.7532 | 1254601.9957 | 2727167.0146 | 1254604.0201 | 2727179.6697 | 1254608.9517 | 2727184.2727 | 1254611.0747 | 2727187.7769 | 1254613.1859
111 | 2727226.3118 | 1254602.7479 | 2727225.7364 | 1254604.2369 | 2727219.3815 | 1254617.1454
112 | 2727109.7158 | 1254588.8544 | 2727128.3603 | 1254593.5317
113 | 2727137.4955 | 1254595.8235 | 2727128.3603 | 1254593.5317
114 | 2727109.7158 | 1254588.8544 | 2727105.6699 | 1254587.8444 | 2727095.2216 | 1254585.2179
115 | 2727147.4649 | 1254598.6066 | 2727137.4955 | 1254595.8235
116 | 2727137.4955 | 1254595.8235 | 2727134.3291 | 1254607.4137
117 | 2727095.2216 | 1254585.2179 | 2727097.2242 | 1254575.9527
118 | 2727095.2216 | 1254585.2179 | 2727089.6454 | 1254600.3005 | 2727089.6454 | 1254600.3005
119 | 2727147.4649 | 1254598.6066 | 2727149.5509 | 1254599.163 | 2727159.7532 | 1254601.9957
120 | 2727147.4649 | 1254598.6066 | 2727152.8089 | 1254582.242
121 | 2727128.0354 | 1254630.4512 | 2727134.3291 | 1254607.4137
122 | 2727097.2242 | 1254575.9527 | 2727089.8435 | 1254574.5597 | 2727078.1002 | 1254572.2914
123 | 2727159.7532 | 1254601.9957 | 2727157.0286 | 1254614.9469
124 | 2727156.3184 | 1254571.4949 | 2727152.8089 | 1254582.242
125 | 2727128.0354 | 1254630.4512 | 2727147.9201 | 1254636.0912
126 | 2727128.0354 | 1254630.4512 | 2727127.4208 | 1254643.5914
127 | 2727134.3959 | 1254543.0435 | 2727129.3925 | 1254561.6637 | 2727123.1562 | 1254560.0395
128 | 2727134.3959 | 1254543.0435 | 2727120.5908 | 1254540.087
129 | 2727134.3959 | 1254543.0435 | 2727143.9324 | 1254545.0779
130 | 2727078.1002 | 1254572.2914 | 2727065.1526 | 1254569.7904
131 | 2727107.2101 | 1254537.2215 | 2727120.5908 | 1254540.087
132 | 2727107.2101 | 1254537.2215 | 2727109.2784 | 1254529.1142
133 | 2727109.2784 | 1254529.1142 | 2727098.2687 | 1254524.8631 | 2727095.8497 | 1254523.745
134 | 2727109.2784 | 1254529.1142 | 2727110.7558 | 1254524.275 | 2727112.6822 | 1254519.6122 | 2727115.5345 | 1254514.4832
135 | 2727156.3184 | 1254571.4949 | 2727168.7284 | 1254577.2998
136 | 2727156.3184 | 1254571.4949 | 2727157.5945 | 1254567.5966
137 | 2727126.9744 | 1254653.1355 | 2727127.4208 | 1254643.5914
138 | 2727150.1637 | 1254546.4072 | 2727143.9324 | 1254545.0779
139 | 2727052.4084 | 1254567.2253 | 2727055.3182 | 1254567.8908 | 2727065.1526 | 1254569.7904
140 | 2727085.4589 | 1254519.6784 | 2727088.8311 | 1254520.5012 | 2727095.8497 | 1254523.745
141 | 2727118.2464 | 1254510.2367 | 2727117.1252 | 1254511.6227 | 2727115.5345 | 1254514.4832
142 | 2727168.7284 | 1254577.2998 | 2727175.1056 | 1254554.105
143 | 2727168.7284 | 1254577.2998 | 2727182.0666 | 1254583.5326
144 | 2727157.5945 | 1254567.5966 | 2727147.7478 | 1254562.4309
145 | 2727126.9744 | 1254653.1355 | 2727126.7424 | 1254658.0963
146 | 2727226.3118 | 1254602.7479 | 2727230.0423 | 1254593.1529
147 | 2727175.1056 | 1254554.105 | 2727177.3444 | 1254554.4605
148 | 2727150.1637 | 1254546.4072 | 2727146.5204 | 1254561.787 | 2727147.7478 | 1254562.4309
149 | 2727126.7424 | 1254658.0963 | 2727126.2455 | 1254668.7202
150 | 2727083.2833 | 1254519.1476 | 2727085.4589 | 1254519.6784
151 | 2727083.2833 | 1254519.1476 | 2727076.8496 | 1254517.9307
152 | 2727154.2749 | 1254500.2962 | 2727161.5362 | 1254506.0163
153 | 2727076.8496 | 1254517.9307 | 2727075.3146 | 1254512.4484 | 2727064.5244 | 1254502.8974 | 2727059.3197 | 1254499.0548
154 | 2727076.8496 | 1254517.9307 | 2727064.0455 | 1254517.5899
155 | 2727161.5362 | 1254506.0163 | 2727163.7701 | 1254507.7761 | 2727170.2565 | 1254510.7292
156 | 2727178.1862 | 1254514.3395 | 2727170.2565 | 1254510.7292
157 | 2727179.9726 | 1254515.1528 | 2727178.1862 | 1254514.3395
158 | 2727064.0455 | 1254517.5899 | 2727061.7198 | 1254517.5279 | 2727054.7265 | 1254518.1496
159 | 2727027.5061 | 1254521.2863 | 2727035.6193 | 1254519.8479 | 2727054.7265 | 1254518.1496
160 | 2727059.3197 | 1254499.0548 | 2727059.1122 | 1254498.9016
161 | 2727056.2381 | 1254496.7797 | 2727059.1122 | 1254498.9016
162 | 2727009.88 | 1254403.7263 | 2727018.772 | 1254415.9389
163 | 2727029.7816 | 1254410.7149 | 2727028.0468 | 1254415.5931 | 2727018.772 | 1254415.9389
164 | 2726985.5749 | 1254391.6389 | 2726985.0646 | 1254395.0198 | 2727009.88 | 1254403.7263
165 | 2727029.7816 | 1254410.7149 | 2727030.9639 | 1254407.315

## bus_geodata
| x | y | coords
0 | 2726905.6023 | 1254303.7075
1 | 2726904.8894 | 1254308.7584
2 | 2726873.6636 | 1254323.0577
3 | 2726888.1321 | 1254334.7973
4 | 2726912.0811 | 1254347.836
5 | 2726902.0422 | 1254340.5255
6 | 2726911.7888 | 1254361.0558
7 | 2726919.6349 | 1254378.1785
8 | 2726930.2184 | 1254399.4827
9 | 2727035.1841 | 1254339.4479
10 | 2727047.3413 | 1254342.9698
11 | 2727050.7604 | 1254344.3409
12 | 2727065.2972 | 1254282.6835
13 | 2727083.9468 | 1254287.9458
14 | 2727034.0259 | 1254293.064
15 | 2727036.5849 | 1254298.1311
16 | 2726957.4729 | 1254456.2715
17 | 2726962.0524 | 1254466.1418
18 | 2727003.5098 | 1254458.6161
19 | 2727006.6481 | 1254448.9239
20 | 2727022.0571 | 1254471.6605
21 | 2726973.4486 | 1254485.8861
22 | 2727009.8969 | 1254438.8022
23 | 2727040.8369 | 1254485.4091
24 | 2726981.1747 | 1254495.2078
25 | 2726994.563 | 1254429.6208
26 | 2727013.5099 | 1254430.0028
27 | 2727042.8326 | 1254486.8826
28 | 2727002.9578 | 1254523.0169
29 | 2727087.0692 | 1254357.9809
30 | 2727065.8746 | 1254350.1197
31 | 2727113.8038 | 1254367.0891
32 | 2727119.3091 | 1254368.8541
33 | 2727126.7184 | 1254370.7858
34 | 2727130.9496 | 1254371.8889
35 | 2727143.9001 | 1254374.0753
36 | 2727057.1322 | 1254334.9932
37 | 2727051.1563 | 1254318.5027
38 | 2727081.0567 | 1254332.119
39 | 2727080.8977 | 1254327.1102
40 | 2727039.5584 | 1254304.0189
41 | 2727045.4559 | 1254304.2485
42 | 2727038.7835 | 1254302.4847
43 | 2727050.6195 | 1254310.6596
44 | 2727068.3411 | 1254318.8783
45 | 2727069.1034 | 1254318.9889
46 | 2727105.9487 | 1254294.1376
47 | 2727084.9921 | 1254304.0852
48 | 2727131.7003 | 1254300.8254
49 | 2727085.1978 | 1254307.244
50 | 2727080.6932 | 1254320.6716
51 | 2727086.1176 | 1254321.4554
52 | 2727101.6907 | 1254320.8561
53 | 2727103.3307 | 1254320.793
54 | 2727133.8208 | 1254301.2375
55 | 2727105.7782 | 1254320.6988
56 | 2727135.8636 | 1254301.6344
57 | 2727155.2816 | 1254305.4145
58 | 2727177.137 | 1254305.7729
59 | 2727183.1213 | 1254320.0401
60 | 2727177.1382 | 1254300.1012
61 | 2727191.7226 | 1254344.9998
62 | 2727177.1437 | 1254292.9392
63 | 2727177.723 | 1254273.8929
64 | 2727190.4303 | 1254380.7582
65 | 2727189.0426 | 1254391.6046
66 | 2727173.6439 | 1254378.3305
67 | 2727188.5855 | 1254395.1014
68 | 2727154.8554 | 1254375.6271
69 | 2727186.115 | 1254413.8096
70 | 2727153.7983 | 1254375.4774
71 | 2727185.8925 | 1254415.3177
72 | 2727179.3992 | 1254444.5667
73 | 2727179.1843 | 1254447.1461
74 | 2727180.1345 | 1254466.5354
75 | 2727163.3082 | 1254475.6478
76 | 2727152.3796 | 1254482.2645
77 | 2727216.4799 | 1254465.793
78 | 2727231.7226 | 1254473.3234
79 | 2727211.7872 | 1254481.1301
80 | 2727120.9152 | 1254439.529
81 | 2727097.2275 | 1254432.2285
82 | 2727112.2001 | 1254458.5002
83 | 2727085.8128 | 1254428.7094
84 | 2727110.3681 | 1254461.7523
85 | 2727085.6504 | 1254428.6594
86 | 2727107.9955 | 1254475.0054
87 | 2727076.3938 | 1254422.4117
88 | 2727138.4695 | 1254491.1293
89 | 2727074.1694 | 1254417.7541
90 | 2727145.0726 | 1254486.9229
91 | 2727133.6979 | 1254494.5032
92 | 2727072.855 | 1254415.002
93 | 2727068.4366 | 1254405.7507
94 | 2727273.8467 | 1254535.756
95 | 2727256.2376 | 1254526.7568
96 | 2727220.6292 | 1254513.0884
97 | 2727226.7567 | 1254538.178
98 | 2727276.7992 | 1254591.0036
99 | 2727271.2356 | 1254608.3737
100 | 2727211.9802 | 1254510.1135
101 | 2727250.9463 | 1254600.8769
102 | 2727205.7695 | 1254529.0429
103 | 2727202.3467 | 1254506.7925
104 | 2727238.0292 | 1254596.104
105 | 2727213.6553 | 1254628.777
106 | 2727187.7769 | 1254613.1859
107 | 2727219.3815 | 1254617.1454
108 | 2727175.2973 | 1254497.095
109 | 2727128.3603 | 1254593.5317
110 | 2727109.7158 | 1254588.8544
111 | 2727137.4955 | 1254595.8235
112 | 2727095.2216 | 1254585.2179
113 | 2727147.4649 | 1254598.6066
114 | 2727134.3291 | 1254607.4137
115 | 2727097.2242 | 1254575.9527
116 | 2727089.6454 | 1254600.3005
117 | 2727159.7532 | 1254601.9957
118 | 2727152.8089 | 1254582.242
119 | 2727128.0354 | 1254630.4511
120 | 2727123.1562 | 1254560.0395
121 | 2727134.3959 | 1254543.0435
122 | 2727078.1002 | 1254572.2914
123 | 2727107.2101 | 1254537.2215
124 | 2727120.5908 | 1254540.087
125 | 2727109.2784 | 1254529.1142
126 | 2727157.0286 | 1254614.9469
127 | 2727156.3184 | 1254571.4949
128 | 2727147.9201 | 1254636.0912
129 | 2727127.4208 | 1254643.5914
130 | 2727143.9324 | 1254545.0779
131 | 2727065.1526 | 1254569.7904
132 | 2727095.8497 | 1254523.745
133 | 2727115.5345 | 1254514.4832
134 | 2727168.7284 | 1254577.2998
135 | 2727157.5945 | 1254567.5966
136 | 2727126.9744 | 1254653.1355
137 | 2727230.0423 | 1254593.1529
138 | 2727226.3118 | 1254602.7479
139 | 2727182.0666 | 1254583.5326
140 | 2727177.3444 | 1254554.4605
141 | 2727175.1056 | 1254554.105
142 | 2727147.7478 | 1254562.4309
143 | 2727150.1637 | 1254546.4072
144 | 2727126.7424 | 1254658.0963
145 | 2727126.2455 | 1254668.7202
146 | 2727052.4084 | 1254567.2254
147 | 2727118.2464 | 1254510.2367
148 | 2727085.4589 | 1254519.6784
149 | 2727083.2833 | 1254519.1476
150 | 2727154.2749 | 1254500.2962
151 | 2727076.8496 | 1254517.9307
152 | 2727170.2565 | 1254510.7292
153 | 2727161.5362 | 1254506.0163
154 | 2727178.1862 | 1254514.3395
155 | 2727179.9726 | 1254515.1528
156 | 2727054.7265 | 1254518.1496
157 | 2727064.0455 | 1254517.5899
158 | 2727027.5061 | 1254521.2863
159 | 2727059.3197 | 1254499.0548
160 | 2727059.1122 | 1254498.9016
161 | 2727056.2381 | 1254496.7797
162 | 2727018.772 | 1254415.9389
163 | 2727009.88 | 1254403.7263
164 | 2727029.7816 | 1254410.7149
165 | 2726985.5749 | 1254391.6389
166 | 2727030.9639 | 1254407.315
167 | 2727138.4695 | 1254491.1293

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1