## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3407-6_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3407-6_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3407-6_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3407-6_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3407-6_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3407-6_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3407-6_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_3407-6_0_5_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_3407-6_0_5_node_161 | 0.4 | n |  | TRUE
9 | bus_LV_3407-6_0_5_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_3407-6_0_5_node_168 | 0.4 | n |  | TRUE
11 | bus_LV_3407-6_0_5_node_165 | 0.4 | n |  | TRUE
12 | bus_LV_3407-6_0_5_node_166 | 0.4 | n |  | TRUE
13 | bus_LV_3407-6_0_5_node_144 | 0.4 | n |  | TRUE
14 | bus_LV_3407-6_0_5_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_3407-6_0_5_node_169 | 0.4 | n |  | TRUE
16 | bus_LV_3407-6_0_5_node_164 | 0.4 | n |  | TRUE
17 | bus_LV_3407-6_0_5_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_3407-6_0_5_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_3407-6_0_5_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_3407-6_0_5_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_3407-6_0_5_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_3407-6_0_5_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_3407-6_0_5_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_3407-6_0_5_node_135 | 0.4 | n |  | TRUE
25 | bus_LV_3407-6_0_5_node_136 | 0.4 | n |  | TRUE
26 | bus_LV_3407-6_0_5_node_45 | 0.4 | n |  | TRUE
27 | bus_LV_3407-6_0_5_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_3407-6_0_5_node_156 | 0.4 | n |  | TRUE
29 | bus_LV_3407-6_0_5_node_137 | 0.4 | n |  | TRUE
30 | bus_LV_3407-6_0_5_node_171 | 0.4 | n |  | TRUE
31 | bus_LV_3407-6_0_5_node_43 | 0.4 | n |  | TRUE
32 | bus_LV_3407-6_0_5_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_3407-6_0_5_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_3407-6_0_5_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_3407-6_0_5_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_3407-6_0_5_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_3407-6_0_5_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_3407-6_0_5_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_3407-6_0_5_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_3407-6_0_5_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_3407-6_0_5_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_3407-6_0_5_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_3407-6_0_5_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_3407-6_0_5_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_3407-6_0_5_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_3407-6_0_5_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_3407-6_0_5_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_3407-6_0_5_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_3407-6_0_5_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_3407-6_0_5_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_3407-6_0_5_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_3407-6_0_5_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_3407-6_0_5_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_3407-6_0_5_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_3407-6_0_5_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_3407-6_0_5_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_3407-6_0_5_node_77 | 0.4 | n |  | TRUE
58 | bus_LV_3407-6_0_5_node_78 | 0.4 | n |  | TRUE
59 | bus_LV_3407-6_0_5_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_3407-6_0_5_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_3407-6_0_5_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_3407-6_0_5_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_3407-6_0_5_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_3407-6_0_5_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_3407-6_0_5_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_3407-6_0_5_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_3407-6_0_5_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_3407-6_0_5_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_3407-6_0_5_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_3407-6_0_5_node_62 | 0.4 | n |  | TRUE
71 | bus_LV_3407-6_0_5_node_56 | 0.4 | n |  | TRUE
72 | bus_LV_3407-6_0_5_node_57 | 0.4 | n |  | TRUE
73 | bus_LV_3407-6_0_5_node_58 | 0.4 | n |  | TRUE
74 | bus_LV_3407-6_0_5_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_3407-6_0_5_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_3407-6_0_5_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_3407-6_0_5_node_66 | 0.4 | n |  | TRUE
78 | bus_LV_3407-6_0_5_node_64 | 0.4 | n |  | TRUE
79 | bus_LV_3407-6_0_5_node_63 | 0.4 | n |  | TRUE
80 | bus_LV_3407-6_0_5_node_75 | 0.4 | n |  | TRUE
81 | bus_LV_3407-6_0_5_node_74 | 0.4 | n |  | TRUE
82 | bus_LV_3407-6_0_5_node_65 | 0.4 | n |  | TRUE
83 | bus_LV_3407-6_0_5_node_76 | 0.4 | n |  | TRUE
84 | bus_LV_3407-6_0_5_node_72 | 0.4 | n |  | TRUE
85 | bus_LV_3407-6_0_5_node_69 | 0.4 | n |  | TRUE
86 | bus_LV_3407-6_0_5_node_70 | 0.4 | n |  | TRUE
87 | bus_LV_3407-6_0_5_node_71 | 0.4 | n |  | TRUE
88 | bus_LV_3407-6_0_5_node_73 | 0.4 | n |  | TRUE
89 | bus_LV_3407-6_0_5_node_79 | 0.4 | n |  | TRUE
90 | bus_LV_3407-6_0_5_node_80 | 0.4 | n |  | TRUE
91 | bus_LV_3407-6_0_5_node_82 | 0.4 | n |  | TRUE
92 | bus_LV_3407-6_0_5_node_83 | 0.4 | n |  | TRUE
93 | bus_LV_3407-6_0_5_node_84 | 0.4 | n |  | TRUE
94 | bus_LV_3407-6_0_5_node_85 | 0.4 | n |  | TRUE
95 | bus_LV_3407-6_0_5_node_86 | 0.4 | n |  | TRUE
96 | bus_LV_3407-6_0_5_node_88 | 0.4 | n |  | TRUE
97 | bus_LV_3407-6_0_5_node_95 | 0.4 | n |  | TRUE
98 | bus_LV_3407-6_0_5_node_87 | 0.4 | n |  | TRUE
99 | bus_LV_3407-6_0_5_node_97 | 0.4 | n |  | TRUE
100 | bus_LV_3407-6_0_5_node_93 | 0.4 | n |  | TRUE
101 | bus_LV_3407-6_0_5_node_91 | 0.4 | n |  | TRUE
102 | bus_LV_3407-6_0_5_node_129 | 0.4 | n |  | TRUE
103 | bus_LV_3407-6_0_5_node_130 | 0.4 | n |  | TRUE
104 | bus_LV_3407-6_0_5_node_116 | 0.4 | n |  | TRUE
105 | bus_LV_3407-6_0_5_node_114 | 0.4 | n |  | TRUE
106 | bus_LV_3407-6_0_5_node_94 | 0.4 | n |  | TRUE
107 | bus_LV_3407-6_0_5_node_96 | 0.4 | n |  | TRUE
108 | bus_LV_3407-6_0_5_node_98 | 0.4 | n |  | TRUE
109 | bus_LV_3407-6_0_5_node_99 | 0.4 | n |  | TRUE
110 | bus_LV_3407-6_0_5_node_100 | 0.4 | n |  | TRUE
111 | bus_LV_3407-6_0_5_node_127 | 0.4 | n |  | TRUE
112 | bus_LV_3407-6_0_5_node_101 | 0.4 | n |  | TRUE
113 | bus_LV_3407-6_0_5_node_128 | 0.4 | n |  | TRUE
114 | bus_LV_3407-6_0_5_node_106 | 0.4 | n |  | TRUE
115 | bus_LV_3407-6_0_5_node_103 | 0.4 | n |  | TRUE
116 | bus_LV_3407-6_0_5_node_102 | 0.4 | n |  | TRUE
117 | bus_LV_3407-6_0_5_node_109 | 0.4 | n |  | TRUE
118 | bus_LV_3407-6_0_5_node_110 | 0.4 | n |  | TRUE
119 | bus_LV_3407-6_0_5_node_132 | 0.4 | n |  | TRUE
120 | bus_LV_3407-6_0_5_node_104 | 0.4 | n |  | TRUE
121 | bus_LV_3407-6_0_5_node_126 | 0.4 | n |  | TRUE
122 | bus_LV_3407-6_0_5_node_108 | 0.4 | n |  | TRUE
123 | bus_LV_3407-6_0_5_node_107 | 0.4 | n |  | TRUE
124 | bus_LV_3407-6_0_5_node_111 | 0.4 | n |  | TRUE
125 | bus_LV_3407-6_0_5_node_147 | 0.4 | n |  | TRUE
126 | bus_LV_3407-6_0_5_node_140 | 0.4 | n |  | TRUE
127 | bus_LV_3407-6_0_5_node_143 | 0.4 | n |  | TRUE
128 | bus_LV_3407-6_0_5_node_138 | 0.4 | n |  | TRUE
129 | bus_LV_3407-6_0_5_node_133 | 0.4 | n |  | TRUE
130 | bus_LV_3407-6_0_5_node_149 | 0.4 | n |  | TRUE
131 | bus_LV_3407-6_0_5_node_124 | 0.4 | n |  | TRUE
132 | bus_LV_3407-6_0_5_node_112 | 0.4 | n |  | TRUE
133 | bus_LV_3407-6_0_5_node_115 | 0.4 | n |  | TRUE
134 | bus_LV_3407-6_0_5_node_117 | 0.4 | n |  | TRUE
135 | bus_LV_3407-6_0_5_node_131 | 0.4 | n |  | TRUE
136 | bus_LV_3407-6_0_5_node_118 | 0.4 | n |  | TRUE
137 | bus_LV_3407-6_0_5_node_120 | 0.4 | n |  | TRUE
138 | bus_LV_3407-6_0_5_node_119 | 0.4 | n |  | TRUE
139 | bus_LV_3407-6_0_5_node_121 | 0.4 | n |  | TRUE
140 | bus_LV_3407-6_0_5_node_122 | 0.4 | n |  | TRUE
141 | bus_LV_3407-6_0_5_node_123 | 0.4 | n |  | TRUE
142 | bus_LV_3407-6_0_5_node_125 | 0.4 | n |  | TRUE
143 | bus_LV_3407-6_0_5_node_134 | 0.4 | n |  | TRUE
144 | bus_LV_3407-6_0_5_node_146 | 0.4 | n |  | TRUE
145 | bus_LV_3407-6_0_5_node_141 | 0.4 | n |  | TRUE
146 | bus_LV_3407-6_0_5_node_154 | 0.4 | n |  | TRUE
147 | bus_LV_3407-6_0_5_node_152 | 0.4 | n |  | TRUE
148 | bus_LV_3407-6_0_5_node_139 | 0.4 | n |  | TRUE
149 | bus_LV_3407-6_0_5_node_142 | 0.4 | n |  | TRUE
150 | bus_LV_3407-6_0_5_node_145 | 0.4 | n |  | TRUE
151 | bus_LV_3407-6_0_5_node_157 | 0.4 | n |  | TRUE
152 | bus_LV_3407-6_0_5_node_153 | 0.4 | n |  | TRUE
153 | bus_LV_3407-6_0_5_node_159 | 0.4 | n |  | TRUE
154 | bus_LV_3407-6_0_5_node_148 | 0.4 | n |  | TRUE
155 | bus_LV_3407-6_0_5_node_150 | 0.4 | n |  | TRUE
156 | bus_LV_3407-6_0_5_node_151 | 0.4 | n |  | TRUE
157 | bus_LV_3407-6_0_5_node_155 | 0.4 | n |  | TRUE
158 | bus_LV_3407-6_0_5_node_158 | 0.4 | n |  | TRUE
159 | bus_LV_3407-6_0_5_node_160 | 0.4 | n |  | TRUE
160 | bus_LV_3407-6_0_5_node_167 | 0.4 | n |  | TRUE
161 | bus_LV_3407-6_0_5_node_162 | 0.4 | n |  | TRUE
162 | bus_LV_3407-6_0_5_node_163 | 0.4 | n |  | TRUE
163 | bus_MV_587_0_node_31 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3407-6_0_5_load_0 | 0 | 0.0082918 | 0.0020781 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3407-6_0_5_load_1 | 1 | 0.0014463 | 0.00036247 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3407-6_0_5_load_2 | 2 | 0.0060017 | 0.0015042 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3407-6_0_5_load_4 | 4 | 0.0015933 | 0.00039933 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3407-6_0_5_load_5 | 5 | 0.0016319 | 0.00040899 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3407-6_0_5_load_161 | 8 | 0.001488 | 0.00037294 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3407-6_0_5_load_165 | 11 | 0.0011896 | 0.00029813 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3407-6_0_5_load_144 | 13 | 0.0095263 | 0.0023875 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3407-6_0_5_load_169 | 15 | 0.0040748 | 0.0010212 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3407-6_0_5_load_164 | 16 | 0.001853 | 0.00046442 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3407-6_0_5_load_8 | 17 | 0.0021403 | 0.00053642 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3407-6_0_5_load_9 | 18 | 0.0018164 | 0.00045524 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3407-6_0_5_load_10 | 19 | 0.0090068 | 0.0022573 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3407-6_0_5_load_11 | 20 | 0.0017498 | 0.00043854 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3407-6_0_5_load_13 | 21 | 0.0018087 | 0.00045331 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3407-6_0_5_load_16 | 23 | 0.002503 | 0.00062732 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3407-6_0_5_load_45 | 26 | 0.0037999 | 0.00095235 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3407-6_0_5_load_17 | 27 | 0.0044104 | 0.0011053 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3407-6_0_5_load_137 | 29 | 0.0057824 | 0.0014492 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3407-6_0_5_load_171 | 30 | 0.014221 | 0.0035641 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3407-6_0_5_load_18 | 32 | 0.0026102 | 0.00065417 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3407-6_0_5_load_19 | 33 | 0.0021207 | 0.0005315 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3407-6_0_5_load_20 | 34 | 0.002545 | 0.00063783 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3407-6_0_5_load_21 | 35 | 0.0014208 | 0.00035608 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3407-6_0_5_load_24 | 36 | 0.0010705 | 0.00026829 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3407-6_0_5_load_25 | 37 | 0.0020506 | 0.00051392 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3407-6_0_5_load_26 | 38 | 0.0015492 | 0.00038828 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3407-6_0_5_load_27 | 39 | 0.0017082 | 0.00042811 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3407-6_0_5_load_28 | 40 | 0.0025759 | 0.00064558 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3407-6_0_5_load_29 | 41 | 0.0030748 | 0.00077061 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3407-6_0_5_load_30 | 42 | 0.0029373 | 0.00073616 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3407-6_0_5_load_31 | 43 | 0.0029178 | 0.00073127 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3407-6_0_5_load_32 | 44 | 0.0016882 | 0.00042309 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3407-6_0_5_load_33 | 45 | 0.0025505 | 0.00063922 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3407-6_0_5_load_34 | 46 | 0.0009251 | 0.00023185 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3407-6_0_5_load_35 | 47 | 0.0010058 | 0.00025209 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3407-6_0_5_load_36 | 48 | 0.0013169 | 0.00033004 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3407-6_0_5_load_37 | 49 | 0.0037483 | 0.00093941 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3407-6_0_5_load_38 | 50 | 0.00096814 | 0.00024264 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3407-6_0_5_load_39 | 51 | 0.00090758 | 0.00022746 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3407-6_0_5_load_40 | 52 | 0.0023951 | 0.00060026 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3407-6_0_5_load_41 | 53 | 0.0015813 | 0.00039632 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3407-6_0_5_load_42 | 54 | 0.00083634 | 0.00020961 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3407-6_0_5_load_44 | 55 | 0.0030999 | 0.00077691 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3407-6_0_5_load_46 | 56 | 0.0023612 | 0.00059178 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3407-6_0_5_load_77 | 57 | 0.001822 | 0.00045663 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3407-6_0_5_load_78 | 58 | 0.0023099 | 0.00057891 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3407-6_0_5_load_47 | 59 | 0.0020963 | 0.00052539 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3407-6_0_5_load_48 | 60 | 0.0020916 | 0.0005242 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3407-6_0_5_load_50 | 62 | 0.002088 | 0.0005233 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3407-6_0_5_load_51 | 63 | 0.0020994 | 0.00052616 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3407-6_0_5_load_52 | 64 | 0.0020871 | 0.00052306 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3407-6_0_5_load_54 | 66 | 0.0020831 | 0.00052208 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3407-6_0_5_load_60 | 67 | 0.0020825 | 0.00052192 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3407-6_0_5_load_61 | 68 | 0.01372 | 0.0034385 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3407-6_0_5_load_55 | 69 | 0.0020822 | 0.00052184 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3407-6_0_5_load_62 | 70 | 0.0020705 | 0.00051891 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3407-6_0_5_load_56 | 71 | 0.0020771 | 0.00052057 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3407-6_0_5_load_57 | 72 | 0.0020765 | 0.00052041 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3407-6_0_5_load_58 | 73 | 0.0019935 | 0.00049961 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3407-6_0_5_load_59 | 74 | 0.002011 | 0.00050401 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3407-6_0_5_load_68 | 76 | 0.0051518 | 0.0012912 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3407-6_0_5_load_66 | 77 | 0.0020231 | 0.00050704 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3407-6_0_5_load_64 | 78 | 0.0020536 | 0.00051468 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3407-6_0_5_load_75 | 80 | 0.003544 | 0.0008882 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3407-6_0_5_load_74 | 81 | 0.010596 | 0.0026557 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3407-6_0_5_load_65 | 82 | 0.0025181 | 0.0006311 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3407-6_0_5_load_72 | 84 | 0.011975 | 0.0030012 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3407-6_0_5_load_70 | 86 | 0.0035735 | 0.0008956 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3407-6_0_5_load_71 | 87 | 0.0072521 | 0.0018176 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3407-6_0_5_load_73 | 88 | 0.004935 | 0.0012368 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3407-6_0_5_load_79 | 89 | 0.0022165 | 0.0005555 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3407-6_0_5_load_80 | 90 | 0.001959 | 0.00049098 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3407-6_0_5_load_82 | 91 | 0.0019142 | 0.00047975 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3407-6_0_5_load_85 | 94 | 0.013171 | 0.0033009 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3407-6_0_5_load_86 | 95 | 0.002074 | 0.00051979 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3407-6_0_5_load_88 | 96 | 0.0037621 | 0.00094288 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3407-6_0_5_load_87 | 98 | 0.00433 | 0.0010852 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3407-6_0_5_load_97 | 99 | 0.010289 | 0.0025787 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3407-6_0_5_load_93 | 100 | 0.011895 | 0.0029812 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3407-6_0_5_load_91 | 101 | 0.0074168 | 0.0018588 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3407-6_0_5_load_129 | 102 | 0.0010545 | 0.00026429 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3407-6_0_5_load_116 | 104 | 0.0017986 | 0.00045078 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3407-6_0_5_load_94 | 106 | 0.0050881 | 0.0012752 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_3407-6_0_5_load_96 | 107 | 0.0030357 | 0.00076081 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_3407-6_0_5_load_98 | 108 | 0.0081309 | 0.0020378 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_3407-6_0_5_load_99 | 109 | 0.0032418 | 0.00081248 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_3407-6_0_5_load_127 | 111 | 0.013362 | 0.0033488 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_3407-6_0_5_load_128 | 113 | 0.0030642 | 0.00076797 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_3407-6_0_5_load_106 | 114 | 0.0057015 | 0.0014289 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_3407-6_0_5_load_103 | 115 | 0.0035203 | 0.00088226 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_3407-6_0_5_load_110 | 118 | 0.0056976 | 0.001428 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_3407-6_0_5_load_132 | 119 | 0.0021455 | 0.00053772 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_3407-6_0_5_load_104 | 120 | 0.0025639 | 0.00064257 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_3407-6_0_5_load_111 | 124 | 0.013745 | 0.0034447 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_3407-6_0_5_load_147 | 125 | 0.053335 | 0.013367 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_3407-6_0_5_load_143 | 127 | 0.026031 | 0.0065239 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_3407-6_0_5_load_133 | 129 | 0.0070742 | 0.001773 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_3407-6_0_5_load_112 | 132 | 0.0014223 | 0.00035646 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_3407-6_0_5_load_115 | 133 | 0.0021064 | 0.00052792 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_3407-6_0_5_load_117 | 134 | 0.00075332 | 0.0001888 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_3407-6_0_5_load_118 | 136 | 0.0086138 | 0.0021588 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_3407-6_0_5_load_119 | 138 | 0.0024433 | 0.00061236 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_3407-6_0_5_load_121 | 139 | 0.0058186 | 0.0014583 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_3407-6_0_5_load_122 | 140 | 0.00083936 | 0.00021036 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_3407-6_0_5_load_134 | 143 | 0.0019268 | 0.00048291 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_3407-6_0_5_load_152 | 147 | 0.012372 | 0.0031008 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_3407-6_0_5_load_142 | 149 | 0.013663 | 0.0034243 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_3407-6_0_5_load_157 | 151 | 0.016379 | 0.0041049 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_3407-6_0_5_load_159 | 153 | 0.0014679 | 0.0003679 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_3407-6_0_5_load_148 | 154 | 0.019813 | 0.0049657 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_3407-6_0_5_load_155 | 157 | 0.010811 | 0.0027095 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_3407-6_0_5_load_158 | 158 | 0.016574 | 0.0041539 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_3407-6_0_5_load_160 | 159 | 0.0034221 | 0.00085766 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_3407-6_0_5_load_167 | 160 | 0.0034737 | 0.00087058 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_3407-6_0_5_load_162 | 161 | 0.0012257 | 0.00030719 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_3407-6_0_5_load_163 | 162 | 0.0017286 | 0.00043323 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 56 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3407-6_0_5_line_0 |  | 0 | 1 | 0.034913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3407-6_0_5_line_1 |  | 0 | 2 | 0.0045474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3407-6_0_5_line_2 |  | 1 | 3 | 0.072629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3407-6_0_5_line_3 |  | 3 | 4 | 0.018677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3407-6_0_5_line_4 |  | 3 | 5 | 0.0075204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3407-6_0_5_line_5 |  | 4 | 6 | 0.039526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3407-6_0_5_line_6 |  | 5 | 7 | 0.045787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3407-6_0_5_line_7 |  | 6 | 8 | 0.048988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3407-6_0_5_line_8 |  | 6 | 9 | 0.007939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3407-6_0_5_line_9 |  | 7 | 10 | 0.070528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3407-6_0_5_line_10 |  | 7 | 11 | 0.019427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3407-6_0_5_line_11 |  | 8 | 12 | 0.0099109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3407-6_0_5_line_12 |  | 9 | 13 | 0.010326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3407-6_0_5_line_13 |  | 9 | 14 | 0.027221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3407-6_0_5_line_14 |  | 10 | 15 | 0.02474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3407-6_0_5_line_15 |  | 11 | 16 | 0.00023619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3407-6_0_5_line_16 |  | 12 | 160 | 0.020852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3407-6_0_5_line_17 |  | 13 | 28 | 0.020592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3407-6_0_5_line_18 |  | 14 | 22 | 0.017608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3407-6_0_5_line_19 |  | 14 | 19 | 0.016088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3407-6_0_5_line_20 |  | 16 | 162 | 0.022817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3407-6_0_5_line_21 |  | 17 | 18 | 0.021072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3407-6_0_5_line_22 |  | 17 | 19 | 0.023899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3407-6_0_5_line_23 |  | 18 | 20 | 0.019987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3407-6_0_5_line_24 |  | 20 | 21 | 0.021513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3407-6_0_5_line_25 |  | 21 | 23 | 0.022526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3407-6_0_5_line_26 |  | 22 | 24 | 0.043416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_3407-6_0_5_line_27 |  | 22 | 25 | 0.016146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3407-6_0_5_line_28 |  | 22 | 26 | 0.011313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_3407-6_0_5_line_29 |  | 23 | 27 | 0.028427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3407-6_0_5_line_30 |  | 24 | 29 | 0.0020864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_3407-6_0_5_line_31 |  | 25 | 30 | 0.016294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3407-6_0_5_line_32 |  | 26 | 31 | 0.026568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_3407-6_0_5_line_33 |  | 27 | 32 | 0.027425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3407-6_0_5_line_34 |  | 28 | 153 | 0.042342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3407-6_0_5_line_35 |  | 29 | 128 | 0.024244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_3407-6_0_5_line_36 |  | 31 | 55 | 0.041952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_3407-6_0_5_line_37 |  | 31 | 54 | 0.010962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3407-6_0_5_line_38 |  | 32 | 33 | 0.02174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3407-6_0_5_line_39 |  | 33 | 34 | 0.021644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3407-6_0_5_line_40 |  | 34 | 35 | 0.024727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3407-6_0_5_line_41 |  | 36 | 37 | 0.021116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3407-6_0_5_line_42 |  | 37 | 38 | 0.013422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3407-6_0_5_line_43 |  | 38 | 39 | 0.0072323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3407-6_0_5_line_44 |  | 39 | 40 | 0.021472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3407-6_0_5_line_45 |  | 40 | 41 | 0.0064066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3407-6_0_5_line_46 |  | 41 | 42 | 0.015297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3407-6_0_5_line_47 |  | 42 | 43 | 0.0083483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3407-6_0_5_line_48 |  | 43 | 44 | 0.013893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3407-6_0_5_line_49 |  | 44 | 45 | 0.010731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3407-6_0_5_line_50 |  | 45 | 46 | 0.0087091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3407-6_0_5_line_51 |  | 46 | 47 | 0.017969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3407-6_0_5_line_52 |  | 47 | 48 | 0.01044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3407-6_0_5_line_53 |  | 48 | 49 | 0.01382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3407-6_0_5_line_54 |  | 49 | 50 | 0.0025359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3407-6_0_5_line_55 |  | 50 | 51 | 0.0076865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3407-6_0_5_line_56 |  | 51 | 52 | 0.0017719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3407-6_0_5_line_57 |  | 52 | 53 | 0.010374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3407-6_0_5_line_58 |  | 53 | 54 | 0.014812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3407-6_0_5_line_59 |  | 55 | 56 | 0.0056059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_3407-6_0_5_line_60 |  | 56 | 57 | 0.026565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3407-6_0_5_line_61 |  | 57 | 58 | 0.002708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3407-6_0_5_line_62 |  | 58 | 91 | 0.02341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3407-6_0_5_line_63 |  | 59 | 60 | 0.005616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3407-6_0_5_line_64 |  | 59 | 61 | 0.013873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3407-6_0_5_line_65 |  | 60 | 62 | 0.0056137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3407-6_0_5_line_66 |  | 61 | 63 | 0.023569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3407-6_0_5_line_67 |  | 62 | 64 | 0.0056167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3407-6_0_5_line_68 |  | 63 | 65 | 0.014948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3407-6_0_5_line_69 |  | 64 | 66 | 0.0056164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3407-6_0_5_line_70 |  | 65 | 67 | 0.015544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3407-6_0_5_line_71 |  | 65 | 68 | 0.0064995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3407-6_0_5_line_72 |  | 66 | 69 | 0.0056164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3407-6_0_5_line_73 |  | 67 | 70 | 0.0056412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3407-6_0_5_line_74 |  | 69 | 71 | 0.0056165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3407-6_0_5_line_75 |  | 70 | 78 | 0.0056417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3407-6_0_5_line_76 |  | 71 | 72 | 0.003891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3407-6_0_5_line_77 |  | 73 | 74 | 0.00014904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3407-6_0_5_line_78 |  | 74 | 75 | 0.013126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3407-6_0_5_line_79 |  | 75 | 76 | 0.024805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3407-6_0_5_line_80 |  | 75 | 77 | 0.015315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3407-6_0_5_line_81 |  | 76 | 85 | 0.010939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3407-6_0_5_line_82 |  | 77 | 82 | 0.0056153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3407-6_0_5_line_83 |  | 78 | 82 | 0.0056678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3407-6_0_5_line_84 |  | 79 | 80 | 0.0015265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3407-6_0_5_line_85 |  | 79 | 81 | 0.020845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3407-6_0_5_line_86 |  | 80 | 83 | 0.037186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3407-6_0_5_line_87 |  | 81 | 84 | 0.00079833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3407-6_0_5_line_88 |  | 83 | 89 | 0.02536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3407-6_0_5_line_89 |  | 83 | 90 | 0.014918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3407-6_0_5_line_90 |  | 84 | 86 | 0.028045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3407-6_0_5_line_91 |  | 85 | 86 | 0.0075237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3407-6_0_5_line_92 |  | 85 | 87 | 0.019929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3407-6_0_5_line_93 |  | 87 | 88 | 0.018273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3407-6_0_5_line_94 |  | 90 | 91 | 0.0033063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3407-6_0_5_line_95 |  | 92 | 93 | 0.014874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_3407-6_0_5_line_96 |  | 92 | 94 | 0.0038021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_3407-6_0_5_line_97 |  | 93 | 95 | 0.002688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_3407-6_0_5_line_98 |  | 94 | 96 | 0.02881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_3407-6_0_5_line_99 |  | 95 | 97 | 0.038723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_3407-6_0_5_line_100 |  | 96 | 98 | 0.011739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_3407-6_0_5_line_101 |  | 97 | 99 | 0.016451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_3407-6_0_5_line_102 |  | 97 | 100 | 0.0016239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_3407-6_0_5_line_103 |  | 99 | 109 | 0.019908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_3407-6_0_5_line_104 |  | 100 | 106 | 0.029364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_3407-6_0_5_line_105 |  | 101 | 102 | 0.043067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_3407-6_0_5_line_106 |  | 102 | 103 | 0.020875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_3407-6_0_5_line_107 |  | 103 | 135 | 0.014473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_3407-6_0_5_line_108 |  | 103 | 142 | 0.005656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_3407-6_0_5_line_109 |  | 104 | 105 | 0.040411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_3407-6_0_5_line_110 |  | 105 | 133 | 0.013201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_3407-6_0_5_line_111 |  | 105 | 132 | 0.015858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_3407-6_0_5_line_112 |  | 106 | 107 | 0.0014564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_3407-6_0_5_line_113 |  | 107 | 108 | 0.023841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_3407-6_0_5_line_114 |  | 108 | 110 | 0.009994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
115 | LV_3407-6_0_5_line_115 |  | 109 | 111 | 0.0050541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_3407-6_0_5_line_116 |  | 110 | 112 | 0.011653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
117 | LV_3407-6_0_5_line_117 |  | 111 | 113 | 0.017889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_3407-6_0_5_line_118 |  | 112 | 114 | 0.013363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
119 | LV_3407-6_0_5_line_119 |  | 112 | 115 | 0.0066307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_3407-6_0_5_line_120 |  | 113 | 142 | 0.01168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_3407-6_0_5_line_121 |  | 114 | 118 | 0.020475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
122 | LV_3407-6_0_5_line_122 |  | 115 | 120 | 0.013608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_3407-6_0_5_line_123 |  | 116 | 117 | 0.006541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
124 | LV_3407-6_0_5_line_124 |  | 116 | 118 | 0.023376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
125 | LV_3407-6_0_5_line_125 |  | 116 | 119 | 0.0046094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_3407-6_0_5_line_126 |  | 117 | 121 | 0.004555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_3407-6_0_5_line_127 |  | 117 | 122 | 0.03611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
128 | LV_3407-6_0_5_line_128 |  | 121 | 131 | 0.017429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_3407-6_0_5_line_129 |  | 122 | 125 | 0.038877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_3407-6_0_5_line_130 |  | 122 | 126 | 0.008409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
131 | LV_3407-6_0_5_line_131 |  | 122 | 123 | 0.024103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_3407-6_0_5_line_132 |  | 123 | 124 | 0.010534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_3407-6_0_5_line_133 |  | 126 | 127 | 0.077452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
134 | LV_3407-6_0_5_line_134 |  | 126 | 128 | 0.036986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
135 | LV_3407-6_0_5_line_135 |  | 127 | 150 | 0.03977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
136 | LV_3407-6_0_5_line_136 |  | 128 | 148 | 0.003279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_3407-6_0_5_line_137 |  | 129 | 130 | 0.022472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_3407-6_0_5_line_138 |  | 130 | 144 | 0.04968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_3407-6_0_5_line_139 |  | 131 | 139 | 0.027929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_3407-6_0_5_line_140 |  | 133 | 134 | 0.0079847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_3407-6_0_5_line_141 |  | 134 | 135 | 0.015166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_3407-6_0_5_line_142 |  | 136 | 137 | 0.039047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_3407-6_0_5_line_143 |  | 137 | 140 | 0.0097702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_3407-6_0_5_line_144 |  | 137 | 141 | 0.021057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_3407-6_0_5_line_145 |  | 138 | 139 | 0.0035408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_3407-6_0_5_line_146 |  | 140 | 142 | 0.032194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_3407-6_0_5_line_147 |  | 141 | 143 | 0.022532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_3407-6_0_5_line_148 |  | 144 | 154 | 0.021555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
149 | LV_3407-6_0_5_line_149 |  | 144 | 150 | 0.003429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
150 | LV_3407-6_0_5_line_150 |  | 145 | 146 | 0.015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_3407-6_0_5_line_151 |  | 145 | 147 | 0.014899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_3407-6_0_5_line_152 |  | 146 | 151 | 0.010374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_3407-6_0_5_line_153 |  | 146 | 152 | 0.042143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_3407-6_0_5_line_154 |  | 148 | 149 | 0.028756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_3407-6_0_5_line_155 |  | 152 | 157 | 0.029442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_3407-6_0_5_line_156 |  | 152 | 156 | 0.011498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_3407-6_0_5_line_157 |  | 153 | 159 | 0.026086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_3407-6_0_5_line_158 |  | 154 | 155 | 0.04437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
159 | LV_3407-6_0_5_line_159 |  | 155 | 156 | 0.076305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
160 | LV_3407-6_0_5_line_160 |  | 157 | 158 | 0.036706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
161 | LV_3407-6_0_5_line_161 |  | 161 | 162 | 0.00065207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3407-6_0_5_trafo_46 | 0.63 MVA 20/0.4 kV | 163 | 56 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2727316.2366 | 1254179.9648 | 2727350.8094 | 1254175.1043
1 | 2727311.7334 | 1254180.5979 | 2727316.2366 | 1254179.9648
2 | 2727422.7311 | 1254164.9931 | 2727350.8094 | 1254175.1043
3 | 2727422.7311 | 1254164.9931 | 2727430.8531 | 1254181.8119
4 | 2727422.7311 | 1254164.9931 | 2727420.5061 | 1254157.8093
5 | 2727451.4963 | 1254215.2899 | 2727444.2374 | 1254206.4703 | 2727438.1706 | 1254196.9647 | 2727430.8531 | 1254181.8119
6 | 2727408.6897 | 1254113.6455 | 2727411.4477 | 1254128.5625 | 2727420.5061 | 1254157.8093
7 | 2727451.4963 | 1254215.2899 | 2727479.2072 | 1254174.8923
8 | 2727456.9104 | 1254221.1116 | 2727451.4963 | 1254215.2899
9 | 2727408.6897 | 1254113.6455 | 2727399.8867 | 1254043.6719
10 | 2727408.6897 | 1254113.6455 | 2727414.8786 | 1254113.9789 | 2727427.9271 | 1254111.7989
11 | 2727484.8134 | 1254166.7194 | 2727479.2072 | 1254174.8923
12 | 2727456.9104 | 1254221.1116 | 2727464.733 | 1254227.8514
13 | 2727456.9104 | 1254221.1116 | 2727438.9376 | 1254241.5986
14 | 2727399.8867 | 1254043.6719 | 2727423.5904 | 1254036.5865
15 | 2727427.9271 | 1254111.7989 | 2727428.1601 | 1254111.76
16 | 2727476.2269 | 1254147.7066 | 2727484.8134 | 1254166.7194
17 | 2727481.208 | 1254240.1959 | 2727466.2833 | 1254229.1871 | 2727464.733 | 1254227.8514
18 | 2727428.0879 | 1254255.4886 | 2727438.9376 | 1254241.5986
19 | 2727438.9376 | 1254241.5986 | 2727433.1846 | 1254237.1486 | 2727430.5455 | 1254235.9908 | 2727427.9518 | 1254235.5235 | 2727424.6542 | 1254235.5081
20 | 2727450.6654 | 1254108.0001 | 2727428.1601 | 1254111.76
21 | 2727401.5764 | 1254241.7084 | 2727399.5734 | 1254242.2746 | 2727380.8102 | 1254245.2059
22 | 2727401.5764 | 1254241.7084 | 2727414.9268 | 1254237.9343 | 2727424.6542 | 1254235.5081
23 | 2727380.8102 | 1254245.2059 | 2727361.0624 | 1254248.291
24 | 2727361.0624 | 1254248.291 | 2727339.8075 | 1254251.6115
25 | 2727339.8075 | 1254251.6115 | 2727317.5519 | 1254255.0884
26 | 2727428.0879 | 1254255.4886 | 2727428.3615 | 1254262.4117 | 2727428.4533 | 1254267.2625 | 2727432.8199 | 1254298.5953
27 | 2727428.0879 | 1254255.4886 | 2727428.3615 | 1254262.4117 | 2727437.5542 | 1254263.0879
28 | 2727428.0879 | 1254255.4886 | 2727420.8262 | 1254264.1635
29 | 2727317.5519 | 1254255.0884 | 2727289.4652 | 1254259.4763
30 | 2727432.8199 | 1254298.5953 | 2727433.1073 | 1254300.6618
31 | 2727452.2957 | 1254260.8698 | 2727437.6044 | 1254261.4542 | 2727437.5542 | 1254263.0879
32 | 2727403.7729 | 1254284.5357 | 2727420.8262 | 1254264.1635
33 | 2727262.369 | 1254263.7094 | 2727289.4652 | 1254259.4763
34 | 2727481.208 | 1254240.1959 | 2727484.8801 | 1254235.7932 | 2727500.4543 | 1254214.8988 | 2727507.3498 | 1254206.9152
35 | 2727436.4468 | 1254324.6743 | 2727433.1073 | 1254300.6618
36 | 2727403.7729 | 1254284.5357 | 2727387.6467 | 1254303.7504 | 2727378.7105 | 1254318.0551
37 | 2727403.7729 | 1254284.5357 | 2727399.6643 | 1254281.5225 | 2727397.0009 | 1254279.7414 | 2727394.5319 | 1254278.743
38 | 2727262.369 | 1254263.7094 | 2727259.2955 | 1254264.1896 | 2727240.6933 | 1254265.2002
39 | 2727240.6933 | 1254265.2002 | 2727219.081 | 1254266.3744
40 | 2727219.081 | 1254266.3744 | 2727194.3906 | 1254267.7158
41 | 2727189.8091 | 1254299.6779 | 2727210.9137 | 1254298.9727
42 | 2727210.9137 | 1254298.9727 | 2727224.3283 | 1254298.5245
43 | 2727231.5567 | 1254298.283 | 2727224.3283 | 1254298.5245
44 | 2727231.5567 | 1254298.283 | 2727242.9637 | 1254297.9019 | 2727252.9763 | 1254296.943
45 | 2727252.9763 | 1254296.943 | 2727259.3538 | 1254296.3322
46 | 2727259.3538 | 1254296.3322 | 2727274.5812 | 1254294.8739
47 | 2727274.5812 | 1254294.8739 | 2727275.4897 | 1254294.7869 | 2727282.854 | 1254293.7593
48 | 2727282.854 | 1254293.7593 | 2727296.6132 | 1254291.8394
49 | 2727296.6132 | 1254291.8394 | 2727307.2415 | 1254290.3563
50 | 2727315.867 | 1254289.1527 | 2727307.2415 | 1254290.3563
51 | 2727315.867 | 1254289.1527 | 2727333.6641 | 1254286.6694
52 | 2727333.6641 | 1254286.6694 | 2727344.0039 | 1254285.2266
53 | 2727344.0039 | 1254285.2266 | 2727357.691 | 1254283.3167
54 | 2727360.2026 | 1254282.9663 | 2727357.691 | 1254283.3167
55 | 2727360.2026 | 1254282.9663 | 2727367.8153 | 1254281.904
56 | 2727367.8153 | 1254281.904 | 2727369.5702 | 1254281.6591
57 | 2727379.8442 | 1254280.2255 | 2727369.5702 | 1254281.6591
58 | 2727379.8442 | 1254280.2255 | 2727391.9099 | 1254278.5419 | 2727394.5319 | 1254278.743
59 | 2727378.7105 | 1254318.0551 | 2727375.7404 | 1254322.8096
60 | 2727361.6659 | 1254345.3397 | 2727375.7404 | 1254322.8096
61 | 2727361.6659 | 1254345.3397 | 2727360.3698 | 1254347.7174
62 | 2727349.1661 | 1254368.2721 | 2727360.3698 | 1254347.7174
63 | 2727226.2037 | 1254368.8153 | 2727225.839 | 1254363.2112
64 | 2727227.1043 | 1254382.6586 | 2727226.2037 | 1254368.8153
65 | 2727225.839 | 1254363.2112 | 2727225.4746 | 1254357.6093
66 | 2727227.1043 | 1254382.6586 | 2727250.6602 | 1254381.8653
67 | 2727225.4746 | 1254357.6093 | 2727225.1099 | 1254352.0045
68 | 2727265.5883 | 1254381.1062 | 2727252.9027 | 1254381.7898 | 2727250.6602 | 1254381.8653
69 | 2727225.1099 | 1254352.0045 | 2727224.7452 | 1254346.4
70 | 2727265.5883 | 1254381.1062 | 2727264.2131 | 1254365.6235
71 | 2727265.5883 | 1254381.1062 | 2727272.0723 | 1254380.6568
72 | 2727224.7452 | 1254346.4 | 2727224.3806 | 1254340.7954
73 | 2727264.2131 | 1254365.6235 | 2727263.7139 | 1254360.0044
74 | 2727224.3806 | 1254340.7954 | 2727224.0159 | 1254335.1907
75 | 2727263.7139 | 1254360.0044 | 2727263.2148 | 1254354.3848
76 | 2727224.0159 | 1254335.1907 | 2727223.7633 | 1254331.308
77 | 2727247.6293 | 1254327.0936 | 2727247.7782 | 1254327.0881
78 | 2727260.8614 | 1254327.8908 | 2727250.6475 | 1254326.9817 | 2727247.7782 | 1254327.0881
79 | 2727260.8614 | 1254327.8908 | 2727271.6782 | 1254326.7333 | 2727277.0221 | 1254324.5907 | 2727285.1729 | 1254324.0521
80 | 2727260.8614 | 1254327.8908 | 2727262.2164 | 1254343.1459
81 | 2727296.0963 | 1254323.7332 | 2727291.6233 | 1254323.6258 | 2727285.1729 | 1254324.0521
82 | 2727262.7133 | 1254348.7392 | 2727262.2164 | 1254343.1459
83 | 2727263.2148 | 1254354.3848 | 2727262.7133 | 1254348.7392
84 | 2727303.1819 | 1254378.5007 | 2727304.7077 | 1254378.4536
85 | 2727303.1819 | 1254378.5007 | 2727301.2262 | 1254357.7473
86 | 2727340.4442 | 1254384.2735 | 2727334.0289 | 1254380.4433 | 2727331.6215 | 1254379.3906 | 2727327.668 | 1254378.2935 | 2727322.5143 | 1254377.9046 | 2727304.7077 | 1254378.4536
87 | 2727301.1513 | 1254356.9525 | 2727301.2262 | 1254357.7473
88 | 2727340.4442 | 1254384.2735 | 2727335.0479 | 1254392.7094 | 2727329.3311 | 1254399.904 | 2727324.4841 | 1254403.7005
89 | 2727340.4442 | 1254384.2735 | 2727347.5837 | 1254371.1751
90 | 2727296.7199 | 1254331.231 | 2727300.7625 | 1254334.8544 | 2727301.565 | 1254344.5581 | 2727300.1712 | 1254346.5521 | 2727301.1513 | 1254356.9525
91 | 2727296.0963 | 1254323.7332 | 2727296.7199 | 1254331.231
92 | 2727296.0963 | 1254323.7332 | 2727315.9805 | 1254322.4038
93 | 2727315.9805 | 1254322.4038 | 2727315.9805 | 1254322.4038 | 2727318.3158 | 1254320.4968 | 2727333.5318 | 1254319.3673
94 | 2727347.5837 | 1254371.1751 | 2727349.1661 | 1254368.2721
95 | 2727277.7655 | 1254444.7688 | 2727291.2876 | 1254443.436 | 2727292.611 | 1254443.3088
96 | 2727277.7655 | 1254444.7688 | 2727273.9714 | 1254445.0164
97 | 2727292.611 | 1254443.3088 | 2727295.2704 | 1254442.9178
98 | 2727245.281 | 1254447.4859 | 2727254.1793 | 1254446.3078 | 2727273.9714 | 1254445.0164
99 | 2727333.5763 | 1254437.2506 | 2727315.4439 | 1254439.9521 | 2727295.2704 | 1254442.9178
100 | 2727233.6681 | 1254449.1678 | 2727235.4631 | 1254448.7857 | 2727245.281 | 1254447.4859
101 | 2727333.5763 | 1254437.2506 | 2727333.3666 | 1254453.7005
102 | 2727333.5763 | 1254437.2506 | 2727335.1423 | 1254436.8208
103 | 2727333.1129 | 1254473.607 | 2727333.3666 | 1254453.7005
104 | 2727363.3502 | 1254428.6738 | 2727351.5757 | 1254432.311 | 2727335.1423 | 1254436.8208
105 | 2727270.9418 | 1254486.384 | 2727311.8068 | 1254499.98
106 | 2727328.3063 | 1254512.0704 | 2727322.993 | 1254506.1287 | 2727316.6759 | 1254501.6 | 2727311.8068 | 1254499.98
107 | 2727328.3063 | 1254512.0704 | 2727322.9132 | 1254516.5028 | 2727318.073 | 1254522.2483
108 | 2727328.3063 | 1254512.0704 | 2727332.4642 | 1254508.223
109 | 2727297.1862 | 1254551.9702 | 2727292.1667 | 1254547.4583 | 2727276.1066 | 1254536.9816 | 2727263.3725 | 1254530.0753
110 | 2727297.1862 | 1254551.9702 | 2727304.6053 | 1254541.0515
111 | 2727297.1862 | 1254551.9702 | 2727288.9404 | 1254565.5155
112 | 2727363.3502 | 1254428.6738 | 2727364.7418 | 1254428.244
113 | 2727387.5241 | 1254421.2176 | 2727386.2417 | 1254421.6025 | 2727364.7418 | 1254428.244
114 | 2727397.0961 | 1254418.3442 | 2727387.5241 | 1254421.2176
115 | 2727333.1129 | 1254473.607 | 2727333.0485 | 1254478.6606
116 | 2727397.0961 | 1254418.3442 | 2727393.9113 | 1254407.1324
117 | 2727333.0485 | 1254478.6606 | 2727332.8205 | 1254496.5484
118 | 2727393.9113 | 1254407.1324 | 2727406.7985 | 1254403.5972
119 | 2727393.9113 | 1254407.1324 | 2727392.1003 | 1254400.7538
120 | 2727332.4642 | 1254508.223 | 2727332.8197 | 1254496.6092 | 2727332.8205 | 1254496.5484
121 | 2727426.544 | 1254398.1805 | 2727406.7985 | 1254403.5972
122 | 2727392.1003 | 1254400.7538 | 2727388.3836 | 1254387.6629 | 2727388.3836 | 1254387.6629
123 | 2727448.2352 | 1254405.255 | 2727441.7938 | 1254406.4953
124 | 2727441.7938 | 1254406.4953 | 2727440.1187 | 1254400.1758 | 2727437.2894 | 1254395.2328 | 2727426.544 | 1254398.1805
125 | 2727441.7938 | 1254406.4953 | 2727442.9884 | 1254410.9471
126 | 2727448.2352 | 1254405.255 | 2727449.7045 | 1254409.5682
127 | 2727442.1487 | 1254369.6925 | 2727442.6127 | 1254373.0276 | 2727445.2988 | 1254392.3248 | 2727448.2352 | 1254405.255
128 | 2727455.3261 | 1254426.0705 | 2727449.7045 | 1254409.5682
129 | 2727480.4132 | 1254362.2204 | 2727442.1487 | 1254369.6925
130 | 2727440.6439 | 1254361.4194 | 2727442.1487 | 1254369.6925
131 | 2727431.7762 | 1254360.728 | 2727432.0651 | 1254364.8379 | 2727437.0419 | 1254374.4868 | 2727442.6127 | 1254373.0276 | 2727442.1487 | 1254369.6925
132 | 2727431.7762 | 1254360.728 | 2727431.5175 | 1254356.9746 | 2727432.9893 | 1254350.3644
133 | 2727440.6439 | 1254361.4194 | 2727444.843 | 1254357.0726 | 2727514.8649 | 1254343.0697
134 | 2727440.6439 | 1254361.4194 | 2727436.4468 | 1254324.6743
135 | 2727554.0161 | 1254337.7499 | 2727544.8462 | 1254337.0741 | 2727514.8649 | 1254343.0697
136 | 2727439.7327 | 1254324.5337 | 2727436.4468 | 1254324.6743
137 | 2727560.1909 | 1254382.1446 | 2727538.1996 | 1254386.7659
138 | 2727557.4352 | 1254337.3788 | 2727560.9204 | 1254356.7043 | 2727565.3299 | 1254381.1099 | 2727560.1909 | 1254382.1446
139 | 2727455.3261 | 1254426.0705 | 2727436.1466 | 1254446.3721
140 | 2727309.0929 | 1254534.4472 | 2727304.6053 | 1254541.0515
141 | 2727318.073 | 1254522.2483 | 2727314.4873 | 1254526.5084 | 2727309.0929 | 1254534.4472
142 | 2727374.2692 | 1254511.8696 | 2727401.0844 | 1254483.4856
143 | 2727374.2692 | 1254511.8696 | 2727365.7636 | 1254511.1972 | 2727364.5304 | 1254511.0871
144 | 2727374.2692 | 1254511.8696 | 2727371.1152 | 1254517.807 | 2727368.5592 | 1254522.6119 | 2727368.2731 | 1254523.9847 | 2727366.7343 | 1254531.3137
145 | 2727433.715 | 1254448.9459 | 2727436.1466 | 1254446.3721
146 | 2727332.4642 | 1254508.223 | 2727364.5304 | 1254511.0871
147 | 2727366.7343 | 1254531.3137 | 2727361.969 | 1254529.7209 | 2727361.4042 | 1254523.0028 | 2727358.6571 | 1254522.3098 | 2727355.3072 | 1254526.8307 | 2727354.3451 | 1254528.9261
148 | 2727557.4352 | 1254337.3788 | 2727559.6062 | 1254337.1476 | 2727578.6079 | 1254333.38
149 | 2727557.4352 | 1254337.3788 | 2727554.0161 | 1254337.7499
150 | 2727524.6215 | 1254294.3118 | 2727524.1909 | 1254286.629 | 2727520.745 | 1254280.1824
151 | 2727524.6215 | 1254294.3118 | 2727525.3661 | 1254295.4844 | 2727526.5329 | 1254296.3214 | 2727528.8419 | 1254297.0384 | 2727538.4945 | 1254296.7642
152 | 2727520.745 | 1254280.1824 | 2727517.4731 | 1254282.8254 | 2727511.2973 | 1254283.2929
153 | 2727520.745 | 1254280.1824 | 2727529.7679 | 1254271.2243 | 2727534.5592 | 1254264.2657 | 2727540.8411 | 1254266.9367 | 2727553.8606 | 1254272.4886
154 | 2727439.7327 | 1254324.5337 | 2727439.5919 | 1254306.537 | 2727450.3799 | 1254306.7248
155 | 2727553.8606 | 1254272.4886 | 2727553.6951 | 1254260.2075 | 2727552.4266 | 1254243.0949
156 | 2727564.4646 | 1254277.0099 | 2727553.8606 | 1254272.4886
157 | 2727507.3498 | 1254206.9152 | 2727514.1465 | 1254199.0461 | 2727522.1248 | 1254190.5882 | 2727525.0434 | 1254187.7647
158 | 2727621.5787 | 1254323.2369 | 2727616.9733 | 1254325.7732 | 2727578.6079 | 1254333.38
159 | 2727564.4646 | 1254277.0099 | 2727585.8022 | 1254286.3445 | 2727606.7407 | 1254299.1291 | 2727611.2862 | 1254304.276 | 2727616.4321 | 1254312.3719 | 2727621.5787 | 1254323.2369
160 | 2727552.4266 | 1254243.0949 | 2727551.8943 | 1254235.9138 | 2727546.8711 | 1254224.2175 | 2727540.2258 | 1254216.3452 | 2727533.9851 | 1254218.0679 | 2727533.9851 | 1254218.0679
161 | 2727450.6654 | 1254108.0001 | 2727451.3085 | 1254107.8927

## bus_geodata
| x | y | coords
0 | 2727316.2366 | 1254179.9648
1 | 2727350.8094 | 1254175.1043
2 | 2727311.7334 | 1254180.5979
3 | 2727422.7311 | 1254164.9931
4 | 2727430.8531 | 1254181.8119
5 | 2727420.5061 | 1254157.8093
6 | 2727451.4963 | 1254215.2899
7 | 2727408.6897 | 1254113.6455
8 | 2727479.2072 | 1254174.8923
9 | 2727456.9104 | 1254221.1116
10 | 2727399.8867 | 1254043.6719
11 | 2727427.9271 | 1254111.7989
12 | 2727484.8134 | 1254166.7194
13 | 2727464.733 | 1254227.8514
14 | 2727438.9376 | 1254241.5986
15 | 2727423.5904 | 1254036.5865
16 | 2727428.1601 | 1254111.76
17 | 2727401.5764 | 1254241.7084
18 | 2727380.8102 | 1254245.2059
19 | 2727424.6542 | 1254235.5081
20 | 2727361.0624 | 1254248.291
21 | 2727339.8075 | 1254251.6115
22 | 2727428.0879 | 1254255.4886
23 | 2727317.5519 | 1254255.0884
24 | 2727432.8199 | 1254298.5953
25 | 2727437.5542 | 1254263.0879
26 | 2727420.8262 | 1254264.1635
27 | 2727289.4652 | 1254259.4763
28 | 2727481.208 | 1254240.1959
29 | 2727433.1073 | 1254300.6618
30 | 2727452.2957 | 1254260.8698
31 | 2727403.7729 | 1254284.5357
32 | 2727262.369 | 1254263.7094
33 | 2727240.6933 | 1254265.2002
34 | 2727219.081 | 1254266.3744
35 | 2727194.3906 | 1254267.7158
36 | 2727189.8091 | 1254299.6779
37 | 2727210.9137 | 1254298.9727
38 | 2727224.3283 | 1254298.5245
39 | 2727231.5567 | 1254298.283
40 | 2727252.9763 | 1254296.943
41 | 2727259.3538 | 1254296.3322
42 | 2727274.5812 | 1254294.8739
43 | 2727282.854 | 1254293.7593
44 | 2727296.6132 | 1254291.8394
45 | 2727307.2415 | 1254290.3563
46 | 2727315.867 | 1254289.1527
47 | 2727333.6641 | 1254286.6694
48 | 2727344.0039 | 1254285.2266
49 | 2727357.691 | 1254283.3167
50 | 2727360.2026 | 1254282.9663
51 | 2727367.8153 | 1254281.904
52 | 2727369.5702 | 1254281.6592
53 | 2727379.8442 | 1254280.2255
54 | 2727394.5319 | 1254278.743
55 | 2727378.7105 | 1254318.0551
56 | 2727375.7404 | 1254322.8096
57 | 2727361.6659 | 1254345.3397
58 | 2727360.3698 | 1254347.7174
59 | 2727226.2037 | 1254368.8153
60 | 2727225.839 | 1254363.2112
61 | 2727227.1043 | 1254382.6586
62 | 2727225.4746 | 1254357.6093
63 | 2727250.6602 | 1254381.8653
64 | 2727225.1099 | 1254352.0045
65 | 2727265.5883 | 1254381.1062
66 | 2727224.7452 | 1254346.4
67 | 2727264.2131 | 1254365.6235
68 | 2727272.0723 | 1254380.6568
69 | 2727224.3806 | 1254340.7954
70 | 2727263.7139 | 1254360.0044
71 | 2727224.0159 | 1254335.1907
72 | 2727223.7633 | 1254331.308
73 | 2727247.6293 | 1254327.0936
74 | 2727247.7782 | 1254327.0881
75 | 2727260.8614 | 1254327.8908
76 | 2727285.1729 | 1254324.0521
77 | 2727262.2164 | 1254343.1459
78 | 2727263.2148 | 1254354.3848
79 | 2727303.1819 | 1254378.5007
80 | 2727304.7077 | 1254378.4536
81 | 2727301.2262 | 1254357.7473
82 | 2727262.7133 | 1254348.7392
83 | 2727340.4442 | 1254384.2735
84 | 2727301.1513 | 1254356.9525
85 | 2727296.0963 | 1254323.7332
86 | 2727296.7199 | 1254331.231
87 | 2727315.9805 | 1254322.4038
88 | 2727333.5318 | 1254319.3673
89 | 2727324.4841 | 1254403.7005
90 | 2727347.5837 | 1254371.1751
91 | 2727349.1661 | 1254368.2721
92 | 2727277.7655 | 1254444.7688
93 | 2727292.611 | 1254443.3088
94 | 2727273.9714 | 1254445.0164
95 | 2727295.2704 | 1254442.9178
96 | 2727245.281 | 1254447.4859
97 | 2727333.5763 | 1254437.2506
98 | 2727233.6681 | 1254449.1678
99 | 2727333.3666 | 1254453.7005
100 | 2727335.1423 | 1254436.8208
101 | 2727270.9418 | 1254486.384
102 | 2727311.8068 | 1254499.98
103 | 2727328.3063 | 1254512.0704
104 | 2727263.3725 | 1254530.0753
105 | 2727297.1862 | 1254551.9702
106 | 2727363.3502 | 1254428.6738
107 | 2727364.7417 | 1254428.244
108 | 2727387.5241 | 1254421.2176
109 | 2727333.1129 | 1254473.607
110 | 2727397.0961 | 1254418.3442
111 | 2727333.0485 | 1254478.6606
112 | 2727393.9113 | 1254407.1324
113 | 2727332.8205 | 1254496.5484
114 | 2727406.7985 | 1254403.5972
115 | 2727392.1003 | 1254400.7538
116 | 2727441.7938 | 1254406.4953
117 | 2727448.2352 | 1254405.255
118 | 2727426.544 | 1254398.1805
119 | 2727442.9884 | 1254410.9471
120 | 2727388.3836 | 1254387.6629
121 | 2727449.7045 | 1254409.5682
122 | 2727442.1487 | 1254369.6925
123 | 2727431.7762 | 1254360.728
124 | 2727432.9893 | 1254350.3644
125 | 2727480.4132 | 1254362.2204
126 | 2727440.6439 | 1254361.4194
127 | 2727514.8649 | 1254343.0697
128 | 2727436.4468 | 1254324.6743
129 | 2727538.1996 | 1254386.7659
130 | 2727560.1909 | 1254382.1446
131 | 2727455.3261 | 1254426.0705
132 | 2727288.9404 | 1254565.5155
133 | 2727304.6053 | 1254541.0515
134 | 2727309.0929 | 1254534.4472
135 | 2727318.073 | 1254522.2483
136 | 2727401.0844 | 1254483.4856
137 | 2727374.2692 | 1254511.8696
138 | 2727433.715 | 1254448.9459
139 | 2727436.1466 | 1254446.3721
140 | 2727364.5304 | 1254511.0871
141 | 2727366.7343 | 1254531.3137
142 | 2727332.4642 | 1254508.223
143 | 2727354.3451 | 1254528.9261
144 | 2727557.4352 | 1254337.3788
145 | 2727524.6215 | 1254294.3118
146 | 2727520.745 | 1254280.1824
147 | 2727538.4945 | 1254296.7642
148 | 2727439.7327 | 1254324.5337
149 | 2727450.3799 | 1254306.7248
150 | 2727554.0161 | 1254337.7499
151 | 2727511.2973 | 1254283.2929
152 | 2727553.8606 | 1254272.4886
153 | 2727507.3498 | 1254206.9152
154 | 2727578.6079 | 1254333.38
155 | 2727621.5787 | 1254323.2369
156 | 2727564.4646 | 1254277.0099
157 | 2727552.4266 | 1254243.0949
158 | 2727533.9851 | 1254218.0679
159 | 2727525.0434 | 1254187.7647
160 | 2727476.2269 | 1254147.7066
161 | 2727451.3085 | 1254107.8927
162 | 2727450.6654 | 1254108.0001
163 | 2727361.6659 | 1254345.3397

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1