## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3408-24_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3408-24_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3408-24_0_3_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_3408-24_0_3_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_3408-24_0_3_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_3408-24_0_3_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_3408-24_0_3_node_74 | 0.4 | n |  | TRUE
7 | bus_LV_3408-24_0_3_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_3408-24_0_3_node_75 | 0.4 | n |  | TRUE
9 | bus_LV_3408-24_0_3_node_76 | 0.4 | n |  | TRUE
10 | bus_LV_3408-24_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_3408-24_0_3_node_52 | 0.4 | n |  | TRUE
12 | bus_LV_3408-24_0_3_node_46 | 0.4 | n |  | TRUE
13 | bus_LV_3408-24_0_3_node_73 | 0.4 | n |  | TRUE
14 | bus_LV_3408-24_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_3408-24_0_3_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_3408-24_0_3_node_28 | 0.4 | n |  | TRUE
17 | bus_LV_3408-24_0_3_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_3408-24_0_3_node_53 | 0.4 | n |  | TRUE
19 | bus_LV_3408-24_0_3_node_44 | 0.4 | n |  | TRUE
20 | bus_LV_3408-24_0_3_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_3408-24_0_3_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_3408-24_0_3_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_3408-24_0_3_node_24 | 0.4 | n |  | TRUE
24 | bus_LV_3408-24_0_3_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_3408-24_0_3_node_10 | 0.4 | n |  | TRUE
26 | bus_LV_3408-24_0_3_node_11 | 0.4 | n |  | TRUE
27 | bus_LV_3408-24_0_3_node_12 | 0.4 | n |  | TRUE
28 | bus_LV_3408-24_0_3_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_3408-24_0_3_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_3408-24_0_3_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_3408-24_0_3_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_3408-24_0_3_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_3408-24_0_3_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_3408-24_0_3_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_3408-24_0_3_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_3408-24_0_3_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_3408-24_0_3_node_77 | 0.4 | n |  | TRUE
38 | bus_LV_3408-24_0_3_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_3408-24_0_3_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_3408-24_0_3_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_3408-24_0_3_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_3408-24_0_3_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_3408-24_0_3_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_3408-24_0_3_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_3408-24_0_3_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_3408-24_0_3_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_3408-24_0_3_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_3408-24_0_3_node_55 | 0.4 | n |  | TRUE
49 | bus_LV_3408-24_0_3_node_57 | 0.4 | n |  | TRUE
50 | bus_LV_3408-24_0_3_node_56 | 0.4 | n |  | TRUE
51 | bus_LV_3408-24_0_3_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_3408-24_0_3_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_3408-24_0_3_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_3408-24_0_3_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_3408-24_0_3_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_3408-24_0_3_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_3408-24_0_3_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_3408-24_0_3_node_62 | 0.4 | n |  | TRUE
59 | bus_LV_3408-24_0_3_node_63 | 0.4 | n |  | TRUE
60 | bus_LV_3408-24_0_3_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_3408-24_0_3_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_3408-24_0_3_node_60 | 0.4 | n |  | TRUE
63 | bus_LV_3408-24_0_3_node_61 | 0.4 | n |  | TRUE
64 | bus_LV_3408-24_0_3_node_69 | 0.4 | n |  | TRUE
65 | bus_LV_3408-24_0_3_node_70 | 0.4 | n |  | TRUE
66 | bus_LV_3408-24_0_3_node_67 | 0.4 | n |  | TRUE
67 | bus_LV_3408-24_0_3_node_71 | 0.4 | n |  | TRUE
68 | bus_LV_3408-24_0_3_node_64 | 0.4 | n |  | TRUE
69 | bus_LV_3408-24_0_3_node_65 | 0.4 | n |  | TRUE
70 | bus_LV_3408-24_0_3_node_66 | 0.4 | n |  | TRUE
71 | bus_LV_3408-24_0_3_node_68 | 0.4 | n |  | TRUE
72 | bus_MV_587_0_node_66 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3408-24_0_3_load_0 | 0 | 0.0042634 | 0.0010685 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3408-24_0_3_load_74 | 6 | 0.0037909 | 0.00095009 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3408-24_0_3_load_75 | 8 | 0.0045949 | 0.0011516 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3408-24_0_3_load_76 | 9 | 0.0036332 | 0.00091057 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3408-24_0_3_load_52 | 11 | 0.0057242 | 0.0014346 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3408-24_0_3_load_46 | 12 | 0.0012528 | 0.00031398 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3408-24_0_3_load_73 | 13 | 0.001834 | 0.00045963 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3408-24_0_3_load_28 | 16 | 0.0056462 | 0.0014151 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3408-24_0_3_load_44 | 19 | 0.0016717 | 0.00041898 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3408-24_0_3_load_19 | 21 | 0.0045265 | 0.0011344 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3408-24_0_3_load_16 | 22 | 0.012919 | 0.0032378 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3408-24_0_3_load_24 | 23 | 0.060965 | 0.015279 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3408-24_0_3_load_29 | 24 | 0.0031008 | 0.00077713 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3408-24_0_3_load_10 | 25 | 0.02176 | 0.0054535 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3408-24_0_3_load_11 | 26 | 0.027019 | 0.0067717 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3408-24_0_3_load_14 | 29 | 0.020434 | 0.0051212 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3408-24_0_3_load_18 | 30 | 0.020033 | 0.0050208 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3408-24_0_3_load_31 | 32 | 0.01802 | 0.0045162 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3408-24_0_3_load_25 | 34 | 0.0097639 | 0.0024471 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3408-24_0_3_load_26 | 36 | 0.012955 | 0.0032468 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3408-24_0_3_load_77 | 37 | 0.0087488 | 0.0021926 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3408-24_0_3_load_27 | 38 | 0.0036848 | 0.0009235 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3408-24_0_3_load_36 | 40 | 0.0044107 | 0.0011054 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3408-24_0_3_load_30 | 41 | 0.0012944 | 0.0003244 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3408-24_0_3_load_32 | 42 | 0.0010346 | 0.00025931 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3408-24_0_3_load_34 | 43 | 0.0027016 | 0.00067708 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3408-24_0_3_load_37 | 44 | 0.0039048 | 0.00097863 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3408-24_0_3_load_38 | 45 | 0.0014128 | 0.00035408 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3408-24_0_3_load_39 | 46 | 0.0051713 | 0.001296 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3408-24_0_3_load_41 | 47 | 0.0016013 | 0.00040132 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3408-24_0_3_load_57 | 49 | 0.0013217 | 0.00033126 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3408-24_0_3_load_56 | 50 | 0.0025875 | 0.0006485 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3408-24_0_3_load_48 | 51 | 0.0050893 | 0.0012755 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3408-24_0_3_load_49 | 52 | 0.0055591 | 0.0013932 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3408-24_0_3_load_43 | 53 | 0.002611 | 0.00065439 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3408-24_0_3_load_45 | 54 | 0.0025784 | 0.00064622 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3408-24_0_3_load_47 | 55 | 0.0033632 | 0.0008429 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3408-24_0_3_load_62 | 58 | 0.0051013 | 0.0012785 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3408-24_0_3_load_63 | 59 | 0.0031225 | 0.00078258 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3408-24_0_3_load_58 | 60 | 0.0010424 | 0.00026125 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3408-24_0_3_load_61 | 63 | 0.0011671 | 0.0002925 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3408-24_0_3_load_70 | 65 | 0.0017109 | 0.0004288 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3408-24_0_3_load_67 | 66 | 0.0018672 | 0.00046797 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3408-24_0_3_load_71 | 67 | 0.0013316 | 0.00033373 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3408-24_0_3_load_64 | 68 | 0.0035993 | 0.00090208 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3408-24_0_3_load_65 | 69 | 0.00094972 | 0.00023802 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3408-24_0_3_load_66 | 70 | 0.00085483 | 0.00021424 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3408-24_0_3_load_68 | 71 | 0.0016825 | 0.00042167 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3408-24_0_3_line_0 |  | 0 | 1 | 0.038199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3408-24_0_3_line_1 |  | 1 | 2 | 0.030486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3408-24_0_3_line_2 |  | 1 | 3 | 0.021287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3408-24_0_3_line_3 |  | 2 | 9 | 0.024994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3408-24_0_3_line_4 |  | 3 | 10 | 0.06619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3408-24_0_3_line_5 |  | 3 | 11 | 0.10473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3408-24_0_3_line_6 |  | 4 | 5 | 0.10632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3408-24_0_3_line_7 |  | 4 | 6 | 0.028134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3408-24_0_3_line_8 |  | 5 | 12 | 0.0755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3408-24_0_3_line_9 |  | 6 | 7 | 0.014817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3408-24_0_3_line_10 |  | 7 | 8 | 0.0084795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3408-24_0_3_line_11 |  | 8 | 17 | 0.0043226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3408-24_0_3_line_12 |  | 9 | 17 | 0.01051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3408-24_0_3_line_13 |  | 10 | 13 | 0.045331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3408-24_0_3_line_14 |  | 11 | 18 | 0.033587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3408-24_0_3_line_15 |  | 12 | 19 | 3.0424e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3408-24_0_3_line_16 |  | 14 | 15 | 0.020219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3408-24_0_3_line_17 |  | 14 | 16 | 0.0094826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3408-24_0_3_line_18 |  | 15 | 23 | 0.021525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3408-24_0_3_line_19 |  | 15 | 17 | 0.040339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3408-24_0_3_line_20 |  | 16 | 24 | 0.012938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3408-24_0_3_line_21 |  | 18 | 57 | 0.017835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3408-24_0_3_line_22 |  | 19 | 53 | 0.02701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3408-24_0_3_line_23 |  | 20 | 21 | 0.01542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3408-24_0_3_line_24 |  | 20 | 22 | 0.02755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3408-24_0_3_line_25 |  | 21 | 34 | 0.0016228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3408-24_0_3_line_26 |  | 22 | 28 | 0.0014523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3408-24_0_3_line_27 |  | 23 | 33 | 0.032292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_3408-24_0_3_line_28 |  | 24 | 41 | 0.016596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3408-24_0_3_line_29 |  | 25 | 26 | 0.0084185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3408-24_0_3_line_30 |  | 25 | 27 | 0.031326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3408-24_0_3_line_31 |  | 26 | 28 | 0.02361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3408-24_0_3_line_32 |  | 27 | 29 | 0.016994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3408-24_0_3_line_33 |  | 28 | 30 | 0.019633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_3408-24_0_3_line_34 |  | 29 | 31 | 0.01971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3408-24_0_3_line_35 |  | 30 | 33 | 0.03434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_3408-24_0_3_line_36 |  | 31 | 32 | 0.027881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3408-24_0_3_line_37 |  | 33 | 35 | 0.012067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3408-24_0_3_line_38 |  | 34 | 36 | 0.032697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3408-24_0_3_line_39 |  | 35 | 37 | 0.00059906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3408-24_0_3_line_40 |  | 36 | 38 | 0.0080374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3408-24_0_3_line_41 |  | 38 | 39 | 0.010341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3408-24_0_3_line_42 |  | 39 | 40 | 0.0060965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3408-24_0_3_line_43 |  | 40 | 44 | 0.031785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3408-24_0_3_line_44 |  | 41 | 42 | 0.024378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3408-24_0_3_line_45 |  | 43 | 44 | 0.0084347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3408-24_0_3_line_46 |  | 45 | 46 | 0.03915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3408-24_0_3_line_47 |  | 46 | 47 | 0.010275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3408-24_0_3_line_48 |  | 47 | 48 | 0.016982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3408-24_0_3_line_49 |  | 48 | 49 | 0.018103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3408-24_0_3_line_50 |  | 48 | 50 | 0.013296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3408-24_0_3_line_51 |  | 49 | 60 | 0.028631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3408-24_0_3_line_52 |  | 51 | 52 | 0.030533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3408-24_0_3_line_53 |  | 52 | 56 | 0.028355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3408-24_0_3_line_54 |  | 53 | 54 | 5.3004e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3408-24_0_3_line_55 |  | 54 | 55 | 0.0015439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3408-24_0_3_line_56 |  | 56 | 57 | 0.044953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3408-24_0_3_line_57 |  | 57 | 58 | 0.013746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3408-24_0_3_line_58 |  | 58 | 59 | 0.037069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3408-24_0_3_line_59 |  | 59 | 68 | 0.020219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3408-24_0_3_line_60 |  | 60 | 61 | 0.024037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3408-24_0_3_line_61 |  | 61 | 62 | 0.036892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3408-24_0_3_line_62 |  | 61 | 63 | 0.016871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3408-24_0_3_line_63 |  | 62 | 64 | 0.087665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3408-24_0_3_line_64 |  | 62 | 65 | 0.04491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3408-24_0_3_line_65 |  | 64 | 66 | 0.054032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3408-24_0_3_line_66 |  | 65 | 67 | 0.023834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3408-24_0_3_line_67 |  | 66 | 69 | 0.019578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3408-24_0_3_line_68 |  | 67 | 68 | 0.031353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3408-24_0_3_line_69 |  | 69 | 70 | 0.012348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3408-24_0_3_line_70 |  | 70 | 71 | 0.031664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3408-24_0_3_trafo_24 | 0.63 MVA 20/0.4 kV | 72 | 23 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2727626.0301 | 1255300.8357 | 2727632.9602 | 1255298.9389 | 2727637.0215 | 1255297.4585 | 2727639.2138 | 1255294.4697 | 2727639.6739 | 1255290.6318 | 2727634.5537 | 1255272.2111
1 | 2727626.0301 | 1255300.8357 | 2727627.4221 | 1255309.4178 | 2727638.0987 | 1255306.6343 | 2727639.1309 | 1255306.3563 | 2727638.7068 | 1255304.679 | 2727640.5268 | 1255302.1605 | 2727645.0826 | 1255300.4905
2 | 2727615.2354 | 1255312.5913 | 2727616.7984 | 1255312.1913 | 2727622.0497 | 1255310.8144 | 2727623.3699 | 1255310.4759 | 2727627.4221 | 1255309.4178 | 2727626.0301 | 1255300.8357
3 | 2727645.0826 | 1255300.4905 | 2727646.1641 | 1255297.5779 | 2727646.5567 | 1255296.5187 | 2727649.9126 | 1255295.5569 | 2727650.1628 | 1255296.552 | 2727653.9495 | 1255312.3447
4 | 2727571.247 | 1255271.5404 | 2727579.6437 | 1255281.7637 | 2727585.3917 | 1255286.3916 | 2727592.2062 | 1255289.8527 | 2727612.3643 | 1255296.3261 | 2727612.0395 | 1255300.1892 | 2727612.6857 | 1255305.5635 | 2727615.2354 | 1255312.5913
5 | 2727615.2354 | 1255312.5913 | 2727623.281 | 1255334.8846 | 2727624.4569 | 1255340.5372 | 2727624.4514 | 1255411.4558 | 2727621.0582 | 1255414.1518
6 | 2727646.4404 | 1255362.4194 | 2727650.7857 | 1255377.1484 | 2727663.7822 | 1255424.5597 | 2727660.1379 | 1255426.3049 | 2727652.7685 | 1255429.3377 | 2727655.6722 | 1255453.1771 | 2727656.4466 | 1255458.8989
7 | 2727646.4404 | 1255362.4194 | 2727644.6833 | 1255356.0759 | 2727650.7432 | 1255354.6385 | 2727647.259 | 1255339.7163
8 | 2727656.4466 | 1255458.8989 | 2727653.5272 | 1255463.4177 | 2727651.7824 | 1255468.3957 | 2727646.1703 | 1255492.4517 | 2727642.8345 | 1255500.5315 | 2727638.2793 | 1255508.4737 | 2727630.9582 | 1255516.9679 | 2727623.0624 | 1255524.673
9 | 2727643.8912 | 1255325.2869 | 2727644.644 | 1255328.5171 | 2727647.259 | 1255339.7163
10 | 2727643.8912 | 1255325.2869 | 2727645.4674 | 1255324.9762 | 2727652.1821 | 1255323.5095
11 | 2727656.4001 | 1255322.5652 | 2727655.3837 | 1255322.8102 | 2727652.1821 | 1255323.5095
12 | 2727656.4001 | 1255322.5652 | 2727653.9495 | 1255312.3447
13 | 2727571.247 | 1255271.5404 | 2727558.9128 | 1255257.4065 | 2727543.0851 | 1255236.0631
14 | 2727601.7301 | 1255388.4568 | 2727606.4855 | 1255390.4722 | 2727608.1716 | 1255391.3649 | 2727609.3739 | 1255392.2916 | 2727611.6181 | 1255394.9423 | 2727612.3707 | 1255396.0818 | 2727614.2411 | 1255398.9246 | 2727615.4803 | 1255400.942 | 2727616.0146 | 1255402.0545 | 2727618.1448 | 1255408.5952 | 2727621.0582 | 1255414.1518
15 | 2727623.0624 | 1255524.673 | 2727623.0407 | 1255524.6942
16 | 2727688.3595 | 1255298.9554 | 2727690.2223 | 1255313.6865 | 2727691.6802 | 1255318.8559
17 | 2727688.3595 | 1255298.9554 | 2727687.682 | 1255295.0373 | 2727686.7422 | 1255289.6117
18 | 2727691.6802 | 1255318.8559 | 2727696.7305 | 1255335.8799 | 2727697.8544 | 1255339.4762
19 | 2727656.4001 | 1255322.5652 | 2727674.2029 | 1255317.8893 | 2727689.456 | 1255313.8812 | 2727690.2223 | 1255313.6865 | 2727691.6802 | 1255318.8559
20 | 2727684.5342 | 1255276.864 | 2727686.7422 | 1255289.6117
21 | 2727601.7301 | 1255388.4568 | 2727594.7334 | 1255385.4033 | 2727589.9341 | 1255383.3203 | 2727585.3368 | 1255381.3195
22 | 2727603.7096 | 1255543.5584 | 2727623.0407 | 1255524.6942
23 | 2727722.5672 | 1255317.3206 | 2727727.9275 | 1255309.8406 | 2727731.8237 | 1255304.9952
24 | 2727722.5672 | 1255317.3206 | 2727744.7054 | 1255333.7187
25 | 2727732.8406 | 1255303.7305 | 2727731.8237 | 1255304.9952
26 | 2727745.8725 | 1255334.5831 | 2727744.7054 | 1255333.7187
27 | 2727707.487 | 1255370.2981 | 2727697.8544 | 1255339.4762
28 | 2727684.5342 | 1255276.864 | 2727682.5021 | 1255265.1323 | 2727681.9153 | 1255260.479
29 | 2727768.5114 | 1255357.08 | 2727762.9061 | 1255350.7989
30 | 2727785.3212 | 1255383.4667 | 2727775.1532 | 1255366.5433 | 2727770.1713 | 1255358.9401 | 2727768.5114 | 1255357.08
31 | 2727745.8725 | 1255334.5831 | 2727754.4054 | 1255341.2731 | 2727762.9061 | 1255350.7989
32 | 2727785.3212 | 1255383.4667 | 2727771.0098 | 1255392.63
33 | 2727745.8725 | 1255334.5831 | 2727742.0551 | 1255339.0936 | 2727733.8203 | 1255350.0724
34 | 2727755.4176 | 1255404.4735 | 2727757.021 | 1255402.5509 | 2727760.2021 | 1255399.5501 | 2727771.0098 | 1255392.63
35 | 2727707.487 | 1255370.2981 | 2727724.0618 | 1255363.0825 | 2727733.8203 | 1255350.0724
36 | 2727755.4176 | 1255404.4735 | 2727748.6596 | 1255409.5879 | 2727745.8202 | 1255412.14 | 2727742.1801 | 1255417.5329 | 2727739.673 | 1255413.4308 | 2727736.3443 | 1255410.6899
37 | 2727707.487 | 1255370.2981 | 2727710.9119 | 1255381.8712
38 | 2727753.4696 | 1255278.3627 | 2727741.0857 | 1255293.4765 | 2727732.8406 | 1255303.7305
39 | 2727711.095 | 1255382.4416 | 2727710.9119 | 1255381.8712
40 | 2727758.5636 | 1255272.1458 | 2727753.4696 | 1255278.3627
41 | 2727765.1179 | 1255264.1466 | 2727758.5636 | 1255272.1458
42 | 2727765.1179 | 1255264.1466 | 2727760.3605 | 1255260.3342
43 | 2727760.3605 | 1255260.3342 | 2727735.557 | 1255240.4574
44 | 2727678.8652 | 1255236.2924 | 2727681.9153 | 1255260.479
45 | 2727728.9749 | 1255235.1828 | 2727735.557 | 1255240.4574
46 | 2727483.0985 | 1255432.5285 | 2727497.2718 | 1255396.034
47 | 2727497.2718 | 1255396.034 | 2727500.9916 | 1255386.456
48 | 2727507.1395 | 1255370.6258 | 2727500.9916 | 1255386.456
49 | 2727507.1395 | 1255370.6258 | 2727496.1898 | 1255363.3279 | 2727491.7945 | 1255361.0641
50 | 2727507.1395 | 1255370.6258 | 2727518.3238 | 1255377.8162
51 | 2727491.7945 | 1255361.0641 | 2727487.0182 | 1255358.6041 | 2727482.9121 | 1255359.7167 | 2727480.4932 | 1255355.7166 | 2727478.1045 | 1255354.1638 | 2727473.8916 | 1255352.1824 | 2727467.5817 | 1255350.167 | 2727467.386 | 1255350.122
52 | 2727544.0635 | 1255471.431 | 2727549.0251 | 1255458.1057 | 2727553.6946 | 1255442.4747
53 | 2727556.2792 | 1255414.5676 | 2727557.1438 | 1255421.3589 | 2727556.9665 | 1255428.1834 | 2727555.3926 | 1255436.7905 | 2727553.6946 | 1255442.4747
54 | 2727603.7096 | 1255543.5584 | 2727603.6717 | 1255543.5955
55 | 2727602.5667 | 1255544.6737 | 2727603.6717 | 1255543.5955
56 | 2727585.3368 | 1255381.3195 | 2727582.3413 | 1255386.9155 | 2727563.1468 | 1255411.3571 | 2727556.2792 | 1255414.5676
57 | 2727585.3368 | 1255381.3195 | 2727574.7781 | 1255376.1874 | 2727573.0986 | 1255375.0897
58 | 2727573.0986 | 1255375.0897 | 2727565.2244 | 1255369.9427 | 2727556.3775 | 1255364.8587 | 2727551.513 | 1255360.5501 | 2727546.4462 | 1255354.4244 | 2727544.5058 | 1255352.1229
59 | 2727544.5058 | 1255352.1229 | 2727542.7601 | 1255350.0523 | 2727538.6866 | 1255346.1499 | 2727534.2759 | 1255343.5415 | 2727527.9973 | 1255341.077
60 | 2727443.6133 | 1255347.8936 | 2727457.2953 | 1255347.7991 | 2727467.386 | 1255350.122
61 | 2727443.6133 | 1255347.8936 | 2727442.82 | 1255340.5811 | 2727435.8928 | 1255314.6757 | 2727434.6777 | 1255312.2362
62 | 2727443.6133 | 1255347.8936 | 2727443.5115 | 1255354.7197 | 2727442.4188 | 1255359.9119 | 2727440.7848 | 1255364.3598
63 | 2727434.6777 | 1255312.2362 | 2727433.4635 | 1255310.1082 | 2727438.1954 | 1255287.6456 | 2727438.6047 | 1255280.904 | 2727437.7941 | 1255272.6458 | 2727432.1647 | 1255243.2318 | 2727427.9146 | 1255226.5033
64 | 2727434.6777 | 1255312.2362 | 2727464.7698 | 1255313.6184 | 2727474.7343 | 1255316.5689 | 2727479.1094 | 1255316.1657
65 | 2727427.9146 | 1255226.5033 | 2727433.1505 | 1255226.8941 | 2727470.6406 | 1255250.2106 | 2727474.4175 | 1255252.893
66 | 2727479.1094 | 1255316.1657 | 2727479.3311 | 1255316.1452 | 2727488.6242 | 1255319.4371 | 2727500.0289 | 1255327.1232
67 | 2727488.1629 | 1255266.6487 | 2727482.4999 | 1255259.4296 | 2727476.7124 | 1255254.5229 | 2727474.4175 | 1255252.893
68 | 2727500.0289 | 1255327.1232 | 2727501.1193 | 1255327.858 | 2727512.2774 | 1255334.5932 | 2727525.1326 | 1255339.9525 | 2727527.9973 | 1255341.077
69 | 2727488.1629 | 1255266.6487 | 2727493.5745 | 1255273.5472 | 2727495.7291 | 1255276.4061
70 | 2727495.7291 | 1255276.4061 | 2727499.2231 | 1255281.0422 | 2727505.8673 | 1255291.0052 | 2727516.1436 | 1255300.3401

## bus_geodata
| x | y | coords
0 | 2727634.5537 | 1255272.2111
1 | 2727626.0301 | 1255300.8357
2 | 2727645.0826 | 1255300.4905
3 | 2727615.2354 | 1255312.5913
4 | 2727646.4404 | 1255362.4194
5 | 2727656.4466 | 1255458.8989
6 | 2727647.259 | 1255339.7163
7 | 2727643.8912 | 1255325.2869
8 | 2727652.1821 | 1255323.5095
9 | 2727653.9495 | 1255312.3447
10 | 2727571.247 | 1255271.5404
11 | 2727621.0582 | 1255414.1518
12 | 2727623.0624 | 1255524.673
13 | 2727543.0851 | 1255236.0631
14 | 2727688.3595 | 1255298.9554
15 | 2727691.6802 | 1255318.8559
16 | 2727686.7422 | 1255289.6117
17 | 2727656.4001 | 1255322.5652
18 | 2727601.7301 | 1255388.4568
19 | 2727623.0407 | 1255524.6942
20 | 2727722.5672 | 1255317.3206
21 | 2727731.8237 | 1255304.9952
22 | 2727744.7054 | 1255333.7187
23 | 2727697.8544 | 1255339.4762
24 | 2727684.5342 | 1255276.864
25 | 2727768.5114 | 1255357.08
26 | 2727762.9061 | 1255350.7989
27 | 2727785.3212 | 1255383.4667
28 | 2727745.8725 | 1255334.5831
29 | 2727771.0098 | 1255392.63
30 | 2727733.8203 | 1255350.0724
31 | 2727755.4176 | 1255404.4735
32 | 2727736.3443 | 1255410.6899
33 | 2727707.487 | 1255370.2981
34 | 2727732.8406 | 1255303.7305
35 | 2727710.9119 | 1255381.8712
36 | 2727753.4696 | 1255278.3627
37 | 2727711.095 | 1255382.4416
38 | 2727758.5636 | 1255272.1458
39 | 2727765.1179 | 1255264.1466
40 | 2727760.3605 | 1255260.3342
41 | 2727681.9153 | 1255260.479
42 | 2727678.8652 | 1255236.2924
43 | 2727728.9749 | 1255235.1828
44 | 2727735.557 | 1255240.4574
45 | 2727483.0985 | 1255432.5285
46 | 2727497.2718 | 1255396.034
47 | 2727500.9916 | 1255386.456
48 | 2727507.1395 | 1255370.6258
49 | 2727491.7945 | 1255361.0641
50 | 2727518.3238 | 1255377.8162
51 | 2727544.0635 | 1255471.431
52 | 2727553.6946 | 1255442.4747
53 | 2727603.7096 | 1255543.5584
54 | 2727603.6717 | 1255543.5955
55 | 2727602.5667 | 1255544.6737
56 | 2727556.2792 | 1255414.5676
57 | 2727585.3368 | 1255381.3195
58 | 2727573.0986 | 1255375.0897
59 | 2727544.5058 | 1255352.1229
60 | 2727467.386 | 1255350.122
61 | 2727443.6133 | 1255347.8936
62 | 2727434.6777 | 1255312.2362
63 | 2727440.7848 | 1255364.3598
64 | 2727427.9146 | 1255226.5033
65 | 2727479.1094 | 1255316.1657
66 | 2727474.4175 | 1255252.893
67 | 2727500.0289 | 1255327.1231
68 | 2727527.9973 | 1255341.077
69 | 2727488.1629 | 1255266.6487
70 | 2727495.7291 | 1255276.4061
71 | 2727516.1436 | 1255300.3401
72 | 2727691.6802 | 1255318.8559

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1