## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3408-29_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3408-29_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3408-29_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3408-29_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3408-29_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3408-29_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3408-29_0_5_node_94 | 0.4 | n |  | TRUE
7 | bus_LV_3408-29_0_5_node_91 | 0.4 | n |  | TRUE
8 | bus_LV_3408-29_0_5_node_24 | 0.4 | n |  | TRUE
9 | bus_LV_3408-29_0_5_node_92 | 0.4 | n |  | TRUE
10 | bus_LV_3408-29_0_5_node_23 | 0.4 | n |  | TRUE
11 | bus_LV_3408-29_0_5_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_3408-29_0_5_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_3408-29_0_5_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_3408-29_0_5_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_3408-29_0_5_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_3408-29_0_5_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_3408-29_0_5_node_22 | 0.4 | n |  | TRUE
18 | bus_LV_3408-29_0_5_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_3408-29_0_5_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_3408-29_0_5_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_3408-29_0_5_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_3408-29_0_5_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_3408-29_0_5_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_3408-29_0_5_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_3408-29_0_5_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_3408-29_0_5_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_3408-29_0_5_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_3408-29_0_5_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_3408-29_0_5_node_43 | 0.4 | n |  | TRUE
30 | bus_LV_3408-29_0_5_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_3408-29_0_5_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_3408-29_0_5_node_46 | 0.4 | n |  | TRUE
33 | bus_LV_3408-29_0_5_node_47 | 0.4 | n |  | TRUE
34 | bus_LV_3408-29_0_5_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_3408-29_0_5_node_50 | 0.4 | n |  | TRUE
36 | bus_LV_3408-29_0_5_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_3408-29_0_5_node_56 | 0.4 | n |  | TRUE
38 | bus_LV_3408-29_0_5_node_90 | 0.4 | n |  | TRUE
39 | bus_LV_3408-29_0_5_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_3408-29_0_5_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_3408-29_0_5_node_44 | 0.4 | n |  | TRUE
42 | bus_LV_3408-29_0_5_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_3408-29_0_5_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_3408-29_0_5_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_3408-29_0_5_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_3408-29_0_5_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_3408-29_0_5_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_3408-29_0_5_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_3408-29_0_5_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_3408-29_0_5_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_3408-29_0_5_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_3408-29_0_5_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_3408-29_0_5_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_3408-29_0_5_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_3408-29_0_5_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_3408-29_0_5_node_58 | 0.4 | n |  | TRUE
57 | bus_LV_3408-29_0_5_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_3408-29_0_5_node_84 | 0.4 | n |  | TRUE
59 | bus_LV_3408-29_0_5_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_3408-29_0_5_node_69 | 0.4 | n |  | TRUE
61 | bus_LV_3408-29_0_5_node_67 | 0.4 | n |  | TRUE
62 | bus_LV_3408-29_0_5_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_3408-29_0_5_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_3408-29_0_5_node_71 | 0.4 | n |  | TRUE
65 | bus_LV_3408-29_0_5_node_85 | 0.4 | n |  | TRUE
66 | bus_LV_3408-29_0_5_node_70 | 0.4 | n |  | TRUE
67 | bus_LV_3408-29_0_5_node_86 | 0.4 | n |  | TRUE
68 | bus_LV_3408-29_0_5_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_3408-29_0_5_node_60 | 0.4 | n |  | TRUE
70 | bus_LV_3408-29_0_5_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_3408-29_0_5_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_3408-29_0_5_node_63 | 0.4 | n |  | TRUE
73 | bus_LV_3408-29_0_5_node_64 | 0.4 | n |  | TRUE
74 | bus_LV_3408-29_0_5_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_3408-29_0_5_node_75 | 0.4 | n |  | TRUE
76 | bus_LV_3408-29_0_5_node_65 | 0.4 | n |  | TRUE
77 | bus_LV_3408-29_0_5_node_66 | 0.4 | n |  | TRUE
78 | bus_LV_3408-29_0_5_node_73 | 0.4 | n |  | TRUE
79 | bus_LV_3408-29_0_5_node_78 | 0.4 | n |  | TRUE
80 | bus_LV_3408-29_0_5_node_74 | 0.4 | n |  | TRUE
81 | bus_LV_3408-29_0_5_node_79 | 0.4 | n |  | TRUE
82 | bus_LV_3408-29_0_5_node_76 | 0.4 | n |  | TRUE
83 | bus_LV_3408-29_0_5_node_77 | 0.4 | n |  | TRUE
84 | bus_LV_3408-29_0_5_node_81 | 0.4 | n |  | TRUE
85 | bus_LV_3408-29_0_5_node_82 | 0.4 | n |  | TRUE
86 | bus_LV_3408-29_0_5_node_83 | 0.4 | n |  | TRUE
87 | bus_LV_3408-29_0_5_node_95 | 0.4 | n |  | TRUE
88 | bus_LV_3408-29_0_5_node_89 | 0.4 | n |  | TRUE
89 | bus_LV_3408-29_0_5_node_88 | 0.4 | n |  | TRUE
90 | bus_LV_3408-29_0_5_node_87 | 0.4 | n |  | TRUE
91 | bus_LV_3408-29_0_5_node_93 | 0.4 | n |  | TRUE
92 | bus_MV_588_0_node_11 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3408-29_0_5_load_0 | 0 | 0.016779 | 0.0042053 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3408-29_0_5_load_3 | 3 | 0.0054504 | 0.001366 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3408-29_0_5_load_5 | 5 | 0.017609 | 0.0044133 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3408-29_0_5_load_91 | 7 | 0.019921 | 0.0049926 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3408-29_0_5_load_24 | 8 | 0.023361 | 0.0058549 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3408-29_0_5_load_92 | 9 | 0.0048459 | 0.0012145 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3408-29_0_5_load_23 | 10 | 0.005168 | 0.0012952 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3408-29_0_5_load_6 | 11 | 0.02815 | 0.007055 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3408-29_0_5_load_10 | 15 | 0.0047354 | 0.0011868 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3408-29_0_5_load_11 | 16 | 0.016651 | 0.0041731 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3408-29_0_5_load_22 | 17 | 0.0063249 | 0.0015852 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3408-29_0_5_load_15 | 19 | 0.0034835 | 0.00087305 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3408-29_0_5_load_18 | 20 | 0.0088007 | 0.0022057 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3408-29_0_5_load_12 | 21 | 0.0020751 | 0.00052008 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3408-29_0_5_load_16 | 23 | 0.0045667 | 0.0011445 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3408-29_0_5_load_17 | 24 | 0.0090522 | 0.0022687 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3408-29_0_5_load_21 | 26 | 0.0021886 | 0.0005485 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3408-29_0_5_load_28 | 27 | 0.0069568 | 0.0017435 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3408-29_0_5_load_43 | 29 | 0.012045 | 0.0030188 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3408-29_0_5_load_30 | 30 | 0.012357 | 0.003097 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3408-29_0_5_load_46 | 32 | 0.0056026 | 0.0014041 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3408-29_0_5_load_33 | 36 | 0.02261 | 0.0056667 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3408-29_0_5_load_90 | 38 | 0.015879 | 0.0039796 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3408-29_0_5_load_29 | 40 | 0.0074327 | 0.0018628 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3408-29_0_5_load_44 | 41 | 0.005547 | 0.0013902 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3408-29_0_5_load_32 | 42 | 0.0080835 | 0.0020259 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3408-29_0_5_load_34 | 43 | 0.0039923 | 0.0010006 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3408-29_0_5_load_38 | 46 | 0.0039556 | 0.00099136 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3408-29_0_5_load_41 | 47 | 0.011105 | 0.0027832 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3408-29_0_5_load_39 | 48 | 0.0075467 | 0.0018914 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3408-29_0_5_load_37 | 49 | 0.026032 | 0.0065241 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3408-29_0_5_load_51 | 51 | 0.0049063 | 0.0012296 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3408-29_0_5_load_48 | 52 | 0.0046548 | 0.0011666 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3408-29_0_5_load_52 | 54 | 0.0080475 | 0.0020169 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3408-29_0_5_load_42 | 55 | 0.003153 | 0.00079022 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3408-29_0_5_load_58 | 56 | 0.0070179 | 0.0017589 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3408-29_0_5_load_54 | 57 | 0.007223 | 0.0018103 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3408-29_0_5_load_53 | 59 | 0.0050178 | 0.0012576 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3408-29_0_5_load_69 | 60 | 0.0062226 | 0.0015595 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3408-29_0_5_load_55 | 62 | 0.0059114 | 0.0014815 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3408-29_0_5_load_57 | 63 | 0.0055992 | 0.0014033 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3408-29_0_5_load_71 | 64 | 0.0097752 | 0.0024499 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3408-29_0_5_load_85 | 65 | 0.0025149 | 0.0006303 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3408-29_0_5_load_86 | 67 | 0.021725 | 0.0054449 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3408-29_0_5_load_59 | 68 | 0.0056527 | 0.0014167 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3408-29_0_5_load_60 | 69 | 0.0098296 | 0.0024635 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3408-29_0_5_load_61 | 70 | 0.0043423 | 0.0010883 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3408-29_0_5_load_62 | 71 | 0.0093452 | 0.0023421 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3408-29_0_5_load_64 | 73 | 0.0036668 | 0.00091898 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3408-29_0_5_load_68 | 74 | 0.0081921 | 0.0020531 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3408-29_0_5_load_65 | 76 | 0.0077897 | 0.0019523 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3408-29_0_5_load_66 | 77 | 0.015434 | 0.0038681 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3408-29_0_5_load_73 | 78 | 0.0027249 | 0.00068291 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3408-29_0_5_load_74 | 80 | 0.012702 | 0.0031835 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3408-29_0_5_load_79 | 81 | 0.0021692 | 0.00054366 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3408-29_0_5_load_76 | 82 | 0.0045396 | 0.0011377 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3408-29_0_5_load_77 | 83 | 0.0032706 | 0.0008197 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3408-29_0_5_load_81 | 84 | 0.0051254 | 0.0012846 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3408-29_0_5_load_95 | 87 | 0.0068052 | 0.0017055 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3408-29_0_5_load_89 | 88 | 0.032203 | 0.0080708 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3408-29_0_5_load_88 | 89 | 0.0073109 | 0.0018323 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3408-29_0_5_load_87 | 90 | 0.019592 | 0.0049103 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3408-29_0_5_load_93 | 91 | 0.0099933 | 0.0025046 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3408-29_0_5_line_0 |  | 0 | 1 | 0.018874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3408-29_0_5_line_1 |  | 0 | 2 | 0.0053878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3408-29_0_5_line_2 |  | 1 | 3 | 0.019493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3408-29_0_5_line_3 |  | 2 | 4 | 0.015311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3408-29_0_5_line_4 |  | 2 | 5 | 0.015968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3408-29_0_5_line_5 |  | 3 | 6 | 0.031756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3408-29_0_5_line_6 |  | 4 | 7 | 0.026819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3408-29_0_5_line_7 |  | 4 | 8 | 0.021964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3408-29_0_5_line_8 |  | 6 | 9 | 0.015066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3408-29_0_5_line_9 |  | 8 | 10 | 0.0023855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3408-29_0_5_line_10 |  | 9 | 91 | 0.033201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3408-29_0_5_line_11 |  | 10 | 31 | 0.026899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3408-29_0_5_line_12 |  | 11 | 12 | 0.023957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3408-29_0_5_line_13 |  | 11 | 13 | 0.022427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3408-29_0_5_line_14 |  | 12 | 14 | 0.044845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3408-29_0_5_line_15 |  | 13 | 15 | 0.0020421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3408-29_0_5_line_16 |  | 13 | 16 | 0.023233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3408-29_0_5_line_17 |  | 14 | 17 | 0.027471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3408-29_0_5_line_18 |  | 16 | 18 | 0.021421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3408-29_0_5_line_19 |  | 18 | 19 | 0.035001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3408-29_0_5_line_20 |  | 18 | 20 | 0.013645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3408-29_0_5_line_21 |  | 19 | 22 | 0.01015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3408-29_0_5_line_22 |  | 20 | 26 | 0.012612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3408-29_0_5_line_23 |  | 20 | 23 | 0.019559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3408-29_0_5_line_24 |  | 21 | 22 | 0.024847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3408-29_0_5_line_25 |  | 23 | 24 | 0.019468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3408-29_0_5_line_26 |  | 24 | 25 | 0.012302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3408-29_0_5_line_27 |  | 25 | 27 | 0.025535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3408-29_0_5_line_28 |  | 25 | 28 | 0.014689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_3408-29_0_5_line_29 |  | 27 | 29 | 0.024978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3408-29_0_5_line_30 |  | 28 | 30 | 0.029437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_3408-29_0_5_line_31 |  | 28 | 31 | 0.01302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3408-29_0_5_line_32 |  | 29 | 41 | 0.011189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3408-29_0_5_line_33 |  | 30 | 40 | 0.0074339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_3408-29_0_5_line_34 |  | 32 | 33 | 0.015823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3408-29_0_5_line_35 |  | 33 | 50 | 0.014801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3408-29_0_5_line_36 |  | 34 | 35 | 0.007378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_3408-29_0_5_line_37 |  | 34 | 36 | 0.020804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_3408-29_0_5_line_38 |  | 35 | 37 | 0.028044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3408-29_0_5_line_39 |  | 35 | 38 | 0.025361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3408-29_0_5_line_40 |  | 36 | 39 | 0.0081227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_3408-29_0_5_line_41 |  | 37 | 56 | 0.019587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3408-29_0_5_line_42 |  | 37 | 57 | 0.0054968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3408-29_0_5_line_43 |  | 38 | 58 | 0.039453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3408-29_0_5_line_44 |  | 39 | 42 | 0.028399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3408-29_0_5_line_45 |  | 39 | 40 | 0.011693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_3408-29_0_5_line_46 |  | 41 | 50 | 0.014528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3408-29_0_5_line_47 |  | 42 | 43 | 0.031813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3408-29_0_5_line_48 |  | 43 | 44 | 0.012116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3408-29_0_5_line_49 |  | 44 | 45 | 0.040987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3408-29_0_5_line_50 |  | 44 | 46 | 0.02509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3408-29_0_5_line_51 |  | 45 | 47 | 0.022042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3408-29_0_5_line_52 |  | 45 | 48 | 0.0042716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3408-29_0_5_line_53 |  | 46 | 51 | 0.015239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3408-29_0_5_line_54 |  | 47 | 52 | 0.020195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3408-29_0_5_line_55 |  | 48 | 53 | 0.019502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3408-29_0_5_line_56 |  | 49 | 50 | 0.015869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3408-29_0_5_line_57 |  | 51 | 54 | 0.03642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3408-29_0_5_line_58 |  | 53 | 55 | 0.00091064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3408-29_0_5_line_59 |  | 54 | 59 | 0.0057672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3408-29_0_5_line_60 |  | 56 | 65 | 0.0099367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3408-29_0_5_line_61 |  | 57 | 62 | 0.020549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3408-29_0_5_line_62 |  | 58 | 88 | 0.023375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3408-29_0_5_line_63 |  | 58 | 85 | 0.005687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3408-29_0_5_line_64 |  | 59 | 60 | 0.021622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3408-29_0_5_line_65 |  | 60 | 61 | 0.017318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3408-29_0_5_line_66 |  | 61 | 78 | 0.016632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3408-29_0_5_line_67 |  | 61 | 77 | 0.015018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3408-29_0_5_line_68 |  | 62 | 63 | 0.0051953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3408-29_0_5_line_69 |  | 63 | 64 | 0.011867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3408-29_0_5_line_70 |  | 64 | 66 | 0.014317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3408-29_0_5_line_71 |  | 65 | 67 | 0.017062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3408-29_0_5_line_72 |  | 66 | 73 | 0.012278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3408-29_0_5_line_73 |  | 68 | 69 | 0.0077727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3408-29_0_5_line_74 |  | 68 | 70 | 0.012566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3408-29_0_5_line_75 |  | 69 | 71 | 0.0084237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3408-29_0_5_line_76 |  | 70 | 72 | 0.019056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3408-29_0_5_line_77 |  | 71 | 73 | 0.012769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3408-29_0_5_line_78 |  | 72 | 74 | 0.012513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3408-29_0_5_line_79 |  | 74 | 75 | 0.0011784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3408-29_0_5_line_80 |  | 75 | 80 | 0.01393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3408-29_0_5_line_81 |  | 76 | 77 | 0.0091857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3408-29_0_5_line_82 |  | 78 | 79 | 0.038244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3408-29_0_5_line_83 |  | 79 | 81 | 0.015011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3408-29_0_5_line_84 |  | 79 | 82 | 0.0083426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3408-29_0_5_line_85 |  | 82 | 83 | 0.019855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3408-29_0_5_line_86 |  | 84 | 85 | 0.021196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3408-29_0_5_line_87 |  | 85 | 86 | 0.038175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3408-29_0_5_line_88 |  | 86 | 87 | 0.088918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3408-29_0_5_line_89 |  | 88 | 89 | 0.021392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3408-29_0_5_line_90 |  | 89 | 90 | 0.024585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3408-29_0_5_trafo_30 | 0.63 MVA 20/0.4 kV | 92 | 30 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2728170.4048 | 1256314.7662 | 2728187.8002 | 1256322.0902
1 | 2728192.7659 | 1256324.1809 | 2728187.8002 | 1256322.0902
2 | 2728170.4048 | 1256314.7662 | 2728153.2088 | 1256305.587
3 | 2728206.9184 | 1256330.126 | 2728192.7659 | 1256324.1809
4 | 2728192.7659 | 1256324.1809 | 2728198.9464 | 1256309.4572
5 | 2728125.1939 | 1256290.6328 | 2728153.2088 | 1256305.587
6 | 2728206.9184 | 1256330.126 | 2728215.8783 | 1256304.8418
7 | 2728206.9184 | 1256330.126 | 2728226.5506 | 1256339.9757
8 | 2728125.1939 | 1256290.6328 | 2728133.5557 | 1256278.0999
9 | 2728226.5506 | 1256339.9757 | 2728228.6828 | 1256341.0455
10 | 2728156.6035 | 1256267.881 | 2728144.4303 | 1256261.801 | 2728133.5557 | 1256278.0999
11 | 2728246.574 | 1256359.2331 | 2728240.4876 | 1256346.9681 | 2728228.6828 | 1256341.0455
12 | 2728138.9267 | 1256342.7767 | 2728131.0372 | 1256365.3978
13 | 2728123.6516 | 1256386.5742 | 2728131.0372 | 1256365.3978
14 | 2728096.06 | 1256329.1925 | 2728138.9267 | 1256342.7767
15 | 2728123.6516 | 1256386.5742 | 2728121.715 | 1256385.9261
16 | 2728123.6516 | 1256386.5742 | 2728145.2052 | 1256395.2459
17 | 2728096.06 | 1256329.1925 | 2728098.9132 | 1256338.1845 | 2728093.8696 | 1256355.5018
18 | 2728165.078 | 1256403.2413 | 2728145.2052 | 1256395.2459
19 | 2728165.078 | 1256403.2413 | 2728135.1848 | 1256421.4481
20 | 2728165.078 | 1256403.2413 | 2728176.8469 | 1256396.2787
21 | 2728126.5163 | 1256426.7278 | 2728135.1848 | 1256421.4481
22 | 2728176.8469 | 1256396.2787 | 2728182.7947 | 1256407.4004
23 | 2728176.8469 | 1256396.2787 | 2728193.8007 | 1256386.5265
24 | 2728126.5163 | 1256426.7278 | 2728119.3389 | 1256423.7253 | 2728103.6012 | 1256417.1222
25 | 2728193.8007 | 1256386.5265 | 2728210.6758 | 1256376.8196
26 | 2728221.3392 | 1256370.6858 | 2728210.6758 | 1256376.8196
27 | 2728221.3392 | 1256370.6858 | 2728223.4712 | 1256377.438 | 2728219.0681 | 1256395.3593
28 | 2728221.3392 | 1256370.6858 | 2728226.3869 | 1256367.8703 | 2728234.4941 | 1256364.1759
29 | 2728213.1085 | 1256419.6161 | 2728219.0681 | 1256395.3593
30 | 2728234.4941 | 1256364.1759 | 2728239.0882 | 1256371.849 | 2728244.342 | 1256375.8886 | 2728258.116 | 1256377.4913
31 | 2728246.574 | 1256359.2331 | 2728234.4941 | 1256364.1759
32 | 2728213.1085 | 1256419.6161 | 2728212.0942 | 1256423.7442 | 2728210.8199 | 1256430.5638
33 | 2728265.5001 | 1256378.3505 | 2728258.116 | 1256377.4913
34 | 2728193.4685 | 1256447.0285 | 2728190.7137 | 1256431.4472
35 | 2728193.4685 | 1256447.0285 | 2728203.2926 | 1256445.5621 | 2728208.1515 | 1256444.8445
36 | 2728285.6581 | 1256350.3163 | 2728278.2941 | 1256351.0463
37 | 2728278.2941 | 1256351.0463 | 2728279.6366 | 1256358.3708 | 2728278.0682 | 1256371.6354
38 | 2728285.6581 | 1256350.3163 | 2728300.3504 | 1256349.8008 | 2728313.7734 | 1256350.0697
39 | 2728285.6581 | 1256350.3163 | 2728285.16 | 1256336.0594 | 2728283.8357 | 1256325.0434
40 | 2728277.1145 | 1256379.702 | 2728278.0682 | 1256371.6354
41 | 2728313.7734 | 1256350.0697 | 2728313.7923 | 1256330.4829
42 | 2728313.7734 | 1256350.0697 | 2728319.2699 | 1256350.0134
43 | 2728279.1265 | 1256285.8725 | 2728283.8357 | 1256325.0434
44 | 2728277.1145 | 1256379.702 | 2728270.8089 | 1256407.1233 | 2728270.7274 | 1256407.372
45 | 2728277.1145 | 1256379.702 | 2728265.5001 | 1256378.3505
46 | 2728208.1515 | 1256444.8445 | 2728210.8199 | 1256430.5638
47 | 2728260.8209 | 1256437.6031 | 2728270.0414 | 1256409.4643 | 2728270.7274 | 1256407.372
48 | 2728259.4121 | 1256449.4588 | 2728259.2078 | 1256442.5259 | 2728260.8209 | 1256437.6031
49 | 2728264.649 | 1256490.1087 | 2728259.4121 | 1256449.4588
50 | 2728259.4121 | 1256449.4588 | 2728264.3426 | 1256452.7463 | 2728283.3535 | 1256455.1597
51 | 2728264.649 | 1256490.1087 | 2728286.5668 | 1256492.4412
52 | 2728264.649 | 1256490.1087 | 2728264.3627 | 1256494.3707
53 | 2728298.4712 | 1256457.0788 | 2728283.3535 | 1256455.1597
54 | 2728286.5668 | 1256492.4412 | 2728290.5079 | 1256497.52 | 2728291.4003 | 1256511.2571
55 | 2728263.0559 | 1256513.8288 | 2728264.3627 | 1256494.3707
56 | 2728208.1515 | 1256444.8445 | 2728218.9364 | 1256444.2997 | 2728223.9841 | 1256444.777
57 | 2728298.4712 | 1256457.0788 | 2728315.69 | 1256459.2647 | 2728325.3875 | 1256459.8087 | 2728334.6841 | 1256460.8068
58 | 2728263.0559 | 1256513.8288 | 2728262.9242 | 1256514.7299
59 | 2728334.6841 | 1256460.8068 | 2728340.4184 | 1256461.4224
60 | 2728313.7923 | 1256330.4829 | 2728313.8018 | 1256320.5462
61 | 2728319.2699 | 1256350.0134 | 2728329.4464 | 1256349.9092 | 2728339.8173 | 1256350.023
62 | 2728279.1265 | 1256285.8725 | 2728256.9092 | 1256278.6082
63 | 2728279.8072 | 1256280.2267 | 2728279.1265 | 1256285.8725
64 | 2728361.7788 | 1256464.715 | 2728346.8083 | 1256462.1084 | 2728340.4184 | 1256461.4224
65 | 2728378.8404 | 1256467.6856 | 2728361.7788 | 1256464.715
66 | 2728378.8404 | 1256467.6856 | 2728384.5589 | 1256471.1572 | 2728384.6405 | 1256481.0992
67 | 2728378.8404 | 1256467.6856 | 2728381.7919 | 1256452.9601
68 | 2728339.8173 | 1256350.023 | 2728339.8173 | 1256350.023 | 2728345.0065 | 1256349.771
69 | 2728345.0065 | 1256349.771 | 2728356.8591 | 1256349.1955
70 | 2728371.1591 | 1256348.5011 | 2728356.8591 | 1256349.1955
71 | 2728313.8182 | 1256303.4845 | 2728313.8018 | 1256320.5462
72 | 2728371.1591 | 1256348.5011 | 2728371.471 | 1256360.7748
73 | 2728373.3172 | 1256389.5069 | 2728372.1235 | 1256386.456 | 2728372.0093 | 1256381.9608
74 | 2728373.3172 | 1256389.5069 | 2728373.3172 | 1256389.5069 | 2728376.0348 | 1256391.1673 | 2728385.3899 | 1256391.8656
75 | 2728372.0093 | 1256381.9608 | 2728371.7953 | 1256373.5398
76 | 2728404.3929 | 1256393.2841 | 2728385.3899 | 1256391.8656
77 | 2728371.471 | 1256360.7748 | 2728371.7953 | 1256373.5398
78 | 2728404.3929 | 1256393.2841 | 2728416.8644 | 1256394.2968
79 | 2728418.039 | 1256394.3921 | 2728416.8644 | 1256394.2968
80 | 2728418.039 | 1256394.3921 | 2728418.0077 | 1256390.9662 | 2728417.9173 | 1256380.4622
81 | 2728383.5971 | 1256443.9536 | 2728381.7919 | 1256452.9601
82 | 2728384.9541 | 1256519.3423 | 2728384.6405 | 1256481.0992
83 | 2728384.9541 | 1256519.3423 | 2728388.9132 | 1256517.3264 | 2728393.3648 | 1256515.9105 | 2728399.2064 | 1256515.1031
84 | 2728384.9541 | 1256519.3423 | 2728379.9873 | 1256522.949 | 2728378.5391 | 1256524.6109
85 | 2728378.5391 | 1256524.6109 | 2728376.4206 | 1256527.042 | 2728373.2612 | 1256532.534 | 2728370.0908 | 1256542.3284
86 | 2728279.8072 | 1256280.2267 | 2728300.9978 | 1256279.7373
87 | 2728279.8072 | 1256280.2267 | 2728284.9729 | 1256242.4047
88 | 2728284.9729 | 1256242.4047 | 2728244.9839 | 1256233.5194 | 2728217.4083 | 1256224.503 | 2728200.4665 | 1256216.031
89 | 2728256.9092 | 1256278.6082 | 2728236.5763 | 1256271.9599
90 | 2728213.2086 | 1256264.3193 | 2728236.5763 | 1256271.9599

## bus_geodata
| x | y | coords
0 | 2728187.8002 | 1256322.0902
1 | 2728170.4048 | 1256314.7662
2 | 2728192.7659 | 1256324.1809
3 | 2728153.2088 | 1256305.587
4 | 2728206.9184 | 1256330.126
5 | 2728198.9464 | 1256309.4572
6 | 2728125.1939 | 1256290.6328
7 | 2728215.8783 | 1256304.8418
8 | 2728226.5506 | 1256339.9757
9 | 2728133.5557 | 1256278.0999
10 | 2728228.6828 | 1256341.0455
11 | 2728131.0372 | 1256365.3978
12 | 2728138.9267 | 1256342.7767
13 | 2728123.6516 | 1256386.5742
14 | 2728096.0601 | 1256329.1925
15 | 2728121.715 | 1256385.9261
16 | 2728145.2052 | 1256395.2459
17 | 2728093.8696 | 1256355.5018
18 | 2728165.078 | 1256403.2413
19 | 2728135.1848 | 1256421.4481
20 | 2728176.8469 | 1256396.2787
21 | 2728103.6012 | 1256417.1222
22 | 2728126.5163 | 1256426.7278
23 | 2728193.8007 | 1256386.5265
24 | 2728210.6758 | 1256376.8196
25 | 2728221.3392 | 1256370.6858
26 | 2728182.7947 | 1256407.4004
27 | 2728219.0681 | 1256395.3593
28 | 2728234.4941 | 1256364.1759
29 | 2728213.1085 | 1256419.6161
30 | 2728258.116 | 1256377.4913
31 | 2728246.574 | 1256359.2331
32 | 2728190.7137 | 1256431.4472
33 | 2728193.4685 | 1256447.0285
34 | 2728278.2941 | 1256351.0463
35 | 2728285.6581 | 1256350.3163
36 | 2728278.0682 | 1256371.6354
37 | 2728313.7734 | 1256350.0697
38 | 2728283.8357 | 1256325.0434
39 | 2728277.1145 | 1256379.702
40 | 2728265.5001 | 1256378.3505
41 | 2728210.8199 | 1256430.5638
42 | 2728270.7274 | 1256407.372
43 | 2728260.8209 | 1256437.6031
44 | 2728259.4121 | 1256449.4588
45 | 2728264.649 | 1256490.1087
46 | 2728283.3535 | 1256455.1597
47 | 2728286.5668 | 1256492.4412
48 | 2728264.3627 | 1256494.3707
49 | 2728223.9841 | 1256444.777
50 | 2728208.1515 | 1256444.8445
51 | 2728298.4712 | 1256457.0788
52 | 2728291.4003 | 1256511.2571
53 | 2728263.0559 | 1256513.8288
54 | 2728334.6841 | 1256460.8068
55 | 2728262.9242 | 1256514.7299
56 | 2728313.7923 | 1256330.4829
57 | 2728319.2699 | 1256350.0134
58 | 2728279.1265 | 1256285.8725
59 | 2728340.4184 | 1256461.4224
60 | 2728361.7788 | 1256464.715
61 | 2728378.8404 | 1256467.6856
62 | 2728339.8173 | 1256350.023
63 | 2728345.0065 | 1256349.771
64 | 2728356.8591 | 1256349.1955
65 | 2728313.8018 | 1256320.5462
66 | 2728371.1591 | 1256348.5011
67 | 2728313.8182 | 1256303.4845
68 | 2728373.3172 | 1256389.5069
69 | 2728372.0093 | 1256381.9608
70 | 2728385.3899 | 1256391.8656
71 | 2728371.7953 | 1256373.5398
72 | 2728404.3929 | 1256393.2841
73 | 2728371.471 | 1256360.7748
74 | 2728416.8644 | 1256394.2968
75 | 2728418.039 | 1256394.3921
76 | 2728383.5971 | 1256443.9536
77 | 2728381.7919 | 1256452.9601
78 | 2728384.6405 | 1256481.0992
79 | 2728384.9541 | 1256519.3423
80 | 2728417.9173 | 1256380.4622
81 | 2728399.2064 | 1256515.1031
82 | 2728378.5391 | 1256524.6109
83 | 2728370.0908 | 1256542.3284
84 | 2728300.9978 | 1256279.7373
85 | 2728279.8072 | 1256280.2267
86 | 2728284.9729 | 1256242.4047
87 | 2728200.4665 | 1256216.031
88 | 2728256.9092 | 1256278.6082
89 | 2728236.5763 | 1256271.9599
90 | 2728213.2086 | 1256264.3193
91 | 2728156.6035 | 1256267.881
92 | 2728277.1145 | 1256379.702

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1