## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3408-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3408-3_0_3_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_3408-3_0_3_node_33 | 0.4 | n |  | TRUE
3 | bus_LV_3408-3_0_3_node_1 | 0.4 | n |  | TRUE
4 | bus_LV_3408-3_0_3_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_3408-3_0_3_node_34 | 0.4 | n |  | TRUE
6 | bus_LV_3408-3_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_3408-3_0_3_node_160 | 0.4 | n |  | TRUE
8 | bus_LV_3408-3_0_3_node_174 | 0.4 | n |  | TRUE
9 | bus_LV_3408-3_0_3_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_3408-3_0_3_node_180 | 0.4 | n |  | TRUE
11 | bus_LV_3408-3_0_3_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_3408-3_0_3_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_3408-3_0_3_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_3408-3_0_3_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_3408-3_0_3_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_3408-3_0_3_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_3408-3_0_3_node_25 | 0.4 | n |  | TRUE
18 | bus_LV_3408-3_0_3_node_26 | 0.4 | n |  | TRUE
19 | bus_LV_3408-3_0_3_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_3408-3_0_3_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_3408-3_0_3_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_3408-3_0_3_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_3408-3_0_3_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_3408-3_0_3_node_35 | 0.4 | n |  | TRUE
25 | bus_LV_3408-3_0_3_node_181 | 0.4 | n |  | TRUE
26 | bus_LV_3408-3_0_3_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_3408-3_0_3_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_3408-3_0_3_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_3408-3_0_3_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_3408-3_0_3_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_3408-3_0_3_node_74 | 0.4 | n |  | TRUE
32 | bus_LV_3408-3_0_3_node_69 | 0.4 | n |  | TRUE
33 | bus_LV_3408-3_0_3_node_190 | 0.4 | n |  | TRUE
34 | bus_LV_3408-3_0_3_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_3408-3_0_3_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_3408-3_0_3_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_3408-3_0_3_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_3408-3_0_3_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_3408-3_0_3_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_3408-3_0_3_node_73 | 0.4 | n |  | TRUE
41 | bus_LV_3408-3_0_3_node_71 | 0.4 | n |  | TRUE
42 | bus_LV_3408-3_0_3_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_3408-3_0_3_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_3408-3_0_3_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_3408-3_0_3_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_3408-3_0_3_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_3408-3_0_3_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_3408-3_0_3_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_3408-3_0_3_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_3408-3_0_3_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_3408-3_0_3_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_3408-3_0_3_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_3408-3_0_3_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_3408-3_0_3_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_3408-3_0_3_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_3408-3_0_3_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_3408-3_0_3_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_3408-3_0_3_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_3408-3_0_3_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_3408-3_0_3_node_67 | 0.4 | n |  | TRUE
61 | bus_LV_3408-3_0_3_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_3408-3_0_3_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_3408-3_0_3_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_3408-3_0_3_node_62 | 0.4 | n |  | TRUE
65 | bus_LV_3408-3_0_3_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_3408-3_0_3_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_3408-3_0_3_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_3408-3_0_3_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_3408-3_0_3_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_3408-3_0_3_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_3408-3_0_3_node_72 | 0.4 | n |  | TRUE
72 | bus_LV_3408-3_0_3_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_3408-3_0_3_node_151 | 0.4 | n |  | TRUE
74 | bus_LV_3408-3_0_3_node_152 | 0.4 | n |  | TRUE
75 | bus_LV_3408-3_0_3_node_173 | 0.4 | n |  | TRUE
76 | bus_LV_3408-3_0_3_node_159 | 0.4 | n |  | TRUE
77 | bus_LV_3408-3_0_3_node_169 | 0.4 | n |  | TRUE
78 | bus_LV_3408-3_0_3_node_170 | 0.4 | n |  | TRUE
79 | bus_LV_3408-3_0_3_node_189 | 0.4 | n |  | TRUE
80 | bus_LV_3408-3_0_3_node_192 | 0.4 | n |  | TRUE
81 | bus_LV_3408-3_0_3_node_191 | 0.4 | n |  | TRUE
82 | bus_MV_587_0_node_77 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3408-3_0_3_load_0 | 0 | 0.0073631 | 0.0018454 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3408-3_0_3_load_34 | 5 | 0.0072413 | 0.0018148 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3408-3_0_3_load_160 | 7 | 0.0018142 | 0.00045469 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3408-3_0_3_load_174 | 8 | 0.0078802 | 0.001975 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3408-3_0_3_load_180 | 10 | 0.0030825 | 0.00077254 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3408-3_0_3_load_10 | 11 | 0.00091637 | 0.00022966 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3408-3_0_3_load_13 | 14 | 0.0003031 | 7.5964e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3408-3_0_3_load_14 | 15 | 0.0011439 | 0.00028668 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3408-3_0_3_load_26 | 18 | 0.0020898 | 0.00052375 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3408-3_0_3_load_16 | 19 | 0.002367 | 0.00059323 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3408-3_0_3_load_17 | 20 | 0.0031379 | 0.00078642 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3408-3_0_3_load_19 | 22 | 0.00088268 | 0.00022122 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3408-3_0_3_load_35 | 24 | 0.0027847 | 0.00069792 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3408-3_0_3_load_181 | 25 | 0.0075126 | 0.0018828 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3408-3_0_3_load_32 | 28 | 0.00698 | 0.0017494 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3408-3_0_3_load_74 | 31 | 0.0074778 | 0.0018741 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3408-3_0_3_load_69 | 32 | 0.0045036 | 0.0011287 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3408-3_0_3_load_27 | 35 | 0.033244 | 0.0083318 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3408-3_0_3_load_28 | 36 | 0.024548 | 0.0061524 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3408-3_0_3_load_73 | 40 | 0.0039154 | 0.00098129 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3408-3_0_3_load_71 | 41 | 0.0047328 | 0.0011862 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3408-3_0_3_load_36 | 42 | 0.0012173 | 0.00030508 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3408-3_0_3_load_37 | 43 | 0.002908 | 0.00072881 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3408-3_0_3_load_39 | 44 | 0.0011856 | 0.00029715 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3408-3_0_3_load_40 | 45 | 0.0027 | 0.00067668 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3408-3_0_3_load_41 | 46 | 0.0027601 | 0.00069175 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3408-3_0_3_load_42 | 47 | 0.0038984 | 0.00097704 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3408-3_0_3_load_44 | 49 | 0.0022513 | 0.00056423 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3408-3_0_3_load_45 | 50 | 0.0019831 | 0.00049702 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3408-3_0_3_load_46 | 51 | 0.001665 | 0.0004173 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3408-3_0_3_load_51 | 52 | 0.011922 | 0.002988 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3408-3_0_3_load_48 | 53 | 0.0022299 | 0.00055888 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3408-3_0_3_load_47 | 54 | 0.010432 | 0.0026146 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3408-3_0_3_load_49 | 55 | 0.0076845 | 0.0019259 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3408-3_0_3_load_50 | 56 | 0.0028074 | 0.00070361 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3408-3_0_3_load_55 | 57 | 0.002015 | 0.000505 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3408-3_0_3_load_52 | 58 | 0.0030244 | 0.00075799 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3408-3_0_3_load_53 | 59 | 0.0054631 | 0.0013692 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3408-3_0_3_load_67 | 60 | 0.0070221 | 0.0017599 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3408-3_0_3_load_54 | 61 | 0.0029356 | 0.00073572 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3408-3_0_3_load_56 | 62 | 0.0021138 | 0.00052977 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3408-3_0_3_load_57 | 63 | 0.0012566 | 0.00031494 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3408-3_0_3_load_62 | 64 | 0.0012851 | 0.00032207 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3408-3_0_3_load_58 | 65 | 0.0016766 | 0.0004202 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3408-3_0_3_load_59 | 66 | 0.0010085 | 0.00025276 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3408-3_0_3_load_60 | 67 | 0.0017258 | 0.00043254 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3408-3_0_3_load_66 | 69 | 0.0074617 | 0.0018701 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3408-3_0_3_load_63 | 70 | 0.0013441 | 0.00033687 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3408-3_0_3_load_72 | 71 | 0.010337 | 0.0025907 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3408-3_0_3_load_68 | 72 | 0.0068818 | 0.0017247 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3408-3_0_3_load_151 | 73 | 0.0062866 | 0.0015756 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3408-3_0_3_load_173 | 75 | 0.0034704 | 0.00086976 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3408-3_0_3_load_159 | 76 | 0.0040086 | 0.0010046 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3408-3_0_3_load_169 | 77 | 0.0032086 | 0.00080415 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3408-3_0_3_load_170 | 78 | 0.0030755 | 0.0007708 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3408-3_0_3_load_192 | 80 | 0.0051302 | 0.0012857 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3408-3_0_3_load_191 | 81 | 0.00051841 | 0.00012993 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 72 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3408-3_0_3_line_0 |  | 0 | 1 | 0.052563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3408-3_0_3_line_1 |  | 0 | 2 | 0.08342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3408-3_0_3_line_2 |  | 1 | 6 | 0.024285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3408-3_0_3_line_3 |  | 2 | 28 | 0.042836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3408-3_0_3_line_4 |  | 2 | 30 | 0.025995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3408-3_0_3_line_5 |  | 3 | 4 | 0.014084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3408-3_0_3_line_6 |  | 3 | 5 | 0.056842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3408-3_0_3_line_7 |  | 4 | 7 | 0.014146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3408-3_0_3_line_8 |  | 4 | 8 | 0.026674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3408-3_0_3_line_9 |  | 5 | 41 | 0.022478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3408-3_0_3_line_10 |  | 6 | 9 | 0.048014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3408-3_0_3_line_11 |  | 7 | 76 | 0.029216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3408-3_0_3_line_12 |  | 8 | 74 | 0.054105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3408-3_0_3_line_13 |  | 9 | 10 | 0.11321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3408-3_0_3_line_14 |  | 10 | 78 | 0.01833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3408-3_0_3_line_15 |  | 11 | 12 | 0.075554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3408-3_0_3_line_16 |  | 12 | 13 | 0.071562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3408-3_0_3_line_17 |  | 13 | 14 | 0.0018146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3408-3_0_3_line_18 |  | 14 | 15 | 0.093837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3408-3_0_3_line_19 |  | 15 | 16 | 0.013279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3408-3_0_3_line_20 |  | 16 | 17 | 0.015276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3408-3_0_3_line_21 |  | 16 | 18 | 0.0011105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3408-3_0_3_line_22 |  | 17 | 33 | 0.016887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3408-3_0_3_line_23 |  | 18 | 34 | 0.035549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3408-3_0_3_line_24 |  | 19 | 20 | 0.023871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3408-3_0_3_line_25 |  | 19 | 21 | 0.03352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3408-3_0_3_line_26 |  | 20 | 22 | 0.011739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3408-3_0_3_line_27 |  | 21 | 23 | 0.064505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3408-3_0_3_line_28 |  | 22 | 24 | 0.0034331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3408-3_0_3_line_29 |  | 23 | 25 | 0.0071621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3408-3_0_3_line_30 |  | 24 | 42 | 0.013545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3408-3_0_3_line_31 |  | 25 | 26 | 0.037987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3408-3_0_3_line_32 |  | 26 | 27 | 0.012061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3408-3_0_3_line_33 |  | 27 | 28 | 0.020513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3408-3_0_3_line_34 |  | 29 | 30 | 0.033966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3408-3_0_3_line_35 |  | 29 | 31 | 0.015684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3408-3_0_3_line_36 |  | 30 | 32 | 0.015378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3408-3_0_3_line_37 |  | 31 | 39 | 0.010285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3408-3_0_3_line_38 |  | 32 | 72 | 0.024536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3408-3_0_3_line_39 |  | 33 | 81 | 0.010317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3408-3_0_3_line_40 |  | 33 | 79 | 0.013492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3408-3_0_3_line_41 |  | 34 | 44 | 0.023677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3408-3_0_3_line_42 |  | 34 | 45 | 0.017881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3408-3_0_3_line_43 |  | 35 | 36 | 0.0010905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3408-3_0_3_line_44 |  | 36 | 37 | 0.015377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3408-3_0_3_line_45 |  | 37 | 38 | 0.023388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3408-3_0_3_line_46 |  | 38 | 39 | 0.055413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3408-3_0_3_line_47 |  | 39 | 40 | 0.017316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3408-3_0_3_line_48 |  | 41 | 71 | 0.0080446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3408-3_0_3_line_49 |  | 42 | 43 | 0.015057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3408-3_0_3_line_50 |  | 43 | 44 | 0.00099001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3408-3_0_3_line_51 |  | 46 | 47 | 0.027999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3408-3_0_3_line_52 |  | 46 | 48 | 0.034434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3408-3_0_3_line_53 |  | 47 | 49 | 0.0022175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3408-3_0_3_line_54 |  | 48 | 50 | 0.01791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3408-3_0_3_line_55 |  | 48 | 51 | 0.027876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3408-3_0_3_line_56 |  | 49 | 52 | 0.027447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3408-3_0_3_line_57 |  | 50 | 53 | 0.0023313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3408-3_0_3_line_58 |  | 52 | 58 | 0.02104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3408-3_0_3_line_59 |  | 53 | 54 | 0.018696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3408-3_0_3_line_60 |  | 54 | 55 | 0.0046088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3408-3_0_3_line_61 |  | 55 | 56 | 0.00053047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3408-3_0_3_line_62 |  | 56 | 57 | 0.014316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3408-3_0_3_line_63 |  | 57 | 61 | 0.00040909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3408-3_0_3_line_64 |  | 58 | 59 | 0.0022357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_3408-3_0_3_line_65 |  | 59 | 60 | 0.039088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_3408-3_0_3_line_66 |  | 60 | 72 | 0.025509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_3408-3_0_3_line_67 |  | 61 | 62 | 0.015966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3408-3_0_3_line_68 |  | 62 | 63 | 0.00080082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3408-3_0_3_line_69 |  | 63 | 64 | 0.020348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3408-3_0_3_line_70 |  | 64 | 67 | 0.0001404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3408-3_0_3_line_71 |  | 65 | 66 | 0.00086001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3408-3_0_3_line_72 |  | 65 | 67 | 0.019555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3408-3_0_3_line_73 |  | 66 | 68 | 0.011267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3408-3_0_3_line_74 |  | 68 | 69 | 0.042428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3408-3_0_3_line_75 |  | 68 | 70 | 0.051631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3408-3_0_3_line_76 |  | 69 | 71 | 0.030552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3408-3_0_3_line_77 |  | 73 | 74 | 0.0069898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3408-3_0_3_line_78 |  | 74 | 75 | 0.0033366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3408-3_0_3_line_79 |  | 77 | 78 | 0.0091477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3408-3_0_3_line_80 |  | 79 | 80 | 0.016606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3408-3_0_3_trafo_68 | 0.63 MVA 20/0.4 kV | 82 | 72 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2727667.1883 | 1255487.7117 | 2727669.6856 | 1255490.1677 | 2727670.4478 | 1255492.6085 | 2727666.8282 | 1255498.1021 | 2727664.6077 | 1255504.1485 | 2727659.3984 | 1255518.6269 | 2727656.5561 | 1255525.5162 | 2727653.6812 | 1255535.7642
1 | 2727724.7169 | 1255579.5007 | 2727653.6812 | 1255535.7642
2 | 2727656.1723 | 1255502.3873 | 2727660.8306 | 1255485.4726 | 2727667.1883 | 1255487.7117
3 | 2727724.7169 | 1255579.5007 | 2727721.9099 | 1255577.7609 | 2727724.4095 | 1255573.4665 | 2727729.3641 | 1255568.3466 | 2727736.8357 | 1255563.37 | 2727740.5739 | 1255560.7705 | 2727742.6001 | 1255558.8347 | 2727744.9172 | 1255554.959 | 2727746.6664 | 1255551.527 | 2727747.0998 | 1255549.6236 | 2727747.2877 | 1255548.859
4 | 2727750.1401 | 1255583.5416 | 2727727.8667 | 1255581.4371 | 2727724.7169 | 1255579.5007
5 | 2727629.5023 | 1255634.4747 | 2727624.2326 | 1255634.272 | 2727615.8508 | 1255631.4333
6 | 2727682.2587 | 1255655.6342 | 2727629.5023 | 1255634.4747
7 | 2727615.8508 | 1255631.4333 | 2727620.9148 | 1255618.225
8 | 2727615.8508 | 1255631.4333 | 2727606.2439 | 1255656.3177
9 | 2727671.69 | 1255675.4724 | 2727674.8478 | 1255669.4834 | 2727682.2587 | 1255655.6342
10 | 2727656.4466 | 1255458.8989 | 2727657.4679 | 1255465.0708 | 2727657.7127 | 1255469.113 | 2727651.039 | 1255500.753 | 2727656.1723 | 1255502.3873
11 | 2727620.9148 | 1255618.225 | 2727631.3737 | 1255590.9449
12 | 2727586.679 | 1255706.7608 | 2727590.997 | 1255695.8107 | 2727606.2439 | 1255656.3177
13 | 2727656.4466 | 1255458.8989 | 2727653.5272 | 1255463.4177 | 2727651.7824 | 1255468.3957 | 2727646.1703 | 1255492.4517 | 2727642.8345 | 1255500.5315 | 2727638.2793 | 1255508.4737 | 2727630.9582 | 1255516.9679 | 2727596.0705 | 1255551.0131
14 | 2727582.9345 | 1255563.7977 | 2727585.4223 | 1255561.4041 | 2727596.0705 | 1255551.0131
15 | 2728033.9783 | 1255743.1588 | 2728025.4279 | 1255756.4969 | 2728006.1658 | 1255773.2177 | 2728004.6613 | 1255774.7532 | 2727990.8403 | 1255789.3341 | 2727983.5892 | 1255798.8501
16 | 2727981.6028 | 1255694.2273 | 2728012.9661 | 1255723.5981 | 2728028.3971 | 1255737.8333 | 2728029.942 | 1255739.3125 | 2728033.9783 | 1255743.1588
17 | 2727981.6028 | 1255694.2273 | 2727980.2739 | 1255692.9917
18 | 2727980.2739 | 1255692.9917 | 2727971.0704 | 1255684.4353 | 2727945.2134 | 1255660.3551 | 2727929.8676 | 1255643.9089 | 2727923.7192 | 1255637.2368 | 2727915.2266 | 1255626.2657 | 2727914.9364 | 1255625.8633
19 | 2727907.1685 | 1255615.0928 | 2727914.9364 | 1255625.8633
20 | 2727907.1685 | 1255615.0928 | 2727913.5559 | 1255611.0605 | 2727920.119 | 1255606.9319
21 | 2727907.1685 | 1255615.0928 | 2727906.5884 | 1255614.1458
22 | 2727920.119 | 1255606.9319 | 2727931.8302 | 1255599.5561 | 2727934.408 | 1255597.9326
23 | 2727888.6649 | 1255583.4538 | 2727897.7305 | 1255599.6863 | 2727906.5884 | 1255614.1458
24 | 2727857.0841 | 1255522.7363 | 2727846.7226 | 1255501.231
25 | 2727832.1731 | 1255471.0337 | 2727846.7226 | 1255501.231
26 | 2727857.0841 | 1255522.7363 | 2727858.7915 | 1255526.2799 | 2727862.4062 | 1255533.198
27 | 2727783.6482 | 1255484.6875 | 2727784.6928 | 1255485.5775 | 2727790.5029 | 1255491.5082 | 2727793.1997 | 1255494.8583 | 2727794.686 | 1255495.9135 | 2727795.964 | 1255496.8308 | 2727800.1152 | 1255491.8826 | 2727813.0581 | 1255476.3926 | 2727815.2925 | 1255474.9506 | 2727820.0592 | 1255473.2965 | 2727826.0522 | 1255473.9042 | 2727832.1731 | 1255471.0337
28 | 2727863.9961 | 1255536.2408 | 2727862.4062 | 1255533.198
29 | 2727783.6482 | 1255484.6875 | 2727779.0395 | 1255490.1699
30 | 2727863.9961 | 1255536.2408 | 2727870.2689 | 1255548.2461
31 | 2727760.5763 | 1255519.543 | 2727763.1131 | 1255516.3282 | 2727760.4602 | 1255513.3906 | 2727760.6552 | 1255512.0491 | 2727767.6717 | 1255503.6931 | 2727779.0395 | 1255490.1699
32 | 2727753.6632 | 1255529.4027 | 2727755.0626 | 1255527.142 | 2727756.8139 | 1255524.3105 | 2727760.5763 | 1255519.543
33 | 2727753.6632 | 1255529.4027 | 2727750.1547 | 1255538.1348 | 2727748.4399 | 1255544.1698 | 2727747.2877 | 1255548.859
34 | 2727750.1401 | 1255583.5416 | 2727754.8019 | 1255583.9426 | 2727755.8716 | 1255570.398 | 2727761.8458 | 1255572.2174 | 2727770.4931 | 1255576.0407
35 | 2727770.4931 | 1255576.0407 | 2727785.1217 | 1255581.6963
36 | 2727750.1401 | 1255583.5416 | 2727749.6427 | 1255598.9116
37 | 2727794.7148 | 1255585.4051 | 2727785.1217 | 1255581.6963
38 | 2727749.6427 | 1255598.9116 | 2727749.4373 | 1255605.257 | 2727748.8163 | 1255623.4338
39 | 2727943.1588 | 1255592.4278 | 2727934.408 | 1255597.9326
40 | 2727938.2695 | 1255607.7803 | 2727931.8302 | 1255599.5561 | 2727934.408 | 1255597.9326
41 | 2727888.6649 | 1255583.4538 | 2727877.7003 | 1255562.4689
42 | 2727888.6649 | 1255583.4538 | 2727904.5026 | 1255575.0661
43 | 2727802.042 | 1255537.6263 | 2727801.6012 | 1255536.6289
44 | 2727806.9439 | 1255526.8056 | 2727798.968 | 1255530.6702 | 2727801.6012 | 1255536.6289
45 | 2727806.9439 | 1255526.8056 | 2727813.7706 | 1255542.2556 | 2727816.4038 | 1255548.1955
46 | 2727794.7148 | 1255585.4051 | 2727818.3381 | 1255574.6164 | 2727821.4556 | 1255572.4596 | 2727823.0181 | 1255569.6352 | 2727822.7251 | 1255566.7819 | 2727816.4038 | 1255548.1955
47 | 2727794.7148 | 1255585.4051 | 2727800.5459 | 1255587.9109 | 2727806.128 | 1255593.2139 | 2727806.5226 | 1255596.4599
48 | 2727671.69 | 1255675.4724 | 2727669.9544 | 1255678.764 | 2727667.923 | 1255682.5805
49 | 2727877.2418 | 1255561.5915 | 2727870.2689 | 1255548.2461
50 | 2727877.7003 | 1255562.4689 | 2727877.2418 | 1255561.5915
51 | 2727743.847 | 1255768.8853 | 2727744.803 | 1255740.9026
52 | 2727742.6713 | 1255803.2989 | 2727743.847 | 1255768.8853
53 | 2727744.803 | 1255740.9026 | 2727744.8788 | 1255738.6863
54 | 2727742.6713 | 1255803.2989 | 2727737.4362 | 1255802.8967 | 2727725.2155 | 1255799.5924
55 | 2727742.6713 | 1255803.2989 | 2727741.3275 | 1255831.1429
56 | 2727745.8159 | 1255711.2553 | 2727744.8788 | 1255738.6863
57 | 2727722.9649 | 1255798.9838 | 2727725.2155 | 1255799.5924
58 | 2727745.8159 | 1255711.2553 | 2727746.5343 | 1255690.2274
59 | 2727705.35 | 1255792.737 | 2727721.1212 | 1255798.4853 | 2727722.9649 | 1255798.9838
60 | 2727705.35 | 1255792.737 | 2727701.0199 | 1255791.1587
61 | 2727700.5215 | 1255790.9771 | 2727701.0199 | 1255791.1587
62 | 2727687.8482 | 1255784.3937 | 2727697.5102 | 1255789.8795 | 2727700.5215 | 1255790.9771
63 | 2727687.4925 | 1255784.1918 | 2727687.4925 | 1255784.1918 | 2727687.8482 | 1255784.3937
64 | 2727746.6107 | 1255687.993 | 2727746.5343 | 1255690.2274
65 | 2727747.9453 | 1255648.9278 | 2727746.6107 | 1255687.993
66 | 2727747.9453 | 1255648.9278 | 2727748.8163 | 1255623.4338
67 | 2727687.4925 | 1255784.1918 | 2727674.3139 | 1255775.1785
68 | 2727673.6529 | 1255774.7265 | 2727674.3139 | 1255775.1785
69 | 2727673.6529 | 1255774.7265 | 2727656.8573 | 1255763.2394
70 | 2727656.7414 | 1255763.1602 | 2727656.8573 | 1255763.2394
71 | 2727639.8903 | 1255751.6352 | 2727640.6001 | 1255752.1207
72 | 2727640.6001 | 1255752.1207 | 2727656.7414 | 1255763.1602
73 | 2727630.5904 | 1255745.2748 | 2727639.8903 | 1255751.6352
74 | 2727630.5904 | 1255745.2748 | 2727635.9649 | 1255736.416 | 2727641.3397 | 1255727.5462 | 2727652.5859 | 1255708.9935
75 | 2727630.5904 | 1255745.2748 | 2727618.8832 | 1255764.7398 | 2727610.3845 | 1255778.8693 | 2727607.9898 | 1255782.8545 | 2727604.4359 | 1255789.7738
76 | 2727652.5859 | 1255708.9935 | 2727662.2207 | 1255693.0989 | 2727665.6765 | 1255686.8011 | 2727667.923 | 1255682.5805
77 | 2727586.679 | 1255706.7608 | 2727579.853 | 1255705.2568
78 | 2727586.679 | 1255706.7608 | 2727585.4554 | 1255709.8649
79 | 2727576.3425 | 1255570.1402 | 2727582.9345 | 1255563.7977
80 | 2727938.2695 | 1255607.7803 | 2727948.5195 | 1255620.869

## bus_geodata
| x | y | coords
0 | 2727653.6812 | 1255535.7642
1 | 2727667.1883 | 1255487.7117
2 | 2727724.7169 | 1255579.5007
3 | 2727629.5023 | 1255634.4747
4 | 2727615.8508 | 1255631.4333
5 | 2727682.2587 | 1255655.6342
6 | 2727656.1723 | 1255502.3873
7 | 2727620.9148 | 1255618.225
8 | 2727606.2439 | 1255656.3177
9 | 2727656.4466 | 1255458.8989
10 | 2727596.0705 | 1255551.0131
11 | 2727983.5892 | 1255798.8501
12 | 2728033.9783 | 1255743.1588
13 | 2727981.6028 | 1255694.2273
14 | 2727980.2739 | 1255692.9917
15 | 2727914.9364 | 1255625.8633
16 | 2727907.1685 | 1255615.0928
17 | 2727920.119 | 1255606.9319
18 | 2727906.5884 | 1255614.1458
19 | 2727846.7226 | 1255501.231
20 | 2727857.0841 | 1255522.7363
21 | 2727832.1731 | 1255471.0337
22 | 2727862.4062 | 1255533.198
23 | 2727783.6482 | 1255484.6875
24 | 2727863.9961 | 1255536.2408
25 | 2727779.0395 | 1255490.1699
26 | 2727760.5763 | 1255519.543
27 | 2727753.6632 | 1255529.4027
28 | 2727747.2877 | 1255548.859
29 | 2727770.4931 | 1255576.0407
30 | 2727750.1401 | 1255583.5416
31 | 2727785.1217 | 1255581.6963
32 | 2727749.6427 | 1255598.9116
33 | 2727934.408 | 1255597.9326
34 | 2727888.6649 | 1255583.4538
35 | 2727802.042 | 1255537.6263
36 | 2727801.6012 | 1255536.6289
37 | 2727806.9439 | 1255526.8056
38 | 2727816.4038 | 1255548.1955
39 | 2727794.7148 | 1255585.4051
40 | 2727806.5226 | 1255596.4599
41 | 2727671.69 | 1255675.4724
42 | 2727870.2689 | 1255548.2461
43 | 2727877.2418 | 1255561.5915
44 | 2727877.7003 | 1255562.4689
45 | 2727904.5026 | 1255575.0661
46 | 2727743.847 | 1255768.8853
47 | 2727744.803 | 1255740.9026
48 | 2727742.6713 | 1255803.2989
49 | 2727744.8788 | 1255738.6863
50 | 2727725.2155 | 1255799.5923
51 | 2727741.3275 | 1255831.1429
52 | 2727745.8159 | 1255711.2553
53 | 2727722.9649 | 1255798.9838
54 | 2727705.35 | 1255792.737
55 | 2727701.0199 | 1255791.1587
56 | 2727700.5215 | 1255790.9771
57 | 2727687.8482 | 1255784.3937
58 | 2727746.5343 | 1255690.2274
59 | 2727746.6107 | 1255687.993
60 | 2727747.9453 | 1255648.9278
61 | 2727687.4925 | 1255784.1918
62 | 2727674.3139 | 1255775.1785
63 | 2727673.6529 | 1255774.7265
64 | 2727656.8573 | 1255763.2394
65 | 2727640.6001 | 1255752.1207
66 | 2727639.8903 | 1255751.6352
67 | 2727656.7414 | 1255763.1602
68 | 2727630.5904 | 1255745.2748
69 | 2727652.5859 | 1255708.9935
70 | 2727604.4359 | 1255789.7738
71 | 2727667.923 | 1255682.5805
72 | 2727748.8163 | 1255623.4338
73 | 2727579.853 | 1255705.2568
74 | 2727586.679 | 1255706.7608
75 | 2727585.4554 | 1255709.8649
76 | 2727631.3737 | 1255590.9449
77 | 2727576.3425 | 1255570.1402
78 | 2727582.9345 | 1255563.7977
79 | 2727938.2695 | 1255607.7803
80 | 2727948.5195 | 1255620.869
81 | 2727943.1588 | 1255592.4278
82 | 2727750.1401 | 1255583.5416

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1