## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3424-11_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3424-11_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3424-11_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3424-11_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3424-11_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3424-11_0_6_node_68 | 0.4 | n |  | TRUE
6 | bus_LV_3424-11_0_6_node_66 | 0.4 | n |  | TRUE
7 | bus_LV_3424-11_0_6_node_40 | 0.4 | n |  | TRUE
8 | bus_LV_3424-11_0_6_node_39 | 0.4 | n |  | TRUE
9 | bus_LV_3424-11_0_6_node_33 | 0.4 | n |  | TRUE
10 | bus_LV_3424-11_0_6_node_41 | 0.4 | n |  | TRUE
11 | bus_LV_3424-11_0_6_node_65 | 0.4 | n |  | TRUE
12 | bus_LV_3424-11_0_6_node_102 | 0.4 | n |  | TRUE
13 | bus_LV_3424-11_0_6_node_32 | 0.4 | n |  | TRUE
14 | bus_LV_3424-11_0_6_node_5 | 0.4 | n |  | TRUE
15 | bus_LV_3424-11_0_6_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_3424-11_0_6_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_3424-11_0_6_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_3424-11_0_6_node_29 | 0.4 | n |  | TRUE
19 | bus_LV_3424-11_0_6_node_25 | 0.4 | n |  | TRUE
20 | bus_LV_3424-11_0_6_node_103 | 0.4 | n |  | TRUE
21 | bus_LV_3424-11_0_6_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_3424-11_0_6_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_3424-11_0_6_node_9 | 0.4 | n |  | TRUE
24 | bus_LV_3424-11_0_6_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_3424-11_0_6_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_3424-11_0_6_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_3424-11_0_6_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_3424-11_0_6_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_3424-11_0_6_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_3424-11_0_6_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_3424-11_0_6_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_3424-11_0_6_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_3424-11_0_6_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_3424-11_0_6_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_3424-11_0_6_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_3424-11_0_6_node_104 | 0.4 | n |  | TRUE
37 | bus_LV_3424-11_0_6_node_105 | 0.4 | n |  | TRUE
38 | bus_LV_3424-11_0_6_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_3424-11_0_6_node_101 | 0.4 | n |  | TRUE
40 | bus_LV_3424-11_0_6_node_106 | 0.4 | n |  | TRUE
41 | bus_LV_3424-11_0_6_node_20 | 0.4 | n |  | TRUE
42 | bus_LV_3424-11_0_6_node_21 | 0.4 | n |  | TRUE
43 | bus_LV_3424-11_0_6_node_22 | 0.4 | n |  | TRUE
44 | bus_LV_3424-11_0_6_node_23 | 0.4 | n |  | TRUE
45 | bus_LV_3424-11_0_6_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_3424-11_0_6_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_3424-11_0_6_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_3424-11_0_6_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_3424-11_0_6_node_81 | 0.4 | n |  | TRUE
50 | bus_LV_3424-11_0_6_node_82 | 0.4 | n |  | TRUE
51 | bus_LV_3424-11_0_6_node_109 | 0.4 | n |  | TRUE
52 | bus_LV_3424-11_0_6_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_3424-11_0_6_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_3424-11_0_6_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_3424-11_0_6_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_3424-11_0_6_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_3424-11_0_6_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_3424-11_0_6_node_69 | 0.4 | n |  | TRUE
59 | bus_LV_3424-11_0_6_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_3424-11_0_6_node_67 | 0.4 | n |  | TRUE
61 | bus_LV_3424-11_0_6_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_3424-11_0_6_node_47 | 0.4 | n |  | TRUE
63 | bus_LV_3424-11_0_6_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_3424-11_0_6_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_3424-11_0_6_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_3424-11_0_6_node_51 | 0.4 | n |  | TRUE
67 | bus_LV_3424-11_0_6_node_80 | 0.4 | n |  | TRUE
68 | bus_LV_3424-11_0_6_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_3424-11_0_6_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_3424-11_0_6_node_77 | 0.4 | n |  | TRUE
71 | bus_LV_3424-11_0_6_node_98 | 0.4 | n |  | TRUE
72 | bus_LV_3424-11_0_6_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_3424-11_0_6_node_52 | 0.4 | n |  | TRUE
74 | bus_LV_3424-11_0_6_node_53 | 0.4 | n |  | TRUE
75 | bus_LV_3424-11_0_6_node_54 | 0.4 | n |  | TRUE
76 | bus_LV_3424-11_0_6_node_55 | 0.4 | n |  | TRUE
77 | bus_LV_3424-11_0_6_node_61 | 0.4 | n |  | TRUE
78 | bus_LV_3424-11_0_6_node_111 | 0.4 | n |  | TRUE
79 | bus_LV_3424-11_0_6_node_83 | 0.4 | n |  | TRUE
80 | bus_LV_3424-11_0_6_node_112 | 0.4 | n |  | TRUE
81 | bus_LV_3424-11_0_6_node_63 | 0.4 | n |  | TRUE
82 | bus_LV_3424-11_0_6_node_97 | 0.4 | n |  | TRUE
83 | bus_LV_3424-11_0_6_node_62 | 0.4 | n |  | TRUE
84 | bus_LV_3424-11_0_6_node_84 | 0.4 | n |  | TRUE
85 | bus_LV_3424-11_0_6_node_99 | 0.4 | n |  | TRUE
86 | bus_LV_3424-11_0_6_node_71 | 0.4 | n |  | TRUE
87 | bus_LV_3424-11_0_6_node_72 | 0.4 | n |  | TRUE
88 | bus_LV_3424-11_0_6_node_70 | 0.4 | n |  | TRUE
89 | bus_LV_3424-11_0_6_node_95 | 0.4 | n |  | TRUE
90 | bus_LV_3424-11_0_6_node_107 | 0.4 | n |  | TRUE
91 | bus_LV_3424-11_0_6_node_108 | 0.4 | n |  | TRUE
92 | bus_LV_3424-11_0_6_node_110 | 0.4 | n |  | TRUE
93 | bus_LV_3424-11_0_6_node_74 | 0.4 | n |  | TRUE
94 | bus_LV_3424-11_0_6_node_73 | 0.4 | n |  | TRUE
95 | bus_LV_3424-11_0_6_node_92 | 0.4 | n |  | TRUE
96 | bus_LV_3424-11_0_6_node_93 | 0.4 | n |  | TRUE
97 | bus_LV_3424-11_0_6_node_75 | 0.4 | n |  | TRUE
98 | bus_LV_3424-11_0_6_node_76 | 0.4 | n |  | TRUE
99 | bus_LV_3424-11_0_6_node_79 | 0.4 | n |  | TRUE
100 | bus_LV_3424-11_0_6_node_90 | 0.4 | n |  | TRUE
101 | bus_LV_3424-11_0_6_node_100 | 0.4 | n |  | TRUE
102 | bus_LV_3424-11_0_6_node_94 | 0.4 | n |  | TRUE
103 | bus_LV_3424-11_0_6_node_85 | 0.4 | n |  | TRUE
104 | bus_LV_3424-11_0_6_node_86 | 0.4 | n |  | TRUE
105 | bus_LV_3424-11_0_6_node_87 | 0.4 | n |  | TRUE
106 | bus_LV_3424-11_0_6_node_88 | 0.4 | n |  | TRUE
107 | bus_LV_3424-11_0_6_node_89 | 0.4 | n |  | TRUE
108 | bus_LV_3424-11_0_6_node_96 | 0.4 | n |  | TRUE
109 | bus_MV_588_0_node_55 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3424-11_0_6_load_0 | 0 | 0.015355 | 0.0038484 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3424-11_0_6_load_2 | 2 | 0.011146 | 0.0027935 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3424-11_0_6_load_68 | 5 | 0.0064006 | 0.0016041 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3424-11_0_6_load_40 | 7 | 0.011006 | 0.0027584 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3424-11_0_6_load_33 | 9 | 0.024472 | 0.0061333 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3424-11_0_6_load_41 | 10 | 0.0021889 | 0.00054858 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3424-11_0_6_load_65 | 11 | 0.0025212 | 0.00063187 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3424-11_0_6_load_102 | 12 | 0.096842 | 0.024271 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3424-11_0_6_load_32 | 13 | 0.0048846 | 0.0012242 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3424-11_0_6_load_5 | 14 | 0.0035948 | 0.00090094 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3424-11_0_6_load_6 | 15 | 0.0010083 | 0.00025269 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3424-11_0_6_load_7 | 16 | 0.0028164 | 0.00070585 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3424-11_0_6_load_25 | 19 | 0.0027494 | 0.00068907 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3424-11_0_6_load_103 | 20 | 0.012493 | 0.0031311 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3424-11_0_6_load_12 | 22 | 0.00043927 | 0.00011009 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3424-11_0_6_load_9 | 23 | 0.0030375 | 0.00076128 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3424-11_0_6_load_13 | 25 | 0.0002998 | 7.5136e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3424-11_0_6_load_30 | 26 | 0.00083157 | 0.00020841 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3424-11_0_6_load_14 | 27 | 0.0019484 | 0.00048832 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3424-11_0_6_load_15 | 28 | 0.0014698 | 0.00036836 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3424-11_0_6_load_28 | 35 | 0.0014605 | 0.00036603 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3424-11_0_6_load_104 | 36 | 0.0023349 | 0.00058519 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3424-11_0_6_load_105 | 37 | 0.013374 | 0.0033518 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3424-11_0_6_load_101 | 39 | 0.0034552 | 0.00086595 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3424-11_0_6_load_106 | 40 | 0.020609 | 0.005165 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3424-11_0_6_load_20 | 41 | 0.010361 | 0.0025968 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3424-11_0_6_load_21 | 42 | 0.005236 | 0.0013123 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3424-11_0_6_load_22 | 43 | 0.0034304 | 0.00085973 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3424-11_0_6_load_35 | 46 | 0.013016 | 0.0032622 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3424-11_0_6_load_81 | 49 | 0.028992 | 0.0072662 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3424-11_0_6_load_38 | 52 | 0.0071911 | 0.0018023 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3424-11_0_6_load_42 | 53 | 0.0080418 | 0.0020155 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3424-11_0_6_load_43 | 54 | 0.0045167 | 0.001132 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3424-11_0_6_load_44 | 55 | 0.00071204 | 0.00017845 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3424-11_0_6_load_45 | 56 | 0.0023625 | 0.00059211 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3424-11_0_6_load_46 | 57 | 0.013084 | 0.0032791 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3424-11_0_6_load_69 | 58 | 0.0019464 | 0.00048781 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3424-11_0_6_load_58 | 59 | 0.0071627 | 0.0017951 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3424-11_0_6_load_59 | 61 | 0.0057048 | 0.0014298 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3424-11_0_6_load_47 | 62 | 0.0083935 | 0.0021036 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3424-11_0_6_load_48 | 63 | 0.002767 | 0.00069347 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3424-11_0_6_load_49 | 64 | 0.0027776 | 0.00069613 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3424-11_0_6_load_50 | 65 | 0.0012324 | 0.00030888 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3424-11_0_6_load_80 | 67 | 0.0011769 | 0.00029497 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3424-11_0_6_load_57 | 69 | 0.0092819 | 0.0023263 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3424-11_0_6_load_98 | 71 | 0.0015767 | 0.00039517 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3424-11_0_6_load_52 | 73 | 0.0027805 | 0.00069685 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3424-11_0_6_load_53 | 74 | 0.0028302 | 0.00070931 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3424-11_0_6_load_61 | 77 | 0.0079725 | 0.0019981 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3424-11_0_6_load_83 | 79 | 0.0030957 | 0.00077586 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3424-11_0_6_load_112 | 80 | 0.035848 | 0.0089845 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3424-11_0_6_load_97 | 82 | 0.0035703 | 0.0008948 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3424-11_0_6_load_62 | 83 | 0.0028513 | 0.0007146 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3424-11_0_6_load_84 | 84 | 0.0019951 | 0.00050001 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3424-11_0_6_load_71 | 86 | 0.017615 | 0.0044146 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3424-11_0_6_load_70 | 88 | 0.017775 | 0.0044548 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3424-11_0_6_load_95 | 89 | 0.0031781 | 0.0007965 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3424-11_0_6_load_108 | 91 | 0.028825 | 0.0072242 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3424-11_0_6_load_110 | 92 | 0.019079 | 0.0047817 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3424-11_0_6_load_73 | 94 | 0.0078063 | 0.0019564 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3424-11_0_6_load_92 | 95 | 0.0010709 | 0.0002684 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3424-11_0_6_load_93 | 96 | 0.001608 | 0.00040301 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3424-11_0_6_load_75 | 97 | 0.003546 | 0.00088872 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3424-11_0_6_load_76 | 98 | 0.0049094 | 0.0012304 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3424-11_0_6_load_79 | 99 | 0.00077533 | 0.00019431 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3424-11_0_6_load_90 | 100 | 0.0011483 | 0.00028778 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3424-11_0_6_load_100 | 101 | 0.0010195 | 0.00025552 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3424-11_0_6_load_94 | 102 | 0.0034471 | 0.00086393 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3424-11_0_6_load_85 | 103 | 0.004935 | 0.0012368 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3424-11_0_6_load_86 | 104 | 0.0034051 | 0.0008534 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3424-11_0_6_load_88 | 106 | 0.0085305 | 0.0021379 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3424-11_0_6_load_89 | 107 | 0.0051537 | 0.0012916 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3424-11_0_6_load_96 | 108 | 0.0020384 | 0.00051087 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 2 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3424-11_0_6_line_0 |  | 0 | 1 | 0.0083083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_3424-11_0_6_line_1 |  | 0 | 2 | 0.06059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_3424-11_0_6_line_2 |  | 1 | 3 | 0.03731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_3424-11_0_6_line_3 |  | 1 | 4 | 0.041279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3424-11_0_6_line_4 |  | 2 | 5 | 0.10753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_3424-11_0_6_line_5 |  | 3 | 7 | 0.015692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_3424-11_0_6_line_6 |  | 4 | 8 | 0.086344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3424-11_0_6_line_7 |  | 4 | 9 | 0.016549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3424-11_0_6_line_8 |  | 5 | 6 | 0.019405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_3424-11_0_6_line_9 |  | 6 | 11 | 0.024677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_3424-11_0_6_line_10 |  | 7 | 10 | 0.02652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_3424-11_0_6_line_11 |  | 8 | 12 | 0.021622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3424-11_0_6_line_12 |  | 9 | 13 | 0.037939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3424-11_0_6_line_13 |  | 10 | 30 | 0.0077548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_3424-11_0_6_line_14 |  | 11 | 60 | 0.00083499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_3424-11_0_6_line_15 |  | 14 | 15 | 0.022973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3424-11_0_6_line_16 |  | 14 | 16 | 0.032443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3424-11_0_6_line_17 |  | 16 | 17 | 0.013359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3424-11_0_6_line_18 |  | 17 | 18 | 0.002583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3424-11_0_6_line_19 |  | 17 | 19 | 0.02939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3424-11_0_6_line_20 |  | 18 | 20 | 0.032618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3424-11_0_6_line_21 |  | 18 | 21 | 0.014555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3424-11_0_6_line_22 |  | 19 | 22 | 0.027202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3424-11_0_6_line_23 |  | 21 | 35 | 0.014571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3424-11_0_6_line_24 |  | 21 | 43 | 0.020362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3424-11_0_6_line_25 |  | 22 | 24 | 0.010922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3424-11_0_6_line_26 |  | 23 | 24 | 0.052273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3424-11_0_6_line_27 |  | 24 | 25 | 0.023067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3424-11_0_6_line_28 |  | 25 | 26 | 0.036738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3424-11_0_6_line_29 |  | 27 | 28 | 0.026857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_3424-11_0_6_line_30 |  | 27 | 29 | 0.0044361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_3424-11_0_6_line_31 |  | 28 | 30 | 0.011731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_3424-11_0_6_line_32 |  | 29 | 31 | 0.026057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3424-11_0_6_line_33 |  | 29 | 32 | 0.046854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_3424-11_0_6_line_34 |  | 31 | 33 | 0.024345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3424-11_0_6_line_35 |  | 32 | 34 | 0.03098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3424-11_0_6_line_36 |  | 32 | 35 | 0.032836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3424-11_0_6_line_37 |  | 33 | 36 | 0.011848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3424-11_0_6_line_38 |  | 33 | 37 | 0.00481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3424-11_0_6_line_39 |  | 34 | 38 | 0.059056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3424-11_0_6_line_40 |  | 34 | 39 | 0.039245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3424-11_0_6_line_41 |  | 38 | 40 | 0.022202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3424-11_0_6_line_42 |  | 39 | 47 | 0.02723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3424-11_0_6_line_43 |  | 40 | 51 | 0.061193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3424-11_0_6_line_44 |  | 41 | 42 | 0.028429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3424-11_0_6_line_45 |  | 41 | 43 | 0.0084727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3424-11_0_6_line_46 |  | 42 | 44 | 0.014163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3424-11_0_6_line_47 |  | 44 | 45 | 0.010045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3424-11_0_6_line_48 |  | 45 | 46 | 0.023217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3424-11_0_6_line_49 |  | 47 | 48 | 0.022745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3424-11_0_6_line_50 |  | 48 | 52 | 0.033299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3424-11_0_6_line_51 |  | 49 | 50 | 0.027527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3424-11_0_6_line_52 |  | 50 | 61 | 0.0090046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3424-11_0_6_line_53 |  | 51 | 92 | 0.02079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3424-11_0_6_line_54 |  | 51 | 90 | 0.062567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3424-11_0_6_line_55 |  | 53 | 54 | 0.017015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3424-11_0_6_line_56 |  | 53 | 55 | 0.0062848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3424-11_0_6_line_57 |  | 54 | 56 | 0.020804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3424-11_0_6_line_58 |  | 55 | 57 | 0.0096915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3424-11_0_6_line_59 |  | 56 | 58 | 0.014022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3424-11_0_6_line_60 |  | 57 | 59 | 0.024496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3424-11_0_6_line_61 |  | 58 | 60 | 0.025436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3424-11_0_6_line_62 |  | 59 | 61 | 0.0062931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3424-11_0_6_line_63 |  | 60 | 88 | 0.027107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_3424-11_0_6_line_64 |  | 62 | 63 | 0.010101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3424-11_0_6_line_65 |  | 62 | 64 | 0.0072352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3424-11_0_6_line_66 |  | 63 | 65 | 0.017323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3424-11_0_6_line_67 |  | 64 | 66 | 0.009426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3424-11_0_6_line_68 |  | 65 | 67 | 0.0005593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3424-11_0_6_line_69 |  | 66 | 68 | 0.021354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3424-11_0_6_line_70 |  | 66 | 69 | 0.017898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3424-11_0_6_line_71 |  | 67 | 70 | 0.007186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3424-11_0_6_line_72 |  | 68 | 71 | 0.015713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3424-11_0_6_line_73 |  | 68 | 72 | 0.017109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3424-11_0_6_line_74 |  | 70 | 99 | 0.0064875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3424-11_0_6_line_75 |  | 70 | 97 | 0.014524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3424-11_0_6_line_76 |  | 71 | 82 | 0.012634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3424-11_0_6_line_77 |  | 72 | 79 | 0.020479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3424-11_0_6_line_78 |  | 72 | 75 | 0.029167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3424-11_0_6_line_79 |  | 73 | 74 | 0.0076342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3424-11_0_6_line_80 |  | 73 | 75 | 0.0087503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3424-11_0_6_line_81 |  | 74 | 76 | 0.028299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3424-11_0_6_line_82 |  | 76 | 77 | 0.018312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3424-11_0_6_line_83 |  | 76 | 78 | 0.016096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3424-11_0_6_line_84 |  | 78 | 80 | 0.003874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3424-11_0_6_line_85 |  | 79 | 81 | 0.015383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3424-11_0_6_line_86 |  | 81 | 84 | 0.00053667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3424-11_0_6_line_87 |  | 81 | 83 | 0.0068423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3424-11_0_6_line_88 |  | 82 | 108 | 0.026558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3424-11_0_6_line_89 |  | 84 | 85 | 0.0051046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3424-11_0_6_line_90 |  | 85 | 101 | 0.024633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3424-11_0_6_line_91 |  | 85 | 102 | 0.0045672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3424-11_0_6_line_92 |  | 86 | 87 | 0.027137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3424-11_0_6_line_93 |  | 87 | 94 | 0.020321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3424-11_0_6_line_94 |  | 87 | 93 | 0.035468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3424-11_0_6_line_95 |  | 88 | 89 | 0.02058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
96 | LV_3424-11_0_6_line_96 |  | 89 | 93 | 0.010339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
97 | LV_3424-11_0_6_line_97 |  | 90 | 91 | 0.006214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_3424-11_0_6_line_98 |  | 93 | 95 | 0.0099376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_3424-11_0_6_line_99 |  | 95 | 96 | 0.020808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_3424-11_0_6_line_100 |  | 96 | 102 | 0.016506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_3424-11_0_6_line_101 |  | 97 | 98 | 0.020689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_3424-11_0_6_line_102 |  | 99 | 100 | 0.0039928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_3424-11_0_6_line_103 |  | 103 | 104 | 0.069196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_3424-11_0_6_line_104 |  | 103 | 105 | 0.041342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_3424-11_0_6_line_105 |  | 104 | 106 | 0.00066332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_3424-11_0_6_line_106 |  | 105 | 107 | 0.023095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_3424-11_0_6_line_107 |  | 106 | 108 | 0.013442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3424-11_0_6_trafo_2 | 0.63 MVA 20/0.4 kV | 109 | 2 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2729452.55 | 1256533.4895 | 2729453.5528 | 1256535.2353 | 2729453.8907 | 1256538.0674 | 2729452.6137 | 1256541.2646
1 | 2729450.8197 | 1256586.0102 | 2729434.0376 | 1256562.4109 | 2729433.078 | 1256560.0656 | 2729432.6616 | 1256558.4105 | 2729432.6835 | 1256556.7206 | 2729433.0031 | 1256555.2151 | 2729433.8289 | 1256554.021 | 2729435.8692 | 1256552.4864 | 2729452.6137 | 1256541.2646
2 | 2729485.0183 | 1256514.9495 | 2729477.6879 | 1256519.3153 | 2729452.55 | 1256533.4895
3 | 2729416.6833 | 1256553.9239 | 2729445.0177 | 1256537.7732 | 2729452.55 | 1256533.4895
4 | 2729538.8339 | 1256647.7797 | 2729450.8197 | 1256586.0102
5 | 2729485.0183 | 1256514.9495 | 2729477.1421 | 1256501.3773
6 | 2729356.0339 | 1256608.5477 | 2729358.5324 | 1256605.3772 | 2729370.1843 | 1256590.7075 | 2729369.0586 | 1256586.6459 | 2729369.5452 | 1256583.0199 | 2729373.2843 | 1256578.6644 | 2729388.7601 | 1256569.561 | 2729393.781 | 1256566.6125 | 2729416.6833 | 1256553.9239
7 | 2729416.6833 | 1256553.9239 | 2729413.3672 | 1256547.5679 | 2729414.5983 | 1256538.2693
8 | 2729555.1341 | 1256637.2046 | 2729545.4094 | 1256643.086 | 2729538.8339 | 1256647.7797
9 | 2729555.1341 | 1256637.2046 | 2729566.7559 | 1256658.9735
10 | 2729477.1421 | 1256501.3773 | 2729474.8404 | 1256497.4111 | 2729463.9594 | 1256478.3658
11 | 2729356.0339 | 1256608.5477 | 2729355.9809 | 1256610.971 | 2729357.9047 | 1256615.4504 | 2729365.3314 | 1256627.7126
12 | 2729419.5779 | 1256500.6588 | 2729414.5983 | 1256538.2693
13 | 2729460.1125 | 1256471.6325 | 2729463.9594 | 1256478.3658
14 | 2729566.7559 | 1256658.9735 | 2729567.1491 | 1256659.7101
15 | 2729459.9801 | 1256344.3241 | 2729455.8325 | 1256328.6767 | 2729454.1743 | 1256322.0967
16 | 2729459.9801 | 1256344.3241 | 2729468.2925 | 1256375.6838
17 | 2729470.5098 | 1256388.8408 | 2729469.0596 | 1256378.5776 | 2729468.2925 | 1256375.6838
18 | 2729470.5098 | 1256388.8408 | 2729467.9265 | 1256388.6396
19 | 2729470.5098 | 1256388.8408 | 2729479.7058 | 1256391.2774 | 2729488.0136 | 1256395.6853 | 2729496.2391 | 1256402.1656
20 | 2729486.7063 | 1256415.0853 | 2729481.3347 | 1256404.4026 | 2729467.9265 | 1256388.6396
21 | 2729453.3277 | 1256388.6649 | 2729467.9265 | 1256388.6396
22 | 2729496.2391 | 1256402.1656 | 2729517.6063 | 1256418.9993
23 | 2729453.3277 | 1256388.6649 | 2729438.7581 | 1256388.4895
24 | 2729453.3277 | 1256388.6649 | 2729445.8059 | 1256369.7433
25 | 2729526.1856 | 1256425.7584 | 2729517.6063 | 1256418.9993
26 | 2729526.1856 | 1256425.7584 | 2729524.631 | 1256429.2275 | 2729531.2298 | 1256442.0835 | 2729547.5593 | 1256449.1471 | 2729555.4527 | 1256463.3272
27 | 2729526.1856 | 1256425.7584 | 2729541.9609 | 1256438.8375 | 2729544.2314 | 1256440.0511
28 | 2729579.5587 | 1256443.0974 | 2729573.8068 | 1256444.6173 | 2729567.8018 | 1256445.6424 | 2729562.2689 | 1256445.777 | 2729556.7266 | 1256445.3109 | 2729549.3806 | 1256442.8034 | 2729544.2314 | 1256440.0511
29 | 2729441.0003 | 1256438.109 | 2729454.3022 | 1256461.441
30 | 2729438.8032 | 1256434.2551 | 2729441.0003 | 1256438.109
31 | 2729460.1125 | 1256471.6325 | 2729454.3022 | 1256461.441
32 | 2729438.8032 | 1256434.2551 | 2729428.3339 | 1256441.3994 | 2729426.2562 | 1256454.6436
33 | 2729409.916 | 1256397.713 | 2729417.6635 | 1256404.633 | 2729424.7039 | 1256412.494 | 2729432.3793 | 1256423.049 | 2729438.8032 | 1256434.2551
34 | 2729402.0306 | 1256451.5892 | 2729426.2562 | 1256454.6436
35 | 2729396.2225 | 1256377.3954 | 2729392.2951 | 1256386.907 | 2729400.711 | 1256391.5507 | 2729409.916 | 1256397.713
36 | 2729409.916 | 1256397.713 | 2729415.7133 | 1256390.3219 | 2729418.1784 | 1256389.0302 | 2729421.6802 | 1256388.2838 | 2729438.7581 | 1256388.4895
37 | 2729402.0306 | 1256451.5892 | 2729403.4949 | 1256439.8328
38 | 2729397.2638 | 1256450.851 | 2729402.0306 | 1256451.5892
39 | 2729369.0473 | 1256412.6111 | 2729375.0162 | 1256389.4317 | 2729378.2654 | 1256380.5725 | 2729392.2951 | 1256386.907 | 2729396.2225 | 1256377.3954
40 | 2729396.2225 | 1256377.3954 | 2729359.8013 | 1256362.7783
41 | 2729369.0473 | 1256412.6111 | 2729347.0392 | 1256409.2272
42 | 2729334.5308 | 1256352.6363 | 2729359.8013 | 1256362.7783
43 | 2729347.0392 | 1256409.2272 | 2729313.0266 | 1256460.0968
44 | 2729442.676 | 1256361.8699 | 2729439.012 | 1256352.6528 | 2729434.0203 | 1256349.4297 | 2729421.7219 | 1256346.8368
45 | 2729445.8059 | 1256369.7433 | 2729442.676 | 1256361.8699
46 | 2729408.1078 | 1256346.9055 | 2729413.0081 | 1256344.9997 | 2729421.7219 | 1256346.8368
47 | 2729401.5887 | 1256339.701 | 2729404.7884 | 1256341.3835 | 2729408.1078 | 1256346.9055
48 | 2729401.5887 | 1256339.701 | 2729379.864 | 1256331.5123
49 | 2729343.8845 | 1256331.9887 | 2729340.178 | 1256337.9576 | 2729334.5308 | 1256352.6363
50 | 2729375.2051 | 1256342.16 | 2729348.1434 | 1256331.4702 | 2729343.8845 | 1256331.9887
51 | 2729688.2065 | 1256636.3394 | 2729676.4446 | 1256614.3508 | 2729675.4327 | 1256611.9665
52 | 2729688.2065 | 1256636.3394 | 2729683.119 | 1256643.7691
53 | 2729300.4665 | 1256461.09 | 2729299.8322 | 1256465.6024 | 2729306.2442 | 1256466.6657 | 2729308.328 | 1256465.8994 | 2729310.2946 | 1256464.2853 | 2729313.0266 | 1256460.0968
54 | 2729313.0266 | 1256460.0968 | 2729318.0015 | 1256460.6392 | 2729314.7566 | 1256481.7318 | 2729314.7445 | 1256483.3219 | 2729315.1103 | 1256484.8757 | 2729316.1286 | 1256486.6106 | 2729317.4538 | 1256487.7628 | 2729319.4351 | 1256488.5846 | 2729333.6522 | 1256490.1299 | 2729333.6272 | 1256491.2748 | 2729345.1338 | 1256493.2613
55 | 2729643.764 | 1256663.7213 | 2729626.7519 | 1256664.0533
56 | 2729643.764 | 1256663.7213 | 2729650.0476 | 1256663.5987
57 | 2729626.7519 | 1256664.0533 | 2729617.655 | 1256664.2307 | 2729606.0357 | 1256662.8105
58 | 2729659.6989 | 1256663.2949 | 2729659.5343 | 1256663.4137 | 2729650.0476 | 1256663.5987
59 | 2729592.2098 | 1256660.5204 | 2729600.5834 | 1256662.144 | 2729606.0357 | 1256662.8105
60 | 2729659.6989 | 1256663.2949 | 2729679.5635 | 1256648.9615 | 2729679.5635 | 1256648.9615
61 | 2729567.1491 | 1256659.7101 | 2729578.9863 | 1256657.9564 | 2729592.2098 | 1256660.5204
62 | 2729683.119 | 1256643.7691 | 2729679.5635 | 1256648.9615
63 | 2729567.1491 | 1256659.7101 | 2729580.6462 | 1256683.2181
64 | 2729682.3659 | 1256829.3935 | 2729689.8018 | 1256836.2301
65 | 2729682.3659 | 1256829.3935 | 2729679.1726 | 1256826.4576 | 2729677.0902 | 1256824.4431
66 | 2729689.8018 | 1256836.2301 | 2729702.5542 | 1256847.9545
67 | 2729670.3155 | 1256817.8892 | 2729677.0902 | 1256824.4431
68 | 2729702.9659 | 1256848.333 | 2729702.5542 | 1256847.9545
69 | 2729654.9351 | 1256803.0279 | 2729670.3155 | 1256817.8892
70 | 2729670.3155 | 1256817.8892 | 2729660.3933 | 1256832.7854
71 | 2729708.2559 | 1256853.1966 | 2729702.9659 | 1256848.333
72 | 2729654.9351 | 1256803.0279 | 2729662.4941 | 1256795.4532 | 2729666.5149 | 1256792.461
73 | 2729654.9351 | 1256803.0279 | 2729645.6995 | 1256793.1389 | 2729643.5142 | 1256790.2774
74 | 2729708.2559 | 1256853.1966 | 2729712.9697 | 1256857.654
75 | 2729708.2559 | 1256853.1966 | 2729698.7884 | 1256864.2103
76 | 2729666.5149 | 1256792.461 | 2729676.6501 | 1256784.9186
77 | 2729643.5142 | 1256790.2774 | 2729636.9212 | 1256781.6585 | 2729632.1503 | 1256773.2959
78 | 2729630.4725 | 1256815.3366 | 2729630.271 | 1256812.1405 | 2729637.9245 | 1256795.4263 | 2729643.5142 | 1256790.2774
79 | 2729622.3941 | 1256811.974 | 2729615.3461 | 1256809.0403
80 | 2729630.4725 | 1256815.3366 | 2729622.3941 | 1256811.974
81 | 2729594.9505 | 1256791.5041 | 2729601.2407 | 1256793.9774 | 2729608.898 | 1256806.3562 | 2729615.3461 | 1256809.0403
82 | 2729594.9505 | 1256791.5041 | 2729597.5019 | 1256785.9216 | 2729595.8173 | 1256778.111 | 2729597.5973 | 1256774.325
83 | 2729594.9505 | 1256791.5041 | 2729593.0539 | 1256807.4882
84 | 2729589.1729 | 1256807.3031 | 2729593.0539 | 1256807.4882
85 | 2729624.5275 | 1256759.9342 | 2729632.1503 | 1256773.2959
86 | 2729624.5275 | 1256759.9342 | 2729624.2614 | 1256759.4682
87 | 2729624.5275 | 1256759.9342 | 2729618.2445 | 1256762.6436 | 2729618.2445 | 1256762.6436
88 | 2729697.9007 | 1256768.9919 | 2729695.4321 | 1256770.9414 | 2729676.6501 | 1256784.9186
89 | 2729621.7305 | 1256755.0352 | 2729624.2614 | 1256759.4682
90 | 2729598.5057 | 1256752.5023 | 2729614.9226 | 1256757.9444 | 2729621.7305 | 1256755.0352
91 | 2729621.7305 | 1256755.0352 | 2729619.4663 | 1256751.0688
92 | 2729565.1125 | 1256727.5489 | 2729541.6453 | 1256740.903 | 2729541.5331 | 1256740.9798
93 | 2729565.1125 | 1256727.5489 | 2729569.5312 | 1256734.8745 | 2729575.6029 | 1256744.9523
94 | 2729596.0414 | 1256710.0323 | 2729588.5263 | 1256714.2271 | 2729565.1125 | 1256727.5489
95 | 2729590.8933 | 1256701.0656 | 2729580.6462 | 1256683.2181
96 | 2729596.0414 | 1256710.0323 | 2729590.8933 | 1256701.0656
97 | 2729345.6163 | 1256487.0662 | 2729345.1338 | 1256493.2613
98 | 2729596.0414 | 1256710.0323 | 2729600.968 | 1256718.6627
99 | 2729600.968 | 1256718.6627 | 2729611.2835 | 1256736.7338
100 | 2729619.4663 | 1256751.0688 | 2729611.2835 | 1256736.7338
101 | 2729698.7884 | 1256864.2103 | 2729687.0673 | 1256881.259
102 | 2729715.8708 | 1256860.3973 | 2729712.9697 | 1256857.654
103 | 2729762.4014 | 1256761.7447 | 2729759.4569 | 1256758.889 | 2729745.4505 | 1256742.9565 | 2729742.0769 | 1256740.9585 | 2729738.4586 | 1256740.1452 | 2729735.423 | 1256740.2788 | 2729732.3037 | 1256741.8229 | 2729708.9705 | 1256760.2498
104 | 2729789.1561 | 1256792.2812 | 2729788.5631 | 1256789.0542 | 2729787.0387 | 1256785.6399 | 2729762.4014 | 1256761.7447
105 | 2729708.9705 | 1256760.2498 | 2729708.4499 | 1256760.6609
106 | 2729789.1561 | 1256792.2812 | 2729788.7684 | 1256796.1985 | 2729787.4343 | 1256799.9282 | 2729785.0677 | 1256803.6129 | 2729777.8469 | 1256811.6692
107 | 2729708.4499 | 1256760.6609 | 2729697.9007 | 1256768.9919

## bus_geodata
| x | y | coords
0 | 2729452.6137 | 1256541.2646
1 | 2729452.55 | 1256533.4895
2 | 2729450.8197 | 1256586.0102
3 | 2729485.0183 | 1256514.9495
4 | 2729416.6833 | 1256553.9239
5 | 2729538.8339 | 1256647.7797
6 | 2729555.1341 | 1256637.2046
7 | 2729477.1421 | 1256501.3773
8 | 2729356.0339 | 1256608.5477
9 | 2729414.5983 | 1256538.2693
10 | 2729463.9594 | 1256478.3658
11 | 2729566.7559 | 1256658.9735
12 | 2729365.3314 | 1256627.7126
13 | 2729419.5779 | 1256500.6588
14 | 2729459.9801 | 1256344.3241
15 | 2729454.1743 | 1256322.0967
16 | 2729468.2925 | 1256375.6838
17 | 2729470.5098 | 1256388.8408
18 | 2729467.9265 | 1256388.6396
19 | 2729496.2391 | 1256402.1656
20 | 2729486.7063 | 1256415.0853
21 | 2729453.3277 | 1256388.6649
22 | 2729517.6063 | 1256418.9993
23 | 2729555.4527 | 1256463.3272
24 | 2729526.1856 | 1256425.7584
25 | 2729544.2314 | 1256440.0511
26 | 2729579.5587 | 1256443.0974
27 | 2729441.0003 | 1256438.109
28 | 2729454.3022 | 1256461.441
29 | 2729438.8032 | 1256434.2551
30 | 2729460.1125 | 1256471.6325
31 | 2729426.2562 | 1256454.6436
32 | 2729409.916 | 1256397.713
33 | 2729402.0306 | 1256451.5892
34 | 2729396.2225 | 1256377.3954
35 | 2729438.7581 | 1256388.4895
36 | 2729403.4949 | 1256439.8328
37 | 2729397.2638 | 1256450.851
38 | 2729369.0473 | 1256412.6111
39 | 2729359.8013 | 1256362.7783
40 | 2729347.0392 | 1256409.2272
41 | 2729442.676 | 1256361.8699
42 | 2729421.7219 | 1256346.8368
43 | 2729445.8059 | 1256369.7433
44 | 2729408.1078 | 1256346.9055
45 | 2729401.5887 | 1256339.701
46 | 2729379.864 | 1256331.5123
47 | 2729334.5308 | 1256352.6363
48 | 2729343.8845 | 1256331.9887
49 | 2729675.4327 | 1256611.9665
50 | 2729688.2065 | 1256636.3394
51 | 2729313.0266 | 1256460.0968
52 | 2729375.2051 | 1256342.16
53 | 2729643.764 | 1256663.7213
54 | 2729626.7519 | 1256664.0533
55 | 2729650.0476 | 1256663.5987
56 | 2729606.0357 | 1256662.8105
57 | 2729659.6989 | 1256663.2949
58 | 2729592.2098 | 1256660.5204
59 | 2729679.5635 | 1256648.9615
60 | 2729567.1491 | 1256659.7101
61 | 2729683.119 | 1256643.7691
62 | 2729682.3659 | 1256829.3935
63 | 2729689.8018 | 1256836.2301
64 | 2729677.0902 | 1256824.4431
65 | 2729702.5542 | 1256847.9545
66 | 2729670.3155 | 1256817.8892
67 | 2729702.9659 | 1256848.333
68 | 2729654.9351 | 1256803.0279
69 | 2729660.3933 | 1256832.7854
70 | 2729708.2559 | 1256853.1966
71 | 2729666.5149 | 1256792.461
72 | 2729643.5142 | 1256790.2774
73 | 2729622.3941 | 1256811.974
74 | 2729615.3461 | 1256809.0403
75 | 2729630.4725 | 1256815.3366
76 | 2729594.9505 | 1256791.5041
77 | 2729597.5973 | 1256774.325
78 | 2729593.0539 | 1256807.4882
79 | 2729632.1503 | 1256773.2959
80 | 2729589.1729 | 1256807.3031
81 | 2729624.5275 | 1256759.9342
82 | 2729676.6501 | 1256784.9186
83 | 2729618.2445 | 1256762.6436
84 | 2729624.2614 | 1256759.4682
85 | 2729621.7305 | 1256755.0352
86 | 2729541.5331 | 1256740.9798
87 | 2729565.1125 | 1256727.5489
88 | 2729580.6462 | 1256683.2181
89 | 2729590.8933 | 1256701.0656
90 | 2729345.1339 | 1256493.2613
91 | 2729345.6163 | 1256487.0662
92 | 2729300.4665 | 1256461.09
93 | 2729596.0414 | 1256710.0323
94 | 2729575.6029 | 1256744.9523
95 | 2729600.968 | 1256718.6627
96 | 2729611.2835 | 1256736.7338
97 | 2729698.7884 | 1256864.2103
98 | 2729687.0673 | 1256881.259
99 | 2729712.9697 | 1256857.654
100 | 2729715.8708 | 1256860.3973
101 | 2729598.5057 | 1256752.5023
102 | 2729619.4663 | 1256751.0688
103 | 2729762.4014 | 1256761.7447
104 | 2729708.9705 | 1256760.2498
105 | 2729789.1561 | 1256792.2812
106 | 2729708.4499 | 1256760.6609
107 | 2729777.8469 | 1256811.6692
108 | 2729697.9007 | 1256768.9919
109 | 2729450.8197 | 1256586.0102

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1