## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3427-13_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3427-13_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3427-13_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3427-13_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_3427-13_0_5_node_62 | 0.4 | n |  | TRUE
5 | bus_LV_3427-13_0_5_node_68 | 0.4 | n |  | TRUE
6 | bus_LV_3427-13_0_5_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_3427-13_0_5_node_70 | 0.4 | n |  | TRUE
8 | bus_LV_3427-13_0_5_node_69 | 0.4 | n |  | TRUE
9 | bus_LV_3427-13_0_5_node_61 | 0.4 | n |  | TRUE
10 | bus_LV_3427-13_0_5_node_65 | 0.4 | n |  | TRUE
11 | bus_LV_3427-13_0_5_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_3427-13_0_5_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_3427-13_0_5_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_3427-13_0_5_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_3427-13_0_5_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_3427-13_0_5_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_3427-13_0_5_node_42 | 0.4 | n |  | TRUE
18 | bus_LV_3427-13_0_5_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_3427-13_0_5_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_3427-13_0_5_node_43 | 0.4 | n |  | TRUE
21 | bus_LV_3427-13_0_5_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_3427-13_0_5_node_54 | 0.4 | n |  | TRUE
23 | bus_LV_3427-13_0_5_node_53 | 0.4 | n |  | TRUE
24 | bus_LV_3427-13_0_5_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_3427-13_0_5_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_3427-13_0_5_node_58 | 0.4 | n |  | TRUE
27 | bus_LV_3427-13_0_5_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_3427-13_0_5_node_11 | 0.4 | n |  | TRUE
29 | bus_LV_3427-13_0_5_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_3427-13_0_5_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_3427-13_0_5_node_40 | 0.4 | n |  | TRUE
32 | bus_LV_3427-13_0_5_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_3427-13_0_5_node_13 | 0.4 | n |  | TRUE
34 | bus_LV_3427-13_0_5_node_14 | 0.4 | n |  | TRUE
35 | bus_LV_3427-13_0_5_node_15 | 0.4 | n |  | TRUE
36 | bus_LV_3427-13_0_5_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_3427-13_0_5_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_3427-13_0_5_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_3427-13_0_5_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_3427-13_0_5_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_3427-13_0_5_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_3427-13_0_5_node_57 | 0.4 | n |  | TRUE
43 | bus_LV_3427-13_0_5_node_52 | 0.4 | n |  | TRUE
44 | bus_LV_3427-13_0_5_node_55 | 0.4 | n |  | TRUE
45 | bus_LV_3427-13_0_5_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_3427-13_0_5_node_45 | 0.4 | n |  | TRUE
47 | bus_LV_3427-13_0_5_node_23 | 0.4 | n |  | TRUE
48 | bus_LV_3427-13_0_5_node_24 | 0.4 | n |  | TRUE
49 | bus_LV_3427-13_0_5_node_26 | 0.4 | n |  | TRUE
50 | bus_LV_3427-13_0_5_node_27 | 0.4 | n |  | TRUE
51 | bus_LV_3427-13_0_5_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_3427-13_0_5_node_33 | 0.4 | n |  | TRUE
53 | bus_LV_3427-13_0_5_node_32 | 0.4 | n |  | TRUE
54 | bus_LV_3427-13_0_5_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_3427-13_0_5_node_60 | 0.4 | n |  | TRUE
56 | bus_LV_3427-13_0_5_node_56 | 0.4 | n |  | TRUE
57 | bus_LV_3427-13_0_5_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_3427-13_0_5_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_3427-13_0_5_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_3427-13_0_5_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_3427-13_0_5_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_3427-13_0_5_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_3427-13_0_5_node_59 | 0.4 | n |  | TRUE
64 | bus_LV_3427-13_0_5_node_63 | 0.4 | n |  | TRUE
65 | bus_LV_3427-13_0_5_node_64 | 0.4 | n |  | TRUE
66 | bus_LV_3427-13_0_5_node_66 | 0.4 | n |  | TRUE
67 | bus_LV_3427-13_0_5_node_67 | 0.4 | n |  | TRUE
68 | bus_MV_156_1_node_232 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3427-13_0_5_load_0 | 0 | 0.0042564 | 0.0010668 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3427-13_0_5_load_1 | 1 | 0.0017567 | 0.00044026 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3427-13_0_5_load_62 | 4 | 0.00073052 | 0.00018309 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3427-13_0_5_load_70 | 7 | 0.0004658 | 0.00011674 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3427-13_0_5_load_69 | 8 | 0.0041661 | 0.0010441 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3427-13_0_5_load_61 | 9 | 0.0020441 | 0.0005123 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3427-13_0_5_load_6 | 11 | 0.0083547 | 0.0020939 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3427-13_0_5_load_7 | 12 | 0.0046213 | 0.0011582 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3427-13_0_5_load_8 | 13 | 0.0024746 | 0.00062021 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3427-13_0_5_load_9 | 14 | 0.0032336 | 0.00081042 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3427-13_0_5_load_22 | 16 | 0.015144 | 0.0037955 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3427-13_0_5_load_42 | 17 | 0.010069 | 0.0025234 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3427-13_0_5_load_21 | 19 | 0.0072467 | 0.0018162 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3427-13_0_5_load_43 | 20 | 0.018766 | 0.0047033 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3427-13_0_5_load_54 | 22 | 0.0028728 | 0.00072 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3427-13_0_5_load_53 | 23 | 0.0015368 | 0.00038515 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3427-13_0_5_load_58 | 26 | 0.0015898 | 0.00039843 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3427-13_0_5_load_11 | 28 | 0.0068703 | 0.0017219 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3427-13_0_5_load_39 | 30 | 0.0008453 | 0.00021185 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3427-13_0_5_load_31 | 32 | 0.0097102 | 0.0024336 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3427-13_0_5_load_30 | 36 | 0.0030061 | 0.00075339 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3427-13_0_5_load_25 | 38 | 0.003948 | 0.00098946 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3427-13_0_5_load_29 | 39 | 0.0012929 | 0.00032402 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3427-13_0_5_load_37 | 40 | 0.011209 | 0.0028091 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3427-13_0_5_load_35 | 41 | 0.0040211 | 0.0010078 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3427-13_0_5_load_57 | 42 | 0.0016918 | 0.00042401 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3427-13_0_5_load_52 | 43 | 0.0015374 | 0.0003853 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3427-13_0_5_load_55 | 44 | 0.023693 | 0.0059381 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3427-13_0_5_load_41 | 45 | 0.0017084 | 0.00042816 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3427-13_0_5_load_23 | 47 | 0.001891 | 0.00047394 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3427-13_0_5_load_24 | 48 | 0.00029291 | 7.3411e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3427-13_0_5_load_26 | 49 | 0.0091346 | 0.0022894 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3427-13_0_5_load_33 | 52 | 0.0045105 | 0.0011304 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3427-13_0_5_load_32 | 53 | 0.0023215 | 0.00058181 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3427-13_0_5_load_38 | 54 | 0.0025628 | 0.00064229 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3427-13_0_5_load_60 | 55 | 0.0030525 | 0.00076503 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3427-13_0_5_load_56 | 56 | 0.0017409 | 0.00043631 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3427-13_0_5_load_46 | 58 | 0.013226 | 0.0033147 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3427-13_0_5_load_48 | 59 | 0.0020318 | 0.00050922 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3427-13_0_5_load_49 | 60 | 0.015958 | 0.0039995 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3427-13_0_5_load_50 | 61 | 0.0016313 | 0.00040885 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3427-13_0_5_load_51 | 62 | 0.001589 | 0.00039825 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3427-13_0_5_load_59 | 63 | 0.0026999 | 0.00067667 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3427-13_0_5_load_63 | 64 | 0.00058237 | 0.00014596 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3427-13_0_5_load_64 | 65 | 0.002601 | 0.00065187 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3427-13_0_5_load_66 | 66 | 0.0016318 | 0.00040896 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3427-13_0_5_load_67 | 67 | 0.0023343 | 0.00058502 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3427-13_0_5_line_0 |  | 0 | 1 | 0.12118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3427-13_0_5_line_1 |  | 1 | 2 | 0.029225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3427-13_0_5_line_2 |  | 2 | 3 | 0.14298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3427-13_0_5_line_3 |  | 3 | 4 | 0.12934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3427-13_0_5_line_4 |  | 3 | 5 | 0.006253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3427-13_0_5_line_5 |  | 4 | 9 | 0.013803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3427-13_0_5_line_6 |  | 5 | 7 | 0.013191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3427-13_0_5_line_7 |  | 5 | 10 | 0.091737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3427-13_0_5_line_8 |  | 6 | 7 | 0.028077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3427-13_0_5_line_9 |  | 6 | 8 | 0.05819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3427-13_0_5_line_10 |  | 9 | 48 | 0.020185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3427-13_0_5_line_11 |  | 10 | 67 | 0.028533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3427-13_0_5_line_12 |  | 10 | 64 | 0.026009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3427-13_0_5_line_13 |  | 11 | 12 | 0.0097815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_3427-13_0_5_line_14 |  | 11 | 13 | 0.041517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_3427-13_0_5_line_15 |  | 12 | 14 | 0.025725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_3427-13_0_5_line_16 |  | 13 | 15 | 0.050513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_3427-13_0_5_line_17 |  | 14 | 16 | 0.0098889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_3427-13_0_5_line_18 |  | 15 | 17 | 0.029008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3427-13_0_5_line_19 |  | 15 | 18 | 0.04265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_3427-13_0_5_line_20 |  | 16 | 19 | 0.083766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3427-13_0_5_line_21 |  | 17 | 20 | 0.047019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3427-13_0_5_line_22 |  | 18 | 31 | 0.082172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3427-13_0_5_line_23 |  | 18 | 30 | 0.04592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_3427-13_0_5_line_24 |  | 19 | 47 | 0.095647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3427-13_0_5_line_25 |  | 20 | 57 | 0.087258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3427-13_0_5_line_26 |  | 21 | 22 | 0.040453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3427-13_0_5_line_27 |  | 21 | 23 | 0.028322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3427-13_0_5_line_28 |  | 21 | 24 | 0.063832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3427-13_0_5_line_29 |  | 21 | 25 | 0.078115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_3427-13_0_5_line_30 |  | 23 | 43 | 0.019731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3427-13_0_5_line_31 |  | 24 | 26 | 0.038709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3427-13_0_5_line_32 |  | 25 | 27 | 0.028555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_3427-13_0_5_line_33 |  | 25 | 28 | 0.028829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3427-13_0_5_line_34 |  | 26 | 42 | 0.018259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3427-13_0_5_line_35 |  | 27 | 32 | 0.0065486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3427-13_0_5_line_36 |  | 27 | 29 | 0.03131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_3427-13_0_5_line_37 |  | 29 | 30 | 0.020479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_3427-13_0_5_line_38 |  | 31 | 44 | 0.029044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3427-13_0_5_line_39 |  | 32 | 39 | 0.042735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3427-13_0_5_line_40 |  | 33 | 34 | 0.20985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3427-13_0_5_line_41 |  | 33 | 35 | 0.16762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3427-13_0_5_line_42 |  | 34 | 36 | 0.12536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3427-13_0_5_line_43 |  | 35 | 37 | 0.01276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3427-13_0_5_line_44 |  | 35 | 38 | 0.0054365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3427-13_0_5_line_45 |  | 36 | 39 | 0.020106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3427-13_0_5_line_46 |  | 37 | 40 | 0.015105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3427-13_0_5_line_47 |  | 37 | 41 | 0.010719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3427-13_0_5_line_48 |  | 40 | 51 | 0.019746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3427-13_0_5_line_49 |  | 42 | 63 | 0.016743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3427-13_0_5_line_50 |  | 43 | 61 | 0.014776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3427-13_0_5_line_51 |  | 45 | 46 | 0.081855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3427-13_0_5_line_52 |  | 46 | 57 | 0.005375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3427-13_0_5_line_53 |  | 47 | 48 | 0.010599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3427-13_0_5_line_54 |  | 49 | 50 | 0.017948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3427-13_0_5_line_55 |  | 50 | 51 | 0.005723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3427-13_0_5_line_56 |  | 50 | 52 | 0.01476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3427-13_0_5_line_57 |  | 52 | 53 | 0.024517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3427-13_0_5_line_58 |  | 54 | 55 | 0.036994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3427-13_0_5_line_59 |  | 55 | 56 | 0.046241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3427-13_0_5_line_60 |  | 56 | 62 | 0.027176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3427-13_0_5_line_61 |  | 57 | 58 | 0.016655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3427-13_0_5_line_62 |  | 59 | 60 | 0.084118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3427-13_0_5_line_63 |  | 59 | 61 | 0.11916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3427-13_0_5_line_64 |  | 60 | 62 | 0.076653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3427-13_0_5_line_65 |  | 64 | 65 | 0.034894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3427-13_0_5_line_66 |  | 65 | 66 | 0.0040881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3427-13_0_5_trafo_19 | 0.63 MVA 20/0.4 kV | 68 | 21 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2722474.3557 | 1257161.969 | 2722452.1095 | 1257114.6027 | 2722448.3799 | 1257106.385 | 2722443.0395 | 1257101.2812 | 2722395.5386 | 1257079.0755
1 | 2722369.0641 | 1257066.6991 | 2722395.5386 | 1257079.0755
2 | 2722369.0641 | 1257066.6991 | 2722386.3618 | 1256969.6493 | 2722395.4685 | 1256942.9363 | 2722400.056 | 1256933.0336 | 2722399.8178 | 1256927.7796
3 | 2722399.8178 | 1256927.7796 | 2722398.3699 | 1256924.4801 | 2722391.8903 | 1256920.4649 | 2722283.5898 | 1256873.3356
4 | 2722399.8178 | 1256927.7796 | 2722404.2837 | 1256923.3903
5 | 2722270.9329 | 1256867.8277 | 2722283.5898 | 1256873.3356
6 | 2722404.2837 | 1256923.3903 | 2722406.8311 | 1256929.326 | 2722412.2914 | 1256931.93 | 2722412.7612 | 1256932.4252
7 | 2722404.2837 | 1256923.3903 | 2722414.8356 | 1256901.9341 | 2722425.6502 | 1256874.3557 | 2722434.8699 | 1256875.3584 | 2722443.1912 | 1256877.499 | 2722452.4217 | 1256881.2599 | 2722458.2762 | 1256884.4949 | 2722460.9855 | 1256886.9865
8 | 2722428.9839 | 1256953.4608 | 2722429.9865 | 1256950.579 | 2722412.7612 | 1256932.4252
9 | 2722428.9839 | 1256953.4608 | 2722440.2057 | 1256956.4955 | 2722454.8078 | 1256971.5107 | 2722478.1017 | 1256982.1796
10 | 2722270.9329 | 1256867.8277 | 2722259.6176 | 1256862.9036 | 2722252.4101 | 1256859.8076
11 | 2722450.3967 | 1256913.4907 | 2722460.9855 | 1256886.9865
12 | 2722460.9855 | 1256886.9865 | 2722468.9358 | 1256894.2907 | 2722483.0753 | 1256899.9044
13 | 2722031.1172 | 1256783.9551 | 2722040.4006 | 1256787.0369
14 | 2721991.7144 | 1256770.8746 | 2721991.7144 | 1256770.8746 | 2722031.1172 | 1256783.9551
15 | 2722064.8155 | 1256795.1419 | 2722040.4006 | 1256787.0369
16 | 2721959.7103 | 1256734.8949 | 2721968.5683 | 1256753.0933 | 2721973.707 | 1256761.4287 | 2721981.4774 | 1256766.8824 | 2721991.7144 | 1256770.8746
17 | 2722074.2008 | 1256798.2576 | 2722064.8155 | 1256795.1419
18 | 2721959.7103 | 1256734.8949 | 2721933.8276 | 1256747.9925
19 | 2721959.7103 | 1256734.8949 | 2721993.1612 | 1256717.9136 | 2721991.0475 | 1256713.2326
20 | 2722074.2008 | 1256798.2576 | 2722076.8694 | 1256799.1435 | 2722116.7431 | 1256802.8246 | 2722154.708 | 1256818.0691
21 | 2721891.8745 | 1256769.2225 | 2721933.8276 | 1256747.9925
22 | 2721991.0475 | 1256713.2326 | 2721983.5309 | 1256696.5632 | 2721975.2351 | 1256683.6587 | 2721966.3058 | 1256676.602 | 2721956.115 | 1256675.1129 | 2721945.1909 | 1256678.4575 | 2721937.7862 | 1256684.1656 | 2721932.6081 | 1256687.6175
23 | 2721991.0475 | 1256713.2326 | 2721996.2621 | 1256710.5711 | 2722021.7985 | 1256698.787 | 2722032.824 | 1256694.2007
24 | 2722242.6715 | 1256855.6244 | 2722162.903 | 1256821.3597 | 2722154.708 | 1256818.0691
25 | 2721813.6088 | 1256807.7954 | 2721846.3635 | 1256791.9777 | 2721857.8453 | 1256786.4425 | 2721891.8745 | 1256769.2225
26 | 2722182.7677 | 1256683.1597 | 2722143.2884 | 1256692.4866
27 | 2722143.2884 | 1256692.4866 | 2722131.6246 | 1256695.8489 | 2722125.8157 | 1256692.5818 | 2722116.366 | 1256693.7215
28 | 2722170.4756 | 1256655.5819 | 2722135.2633 | 1256666.8541 | 2722143.2884 | 1256692.4866
29 | 2722087.865 | 1256676.8297 | 2722090.2514 | 1256680.3598 | 2722135.2633 | 1256666.8541 | 2722143.2884 | 1256692.4866
30 | 2722096.7771 | 1256696.0842 | 2722116.366 | 1256693.7215
31 | 2722170.4756 | 1256655.5819 | 2722171.9649 | 1256660.1722 | 2722174.1723 | 1256663.2315 | 2722176.7679 | 1256665.0311 | 2722181.2317 | 1256665.1233 | 2722202.7764 | 1256658.6794
32 | 2722066.0631 | 1256663.3573 | 2722079.2125 | 1256664.0401 | 2722087.865 | 1256676.8297
33 | 2722087.865 | 1256676.8297 | 2722115.1486 | 1256667.518
34 | 2722220.2693 | 1256653.4474 | 2722202.7764 | 1256658.6794
35 | 2722066.0631 | 1256663.3573 | 2722064.4212 | 1256657.0179
36 | 2722066.0631 | 1256663.3573 | 2722049.8849 | 1256678.9486 | 2722052.1671 | 1256687.5253
37 | 2722052.1671 | 1256687.5253 | 2722038.4313 | 1256691.8682 | 2722032.824 | 1256694.2007
38 | 2721932.6081 | 1256687.6175 | 2721922.3016 | 1256691.7422 | 2721904.4918 | 1256693.9218
39 | 2722064.4212 | 1256657.0179 | 2722065.558 | 1256650.5468 | 2722069.9465 | 1256645.5218 | 2722085.7817 | 1256631.2024 | 2722092.2011 | 1256626.1908
40 | 2722163.3206 | 1256502.7004 | 2722173.5277 | 1256504.1456 | 2722201.2202 | 1256511.479 | 2722250.5226 | 1256523.6964 | 2722308.2053 | 1256537.3997 | 2722352.6247 | 1256550.073 | 2722367.6814 | 1256552.2861
41 | 2722467.4397 | 1256417.4416 | 2722448.759 | 1256441.2316 | 2722404.5677 | 1256500.2696 | 2722376.4957 | 1256540.8249 | 2722367.6814 | 1256552.2861
42 | 2722163.3206 | 1256502.7004 | 2722162.1364 | 1256511.4614 | 2722159.7262 | 1256518.2176 | 2722156.1898 | 1256524.717 | 2722134.0034 | 1256570.7662 | 2722120.1822 | 1256599.6954 | 2722111.5549 | 1256611.2609 | 2722108.0973 | 1256613.8806
43 | 2722478.62 | 1256411.2341 | 2722467.4397 | 1256417.4416
44 | 2722467.4397 | 1256417.4416 | 2722470.7039 | 1256413.0941
45 | 2722108.0973 | 1256613.8806 | 2722103.7535 | 1256617.1718 | 2722092.2011 | 1256626.1908
46 | 2722478.62 | 1256411.2341 | 2722487.4429 | 1256398.9732
47 | 2722478.62 | 1256411.2341 | 2722472.5242 | 1256420.0514
48 | 2722500.8081 | 1256384.5697 | 2722495.4343 | 1256389.0625 | 2722490.0769 | 1256395.3127 | 2722487.4429 | 1256398.9732
49 | 2722220.2693 | 1256653.4474 | 2722236.3103 | 1256648.6497
50 | 2722096.7771 | 1256696.0842 | 2722082.1077 | 1256697.8535
51 | 2721810.1329 | 1256803.6869 | 2721845.718 | 1256785.9592 | 2721883.5736 | 1256767.5413
52 | 2721813.6088 | 1256807.7954 | 2721810.1329 | 1256803.6869
53 | 2722242.6715 | 1256855.6244 | 2722252.4101 | 1256859.8076
54 | 2722497.7704 | 1256379.7138 | 2722492.2546 | 1256384.8708 | 2722485.895 | 1256393.0961
55 | 2722500.8081 | 1256384.5697 | 2722497.7704 | 1256379.7138
56 | 2722497.7704 | 1256379.7138 | 2722490.2157 | 1256367.0342
57 | 2722490.2157 | 1256367.0342 | 2722487.0095 | 1256361.6531 | 2722484.3364 | 1256353.7575 | 2722483.4333 | 1256343.8819
58 | 2722299.3648 | 1256649.488 | 2722291.51 | 1256659.6953 | 2722276.5841 | 1256678.6351
59 | 2722243.4685 | 1256710.5699 | 2722251.1343 | 1256705.446 | 2722270.71 | 1256686.0888 | 2722276.5841 | 1256678.6351
60 | 2722243.4685 | 1256710.5699 | 2722233.8013 | 1256717.0316 | 2722219.3646 | 1256722.8055
61 | 2721813.6088 | 1256807.7954 | 2721819.8942 | 1256816.866 | 2721822.3481 | 1256821.921
62 | 2722068.8397 | 1256746.7605 | 2722079.4671 | 1256743.8152 | 2722088.4022 | 1256739.251 | 2722149.4576 | 1256723.4928
63 | 2722068.8397 | 1256746.7605 | 2722066.9185 | 1256747.2929 | 2722050.1564 | 1256748.782 | 2722041.2144 | 1256745.6393 | 2722034.8745 | 1256738.8583 | 2722029.0659 | 1256730.0864 | 2722027.5883 | 1256724.1952 | 2722029.0518 | 1256717.6085 | 2722034.914 | 1256711.7131 | 2722045.8797 | 1256704.8887 | 2722063.1467 | 1256700.1405 | 2722082.1077 | 1256697.8535
64 | 2722149.4576 | 1256723.4928 | 2722173.501 | 1256717.2872 | 2722183.4806 | 1256726.4345 | 2722189.7158 | 1256730.2443 | 2722197.443 | 1256730.4818 | 2722205.9195 | 1256727.3095 | 2722213.9184 | 1256724.9837 | 2722219.3646 | 1256722.8055
65 | 2722483.0753 | 1256899.9044 | 2722507.2349 | 1256909.4964 | 2722505.5114 | 1256918.228
66 | 2722505.5114 | 1256918.228 | 2722504.7198 | 1256922.2387

## bus_geodata
| x | y | coords
0 | 2722474.3557 | 1257161.969
1 | 2722395.5386 | 1257079.0755
2 | 2722369.0641 | 1257066.6991
3 | 2722399.8178 | 1256927.7796
4 | 2722283.5898 | 1256873.3356
5 | 2722404.2837 | 1256923.3903
6 | 2722428.9839 | 1256953.4608
7 | 2722412.7612 | 1256932.4252
8 | 2722478.1017 | 1256982.1796
9 | 2722270.9329 | 1256867.8277
10 | 2722460.9855 | 1256886.9865
11 | 2722031.1172 | 1256783.9551
12 | 2722040.4006 | 1256787.0369
13 | 2721991.7144 | 1256770.8746
14 | 2722064.8155 | 1256795.1419
15 | 2721959.7103 | 1256734.8949
16 | 2722074.2008 | 1256798.2576
17 | 2721933.8276 | 1256747.9925
18 | 2721991.0475 | 1256713.2326
19 | 2722154.708 | 1256818.0691
20 | 2721891.8745 | 1256769.2225
21 | 2722143.2884 | 1256692.4866
22 | 2722182.7677 | 1256683.1597
23 | 2722116.366 | 1256693.7215
24 | 2722170.4756 | 1256655.5819
25 | 2722087.865 | 1256676.8297
26 | 2722202.7765 | 1256658.6794
27 | 2722066.0631 | 1256663.3573
28 | 2722115.1486 | 1256667.518
29 | 2722052.1671 | 1256687.5253
30 | 2722032.824 | 1256694.2007
31 | 2721932.6081 | 1256687.6175
32 | 2722064.4212 | 1256657.0179
33 | 2722367.6814 | 1256552.2861
34 | 2722163.3206 | 1256502.7004
35 | 2722467.4397 | 1256417.4416
36 | 2722108.0973 | 1256613.8806
37 | 2722478.62 | 1256411.2341
38 | 2722470.7039 | 1256413.0941
39 | 2722092.2011 | 1256626.1908
40 | 2722487.4429 | 1256398.9732
41 | 2722472.5242 | 1256420.0514
42 | 2722220.2693 | 1256653.4474
43 | 2722096.7771 | 1256696.0842
44 | 2721904.4918 | 1256693.9218
45 | 2721883.5736 | 1256767.5413
46 | 2721810.1329 | 1256803.6869
47 | 2722242.6715 | 1256855.6244
48 | 2722252.4101 | 1256859.8076
49 | 2722485.895 | 1256393.0961
50 | 2722497.7704 | 1256379.7138
51 | 2722500.8081 | 1256384.5697
52 | 2722490.2157 | 1256367.0342
53 | 2722483.4333 | 1256343.8819
54 | 2722299.3648 | 1256649.488
55 | 2722276.5841 | 1256678.6351
56 | 2722243.4685 | 1256710.5699
57 | 2721813.6088 | 1256807.7954
58 | 2721822.3481 | 1256821.921
59 | 2722068.8397 | 1256746.7605
60 | 2722149.4576 | 1256723.4928
61 | 2722082.1077 | 1256697.8535
62 | 2722219.3646 | 1256722.8055
63 | 2722236.3103 | 1256648.6497
64 | 2722483.0753 | 1256899.9044
65 | 2722505.5114 | 1256918.228
66 | 2722504.7198 | 1256922.2387
67 | 2722450.3967 | 1256913.4907
68 | 2722135.2633 | 1256666.8541

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1