## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3427-14_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3427-14_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3427-14_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3427-14_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_3427-14_0_4_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_3427-14_0_4_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_3427-14_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_3427-14_0_4_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_3427-14_0_4_node_25 | 0.4 | n |  | TRUE
9 | bus_LV_3427-14_0_4_node_24 | 0.4 | n |  | TRUE
10 | bus_LV_3427-14_0_4_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_3427-14_0_4_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_3427-14_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_3427-14_0_4_node_26 | 0.4 | n |  | TRUE
14 | bus_LV_3427-14_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_3427-14_0_4_node_30 | 0.4 | n |  | TRUE
16 | bus_LV_3427-14_0_4_node_33 | 0.4 | n |  | TRUE
17 | bus_LV_3427-14_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_3427-14_0_4_node_36 | 0.4 | n |  | TRUE
19 | bus_LV_3427-14_0_4_node_45 | 0.4 | n |  | TRUE
20 | bus_LV_3427-14_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_3427-14_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_3427-14_0_4_node_32 | 0.4 | n |  | TRUE
23 | bus_LV_3427-14_0_4_node_44 | 0.4 | n |  | TRUE
24 | bus_LV_3427-14_0_4_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_3427-14_0_4_node_37 | 0.4 | n |  | TRUE
26 | bus_LV_3427-14_0_4_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_3427-14_0_4_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_3427-14_0_4_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_3427-14_0_4_node_34 | 0.4 | n |  | TRUE
30 | bus_LV_3427-14_0_4_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_3427-14_0_4_node_52 | 0.4 | n |  | TRUE
32 | bus_LV_3427-14_0_4_node_57 | 0.4 | n |  | TRUE
33 | bus_LV_3427-14_0_4_node_42 | 0.4 | n |  | TRUE
34 | bus_LV_3427-14_0_4_node_15 | 0.4 | n |  | TRUE
35 | bus_LV_3427-14_0_4_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_3427-14_0_4_node_75 | 0.4 | n |  | TRUE
37 | bus_LV_3427-14_0_4_node_77 | 0.4 | n |  | TRUE
38 | bus_LV_3427-14_0_4_node_73 | 0.4 | n |  | TRUE
39 | bus_LV_3427-14_0_4_node_19 | 0.4 | n |  | TRUE
40 | bus_LV_3427-14_0_4_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_3427-14_0_4_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_3427-14_0_4_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_3427-14_0_4_node_23 | 0.4 | n |  | TRUE
44 | bus_LV_3427-14_0_4_node_83 | 0.4 | n |  | TRUE
45 | bus_LV_3427-14_0_4_node_82 | 0.4 | n |  | TRUE
46 | bus_LV_3427-14_0_4_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_3427-14_0_4_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_3427-14_0_4_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_3427-14_0_4_node_51 | 0.4 | n |  | TRUE
50 | bus_LV_3427-14_0_4_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_3427-14_0_4_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_3427-14_0_4_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_3427-14_0_4_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_3427-14_0_4_node_85 | 0.4 | n |  | TRUE
55 | bus_LV_3427-14_0_4_node_56 | 0.4 | n |  | TRUE
56 | bus_LV_3427-14_0_4_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_3427-14_0_4_node_60 | 0.4 | n |  | TRUE
58 | bus_LV_3427-14_0_4_node_65 | 0.4 | n |  | TRUE
59 | bus_LV_3427-14_0_4_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_3427-14_0_4_node_96 | 0.4 | n |  | TRUE
61 | bus_LV_3427-14_0_4_node_97 | 0.4 | n |  | TRUE
62 | bus_LV_3427-14_0_4_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_3427-14_0_4_node_62 | 0.4 | n |  | TRUE
64 | bus_LV_3427-14_0_4_node_66 | 0.4 | n |  | TRUE
65 | bus_LV_3427-14_0_4_node_92 | 0.4 | n |  | TRUE
66 | bus_LV_3427-14_0_4_node_84 | 0.4 | n |  | TRUE
67 | bus_LV_3427-14_0_4_node_55 | 0.4 | n |  | TRUE
68 | bus_LV_3427-14_0_4_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_3427-14_0_4_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_3427-14_0_4_node_94 | 0.4 | n |  | TRUE
71 | bus_LV_3427-14_0_4_node_93 | 0.4 | n |  | TRUE
72 | bus_LV_3427-14_0_4_node_59 | 0.4 | n |  | TRUE
73 | bus_LV_3427-14_0_4_node_61 | 0.4 | n |  | TRUE
74 | bus_LV_3427-14_0_4_node_63 | 0.4 | n |  | TRUE
75 | bus_LV_3427-14_0_4_node_64 | 0.4 | n |  | TRUE
76 | bus_LV_3427-14_0_4_node_95 | 0.4 | n |  | TRUE
77 | bus_LV_3427-14_0_4_node_91 | 0.4 | n |  | TRUE
78 | bus_LV_3427-14_0_4_node_67 | 0.4 | n |  | TRUE
79 | bus_LV_3427-14_0_4_node_100 | 0.4 | n |  | TRUE
80 | bus_LV_3427-14_0_4_node_72 | 0.4 | n |  | TRUE
81 | bus_LV_3427-14_0_4_node_68 | 0.4 | n |  | TRUE
82 | bus_LV_3427-14_0_4_node_69 | 0.4 | n |  | TRUE
83 | bus_LV_3427-14_0_4_node_70 | 0.4 | n |  | TRUE
84 | bus_LV_3427-14_0_4_node_71 | 0.4 | n |  | TRUE
85 | bus_LV_3427-14_0_4_node_98 | 0.4 | n |  | TRUE
86 | bus_LV_3427-14_0_4_node_101 | 0.4 | n |  | TRUE
87 | bus_LV_3427-14_0_4_node_99 | 0.4 | n |  | TRUE
88 | bus_LV_3427-14_0_4_node_74 | 0.4 | n |  | TRUE
89 | bus_LV_3427-14_0_4_node_76 | 0.4 | n |  | TRUE
90 | bus_LV_3427-14_0_4_node_78 | 0.4 | n |  | TRUE
91 | bus_LV_3427-14_0_4_node_79 | 0.4 | n |  | TRUE
92 | bus_LV_3427-14_0_4_node_80 | 0.4 | n |  | TRUE
93 | bus_LV_3427-14_0_4_node_81 | 0.4 | n |  | TRUE
94 | bus_LV_3427-14_0_4_node_86 | 0.4 | n |  | TRUE
95 | bus_LV_3427-14_0_4_node_87 | 0.4 | n |  | TRUE
96 | bus_LV_3427-14_0_4_node_88 | 0.4 | n |  | TRUE
97 | bus_LV_3427-14_0_4_node_90 | 0.4 | n |  | TRUE
98 | bus_MV_589_0_node_14 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3427-14_0_4_load_0 | 0 | 0.012035 | 0.0030163 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3427-14_0_4_load_1 | 1 | 0.012743 | 0.0031937 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3427-14_0_4_load_2 | 2 | 0.012024 | 0.0030136 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3427-14_0_4_load_6 | 4 | 0.012163 | 0.0030483 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3427-14_0_4_load_25 | 8 | 0.011696 | 0.0029313 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3427-14_0_4_load_24 | 9 | 0.011672 | 0.0029253 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3427-14_0_4_load_17 | 11 | 0.014545 | 0.0036454 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3427-14_0_4_load_33 | 16 | 0.016512 | 0.0041382 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3427-14_0_4_load_45 | 19 | 0.011604 | 0.0029083 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3427-14_0_4_load_44 | 23 | 0.012424 | 0.0031136 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3427-14_0_4_load_14 | 24 | 0.012064 | 0.0030236 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3427-14_0_4_load_37 | 25 | 0.020553 | 0.0051512 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3427-14_0_4_load_28 | 26 | 0.016263 | 0.0040759 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3427-14_0_4_load_29 | 27 | 0.0053306 | 0.001336 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3427-14_0_4_load_31 | 28 | 0.032297 | 0.0080944 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3427-14_0_4_load_34 | 29 | 0.023228 | 0.0058214 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3427-14_0_4_load_52 | 31 | 0.0027626 | 0.00069237 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3427-14_0_4_load_15 | 34 | 0.015029 | 0.0037666 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3427-14_0_4_load_77 | 37 | 0.0030334 | 0.00076024 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3427-14_0_4_load_73 | 38 | 0.0030093 | 0.00075421 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3427-14_0_4_load_19 | 39 | 0.012108 | 0.0030346 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3427-14_0_4_load_20 | 40 | 0.0023754 | 0.00059534 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3427-14_0_4_load_21 | 41 | 0.0023754 | 0.00059534 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3427-14_0_4_load_22 | 42 | 0.002374 | 0.00059499 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3427-14_0_4_load_23 | 43 | 0.0023754 | 0.00059534 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3427-14_0_4_load_83 | 44 | 0.0023754 | 0.00059534 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3427-14_0_4_load_82 | 45 | 0.0015539 | 0.00038945 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3427-14_0_4_load_38 | 46 | 0.011523 | 0.002888 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3427-14_0_4_load_41 | 48 | 0.011598 | 0.0029067 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3427-14_0_4_load_51 | 49 | 0.011519 | 0.0028868 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3427-14_0_4_load_46 | 51 | 0.019683 | 0.004933 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3427-14_0_4_load_85 | 54 | 0.0027104 | 0.00067929 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3427-14_0_4_load_56 | 55 | 0.0027664 | 0.00069332 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3427-14_0_4_load_65 | 58 | 0.0012142 | 0.00030431 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3427-14_0_4_load_96 | 60 | 0.0011216 | 0.00028111 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3427-14_0_4_load_97 | 61 | 0.0010633 | 0.00026649 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3427-14_0_4_load_54 | 62 | 0.0027671 | 0.0006935 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3427-14_0_4_load_62 | 63 | 0.0010774 | 0.00027003 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3427-14_0_4_load_66 | 64 | 0.0012142 | 0.00030431 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3427-14_0_4_load_92 | 65 | 0.0011264 | 0.00028231 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3427-14_0_4_load_84 | 66 | 0.0034251 | 0.00085842 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3427-14_0_4_load_53 | 68 | 0.0038378 | 0.00096183 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3427-14_0_4_load_58 | 69 | 0.0031697 | 0.00079441 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3427-14_0_4_load_94 | 70 | 0.0030999 | 0.00077691 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3427-14_0_4_load_93 | 71 | 0.0025762 | 0.00064565 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3427-14_0_4_load_59 | 72 | 0.0011416 | 0.00028612 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3427-14_0_4_load_63 | 74 | 0.0025764 | 0.0006457 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3427-14_0_4_load_64 | 75 | 0.0011644 | 0.00029182 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3427-14_0_4_load_95 | 76 | 0.002598 | 0.00065111 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3427-14_0_4_load_91 | 77 | 0.0025913 | 0.00064944 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3427-14_0_4_load_67 | 78 | 0.001214 | 0.00030427 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3427-14_0_4_load_100 | 79 | 0.0030353 | 0.00076073 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3427-14_0_4_load_72 | 80 | 0.0030353 | 0.00076072 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3427-14_0_4_load_68 | 81 | 0.0030377 | 0.00076131 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3427-14_0_4_load_69 | 82 | 0.0030353 | 0.00076072 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3427-14_0_4_load_70 | 83 | 0.0030353 | 0.00076072 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3427-14_0_4_load_71 | 84 | 0.0030353 | 0.00076072 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3427-14_0_4_load_98 | 85 | 0.0030353 | 0.00076072 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3427-14_0_4_load_101 | 86 | 0.0040406 | 0.0010127 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3427-14_0_4_load_99 | 87 | 0.0030324 | 0.00075998 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3427-14_0_4_load_74 | 88 | 0.012142 | 0.003043 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3427-14_0_4_load_78 | 90 | 0.001554 | 0.00038947 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3427-14_0_4_load_79 | 91 | 0.0015548 | 0.00038968 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3427-14_0_4_load_80 | 92 | 0.001554 | 0.00038946 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3427-14_0_4_load_81 | 93 | 0.0015549 | 0.00038969 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3427-14_0_4_load_86 | 94 | 0.0027009 | 0.0006769 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3427-14_0_4_load_87 | 95 | 0.0027622 | 0.00069228 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3427-14_0_4_load_90 | 97 | 0.0025884 | 0.0006487 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3427-14_0_4_line_0 |  | 0 | 1 | 0.033203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3427-14_0_4_line_1 |  | 0 | 2 | 0.030769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3427-14_0_4_line_2 |  | 2 | 3 | 0.049032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3427-14_0_4_line_3 |  | 3 | 4 | 0.021004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3427-14_0_4_line_4 |  | 3 | 5 | 0.015981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3427-14_0_4_line_5 |  | 4 | 9 | 0.032772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3427-14_0_4_line_6 |  | 5 | 10 | 0.019168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3427-14_0_4_line_7 |  | 5 | 11 | 0.03418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3427-14_0_4_line_8 |  | 6 | 7 | 0.066929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3427-14_0_4_line_9 |  | 6 | 8 | 0.0185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3427-14_0_4_line_10 |  | 7 | 11 | 0.027308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3427-14_0_4_line_11 |  | 7 | 24 | 0.022662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3427-14_0_4_line_12 |  | 9 | 12 | 0.063745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3427-14_0_4_line_13 |  | 10 | 25 | 0.041459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3427-14_0_4_line_14 |  | 12 | 13 | 0.050732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3427-14_0_4_line_15 |  | 13 | 26 | 0.027667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3427-14_0_4_line_16 |  | 14 | 15 | 0.044573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3427-14_0_4_line_17 |  | 14 | 16 | 0.023744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3427-14_0_4_line_18 |  | 15 | 27 | 0.018295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3427-14_0_4_line_19 |  | 16 | 20 | 0.023222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3427-14_0_4_line_20 |  | 17 | 18 | 0.008197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_3427-14_0_4_line_21 |  | 17 | 19 | 0.011487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_3427-14_0_4_line_22 |  | 18 | 29 | 0.0053048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_3427-14_0_4_line_23 |  | 19 | 30 | 0.0061372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_3427-14_0_4_line_24 |  | 20 | 21 | 0.018445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3427-14_0_4_line_25 |  | 20 | 22 | 0.02415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3427-14_0_4_line_26 |  | 21 | 23 | 0.01072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3427-14_0_4_line_27 |  | 22 | 28 | 0.013502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3427-14_0_4_line_28 |  | 23 | 33 | 0.023979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3427-14_0_4_line_29 |  | 24 | 34 | 0.025026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3427-14_0_4_line_30 |  | 25 | 35 | 0.023495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_3427-14_0_4_line_31 |  | 29 | 35 | 0.01643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_3427-14_0_4_line_32 |  | 30 | 48 | 0.015006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_3427-14_0_4_line_33 |  | 31 | 32 | 0.011032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3427-14_0_4_line_34 |  | 32 | 66 | 0.0089023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3427-14_0_4_line_35 |  | 32 | 67 | 0.007048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3427-14_0_4_line_36 |  | 33 | 50 | 0.004309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_3427-14_0_4_line_37 |  | 33 | 48 | 0.014658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_3427-14_0_4_line_38 |  | 35 | 46 | 0.0098232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3427-14_0_4_line_39 |  | 36 | 37 | 0.044747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3427-14_0_4_line_40 |  | 36 | 38 | 0.0098629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3427-14_0_4_line_41 |  | 37 | 87 | 0.007467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3427-14_0_4_line_42 |  | 38 | 88 | 0.0062383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3427-14_0_4_line_43 |  | 39 | 40 | 0.0052845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3427-14_0_4_line_44 |  | 39 | 41 | 0.0011222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3427-14_0_4_line_45 |  | 40 | 42 | 0.0064026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3427-14_0_4_line_46 |  | 41 | 43 | 0.0064044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3427-14_0_4_line_47 |  | 43 | 44 | 0.0064067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3427-14_0_4_line_48 |  | 44 | 45 | 0.01409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3427-14_0_4_line_49 |  | 45 | 93 | 0.006412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3427-14_0_4_line_50 |  | 46 | 47 | 0.0080094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3427-14_0_4_line_51 |  | 47 | 49 | 0.013252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3427-14_0_4_line_52 |  | 50 | 51 | 0.01971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_3427-14_0_4_line_53 |  | 51 | 52 | 0.023556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3427-14_0_4_line_54 |  | 52 | 53 | 0.005491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3427-14_0_4_line_55 |  | 53 | 54 | 0.012049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3427-14_0_4_line_56 |  | 53 | 55 | 0.0070474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3427-14_0_4_line_57 |  | 54 | 59 | 0.0090705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3427-14_0_4_line_58 |  | 55 | 62 | 1.9825e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3427-14_0_4_line_59 |  | 56 | 57 | 0.013673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3427-14_0_4_line_60 |  | 56 | 58 | 0.008483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3427-14_0_4_line_61 |  | 57 | 63 | 0.0050355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3427-14_0_4_line_62 |  | 58 | 64 | 0.0063978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3427-14_0_4_line_63 |  | 59 | 60 | 0.0085593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3427-14_0_4_line_64 |  | 59 | 61 | 0.0081742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3427-14_0_4_line_65 |  | 60 | 65 | 5.6549e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3427-14_0_4_line_66 |  | 61 | 63 | 0.0040609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3427-14_0_4_line_67 |  | 62 | 68 | 0.0020723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3427-14_0_4_line_68 |  | 64 | 78 | 0.0063958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3427-14_0_4_line_69 |  | 67 | 69 | 0.0040914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3427-14_0_4_line_70 |  | 67 | 68 | 0.012843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3427-14_0_4_line_71 |  | 69 | 70 | 0.0050053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3427-14_0_4_line_72 |  | 70 | 71 | 0.0050678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3427-14_0_4_line_73 |  | 71 | 97 | 0.005388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3427-14_0_4_line_74 |  | 72 | 73 | 0.015313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3427-14_0_4_line_75 |  | 73 | 74 | 0.012457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3427-14_0_4_line_76 |  | 73 | 75 | 0.0090575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3427-14_0_4_line_77 |  | 74 | 76 | 0.005878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3427-14_0_4_line_78 |  | 76 | 77 | 0.0045594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3427-14_0_4_line_79 |  | 77 | 96 | 0.0094607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3427-14_0_4_line_80 |  | 78 | 79 | 0.005744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3427-14_0_4_line_81 |  | 79 | 80 | 0.0063718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3427-14_0_4_line_82 |  | 80 | 83 | 0.0063718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3427-14_0_4_line_83 |  | 81 | 82 | 0.006374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3427-14_0_4_line_84 |  | 81 | 83 | 0.013851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3427-14_0_4_line_85 |  | 82 | 84 | 0.0063718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3427-14_0_4_line_86 |  | 84 | 85 | 0.0063718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3427-14_0_4_line_87 |  | 84 | 86 | 0.075007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3427-14_0_4_line_88 |  | 85 | 87 | 0.0063691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3427-14_0_4_line_89 |  | 88 | 89 | 0.027263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3427-14_0_4_line_90 |  | 89 | 90 | 0.012475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3427-14_0_4_line_91 |  | 89 | 91 | 0.015507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3427-14_0_4_line_92 |  | 91 | 92 | 0.0064119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3427-14_0_4_line_93 |  | 92 | 93 | 0.0064123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3427-14_0_4_line_94 |  | 94 | 95 | 7.3146e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3427-14_0_4_line_95 |  | 94 | 96 | 0.0085472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_3427-14_0_4_line_96 |  | 96 | 97 | 0.01026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3427-14_0_4_trafo_37 | 0.63 MVA 20/0.4 kV | 98 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2720296.2107 | 1258254.419 | 2720329.2932 | 1258251.5901
1 | 2720296.2107 | 1258254.419 | 2720265.5539 | 1258257.0404
2 | 2720219.3896 | 1258266.192 | 2720220.1079 | 1258264.2494 | 2720221.593 | 1258262.4224 | 2720223.4211 | 1258261.1584 | 2720225.8037 | 1258260.4395 | 2720265.5539 | 1258257.0404
3 | 2720219.3896 | 1258266.192 | 2720218.8428 | 1258268.2383 | 2720218.7505 | 1258270.5495 | 2720220.2784 | 1258287.0514
4 | 2720212.3645 | 1258257.1192 | 2720213.2742 | 1258266.9018 | 2720219.3896 | 1258266.192
5 | 2720223.2997 | 1258319.6835 | 2720220.2784 | 1258287.0514
6 | 2720213.6852 | 1258238.1517 | 2720212.1117 | 1258244.3251 | 2720212.3645 | 1258257.1192
7 | 2720212.3645 | 1258257.1192 | 2720241.5944 | 1258254.5551 | 2720246.4136 | 1258254.136
8 | 2720340.4879 | 1258245.8906 | 2720273.6191 | 1258251.77
9 | 2720340.4879 | 1258245.8906 | 2720338.8363 | 1258227.4648
10 | 2720273.6191 | 1258251.77 | 2720246.4136 | 1258254.136
11 | 2720273.6191 | 1258251.77 | 2720272.4784 | 1258234.8097 | 2720271.2883 | 1258229.2723
12 | 2720238.3998 | 1258376.4412 | 2720237.9311 | 1258371.672 | 2720235.7209 | 1258371.7049 | 2720233.5361 | 1258371.2267 | 2720231.5196 | 1258370.2627 | 2720229.7983 | 1258368.871 | 2720228.431 | 1258367.1306 | 2720227.5065 | 1258365.1212 | 2720223.2997 | 1258319.6835
13 | 2720213.6852 | 1258238.1517 | 2720211.0851 | 1258229.9028 | 2720190.9627 | 1258218.1172 | 2720185.3654 | 1258210.4534
14 | 2720238.3998 | 1258376.4412 | 2720252.245 | 1258375.3549 | 2720269.0965 | 1258374.0294 | 2720289.103 | 1258372.201
15 | 2720289.103 | 1258372.201 | 2720294.328 | 1258360.7639 | 2720309.3787 | 1258359.6372
16 | 2720063.8468 | 1258221.6849 | 2720098.9476 | 1258216.3479 | 2720108.045 | 1258217.7115
17 | 2720108.045 | 1258217.7115 | 2720108.3472 | 1258211.7457 | 2720104.7959 | 1258200.942 | 2720103.3465 | 1258197.2983 | 2720103.5468 | 1258194.83
18 | 2720063.8468 | 1258221.6849 | 2720065.0978 | 1258203.4323
19 | 2720097.5702 | 1258177.9642 | 2720104.1225 | 1258178.3976 | 2720104.7848 | 1258179.5787 | 2720103.5468 | 1258194.83
20 | 2720142.4566 | 1258200.6394 | 2720150.6401 | 1258199.8492
21 | 2720142.4566 | 1258200.6394 | 2720141.3323 | 1258189.2079
22 | 2720150.6401 | 1258199.8492 | 2720155.9205 | 1258199.3414
23 | 2720140.7315 | 1258183.1001 | 2720141.3323 | 1258189.2079
24 | 2720097.5702 | 1258177.9642 | 2720099.8196 | 1258173.4059 | 2720103.2805 | 1258166.3811 | 2720105.0985 | 1258161.1579
25 | 2720097.5702 | 1258177.9642 | 2720073.4232 | 1258176.0616
26 | 2720105.0985 | 1258161.1579 | 2720109.1596 | 1258157.2591 | 2720114.1992 | 1258156.544
27 | 2720073.4232 | 1258176.0616 | 2720059.9446 | 1258175.2732
28 | 2720137.9906 | 1258153.5632 | 2720120.7467 | 1258155.615 | 2720114.1992 | 1258156.544
29 | 2720271.2883 | 1258229.2723 | 2720268.82 | 1258217.7872 | 2720255.6021 | 1258219.0517
30 | 2720170.301 | 1258192.7866 | 2720174.2263 | 1258195.2018 | 2720185.3654 | 1258210.4534
31 | 2720170.301 | 1258192.7866 | 2720162.6697 | 1258198.6924 | 2720155.9205 | 1258199.3414
32 | 2720140.7315 | 1258183.1001 | 2720139.345 | 1258168.1581
33 | 2720094.6721 | 1258121.2448 | 2720095.2624 | 1258122.2576 | 2720096.1699 | 1258132.0753
34 | 2720094.6721 | 1258121.2448 | 2720085.8286 | 1258122.2663
35 | 2720093.9397 | 1258114.2349 | 2720094.6721 | 1258121.2448
36 | 2720140.4012 | 1258149.9867 | 2720137.9906 | 1258153.5632
37 | 2720137.9906 | 1258153.5632 | 2720139.345 | 1258168.1581
38 | 2720170.301 | 1258192.7866 | 2720168.0383 | 1258191.6842 | 2720166.0616 | 1258190.2428 | 2720163.2255 | 1258186.2964
39 | 2720215.8249 | 1258190.7648 | 2720195.111 | 1258168.002 | 2720186.1785 | 1258157.2601
40 | 2720215.8249 | 1258190.7648 | 2720225.6779 | 1258190.3227
41 | 2720181.5191 | 1258151.4306 | 2720182.5815 | 1258152.9345 | 2720186.1785 | 1258157.2601
42 | 2720225.6779 | 1258190.3227 | 2720231.9099 | 1258190.043
43 | 2720321.8454 | 1258185.9354 | 2720327.1244 | 1258185.6915
44 | 2720320.7245 | 1258185.9872 | 2720321.8454 | 1258185.9354
45 | 2720327.1244 | 1258185.6915 | 2720333.5202 | 1258185.396
46 | 2720320.7245 | 1258185.9872 | 2720314.3268 | 1258186.2827
47 | 2720307.9269 | 1258186.5784 | 2720314.3268 | 1258186.2827
48 | 2720293.8519 | 1258187.2286 | 2720307.9269 | 1258186.5784
49 | 2720287.4467 | 1258187.5246 | 2720293.8519 | 1258187.2286
50 | 2720158.5514 | 1258179.7923 | 2720163.2255 | 1258186.2964
51 | 2720158.5514 | 1258179.7923 | 2720150.8447 | 1258169.0114
52 | 2720140.4012 | 1258149.9867 | 2720128.9651 | 1258133.9331
53 | 2720121.3323 | 1258112.3002 | 2720121.3888 | 1258117.3168 | 2720122.5469 | 1258122.6783 | 2720124.453 | 1258127.5991 | 2720128.9651 | 1258133.9331
54 | 2720121.3323 | 1258112.3002 | 2720115.8254 | 1258112.3774
55 | 2720115.8254 | 1258112.3774 | 2720115.1056 | 1258103.9999 | 2720115.2088 | 1258100.3605
56 | 2720115.8254 | 1258112.3774 | 2720108.8032 | 1258112.9734
57 | 2720117.1092 | 1258091.4963 | 2720115.8561 | 1258096.7532 | 2720115.2121 | 1258100.2432 | 2720115.2088 | 1258100.3605
58 | 2720108.8032 | 1258112.9734 | 2720108.8013 | 1258112.9735
59 | 2720134.5673 | 1258087.8252 | 2720126.159 | 1258077.0229
60 | 2720134.5673 | 1258087.8252 | 2720139.9621 | 1258094.3717
61 | 2720126.159 | 1258077.0229 | 2720122.7819 | 1258080.758
62 | 2720139.9621 | 1258094.3717 | 2720144.0308 | 1258099.3091
63 | 2720117.1092 | 1258091.4963 | 2720108.9625 | 1258088.8711
64 | 2720117.1092 | 1258091.4963 | 2720118.7235 | 1258087.0251 | 2720120.5101 | 1258084.1083
65 | 2720108.9086 | 1258088.8537 | 2720108.9625 | 1258088.8711
66 | 2720120.5101 | 1258084.1083 | 2720122.101 | 1258081.5111 | 2720122.7819 | 1258080.758
67 | 2720106.7364 | 1258113.1488 | 2720108.8013 | 1258112.9735
68 | 2720148.0982 | 1258104.245 | 2720144.0308 | 1258099.3091
69 | 2720093.9397 | 1258114.2349 | 2720093.4615 | 1258110.1716
70 | 2720093.9397 | 1258114.2349 | 2720106.7364 | 1258113.1488
71 | 2720093.2313 | 1258105.1809 | 2720093.2129 | 1258108.0592 | 2720093.4615 | 1258110.1716
72 | 2720093.4098 | 1258100.1216 | 2720093.2545 | 1258101.5544 | 2720093.2313 | 1258105.1809
73 | 2720094.0535 | 1258094.7737 | 2720093.8762 | 1258095.8175 | 2720093.4098 | 1258100.1216
74 | 2720113.8288 | 1258058.0672 | 2720115.0618 | 1258057.514 | 2720119.4687 | 1258059.6163 | 2720122.8295 | 1258061.6085 | 2720126.1052 | 1258065.6103
75 | 2720113.8288 | 1258058.0672 | 2720106.2363 | 1258066.1424 | 2720105.4663 | 1258067.279
76 | 2720113.8288 | 1258058.0672 | 2720113.6753 | 1258057.0855 | 2720107.7221 | 1258051.6464
77 | 2720102.1696 | 1258072.1454 | 2720105.4663 | 1258067.279
78 | 2720099.8203 | 1258076.0395 | 2720100.5141 | 1258074.5892 | 2720102.1696 | 1258072.1454
79 | 2720096.115 | 1258084.7311 | 2720097.4425 | 1258081.0103 | 2720099.8203 | 1258076.0395
80 | 2720151.4688 | 1258108.8933 | 2720148.7062 | 1258104.9827 | 2720148.0982 | 1258104.245
81 | 2720155.1453 | 1258114.0975 | 2720151.4688 | 1258108.8933
82 | 2720158.8217 | 1258119.3016 | 2720155.1453 | 1258114.0975
83 | 2720166.8136 | 1258130.6144 | 2720170.4913 | 1258135.8204
84 | 2720166.8136 | 1258130.6144 | 2720158.8217 | 1258119.3016
85 | 2720170.4913 | 1258135.8204 | 2720174.1678 | 1258141.0245
86 | 2720174.1678 | 1258141.0245 | 2720177.8442 | 1258146.2287
87 | 2720174.1678 | 1258141.0245 | 2720235.4236 | 1258097.7372
88 | 2720177.8442 | 1258146.2287 | 2720181.5191 | 1258151.4306
89 | 2720259.1451 | 1258188.8209 | 2720231.9099 | 1258190.043
90 | 2720259.1451 | 1258188.8209 | 2720258.9085 | 1258176.3496
91 | 2720259.1451 | 1258188.8209 | 2720264.829 | 1258188.5695 | 2720274.6361 | 1258188.1164
92 | 2720281.0412 | 1258187.8205 | 2720274.6361 | 1258188.1164
93 | 2720281.0412 | 1258187.8205 | 2720287.4467 | 1258187.5246
94 | 2720087.9725 | 1258081.9008 | 2720088.0416 | 1258081.9248
95 | 2720096.115 | 1258084.7311 | 2720088.0416 | 1258081.9248
96 | 2720096.115 | 1258084.7311 | 2720095.0241 | 1258089.0572 | 2720094.0535 | 1258094.7737

## bus_geodata
| x | y | coords
0 | 2720296.2107 | 1258254.419
1 | 2720329.2932 | 1258251.5901
2 | 2720265.5539 | 1258257.0404
3 | 2720219.3896 | 1258266.192
4 | 2720220.2784 | 1258287.0514
5 | 2720212.3645 | 1258257.1192
6 | 2720340.4879 | 1258245.8906
7 | 2720273.6191 | 1258251.77
8 | 2720338.8363 | 1258227.4648
9 | 2720223.2997 | 1258319.6835
10 | 2720213.6852 | 1258238.1517
11 | 2720246.4136 | 1258254.136
12 | 2720238.3998 | 1258376.4412
13 | 2720289.103 | 1258372.201
14 | 2720108.045 | 1258217.7115
15 | 2720063.8468 | 1258221.6849
16 | 2720103.5468 | 1258194.83
17 | 2720142.4566 | 1258200.6394
18 | 2720150.6401 | 1258199.8492
19 | 2720141.3323 | 1258189.2079
20 | 2720097.5702 | 1258177.9642
21 | 2720105.0985 | 1258161.1579
22 | 2720073.4232 | 1258176.0616
23 | 2720114.1992 | 1258156.544
24 | 2720271.2883 | 1258229.2723
25 | 2720185.3654 | 1258210.4534
26 | 2720309.3787 | 1258359.6372
27 | 2720065.0978 | 1258203.4323
28 | 2720059.9446 | 1258175.2732
29 | 2720155.9205 | 1258199.3414
30 | 2720140.7315 | 1258183.1001
31 | 2720096.1699 | 1258132.0753
32 | 2720094.6721 | 1258121.2448
33 | 2720137.9906 | 1258153.5632
34 | 2720255.6021 | 1258219.0517
35 | 2720170.301 | 1258192.7866
36 | 2720215.8249 | 1258190.7648
37 | 2720186.1785 | 1258157.2601
38 | 2720225.6779 | 1258190.3227
39 | 2720321.8454 | 1258185.9354
40 | 2720327.1244 | 1258185.6915
41 | 2720320.7245 | 1258185.9872
42 | 2720333.5202 | 1258185.396
43 | 2720314.3268 | 1258186.2827
44 | 2720307.9269 | 1258186.5784
45 | 2720293.8519 | 1258187.2286
46 | 2720163.2255 | 1258186.2964
47 | 2720158.5514 | 1258179.7923
48 | 2720139.345 | 1258168.1581
49 | 2720150.8447 | 1258169.0114
50 | 2720140.4012 | 1258149.9867
51 | 2720128.9651 | 1258133.9331
52 | 2720121.3323 | 1258112.3002
53 | 2720115.8254 | 1258112.3774
54 | 2720115.2088 | 1258100.3605
55 | 2720108.8032 | 1258112.9734
56 | 2720134.5673 | 1258087.8252
57 | 2720126.159 | 1258077.0229
58 | 2720139.9621 | 1258094.3717
59 | 2720117.1092 | 1258091.4963
60 | 2720108.9625 | 1258088.8711
61 | 2720120.5101 | 1258084.1083
62 | 2720108.8013 | 1258112.9735
63 | 2720122.7819 | 1258080.758
64 | 2720144.0308 | 1258099.3091
65 | 2720108.9086 | 1258088.8537
66 | 2720085.8286 | 1258122.2663
67 | 2720093.9397 | 1258114.2349
68 | 2720106.7364 | 1258113.1488
69 | 2720093.4615 | 1258110.1716
70 | 2720093.2313 | 1258105.1809
71 | 2720093.4098 | 1258100.1216
72 | 2720126.1052 | 1258065.6103
73 | 2720113.8288 | 1258058.0672
74 | 2720105.4663 | 1258067.279
75 | 2720107.7221 | 1258051.6464
76 | 2720102.1696 | 1258072.1454
77 | 2720099.8203 | 1258076.0395
78 | 2720148.0982 | 1258104.245
79 | 2720151.4688 | 1258108.8933
80 | 2720155.1453 | 1258114.0975
81 | 2720166.8136 | 1258130.6144
82 | 2720170.4913 | 1258135.8204
83 | 2720158.8217 | 1258119.3016
84 | 2720174.1678 | 1258141.0245
85 | 2720177.8442 | 1258146.2287
86 | 2720235.4236 | 1258097.7372
87 | 2720181.5191 | 1258151.4306
88 | 2720231.9099 | 1258190.043
89 | 2720259.1451 | 1258188.8209
90 | 2720258.9085 | 1258176.3496
91 | 2720274.6361 | 1258188.1164
92 | 2720281.0412 | 1258187.8205
93 | 2720287.4467 | 1258187.5246
94 | 2720088.0416 | 1258081.9248
95 | 2720087.9725 | 1258081.9008
96 | 2720096.115 | 1258084.7311
97 | 2720094.0535 | 1258094.7737
98 | 2720170.301 | 1258192.7866

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1