## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3427-18_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3427-18_0_5_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_3427-18_0_5_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_3427-18_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3427-18_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3427-18_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3427-18_0_5_node_90 | 0.4 | n |  | TRUE
7 | bus_LV_3427-18_0_5_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_3427-18_0_5_node_92 | 0.4 | n |  | TRUE
9 | bus_LV_3427-18_0_5_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_3427-18_0_5_node_82 | 0.4 | n |  | TRUE
11 | bus_LV_3427-18_0_5_node_88 | 0.4 | n |  | TRUE
12 | bus_LV_3427-18_0_5_node_80 | 0.4 | n |  | TRUE
13 | bus_LV_3427-18_0_5_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_3427-18_0_5_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_3427-18_0_5_node_85 | 0.4 | n |  | TRUE
16 | bus_LV_3427-18_0_5_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_3427-18_0_5_node_6 | 0.4 | n |  | TRUE
18 | bus_LV_3427-18_0_5_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_3427-18_0_5_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_3427-18_0_5_node_73 | 0.4 | n |  | TRUE
21 | bus_LV_3427-18_0_5_node_77 | 0.4 | n |  | TRUE
22 | bus_LV_3427-18_0_5_node_81 | 0.4 | n |  | TRUE
23 | bus_LV_3427-18_0_5_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_3427-18_0_5_node_91 | 0.4 | n |  | TRUE
25 | bus_LV_3427-18_0_5_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_3427-18_0_5_node_78 | 0.4 | n |  | TRUE
27 | bus_LV_3427-18_0_5_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_3427-18_0_5_node_62 | 0.4 | n |  | TRUE
29 | bus_LV_3427-18_0_5_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_3427-18_0_5_node_61 | 0.4 | n |  | TRUE
31 | bus_LV_3427-18_0_5_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_3427-18_0_5_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_3427-18_0_5_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_3427-18_0_5_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_3427-18_0_5_node_65 | 0.4 | n |  | TRUE
36 | bus_LV_3427-18_0_5_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_3427-18_0_5_node_74 | 0.4 | n |  | TRUE
38 | bus_LV_3427-18_0_5_node_84 | 0.4 | n |  | TRUE
39 | bus_LV_3427-18_0_5_node_79 | 0.4 | n |  | TRUE
40 | bus_LV_3427-18_0_5_node_63 | 0.4 | n |  | TRUE
41 | bus_LV_3427-18_0_5_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_3427-18_0_5_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_3427-18_0_5_node_66 | 0.4 | n |  | TRUE
44 | bus_LV_3427-18_0_5_node_53 | 0.4 | n |  | TRUE
45 | bus_LV_3427-18_0_5_node_54 | 0.4 | n |  | TRUE
46 | bus_LV_3427-18_0_5_node_96 | 0.4 | n |  | TRUE
47 | bus_LV_3427-18_0_5_node_55 | 0.4 | n |  | TRUE
48 | bus_LV_3427-18_0_5_node_67 | 0.4 | n |  | TRUE
49 | bus_LV_3427-18_0_5_node_26 | 0.4 | n |  | TRUE
50 | bus_LV_3427-18_0_5_node_27 | 0.4 | n |  | TRUE
51 | bus_LV_3427-18_0_5_node_28 | 0.4 | n |  | TRUE
52 | bus_LV_3427-18_0_5_node_29 | 0.4 | n |  | TRUE
53 | bus_LV_3427-18_0_5_node_30 | 0.4 | n |  | TRUE
54 | bus_LV_3427-18_0_5_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_3427-18_0_5_node_31 | 0.4 | n |  | TRUE
56 | bus_LV_3427-18_0_5_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_3427-18_0_5_node_32 | 0.4 | n |  | TRUE
58 | bus_LV_3427-18_0_5_node_58 | 0.4 | n |  | TRUE
59 | bus_LV_3427-18_0_5_node_59 | 0.4 | n |  | TRUE
60 | bus_LV_3427-18_0_5_node_37 | 0.4 | n |  | TRUE
61 | bus_LV_3427-18_0_5_node_38 | 0.4 | n |  | TRUE
62 | bus_LV_3427-18_0_5_node_39 | 0.4 | n |  | TRUE
63 | bus_LV_3427-18_0_5_node_40 | 0.4 | n |  | TRUE
64 | bus_LV_3427-18_0_5_node_41 | 0.4 | n |  | TRUE
65 | bus_LV_3427-18_0_5_node_71 | 0.4 | n |  | TRUE
66 | bus_LV_3427-18_0_5_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_3427-18_0_5_node_72 | 0.4 | n |  | TRUE
68 | bus_LV_3427-18_0_5_node_42 | 0.4 | n |  | TRUE
69 | bus_LV_3427-18_0_5_node_43 | 0.4 | n |  | TRUE
70 | bus_LV_3427-18_0_5_node_45 | 0.4 | n |  | TRUE
71 | bus_LV_3427-18_0_5_node_47 | 0.4 | n |  | TRUE
72 | bus_LV_3427-18_0_5_node_48 | 0.4 | n |  | TRUE
73 | bus_LV_3427-18_0_5_node_51 | 0.4 | n |  | TRUE
74 | bus_LV_3427-18_0_5_node_49 | 0.4 | n |  | TRUE
75 | bus_LV_3427-18_0_5_node_64 | 0.4 | n |  | TRUE
76 | bus_LV_3427-18_0_5_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_3427-18_0_5_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_3427-18_0_5_node_95 | 0.4 | n |  | TRUE
79 | bus_LV_3427-18_0_5_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_3427-18_0_5_node_94 | 0.4 | n |  | TRUE
81 | bus_LV_3427-18_0_5_node_93 | 0.4 | n |  | TRUE
82 | bus_LV_3427-18_0_5_node_75 | 0.4 | n |  | TRUE
83 | bus_LV_3427-18_0_5_node_76 | 0.4 | n |  | TRUE
84 | bus_LV_3427-18_0_5_node_86 | 0.4 | n |  | TRUE
85 | bus_LV_3427-18_0_5_node_87 | 0.4 | n |  | TRUE
86 | bus_LV_3427-18_0_5_node_83 | 0.4 | n |  | TRUE
87 | bus_MV_410_0_node_37 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3427-18_0_5_load_0 | 0 | 0.014539 | 0.0036438 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3427-18_0_5_load_1 | 2 | 0.011375 | 0.0028507 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3427-18_0_5_load_5 | 5 | 0.040867 | 0.010242 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3427-18_0_5_load_92 | 8 | 0.018172 | 0.0045543 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3427-18_0_5_load_88 | 11 | 0.005379 | 0.0013481 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3427-18_0_5_load_80 | 12 | 0.007257 | 0.0018188 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3427-18_0_5_load_85 | 15 | 0.01476 | 0.0036991 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3427-18_0_5_load_6 | 17 | 0.017797 | 0.0044604 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3427-18_0_5_load_73 | 20 | 0.023081 | 0.0057847 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3427-18_0_5_load_77 | 21 | 0.020303 | 0.0050883 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3427-18_0_5_load_81 | 22 | 0.007653 | 0.001918 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3427-18_0_5_load_91 | 24 | 0.0084417 | 0.0021157 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3427-18_0_5_load_23 | 25 | 0.040668 | 0.010192 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3427-18_0_5_load_78 | 26 | 0.015894 | 0.0039835 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3427-18_0_5_load_61 | 30 | 0.0077933 | 0.0019532 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3427-18_0_5_load_33 | 34 | 0.01085 | 0.0027191 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3427-18_0_5_load_65 | 35 | 0.0095754 | 0.0023998 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3427-18_0_5_load_36 | 36 | 0.01866 | 0.0046767 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3427-18_0_5_load_79 | 39 | 0.0082223 | 0.0020607 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3427-18_0_5_load_63 | 40 | 0.024887 | 0.0062372 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3427-18_0_5_load_25 | 41 | 0.0036471 | 0.00091404 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3427-18_0_5_load_34 | 42 | 0.0035043 | 0.00087827 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3427-18_0_5_load_66 | 43 | 0.0063017 | 0.0015794 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3427-18_0_5_load_96 | 46 | 0.017631 | 0.0044186 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3427-18_0_5_load_67 | 48 | 0.0022959 | 0.0005754 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3427-18_0_5_load_26 | 49 | 0.0075552 | 0.0018935 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3427-18_0_5_load_28 | 51 | 0.0078368 | 0.0019641 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3427-18_0_5_load_29 | 52 | 0.0096021 | 0.0024065 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3427-18_0_5_load_30 | 53 | 0.004749 | 0.0011902 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3427-18_0_5_load_46 | 54 | 0.0057756 | 0.0014475 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3427-18_0_5_load_31 | 55 | 0.0061799 | 0.0015488 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3427-18_0_5_load_44 | 56 | 0.012403 | 0.0031086 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3427-18_0_5_load_32 | 57 | 0.0039104 | 0.00098003 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3427-18_0_5_load_58 | 58 | 0.004199 | 0.0010524 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3427-18_0_5_load_59 | 59 | 0.0069828 | 0.0017501 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3427-18_0_5_load_37 | 60 | 0.0067019 | 0.0016796 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3427-18_0_5_load_38 | 61 | 0.0043185 | 0.0010823 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3427-18_0_5_load_39 | 62 | 0.0033264 | 0.00083366 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3427-18_0_5_load_40 | 63 | 0.0044288 | 0.00111 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3427-18_0_5_load_41 | 64 | 0.003726 | 0.00093381 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3427-18_0_5_load_71 | 65 | 0.0028081 | 0.00070377 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3427-18_0_5_load_60 | 66 | 0.0051303 | 0.0012858 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3427-18_0_5_load_72 | 67 | 0.0048714 | 0.0012209 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3427-18_0_5_load_42 | 68 | 0.005212 | 0.0013062 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3427-18_0_5_load_43 | 69 | 0.0066382 | 0.0016637 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3427-18_0_5_load_45 | 70 | 0.0036676 | 0.00091918 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3427-18_0_5_load_47 | 71 | 0.0039418 | 0.00098792 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3427-18_0_5_load_48 | 72 | 0.0045438 | 0.0011388 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3427-18_0_5_load_49 | 74 | 0.0045317 | 0.0011357 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3427-18_0_5_load_64 | 75 | 0.0078589 | 0.0019696 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3427-18_0_5_load_68 | 76 | 0.0040345 | 0.0010111 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3427-18_0_5_load_69 | 77 | 0.0028067 | 0.00070343 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3427-18_0_5_load_95 | 78 | 0.0044174 | 0.0011071 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3427-18_0_5_load_70 | 79 | 0.0022347 | 0.00056008 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3427-18_0_5_load_94 | 80 | 0.0038575 | 0.00096678 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3427-18_0_5_load_93 | 81 | 0.004887 | 0.0012248 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3427-18_0_5_load_75 | 82 | 0.022301 | 0.0055891 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3427-18_0_5_load_76 | 83 | 0.0097984 | 0.0024557 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3427-18_0_5_load_86 | 84 | 0.011874 | 0.0029758 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3427-18_0_5_load_87 | 85 | 0.0041628 | 0.0010433 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3427-18_0_5_load_83 | 86 | 0.010405 | 0.0026077 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 0 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3427-18_0_5_line_0 |  | 0 | 1 | 0.0035799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_3427-18_0_5_line_1 |  | 1 | 4 | 0.004121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_3427-18_0_5_line_2 |  | 1 | 5 | 0.013992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_3427-18_0_5_line_3 |  | 2 | 3 | 0.012309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3427-18_0_5_line_4 |  | 3 | 6 | 0.03205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3427-18_0_5_line_5 |  | 4 | 7 | 0.004033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_3427-18_0_5_line_6 |  | 4 | 8 | 0.025789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3427-18_0_5_line_7 |  | 5 | 9 | 0.025844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_3427-18_0_5_line_8 |  | 6 | 8 | 0.038013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3427-18_0_5_line_9 |  | 7 | 23 | 0.028859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_3427-18_0_5_line_10 |  | 7 | 24 | 0.0061383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3427-18_0_5_line_11 |  | 9 | 25 | 0.013716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_3427-18_0_5_line_12 |  | 10 | 11 | 0.011445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3427-18_0_5_line_13 |  | 10 | 12 | 0.023494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3427-18_0_5_line_14 |  | 12 | 39 | 0.012795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3427-18_0_5_line_15 |  | 13 | 14 | 0.008816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3427-18_0_5_line_16 |  | 13 | 15 | 0.013599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3427-18_0_5_line_17 |  | 13 | 16 | 0.015934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3427-18_0_5_line_18 |  | 14 | 22 | 0.028368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3427-18_0_5_line_19 |  | 15 | 38 | 0.01022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3427-18_0_5_line_20 |  | 16 | 17 | 0.035623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3427-18_0_5_line_21 |  | 18 | 19 | 0.01329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_3427-18_0_5_line_22 |  | 18 | 20 | 0.008692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_3427-18_0_5_line_23 |  | 19 | 21 | 0.060192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_3427-18_0_5_line_24 |  | 20 | 37 | 0.025841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3427-18_0_5_line_25 |  | 21 | 23 | 0.011848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_3427-18_0_5_line_26 |  | 22 | 39 | 0.015154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3427-18_0_5_line_27 |  | 23 | 26 | 0.047365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3427-18_0_5_line_28 |  | 25 | 33 | 0.019476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_3427-18_0_5_line_29 |  | 27 | 28 | 0.005407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3427-18_0_5_line_30 |  | 27 | 29 | 0.024016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3427-18_0_5_line_31 |  | 27 | 30 | 0.0054869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3427-18_0_5_line_32 |  | 28 | 40 | 0.011132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3427-18_0_5_line_33 |  | 28 | 32 | 0.005848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3427-18_0_5_line_34 |  | 29 | 36 | 0.0047757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3427-18_0_5_line_35 |  | 31 | 32 | 0.01772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3427-18_0_5_line_36 |  | 31 | 33 | 0.016093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3427-18_0_5_line_37 |  | 31 | 34 | 0.010838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3427-18_0_5_line_38 |  | 32 | 35 | 0.034079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3427-18_0_5_line_39 |  | 33 | 41 | 0.0062321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_3427-18_0_5_line_40 |  | 34 | 42 | 0.011941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3427-18_0_5_line_41 |  | 35 | 43 | 0.013256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3427-18_0_5_line_42 |  | 37 | 82 | 0.03917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3427-18_0_5_line_43 |  | 37 | 83 | 0.010261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3427-18_0_5_line_44 |  | 38 | 86 | 0.030464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3427-18_0_5_line_45 |  | 38 | 83 | 0.011737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3427-18_0_5_line_46 |  | 41 | 49 | 0.0069276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_3427-18_0_5_line_47 |  | 43 | 44 | 0.041911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3427-18_0_5_line_48 |  | 44 | 45 | 0.023266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3427-18_0_5_line_49 |  | 45 | 46 | 0.018244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3427-18_0_5_line_50 |  | 45 | 47 | 0.028114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3427-18_0_5_line_51 |  | 47 | 48 | 0.016163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3427-18_0_5_line_52 |  | 48 | 75 | 0.015573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3427-18_0_5_line_53 |  | 49 | 50 | 0.0020728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_3427-18_0_5_line_54 |  | 50 | 51 | 0.0071909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3427-18_0_5_line_55 |  | 50 | 52 | 0.0064129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3427-18_0_5_line_56 |  | 51 | 53 | 0.0075976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3427-18_0_5_line_57 |  | 52 | 54 | 0.01182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3427-18_0_5_line_58 |  | 53 | 55 | 0.0073857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3427-18_0_5_line_59 |  | 54 | 56 | 0.010845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3427-18_0_5_line_60 |  | 55 | 57 | 0.0053554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3427-18_0_5_line_61 |  | 56 | 68 | 0.0039803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3427-18_0_5_line_62 |  | 57 | 58 | 0.0051275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3427-18_0_5_line_63 |  | 58 | 59 | 0.0059514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3427-18_0_5_line_64 |  | 59 | 66 | 0.0023403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3427-18_0_5_line_65 |  | 60 | 61 | 0.0008817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3427-18_0_5_line_66 |  | 60 | 62 | 0.0035934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3427-18_0_5_line_67 |  | 61 | 63 | 0.0050113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3427-18_0_5_line_68 |  | 62 | 64 | 0.0028623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3427-18_0_5_line_69 |  | 63 | 65 | 0.0024849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3427-18_0_5_line_70 |  | 64 | 66 | 0.0039371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3427-18_0_5_line_71 |  | 65 | 67 | 0.0019952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3427-18_0_5_line_72 |  | 67 | 81 | 0.0056683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3427-18_0_5_line_73 |  | 68 | 69 | 0.011204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3427-18_0_5_line_74 |  | 69 | 70 | 0.0073991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3427-18_0_5_line_75 |  | 70 | 71 | 0.0058739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3427-18_0_5_line_76 |  | 71 | 72 | 0.0064464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3427-18_0_5_line_77 |  | 72 | 73 | 0.0051358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3427-18_0_5_line_78 |  | 73 | 74 | 0.00028182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3427-18_0_5_line_79 |  | 76 | 77 | 0.0040924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3427-18_0_5_line_80 |  | 77 | 79 | 0.0030711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3427-18_0_5_line_81 |  | 78 | 79 | 0.010609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3427-18_0_5_line_82 |  | 79 | 80 | 0.0026028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3427-18_0_5_line_83 |  | 80 | 81 | 0.0042882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3427-18_0_5_line_84 |  | 82 | 84 | 0.010502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3427-18_0_5_line_85 |  | 84 | 85 | 0.007602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3427-18_0_5_trafo_0 | 0.63 MVA 20/0.4 kV | 87 | 0 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2721269.8793 | 1258496.1341 | 2721269.998 | 1258499.7121
1 | 2721265.7504 | 1258496.3274 | 2721269.8793 | 1258496.1341
2 | 2721269.8793 | 1258496.1341 | 2721273.0486 | 1258482.5057
3 | 2721298.3116 | 1258579.4899 | 2721300.5242 | 1258576.3992 | 2721295.5133 | 1258574.0055 | 2721293.2643 | 1258572.0886
4 | 2721279.7911 | 1258558.1472 | 2721279.2243 | 1258567.7663 | 2721286.3718 | 1258572.617 | 2721298.3116 | 1258579.4899
5 | 2721265.7504 | 1258496.3274 | 2721261.7171 | 1258496.634
6 | 2721265.7504 | 1258496.3274 | 2721266.4984 | 1258506.9187 | 2721267.9983 | 1258513.5775 | 2721270.5759 | 1258521.5156
7 | 2721281.7719 | 1258458.2556 | 2721274.7672 | 1258475.1158 | 2721273.0486 | 1258482.5057
8 | 2721279.7911 | 1258558.1472 | 2721279.1913 | 1258548.0483 | 2721270.5759 | 1258521.5156
9 | 2721237.0101 | 1258492.691 | 2721257.9241 | 1258490.74 | 2721258.4773 | 1258494.6547 | 2721260.4541 | 1258495.3403 | 2721261.7171 | 1258496.634
10 | 2721261.7171 | 1258496.634 | 2721262.0835 | 1258502.7613
11 | 2721281.7719 | 1258458.2556 | 2721288.2089 | 1258459.1438 | 2721295.3591 | 1258460.1287
12 | 2721200.7165 | 1258594.8819 | 2721205.2459 | 1258605.3925
13 | 2721200.7165 | 1258594.8819 | 2721191.324 | 1258582.1896 | 2721185.3724 | 1258577.2968
14 | 2721174.4312 | 1258570.888 | 2721181.2381 | 1258573.898 | 2721185.3724 | 1258577.2968
15 | 2721127.1532 | 1258548.5131 | 2721134.7684 | 1258552.9951
16 | 2721127.1532 | 1258548.5131 | 2721128.8961 | 1258548.1039 | 2721131.6688 | 1258546.7484 | 2721134.1205 | 1258544.8636 | 2721136.1588 | 1258542.5477 | 2721137.4216 | 1258540.3384
17 | 2721127.1532 | 1258548.5131 | 2721124.9483 | 1258549.024 | 2721120.9014 | 1258548.8966 | 2721116.4774 | 1258547.6605 | 2721117.5382 | 1258544.4683 | 2721117.7304 | 1258542.8153
18 | 2721134.7684 | 1258552.9951 | 2721138.9389 | 1258555.1935 | 2721160.5715 | 1258564.7594
19 | 2721141.9048 | 1258531.1553 | 2721137.6918 | 1258539.8656 | 2721137.4216 | 1258540.3384
20 | 2721117.7304 | 1258542.8153 | 2721119.1124 | 1258543.0882 | 2721122.6274 | 1258543.416 | 2721125.7488 | 1258543.0796 | 2721128.6967 | 1258542.0056 | 2721131.3266 | 1258540.2579 | 2721133.4634 | 1258537.9218 | 2721141.1045 | 1258521.5315
21 | 2721169.9253 | 1258468.6963 | 2721166.8205 | 1258470.8012 | 2721164.6764 | 1258472.759 | 2721163.4261 | 1258474.5239 | 2721162.5406 | 1258476.5186 | 2721162.0871 | 1258478.778
22 | 2721162.0871 | 1258478.778 | 2721161.8679 | 1258481.0088 | 2721161.832 | 1258484.6001 | 2721161.2879 | 1258487.2357 | 2721161.2195 | 1258487.3889
23 | 2721169.9253 | 1258468.6963 | 2721175.0061 | 1258471.0023 | 2721216.6569 | 1258489.7271 | 2721221.1789 | 1258491.3323 | 2721225.2048 | 1258492.3281
24 | 2721150.6811 | 1258510.9839 | 2721161.2195 | 1258487.3889
25 | 2721237.0101 | 1258492.691 | 2721232.9334 | 1258492.9077 | 2721229.1491 | 1258492.8413 | 2721225.5907 | 1258492.4236 | 2721225.2048 | 1258492.3281
26 | 2721174.4312 | 1258570.888 | 2721160.5715 | 1258564.7594
27 | 2721237.0101 | 1258492.691 | 2721239.9193 | 1258511.5338 | 2721246.1024 | 1258539.1514
28 | 2721311.9728 | 1258467.8941 | 2721307.7538 | 1258463.2813 | 2721306.2343 | 1258461.6265 | 2721295.3591 | 1258460.1287
29 | 2721322.7863 | 1258444.3951 | 2721317.6405 | 1258442.6881
30 | 2721294.3752 | 1258446.0253 | 2721312.7808 | 1258445.4131 | 2721315.5968 | 1258444.1586 | 2721317.6405 | 1258442.6881
31 | 2721317.6405 | 1258442.6881 | 2721319.228 | 1258439.1954 | 2721320.0253 | 1258437.7504
32 | 2721322.7863 | 1258444.3951 | 2721327.0318 | 1258434.8515 | 2721327.3657 | 1258434.2512
33 | 2721320.4068 | 1258449.7399 | 2721322.7863 | 1258444.3951
34 | 2721294.3752 | 1258446.0253 | 2721294.0567 | 1258444.6398 | 2721292.2037 | 1258441.8441
35 | 2721318.3675 | 1258453.5681 | 2721312.714 | 1258454.1861 | 2721312.7664 | 1258449.7945 | 2721320.4068 | 1258449.7399
36 | 2721318.3675 | 1258453.5681 | 2721315.6295 | 1258463.8877 | 2721311.9728 | 1258467.8941
37 | 2721318.3675 | 1258453.5681 | 2721320.1748 | 1258453.3272 | 2721328.7923 | 1258455.9728
38 | 2721320.4068 | 1258449.7399 | 2721350.2425 | 1258460.2719 | 2721352.4169 | 1258461.3775
39 | 2721311.9728 | 1258467.8941 | 2721314.1103 | 1258473.7482
40 | 2721340.2086 | 1258459.4751 | 2721337.4261 | 1258458.6188 | 2721334.4209 | 1258457.7008 | 2721328.7923 | 1258455.9728
41 | 2721352.4169 | 1258461.3775 | 2721364.233 | 1258467.3852
42 | 2721150.6811 | 1258510.9839 | 2721186.4721 | 1258526.898
43 | 2721150.6811 | 1258510.9839 | 2721146.5873 | 1258520.3929
44 | 2721141.9048 | 1258531.1553 | 2721169.9468 | 1258543.0592
45 | 2721141.9048 | 1258531.1553 | 2721146.5873 | 1258520.3929
46 | 2721316.4462 | 1258480.27 | 2721314.943 | 1258476.0288 | 2721314.1103 | 1258473.7482
47 | 2721402.5857 | 1258484.1663 | 2721379.3942 | 1258475.0938 | 2721364.233 | 1258467.3852
48 | 2721402.5857 | 1258484.1663 | 2721409.1345 | 1258486.9586 | 2721410.8151 | 1258483.3343 | 2721416.2343 | 1258472.4582
49 | 2721416.2343 | 1258472.4582 | 2721399.4141 | 1258465.2735
50 | 2721416.2343 | 1258472.4582 | 2721429.1228 | 1258447.4561
51 | 2721429.1228 | 1258447.4561 | 2721414.2854 | 1258441.0462
52 | 2721414.2854 | 1258441.0462 | 2721413.5824 | 1258440.7426 | 2721405.8853 | 1258437.315 | 2721400.1636 | 1258434.4892
53 | 2721317.1386 | 1258482.2237 | 2721316.4462 | 1258480.27
54 | 2721317.1386 | 1258482.2237 | 2721319.1987 | 1258489.1131
55 | 2721317.1386 | 1258482.2237 | 2721322.191 | 1258486.1733
56 | 2721321.3754 | 1258496.3923 | 2721319.1987 | 1258489.1131
57 | 2721331.5036 | 1258493.4534 | 2721322.191 | 1258486.1733
58 | 2721323.4913 | 1258503.4684 | 2721321.3754 | 1258496.3923
59 | 2721340.3693 | 1258499.6819 | 2721335.1225 | 1258496.2824 | 2721331.5036 | 1258493.4534
60 | 2721325.4822 | 1258508.4392 | 2721323.5394 | 1258503.6292 | 2721323.4913 | 1258503.4684
61 | 2721340.3693 | 1258499.6819 | 2721340.3693 | 1258499.6819 | 2721343.0622 | 1258502.6129
62 | 2721327.4025 | 1258513.1936 | 2721325.4822 | 1258508.4392
63 | 2721327.4025 | 1258513.1936 | 2721327.7879 | 1258514.1478 | 2721329.9499 | 1258518.5699
64 | 2721330.9778 | 1258520.6724 | 2721329.9499 | 1258518.5699
65 | 2721335.9362 | 1258529.7921 | 2721336.3991 | 1258530.5425
66 | 2721334.0496 | 1258526.7338 | 2721335.9362 | 1258529.7921
67 | 2721339.0302 | 1258534.8075 | 2721336.3991 | 1258530.5425
68 | 2721334.0496 | 1258526.7338 | 2721333.5272 | 1258525.8869 | 2721332.7071 | 1258524.2094
69 | 2721339.0302 | 1258534.8075 | 2721339.0302 | 1258534.8075 | 2721340.5044 | 1258536.8079
70 | 2721330.9778 | 1258520.6724 | 2721332.7071 | 1258524.2094
71 | 2721341.6882 | 1258538.414 | 2721340.5044 | 1258536.8079
72 | 2721341.6882 | 1258538.414 | 2721345.0511 | 1258542.977
73 | 2721351.2126 | 1258510.2094 | 2721347.9817 | 1258507.9674 | 2721343.0622 | 1258502.6129
74 | 2721357.2872 | 1258514.4338 | 2721355.6772 | 1258513.3077 | 2721351.2126 | 1258510.2094
75 | 2721357.2872 | 1258514.4338 | 2721362.1003 | 1258517.8007
76 | 2721367.5691 | 1258521.2099 | 2721363.0968 | 1258518.4977 | 2721362.1003 | 1258517.8007
77 | 2721371.9604 | 1258523.8731 | 2721367.5691 | 1258521.2099
78 | 2721372.2009 | 1258524.0201 | 2721371.9604 | 1258523.8731
79 | 2721354.5508 | 1258553.3133 | 2721351.6526 | 1258550.424
80 | 2721349.4777 | 1258548.2557 | 2721351.6526 | 1258550.424
81 | 2721349.4777 | 1258548.2557 | 2721357.2594 | 1258541.0446
82 | 2721349.4777 | 1258548.2557 | 2721347.7884 | 1258546.2756
83 | 2721345.0511 | 1258542.977 | 2721345.538 | 1258543.6376 | 2721347.7884 | 1258546.2756
84 | 2721196.0686 | 1258531.165 | 2721186.4721 | 1258526.898
85 | 2721203.0148 | 1258534.2535 | 2721196.0686 | 1258531.165

## bus_geodata
| x | y | coords
0 | 2721269.998 | 1258499.7121
1 | 2721269.8793 | 1258496.1341
2 | 2721293.2643 | 1258572.0886
3 | 2721298.3116 | 1258579.4899
4 | 2721265.7504 | 1258496.3274
5 | 2721273.0486 | 1258482.5057
6 | 2721279.7911 | 1258558.1472
7 | 2721261.7171 | 1258496.634
8 | 2721270.5759 | 1258521.5156
9 | 2721281.7719 | 1258458.2556
10 | 2721200.7165 | 1258594.8819
11 | 2721205.2459 | 1258605.3925
12 | 2721185.3724 | 1258577.2968
13 | 2721127.1532 | 1258548.5131
14 | 2721134.7684 | 1258552.9951
15 | 2721137.4216 | 1258540.3384
16 | 2721117.7304 | 1258542.8153
17 | 2721141.1045 | 1258521.5315
18 | 2721162.0871 | 1258478.778
19 | 2721169.9253 | 1258468.6963
20 | 2721161.2195 | 1258487.3889
21 | 2721225.2048 | 1258492.3281
22 | 2721160.5715 | 1258564.7594
23 | 2721237.0101 | 1258492.691
24 | 2721262.0835 | 1258502.7613
25 | 2721295.3591 | 1258460.1287
26 | 2721246.1024 | 1258539.1514
27 | 2721317.6405 | 1258442.6881
28 | 2721322.7863 | 1258444.3951
29 | 2721294.3752 | 1258446.0253
30 | 2721320.0253 | 1258437.7504
31 | 2721318.3675 | 1258453.5681
32 | 2721320.4068 | 1258449.7399
33 | 2721311.9728 | 1258467.8941
34 | 2721328.7923 | 1258455.9728
35 | 2721352.4169 | 1258461.3775
36 | 2721292.2037 | 1258441.8441
37 | 2721150.6811 | 1258510.9839
38 | 2721141.9048 | 1258531.1553
39 | 2721174.4312 | 1258570.888
40 | 2721327.3657 | 1258434.2512
41 | 2721314.1103 | 1258473.7482
42 | 2721340.2086 | 1258459.4751
43 | 2721364.233 | 1258467.3852
44 | 2721402.5857 | 1258484.1663
45 | 2721416.2343 | 1258472.4582
46 | 2721399.4141 | 1258465.2735
47 | 2721429.1228 | 1258447.4561
48 | 2721414.2854 | 1258441.0462
49 | 2721316.4462 | 1258480.27
50 | 2721317.1386 | 1258482.2237
51 | 2721319.1987 | 1258489.1131
52 | 2721322.191 | 1258486.1733
53 | 2721321.3754 | 1258496.3923
54 | 2721331.5036 | 1258493.4534
55 | 2721323.4913 | 1258503.4684
56 | 2721340.3693 | 1258499.6819
57 | 2721325.4822 | 1258508.4392
58 | 2721327.4025 | 1258513.1936
59 | 2721329.9499 | 1258518.5699
60 | 2721335.9362 | 1258529.7921
61 | 2721336.3991 | 1258530.5425
62 | 2721334.0496 | 1258526.7338
63 | 2721339.0302 | 1258534.8075
64 | 2721332.7071 | 1258524.2094
65 | 2721340.5044 | 1258536.8079
66 | 2721330.9778 | 1258520.6724
67 | 2721341.6882 | 1258538.414
68 | 2721343.0622 | 1258502.6129
69 | 2721351.2126 | 1258510.2094
70 | 2721357.2872 | 1258514.4338
71 | 2721362.1003 | 1258517.8007
72 | 2721367.5691 | 1258521.2099
73 | 2721371.9604 | 1258523.8731
74 | 2721372.2009 | 1258524.0201
75 | 2721400.1636 | 1258434.4892
76 | 2721354.5508 | 1258553.3133
77 | 2721351.6526 | 1258550.424
78 | 2721357.2594 | 1258541.0446
79 | 2721349.4777 | 1258548.2557
80 | 2721347.7884 | 1258546.2756
81 | 2721345.0511 | 1258542.977
82 | 2721186.4721 | 1258526.898
83 | 2721146.5873 | 1258520.3929
84 | 2721196.0686 | 1258531.165
85 | 2721203.0148 | 1258534.2535
86 | 2721169.9468 | 1258543.0592
87 | 2721269.8793 | 1258496.1341

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1