## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3427-31_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3427-31_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3427-31_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3427-31_0_5_node_38 | 0.4 | n |  | TRUE
4 | bus_LV_3427-31_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3427-31_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3427-31_0_5_node_22 | 0.4 | n |  | TRUE
7 | bus_LV_3427-31_0_5_node_43 | 0.4 | n |  | TRUE
8 | bus_LV_3427-31_0_5_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_3427-31_0_5_node_70 | 0.4 | n |  | TRUE
10 | bus_LV_3427-31_0_5_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_3427-31_0_5_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_3427-31_0_5_node_65 | 0.4 | n |  | TRUE
13 | bus_LV_3427-31_0_5_node_64 | 0.4 | n |  | TRUE
14 | bus_LV_3427-31_0_5_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_3427-31_0_5_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_3427-31_0_5_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_3427-31_0_5_node_79 | 0.4 | n |  | TRUE
18 | bus_LV_3427-31_0_5_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_3427-31_0_5_node_68 | 0.4 | n |  | TRUE
20 | bus_LV_3427-31_0_5_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_3427-31_0_5_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_3427-31_0_5_node_75 | 0.4 | n |  | TRUE
23 | bus_LV_3427-31_0_5_node_46 | 0.4 | n |  | TRUE
24 | bus_LV_3427-31_0_5_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_3427-31_0_5_node_77 | 0.4 | n |  | TRUE
26 | bus_LV_3427-31_0_5_node_72 | 0.4 | n |  | TRUE
27 | bus_LV_3427-31_0_5_node_44 | 0.4 | n |  | TRUE
28 | bus_LV_3427-31_0_5_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_3427-31_0_5_node_62 | 0.4 | n |  | TRUE
30 | bus_LV_3427-31_0_5_node_61 | 0.4 | n |  | TRUE
31 | bus_LV_3427-31_0_5_node_59 | 0.4 | n |  | TRUE
32 | bus_LV_3427-31_0_5_node_60 | 0.4 | n |  | TRUE
33 | bus_LV_3427-31_0_5_node_57 | 0.4 | n |  | TRUE
34 | bus_LV_3427-31_0_5_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_3427-31_0_5_node_58 | 0.4 | n |  | TRUE
36 | bus_LV_3427-31_0_5_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_3427-31_0_5_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_3427-31_0_5_node_55 | 0.4 | n |  | TRUE
39 | bus_LV_3427-31_0_5_node_54 | 0.4 | n |  | TRUE
40 | bus_LV_3427-31_0_5_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_3427-31_0_5_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_3427-31_0_5_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_3427-31_0_5_node_69 | 0.4 | n |  | TRUE
44 | bus_LV_3427-31_0_5_node_53 | 0.4 | n |  | TRUE
45 | bus_LV_3427-31_0_5_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_3427-31_0_5_node_63 | 0.4 | n |  | TRUE
47 | bus_LV_3427-31_0_5_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_3427-31_0_5_node_29 | 0.4 | n |  | TRUE
49 | bus_LV_3427-31_0_5_node_78 | 0.4 | n |  | TRUE
50 | bus_LV_3427-31_0_5_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_3427-31_0_5_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_3427-31_0_5_node_80 | 0.4 | n |  | TRUE
53 | bus_LV_3427-31_0_5_node_32 | 0.4 | n |  | TRUE
54 | bus_LV_3427-31_0_5_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_3427-31_0_5_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_3427-31_0_5_node_56 | 0.4 | n |  | TRUE
57 | bus_LV_3427-31_0_5_node_36 | 0.4 | n |  | TRUE
58 | bus_LV_3427-31_0_5_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_3427-31_0_5_node_76 | 0.4 | n |  | TRUE
60 | bus_LV_3427-31_0_5_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_3427-31_0_5_node_71 | 0.4 | n |  | TRUE
62 | bus_LV_3427-31_0_5_node_81 | 0.4 | n |  | TRUE
63 | bus_LV_3427-31_0_5_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_3427-31_0_5_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_3427-31_0_5_node_66 | 0.4 | n |  | TRUE
66 | bus_LV_3427-31_0_5_node_67 | 0.4 | n |  | TRUE
67 | bus_LV_3427-31_0_5_node_48 | 0.4 | n |  | TRUE
68 | bus_LV_3427-31_0_5_node_52 | 0.4 | n |  | TRUE
69 | bus_LV_3427-31_0_5_node_49 | 0.4 | n |  | TRUE
70 | bus_LV_3427-31_0_5_node_51 | 0.4 | n |  | TRUE
71 | bus_LV_3427-31_0_5_node_73 | 0.4 | n |  | TRUE
72 | bus_LV_3427-31_0_5_node_74 | 0.4 | n |  | TRUE
73 | bus_MV_589_0_node_168 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3427-31_0_5_load_0 | 0 | 0.0073586 | 0.0018442 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3427-31_0_5_load_1 | 1 | 0.013029 | 0.0032654 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3427-31_0_5_load_38 | 3 | 0.002369 | 0.00059373 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3427-31_0_5_load_43 | 7 | 0.0035331 | 0.00088547 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3427-31_0_5_load_65 | 12 | 0.016107 | 0.0040369 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3427-31_0_5_load_64 | 13 | 0.011094 | 0.0027804 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3427-31_0_5_load_79 | 17 | 0.016692 | 0.0041833 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3427-31_0_5_load_68 | 19 | 0.0039232 | 0.00098324 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3427-31_0_5_load_75 | 22 | 0.0071758 | 0.0017984 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3427-31_0_5_load_46 | 23 | 0.010103 | 0.0025322 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3427-31_0_5_load_77 | 25 | 0.0031442 | 0.00078801 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3427-31_0_5_load_72 | 26 | 0.0042625 | 0.0010683 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3427-31_0_5_load_44 | 27 | 0.0054054 | 0.0013547 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3427-31_0_5_load_62 | 29 | 0.0051915 | 0.0013011 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3427-31_0_5_load_61 | 30 | 0.0010543 | 0.00026423 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3427-31_0_5_load_59 | 31 | 0.011669 | 0.0029246 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3427-31_0_5_load_60 | 32 | 0.041301 | 0.010351 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3427-31_0_5_load_57 | 33 | 0.030046 | 0.0075303 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3427-31_0_5_load_58 | 35 | 0.011863 | 0.0029732 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3427-31_0_5_load_55 | 38 | 0.0084579 | 0.0021198 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3427-31_0_5_load_54 | 39 | 0.018642 | 0.0046722 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3427-31_0_5_load_39 | 40 | 0.0034985 | 0.0008768 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3427-31_0_5_load_69 | 43 | 0.0063198 | 0.0015839 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3427-31_0_5_load_53 | 44 | 0.0049732 | 0.0012464 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3427-31_0_5_load_63 | 46 | 0.0033435 | 0.00083797 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3427-31_0_5_load_78 | 49 | 0.039046 | 0.0097858 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3427-31_0_5_load_80 | 52 | 0.0073353 | 0.0018384 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3427-31_0_5_load_42 | 55 | 0.0027697 | 0.00069415 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3427-31_0_5_load_56 | 56 | 0.027342 | 0.0068525 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3427-31_0_5_load_40 | 58 | 0.0085652 | 0.0021466 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3427-31_0_5_load_76 | 59 | 0.052065 | 0.013049 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3427-31_0_5_load_71 | 61 | 0.01571 | 0.0039372 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3427-31_0_5_load_81 | 62 | 0.0023384 | 0.00058605 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3427-31_0_5_load_45 | 64 | 0.0066605 | 0.0016693 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3427-31_0_5_load_66 | 65 | 0.014822 | 0.0037146 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3427-31_0_5_load_67 | 66 | 0.025199 | 0.0063156 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3427-31_0_5_load_52 | 68 | 0.0070123 | 0.0017575 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3427-31_0_5_load_49 | 69 | 0.01202 | 0.0030125 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3427-31_0_5_load_51 | 70 | 0.012459 | 0.0031226 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3427-31_0_5_load_73 | 71 | 0.0026929 | 0.00067491 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3427-31_0_5_load_74 | 72 | 0.0028842 | 0.00072284 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 63 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3427-31_0_5_line_0 |  | 0 | 1 | 0.0004301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3427-31_0_5_line_1 |  | 1 | 2 | 0.056222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3427-31_0_5_line_2 |  | 2 | 3 | 0.016278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3427-31_0_5_line_3 |  | 3 | 18 | 0.010518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3427-31_0_5_line_4 |  | 4 | 5 | 0.019805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3427-31_0_5_line_5 |  | 4 | 6 | 0.020843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3427-31_0_5_line_6 |  | 5 | 7 | 0.029143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3427-31_0_5_line_7 |  | 6 | 40 | 0.0091459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3427-31_0_5_line_8 |  | 7 | 16 | 0.019226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3427-31_0_5_line_9 |  | 8 | 9 | 0.006455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3427-31_0_5_line_10 |  | 8 | 10 | 0.008861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3427-31_0_5_line_11 |  | 9 | 59 | 0.0217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3427-31_0_5_line_12 |  | 10 | 31 | 0.027362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3427-31_0_5_line_13 |  | 10 | 32 | 0.011759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_3427-31_0_5_line_14 |  | 10 | 33 | 0.01665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3427-31_0_5_line_15 |  | 11 | 12 | 0.016316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3427-31_0_5_line_16 |  | 11 | 13 | 0.0023574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3427-31_0_5_line_17 |  | 13 | 36 | 0.010825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3427-31_0_5_line_18 |  | 14 | 15 | 0.02382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_3427-31_0_5_line_19 |  | 14 | 16 | 0.025774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3427-31_0_5_line_20 |  | 14 | 17 | 0.022172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3427-31_0_5_line_21 |  | 15 | 21 | 0.004448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_3427-31_0_5_line_22 |  | 15 | 23 | 0.017536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_3427-31_0_5_line_23 |  | 16 | 27 | 0.010878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3427-31_0_5_line_24 |  | 17 | 49 | 0.047193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3427-31_0_5_line_25 |  | 18 | 19 | 0.0067038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_3427-31_0_5_line_26 |  | 18 | 20 | 0.0094626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_3427-31_0_5_line_27 |  | 19 | 24 | 0.027749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_3427-31_0_5_line_28 |  | 20 | 21 | 0.02067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_3427-31_0_5_line_29 |  | 20 | 22 | 0.0077685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3427-31_0_5_line_30 |  | 23 | 60 | 0.028401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_3427-31_0_5_line_31 |  | 24 | 25 | 0.014462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_3427-31_0_5_line_32 |  | 24 | 26 | 0.0092526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3427-31_0_5_line_33 |  | 25 | 32 | 0.018861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_3427-31_0_5_line_34 |  | 26 | 61 | 0.032316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3427-31_0_5_line_35 |  | 27 | 64 | 0.021695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3427-31_0_5_line_36 |  | 28 | 29 | 0.022892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3427-31_0_5_line_37 |  | 28 | 30 | 0.056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3427-31_0_5_line_38 |  | 29 | 41 | 0.017324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3427-31_0_5_line_39 |  | 30 | 45 | 0.016304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3427-31_0_5_line_40 |  | 31 | 65 | 0.021363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3427-31_0_5_line_41 |  | 33 | 34 | 0.017457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3427-31_0_5_line_42 |  | 34 | 35 | 0.038592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3427-31_0_5_line_43 |  | 34 | 36 | 0.058577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3427-31_0_5_line_44 |  | 35 | 66 | 0.0085772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3427-31_0_5_line_45 |  | 37 | 38 | 0.023053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3427-31_0_5_line_46 |  | 37 | 39 | 0.022603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3427-31_0_5_line_47 |  | 39 | 48 | 0.025491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3427-31_0_5_line_48 |  | 41 | 42 | 0.0124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3427-31_0_5_line_49 |  | 41 | 43 | 0.019488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3427-31_0_5_line_50 |  | 42 | 44 | 0.0099882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3427-31_0_5_line_51 |  | 44 | 67 | 0.03101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3427-31_0_5_line_52 |  | 45 | 46 | 0.01017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3427-31_0_5_line_53 |  | 47 | 48 | 0.026313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3427-31_0_5_line_54 |  | 47 | 49 | 0.028273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3427-31_0_5_line_55 |  | 48 | 51 | 0.004873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3427-31_0_5_line_56 |  | 50 | 51 | 0.020378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3427-31_0_5_line_57 |  | 50 | 52 | 0.0042991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3427-31_0_5_line_58 |  | 51 | 56 | 0.020042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3427-31_0_5_line_59 |  | 53 | 54 | 0.00604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3427-31_0_5_line_60 |  | 53 | 55 | 0.011938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3427-31_0_5_line_61 |  | 54 | 64 | 0.014818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3427-31_0_5_line_62 |  | 54 | 57 | 0.046568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3427-31_0_5_line_63 |  | 57 | 58 | 0.020384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3427-31_0_5_line_64 |  | 60 | 69 | 0.016557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3427-31_0_5_line_65 |  | 60 | 63 | 0.004345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_3427-31_0_5_line_66 |  | 60 | 67 | 0.015903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3427-31_0_5_line_67 |  | 61 | 71 | 0.0055568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3427-31_0_5_line_68 |  | 62 | 63 | 0.014965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3427-31_0_5_line_69 |  | 67 | 68 | 0.012362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3427-31_0_5_line_70 |  | 68 | 70 | 0.0035344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3427-31_0_5_line_71 |  | 71 | 72 | 0.0075313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3427-31_0_5_trafo_50 | 0.63 MVA 20/0.4 kV | 73 | 63 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2721115.6791 | 1258032.8828 | 2721115.7086 | 1258032.4537
1 | 2721110.2572 | 1258088.764 | 2721112.6709 | 1258076.5916 | 2721114.4199 | 1258051.2163 | 2721115.1723 | 1258040.2554 | 2721115.6791 | 1258032.8828
2 | 2721110.2572 | 1258088.764 | 2721116.969 | 1258089.1461 | 2721124.5108 | 1258089.5119 | 2721126.5054 | 1258089.3142
3 | 2721136.9723 | 1258088.2769 | 2721126.5054 | 1258089.3142
4 | 2721063.2361 | 1258089.0691 | 2721063.6722 | 1258079.9255 | 2721073.7288 | 1258083.4343
5 | 2721042.5255 | 1258091.3364 | 2721059.9512 | 1258089.6468 | 2721063.2361 | 1258089.0691
6 | 2721073.7288 | 1258083.4343 | 2721098.7899 | 1258098.3099
7 | 2721042.5255 | 1258091.3364 | 2721042.8487 | 1258100.4766
8 | 2721110.7327 | 1258111.9496 | 2721107.9991 | 1258108.4351 | 2721107.8331 | 1258106.2297 | 2721106.484 | 1258102.877 | 2721098.7899 | 1258098.3099
9 | 2721217.4019 | 1258086.1883 | 2721210.9885 | 1258087.0688
10 | 2721215.7704 | 1258077.4806 | 2721216.4006 | 1258081.319 | 2721217.4019 | 1258086.1883
11 | 2721210.9885 | 1258087.0688 | 2721213.2947 | 1258108.6457
12 | 2721215.7704 | 1258077.4806 | 2721213.0087 | 1258051.4234 | 2721212.8865 | 1258050.2707
13 | 2721215.7704 | 1258077.4806 | 2721204.123 | 1258079.0984
14 | 2721215.7704 | 1258077.4806 | 2721232.2726 | 1258075.2673
15 | 2721297.1073 | 1258029.6937 | 2721297.1222 | 1258013.3778
16 | 2721297.1073 | 1258029.6937 | 2721296.8233 | 1258032.0339
17 | 2721295.0834 | 1258042.697 | 2721295.9093 | 1258039.5667 | 2721296.8233 | 1258032.0339
18 | 2721124.826 | 1258131.9333 | 2721129.2563 | 1258129.1882 | 2721126.7607 | 1258123.2653 | 2721130.5132 | 1258121.952 | 2721137.0919 | 1258117.049
19 | 2721110.7327 | 1258111.9496 | 2721112.4066 | 1258113.8077 | 2721119.461 | 1258117.711 | 2721122.431 | 1258124.778 | 2721124.826 | 1258131.9333
20 | 2721124.826 | 1258131.9333 | 2721128.6848 | 1258143.4668 | 2721131.902 | 1258152.9455
21 | 2721139.2903 | 1258113.1795 | 2721137.0919 | 1258117.049
22 | 2721137.0919 | 1258117.049 | 2721152.2442 | 1258125.8754
23 | 2721110.7327 | 1258111.9496 | 2721101.6081 | 1258117.8721
24 | 2721142.4254 | 1258198.9107 | 2721137.745 | 1258175.7361 | 2721135.5061 | 1258165.0142 | 2721132.6607 | 1258155.1807 | 2721131.902 | 1258152.9455
25 | 2721136.9723 | 1258088.2769 | 2721143.6162 | 1258087.383
26 | 2721136.9723 | 1258088.2769 | 2721139.2014 | 1258092.4818 | 2721141.3557 | 1258096.6629
27 | 2721171.1171 | 1258083.6829 | 2721143.6162 | 1258087.383
28 | 2721139.2903 | 1258113.1795 | 2721141.9038 | 1258108.5623 | 2721138.1122 | 1258105.1595 | 2721136.9661 | 1258102.2001 | 2721138.8773 | 1258099.1032 | 2721141.3557 | 1258096.6629
29 | 2721141.3557 | 1258096.6629 | 2721149.0515 | 1258095.6025
30 | 2721176.7849 | 1258140.1706 | 2721152.2442 | 1258125.8754
31 | 2721171.1171 | 1258083.6829 | 2721185.4416 | 1258081.6932
32 | 2721171.1171 | 1258083.6829 | 2721170.2219 | 1258074.4736
33 | 2721204.123 | 1258079.0984 | 2721185.4416 | 1258081.6932
34 | 2721167.0952 | 1258042.3091 | 2721167.6227 | 1258047.7354 | 2721170.2219 | 1258074.4736
35 | 2721082.9382 | 1258128.9069 | 2721096.5315 | 1258121.1672 | 2721101.6081 | 1258117.8721
36 | 2721259.3662 | 1258176.9274 | 2721239.647 | 1258165.2995
37 | 2721259.3662 | 1258176.9274 | 2721255.8456 | 1258129.4136 | 2721257.3783 | 1258123.8067 | 2721259.1729 | 1258122.0046
38 | 2721224.7241 | 1258156.4999 | 2721239.647 | 1258165.2995
39 | 2721272.4783 | 1258112.6952 | 2721261.5133 | 1258119.6545 | 2721259.1729 | 1258122.0046
40 | 2721212.8865 | 1258050.2707 | 2721210.6345 | 1258029.0267
41 | 2721249.5747 | 1258072.9467 | 2721232.2726 | 1258075.2673
42 | 2721249.5747 | 1258072.9467 | 2721249.389 | 1258054.7825 | 2721248.9711 | 1258043.8978 | 2721249.1688 | 1258034.3654
43 | 2721249.5747 | 1258072.9467 | 2721262.6487 | 1258070.5346 | 2721270.454 | 1258068.3482 | 2721276.6583 | 1258065.5284 | 2721283.1458 | 1258061.4021 | 2721287.7163 | 1258057.3478 | 2721289.4443 | 1258055.0923 | 2721291.1102 | 1258051.0896 | 2721293.1622 | 1258048.1179 | 2721294.2819 | 1258045.7388 | 2721295.0834 | 1258042.697
44 | 2721249.3467 | 1258025.7901 | 2721249.1688 | 1258034.3654
45 | 2721151.7915 | 1258192.8386 | 2721168.953 | 1258189.676 | 2721172.0898 | 1258188.9618 | 2721174.0484 | 1258187.6007
46 | 2721151.7915 | 1258192.8386 | 2721156.039 | 1258215.0386
47 | 2721161.728 | 1258239.7498 | 2721160.259 | 1258237.0951 | 2721156.039 | 1258215.0386
48 | 2721224.7241 | 1258156.4999 | 2721225.4676 | 1258163.6436 | 2721225.9795 | 1258168.8364
49 | 2721224.7241 | 1258156.4999 | 2721222.7055 | 1258137.1164
50 | 2721225.9795 | 1258168.8364 | 2721217.3499 | 1258163.8072
51 | 2721190.5574 | 1258148.193 | 2721217.3499 | 1258163.8072
52 | 2721272.4783 | 1258112.6952 | 2721270.7223 | 1258102.6775
53 | 2721148.0225 | 1258226.6244 | 2721148.6524 | 1258229.74 | 2721151.2688 | 1258241.9153 | 2721156.3128 | 1258240.8732 | 2721161.728 | 1258239.7498
54 | 2721148.0225 | 1258226.6244 | 2721142.4254 | 1258198.9107
55 | 2721161.728 | 1258239.7498 | 2721163.5089 | 1258240.7982 | 2721166.2479 | 1258241.466
56 | 2721163.6411 | 1258258.6388 | 2721164.6101 | 1258255.1445 | 2721168.7931 | 1258253.4286 | 2721167.7409 | 1258248.4694 | 2721166.2479 | 1258241.466
57 | 2721163.6411 | 1258258.6388 | 2721164.4826 | 1258262.8548
58 | 2721166.2479 | 1258241.466 | 2721171.3906 | 1258241.4935 | 2721185.9798 | 1258238.4696
59 | 2721070.0611 | 1258136.2389 | 2721069.203 | 1258130.2605
60 | 2721069.203 | 1258130.2605 | 2721067.4915 | 1258118.4455
61 | 2721070.0611 | 1258136.2389 | 2721082.9382 | 1258128.9069
62 | 2721070.0611 | 1258136.2389 | 2721071.4131 | 1258156.0283 | 2721070.7907 | 1258182.7501
63 | 2721070.7907 | 1258182.7501 | 2721091.1288 | 1258181.3767
64 | 2721176.7849 | 1258140.1706 | 2721168.5376 | 1258154.5268
65 | 2721178.9512 | 1258136.4006 | 2721176.7849 | 1258140.1706
66 | 2721176.7849 | 1258140.1706 | 2721190.5574 | 1258148.193
67 | 2721167.0952 | 1258042.3091 | 2721166.5575 | 1258036.7784
68 | 2721178.9512 | 1258136.4006 | 2721166.0371 | 1258128.8395
69 | 2721190.5574 | 1258148.193 | 2721184.2366 | 1258158.817
70 | 2721182.4294 | 1258161.8545 | 2721184.2366 | 1258158.817
71 | 2721165.8287 | 1258029.2825 | 2721166.5575 | 1258036.7784

## bus_geodata
| x | y | coords
0 | 2721115.7086 | 1258032.4537
1 | 2721115.6791 | 1258032.8828
2 | 2721110.2572 | 1258088.764
3 | 2721126.5054 | 1258089.3142
4 | 2721063.2361 | 1258089.0691
5 | 2721073.7288 | 1258083.4343
6 | 2721042.5255 | 1258091.3364
7 | 2721098.7899 | 1258098.3099
8 | 2721217.4019 | 1258086.1883
9 | 2721210.9885 | 1258087.0688
10 | 2721215.7704 | 1258077.4806
11 | 2721297.1073 | 1258029.6937
12 | 2721297.1222 | 1258013.3778
13 | 2721296.8233 | 1258032.0339
14 | 2721124.826 | 1258131.9333
15 | 2721137.0919 | 1258117.049
16 | 2721110.7327 | 1258111.9496
17 | 2721131.902 | 1258152.9455
18 | 2721136.9723 | 1258088.2769
19 | 2721143.6162 | 1258087.383
20 | 2721141.3557 | 1258096.6629
21 | 2721139.2903 | 1258113.1795
22 | 2721149.0515 | 1258095.6025
23 | 2721152.2442 | 1258125.8754
24 | 2721171.1171 | 1258083.6829
25 | 2721185.4416 | 1258081.6932
26 | 2721170.2219 | 1258074.4736
27 | 2721101.6081 | 1258117.8721
28 | 2721259.3662 | 1258176.9274
29 | 2721239.647 | 1258165.2995
30 | 2721259.1729 | 1258122.0046
31 | 2721212.8865 | 1258050.2707
32 | 2721204.123 | 1258079.0984
33 | 2721232.2726 | 1258075.2673
34 | 2721249.5747 | 1258072.9467
35 | 2721249.1688 | 1258034.3654
36 | 2721295.0834 | 1258042.697
37 | 2721151.7915 | 1258192.8386
38 | 2721174.0484 | 1258187.6007
39 | 2721156.039 | 1258215.0386
40 | 2721042.8487 | 1258100.4766
41 | 2721224.7241 | 1258156.4999
42 | 2721225.9795 | 1258168.8364
43 | 2721222.7055 | 1258137.1164
44 | 2721217.3499 | 1258163.8072
45 | 2721272.4783 | 1258112.6952
46 | 2721270.7223 | 1258102.6775
47 | 2721148.0224 | 1258226.6244
48 | 2721161.728 | 1258239.7498
49 | 2721142.4254 | 1258198.9107
50 | 2721163.6411 | 1258258.6388
51 | 2721166.2479 | 1258241.466
52 | 2721164.4826 | 1258262.8548
53 | 2721069.203 | 1258130.2605
54 | 2721070.0611 | 1258136.2389
55 | 2721067.4915 | 1258118.4455
56 | 2721185.9798 | 1258238.4696
57 | 2721070.7907 | 1258182.7501
58 | 2721091.1288 | 1258181.3767
59 | 2721213.2947 | 1258108.6457
60 | 2721176.7849 | 1258140.1706
61 | 2721167.0952 | 1258042.3091
62 | 2721166.0371 | 1258128.8395
63 | 2721178.9512 | 1258136.4006
64 | 2721082.9382 | 1258128.9069
65 | 2721210.6345 | 1258029.0267
66 | 2721249.3467 | 1258025.7901
67 | 2721190.5574 | 1258148.193
68 | 2721184.2366 | 1258158.817
69 | 2721168.5376 | 1258154.5268
70 | 2721182.4294 | 1258161.8545
71 | 2721166.5575 | 1258036.7784
72 | 2721165.8287 | 1258029.2825
73 | 2721176.7849 | 1258140.1706

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1