## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3427-43_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3427-43_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3427-43_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3427-43_0_4_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_3427-43_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3427-43_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3427-43_0_4_node_86 | 0.4 | n |  | TRUE
7 | bus_LV_3427-43_0_4_node_78 | 0.4 | n |  | TRUE
8 | bus_LV_3427-43_0_4_node_97 | 0.4 | n |  | TRUE
9 | bus_LV_3427-43_0_4_node_87 | 0.4 | n |  | TRUE
10 | bus_LV_3427-43_0_4_node_79 | 0.4 | n |  | TRUE
11 | bus_LV_3427-43_0_4_node_65 | 0.4 | n |  | TRUE
12 | bus_LV_3427-43_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_3427-43_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_3427-43_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_3427-43_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_3427-43_0_4_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_3427-43_0_4_node_27 | 0.4 | n |  | TRUE
18 | bus_LV_3427-43_0_4_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_3427-43_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_3427-43_0_4_node_31 | 0.4 | n |  | TRUE
21 | bus_LV_3427-43_0_4_node_54 | 0.4 | n |  | TRUE
22 | bus_LV_3427-43_0_4_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_3427-43_0_4_node_108 | 0.4 | n |  | TRUE
24 | bus_LV_3427-43_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_3427-43_0_4_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_3427-43_0_4_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_3427-43_0_4_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_3427-43_0_4_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_3427-43_0_4_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_3427-43_0_4_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_3427-43_0_4_node_72 | 0.4 | n |  | TRUE
32 | bus_LV_3427-43_0_4_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_3427-43_0_4_node_101 | 0.4 | n |  | TRUE
34 | bus_LV_3427-43_0_4_node_47 | 0.4 | n |  | TRUE
35 | bus_LV_3427-43_0_4_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_3427-43_0_4_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_3427-43_0_4_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_3427-43_0_4_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_3427-43_0_4_node_114 | 0.4 | n |  | TRUE
40 | bus_LV_3427-43_0_4_node_113 | 0.4 | n |  | TRUE
41 | bus_LV_3427-43_0_4_node_107 | 0.4 | n |  | TRUE
42 | bus_LV_3427-43_0_4_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_3427-43_0_4_node_50 | 0.4 | n |  | TRUE
44 | bus_LV_3427-43_0_4_node_73 | 0.4 | n |  | TRUE
45 | bus_LV_3427-43_0_4_node_22 | 0.4 | n |  | TRUE
46 | bus_LV_3427-43_0_4_node_104 | 0.4 | n |  | TRUE
47 | bus_LV_3427-43_0_4_node_75 | 0.4 | n |  | TRUE
48 | bus_LV_3427-43_0_4_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_3427-43_0_4_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_3427-43_0_4_node_115 | 0.4 | n |  | TRUE
51 | bus_LV_3427-43_0_4_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_3427-43_0_4_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_3427-43_0_4_node_76 | 0.4 | n |  | TRUE
54 | bus_LV_3427-43_0_4_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_3427-43_0_4_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_3427-43_0_4_node_100 | 0.4 | n |  | TRUE
57 | bus_LV_3427-43_0_4_node_99 | 0.4 | n |  | TRUE
58 | bus_LV_3427-43_0_4_node_36 | 0.4 | n |  | TRUE
59 | bus_LV_3427-43_0_4_node_59 | 0.4 | n |  | TRUE
60 | bus_LV_3427-43_0_4_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_3427-43_0_4_node_37 | 0.4 | n |  | TRUE
62 | bus_LV_3427-43_0_4_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_3427-43_0_4_node_68 | 0.4 | n |  | TRUE
64 | bus_LV_3427-43_0_4_node_39 | 0.4 | n |  | TRUE
65 | bus_LV_3427-43_0_4_node_89 | 0.4 | n |  | TRUE
66 | bus_LV_3427-43_0_4_node_109 | 0.4 | n |  | TRUE
67 | bus_LV_3427-43_0_4_node_41 | 0.4 | n |  | TRUE
68 | bus_LV_3427-43_0_4_node_111 | 0.4 | n |  | TRUE
69 | bus_LV_3427-43_0_4_node_23 | 0.4 | n |  | TRUE
70 | bus_LV_3427-43_0_4_node_42 | 0.4 | n |  | TRUE
71 | bus_LV_3427-43_0_4_node_43 | 0.4 | n |  | TRUE
72 | bus_LV_3427-43_0_4_node_53 | 0.4 | n |  | TRUE
73 | bus_LV_3427-43_0_4_node_55 | 0.4 | n |  | TRUE
74 | bus_LV_3427-43_0_4_node_51 | 0.4 | n |  | TRUE
75 | bus_LV_3427-43_0_4_node_112 | 0.4 | n |  | TRUE
76 | bus_LV_3427-43_0_4_node_102 | 0.4 | n |  | TRUE
77 | bus_LV_3427-43_0_4_node_60 | 0.4 | n |  | TRUE
78 | bus_LV_3427-43_0_4_node_93 | 0.4 | n |  | TRUE
79 | bus_LV_3427-43_0_4_node_83 | 0.4 | n |  | TRUE
80 | bus_LV_3427-43_0_4_node_57 | 0.4 | n |  | TRUE
81 | bus_LV_3427-43_0_4_node_69 | 0.4 | n |  | TRUE
82 | bus_LV_3427-43_0_4_node_90 | 0.4 | n |  | TRUE
83 | bus_LV_3427-43_0_4_node_85 | 0.4 | n |  | TRUE
84 | bus_LV_3427-43_0_4_node_110 | 0.4 | n |  | TRUE
85 | bus_LV_3427-43_0_4_node_49 | 0.4 | n |  | TRUE
86 | bus_LV_3427-43_0_4_node_52 | 0.4 | n |  | TRUE
87 | bus_LV_3427-43_0_4_node_66 | 0.4 | n |  | TRUE
88 | bus_LV_3427-43_0_4_node_67 | 0.4 | n |  | TRUE
89 | bus_LV_3427-43_0_4_node_92 | 0.4 | n |  | TRUE
90 | bus_LV_3427-43_0_4_node_94 | 0.4 | n |  | TRUE
91 | bus_LV_3427-43_0_4_node_84 | 0.4 | n |  | TRUE
92 | bus_LV_3427-43_0_4_node_62 | 0.4 | n |  | TRUE
93 | bus_LV_3427-43_0_4_node_91 | 0.4 | n |  | TRUE
94 | bus_LV_3427-43_0_4_node_96 | 0.4 | n |  | TRUE
95 | bus_LV_3427-43_0_4_node_95 | 0.4 | n |  | TRUE
96 | bus_LV_3427-43_0_4_node_70 | 0.4 | n |  | TRUE
97 | bus_LV_3427-43_0_4_node_71 | 0.4 | n |  | TRUE
98 | bus_LV_3427-43_0_4_node_77 | 0.4 | n |  | TRUE
99 | bus_LV_3427-43_0_4_node_74 | 0.4 | n |  | TRUE
100 | bus_LV_3427-43_0_4_node_80 | 0.4 | n |  | TRUE
101 | bus_LV_3427-43_0_4_node_81 | 0.4 | n |  | TRUE
102 | bus_LV_3427-43_0_4_node_82 | 0.4 | n |  | TRUE
103 | bus_LV_3427-43_0_4_node_88 | 0.4 | n |  | TRUE
104 | bus_LV_3427-43_0_4_node_103 | 0.4 | n |  | TRUE
105 | bus_LV_3427-43_0_4_node_105 | 0.4 | n |  | TRUE
106 | bus_LV_3427-43_0_4_node_106 | 0.4 | n |  | TRUE
107 | bus_MV_589_0_node_169 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3427-43_0_4_load_0 | 0 | 0.0054056 | 0.0013548 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3427-43_0_4_load_1 | 1 | 0.0041339 | 0.0010361 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3427-43_0_4_load_3 | 2 | 0.0034768 | 0.00087136 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3427-43_0_4_load_4 | 4 | 0.0072916 | 0.0018275 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3427-43_0_4_load_86 | 6 | 0.0029482 | 0.00073888 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3427-43_0_4_load_97 | 8 | 0.0042345 | 0.0010613 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3427-43_0_4_load_87 | 9 | 0.0099952 | 0.002505 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3427-43_0_4_load_79 | 10 | 0.0041526 | 0.0010407 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3427-43_0_4_load_65 | 11 | 0.0032866 | 0.00082369 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3427-43_0_4_load_6 | 12 | 0.0066157 | 0.0016581 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3427-43_0_4_load_27 | 17 | 0.0059951 | 0.0015025 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3427-43_0_4_load_31 | 20 | 0.0129 | 0.0032331 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3427-43_0_4_load_54 | 21 | 0.019816 | 0.0049664 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3427-43_0_4_load_108 | 23 | 0.014264 | 0.003575 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3427-43_0_4_load_26 | 26 | 0.0092398 | 0.0023157 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3427-43_0_4_load_28 | 27 | 0.0060759 | 0.0015228 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3427-43_0_4_load_72 | 31 | 0.0034934 | 0.00087553 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3427-43_0_4_load_21 | 32 | 0.0035097 | 0.00087961 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3427-43_0_4_load_47 | 34 | 0.0022155 | 0.00055525 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3427-43_0_4_load_30 | 37 | 0.0081226 | 0.0020357 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3427-43_0_4_load_29 | 38 | 0.0061972 | 0.0015532 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3427-43_0_4_load_114 | 39 | 0.019035 | 0.0047705 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3427-43_0_4_load_107 | 41 | 0.0035706 | 0.00089487 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3427-43_0_4_load_25 | 42 | 0.0045279 | 0.0011348 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3427-43_0_4_load_50 | 43 | 0.0039597 | 0.0009924 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3427-43_0_4_load_22 | 45 | 0.0036838 | 0.00092325 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3427-43_0_4_load_104 | 46 | 0.0066446 | 0.0016653 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3427-43_0_4_load_75 | 47 | 0.0058527 | 0.0014668 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3427-43_0_4_load_115 | 50 | 0.0043161 | 0.0010817 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3427-43_0_4_load_44 | 51 | 0.0052178 | 0.0013077 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3427-43_0_4_load_76 | 53 | 0.0033432 | 0.00083789 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3427-43_0_4_load_46 | 54 | 0.0033432 | 0.00083789 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3427-43_0_4_load_100 | 56 | 0.0054057 | 0.0013548 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3427-43_0_4_load_99 | 57 | 0.0031811 | 0.00079726 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3427-43_0_4_load_59 | 59 | 0.0066928 | 0.0016774 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3427-43_0_4_load_58 | 60 | 0.0069456 | 0.0017407 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3427-43_0_4_load_68 | 63 | 0.0066409 | 0.0016644 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3427-43_0_4_load_109 | 66 | 0.0069296 | 0.0017367 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3427-43_0_4_load_23 | 69 | 0.0028067 | 0.00070344 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3427-43_0_4_load_42 | 70 | 0.0057876 | 0.0014505 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3427-43_0_4_load_43 | 71 | 0.0067549 | 0.0016929 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3427-43_0_4_load_53 | 72 | 0.010202 | 0.0025568 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3427-43_0_4_load_55 | 73 | 0.0070975 | 0.0017788 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3427-43_0_4_load_51 | 74 | 0.012368 | 0.0030997 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3427-43_0_4_load_112 | 75 | 0.0043914 | 0.0011006 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3427-43_0_4_load_93 | 78 | 0.0043124 | 0.0010808 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3427-43_0_4_load_83 | 79 | 0.002629 | 0.00065888 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3427-43_0_4_load_57 | 80 | 0.0072575 | 0.0018189 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3427-43_0_4_load_90 | 82 | 0.0081549 | 0.0020438 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3427-43_0_4_load_85 | 83 | 0.0031796 | 0.00079688 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3427-43_0_4_load_110 | 84 | 0.0095382 | 0.0023905 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3427-43_0_4_load_49 | 85 | 0.0048636 | 0.0012189 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3427-43_0_4_load_52 | 86 | 0.010251 | 0.0025693 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3427-43_0_4_load_66 | 87 | 0.0095398 | 0.0023909 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3427-43_0_4_load_67 | 88 | 0.0058806 | 0.0014738 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3427-43_0_4_load_92 | 89 | 0.003683 | 0.00092304 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3427-43_0_4_load_94 | 90 | 0.0029499 | 0.00073932 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3427-43_0_4_load_62 | 92 | 0.0036826 | 0.00092294 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3427-43_0_4_load_91 | 93 | 0.0024489 | 0.00061376 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3427-43_0_4_load_96 | 94 | 0.0069077 | 0.0017312 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3427-43_0_4_load_70 | 96 | 0.0066409 | 0.0016644 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3427-43_0_4_load_71 | 97 | 0.0066433 | 0.001665 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3427-43_0_4_load_77 | 98 | 0.0066496 | 0.0016665 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3427-43_0_4_load_74 | 99 | 0.0066409 | 0.0016644 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3427-43_0_4_load_80 | 100 | 0.0069041 | 0.0017303 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3427-43_0_4_load_81 | 101 | 0.0031796 | 0.00079687 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3427-43_0_4_load_88 | 103 | 0.0029482 | 0.00073888 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3427-43_0_4_load_103 | 104 | 0.006647 | 0.0016659 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3427-43_0_4_load_105 | 105 | 0.01932 | 0.004842 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3427-43_0_4_load_106 | 106 | 0.017844 | 0.0044723 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3427-43_0_4_line_0 |  | 0 | 1 | 0.0099378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3427-43_0_4_line_1 |  | 1 | 2 | 0.0085346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3427-43_0_4_line_2 |  | 2 | 6 | 0.015047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3427-43_0_4_line_3 |  | 3 | 4 | 0.011325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3427-43_0_4_line_4 |  | 3 | 5 | 0.003955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3427-43_0_4_line_5 |  | 5 | 7 | 0.011395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3427-43_0_4_line_6 |  | 5 | 8 | 0.003523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3427-43_0_4_line_7 |  | 6 | 9 | 0.0064162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3427-43_0_4_line_8 |  | 7 | 10 | 0.021098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3427-43_0_4_line_9 |  | 7 | 11 | 0.00080445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3427-43_0_4_line_10 |  | 9 | 103 | 0.0098153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3427-43_0_4_line_11 |  | 11 | 85 | 0.011634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3427-43_0_4_line_12 |  | 12 | 13 | 0.01484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3427-43_0_4_line_13 |  | 12 | 14 | 0.038863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3427-43_0_4_line_14 |  | 13 | 15 | 0.008907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3427-43_0_4_line_15 |  | 14 | 16 | 0.019586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3427-43_0_4_line_16 |  | 15 | 17 | 0.019685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3427-43_0_4_line_17 |  | 16 | 22 | 0.014677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3427-43_0_4_line_18 |  | 16 | 23 | 0.01562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3427-43_0_4_line_19 |  | 17 | 25 | 0.015443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3427-43_0_4_line_20 |  | 18 | 19 | 0.022271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3427-43_0_4_line_21 |  | 18 | 20 | 0.014701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3427-43_0_4_line_22 |  | 19 | 21 | 0.023677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3427-43_0_4_line_23 |  | 20 | 38 | 0.020232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3427-43_0_4_line_24 |  | 22 | 33 | 0.007693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_3427-43_0_4_line_25 |  | 22 | 34 | 0.014781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_3427-43_0_4_line_26 |  | 23 | 41 | 0.0010141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3427-43_0_4_line_27 |  | 24 | 25 | 0.03002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3427-43_0_4_line_28 |  | 24 | 26 | 0.023854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3427-43_0_4_line_29 |  | 25 | 27 | 0.008311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3427-43_0_4_line_30 |  | 26 | 42 | 0.036557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3427-43_0_4_line_31 |  | 28 | 29 | 0.02244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3427-43_0_4_line_32 |  | 28 | 30 | 0.015249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_3427-43_0_4_line_33 |  | 28 | 31 | 0.015345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_3427-43_0_4_line_34 |  | 29 | 32 | 0.028888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3427-43_0_4_line_35 |  | 30 | 43 | 0.014624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3427-43_0_4_line_36 |  | 31 | 44 | 0.0072287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_3427-43_0_4_line_37 |  | 32 | 45 | 0.017591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3427-43_0_4_line_38 |  | 33 | 46 | 0.017641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3427-43_0_4_line_39 |  | 33 | 47 | 0.0080387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_3427-43_0_4_line_40 |  | 34 | 48 | 0.011285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_3427-43_0_4_line_41 |  | 35 | 36 | 0.016103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3427-43_0_4_line_42 |  | 35 | 37 | 0.04128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3427-43_0_4_line_43 |  | 36 | 49 | 0.032481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3427-43_0_4_line_44 |  | 36 | 40 | 0.006121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3427-43_0_4_line_45 |  | 36 | 50 | 0.019301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3427-43_0_4_line_46 |  | 37 | 38 | 0.018114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3427-43_0_4_line_47 |  | 39 | 40 | 0.044948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3427-43_0_4_line_48 |  | 40 | 75 | 0.0018224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3427-43_0_4_line_49 |  | 41 | 105 | 0.024369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3427-43_0_4_line_50 |  | 43 | 74 | 0.012071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3427-43_0_4_line_51 |  | 44 | 99 | 0.019513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3427-43_0_4_line_52 |  | 44 | 47 | 0.022993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_3427-43_0_4_line_53 |  | 45 | 69 | 0.0013331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3427-43_0_4_line_54 |  | 46 | 104 | 0.016672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3427-43_0_4_line_55 |  | 48 | 51 | 0.040961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3427-43_0_4_line_56 |  | 48 | 54 | 0.014679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3427-43_0_4_line_57 |  | 49 | 51 | 0.010742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3427-43_0_4_line_58 |  | 50 | 67 | 0.011934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3427-43_0_4_line_59 |  | 52 | 53 | 0.010097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3427-43_0_4_line_60 |  | 52 | 54 | 0.024705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3427-43_0_4_line_61 |  | 53 | 76 | 0.014871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3427-43_0_4_line_62 |  | 55 | 56 | 0.036157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3427-43_0_4_line_63 |  | 55 | 57 | 0.014179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3427-43_0_4_line_64 |  | 57 | 79 | 0.0018532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3427-43_0_4_line_65 |  | 58 | 59 | 0.013546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3427-43_0_4_line_66 |  | 58 | 60 | 0.011523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3427-43_0_4_line_67 |  | 60 | 80 | 0.020883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3427-43_0_4_line_68 |  | 61 | 62 | 0.010092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3427-43_0_4_line_69 |  | 61 | 63 | 0.012086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3427-43_0_4_line_70 |  | 62 | 80 | 0.023876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3427-43_0_4_line_71 |  | 62 | 73 | 0.020824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3427-43_0_4_line_72 |  | 63 | 81 | 0.010272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3427-43_0_4_line_73 |  | 64 | 65 | 0.004605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3427-43_0_4_line_74 |  | 64 | 66 | 0.014335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3427-43_0_4_line_75 |  | 65 | 83 | 0.028565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3427-43_0_4_line_76 |  | 65 | 77 | 0.003354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3427-43_0_4_line_77 |  | 65 | 82 | 0.012241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3427-43_0_4_line_78 |  | 67 | 68 | 0.007747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3427-43_0_4_line_79 |  | 68 | 84 | 0.010574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3427-43_0_4_line_80 |  | 69 | 70 | 0.018867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3427-43_0_4_line_81 |  | 70 | 71 | 0.0099445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3427-43_0_4_line_82 |  | 71 | 85 | 0.015436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3427-43_0_4_line_83 |  | 72 | 73 | 0.017269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3427-43_0_4_line_84 |  | 74 | 86 | 0.020817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3427-43_0_4_line_85 |  | 76 | 96 | 0.01017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3427-43_0_4_line_86 |  | 77 | 78 | 0.012939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3427-43_0_4_line_87 |  | 78 | 89 | 0.018523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3427-43_0_4_line_88 |  | 79 | 101 | 0.020373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3427-43_0_4_line_89 |  | 81 | 96 | 0.014623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3427-43_0_4_line_90 |  | 83 | 102 | 0.031479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3427-43_0_4_line_91 |  | 86 | 87 | 0.013593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3427-43_0_4_line_92 |  | 87 | 88 | 0.012874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3427-43_0_4_line_93 |  | 88 | 94 | 0.0049983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3427-43_0_4_line_94 |  | 89 | 93 | 0.006262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3427-43_0_4_line_95 |  | 90 | 91 | 0.01256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_3427-43_0_4_line_96 |  | 91 | 95 | 0.016043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_3427-43_0_4_line_97 |  | 91 | 102 | 0.004111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_3427-43_0_4_line_98 |  | 92 | 93 | 0.0088865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_3427-43_0_4_line_99 |  | 94 | 95 | 0.028088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_3427-43_0_4_line_100 |  | 95 | 103 | 0.01207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_3427-43_0_4_line_101 |  | 97 | 98 | 0.017021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_3427-43_0_4_line_102 |  | 98 | 99 | 0.016342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_3427-43_0_4_line_103 |  | 100 | 101 | 0.011483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_3427-43_0_4_line_104 |  | 100 | 102 | 0.0053928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_3427-43_0_4_line_105 |  | 105 | 106 | 0.0082897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3427-43_0_4_trafo_24 | 0.63 MVA 20/0.4 kV | 107 | 30 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2720723.4048 | 1257742.0595 | 2720733.3323 | 1257741.6077
1 | 2720741.858 | 1257741.2197 | 2720733.3323 | 1257741.6077
2 | 2720756.8892 | 1257740.5356 | 2720741.858 | 1257741.2197
3 | 2720694.4043 | 1257751.6086 | 2720687.9574 | 1257742.2978
4 | 2720691.204 | 1257753.9454 | 2720694.4043 | 1257751.6086
5 | 2720691.204 | 1257753.9454 | 2720697.8556 | 1257763.2113
6 | 2720691.204 | 1257753.9454 | 2720689.0997 | 1257751.1199
7 | 2720756.8892 | 1257740.5356 | 2720763.2988 | 1257740.2439
8 | 2720697.8556 | 1257763.2113 | 2720691.1413 | 1257767.367 | 2720677.9923 | 1257768.5458
9 | 2720698.3362 | 1257763.8564 | 2720697.8556 | 1257763.2113
10 | 2720773.1039 | 1257739.7977 | 2720763.2988 | 1257740.2439
11 | 2720698.3362 | 1257763.8564 | 2720705.2871 | 1257773.1858
12 | 2720737.1022 | 1257896.3281 | 2720751.9094 | 1257895.3366
13 | 2720790.6853 | 1257892.7403 | 2720751.9094 | 1257895.3366
14 | 2720737.1022 | 1257896.3281 | 2720736.2802 | 1257887.4591
15 | 2720790.6853 | 1257892.7403 | 2720802.3015 | 1257908.5356
16 | 2720736.2802 | 1257887.4591 | 2720716.6423 | 1257888.8219
17 | 2720802.3015 | 1257908.5356 | 2720807.115 | 1257907.7109 | 2720809.6345 | 1257911.0097 | 2720814.3218 | 1257907.8693
18 | 2720802.3015 | 1257908.5356 | 2720786.7187 | 1257909.613
19 | 2720701.2361 | 1257889.891 | 2720716.6423 | 1257888.8219
20 | 2720730.5531 | 1257939.321 | 2720730.9358 | 1257943.4769 | 2720731.4169 | 1257948.7246 | 2720736.9764 | 1257949.0383 | 2720744.212 | 1257949.6309
21 | 2720744.212 | 1257949.6309 | 2720758.8599 | 1257950.8764
22 | 2720730.5531 | 1257939.321 | 2720706.8831 | 1257939.8988
23 | 2720779.0189 | 1257952.5905 | 2720758.8599 | 1257950.8764
24 | 2720814.3218 | 1257907.8693 | 2720809.8264 | 1257901.6165
25 | 2720814.3218 | 1257907.8693 | 2720823.5503 | 1257919.4152
26 | 2720786.7187 | 1257909.613 | 2720785.707 | 1257909.6829
27 | 2720701.2361 | 1257889.891 | 2720699.6671 | 1257868.8406 | 2720699.3651 | 1257864.7865 | 2720704.0582 | 1257863.5811
28 | 2720704.0582 | 1257863.5811 | 2720702.8444 | 1257858.0182 | 2720700.9784 | 1257853.3649 | 2720693.3546 | 1257842.6539
29 | 2720692.9207 | 1257890.4664 | 2720701.2361 | 1257889.891
30 | 2720693.3546 | 1257842.6539 | 2720679.621 | 1257823.3588 | 2720677.2235 | 1257821.0968 | 2720674.1076 | 1257818.9314 | 2720671.2029 | 1257817.5043 | 2720668.791 | 1257816.6878
31 | 2720760.6195 | 1257846.7533 | 2720768.657 | 1257857.2042 | 2720773.3642 | 1257857.1558 | 2720775.6932 | 1257857.5926 | 2720777.4312 | 1257858.907
32 | 2720785.0056 | 1257845.8723 | 2720782.6657 | 1257850.0282 | 2720780.2122 | 1257856.0501 | 2720777.4312 | 1257858.907
33 | 2720777.4312 | 1257858.907 | 2720781.2714 | 1257864.012 | 2720786.6891 | 1257871.1444
34 | 2720760.6195 | 1257846.7533 | 2720752.1197 | 1257836.0372 | 2720743.0308 | 1257823.8408
35 | 2720785.0056 | 1257845.8723 | 2720784.8306 | 1257842.6215 | 2720784.2322 | 1257831.2692
36 | 2720791.0616 | 1257876.9008 | 2720786.6891 | 1257871.1444
37 | 2720732.5196 | 1257809.7358 | 2720743.0308 | 1257823.8408
38 | 2720809.8264 | 1257901.6165 | 2720827.4652 | 1257901.3199
39 | 2720809.8264 | 1257901.6165 | 2720804.9654 | 1257895.214
40 | 2720830.5961 | 1257928.2304 | 2720823.5503 | 1257919.4152
41 | 2720848.69 | 1257966.1996 | 2720847.0551 | 1257959.4715 | 2720843.0983 | 1257957.8671 | 2720838.1917 | 1257957.7112
42 | 2720838.1917 | 1257957.7112 | 2720809.1024 | 1257955.1486 | 2720797.0679 | 1257954.1252
43 | 2720848.69 | 1257966.1996 | 2720847.0551 | 1257959.4715 | 2720850.9724 | 1257957.1049 | 2720863.255 | 1257956.8889 | 2720868.7335 | 1257956.7339 | 2720868.6785 | 1257953.5189
44 | 2720848.69 | 1257966.1996 | 2720846.0805 | 1257966.2019 | 2720842.5508 | 1257966.2076
45 | 2720848.69 | 1257966.1996 | 2720853.0778 | 1257978.8225 | 2720855.0267 | 1257984.4303
46 | 2720779.0189 | 1257952.5905 | 2720797.0679 | 1257954.1252
47 | 2720842.5508 | 1257966.2076 | 2720839.9695 | 1257963.3524 | 2720836.125 | 1257961.7837 | 2720822.0625 | 1257960.5289 | 2720799.3065 | 1257958.7183
48 | 2720842.5508 | 1257966.2076 | 2720843.2166 | 1257967.904
49 | 2720761.3965 | 1257911.3636 | 2720785.707 | 1257909.6829
50 | 2720784.2322 | 1257831.2692 | 2720783.5967 | 1257819.2152
51 | 2720791.0616 | 1257876.9008 | 2720810.5729 | 1257876.6317
52 | 2720791.0616 | 1257876.9008 | 2720804.9654 | 1257895.214
53 | 2720732.5196 | 1257809.7358 | 2720731.723 | 1257808.6669
54 | 2720827.4652 | 1257901.3199 | 2720844.1344 | 1257901.0395
55 | 2720830.5961 | 1257928.2304 | 2720830.4464 | 1257931.8638 | 2720844.8875 | 1257950.3971 | 2720847.7218 | 1257952.3122 | 2720849.355 | 1257952.846 | 2720851.0405 | 1257953.4031 | 2720855.8292 | 1257953.7901 | 2720857.9393 | 1257953.7456
56 | 2720830.5961 | 1257928.2304 | 2720833.2159 | 1257926.2488 | 2720844.6085 | 1257926.0393
57 | 2720868.6785 | 1257953.5189 | 2720857.9393 | 1257953.7456
58 | 2720856.9341 | 1257996.0496 | 2720856.8886 | 1257989.7877 | 2720855.0267 | 1257984.4303
59 | 2720869.3097 | 1257925.5851 | 2720869.2813 | 1257915.4886
60 | 2720869.3097 | 1257925.5851 | 2720844.6085 | 1257926.0393
61 | 2720869.2393 | 1257900.6174 | 2720869.2813 | 1257915.4886
62 | 2720858.5008 | 1257734.475 | 2720856.3834 | 1257698.3801
63 | 2720858.5008 | 1257734.475 | 2720844.3532 | 1257735.423
64 | 2720844.3532 | 1257735.423 | 2720842.5042 | 1257735.5469
65 | 2720861.5993 | 1257793.5899 | 2720860.8902 | 1257780.0621
66 | 2720861.5993 | 1257793.5899 | 2720862.3198 | 1257805.0908
67 | 2720862.3198 | 1257805.0908 | 2720863.6256 | 1257825.9329
68 | 2720870.4168 | 1257853.7003 | 2720861.447 | 1257849.0242
69 | 2720870.4168 | 1257853.7003 | 2720869.2709 | 1257857.369 | 2720868.5099 | 1257862.8694 | 2720868.5551 | 1257865.5589
70 | 2720861.447 | 1257849.0242 | 2720864.6646 | 1257842.5175 | 2720863.6256 | 1257825.9329
71 | 2720861.447 | 1257849.0242 | 2720850.5986 | 1257845.1104 | 2720843.3897 | 1257843.573 | 2720841.4731 | 1257843.4515
72 | 2720868.7277 | 1257875.8297 | 2720868.5551 | 1257865.5589
73 | 2720801.7928 | 1257673.4864 | 2720802.0458 | 1257678.0844
74 | 2720801.7928 | 1257673.4864 | 2720800.6816 | 1257659.194
75 | 2720802.0458 | 1257678.0844 | 2720803.6125 | 1257706.6062
76 | 2720798.6979 | 1257678.4164 | 2720802.0458 | 1257678.0844
77 | 2720802.0458 | 1257678.0844 | 2720808.9307 | 1257677.4021 | 2720814.2439 | 1257677.0822
78 | 2720850.2542 | 1258000.0056 | 2720854.4301 | 1257997.5331 | 2720856.9341 | 1257996.0496
79 | 2720850.2542 | 1258000.0056 | 2720839.7454 | 1258001.1815
80 | 2720720.4505 | 1257793.5382 | 2720727.8581 | 1257803.4806 | 2720731.723 | 1257808.6669
81 | 2720720.4505 | 1257793.5382 | 2720714.5091 | 1257785.5637
82 | 2720714.5091 | 1257785.5637 | 2720705.2871 | 1257773.1858
83 | 2720841.4731 | 1257843.4515 | 2720836.1437 | 1257843.1136 | 2720824.2323 | 1257843.7562
84 | 2720782.5008 | 1257798.4267 | 2720783.5967 | 1257819.2152
85 | 2720869.2393 | 1257900.6174 | 2720869.0294 | 1257890.4499
86 | 2720798.6979 | 1257678.4164 | 2720785.7755 | 1257679.0664
87 | 2720767.2759 | 1257679.9969 | 2720785.7755 | 1257679.0664
88 | 2720842.5042 | 1257735.5469 | 2720822.1768 | 1257736.9091
89 | 2720868.7277 | 1257875.8297 | 2720869.0294 | 1257890.4499
90 | 2720805.3391 | 1257738.0374 | 2720803.6125 | 1257706.6062
91 | 2720782.5008 | 1257798.4267 | 2720781.7852 | 1257784.8528
92 | 2720781.7852 | 1257784.8528 | 2720781.6831 | 1257782.9161 | 2720783.3074 | 1257772.1027
93 | 2720784.0498 | 1257767.1599 | 2720783.3074 | 1257772.1027
94 | 2720761.0218 | 1257680.3114 | 2720767.2759 | 1257679.9969
95 | 2720801.2235 | 1257738.2869 | 2720800.6942 | 1257725.7386
96 | 2720785.1618 | 1257739.2489 | 2720801.2235 | 1257738.2869
97 | 2720805.3391 | 1257738.0374 | 2720801.2235 | 1257738.2869
98 | 2720761.0218 | 1257680.3114 | 2720752.1465 | 1257680.7579
99 | 2720785.1618 | 1257739.2489 | 2720786.0562 | 1257753.8021 | 2720784.0498 | 1257767.1599
100 | 2720785.1618 | 1257739.2489 | 2720773.1039 | 1257739.7977
101 | 2720826.9135 | 1257876.4064 | 2720843.9332 | 1257876.1716
102 | 2720810.5729 | 1257876.6317 | 2720826.9135 | 1257876.4064
103 | 2720810.7198 | 1257737.6768 | 2720822.1768 | 1257736.9091
104 | 2720805.3391 | 1257738.0374 | 2720810.7198 | 1257737.6768
105 | 2720761.3965 | 1257911.3636 | 2720753.1266 | 1257911.9353

## bus_geodata
| x | y | coords
0 | 2720723.4048 | 1257742.0595
1 | 2720733.3323 | 1257741.6077
2 | 2720741.858 | 1257741.2197
3 | 2720694.4043 | 1257751.6086
4 | 2720687.9574 | 1257742.2978
5 | 2720691.204 | 1257753.9454
6 | 2720756.8892 | 1257740.5356
7 | 2720697.8556 | 1257763.2113
8 | 2720689.0997 | 1257751.1199
9 | 2720763.2988 | 1257740.2439
10 | 2720677.9923 | 1257768.5458
11 | 2720698.3362 | 1257763.8564
12 | 2720751.9094 | 1257895.3366
13 | 2720737.1022 | 1257896.3281
14 | 2720790.6853 | 1257892.7403
15 | 2720736.2802 | 1257887.4591
16 | 2720802.3015 | 1257908.5356
17 | 2720716.6423 | 1257888.8219
18 | 2720744.212 | 1257949.6309
19 | 2720730.5531 | 1257939.321
20 | 2720758.8599 | 1257950.8764
21 | 2720706.8831 | 1257939.8988
22 | 2720814.3218 | 1257907.8693
23 | 2720786.7187 | 1257909.613
24 | 2720704.0582 | 1257863.5811
25 | 2720701.2361 | 1257889.891
26 | 2720693.3546 | 1257842.6539
27 | 2720692.9207 | 1257890.4664
28 | 2720777.4312 | 1257858.907
29 | 2720760.6195 | 1257846.7533
30 | 2720785.0056 | 1257845.8723
31 | 2720786.6891 | 1257871.1444
32 | 2720743.0308 | 1257823.8408
33 | 2720809.8264 | 1257901.6165
34 | 2720823.5503 | 1257919.4152
35 | 2720838.1917 | 1257957.7112
36 | 2720848.69 | 1257966.1996
37 | 2720797.0679 | 1257954.1252
38 | 2720779.0189 | 1257952.5905
39 | 2720799.3065 | 1257958.7183
40 | 2720842.5508 | 1257966.2076
41 | 2720785.707 | 1257909.6829
42 | 2720668.791 | 1257816.6878
43 | 2720784.2322 | 1257831.2692
44 | 2720791.0616 | 1257876.9008
45 | 2720732.5196 | 1257809.7358
46 | 2720827.4652 | 1257901.3199
47 | 2720804.9654 | 1257895.214
48 | 2720830.5961 | 1257928.2304
49 | 2720868.6785 | 1257953.5189
50 | 2720855.0267 | 1257984.4303
51 | 2720857.9393 | 1257953.7456
52 | 2720869.3097 | 1257925.5851
53 | 2720869.2813 | 1257915.4886
54 | 2720844.6085 | 1257926.0393
55 | 2720858.5008 | 1257734.475
56 | 2720856.3834 | 1257698.3801
57 | 2720844.3532 | 1257735.423
58 | 2720861.5993 | 1257793.5899
59 | 2720860.8902 | 1257780.0621
60 | 2720862.3198 | 1257805.0908
61 | 2720870.4168 | 1257853.7003
62 | 2720861.447 | 1257849.0242
63 | 2720868.5551 | 1257865.5589
64 | 2720801.7928 | 1257673.4864
65 | 2720802.0458 | 1257678.0844
66 | 2720800.6816 | 1257659.194
67 | 2720856.9341 | 1257996.0496
68 | 2720850.2542 | 1258000.0056
69 | 2720731.723 | 1257808.6669
70 | 2720720.4505 | 1257793.5382
71 | 2720714.5091 | 1257785.5637
72 | 2720824.2323 | 1257843.7562
73 | 2720841.4731 | 1257843.4515
74 | 2720783.5967 | 1257819.2152
75 | 2720843.2166 | 1257967.904
76 | 2720869.2393 | 1257900.6174
77 | 2720798.6979 | 1257678.4164
78 | 2720785.7755 | 1257679.0664
79 | 2720842.5042 | 1257735.5469
80 | 2720863.6256 | 1257825.9329
81 | 2720868.7277 | 1257875.8297
82 | 2720814.2439 | 1257677.0822
83 | 2720803.6125 | 1257706.6062
84 | 2720839.7454 | 1258001.1815
85 | 2720705.2871 | 1257773.1858
86 | 2720782.5008 | 1257798.4267
87 | 2720781.7852 | 1257784.8528
88 | 2720783.3074 | 1257772.1027
89 | 2720767.2759 | 1257679.9969
90 | 2720800.6942 | 1257725.7386
91 | 2720801.2235 | 1257738.2869
92 | 2720752.1465 | 1257680.7579
93 | 2720761.0218 | 1257680.3114
94 | 2720784.0498 | 1257767.1599
95 | 2720785.1618 | 1257739.2489
96 | 2720869.0294 | 1257890.4499
97 | 2720843.9332 | 1257876.1716
98 | 2720826.9135 | 1257876.4064
99 | 2720810.5729 | 1257876.6317
100 | 2720810.7198 | 1257737.6768
101 | 2720822.1768 | 1257736.9091
102 | 2720805.3391 | 1257738.0374
103 | 2720773.1039 | 1257739.7977
104 | 2720844.1344 | 1257901.0395
105 | 2720761.3965 | 1257911.3636
106 | 2720753.1266 | 1257911.9353
107 | 2720777.4312 | 1257858.907

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1