## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3427-48_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3427-48_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3427-48_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3427-48_0_6_node_28 | 0.4 | n |  | TRUE
4 | bus_LV_3427-48_0_6_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_3427-48_0_6_node_26 | 0.4 | n |  | TRUE
6 | bus_LV_3427-48_0_6_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_3427-48_0_6_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_3427-48_0_6_node_150 | 0.4 | n |  | TRUE
9 | bus_LV_3427-48_0_6_node_83 | 0.4 | n |  | TRUE
10 | bus_LV_3427-48_0_6_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_3427-48_0_6_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_3427-48_0_6_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_3427-48_0_6_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_3427-48_0_6_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_3427-48_0_6_node_41 | 0.4 | n |  | TRUE
16 | bus_LV_3427-48_0_6_node_42 | 0.4 | n |  | TRUE
17 | bus_LV_3427-48_0_6_node_40 | 0.4 | n |  | TRUE
18 | bus_LV_3427-48_0_6_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_3427-48_0_6_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_3427-48_0_6_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_3427-48_0_6_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_3427-48_0_6_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_3427-48_0_6_node_152 | 0.4 | n |  | TRUE
24 | bus_LV_3427-48_0_6_node_38 | 0.4 | n |  | TRUE
25 | bus_LV_3427-48_0_6_node_39 | 0.4 | n |  | TRUE
26 | bus_LV_3427-48_0_6_node_37 | 0.4 | n |  | TRUE
27 | bus_LV_3427-48_0_6_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_3427-48_0_6_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_3427-48_0_6_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_3427-48_0_6_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_3427-48_0_6_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_3427-48_0_6_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_3427-48_0_6_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_3427-48_0_6_node_43 | 0.4 | n |  | TRUE
35 | bus_LV_3427-48_0_6_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_3427-48_0_6_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_3427-48_0_6_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_3427-48_0_6_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_3427-48_0_6_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_3427-48_0_6_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_3427-48_0_6_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_3427-48_0_6_node_65 | 0.4 | n |  | TRUE
43 | bus_LV_3427-48_0_6_node_64 | 0.4 | n |  | TRUE
44 | bus_LV_3427-48_0_6_node_66 | 0.4 | n |  | TRUE
45 | bus_LV_3427-48_0_6_node_67 | 0.4 | n |  | TRUE
46 | bus_LV_3427-48_0_6_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_3427-48_0_6_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_3427-48_0_6_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_3427-48_0_6_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_3427-48_0_6_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_3427-48_0_6_node_74 | 0.4 | n |  | TRUE
52 | bus_LV_3427-48_0_6_node_73 | 0.4 | n |  | TRUE
53 | bus_LV_3427-48_0_6_node_55 | 0.4 | n |  | TRUE
54 | bus_LV_3427-48_0_6_node_53 | 0.4 | n |  | TRUE
55 | bus_LV_3427-48_0_6_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_3427-48_0_6_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_3427-48_0_6_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_3427-48_0_6_node_103 | 0.4 | n |  | TRUE
59 | bus_LV_3427-48_0_6_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_3427-48_0_6_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_3427-48_0_6_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_3427-48_0_6_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_3427-48_0_6_node_56 | 0.4 | n |  | TRUE
64 | bus_LV_3427-48_0_6_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_3427-48_0_6_node_89 | 0.4 | n |  | TRUE
66 | bus_LV_3427-48_0_6_node_88 | 0.4 | n |  | TRUE
67 | bus_LV_3427-48_0_6_node_157 | 0.4 | n |  | TRUE
68 | bus_LV_3427-48_0_6_node_104 | 0.4 | n |  | TRUE
69 | bus_LV_3427-48_0_6_node_54 | 0.4 | n |  | TRUE
70 | bus_LV_3427-48_0_6_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_3427-48_0_6_node_90 | 0.4 | n |  | TRUE
72 | bus_LV_3427-48_0_6_node_85 | 0.4 | n |  | TRUE
73 | bus_LV_3427-48_0_6_node_60 | 0.4 | n |  | TRUE
74 | bus_LV_3427-48_0_6_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_3427-48_0_6_node_58 | 0.4 | n |  | TRUE
76 | bus_LV_3427-48_0_6_node_61 | 0.4 | n |  | TRUE
77 | bus_LV_3427-48_0_6_node_62 | 0.4 | n |  | TRUE
78 | bus_LV_3427-48_0_6_node_63 | 0.4 | n |  | TRUE
79 | bus_LV_3427-48_0_6_node_69 | 0.4 | n |  | TRUE
80 | bus_LV_3427-48_0_6_node_68 | 0.4 | n |  | TRUE
81 | bus_LV_3427-48_0_6_node_70 | 0.4 | n |  | TRUE
82 | bus_LV_3427-48_0_6_node_71 | 0.4 | n |  | TRUE
83 | bus_LV_3427-48_0_6_node_72 | 0.4 | n |  | TRUE
84 | bus_LV_3427-48_0_6_node_75 | 0.4 | n |  | TRUE
85 | bus_LV_3427-48_0_6_node_76 | 0.4 | n |  | TRUE
86 | bus_LV_3427-48_0_6_node_77 | 0.4 | n |  | TRUE
87 | bus_LV_3427-48_0_6_node_78 | 0.4 | n |  | TRUE
88 | bus_LV_3427-48_0_6_node_80 | 0.4 | n |  | TRUE
89 | bus_LV_3427-48_0_6_node_79 | 0.4 | n |  | TRUE
90 | bus_LV_3427-48_0_6_node_81 | 0.4 | n |  | TRUE
91 | bus_LV_3427-48_0_6_node_82 | 0.4 | n |  | TRUE
92 | bus_LV_3427-48_0_6_node_84 | 0.4 | n |  | TRUE
93 | bus_LV_3427-48_0_6_node_86 | 0.4 | n |  | TRUE
94 | bus_LV_3427-48_0_6_node_87 | 0.4 | n |  | TRUE
95 | bus_LV_3427-48_0_6_node_91 | 0.4 | n |  | TRUE
96 | bus_LV_3427-48_0_6_node_92 | 0.4 | n |  | TRUE
97 | bus_LV_3427-48_0_6_node_96 | 0.4 | n |  | TRUE
98 | bus_LV_3427-48_0_6_node_93 | 0.4 | n |  | TRUE
99 | bus_LV_3427-48_0_6_node_154 | 0.4 | n |  | TRUE
100 | bus_LV_3427-48_0_6_node_153 | 0.4 | n |  | TRUE
101 | bus_LV_3427-48_0_6_node_94 | 0.4 | n |  | TRUE
102 | bus_LV_3427-48_0_6_node_95 | 0.4 | n |  | TRUE
103 | bus_LV_3427-48_0_6_node_97 | 0.4 | n |  | TRUE
104 | bus_LV_3427-48_0_6_node_98 | 0.4 | n |  | TRUE
105 | bus_LV_3427-48_0_6_node_99 | 0.4 | n |  | TRUE
106 | bus_LV_3427-48_0_6_node_100 | 0.4 | n |  | TRUE
107 | bus_LV_3427-48_0_6_node_105 | 0.4 | n |  | TRUE
108 | bus_LV_3427-48_0_6_node_101 | 0.4 | n |  | TRUE
109 | bus_LV_3427-48_0_6_node_102 | 0.4 | n |  | TRUE
110 | bus_LV_3427-48_0_6_node_106 | 0.4 | n |  | TRUE
111 | bus_LV_3427-48_0_6_node_111 | 0.4 | n |  | TRUE
112 | bus_LV_3427-48_0_6_node_147 | 0.4 | n |  | TRUE
113 | bus_LV_3427-48_0_6_node_112 | 0.4 | n |  | TRUE
114 | bus_LV_3427-48_0_6_node_107 | 0.4 | n |  | TRUE
115 | bus_LV_3427-48_0_6_node_116 | 0.4 | n |  | TRUE
116 | bus_LV_3427-48_0_6_node_123 | 0.4 | n |  | TRUE
117 | bus_LV_3427-48_0_6_node_108 | 0.4 | n |  | TRUE
118 | bus_LV_3427-48_0_6_node_109 | 0.4 | n |  | TRUE
119 | bus_LV_3427-48_0_6_node_110 | 0.4 | n |  | TRUE
120 | bus_LV_3427-48_0_6_node_119 | 0.4 | n |  | TRUE
121 | bus_LV_3427-48_0_6_node_126 | 0.4 | n |  | TRUE
122 | bus_LV_3427-48_0_6_node_118 | 0.4 | n |  | TRUE
123 | bus_LV_3427-48_0_6_node_125 | 0.4 | n |  | TRUE
124 | bus_LV_3427-48_0_6_node_113 | 0.4 | n |  | TRUE
125 | bus_LV_3427-48_0_6_node_114 | 0.4 | n |  | TRUE
126 | bus_LV_3427-48_0_6_node_115 | 0.4 | n |  | TRUE
127 | bus_LV_3427-48_0_6_node_117 | 0.4 | n |  | TRUE
128 | bus_LV_3427-48_0_6_node_146 | 0.4 | n |  | TRUE
129 | bus_LV_3427-48_0_6_node_144 | 0.4 | n |  | TRUE
130 | bus_LV_3427-48_0_6_node_120 | 0.4 | n |  | TRUE
131 | bus_LV_3427-48_0_6_node_122 | 0.4 | n |  | TRUE
132 | bus_LV_3427-48_0_6_node_121 | 0.4 | n |  | TRUE
133 | bus_LV_3427-48_0_6_node_135 | 0.4 | n |  | TRUE
134 | bus_LV_3427-48_0_6_node_132 | 0.4 | n |  | TRUE
135 | bus_LV_3427-48_0_6_node_128 | 0.4 | n |  | TRUE
136 | bus_LV_3427-48_0_6_node_133 | 0.4 | n |  | TRUE
137 | bus_LV_3427-48_0_6_node_129 | 0.4 | n |  | TRUE
138 | bus_LV_3427-48_0_6_node_127 | 0.4 | n |  | TRUE
139 | bus_LV_3427-48_0_6_node_130 | 0.4 | n |  | TRUE
140 | bus_LV_3427-48_0_6_node_131 | 0.4 | n |  | TRUE
141 | bus_LV_3427-48_0_6_node_155 | 0.4 | n |  | TRUE
142 | bus_LV_3427-48_0_6_node_156 | 0.4 | n |  | TRUE
143 | bus_LV_3427-48_0_6_node_141 | 0.4 | n |  | TRUE
144 | bus_LV_3427-48_0_6_node_140 | 0.4 | n |  | TRUE
145 | bus_LV_3427-48_0_6_node_134 | 0.4 | n |  | TRUE
146 | bus_LV_3427-48_0_6_node_136 | 0.4 | n |  | TRUE
147 | bus_LV_3427-48_0_6_node_139 | 0.4 | n |  | TRUE
148 | bus_LV_3427-48_0_6_node_138 | 0.4 | n |  | TRUE
149 | bus_LV_3427-48_0_6_node_145 | 0.4 | n |  | TRUE
150 | bus_LV_3427-48_0_6_node_143 | 0.4 | n |  | TRUE
151 | bus_LV_3427-48_0_6_node_142 | 0.4 | n |  | TRUE
152 | bus_MV_410_0_node_138 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3427-48_0_6_load_0 | 0 | 0.00066084 | 0.00016562 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3427-48_0_6_load_1 | 1 | 0.00057381 | 0.00014381 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3427-48_0_6_load_2 | 2 | 0.00074867 | 0.00018763 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3427-48_0_6_load_28 | 3 | 0.004163 | 0.0010433 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3427-48_0_6_load_3 | 4 | 0.0026957 | 0.0006756 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3427-48_0_6_load_5 | 7 | 0.00029531 | 7.4011e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3427-48_0_6_load_150 | 8 | 0.0032155 | 0.00080588 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3427-48_0_6_load_83 | 9 | 0.0028637 | 0.0007177 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3427-48_0_6_load_7 | 10 | 0.0051502 | 0.0012908 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3427-48_0_6_load_41 | 15 | 0.006722 | 0.0016847 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3427-48_0_6_load_42 | 16 | 0.0058829 | 0.0014744 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3427-48_0_6_load_40 | 17 | 0.0019268 | 0.00048291 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3427-48_0_6_load_18 | 19 | 0.0098394 | 0.002466 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3427-48_0_6_load_22 | 20 | 0.0099052 | 0.0024825 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3427-48_0_6_load_16 | 21 | 0.0053657 | 0.0013448 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3427-48_0_6_load_13 | 22 | 0.004705 | 0.0011792 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3427-48_0_6_load_152 | 23 | 0.01653 | 0.0041428 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3427-48_0_6_load_38 | 24 | 0.0050195 | 0.001258 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3427-48_0_6_load_39 | 25 | 0.0038892 | 0.00097471 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3427-48_0_6_load_37 | 26 | 0.005445 | 0.0013646 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3427-48_0_6_load_17 | 27 | 0.0034423 | 0.00086273 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3427-48_0_6_load_23 | 28 | 0.009739 | 0.0024408 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3427-48_0_6_load_14 | 29 | 0.0068487 | 0.0017164 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3427-48_0_6_load_15 | 30 | 0.0091139 | 0.0022842 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3427-48_0_6_load_20 | 32 | 0.0087721 | 0.0021985 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3427-48_0_6_load_43 | 34 | 0.0030485 | 0.00076402 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3427-48_0_6_load_24 | 36 | 0.004861 | 0.0012183 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3427-48_0_6_load_25 | 37 | 0.0023062 | 0.00057798 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3427-48_0_6_load_27 | 38 | 0.00054718 | 0.00013714 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3427-48_0_6_load_30 | 40 | 0.0024334 | 0.00060987 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3427-48_0_6_load_31 | 41 | 0.0014919 | 0.00037391 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3427-48_0_6_load_65 | 42 | 0.0011011 | 0.00027596 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3427-48_0_6_load_66 | 44 | 0.002406 | 0.00060301 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3427-48_0_6_load_67 | 45 | 0.0011505 | 0.00028835 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3427-48_0_6_load_32 | 46 | 0.012378 | 0.0031022 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3427-48_0_6_load_33 | 47 | 0.0020216 | 0.00050666 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3427-48_0_6_load_35 | 49 | 0.0043792 | 0.0010975 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3427-48_0_6_load_74 | 51 | 0.0026954 | 0.00067554 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3427-48_0_6_load_73 | 52 | 0.0022044 | 0.00055246 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3427-48_0_6_load_55 | 53 | 0.003457 | 0.00086641 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3427-48_0_6_load_45 | 57 | 0.00067487 | 0.00016914 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3427-48_0_6_load_103 | 58 | 0.0066027 | 0.0016548 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3427-48_0_6_load_49 | 60 | 0.010978 | 0.0027512 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3427-48_0_6_load_50 | 61 | 0.0042572 | 0.001067 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3427-48_0_6_load_56 | 63 | 0.0036706 | 0.00091995 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3427-48_0_6_load_89 | 65 | 0.0036058 | 0.00090369 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3427-48_0_6_load_88 | 66 | 0.0043424 | 0.0010883 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3427-48_0_6_load_157 | 67 | 0.01182 | 0.0029625 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3427-48_0_6_load_54 | 69 | 0.0013017 | 0.00032623 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3427-48_0_6_load_57 | 70 | 0.0063544 | 0.0015926 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3427-48_0_6_load_85 | 72 | 0.0058663 | 0.0014702 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3427-48_0_6_load_60 | 73 | 0.00060387 | 0.00015135 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3427-48_0_6_load_59 | 74 | 0.003621 | 0.0009075 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3427-48_0_6_load_58 | 75 | 0.0024415 | 0.00061191 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3427-48_0_6_load_61 | 76 | 0.0023597 | 0.00059141 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3427-48_0_6_load_62 | 77 | 0.0010784 | 0.00027028 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3427-48_0_6_load_63 | 78 | 0.0011817 | 0.00029616 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3427-48_0_6_load_69 | 79 | 0.001083 | 0.00027143 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3427-48_0_6_load_68 | 80 | 0.0024367 | 0.00061069 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3427-48_0_6_load_71 | 82 | 0.002199 | 0.00055112 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3427-48_0_6_load_72 | 83 | 0.0017368 | 0.00043528 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3427-48_0_6_load_75 | 84 | 0.0040765 | 0.0010217 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3427-48_0_6_load_78 | 87 | 0.0029766 | 0.00074601 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3427-48_0_6_load_80 | 88 | 0.0025084 | 0.00062867 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3427-48_0_6_load_79 | 89 | 0.0035159 | 0.00088117 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3427-48_0_6_load_81 | 90 | 0.0014707 | 0.00036858 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3427-48_0_6_load_84 | 92 | 0.0030031 | 0.00075265 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3427-48_0_6_load_86 | 93 | 0.0027911 | 0.00069952 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3427-48_0_6_load_87 | 94 | 0.0092125 | 0.0023089 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3427-48_0_6_load_93 | 98 | 0.0071424 | 0.0017901 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3427-48_0_6_load_154 | 99 | 0.0043405 | 0.0010878 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3427-48_0_6_load_153 | 100 | 0.010401 | 0.0026067 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3427-48_0_6_load_94 | 101 | 0.0036545 | 0.00091591 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3427-48_0_6_load_95 | 102 | 0.0041592 | 0.0010424 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3427-48_0_6_load_98 | 104 | 0.0039758 | 0.00099643 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3427-48_0_6_load_99 | 105 | 0.0077192 | 0.0019346 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3427-48_0_6_load_101 | 108 | 0.0087399 | 0.0021904 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3427-48_0_6_load_102 | 109 | 0.0043648 | 0.0010939 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3427-48_0_6_load_106 | 110 | 0.0041969 | 0.0010518 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3427-48_0_6_load_147 | 112 | 0.0042358 | 0.0010616 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3427-48_0_6_load_116 | 115 | 0.0042137 | 0.0010561 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3427-48_0_6_load_123 | 116 | 0.006339 | 0.0015887 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3427-48_0_6_load_109 | 118 | 0.0032141 | 0.00080553 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3427-48_0_6_load_110 | 119 | 0.0034935 | 0.00087555 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_3427-48_0_6_load_119 | 120 | 0.0074232 | 0.0018604 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_3427-48_0_6_load_126 | 121 | 0.0033216 | 0.00083247 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_3427-48_0_6_load_118 | 122 | 0.010208 | 0.0025583 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_3427-48_0_6_load_125 | 123 | 0.0034525 | 0.00086528 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_3427-48_0_6_load_113 | 124 | 0.014567 | 0.0036507 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_3427-48_0_6_load_114 | 125 | 0.0043202 | 0.0010827 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_3427-48_0_6_load_115 | 126 | 0.001285 | 0.00032204 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_3427-48_0_6_load_117 | 127 | 0.0012949 | 0.00032453 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_3427-48_0_6_load_146 | 128 | 0.0012234 | 0.00030662 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_3427-48_0_6_load_144 | 129 | 0.0011438 | 0.00028666 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_3427-48_0_6_load_122 | 131 | 0.011619 | 0.0029121 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_3427-48_0_6_load_135 | 133 | 0.011457 | 0.0028714 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_3427-48_0_6_load_132 | 134 | 0.010498 | 0.0026311 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_3427-48_0_6_load_128 | 135 | 0.012785 | 0.0032041 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_3427-48_0_6_load_133 | 136 | 0.0073473 | 0.0018414 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_3427-48_0_6_load_127 | 138 | 0.003551 | 0.00088996 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_3427-48_0_6_load_155 | 141 | 0.0055479 | 0.0013904 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_3427-48_0_6_load_156 | 142 | 0.0064338 | 0.0016125 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_3427-48_0_6_load_141 | 143 | 0.016672 | 0.0041783 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_3427-48_0_6_load_139 | 147 | 0.0026049 | 0.00065284 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_3427-48_0_6_load_138 | 148 | 0.0072361 | 0.0018135 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_3427-48_0_6_load_145 | 149 | 0.0011969 | 0.00029996 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_3427-48_0_6_load_143 | 150 | 0.00099464 | 0.00024928 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_3427-48_0_6_load_142 | 151 | 0.0010547 | 0.00026434 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 56 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3427-48_0_6_line_0 |  | 0 | 1 | 0.012719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3427-48_0_6_line_1 |  | 0 | 2 | 0.015421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3427-48_0_6_line_2 |  | 1 | 3 | 0.35108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3427-48_0_6_line_3 |  | 2 | 4 | 0.002403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3427-48_0_6_line_4 |  | 3 | 5 | 0.021624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3427-48_0_6_line_5 |  | 4 | 6 | 0.061514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3427-48_0_6_line_6 |  | 5 | 36 | 0.02068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3427-48_0_6_line_7 |  | 6 | 7 | 0.07662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3427-48_0_6_line_8 |  | 8 | 9 | 0.21037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3427-48_0_6_line_9 |  | 9 | 86 | 0.021662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3427-48_0_6_line_10 |  | 10 | 11 | 0.0015723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_3427-48_0_6_line_11 |  | 10 | 12 | 0.030748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_3427-48_0_6_line_12 |  | 11 | 13 | 0.029898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_3427-48_0_6_line_13 |  | 12 | 14 | 0.015416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_3427-48_0_6_line_14 |  | 13 | 21 | 0.012397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3427-48_0_6_line_15 |  | 13 | 22 | 0.013944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_3427-48_0_6_line_16 |  | 14 | 23 | 0.056208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_3427-48_0_6_line_17 |  | 15 | 16 | 0.027279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3427-48_0_6_line_18 |  | 15 | 17 | 0.0021311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3427-48_0_6_line_19 |  | 17 | 25 | 0.017179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3427-48_0_6_line_20 |  | 18 | 19 | 0.014742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_3427-48_0_6_line_21 |  | 18 | 20 | 0.011736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_3427-48_0_6_line_22 |  | 19 | 27 | 0.019586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_3427-48_0_6_line_23 |  | 20 | 28 | 0.011097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_3427-48_0_6_line_24 |  | 22 | 29 | 0.017411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_3427-48_0_6_line_25 |  | 24 | 25 | 0.0080033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_3427-48_0_6_line_26 |  | 24 | 26 | 0.00080617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_3427-48_0_6_line_27 |  | 25 | 28 | 0.04219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_3427-48_0_6_line_28 |  | 26 | 49 | 0.0209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_3427-48_0_6_line_29 |  | 27 | 33 | 0.033237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_3427-48_0_6_line_30 |  | 29 | 30 | 0.012922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_3427-48_0_6_line_31 |  | 30 | 31 | 0.017398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_3427-48_0_6_line_32 |  | 31 | 32 | 0.0044653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_3427-48_0_6_line_33 |  | 32 | 33 | 0.02351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_3427-48_0_6_line_34 |  | 34 | 35 | 0.0043567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3427-48_0_6_line_35 |  | 35 | 55 | 0.031741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3427-48_0_6_line_36 |  | 35 | 56 | 0.010844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3427-48_0_6_line_37 |  | 36 | 37 | 0.0076232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3427-48_0_6_line_38 |  | 37 | 38 | 0.017815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3427-48_0_6_line_39 |  | 38 | 39 | 0.042244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3427-48_0_6_line_40 |  | 39 | 40 | 0.032417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_3427-48_0_6_line_41 |  | 39 | 41 | 0.021247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_3427-48_0_6_line_42 |  | 40 | 42 | 0.015146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_3427-48_0_6_line_43 |  | 41 | 43 | 0.014985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_3427-48_0_6_line_44 |  | 42 | 44 | 0.00232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_3427-48_0_6_line_45 |  | 43 | 45 | 0.019742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_3427-48_0_6_line_46 |  | 44 | 75 | 0.017524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_3427-48_0_6_line_47 |  | 45 | 79 | 0.016403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_3427-48_0_6_line_48 |  | 46 | 47 | 0.016756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_3427-48_0_6_line_49 |  | 46 | 48 | 0.013645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_3427-48_0_6_line_50 |  | 47 | 49 | 0.0071962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_3427-48_0_6_line_51 |  | 48 | 50 | 0.023065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_3427-48_0_6_line_52 |  | 50 | 51 | 0.018355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_3427-48_0_6_line_53 |  | 51 | 52 | 0.006729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_3427-48_0_6_line_54 |  | 52 | 82 | 0.020242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_3427-48_0_6_line_55 |  | 53 | 54 | 0.020198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3427-48_0_6_line_56 |  | 54 | 69 | 0.016591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3427-48_0_6_line_57 |  | 54 | 60 | 0.0056192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3427-48_0_6_line_58 |  | 55 | 57 | 0.04619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3427-48_0_6_line_59 |  | 56 | 58 | 0.038391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_3427-48_0_6_line_60 |  | 58 | 68 | 0.013597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_3427-48_0_6_line_61 |  | 59 | 60 | 0.028307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3427-48_0_6_line_62 |  | 59 | 61 | 0.018136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_3427-48_0_6_line_63 |  | 59 | 62 | 0.038073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_3427-48_0_6_line_64 |  | 61 | 63 | 0.0047377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_3427-48_0_6_line_65 |  | 62 | 67 | 0.027524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3427-48_0_6_line_66 |  | 62 | 64 | 0.016123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_3427-48_0_6_line_67 |  | 63 | 70 | 0.022036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
68 | LV_3427-48_0_6_line_68 |  | 64 | 65 | 0.039627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_3427-48_0_6_line_69 |  | 64 | 66 | 0.01611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3427-48_0_6_line_70 |  | 65 | 71 | 0.003763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
71 | LV_3427-48_0_6_line_71 |  | 66 | 72 | 0.0031254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3427-48_0_6_line_72 |  | 68 | 97 | 0.027054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
73 | LV_3427-48_0_6_line_73 |  | 69 | 73 | 0.019556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3427-48_0_6_line_74 |  | 70 | 75 | 0.029613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
75 | LV_3427-48_0_6_line_75 |  | 71 | 95 | 0.018098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
76 | LV_3427-48_0_6_line_76 |  | 71 | 96 | 0.009016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3427-48_0_6_line_77 |  | 72 | 91 | 0.015188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3427-48_0_6_line_78 |  | 73 | 74 | 0.0020899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3427-48_0_6_line_79 |  | 74 | 76 | 0.0059274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3427-48_0_6_line_80 |  | 76 | 77 | 0.018242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3427-48_0_6_line_81 |  | 77 | 78 | 0.0054145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3427-48_0_6_line_82 |  | 79 | 80 | 0.024065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
83 | LV_3427-48_0_6_line_83 |  | 80 | 81 | 0.025443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
84 | LV_3427-48_0_6_line_84 |  | 81 | 82 | 0.029781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
85 | LV_3427-48_0_6_line_85 |  | 81 | 83 | 0.024761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3427-48_0_6_line_86 |  | 84 | 85 | 0.027387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3427-48_0_6_line_87 |  | 85 | 86 | 0.002709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3427-48_0_6_line_88 |  | 85 | 87 | 0.012028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3427-48_0_6_line_89 |  | 86 | 88 | 0.017699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3427-48_0_6_line_90 |  | 87 | 89 | 0.0092225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3427-48_0_6_line_91 |  | 88 | 90 | 0.0038696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3427-48_0_6_line_92 |  | 90 | 91 | 0.04434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3427-48_0_6_line_93 |  | 91 | 92 | 0.0088723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3427-48_0_6_line_94 |  | 92 | 93 | 0.0034057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3427-48_0_6_line_95 |  | 93 | 94 | 0.021556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_3427-48_0_6_line_96 |  | 95 | 97 | 0.021138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
97 | LV_3427-48_0_6_line_97 |  | 95 | 98 | 0.0070781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
98 | LV_3427-48_0_6_line_98 |  | 96 | 99 | 0.00758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_3427-48_0_6_line_99 |  | 97 | 100 | 0.003047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_3427-48_0_6_line_100 |  | 98 | 101 | 0.027887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
101 | LV_3427-48_0_6_line_101 |  | 101 | 102 | 0.00042576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
102 | LV_3427-48_0_6_line_102 |  | 102 | 103 | 0.0017368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
103 | LV_3427-48_0_6_line_103 |  | 103 | 104 | 0.02502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
104 | LV_3427-48_0_6_line_104 |  | 103 | 105 | 0.023885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_3427-48_0_6_line_105 |  | 104 | 106 | 0.0041343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
106 | LV_3427-48_0_6_line_106 |  | 105 | 107 | 0.02591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_3427-48_0_6_line_107 |  | 106 | 108 | 0.023635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
108 | LV_3427-48_0_6_line_108 |  | 106 | 109 | 0.020233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
109 | LV_3427-48_0_6_line_109 |  | 107 | 110 | 0.01634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_3427-48_0_6_line_110 |  | 108 | 111 | 0.019862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
111 | LV_3427-48_0_6_line_111 |  | 109 | 112 | 0.00012503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_3427-48_0_6_line_112 |  | 111 | 113 | 0.039591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
113 | LV_3427-48_0_6_line_113 |  | 111 | 114 | 0.004726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_3427-48_0_6_line_114 |  | 112 | 115 | 0.022589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_3427-48_0_6_line_115 |  | 113 | 120 | 0.025606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
116 | LV_3427-48_0_6_line_116 |  | 113 | 121 | 0.020221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
117 | LV_3427-48_0_6_line_117 |  | 114 | 116 | 0.013899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_3427-48_0_6_line_118 |  | 115 | 125 | 0.0001076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_3427-48_0_6_line_119 |  | 116 | 118 | 0.015308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_3427-48_0_6_line_120 |  | 117 | 118 | 0.010154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_3427-48_0_6_line_121 |  | 117 | 119 | 0.010437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_3427-48_0_6_line_122 |  | 120 | 122 | 0.016604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
123 | LV_3427-48_0_6_line_123 |  | 121 | 123 | 0.0090248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_3427-48_0_6_line_124 |  | 122 | 130 | 0.0073028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
125 | LV_3427-48_0_6_line_125 |  | 123 | 138 | 0.015224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_3427-48_0_6_line_126 |  | 124 | 125 | 0.01571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_3427-48_0_6_line_127 |  | 124 | 126 | 0.0062976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_3427-48_0_6_line_128 |  | 126 | 127 | 0.00036811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_3427-48_0_6_line_129 |  | 127 | 128 | 0.02229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_3427-48_0_6_line_130 |  | 128 | 129 | 0.00031708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_3427-48_0_6_line_131 |  | 129 | 151 | 0.026215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_3427-48_0_6_line_132 |  | 130 | 131 | 0.010227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_3427-48_0_6_line_133 |  | 131 | 135 | 0.026978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_3427-48_0_6_line_134 |  | 132 | 133 | 0.012312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_3427-48_0_6_line_135 |  | 132 | 134 | 0.0092495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_3427-48_0_6_line_136 |  | 134 | 136 | 0.022736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_3427-48_0_6_line_137 |  | 135 | 137 | 0.012838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_3427-48_0_6_line_138 |  | 136 | 145 | 0.026673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_3427-48_0_6_line_139 |  | 137 | 139 | 0.023932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_3427-48_0_6_line_140 |  | 137 | 140 | 0.029311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_3427-48_0_6_line_141 |  | 139 | 141 | 0.005282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_3427-48_0_6_line_142 |  | 139 | 142 | 0.00248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_3427-48_0_6_line_143 |  | 140 | 143 | 0.0030187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_3427-48_0_6_line_144 |  | 143 | 144 | 0.012535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_3427-48_0_6_line_145 |  | 144 | 148 | 0.017473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_3427-48_0_6_line_146 |  | 145 | 146 | 0.004112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_3427-48_0_6_line_147 |  | 146 | 147 | 0.018736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_3427-48_0_6_line_148 |  | 147 | 148 | 0.022615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_3427-48_0_6_line_149 |  | 149 | 150 | 0.024132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_3427-48_0_6_line_150 |  | 150 | 151 | 6.4947e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3427-48_0_6_trafo_48 | 0.63 MVA 20/0.4 kV | 152 | 56 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2721541.7582 | 1260252.8895 | 2721546.1137 | 1260240.9391 | 2721546.1137 | 1260240.9391
1 | 2721541.7582 | 1260252.8895 | 2721536.4773 | 1260267.3786
2 | 2721769.2461 | 1259969.8859 | 2721546.1137 | 1260240.9391
3 | 2721535.6544 | 1260269.6363 | 2721536.4773 | 1260267.3786
4 | 2721761.499 | 1259949.6985 | 2721764.4413 | 1259957.655 | 2721769.2461 | 1259969.8859
5 | 2721505.709 | 1260320.7021 | 2721513.9234 | 1260316.8118 | 2721522.5206 | 1260305.6674 | 2721523.815 | 1260302.113 | 2721530.2224 | 1260284.5402 | 2721535.6544 | 1260269.6363
6 | 2721761.499 | 1259949.6985 | 2721750.7806 | 1259932.0132
7 | 2721505.709 | 1260320.7021 | 2721446.1119 | 1260272.5479
8 | 2721602.207 | 1259808.1084 | 2721404.9143 | 1259881.1328
9 | 2721619.494 | 1259821.1312 | 2721612.8009 | 1259816.6342 | 2721602.207 | 1259808.1084
10 | 2721738.6471 | 1259593.0575 | 2721740.0559 | 1259593.7558
11 | 2721767.6059 | 1259607.4105 | 2721740.0559 | 1259593.7558
12 | 2721711.8872 | 1259579.5618 | 2721738.6471 | 1259593.0575
13 | 2721767.6059 | 1259607.4105 | 2721766.4371 | 1259592.0395
14 | 2721711.8872 | 1259579.5618 | 2721717.3065 | 1259568.4125
15 | 2721711.8872 | 1259579.5618 | 2721699.5504 | 1259573.0635
16 | 2721811.3845 | 1259624.8491 | 2721785.0646 | 1259610.8728 | 2721774.6973 | 1259599.5272 | 2721766.4371 | 1259592.0395
17 | 2721705.0451 | 1259667.4196 | 2721680.9153 | 1259654.6961
18 | 2721705.0451 | 1259667.4196 | 2721706.9302 | 1259668.4136
19 | 2721706.9302 | 1259668.4136 | 2721722.126 | 1259676.4263
20 | 2721720.7275 | 1259627.7307 | 2721707.6144 | 1259620.9946
21 | 2721720.7275 | 1259627.7307 | 2721731.0487 | 1259633.3162
22 | 2721690.1924 | 1259612.0451 | 2721707.6144 | 1259620.9946
23 | 2721740.8083 | 1259638.5978 | 2721731.0487 | 1259633.3162
24 | 2721699.5504 | 1259573.0635 | 2721684.1459 | 1259564.9493
25 | 2721729.2054 | 1259680.1592 | 2721722.126 | 1259676.4263
26 | 2721729.9185 | 1259680.5352 | 2721729.2054 | 1259680.1592
27 | 2721722.126 | 1259676.4263 | 2721740.8083 | 1259638.5978
28 | 2721748.4057 | 1259690.2834 | 2721729.9185 | 1259680.5352
29 | 2721673.4694 | 1259592.8725 | 2721670.0129 | 1259599.2626 | 2721682.1827 | 1259605.4627 | 2721681.1923 | 1259607.4219 | 2721690.1924 | 1259612.0451
30 | 2721672.7128 | 1259558.9269 | 2721684.1459 | 1259564.9493
31 | 2721672.7128 | 1259558.9269 | 2721665.0847 | 1259574.5728
32 | 2721665.0847 | 1259574.5728 | 2721663.1132 | 1259578.5793
33 | 2721673.4694 | 1259592.8725 | 2721659.6238 | 1259585.6703 | 2721663.1132 | 1259578.5793
34 | 2721634.907 | 1259629.3453 | 2721638.7914 | 1259631.3181
35 | 2721653.1248 | 1259655.276 | 2721650.7569 | 1259651.2682 | 2721642.6276 | 1259638.8791 | 2721634.907 | 1259629.3453
36 | 2721627.3132 | 1259637.1072 | 2721634.907 | 1259629.3453
37 | 2721750.7806 | 1259932.0132 | 2721746.8295 | 1259925.4938
38 | 2721746.8295 | 1259925.4938 | 2721746.1356 | 1259924.3489 | 2721736.0788 | 1259911.2983
39 | 2721710.2934 | 1259877.8371 | 2721736.0788 | 1259911.2983
40 | 2721710.2934 | 1259877.8371 | 2721702.0465 | 1259866.4241 | 2721696.548 | 1259854.0778 | 2721694.991 | 1259849.5153
41 | 2721710.2934 | 1259877.8371 | 2721713.8638 | 1259867.3791 | 2721718.2218 | 1259861.8749 | 2721720.9272 | 1259860.2115
42 | 2721690.1367 | 1259835.1683 | 2721691.3004 | 1259838.7008 | 2721694.991 | 1259849.5153
43 | 2721733.6926 | 1259852.3626 | 2721720.9272 | 1259860.2115
44 | 2721690.1367 | 1259835.1683 | 2721689.4108 | 1259832.9647
45 | 2721733.6926 | 1259852.3626 | 2721740.4291 | 1259848.153 | 2721744.598 | 1259844.1463 | 2721746.3719 | 1259841.4804 | 2721748.0022 | 1259839.1866
46 | 2721689.4108 | 1259832.9647 | 2721683.9279 | 1259816.3209
47 | 2721757.1261 | 1259825.5652 | 2721753.4763 | 1259831.4844 | 2721748.0022 | 1259839.1866
48 | 2721769.5932 | 1259701.4555 | 2721754.7712 | 1259693.6399
49 | 2721779.4812 | 1259710.2679 | 2721775.6313 | 1259704.6393 | 2721769.5932 | 1259701.4555
50 | 2721748.4057 | 1259690.2834 | 2721754.7712 | 1259693.6399
51 | 2721779.4812 | 1259710.2679 | 2721768.7341 | 1259711.8815 | 2721757.418 | 1259716.5973
52 | 2721757.418 | 1259716.5973 | 2721763.0084 | 1259734.0801
53 | 2721765.0578 | 1259740.4894 | 2721763.0084 | 1259734.0801
54 | 2721771.223 | 1259759.7699 | 2721765.0578 | 1259740.4894
55 | 2721696.8198 | 1259742.7072 | 2721716.2377 | 1259737.1478
56 | 2721696.8198 | 1259742.7072 | 2721702.205 | 1259758.3994
57 | 2721696.8198 | 1259742.7072 | 2721691.2504 | 1259743.4537
58 | 2721653.1248 | 1259655.276 | 2721661.8375 | 1259670.0904 | 2721666.1244 | 1259682.7008 | 2721667.9093 | 1259694.1587 | 2721667.704 | 1259698.2414
59 | 2721627.3132 | 1259637.1072 | 2721624.0156 | 1259636.1385 | 2721616.9552 | 1259639.2295 | 2721612.3176 | 1259644.0273 | 2721611.3852 | 1259657.4645 | 2721614.1634 | 1259661.6919 | 2721614.1312 | 1259663.7376
60 | 2721612.8281 | 1259677.1226 | 2721613.9676 | 1259674.1434 | 2721614.1312 | 1259663.7376
61 | 2721663.0176 | 1259745.0142 | 2721683.8007 | 1259744.4521 | 2721691.2504 | 1259743.4537
62 | 2721663.0176 | 1259745.0142 | 2721664.3561 | 1259756.9078 | 2721666.2856 | 1259762.765
63 | 2721663.0176 | 1259745.0142 | 2721647.2266 | 1259741.1306 | 2721644.0641 | 1259740.1981 | 2721632.1553 | 1259735.9829 | 2721634.9608 | 1259730.8138
64 | 2721667.7679 | 1259767.2648 | 2721666.2856 | 1259762.765
65 | 2721634.9608 | 1259730.8138 | 2721646.8122 | 1259730.4904 | 2721648.9828 | 1259728.3332 | 2721649.2942 | 1259724.9254 | 2721648.6018 | 1259723.0318 | 2721646.0385 | 1259720.4546 | 2721646.0293 | 1259716.8734
66 | 2721622.4994 | 1259732.5703 | 2721632.1553 | 1259735.9829 | 2721634.9608 | 1259730.8138
67 | 2721667.7679 | 1259767.2648 | 2721674.6625 | 1259788.1945
68 | 2721622.4994 | 1259732.5703 | 2721604.5152 | 1259723.148 | 2721590.8069 | 1259712.2122 | 2721589.5508 | 1259710.9398
69 | 2721622.4994 | 1259732.5703 | 2721616.4161 | 1259747.4879
70 | 2721586.9072 | 1259708.2619 | 2721589.5508 | 1259710.9398
71 | 2721615.6883 | 1259750.5207 | 2721616.2347 | 1259747.9329 | 2721616.4161 | 1259747.4879
72 | 2721587.2087 | 1259680.766 | 2721593.5035 | 1259681.1735 | 2721597.9705 | 1259677.3397 | 2721612.8281 | 1259677.1226
73 | 2721702.205 | 1259758.3994 | 2721708.553 | 1259776.897
74 | 2721683.9279 | 1259816.3209 | 2721675.8308 | 1259791.7412 | 2721674.6625 | 1259788.1945
75 | 2721574.5659 | 1259695.0077 | 2721578.8417 | 1259700.1001 | 2721586.9072 | 1259708.2619
76 | 2721592.9264 | 1259701.5352 | 2721586.9072 | 1259708.2619
77 | 2721616.6919 | 1259765.291 | 2721615.1036 | 1259761.4994 | 2721614.8062 | 1259754.6984 | 2721615.6883 | 1259750.5207
78 | 2721709.2313 | 1259778.8737 | 2721708.553 | 1259776.897
79 | 2721709.2313 | 1259778.8737 | 2721711.1553 | 1259784.4801
80 | 2721717.0765 | 1259801.734 | 2721711.1553 | 1259784.4801
81 | 2721717.0765 | 1259801.734 | 2721718.834 | 1259806.8553
82 | 2721770.083 | 1259805.2894 | 2721763.1014 | 1259815.8798 | 2721759.7397 | 1259821.3266 | 2721757.1261 | 1259825.5652
83 | 2721784.6116 | 1259784.4057 | 2721781.8396 | 1259788.3077 | 2721773.9583 | 1259799.4109 | 2721770.083 | 1259805.2894
84 | 2721784.6116 | 1259784.4057 | 2721780.492 | 1259773.9339 | 2721775.1265 | 1259771.9773 | 2721771.223 | 1259759.7699
85 | 2721784.6116 | 1259784.4057 | 2721786.1772 | 1259781.6021 | 2721789.8232 | 1259773.7035 | 2721793.1746 | 1259765.4652 | 2721794.5718 | 1259761.7641
86 | 2721621.6774 | 1259822.7442 | 2721624.9979 | 1259825.159 | 2721633.3279 | 1259827.777 | 2721647.4416 | 1259831.3103
87 | 2721621.6774 | 1259822.7442 | 2721619.494 | 1259821.1312
88 | 2721621.6774 | 1259822.7442 | 2721615.8371 | 1259833.2588
89 | 2721619.494 | 1259821.1312 | 2721625.4079 | 1259811.8223 | 2721628.5946 | 1259805.9618
90 | 2721611.7008 | 1259841.4949 | 2721613.9028 | 1259836.7412 | 2721615.8371 | 1259833.2588
91 | 2721628.5946 | 1259805.9618 | 2721629.9528 | 1259803.4639 | 2721630.448 | 1259802.565
92 | 2721616.6919 | 1259765.291 | 2721620.4047 | 1259770.6276 | 2721624.8122 | 1259775.1777 | 2721629.2076 | 1259779.9501 | 2721633.7637 | 1259786.0713 | 2721634.3599 | 1259790.443 | 2721634.2424 | 1259794.3218 | 2721632.3337 | 1259799.1424 | 2721630.448 | 1259802.565
93 | 2721616.6919 | 1259765.291 | 2721607.8209 | 1259765.1419 | 2721607.8209 | 1259765.1419
94 | 2721605.1281 | 1259763.0568 | 2721607.8209 | 1259765.1419
95 | 2721588.5904 | 1259749.2327 | 2721599.4952 | 1259758.2758 | 2721604.1176 | 1259762.2744 | 2721605.1281 | 1259763.0568
96 | 2721574.5659 | 1259695.0077 | 2721580.8553 | 1259689.0762 | 2721581.5061 | 1259683.4624 | 2721585.3581 | 1259683.1301 | 2721587.2087 | 1259680.766
97 | 2721574.5659 | 1259695.0077 | 2721570.4294 | 1259689.2641
98 | 2721592.9264 | 1259701.5352 | 2721600.5282 | 1259701.4469
99 | 2721587.2087 | 1259680.766 | 2721587.2111 | 1259677.7189
100 | 2721570.4294 | 1259689.2641 | 2721554.1318 | 1259666.6347
101 | 2721553.8829 | 1259666.2892 | 2721554.1318 | 1259666.6347
102 | 2721552.8679 | 1259664.8799 | 2721553.8829 | 1259666.2892
103 | 2721552.8679 | 1259664.8799 | 2721538.3266 | 1259644.5197
104 | 2721552.8679 | 1259664.8799 | 2721560.0464 | 1259660.4456 | 2721564.1193 | 1259660.7407 | 2721571.6554 | 1259658.7159 | 2721574.3748 | 1259656.4184
105 | 2721535.9238 | 1259641.1553 | 2721538.3266 | 1259644.5197
106 | 2721593.4519 | 1259639.6914 | 2721591.525 | 1259640.9974 | 2721586.8636 | 1259646.9513 | 2721584.4407 | 1259650.3823 | 2721581.2506 | 1259652.9857 | 2721574.8167 | 1259656.0452 | 2721574.3748 | 1259656.4184
107 | 2721535.9238 | 1259641.1553 | 2721555.0627 | 1259627.2878
108 | 2721535.9238 | 1259641.1553 | 2721524.347 | 1259624.5611
109 | 2721593.4519 | 1259639.6914 | 2721598.369 | 1259636.3339 | 2721605.0632 | 1259630.1549 | 2721606.1467 | 1259629.4816
110 | 2721571.1464 | 1259615.6341 | 2721555.0627 | 1259627.2878
111 | 2721524.347 | 1259624.5611 | 2721524.2755 | 1259624.4585
112 | 2721571.1464 | 1259615.6341 | 2721567.8839 | 1259604.1569 | 2721565.7604 | 1259592.2917 | 2721565.0641 | 1259588.3851 | 2721564.9945 | 1259585.9037 | 2721565.4262 | 1259583.9775 | 2721569.2384 | 1259577.8838
113 | 2721571.1464 | 1259615.6341 | 2721575.1127 | 1259613.0466
114 | 2721524.2755 | 1259624.4585 | 2721523.4951 | 1259623.3399 | 2721516.5949 | 1259612.3997 | 2721512.5471 | 1259605.164
115 | 2721569.2384 | 1259577.8838 | 2721578.2061 | 1259565.2791 | 2721578.3409 | 1259563.1244 | 2721577.9956 | 1259560.4816 | 2721576.7901 | 1259555.3079
116 | 2721569.2384 | 1259577.8838 | 2721572.7523 | 1259578.601 | 2721589.1927 | 1259576.0658
117 | 2721575.1127 | 1259613.0466 | 2721587.44 | 1259606.6257
118 | 2721512.5471 | 1259605.164 | 2721512.4946 | 1259605.0701
119 | 2721601.5657 | 1259601.1554 | 2721598.2939 | 1259601.4905 | 2721593.5869 | 1259603.4288 | 2721590.3327 | 1259605.119 | 2721587.44 | 1259606.6257
120 | 2721611.3251 | 1259603.2042 | 2721604.3535 | 1259600.87 | 2721601.5657 | 1259601.1554
121 | 2721611.3251 | 1259603.2042 | 2721613.5598 | 1259601.5931 | 2721618.3697 | 1259595.6038
122 | 2721562.4395 | 1259548.1197 | 2721573.116 | 1259555.4103 | 2721576.7901 | 1259555.3079
123 | 2721589.1927 | 1259576.0658 | 2721598.1121 | 1259574.6904
124 | 2721556.4086 | 1259544.0014 | 2721562.4395 | 1259548.1197
125 | 2721613.1581 | 1259572.3702 | 2721598.1121 | 1259574.6904
126 | 2721505.7002 | 1259590.9239 | 2721509.7223 | 1259600.1144 | 2721512.4946 | 1259605.0701
127 | 2721505.7002 | 1259590.9239 | 2721504.2563 | 1259587.6245 | 2721503.261 | 1259585.1188
128 | 2721503.261 | 1259585.1188 | 2721503.1251 | 1259584.7767
129 | 2721503.1251 | 1259584.7767 | 2721498.4351 | 1259572.9698 | 2721495.7237 | 1259563.7757
130 | 2721495.7237 | 1259563.7757 | 2721495.634 | 1259563.4716
131 | 2721489.7089 | 1259537.9453 | 2721492.0356 | 1259549.3954 | 2721494.9671 | 1259561.2104 | 2721495.634 | 1259563.4716
132 | 2721556.4086 | 1259544.0014 | 2721562.5232 | 1259535.8036
133 | 2721562.5232 | 1259535.8036 | 2721571.4816 | 1259523.7932 | 2721581.312 | 1259522.0381 | 2721581.0815 | 1259520.0427
134 | 2721530.1134 | 1259542.7158 | 2721527.7379 | 1259530.6341
135 | 2721527.7379 | 1259530.6341 | 2721526.4893 | 1259525.3483 | 2721525.9546 | 1259521.5677
136 | 2721525.9546 | 1259521.5677 | 2721525.0805 | 1259515.3883 | 2721524.6898 | 1259506.5169 | 2721524.6663 | 1259502.891 | 2721525.1931 | 1259498.9369
137 | 2721593.5217 | 1259517.8741 | 2721590.053 | 1259517.8918 | 2721588.5315 | 1259518.917 | 2721581.0815 | 1259520.0427
138 | 2721523.6868 | 1259472.4107 | 2721525.1214 | 1259483.3164 | 2721525.7805 | 1259491.9709 | 2721525.4598 | 1259496.9354 | 2721525.1931 | 1259498.9369
139 | 2721593.5217 | 1259517.8741 | 2721592.9705 | 1259522.3112 | 2721612.3626 | 1259524.5338
140 | 2721593.5217 | 1259517.8741 | 2721597.1509 | 1259488.7897
141 | 2721612.3626 | 1259524.5338 | 2721611.7646 | 1259529.7817
142 | 2721612.3626 | 1259524.5338 | 2721612.4437 | 1259522.0555
143 | 2721597.1509 | 1259488.7897 | 2721597.5291 | 1259485.7948
144 | 2721585.9167 | 1259481.0743 | 2721597.5291 | 1259485.7948
145 | 2721585.9167 | 1259481.0743 | 2721568.8394 | 1259477.3758
146 | 2721527.8083 | 1259472.551 | 2721523.6868 | 1259472.4107
147 | 2721527.8083 | 1259472.551 | 2721546.4897 | 1259473.9756
148 | 2721568.8394 | 1259477.3758 | 2721568.8394 | 1259477.3758 | 2721548.9698 | 1259474.1648 | 2721546.4897 | 1259473.9756
149 | 2721489.6959 | 1259537.8817 | 2721489.2693 | 1259535.7821 | 2721487.4493 | 1259521.977 | 2721486.7091 | 1259513.9457
150 | 2721489.7089 | 1259537.9453 | 2721489.6959 | 1259537.8817

## bus_geodata
| x | y | coords
0 | 2721541.7582 | 1260252.8895
1 | 2721546.1137 | 1260240.9391
2 | 2721536.4773 | 1260267.3786
3 | 2721769.2461 | 1259969.8859
4 | 2721535.6544 | 1260269.6363
5 | 2721761.499 | 1259949.6985
6 | 2721505.709 | 1260320.7021
7 | 2721446.1119 | 1260272.5479
8 | 2721404.9143 | 1259881.1328
9 | 2721602.207 | 1259808.1084
10 | 2721740.0559 | 1259593.7558
11 | 2721738.6471 | 1259593.0575
12 | 2721767.6059 | 1259607.4105
13 | 2721711.8872 | 1259579.5618
14 | 2721766.4371 | 1259592.0395
15 | 2721705.0451 | 1259667.4196
16 | 2721680.9153 | 1259654.6961
17 | 2721706.9302 | 1259668.4136
18 | 2721720.7275 | 1259627.7307
19 | 2721707.6144 | 1259620.9946
20 | 2721731.0487 | 1259633.3162
21 | 2721717.3065 | 1259568.4125
22 | 2721699.5504 | 1259573.0635
23 | 2721811.3845 | 1259624.8491
24 | 2721729.2054 | 1259680.1592
25 | 2721722.126 | 1259676.4263
26 | 2721729.9185 | 1259680.5352
27 | 2721690.1924 | 1259612.0451
28 | 2721740.8083 | 1259638.5978
29 | 2721684.1459 | 1259564.9493
30 | 2721672.7128 | 1259558.9269
31 | 2721665.0847 | 1259574.5728
32 | 2721663.1132 | 1259578.5793
33 | 2721673.4694 | 1259592.8725
34 | 2721638.7914 | 1259631.3181
35 | 2721634.907 | 1259629.3453
36 | 2721750.7806 | 1259932.0132
37 | 2721746.8295 | 1259925.4938
38 | 2721736.0788 | 1259911.2983
39 | 2721710.2934 | 1259877.8371
40 | 2721694.991 | 1259849.5153
41 | 2721720.9272 | 1259860.2115
42 | 2721690.1367 | 1259835.1683
43 | 2721733.6926 | 1259852.3626
44 | 2721689.4108 | 1259832.9647
45 | 2721748.0022 | 1259839.1866
46 | 2721769.5932 | 1259701.4555
47 | 2721754.7712 | 1259693.6399
48 | 2721779.4812 | 1259710.2679
49 | 2721748.4057 | 1259690.2834
50 | 2721757.418 | 1259716.5973
51 | 2721763.0084 | 1259734.0801
52 | 2721765.0578 | 1259740.4894
53 | 2721716.2377 | 1259737.1478
54 | 2721696.8198 | 1259742.7072
55 | 2721653.1248 | 1259655.276
56 | 2721627.3132 | 1259637.1072
57 | 2721667.704 | 1259698.2414
58 | 2721614.1312 | 1259663.7376
59 | 2721663.0176 | 1259745.0142
60 | 2721691.2504 | 1259743.4537
61 | 2721666.2856 | 1259762.765
62 | 2721634.9608 | 1259730.8138
63 | 2721667.7679 | 1259767.2648
64 | 2721622.4994 | 1259732.5703
65 | 2721589.5508 | 1259710.9398
66 | 2721616.4161 | 1259747.4879
67 | 2721646.0293 | 1259716.8734
68 | 2721612.8281 | 1259677.1226
69 | 2721702.205 | 1259758.3994
70 | 2721674.6625 | 1259788.1945
71 | 2721586.9072 | 1259708.2619
72 | 2721615.6883 | 1259750.5207
73 | 2721708.553 | 1259776.897
74 | 2721709.2313 | 1259778.8737
75 | 2721683.9279 | 1259816.3209
76 | 2721711.1553 | 1259784.4801
77 | 2721717.0764 | 1259801.734
78 | 2721718.834 | 1259806.8553
79 | 2721757.1261 | 1259825.5652
80 | 2721770.083 | 1259805.2894
81 | 2721784.6116 | 1259784.4057
82 | 2721771.223 | 1259759.7699
83 | 2721794.5718 | 1259761.7641
84 | 2721647.4416 | 1259831.3103
85 | 2721621.6774 | 1259822.7442
86 | 2721619.494 | 1259821.1312
87 | 2721615.8371 | 1259833.2588
88 | 2721628.5946 | 1259805.9618
89 | 2721611.7008 | 1259841.4949
90 | 2721630.448 | 1259802.565
91 | 2721616.6919 | 1259765.291
92 | 2721607.8209 | 1259765.1419
93 | 2721605.1281 | 1259763.0568
94 | 2721588.5904 | 1259749.2327
95 | 2721574.5659 | 1259695.0077
96 | 2721592.9264 | 1259701.5352
97 | 2721587.2087 | 1259680.766
98 | 2721570.4294 | 1259689.2641
99 | 2721600.5282 | 1259701.4469
100 | 2721587.2111 | 1259677.7189
101 | 2721554.1318 | 1259666.6347
102 | 2721553.8829 | 1259666.2892
103 | 2721552.8679 | 1259664.8799
104 | 2721538.3266 | 1259644.5197
105 | 2721574.3748 | 1259656.4184
106 | 2721535.9238 | 1259641.1553
107 | 2721593.4519 | 1259639.6914
108 | 2721555.0627 | 1259627.2878
109 | 2721524.347 | 1259624.5611
110 | 2721606.1467 | 1259629.4816
111 | 2721571.1464 | 1259615.6341
112 | 2721524.2755 | 1259624.4585
113 | 2721569.2384 | 1259577.8838
114 | 2721575.1127 | 1259613.0466
115 | 2721512.5471 | 1259605.164
116 | 2721587.44 | 1259606.6257
117 | 2721611.3251 | 1259603.2042
118 | 2721601.5657 | 1259601.1554
119 | 2721618.3697 | 1259595.6038
120 | 2721576.7901 | 1259555.3079
121 | 2721589.1927 | 1259576.0658
122 | 2721562.4395 | 1259548.1197
123 | 2721598.1121 | 1259574.6904
124 | 2721505.7002 | 1259590.9239
125 | 2721512.4946 | 1259605.0701
126 | 2721503.261 | 1259585.1188
127 | 2721503.1251 | 1259584.7767
128 | 2721495.7237 | 1259563.7757
129 | 2721495.634 | 1259563.4716
130 | 2721556.4086 | 1259544.0014
131 | 2721562.5232 | 1259535.8036
132 | 2721527.7379 | 1259530.6341
133 | 2721530.1134 | 1259542.7158
134 | 2721525.9546 | 1259521.5677
135 | 2721581.0815 | 1259520.0427
136 | 2721525.1931 | 1259498.9369
137 | 2721593.5217 | 1259517.8741
138 | 2721613.1581 | 1259572.3702
139 | 2721612.3626 | 1259524.5338
140 | 2721597.1509 | 1259488.7897
141 | 2721611.7646 | 1259529.7817
142 | 2721612.4437 | 1259522.0555
143 | 2721597.5291 | 1259485.7948
144 | 2721585.9167 | 1259481.0743
145 | 2721523.6868 | 1259472.4107
146 | 2721527.8083 | 1259472.551
147 | 2721546.4897 | 1259473.9756
148 | 2721568.8394 | 1259477.3758
149 | 2721486.7091 | 1259513.9457
150 | 2721489.6959 | 1259537.8817
151 | 2721489.7089 | 1259537.9453
152 | 2721634.907 | 1259629.3453

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1