## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3427-51_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3427-51_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3427-51_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3427-51_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3427-51_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3427-51_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3427-51_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_3427-51_0_6_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_3427-51_0_6_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_3427-51_0_6_node_40 | 0.4 | n |  | TRUE
10 | bus_LV_3427-51_0_6_node_38 | 0.4 | n |  | TRUE
11 | bus_LV_3427-51_0_6_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_3427-51_0_6_node_41 | 0.4 | n |  | TRUE
13 | bus_LV_3427-51_0_6_node_39 | 0.4 | n |  | TRUE
14 | bus_LV_3427-51_0_6_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_3427-51_0_6_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_3427-51_0_6_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_3427-51_0_6_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_3427-51_0_6_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_3427-51_0_6_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_3427-51_0_6_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_3427-51_0_6_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_3427-51_0_6_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_3427-51_0_6_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_3427-51_0_6_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_3427-51_0_6_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_3427-51_0_6_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_3427-51_0_6_node_49 | 0.4 | n |  | TRUE
28 | bus_LV_3427-51_0_6_node_46 | 0.4 | n |  | TRUE
29 | bus_LV_3427-51_0_6_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_3427-51_0_6_node_52 | 0.4 | n |  | TRUE
31 | bus_LV_3427-51_0_6_node_48 | 0.4 | n |  | TRUE
32 | bus_LV_3427-51_0_6_node_44 | 0.4 | n |  | TRUE
33 | bus_LV_3427-51_0_6_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_3427-51_0_6_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_3427-51_0_6_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_3427-51_0_6_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_3427-51_0_6_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_3427-51_0_6_node_91 | 0.4 | n |  | TRUE
39 | bus_LV_3427-51_0_6_node_88 | 0.4 | n |  | TRUE
40 | bus_LV_3427-51_0_6_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_3427-51_0_6_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_3427-51_0_6_node_80 | 0.4 | n |  | TRUE
43 | bus_LV_3427-51_0_6_node_92 | 0.4 | n |  | TRUE
44 | bus_LV_3427-51_0_6_node_63 | 0.4 | n |  | TRUE
45 | bus_LV_3427-51_0_6_node_93 | 0.4 | n |  | TRUE
46 | bus_LV_3427-51_0_6_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_3427-51_0_6_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_3427-51_0_6_node_65 | 0.4 | n |  | TRUE
49 | bus_LV_3427-51_0_6_node_68 | 0.4 | n |  | TRUE
50 | bus_LV_3427-51_0_6_node_89 | 0.4 | n |  | TRUE
51 | bus_LV_3427-51_0_6_node_31 | 0.4 | n |  | TRUE
52 | bus_LV_3427-51_0_6_node_69 | 0.4 | n |  | TRUE
53 | bus_LV_3427-51_0_6_node_70 | 0.4 | n |  | TRUE
54 | bus_LV_3427-51_0_6_node_144 | 0.4 | n |  | TRUE
55 | bus_LV_3427-51_0_6_node_75 | 0.4 | n |  | TRUE
56 | bus_LV_3427-51_0_6_node_134 | 0.4 | n |  | TRUE
57 | bus_LV_3427-51_0_6_node_62 | 0.4 | n |  | TRUE
58 | bus_LV_3427-51_0_6_node_71 | 0.4 | n |  | TRUE
59 | bus_LV_3427-51_0_6_node_81 | 0.4 | n |  | TRUE
60 | bus_LV_3427-51_0_6_node_79 | 0.4 | n |  | TRUE
61 | bus_LV_3427-51_0_6_node_90 | 0.4 | n |  | TRUE
62 | bus_LV_3427-51_0_6_node_64 | 0.4 | n |  | TRUE
63 | bus_LV_3427-51_0_6_node_35 | 0.4 | n |  | TRUE
64 | bus_LV_3427-51_0_6_node_37 | 0.4 | n |  | TRUE
65 | bus_LV_3427-51_0_6_node_148 | 0.4 | n |  | TRUE
66 | bus_LV_3427-51_0_6_node_149 | 0.4 | n |  | TRUE
67 | bus_LV_3427-51_0_6_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_3427-51_0_6_node_67 | 0.4 | n |  | TRUE
69 | bus_LV_3427-51_0_6_node_99 | 0.4 | n |  | TRUE
70 | bus_LV_3427-51_0_6_node_96 | 0.4 | n |  | TRUE
71 | bus_LV_3427-51_0_6_node_150 | 0.4 | n |  | TRUE
72 | bus_LV_3427-51_0_6_node_151 | 0.4 | n |  | TRUE
73 | bus_LV_3427-51_0_6_node_147 | 0.4 | n |  | TRUE
74 | bus_LV_3427-51_0_6_node_42 | 0.4 | n |  | TRUE
75 | bus_LV_3427-51_0_6_node_43 | 0.4 | n |  | TRUE
76 | bus_LV_3427-51_0_6_node_45 | 0.4 | n |  | TRUE
77 | bus_LV_3427-51_0_6_node_47 | 0.4 | n |  | TRUE
78 | bus_LV_3427-51_0_6_node_54 | 0.4 | n |  | TRUE
79 | bus_LV_3427-51_0_6_node_51 | 0.4 | n |  | TRUE
80 | bus_LV_3427-51_0_6_node_53 | 0.4 | n |  | TRUE
81 | bus_LV_3427-51_0_6_node_55 | 0.4 | n |  | TRUE
82 | bus_LV_3427-51_0_6_node_56 | 0.4 | n |  | TRUE
83 | bus_LV_3427-51_0_6_node_58 | 0.4 | n |  | TRUE
84 | bus_LV_3427-51_0_6_node_59 | 0.4 | n |  | TRUE
85 | bus_LV_3427-51_0_6_node_60 | 0.4 | n |  | TRUE
86 | bus_LV_3427-51_0_6_node_61 | 0.4 | n |  | TRUE
87 | bus_LV_3427-51_0_6_node_119 | 0.4 | n |  | TRUE
88 | bus_LV_3427-51_0_6_node_117 | 0.4 | n |  | TRUE
89 | bus_LV_3427-51_0_6_node_66 | 0.4 | n |  | TRUE
90 | bus_LV_3427-51_0_6_node_72 | 0.4 | n |  | TRUE
91 | bus_LV_3427-51_0_6_node_73 | 0.4 | n |  | TRUE
92 | bus_LV_3427-51_0_6_node_74 | 0.4 | n |  | TRUE
93 | bus_LV_3427-51_0_6_node_76 | 0.4 | n |  | TRUE
94 | bus_LV_3427-51_0_6_node_78 | 0.4 | n |  | TRUE
95 | bus_LV_3427-51_0_6_node_77 | 0.4 | n |  | TRUE
96 | bus_LV_3427-51_0_6_node_123 | 0.4 | n |  | TRUE
97 | bus_LV_3427-51_0_6_node_104 | 0.4 | n |  | TRUE
98 | bus_LV_3427-51_0_6_node_126 | 0.4 | n |  | TRUE
99 | bus_LV_3427-51_0_6_node_135 | 0.4 | n |  | TRUE
100 | bus_LV_3427-51_0_6_node_125 | 0.4 | n |  | TRUE
101 | bus_LV_3427-51_0_6_node_105 | 0.4 | n |  | TRUE
102 | bus_LV_3427-51_0_6_node_100 | 0.4 | n |  | TRUE
103 | bus_LV_3427-51_0_6_node_127 | 0.4 | n |  | TRUE
104 | bus_LV_3427-51_0_6_node_103 | 0.4 | n |  | TRUE
105 | bus_LV_3427-51_0_6_node_82 | 0.4 | n |  | TRUE
106 | bus_LV_3427-51_0_6_node_83 | 0.4 | n |  | TRUE
107 | bus_LV_3427-51_0_6_node_84 | 0.4 | n |  | TRUE
108 | bus_LV_3427-51_0_6_node_85 | 0.4 | n |  | TRUE
109 | bus_LV_3427-51_0_6_node_87 | 0.4 | n |  | TRUE
110 | bus_LV_3427-51_0_6_node_97 | 0.4 | n |  | TRUE
111 | bus_LV_3427-51_0_6_node_94 | 0.4 | n |  | TRUE
112 | bus_LV_3427-51_0_6_node_95 | 0.4 | n |  | TRUE
113 | bus_LV_3427-51_0_6_node_98 | 0.4 | n |  | TRUE
114 | bus_LV_3427-51_0_6_node_101 | 0.4 | n |  | TRUE
115 | bus_LV_3427-51_0_6_node_102 | 0.4 | n |  | TRUE
116 | bus_LV_3427-51_0_6_node_120 | 0.4 | n |  | TRUE
117 | bus_LV_3427-51_0_6_node_121 | 0.4 | n |  | TRUE
118 | bus_LV_3427-51_0_6_node_122 | 0.4 | n |  | TRUE
119 | bus_LV_3427-51_0_6_node_106 | 0.4 | n |  | TRUE
120 | bus_LV_3427-51_0_6_node_107 | 0.4 | n |  | TRUE
121 | bus_LV_3427-51_0_6_node_108 | 0.4 | n |  | TRUE
122 | bus_LV_3427-51_0_6_node_109 | 0.4 | n |  | TRUE
123 | bus_LV_3427-51_0_6_node_110 | 0.4 | n |  | TRUE
124 | bus_LV_3427-51_0_6_node_112 | 0.4 | n |  | TRUE
125 | bus_LV_3427-51_0_6_node_111 | 0.4 | n |  | TRUE
126 | bus_LV_3427-51_0_6_node_113 | 0.4 | n |  | TRUE
127 | bus_LV_3427-51_0_6_node_114 | 0.4 | n |  | TRUE
128 | bus_LV_3427-51_0_6_node_115 | 0.4 | n |  | TRUE
129 | bus_LV_3427-51_0_6_node_118 | 0.4 | n |  | TRUE
130 | bus_LV_3427-51_0_6_node_129 | 0.4 | n |  | TRUE
131 | bus_LV_3427-51_0_6_node_130 | 0.4 | n |  | TRUE
132 | bus_LV_3427-51_0_6_node_131 | 0.4 | n |  | TRUE
133 | bus_LV_3427-51_0_6_node_124 | 0.4 | n |  | TRUE
134 | bus_LV_3427-51_0_6_node_128 | 0.4 | n |  | TRUE
135 | bus_LV_3427-51_0_6_node_132 | 0.4 | n |  | TRUE
136 | bus_LV_3427-51_0_6_node_133 | 0.4 | n |  | TRUE
137 | bus_LV_3427-51_0_6_node_138 | 0.4 | n |  | TRUE
138 | bus_LV_3427-51_0_6_node_137 | 0.4 | n |  | TRUE
139 | bus_LV_3427-51_0_6_node_142 | 0.4 | n |  | TRUE
140 | bus_LV_3427-51_0_6_node_139 | 0.4 | n |  | TRUE
141 | bus_LV_3427-51_0_6_node_136 | 0.4 | n |  | TRUE
142 | bus_LV_3427-51_0_6_node_143 | 0.4 | n |  | TRUE
143 | bus_LV_3427-51_0_6_node_141 | 0.4 | n |  | TRUE
144 | bus_LV_3427-51_0_6_node_146 | 0.4 | n |  | TRUE
145 | bus_LV_3427-51_0_6_node_152 | 0.4 | n |  | TRUE
146 | bus_MV_410_0_node_141 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3427-51_0_6_load_0 | 0 | 0.0021175 | 0.00053071 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3427-51_0_6_load_1 | 1 | 0.0020432 | 0.00051208 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3427-51_0_6_load_4 | 4 | 0.0058509 | 0.0014664 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3427-51_0_6_load_5 | 5 | 0.0058063 | 0.0014552 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3427-51_0_6_load_7 | 7 | 0.0012471 | 0.00031256 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3427-51_0_6_load_8 | 8 | 0.0024192 | 0.00060631 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3427-51_0_6_load_40 | 9 | 0.0025787 | 0.00064627 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3427-51_0_6_load_38 | 10 | 0.0024304 | 0.00060913 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3427-51_0_6_load_9 | 11 | 0.0029557 | 0.00074076 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3427-51_0_6_load_41 | 12 | 0.0021461 | 0.00053786 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3427-51_0_6_load_39 | 13 | 0.0025483 | 0.00063866 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3427-51_0_6_load_10 | 14 | 0.0018984 | 0.00047579 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3427-51_0_6_load_11 | 15 | 0.0018958 | 0.00047514 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3427-51_0_6_load_12 | 16 | 0.0018982 | 0.00047574 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3427-51_0_6_load_14 | 17 | 0.0029905 | 0.00074949 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3427-51_0_6_load_13 | 18 | 0.0028175 | 0.00070614 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3427-51_0_6_load_15 | 19 | 0.0027756 | 0.00069563 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3427-51_0_6_load_16 | 20 | 0.0028039 | 0.00070272 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3427-51_0_6_load_19 | 23 | 0.0029415 | 0.0007372 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3427-51_0_6_load_20 | 24 | 0.011089 | 0.0027791 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3427-51_0_6_load_21 | 25 | 0.0084174 | 0.0021096 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3427-51_0_6_load_22 | 26 | 0.00278 | 0.00069673 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3427-51_0_6_load_23 | 29 | 0.0027666 | 0.00069338 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3427-51_0_6_load_48 | 31 | 0.0064089 | 0.0016062 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3427-51_0_6_load_44 | 32 | 0.0018982 | 0.00047574 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3427-51_0_6_load_29 | 36 | 0.0061038 | 0.0015297 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3427-51_0_6_load_91 | 38 | 0.0060969 | 0.001528 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3427-51_0_6_load_88 | 39 | 0.0051206 | 0.0012834 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3427-51_0_6_load_30 | 40 | 0.0079076 | 0.0019818 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3427-51_0_6_load_92 | 43 | 0.013985 | 0.003505 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3427-51_0_6_load_63 | 44 | 0.010806 | 0.0027083 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3427-51_0_6_load_93 | 45 | 0.0044084 | 0.0011048 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3427-51_0_6_load_65 | 48 | 0.0098191 | 0.0024609 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3427-51_0_6_load_68 | 49 | 0.0068622 | 0.0017198 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3427-51_0_6_load_89 | 50 | 0.011677 | 0.0029265 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3427-51_0_6_load_31 | 51 | 0.010452 | 0.0026195 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3427-51_0_6_load_144 | 54 | 0.0034526 | 0.00086531 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3427-51_0_6_load_134 | 56 | 0.0018538 | 0.0004646 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3427-51_0_6_load_62 | 57 | 0.0010094 | 0.00025297 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3427-51_0_6_load_71 | 58 | 0.010407 | 0.0026082 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3427-51_0_6_load_81 | 59 | 0.00471 | 0.0011804 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3427-51_0_6_load_79 | 60 | 0.0083376 | 0.0020896 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3427-51_0_6_load_90 | 61 | 0.013985 | 0.003505 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3427-51_0_6_load_64 | 62 | 0.0094611 | 0.0023712 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3427-51_0_6_load_149 | 66 | 0.0080714 | 0.0020229 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3427-51_0_6_load_57 | 67 | 0.011466 | 0.0028737 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3427-51_0_6_load_67 | 68 | 0.0066956 | 0.0016781 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3427-51_0_6_load_99 | 69 | 0.0035272 | 0.00088399 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3427-51_0_6_load_151 | 72 | 0.016168 | 0.0040522 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3427-51_0_6_load_147 | 73 | 0.011111 | 0.0027847 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3427-51_0_6_load_42 | 74 | 0.0038143 | 0.00095595 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3427-51_0_6_load_43 | 75 | 0.0019066 | 0.00047784 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3427-51_0_6_load_45 | 76 | 0.0019065 | 0.00047781 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3427-51_0_6_load_47 | 77 | 0.0068045 | 0.0017054 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3427-51_0_6_load_54 | 78 | 0.0066134 | 0.0016575 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3427-51_0_6_load_53 | 80 | 0.0069544 | 0.0017429 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3427-51_0_6_load_55 | 81 | 0.0065319 | 0.001637 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3427-51_0_6_load_56 | 82 | 0.01155 | 0.0028948 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3427-51_0_6_load_59 | 84 | 0.011005 | 0.0027581 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3427-51_0_6_load_60 | 85 | 0.0024099 | 0.00060397 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3427-51_0_6_load_61 | 86 | 0.010898 | 0.0027314 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3427-51_0_6_load_119 | 87 | 0.0081254 | 0.0020364 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3427-51_0_6_load_117 | 88 | 0.010304 | 0.0025825 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3427-51_0_6_load_66 | 89 | 0.0073618 | 0.001845 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3427-51_0_6_load_73 | 91 | 0.0088344 | 0.0022141 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3427-51_0_6_load_76 | 93 | 0.015199 | 0.0038092 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3427-51_0_6_load_78 | 94 | 0.0097386 | 0.0024407 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3427-51_0_6_load_123 | 96 | 0.0062512 | 0.0015667 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3427-51_0_6_load_126 | 98 | 0.0051646 | 0.0012944 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3427-51_0_6_load_125 | 100 | 0.010579 | 0.0026512 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3427-51_0_6_load_105 | 101 | 0.0027422 | 0.00068725 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3427-51_0_6_load_127 | 103 | 0.0097364 | 0.0024402 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3427-51_0_6_load_103 | 104 | 0.0039633 | 0.00099329 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3427-51_0_6_load_82 | 105 | 0.0039479 | 0.00098943 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3427-51_0_6_load_83 | 106 | 0.0043569 | 0.0010919 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3427-51_0_6_load_84 | 107 | 0.0063592 | 0.0015938 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3427-51_0_6_load_85 | 108 | 0.0031399 | 0.00078694 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3427-51_0_6_load_87 | 109 | 0.0031513 | 0.0007898 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3427-51_0_6_load_97 | 110 | 0.0011541 | 0.00028925 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3427-51_0_6_load_94 | 111 | 0.004143 | 0.0010383 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3427-51_0_6_load_95 | 112 | 0.0015567 | 0.00039014 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3427-51_0_6_load_98 | 113 | 0.0011791 | 0.00029552 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3427-51_0_6_load_101 | 114 | 0.0045115 | 0.0011307 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3427-51_0_6_load_102 | 115 | 0.0040939 | 0.001026 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_3427-51_0_6_load_121 | 117 | 0.0058318 | 0.0014616 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_3427-51_0_6_load_122 | 118 | 0.008497 | 0.0021295 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_3427-51_0_6_load_106 | 119 | 0.00686 | 0.0017193 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_3427-51_0_6_load_107 | 120 | 0.0094819 | 0.0023764 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_3427-51_0_6_load_108 | 121 | 0.0013639 | 0.00034183 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_3427-51_0_6_load_110 | 123 | 0.0036392 | 0.00091208 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_3427-51_0_6_load_113 | 126 | 0.0009913 | 0.00024844 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_3427-51_0_6_load_114 | 127 | 0.0023652 | 0.00059278 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_3427-51_0_6_load_118 | 129 | 0.005918 | 0.0014832 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_3427-51_0_6_load_130 | 131 | 0.0035031 | 0.00087795 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_3427-51_0_6_load_131 | 132 | 0.0018687 | 0.00046834 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_3427-51_0_6_load_124 | 133 | 0.00622 | 0.0015589 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_3427-51_0_6_load_128 | 134 | 0.0050985 | 0.0012778 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_3427-51_0_6_load_132 | 135 | 0.0029583 | 0.00074143 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_3427-51_0_6_load_138 | 137 | 0.0025897 | 0.00064903 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_3427-51_0_6_load_137 | 138 | 0.002187 | 0.0005481 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_3427-51_0_6_load_142 | 139 | 0.0016071 | 0.00040278 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_3427-51_0_6_load_139 | 140 | 0.004017 | 0.0010067 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_3427-51_0_6_load_136 | 141 | 0.002466 | 0.00061804 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_3427-51_0_6_load_143 | 142 | 0.0018325 | 0.00045927 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_3427-51_0_6_load_146 | 144 | 0.0026 | 0.00065162 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_3427-51_0_6_load_152 | 145 | 0.010883 | 0.0027275 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3427-51_0_6_line_0 |  | 0 | 1 | 0.0069547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3427-51_0_6_line_1 |  | 0 | 2 | 0.021076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3427-51_0_6_line_2 |  | 1 | 3 | 0.012845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3427-51_0_6_line_3 |  | 2 | 4 | 0.015894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3427-51_0_6_line_4 |  | 2 | 5 | 0.010105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3427-51_0_6_line_5 |  | 3 | 6 | 0.004112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3427-51_0_6_line_6 |  | 4 | 7 | 0.027126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3427-51_0_6_line_7 |  | 5 | 8 | 0.0069976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3427-51_0_6_line_8 |  | 6 | 9 | 0.013043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3427-51_0_6_line_9 |  | 6 | 10 | 0.016175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3427-51_0_6_line_10 |  | 8 | 11 | 0.022379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3427-51_0_6_line_11 |  | 9 | 12 | 2.5624e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3427-51_0_6_line_12 |  | 10 | 13 | 0.0066759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3427-51_0_6_line_13 |  | 11 | 14 | 0.008468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3427-51_0_6_line_14 |  | 12 | 73 | 0.029716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3427-51_0_6_line_15 |  | 13 | 63 | 0.035973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3427-51_0_6_line_16 |  | 14 | 15 | 0.0070794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3427-51_0_6_line_17 |  | 15 | 16 | 0.0063633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3427-51_0_6_line_18 |  | 16 | 17 | 0.0073384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3427-51_0_6_line_19 |  | 17 | 18 | 0.00031741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3427-51_0_6_line_20 |  | 18 | 19 | 0.030471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3427-51_0_6_line_21 |  | 19 | 20 | 0.0015502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3427-51_0_6_line_22 |  | 20 | 21 | 0.0078381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3427-51_0_6_line_23 |  | 21 | 22 | 0.039096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_3427-51_0_6_line_24 |  | 21 | 23 | 0.024582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_3427-51_0_6_line_25 |  | 22 | 24 | 0.028886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_3427-51_0_6_line_26 |  | 22 | 25 | 0.033496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3427-51_0_6_line_27 |  | 23 | 26 | 0.00064699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_3427-51_0_6_line_28 |  | 24 | 27 | 0.011794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_3427-51_0_6_line_29 |  | 25 | 28 | 0.0055665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3427-51_0_6_line_30 |  | 26 | 29 | 0.0043323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_3427-51_0_6_line_31 |  | 27 | 30 | 0.014868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_3427-51_0_6_line_32 |  | 28 | 31 | 0.027189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3427-51_0_6_line_33 |  | 28 | 32 | 0.0055068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3427-51_0_6_line_34 |  | 29 | 33 | 0.0082501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_3427-51_0_6_line_35 |  | 30 | 67 | 0.019514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_3427-51_0_6_line_36 |  | 32 | 74 | 0.018628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3427-51_0_6_line_37 |  | 33 | 34 | 0.014928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_3427-51_0_6_line_38 |  | 33 | 35 | 0.040689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_3427-51_0_6_line_39 |  | 34 | 36 | 0.0066235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_3427-51_0_6_line_40 |  | 35 | 40 | 0.028487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3427-51_0_6_line_41 |  | 35 | 37 | 0.010733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_3427-51_0_6_line_42 |  | 36 | 44 | 0.0094645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_3427-51_0_6_line_43 |  | 37 | 38 | 0.018249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3427-51_0_6_line_44 |  | 37 | 39 | 0.011688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_3427-51_0_6_line_45 |  | 38 | 45 | 0.0015204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3427-51_0_6_line_46 |  | 39 | 50 | 0.030318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_3427-51_0_6_line_47 |  | 40 | 51 | 0.063058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3427-51_0_6_line_48 |  | 41 | 42 | 0.044309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_3427-51_0_6_line_49 |  | 41 | 43 | 0.026978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_3427-51_0_6_line_50 |  | 42 | 59 | 0.028328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3427-51_0_6_line_51 |  | 42 | 60 | 0.011851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3427-51_0_6_line_52 |  | 43 | 61 | 0.024117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_3427-51_0_6_line_53 |  | 44 | 62 | 0.024927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_3427-51_0_6_line_54 |  | 45 | 111 | 0.023876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3427-51_0_6_line_55 |  | 46 | 47 | 0.01784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3427-51_0_6_line_56 |  | 46 | 48 | 0.0089915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_3427-51_0_6_line_57 |  | 47 | 49 | 0.0097583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3427-51_0_6_line_58 |  | 48 | 62 | 0.027528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_3427-51_0_6_line_59 |  | 49 | 68 | 0.03517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3427-51_0_6_line_60 |  | 50 | 61 | 0.019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_3427-51_0_6_line_61 |  | 52 | 53 | 0.034646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3427-51_0_6_line_62 |  | 52 | 54 | 0.033373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3427-51_0_6_line_63 |  | 53 | 58 | 0.011769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3427-51_0_6_line_64 |  | 55 | 56 | 0.008919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3427-51_0_6_line_65 |  | 55 | 57 | 0.014988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3427-51_0_6_line_66 |  | 56 | 99 | 0.04522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3427-51_0_6_line_67 |  | 57 | 85 | 0.034495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3427-51_0_6_line_68 |  | 58 | 90 | 0.012226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3427-51_0_6_line_69 |  | 59 | 102 | 0.017911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3427-51_0_6_line_70 |  | 60 | 93 | 0.0077461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3427-51_0_6_line_71 |  | 63 | 64 | 0.062172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3427-51_0_6_line_72 |  | 64 | 65 | 0.013285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3427-51_0_6_line_73 |  | 64 | 66 | 0.012639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3427-51_0_6_line_74 |  | 65 | 71 | 0.009734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3427-51_0_6_line_75 |  | 65 | 72 | 0.019731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3427-51_0_6_line_76 |  | 67 | 82 | 0.042889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
77 | LV_3427-51_0_6_line_77 |  | 68 | 89 | 0.026215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3427-51_0_6_line_78 |  | 69 | 70 | 0.021306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3427-51_0_6_line_79 |  | 70 | 113 | 0.011101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3427-51_0_6_line_80 |  | 70 | 112 | 0.027908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3427-51_0_6_line_81 |  | 71 | 145 | 0.008623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3427-51_0_6_line_82 |  | 74 | 75 | 0.012779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3427-51_0_6_line_83 |  | 75 | 76 | 0.00064481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3427-51_0_6_line_84 |  | 76 | 77 | 0.018553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3427-51_0_6_line_85 |  | 77 | 78 | 0.030667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3427-51_0_6_line_86 |  | 78 | 79 | 0.015063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3427-51_0_6_line_87 |  | 79 | 80 | 0.013878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3427-51_0_6_line_88 |  | 80 | 81 | 0.031405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3427-51_0_6_line_89 |  | 82 | 83 | 0.057742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
90 | LV_3427-51_0_6_line_90 |  | 83 | 84 | 0.0040603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3427-51_0_6_line_91 |  | 83 | 85 | 0.026078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3427-51_0_6_line_92 |  | 84 | 86 | 0.045918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3427-51_0_6_line_93 |  | 86 | 87 | 0.032396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3427-51_0_6_line_94 |  | 87 | 88 | 0.029637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3427-51_0_6_line_95 |  | 88 | 128 | 0.01526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_3427-51_0_6_line_96 |  | 90 | 91 | 0.024615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_3427-51_0_6_line_97 |  | 90 | 92 | 0.030146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_3427-51_0_6_line_98 |  | 91 | 93 | 0.022148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_3427-51_0_6_line_99 |  | 92 | 94 | 0.017012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_3427-51_0_6_line_100 |  | 94 | 98 | 0.014674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_3427-51_0_6_line_101 |  | 95 | 96 | 0.018261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_3427-51_0_6_line_102 |  | 95 | 97 | 0.027505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_3427-51_0_6_line_103 |  | 96 | 100 | 0.025067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_3427-51_0_6_line_104 |  | 97 | 101 | 0.013106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_3427-51_0_6_line_105 |  | 97 | 102 | 0.011216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_3427-51_0_6_line_106 |  | 98 | 103 | 0.022358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_3427-51_0_6_line_107 |  | 99 | 139 | 0.0032514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_3427-51_0_6_line_108 |  | 99 | 135 | 0.036603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_3427-51_0_6_line_109 |  | 101 | 116 | 0.02967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_3427-51_0_6_line_110 |  | 102 | 104 | 0.011866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_3427-51_0_6_line_111 |  | 103 | 134 | 0.0053975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_3427-51_0_6_line_112 |  | 104 | 110 | 0.018453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_3427-51_0_6_line_113 |  | 105 | 106 | 0.033124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_3427-51_0_6_line_114 |  | 105 | 107 | 0.0048797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_3427-51_0_6_line_115 |  | 106 | 108 | 0.030998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_3427-51_0_6_line_116 |  | 108 | 109 | 0.0095458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_3427-51_0_6_line_117 |  | 109 | 110 | 0.0088693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_3427-51_0_6_line_118 |  | 111 | 112 | 0.018898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_3427-51_0_6_line_119 |  | 113 | 114 | 0.010309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_3427-51_0_6_line_120 |  | 114 | 115 | 0.0074722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_3427-51_0_6_line_121 |  | 116 | 117 | 0.028085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_3427-51_0_6_line_122 |  | 116 | 118 | 0.018746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_3427-51_0_6_line_123 |  | 118 | 133 | 0.052049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_3427-51_0_6_line_124 |  | 119 | 120 | 0.011278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_3427-51_0_6_line_125 |  | 119 | 121 | 0.024962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_3427-51_0_6_line_126 |  | 120 | 122 | 0.02577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_3427-51_0_6_line_127 |  | 121 | 123 | 0.012722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_3427-51_0_6_line_128 |  | 122 | 124 | 0.04271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_3427-51_0_6_line_129 |  | 123 | 125 | 0.017397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_3427-51_0_6_line_130 |  | 124 | 127 | 0.060879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_3427-51_0_6_line_131 |  | 125 | 126 | 0.0090654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_3427-51_0_6_line_132 |  | 127 | 128 | 0.082024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_3427-51_0_6_line_133 |  | 129 | 130 | 0.053169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_3427-51_0_6_line_134 |  | 130 | 131 | 0.043906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_3427-51_0_6_line_135 |  | 130 | 132 | 0.015463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_3427-51_0_6_line_136 |  | 131 | 135 | 0.037121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_3427-51_0_6_line_137 |  | 132 | 136 | 0.029412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_3427-51_0_6_line_138 |  | 136 | 137 | 0.03859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_3427-51_0_6_line_139 |  | 136 | 138 | 0.041028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_3427-51_0_6_line_140 |  | 137 | 140 | 0.012017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_3427-51_0_6_line_141 |  | 138 | 141 | 0.016581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_3427-51_0_6_line_142 |  | 139 | 142 | 0.0096334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_3427-51_0_6_line_143 |  | 142 | 143 | 0.040722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_3427-51_0_6_line_144 |  | 143 | 144 | 0.063161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3427-51_0_6_trafo_33 | 0.63 MVA 20/0.4 kV | 146 | 46 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2721503.9051 | 1259473.0083 | 2721508.3822 | 1259472.7078 | 2721510.8471 | 1259472.5935
1 | 2721482.8769 | 1259474.4301 | 2721494.5575 | 1259473.6359 | 2721503.9051 | 1259473.0083
2 | 2721523.6868 | 1259472.4107 | 2721515.8614 | 1259472.361 | 2721510.8471 | 1259472.5935
3 | 2721482.8769 | 1259474.4301 | 2721484.014 | 1259484.7737 | 2721484.5194 | 1259490.2381
4 | 2721482.8769 | 1259474.4301 | 2721481.9603 | 1259464.3665
5 | 2721527.8083 | 1259472.551 | 2721523.6868 | 1259472.4107
6 | 2721487.0136 | 1259517.2496 | 2721485.8648 | 1259504.7849 | 2721484.5194 | 1259490.2381
7 | 2721481.3255 | 1259457.3977 | 2721481.9603 | 1259464.3665
8 | 2721527.8083 | 1259472.551 | 2721528.9455 | 1259465.279 | 2721529.1088 | 1259459.599
9 | 2721527.8083 | 1259472.551 | 2721543.9361 | 1259473.7809
10 | 2721479.3843 | 1259435.1041 | 2721479.6224 | 1259438.6985 | 2721481.3255 | 1259457.3977
11 | 2721529.1096 | 1259459.5734 | 2721529.1088 | 1259459.599
12 | 2721550.5766 | 1259474.4244 | 2721548.9698 | 1259474.1648 | 2721543.9361 | 1259473.7809
13 | 2721479.3843 | 1259435.1041 | 2721478.8246 | 1259426.6547
14 | 2721528.0961 | 1259429.9304 | 2721529.5266 | 1259445.0731 | 2721529.1096 | 1259459.5734
15 | 2721585.9167 | 1259481.0743 | 2721568.8394 | 1259477.3758 | 2721550.5766 | 1259474.4244
16 | 2721478.8246 | 1259426.6547 | 2721478.3567 | 1259419.5908
17 | 2721478.3567 | 1259419.5908 | 2721477.9362 | 1259413.2414
18 | 2721478.176 | 1259405.9069 | 2721477.9362 | 1259413.2414 | 2721477.9362 | 1259413.2414
19 | 2721478.176 | 1259405.9069 | 2721478.1863 | 1259405.5896
20 | 2721482.2362 | 1259375.4372 | 2721481.8032 | 1259377.3224 | 2721479.66 | 1259389.1555 | 2721478.342 | 1259400.8277 | 2721478.1863 | 1259405.5896
21 | 2721482.2362 | 1259375.4372 | 2721482.5831 | 1259373.9263
22 | 2721484.3372 | 1259366.2869 | 2721482.5831 | 1259373.9263
23 | 2721484.3372 | 1259366.2869 | 2721450.1441 | 1259347.146
24 | 2721484.3372 | 1259366.2869 | 2721487.6019 | 1259356.0227 | 2721491.3324 | 1259345.8347 | 2721492.5985 | 1259343.157
25 | 2721450.1441 | 1259347.146 | 2721447.9079 | 1259345.8879 | 2721433.0305 | 1259340.0553 | 2721423.2827 | 1259336.6065
26 | 2721450.1441 | 1259347.146 | 2721443.7901 | 1259356.9465 | 2721443.9989 | 1259362.9338 | 2721443.7513 | 1259366.91 | 2721441.3679 | 1259369.519 | 2721439.5351 | 1259377.6219
27 | 2721492.8751 | 1259342.5721 | 2721492.5985 | 1259343.157
28 | 2721412.1038 | 1259332.8529 | 2721418.0141 | 1259334.7425 | 2721423.2827 | 1259336.6065
29 | 2721436.8413 | 1259382.4931 | 2721439.5351 | 1259377.6219
30 | 2721492.8751 | 1259342.5721 | 2721494.7269 | 1259338.6556
31 | 2721397.768 | 1259328.9109 | 2721402.4092 | 1259330.185 | 2721412.1038 | 1259332.8529
32 | 2721436.8413 | 1259382.4931 | 2721434.2769 | 1259382.1624 | 2721428.87 | 1259385.8658 | 2721416.352 | 1259372.8622
33 | 2721436.8413 | 1259382.4931 | 2721434.1712 | 1259387.3092 | 2721434.1712 | 1259387.3092
34 | 2721498.2534 | 1259331.1972 | 2721494.7269 | 1259338.6556
35 | 2721397.768 | 1259328.9109 | 2721384.5027 | 1259325.7137 | 2721378.7226 | 1259324.6987
36 | 2721434.1712 | 1259387.3092 | 2721419.122 | 1259398.2879 | 2721419.122 | 1259398.2879
37 | 2721498.2534 | 1259331.1972 | 2721490.5541 | 1259318.3946
38 | 2721498.2534 | 1259331.1972 | 2721504.426 | 1259319.2245 | 2721515.3281 | 1259300.1871 | 2721519.7242 | 1259303.1133
39 | 2721490.5541 | 1259318.3946 | 2721484.1529 | 1259316.6927
40 | 2721519.7242 | 1259303.1133 | 2721523.1115 | 1259301.5593 | 2721525.6175 | 1259301.0659 | 2721528.1663 | 1259301.0515 | 2721530.675 | 1259301.5257 | 2721545.7407 | 1259309.6232
41 | 2721517.9001 | 1259295.3801 | 2721515.3281 | 1259300.1871 | 2721519.7242 | 1259303.1133
42 | 2721475.0061 | 1259314.261 | 2721484.1529 | 1259316.6927
43 | 2721517.9001 | 1259295.3801 | 2721529.9076 | 1259297.4063 | 2721534.1409 | 1259299.0836 | 2721535.48 | 1259299.7999
44 | 2721517.9001 | 1259295.3801 | 2721510.1323 | 1259286.6463 | 2721510.1323 | 1259286.6463
45 | 2721536.8207 | 1259300.517 | 2721535.48 | 1259299.7999
46 | 2721510.1323 | 1259286.6463 | 2721506.7703 | 1259284.0305 | 2721483.4289 | 1259272.445
47 | 2721600.6557 | 1259340.6053 | 2721583.4598 | 1259330.68 | 2721563.3325 | 1259319.0785 | 2721545.7407 | 1259309.6232
48 | 2721418.0889 | 1259247.7451 | 2721422.1231 | 1259231.5803 | 2721425.3581 | 1259228.266 | 2721428.3645 | 1259213.6815 | 2721427.8602 | 1259205.564
49 | 2721418.0889 | 1259247.7451 | 2721426.7326 | 1259249.4573 | 2721443.9856 | 1259255.1443
50 | 2721427.8602 | 1259205.564 | 2721436.1285 | 1259198.7499 | 2721444.7137 | 1259187.8942 | 2721445.7044 | 1259184.2528
51 | 2721427.8602 | 1259205.564 | 2721416.0191 | 1259205.072
52 | 2721443.9856 | 1259255.1443 | 2721451.3431 | 1259257.5695 | 2721466.2486 | 1259264.3374
53 | 2721475.0061 | 1259314.261 | 2721459.41 | 1259310.1147 | 2721452.4296 | 1259304.7741
54 | 2721536.8207 | 1259300.517 | 2721557.8744 | 1259311.7782
55 | 2721418.8121 | 1259291.8433 | 2721411.1504 | 1259295.189 | 2721405.4702 | 1259287.5991
56 | 2721418.8121 | 1259291.8433 | 2721427.1853 | 1259295.12
57 | 2721405.4702 | 1259287.5991 | 2721396.0117 | 1259285.9147 | 2721395.8607 | 1259285.9128
58 | 2721427.1853 | 1259295.12 | 2721428.2295 | 1259295.5286 | 2721445.8028 | 1259299.704 | 2721452.4296 | 1259304.7741
59 | 2721360.9667 | 1259283.5372 | 2721365.7164 | 1259285.126 | 2721373.533 | 1259285.6201 | 2721395.8607 | 1259285.9128
60 | 2721483.4289 | 1259272.445 | 2721476.1751 | 1259268.8446 | 2721466.2486 | 1259264.3374
61 | 2721331.3089 | 1259204.3716 | 2721336.0735 | 1259199.2648 | 2721345.1381 | 1259208.759 | 2721352.8783 | 1259221.0619
62 | 2721331.3089 | 1259204.3716 | 2721324.1008 | 1259200.6761 | 2721312.6813 | 1259198.6402 | 2721299.6546 | 1259194.4852
63 | 2721352.8783 | 1259221.0619 | 2721356.5485 | 1259214.9095 | 2721358.2721 | 1259210.6395
64 | 2721289.8053 | 1259245.268 | 2721282.4588 | 1259250.3255
65 | 2721289.8053 | 1259245.268 | 2721287.4952 | 1259256.0635 | 2721286.6696 | 1259259.9247
66 | 2721241.5343 | 1259259.1689 | 2721244.6584 | 1259260.89 | 2721247.604 | 1259262.1181 | 2721251.342 | 1259262.9509 | 2721254.7898 | 1259263.2218 | 2721258.5467 | 1259263.132 | 2721261.8872 | 1259262.3887 | 2721265.0063 | 1259261.4073 | 2721269.2087 | 1259259.4473 | 2721282.4588 | 1259250.3255
67 | 2721286.6696 | 1259259.9247 | 2721279.4572 | 1259293.6577
68 | 2721362.8483 | 1259199.3027 | 2721358.2721 | 1259210.6395
69 | 2721450.4065 | 1259166.9704 | 2721445.7044 | 1259184.2528
70 | 2721408.2797 | 1259204.7504 | 2721416.0191 | 1259205.072
71 | 2721573.5231 | 1259424.8701 | 2721573.8915 | 1259426.0231 | 2721576.2532 | 1259429.2411 | 2721576.1044 | 1259432.0739 | 2721586.7051 | 1259446.0374 | 2721590.3409 | 1259450.7273 | 2721585.9167 | 1259481.0743
72 | 2721575.1581 | 1259411.7254 | 2721574.9535 | 1259412.5108 | 2721573.5044 | 1259421.7447 | 2721573.5231 | 1259424.8701
73 | 2721560.8619 | 1259424.9434 | 2721562.7879 | 1259425.1498 | 2721567.1997 | 1259425.1071 | 2721573.5231 | 1259424.8701
74 | 2721575.1581 | 1259411.7254 | 2721576.1962 | 1259407.81 | 2721577.1048 | 1259405.4265 | 2721578.0588 | 1259403.3999 | 2721578.4971 | 1259402.6193
75 | 2721566.6577 | 1259394.2576 | 2721568.3176 | 1259396.0377 | 2721569.7724 | 1259397.8915 | 2721571.0007 | 1259400.1298 | 2721572.0302 | 1259402.1305 | 2721572.7277 | 1259403.7796 | 2721573.2452 | 1259405.3805 | 2721573.8975 | 1259407.7627 | 2721574.6458 | 1259410.9698 | 2721575.1581 | 1259411.7254
76 | 2721336.2146 | 1259319.2058 | 2721339.3858 | 1259319.3162 | 2721348.9166 | 1259320.4126 | 2721366.7194 | 1259322.5907 | 2721378.7226 | 1259324.6987
77 | 2721336.1059 | 1259275.2212 | 2721360.9667 | 1259283.5372
78 | 2721598.8011 | 1259334.4875 | 2721616.5405 | 1259346.2889
79 | 2721598.8011 | 1259334.4875 | 2721604.849 | 1259325.1784
80 | 2721598.8011 | 1259334.4875 | 2721574.4241 | 1259320.9
81 | 2721585.0554 | 1259397.1937 | 2721583.4927 | 1259398.0179 | 2721581.6937 | 1259399.3376 | 2721580.102 | 1259400.4726 | 2721578.7396 | 1259402.1906 | 2721578.4971 | 1259402.6193
82 | 2721419.122 | 1259398.2879 | 2721412.7543 | 1259400.3146 | 2721408.2779 | 1259404.4528
83 | 2721407.8044 | 1259404.8905 | 2721408.2779 | 1259404.4528
84 | 2721393.5396 | 1259397.6113 | 2721401.8018 | 1259406.4064 | 2721404.798 | 1259406.6347 | 2721407.6586 | 1259405.0253 | 2721407.8044 | 1259404.8905
85 | 2721393.5396 | 1259397.6113 | 2721381.7537 | 1259385.0652 | 2721371.4009 | 1259376.4741
86 | 2721359.8089 | 1259366.8547 | 2721371.4009 | 1259376.4741
87 | 2721359.8089 | 1259366.8547 | 2721347.3682 | 1259360.7043
88 | 2721347.3682 | 1259360.7043 | 2721334.5795 | 1259354.3819 | 2721317.9857 | 1259350.0938
89 | 2721278.485 | 1259319.6459 | 2721310.3167 | 1259319.0423 | 2721326.1548 | 1259318.8557 | 2721336.2146 | 1259319.2058
90 | 2721278.485 | 1259319.6459 | 2721278.1857 | 1259323.6952
91 | 2721278.485 | 1259319.6459 | 2721278.6128 | 1259297.6069 | 2721279.4572 | 1259293.6577
92 | 2721278.1857 | 1259323.6952 | 2721277.097 | 1259338.4229 | 2721269.2243 | 1259363.0944 | 2721266.9926 | 1259367.8496
93 | 2721253.2288 | 1259397.1764 | 2721266.9926 | 1259367.8496
94 | 2721253.2288 | 1259397.1764 | 2721240.6372 | 1259424.0057
95 | 2721234.154 | 1259437.8195 | 2721240.6372 | 1259424.0057
96 | 2721362.8483 | 1259199.3027 | 2721387.4632 | 1259199.4242
97 | 2721374.1744 | 1259171.3548 | 2721369.4973 | 1259182.8468 | 2721362.8483 | 1259199.3027
98 | 2721408.2797 | 1259204.7504 | 2721408.2797 | 1259204.7504 | 2721398.5102 | 1259199.4787 | 2721387.4632 | 1259199.4242
99 | 2721374.1744 | 1259171.3548 | 2721364.9126 | 1259168.896 | 2721364.5445 | 1259161.476
100 | 2721363.8175 | 1259146.8199 | 2721364.5445 | 1259161.476
101 | 2721411.738 | 1259163.3849 | 2721410.8826 | 1259145.1442
102 | 2721411.738 | 1259163.3849 | 2721439.218 | 1259165.8064
103 | 2721409.7085 | 1259120.1052 | 2721410.8826 | 1259145.1442
104 | 2721439.218 | 1259165.8064 | 2721439.4331 | 1259156.4359 | 2721440.062 | 1259152.7566
105 | 2721439.218 | 1259165.8064 | 2721450.4065 | 1259166.9704
106 | 2721363.8175 | 1259146.8199 | 2721362.7098 | 1259124.4895 | 2721362.7098 | 1259124.4895
107 | 2721241.5343 | 1259259.1689 | 2721239.047 | 1259257.075
108 | 2721241.5343 | 1259259.1689 | 2721235.3472 | 1259265.2586 | 2721230.2701 | 1259273.106 | 2721226.9749 | 1259284.8822 | 2721225.5981 | 1259291.0777
109 | 2721443.7235 | 1259123.3949 | 2721443.8761 | 1259128.4469 | 2721443.3581 | 1259133.474 | 2721440.062 | 1259152.7566
110 | 2721450.4065 | 1259166.9704 | 2721462.2094 | 1259168.1921
111 | 2721368.088 | 1259124.0327 | 2721362.7098 | 1259124.4895
112 | 2721480.564 | 1259170.0921 | 2721462.2094 | 1259168.1921
113 | 2721559.1066 | 1259194.81 | 2721557.095 | 1259193.3618 | 2721540.8327 | 1259187.0222 | 2721528.167 | 1259183.3359
114 | 2721559.1066 | 1259194.81 | 2721563.0668 | 1259197.661
115 | 2721528.167 | 1259183.3359 | 2721511.7652 | 1259178.5623 | 2721498.3359 | 1259174.9166
116 | 2721498.3359 | 1259174.9166 | 2721489.1235 | 1259172.4157
117 | 2721480.564 | 1259170.0921 | 2721480.564 | 1259170.0921 | 2721489.1235 | 1259172.4157
118 | 2721557.8744 | 1259311.7782 | 2721562.4446 | 1259314.2227 | 2721574.4241 | 1259320.9
119 | 2721604.849 | 1259325.1784 | 2721610.4654 | 1259316.5335 | 2721610.4654 | 1259316.5335
120 | 2721617.5736 | 1259318.8372 | 2721610.4654 | 1259316.5335
121 | 2721443.7235 | 1259123.3949 | 2721450.049 | 1259123.4358 | 2721470.9653 | 1259129.4337
122 | 2721443.7235 | 1259123.3949 | 2721443.0782 | 1259119.2002 | 2721441.9634 | 1259115.107 | 2721440.3928 | 1259111.1713 | 2721437.195 | 1259106.0679
123 | 2721437.195 | 1259106.0679 | 2721433.4309 | 1259101.3643 | 2721428.9964 | 1259096.9916 | 2721424.0753 | 1259093.1873 | 2721414.8713 | 1259087.905 | 2721408.8611 | 1259085.3572 | 2721405.1304 | 1259084.1685 | 2721401.2686 | 1259083.4887 | 2721397.3513 | 1259083.3082 | 2721392.6967 | 1259083.7798
124 | 2721195.0991 | 1259574.1241 | 2721183.8894 | 1259572.8825
125 | 2721195.0991 | 1259574.1241 | 2721214.2456 | 1259576.2448 | 2721219.6256 | 1259578.1235
126 | 2721158.158 | 1259573.2603 | 2721179.9947 | 1259572.4511 | 2721183.8894 | 1259572.8825
127 | 2721219.6256 | 1259578.1235 | 2721231.6361 | 1259582.3175
128 | 2721158.158 | 1259573.2603 | 2721156.7147 | 1259570.1057 | 2721156.2853 | 1259557.5748 | 2721154.6131 | 1259545.352 | 2721154.719 | 1259530.986
129 | 2721246.4326 | 1259590.9727 | 2721242.888 | 1259587.3414 | 2721231.6361 | 1259582.3175
130 | 2721154.719 | 1259530.986 | 2721159.4512 | 1259524.4993 | 2721163.6801 | 1259521.9726 | 2721168.5428 | 1259521.2604 | 2721174.8584 | 1259522.1349 | 2721183.1851 | 1259523.1063 | 2721189.3193 | 1259522.8984 | 2721196.3505 | 1259521.5968 | 2721210.3472 | 1259516.3121
131 | 2721246.4326 | 1259590.9727 | 2721250.9977 | 1259591.1664 | 2721255.374 | 1259592.1979
132 | 2721234.154 | 1259437.8195 | 2721212.9036 | 1259507.8348 | 2721210.3472 | 1259516.3121
133 | 2721197.6305 | 1259366.82 | 2721193.7947 | 1259386.9481 | 2721191.9066 | 1259394.4604 | 2721189.6455 | 1259399.5631 | 2721186.3434 | 1259402.4869 | 2721180.1429 | 1259406.6636 | 2721174.4051 | 1259411.4392
134 | 2721197.6305 | 1259366.82 | 2721201.7432 | 1259353.4146 | 2721206.4731 | 1259341.9014 | 2721214.1176 | 1259326.2292
135 | 2721197.6305 | 1259366.82 | 2721184.6667 | 1259365.0974 | 2721182.282 | 1259365.041
136 | 2721225.5981 | 1259291.0777 | 2721222.2983 | 1259305.9271 | 2721216.7367 | 1259320.8597 | 2721214.1176 | 1259326.2292
137 | 2721152.9775 | 1259367.2283 | 2721177.6956 | 1259364.9323 | 2721182.282 | 1259365.041
138 | 2721152.9775 | 1259367.2283 | 2721152.6375 | 1259361.3717 | 2721155.7903 | 1259328.8006
139 | 2721152.9775 | 1259367.2283 | 2721113.3549 | 1259370.5201 | 2721112.0901 | 1259370.6225
140 | 2721156.5952 | 1259316.8277 | 2721156.6834 | 1259319.5733 | 2721155.7903 | 1259328.8006
141 | 2721095.563 | 1259371.9593 | 2721112.0901 | 1259370.6225
142 | 2721231.7139 | 1259250.8604 | 2721231.7139 | 1259250.8604 | 2721234.4929 | 1259252.8635 | 2721237.0796 | 1259255.4188 | 2721239.047 | 1259257.075
143 | 2721194.5407 | 1259234.3067 | 2721212.9571 | 1259242.2464 | 2721226.8689 | 1259248.1254 | 2721231.7139 | 1259250.8604
144 | 2721236.1768 | 1259218.9126 | 2721206.5472 | 1259205.8609 | 2721194.5407 | 1259234.3067

## bus_geodata
| x | y | coords
0 | 2721503.9051 | 1259473.0083
1 | 2721510.8471 | 1259472.5935
2 | 2721482.8769 | 1259474.4301
3 | 2721523.6868 | 1259472.4107
4 | 2721484.5194 | 1259490.2381
5 | 2721481.9603 | 1259464.3665
6 | 2721527.8083 | 1259472.551
7 | 2721487.0136 | 1259517.2496
8 | 2721481.3255 | 1259457.3977
9 | 2721529.1088 | 1259459.599
10 | 2721543.9361 | 1259473.7809
11 | 2721479.3843 | 1259435.1041
12 | 2721529.1096 | 1259459.5734
13 | 2721550.5766 | 1259474.4244
14 | 2721478.8246 | 1259426.6547
15 | 2721478.3567 | 1259419.5908
16 | 2721477.9362 | 1259413.2414
17 | 2721478.176 | 1259405.9069
18 | 2721478.1863 | 1259405.5896
19 | 2721482.2362 | 1259375.4372
20 | 2721482.5831 | 1259373.9263
21 | 2721484.3372 | 1259366.2869
22 | 2721450.1441 | 1259347.146
23 | 2721492.5985 | 1259343.157
24 | 2721423.2827 | 1259336.6065
25 | 2721439.5351 | 1259377.6219
26 | 2721492.8751 | 1259342.5721
27 | 2721412.1038 | 1259332.8529
28 | 2721436.8413 | 1259382.4931
29 | 2721494.7269 | 1259338.6556
30 | 2721397.768 | 1259328.9109
31 | 2721416.352 | 1259372.8622
32 | 2721434.1712 | 1259387.3092
33 | 2721498.2534 | 1259331.1972
34 | 2721490.5541 | 1259318.3946
35 | 2721519.7242 | 1259303.1133
36 | 2721484.1529 | 1259316.6927
37 | 2721517.9001 | 1259295.3801
38 | 2721535.48 | 1259299.7999
39 | 2721510.1323 | 1259286.6463
40 | 2721545.7407 | 1259309.6232
41 | 2721418.0889 | 1259247.7451
42 | 2721427.8602 | 1259205.564
43 | 2721443.9856 | 1259255.1443
44 | 2721475.0061 | 1259314.261
45 | 2721536.8207 | 1259300.517
46 | 2721418.8121 | 1259291.8433
47 | 2721405.4702 | 1259287.5991
48 | 2721427.1853 | 1259295.12
49 | 2721395.8607 | 1259285.9128
50 | 2721483.4289 | 1259272.445
51 | 2721600.6557 | 1259340.6053
52 | 2721331.3089 | 1259204.3716
53 | 2721352.8783 | 1259221.0619
54 | 2721299.6546 | 1259194.4852
55 | 2721289.8053 | 1259245.268
56 | 2721282.4588 | 1259250.3255
57 | 2721286.6696 | 1259259.9247
58 | 2721358.2721 | 1259210.6395
59 | 2721445.7044 | 1259184.2528
60 | 2721416.0191 | 1259205.072
61 | 2721466.2486 | 1259264.3374
62 | 2721452.4296 | 1259304.7741
63 | 2721585.9167 | 1259481.0743
64 | 2721573.5231 | 1259424.8701
65 | 2721575.1581 | 1259411.7254
66 | 2721560.8619 | 1259424.9434
67 | 2721378.7226 | 1259324.6987
68 | 2721360.9667 | 1259283.5372
69 | 2721616.5405 | 1259346.2889
70 | 2721598.8011 | 1259334.4875
71 | 2721578.4971 | 1259402.6193
72 | 2721566.6577 | 1259394.2576
73 | 2721528.0961 | 1259429.9304
74 | 2721419.122 | 1259398.2879
75 | 2721408.2779 | 1259404.4528
76 | 2721407.8044 | 1259404.8905
77 | 2721393.5396 | 1259397.6113
78 | 2721371.4009 | 1259376.4741
79 | 2721359.8089 | 1259366.8547
80 | 2721347.3682 | 1259360.7043
81 | 2721317.9857 | 1259350.0938
82 | 2721336.2146 | 1259319.2058
83 | 2721278.485 | 1259319.6459
84 | 2721278.1857 | 1259323.6952
85 | 2721279.4572 | 1259293.6577
86 | 2721266.9926 | 1259367.8496
87 | 2721253.2288 | 1259397.1764
88 | 2721240.6372 | 1259424.0057
89 | 2721336.1059 | 1259275.2212
90 | 2721362.8483 | 1259199.3027
91 | 2721387.4632 | 1259199.4242
92 | 2721374.1744 | 1259171.3548
93 | 2721408.2797 | 1259204.7504
94 | 2721364.5445 | 1259161.476
95 | 2721411.738 | 1259163.3849
96 | 2721410.8826 | 1259145.1442
97 | 2721439.218 | 1259165.8064
98 | 2721363.8175 | 1259146.8199
99 | 2721241.5343 | 1259259.1689
100 | 2721409.7085 | 1259120.1052
101 | 2721440.062 | 1259152.7566
102 | 2721450.4065 | 1259166.9704
103 | 2721362.7098 | 1259124.4895
104 | 2721462.2094 | 1259168.1921
105 | 2721559.1066 | 1259194.81
106 | 2721528.167 | 1259183.3359
107 | 2721563.0668 | 1259197.661
108 | 2721498.3359 | 1259174.9166
109 | 2721489.1235 | 1259172.4157
110 | 2721480.564 | 1259170.0921
111 | 2721557.8744 | 1259311.7782
112 | 2721574.4241 | 1259320.9
113 | 2721604.849 | 1259325.1784
114 | 2721610.4654 | 1259316.5335
115 | 2721617.5736 | 1259318.8372
116 | 2721443.7235 | 1259123.3949
117 | 2721470.9653 | 1259129.4337
118 | 2721437.195 | 1259106.0679
119 | 2721195.0991 | 1259574.1241
120 | 2721183.8894 | 1259572.8825
121 | 2721219.6256 | 1259578.1235
122 | 2721158.158 | 1259573.2603
123 | 2721231.6361 | 1259582.3175
124 | 2721154.719 | 1259530.986
125 | 2721246.4326 | 1259590.9727
126 | 2721255.374 | 1259592.1979
127 | 2721210.3472 | 1259516.3121
128 | 2721234.154 | 1259437.8195
129 | 2721174.4051 | 1259411.4392
130 | 2721197.6305 | 1259366.82
131 | 2721214.1176 | 1259326.2292
132 | 2721182.282 | 1259365.041
133 | 2721392.6967 | 1259083.7798
134 | 2721368.088 | 1259124.0327
135 | 2721225.5981 | 1259291.0777
136 | 2721152.9775 | 1259367.2283
137 | 2721155.7903 | 1259328.8006
138 | 2721112.0901 | 1259370.6225
139 | 2721239.047 | 1259257.075
140 | 2721156.5952 | 1259316.8277
141 | 2721095.563 | 1259371.9593
142 | 2721231.7139 | 1259250.8604
143 | 2721194.5407 | 1259234.3067
144 | 2721236.1768 | 1259218.9126
145 | 2721585.0554 | 1259397.1937
146 | 2721411.1504 | 1259295.189

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1