## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3427-54_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3427-54_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3427-54_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3427-54_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3427-54_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3427-54_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3427-54_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_3427-54_0_5_node_64 | 0.4 | n |  | TRUE
8 | bus_LV_3427-54_0_5_node_24 | 0.4 | n |  | TRUE
9 | bus_LV_3427-54_0_5_node_73 | 0.4 | n |  | TRUE
10 | bus_LV_3427-54_0_5_node_62 | 0.4 | n |  | TRUE
11 | bus_LV_3427-54_0_5_node_21 | 0.4 | n |  | TRUE
12 | bus_LV_3427-54_0_5_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_3427-54_0_5_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_3427-54_0_5_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_3427-54_0_5_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_3427-54_0_5_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_3427-54_0_5_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_3427-54_0_5_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_3427-54_0_5_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_3427-54_0_5_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_3427-54_0_5_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_3427-54_0_5_node_28 | 0.4 | n |  | TRUE
23 | bus_LV_3427-54_0_5_node_31 | 0.4 | n |  | TRUE
24 | bus_LV_3427-54_0_5_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_3427-54_0_5_node_53 | 0.4 | n |  | TRUE
26 | bus_LV_3427-54_0_5_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_3427-54_0_5_node_82 | 0.4 | n |  | TRUE
28 | bus_LV_3427-54_0_5_node_45 | 0.4 | n |  | TRUE
29 | bus_LV_3427-54_0_5_node_35 | 0.4 | n |  | TRUE
30 | bus_LV_3427-54_0_5_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_3427-54_0_5_node_34 | 0.4 | n |  | TRUE
32 | bus_LV_3427-54_0_5_node_104 | 0.4 | n |  | TRUE
33 | bus_LV_3427-54_0_5_node_36 | 0.4 | n |  | TRUE
34 | bus_LV_3427-54_0_5_node_100 | 0.4 | n |  | TRUE
35 | bus_LV_3427-54_0_5_node_92 | 0.4 | n |  | TRUE
36 | bus_LV_3427-54_0_5_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_3427-54_0_5_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_3427-54_0_5_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_3427-54_0_5_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_3427-54_0_5_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_3427-54_0_5_node_77 | 0.4 | n |  | TRUE
42 | bus_LV_3427-54_0_5_node_50 | 0.4 | n |  | TRUE
43 | bus_LV_3427-54_0_5_node_83 | 0.4 | n |  | TRUE
44 | bus_LV_3427-54_0_5_node_19 | 0.4 | n |  | TRUE
45 | bus_LV_3427-54_0_5_node_20 | 0.4 | n |  | TRUE
46 | bus_LV_3427-54_0_5_node_23 | 0.4 | n |  | TRUE
47 | bus_LV_3427-54_0_5_node_22 | 0.4 | n |  | TRUE
48 | bus_LV_3427-54_0_5_node_70 | 0.4 | n |  | TRUE
49 | bus_LV_3427-54_0_5_node_57 | 0.4 | n |  | TRUE
50 | bus_LV_3427-54_0_5_node_68 | 0.4 | n |  | TRUE
51 | bus_LV_3427-54_0_5_node_55 | 0.4 | n |  | TRUE
52 | bus_LV_3427-54_0_5_node_25 | 0.4 | n |  | TRUE
53 | bus_LV_3427-54_0_5_node_29 | 0.4 | n |  | TRUE
54 | bus_LV_3427-54_0_5_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_3427-54_0_5_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_3427-54_0_5_node_103 | 0.4 | n |  | TRUE
57 | bus_LV_3427-54_0_5_node_101 | 0.4 | n |  | TRUE
58 | bus_LV_3427-54_0_5_node_87 | 0.4 | n |  | TRUE
59 | bus_LV_3427-54_0_5_node_90 | 0.4 | n |  | TRUE
60 | bus_LV_3427-54_0_5_node_105 | 0.4 | n |  | TRUE
61 | bus_LV_3427-54_0_5_node_102 | 0.4 | n |  | TRUE
62 | bus_LV_3427-54_0_5_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_3427-54_0_5_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_3427-54_0_5_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_3427-54_0_5_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_3427-54_0_5_node_51 | 0.4 | n |  | TRUE
67 | bus_LV_3427-54_0_5_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_3427-54_0_5_node_88 | 0.4 | n |  | TRUE
69 | bus_LV_3427-54_0_5_node_78 | 0.4 | n |  | TRUE
70 | bus_LV_3427-54_0_5_node_76 | 0.4 | n |  | TRUE
71 | bus_LV_3427-54_0_5_node_56 | 0.4 | n |  | TRUE
72 | bus_LV_3427-54_0_5_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_3427-54_0_5_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_3427-54_0_5_node_72 | 0.4 | n |  | TRUE
75 | bus_LV_3427-54_0_5_node_60 | 0.4 | n |  | TRUE
76 | bus_LV_3427-54_0_5_node_61 | 0.4 | n |  | TRUE
77 | bus_LV_3427-54_0_5_node_63 | 0.4 | n |  | TRUE
78 | bus_LV_3427-54_0_5_node_65 | 0.4 | n |  | TRUE
79 | bus_LV_3427-54_0_5_node_75 | 0.4 | n |  | TRUE
80 | bus_LV_3427-54_0_5_node_66 | 0.4 | n |  | TRUE
81 | bus_LV_3427-54_0_5_node_67 | 0.4 | n |  | TRUE
82 | bus_LV_3427-54_0_5_node_69 | 0.4 | n |  | TRUE
83 | bus_LV_3427-54_0_5_node_71 | 0.4 | n |  | TRUE
84 | bus_LV_3427-54_0_5_node_106 | 0.4 | n |  | TRUE
85 | bus_LV_3427-54_0_5_node_74 | 0.4 | n |  | TRUE
86 | bus_LV_3427-54_0_5_node_79 | 0.4 | n |  | TRUE
87 | bus_LV_3427-54_0_5_node_80 | 0.4 | n |  | TRUE
88 | bus_LV_3427-54_0_5_node_81 | 0.4 | n |  | TRUE
89 | bus_LV_3427-54_0_5_node_84 | 0.4 | n |  | TRUE
90 | bus_LV_3427-54_0_5_node_85 | 0.4 | n |  | TRUE
91 | bus_LV_3427-54_0_5_node_86 | 0.4 | n |  | TRUE
92 | bus_LV_3427-54_0_5_node_89 | 0.4 | n |  | TRUE
93 | bus_LV_3427-54_0_5_node_91 | 0.4 | n |  | TRUE
94 | bus_LV_3427-54_0_5_node_93 | 0.4 | n |  | TRUE
95 | bus_LV_3427-54_0_5_node_94 | 0.4 | n |  | TRUE
96 | bus_LV_3427-54_0_5_node_95 | 0.4 | n |  | TRUE
97 | bus_LV_3427-54_0_5_node_96 | 0.4 | n |  | TRUE
98 | bus_LV_3427-54_0_5_node_97 | 0.4 | n |  | TRUE
99 | bus_LV_3427-54_0_5_node_98 | 0.4 | n |  | TRUE
100 | bus_LV_3427-54_0_5_node_109 | 0.4 | n |  | TRUE
101 | bus_LV_3427-54_0_5_node_110 | 0.4 | n |  | TRUE
102 | bus_LV_3427-54_0_5_node_107 | 0.4 | n |  | TRUE
103 | bus_LV_3427-54_0_5_node_108 | 0.4 | n |  | TRUE
104 | bus_MV_410_0_node_134 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3427-54_0_5_load_0 | 0 | 0.0086561 | 0.0021694 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3427-54_0_5_load_2 | 2 | 0.01426 | 0.0035739 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3427-54_0_5_load_4 | 4 | 0.0089414 | 0.0022409 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3427-54_0_5_load_5 | 5 | 0.0076095 | 0.0019071 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3427-54_0_5_load_24 | 8 | 0.0024379 | 0.00061098 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3427-54_0_5_load_62 | 10 | 0.0073227 | 0.0018353 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3427-54_0_5_load_7 | 12 | 0.0049222 | 0.0012336 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3427-54_0_5_load_8 | 13 | 0.003224 | 0.00080802 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3427-54_0_5_load_10 | 15 | 0.017524 | 0.0043919 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3427-54_0_5_load_11 | 16 | 0.0019164 | 0.0004803 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3427-54_0_5_load_14 | 18 | 0.0018257 | 0.00045755 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3427-54_0_5_load_16 | 21 | 0.0012197 | 0.00030568 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3427-54_0_5_load_28 | 22 | 0.0079568 | 0.0019942 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3427-54_0_5_load_17 | 24 | 0.007539 | 0.0018894 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3427-54_0_5_load_18 | 26 | 0.0061246 | 0.001535 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3427-54_0_5_load_82 | 27 | 0.0031104 | 0.00077953 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3427-54_0_5_load_45 | 28 | 0.011702 | 0.0029329 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3427-54_0_5_load_104 | 32 | 0.0071562 | 0.0017935 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3427-54_0_5_load_100 | 34 | 0.0026208 | 0.00065684 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3427-54_0_5_load_40 | 36 | 0.0050013 | 0.0012534 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3427-54_0_5_load_26 | 37 | 0.0046902 | 0.0011755 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3427-54_0_5_load_44 | 39 | 0.0019614 | 0.00049157 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3427-54_0_5_load_38 | 40 | 0.010646 | 0.0026682 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3427-54_0_5_load_50 | 42 | 0.0018208 | 0.00045633 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3427-54_0_5_load_19 | 44 | 0.004575 | 0.0011466 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3427-54_0_5_load_70 | 48 | 0.0031637 | 0.0007929 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3427-54_0_5_load_57 | 49 | 0.002125 | 0.00053256 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3427-54_0_5_load_55 | 51 | 0.0021766 | 0.0005455 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3427-54_0_5_load_25 | 52 | 0.0019015 | 0.00047657 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3427-54_0_5_load_29 | 53 | 0.0077437 | 0.0019408 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3427-54_0_5_load_37 | 54 | 0.0017087 | 0.00042824 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3427-54_0_5_load_39 | 55 | 0.0061693 | 0.0015462 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3427-54_0_5_load_103 | 56 | 0.010351 | 0.0025941 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3427-54_0_5_load_101 | 57 | 0.002949 | 0.00073908 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3427-54_0_5_load_87 | 58 | 0.0044313 | 0.0011106 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3427-54_0_5_load_90 | 59 | 0.0043211 | 0.001083 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3427-54_0_5_load_105 | 60 | 0.0068039 | 0.0017052 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3427-54_0_5_load_102 | 61 | 0.00081654 | 0.00020465 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3427-54_0_5_load_46 | 62 | 0.011198 | 0.0028065 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3427-54_0_5_load_47 | 63 | 0.011198 | 0.0028065 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3427-54_0_5_load_49 | 65 | 0.041109 | 0.010303 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3427-54_0_5_load_51 | 66 | 0.0010858 | 0.00027213 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3427-54_0_5_load_54 | 67 | 0.0051146 | 0.0012818 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3427-54_0_5_load_88 | 68 | 0.00073402 | 0.00018396 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3427-54_0_5_load_78 | 69 | 0.0042576 | 0.0010671 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3427-54_0_5_load_56 | 71 | 0.0018771 | 0.00047045 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3427-54_0_5_load_58 | 72 | 0.0058513 | 0.0014665 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3427-54_0_5_load_59 | 73 | 0.0057583 | 0.0014432 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3427-54_0_5_load_72 | 74 | 0.0047344 | 0.0011865 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3427-54_0_5_load_60 | 75 | 0.0083577 | 0.0020946 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3427-54_0_5_load_61 | 76 | 0.007483 | 0.0018754 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3427-54_0_5_load_63 | 77 | 0.0081006 | 0.0020302 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3427-54_0_5_load_65 | 78 | 0.0046212 | 0.0011582 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3427-54_0_5_load_75 | 79 | 0.0046776 | 0.0011723 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3427-54_0_5_load_66 | 80 | 0.0030646 | 0.00076806 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3427-54_0_5_load_67 | 81 | 0.0040159 | 0.0010065 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3427-54_0_5_load_69 | 82 | 0.0028664 | 0.00071838 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3427-54_0_5_load_71 | 83 | 0.006084 | 0.0015248 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3427-54_0_5_load_74 | 85 | 0.0099098 | 0.0024836 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3427-54_0_5_load_79 | 86 | 0.0041475 | 0.0010395 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3427-54_0_5_load_80 | 87 | 0.0060274 | 0.0015106 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3427-54_0_5_load_81 | 88 | 0.011198 | 0.0028065 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3427-54_0_5_load_84 | 89 | 0.0062891 | 0.0015762 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3427-54_0_5_load_85 | 90 | 0.0043518 | 0.0010907 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3427-54_0_5_load_89 | 92 | 0.0051444 | 0.0012893 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3427-54_0_5_load_91 | 93 | 0.0018815 | 0.00047156 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3427-54_0_5_load_93 | 94 | 0.0010639 | 0.00026664 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3427-54_0_5_load_96 | 97 | 0.0034068 | 0.00085382 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3427-54_0_5_load_97 | 98 | 0.0014853 | 0.00037226 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3427-54_0_5_load_98 | 99 | 0.001105 | 0.00027694 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3427-54_0_5_load_109 | 100 | 0.0012115 | 0.00030363 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3427-54_0_5_load_110 | 101 | 0.0015586 | 0.00039062 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3427-54_0_5_load_107 | 102 | 0.0031734 | 0.00079532 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3427-54_0_5_load_108 | 103 | 0.014666 | 0.0036757 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 41 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3427-54_0_5_line_0 |  | 0 | 1 | 0.016102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3427-54_0_5_line_1 |  | 1 | 2 | 0.022291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3427-54_0_5_line_2 |  | 2 | 3 | 0.029208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3427-54_0_5_line_3 |  | 3 | 4 | 0.026095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3427-54_0_5_line_4 |  | 3 | 5 | 0.0027892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3427-54_0_5_line_5 |  | 5 | 6 | 0.0074152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3427-54_0_5_line_6 |  | 6 | 7 | 0.024167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3427-54_0_5_line_7 |  | 6 | 8 | 0.041906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3427-54_0_5_line_8 |  | 7 | 9 | 0.02838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3427-54_0_5_line_9 |  | 7 | 10 | 0.030158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3427-54_0_5_line_10 |  | 8 | 11 | 0.010089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3427-54_0_5_line_11 |  | 9 | 60 | 0.02141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3427-54_0_5_line_12 |  | 9 | 54 | 0.0085842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3427-54_0_5_line_13 |  | 10 | 75 | 0.017398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3427-54_0_5_line_14 |  | 11 | 46 | 0.036022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3427-54_0_5_line_15 |  | 11 | 45 | 0.007695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3427-54_0_5_line_16 |  | 12 | 13 | 0.014778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3427-54_0_5_line_17 |  | 12 | 14 | 0.006932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3427-54_0_5_line_18 |  | 13 | 15 | 0.0053762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3427-54_0_5_line_19 |  | 14 | 16 | 0.0053217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3427-54_0_5_line_20 |  | 15 | 17 | 0.021769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3427-54_0_5_line_21 |  | 16 | 18 | 0.013106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3427-54_0_5_line_22 |  | 17 | 22 | 0.01171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3427-54_0_5_line_23 |  | 17 | 23 | 0.015135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3427-54_0_5_line_24 |  | 18 | 24 | 0.020183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3427-54_0_5_line_25 |  | 19 | 20 | 0.021266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3427-54_0_5_line_26 |  | 19 | 21 | 0.0060125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3427-54_0_5_line_27 |  | 20 | 25 | 0.005861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_3427-54_0_5_line_28 |  | 20 | 26 | 0.010379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_3427-54_0_5_line_29 |  | 21 | 27 | 0.0059738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3427-54_0_5_line_30 |  | 22 | 37 | 0.022498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3427-54_0_5_line_31 |  | 23 | 40 | 0.014586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3427-54_0_5_line_32 |  | 23 | 38 | 0.013695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3427-54_0_5_line_33 |  | 24 | 26 | 0.0086125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3427-54_0_5_line_34 |  | 25 | 41 | 0.010984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_3427-54_0_5_line_35 |  | 25 | 42 | 0.010599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3427-54_0_5_line_36 |  | 27 | 43 | 0.02594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3427-54_0_5_line_37 |  | 28 | 29 | 0.031827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3427-54_0_5_line_38 |  | 29 | 33 | 0.007038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3427-54_0_5_line_39 |  | 29 | 31 | 0.010589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3427-54_0_5_line_40 |  | 30 | 31 | 0.013918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3427-54_0_5_line_41 |  | 30 | 32 | 0.020323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3427-54_0_5_line_42 |  | 31 | 36 | 0.021438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3427-54_0_5_line_43 |  | 32 | 56 | 0.015765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3427-54_0_5_line_44 |  | 33 | 34 | 0.016012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3427-54_0_5_line_45 |  | 33 | 35 | 0.006867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3427-54_0_5_line_46 |  | 34 | 57 | 0.031795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3427-54_0_5_line_47 |  | 35 | 58 | 0.026515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3427-54_0_5_line_48 |  | 35 | 59 | 0.014481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3427-54_0_5_line_49 |  | 36 | 55 | 0.010287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3427-54_0_5_line_50 |  | 37 | 52 | 0.01975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3427-54_0_5_line_51 |  | 38 | 39 | 0.038858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3427-54_0_5_line_52 |  | 40 | 55 | 0.023354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3427-54_0_5_line_53 |  | 41 | 69 | 0.018748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3427-54_0_5_line_54 |  | 41 | 70 | 0.036115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_3427-54_0_5_line_55 |  | 42 | 64 | 0.047067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3427-54_0_5_line_56 |  | 43 | 89 | 0.011845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3427-54_0_5_line_57 |  | 43 | 90 | 0.015866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3427-54_0_5_line_58 |  | 44 | 45 | 0.022407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3427-54_0_5_line_59 |  | 46 | 49 | 0.019133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3427-54_0_5_line_60 |  | 46 | 47 | 0.016143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3427-54_0_5_line_61 |  | 47 | 48 | 0.0029177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3427-54_0_5_line_62 |  | 48 | 50 | 0.035127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3427-54_0_5_line_63 |  | 49 | 51 | 0.025001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3427-54_0_5_line_64 |  | 50 | 80 | 0.017538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3427-54_0_5_line_65 |  | 51 | 71 | 8.4197e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3427-54_0_5_line_66 |  | 53 | 54 | 0.0049784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3427-54_0_5_line_67 |  | 56 | 61 | 0.01925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3427-54_0_5_line_68 |  | 59 | 91 | 0.012221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3427-54_0_5_line_69 |  | 60 | 84 | 0.0032777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3427-54_0_5_line_70 |  | 62 | 63 | 0.031441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3427-54_0_5_line_71 |  | 62 | 64 | 0.044683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3427-54_0_5_line_72 |  | 63 | 65 | 0.041067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3427-54_0_5_line_73 |  | 64 | 66 | 0.013343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3427-54_0_5_line_74 |  | 66 | 67 | 0.0076003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3427-54_0_5_line_75 |  | 67 | 68 | 0.0082402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3427-54_0_5_line_76 |  | 69 | 86 | 0.027168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3427-54_0_5_line_77 |  | 70 | 79 | 0.024183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3427-54_0_5_line_78 |  | 70 | 78 | 0.024281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
79 | LV_3427-54_0_5_line_79 |  | 71 | 72 | 0.024685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3427-54_0_5_line_80 |  | 72 | 73 | 0.0048861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3427-54_0_5_line_81 |  | 73 | 74 | 0.046626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3427-54_0_5_line_82 |  | 75 | 76 | 0.017867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3427-54_0_5_line_83 |  | 76 | 77 | 0.0091026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
84 | LV_3427-54_0_5_line_84 |  | 77 | 78 | 0.022871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
85 | LV_3427-54_0_5_line_85 |  | 79 | 85 | 0.027561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3427-54_0_5_line_86 |  | 80 | 81 | 0.027133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3427-54_0_5_line_87 |  | 81 | 82 | 0.011531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3427-54_0_5_line_88 |  | 82 | 83 | 0.030019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3427-54_0_5_line_89 |  | 84 | 102 | 0.013984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3427-54_0_5_line_90 |  | 86 | 87 | 0.026306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3427-54_0_5_line_91 |  | 87 | 88 | 0.0029757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3427-54_0_5_line_92 |  | 91 | 92 | 0.015121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3427-54_0_5_line_93 |  | 92 | 93 | 0.0020564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3427-54_0_5_line_94 |  | 93 | 94 | 0.014076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3427-54_0_5_line_95 |  | 94 | 95 | 0.011654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_3427-54_0_5_line_96 |  | 95 | 96 | 0.019977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_3427-54_0_5_line_97 |  | 95 | 97 | 0.013301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_3427-54_0_5_line_98 |  | 96 | 98 | 0.023235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_3427-54_0_5_line_99 |  | 96 | 99 | 0.016046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_3427-54_0_5_line_100 |  | 99 | 100 | 0.017519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_3427-54_0_5_line_101 |  | 100 | 101 | 0.0067718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_3427-54_0_5_line_102 |  | 102 | 103 | 0.027953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3427-54_0_5_trafo_77 | 0.63 MVA 20/0.4 kV | 104 | 41 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2720472.3141 | 1259683.7111 | 2720488.1381 | 1259686.6908
1 | 2720472.3141 | 1259683.7111 | 2720466.7972 | 1259705.3086
2 | 2720460.2412 | 1259733.7649 | 2720463.5393 | 1259718.0627 | 2720466.7972 | 1259705.3086
3 | 2720460.2412 | 1259733.7649 | 2720484.4637 | 1259724.0593
4 | 2720460.2412 | 1259733.7649 | 2720459.6691 | 1259736.4948
5 | 2720458.7167 | 1259743.8316 | 2720459.0135 | 1259739.6228 | 2720459.6691 | 1259736.4948
6 | 2720458.7167 | 1259743.8316 | 2720446.5481 | 1259756.7731 | 2720441.6454 | 1259760.9436
7 | 2720458.7167 | 1259743.8316 | 2720463.6525 | 1259740.9962 | 2720497.4858 | 1259728.0825
8 | 2720441.6454 | 1259760.9436 | 2720437.3274 | 1259763.0576 | 2720431.8029 | 1259764.8134 | 2720425.3772 | 1259765.283 | 2720417.1645 | 1259764.6487 | 2720414.0396 | 1259764.0846
9 | 2720441.6454 | 1259760.9436 | 2720453.2294 | 1259773.7351 | 2720464.7461 | 1259775.0262 | 2720465.8659 | 1259775.7105
10 | 2720506.9117 | 1259724.4847 | 2720497.4858 | 1259728.0825
11 | 2720414.0396 | 1259764.0846 | 2720422.822 | 1259783.6101
12 | 2720414.0396 | 1259764.0846 | 2720408.0003 | 1259762.9829 | 2720405.6922 | 1259762.1757
13 | 2720465.8659 | 1259775.7105 | 2720480.7119 | 1259784.7821
14 | 2720542.761 | 1259720.111 | 2720529.5432 | 1259721.265 | 2720506.9117 | 1259724.4847
15 | 2720506.9117 | 1259724.4847 | 2720506.4802 | 1259716.8025
16 | 2720374.0624 | 1259835.6362 | 2720379.3887 | 1259836.6323 | 2720386.6076 | 1259838.6698 | 2720388.3126 | 1259839.41
17 | 2720394.6714 | 1259842.1703 | 2720388.3126 | 1259839.41
18 | 2720374.0624 | 1259835.6362 | 2720371.8478 | 1259835.2221 | 2720368.7303 | 1259835.0339
19 | 2720394.6714 | 1259842.1703 | 2720399.3971 | 1259844.6173
20 | 2720346.9662 | 1259834.9269 | 2720366.0119 | 1259834.8697 | 2720368.7303 | 1259835.0339
21 | 2720410.4023 | 1259851.6701 | 2720408.0809 | 1259849.7275 | 2720401.0876 | 1259845.4926 | 2720399.3971 | 1259844.6173
22 | 2720346.9662 | 1259834.9269 | 2720346.7937 | 1259830.8086 | 2720347.3352 | 1259823.2396
23 | 2720337.3228 | 1259829.3925 | 2720342.149 | 1259829.3462 | 2720342.0322 | 1259834.7152 | 2720346.9662 | 1259834.9269
24 | 2720425.8813 | 1259864.6225 | 2720410.4023 | 1259851.6701
25 | 2720424.6804 | 1259885.7414 | 2720428.7576 | 1259888.0376 | 2720431.1968 | 1259887.4756 | 2720440.4462 | 1259876.81
26 | 2720424.6804 | 1259885.7414 | 2720421.1034 | 1259890.5743
27 | 2720445.1624 | 1259880.3091 | 2720440.4462 | 1259876.81
28 | 2720440.4462 | 1259876.81 | 2720432.4864 | 1259870.1495
29 | 2720417.8099 | 1259895.547 | 2720419.207 | 1259893.1366 | 2720421.1034 | 1259890.5743
30 | 2720348.9406 | 1259800.7991 | 2720347.3352 | 1259823.2396
31 | 2720337.3228 | 1259829.3925 | 2720337.2296 | 1259843.9783
32 | 2720323.6106 | 1259830.0365 | 2720333.5314 | 1259829.3487 | 2720337.3228 | 1259829.3925
33 | 2720432.4864 | 1259870.1495 | 2720425.8813 | 1259864.6225
34 | 2720445.1624 | 1259880.3091 | 2720452.277 | 1259871.9243
35 | 2720445.1624 | 1259880.3091 | 2720453.5223 | 1259886.8248
36 | 2720408.0179 | 1259919.4543 | 2720413.8623 | 1259902.3581 | 2720417.8099 | 1259895.547
37 | 2720342.2908 | 1259901.646 | 2720343.3028 | 1259898.5972 | 2720345.5342 | 1259890.0907 | 2720346.5554 | 1259870.2966
38 | 2720340.0815 | 1259908.3292 | 2720342.2908 | 1259901.646
39 | 2720332.1762 | 1259898.5265 | 2720337.424 | 1259899.99 | 2720342.2908 | 1259901.646
40 | 2720332.1762 | 1259898.5265 | 2720330.9766 | 1259902.272 | 2720327.3044 | 1259911.5611
41 | 2720327.3044 | 1259911.5611 | 2720325.1738 | 1259911.0395 | 2720317.6933 | 1259910.7427 | 2720307.0559 | 1259911.0784
42 | 2720332.1762 | 1259898.5265 | 2720333.5855 | 1259894.1068 | 2720335.4057 | 1259887.2822 | 2720336.4111 | 1259877.8944 | 2720336.4273 | 1259877.6
43 | 2720291.2936 | 1259911.3399 | 2720291.2936 | 1259911.3399 | 2720303.1256 | 1259911.2025 | 2720307.0559 | 1259911.0784
44 | 2720340.0815 | 1259908.3292 | 2720332.2961 | 1259922.3215
45 | 2720346.7652 | 1259909.9888 | 2720340.0815 | 1259908.3292
46 | 2720332.2961 | 1259922.3215 | 2720325.0486 | 1259935.3472 | 2720316.7119 | 1259950.0351
47 | 2720346.7652 | 1259909.9888 | 2720348.881 | 1259904.9385 | 2720351.0767 | 1259901.8916 | 2720354.5651 | 1259899.7829 | 2720366.0616 | 1259898.3488 | 2720367.6655 | 1259898.5931
48 | 2720346.7652 | 1259909.9888 | 2720351.0864 | 1259912.5233 | 2720356.3086 | 1259920.4254
49 | 2720336.9947 | 1259867.329 | 2720336.4273 | 1259877.6
50 | 2720348.9406 | 1259800.7991 | 2720349.27 | 1259796.1952 | 2720354.4355 | 1259781.9698
51 | 2720323.6106 | 1259830.0365 | 2720319.861 | 1259831.2725 | 2720316.2539 | 1259834.0238 | 2720313.3273 | 1259837.0558 | 2720309.6224 | 1259842.7633 | 2720307.236 | 1259848.1417 | 2720305.747 | 1259850.1799 | 2720303.4038 | 1259851.956 | 2720300.7531 | 1259853.2811 | 2720297.1505 | 1259853.964 | 2720295.7745 | 1259853.9898
52 | 2720336.9947 | 1259867.329 | 2720337.0915 | 1259865.5752 | 2720337.2296 | 1259843.9783
53 | 2720452.277 | 1259871.9243 | 2720466.8407 | 1259883.7302
54 | 2720475.668 | 1259844.354 | 2720452.277 | 1259871.9243
55 | 2720485.0282 | 1259920.3781 | 2720482.0849 | 1259913.1229 | 2720480.0943 | 1259909.4347 | 2720476.3994 | 1259904.6553 | 2720453.5223 | 1259886.8248
56 | 2720408.0179 | 1259919.4543 | 2720400.5795 | 1259928.6725
57 | 2720408.0179 | 1259919.4543 | 2720396.5172 | 1259908.5241
58 | 2720506.4802 | 1259716.8025 | 2720528.6699 | 1259713.6883
59 | 2720542.761 | 1259720.111 | 2720543.0111 | 1259727.4448 | 2720541.3249 | 1259739.1182
60 | 2720542.761 | 1259720.111 | 2720548.7718 | 1259720.0223 | 2720550.122 | 1259719.9942 | 2720558.8571 | 1259720.8951
61 | 2720558.8571 | 1259720.8951 | 2720561.7617 | 1259721.1719
62 | 2720596.7301 | 1259724.5034 | 2720561.7617 | 1259721.1719
63 | 2720537.7506 | 1259763.8627 | 2720541.3249 | 1259739.1182
64 | 2720596.7301 | 1259724.5034 | 2720597.2378 | 1259733.6217 | 2720596.0274 | 1259741.9401
65 | 2720537.7386 | 1259763.946 | 2720537.7506 | 1259763.8627
66 | 2720400.9929 | 1259760.5322 | 2720405.6922 | 1259762.1757
67 | 2720272.1766 | 1259909.2464 | 2720274.0402 | 1259909.6543 | 2720280.7547 | 1259910.5472 | 2720291.2936 | 1259911.3399
68 | 2720359.8249 | 1259932.1294 | 2720356.3086 | 1259920.4254
69 | 2720424.1665 | 1259786.5993 | 2720422.822 | 1259783.6101
70 | 2720498.8764 | 1259962.8607 | 2720502.8809 | 1259975.1454 | 2720508.0037 | 1259992.943
71 | 2720485.0282 | 1259920.3781 | 2720498.8764 | 1259962.8607
72 | 2720508.0037 | 1259992.943 | 2720519.3633 | 1260032.408
73 | 2720485.0282 | 1259920.3781 | 2720472.5018 | 1259924.9751
74 | 2720465.3689 | 1259927.5991 | 2720466.281 | 1259927.2581 | 2720472.5018 | 1259924.9751
75 | 2720457.6506 | 1259930.4852 | 2720465.3689 | 1259927.5991
76 | 2720466.8407 | 1259883.7302 | 2720487.9451 | 1259900.8382
77 | 2720475.668 | 1259844.354 | 2720494.0092 | 1259860.1158
78 | 2720475.668 | 1259844.354 | 2720461.4637 | 1259832.143 | 2720457.7469 | 1259830.6549 | 2720458.5223 | 1259829.3172
79 | 2720537.7386 | 1259763.946 | 2720534.2095 | 1259788.3779
80 | 2720534.2095 | 1259788.3779 | 2720533.511 | 1259793.2138
81 | 2720547.507 | 1259832.7179 | 2720530.3788 | 1259814.8977 | 2720533.511 | 1259793.2138
82 | 2720480.7119 | 1259784.7821 | 2720480.7119 | 1259784.7821 | 2720473.6099 | 1259801.1774
83 | 2720469.9917 | 1259809.53 | 2720473.6099 | 1259801.1774
84 | 2720469.9917 | 1259809.53 | 2720469.9917 | 1259809.53 | 2720458.5223 | 1259829.3172
85 | 2720514.9118 | 1259878.0788 | 2720494.0092 | 1259860.1158
86 | 2720596.0274 | 1259741.9401 | 2720592.1203 | 1259768.7907
87 | 2720590.4599 | 1259780.2019 | 2720592.1203 | 1259768.7907
88 | 2720586.1373 | 1259809.9082 | 2720590.4599 | 1259780.2019
89 | 2720424.1665 | 1259786.5993 | 2720419.1245 | 1259799.6424
90 | 2720487.9451 | 1259900.8382 | 2720508.3803 | 1259917.4037
91 | 2720510.6919 | 1259919.2775 | 2720508.3803 | 1259917.4037
92 | 2720359.8249 | 1259932.1294 | 2720360.2605 | 1259938.5106 | 2720361.1676 | 1259947.1883
93 | 2720361.1676 | 1259947.1883 | 2720361.3814 | 1259949.2335
94 | 2720362.3274 | 1259963.2512 | 2720362.4565 | 1259959.5182 | 2720361.3814 | 1259949.2335
95 | 2720361.9247 | 1259974.8987 | 2720362.3274 | 1259963.2512
96 | 2720361.9247 | 1259974.8987 | 2720359.3973 | 1259986.8355 | 2720357.6748 | 1259994.4183
97 | 2720361.9247 | 1259974.8987 | 2720356.9737 | 1259977.0109 | 2720352.4745 | 1259982.1128 | 2720351.6257 | 1259982.8377
98 | 2720357.6748 | 1259994.4183 | 2720352.5255 | 1260017.0759
99 | 2720357.6748 | 1259994.4183 | 2720362.4001 | 1259994.1364 | 2720372.5542 | 1259989.1498
100 | 2720388.1861 | 1259981.2472 | 2720383.5784 | 1259983.7358 | 2720372.5542 | 1259989.1498
101 | 2720388.1861 | 1259981.2472 | 2720394.1444 | 1259978.0292
102 | 2720394.0152 | 1259787.3865 | 2720419.1206 | 1259799.6526 | 2720419.1245 | 1259799.6424

## bus_geodata
| x | y | coords
0 | 2720488.1381 | 1259686.6908
1 | 2720472.3141 | 1259683.7111
2 | 2720466.7972 | 1259705.3086
3 | 2720460.2412 | 1259733.7649
4 | 2720484.4637 | 1259724.0593
5 | 2720459.6691 | 1259736.4948
6 | 2720458.7167 | 1259743.8316
7 | 2720441.6454 | 1259760.9436
8 | 2720497.4858 | 1259728.0825
9 | 2720414.0396 | 1259764.0846
10 | 2720465.8659 | 1259775.7105
11 | 2720506.9117 | 1259724.4847
12 | 2720388.3126 | 1259839.41
13 | 2720374.0624 | 1259835.6362
14 | 2720394.6714 | 1259842.1703
15 | 2720368.7303 | 1259835.0339
16 | 2720399.3971 | 1259844.6173
17 | 2720346.9662 | 1259834.9269
18 | 2720410.4023 | 1259851.6701
19 | 2720424.6804 | 1259885.7414
20 | 2720440.4462 | 1259876.81
21 | 2720421.1034 | 1259890.5743
22 | 2720347.3352 | 1259823.2396
23 | 2720337.3228 | 1259829.3925
24 | 2720425.8813 | 1259864.6225
25 | 2720445.1624 | 1259880.3091
26 | 2720432.4864 | 1259870.1495
27 | 2720417.8099 | 1259895.547
28 | 2720346.5554 | 1259870.2966
29 | 2720342.2908 | 1259901.646
30 | 2720327.3044 | 1259911.5611
31 | 2720332.1762 | 1259898.5265
32 | 2720307.0559 | 1259911.0784
33 | 2720340.0815 | 1259908.3292
34 | 2720332.2961 | 1259922.3215
35 | 2720346.7652 | 1259909.9888
36 | 2720336.4273 | 1259877.6
37 | 2720348.9406 | 1259800.7991
38 | 2720323.6106 | 1259830.0365
39 | 2720295.7745 | 1259853.9898
40 | 2720337.2296 | 1259843.9783
41 | 2720452.277 | 1259871.9243
42 | 2720453.5223 | 1259886.8248
43 | 2720408.0179 | 1259919.4543
44 | 2720528.6699 | 1259713.6883
45 | 2720506.4802 | 1259716.8025
46 | 2720542.761 | 1259720.111
47 | 2720558.8571 | 1259720.8951
48 | 2720561.7617 | 1259721.1719
49 | 2720541.3249 | 1259739.1182
50 | 2720596.7301 | 1259724.5034
51 | 2720537.7506 | 1259763.8627
52 | 2720354.4355 | 1259781.9698
53 | 2720400.9929 | 1259760.5322
54 | 2720405.6922 | 1259762.1757
55 | 2720336.9947 | 1259867.329
56 | 2720291.2936 | 1259911.3399
57 | 2720316.7119 | 1259950.0351
58 | 2720367.6655 | 1259898.5931
59 | 2720356.3086 | 1259920.4254
60 | 2720422.822 | 1259783.6101
61 | 2720272.1766 | 1259909.2464
62 | 2720498.8764 | 1259962.8607
63 | 2720508.0037 | 1259992.943
64 | 2720485.0282 | 1259920.3781
65 | 2720519.3633 | 1260032.408
66 | 2720472.5018 | 1259924.9751
67 | 2720465.3689 | 1259927.5991
68 | 2720457.6506 | 1259930.4852
69 | 2720466.8407 | 1259883.7302
70 | 2720475.668 | 1259844.354
71 | 2720537.7386 | 1259763.946
72 | 2720534.2095 | 1259788.3779
73 | 2720533.511 | 1259793.2138
74 | 2720547.507 | 1259832.7179
75 | 2720480.7119 | 1259784.7821
76 | 2720473.6099 | 1259801.1774
77 | 2720469.9917 | 1259809.53
78 | 2720458.5223 | 1259829.3172
79 | 2720494.0092 | 1259860.1158
80 | 2720596.0274 | 1259741.9401
81 | 2720592.1203 | 1259768.7907
82 | 2720590.4599 | 1259780.2019
83 | 2720586.1373 | 1259809.9082
84 | 2720424.1665 | 1259786.5993
85 | 2720514.9118 | 1259878.0788
86 | 2720487.9451 | 1259900.8382
87 | 2720508.3803 | 1259917.4037
88 | 2720510.6919 | 1259919.2775
89 | 2720400.5795 | 1259928.6725
90 | 2720396.5172 | 1259908.5241
91 | 2720359.8249 | 1259932.1294
92 | 2720361.1676 | 1259947.1883
93 | 2720361.3814 | 1259949.2335
94 | 2720362.3274 | 1259963.2512
95 | 2720361.9247 | 1259974.8987
96 | 2720357.6748 | 1259994.4183
97 | 2720351.6257 | 1259982.8377
98 | 2720352.5255 | 1260017.0759
99 | 2720372.5542 | 1259989.1498
100 | 2720388.1861 | 1259981.2472
101 | 2720394.1444 | 1259978.0292
102 | 2720419.1245 | 1259799.6424
103 | 2720394.0152 | 1259787.3865
104 | 2720445.1624 | 1259880.3091

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1