## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3427-5_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3427-5_0_6_node_13 | 0.4 | n |  | TRUE
2 | bus_LV_3427-5_0_6_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_3427-5_0_6_node_16 | 0.4 | n |  | TRUE
4 | bus_LV_3427-5_0_6_node_14 | 0.4 | n |  | TRUE
5 | bus_LV_3427-5_0_6_node_19 | 0.4 | n |  | TRUE
6 | bus_LV_3427-5_0_6_node_2 | 0.4 | n |  | TRUE
7 | bus_LV_3427-5_0_6_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_3427-5_0_6_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_3427-5_0_6_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_3427-5_0_6_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_3427-5_0_6_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_3427-5_0_6_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_3427-5_0_6_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_3427-5_0_6_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_3427-5_0_6_node_43 | 0.4 | n |  | TRUE
16 | bus_LV_3427-5_0_6_node_55 | 0.4 | n |  | TRUE
17 | bus_LV_3427-5_0_6_node_48 | 0.4 | n |  | TRUE
18 | bus_LV_3427-5_0_6_node_23 | 0.4 | n |  | TRUE
19 | bus_LV_3427-5_0_6_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_3427-5_0_6_node_45 | 0.4 | n |  | TRUE
21 | bus_LV_3427-5_0_6_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_3427-5_0_6_node_60 | 0.4 | n |  | TRUE
23 | bus_LV_3427-5_0_6_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_3427-5_0_6_node_82 | 0.4 | n |  | TRUE
25 | bus_LV_3427-5_0_6_node_78 | 0.4 | n |  | TRUE
26 | bus_LV_3427-5_0_6_node_57 | 0.4 | n |  | TRUE
27 | bus_LV_3427-5_0_6_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_3427-5_0_6_node_80 | 0.4 | n |  | TRUE
29 | bus_LV_3427-5_0_6_node_79 | 0.4 | n |  | TRUE
30 | bus_LV_3427-5_0_6_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_3427-5_0_6_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_3427-5_0_6_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_3427-5_0_6_node_58 | 0.4 | n |  | TRUE
34 | bus_LV_3427-5_0_6_node_76 | 0.4 | n |  | TRUE
35 | bus_LV_3427-5_0_6_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_3427-5_0_6_node_61 | 0.4 | n |  | TRUE
37 | bus_LV_3427-5_0_6_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_3427-5_0_6_node_75 | 0.4 | n |  | TRUE
39 | bus_LV_3427-5_0_6_node_69 | 0.4 | n |  | TRUE
40 | bus_LV_3427-5_0_6_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_3427-5_0_6_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_3427-5_0_6_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_3427-5_0_6_node_66 | 0.4 | n |  | TRUE
44 | bus_LV_3427-5_0_6_node_53 | 0.4 | n |  | TRUE
45 | bus_LV_3427-5_0_6_node_50 | 0.4 | n |  | TRUE
46 | bus_LV_3427-5_0_6_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_3427-5_0_6_node_68 | 0.4 | n |  | TRUE
48 | bus_LV_3427-5_0_6_node_67 | 0.4 | n |  | TRUE
49 | bus_LV_3427-5_0_6_node_22 | 0.4 | n |  | TRUE
50 | bus_LV_3427-5_0_6_node_59 | 0.4 | n |  | TRUE
51 | bus_LV_3427-5_0_6_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_3427-5_0_6_node_65 | 0.4 | n |  | TRUE
53 | bus_LV_3427-5_0_6_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_3427-5_0_6_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_3427-5_0_6_node_72 | 0.4 | n |  | TRUE
56 | bus_LV_3427-5_0_6_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_3427-5_0_6_node_74 | 0.4 | n |  | TRUE
58 | bus_LV_3427-5_0_6_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_3427-5_0_6_node_71 | 0.4 | n |  | TRUE
60 | bus_LV_3427-5_0_6_node_70 | 0.4 | n |  | TRUE
61 | bus_LV_3427-5_0_6_node_64 | 0.4 | n |  | TRUE
62 | bus_LV_3427-5_0_6_node_38 | 0.4 | n |  | TRUE
63 | bus_LV_3427-5_0_6_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_3427-5_0_6_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_3427-5_0_6_node_9 | 0.4 | n |  | TRUE
66 | bus_LV_3427-5_0_6_node_10 | 0.4 | n |  | TRUE
67 | bus_LV_3427-5_0_6_node_11 | 0.4 | n |  | TRUE
68 | bus_LV_3427-5_0_6_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_3427-5_0_6_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_3427-5_0_6_node_81 | 0.4 | n |  | TRUE
71 | bus_LV_3427-5_0_6_node_56 | 0.4 | n |  | TRUE
72 | bus_LV_3427-5_0_6_node_77 | 0.4 | n |  | TRUE
73 | bus_LV_3427-5_0_6_node_49 | 0.4 | n |  | TRUE
74 | bus_LV_3427-5_0_6_node_73 | 0.4 | n |  | TRUE
75 | bus_LV_3427-5_0_6_node_46 | 0.4 | n |  | TRUE
76 | bus_LV_3427-5_0_6_node_47 | 0.4 | n |  | TRUE
77 | bus_LV_3427-5_0_6_node_51 | 0.4 | n |  | TRUE
78 | bus_LV_3427-5_0_6_node_52 | 0.4 | n |  | TRUE
79 | bus_MV_589_0_node_70 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3427-5_0_6_load_0 | 0 | 0.044023 | 0.011033 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3427-5_0_6_load_13 | 1 | 0.021831 | 0.0054714 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3427-5_0_6_load_1 | 2 | 0.0041183 | 0.0010321 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3427-5_0_6_load_14 | 4 | 0.0082801 | 0.0020752 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3427-5_0_6_load_2 | 6 | 0.0088786 | 0.0022252 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3427-5_0_6_load_3 | 7 | 0.010623 | 0.0026624 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3427-5_0_6_load_5 | 9 | 0.01221 | 0.0030602 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3427-5_0_6_load_7 | 11 | 0.005922 | 0.0014842 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3427-5_0_6_load_8 | 12 | 0.017156 | 0.0042997 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3427-5_0_6_load_12 | 13 | 0.01287 | 0.0032256 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3427-5_0_6_load_43 | 15 | 0.010516 | 0.0026355 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3427-5_0_6_load_48 | 17 | 0.014073 | 0.0035271 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3427-5_0_6_load_45 | 20 | 0.013848 | 0.0034706 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3427-5_0_6_load_60 | 22 | 0.011245 | 0.0028183 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3427-5_0_6_load_82 | 24 | 0.003986 | 0.00099897 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3427-5_0_6_load_78 | 25 | 0.014522 | 0.0036395 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3427-5_0_6_load_57 | 26 | 0.017958 | 0.0045007 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3427-5_0_6_load_80 | 28 | 0.00063063 | 0.00015805 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3427-5_0_6_load_79 | 29 | 0.00063063 | 0.00015805 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3427-5_0_6_load_58 | 33 | 0.0087783 | 0.0022001 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3427-5_0_6_load_76 | 34 | 0.011935 | 0.0029911 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3427-5_0_6_load_61 | 36 | 0.0035034 | 0.00087803 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3427-5_0_6_load_75 | 38 | 0.026591 | 0.0066644 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3427-5_0_6_load_69 | 39 | 0.012787 | 0.0032048 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3427-5_0_6_load_66 | 43 | 0.0093179 | 0.0023353 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3427-5_0_6_load_53 | 44 | 0.0081673 | 0.0020469 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3427-5_0_6_load_50 | 45 | 0.007512 | 0.0018827 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3427-5_0_6_load_68 | 47 | 0.016435 | 0.0041189 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3427-5_0_6_load_67 | 48 | 0.0016343 | 0.00040958 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3427-5_0_6_load_59 | 50 | 0.0183 | 0.0045864 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3427-5_0_6_load_65 | 52 | 0.016391 | 0.0041079 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3427-5_0_6_load_72 | 55 | 0.0014678 | 0.00036787 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3427-5_0_6_load_74 | 57 | 0.0014251 | 0.00035717 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3427-5_0_6_load_71 | 59 | 0.0015822 | 0.00039655 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3427-5_0_6_load_70 | 60 | 0.001442 | 0.0003614 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3427-5_0_6_load_64 | 61 | 0.0084208 | 0.0021104 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3427-5_0_6_load_38 | 62 | 0.048508 | 0.012157 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3427-5_0_6_load_44 | 63 | 0.010431 | 0.0026143 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3427-5_0_6_load_9 | 65 | 0.013002 | 0.0032586 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3427-5_0_6_load_11 | 67 | 0.013657 | 0.0034227 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3427-5_0_6_load_63 | 68 | 0.01298 | 0.003253 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3427-5_0_6_load_62 | 69 | 0.02705 | 0.0067793 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3427-5_0_6_load_81 | 70 | 0.0041552 | 0.0010414 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3427-5_0_6_load_56 | 71 | 0.010914 | 0.0027353 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3427-5_0_6_load_77 | 72 | 0.0114 | 0.002857 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3427-5_0_6_load_49 | 73 | 0.014376 | 0.0036031 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3427-5_0_6_load_73 | 74 | 0.00094808 | 0.00023761 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3427-5_0_6_load_46 | 75 | 0.010191 | 0.002554 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3427-5_0_6_load_47 | 76 | 0.012334 | 0.0030913 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3427-5_0_6_load_51 | 77 | 0.0042019 | 0.0010531 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3427-5_0_6_load_52 | 78 | 0.011331 | 0.0028398 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3427-5_0_6_line_0 |  | 0 | 1 | 0.047475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3427-5_0_6_line_1 |  | 1 | 4 | 0.035671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3427-5_0_6_line_2 |  | 2 | 3 | 0.046066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3427-5_0_6_line_3 |  | 3 | 5 | 0.0099787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3427-5_0_6_line_4 |  | 3 | 4 | 0.015552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3427-5_0_6_line_5 |  | 5 | 24 | 0.011032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3427-5_0_6_line_6 |  | 6 | 7 | 0.031935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3427-5_0_6_line_7 |  | 6 | 8 | 0.020957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3427-5_0_6_line_8 |  | 7 | 9 | 0.033044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3427-5_0_6_line_9 |  | 8 | 10 | 0.004968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3427-5_0_6_line_10 |  | 8 | 11 | 0.014623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3427-5_0_6_line_11 |  | 8 | 12 | 0.03443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_3427-5_0_6_line_12 |  | 9 | 13 | 0.027083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3427-5_0_6_line_13 |  | 10 | 14 | 0.005226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3427-5_0_6_line_14 |  | 10 | 15 | 0.017962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3427-5_0_6_line_15 |  | 11 | 16 | 0.043915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3427-5_0_6_line_16 |  | 12 | 17 | 0.020815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_3427-5_0_6_line_17 |  | 14 | 62 | 0.035612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3427-5_0_6_line_18 |  | 15 | 63 | 0.031582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3427-5_0_6_line_19 |  | 16 | 64 | 0.063552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3427-5_0_6_line_20 |  | 16 | 35 | 0.006878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3427-5_0_6_line_21 |  | 17 | 18 | 0.028311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_3427-5_0_6_line_22 |  | 18 | 19 | 0.010166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_3427-5_0_6_line_23 |  | 18 | 20 | 0.013198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3427-5_0_6_line_24 |  | 19 | 26 | 0.0085989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3427-5_0_6_line_25 |  | 19 | 21 | 0.002643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_3427-5_0_6_line_26 |  | 21 | 22 | 0.031242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3427-5_0_6_line_27 |  | 21 | 23 | 0.0092623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_3427-5_0_6_line_28 |  | 23 | 25 | 0.0099598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_3427-5_0_6_line_29 |  | 24 | 70 | 0.023643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3427-5_0_6_line_30 |  | 25 | 72 | 0.024533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_3427-5_0_6_line_31 |  | 27 | 28 | 0.015489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3427-5_0_6_line_32 |  | 27 | 29 | 0.015292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3427-5_0_6_line_33 |  | 28 | 70 | 0.020077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3427-5_0_6_line_34 |  | 29 | 31 | 0.033028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3427-5_0_6_line_35 |  | 30 | 31 | 0.022665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_3427-5_0_6_line_36 |  | 30 | 32 | 0.0096815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_3427-5_0_6_line_37 |  | 30 | 33 | 0.043223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3427-5_0_6_line_38 |  | 31 | 34 | 0.014829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_3427-5_0_6_line_39 |  | 32 | 50 | 0.012159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_3427-5_0_6_line_40 |  | 34 | 72 | 0.024348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_3427-5_0_6_line_41 |  | 35 | 36 | 0.0089376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3427-5_0_6_line_42 |  | 36 | 71 | 0.020655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3427-5_0_6_line_43 |  | 37 | 38 | 0.038663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3427-5_0_6_line_44 |  | 37 | 39 | 0.020603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3427-5_0_6_line_45 |  | 39 | 47 | 0.010162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3427-5_0_6_line_46 |  | 40 | 41 | 0.0087322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3427-5_0_6_line_47 |  | 40 | 42 | 0.005387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3427-5_0_6_line_48 |  | 40 | 43 | 0.023302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3427-5_0_6_line_49 |  | 41 | 44 | 0.010909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3427-5_0_6_line_50 |  | 41 | 45 | 0.024149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3427-5_0_6_line_51 |  | 42 | 61 | 0.0088085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3427-5_0_6_line_52 |  | 42 | 51 | 0.024328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3427-5_0_6_line_53 |  | 43 | 49 | 0.011962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3427-5_0_6_line_54 |  | 44 | 50 | 0.031123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3427-5_0_6_line_55 |  | 45 | 73 | 0.018872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3427-5_0_6_line_56 |  | 46 | 47 | 0.0079727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3427-5_0_6_line_57 |  | 46 | 48 | 0.0098293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3427-5_0_6_line_58 |  | 48 | 49 | 0.00903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3427-5_0_6_line_59 |  | 51 | 52 | 0.013378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3427-5_0_6_line_60 |  | 53 | 54 | 0.022008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3427-5_0_6_line_61 |  | 53 | 55 | 0.0098036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3427-5_0_6_line_62 |  | 53 | 56 | 0.019276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3427-5_0_6_line_63 |  | 54 | 57 | 0.0099643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3427-5_0_6_line_64 |  | 54 | 58 | 0.019278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3427-5_0_6_line_65 |  | 55 | 74 | 0.0077262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3427-5_0_6_line_66 |  | 56 | 59 | 0.0096875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3427-5_0_6_line_67 |  | 56 | 60 | 0.010986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3427-5_0_6_line_68 |  | 58 | 68 | 0.0085015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3427-5_0_6_line_69 |  | 58 | 69 | 0.058817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3427-5_0_6_line_70 |  | 63 | 67 | 0.030594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3427-5_0_6_line_71 |  | 64 | 69 | 0.036019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3427-5_0_6_line_72 |  | 65 | 66 | 0.067323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3427-5_0_6_line_73 |  | 66 | 67 | 0.053861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3427-5_0_6_line_74 |  | 71 | 76 | 0.019355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3427-5_0_6_line_75 |  | 73 | 77 | 0.0012701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3427-5_0_6_line_76 |  | 75 | 76 | 0.020693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3427-5_0_6_line_77 |  | 77 | 78 | 0.017509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3427-5_0_6_trafo_48 | 0.63 MVA 20/0.4 kV | 79 | 17 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2720503.2637 | 1258178.5597 | 2720498.1351 | 1258131.3628
1 | 2720503.2637 | 1258178.5597 | 2720538.7583 | 1258175.0122
2 | 2720554.2333 | 1258173.4656 | 2720550.1619 | 1258127.5797
3 | 2720554.2333 | 1258173.4656 | 2720558.3444 | 1258173.049 | 2720564.1692 | 1258172.5449
4 | 2720554.2333 | 1258173.4656 | 2720538.7583 | 1258175.0122
5 | 2720564.1692 | 1258172.5449 | 2720575.1598 | 1258171.5954
6 | 2720453.9279 | 1258240.9326 | 2720422.109 | 1258243.6534
7 | 2720474.8037 | 1258239.0947 | 2720471.1009 | 1258239.4641 | 2720453.9279 | 1258240.9326
8 | 2720422.109 | 1258243.6534 | 2720389.1851 | 1258246.4687
9 | 2720473.9759 | 1258234.1958 | 2720474.8037 | 1258239.0947
10 | 2720474.8037 | 1258239.0947 | 2720476.0366 | 1258253.6654
11 | 2720474.8037 | 1258239.0947 | 2720480.6001 | 1258238.5011 | 2720509.105 | 1258236.1285
12 | 2720362.2002 | 1258248.7762 | 2720389.1851 | 1258246.4687
13 | 2720473.9759 | 1258234.1958 | 2720473.403 | 1258229.0018
14 | 2720473.9759 | 1258234.1958 | 2720467.3425 | 1258234.7835 | 2720456.0825 | 1258235.7642
15 | 2720479.7391 | 1258297.424 | 2720476.0366 | 1258253.6654
16 | 2720529.8486 | 1258234.4019 | 2720509.105 | 1258236.1285
17 | 2720473.403 | 1258229.0018 | 2720476.2914 | 1258229.739 | 2720479.3518 | 1258229.8125 | 2720508.8196 | 1258227.3628
18 | 2720424.621 | 1258238.5178 | 2720449.5433 | 1258236.3338 | 2720456.0825 | 1258235.7642
19 | 2720479.7391 | 1258297.424 | 2720483.2565 | 1258335.3955 | 2720487.0562 | 1258335.0837 | 2720487.7846 | 1258343.7505 | 2720488.5572 | 1258345.8014 | 2720490.0482 | 1258347.3887 | 2720492.1396 | 1258348.0096 | 2720498.4709 | 1258347.4379
20 | 2720479.7391 | 1258297.424 | 2720486.6193 | 1258296.9303
21 | 2720557.7443 | 1258233.9345 | 2720556.0537 | 1258232.888 | 2720553.3704 | 1258232.4441 | 2720529.8486 | 1258234.4019
22 | 2720557.7443 | 1258233.9345 | 2720562.9352 | 1258233.8179 | 2720567.9075 | 1258233.6968
23 | 2720557.7443 | 1258233.9345 | 2720558.4638 | 1258235.2614 | 2720558.9274 | 1258237.306 | 2720559.6938 | 1258246.8677
24 | 2720567.9075 | 1258233.6968 | 2720567.7697 | 1258236.3853 | 2720568.2591 | 1258242.2719
25 | 2720567.9075 | 1258233.6968 | 2720568.2774 | 1258232.57 | 2720569.3385 | 1258231.5685
26 | 2720569.3385 | 1258231.5685 | 2720570.971 | 1258231.0235 | 2720573.095 | 1258230.7888 | 2720600.3836 | 1258228.4999
27 | 2720568.7351 | 1258222.3259 | 2720569.017 | 1258226.6243 | 2720569.3385 | 1258231.5685
28 | 2720568.7351 | 1258222.3259 | 2720571.2383 | 1258222.3547 | 2720578.6687 | 1258221.7318
29 | 2720598.7154 | 1258169.5602 | 2720575.1598 | 1258171.5954
30 | 2720603.1162 | 1258219.682 | 2720578.6687 | 1258221.7318
31 | 2720634.1499 | 1258166.4988 | 2720618.718 | 1258167.8321
32 | 2720634.1499 | 1258166.4988 | 2720635.8766 | 1258167.6238 | 2720636.8045 | 1258169.0885 | 2720637.1758 | 1258171.2201 | 2720637.9431 | 1258180.5225
33 | 2720598.7154 | 1258169.5602 | 2720618.718 | 1258167.8321
34 | 2720640.6585 | 1258213.4392 | 2720637.9431 | 1258180.5225
35 | 2720640.6585 | 1258213.4392 | 2720645.593 | 1258212.9504 | 2720646.1078 | 1258219.8781 | 2720646.6086 | 1258226.3829 | 2720650.8369 | 1258226.1355
36 | 2720641.1722 | 1258226.7057 | 2720646.6086 | 1258226.3829 | 2720650.8369 | 1258226.1355
37 | 2720650.8369 | 1258226.1355 | 2720650.7569 | 1258227.4684 | 2720654.456 | 1258269.193
38 | 2720640.6585 | 1258213.4392 | 2720640.1666 | 1258214.6302 | 2720639.393 | 1258215.5819 | 2720637.7009 | 1258216.4593 | 2720635.4658 | 1258216.9698 | 2720627.3792 | 1258217.6478
39 | 2720641.1722 | 1258226.7057 | 2720642.1095 | 1258228.8155 | 2720642.8961 | 1258238.6339
40 | 2720627.3792 | 1258217.6478 | 2720603.1162 | 1258219.682
41 | 2720486.6193 | 1258296.9303 | 2720486.2033 | 1258292.5513 | 2720490.7264 | 1258292.1731
42 | 2720511.3091 | 1258290.4523 | 2720490.7264 | 1258292.1731
43 | 2720560.1858 | 1258330.2129 | 2720561.2185 | 1258330.234 | 2720559.9179 | 1258319.309 | 2720558.7401 | 1258315.3037 | 2720556.8886 | 1258311.7963 | 2720552.7447 | 1258309.3876 | 2720551.2729 | 1258295.7568
44 | 2720551.2729 | 1258295.7568 | 2720571.8105 | 1258294.1112
45 | 2720581.9403 | 1258293.2996 | 2720571.8105 | 1258294.1112
46 | 2720643.1662 | 1258279.0477 | 2720643.5255 | 1258283.2476 | 2720643.788 | 1258287.7569
47 | 2720649.1677 | 1258287.255 | 2720643.788 | 1258287.7569
48 | 2720643.788 | 1258287.7569 | 2720620.5866 | 1258289.9218
49 | 2720643.1662 | 1258279.0477 | 2720644.2042 | 1258278.8131 | 2720645.0838 | 1258278.2083 | 2720645.6906 | 1258277.2977 | 2720645.9084 | 1258276.2345 | 2720645.3815 | 1258269.658
50 | 2720643.1662 | 1258279.0477 | 2720619.1123 | 1258281.1892
51 | 2720649.1677 | 1258287.255 | 2720649.7378 | 1258296.0451
52 | 2720673.4965 | 1258285.3938 | 2720649.1677 | 1258287.255
53 | 2720608.6763 | 1258291.0331 | 2720620.5866 | 1258289.9218
54 | 2720642.8961 | 1258238.6339 | 2720645.3815 | 1258269.658
55 | 2720600.315 | 1258282.8626 | 2720619.1123 | 1258281.1892
56 | 2720589.8876 | 1258292.6629 | 2720581.9403 | 1258293.2996
57 | 2720589.8876 | 1258292.6629 | 2720599.6801 | 1258291.8135
58 | 2720608.6763 | 1258291.0331 | 2720599.6801 | 1258291.8135
59 | 2720673.4965 | 1258285.3938 | 2720674.8269 | 1258298.7054
60 | 2720612.1898 | 1258337.2897 | 2720634.1752 | 1258335.3249
61 | 2720634.1752 | 1258335.3249 | 2720633.4763 | 1258325.5462
62 | 2720634.1752 | 1258335.3249 | 2720653.4329 | 1258333.6159
63 | 2720612.1898 | 1258337.2897 | 2720611.6022 | 1258327.3427
64 | 2720612.1898 | 1258337.2897 | 2720592.9319 | 1258339.0099
65 | 2720632.9256 | 1258317.8396 | 2720633.4763 | 1258325.5462
66 | 2720653.4329 | 1258333.6159 | 2720652.4644 | 1258323.977
67 | 2720653.4329 | 1258333.6159 | 2720664.3759 | 1258332.6402
68 | 2720592.9319 | 1258339.0099 | 2720592.5431 | 1258334.4091 | 2720592.77 | 1258330.5314
69 | 2720592.9319 | 1258339.0099 | 2720555.708 | 1258342.3323 | 2720534.3477 | 1258344.2377
70 | 2720394.1437 | 1258241.1886 | 2720424.621 | 1258238.5178
71 | 2720498.4709 | 1258347.4379 | 2720534.3477 | 1258344.2377
72 | 2720340.4879 | 1258245.8906 | 2720336.5482 | 1258201.9388 | 2720359.6274 | 1258199.6237
73 | 2720340.4879 | 1258245.8906 | 2720394.1437 | 1258241.1886
74 | 2720511.3091 | 1258290.4523 | 2720530.5971 | 1258288.8398
75 | 2720600.315 | 1258282.8626 | 2720599.0499 | 1258282.9752
76 | 2720551.2182 | 1258287.1157 | 2720530.5971 | 1258288.8398
77 | 2720581.61 | 1258284.5278 | 2720599.0499 | 1258282.9752

## bus_geodata
| x | y | coords
0 | 2720498.1351 | 1258131.3628
1 | 2720503.2637 | 1258178.5597
2 | 2720550.1619 | 1258127.5797
3 | 2720554.2333 | 1258173.4656
4 | 2720538.7583 | 1258175.0122
5 | 2720564.1692 | 1258172.5449
6 | 2720453.9279 | 1258240.9326
7 | 2720422.109 | 1258243.6534
8 | 2720474.8037 | 1258239.0947
9 | 2720389.1851 | 1258246.4687
10 | 2720473.9759 | 1258234.1958
11 | 2720476.0366 | 1258253.6654
12 | 2720509.105 | 1258236.1285
13 | 2720362.2002 | 1258248.7762
14 | 2720473.403 | 1258229.0018
15 | 2720456.0825 | 1258235.7642
16 | 2720479.7391 | 1258297.424
17 | 2720529.8486 | 1258234.4019
18 | 2720557.7443 | 1258233.9345
19 | 2720567.9075 | 1258233.6968
20 | 2720559.6938 | 1258246.8677
21 | 2720569.3385 | 1258231.5685
22 | 2720600.3836 | 1258228.4999
23 | 2720568.7351 | 1258222.3259
24 | 2720575.1598 | 1258171.5954
25 | 2720578.6687 | 1258221.7318
26 | 2720568.2591 | 1258242.2719
27 | 2720634.1499 | 1258166.4988
28 | 2720618.718 | 1258167.8321
29 | 2720637.9431 | 1258180.5225
30 | 2720650.8369 | 1258226.1355
31 | 2720640.6585 | 1258213.4392
32 | 2720641.1722 | 1258226.7057
33 | 2720654.456 | 1258269.193
34 | 2720627.3792 | 1258217.6478
35 | 2720486.6193 | 1258296.9303
36 | 2720490.7264 | 1258292.1731
37 | 2720551.2729 | 1258295.7568
38 | 2720560.1858 | 1258330.2129
39 | 2720571.8105 | 1258294.1112
40 | 2720643.788 | 1258287.7569
41 | 2720643.1662 | 1258279.0477
42 | 2720649.1677 | 1258287.255
43 | 2720620.5866 | 1258289.9218
44 | 2720645.3815 | 1258269.658
45 | 2720619.1123 | 1258281.1892
46 | 2720589.8876 | 1258292.6629
47 | 2720581.9403 | 1258293.2996
48 | 2720599.6801 | 1258291.8135
49 | 2720608.6763 | 1258291.0331
50 | 2720642.8961 | 1258238.6339
51 | 2720673.4965 | 1258285.3938
52 | 2720674.8269 | 1258298.7054
53 | 2720634.1752 | 1258335.3249
54 | 2720612.1898 | 1258337.2897
55 | 2720633.4763 | 1258325.5462
56 | 2720653.4329 | 1258333.6159
57 | 2720611.6022 | 1258327.3427
58 | 2720592.9319 | 1258339.0099
59 | 2720652.4644 | 1258323.977
60 | 2720664.3759 | 1258332.6402
61 | 2720649.7378 | 1258296.0451
62 | 2720508.8196 | 1258227.3628
63 | 2720424.621 | 1258238.5178
64 | 2720498.4709 | 1258347.4379
65 | 2720359.6274 | 1258199.6237
66 | 2720340.4879 | 1258245.8906
67 | 2720394.1437 | 1258241.1886
68 | 2720592.77 | 1258330.5314
69 | 2720534.3477 | 1258344.2377
70 | 2720598.7154 | 1258169.5602
71 | 2720511.3091 | 1258290.4523
72 | 2720603.1162 | 1258219.682
73 | 2720600.315 | 1258282.8626
74 | 2720632.9256 | 1258317.8396
75 | 2720551.2182 | 1258287.1157
76 | 2720530.5971 | 1258288.8398
77 | 2720599.0499 | 1258282.9752
78 | 2720581.61 | 1258284.5278
79 | 2720557.7443 | 1258233.9345

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1