## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3427-67_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3427-67_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3427-67_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3427-67_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3427-67_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3427-67_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3427-67_0_4_node_49 | 0.4 | n |  | TRUE
7 | bus_LV_3427-67_0_4_node_56 | 0.4 | n |  | TRUE
8 | bus_LV_3427-67_0_4_node_68 | 0.4 | n |  | TRUE
9 | bus_LV_3427-67_0_4_node_17 | 0.4 | n |  | TRUE
10 | bus_LV_3427-67_0_4_node_79 | 0.4 | n |  | TRUE
11 | bus_LV_3427-67_0_4_node_63 | 0.4 | n |  | TRUE
12 | bus_LV_3427-67_0_4_node_82 | 0.4 | n |  | TRUE
13 | bus_LV_3427-67_0_4_node_66 | 0.4 | n |  | TRUE
14 | bus_LV_3427-67_0_4_node_54 | 0.4 | n |  | TRUE
15 | bus_LV_3427-67_0_4_node_23 | 0.4 | n |  | TRUE
16 | bus_LV_3427-67_0_4_node_67 | 0.4 | n |  | TRUE
17 | bus_LV_3427-67_0_4_node_6 | 0.4 | n |  | TRUE
18 | bus_LV_3427-67_0_4_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_3427-67_0_4_node_7 | 0.4 | n |  | TRUE
20 | bus_LV_3427-67_0_4_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_3427-67_0_4_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_3427-67_0_4_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_3427-67_0_4_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_3427-67_0_4_node_9 | 0.4 | n |  | TRUE
25 | bus_LV_3427-67_0_4_node_35 | 0.4 | n |  | TRUE
26 | bus_LV_3427-67_0_4_node_61 | 0.4 | n |  | TRUE
27 | bus_LV_3427-67_0_4_node_53 | 0.4 | n |  | TRUE
28 | bus_LV_3427-67_0_4_node_37 | 0.4 | n |  | TRUE
29 | bus_LV_3427-67_0_4_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_3427-67_0_4_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_3427-67_0_4_node_57 | 0.4 | n |  | TRUE
32 | bus_LV_3427-67_0_4_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_3427-67_0_4_node_59 | 0.4 | n |  | TRUE
34 | bus_LV_3427-67_0_4_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_3427-67_0_4_node_14 | 0.4 | n |  | TRUE
36 | bus_LV_3427-67_0_4_node_15 | 0.4 | n |  | TRUE
37 | bus_LV_3427-67_0_4_node_50 | 0.4 | n |  | TRUE
38 | bus_LV_3427-67_0_4_node_51 | 0.4 | n |  | TRUE
39 | bus_LV_3427-67_0_4_node_55 | 0.4 | n |  | TRUE
40 | bus_LV_3427-67_0_4_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_3427-67_0_4_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_3427-67_0_4_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_3427-67_0_4_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_3427-67_0_4_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_3427-67_0_4_node_70 | 0.4 | n |  | TRUE
46 | bus_LV_3427-67_0_4_node_47 | 0.4 | n |  | TRUE
47 | bus_LV_3427-67_0_4_node_69 | 0.4 | n |  | TRUE
48 | bus_LV_3427-67_0_4_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_3427-67_0_4_node_71 | 0.4 | n |  | TRUE
50 | bus_LV_3427-67_0_4_node_62 | 0.4 | n |  | TRUE
51 | bus_LV_3427-67_0_4_node_26 | 0.4 | n |  | TRUE
52 | bus_LV_3427-67_0_4_node_27 | 0.4 | n |  | TRUE
53 | bus_LV_3427-67_0_4_node_28 | 0.4 | n |  | TRUE
54 | bus_LV_3427-67_0_4_node_29 | 0.4 | n |  | TRUE
55 | bus_LV_3427-67_0_4_node_30 | 0.4 | n |  | TRUE
56 | bus_LV_3427-67_0_4_node_31 | 0.4 | n |  | TRUE
57 | bus_LV_3427-67_0_4_node_32 | 0.4 | n |  | TRUE
58 | bus_LV_3427-67_0_4_node_34 | 0.4 | n |  | TRUE
59 | bus_LV_3427-67_0_4_node_80 | 0.4 | n |  | TRUE
60 | bus_LV_3427-67_0_4_node_78 | 0.4 | n |  | TRUE
61 | bus_LV_3427-67_0_4_node_38 | 0.4 | n |  | TRUE
62 | bus_LV_3427-67_0_4_node_39 | 0.4 | n |  | TRUE
63 | bus_LV_3427-67_0_4_node_40 | 0.4 | n |  | TRUE
64 | bus_LV_3427-67_0_4_node_41 | 0.4 | n |  | TRUE
65 | bus_LV_3427-67_0_4_node_43 | 0.4 | n |  | TRUE
66 | bus_LV_3427-67_0_4_node_42 | 0.4 | n |  | TRUE
67 | bus_LV_3427-67_0_4_node_44 | 0.4 | n |  | TRUE
68 | bus_LV_3427-67_0_4_node_65 | 0.4 | n |  | TRUE
69 | bus_LV_3427-67_0_4_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_3427-67_0_4_node_46 | 0.4 | n |  | TRUE
71 | bus_LV_3427-67_0_4_node_48 | 0.4 | n |  | TRUE
72 | bus_LV_3427-67_0_4_node_76 | 0.4 | n |  | TRUE
73 | bus_LV_3427-67_0_4_node_93 | 0.4 | n |  | TRUE
74 | bus_LV_3427-67_0_4_node_91 | 0.4 | n |  | TRUE
75 | bus_LV_3427-67_0_4_node_74 | 0.4 | n |  | TRUE
76 | bus_LV_3427-67_0_4_node_92 | 0.4 | n |  | TRUE
77 | bus_LV_3427-67_0_4_node_52 | 0.4 | n |  | TRUE
78 | bus_LV_3427-67_0_4_node_58 | 0.4 | n |  | TRUE
79 | bus_LV_3427-67_0_4_node_89 | 0.4 | n |  | TRUE
80 | bus_LV_3427-67_0_4_node_86 | 0.4 | n |  | TRUE
81 | bus_LV_3427-67_0_4_node_90 | 0.4 | n |  | TRUE
82 | bus_LV_3427-67_0_4_node_72 | 0.4 | n |  | TRUE
83 | bus_LV_3427-67_0_4_node_73 | 0.4 | n |  | TRUE
84 | bus_LV_3427-67_0_4_node_75 | 0.4 | n |  | TRUE
85 | bus_LV_3427-67_0_4_node_77 | 0.4 | n |  | TRUE
86 | bus_LV_3427-67_0_4_node_81 | 0.4 | n |  | TRUE
87 | bus_LV_3427-67_0_4_node_87 | 0.4 | n |  | TRUE
88 | bus_LV_3427-67_0_4_node_88 | 0.4 | n |  | TRUE
89 | bus_LV_3427-67_0_4_node_83 | 0.4 | n |  | TRUE
90 | bus_LV_3427-67_0_4_node_84 | 0.4 | n |  | TRUE
91 | bus_LV_3427-67_0_4_node_85 | 0.4 | n |  | TRUE
92 | bus_MV_589_0_node_74 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3427-67_0_4_load_0 | 0 | 0.0032563 | 0.0008161 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3427-67_0_4_load_1 | 1 | 0.0032575 | 0.00081641 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3427-67_0_4_load_3 | 3 | 0.0032488 | 0.00081422 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3427-67_0_4_load_4 | 4 | 0.0041318 | 0.0010355 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3427-67_0_4_load_49 | 6 | 0.0025555 | 0.00064048 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3427-67_0_4_load_56 | 7 | 0.0066711 | 0.0016719 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3427-67_0_4_load_17 | 9 | 0.0029395 | 0.0007367 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3427-67_0_4_load_79 | 10 | 0.0030302 | 0.00075945 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3427-67_0_4_load_82 | 12 | 0.0029727 | 0.00074502 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3427-67_0_4_load_54 | 14 | 0.0038008 | 0.00095257 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3427-67_0_4_load_23 | 15 | 0.0019704 | 0.00049382 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3427-67_0_4_load_67 | 16 | 0.0027551 | 0.0006905 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3427-67_0_4_load_6 | 17 | 0.0056148 | 0.0014072 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3427-67_0_4_load_11 | 21 | 0.011581 | 0.0029025 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3427-67_0_4_load_35 | 25 | 0.012272 | 0.0030757 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3427-67_0_4_load_53 | 27 | 0.0036055 | 0.00090362 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3427-67_0_4_load_37 | 28 | 0.0036044 | 0.00090334 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3427-67_0_4_load_36 | 29 | 0.012974 | 0.0032516 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3427-67_0_4_load_57 | 31 | 0.0017182 | 0.00043061 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3427-67_0_4_load_33 | 32 | 0.0025211 | 0.00063185 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3427-67_0_4_load_59 | 33 | 0.0036024 | 0.00090284 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3427-67_0_4_load_18 | 34 | 0.00080041 | 0.0002006 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3427-67_0_4_load_14 | 35 | 0.001847 | 0.00046291 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3427-67_0_4_load_15 | 36 | 0.0022595 | 0.00056629 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3427-67_0_4_load_50 | 37 | 0.0043722 | 0.0010958 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3427-67_0_4_load_51 | 38 | 0.0027074 | 0.00067853 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3427-67_0_4_load_55 | 39 | 0.003453 | 0.00086541 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3427-67_0_4_load_20 | 40 | 0.0020911 | 0.00052407 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3427-67_0_4_load_21 | 41 | 0.0010823 | 0.00027126 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3427-67_0_4_load_24 | 43 | 0.0010178 | 0.00025507 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3427-67_0_4_load_70 | 45 | 0.0028347 | 0.00071044 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3427-67_0_4_load_47 | 46 | 0.0175 | 0.0043859 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3427-67_0_4_load_45 | 48 | 0.015334 | 0.0038432 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3427-67_0_4_load_62 | 50 | 0.0040463 | 0.0010141 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3427-67_0_4_load_26 | 51 | 0.0079 | 0.0019799 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3427-67_0_4_load_27 | 52 | 0.0055405 | 0.0013886 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3427-67_0_4_load_28 | 53 | 0.0041502 | 0.0010401 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3427-67_0_4_load_29 | 54 | 0.014466 | 0.0036256 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3427-67_0_4_load_30 | 55 | 0.0095445 | 0.0023921 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3427-67_0_4_load_31 | 56 | 0.0028243 | 0.00070784 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3427-67_0_4_load_32 | 57 | 0.0036001 | 0.00090227 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3427-67_0_4_load_34 | 58 | 0.013301 | 0.0033336 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3427-67_0_4_load_80 | 59 | 0.0033859 | 0.0008486 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3427-67_0_4_load_38 | 61 | 0.0019422 | 0.00048676 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3427-67_0_4_load_39 | 62 | 0.0023591 | 0.00059125 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3427-67_0_4_load_40 | 63 | 0.0013824 | 0.00034645 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3427-67_0_4_load_41 | 64 | 0.0015152 | 0.00037973 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3427-67_0_4_load_43 | 65 | 0.0027906 | 0.00069939 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3427-67_0_4_load_42 | 66 | 0.002104 | 0.00052732 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3427-67_0_4_load_44 | 67 | 0.003143 | 0.00078771 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3427-67_0_4_load_64 | 69 | 0.0033996 | 0.00085201 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3427-67_0_4_load_46 | 70 | 0.017513 | 0.0043892 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3427-67_0_4_load_91 | 74 | 0.0020413 | 0.0005116 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3427-67_0_4_load_92 | 76 | 0.022521 | 0.0056443 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3427-67_0_4_load_52 | 77 | 0.0021255 | 0.00053271 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3427-67_0_4_load_58 | 78 | 0.0045994 | 0.0011527 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3427-67_0_4_load_89 | 79 | 0.0072265 | 0.0018111 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3427-67_0_4_load_86 | 80 | 0.010214 | 0.00256 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3427-67_0_4_load_90 | 81 | 0.0032598 | 0.00081699 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3427-67_0_4_load_72 | 82 | 0.0050322 | 0.0012612 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3427-67_0_4_load_73 | 83 | 0.0055188 | 0.0013831 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3427-67_0_4_load_75 | 84 | 0.0040405 | 0.0010126 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3427-67_0_4_load_77 | 85 | 0.0055174 | 0.0013828 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3427-67_0_4_load_81 | 86 | 0.0038578 | 0.00096687 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3427-67_0_4_load_87 | 87 | 0.011355 | 0.0028459 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3427-67_0_4_load_88 | 88 | 0.0032392 | 0.00081182 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3427-67_0_4_load_83 | 89 | 0.0060268 | 0.0015104 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3427-67_0_4_load_84 | 90 | 0.0030312 | 0.00075969 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3427-67_0_4_load_85 | 91 | 0.0020717 | 0.00051921 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 51 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3427-67_0_4_line_0 |  | 0 | 1 | 0.016063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3427-67_0_4_line_1 |  | 0 | 2 | 0.040838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3427-67_0_4_line_2 |  | 1 | 3 | 0.021519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3427-67_0_4_line_3 |  | 2 | 4 | 0.0072598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3427-67_0_4_line_4 |  | 2 | 5 | 0.005892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3427-67_0_4_line_5 |  | 3 | 6 | 0.020023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3427-67_0_4_line_6 |  | 5 | 7 | 0.020488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3427-67_0_4_line_7 |  | 5 | 8 | 0.003562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3427-67_0_4_line_8 |  | 6 | 9 | 0.020962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3427-67_0_4_line_9 |  | 7 | 14 | 0.019656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3427-67_0_4_line_10 |  | 8 | 15 | 0.0080769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3427-67_0_4_line_11 |  | 8 | 16 | 0.023082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3427-67_0_4_line_12 |  | 9 | 36 | 0.018433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3427-67_0_4_line_13 |  | 10 | 11 | 0.015285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3427-67_0_4_line_14 |  | 11 | 49 | 0.005418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_3427-67_0_4_line_15 |  | 11 | 50 | 0.034545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3427-67_0_4_line_16 |  | 11 | 44 | 0.003599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_3427-67_0_4_line_17 |  | 12 | 13 | 0.013759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3427-67_0_4_line_18 |  | 13 | 79 | 0.032839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3427-67_0_4_line_19 |  | 13 | 68 | 0.003503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3427-67_0_4_line_20 |  | 14 | 39 | 0.038407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3427-67_0_4_line_21 |  | 15 | 41 | 0.002042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3427-67_0_4_line_22 |  | 16 | 68 | 0.023084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3427-67_0_4_line_23 |  | 17 | 18 | 0.011227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3427-67_0_4_line_24 |  | 18 | 22 | 0.003572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3427-67_0_4_line_25 |  | 18 | 23 | 0.010371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3427-67_0_4_line_26 |  | 19 | 20 | 0.003147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3427-67_0_4_line_27 |  | 19 | 21 | 0.023189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3427-67_0_4_line_28 |  | 20 | 27 | 0.0031495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3427-67_0_4_line_29 |  | 20 | 28 | 0.019745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3427-67_0_4_line_30 |  | 22 | 28 | 0.033332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3427-67_0_4_line_31 |  | 22 | 29 | 0.022569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3427-67_0_4_line_32 |  | 23 | 30 | 0.004804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3427-67_0_4_line_33 |  | 23 | 31 | 0.0069924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3427-67_0_4_line_34 |  | 24 | 25 | 0.026636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3427-67_0_4_line_35 |  | 24 | 26 | 0.005017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3427-67_0_4_line_36 |  | 25 | 32 | 0.017623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3427-67_0_4_line_37 |  | 26 | 27 | 0.028523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3427-67_0_4_line_38 |  | 26 | 33 | 0.0037121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3427-67_0_4_line_39 |  | 30 | 34 | 0.026754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3427-67_0_4_line_40 |  | 30 | 35 | 0.01594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3427-67_0_4_line_41 |  | 32 | 56 | 0.013858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3427-67_0_4_line_42 |  | 33 | 78 | 0.02199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3427-67_0_4_line_43 |  | 34 | 37 | 0.040332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3427-67_0_4_line_44 |  | 37 | 38 | 0.018346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3427-67_0_4_line_45 |  | 38 | 77 | 0.0014548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3427-67_0_4_line_46 |  | 40 | 41 | 0.019653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3427-67_0_4_line_47 |  | 40 | 42 | 0.012155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3427-67_0_4_line_48 |  | 42 | 43 | 0.039739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3427-67_0_4_line_49 |  | 42 | 44 | 0.018401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3427-67_0_4_line_50 |  | 43 | 45 | 0.010763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3427-67_0_4_line_51 |  | 44 | 46 | 0.0026197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_3427-67_0_4_line_52 |  | 45 | 47 | 0.030762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3427-67_0_4_line_53 |  | 46 | 48 | 0.029842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_3427-67_0_4_line_54 |  | 47 | 66 | 0.016867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3427-67_0_4_line_55 |  | 48 | 70 | 0.034309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_3427-67_0_4_line_56 |  | 49 | 55 | 0.011935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_3427-67_0_4_line_57 |  | 51 | 52 | 0.028775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3427-67_0_4_line_58 |  | 51 | 53 | 0.026564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_3427-67_0_4_line_59 |  | 52 | 54 | 0.03406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3427-67_0_4_line_60 |  | 53 | 55 | 0.018878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_3427-67_0_4_line_61 |  | 56 | 57 | 0.0089084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3427-67_0_4_line_62 |  | 57 | 58 | 0.015623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3427-67_0_4_line_63 |  | 58 | 59 | 0.0142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3427-67_0_4_line_64 |  | 59 | 60 | 0.019615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3427-67_0_4_line_65 |  | 60 | 86 | 0.016472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3427-67_0_4_line_66 |  | 60 | 84 | 0.020631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3427-67_0_4_line_67 |  | 61 | 62 | 0.00090393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3427-67_0_4_line_68 |  | 61 | 63 | 0.012121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3427-67_0_4_line_69 |  | 62 | 64 | 0.017535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3427-67_0_4_line_70 |  | 64 | 65 | 0.0036243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3427-67_0_4_line_71 |  | 65 | 67 | 0.012972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3427-67_0_4_line_72 |  | 67 | 68 | 0.035289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3427-67_0_4_line_73 |  | 68 | 69 | 0.012142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3427-67_0_4_line_74 |  | 70 | 71 | 0.021064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_3427-67_0_4_line_75 |  | 71 | 72 | 0.003705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_3427-67_0_4_line_76 |  | 71 | 73 | 0.001904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3427-67_0_4_line_77 |  | 72 | 74 | 0.035793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3427-67_0_4_line_78 |  | 72 | 75 | 0.00207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_3427-67_0_4_line_79 |  | 73 | 76 | 0.023392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3427-67_0_4_line_80 |  | 74 | 81 | 4.6642e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3427-67_0_4_line_81 |  | 75 | 85 | 0.015954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3427-67_0_4_line_82 |  | 75 | 82 | 0.014134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_3427-67_0_4_line_83 |  | 79 | 80 | 0.025499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3427-67_0_4_line_84 |  | 80 | 90 | 0.026628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3427-67_0_4_line_85 |  | 82 | 83 | 0.023893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
86 | LV_3427-67_0_4_line_86 |  | 83 | 84 | 0.0099836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3427-67_0_4_line_87 |  | 86 | 87 | 0.014264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3427-67_0_4_line_88 |  | 87 | 88 | 0.0088042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3427-67_0_4_line_89 |  | 89 | 90 | 0.0034068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3427-67_0_4_line_90 |  | 89 | 91 | 0.015558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3427-67_0_4_trafo_26 | 0.63 MVA 20/0.4 kV | 92 | 51 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2720651.3666 | 1257357.9074 | 2720658.369 | 1257357.0739 | 2720667.2147 | 1257355.3521
1 | 2720610.9636 | 1257363.747 | 2720629.7357 | 1257360.4822 | 2720651.3666 | 1257357.9074
2 | 2720667.2147 | 1257355.3521 | 2720688.3374 | 1257351.2405
3 | 2720610.9636 | 1257363.747 | 2720608.9972 | 1257370.7354
4 | 2720612.5576 | 1257358.0745 | 2720610.9636 | 1257363.747
5 | 2720688.3374 | 1257351.2405 | 2720707.9916 | 1257347.4149
6 | 2720612.5576 | 1257358.0745 | 2720616.5237 | 1257358.8783 | 2720622.0766 | 1257358.8024 | 2720632.8201 | 1257357.0362
7 | 2720609.0573 | 1257357.3582 | 2720612.5576 | 1257358.0745
8 | 2720707.9916 | 1257347.4149 | 2720720.2681 | 1257345.0252 | 2720728.6321 | 1257343.7857
9 | 2720652.216 | 1257353.8474 | 2720632.8201 | 1257357.0362
10 | 2720609.0573 | 1257357.3582 | 2720606.8531 | 1257365.1284
11 | 2720609.0573 | 1257357.3582 | 2720613.0746 | 1257343.8171 | 2720615.114 | 1257335.9073 | 2720615.2778 | 1257335.1356
12 | 2720746.866 | 1257341.0836 | 2720728.6321 | 1257343.7857
13 | 2720596.2938 | 1257415.8825 | 2720600.4339 | 1257401.1689
14 | 2720596.2938 | 1257415.8825 | 2720596.3417 | 1257421.2994
15 | 2720596.2938 | 1257415.8825 | 2720599.1076 | 1257416.229 | 2720603.0723 | 1257415.9874 | 2720630.4307 | 1257411.4177
16 | 2720592.7127 | 1257415.4314 | 2720596.2938 | 1257415.8825
17 | 2720623.5534 | 1257313.0148 | 2720620.2915 | 1257326.3818
18 | 2720623.5534 | 1257313.0148 | 2720649.2357 | 1257316.3633 | 2720656.1728 | 1257316.1785
19 | 2720620.0705 | 1257312.5546 | 2720623.5534 | 1257313.0148
20 | 2720652.216 | 1257353.8474 | 2720690.1137 | 1257347.6169
21 | 2720606.8531 | 1257365.1284 | 2720606.2958 | 1257367.0929
22 | 2720620.0705 | 1257312.5546 | 2720615.2778 | 1257335.1356
23 | 2720771.1965 | 1257400.4012 | 2720772.926 | 1257411.494
24 | 2720771.1965 | 1257400.4012 | 2720774.4261 | 1257398.8547
25 | 2720765.1885 | 1257393.5838 | 2720770.483 | 1257395.816 | 2720771.1965 | 1257400.4012
26 | 2720782.3299 | 1257451.3395 | 2720779.1927 | 1257451.6869
27 | 2720779.1927 | 1257451.6869 | 2720756.1486 | 1257454.2769
28 | 2720782.3299 | 1257451.3395 | 2720782.8748 | 1257454.4415
29 | 2720782.3299 | 1257451.3395 | 2720779.3896 | 1257431.8146
30 | 2720774.4261 | 1257398.8547 | 2720779.3896 | 1257431.8146
31 | 2720774.4261 | 1257398.8547 | 2720778.1967 | 1257397.0411 | 2720782.8711 | 1257390.4863 | 2720793.0553 | 1257388.7299
32 | 2720765.1885 | 1257393.5838 | 2720763.0894 | 1257389.2595
33 | 2720765.1885 | 1257393.5838 | 2720758.2884 | 1257394.7165
34 | 2720782.7878 | 1257482.8431 | 2720756.2039 | 1257484.5089
35 | 2720787.8098 | 1257482.5341 | 2720782.7878 | 1257482.8431
36 | 2720756.2039 | 1257484.5089 | 2720738.6156 | 1257485.6111 | 2720738.6156 | 1257485.6111
37 | 2720787.8098 | 1257482.5341 | 2720782.8748 | 1257454.4415
38 | 2720787.8098 | 1257482.5341 | 2720788.3584 | 1257486.2055
39 | 2720763.0894 | 1257389.2595 | 2720736.7008 | 1257393.6672
40 | 2720763.0894 | 1257389.2595 | 2720767.0749 | 1257379.51 | 2720766.2741 | 1257374.1625
41 | 2720738.6156 | 1257485.6111 | 2720736.2075 | 1257486.4516 | 2720734.4611 | 1257488.1285 | 2720733.4137 | 1257489.931 | 2720732.5628 | 1257494.2952 | 2720731.7409 | 1257496.5026
42 | 2720791.608 | 1257507.954 | 2720788.3584 | 1257486.2055
43 | 2720696.9203 | 1257400.3118 | 2720736.7008 | 1257393.6672
44 | 2720696.9203 | 1257400.3118 | 2720678.8248 | 1257403.3343
45 | 2720677.3899 | 1257403.574 | 2720678.8248 | 1257403.3343
46 | 2720600.9322 | 1257385.9999 | 2720606.2958 | 1257367.0929
47 | 2720597.615 | 1257397.6936 | 2720600.9322 | 1257385.9999
48 | 2720597.615 | 1257397.6936 | 2720571.8158 | 1257393.064 | 2720560.2395 | 1257386.0648
49 | 2720592.7127 | 1257415.4314 | 2720597.615 | 1257397.6936
50 | 2720551.0291 | 1257380.496 | 2720560.2395 | 1257386.0648
51 | 2720592.7127 | 1257415.4314 | 2720592.4605 | 1257418.0389
52 | 2720524.7048 | 1257364.5799 | 2720551.0291 | 1257380.496
53 | 2720592.4605 | 1257418.0389 | 2720592.0246 | 1257422.5458 | 2720591.8745 | 1257425.1006 | 2720592.3186 | 1257433.6504 | 2720595.021 | 1257447.5841
54 | 2720524.7048 | 1257364.5799 | 2720521.3617 | 1257348.0479
55 | 2720602.0132 | 1257481.1716 | 2720597.1712 | 1257458.6711 | 2720595.021 | 1257447.5841
56 | 2720596.3417 | 1257421.2994 | 2720608.1187 | 1257419.3662
57 | 2720681.3562 | 1257407.3446 | 2720652.9609 | 1257412.0055
58 | 2720626.7476 | 1257416.3083 | 2720652.9609 | 1257412.0055
59 | 2720681.3562 | 1257407.3446 | 2720714.9661 | 1257401.8276
60 | 2720626.7476 | 1257416.3083 | 2720608.1187 | 1257419.3662
61 | 2720731.7409 | 1257496.5026 | 2720731.7409 | 1257496.5026 | 2720729.9774 | 1257498.2793 | 2720727.0996 | 1257499.5884 | 2720723.8734 | 1257499.9232
62 | 2720708.3341 | 1257501.5357 | 2720723.8734 | 1257499.9232
63 | 2720708.3341 | 1257501.5357 | 2720694.2095 | 1257503.0015
64 | 2720680.068 | 1257493.5353 | 2720681.8546 | 1257495.4289 | 2720683.3469 | 1257499.9188 | 2720684.7998 | 1257501.9057 | 2720686.8481 | 1257503.1708 | 2720689.3076 | 1257503.5101 | 2720694.2095 | 1257503.0015
65 | 2720680.068 | 1257493.5353 | 2720680.3482 | 1257489.4152 | 2720678.6153 | 1257477.1951
66 | 2720680.068 | 1257493.5353 | 2720677.982 | 1257492.6364 | 2720675.7149 | 1257492.479 | 2720659.7705 | 1257494.6155
67 | 2720550.9844 | 1257318.6351 | 2720550.0853 | 1257318.7286
68 | 2720538.0294 | 1257319.9822 | 2720550.0853 | 1257318.7286
69 | 2720550.9844 | 1257318.6351 | 2720568.4252 | 1257316.8216
70 | 2720572.03 | 1257316.4468 | 2720568.4252 | 1257316.8216
71 | 2720584.9323 | 1257315.1052 | 2720572.03 | 1257316.4468
72 | 2720620.0705 | 1257312.5546 | 2720612.096 | 1257312.2807 | 2720584.9323 | 1257315.1052
73 | 2720620.0705 | 1257312.5546 | 2720622.4627 | 1257300.6502
74 | 2720606.4446 | 1257501.7643 | 2720602.0132 | 1257481.1716
75 | 2720606.4446 | 1257501.7643 | 2720610.1278 | 1257501.2722
76 | 2720606.4446 | 1257501.7643 | 2720606.8744 | 1257503.6191
77 | 2720610.1278 | 1257501.2722 | 2720603.3884 | 1257466.1196
78 | 2720612.1851 | 1257500.9917 | 2720610.1278 | 1257501.2722
79 | 2720606.8744 | 1257503.6191 | 2720588.6697 | 1257506.4507 | 2720584.1115 | 1257508.4263
80 | 2720603.3796 | 1257466.0738 | 2720603.3884 | 1257466.1196
81 | 2720620.1524 | 1257489.3995 | 2720617.8809 | 1257489.8313 | 2720615.8596 | 1257490.9356 | 2720614.3842 | 1257492.2733 | 2720612.2586 | 1257496.6449 | 2720611.7233 | 1257497.7461 | 2720612.1851 | 1257500.9917
82 | 2720612.1851 | 1257500.9917 | 2720626.1939 | 1257499.1146
83 | 2720656.1728 | 1257316.1785 | 2720681.6625 | 1257315.4993
84 | 2720708.281 | 1257314.7901 | 2720681.6625 | 1257315.4993
85 | 2720626.1939 | 1257499.1146 | 2720649.8753 | 1257495.9414
86 | 2720649.8753 | 1257495.9414 | 2720659.7705 | 1257494.6155
87 | 2720678.6153 | 1257477.1951 | 2720679.0806 | 1257462.9387
88 | 2720670.3315 | 1257463.9221 | 2720679.0806 | 1257462.9387
89 | 2720711.6865 | 1257314.6994 | 2720708.281 | 1257314.7901
90 | 2720727.2388 | 1257314.285 | 2720711.6865 | 1257314.6994

## bus_geodata
| x | y | coords
0 | 2720651.3666 | 1257357.9074
1 | 2720667.2147 | 1257355.3521
2 | 2720610.9636 | 1257363.747
3 | 2720688.3374 | 1257351.2405
4 | 2720608.9972 | 1257370.7354
5 | 2720612.5576 | 1257358.0745
6 | 2720707.9916 | 1257347.4148
7 | 2720632.8201 | 1257357.0362
8 | 2720609.0573 | 1257357.3582
9 | 2720728.6321 | 1257343.7857
10 | 2720600.4339 | 1257401.1689
11 | 2720596.2938 | 1257415.8825
12 | 2720620.2915 | 1257326.3818
13 | 2720623.5534 | 1257313.0148
14 | 2720652.216 | 1257353.8474
15 | 2720606.8531 | 1257365.1284
16 | 2720615.2778 | 1257335.1356
17 | 2720772.926 | 1257411.494
18 | 2720771.1965 | 1257400.4012
19 | 2720779.1927 | 1257451.6869
20 | 2720782.3299 | 1257451.3395
21 | 2720756.1486 | 1257454.2769
22 | 2720774.4261 | 1257398.8547
23 | 2720765.1885 | 1257393.5838
24 | 2720782.7878 | 1257482.8431
25 | 2720756.2039 | 1257484.5089
26 | 2720787.8098 | 1257482.5341
27 | 2720782.8748 | 1257454.4415
28 | 2720779.3896 | 1257431.8146
29 | 2720793.0553 | 1257388.7299
30 | 2720763.0894 | 1257389.2595
31 | 2720758.2884 | 1257394.7165
32 | 2720738.6156 | 1257485.6111
33 | 2720788.3584 | 1257486.2055
34 | 2720736.7008 | 1257393.6672
35 | 2720766.2741 | 1257374.1625
36 | 2720746.866 | 1257341.0836
37 | 2720696.9203 | 1257400.3118
38 | 2720678.8248 | 1257403.3343
39 | 2720690.1137 | 1257347.6169
40 | 2720600.9322 | 1257385.9999
41 | 2720606.2958 | 1257367.0929
42 | 2720597.615 | 1257397.6936
43 | 2720560.2395 | 1257386.0648
44 | 2720592.7127 | 1257415.4314
45 | 2720551.0291 | 1257380.496
46 | 2720592.4605 | 1257418.0389
47 | 2720524.7048 | 1257364.5799
48 | 2720595.021 | 1257447.5841
49 | 2720596.3417 | 1257421.2994
50 | 2720630.4307 | 1257411.4177
51 | 2720652.9609 | 1257412.0055
52 | 2720681.3562 | 1257407.3446
53 | 2720626.7476 | 1257416.3083
54 | 2720714.9661 | 1257401.8276
55 | 2720608.1187 | 1257419.3662
56 | 2720731.7409 | 1257496.5026
57 | 2720723.8734 | 1257499.9232
58 | 2720708.3341 | 1257501.5357
59 | 2720694.2095 | 1257503.0015
60 | 2720680.068 | 1257493.5353
61 | 2720550.0853 | 1257318.7286
62 | 2720550.9844 | 1257318.6351
63 | 2720538.0294 | 1257319.9822
64 | 2720568.4252 | 1257316.8216
65 | 2720572.03 | 1257316.4468
66 | 2720521.3617 | 1257348.0479
67 | 2720584.9323 | 1257315.1052
68 | 2720620.0705 | 1257312.5546
69 | 2720622.4627 | 1257300.6502
70 | 2720602.0132 | 1257481.1716
71 | 2720606.4446 | 1257501.7643
72 | 2720610.1278 | 1257501.2722
73 | 2720606.8744 | 1257503.6191
74 | 2720603.3884 | 1257466.1196
75 | 2720612.1851 | 1257500.9917
76 | 2720584.1115 | 1257508.4263
77 | 2720677.3899 | 1257403.574
78 | 2720791.608 | 1257507.954
79 | 2720656.1728 | 1257316.1785
80 | 2720681.6625 | 1257315.4993
81 | 2720603.3796 | 1257466.0738
82 | 2720626.1939 | 1257499.1146
83 | 2720649.8753 | 1257495.9414
84 | 2720659.7705 | 1257494.6155
85 | 2720620.1524 | 1257489.3995
86 | 2720678.6153 | 1257477.1951
87 | 2720679.0806 | 1257462.9387
88 | 2720670.3315 | 1257463.9221
89 | 2720711.6865 | 1257314.6994
90 | 2720708.281 | 1257314.7901
91 | 2720727.2388 | 1257314.285
92 | 2720596.3417 | 1257421.2994

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1