## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3427-6_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3427-6_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_3427-6_0_4_node_10 | 0.4 | n |  | TRUE
3 | bus_LV_3427-6_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3427-6_0_4_node_86 | 0.4 | n |  | TRUE
5 | bus_LV_3427-6_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3427-6_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_3427-6_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_3427-6_0_4_node_56 | 0.4 | n |  | TRUE
9 | bus_LV_3427-6_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_3427-6_0_4_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_3427-6_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_3427-6_0_4_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_3427-6_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_3427-6_0_4_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_3427-6_0_4_node_58 | 0.4 | n |  | TRUE
16 | bus_LV_3427-6_0_4_node_55 | 0.4 | n |  | TRUE
17 | bus_LV_3427-6_0_4_node_48 | 0.4 | n |  | TRUE
18 | bus_LV_3427-6_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_3427-6_0_4_node_50 | 0.4 | n |  | TRUE
20 | bus_LV_3427-6_0_4_node_49 | 0.4 | n |  | TRUE
21 | bus_LV_3427-6_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_3427-6_0_4_node_40 | 0.4 | n |  | TRUE
23 | bus_LV_3427-6_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_3427-6_0_4_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_3427-6_0_4_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_3427-6_0_4_node_45 | 0.4 | n |  | TRUE
27 | bus_LV_3427-6_0_4_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_3427-6_0_4_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_3427-6_0_4_node_57 | 0.4 | n |  | TRUE
30 | bus_LV_3427-6_0_4_node_43 | 0.4 | n |  | TRUE
31 | bus_LV_3427-6_0_4_node_47 | 0.4 | n |  | TRUE
32 | bus_LV_3427-6_0_4_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_3427-6_0_4_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_3427-6_0_4_node_80 | 0.4 | n |  | TRUE
35 | bus_LV_3427-6_0_4_node_81 | 0.4 | n |  | TRUE
36 | bus_LV_3427-6_0_4_node_82 | 0.4 | n |  | TRUE
37 | bus_LV_3427-6_0_4_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_3427-6_0_4_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_3427-6_0_4_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_3427-6_0_4_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_3427-6_0_4_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_3427-6_0_4_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_3427-6_0_4_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_3427-6_0_4_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_3427-6_0_4_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_3427-6_0_4_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_3427-6_0_4_node_84 | 0.4 | n |  | TRUE
48 | bus_LV_3427-6_0_4_node_69 | 0.4 | n |  | TRUE
49 | bus_LV_3427-6_0_4_node_60 | 0.4 | n |  | TRUE
50 | bus_LV_3427-6_0_4_node_77 | 0.4 | n |  | TRUE
51 | bus_LV_3427-6_0_4_node_85 | 0.4 | n |  | TRUE
52 | bus_LV_3427-6_0_4_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_3427-6_0_4_node_33 | 0.4 | n |  | TRUE
54 | bus_LV_3427-6_0_4_node_66 | 0.4 | n |  | TRUE
55 | bus_LV_3427-6_0_4_node_36 | 0.4 | n |  | TRUE
56 | bus_LV_3427-6_0_4_node_37 | 0.4 | n |  | TRUE
57 | bus_LV_3427-6_0_4_node_70 | 0.4 | n |  | TRUE
58 | bus_LV_3427-6_0_4_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_3427-6_0_4_node_75 | 0.4 | n |  | TRUE
60 | bus_LV_3427-6_0_4_node_73 | 0.4 | n |  | TRUE
61 | bus_LV_3427-6_0_4_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_3427-6_0_4_node_76 | 0.4 | n |  | TRUE
63 | bus_LV_3427-6_0_4_node_83 | 0.4 | n |  | TRUE
64 | bus_LV_3427-6_0_4_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_3427-6_0_4_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_3427-6_0_4_node_74 | 0.4 | n |  | TRUE
67 | bus_LV_3427-6_0_4_node_42 | 0.4 | n |  | TRUE
68 | bus_LV_3427-6_0_4_node_44 | 0.4 | n |  | TRUE
69 | bus_LV_3427-6_0_4_node_46 | 0.4 | n |  | TRUE
70 | bus_LV_3427-6_0_4_node_79 | 0.4 | n |  | TRUE
71 | bus_LV_3427-6_0_4_node_78 | 0.4 | n |  | TRUE
72 | bus_LV_3427-6_0_4_node_53 | 0.4 | n |  | TRUE
73 | bus_LV_3427-6_0_4_node_61 | 0.4 | n |  | TRUE
74 | bus_LV_3427-6_0_4_node_62 | 0.4 | n |  | TRUE
75 | bus_LV_3427-6_0_4_node_63 | 0.4 | n |  | TRUE
76 | bus_LV_3427-6_0_4_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_3427-6_0_4_node_65 | 0.4 | n |  | TRUE
78 | bus_LV_3427-6_0_4_node_67 | 0.4 | n |  | TRUE
79 | bus_LV_3427-6_0_4_node_71 | 0.4 | n |  | TRUE
80 | bus_LV_3427-6_0_4_node_72 | 0.4 | n |  | TRUE
81 | bus_MV_410_0_node_97 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3427-6_0_4_load_0 | 0 | 0.0066988 | 0.0016789 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3427-6_0_4_load_10 | 2 | 0.0065624 | 0.0016447 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3427-6_0_4_load_86 | 4 | 0.017281 | 0.004331 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3427-6_0_4_load_56 | 8 | 0.011173 | 0.0028003 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3427-6_0_4_load_14 | 12 | 0.0030105 | 0.0007545 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3427-6_0_4_load_11 | 13 | 0.070686 | 0.017716 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3427-6_0_4_load_58 | 15 | 0.0090888 | 0.0022779 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3427-6_0_4_load_48 | 17 | 0.0034198 | 0.00085708 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3427-6_0_4_load_12 | 18 | 0.002953 | 0.0007401 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3427-6_0_4_load_50 | 19 | 0.0021614 | 0.00054171 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3427-6_0_4_load_49 | 20 | 0.0038785 | 0.00097205 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3427-6_0_4_load_13 | 21 | 0.0042714 | 0.0010705 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3427-6_0_4_load_15 | 23 | 0.0063248 | 0.0015852 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3427-6_0_4_load_16 | 24 | 0.0042798 | 0.0010726 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3427-6_0_4_load_23 | 27 | 0.0053236 | 0.0013342 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3427-6_0_4_load_20 | 28 | 0.005506 | 0.0013799 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3427-6_0_4_load_43 | 30 | 0.0062467 | 0.0015656 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3427-6_0_4_load_47 | 31 | 0.016913 | 0.0042388 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3427-6_0_4_load_21 | 32 | 0.0010902 | 0.00027324 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3427-6_0_4_load_80 | 34 | 0.00099534 | 0.00024946 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3427-6_0_4_load_81 | 35 | 0.0016877 | 0.00042297 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3427-6_0_4_load_24 | 38 | 0.0041954 | 0.0010515 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3427-6_0_4_load_27 | 40 | 0.0093692 | 0.0023481 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3427-6_0_4_load_38 | 42 | 0.0073563 | 0.0018437 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3427-6_0_4_load_84 | 47 | 0.0015344 | 0.00038456 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3427-6_0_4_load_69 | 48 | 0.0038608 | 0.0009676 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3427-6_0_4_load_60 | 49 | 0.0022597 | 0.00056634 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3427-6_0_4_load_77 | 50 | 0.00086749 | 0.00021741 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3427-6_0_4_load_85 | 51 | 0.0016315 | 0.00040889 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3427-6_0_4_load_66 | 54 | 0.0057656 | 0.001445 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3427-6_0_4_load_70 | 57 | 0.005453 | 0.0013666 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3427-6_0_4_load_75 | 59 | 0.0063059 | 0.0015804 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3427-6_0_4_load_73 | 60 | 0.0013605 | 0.00034098 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3427-6_0_4_load_59 | 61 | 0.0020593 | 0.00051612 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3427-6_0_4_load_76 | 62 | 0.017044 | 0.0042716 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3427-6_0_4_load_83 | 63 | 0.0017056 | 0.00042747 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3427-6_0_4_load_54 | 64 | 0.0055428 | 0.0013892 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3427-6_0_4_load_51 | 65 | 0.0081734 | 0.0020484 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3427-6_0_4_load_74 | 66 | 0.0073603 | 0.0018447 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3427-6_0_4_load_42 | 67 | 0.0028828 | 0.0007225 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3427-6_0_4_load_44 | 68 | 0.0028896 | 0.00072421 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3427-6_0_4_load_46 | 69 | 0.0024238 | 0.00060745 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3427-6_0_4_load_79 | 70 | 0.0043541 | 0.0010912 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3427-6_0_4_load_78 | 71 | 0.0029298 | 0.00073427 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3427-6_0_4_load_53 | 72 | 0.016221 | 0.0040654 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3427-6_0_4_load_61 | 73 | 0.0019329 | 0.00048443 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3427-6_0_4_load_62 | 74 | 0.0012072 | 0.00030256 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3427-6_0_4_load_63 | 75 | 0.0045787 | 0.0011475 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3427-6_0_4_load_64 | 76 | 0.0021772 | 0.00054566 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3427-6_0_4_load_65 | 77 | 0.0029191 | 0.00073159 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3427-6_0_4_load_67 | 78 | 0.0024365 | 0.00061064 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3427-6_0_4_load_71 | 79 | 0.026625 | 0.0066729 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3427-6_0_4_load_72 | 80 | 0.010673 | 0.0026749 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3427-6_0_4_line_0 |  | 0 | 1 | 0.016678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3427-6_0_4_line_1 |  | 1 | 2 | 0.01289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3427-6_0_4_line_2 |  | 2 | 9 | 0.010706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3427-6_0_4_line_3 |  | 3 | 4 | 0.024952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3427-6_0_4_line_4 |  | 3 | 5 | 0.047571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3427-6_0_4_line_5 |  | 5 | 8 | 0.035806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3427-6_0_4_line_6 |  | 6 | 7 | 0.024344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3427-6_0_4_line_7 |  | 6 | 8 | 0.026204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3427-6_0_4_line_8 |  | 7 | 10 | 0.004203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3427-6_0_4_line_9 |  | 7 | 9 | 0.13679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3427-6_0_4_line_10 |  | 10 | 14 | 0.039957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3427-6_0_4_line_11 |  | 11 | 12 | 0.013622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3427-6_0_4_line_12 |  | 11 | 13 | 0.011808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3427-6_0_4_line_13 |  | 12 | 17 | 0.0013967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3427-6_0_4_line_14 |  | 13 | 18 | 0.0027547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3427-6_0_4_line_15 |  | 14 | 27 | 0.025406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3427-6_0_4_line_16 |  | 14 | 28 | 0.032482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3427-6_0_4_line_17 |  | 15 | 16 | 0.028679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3427-6_0_4_line_18 |  | 16 | 22 | 0.020078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3427-6_0_4_line_19 |  | 16 | 25 | 0.003551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3427-6_0_4_line_20 |  | 17 | 20 | 0.0070534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3427-6_0_4_line_21 |  | 18 | 21 | 0.0053711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3427-6_0_4_line_22 |  | 19 | 20 | 0.0014692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3427-6_0_4_line_23 |  | 21 | 22 | 0.01723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3427-6_0_4_line_24 |  | 23 | 24 | 0.026762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3427-6_0_4_line_25 |  | 24 | 25 | 0.010323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3427-6_0_4_line_26 |  | 25 | 26 | 0.00438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3427-6_0_4_line_27 |  | 26 | 29 | 0.004932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_3427-6_0_4_line_28 |  | 26 | 30 | 0.012483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_3427-6_0_4_line_29 |  | 27 | 31 | 0.036462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3427-6_0_4_line_30 |  | 28 | 32 | 0.049064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3427-6_0_4_line_31 |  | 29 | 40 | 0.0058207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_3427-6_0_4_line_32 |  | 30 | 67 | 0.0095618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_3427-6_0_4_line_33 |  | 32 | 33 | 0.020722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3427-6_0_4_line_34 |  | 33 | 34 | 0.011192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3427-6_0_4_line_35 |  | 33 | 35 | 0.0073172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3427-6_0_4_line_36 |  | 34 | 36 | 0.005702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3427-6_0_4_line_37 |  | 35 | 37 | 0.0094194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3427-6_0_4_line_38 |  | 36 | 63 | 0.0056782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3427-6_0_4_line_39 |  | 37 | 50 | 0.01265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_3427-6_0_4_line_40 |  | 37 | 47 | 0.010015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3427-6_0_4_line_41 |  | 38 | 39 | 0.03437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3427-6_0_4_line_42 |  | 39 | 40 | 0.031789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3427-6_0_4_line_43 |  | 41 | 42 | 0.036962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3427-6_0_4_line_44 |  | 41 | 43 | 0.029826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3427-6_0_4_line_45 |  | 42 | 58 | 0.0064025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3427-6_0_4_line_46 |  | 43 | 59 | 0.037584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3427-6_0_4_line_47 |  | 44 | 45 | 0.003433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3427-6_0_4_line_48 |  | 44 | 46 | 0.012763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3427-6_0_4_line_49 |  | 44 | 47 | 0.0036955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3427-6_0_4_line_50 |  | 45 | 51 | 0.0087615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3427-6_0_4_line_51 |  | 46 | 48 | 0.025207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3427-6_0_4_line_52 |  | 46 | 49 | 0.0084136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3427-6_0_4_line_53 |  | 48 | 60 | 0.011565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3427-6_0_4_line_54 |  | 49 | 61 | 0.028802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3427-6_0_4_line_55 |  | 50 | 62 | 0.015487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_3427-6_0_4_line_56 |  | 51 | 52 | 0.006312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3427-6_0_4_line_57 |  | 52 | 53 | 0.020862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3427-6_0_4_line_58 |  | 53 | 54 | 0.031898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3427-6_0_4_line_59 |  | 54 | 56 | 0.060573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3427-6_0_4_line_60 |  | 55 | 56 | 0.005447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3427-6_0_4_line_61 |  | 55 | 57 | 0.02047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3427-6_0_4_line_62 |  | 58 | 64 | 0.0088126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3427-6_0_4_line_63 |  | 58 | 65 | 0.014955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3427-6_0_4_line_64 |  | 59 | 66 | 0.015737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3427-6_0_4_line_65 |  | 60 | 79 | 0.042983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3427-6_0_4_line_66 |  | 61 | 73 | 0.0040246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3427-6_0_4_line_67 |  | 62 | 71 | 0.012913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_3427-6_0_4_line_68 |  | 65 | 72 | 0.0044038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3427-6_0_4_line_69 |  | 66 | 80 | 0.019498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3427-6_0_4_line_70 |  | 67 | 68 | 0.0086424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_3427-6_0_4_line_71 |  | 68 | 69 | 0.0056167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_3427-6_0_4_line_72 |  | 69 | 70 | 0.0077339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_3427-6_0_4_line_73 |  | 70 | 71 | 0.0064838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_3427-6_0_4_line_74 |  | 73 | 74 | 0.011673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3427-6_0_4_line_75 |  | 74 | 75 | 0.0076979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3427-6_0_4_line_76 |  | 75 | 76 | 0.011373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3427-6_0_4_line_77 |  | 76 | 77 | 0.018945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3427-6_0_4_line_78 |  | 77 | 78 | 0.0068811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3427-6_0_4_line_79 |  | 79 | 80 | 0.035257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3427-6_0_4_trafo_27 | 0.63 MVA 20/0.4 kV | 81 | 40 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2721407.1108 | 1258886.7131 | 2721403.9859 | 1258883.9243 | 2721399.1399 | 1258880.8555 | 2721393.9739 | 1258876.5056
1 | 2721407.1108 | 1258886.7131 | 2721419.9581 | 1258887.7667
2 | 2721430.6283 | 1258888.6417 | 2721419.9581 | 1258887.7667
3 | 2721422.7167 | 1258701.4146 | 2721440.5928 | 1258683.9549
4 | 2721422.7167 | 1258701.4146 | 2721432.8967 | 1258711.7103 | 2721435.3604 | 1258714.0185 | 2721457.1048 | 1258734.3826
5 | 2721457.1048 | 1258734.3826 | 2721461.2227 | 1258729.9521 | 2721470.6849 | 1258719.7484 | 2721484.1409 | 1258728.1083
6 | 2721490.1191 | 1258767.0333 | 2721486.7146 | 1258763.5381 | 2721493.9932 | 1258745.4716
7 | 2721493.9932 | 1258745.4716 | 2721498.2495 | 1258736.8737 | 2721484.1409 | 1258728.1083
8 | 2721490.1191 | 1258767.0333 | 2721494.3345 | 1258767.031
9 | 2721430.6283 | 1258888.6417 | 2721431.2065 | 1258884.7168 | 2721432.6536 | 1258874.1038 | 2721433.2929 | 1258871.6147 | 2721436.8991 | 1258857.5763 | 2721464.2986 | 1258808.918 | 2721490.1191 | 1258767.0333
10 | 2721525.7136 | 1258743.4655 | 2721516.4509 | 1258749.8254 | 2721509.5996 | 1258755.9012 | 2721502.4135 | 1258763.5938 | 2721497.1773 | 1258767.0338 | 2721494.3345 | 1258767.031
11 | 2721487.8867 | 1258653.6322 | 2721493.6598 | 1258641.2937
12 | 2721487.8867 | 1258653.6322 | 2721497.4647 | 1258657.6212 | 2721498.8063 | 1258658.1222
13 | 2721493.6598 | 1258641.2937 | 2721494.2517 | 1258640.0286
14 | 2721498.8063 | 1258658.1222 | 2721501.3869 | 1258659.086
15 | 2721525.7136 | 1258743.4655 | 2721533.8753 | 1258742.9771 | 2721548.5795 | 1258743.7353 | 2721551.0695 | 1258744.0151
16 | 2721525.7136 | 1258743.4655 | 2721534.4016 | 1258739.3848 | 2721556.8368 | 1258734.8777
17 | 2721531.2262 | 1258682.5474 | 2721530.9781 | 1258692.7846 | 2721530.457 | 1258699.0572 | 2721529.8574 | 1258703.2819 | 2721528.9908 | 1258707.2899 | 2721527.7235 | 1258710.8477
18 | 2721531.2262 | 1258682.5474 | 2721527.5489 | 1258680.9482 | 2721527.6686 | 1258677.3253 | 2721527.6021 | 1258676.1562 | 2721527.1718 | 1258675.4467 | 2721526.473 | 1258674.9542 | 2721525.3488 | 1258674.6197 | 2721524.0644 | 1258674.3709 | 2721520.3138 | 1258672.6702 | 2721521.2775 | 1258669.8097
19 | 2721531.2262 | 1258682.5474 | 2721534.604 | 1258683.6733
20 | 2721493.7855 | 1258632.9906 | 2721494.2517 | 1258640.0286 | 2721494.2517 | 1258640.0286
21 | 2721501.3869 | 1258659.086 | 2721501.6555 | 1258659.1864 | 2721506.1494 | 1258661.5644
22 | 2721493.7855 | 1258632.9906 | 2721493.7855 | 1258632.9906 | 2721492.9687 | 1258631.7694
23 | 2721521.2775 | 1258669.8097 | 2721511.4727 | 1258664.3814 | 2721506.1494 | 1258661.5644
24 | 2721534.3919 | 1258693.9937 | 2721534.3584 | 1258695.6232 | 2721534.0562 | 1258700.4212 | 2721533.2734 | 1258705.1204 | 2721530.6091 | 1258713.6732 | 2721528.2729 | 1258719.8484
25 | 2721534.604 | 1258683.6733 | 2721534.3919 | 1258693.9937
26 | 2721538.8653 | 1258684.7395 | 2721534.604 | 1258683.6733
27 | 2721540.4844 | 1258680.0797 | 2721538.8653 | 1258684.7395
28 | 2721538.8653 | 1258684.7395 | 2721550.8433 | 1258688.2548
29 | 2721585.8713 | 1258753.8991 | 2721568.1505 | 1258746.5509 | 2721559.1199 | 1258744.9195 | 2721551.0695 | 1258744.0151
30 | 2721556.8368 | 1258734.8777 | 2721564.8341 | 1258733.2711 | 2721571.2991 | 1258732.4142 | 2721578.4206 | 1258732.6385 | 2721585.0077 | 1258733.9194 | 2721592.1497 | 1258735.7121 | 2721599.7313 | 1258737.0357 | 2721605.2197 | 1258737.1542
31 | 2721540.4844 | 1258680.0797 | 2721546.1301 | 1258681.496
32 | 2721550.8433 | 1258688.2548 | 2721556.7126 | 1258689.9773 | 2721559.7744 | 1258691.5563
33 | 2721621.9467 | 1258732.9997 | 2721621.4017 | 1258737.5036 | 2721605.2197 | 1258737.1542
34 | 2721621.9467 | 1258732.9997 | 2721632.9897 | 1258734.8182
35 | 2721621.9467 | 1258732.9997 | 2721623.0286 | 1258725.763
36 | 2721638.616 | 1258735.7447 | 2721632.9897 | 1258734.8182
37 | 2721624.4213 | 1258716.4471 | 2721623.0286 | 1258725.763
38 | 2721638.616 | 1258735.7447 | 2721644.2186 | 1258736.6679
39 | 2721624.4213 | 1258716.4471 | 2721612.1616 | 1258713.3271
40 | 2721624.4213 | 1258716.4471 | 2721634.1137 | 1258718.9698
41 | 2721575.9656 | 1258692.1302 | 2721575.5107 | 1258688.5844 | 2721575.7179 | 1258685.8418 | 2721579.691 | 1258658.0803
42 | 2721575.9656 | 1258692.1302 | 2721567.1698 | 1258687.8791 | 2721562.7207 | 1258686.0416 | 2721554.9712 | 1258683.7138 | 2721546.1301 | 1258681.496
43 | 2721578.7735 | 1258591.1323 | 2721561.5268 | 1258598.1175 | 2721554.9275 | 1258601.8297 | 2721557.4494 | 1258612.313
44 | 2721578.7735 | 1258591.1323 | 2721576.6598 | 1258582.8038 | 2721574.2357 | 1258574.5356 | 2721572.0484 | 1258566.4836 | 2721576.0675 | 1258565.0315
45 | 2721552.1057 | 1258615.8397 | 2721557.4494 | 1258612.313
46 | 2721576.0675 | 1258565.0315 | 2721581.9658 | 1258584.4142 | 2721584.2974 | 1258594.2485 | 2721585.5119 | 1258601.3622
47 | 2721637.6901 | 1258719.9006 | 2721640.9797 | 1258720.9135
48 | 2721635.275 | 1258710.0979 | 2721635.033 | 1258714.8971 | 2721638.7226 | 1258715.8961 | 2721637.6901 | 1258719.9006
49 | 2721637.6901 | 1258719.9006 | 2721634.1137 | 1258718.9698
50 | 2721640.9797 | 1258720.9135 | 2721649.3557 | 1258723.484
51 | 2721635.275 | 1258710.0979 | 2721619.1478 | 1258707.0304 | 2721610.6285 | 1258704.8635
52 | 2721635.275 | 1258710.0979 | 2721635.6685 | 1258702.6995 | 2721635.5956 | 1258701.6974
53 | 2721599.4446 | 1258701.9336 | 2721600.311 | 1258702.2392 | 2721610.6285 | 1258704.8635
54 | 2721633.8479 | 1258672.9517 | 2721634.3224 | 1258684.1888 | 2721635.5956 | 1258701.6974
55 | 2721597.4033 | 1258708.6591 | 2721608.4953 | 1258712.3941 | 2721612.1616 | 1258713.3271
56 | 2721655.3899 | 1258725.3358 | 2721649.3557 | 1258723.484
57 | 2721654.4359 | 1258709.7581 | 2721650.4412 | 1258719.1954 | 2721656.3098 | 1258720.9398 | 2721655.3899 | 1258725.3358
58 | 2721654.4359 | 1258709.7581 | 2721666.4171 | 1258680.1954
59 | 2721695.2224 | 1258627.4241 | 2721690.0271 | 1258633.2668 | 2721685.3975 | 1258639.466 | 2721682.4419 | 1258644.2094 | 2721679.7791 | 1258649.0144 | 2721677.0557 | 1258654.5633 | 2721673.2002 | 1258663.4586 | 2721666.4171 | 1258680.1954
60 | 2721695.2224 | 1258627.4241 | 2721699.1242 | 1258623.612
61 | 2721699.1242 | 1258623.612 | 2721696.3189 | 1258618.4832 | 2721692.6507 | 1258604.3263
62 | 2721552.1057 | 1258615.8397 | 2721543.8245 | 1258618.8534
63 | 2721552.1057 | 1258615.8397 | 2721554.9966 | 1258630.5125
64 | 2721587.0638 | 1258617.0041 | 2721586.3704 | 1258606.3907 | 2721585.5119 | 1258601.3622
65 | 2721582.0447 | 1258671.384 | 2721580.5094 | 1258682.0257 | 2721580.4111 | 1258692.6775 | 2721584.2747 | 1258696.5825 | 2721599.4446 | 1258701.9336
66 | 2721633.8479 | 1258672.9517 | 2721633.8153 | 1258672.179 | 2721633.5987 | 1258668.935
67 | 2721597.4033 | 1258708.6591 | 2721593.3 | 1258707.2774 | 2721585.3491 | 1258704.045
68 | 2721555.8478 | 1258634.8332 | 2721554.9966 | 1258630.5125
69 | 2721586.7389 | 1258636.4509 | 2721587.6036 | 1258625.266 | 2721587.0638 | 1258617.0041
70 | 2721567.4554 | 1258695.5177 | 2721559.7744 | 1258691.5563
71 | 2721572.4601 | 1258698.0671 | 2721570.5021 | 1258697.089 | 2721567.4554 | 1258695.5177
72 | 2721579.3787 | 1258701.5235 | 2721572.4601 | 1258698.0671
73 | 2721579.3787 | 1258701.5235 | 2721580.3922 | 1258702.0298 | 2721585.3491 | 1258704.045
74 | 2721633.5987 | 1258668.935 | 2721632.8212 | 1258657.2882
75 | 2721632.3084 | 1258649.6074 | 2721632.8212 | 1258657.2882
76 | 2721632.3084 | 1258649.6074 | 2721632.2934 | 1258649.3832 | 2721630.9102 | 1258638.3207
77 | 2721628.041 | 1258619.5993 | 2721629.9945 | 1258630.9975 | 2721630.9102 | 1258638.3207
78 | 2721626.8425 | 1258612.8245 | 2721626.9781 | 1258613.3978 | 2721628.041 | 1258619.5993
79 | 2721582.0447 | 1258671.384 | 2721586.34 | 1258641.6099 | 2721586.7389 | 1258636.4509

## bus_geodata
| x | y | coords
0 | 2721393.9739 | 1258876.5056
1 | 2721407.1108 | 1258886.7131
2 | 2721419.9581 | 1258887.7667
3 | 2721422.7167 | 1258701.4146
4 | 2721440.5928 | 1258683.9549
5 | 2721457.1048 | 1258734.3826
6 | 2721493.9932 | 1258745.4716
7 | 2721490.1191 | 1258767.0333
8 | 2721484.1409 | 1258728.1083
9 | 2721430.6283 | 1258888.6417
10 | 2721494.3345 | 1258767.031
11 | 2721487.8867 | 1258653.6322
12 | 2721493.6598 | 1258641.2937
13 | 2721498.8063 | 1258658.1222
14 | 2721525.7136 | 1258743.4655
15 | 2721527.7235 | 1258710.8477
16 | 2721531.2262 | 1258682.5474
17 | 2721494.2517 | 1258640.0286
18 | 2721501.3869 | 1258659.086
19 | 2721492.9687 | 1258631.7694
20 | 2721493.7855 | 1258632.9906
21 | 2721506.1494 | 1258661.5644
22 | 2721521.2775 | 1258669.8097
23 | 2721528.2729 | 1258719.8484
24 | 2721534.3919 | 1258693.9937
25 | 2721534.604 | 1258683.6733
26 | 2721538.8653 | 1258684.7395
27 | 2721551.0695 | 1258744.0151
28 | 2721556.8368 | 1258734.8777
29 | 2721540.4844 | 1258680.0797
30 | 2721550.8433 | 1258688.2548
31 | 2721585.8713 | 1258753.8991
32 | 2721605.2197 | 1258737.1542
33 | 2721621.9467 | 1258732.9997
34 | 2721632.9897 | 1258734.8182
35 | 2721623.0286 | 1258725.763
36 | 2721638.616 | 1258735.7447
37 | 2721624.4213 | 1258716.4471
38 | 2721579.691 | 1258658.0803
39 | 2721575.9656 | 1258692.1302
40 | 2721546.1301 | 1258681.496
41 | 2721578.7735 | 1258591.1323
42 | 2721557.4494 | 1258612.313
43 | 2721576.0675 | 1258565.0315
44 | 2721637.6901 | 1258719.9006
45 | 2721640.9797 | 1258720.9135
46 | 2721635.275 | 1258710.0979
47 | 2721634.1137 | 1258718.9698
48 | 2721610.6285 | 1258704.8635
49 | 2721635.5956 | 1258701.6974
50 | 2721612.1616 | 1258713.3271
51 | 2721649.3557 | 1258723.484
52 | 2721655.3899 | 1258725.3358
53 | 2721654.4359 | 1258709.7581
54 | 2721666.4171 | 1258680.1954
55 | 2721699.1242 | 1258623.612
56 | 2721695.2224 | 1258627.4241
57 | 2721692.6507 | 1258604.3263
58 | 2721552.1057 | 1258615.8397
59 | 2721585.5119 | 1258601.3622
60 | 2721599.4446 | 1258701.9336
61 | 2721633.8479 | 1258672.9517
62 | 2721597.4033 | 1258708.6591
63 | 2721644.2186 | 1258736.6679
64 | 2721543.8245 | 1258618.8534
65 | 2721554.9966 | 1258630.5125
66 | 2721587.0638 | 1258617.0041
67 | 2721559.7744 | 1258691.5563
68 | 2721567.4554 | 1258695.5177
69 | 2721572.4601 | 1258698.0671
70 | 2721579.3787 | 1258701.5235
71 | 2721585.3491 | 1258704.045
72 | 2721555.8478 | 1258634.8332
73 | 2721633.5987 | 1258668.935
74 | 2721632.8212 | 1258657.2882
75 | 2721632.3084 | 1258649.6074
76 | 2721630.9102 | 1258638.3207
77 | 2721628.041 | 1258619.5993
78 | 2721626.8425 | 1258612.8245
79 | 2721582.0447 | 1258671.384
80 | 2721586.7389 | 1258636.4509
81 | 2721540.4844 | 1258680.0797

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1