## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3427-70_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3427-70_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3427-70_0_2_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_3427-70_0_2_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_3427-70_0_2_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_3427-70_0_2_node_101 | 0.4 | n |  | TRUE
6 | bus_LV_3427-70_0_2_node_83 | 0.4 | n |  | TRUE
7 | bus_LV_3427-70_0_2_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_3427-70_0_2_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_3427-70_0_2_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_3427-70_0_2_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_3427-70_0_2_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_3427-70_0_2_node_93 | 0.4 | n |  | TRUE
13 | bus_LV_3427-70_0_2_node_89 | 0.4 | n |  | TRUE
14 | bus_LV_3427-70_0_2_node_92 | 0.4 | n |  | TRUE
15 | bus_LV_3427-70_0_2_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_3427-70_0_2_node_91 | 0.4 | n |  | TRUE
17 | bus_LV_3427-70_0_2_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_3427-70_0_2_node_44 | 0.4 | n |  | TRUE
19 | bus_LV_3427-70_0_2_node_41 | 0.4 | n |  | TRUE
20 | bus_LV_3427-70_0_2_node_43 | 0.4 | n |  | TRUE
21 | bus_LV_3427-70_0_2_node_110 | 0.4 | n |  | TRUE
22 | bus_LV_3427-70_0_2_node_111 | 0.4 | n |  | TRUE
23 | bus_LV_3427-70_0_2_node_45 | 0.4 | n |  | TRUE
24 | bus_LV_3427-70_0_2_node_108 | 0.4 | n |  | TRUE
25 | bus_LV_3427-70_0_2_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_3427-70_0_2_node_109 | 0.4 | n |  | TRUE
27 | bus_LV_3427-70_0_2_node_112 | 0.4 | n |  | TRUE
28 | bus_LV_3427-70_0_2_node_42 | 0.4 | n |  | TRUE
29 | bus_LV_3427-70_0_2_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_3427-70_0_2_node_12 | 0.4 | n |  | TRUE
31 | bus_LV_3427-70_0_2_node_13 | 0.4 | n |  | TRUE
32 | bus_LV_3427-70_0_2_node_14 | 0.4 | n |  | TRUE
33 | bus_LV_3427-70_0_2_node_15 | 0.4 | n |  | TRUE
34 | bus_LV_3427-70_0_2_node_16 | 0.4 | n |  | TRUE
35 | bus_LV_3427-70_0_2_node_17 | 0.4 | n |  | TRUE
36 | bus_LV_3427-70_0_2_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_3427-70_0_2_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_3427-70_0_2_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_3427-70_0_2_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_3427-70_0_2_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_3427-70_0_2_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_3427-70_0_2_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_3427-70_0_2_node_88 | 0.4 | n |  | TRUE
44 | bus_LV_3427-70_0_2_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_3427-70_0_2_node_98 | 0.4 | n |  | TRUE
46 | bus_LV_3427-70_0_2_node_90 | 0.4 | n |  | TRUE
47 | bus_LV_3427-70_0_2_node_86 | 0.4 | n |  | TRUE
48 | bus_LV_3427-70_0_2_node_99 | 0.4 | n |  | TRUE
49 | bus_LV_3427-70_0_2_node_28 | 0.4 | n |  | TRUE
50 | bus_LV_3427-70_0_2_node_29 | 0.4 | n |  | TRUE
51 | bus_LV_3427-70_0_2_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_3427-70_0_2_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_3427-70_0_2_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_3427-70_0_2_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_3427-70_0_2_node_36 | 0.4 | n |  | TRUE
56 | bus_LV_3427-70_0_2_node_31 | 0.4 | n |  | TRUE
57 | bus_LV_3427-70_0_2_node_32 | 0.4 | n |  | TRUE
58 | bus_LV_3427-70_0_2_node_33 | 0.4 | n |  | TRUE
59 | bus_LV_3427-70_0_2_node_35 | 0.4 | n |  | TRUE
60 | bus_LV_3427-70_0_2_node_34 | 0.4 | n |  | TRUE
61 | bus_LV_3427-70_0_2_node_96 | 0.4 | n |  | TRUE
62 | bus_LV_3427-70_0_2_node_95 | 0.4 | n |  | TRUE
63 | bus_LV_3427-70_0_2_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_3427-70_0_2_node_47 | 0.4 | n |  | TRUE
65 | bus_LV_3427-70_0_2_node_48 | 0.4 | n |  | TRUE
66 | bus_LV_3427-70_0_2_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_3427-70_0_2_node_69 | 0.4 | n |  | TRUE
68 | bus_LV_3427-70_0_2_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_3427-70_0_2_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_3427-70_0_2_node_71 | 0.4 | n |  | TRUE
71 | bus_LV_3427-70_0_2_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_3427-70_0_2_node_73 | 0.4 | n |  | TRUE
73 | bus_LV_3427-70_0_2_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_3427-70_0_2_node_49 | 0.4 | n |  | TRUE
75 | bus_LV_3427-70_0_2_node_50 | 0.4 | n |  | TRUE
76 | bus_LV_3427-70_0_2_node_51 | 0.4 | n |  | TRUE
77 | bus_LV_3427-70_0_2_node_52 | 0.4 | n |  | TRUE
78 | bus_LV_3427-70_0_2_node_53 | 0.4 | n |  | TRUE
79 | bus_LV_3427-70_0_2_node_103 | 0.4 | n |  | TRUE
80 | bus_LV_3427-70_0_2_node_104 | 0.4 | n |  | TRUE
81 | bus_LV_3427-70_0_2_node_102 | 0.4 | n |  | TRUE
82 | bus_LV_3427-70_0_2_node_58 | 0.4 | n |  | TRUE
83 | bus_LV_3427-70_0_2_node_94 | 0.4 | n |  | TRUE
84 | bus_LV_3427-70_0_2_node_107 | 0.4 | n |  | TRUE
85 | bus_LV_3427-70_0_2_node_105 | 0.4 | n |  | TRUE
86 | bus_LV_3427-70_0_2_node_56 | 0.4 | n |  | TRUE
87 | bus_LV_3427-70_0_2_node_54 | 0.4 | n |  | TRUE
88 | bus_LV_3427-70_0_2_node_55 | 0.4 | n |  | TRUE
89 | bus_LV_3427-70_0_2_node_57 | 0.4 | n |  | TRUE
90 | bus_LV_3427-70_0_2_node_59 | 0.4 | n |  | TRUE
91 | bus_LV_3427-70_0_2_node_60 | 0.4 | n |  | TRUE
92 | bus_LV_3427-70_0_2_node_64 | 0.4 | n |  | TRUE
93 | bus_LV_3427-70_0_2_node_65 | 0.4 | n |  | TRUE
94 | bus_LV_3427-70_0_2_node_66 | 0.4 | n |  | TRUE
95 | bus_LV_3427-70_0_2_node_68 | 0.4 | n |  | TRUE
96 | bus_LV_3427-70_0_2_node_72 | 0.4 | n |  | TRUE
97 | bus_LV_3427-70_0_2_node_74 | 0.4 | n |  | TRUE
98 | bus_LV_3427-70_0_2_node_75 | 0.4 | n |  | TRUE
99 | bus_LV_3427-70_0_2_node_76 | 0.4 | n |  | TRUE
100 | bus_LV_3427-70_0_2_node_82 | 0.4 | n |  | TRUE
101 | bus_LV_3427-70_0_2_node_84 | 0.4 | n |  | TRUE
102 | bus_LV_3427-70_0_2_node_80 | 0.4 | n |  | TRUE
103 | bus_LV_3427-70_0_2_node_85 | 0.4 | n |  | TRUE
104 | bus_LV_3427-70_0_2_node_77 | 0.4 | n |  | TRUE
105 | bus_LV_3427-70_0_2_node_78 | 0.4 | n |  | TRUE
106 | bus_LV_3427-70_0_2_node_79 | 0.4 | n |  | TRUE
107 | bus_LV_3427-70_0_2_node_81 | 0.4 | n |  | TRUE
108 | bus_LV_3427-70_0_2_node_87 | 0.4 | n |  | TRUE
109 | bus_LV_3427-70_0_2_node_97 | 0.4 | n |  | TRUE
110 | bus_LV_3427-70_0_2_node_100 | 0.4 | n |  | TRUE
111 | bus_LV_3427-70_0_2_node_106 | 0.4 | n |  | TRUE
112 | bus_MV_410_0_node_130 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3427-70_0_2_load_0 | 0 | 0.0064105 | 0.0016066 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3427-70_0_2_load_5 | 2 | 0.00029456 | 7.3822e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3427-70_0_2_load_6 | 4 | 0.00029712 | 7.4464e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3427-70_0_2_load_101 | 5 | 0.0012588 | 0.00031549 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3427-70_0_2_load_83 | 6 | 0.0010571 | 0.00026494 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3427-70_0_2_load_3 | 7 | 0.006656 | 0.0016682 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3427-70_0_2_load_9 | 8 | 0.00076784 | 0.00019244 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3427-70_0_2_load_8 | 10 | 0.00079856 | 0.00020014 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3427-70_0_2_load_7 | 11 | 0.00078244 | 0.0001961 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3427-70_0_2_load_93 | 12 | 0.0030206 | 0.00075704 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3427-70_0_2_load_92 | 14 | 0.0043889 | 0.0011 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3427-70_0_2_load_11 | 15 | 0.00029621 | 7.4237e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3427-70_0_2_load_91 | 16 | 0.0044271 | 0.0011095 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3427-70_0_2_load_110 | 21 | 0.0060928 | 0.001527 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3427-70_0_2_load_111 | 22 | 0.0030568 | 0.0007661 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3427-70_0_2_load_108 | 24 | 0.0010584 | 0.00026526 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3427-70_0_2_load_109 | 26 | 0.0030393 | 0.00076173 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3427-70_0_2_load_112 | 27 | 0.0030352 | 0.00076068 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3427-70_0_2_load_42 | 28 | 0.0030558 | 0.00076585 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3427-70_0_2_load_40 | 29 | 0.0020657 | 0.00051772 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3427-70_0_2_load_12 | 30 | 0.00030088 | 7.5407e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3427-70_0_2_load_13 | 31 | 0.00029968 | 7.5106e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3427-70_0_2_load_14 | 32 | 0.00076321 | 0.00019128 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3427-70_0_2_load_16 | 34 | 0.00077481 | 0.00019419 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3427-70_0_2_load_23 | 36 | 0.00059766 | 0.00014979 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3427-70_0_2_load_20 | 37 | 0.0011835 | 0.00029661 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3427-70_0_2_load_21 | 38 | 0.0018138 | 0.00045458 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3427-70_0_2_load_22 | 39 | 0.0016999 | 0.00042604 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3427-70_0_2_load_24 | 40 | 0.0037955 | 0.00095124 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3427-70_0_2_load_26 | 42 | 0.0050475 | 0.001265 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3427-70_0_2_load_27 | 44 | 0.00052278 | 0.00013102 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3427-70_0_2_load_98 | 45 | 0.00023925 | 5.9962e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3427-70_0_2_load_90 | 46 | 0.0029652 | 0.00074314 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3427-70_0_2_load_86 | 47 | 0.0025449 | 0.00063781 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3427-70_0_2_load_99 | 48 | 0.00011065 | 2.7731e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3427-70_0_2_load_28 | 49 | 0.0003252 | 8.1503e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3427-70_0_2_load_29 | 50 | 0.00023563 | 5.9054e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3427-70_0_2_load_38 | 52 | 0.0015096 | 0.00037834 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3427-70_0_2_load_37 | 53 | 0.00019768 | 4.9544e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3427-70_0_2_load_39 | 54 | 0.0041669 | 0.0010443 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3427-70_0_2_load_36 | 55 | 0.00012123 | 3.0382e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3427-70_0_2_load_31 | 56 | 0.00090762 | 0.00022747 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3427-70_0_2_load_33 | 58 | 0.0012128 | 0.00030395 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3427-70_0_2_load_34 | 60 | 0.00099168 | 0.00024854 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3427-70_0_2_load_96 | 61 | 0.00057158 | 0.00014325 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3427-70_0_2_load_46 | 63 | 0.0010413 | 0.00026097 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3427-70_0_2_load_47 | 64 | 0.00069294 | 0.00017367 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3427-70_0_2_load_63 | 68 | 0.00090751 | 0.00022744 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3427-70_0_2_load_61 | 69 | 0.00029515 | 7.3971e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3427-70_0_2_load_67 | 71 | 0.0012471 | 0.00031256 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3427-70_0_2_load_73 | 72 | 0.0013713 | 0.00034368 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3427-70_0_2_load_70 | 73 | 0.00019467 | 4.8789e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3427-70_0_2_load_49 | 74 | 0.00050899 | 0.00012757 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3427-70_0_2_load_103 | 79 | 0.0011289 | 0.00028294 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3427-70_0_2_load_102 | 81 | 0.0018425 | 0.00046177 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3427-70_0_2_load_58 | 82 | 0.0011318 | 0.00028365 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3427-70_0_2_load_94 | 83 | 0.0014728 | 0.00036911 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3427-70_0_2_load_107 | 84 | 0.0017134 | 0.00042943 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3427-70_0_2_load_54 | 87 | 0.0026099 | 0.0006541 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3427-70_0_2_load_55 | 88 | 0.0010207 | 0.00025582 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3427-70_0_2_load_57 | 89 | 0.00074688 | 0.00018719 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3427-70_0_2_load_59 | 90 | 0.00049117 | 0.0001231 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3427-70_0_2_load_60 | 91 | 0.0011482 | 0.00028776 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3427-70_0_2_load_64 | 92 | 0.00024086 | 6.0365e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3427-70_0_2_load_65 | 93 | 0.0015269 | 0.00038268 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3427-70_0_2_load_68 | 95 | 0.00027962 | 7.0079e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3427-70_0_2_load_72 | 96 | 0.00064078 | 0.0001606 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3427-70_0_2_load_75 | 98 | 0.00080299 | 0.00020125 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3427-70_0_2_load_76 | 99 | 0.00071145 | 0.00017831 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3427-70_0_2_load_82 | 100 | 0.001266 | 0.00031729 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3427-70_0_2_load_84 | 101 | 0.00055276 | 0.00013853 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3427-70_0_2_load_80 | 102 | 0.00077327 | 0.0001938 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3427-70_0_2_load_85 | 103 | 0.0024639 | 0.00061751 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3427-70_0_2_load_77 | 104 | 0.00047627 | 0.00011936 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3427-70_0_2_load_78 | 105 | 0.00036328 | 9.1046e-05 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3427-70_0_2_load_79 | 106 | 0.00044313 | 0.00011106 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3427-70_0_2_load_87 | 108 | 0.0014221 | 0.00035641 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3427-70_0_2_load_97 | 109 | 0.00021921 | 5.4938e-05 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3427-70_0_2_load_100 | 110 | 0.00036589 | 9.17e-05 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3427-70_0_2_load_106 | 111 | 0.00094249 | 0.00023621 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3427-70_0_2_line_0 |  | 0 | 1 | 0.072445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3427-70_0_2_line_1 |  | 0 | 2 | 0.097591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3427-70_0_2_line_2 |  | 1 | 3 | 0.014748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3427-70_0_2_line_3 |  | 2 | 4 | 0.022348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3427-70_0_2_line_4 |  | 3 | 7 | 0.052113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3427-70_0_2_line_5 |  | 4 | 11 | 0.020475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3427-70_0_2_line_6 |  | 5 | 6 | 0.0096209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3427-70_0_2_line_7 |  | 6 | 107 | 0.035916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3427-70_0_2_line_8 |  | 8 | 9 | 0.027853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3427-70_0_2_line_9 |  | 8 | 10 | 0.021233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3427-70_0_2_line_10 |  | 9 | 17 | 0.028938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3427-70_0_2_line_11 |  | 9 | 18 | 0.035031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3427-70_0_2_line_12 |  | 9 | 19 | 0.010675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3427-70_0_2_line_13 |  | 10 | 11 | 0.020284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3427-70_0_2_line_14 |  | 12 | 13 | 0.01019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3427-70_0_2_line_15 |  | 13 | 16 | 0.0069374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3427-70_0_2_line_16 |  | 13 | 108 | 0.011924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3427-70_0_2_line_17 |  | 14 | 15 | 0.085811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3427-70_0_2_line_18 |  | 14 | 16 | 0.0011575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3427-70_0_2_line_19 |  | 15 | 30 | 0.012325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3427-70_0_2_line_20 |  | 17 | 24 | 0.013245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3427-70_0_2_line_21 |  | 17 | 25 | 0.022084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3427-70_0_2_line_22 |  | 18 | 26 | 0.00895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3427-70_0_2_line_23 |  | 18 | 20 | 0.041109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3427-70_0_2_line_24 |  | 19 | 28 | 0.008428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3427-70_0_2_line_25 |  | 19 | 29 | 0.006029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3427-70_0_2_line_26 |  | 20 | 21 | 0.009803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3427-70_0_2_line_27 |  | 20 | 22 | 0.010333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3427-70_0_2_line_28 |  | 20 | 23 | 0.045081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3427-70_0_2_line_29 |  | 23 | 27 | 0.008015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3427-70_0_2_line_30 |  | 25 | 37 | 0.01647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3427-70_0_2_line_31 |  | 25 | 34 | 0.002984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3427-70_0_2_line_32 |  | 30 | 31 | 0.007365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3427-70_0_2_line_33 |  | 31 | 32 | 0.010583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3427-70_0_2_line_34 |  | 32 | 33 | 0.013576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3427-70_0_2_line_35 |  | 33 | 34 | 0.03331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3427-70_0_2_line_36 |  | 33 | 35 | 0.014866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3427-70_0_2_line_37 |  | 35 | 36 | 0.019033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3427-70_0_2_line_38 |  | 37 | 38 | 0.0044001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3427-70_0_2_line_39 |  | 38 | 39 | 0.011014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3427-70_0_2_line_40 |  | 40 | 41 | 0.098731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3427-70_0_2_line_41 |  | 41 | 42 | 0.059499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3427-70_0_2_line_42 |  | 42 | 43 | 0.027171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3427-70_0_2_line_43 |  | 43 | 46 | 0.035944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3427-70_0_2_line_44 |  | 43 | 47 | 0.026432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3427-70_0_2_line_45 |  | 44 | 45 | 0.0034793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3427-70_0_2_line_46 |  | 45 | 48 | 0.022825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3427-70_0_2_line_47 |  | 46 | 103 | 0.0060789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3427-70_0_2_line_48 |  | 47 | 108 | 0.016416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3427-70_0_2_line_49 |  | 48 | 110 | 0.0023603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3427-70_0_2_line_50 |  | 49 | 50 | 0.082894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3427-70_0_2_line_51 |  | 50 | 51 | 0.031402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3427-70_0_2_line_52 |  | 51 | 52 | 0.060199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3427-70_0_2_line_53 |  | 51 | 53 | 0.0014731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3427-70_0_2_line_54 |  | 52 | 54 | 0.031526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3427-70_0_2_line_55 |  | 53 | 55 | 0.036062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3427-70_0_2_line_56 |  | 55 | 60 | 0.016822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3427-70_0_2_line_57 |  | 56 | 57 | 0.018834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3427-70_0_2_line_58 |  | 56 | 58 | 0.12904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3427-70_0_2_line_59 |  | 57 | 59 | 0.01948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3427-70_0_2_line_60 |  | 58 | 60 | 0.0020469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3427-70_0_2_line_61 |  | 59 | 61 | 0.10195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3427-70_0_2_line_62 |  | 61 | 62 | 0.053497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3427-70_0_2_line_63 |  | 62 | 109 | 0.019489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3427-70_0_2_line_64 |  | 62 | 83 | 0.05875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3427-70_0_2_line_65 |  | 63 | 64 | 0.017821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3427-70_0_2_line_66 |  | 64 | 65 | 0.081492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3427-70_0_2_line_67 |  | 65 | 66 | 0.002846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3427-70_0_2_line_68 |  | 65 | 67 | 0.055629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3427-70_0_2_line_69 |  | 66 | 68 | 0.042903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3427-70_0_2_line_70 |  | 66 | 69 | 0.0040035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3427-70_0_2_line_71 |  | 67 | 70 | 0.036053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3427-70_0_2_line_72 |  | 67 | 71 | 0.021682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3427-70_0_2_line_73 |  | 69 | 91 | 0.022021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3427-70_0_2_line_74 |  | 70 | 72 | 0.027109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3427-70_0_2_line_75 |  | 70 | 73 | 0.012516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3427-70_0_2_line_76 |  | 71 | 93 | 0.00037929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3427-70_0_2_line_77 |  | 72 | 97 | 0.056337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3427-70_0_2_line_78 |  | 73 | 96 | 0.016782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3427-70_0_2_line_79 |  | 74 | 75 | 0.013982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3427-70_0_2_line_80 |  | 75 | 76 | 0.01468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3427-70_0_2_line_81 |  | 75 | 77 | 0.082553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3427-70_0_2_line_82 |  | 75 | 78 | 0.023607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3427-70_0_2_line_83 |  | 76 | 79 | 0.026683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3427-70_0_2_line_84 |  | 76 | 80 | 0.039019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3427-70_0_2_line_85 |  | 77 | 81 | 0.015198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3427-70_0_2_line_86 |  | 78 | 82 | 0.043911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3427-70_0_2_line_87 |  | 78 | 83 | 0.055812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3427-70_0_2_line_88 |  | 80 | 84 | 0.012356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3427-70_0_2_line_89 |  | 80 | 85 | 0.029085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3427-70_0_2_line_90 |  | 82 | 86 | 0.0098492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3427-70_0_2_line_91 |  | 85 | 111 | 0.02036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3427-70_0_2_line_92 |  | 86 | 89 | 0.0033692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3427-70_0_2_line_93 |  | 86 | 88 | 0.015922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3427-70_0_2_line_94 |  | 87 | 88 | 0.010772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3427-70_0_2_line_95 |  | 89 | 90 | 0.027606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_3427-70_0_2_line_96 |  | 90 | 91 | 0.00021053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_3427-70_0_2_line_97 |  | 92 | 93 | 0.016979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_3427-70_0_2_line_98 |  | 92 | 94 | 0.0064849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_3427-70_0_2_line_99 |  | 94 | 95 | 0.035898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_3427-70_0_2_line_100 |  | 97 | 98 | 0.016712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_3427-70_0_2_line_101 |  | 97 | 99 | 0.037315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_3427-70_0_2_line_102 |  | 98 | 100 | 0.0241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_3427-70_0_2_line_103 |  | 99 | 101 | 0.0017627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_3427-70_0_2_line_104 |  | 100 | 102 | 0.0033914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_3427-70_0_2_line_105 |  | 101 | 103 | 0.013177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_3427-70_0_2_line_106 |  | 102 | 105 | 0.0071003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_3427-70_0_2_line_107 |  | 104 | 105 | 0.007854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_3427-70_0_2_line_108 |  | 104 | 106 | 0.013631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_3427-70_0_2_line_109 |  | 106 | 107 | 0.037753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_3427-70_0_2_line_110 |  | 109 | 110 | 0.023956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3427-70_0_2_trafo_92 | 0.63 MVA 20/0.4 kV | 112 | 14 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2719764.9959 | 1260017.8692 | 2719759.7959 | 1260014.7946 | 2719700.5193 | 1260001.9506 | 2719694.8575 | 1260000.9378
1 | 2719675.0276 | 1259905.3824 | 2719694.8575 | 1260000.9378
2 | 2719764.9959 | 1260017.8692 | 2719768.4529 | 1260022.5099 | 2719773.1685 | 1260030.1454
3 | 2719675.0276 | 1259905.3824 | 2719697.179 | 1259902.4275
4 | 2719773.1685 | 1260030.1454 | 2719722.229 | 1260019.1475
5 | 2719697.179 | 1259902.4275 | 2719717.4739 | 1259899.7202
6 | 2719553.3416 | 1260005.605 | 2719544.2076 | 1260008.627
7 | 2719509.8117 | 1260018.9553 | 2719537.8957 | 1260010.7154 | 2719544.2076 | 1260008.627
8 | 2719780.0108 | 1259880.7083 | 2719776.8069 | 1259887.7608 | 2719774.6971 | 1259890.3092 | 2719772.2727 | 1259892.006 | 2719768.0991 | 1259892.9669 | 2719758.6263 | 1259894.2305
9 | 2719758.6263 | 1259894.2305 | 2719737.5799 | 1259897.0381
10 | 2719780.0108 | 1259880.7083 | 2719767.8719 | 1259874.7796 | 2719754.1264 | 1259867.7731
11 | 2719780.0108 | 1259880.7083 | 2719792.6038 | 1259887.2912 | 2719802.1127 | 1259893.1555 | 2719805.0357 | 1259890.29 | 2719806.7262 | 1259884.9973
12 | 2719780.0108 | 1259880.7083 | 2719782.5409 | 1259876.7672 | 2719784.2706 | 1259871.0305
13 | 2719717.4739 | 1259899.7202 | 2719737.5799 | 1259897.0381
14 | 2719571.6797 | 1259866.3936 | 2719575.1348 | 1259875.9829
15 | 2719571.6797 | 1259866.3936 | 2719578.011 | 1259863.5576
16 | 2719571.6797 | 1259866.3936 | 2719560.6197 | 1259870.851
17 | 2719579.0674 | 1259863.0844 | 2719664.8581 | 1259864.9416
18 | 2719579.0674 | 1259863.0844 | 2719578.011 | 1259863.5576
19 | 2719677.0716 | 1259863.2896 | 2719664.8581 | 1259864.9416
20 | 2719754.1264 | 1259867.7731 | 2719757.6346 | 1259854.9995
21 | 2719733.6063 | 1259859.4839 | 2719752.5824 | 1259866.9522 | 2719754.1264 | 1259867.7731
22 | 2719812.5472 | 1259880.5001 | 2719812.4473 | 1259883.5675 | 2719806.7262 | 1259884.9973
23 | 2719806.7262 | 1259884.9973 | 2719805.0357 | 1259890.29 | 2719816.9884 | 1259897.9609 | 2719828.2757 | 1259906.0966 | 2719828.803 | 1259898.6786
24 | 2719784.2706 | 1259871.0305 | 2719792.7234 | 1259870.9682
25 | 2719784.2706 | 1259871.0305 | 2719779.0578 | 1259868.0013
26 | 2719835.6191 | 1259894.5574 | 2719835.4818 | 1259897.6129 | 2719828.803 | 1259898.6786
27 | 2719822.1969 | 1259892.8063 | 2719822.0966 | 1259895.8959 | 2719828.803 | 1259898.6786
28 | 2719828.803 | 1259898.6786 | 2719828.2757 | 1259906.0966 | 2719849.396 | 1259922.6945 | 2719850.2698 | 1259911.9472
29 | 2719855.9454 | 1259907.5583 | 2719855.877 | 1259909.4475 | 2719850.2698 | 1259911.9472
30 | 2719733.6063 | 1259859.4839 | 2719736.8581 | 1259843.3386
31 | 2719733.6063 | 1259859.4839 | 2719730.8183 | 1259858.4202
32 | 2719677.0716 | 1259863.2896 | 2719684.3701 | 1259862.3025
33 | 2719684.3701 | 1259862.3025 | 2719692.1721 | 1259861.2472 | 2719693.507 | 1259860.8517 | 2719694.6438 | 1259860.1852
34 | 2719699.3158 | 1259847.6465 | 2719697.1613 | 1259856.1214 | 2719696.4879 | 1259857.7314 | 2719695.5061 | 1259859.3018 | 2719694.6438 | 1259860.1852 | 2719694.6438 | 1259860.1852
35 | 2719699.3158 | 1259847.6465 | 2719717.1993 | 1259853.2242 | 2719730.8183 | 1259858.4202
36 | 2719699.3158 | 1259847.6465 | 2719685.0805 | 1259843.2213
37 | 2719685.0805 | 1259843.2213 | 2719687.252 | 1259833.5345 | 2719696.3178 | 1259834.3896
38 | 2719737.7268 | 1259839.0251 | 2719736.8581 | 1259843.3386
39 | 2719739.9014 | 1259828.2283 | 2719737.7268 | 1259839.0251
40 | 2719530.6963 | 1259772.0273 | 2719578.7819 | 1259753.4381 | 2719617.6759 | 1259742.737 | 2719624.4489 | 1259741.7993
41 | 2719530.6963 | 1259772.0273 | 2719533.734 | 1259783.6211 | 2719535.2014 | 1259802.7786 | 2719533.4008 | 1259831.0213
42 | 2719528.1977 | 1259857.2071 | 2719530.7389 | 1259853.4551 | 2719532.5517 | 1259844.3393 | 2719533.4008 | 1259831.0213
43 | 2719528.1977 | 1259857.2071 | 2719501.9738 | 1259881.7888
44 | 2719528.1977 | 1259857.2071 | 2719533.0392 | 1259861.6198 | 2719539.8535 | 1259872.8674 | 2719541.4577 | 1259874.8126 | 2719542.8313 | 1259875.8635 | 2719543.8565 | 1259876.2401 | 2719545.2328 | 1259876.4125
45 | 2719463.4359 | 1259777.4342 | 2719459.9741 | 1259777.7832
46 | 2719437.2647 | 1259780.0723 | 2719459.9741 | 1259777.7832
47 | 2719501.9738 | 1259881.7888 | 2719497.5387 | 1259885.9461
48 | 2719545.2328 | 1259876.4125 | 2719545.2328 | 1259876.4125 | 2719546.8651 | 1259876.2231 | 2719549.0503 | 1259875.5333 | 2719551.658 | 1259874.4628 | 2719560.6197 | 1259870.851
49 | 2719437.2647 | 1259780.0723 | 2719434.9163 | 1259780.309
50 | 2719601.6698 | 1259350.2363 | 2719600.517 | 1259356.5296 | 2719598.4186 | 1259364.472 | 2719596.324 | 1259371.4802 | 2719581.4544 | 1259417.3755 | 2719578.2205 | 1259429.6806
51 | 2719570.9444 | 1259460.2228 | 2719575.2709 | 1259440.9045 | 2719578.2205 | 1259429.6806
52 | 2719570.9444 | 1259460.2228 | 2719560.9845 | 1259454.6167 | 2719552.5721 | 1259448.9195 | 2719541.0842 | 1259438.7119 | 2719524.5192 | 1259422.4095
53 | 2719570.9444 | 1259460.2228 | 2719570.6788 | 1259461.6718
54 | 2719524.5192 | 1259422.4095 | 2719520.3178 | 1259418.2745 | 2719513.0491 | 1259412.6895 | 2719502.7296 | 1259405.8418 | 2719499.0942 | 1259403.99
55 | 2719564.7187 | 1259497.2334 | 2719567.4781 | 1259479.136 | 2719570.6788 | 1259461.6718
56 | 2719564.7187 | 1259497.2334 | 2719562.1831 | 1259513.8629
57 | 2719498.0314 | 1259648.7485 | 2719507.2394 | 1259637.0798 | 2719509.4924 | 1259633.8119
58 | 2719561.8745 | 1259515.8864 | 2719509.4924 | 1259633.8119
59 | 2719485.3593 | 1259663.5723 | 2719498.0314 | 1259648.7485
60 | 2719561.8745 | 1259515.8864 | 2719562.1831 | 1259513.8629
61 | 2719424.0621 | 1259745.0417 | 2719485.3593 | 1259663.5723
62 | 2719392.7042 | 1259788.3337 | 2719401.4203 | 1259777.8559 | 2719424.0621 | 1259745.0417
63 | 2719392.7042 | 1259788.3337 | 2719399.2531 | 1259784.7404 | 2719406.4018 | 1259783.1833 | 2719411.0814 | 1259782.7116
64 | 2719392.7042 | 1259788.3337 | 2719375.9063 | 1259804.0196 | 2719362.9114 | 1259815.4453 | 2719352.708 | 1259823.0461 | 2719347.8469 | 1259826.0988
65 | 2719239.4632 | 1259983.172 | 2719244.1179 | 1259980.8174 | 2719249.9828 | 1259978.9784 | 2719256.2426 | 1259977.39
66 | 2719333.6816 | 1259961.1056 | 2719332.2467 | 1259963.4676 | 2719331.2291 | 1259965.3265 | 2719329.3488 | 1259966.9678 | 2719326.7502 | 1259967.9718 | 2719320.2456 | 1259969.0083 | 2719304.2221 | 1259969.8859 | 2719281.0006 | 1259971.7973 | 2719270.2008 | 1259973.848 | 2719256.2426 | 1259977.39
67 | 2719333.6816 | 1259961.1056 | 2719332.9909 | 1259958.3448
68 | 2719333.6816 | 1259961.1056 | 2719335.0636 | 1259966.5938 | 2719336.9349 | 1259969.5008 | 2719339.3771 | 1259972.1413 | 2719343.4654 | 1259975.7713 | 2719345.4811 | 1259976.7573 | 2719348.3031 | 1259977.0144 | 2719352.1552 | 1259976.2915 | 2719356.4826 | 1259974.7997 | 2719365.722 | 1259970.1264 | 2719368.9779 | 1259983.248
69 | 2719332.9909 | 1259958.3448 | 2719338.9887 | 1259950.6702 | 2719351.4924 | 1259942.2705 | 2719365.8827 | 1259931.1733
70 | 2719332.9909 | 1259958.3448 | 2719331.8562 | 1259954.5054
71 | 2719368.9779 | 1259983.248 | 2719365.722 | 1259970.1264 | 2719385.6494 | 1259959.6081
72 | 2719368.9779 | 1259983.248 | 2719370.9987 | 1259997.0453 | 2719371.6893 | 1260004.7519
73 | 2719331.8562 | 1259954.5054 | 2719330.6267 | 1259950.3457 | 2719324.7944 | 1259935.6263 | 2719324.2509 | 1259933.8571
74 | 2719385.6494 | 1259959.6081 | 2719401.5533 | 1259951.2105 | 2719409.8033 | 1259947.3135
75 | 2719385.6494 | 1259959.6081 | 2719388.8201 | 1259971.716
76 | 2719371.7231 | 1260005.1297 | 2719371.6893 | 1260004.7519
77 | 2719460.0905 | 1259922.3444 | 2719456.5251 | 1259925.2973 | 2719452.2939 | 1259927.992 | 2719445.6621 | 1259931.2165 | 2719430.8589 | 1259937.3675 | 2719409.8033 | 1259947.3135
78 | 2719399.9891 | 1259984.2412 | 2719388.8201 | 1259971.716
79 | 2719276.1407 | 1259858.4222 | 2719276.3286 | 1259872.4033
80 | 2719276.1407 | 1259858.4222 | 2719261.7323 | 1259861.4456
81 | 2719237.637 | 1259799.3723 | 2719241.759 | 1259805.8277 | 2719266.3431 | 1259833.2027 | 2719281.1236 | 1259847.6132 | 2719283.8485 | 1259856.7984 | 2719276.1407 | 1259858.4222
82 | 2719276.1407 | 1259858.4222 | 2719283.8485 | 1259856.7984 | 2719299.0887 | 1259852.9022
83 | 2719261.7323 | 1259861.4456 | 2719263.0344 | 1259888.0951
84 | 2719261.7323 | 1259861.4456 | 2719223.4364 | 1259869.4809
85 | 2719237.637 | 1259799.3723 | 2719243.1775 | 1259785.216
86 | 2719299.0887 | 1259852.9022 | 2719310.4269 | 1259881.3446 | 2719313.0398 | 1259890.4719 | 2719313.8714 | 1259894.1781
87 | 2719299.0887 | 1259852.9022 | 2719307.1461 | 1259850.0177 | 2719313.9191 | 1259846.8959 | 2719333.3198 | 1259835.2214 | 2719347.8469 | 1259826.0988
88 | 2719223.4364 | 1259869.4809 | 2719223.4135 | 1259881.8357
89 | 2719194.8923 | 1259875.4778 | 2719223.4364 | 1259869.4809
90 | 2719316.028 | 1259903.7883 | 2719313.8714 | 1259894.1781
91 | 2719194.8923 | 1259875.4778 | 2719194.3463 | 1259895.8291
92 | 2719316.028 | 1259903.7883 | 2719316.7611 | 1259907.0767
93 | 2719316.028 | 1259903.7883 | 2719300.3215 | 1259906.4006
94 | 2719289.6953 | 1259908.168 | 2719300.3215 | 1259906.4006
95 | 2719324.189 | 1259933.6558 | 2719320.2597 | 1259920.8664 | 2719316.8922 | 1259907.6647 | 2719316.7611 | 1259907.0767
96 | 2719324.2509 | 1259933.8571 | 2719324.189 | 1259933.6558
97 | 2719372.4625 | 1260022.0832 | 2719372.4884 | 1260019.9733 | 2719372.2047 | 1260010.5037 | 2719371.7231 | 1260005.1297
98 | 2719372.3828 | 1260028.5676 | 2719372.4625 | 1260022.0832
99 | 2719372.3828 | 1260028.5676 | 2719371.2472 | 1260044.8589 | 2719370.5435 | 1260062.905 | 2719370.619 | 1260064.4106
100 | 2719460.0905 | 1259922.3444 | 2719471.7169 | 1259934.3497
101 | 2719460.0905 | 1259922.3444 | 2719465.2617 | 1259916.4103 | 2719476.3091 | 1259905.8463 | 2719486.6392 | 1259896.1631
102 | 2719483.0431 | 1259955.2933 | 2719482.1789 | 1259952.2722 | 2719479.9793 | 1259946.2113 | 2719476.7231 | 1259940.574 | 2719473.1844 | 1259935.8651 | 2719471.7169 | 1259934.3497
103 | 2719486.6392 | 1259896.1631 | 2719487.9252 | 1259894.9576
104 | 2719483.0431 | 1259955.2933 | 2719483.9759 | 1259958.5539
105 | 2719497.5387 | 1259885.9461 | 2719487.9252 | 1259894.9576
106 | 2719485.9288 | 1259965.3804 | 2719483.9759 | 1259958.5539
107 | 2719488.089 | 1259972.9315 | 2719485.9288 | 1259965.3804
108 | 2719488.089 | 1259972.9315 | 2719491.8382 | 1259986.0371
109 | 2719509.8117 | 1260018.9553 | 2719494.0442 | 1259993.7481 | 2719491.8382 | 1259986.0371
110 | 2719411.0814 | 1259782.7116 | 2719434.9163 | 1259780.309

## bus_geodata
| x | y | coords
0 | 2719694.8575 | 1260000.9378
1 | 2719764.9959 | 1260017.8692
2 | 2719675.0276 | 1259905.3824
3 | 2719773.1685 | 1260030.1454
4 | 2719697.179 | 1259902.4275
5 | 2719553.3416 | 1260005.605
6 | 2719544.2076 | 1260008.627
7 | 2719722.229 | 1260019.1475
8 | 2719758.6263 | 1259894.2305
9 | 2719780.0108 | 1259880.7083
10 | 2719737.5799 | 1259897.0381
11 | 2719717.4739 | 1259899.7202
12 | 2719575.1348 | 1259875.9829
13 | 2719571.6797 | 1259866.3936
14 | 2719579.0674 | 1259863.0844
15 | 2719664.8581 | 1259864.9416
16 | 2719578.011 | 1259863.5576
17 | 2719754.1264 | 1259867.7731
18 | 2719806.7262 | 1259884.9973
19 | 2719784.2705 | 1259871.0305
20 | 2719828.803 | 1259898.6786
21 | 2719835.6191 | 1259894.5574
22 | 2719822.1969 | 1259892.8063
23 | 2719850.2698 | 1259911.9472
24 | 2719757.6346 | 1259854.9995
25 | 2719733.6063 | 1259859.4839
26 | 2719812.5472 | 1259880.5001
27 | 2719855.9454 | 1259907.5583
28 | 2719792.7234 | 1259870.9682
29 | 2719779.0578 | 1259868.0013
30 | 2719677.0716 | 1259863.2896
31 | 2719684.3701 | 1259862.3025
32 | 2719694.6438 | 1259860.1852
33 | 2719699.3158 | 1259847.6465
34 | 2719730.8183 | 1259858.4202
35 | 2719685.0805 | 1259843.2213
36 | 2719696.3178 | 1259834.3896
37 | 2719736.8581 | 1259843.3386
38 | 2719737.7268 | 1259839.0251
39 | 2719739.9014 | 1259828.2283
40 | 2719624.4489 | 1259741.7993
41 | 2719530.6963 | 1259772.0273
42 | 2719533.4008 | 1259831.0213
43 | 2719528.1977 | 1259857.2071
44 | 2719463.4359 | 1259777.4342
45 | 2719459.9741 | 1259777.7832
46 | 2719501.9738 | 1259881.7888
47 | 2719545.2328 | 1259876.4125
48 | 2719437.2647 | 1259780.0723
49 | 2719601.6698 | 1259350.2363
50 | 2719578.2205 | 1259429.6806
51 | 2719570.9444 | 1259460.2228
52 | 2719524.5192 | 1259422.4095
53 | 2719570.6788 | 1259461.6718
54 | 2719499.0942 | 1259403.99
55 | 2719564.7187 | 1259497.2334
56 | 2719509.4924 | 1259633.8119
57 | 2719498.0314 | 1259648.7485
58 | 2719561.8745 | 1259515.8864
59 | 2719485.3593 | 1259663.5723
60 | 2719562.1831 | 1259513.8629
61 | 2719424.0621 | 1259745.0417
62 | 2719392.7042 | 1259788.3337
63 | 2719239.4632 | 1259983.172
64 | 2719256.2426 | 1259977.39
65 | 2719333.6816 | 1259961.1056
66 | 2719332.9909 | 1259958.3448
67 | 2719368.9779 | 1259983.248
68 | 2719365.8827 | 1259931.1733
69 | 2719331.8562 | 1259954.5054
70 | 2719385.6494 | 1259959.6081
71 | 2719371.6893 | 1260004.7519
72 | 2719409.8033 | 1259947.3135
73 | 2719388.8201 | 1259971.716
74 | 2719276.3286 | 1259872.4033
75 | 2719276.1407 | 1259858.4222
76 | 2719261.7323 | 1259861.4456
77 | 2719237.637 | 1259799.3723
78 | 2719299.0887 | 1259852.9022
79 | 2719263.0344 | 1259888.0951
80 | 2719223.4364 | 1259869.4809
81 | 2719243.1775 | 1259785.216
82 | 2719313.8714 | 1259894.1781
83 | 2719347.8469 | 1259826.0988
84 | 2719223.4135 | 1259881.8357
85 | 2719194.8923 | 1259875.4778
86 | 2719316.028 | 1259903.7883
87 | 2719289.6953 | 1259908.168
88 | 2719300.3215 | 1259906.4006
89 | 2719316.7611 | 1259907.0767
90 | 2719324.189 | 1259933.6558
91 | 2719324.2509 | 1259933.8571
92 | 2719372.4625 | 1260022.0832
93 | 2719371.7231 | 1260005.1297
94 | 2719372.3828 | 1260028.5676
95 | 2719370.619 | 1260064.4106
96 | 2719399.9891 | 1259984.2412
97 | 2719460.0905 | 1259922.3444
98 | 2719471.7169 | 1259934.3497
99 | 2719486.6392 | 1259896.1631
100 | 2719483.0431 | 1259955.2933
101 | 2719487.9252 | 1259894.9576
102 | 2719483.9759 | 1259958.5539
103 | 2719497.5387 | 1259885.9461
104 | 2719488.089 | 1259972.9315
105 | 2719485.9288 | 1259965.3804
106 | 2719491.8382 | 1259986.0372
107 | 2719509.8117 | 1260018.9553
108 | 2719560.6197 | 1259870.851
109 | 2719411.0814 | 1259782.7116
110 | 2719434.9163 | 1259780.309
111 | 2719194.3463 | 1259895.8291
112 | 2719571.6797 | 1259866.3936

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1