## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3442-14_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3442-14_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3442-14_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3442-14_0_3_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_3442-14_0_3_node_51 | 0.4 | n |  | TRUE
5 | bus_LV_3442-14_0_3_node_28 | 0.4 | n |  | TRUE
6 | bus_LV_3442-14_0_3_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_3442-14_0_3_node_50 | 0.4 | n |  | TRUE
8 | bus_LV_3442-14_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_3442-14_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_3442-14_0_3_node_26 | 0.4 | n |  | TRUE
11 | bus_LV_3442-14_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_3442-14_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_3442-14_0_3_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_3442-14_0_3_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_3442-14_0_3_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_3442-14_0_3_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_3442-14_0_3_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_3442-14_0_3_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_3442-14_0_3_node_53 | 0.4 | n |  | TRUE
20 | bus_LV_3442-14_0_3_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_3442-14_0_3_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_3442-14_0_3_node_30 | 0.4 | n |  | TRUE
23 | bus_LV_3442-14_0_3_node_48 | 0.4 | n |  | TRUE
24 | bus_LV_3442-14_0_3_node_54 | 0.4 | n |  | TRUE
25 | bus_LV_3442-14_0_3_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_3442-14_0_3_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_3442-14_0_3_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_3442-14_0_3_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_3442-14_0_3_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_3442-14_0_3_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_3442-14_0_3_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_3442-14_0_3_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_3442-14_0_3_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_3442-14_0_3_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_3442-14_0_3_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_3442-14_0_3_node_64 | 0.4 | n |  | TRUE
37 | bus_LV_3442-14_0_3_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_3442-14_0_3_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_3442-14_0_3_node_65 | 0.4 | n |  | TRUE
40 | bus_LV_3442-14_0_3_node_52 | 0.4 | n |  | TRUE
41 | bus_LV_3442-14_0_3_node_46 | 0.4 | n |  | TRUE
42 | bus_LV_3442-14_0_3_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_3442-14_0_3_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_3442-14_0_3_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_3442-14_0_3_node_56 | 0.4 | n |  | TRUE
46 | bus_LV_3442-14_0_3_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_3442-14_0_3_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_3442-14_0_3_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_3442-14_0_3_node_55 | 0.4 | n |  | TRUE
50 | bus_LV_3442-14_0_3_node_58 | 0.4 | n |  | TRUE
51 | bus_LV_3442-14_0_3_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_3442-14_0_3_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_3442-14_0_3_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_3442-14_0_3_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_3442-14_0_3_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_3442-14_0_3_node_61 | 0.4 | n |  | TRUE
57 | bus_LV_3442-14_0_3_node_59 | 0.4 | n |  | TRUE
58 | bus_LV_3442-14_0_3_node_62 | 0.4 | n |  | TRUE
59 | bus_LV_3442-14_0_3_node_63 | 0.4 | n |  | TRUE
60 | bus_LV_3442-14_0_3_node_49 | 0.4 | n |  | TRUE
61 | bus_MV_413_0_node_31 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3442-14_0_3_load_0 | 0 | 0.010737 | 0.0026911 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3442-14_0_3_load_51 | 4 | 0.01168 | 0.0029272 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3442-14_0_3_load_28 | 5 | 0.0043967 | 0.0011019 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3442-14_0_3_load_7 | 6 | 0.0066392 | 0.0016639 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3442-14_0_3_load_5 | 8 | 0.0042204 | 0.0010577 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3442-14_0_3_load_6 | 9 | 0.0037741 | 0.00094588 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3442-14_0_3_load_26 | 10 | 0.010787 | 0.0027034 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3442-14_0_3_load_9 | 11 | 0.023112 | 0.0057923 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3442-14_0_3_load_13 | 15 | 0.011422 | 0.0028626 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3442-14_0_3_load_14 | 16 | 0.0040744 | 0.0010211 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3442-14_0_3_load_15 | 17 | 0.00881 | 0.002208 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3442-14_0_3_load_16 | 18 | 0.0025514 | 0.00063945 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3442-14_0_3_load_53 | 19 | 0.0038828 | 0.00097311 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3442-14_0_3_load_24 | 20 | 0.0019966 | 0.00050039 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3442-14_0_3_load_48 | 23 | 0.0054936 | 0.0013768 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3442-14_0_3_load_54 | 24 | 0.0015247 | 0.00038213 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3442-14_0_3_load_29 | 26 | 0.0024977 | 0.00062598 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3442-14_0_3_load_25 | 27 | 0.0058481 | 0.0014657 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3442-14_0_3_load_31 | 28 | 0.018736 | 0.0046957 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3442-14_0_3_load_32 | 29 | 0.016008 | 0.004012 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3442-14_0_3_load_17 | 30 | 0.024701 | 0.0061907 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3442-14_0_3_load_18 | 31 | 0.0068256 | 0.0017107 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3442-14_0_3_load_23 | 32 | 0.0024991 | 0.00062633 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3442-14_0_3_load_21 | 33 | 0.0037312 | 0.00093512 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3442-14_0_3_load_20 | 34 | 0.012673 | 0.0031761 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3442-14_0_3_load_64 | 36 | 0.010991 | 0.0027546 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3442-14_0_3_load_35 | 38 | 0.0053856 | 0.0013498 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3442-14_0_3_load_65 | 39 | 0.0026359 | 0.00066063 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3442-14_0_3_load_36 | 42 | 0.00050967 | 0.00012773 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3442-14_0_3_load_56 | 45 | 0.00069695 | 0.00017467 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3442-14_0_3_load_39 | 46 | 0.0037022 | 0.00092787 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3442-14_0_3_load_40 | 47 | 0.001248 | 0.00031278 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3442-14_0_3_load_41 | 48 | 0.0038267 | 0.00095905 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3442-14_0_3_load_55 | 49 | 0.0018771 | 0.00047044 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3442-14_0_3_load_58 | 50 | 0.0015319 | 0.00038393 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3442-14_0_3_load_42 | 51 | 0.015108 | 0.0037864 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3442-14_0_3_load_45 | 52 | 0.0025289 | 0.00063381 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3442-14_0_3_load_43 | 53 | 0.022814 | 0.0057176 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3442-14_0_3_load_61 | 56 | 0.032492 | 0.0081432 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3442-14_0_3_load_59 | 57 | 0.0078994 | 0.0019798 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3442-14_0_3_load_62 | 58 | 0.011291 | 0.0028297 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3442-14_0_3_load_63 | 59 | 0.010014 | 0.0025097 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3442-14_0_3_load_49 | 60 | 0.029452 | 0.0073814 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3442-14_0_3_line_0 |  | 0 | 1 | 0.019866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3442-14_0_3_line_1 |  | 1 | 2 | 0.016623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3442-14_0_3_line_2 |  | 2 | 3 | 0.027009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3442-14_0_3_line_3 |  | 2 | 4 | 0.028813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3442-14_0_3_line_4 |  | 3 | 5 | 0.02179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3442-14_0_3_line_5 |  | 3 | 6 | 0.012693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3442-14_0_3_line_6 |  | 4 | 7 | 0.068378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3442-14_0_3_line_7 |  | 5 | 10 | 0.018378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3442-14_0_3_line_8 |  | 6 | 9 | 0.0062266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3442-14_0_3_line_9 |  | 7 | 60 | 0.031043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3442-14_0_3_line_10 |  | 8 | 9 | 0.022855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3442-14_0_3_line_11 |  | 10 | 27 | 0.0054798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3442-14_0_3_line_12 |  | 11 | 12 | 0.021115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_3442-14_0_3_line_13 |  | 11 | 13 | 0.025921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_3442-14_0_3_line_14 |  | 12 | 14 | 0.010239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3442-14_0_3_line_15 |  | 12 | 15 | 0.016706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3442-14_0_3_line_16 |  | 12 | 16 | 0.026569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3442-14_0_3_line_17 |  | 13 | 17 | 0.010016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_3442-14_0_3_line_18 |  | 13 | 18 | 0.029147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_3442-14_0_3_line_19 |  | 14 | 19 | 0.014785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3442-14_0_3_line_20 |  | 15 | 20 | 0.030795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3442-14_0_3_line_21 |  | 16 | 21 | 0.0052067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3442-14_0_3_line_22 |  | 17 | 22 | 0.019958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_3442-14_0_3_line_23 |  | 18 | 23 | 0.010285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_3442-14_0_3_line_24 |  | 19 | 24 | 0.015078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3442-14_0_3_line_25 |  | 20 | 25 | 0.0030133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3442-14_0_3_line_26 |  | 21 | 26 | 0.021618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3442-14_0_3_line_27 |  | 21 | 27 | 0.026326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3442-14_0_3_line_28 |  | 22 | 28 | 0.024957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_3442-14_0_3_line_29 |  | 22 | 29 | 0.025205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3442-14_0_3_line_30 |  | 25 | 34 | 0.023365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3442-14_0_3_line_31 |  | 28 | 35 | 0.020347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_3442-14_0_3_line_32 |  | 29 | 36 | 2.6984e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3442-14_0_3_line_33 |  | 30 | 31 | 0.044304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3442-14_0_3_line_34 |  | 31 | 32 | 0.12367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3442-14_0_3_line_35 |  | 32 | 33 | 0.037265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3442-14_0_3_line_36 |  | 33 | 34 | 0.0046993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3442-14_0_3_line_37 |  | 35 | 37 | 0.037497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3442-14_0_3_line_38 |  | 35 | 38 | 0.020575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_3442-14_0_3_line_39 |  | 37 | 39 | 0.038554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3442-14_0_3_line_40 |  | 38 | 40 | 0.048103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_3442-14_0_3_line_41 |  | 40 | 41 | 0.076511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_3442-14_0_3_line_42 |  | 41 | 58 | 0.041942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3442-14_0_3_line_43 |  | 41 | 52 | 0.025404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_3442-14_0_3_line_44 |  | 42 | 43 | 0.042619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3442-14_0_3_line_45 |  | 42 | 44 | 0.030586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3442-14_0_3_line_46 |  | 42 | 45 | 0.093272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3442-14_0_3_line_47 |  | 43 | 46 | 0.026182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_3442-14_0_3_line_48 |  | 43 | 47 | 0.045098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_3442-14_0_3_line_49 |  | 44 | 48 | 0.014757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3442-14_0_3_line_50 |  | 45 | 49 | 0.0032426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3442-14_0_3_line_51 |  | 46 | 51 | 0.058033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_3442-14_0_3_line_52 |  | 47 | 52 | 0.023568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_3442-14_0_3_line_53 |  | 49 | 50 | 0.045198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3442-14_0_3_line_54 |  | 51 | 53 | 0.050763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3442-14_0_3_line_55 |  | 53 | 54 | 0.039601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3442-14_0_3_line_56 |  | 54 | 55 | 0.070714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3442-14_0_3_line_57 |  | 55 | 56 | 0.071369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3442-14_0_3_line_58 |  | 55 | 57 | 0.021218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3442-14_0_3_line_59 |  | 58 | 59 | 0.01677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3442-14_0_3_trafo_48 | 0.63 MVA 20/0.4 kV | 61 | 23 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2741809.1778 | 1254027.6678 | 2741813.8623 | 1254018.6492 | 2741818.2386 | 1254009.9893
1 | 2741792.6649 | 1254025.3703 | 2741809.1778 | 1254027.6678
2 | 2741792.6649 | 1254025.3703 | 2741775.1384 | 1254021.9031 | 2741766.1105 | 1254020.0297
3 | 2741792.6649 | 1254025.3703 | 2741792.2352 | 1254036.059 | 2741790.9505 | 1254048.0951 | 2741789.414 | 1254053.9063
4 | 2741766.1105 | 1254020.0297 | 2741754.8254 | 1254017.8576 | 2741744.7894 | 1254015.552
5 | 2741766.1105 | 1254020.0297 | 2741769.4058 | 1254007.772
6 | 2741759.6529 | 1254115.0423 | 2741760.9822 | 1254112.4829 | 2741767.033 | 1254102.1958 | 2741771.0063 | 1254095.4512 | 2741783.9904 | 1254072.3847 | 2741787.6719 | 1254060.495 | 2741789.414 | 1254053.9063
7 | 2741727.0516 | 1254010.8765 | 2741730.7213 | 1254012.32 | 2741744.7894 | 1254015.552
8 | 2741771.0223 | 1254001.7589 | 2741769.4058 | 1254007.772
9 | 2741759.6529 | 1254115.0423 | 2741730.7143 | 1254103.8084
10 | 2741777.6348 | 1253979.8885 | 2741773.3115 | 1253993.2435 | 2741771.0223 | 1254001.7589
11 | 2741727.0516 | 1254010.8765 | 2741721.9521 | 1254008.8706
12 | 2741669.0574 | 1253985.0526 | 2741652.6706 | 1253976.219 | 2741650.4817 | 1253975.0125
13 | 2741627.7807 | 1253962.4999 | 2741650.4817 | 1253975.0125
14 | 2741669.0574 | 1253985.0526 | 2741662.5204 | 1253992.9481
15 | 2741669.0574 | 1253985.0526 | 2741675.0805 | 1253972.4514 | 2741676.2677 | 1253969.9822
16 | 2741669.0574 | 1253985.0526 | 2741685.8138 | 1253994.2064 | 2741688.3586 | 1253995.424 | 2741692.651 | 1253997.2222
17 | 2741627.7807 | 1253962.4999 | 2741619.0555 | 1253957.5813
18 | 2741627.7807 | 1253962.4999 | 2741621.3088 | 1253971.4647 | 2741621.4247 | 1253976.7168 | 2741626.051 | 1253985.8916 | 2741627.6911 | 1253987.8598
19 | 2741662.5204 | 1253992.9481 | 2741670.4732 | 1254005.4116
20 | 2741686.6041 | 1253941.1615 | 2741685.6356 | 1253947.4248 | 2741681.1971 | 1253959.7302 | 2741676.2677 | 1253969.9822
21 | 2741697.4533 | 1253999.234 | 2741692.651 | 1253997.2222
22 | 2741602.5851 | 1253946.4157 | 2741610.9267 | 1253952.9991 | 2741619.0555 | 1253957.5813
23 | 2741634.2752 | 1253995.7611 | 2741627.6911 | 1253987.8598
24 | 2741678.5839 | 1254018.1226 | 2741670.4732 | 1254005.4116
25 | 2741687.0646 | 1253938.1836 | 2741686.6041 | 1253941.1615
26 | 2741705.6766 | 1253979.2341 | 2741697.4533 | 1253999.234
27 | 2741697.4533 | 1253999.234 | 2741721.9521 | 1254008.8706
28 | 2741602.5851 | 1253946.4157 | 2741596.7709 | 1253939.8817 | 2741587.7158 | 1253926.4357
29 | 2741602.5851 | 1253946.4157 | 2741590.4151 | 1253968.4883
30 | 2741687.0646 | 1253938.1836 | 2741686.9963 | 1253923.3792 | 2741689.5734 | 1253915.2163
31 | 2741577.2966 | 1253908.9649 | 2741585.9537 | 1253923.8191 | 2741587.7158 | 1253926.4357
32 | 2741590.4021 | 1253968.5119 | 2741590.4151 | 1253968.4883
33 | 2741806.8112 | 1253811.3394 | 2741806.1686 | 1253811.1587 | 2741786.8395 | 1253806.6584 | 2741784.1846 | 1253799.3213 | 2741785.2334 | 1253789.2592 | 2741786.8366 | 1253783.6108
34 | 2741700.693 | 1253874.8493 | 2741806.8112 | 1253811.3394
35 | 2741700.693 | 1253874.8493 | 2741700.3947 | 1253877.9681 | 2741699.019 | 1253885.2976 | 2741690.9882 | 1253910.735
36 | 2741689.5734 | 1253915.2163 | 2741690.9882 | 1253910.735
37 | 2741577.2966 | 1253908.9649 | 2741572.2764 | 1253897.6343 | 2741569.2422 | 1253890.0546 | 2741563.0528 | 1253874.2697
38 | 2741577.2966 | 1253908.9649 | 2741570.5362 | 1253912.0062 | 2741565.8037 | 1253913.5723 | 2741559.9593 | 1253913.9775 | 2741557.6685 | 1253913.6164
39 | 2741563.0528 | 1253874.2697 | 2741597.9816 | 1253857.7334
40 | 2741510.8872 | 1253902.9946 | 2741521.6634 | 1253906.8891 | 2741538.3323 | 1253910.5686 | 2741557.6685 | 1253913.6164
41 | 2741462.7244 | 1253958.1627 | 2741470.6748 | 1253936.599 | 2741484.3651 | 1253924.3701 | 2741505.122 | 1253912.7105 | 2741508.5371 | 1253908.1545 | 2741510.8872 | 1253902.9946
42 | 2741462.7244 | 1253958.1627 | 2741502.6159 | 1253971.1166
43 | 2741462.7244 | 1253958.1627 | 2741459.6593 | 1253967.0312 | 2741456.7023 | 1253982.7766
44 | 2741463.5812 | 1254050.837 | 2741469.5448 | 1254093.0365
45 | 2741470.6669 | 1254123.5301 | 2741471.0827 | 1254106.7687 | 2741469.8498 | 1254095.195 | 2741469.5448 | 1254093.0365
46 | 2741469.5448 | 1254093.0365 | 2741376.94 | 1254104.1714
47 | 2741463.5812 | 1254050.837 | 2741489.3246 | 1254055.6115
48 | 2741463.5812 | 1254050.837 | 2741458.4119 | 1254020.1625 | 2741456.7718 | 1254006.2684
49 | 2741470.6669 | 1254123.5301 | 2741485.0326 | 1254126.9068
50 | 2741374.2547 | 1254105.9891 | 2741376.94 | 1254104.1714
51 | 2741545.696 | 1254069.2975 | 2741529.2564 | 1254065.0303 | 2741501.7181 | 1254057.9101 | 2741489.3246 | 1254055.6115
52 | 2741456.7718 | 1254006.2684 | 2741456.1961 | 1254001.3919 | 2741456.243 | 1253985.2223 | 2741456.7023 | 1253982.7766
53 | 2741374.2547 | 1254105.9891 | 2741329.2217 | 1254109.8518
54 | 2741545.696 | 1254069.2975 | 2741575.0824 | 1254076.9254 | 2741594.9088 | 1254081.7412
55 | 2741633.391 | 1254091.0883 | 2741594.9088 | 1254081.7412
56 | 2741605.0967 | 1254155.628 | 2741610.8472 | 1254143.999 | 2741615.9255 | 1254131.442 | 2741623.9904 | 1254117.4105 | 2741629.6983 | 1254104.7239 | 2741633.391 | 1254091.0883
57 | 2741605.0967 | 1254155.628 | 2741570.1565 | 1254148.108 | 2741535.3451 | 1254139.6125
58 | 2741605.0967 | 1254155.628 | 2741601.7071 | 1254165.434 | 2741598.9308 | 1254175.9148
59 | 2741502.6159 | 1253971.1166 | 2741496.3034 | 1253986.653

## bus_geodata
| x | y | coords
0 | 2741818.2386 | 1254009.9893
1 | 2741809.1778 | 1254027.6678
2 | 2741792.6649 | 1254025.3703
3 | 2741766.1105 | 1254020.0297
4 | 2741789.414 | 1254053.9063
5 | 2741744.7894 | 1254015.552
6 | 2741769.4058 | 1254007.772
7 | 2741759.6529 | 1254115.0423
8 | 2741777.6348 | 1253979.8885
9 | 2741771.0223 | 1254001.7589
10 | 2741727.0516 | 1254010.8765
11 | 2741650.4817 | 1253975.0125
12 | 2741669.0574 | 1253985.0526
13 | 2741627.7808 | 1253962.4999
14 | 2741662.5204 | 1253992.9481
15 | 2741676.2677 | 1253969.9822
16 | 2741692.651 | 1253997.2222
17 | 2741619.0555 | 1253957.5813
18 | 2741627.6911 | 1253987.8598
19 | 2741670.4732 | 1254005.4116
20 | 2741686.6041 | 1253941.1615
21 | 2741697.4533 | 1253999.234
22 | 2741602.5851 | 1253946.4157
23 | 2741634.2752 | 1253995.7611
24 | 2741678.5839 | 1254018.1226
25 | 2741687.0646 | 1253938.1836
26 | 2741705.6766 | 1253979.2341
27 | 2741721.9521 | 1254008.8706
28 | 2741587.7158 | 1253926.4357
29 | 2741590.4151 | 1253968.4883
30 | 2741786.8366 | 1253783.6108
31 | 2741806.8112 | 1253811.3394
32 | 2741700.693 | 1253874.8493
33 | 2741690.9882 | 1253910.735
34 | 2741689.5734 | 1253915.2163
35 | 2741577.2966 | 1253908.9649
36 | 2741590.4021 | 1253968.5119
37 | 2741563.0528 | 1253874.2697
38 | 2741557.6685 | 1253913.6164
39 | 2741597.9816 | 1253857.7334
40 | 2741510.8872 | 1253902.9946
41 | 2741462.7244 | 1253958.1627
42 | 2741469.5448 | 1254093.0365
43 | 2741463.5812 | 1254050.837
44 | 2741470.6669 | 1254123.5301
45 | 2741376.94 | 1254104.1714
46 | 2741489.3246 | 1254055.6115
47 | 2741456.7718 | 1254006.2684
48 | 2741485.0326 | 1254126.9068
49 | 2741374.2547 | 1254105.9891
50 | 2741329.2217 | 1254109.8518
51 | 2741545.696 | 1254069.2975
52 | 2741456.7022 | 1253982.7766
53 | 2741594.9088 | 1254081.7412
54 | 2741633.391 | 1254091.0883
55 | 2741605.0967 | 1254155.628
56 | 2741535.3451 | 1254139.6125
57 | 2741598.9308 | 1254175.9148
58 | 2741502.6159 | 1253971.1166
59 | 2741496.3034 | 1253986.653
60 | 2741730.7143 | 1254103.8084
61 | 2741634.2752 | 1253995.7611

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1