## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3442-17_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3442-17_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3442-17_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3442-17_0_4_node_11 | 0.4 | n |  | TRUE
4 | bus_LV_3442-17_0_4_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_3442-17_0_4_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_3442-17_0_4_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_3442-17_0_4_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_3442-17_0_4_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_3442-17_0_4_node_59 | 0.4 | n |  | TRUE
10 | bus_LV_3442-17_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_3442-17_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_3442-17_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_3442-17_0_4_node_53 | 0.4 | n |  | TRUE
14 | bus_LV_3442-17_0_4_node_62 | 0.4 | n |  | TRUE
15 | bus_LV_3442-17_0_4_node_5 | 0.4 | n |  | TRUE
16 | bus_LV_3442-17_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_3442-17_0_4_node_58 | 0.4 | n |  | TRUE
18 | bus_LV_3442-17_0_4_node_29 | 0.4 | n |  | TRUE
19 | bus_LV_3442-17_0_4_node_30 | 0.4 | n |  | TRUE
20 | bus_LV_3442-17_0_4_node_38 | 0.4 | n |  | TRUE
21 | bus_LV_3442-17_0_4_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_3442-17_0_4_node_37 | 0.4 | n |  | TRUE
23 | bus_LV_3442-17_0_4_node_60 | 0.4 | n |  | TRUE
24 | bus_LV_3442-17_0_4_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_3442-17_0_4_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_3442-17_0_4_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_3442-17_0_4_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_3442-17_0_4_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_3442-17_0_4_node_52 | 0.4 | n |  | TRUE
30 | bus_LV_3442-17_0_4_node_56 | 0.4 | n |  | TRUE
31 | bus_LV_3442-17_0_4_node_54 | 0.4 | n |  | TRUE
32 | bus_LV_3442-17_0_4_node_64 | 0.4 | n |  | TRUE
33 | bus_LV_3442-17_0_4_node_55 | 0.4 | n |  | TRUE
34 | bus_LV_3442-17_0_4_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_3442-17_0_4_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_3442-17_0_4_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_3442-17_0_4_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_3442-17_0_4_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_3442-17_0_4_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_3442-17_0_4_node_47 | 0.4 | n |  | TRUE
41 | bus_LV_3442-17_0_4_node_46 | 0.4 | n |  | TRUE
42 | bus_LV_3442-17_0_4_node_57 | 0.4 | n |  | TRUE
43 | bus_LV_3442-17_0_4_node_48 | 0.4 | n |  | TRUE
44 | bus_LV_3442-17_0_4_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_3442-17_0_4_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_3442-17_0_4_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_3442-17_0_4_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_3442-17_0_4_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_3442-17_0_4_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_3442-17_0_4_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_3442-17_0_4_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_3442-17_0_4_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_3442-17_0_4_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_3442-17_0_4_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_3442-17_0_4_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_3442-17_0_4_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_3442-17_0_4_node_63 | 0.4 | n |  | TRUE
58 | bus_LV_3442-17_0_4_node_61 | 0.4 | n |  | TRUE
59 | bus_MV_413_0_node_36 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3442-17_0_4_load_0 | 0 | 0.022314 | 0.0055925 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3442-17_0_4_load_2 | 2 | 0.016661 | 0.0041757 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3442-17_0_4_load_11 | 3 | 0.015947 | 0.0039967 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3442-17_0_4_load_12 | 4 | 0.0034611 | 0.00086743 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3442-17_0_4_load_14 | 7 | 0.0084924 | 0.0021284 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3442-17_0_4_load_59 | 9 | 0.02305 | 0.005777 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3442-17_0_4_load_8 | 11 | 0.020675 | 0.0051817 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3442-17_0_4_load_6 | 12 | 0.035116 | 0.0088008 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3442-17_0_4_load_53 | 13 | 0.0021906 | 0.00054901 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3442-17_0_4_load_62 | 14 | 0.001889 | 0.00047344 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3442-17_0_4_load_5 | 15 | 0.0040414 | 0.0010129 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3442-17_0_4_load_10 | 16 | 0.0094367 | 0.0023651 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3442-17_0_4_load_58 | 17 | 0.0052538 | 0.0013167 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3442-17_0_4_load_38 | 20 | 0.0041788 | 0.0010473 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3442-17_0_4_load_37 | 22 | 0.0031449 | 0.0007882 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3442-17_0_4_load_60 | 23 | 0.0019705 | 0.00049385 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3442-17_0_4_load_18 | 24 | 0.0027355 | 0.00068557 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3442-17_0_4_load_19 | 25 | 0.0019722 | 0.00049427 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3442-17_0_4_load_20 | 26 | 0.0018636 | 0.00046705 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3442-17_0_4_load_21 | 27 | 0.0014368 | 0.00036011 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3442-17_0_4_load_52 | 29 | 0.0021436 | 0.00053723 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3442-17_0_4_load_56 | 30 | 0.0026537 | 0.00066507 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3442-17_0_4_load_54 | 31 | 0.0026399 | 0.00066163 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3442-17_0_4_load_64 | 32 | 0.0046941 | 0.0011765 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3442-17_0_4_load_55 | 33 | 0.0021871 | 0.00054814 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3442-17_0_4_load_23 | 34 | 0.0055161 | 0.0013825 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3442-17_0_4_load_24 | 35 | 0.0034698 | 0.00086961 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3442-17_0_4_load_26 | 36 | 0.0039801 | 0.0009975 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3442-17_0_4_load_36 | 38 | 0.0041085 | 0.0010297 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3442-17_0_4_load_47 | 40 | 0.082109 | 0.020579 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3442-17_0_4_load_46 | 41 | 0.0060875 | 0.0015257 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3442-17_0_4_load_57 | 42 | 0.0048888 | 0.0012253 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3442-17_0_4_load_48 | 43 | 0.0043329 | 0.0010859 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3442-17_0_4_load_31 | 44 | 0.0052787 | 0.001323 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3442-17_0_4_load_32 | 45 | 0.0050915 | 0.001276 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3442-17_0_4_load_33 | 46 | 0.0048716 | 0.0012209 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3442-17_0_4_load_34 | 47 | 0.0061124 | 0.0015319 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3442-17_0_4_load_35 | 48 | 0.0039299 | 0.00098493 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3442-17_0_4_load_49 | 49 | 0.0055014 | 0.0013788 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3442-17_0_4_load_50 | 50 | 0.0037174 | 0.00093166 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3442-17_0_4_load_42 | 52 | 0.0022242 | 0.00055743 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3442-17_0_4_load_41 | 53 | 0.0064233 | 0.0016098 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3442-17_0_4_load_45 | 54 | 0.0095348 | 0.0023897 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3442-17_0_4_load_51 | 56 | 0.003234 | 0.00081051 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3442-17_0_4_load_63 | 57 | 0.0023038 | 0.00057739 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3442-17_0_4_load_61 | 58 | 0.0026633 | 0.00066748 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 42 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3442-17_0_4_line_0 |  | 0 | 1 | 0.023484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3442-17_0_4_line_1 |  | 1 | 2 | 0.023379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3442-17_0_4_line_2 |  | 2 | 3 | 0.053175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3442-17_0_4_line_3 |  | 3 | 4 | 0.024942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3442-17_0_4_line_4 |  | 4 | 7 | 0.020699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3442-17_0_4_line_5 |  | 5 | 6 | 0.14284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3442-17_0_4_line_6 |  | 5 | 7 | 0.026096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3442-17_0_4_line_7 |  | 6 | 13 | 0.023538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3442-17_0_4_line_8 |  | 6 | 14 | 0.019508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3442-17_0_4_line_9 |  | 8 | 9 | 0.028463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3442-17_0_4_line_10 |  | 8 | 10 | 0.052048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3442-17_0_4_line_11 |  | 9 | 18 | 0.021903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3442-17_0_4_line_12 |  | 10 | 16 | 0.010368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3442-17_0_4_line_13 |  | 10 | 15 | 0.048021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3442-17_0_4_line_14 |  | 11 | 12 | 0.047487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3442-17_0_4_line_15 |  | 12 | 15 | 0.00073325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3442-17_0_4_line_16 |  | 14 | 23 | 0.023871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3442-17_0_4_line_17 |  | 16 | 17 | 0.051823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3442-17_0_4_line_18 |  | 18 | 42 | 0.027734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_3442-17_0_4_line_19 |  | 18 | 39 | 0.051366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3442-17_0_4_line_20 |  | 19 | 20 | 0.0091436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3442-17_0_4_line_21 |  | 19 | 21 | 0.072119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3442-17_0_4_line_22 |  | 20 | 22 | 0.016433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3442-17_0_4_line_23 |  | 21 | 37 | 0.067631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3442-17_0_4_line_24 |  | 21 | 34 | 0.03069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3442-17_0_4_line_25 |  | 23 | 58 | 4.2794e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3442-17_0_4_line_26 |  | 24 | 25 | 0.023424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3442-17_0_4_line_27 |  | 24 | 26 | 0.0036616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3442-17_0_4_line_28 |  | 25 | 27 | 0.0081448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3442-17_0_4_line_29 |  | 26 | 28 | 0.017362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3442-17_0_4_line_30 |  | 27 | 29 | 0.013552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3442-17_0_4_line_31 |  | 28 | 30 | 0.037575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_3442-17_0_4_line_32 |  | 28 | 31 | 0.0060164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_3442-17_0_4_line_33 |  | 30 | 32 | 0.015639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3442-17_0_4_line_34 |  | 31 | 33 | 0.0082355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_3442-17_0_4_line_35 |  | 32 | 57 | 0.013348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3442-17_0_4_line_36 |  | 33 | 37 | 0.02739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_3442-17_0_4_line_37 |  | 34 | 35 | 0.0068501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3442-17_0_4_line_38 |  | 35 | 36 | 0.020249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3442-17_0_4_line_39 |  | 36 | 38 | 0.0024581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3442-17_0_4_line_40 |  | 37 | 42 | 0.033487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_3442-17_0_4_line_41 |  | 38 | 43 | 0.025104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3442-17_0_4_line_42 |  | 39 | 40 | 0.022719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3442-17_0_4_line_43 |  | 39 | 41 | 0.020501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3442-17_0_4_line_44 |  | 43 | 51 | 0.023323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3442-17_0_4_line_45 |  | 44 | 45 | 0.014471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3442-17_0_4_line_46 |  | 44 | 46 | 0.012457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3442-17_0_4_line_47 |  | 45 | 47 | 0.0066499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3442-17_0_4_line_48 |  | 46 | 48 | 0.010526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3442-17_0_4_line_49 |  | 48 | 49 | 0.013783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3442-17_0_4_line_50 |  | 49 | 50 | 0.011549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3442-17_0_4_line_51 |  | 50 | 56 | 0.007186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3442-17_0_4_line_52 |  | 51 | 56 | 0.057033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3442-17_0_4_line_53 |  | 51 | 55 | 0.008527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3442-17_0_4_line_54 |  | 52 | 53 | 0.034484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3442-17_0_4_line_55 |  | 53 | 55 | 0.025727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3442-17_0_4_line_56 |  | 54 | 55 | 0.0019349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3442-17_0_4_line_57 |  | 57 | 58 | 0.032533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3442-17_0_4_trafo_57 | 0.63 MVA 20/0.4 kV | 59 | 42 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2741855.0089 | 1254102.9472 | 2741863.5294 | 1254081.0633
1 | 2741855.0089 | 1254102.9472 | 2741846.9145 | 1254124.8805
2 | 2741846.9145 | 1254124.8805 | 2741842.279 | 1254137.4415 | 2741839.5926 | 1254151.2679 | 2741863.58 | 1254160.4954
3 | 2741886.8593 | 1254169.4504 | 2741863.58 | 1254160.4954
4 | 2741886.8593 | 1254169.4504 | 2741906.1183 | 1254177.0356
5 | 2741898.2624 | 1254240.6573 | 2741909.4518 | 1254237.9896 | 2741915.5798 | 1254238.3367 | 2741930.8087 | 1254243.1617 | 2741938.2459 | 1254244.9416 | 2741963.125 | 1254221.905 | 2741968.2918 | 1254212.609 | 2741973.5456 | 1254203.1482 | 2741930.3992 | 1254186.5986
6 | 2741930.3992 | 1254186.5986 | 2741906.1183 | 1254177.0356
7 | 2741898.2624 | 1254240.6573 | 2741898.3677 | 1254245.7091 | 2741897.4519 | 1254250.5361 | 2741894.3303 | 1254256.7005 | 2741890.2366 | 1254261.9566
8 | 2741898.2624 | 1254240.6573 | 2741896.0397 | 1254234.8319 | 2741894.1944 | 1254232.4633 | 2741891.4973 | 1254230.052 | 2741885.308 | 1254227.6127
9 | 2741748.7415 | 1254136.0343 | 2741738.7045 | 1254157.392 | 2741737.4132 | 1254162.0823
10 | 2741796.3084 | 1254157.4485 | 2741777.656 | 1254149.3277 | 2741759.0784 | 1254141.231 | 2741748.7415 | 1254136.0343
11 | 2741734.9492 | 1254183.7158 | 2741734.704 | 1254178.1936 | 2741736.0673 | 1254166.9712 | 2741737.4132 | 1254162.0823
12 | 2741796.3084 | 1254157.4485 | 2741805.9252 | 1254161.3244
13 | 2741796.3084 | 1254157.4485 | 2741797.7203 | 1254130.6571 | 2741805.7692 | 1254111.0529
14 | 2741824.0835 | 1254066.4457 | 2741806.0477 | 1254110.3746
15 | 2741805.7692 | 1254111.0529 | 2741806.0477 | 1254110.3746
16 | 2741863.0993 | 1254218.8599 | 2741885.308 | 1254227.6127
17 | 2741853.9914 | 1254180.6964 | 2741805.9252 | 1254161.3244
18 | 2741734.9492 | 1254183.7158 | 2741735.9897 | 1254195.107 | 2741737.7942 | 1254203.5915 | 2741740.3109 | 1254210.7847
19 | 2741685.9771 | 1254198.2912 | 2741700.4048 | 1254194.0323 | 2741714.7315 | 1254187.6913 | 2741721.6873 | 1254185.6225 | 2741728.3144 | 1254184.6691 | 2741734.9492 | 1254183.7158
20 | 2741786.2997 | 1254318.1158 | 2741794.3757 | 1254316.541 | 2741795.2733 | 1254316.7211
21 | 2741741.4002 | 1254283.0748 | 2741745.0253 | 1254282.9837 | 2741749.5868 | 1254282.8705 | 2741756.4623 | 1254281.9453 | 2741768.8866 | 1254277.8166 | 2741786.2997 | 1254318.1158
22 | 2741810.5122 | 1254322.5404 | 2741809.7844 | 1254322.0484 | 2741800.5427 | 1254317.7787 | 2741795.2733 | 1254316.7211
23 | 2741741.4002 | 1254283.0748 | 2741745.0253 | 1254282.9837 | 2741749.5868 | 1254282.8705 | 2741756.4623 | 1254281.9453 | 2741768.8866 | 1254277.8166 | 2741758.2304 | 1254253.1939 | 2741753.3684 | 1254241.5888
24 | 2741741.4002 | 1254283.0748 | 2741738.3311 | 1254287.6835 | 2741736.0394 | 1254291.6657 | 2741734.4675 | 1254293.9525 | 2741732.2951 | 1254296.1025 | 2741732.0019 | 1254298.5756 | 2741736.574 | 1254309.9258
25 | 2741863.0595 | 1254218.8442 | 2741863.0993 | 1254218.8599
26 | 2741830.7045 | 1254269.9455 | 2741811.2223 | 1254256.9414
27 | 2741808.1768 | 1254254.9086 | 2741811.2223 | 1254256.9414
28 | 2741837.4788 | 1254274.4672 | 2741830.7045 | 1254269.9455
29 | 2741793.7361 | 1254245.2696 | 2741808.1768 | 1254254.9086
30 | 2741837.4788 | 1254274.4672 | 2741848.7502 | 1254281.9907
31 | 2741793.7361 | 1254245.2696 | 2741809.2296 | 1254211.038
32 | 2741793.7361 | 1254245.2696 | 2741788.2018 | 1254242.9098
33 | 2741820.2956 | 1254202.3124 | 2741818.1336 | 1254201.9908 | 2741814.2763 | 1254203.2663 | 2741811.3094 | 1254206.4427 | 2741809.2296 | 1254211.038
34 | 2741788.2018 | 1254242.9098 | 2741784.2848 | 1254241.2396 | 2741780.3376 | 1254240.7513
35 | 2741820.2956 | 1254202.3124 | 2741821.6083 | 1254202.5078 | 2741832.7923 | 1254206.9155
36 | 2741753.3684 | 1254241.5888 | 2741757.839 | 1254239.9165 | 2741761.4318 | 1254239.2796 | 2741776.368 | 1254240.2603 | 2741780.3376 | 1254240.7513
37 | 2741739.1336 | 1254316.2797 | 2741736.574 | 1254309.9258
38 | 2741739.1336 | 1254316.2797 | 2741746.6997 | 1254335.0622
39 | 2741746.6997 | 1254335.0622 | 2741747.6181 | 1254337.3422
40 | 2741753.3684 | 1254241.5888 | 2741743.6645 | 1254220.37 | 2741740.3109 | 1254210.7847
41 | 2741756.9981 | 1254360.6277 | 2741747.6181 | 1254337.3422
42 | 2741687.4647 | 1254220.9592 | 2741685.9771 | 1254198.2912
43 | 2741685.9771 | 1254198.2912 | 2741665.5785 | 1254200.339
44 | 2741765.7127 | 1254382.2612 | 2741756.9981 | 1254360.6277
45 | 2741681.4427 | 1254336.5433 | 2741680.7531 | 1254334.8281 | 2741675.4841 | 1254323.3577
46 | 2741681.4427 | 1254336.5433 | 2741686.0893 | 1254348.101
47 | 2741675.4841 | 1254323.3577 | 2741672.7083 | 1254317.3148
48 | 2741690.9233 | 1254357.4422 | 2741686.6584 | 1254349.5165 | 2741686.0893 | 1254348.101
49 | 2741697.2094 | 1254369.7063 | 2741693.7761 | 1254362.7437 | 2741690.9233 | 1254357.4422
50 | 2741697.2094 | 1254369.7063 | 2741698.1381 | 1254371.5897 | 2741701.5924 | 1254376.4214 | 2741704.1791 | 1254378.7939
51 | 2741709.7898 | 1254383.182 | 2741708.0916 | 1254382.3825 | 2741704.1791 | 1254378.7939
52 | 2741765.7127 | 1254382.2612 | 2741758.6912 | 1254380.7807 | 2741752.9974 | 1254380.9001 | 2741742.3639 | 1254382.7473 | 2741736.3535 | 1254384.1159 | 2741729.0984 | 1254385.7661 | 2741723.055 | 1254385.6769 | 2741713.9653 | 1254385.1478 | 2741709.7898 | 1254383.182
53 | 2741765.7127 | 1254382.2612 | 2741773.397 | 1254386.0042
54 | 2741755.6995 | 1254404.6726 | 2741731.5236 | 1254429.2626
55 | 2741773.397 | 1254386.0042 | 2741763.3237 | 1254396.9178 | 2741755.6995 | 1254404.6726
56 | 2741773.397 | 1254386.0042 | 2741775.1313 | 1254386.8621
57 | 2741832.7923 | 1254206.9155 | 2741863.0595 | 1254218.8442

## bus_geodata
| x | y | coords
0 | 2741863.5294 | 1254081.0633
1 | 2741855.0089 | 1254102.9472
2 | 2741846.9145 | 1254124.8805
3 | 2741863.58 | 1254160.4954
4 | 2741886.8593 | 1254169.4504
5 | 2741930.3992 | 1254186.5986
6 | 2741898.2624 | 1254240.6573
7 | 2741906.1183 | 1254177.0356
8 | 2741748.7415 | 1254136.0343
9 | 2741737.4132 | 1254162.0823
10 | 2741796.3084 | 1254157.4485
11 | 2741824.0835 | 1254066.4457
12 | 2741806.0477 | 1254110.3746
13 | 2741890.2366 | 1254261.9566
14 | 2741885.308 | 1254227.6127
15 | 2741805.7692 | 1254111.0529
16 | 2741805.9252 | 1254161.3244
17 | 2741853.9914 | 1254180.6964
18 | 2741734.9492 | 1254183.7158
19 | 2741786.2997 | 1254318.1158
20 | 2741795.2733 | 1254316.7211
21 | 2741741.4002 | 1254283.0748
22 | 2741810.5122 | 1254322.5404
23 | 2741863.0993 | 1254218.8599
24 | 2741811.2223 | 1254256.9414
25 | 2741830.7045 | 1254269.9455
26 | 2741808.1768 | 1254254.9086
27 | 2741837.4788 | 1254274.4672
28 | 2741793.7361 | 1254245.2696
29 | 2741848.7502 | 1254281.9907
30 | 2741809.2296 | 1254211.038
31 | 2741788.2018 | 1254242.9098
32 | 2741820.2956 | 1254202.3124
33 | 2741780.3376 | 1254240.7513
34 | 2741736.574 | 1254309.9258
35 | 2741739.1336 | 1254316.2797
36 | 2741746.6997 | 1254335.0622
37 | 2741753.3684 | 1254241.5888
38 | 2741747.6181 | 1254337.3422
39 | 2741685.9771 | 1254198.2912
40 | 2741687.4647 | 1254220.9592
41 | 2741665.5785 | 1254200.339
42 | 2741740.3109 | 1254210.7847
43 | 2741756.9981 | 1254360.6277
44 | 2741681.4427 | 1254336.5433
45 | 2741675.4841 | 1254323.3577
46 | 2741686.0893 | 1254348.101
47 | 2741672.7083 | 1254317.3148
48 | 2741690.9233 | 1254357.4422
49 | 2741697.2094 | 1254369.7063
50 | 2741704.1791 | 1254378.7939
51 | 2741765.7127 | 1254382.2612
52 | 2741731.5236 | 1254429.2626
53 | 2741755.6995 | 1254404.6726
54 | 2741775.1313 | 1254386.8621
55 | 2741773.397 | 1254386.0042
56 | 2741709.7898 | 1254383.182
57 | 2741832.7923 | 1254206.9155
58 | 2741863.0595 | 1254218.8442
59 | 2741734.9492 | 1254183.7158

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1