## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3442-19_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3442-19_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3442-19_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3442-19_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_3442-19_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_3442-19_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_3442-19_0_4_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_3442-19_0_4_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_3442-19_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_3442-19_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_3442-19_0_4_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_3442-19_0_4_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_3442-19_0_4_node_66 | 0.4 | n |  | TRUE
13 | bus_LV_3442-19_0_4_node_75 | 0.4 | n |  | TRUE
14 | bus_LV_3442-19_0_4_node_68 | 0.4 | n |  | TRUE
15 | bus_LV_3442-19_0_4_node_65 | 0.4 | n |  | TRUE
16 | bus_LV_3442-19_0_4_node_73 | 0.4 | n |  | TRUE
17 | bus_LV_3442-19_0_4_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_3442-19_0_4_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_3442-19_0_4_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_3442-19_0_4_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_3442-19_0_4_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_3442-19_0_4_node_46 | 0.4 | n |  | TRUE
23 | bus_LV_3442-19_0_4_node_64 | 0.4 | n |  | TRUE
24 | bus_LV_3442-19_0_4_node_44 | 0.4 | n |  | TRUE
25 | bus_LV_3442-19_0_4_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_3442-19_0_4_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_3442-19_0_4_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_3442-19_0_4_node_40 | 0.4 | n |  | TRUE
29 | bus_LV_3442-19_0_4_node_41 | 0.4 | n |  | TRUE
30 | bus_LV_3442-19_0_4_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_3442-19_0_4_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_3442-19_0_4_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_3442-19_0_4_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_3442-19_0_4_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_3442-19_0_4_node_84 | 0.4 | n |  | TRUE
36 | bus_LV_3442-19_0_4_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_3442-19_0_4_node_72 | 0.4 | n |  | TRUE
38 | bus_LV_3442-19_0_4_node_71 | 0.4 | n |  | TRUE
39 | bus_LV_3442-19_0_4_node_74 | 0.4 | n |  | TRUE
40 | bus_LV_3442-19_0_4_node_59 | 0.4 | n |  | TRUE
41 | bus_LV_3442-19_0_4_node_50 | 0.4 | n |  | TRUE
42 | bus_LV_3442-19_0_4_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_3442-19_0_4_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_3442-19_0_4_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_3442-19_0_4_node_49 | 0.4 | n |  | TRUE
46 | bus_LV_3442-19_0_4_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_3442-19_0_4_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_3442-19_0_4_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_3442-19_0_4_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_3442-19_0_4_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_3442-19_0_4_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_3442-19_0_4_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_3442-19_0_4_node_58 | 0.4 | n |  | TRUE
54 | bus_LV_3442-19_0_4_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_3442-19_0_4_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_3442-19_0_4_node_57 | 0.4 | n |  | TRUE
57 | bus_LV_3442-19_0_4_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_3442-19_0_4_node_54 | 0.4 | n |  | TRUE
59 | bus_LV_3442-19_0_4_node_56 | 0.4 | n |  | TRUE
60 | bus_LV_3442-19_0_4_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_3442-19_0_4_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_3442-19_0_4_node_92 | 0.4 | n |  | TRUE
63 | bus_LV_3442-19_0_4_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_3442-19_0_4_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_3442-19_0_4_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_3442-19_0_4_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_3442-19_0_4_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_3442-19_0_4_node_90 | 0.4 | n |  | TRUE
69 | bus_LV_3442-19_0_4_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_3442-19_0_4_node_69 | 0.4 | n |  | TRUE
71 | bus_LV_3442-19_0_4_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_3442-19_0_4_node_83 | 0.4 | n |  | TRUE
73 | bus_LV_3442-19_0_4_node_78 | 0.4 | n |  | TRUE
74 | bus_LV_3442-19_0_4_node_88 | 0.4 | n |  | TRUE
75 | bus_LV_3442-19_0_4_node_82 | 0.4 | n |  | TRUE
76 | bus_LV_3442-19_0_4_node_80 | 0.4 | n |  | TRUE
77 | bus_LV_3442-19_0_4_node_76 | 0.4 | n |  | TRUE
78 | bus_LV_3442-19_0_4_node_77 | 0.4 | n |  | TRUE
79 | bus_LV_3442-19_0_4_node_79 | 0.4 | n |  | TRUE
80 | bus_LV_3442-19_0_4_node_81 | 0.4 | n |  | TRUE
81 | bus_LV_3442-19_0_4_node_85 | 0.4 | n |  | TRUE
82 | bus_LV_3442-19_0_4_node_86 | 0.4 | n |  | TRUE
83 | bus_LV_3442-19_0_4_node_87 | 0.4 | n |  | TRUE
84 | bus_LV_3442-19_0_4_node_89 | 0.4 | n |  | TRUE
85 | bus_LV_3442-19_0_4_node_91 | 0.4 | n |  | TRUE
86 | bus_MV_413_0_node_41 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3442-19_0_4_load_0 | 0 | 0.0065249 | 0.0016353 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3442-19_0_4_load_1 | 1 | 0.0025981 | 0.00065114 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3442-19_0_4_load_3 | 2 | 0.0055626 | 0.0013941 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3442-19_0_4_load_4 | 3 | 0.002132 | 0.00053433 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3442-19_0_4_load_5 | 4 | 0.0083916 | 0.0021031 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3442-19_0_4_load_10 | 7 | 0.0079047 | 0.0019811 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3442-19_0_4_load_7 | 8 | 0.0083816 | 0.0021006 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3442-19_0_4_load_9 | 10 | 0.0018717 | 0.0004691 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3442-19_0_4_load_75 | 13 | 0.0093821 | 0.0023514 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3442-19_0_4_load_68 | 14 | 0.027815 | 0.0069711 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3442-19_0_4_load_65 | 15 | 0.019078 | 0.0047814 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3442-19_0_4_load_15 | 17 | 0.0072707 | 0.0018222 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3442-19_0_4_load_16 | 18 | 0.0045357 | 0.0011368 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3442-19_0_4_load_17 | 19 | 0.0026312 | 0.00065944 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3442-19_0_4_load_18 | 20 | 0.0079464 | 0.0019915 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3442-19_0_4_load_19 | 21 | 0.0021318 | 0.00053428 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3442-19_0_4_load_64 | 23 | 0.0028762 | 0.00072085 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3442-19_0_4_load_20 | 25 | 0.0031311 | 0.00078472 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3442-19_0_4_load_21 | 26 | 0.0055936 | 0.0014019 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3442-19_0_4_load_22 | 27 | 0.0029893 | 0.00074919 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3442-19_0_4_load_40 | 28 | 0.0046215 | 0.0011583 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3442-19_0_4_load_41 | 29 | 0.0029975 | 0.00075125 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3442-19_0_4_load_23 | 30 | 0.0032861 | 0.00082356 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3442-19_0_4_load_24 | 31 | 0.0023507 | 0.00058914 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3442-19_0_4_load_25 | 32 | 0.0076285 | 0.0019119 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3442-19_0_4_load_27 | 34 | 0.0032742 | 0.00082059 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3442-19_0_4_load_84 | 35 | 0.0069478 | 0.0017413 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3442-19_0_4_load_72 | 37 | 0.0029582 | 0.00074139 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3442-19_0_4_load_71 | 38 | 0.015286 | 0.0038311 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3442-19_0_4_load_74 | 39 | 0.0070384 | 0.001764 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3442-19_0_4_load_59 | 40 | 0.016233 | 0.0040684 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3442-19_0_4_load_50 | 41 | 0.0066 | 0.0016541 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3442-19_0_4_load_29 | 42 | 0.003975 | 0.00099623 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3442-19_0_4_load_28 | 43 | 0.0032263 | 0.00080859 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3442-19_0_4_load_30 | 44 | 0.0040687 | 0.0010197 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3442-19_0_4_load_49 | 45 | 0.004109 | 0.0010298 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3442-19_0_4_load_33 | 46 | 0.0015353 | 0.00038479 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3442-19_0_4_load_34 | 47 | 0.0069841 | 0.0017504 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3442-19_0_4_load_37 | 50 | 0.0082515 | 0.002068 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3442-19_0_4_load_43 | 54 | 0.006603 | 0.0016549 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3442-19_0_4_load_47 | 55 | 0.002641 | 0.00066191 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3442-19_0_4_load_57 | 56 | 0.0022801 | 0.00057144 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3442-19_0_4_load_42 | 57 | 0.0022569 | 0.00056563 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3442-19_0_4_load_56 | 59 | 0.0035022 | 0.00087773 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3442-19_0_4_load_45 | 61 | 0.0077955 | 0.0019537 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3442-19_0_4_load_92 | 62 | 0.0028757 | 0.00072071 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3442-19_0_4_load_51 | 63 | 0.0025457 | 0.00063802 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3442-19_0_4_load_55 | 64 | 0.0038107 | 0.00095506 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3442-19_0_4_load_60 | 65 | 0.0012608 | 0.00031598 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3442-19_0_4_load_63 | 67 | 0.0049926 | 0.0012513 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3442-19_0_4_load_69 | 70 | 0.022935 | 0.0057482 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3442-19_0_4_load_88 | 74 | 0.019998 | 0.005012 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3442-19_0_4_load_80 | 76 | 0.039878 | 0.0099943 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3442-19_0_4_load_76 | 77 | 0.011888 | 0.0029794 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3442-19_0_4_load_77 | 78 | 0.012291 | 0.0030804 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3442-19_0_4_load_79 | 79 | 0.019181 | 0.0048071 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3442-19_0_4_load_81 | 80 | 0.02796 | 0.0070074 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3442-19_0_4_load_85 | 81 | 0.0087872 | 0.0022023 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3442-19_0_4_load_86 | 82 | 0.0013423 | 0.0003364 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3442-19_0_4_load_87 | 83 | 0.002937 | 0.00073608 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3442-19_0_4_load_89 | 84 | 0.0028762 | 0.00072084 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3442-19_0_4_load_91 | 85 | 0.0022191 | 0.00055617 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3442-19_0_4_line_0 |  | 0 | 1 | 0.015807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3442-19_0_4_line_1 |  | 1 | 2 | 0.018096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3442-19_0_4_line_2 |  | 2 | 3 | 0.015525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3442-19_0_4_line_3 |  | 3 | 4 | 0.023947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3442-19_0_4_line_4 |  | 4 | 5 | 0.023686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3442-19_0_4_line_5 |  | 5 | 6 | 0.062811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3442-19_0_4_line_6 |  | 6 | 7 | 0.02475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3442-19_0_4_line_7 |  | 7 | 9 | 0.010391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3442-19_0_4_line_8 |  | 8 | 9 | 0.02554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3442-19_0_4_line_9 |  | 8 | 10 | 0.020672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3442-19_0_4_line_10 |  | 9 | 11 | 0.021457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3442-19_0_4_line_11 |  | 11 | 12 | 0.033832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_3442-19_0_4_line_12 |  | 11 | 13 | 0.027112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_3442-19_0_4_line_13 |  | 12 | 14 | 0.041591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3442-19_0_4_line_14 |  | 12 | 15 | 0.037896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_3442-19_0_4_line_15 |  | 13 | 16 | 0.0067947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_3442-19_0_4_line_16 |  | 14 | 72 | 0.044937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3442-19_0_4_line_17 |  | 15 | 69 | 0.036366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_3442-19_0_4_line_18 |  | 16 | 39 | 0.021706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_3442-19_0_4_line_19 |  | 16 | 67 | 0.026846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3442-19_0_4_line_20 |  | 17 | 18 | 0.014549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3442-19_0_4_line_21 |  | 17 | 19 | 0.016085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3442-19_0_4_line_22 |  | 18 | 20 | 0.013461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3442-19_0_4_line_23 |  | 19 | 21 | 0.027107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3442-19_0_4_line_24 |  | 20 | 22 | 0.019577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3442-19_0_4_line_25 |  | 22 | 23 | 0.058808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3442-19_0_4_line_26 |  | 22 | 24 | 0.008254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3442-19_0_4_line_27 |  | 23 | 62 | 0.016794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3442-19_0_4_line_28 |  | 24 | 61 | 0.032848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3442-19_0_4_line_29 |  | 24 | 57 | 0.033686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3442-19_0_4_line_30 |  | 25 | 26 | 0.023153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3442-19_0_4_line_31 |  | 26 | 27 | 0.024102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3442-19_0_4_line_32 |  | 27 | 28 | 0.0022854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3442-19_0_4_line_33 |  | 28 | 29 | 0.023846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3442-19_0_4_line_34 |  | 29 | 58 | 0.015221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3442-19_0_4_line_35 |  | 30 | 31 | 0.024796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_3442-19_0_4_line_36 |  | 30 | 32 | 0.017487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_3442-19_0_4_line_37 |  | 31 | 33 | 0.0030989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_3442-19_0_4_line_38 |  | 32 | 34 | 0.0067137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_3442-19_0_4_line_39 |  | 33 | 35 | 0.020942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_3442-19_0_4_line_40 |  | 34 | 36 | 0.0087909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_3442-19_0_4_line_41 |  | 35 | 39 | 0.025375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_3442-19_0_4_line_42 |  | 36 | 40 | 0.00412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3442-19_0_4_line_43 |  | 36 | 41 | 0.021647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_3442-19_0_4_line_44 |  | 36 | 42 | 0.019915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3442-19_0_4_line_45 |  | 37 | 38 | 0.0072486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_3442-19_0_4_line_46 |  | 38 | 70 | 0.0017616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_3442-19_0_4_line_47 |  | 41 | 45 | 0.020658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_3442-19_0_4_line_48 |  | 42 | 43 | 0.02044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3442-19_0_4_line_49 |  | 43 | 44 | 0.0063465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3442-19_0_4_line_50 |  | 45 | 51 | 0.02914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_3442-19_0_4_line_51 |  | 46 | 47 | 0.032251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3442-19_0_4_line_52 |  | 46 | 48 | 0.019395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3442-19_0_4_line_53 |  | 47 | 49 | 0.020237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3442-19_0_4_line_54 |  | 48 | 50 | 0.029276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3442-19_0_4_line_55 |  | 48 | 51 | 0.026428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3442-19_0_4_line_56 |  | 49 | 52 | 0.030212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3442-19_0_4_line_57 |  | 49 | 53 | 0.020184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3442-19_0_4_line_58 |  | 51 | 54 | 0.031775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3442-19_0_4_line_59 |  | 52 | 55 | 0.047385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3442-19_0_4_line_60 |  | 53 | 56 | 0.016139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3442-19_0_4_line_61 |  | 54 | 57 | 0.020885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3442-19_0_4_line_62 |  | 56 | 64 | 0.00041304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3442-19_0_4_line_63 |  | 58 | 59 | 0.018044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3442-19_0_4_line_64 |  | 58 | 60 | 0.005504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3442-19_0_4_line_65 |  | 59 | 64 | 0.02014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3442-19_0_4_line_66 |  | 60 | 63 | 0.030636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3442-19_0_4_line_67 |  | 62 | 68 | 0.02777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3442-19_0_4_line_68 |  | 65 | 66 | 0.077386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3442-19_0_4_line_69 |  | 66 | 67 | 0.014417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3442-19_0_4_line_70 |  | 68 | 85 | 0.031153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3442-19_0_4_line_71 |  | 68 | 84 | 0.011708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3442-19_0_4_line_72 |  | 69 | 70 | 0.013683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_3442-19_0_4_line_73 |  | 69 | 71 | 0.047202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3442-19_0_4_line_74 |  | 71 | 73 | 0.017194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3442-19_0_4_line_75 |  | 71 | 74 | 0.020572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3442-19_0_4_line_76 |  | 72 | 75 | 0.029231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3442-19_0_4_line_77 |  | 73 | 76 | 0.010052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3442-19_0_4_line_78 |  | 73 | 77 | 0.018091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3442-19_0_4_line_79 |  | 75 | 80 | 0.01898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3442-19_0_4_line_80 |  | 77 | 78 | 0.035809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3442-19_0_4_line_81 |  | 78 | 79 | 0.0041317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3442-19_0_4_line_82 |  | 81 | 82 | 0.016654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3442-19_0_4_line_83 |  | 82 | 83 | 0.010709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3442-19_0_4_line_84 |  | 83 | 84 | 0.020351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3442-19_0_4_trafo_72 | 0.63 MVA 20/0.4 kV | 86 | 37 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2742085.2924 | 1254171.616 | 2742071.0672 | 1254164.7226
1 | 2742054.7823 | 1254156.8312 | 2742071.0672 | 1254164.7226
2 | 2742054.7823 | 1254156.8312 | 2742048.2119 | 1254153.6473 | 2742040.948 | 1254149.7919
3 | 2742040.948 | 1254149.7919 | 2742031.9496 | 1254145.0158 | 2742024.725 | 1254140.3493 | 2742020.4744 | 1254137.4253
4 | 2742012.9458 | 1254115.6881 | 2742013.8931 | 1254124.6526 | 2742016.0982 | 1254131.523 | 2742019.1634 | 1254136.5235 | 2742020.4744 | 1254137.4253
5 | 2742012.9458 | 1254115.6881 | 2742006.8356 | 1254118.3663 | 2741991.2903 | 1254154.7168 | 2741983.607 | 1254169.4799
6 | 2741983.607 | 1254169.4799 | 2741976.4192 | 1254193.1627
7 | 2741973.5456 | 1254203.1482 | 2741975.7555 | 1254195.3494 | 2741976.4192 | 1254193.1627
8 | 2741973.5456 | 1254203.1482 | 2741949.7 | 1254194.0018
9 | 2741930.3992 | 1254186.5986 | 2741949.7 | 1254194.0018
10 | 2741963.125 | 1254221.905 | 2741968.2918 | 1254212.609 | 2741973.5456 | 1254203.1482
11 | 2741963.125 | 1254221.905 | 2741994.4053 | 1254235.0227
12 | 2741963.125 | 1254221.905 | 2741943.2315 | 1254240.3252
13 | 2742033.3648 | 1254249.8931 | 2741994.4053 | 1254235.0227
14 | 2741994.4053 | 1254235.0227 | 2741984.7886 | 1254258.3364 | 2741979.7332 | 1254265.1883 | 2741976.5181 | 1254267.8316
15 | 2741938.2459 | 1254244.9416 | 2741943.2315 | 1254240.3252
16 | 2742033.3648 | 1254249.8931 | 2742070.3521 | 1254264.2158 | 2742075.4096 | 1254266.0833
17 | 2741956.8782 | 1254297.9269 | 2741963.6035 | 1254283.1297 | 2741969.433 | 1254274.8394 | 2741974.7516 | 1254269.2839 | 2741976.5181 | 1254267.8316
18 | 2741938.2459 | 1254244.9416 | 2741925.3929 | 1254262.4337
19 | 2741938.2459 | 1254244.9416 | 2741930.8087 | 1254243.1617 | 2741915.5798 | 1254238.3367 | 2741912.3613 | 1254238.1544
20 | 2741872.4633 | 1254515.7911 | 2741882.7061 | 1254525.5532 | 2741883.0236 | 1254525.7958
21 | 2741895.8048 | 1254535.5617 | 2741883.0236 | 1254525.7958
22 | 2741872.4633 | 1254515.7911 | 2741863.5655 | 1254507.3109 | 2741862.8134 | 1254506.4151
23 | 2741917.7957 | 1254551.402 | 2741902.3617 | 1254540.5716 | 2741895.8048 | 1254535.5617
24 | 2741851.3009 | 1254490.6236 | 2741857.409 | 1254499.9787 | 2741862.8134 | 1254506.4151
25 | 2741851.3009 | 1254490.6236 | 2741867.2158 | 1254482.5527 | 2741875.8956 | 1254480.3363 | 2741881.116 | 1254479.1825 | 2741907.5889 | 1254476.0424
26 | 2741847.3769 | 1254483.3561 | 2741851.3009 | 1254490.6236
27 | 2741924.2551 | 1254473.9788 | 2741915.9788 | 1254475.0472 | 2741907.5889 | 1254476.0424
28 | 2741847.3769 | 1254483.3561 | 2741836.8704 | 1254486.2072 | 2741815.1614 | 1254489.5294
29 | 2741847.3769 | 1254483.3561 | 2741842.9513 | 1254473.3963 | 2741835.0198 | 1254452.034
30 | 2741834.4003 | 1254584.528 | 2741819.1246 | 1254576.345 | 2741813.8132 | 1254573.9582
31 | 2741791.8292 | 1254564.079 | 2741813.8132 | 1254573.9582
32 | 2741791.8292 | 1254564.079 | 2741789.7446 | 1254563.1422
33 | 2741789.7446 | 1254563.1422 | 2741785.3741 | 1254561.1782 | 2741767.7316 | 1254553.9793
34 | 2741753.6382 | 1254548.2286 | 2741767.7316 | 1254553.9793
35 | 2741880.5721 | 1254321.5677 | 2741880.5938 | 1254321.5325 | 2741895.9444 | 1254302.1123
36 | 2741880.5721 | 1254321.5677 | 2741871.4089 | 1254336.4613
37 | 2741897.866 | 1254299.6812 | 2741895.9444 | 1254302.1123
38 | 2741867.8908 | 1254342.1794 | 2741871.4089 | 1254336.4613
39 | 2741897.866 | 1254299.6812 | 2741900.061 | 1254296.909 | 2741910.3678 | 1254282.882
40 | 2741863.2843 | 1254349.6666 | 2741867.8908 | 1254342.1794
41 | 2741910.3678 | 1254282.882 | 2741925.3929 | 1254262.4337
42 | 2741863.2843 | 1254349.6666 | 2741867.0714 | 1254351.3145
43 | 2741863.2843 | 1254349.6666 | 2741850.2391 | 1254366.9415
44 | 2741863.2843 | 1254349.6666 | 2741856.4585 | 1254351.9831 | 2741853.2638 | 1254351.4394 | 2741845.4213 | 1254346.1381
45 | 2741938.769 | 1254311.2388 | 2741942.0438 | 1254309.7048 | 2741945.222 | 1254307.9461
46 | 2741946.7633 | 1254307.0932 | 2741945.222 | 1254307.9461
47 | 2741837.79 | 1254383.4271 | 2741850.2391 | 1254366.9415
48 | 2741828.4872 | 1254334.6911 | 2741845.4213 | 1254346.1381
49 | 2741828.4872 | 1254334.6911 | 2741823.2293 | 1254331.1369
50 | 2741816.6906 | 1254402.6675 | 2741824.9202 | 1254398.772 | 2741834.9649 | 1254387.1682 | 2741837.79 | 1254383.4271
51 | 2741795.3346 | 1254428.8195 | 2741792.9958 | 1254433.9741 | 2741789.0102 | 1254440.2958 | 2741783.2949 | 1254451.7142 | 2741780.1165 | 1254457.2094
52 | 2741801.6864 | 1254410.5267 | 2741799.55 | 1254418.105 | 2741796.8445 | 1254425.4916 | 2741795.3346 | 1254428.8195
53 | 2741771.8546 | 1254475.585 | 2741775.4527 | 1254465.2726 | 2741780.1165 | 1254457.2094
54 | 2741775.7249 | 1254423.9846 | 2741790.9121 | 1254414.7839 | 2741801.6864 | 1254410.5267
55 | 2741801.6864 | 1254410.5267 | 2741804.8544 | 1254406.1985 | 2741806.283 | 1254400.127 | 2741814.6801 | 1254397.1141 | 2741816.6906 | 1254402.6675
56 | 2741749.2054 | 1254455.702 | 2741755.9517 | 1254462.6811 | 2741763.9373 | 1254468.0217 | 2741771.8546 | 1254475.585
57 | 2741767.8259 | 1254495.3628 | 2741771.8546 | 1254475.585
58 | 2741816.6906 | 1254402.6675 | 2741827.7504 | 1254432.4553
59 | 2741749.2054 | 1254455.702 | 2741741.6334 | 1254449.4816 | 2741734.9839 | 1254442.8718 | 2741726.2759 | 1254434.6001 | 2741737.6331 | 1254423.0484
60 | 2741767.8259 | 1254495.3628 | 2741763.6426 | 1254510.9505
61 | 2741835.0198 | 1254452.034 | 2741827.7504 | 1254432.4553
62 | 2741763.5355 | 1254511.3494 | 2741763.6426 | 1254510.9505
63 | 2741753.6382 | 1254548.2286 | 2741758.3153 | 1254530.8008
64 | 2741753.6382 | 1254548.2286 | 2741751.9579 | 1254553.4711
65 | 2741763.5355 | 1254511.3494 | 2741758.3153 | 1254530.8008
66 | 2741751.9579 | 1254553.4711 | 2741752.1163 | 1254568.9117 | 2741751.3375 | 1254579.3696 | 2741750.6343 | 1254584.0249
67 | 2741951.7968 | 1254470.4233 | 2741924.2551 | 1254473.9788
68 | 2741898.2624 | 1254240.6573 | 2741898.3677 | 1254245.7091 | 2741897.4519 | 1254250.5361 | 2741894.3303 | 1254256.7005 | 2741870.0879 | 1254287.8269 | 2741867.6737 | 1254289.6708 | 2741864.6278 | 1254290.4764 | 2741860.9304 | 1254290.1208 | 2741851.6526 | 1254283.9281
69 | 2741898.2624 | 1254240.6573 | 2741909.4518 | 1254237.9896 | 2741912.3613 | 1254238.1544
70 | 2741951.7968 | 1254470.4233 | 2741953.2003 | 1254477.9863 | 2741955.2466 | 1254485.498 | 2741957.5544 | 1254490.6026 | 2741961.4669 | 1254496.146 | 2741963.6927 | 1254498.5662
71 | 2741951.7968 | 1254470.4233 | 2741963.401 | 1254468.8675
72 | 2741956.8782 | 1254297.9269 | 2741952.6424 | 1254302.3963 | 2741946.7633 | 1254307.0932 | 2741946.7633 | 1254307.0932
73 | 2741999.3387 | 1254318.8089 | 2741956.8782 | 1254297.9269
74 | 2741990.9997 | 1254333.8565 | 2741999.3387 | 1254318.8089
75 | 2741999.3387 | 1254318.8089 | 2742011.3998 | 1254302.1431
76 | 2742064.7776 | 1254293.3207 | 2742075.4096 | 1254266.0833
77 | 2741990.9997 | 1254333.8565 | 2741985.4248 | 1254342.2307
78 | 2741990.9997 | 1254333.8565 | 2742006.0133 | 1254343.9489
79 | 2742064.7776 | 1254293.3207 | 2742057.1287 | 1254289.9896 | 2742047.3252 | 1254285.8617
80 | 2742006.0133 | 1254343.9489 | 2742009.9927 | 1254346.6238 | 2742010.5444 | 1254348.7947 | 2742034.3829 | 1254364.91
81 | 2742034.3829 | 1254364.91 | 2742037.8058 | 1254367.224
82 | 2742010.7357 | 1254462.8645 | 2741994.2051 | 1254464.8904
83 | 2741983.5754 | 1254466.1931 | 2741994.2051 | 1254464.8904
84 | 2741983.5754 | 1254466.1931 | 2741980.9256 | 1254466.5179 | 2741963.401 | 1254468.8675

## bus_geodata
| x | y | coords
0 | 2742085.2924 | 1254171.616
1 | 2742071.0672 | 1254164.7227
2 | 2742054.7823 | 1254156.8312
3 | 2742040.948 | 1254149.7919
4 | 2742020.4744 | 1254137.4253
5 | 2742012.9458 | 1254115.6881
6 | 2741983.607 | 1254169.4799
7 | 2741976.4192 | 1254193.1627
8 | 2741949.7 | 1254194.0018
9 | 2741973.5456 | 1254203.1482
10 | 2741930.3992 | 1254186.5986
11 | 2741963.125 | 1254221.905
12 | 2741994.4053 | 1254235.0227
13 | 2741943.2315 | 1254240.3252
14 | 2742033.3648 | 1254249.8931
15 | 2741976.5181 | 1254267.8316
16 | 2741938.2459 | 1254244.9416
17 | 2741883.0236 | 1254525.7958
18 | 2741872.4633 | 1254515.7911
19 | 2741895.8048 | 1254535.5617
20 | 2741862.8134 | 1254506.4151
21 | 2741917.7957 | 1254551.402
22 | 2741851.3009 | 1254490.6236
23 | 2741907.5889 | 1254476.0424
24 | 2741847.3769 | 1254483.3561
25 | 2741834.4003 | 1254584.528
26 | 2741813.8132 | 1254573.9582
27 | 2741791.8292 | 1254564.079
28 | 2741789.7446 | 1254563.1422
29 | 2741767.7316 | 1254553.9793
30 | 2741880.5721 | 1254321.5677
31 | 2741895.9444 | 1254302.1123
32 | 2741871.4089 | 1254336.4613
33 | 2741897.866 | 1254299.6812
34 | 2741867.8908 | 1254342.1794
35 | 2741910.3678 | 1254282.882
36 | 2741863.2843 | 1254349.6666
37 | 2741938.769 | 1254311.2388
38 | 2741945.222 | 1254307.9461
39 | 2741925.3929 | 1254262.4337
40 | 2741867.0714 | 1254351.3145
41 | 2741850.2391 | 1254366.9415
42 | 2741845.4213 | 1254346.1381
43 | 2741828.4872 | 1254334.6911
44 | 2741823.2293 | 1254331.1369
45 | 2741837.79 | 1254383.4271
46 | 2741795.3346 | 1254428.8195
47 | 2741780.1165 | 1254457.2094
48 | 2741801.6864 | 1254410.5267
49 | 2741771.8546 | 1254475.585
50 | 2741775.7249 | 1254423.9846
51 | 2741816.6906 | 1254402.6675
52 | 2741749.2054 | 1254455.702
53 | 2741767.8259 | 1254495.3628
54 | 2741827.7504 | 1254432.4553
55 | 2741737.6331 | 1254423.0484
56 | 2741763.6426 | 1254510.9505
57 | 2741835.0198 | 1254452.034
58 | 2741753.6382 | 1254548.2286
59 | 2741758.3153 | 1254530.8008
60 | 2741751.9579 | 1254553.4711
61 | 2741815.1614 | 1254489.5294
62 | 2741924.2551 | 1254473.9788
63 | 2741750.6343 | 1254584.0249
64 | 2741763.5355 | 1254511.3494
65 | 2741851.6526 | 1254283.9281
66 | 2741898.2624 | 1254240.6573
67 | 2741912.3613 | 1254238.1544
68 | 2741951.7968 | 1254470.4233
69 | 2741956.8782 | 1254297.9269
70 | 2741946.7633 | 1254307.0932
71 | 2741999.3387 | 1254318.8089
72 | 2742075.4096 | 1254266.0833
73 | 2741990.9997 | 1254333.8565
74 | 2742011.3998 | 1254302.1431
75 | 2742064.7776 | 1254293.3207
76 | 2741985.4248 | 1254342.2307
77 | 2742006.0133 | 1254343.9489
78 | 2742034.3829 | 1254364.91
79 | 2742037.8058 | 1254367.224
80 | 2742047.3252 | 1254285.8617
81 | 2742010.7357 | 1254462.8645
82 | 2741994.2051 | 1254464.8904
83 | 2741983.5754 | 1254466.1931
84 | 2741963.401 | 1254468.8675
85 | 2741963.6927 | 1254498.5662
86 | 2741956.8782 | 1254297.9269

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1