## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3442-21_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3442-21_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3442-21_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3442-21_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3442-21_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3442-21_0_3_node_61 | 0.4 | n |  | TRUE
6 | bus_LV_3442-21_0_3_node_99 | 0.4 | n |  | TRUE
7 | bus_LV_3442-21_0_3_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_3442-21_0_3_node_62 | 0.4 | n |  | TRUE
9 | bus_LV_3442-21_0_3_node_48 | 0.4 | n |  | TRUE
10 | bus_LV_3442-21_0_3_node_47 | 0.4 | n |  | TRUE
11 | bus_LV_3442-21_0_3_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_3442-21_0_3_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_3442-21_0_3_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_3442-21_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_3442-21_0_3_node_54 | 0.4 | n |  | TRUE
16 | bus_LV_3442-21_0_3_node_55 | 0.4 | n |  | TRUE
17 | bus_LV_3442-21_0_3_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_3442-21_0_3_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_3442-21_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_3442-21_0_3_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_3442-21_0_3_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_3442-21_0_3_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_3442-21_0_3_node_43 | 0.4 | n |  | TRUE
24 | bus_LV_3442-21_0_3_node_76 | 0.4 | n |  | TRUE
25 | bus_LV_3442-21_0_3_node_46 | 0.4 | n |  | TRUE
26 | bus_LV_3442-21_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_3442-21_0_3_node_44 | 0.4 | n |  | TRUE
28 | bus_LV_3442-21_0_3_node_75 | 0.4 | n |  | TRUE
29 | bus_LV_3442-21_0_3_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_3442-21_0_3_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_3442-21_0_3_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_3442-21_0_3_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_3442-21_0_3_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_3442-21_0_3_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_3442-21_0_3_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_3442-21_0_3_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_3442-21_0_3_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_3442-21_0_3_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_3442-21_0_3_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_3442-21_0_3_node_71 | 0.4 | n |  | TRUE
41 | bus_LV_3442-21_0_3_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_3442-21_0_3_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_3442-21_0_3_node_68 | 0.4 | n |  | TRUE
44 | bus_LV_3442-21_0_3_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_3442-21_0_3_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_3442-21_0_3_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_3442-21_0_3_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_3442-21_0_3_node_102 | 0.4 | n |  | TRUE
49 | bus_LV_3442-21_0_3_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_3442-21_0_3_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_3442-21_0_3_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_3442-21_0_3_node_35 | 0.4 | n |  | TRUE
53 | bus_LV_3442-21_0_3_node_36 | 0.4 | n |  | TRUE
54 | bus_LV_3442-21_0_3_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_3442-21_0_3_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_3442-21_0_3_node_65 | 0.4 | n |  | TRUE
57 | bus_LV_3442-21_0_3_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_3442-21_0_3_node_64 | 0.4 | n |  | TRUE
59 | bus_LV_3442-21_0_3_node_59 | 0.4 | n |  | TRUE
60 | bus_LV_3442-21_0_3_node_60 | 0.4 | n |  | TRUE
61 | bus_LV_3442-21_0_3_node_84 | 0.4 | n |  | TRUE
62 | bus_LV_3442-21_0_3_node_77 | 0.4 | n |  | TRUE
63 | bus_LV_3442-21_0_3_node_85 | 0.4 | n |  | TRUE
64 | bus_LV_3442-21_0_3_node_88 | 0.4 | n |  | TRUE
65 | bus_LV_3442-21_0_3_node_66 | 0.4 | n |  | TRUE
66 | bus_LV_3442-21_0_3_node_45 | 0.4 | n |  | TRUE
67 | bus_LV_3442-21_0_3_node_49 | 0.4 | n |  | TRUE
68 | bus_LV_3442-21_0_3_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_3442-21_0_3_node_82 | 0.4 | n |  | TRUE
70 | bus_LV_3442-21_0_3_node_79 | 0.4 | n |  | TRUE
71 | bus_LV_3442-21_0_3_node_50 | 0.4 | n |  | TRUE
72 | bus_LV_3442-21_0_3_node_51 | 0.4 | n |  | TRUE
73 | bus_LV_3442-21_0_3_node_52 | 0.4 | n |  | TRUE
74 | bus_LV_3442-21_0_3_node_53 | 0.4 | n |  | TRUE
75 | bus_LV_3442-21_0_3_node_56 | 0.4 | n |  | TRUE
76 | bus_LV_3442-21_0_3_node_87 | 0.4 | n |  | TRUE
77 | bus_LV_3442-21_0_3_node_86 | 0.4 | n |  | TRUE
78 | bus_LV_3442-21_0_3_node_105 | 0.4 | n |  | TRUE
79 | bus_LV_3442-21_0_3_node_83 | 0.4 | n |  | TRUE
80 | bus_LV_3442-21_0_3_node_95 | 0.4 | n |  | TRUE
81 | bus_LV_3442-21_0_3_node_63 | 0.4 | n |  | TRUE
82 | bus_LV_3442-21_0_3_node_91 | 0.4 | n |  | TRUE
83 | bus_LV_3442-21_0_3_node_92 | 0.4 | n |  | TRUE
84 | bus_LV_3442-21_0_3_node_67 | 0.4 | n |  | TRUE
85 | bus_LV_3442-21_0_3_node_69 | 0.4 | n |  | TRUE
86 | bus_LV_3442-21_0_3_node_70 | 0.4 | n |  | TRUE
87 | bus_LV_3442-21_0_3_node_72 | 0.4 | n |  | TRUE
88 | bus_LV_3442-21_0_3_node_73 | 0.4 | n |  | TRUE
89 | bus_LV_3442-21_0_3_node_104 | 0.4 | n |  | TRUE
90 | bus_LV_3442-21_0_3_node_103 | 0.4 | n |  | TRUE
91 | bus_LV_3442-21_0_3_node_98 | 0.4 | n |  | TRUE
92 | bus_LV_3442-21_0_3_node_78 | 0.4 | n |  | TRUE
93 | bus_LV_3442-21_0_3_node_80 | 0.4 | n |  | TRUE
94 | bus_LV_3442-21_0_3_node_81 | 0.4 | n |  | TRUE
95 | bus_LV_3442-21_0_3_node_100 | 0.4 | n |  | TRUE
96 | bus_LV_3442-21_0_3_node_89 | 0.4 | n |  | TRUE
97 | bus_LV_3442-21_0_3_node_90 | 0.4 | n |  | TRUE
98 | bus_LV_3442-21_0_3_node_96 | 0.4 | n |  | TRUE
99 | bus_MV_413_0_node_42 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3442-21_0_3_load_0 | 0 | 0.0018802 | 0.00047122 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3442-21_0_3_load_1 | 1 | 0.0041447 | 0.0010388 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3442-21_0_3_load_2 | 2 | 0.0017877 | 0.00044805 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3442-21_0_3_load_3 | 3 | 0.0022362 | 0.00056044 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3442-21_0_3_load_61 | 5 | 0.0025689 | 0.00064383 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3442-21_0_3_load_99 | 6 | 0.0016728 | 0.00041924 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3442-21_0_3_load_62 | 8 | 0.0015172 | 0.00038024 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3442-21_0_3_load_47 | 10 | 0.0018181 | 0.00045566 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3442-21_0_3_load_5 | 12 | 0.0084961 | 0.0021293 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3442-21_0_3_load_6 | 13 | 0.0087156 | 0.0021843 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3442-21_0_3_load_8 | 14 | 0.0086591 | 0.0021702 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3442-21_0_3_load_54 | 15 | 0.0034284 | 0.00085924 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3442-21_0_3_load_9 | 17 | 0.0016537 | 0.00041446 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3442-21_0_3_load_13 | 19 | 0.0040671 | 0.0010193 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3442-21_0_3_load_14 | 20 | 0.0044005 | 0.0011029 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3442-21_0_3_load_15 | 21 | 0.0025444 | 0.00063769 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3442-21_0_3_load_33 | 22 | 0.0014298 | 0.00035835 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3442-21_0_3_load_43 | 23 | 0.0027582 | 0.00069127 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3442-21_0_3_load_76 | 24 | 0.002454 | 0.00061502 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3442-21_0_3_load_19 | 26 | 0.0032134 | 0.00080535 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3442-21_0_3_load_44 | 27 | 0.0023628 | 0.00059218 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3442-21_0_3_load_75 | 28 | 0.0043224 | 0.0010833 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3442-21_0_3_load_16 | 29 | 0.0043427 | 0.0010884 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3442-21_0_3_load_17 | 30 | 0.0045621 | 0.0011434 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3442-21_0_3_load_18 | 31 | 0.0054386 | 0.001363 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3442-21_0_3_load_20 | 32 | 0.0020259 | 0.00050773 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3442-21_0_3_load_21 | 33 | 0.0036432 | 0.00091308 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3442-21_0_3_load_23 | 35 | 0.003815 | 0.00095614 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3442-21_0_3_load_24 | 36 | 0.0021446 | 0.00053749 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3442-21_0_3_load_25 | 37 | 0.0014786 | 0.00037057 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3442-21_0_3_load_39 | 38 | 0.00085192 | 0.00021351 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3442-21_0_3_load_31 | 39 | 0.0024039 | 0.00060249 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3442-21_0_3_load_71 | 40 | 0.00091613 | 0.0002296 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3442-21_0_3_load_40 | 41 | 0.0039165 | 0.00098157 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3442-21_0_3_load_32 | 42 | 0.0013113 | 0.00032863 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3442-21_0_3_load_26 | 44 | 0.0016371 | 0.0004103 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3442-21_0_3_load_27 | 45 | 0.0018087 | 0.0004533 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3442-21_0_3_load_102 | 48 | 0.0038845 | 0.00097354 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3442-21_0_3_load_41 | 49 | 0.002182 | 0.00054685 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3442-21_0_3_load_42 | 50 | 0.0010143 | 0.00025422 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3442-21_0_3_load_34 | 51 | 0.0049432 | 0.0012389 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3442-21_0_3_load_35 | 52 | 0.0017432 | 0.00043689 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3442-21_0_3_load_36 | 53 | 0.002241 | 0.00056166 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3442-21_0_3_load_37 | 54 | 0.0051654 | 0.0012946 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3442-21_0_3_load_38 | 55 | 0.0047453 | 0.0011893 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3442-21_0_3_load_65 | 56 | 0.002273 | 0.00056967 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3442-21_0_3_load_58 | 57 | 0.0020014 | 0.00050159 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3442-21_0_3_load_64 | 58 | 0.0016107 | 0.00040369 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3442-21_0_3_load_59 | 59 | 0.0033591 | 0.00084187 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3442-21_0_3_load_84 | 61 | 0.0040599 | 0.0010175 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3442-21_0_3_load_77 | 62 | 0.0011842 | 0.00029679 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3442-21_0_3_load_85 | 63 | 0.0034885 | 0.00087429 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3442-21_0_3_load_66 | 65 | 0.0051148 | 0.0012819 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3442-21_0_3_load_45 | 66 | 0.00286 | 0.00071679 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3442-21_0_3_load_57 | 68 | 0.0040482 | 0.0010146 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3442-21_0_3_load_82 | 69 | 0.002065 | 0.00051755 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3442-21_0_3_load_50 | 71 | 0.0061317 | 0.0015368 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3442-21_0_3_load_51 | 72 | 0.0048294 | 0.0012104 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3442-21_0_3_load_53 | 74 | 0.0081288 | 0.0020373 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3442-21_0_3_load_86 | 77 | 0.016613 | 0.0041636 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3442-21_0_3_load_105 | 78 | 0.016572 | 0.0041534 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3442-21_0_3_load_95 | 80 | 0.0012118 | 0.0003037 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3442-21_0_3_load_63 | 81 | 0.0016505 | 0.00041365 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3442-21_0_3_load_91 | 82 | 0.0021576 | 0.00054076 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3442-21_0_3_load_92 | 83 | 0.0021431 | 0.00053712 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3442-21_0_3_load_67 | 84 | 0.0014431 | 0.00036168 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3442-21_0_3_load_72 | 87 | 0.0032877 | 0.00082397 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3442-21_0_3_load_73 | 88 | 0.00081697 | 0.00020475 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3442-21_0_3_load_104 | 89 | 0.0010954 | 0.00027454 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3442-21_0_3_load_103 | 90 | 0.001169 | 0.00029297 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3442-21_0_3_load_98 | 91 | 0.0013547 | 0.00033953 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3442-21_0_3_load_78 | 92 | 0.01685 | 0.0042231 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3442-21_0_3_load_100 | 95 | 0.016575 | 0.0041541 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3442-21_0_3_load_89 | 96 | 0.0032896 | 0.00082446 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3442-21_0_3_load_96 | 98 | 0.0011039 | 0.00027666 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3442-21_0_3_line_0 |  | 0 | 1 | 0.023524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3442-21_0_3_line_1 |  | 0 | 2 | 0.0091145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3442-21_0_3_line_2 |  | 1 | 3 | 0.0027454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3442-21_0_3_line_3 |  | 2 | 4 | 0.018264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3442-21_0_3_line_4 |  | 3 | 5 | 0.020647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3442-21_0_3_line_5 |  | 4 | 6 | 0.0058511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3442-21_0_3_line_6 |  | 4 | 7 | 0.009542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3442-21_0_3_line_7 |  | 5 | 8 | 0.011692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3442-21_0_3_line_8 |  | 6 | 9 | 0.031519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3442-21_0_3_line_9 |  | 7 | 10 | 0.020528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3442-21_0_3_line_10 |  | 7 | 11 | 0.012887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_3442-21_0_3_line_11 |  | 8 | 81 | 0.0035187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3442-21_0_3_line_12 |  | 9 | 67 | 0.017701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3442-21_0_3_line_13 |  | 9 | 48 | 0.017465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3442-21_0_3_line_14 |  | 10 | 25 | 0.01251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3442-21_0_3_line_15 |  | 11 | 19 | 0.023069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_3442-21_0_3_line_16 |  | 11 | 17 | 0.018506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3442-21_0_3_line_17 |  | 12 | 13 | 0.025518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3442-21_0_3_line_18 |  | 13 | 14 | 0.016578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3442-21_0_3_line_19 |  | 14 | 15 | 0.041994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3442-21_0_3_line_20 |  | 15 | 16 | 0.0025703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3442-21_0_3_line_21 |  | 16 | 75 | 0.023231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3442-21_0_3_line_22 |  | 17 | 18 | 0.030482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3442-21_0_3_line_23 |  | 18 | 20 | 0.023997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3442-21_0_3_line_24 |  | 18 | 21 | 0.005749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3442-21_0_3_line_25 |  | 19 | 22 | 0.028867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_3442-21_0_3_line_26 |  | 20 | 23 | 0.011418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3442-21_0_3_line_27 |  | 21 | 24 | 0.0187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3442-21_0_3_line_28 |  | 22 | 26 | 0.020807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_3442-21_0_3_line_29 |  | 23 | 27 | 0.0069577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3442-21_0_3_line_30 |  | 24 | 28 | 0.0049975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3442-21_0_3_line_31 |  | 25 | 66 | 0.015041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3442-21_0_3_line_32 |  | 26 | 30 | 0.019901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3442-21_0_3_line_33 |  | 27 | 65 | 0.02383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3442-21_0_3_line_34 |  | 28 | 62 | 0.016211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3442-21_0_3_line_35 |  | 29 | 30 | 0.0043021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3442-21_0_3_line_36 |  | 29 | 31 | 0.0021353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3442-21_0_3_line_37 |  | 32 | 33 | 0.025542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3442-21_0_3_line_38 |  | 32 | 34 | 0.01711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3442-21_0_3_line_39 |  | 33 | 35 | 0.025787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3442-21_0_3_line_40 |  | 34 | 36 | 0.0037147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3442-21_0_3_line_41 |  | 34 | 37 | 0.023187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3442-21_0_3_line_42 |  | 35 | 38 | 0.001091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3442-21_0_3_line_43 |  | 36 | 39 | 0.025729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3442-21_0_3_line_44 |  | 37 | 40 | 0.025711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3442-21_0_3_line_45 |  | 38 | 41 | 0.034245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3442-21_0_3_line_46 |  | 39 | 42 | 0.013174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3442-21_0_3_line_47 |  | 40 | 43 | 0.0040041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3442-21_0_3_line_48 |  | 41 | 60 | 0.0061775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3442-21_0_3_line_49 |  | 42 | 49 | 0.017463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3442-21_0_3_line_50 |  | 43 | 86 | 0.033765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3442-21_0_3_line_51 |  | 43 | 84 | 0.0086269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3442-21_0_3_line_52 |  | 44 | 45 | 0.041489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3442-21_0_3_line_53 |  | 44 | 46 | 0.042027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3442-21_0_3_line_54 |  | 46 | 47 | 0.036936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3442-21_0_3_line_55 |  | 47 | 48 | 0.01653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3442-21_0_3_line_56 |  | 49 | 50 | 0.0082981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3442-21_0_3_line_57 |  | 50 | 63 | 0.018207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3442-21_0_3_line_58 |  | 51 | 52 | 0.01279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3442-21_0_3_line_59 |  | 51 | 53 | 0.011971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3442-21_0_3_line_60 |  | 52 | 54 | 0.015555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3442-21_0_3_line_61 |  | 53 | 55 | 0.018782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3442-21_0_3_line_62 |  | 54 | 56 | 0.0079388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3442-21_0_3_line_63 |  | 55 | 57 | 0.0053899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3442-21_0_3_line_64 |  | 56 | 58 | 0.020584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3442-21_0_3_line_65 |  | 57 | 59 | 0.021309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3442-21_0_3_line_66 |  | 58 | 74 | 0.019151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3442-21_0_3_line_67 |  | 59 | 65 | 0.0036829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3442-21_0_3_line_68 |  | 60 | 61 | 0.027283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3442-21_0_3_line_69 |  | 60 | 62 | 0.024795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3442-21_0_3_line_70 |  | 61 | 80 | 0.0033518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3442-21_0_3_line_71 |  | 63 | 64 | 0.020976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3442-21_0_3_line_72 |  | 64 | 96 | 0.022482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3442-21_0_3_line_73 |  | 64 | 97 | 0.027873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3442-21_0_3_line_74 |  | 67 | 68 | 0.035219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3442-21_0_3_line_75 |  | 67 | 69 | 0.034029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3442-21_0_3_line_76 |  | 69 | 70 | 0.033421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3442-21_0_3_line_77 |  | 70 | 94 | 0.031291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3442-21_0_3_line_78 |  | 70 | 92 | 0.025206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3442-21_0_3_line_79 |  | 71 | 72 | 0.0024445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3442-21_0_3_line_80 |  | 71 | 73 | 0.026728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3442-21_0_3_line_81 |  | 73 | 74 | 0.0013221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3442-21_0_3_line_82 |  | 75 | 76 | 0.015638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3442-21_0_3_line_83 |  | 75 | 77 | 0.008338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3442-21_0_3_line_84 |  | 76 | 78 | 0.007103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3442-21_0_3_line_85 |  | 77 | 79 | 0.013212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3442-21_0_3_line_86 |  | 79 | 93 | 0.013829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3442-21_0_3_line_87 |  | 81 | 82 | 0.016476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3442-21_0_3_line_88 |  | 82 | 83 | 0.040535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3442-21_0_3_line_89 |  | 84 | 85 | 0.027178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3442-21_0_3_line_90 |  | 85 | 87 | 0.012925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3442-21_0_3_line_91 |  | 85 | 88 | 0.044768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3442-21_0_3_line_92 |  | 86 | 89 | 0.017944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3442-21_0_3_line_93 |  | 86 | 90 | 0.026746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3442-21_0_3_line_94 |  | 90 | 91 | 0.024748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3442-21_0_3_line_95 |  | 92 | 93 | 0.023697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_3442-21_0_3_line_96 |  | 94 | 95 | 0.0057426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_3442-21_0_3_line_97 |  | 97 | 98 | 0.033678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3442-21_0_3_trafo_19 | 0.63 MVA 20/0.4 kV | 99 | 26 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2742483.3478 | 1254450.4816 | 2742489.8565 | 1254454.1722 | 2742503.442 | 1254462.7026
1 | 2742483.3478 | 1254450.4816 | 2742475.4192 | 1254445.9859
2 | 2742503.442 | 1254462.7026 | 2742505.7671 | 1254464.1624
3 | 2742457.693 | 1254441.7757 | 2742465.7577 | 1254443.1822 | 2742474.8828 | 1254445.6818 | 2742475.4192 | 1254445.9859
4 | 2742518.9441 | 1254479.6185 | 2742518.5678 | 1254478.9086 | 2742515.4083 | 1254473.4608 | 2742509.7305 | 1254466.6511 | 2742505.7671 | 1254464.1624
5 | 2742457.693 | 1254441.7757 | 2742454.9518 | 1254438.073 | 2742454.048 | 1254437.218
6 | 2742457.2611 | 1254451.2521 | 2742457.9839 | 1254446.6206 | 2742457.693 | 1254441.7757
7 | 2742518.9441 | 1254479.6185 | 2742521.1957 | 1254483.8654 | 2742523.9047 | 1254490.1955
8 | 2742436.3978 | 1254411.8242 | 2742439.0266 | 1254418.3158 | 2742442.5 | 1254425.4616 | 2742446.6206 | 1254430.8102 | 2742450.7898 | 1254434.1358 | 2742454.048 | 1254437.218
9 | 2742457.2611 | 1254451.2521 | 2742445.5952 | 1254452.0834 | 2742436.8042 | 1254451.2228
10 | 2742457.2611 | 1254451.2521 | 2742455.9011 | 1254457.2695 | 2742455.1742 | 1254463.9472
11 | 2742523.9047 | 1254490.1955 | 2742525.2892 | 1254493.4304
12 | 2742418.8093 | 1254413.8142 | 2742427.8601 | 1254412.8198 | 2742436.3978 | 1254411.8242
13 | 2742436.3978 | 1254411.8242 | 2742450.3164 | 1254409.2787 | 2742453.6272 | 1254409.0964
14 | 2742424.3537 | 1254450.004 | 2742436.8042 | 1254451.2228
15 | 2742455.1742 | 1254463.9472 | 2742440.0303 | 1254456.8874 | 2742433.6877 | 1254456.418
16 | 2742455.1742 | 1254463.9472 | 2742454.4722 | 1254475.5524 | 2742455.2796 | 1254482.3846
17 | 2742260.9303 | 1254433.2059 | 2742286.2385 | 1254429.9444
18 | 2742286.2385 | 1254429.9444 | 2742301.8825 | 1254427.9283 | 2742302.6826 | 1254427.8432
19 | 2742344.4406 | 1254423.4019 | 2742302.6826 | 1254427.8432
20 | 2742346.9964 | 1254423.1301 | 2742344.4406 | 1254423.4019
21 | 2742333.5313 | 1254405.2562 | 2742340.5652 | 1254410.2967 | 2742345.5015 | 1254417.1885 | 2742346.9964 | 1254423.1301
22 | 2742467.847 | 1254510.0067 | 2742463.9636 | 1254502.3394 | 2742460.5537 | 1254495.0616 | 2742455.582 | 1254484.9435 | 2742455.2796 | 1254482.3846
23 | 2742467.847 | 1254510.0067 | 2742458.6231 | 1254514.122 | 2742449.6003 | 1254517.4081 | 2742445.3095 | 1254517.5761
24 | 2742467.847 | 1254510.0067 | 2742470.9938 | 1254514.8181
25 | 2742433.6877 | 1254456.418 | 2742420.6601 | 1254455.4536 | 2742409.7782 | 1254457.8943 | 2742405.1267 | 1254457.8998
26 | 2742445.3095 | 1254517.5761 | 2742439.2203 | 1254517.8144 | 2742433.9088 | 1254517.4486
27 | 2742481.5258 | 1254530.266 | 2742476.1092 | 1254522.6396 | 2742470.9938 | 1254514.8181
28 | 2742384.4087 | 1254456.2122 | 2742400.5322 | 1254457.9053 | 2742405.1267 | 1254457.8998
29 | 2742433.9088 | 1254517.4486 | 2742429.5379 | 1254517.1476 | 2742426.9707 | 1254516.9295
30 | 2742483.3531 | 1254534.9174 | 2742481.5258 | 1254530.266 | 2742481.5258 | 1254530.266
31 | 2742424.3537 | 1254450.004 | 2742409.4569 | 1254447.924
32 | 2742364.6167 | 1254454.1339 | 2742384.4087 | 1254456.2122
33 | 2742426.9707 | 1254516.9295 | 2742403.2259 | 1254514.9118
34 | 2742483.3531 | 1254534.9174 | 2742483.8371 | 1254536.1494 | 2742485.7431 | 1254543.8136 | 2742485.617 | 1254550.8024
35 | 2742364.6167 | 1254454.1339 | 2742360.3382 | 1254453.6846
36 | 2742358.2145 | 1254453.4616 | 2742360.3382 | 1254453.6846
37 | 2742392.3026 | 1254598.367 | 2742411.5919 | 1254597.0361 | 2742417.7674 | 1254596.4143
38 | 2742375.2961 | 1254600.1998 | 2742387.3322 | 1254598.7099 | 2742392.3026 | 1254598.367
39 | 2742443.4127 | 1254593.7178 | 2742435.1288 | 1254594.6665 | 2742417.7674 | 1254596.4143
40 | 2742375.2961 | 1254600.1998 | 2742373.7366 | 1254600.3958 | 2742371.5996 | 1254600.5545
41 | 2742375.2961 | 1254600.1998 | 2742375.3765 | 1254606.8969 | 2742375.6675 | 1254611.7418 | 2742378.1322 | 1254618.463 | 2742379.9608 | 1254622.5492
42 | 2742443.4127 | 1254593.7178 | 2742444.4966 | 1254593.5936
43 | 2742345.9412 | 1254602.4603 | 2742371.5996 | 1254600.5545
44 | 2742379.9608 | 1254622.5492 | 2742381.7849 | 1254626.6252 | 2742387.5271 | 1254632.0128 | 2742397.3689 | 1254641.0651
45 | 2742444.4966 | 1254593.5936 | 2742451.0977 | 1254592.8377 | 2742465.5388 | 1254586.757 | 2742473.295 | 1254579.3366 | 2742474.1687 | 1254578.5181
46 | 2742332.7973 | 1254603.3 | 2742334.9419 | 1254603.2772 | 2742345.9412 | 1254602.4603
47 | 2742400.3159 | 1254643.7758 | 2742397.3689 | 1254641.0651
48 | 2742478.6769 | 1254574.2946 | 2742474.1687 | 1254578.5181
49 | 2742332.7973 | 1254603.3 | 2742315.3348 | 1254603.4859
50 | 2742400.3159 | 1254643.7758 | 2742404.9 | 1254651.1819 | 2742401.999 | 1254664.1578 | 2742391.5143 | 1254669.5552
51 | 2742400.3159 | 1254643.7758 | 2742408.9384 | 1254644.0515
52 | 2742582.2427 | 1254452.4445 | 2742558.2232 | 1254443.4739 | 2742543.4645 | 1254437.6973
53 | 2742504.3284 | 1254422.3792 | 2742543.4645 | 1254437.6973
54 | 2742470.1324 | 1254408.1876 | 2742475.3252 | 1254410.0699 | 2742504.3284 | 1254422.3792
55 | 2742470.1324 | 1254408.1876 | 2742453.6272 | 1254409.0964
56 | 2742315.3348 | 1254603.4859 | 2742307.0371 | 1254603.5742
57 | 2742288.8354 | 1254603.9901 | 2742301.6044 | 1254603.632 | 2742307.0371 | 1254603.5742
58 | 2742329.3453 | 1254514.6177 | 2742342.128 | 1254514.1847
59 | 2742354.0976 | 1254514.0894 | 2742344.9517 | 1254514.0891 | 2742342.128 | 1254514.1847
60 | 2742313.7991 | 1254515.1444 | 2742329.3453 | 1254514.6177
61 | 2742372.8792 | 1254514.0901 | 2742354.0976 | 1254514.0894
62 | 2742313.7991 | 1254515.1444 | 2742305.8649 | 1254515.4132
63 | 2742372.8792 | 1254514.0901 | 2742378.2691 | 1254514.0903
64 | 2742285.3056 | 1254516.3922 | 2742297.5303 | 1254515.6955 | 2742305.8649 | 1254515.4132
65 | 2742378.2691 | 1254514.0903 | 2742393.5648 | 1254514.0909 | 2742399.5563 | 1254514.6
66 | 2742285.3056 | 1254516.3922 | 2742266.1854 | 1254517.4818
67 | 2742399.5563 | 1254514.6 | 2742403.2259 | 1254514.9118
68 | 2742478.6769 | 1254574.2946 | 2742501.4073 | 1254589.3845
69 | 2742478.6769 | 1254574.2946 | 2742484.4262 | 1254561.5209 | 2742485.6077 | 1254551.3174 | 2742485.617 | 1254550.8024
70 | 2742501.4073 | 1254589.3845 | 2742504.1998 | 1254591.2383
71 | 2742267.8677 | 1254604.578 | 2742288.8354 | 1254603.9901
72 | 2742265.6735 | 1254582.2042 | 2742267.8677 | 1254604.578
73 | 2742243.988 | 1254614.6251 | 2742247.4974 | 1254609.6046 | 2742250.0366 | 1254607.5859 | 2742253.4693 | 1254605.7555 | 2742257.6198 | 1254605.7775 | 2742262.6656 | 1254606.2324 | 2742267.8677 | 1254604.578
74 | 2742418.8093 | 1254413.8142 | 2742383.8828 | 1254418.345
75 | 2742418.8093 | 1254413.8142 | 2742417.88 | 1254405.3839 | 2742408.9334 | 1254397.9729 | 2742399.267 | 1254387.9419
76 | 2742378.3943 | 1254361.9603 | 2742389.7877 | 1254378.105 | 2742399.267 | 1254387.9419
77 | 2742378.3943 | 1254361.9603 | 2742374.7776 | 1254351.3522 | 2742374.8608 | 1254331.2686
78 | 2742378.3943 | 1254361.9603 | 2742366.0908 | 1254365.1342 | 2742353.841 | 1254367.6201
79 | 2742267.4001 | 1254544.165 | 2742267.632 | 1254546.5985
80 | 2742264.8655 | 1254517.5571 | 2742267.4001 | 1254544.165
81 | 2742264.8655 | 1254517.5571 | 2742266.1854 | 1254517.4818
82 | 2742333.5313 | 1254405.2562 | 2742330.183 | 1254404.197 | 2742325.2343 | 1254403.7777 | 2742318.0303 | 1254403.6156
83 | 2742333.5313 | 1254405.2562 | 2742334.6578 | 1254403.2926 | 2742335.5428 | 1254400.3889 | 2742335.223 | 1254397.3672
84 | 2742311.0725 | 1254405.1387 | 2742318.0303 | 1254403.6156
85 | 2742328.56 | 1254386.0075 | 2742332.9248 | 1254394.387 | 2742335.223 | 1254397.3672
86 | 2742328.56 | 1254386.0075 | 2742330.6173 | 1254372.3329
87 | 2742531.5535 | 1254508.6634 | 2742530.2131 | 1254504.9357 | 2742525.2892 | 1254493.4304
88 | 2742531.5535 | 1254508.6634 | 2742537.2726 | 1254524.5686 | 2742541.8023 | 1254547.7637
89 | 2742436.0346 | 1254646.0813 | 2742414.3883 | 1254644.2257 | 2742408.9384 | 1254644.0515
90 | 2742436.0346 | 1254646.0813 | 2742435.3842 | 1254658.989
91 | 2742436.0346 | 1254646.0813 | 2742437.3075 | 1254646.1898 | 2742468.8861 | 1254646.7832 | 2742480.7923 | 1254646.8776
92 | 2742391.5143 | 1254669.5552 | 2742390.6156 | 1254683.6914 | 2742390.4904 | 1254687.4688
93 | 2742391.5143 | 1254669.5552 | 2742364.7693 | 1254669.829
94 | 2742364.7693 | 1254669.829 | 2742354.8709 | 1254669.9303 | 2742340.0235 | 1254670.1212
95 | 2742330.6173 | 1254372.3329 | 2742353.841 | 1254367.6201
96 | 2742374.8608 | 1254331.2686 | 2742376.8473 | 1254329.637 | 2742378.6759 | 1254327.0452
97 | 2742243.988 | 1254614.6251 | 2742254.5105 | 1254625.2323 | 2742261.1816 | 1254634.3678 | 2742264.6958 | 1254640.9085

## bus_geodata
| x | y | coords
0 | 2742483.3478 | 1254450.4816
1 | 2742503.442 | 1254462.7026
2 | 2742475.4192 | 1254445.9859
3 | 2742505.7671 | 1254464.1624
4 | 2742457.693 | 1254441.7757
5 | 2742518.9441 | 1254479.6185
6 | 2742454.048 | 1254437.218
7 | 2742457.2611 | 1254451.2521
8 | 2742523.9047 | 1254490.1955
9 | 2742436.3978 | 1254411.8242
10 | 2742436.8042 | 1254451.2228
11 | 2742455.1742 | 1254463.9472
12 | 2742260.9303 | 1254433.2059
13 | 2742286.2385 | 1254429.9444
14 | 2742302.6826 | 1254427.8432
15 | 2742344.4406 | 1254423.4019
16 | 2742346.9964 | 1254423.1301
17 | 2742455.2796 | 1254482.3846
18 | 2742467.847 | 1254510.0067
19 | 2742433.6877 | 1254456.418
20 | 2742445.3095 | 1254517.5761
21 | 2742470.9938 | 1254514.8181
22 | 2742405.1267 | 1254457.8998
23 | 2742433.9088 | 1254517.4486
24 | 2742481.5258 | 1254530.266
25 | 2742424.3537 | 1254450.004
26 | 2742384.4087 | 1254456.2122
27 | 2742426.9707 | 1254516.9295
28 | 2742483.3531 | 1254534.9174
29 | 2742360.3382 | 1254453.6847
30 | 2742364.6167 | 1254454.1339
31 | 2742358.2145 | 1254453.4616
32 | 2742392.3026 | 1254598.367
33 | 2742417.7674 | 1254596.4143
34 | 2742375.2961 | 1254600.1998
35 | 2742443.4127 | 1254593.7178
36 | 2742371.5996 | 1254600.5545
37 | 2742379.9608 | 1254622.5492
38 | 2742444.4966 | 1254593.5936
39 | 2742345.9412 | 1254602.4603
40 | 2742397.3689 | 1254641.0651
41 | 2742474.1687 | 1254578.5181
42 | 2742332.7973 | 1254603.3
43 | 2742400.3159 | 1254643.7758
44 | 2742543.4645 | 1254437.6973
45 | 2742582.2427 | 1254452.4445
46 | 2742504.3285 | 1254422.3793
47 | 2742470.1324 | 1254408.1876
48 | 2742453.6272 | 1254409.0964
49 | 2742315.3348 | 1254603.4859
50 | 2742307.0371 | 1254603.5742
51 | 2742342.128 | 1254514.1847
52 | 2742329.3453 | 1254514.6177
53 | 2742354.0976 | 1254514.0894
54 | 2742313.7991 | 1254515.1444
55 | 2742372.8792 | 1254514.0901
56 | 2742305.8649 | 1254515.4132
57 | 2742378.2691 | 1254514.0903
58 | 2742285.3056 | 1254516.3922
59 | 2742399.5563 | 1254514.6
60 | 2742478.6769 | 1254574.2946
61 | 2742501.4073 | 1254589.3845
62 | 2742485.617 | 1254550.8024
63 | 2742288.8354 | 1254603.9901
64 | 2742267.8677 | 1254604.578
65 | 2742403.2259 | 1254514.9118
66 | 2742409.4569 | 1254447.924
67 | 2742418.8093 | 1254413.8142
68 | 2742383.8828 | 1254418.345
69 | 2742399.267 | 1254387.9419
70 | 2742378.3943 | 1254361.9603
71 | 2742267.4001 | 1254544.165
72 | 2742267.632 | 1254546.5985
73 | 2742264.8655 | 1254517.5571
74 | 2742266.1854 | 1254517.4818
75 | 2742333.5313 | 1254405.2562
76 | 2742318.0303 | 1254403.6156
77 | 2742335.223 | 1254397.3672
78 | 2742311.0725 | 1254405.1387
79 | 2742328.56 | 1254386.0075
80 | 2742504.1998 | 1254591.2383
81 | 2742525.2892 | 1254493.4304
82 | 2742531.5535 | 1254508.6634
83 | 2742541.8023 | 1254547.7637
84 | 2742408.9384 | 1254644.0515
85 | 2742436.0346 | 1254646.0813
86 | 2742391.5143 | 1254669.5552
87 | 2742435.3842 | 1254658.989
88 | 2742480.7923 | 1254646.8776
89 | 2742390.4904 | 1254687.4688
90 | 2742364.7693 | 1254669.829
91 | 2742340.0235 | 1254670.1212
92 | 2742353.841 | 1254367.6201
93 | 2742330.6173 | 1254372.3329
94 | 2742374.8608 | 1254331.2686
95 | 2742378.6759 | 1254327.0452
96 | 2742265.6735 | 1254582.2042
97 | 2742243.988 | 1254614.6251
98 | 2742264.6958 | 1254640.9085
99 | 2742358.2145 | 1254453.4616

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1